## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.67134 | 0.67134 | 0 | 0 | 23.2559 | 23.2559 | 4.0814 | -3.3783 | 18.0476 | -17.2499 | -78.9663 | 101.0337 | 0.79564 | 0.75583 | -1.7093 | -0.047265
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75583 | 0.75583 | -0.047265 | -0.047265
Line_2_3-1ph | 0.67134 | 0.67134 | 0 | 0 | 23.2559 | 23.2559 | 3.3783 | -1.6477 | 17.2499 | -16.394 | -78.9663 | 101.0337 | 0.75583 | 0.70849 | -0.047265 | 5.2945
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.75583 | 0.75583 | -0.047265 | -0.047265

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.6815 | 0.6815 | 0 | 0 | 23.6079 | 23.6079 | 4.2868 | -3.5622 | 19.4026 | -18.5805 | -79.1309 | 100.8691 | 0.84169 | 0.80138 | -1.5896 | 0.016085
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80138 | 0.80138 | 0.016085 | 0.016085
Line_2_3-1ph | 0.6815 | 0.6815 | 0 | 0 | 23.6079 | 23.6079 | 3.5622 | -1.7788 | 18.5805 | -17.6985 | -79.1309 | 100.8691 | 0.80138 | 0.75346 | 0.016085 | 5.1299
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80138 | 0.80138 | 0.016085 | 0.016085

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00068528 | 0.00068528 | 0 | 0 | 0.023739 | 0.023739 | 0.017614 | -0.017614 | 0.017629 | -0.017628 | -45.0327 | 134.9673 | 1.0498 | 1.0498 | -0.0090184 | -0.0091777
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091777 | -0.0091777
Line_2_3-1ph | 0.00068528 | 0.00068528 | 0 | 0 | 0.023739 | 0.023739 | 0.017614 | -0.017612 | 0.017628 | -0.017627 | -45.0327 | 134.9673 | 1.0498 | 1.0497 | -0.0091777 | -0.0076939
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091777 | -0.0091777

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00071789 | 0.00071789 | 0 | 0 | 0.024868 | 0.024868 | 0.019331 | -0.01933 | 0.019348 | -0.019347 | -45.0339 | 134.9661 | 1.0998 | 1.0997 | -0.009018 | -0.0091772
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091772 | -0.0091772
Line_2_3-1ph | 0.00071789 | 0.00071789 | 0 | 0 | 0.024868 | 0.024868 | 0.01933 | -0.019328 | 0.019347 | -0.019346 | -45.0339 | 134.9661 | 1.0997 | 1.0997 | -0.0091772 | -0.0076934
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091772 | -0.0091772

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.55842 | 0.55842 | 0 | 0 | 19.3443 | 19.3443 | 4.4305 | -3.4965 | 13.0586 | -12.5066 | -74.5488 | 105.4512 | 0.71286 | 0.67132 | -3.29 | -0.16845
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67132 | 0.67132 | -0.16845 | -0.16845
Line_2_3-1ph | 0.55842 | 0.55842 | 0 | 0 | 19.3443 | 19.3443 | 3.4965 | -1.1974 | 12.5066 | -11.9144 | -74.5488 | 105.4512 | 0.67132 | 0.61902 | -0.16845 | 9.712
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67132 | 0.67132 | -0.16845 | -0.16845

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.52903 | 0.52903 | 0 | 0 | 18.3262 | 18.3262 | 3.9764 | -3.1382 | 11.7202 | -11.2248 | -74.5488 | 105.4512 | 0.67534 | 0.63599 | -3.29 | -0.16845
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63599 | 0.63599 | -0.16845 | -0.16845
Line_2_3-1ph | 0.52903 | 0.52903 | 0 | 0 | 18.3262 | 18.3262 | 3.1382 | -1.0747 | 11.2248 | -10.6933 | -74.5488 | 105.4512 | 0.63599 | 0.58644 | -0.16845 | 9.712
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.63599 | 0.63599 | -0.16845 | -0.16845

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00061994 | 0.00061994 | 0 | 0 | 0.021475 | 0.021475 | 0.014418 | -0.014416 | 0.014428 | -0.014428 | -45.0314 | 134.9686 | 0.94979 | 0.94973 | -0.010248 | -0.0093108
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093108 | -0.0093108
Line_2_3-1ph | 0.00061994 | 0.00061994 | 0 | 0 | 0.021475 | 0.021475 | 0.014416 | -0.014414 | 0.014428 | -0.014427 | -45.0314 | 134.9686 | 0.94973 | 0.94961 | -0.0093108 | -0.0051289
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093108 | -0.0093108

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00058731 | 0.00058731 | 0 | 0 | 0.020345 | 0.020345 | 0.01294 | -0.012939 | 0.012949 | -0.012949 | -45.0314 | 134.9686 | 0.8998 | 0.89975 | -0.010248 | -0.0093108
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093108 | -0.0093108
Line_2_3-1ph | 0.00058731 | 0.00058731 | 0 | 0 | 0.020345 | 0.020345 | 0.012939 | -0.012936 | 0.012949 | -0.012948 | -45.0314 | 134.9686 | 0.89975 | 0.89963 | -0.0093108 | -0.0051289
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093108 | -0.0093108

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.5814 | 0.5814 | 0 | 0.5814 | 0.5814 | 0 | 6.7134 | 6.7134 | 0 | 6.7134 | 6.7134 | 1.9895e-14 | 4.4797 | -2.439 | -2.2382e-14 | -4.304 | 2.6148 | -2.4869e-15 | 3.8374 | 5.1864 | 2.4869e-15 | -3.6379 | -4.987 | 0 | -168.9663 | 11.0337 | 0 | 11.0337 | -168.9663 | 1.05 | 0.87863 | 0.85372 | 1.05 | 0.83944 | 0.83876 | 1.3428e-13 | -128.3828 | 126.2198 | 1.2469e-13 | -128.7602 | 128.7026
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6848e-16 | -1.2208e-09 | -1.225e-09 | -1.6848e-16 | 1.2208e-09 | 1.225e-09 | 1.0424e-16 | 9.8441e-10 | -9.7721e-10 | -1.0424e-16 | -9.8441e-10 | 9.7721e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.83944 | 0.83876 | 1.05 | 0.83944 | 0.83876 | 1.2469e-13 | -128.7602 | 128.7026 | 1.247e-13 | -128.7602 | 128.7026
Line_2_3-1ph | 0 | 0.5814 | 0.5814 | 0 | 0.5814 | 0.5814 | 0 | 6.7134 | 6.7134 | 0 | 6.7134 | 6.7134 | 2.2173e-14 | 4.304 | -2.6148 | -2.2173e-14 | -3.8713 | 3.0475 | -1.858e-15 | 3.6379 | 4.987 | 1.858e-15 | -3.4239 | -4.773 | 0 | -168.9663 | 11.0337 | 0 | 11.0337 | -168.9663 | 1.05 | 0.83944 | 0.83876 | 1.05 | 0.76983 | 0.84353 | 1.2469e-13 | -128.7602 | 128.7026 | 1.1829e-13 | -127.4753 | 133.5909
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6893e-21 | -1.2208e-09 | -1.225e-09 | 2.6893e-21 | 1.2208e-09 | 1.225e-09 | -1.6767e-23 | 9.8441e-10 | -9.7721e-10 | 1.6767e-23 | -9.8441e-10 | 9.7721e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.83944 | 0.83876 | 1.05 | 0.83944 | 0.83876 | 1.2469e-13 | -128.7602 | 128.7026 | 1.2469e-13 | -128.7602 | 128.7026

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.5902 | 0.5902 | 0 | 0.5902 | 0.5902 | 0 | 6.815 | 6.815 | 0 | 6.815 | 6.815 | 2.6053e-15 | 4.7527 | -2.6093 | -5.2106e-15 | -4.5716 | 2.7905 | 7.2451e-30 | 4.1439 | 5.5574 | 1.3027e-15 | -3.9383 | -5.3519 | 0 | -169.1309 | 10.8691 | 0 | 10.8691 | -169.1309 | 1.1 | 0.92524 | 0.90088 | 1.1 | 0.88541 | 0.88565 | 1.5933e-13 | -128.046 | 126.02 | 1.4251e-13 | -128.3865 | 128.4063
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6062e-17 | -1.317e-09 | -1.3154e-09 | -1.6062e-17 | 1.317e-09 | 1.3154e-09 | -8.4728e-17 | 1.0417e-09 | -1.0444e-09 | 8.4728e-17 | -1.0417e-09 | 1.0444e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.88541 | 0.88565 | 1.1 | 0.88541 | 0.88565 | 1.4251e-13 | -128.3865 | 128.4063 | 1.4247e-13 | -128.3865 | 128.4063
Line_2_3-1ph | 0 | 0.5902 | 0.5902 | 0 | 0.5902 | 0.5902 | 0 | 6.815 | 6.815 | 0 | 6.815 | 6.815 | 4.3846e-15 | 4.5716 | -2.7905 | -4.3846e-15 | -4.1257 | 3.2363 | -6.2651e-16 | 3.9383 | 5.3519 | 6.2651e-16 | -3.7178 | -5.1314 | 0 | -169.1309 | 10.8691 | 0 | 10.8691 | -169.1309 | 1.1 | 0.88541 | 0.88565 | 1.1 | 0.81492 | 0.8902 | 1.4251e-13 | -128.3865 | 128.4063 | 1.4124e-13 | -127.1077 | 133.1082
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8609e-21 | -1.317e-09 | -1.3154e-09 | 2.8609e-21 | 1.317e-09 | 1.3154e-09 | -2.2321e-23 | 1.0417e-09 | -1.0444e-09 | 2.2321e-23 | -1.0417e-09 | 1.0444e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.88541 | 0.88565 | 1.1 | 0.88541 | 0.88565 | 1.4251e-13 | -128.3865 | 128.4063 | 1.4251e-13 | -128.3865 | 128.4063

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0011859 | 0.0011859 | 0 | 0.0011859 | 0.0011859 | 0 | 0.013694 | 0.013694 | 0 | 0.013694 | 0.013694 | 5.5858e-17 | 0.013884 | 0.003705 | -6.3144e-17 | -0.013883 | -0.0037043 | 1.681e-34 | 0.0037311 | 0.013887 | 4.8572e-18 | -0.0037303 | -0.013886 | 0 | -135.0653 | 44.9347 | 0 | 44.9347 | -135.0653 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0495 | 1.7243e-16 | -120.0231 | 119.996 | 1.6999e-16 | -120.0255 | 119.998
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7468e-20 | -1.7507e-12 | -3.9895e-12 | 2.7468e-20 | 1.7507e-12 | 3.9895e-12 | -3.5379e-19 | 3.597e-12 | 2.8069e-13 | 3.5379e-19 | -3.597e-12 | -2.8069e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 1.6999e-16 | -120.0255 | 119.998 | 1.6982e-16 | -120.0255 | 119.998
Line_2_3-1ph | 0 | 0.0011859 | 0.0011859 | 0 | 0.0011859 | 0.0011859 | 0 | 0.013694 | 0.013694 | 0 | 0.013694 | 0.013694 | 6.6314e-17 | 0.013883 | 0.0037043 | -6.6314e-17 | -0.013881 | -0.0037025 | -1.035e-18 | 0.0037303 | 0.013886 | 1.035e-18 | -0.0037294 | -0.013885 | 0 | -135.0653 | 44.9347 | 0 | 44.9347 | -135.0653 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0496 | 1.0494 | 1.6999e-16 | -120.0255 | 119.998 | 1.5311e-16 | -120.0271 | 120.004
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9696e-24 | -1.7507e-12 | -3.9895e-12 | 3.9696e-24 | 1.7507e-12 | 3.9895e-12 | -2.3586e-26 | 3.597e-12 | 2.8068e-13 | 2.3586e-26 | -3.597e-12 | -2.8068e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 1.6999e-16 | -120.0255 | 119.998 | 1.6999e-16 | -120.0255 | 119.998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0012423 | 0.0012423 | 0 | 0.0012423 | 0.0012423 | 0 | 0.014345 | 0.014345 | 0 | 0.014345 | 0.014345 | -1.2721e-17 | 0.015237 | 0.0040654 | 5.0885e-18 | -0.015236 | -0.0040646 | 5.0885e-18 | 0.0040954 | 0.01524 | 5.0885e-18 | -0.0040944 | -0.015239 | 0 | -135.0677 | 44.9323 | 0 | 44.9323 | -135.0677 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.8146e-16 | -120.0231 | 119.996 | 2.7682e-16 | -120.0255 | 119.998
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4881e-19 | -1.9214e-12 | -4.3782e-12 | -2.4881e-19 | 1.9214e-12 | 4.3782e-12 | 7.8825e-20 | 3.9475e-12 | 3.0785e-13 | -7.8825e-20 | -3.9475e-12 | -3.0785e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.7682e-16 | -120.0255 | 119.998 | 2.768e-16 | -120.0255 | 119.998
Line_2_3-1ph | 0 | 0.0012423 | 0.0012423 | 0 | 0.0012423 | 0.0012423 | 0 | 0.014345 | 0.014345 | 0 | 0.014345 | 0.014345 | 3.0707e-18 | 0.015236 | 0.0040646 | -3.0707e-18 | -0.015234 | -0.0040627 | 8.8831e-19 | 0.0040944 | 0.015239 | -8.8831e-19 | -0.0040935 | -0.015238 | 0 | -135.0677 | 44.9323 | 0 | 44.9323 | -135.0677 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0996 | 1.0994 | 2.7682e-16 | -120.0255 | 119.998 | 2.7653e-16 | -120.0271 | 120.004
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.354e-24 | -1.9214e-12 | -4.3782e-12 | 4.354e-24 | 1.9214e-12 | 4.3782e-12 | -3.657e-26 | 3.9475e-12 | 3.0784e-13 | 3.657e-26 | -3.9475e-12 | -3.0784e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.7682e-16 | -120.0255 | 119.998 | 2.7682e-16 | -120.0255 | 119.998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.48361 | 0.48361 | 0 | 0.48361 | 0.48361 | 0 | 5.5842 | 5.5842 | 0 | 5.5842 | 5.5842 | -5.6251e-15 | 3.6643 | -1.449 | 5.6251e-15 | -3.4308 | 1.6825 | -1.8071e-29 | 2.558 | 3.9713 | 1.9801e-29 | -2.42 | -3.8333 | 0 | -164.5488 | 15.4512 | 0 | 15.4512 | -164.5488 | 0.95 | 0.80025 | 0.75703 | 0.95 | 0.75183 | 0.74967 | 1.8407e-13 | -129.6305 | 125.4965 | 2.0169e-13 | -129.3505 | 129.1485
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.555e-16 | -1.023e-09 | -1.0349e-09 | -1.555e-16 | 1.023e-09 | 1.0349e-09 | -6.3197e-17 | 8.51e-10 | -8.3038e-10 | 6.3197e-17 | -8.51e-10 | 8.3038e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.75183 | 0.74967 | 0.95 | 0.75183 | 0.74967 | 2.0169e-13 | -129.3505 | 129.1485 | 2.0157e-13 | -129.3505 | 129.1485
Line_2_3-1ph | 0 | 0.48361 | 0.48361 | 0 | 0.48361 | 0.48361 | 0 | 5.5842 | 5.5842 | 0 | 5.5842 | 5.5842 | -5.329e-15 | 3.4308 | -1.6825 | 5.329e-15 | -2.856 | 2.2573 | 1.1057e-16 | 2.42 | 3.8333 | -1.1057e-16 | -2.2719 | -3.6853 | 0 | -164.5488 | 15.4512 | 0 | 15.4512 | -164.5488 | 0.95 | 0.75183 | 0.74967 | 0.95 | 0.65353 | 0.7739 | 2.0169e-13 | -129.3505 | 129.1485 | 2.0342e-13 | -126.0467 | 136.9391
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6537e-21 | -1.023e-09 | -1.0349e-09 | -5.6537e-21 | 1.023e-09 | 1.0349e-09 | -2.3458e-23 | 8.51e-10 | -8.3038e-10 | 2.3458e-23 | -8.51e-10 | 8.3038e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.75183 | 0.74967 | 0.95 | 0.75183 | 0.74967 | 2.0169e-13 | -129.3505 | 129.1485 | 2.0169e-13 | -129.3505 | 129.1485

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.45815 | 0.45815 | 0 | 0.45815 | 0.45815 | 0 | 5.2903 | 5.2903 | 0 | 5.2903 | 5.2903 | -5.3291e-15 | 3.2887 | -1.3005 | 5.3291e-15 | -3.0791 | 1.5101 | -1.7445e-29 | 2.2958 | 3.5643 | 1.0658e-15 | -2.172 | -3.4404 | 0 | -164.5488 | 15.4512 | 0 | 15.4512 | -164.5488 | 0.9 | 0.75814 | 0.71718 | 0.9 | 0.71226 | 0.71021 | 1.8756e-13 | -129.6305 | 125.4965 | 2.0333e-13 | -129.3505 | 129.1485
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8048e-16 | -9.1814e-10 | -9.2883e-10 | 1.8048e-16 | 9.1814e-10 | 9.2883e-10 | -2.5632e-17 | 7.6378e-10 | -7.4527e-10 | 2.5632e-17 | -7.6378e-10 | 7.4527e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.71226 | 0.71021 | 0.9 | 0.71226 | 0.71021 | 2.0333e-13 | -129.3505 | 129.1485 | 2.0336e-13 | -129.3505 | 129.1485
Line_2_3-1ph | 0 | 0.45815 | 0.45815 | 0 | 0.45815 | 0.45815 | 0 | 5.2903 | 5.2903 | 0 | 5.2903 | 5.2903 | -4.8777e-15 | 3.0791 | -1.5101 | 4.8777e-15 | -2.5633 | 2.0259 | 1.4034e-16 | 2.172 | 3.4404 | -1.4034e-16 | -2.0391 | -3.3076 | 0 | -164.5488 | 15.4512 | 0 | 15.4512 | -164.5488 | 0.9 | 0.71226 | 0.71021 | 0.9 | 0.61913 | 0.73317 | 2.0333e-13 | -129.3505 | 129.1485 | 2.0515e-13 | -126.0467 | 136.9391
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0743e-21 | -9.1814e-10 | -9.2883e-10 | -5.0743e-21 | 9.1814e-10 | 9.2883e-10 | -2.1221e-23 | 7.6378e-10 | -7.4527e-10 | 2.1221e-23 | -7.6378e-10 | 7.4527e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.71226 | 0.71021 | 0.9 | 0.71226 | 0.71021 | 2.0333e-13 | -129.3505 | 129.1485 | 2.0333e-13 | -129.3505 | 129.1485

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010727 | 0.0010727 | 0 | 0.0010727 | 0.0010727 | 0 | 0.012387 | 0.012387 | 0 | 0.012387 | 0.012387 | -2.884e-17 | 0.011363 | 0.0030326 | 2.7741e-17 | -0.011361 | -0.0030315 | -4.3946e-18 | 0.0030523 | 0.011364 | 1.855e-34 | -0.0030517 | -0.011363 | 0 | -135.0627 | 44.9373 | 0 | 44.9373 | -135.0627 | 0.95 | 0.94984 | 0.94954 | 0.95 | 0.94973 | 0.94946 | 3.6307e-16 | -120.0262 | 119.9955 | 3.8313e-16 | -120.0279 | 120.0001
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8406e-19 | -1.8688e-12 | -3.7276e-12 | -5.8406e-19 | 1.8688e-12 | 3.7276e-12 | -1.5674e-19 | 3.2265e-12 | -7.0372e-15 | 1.5674e-19 | -3.2265e-12 | 7.0372e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.8313e-16 | -120.0279 | 120.0001 | 3.8277e-16 | -120.0279 | 120.0001
Line_2_3-1ph | 0 | 0.0010727 | 0.0010727 | 0 | 0.0010727 | 0.0010727 | 0 | 0.012387 | 0.012387 | 0 | 0.012387 | 0.012387 | -2.5876e-17 | 0.011361 | 0.0030315 | 2.5876e-17 | -0.011359 | -0.0030287 | -1.1778e-18 | 0.0030517 | 0.011363 | 1.1778e-18 | -0.0030509 | -0.011363 | 0 | -135.0627 | 44.9373 | 0 | 44.9373 | -135.0627 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.9495 | 0.94935 | 3.8313e-16 | -120.0279 | 120.0001 | 3.8955e-16 | -120.0278 | 120.0125
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3873e-23 | -1.8688e-12 | -3.7276e-12 | -1.3873e-23 | 1.8688e-12 | 3.7276e-12 | -4.4861e-26 | 3.2265e-12 | -7.0392e-15 | 4.4861e-26 | -3.2265e-12 | 7.0392e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.8313e-16 | -120.0279 | 120.0001 | 3.8313e-16 | -120.0279 | 120.0001

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010163 | 0.0010163 | 0 | 0.0010163 | 0.0010163 | 0 | 0.011735 | 0.011735 | 0 | 0.011735 | 0.011735 | -2.1467e-17 | 0.010198 | 0.0027218 | 2.1337e-17 | -0.010197 | -0.0027208 | -1.3655e-34 | 0.0027395 | 0.010199 | 2.0817e-18 | -0.0027389 | -0.010199 | 0 | -135.0627 | 44.9373 | 0 | 44.9373 | -135.0627 | 0.9 | 0.89984 | 0.89957 | 0.9 | 0.89975 | 0.89949 | 3.6445e-16 | -120.0262 | 119.9955 | 3.9085e-16 | -120.0279 | 120.0001
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3023e-20 | -1.6773e-12 | -3.3455e-12 | -1.3023e-20 | 1.6773e-12 | 3.3455e-12 | -1.5634e-19 | 2.8958e-12 | -6.3172e-15 | 1.5634e-19 | -2.8958e-12 | 6.3172e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.9085e-16 | -120.0279 | 120.0001 | 3.9065e-16 | -120.0279 | 120.0001
Line_2_3-1ph | 0 | 0.0010163 | 0.0010163 | 0 | 0.0010163 | 0.0010163 | 0 | 0.011735 | 0.011735 | 0 | 0.011735 | 0.011735 | -2.3038e-17 | 0.010197 | 0.0027208 | 2.3038e-17 | -0.010194 | -0.0027182 | -1.364e-18 | 0.0027389 | 0.010199 | 1.364e-18 | -0.0027382 | -0.010198 | 0 | -135.0627 | 44.9373 | 0 | 44.9373 | -135.0627 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89952 | 0.89938 | 3.9085e-16 | -120.0279 | 120.0001 | 3.9681e-16 | -120.0278 | 120.0125
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2451e-23 | -1.6773e-12 | -3.3455e-12 | -1.2451e-23 | 1.6773e-12 | 3.3455e-12 | -4.1061e-26 | 2.8958e-12 | -6.3172e-15 | 4.1061e-26 | -2.8958e-12 | 6.3172e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.9085e-16 | -120.0279 | 120.0001 | 3.9085e-16 | -120.0279 | 120.0001

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.65303 | 0.00052326 | 0.00052326 | 0.65255 | 0 | 0 | 7.5406 | 0.0060421 | 0.0060421 | 7.5351 | 0 | 0 | 1.7363 | 0.0059633 | -0.0048566 | -1.064 | 7.4895e-10 | -1.7788e-09 | 5.8134 | -0.002166 | -0.0040833 | -5.4327 | -1.449e-09 | -1.0422e-11 | -75.9437 | -100.0486 | -100.0486 | 104.0751 | 0 | 0 |  | 0.80461 | 1.05 | 1.0501 | 0.73469 | 1.0199 | 1.1123 | -2.5728 | -120.0105 | 120.0076 | 2.9941 | -123.0217 | 119.9801
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6911e-09 | -2.1399e-10 | 5.0822e-10 | 1.6911e-09 | 2.1399e-10 | -5.0822e-10 | -2.9549e-10 | 4.1399e-10 | 2.9799e-12 | 2.9549e-10 | -4.1399e-10 | -2.9799e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73469 | 1.0199 | 1.1123 | 0.73469 | 1.0199 | 1.1123 | 2.9941 | -123.0217 | 119.9801 | 2.9941 | -123.0217 | 119.9801
Line_2_3-1ph | 0.65255 | 0 | 0 | 0.65255 | 0 | 0 | 7.5351 | 0 | 0 | 7.5351 | 0 | 0 | 1.064 | -2.1399e-10 | 5.0823e-10 | -0.51891 | 2.1399e-10 | -5.0823e-10 | 5.4327 | 4.1399e-10 | 2.9747e-12 | -5.1631 | -4.1399e-10 | -2.9747e-12 | -75.9249 | 0 | 0 | 104.0751 | 0 | 0 |  | 0.73469 | 1.0199 | 1.1123 | 0.68867 | 1.0199 | 1.1123 | 2.9941 | -123.0217 | 119.9801 | 8.3359 | -123.0217 | 119.9801
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6911e-09 | -2.1399e-10 | 5.0822e-10 | 1.6911e-09 | 2.1399e-10 | -5.0822e-10 | -2.9549e-10 | 4.1399e-10 | 2.9821e-12 | 2.9549e-10 | -4.1399e-10 | -2.9821e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73469 | 1.0199 | 1.1123 | 0.73469 | 1.0199 | 1.1123 | 2.9941 | -123.0217 | 119.9801 | 2.9941 | -123.0217 | 119.9801

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.66362 | 0.00053174 | 0.00053174 | 0.66313 | 0 | 0 | 7.6628 | 0.00614 | 0.00614 | 7.6572 | 0 | 0 | 1.8185 | 0.0063585 | -0.0051511 | -1.1243 | 8.0729e-10 | -1.8904e-09 | 6.2575 | -0.0022779 | -0.0043697 | -5.8641 | -1.5386e-09 | -1.8962e-11 | -76.1953 | -100.3003 | -100.3003 | 103.8234 | 0 | 0 |  | 0.85039 | 1.1 | 1.1001 | 0.77978 | 1.0692 | 1.1633 | -2.3995 | -120.0102 | 120.0073 | 2.9705 | -122.9216 | 119.9669
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8227e-09 | -2.3065e-10 | 5.4012e-10 | 1.8227e-09 | 2.3065e-10 | -5.4012e-10 | -3.2596e-10 | 4.3959e-10 | 5.4171e-12 | 3.2596e-10 | -4.3959e-10 | -5.4171e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.77978 | 1.0692 | 1.1633 | 0.77978 | 1.0692 | 1.1633 | 2.9705 | -122.9216 | 119.9669 | 2.9705 | -122.9216 | 119.9669
Line_2_3-1ph | 0.66313 | 0 | 0 | 0.66313 | 0 | 0 | 7.6572 | 0 | 0 | 7.6572 | 0 | 0 | 1.1243 | -2.3066e-10 | 5.4012e-10 | -0.56139 | 2.3066e-10 | -5.4012e-10 | 5.8641 | 4.3959e-10 | 5.4228e-12 | -5.5857 | -4.3959e-10 | -5.4228e-12 | -76.1766 | 0 | 0 | 103.8234 | 0 | 0 |  | 0.77978 | 1.0692 | 1.1633 | 0.73315 | 1.0692 | 1.1633 | 2.9705 | -122.9216 | 119.9669 | 8.0843 | -122.9216 | 119.9669
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8227e-09 | -2.3066e-10 | 5.4012e-10 | 1.8227e-09 | 2.3066e-10 | -5.4012e-10 | -3.2596e-10 | 4.3959e-10 | 5.4174e-12 | 3.2596e-10 | -4.3959e-10 | -5.4174e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.77978 | 1.0692 | 1.1633 | 0.77978 | 1.0692 | 1.1633 | 2.9705 | -122.9216 | 119.9669 | 2.9705 | -122.9216 | 119.9669

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00068574 | 0 | 0 | 0.00068524 | 0 | 0 | 0.0079183 | 0 | 0 | 0.0079125 | 0 | 0 | 0.0058737 | 4.2064e-06 | -6.5771e-06 | -0.0058706 | -1.668e-14 | -1.5188e-12 | 0.005882 | -5.166e-06 | -1.0599e-06 | -0.0058754 | -1.7632e-12 | 8.9594e-13 | -45.0497 | 0 | 0 | 134.9691 | 0 | 0 |  | 1.0498 | 1.05 | 1.05 | 1.0497 | 1.05 | 1.0501 | -0.0090212 | -120 | 120 | -0.0074216 | -120.0036 | 120.0018
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3533e-12 | 4.7628e-15 | 4.3394e-13 | 2.3533e-12 | -4.7628e-15 | -4.3394e-13 | 1.0469e-12 | 5.0377e-13 | -2.5598e-13 | -1.0469e-12 | -5.0377e-13 | 2.5598e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0497 | 1.05 | 1.0501 | 1.0497 | 1.05 | 1.0501 | -0.0074216 | -120.0036 | 120.0018 | -0.0074216 | -120.0036 | 120.0018
Line_2_3-1ph | 0.00068524 | 0 | 0 | 0.00068524 | 0 | 0 | 0.0079125 | 0 | 0 | 0.0079125 | 0 | 0 | 0.0058706 | 4.7621e-15 | 4.3395e-13 | -0.00587 | -4.7621e-15 | -4.3395e-13 | 0.0058754 | 5.0378e-13 | -2.5599e-13 | -0.0058751 | -5.0378e-13 | 2.5599e-13 | -45.0309 | 0 | 0 | 134.9691 | 0 | 0 |  | 1.0497 | 1.05 | 1.0501 | 1.0496 | 1.05 | 1.0501 | -0.0074216 | -120.0036 | 120.0018 | -0.0059379 | -120.0036 | 120.0018
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3533e-12 | 4.7618e-15 | 4.3394e-13 | 2.3533e-12 | -4.7618e-15 | -4.3394e-13 | 1.047e-12 | 5.0377e-13 | -2.5598e-13 | -1.047e-12 | -5.0377e-13 | 2.5598e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0497 | 1.05 | 1.0501 | 1.0497 | 1.05 | 1.0501 | -0.0074216 | -120.0036 | 120.0018 | -0.0074216 | -120.0036 | 120.0018

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00071838 | 0 | 0 | 0.00071785 | 0 | 0 | 0.0082951 | 0 | 0 | 0.008289 | 0 | 0 | 0.0064461 | 4.6166e-06 | -7.2182e-06 | -0.0064427 | -1.8258e-14 | -1.6669e-12 | 0.0064555 | -5.6694e-06 | -1.1634e-06 | -0.0064483 | -1.9351e-12 | 9.8323e-13 | -45.0509 | 0 | 0 | 134.9679 | 0 | 0 |  | 1.0998 | 1.1 | 1.1 | 1.0997 | 1.1 | 1.1001 | -0.0090208 | -120 | 120 | -0.0074211 | -120.0036 | 120.0018
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5827e-12 | 5.2137e-15 | 4.7625e-13 | 2.5827e-12 | -5.2137e-15 | -4.7625e-13 | 1.149e-12 | 5.5288e-13 | -2.8093e-13 | -1.149e-12 | -5.5288e-13 | 2.8093e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0997 | 1.1 | 1.1001 | 1.0997 | 1.1 | 1.1001 | -0.0074211 | -120.0036 | 120.0018 | -0.0074211 | -120.0036 | 120.0018
Line_2_3-1ph | 0.00071785 | 0 | 0 | 0.00071785 | 0 | 0 | 0.008289 | 0 | 0 | 0.008289 | 0 | 0 | 0.0064427 | 5.2148e-15 | 4.7625e-13 | -0.006442 | -5.2148e-15 | -4.7625e-13 | 0.0064483 | 5.5288e-13 | -2.8092e-13 | -0.0064479 | -5.5288e-13 | 2.8092e-13 | -45.0321 | 0 | 0 | 134.9679 | 0 | 0 |  | 1.0997 | 1.1 | 1.1001 | 1.0996 | 1.1 | 1.1001 | -0.0074211 | -120.0036 | 120.0018 | -0.0059373 | -120.0036 | 120.0018
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5827e-12 | 5.2137e-15 | 4.7625e-13 | 2.5827e-12 | -5.2137e-15 | -4.7625e-13 | 1.149e-12 | 5.5288e-13 | -2.8092e-13 | -1.149e-12 | -5.5288e-13 | 2.8092e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0997 | 1.1 | 1.1001 | 1.0997 | 1.1 | 1.1001 | -0.0074211 | -120.0036 | 120.0018 | -0.0074211 | -120.0036 | 120.0018

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.53404 | 0.00053466 | 0.00053466 | 0.53361 | 0 | 0 | 6.1666 | 0.0061737 | 0.0061737 | 6.1616 | 0 | 0 | 1.9275 | 0.0056561 | -0.0041713 | -1.0642 | 9.6583e-10 | -2.554e-09 | 4.0617 | -0.0015522 | -0.0041245 | -3.8066 | -1.9884e-09 | -4.3755e-11 | -69.3144 | -104.668 | -104.668 | 110.7189 | 0 | 0 |  | 0.72906 | 0.95004 | 0.95018 | 0.64149 | 0.90453 | 1.0452 | -4.7013 | -120.0138 | 120.0089 | 5.0992 | -125.1725 | 119.9016
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4336e-09 | -2.7595e-10 | 7.2971e-10 | 1.4336e-09 | 2.7595e-10 | -7.2971e-10 | -3.9721e-10 | 5.6812e-10 | 1.25e-11 | 3.9721e-10 | -5.6812e-10 | -1.25e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.64149 | 0.90453 | 1.0452 | 0.64149 | 0.90453 | 1.0452 | 5.0992 | -125.1725 | 119.9016 | 5.0992 | -125.1725 | 119.9016
Line_2_3-1ph | 0.53361 | 0 | 0 | 0.53361 | 0 | 0 | 6.1616 | 0 | 0 | 6.1616 | 0 | 0 | 1.0642 | -2.7595e-10 | 7.2971e-10 | -0.36447 | 2.7595e-10 | -7.2971e-10 | 3.8066 | 5.6812e-10 | 1.2505e-11 | -3.6264 | -5.6812e-10 | -1.2505e-11 | -69.2811 | 0 | 0 | 110.7189 | 0 | 0 |  | 0.64149 | 0.90453 | 1.0452 | 0.59151 | 0.90453 | 1.0452 | 5.0992 | -125.1725 | 119.9016 | 14.9797 | -125.1725 | 119.9016
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4336e-09 | -2.7595e-10 | 7.2971e-10 | 1.4336e-09 | 2.7595e-10 | -7.2971e-10 | -3.9721e-10 | 5.6812e-10 | 1.25e-11 | 3.9721e-10 | -5.6812e-10 | -1.25e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.64149 | 0.90453 | 1.0452 | 0.64149 | 0.90453 | 1.0452 | 5.0992 | -125.1725 | 119.9016 | 5.0992 | -125.1725 | 119.9016

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.50594 | 0.00050652 | 0.00050652 | 0.50552 | 0 | 0 | 5.8421 | 0.0058488 | 0.0058488 | 5.8373 | 0 | 0 | 1.7299 | 0.0050764 | -0.0037438 | -0.95516 | 8.6684e-10 | -2.2922e-09 | 3.6454 | -0.0013931 | -0.0037018 | -3.4165 | -1.7846e-09 | -3.9271e-11 | -69.3144 | -104.668 | -104.668 | 110.7189 | 0 | 0 |  | 0.69069 | 0.90004 | 0.90017 | 0.60773 | 0.85692 | 0.99019 | -4.7013 | -120.0138 | 120.0089 | 5.0992 | -125.1725 | 119.9016
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2867e-09 | -2.4767e-10 | 6.5492e-10 | 1.2867e-09 | 2.4767e-10 | -6.5492e-10 | -3.565e-10 | 5.0989e-10 | 1.1218e-11 | 3.565e-10 | -5.0989e-10 | -1.1218e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.60773 | 0.85692 | 0.99019 | 0.60773 | 0.85692 | 0.99019 | 5.0992 | -125.1725 | 119.9016 | 5.0992 | -125.1725 | 119.9016
Line_2_3-1ph | 0.50552 | 0 | 0 | 0.50552 | 0 | 0 | 5.8373 | 0 | 0 | 5.8373 | 0 | 0 | 0.95516 | -2.4767e-10 | 6.5492e-10 | -0.32711 | 2.4767e-10 | -6.5492e-10 | 3.4165 | 5.0989e-10 | 1.1223e-11 | -3.2547 | -5.0989e-10 | -1.1223e-11 | -69.2811 | 0 | 0 | 110.7189 | 0 | 0 |  | 0.60773 | 0.85692 | 0.99019 | 0.56038 | 0.85692 | 0.99019 | 5.0992 | -125.1725 | 119.9016 | 14.9797 | -125.1725 | 119.9016
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2867e-09 | -2.4767e-10 | 6.5492e-10 | 1.2867e-09 | 2.4767e-10 | -6.5492e-10 | -3.565e-10 | 5.0989e-10 | 1.1218e-11 | 3.565e-10 | -5.0989e-10 | -1.1218e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.60773 | 0.85692 | 0.99019 | 0.60773 | 0.85692 | 0.99019 | 5.0992 | -125.1725 | 119.9016 | 5.0992 | -125.1725 | 119.9016

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00062039 | 0 | 0 | 0.00061988 | 0 | 0 | 0.0071636 | 0 | 0 | 0.0071578 | 0 | 0 | 0.0048069 | 5.2508e-06 | -6.3854e-06 | -0.0048046 | 3.2024e-13 | -2.4798e-12 | 0.0048153 | -4.3416e-06 | -2.3765e-06 | -0.0048083 | -2.6779e-12 | 1.0614e-12 | -45.0606 | 0 | 0 | 134.9726 | 0 | 0 |  | 0.94979 | 0.95 | 0.95 | 0.94964 | 0.94999 | 0.9501 | -0.010249 | -120 | 120 | -0.0053119 | -120.0066 | 120.0026
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4837e-12 | -9.1499e-14 | 7.085e-13 | 2.4837e-12 | 9.1499e-14 | -7.085e-13 | 6.1336e-13 | 7.6513e-13 | -3.0325e-13 | -6.1336e-13 | -7.6513e-13 | 3.0325e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94964 | 0.94999 | 0.9501 | 0.94964 | 0.94999 | 0.9501 | -0.0053119 | -120.0066 | 120.0026 | -0.0053119 | -120.0066 | 120.0026
Line_2_3-1ph | 0.00061988 | 0 | 0 | 0.00061988 | 0 | 0 | 0.0071578 | 0 | 0 | 0.0071578 | 0 | 0 | 0.0048046 | -9.1496e-14 | 7.085e-13 | -0.0048036 | 9.1496e-14 | -7.085e-13 | 0.0048083 | 7.6513e-13 | -3.0324e-13 | -0.004808 | -7.6513e-13 | 3.0324e-13 | -45.0274 | 0 | 0 | 134.9726 | 0 | 0 |  | 0.94964 | 0.94999 | 0.9501 | 0.94953 | 0.94999 | 0.9501 | -0.0053119 | -120.0066 | 120.0026 | -0.0011299 | -120.0066 | 120.0026
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4837e-12 | -9.1498e-14 | 7.085e-13 | 2.4837e-12 | 9.1498e-14 | -7.085e-13 | 6.1336e-13 | 7.6513e-13 | -3.0325e-13 | -6.1336e-13 | -7.6513e-13 | 3.0325e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94964 | 0.94999 | 0.9501 | 0.94964 | 0.94999 | 0.9501 | -0.0053119 | -120.0066 | 120.0026 | -0.0053119 | -120.0066 | 120.0026

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00058773 | 0 | 0 | 0.00058725 | 0 | 0 | 0.0067866 | 0 | 0 | 0.006781 | 0 | 0 | 0.0043142 | 4.7126e-06 | -5.7309e-06 | -0.0043121 | 2.8742e-13 | -2.2256e-12 | 0.0043218 | -3.8966e-06 | -2.1329e-06 | -0.0043155 | -2.4035e-12 | 9.5257e-13 | -45.0606 | 0 | 0 | 134.9726 | 0 | 0 |  | 0.8998 | 0.9 | 0.9 | 0.89966 | 0.89999 | 0.9001 | -0.010249 | -120 | 120 | -0.0053119 | -120.0066 | 120.0026
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2291e-12 | -8.212e-14 | 6.3588e-13 | 2.2291e-12 | 8.212e-14 | -6.3588e-13 | 5.5049e-13 | 6.8671e-13 | -2.7216e-13 | -5.5049e-13 | -6.8671e-13 | 2.7216e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89966 | 0.89999 | 0.9001 | 0.89966 | 0.89999 | 0.9001 | -0.0053119 | -120.0066 | 120.0026 | -0.0053119 | -120.0066 | 120.0026
Line_2_3-1ph | 0.00058725 | 0 | 0 | 0.00058725 | 0 | 0 | 0.006781 | 0 | 0 | 0.006781 | 0 | 0 | 0.0043121 | -8.2117e-14 | 6.3588e-13 | -0.0043113 | 8.2117e-14 | -6.3588e-13 | 0.0043155 | 6.8671e-13 | -2.7216e-13 | -0.0043152 | -6.8671e-13 | 2.7216e-13 | -45.0274 | 0 | 0 | 134.9726 | 0 | 0 |  | 0.89966 | 0.89999 | 0.9001 | 0.89955 | 0.89999 | 0.9001 | -0.0053119 | -120.0066 | 120.0026 | -0.0011299 | -120.0066 | 120.0026
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2291e-12 | -8.2119e-14 | 6.3588e-13 | 2.2291e-12 | 8.2119e-14 | -6.3588e-13 | 5.5049e-13 | 6.8671e-13 | -2.7216e-13 | -5.5049e-13 | -6.8671e-13 | 2.7216e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89966 | 0.89999 | 0.9001 | 0.89966 | 0.89999 | 0.9001 | -0.0053119 | -120.0066 | 120.0026 | -0.0053119 | -120.0066 | 120.0026

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0005077 | 0.69011 | 0.6331 | 0 | 0.69003 | 0.63273 | 0.0058624 | 7.9687 | 7.3105 | 0 | 7.9678 | 7.3061 | 0.00076929 | 1.7931 | 1.2774 | -9.6953e-10 | -1.1897 | -1.0003 | -0.0061084 | 6.0391 | 5.7824 | -1.3739e-09 | -6.0746 | -5.1075 | 82.8197 | 163.8404 | 40.9109 | 0 | -16.118 | -139.1198 |  | 1.0502 | 0.79055 | 0.81004 | 1.0837 | 0.77688 | 0.71236 | -0.0023547 | -122.6962 | 118.4532 | -2.6963 | -117.1989 | 119.7993
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.77e-10 | -1.5489e-09 | -1.7638e-09 | -2.77e-10 | 1.5489e-09 | 1.7638e-09 | 3.9254e-10 | -2.9233e-10 | 1.9212e-11 | -3.9254e-10 | 2.9233e-10 | -1.9212e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0837 | 0.77688 | 0.71236 | 1.0837 | 0.77688 | 0.71236 | -2.6963 | -117.1989 | 119.7993 | -2.6963 | -117.1989 | 119.7993
Line_2_3-1ph | 0 | 0.69003 | 0.63273 | 0 | 0.69003 | 0.63273 | 0 | 7.9678 | 7.3061 | 0 | 7.9678 | 7.3061 | 2.7704e-10 | 1.1897 | 1.0003 | -2.7704e-10 | -0.58023 | -0.48786 | 3.9254e-10 | 6.0746 | 5.1075 | -3.9254e-10 | -5.7732 | -4.8541 | 0 | 163.882 | 40.8802 | 0 | -16.118 | -139.1198 |  | 1.0837 | 0.77688 | 0.71236 | 1.0837 | 0.72822 | 0.66774 | -2.6963 | -117.1989 | 119.7993 | -2.6963 | -111.8572 | 125.1411
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.77e-10 | -1.5489e-09 | -1.7638e-09 | -2.77e-10 | 1.5489e-09 | 1.7638e-09 | 3.9254e-10 | -2.9234e-10 | 1.921e-11 | -3.9254e-10 | 2.9234e-10 | -1.921e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0837 | 0.77688 | 0.71236 | 1.0837 | 0.77688 | 0.71236 | -2.6963 | -117.1989 | 119.7993 | -2.6963 | -117.1989 | 119.7993

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00051651 | 0.70017 | 0.64381 | 0 | 0.70009 | 0.64343 | 0.0059642 | 8.0849 | 7.4341 | 0 | 8.084 | 7.4296 | 0.00085712 | 1.8745 | 1.3467 | -1.022e-09 | -1.2531 | -1.0584 | -0.0065055 | 6.4982 | 6.2187 | -1.4696e-09 | -6.536 | -5.5208 | 82.492 | 163.5865 | 40.7703 | 0 | -16.3717 | -139.2603 |  | 1.1002 | 0.83651 | 0.8559 | 1.134 | 0.82324 | 0.75661 | -0.0023438 | -122.5049 | 118.5515 | -2.631 | -117.2247 | 119.8867
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.92e-10 | -1.663e-09 | -1.9053e-09 | -2.92e-10 | 1.663e-09 | 1.9053e-09 | 4.1989e-10 | -3.2154e-10 | 1.2069e-11 | -4.1989e-10 | 3.2154e-10 | -1.2069e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.134 | 0.82324 | 0.75661 | 1.134 | 0.82324 | 0.75661 | -2.631 | -117.2247 | 119.8867 | -2.631 | -117.2247 | 119.8867
Line_2_3-1ph | 0 | 0.70009 | 0.64343 | 0 | 0.70009 | 0.64343 | 0 | 8.084 | 7.4296 | 0 | 8.084 | 7.4296 | 2.9199e-10 | 1.2531 | 1.0584 | -2.9199e-10 | -0.62571 | -0.52852 | 4.1989e-10 | 6.536 | 5.5208 | -4.1989e-10 | -6.2258 | -5.2587 | 0 | 163.6283 | 40.7397 | 0 | -16.3717 | -139.2603 |  | 1.134 | 0.82324 | 0.75661 | 1.134 | 0.77402 | 0.71137 | -2.631 | -117.2247 | 119.8867 | -2.631 | -112.1109 | 125.0005
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.92e-10 | -1.663e-09 | -1.9053e-09 | -2.92e-10 | 1.663e-09 | 1.9053e-09 | 4.1989e-10 | -3.2154e-10 | 1.2068e-11 | -4.1989e-10 | 3.2154e-10 | -1.2068e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.134 | 0.82324 | 0.75661 | 1.134 | 0.82324 | 0.75661 | -2.631 | -117.2247 | 119.8867 | -2.631 | -117.2247 | 119.8867

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00068533 | 0.00068568 | 0 | 0.00068528 | 0.00068524 | 0 | 0.0079135 | 0.0079176 | 0 | 0.0079129 | 0.0079125 | -2.3707e-06 | 0.0058676 | 0.0058775 | -1.5353e-12 | -0.0058712 | -0.0058706 | -6.2254e-06 | 0.0058811 | 0.0058772 | -8.6716e-13 | -0.005876 | -0.0058754 | 0 | -165.0748 | 74.9924 | 0 | 14.9709 | -105.0345 |  | 1.05 | 1.0498 | 1.0498 | 1.0501 | 1.0498 | 1.0497 | 2.9831e-06 | -120.009 | 119.991 | -0.0017557 | -120.0056 | 119.989
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3866e-13 | -1.9197e-12 | -2.3484e-12 | -4.3866e-13 | 1.9197e-12 | 2.3484e-12 | 2.4776e-13 | 7.9113e-13 | 1.5506e-12 | -2.4776e-13 | -7.9113e-13 | -1.5506e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0501 | 1.0498 | 1.0497 | 1.0501 | 1.0498 | 1.0497 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0056 | 119.989
Line_2_3-1ph | 0 | 0.00068528 | 0.00068524 | 0 | 0.00068528 | 0.00068524 | 0 | 0.0079129 | 0.0079125 | 0 | 0.0079129 | 0.0079125 | 4.387e-13 | 0.0058712 | 0.0058706 | -4.387e-13 | -0.0058706 | -0.00587 | 2.4776e-13 | 0.005876 | 0.0058754 | -2.4776e-13 | -0.0058757 | -0.0058751 | 0 | -165.0291 | 74.9655 | 0 | 14.9709 | -105.0345 |  | 1.0501 | 1.0498 | 1.0497 | 1.0501 | 1.0497 | 1.0496 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0041 | 119.9905
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3866e-13 | -1.9197e-12 | -2.3484e-12 | -4.3866e-13 | 1.9197e-12 | 2.3484e-12 | 2.4776e-13 | 7.9113e-13 | 1.5506e-12 | -2.4776e-13 | -7.9113e-13 | -1.5506e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0501 | 1.0498 | 1.0497 | 1.0501 | 1.0498 | 1.0497 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0056 | 119.989

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00071795 | 0.00071832 | 0 | 0.00071789 | 0.00071785 | 0 | 0.0082902 | 0.0082944 | 0 | 0.0082895 | 0.008289 | -2.6016e-06 | 0.0064394 | 0.0064503 | -1.6849e-12 | -0.0064434 | -0.0064427 | -6.8323e-06 | 0.0064545 | 0.0064503 | -9.5173e-13 | -0.0064489 | -0.0064483 | 0 | -165.076 | 74.9912 | 0 | 14.9697 | -105.0357 |  | 1.1 | 1.0998 | 1.0998 | 1.1001 | 1.0997 | 1.0997 | 2.9828e-06 | -120.009 | 119.991 | -0.0017557 | -120.0056 | 119.989
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8141e-13 | -2.1069e-12 | -2.5774e-12 | -4.8141e-13 | 2.1069e-12 | 2.5774e-12 | 2.7192e-13 | 8.6821e-13 | 1.7017e-12 | -2.7192e-13 | -8.6821e-13 | -1.7017e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1001 | 1.0997 | 1.0997 | 1.1001 | 1.0997 | 1.0997 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0056 | 119.989
Line_2_3-1ph | 0 | 0.00071789 | 0.00071785 | 0 | 0.00071789 | 0.00071785 | 0 | 0.0082895 | 0.008289 | 0 | 0.0082895 | 0.008289 | 4.814e-13 | 0.0064434 | 0.0064427 | -4.814e-13 | -0.0064427 | -0.006442 | 2.7192e-13 | 0.0064489 | 0.0064483 | -2.7192e-13 | -0.0064486 | -0.0064479 | 0 | -165.0303 | 74.9643 | 0 | 14.9697 | -105.0357 |  | 1.1001 | 1.0997 | 1.0997 | 1.1001 | 1.0997 | 1.0996 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0041 | 119.9905
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8141e-13 | -2.1069e-12 | -2.5774e-12 | -4.8141e-13 | 2.1069e-12 | 2.5774e-12 | 2.7192e-13 | 8.6821e-13 | 1.7017e-12 | -2.7192e-13 | -8.6821e-13 | -1.7017e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1001 | 1.0997 | 1.0997 | 1.1001 | 1.0997 | 1.0997 | -0.0017557 | -120.0056 | 119.989 | -0.0017557 | -120.0056 | 119.989

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00050817 | 0.58394 | 0.50576 | 0 | 0.58394 | 0.50535 | 0.0058678 | 6.7428 | 5.8401 | 0 | 6.7428 | 5.8353 | 0.00095684 | 2.0302 | 1.3175 | -1.4347e-09 | -1.2745 | -0.9545 | -0.0054929 | 4.3195 | 4.084 | -1.8358e-09 | -4.5586 | -3.4141 | 80.115 | 170.086 | 45.0947 | 0 | -9.8642 | -134.9383 |  | 0.95021 | 0.70785 | 0.7348 | 1.003 | 0.702 | 0.60752 | -0.0035671 | -125.088 | 117.2145 | -4.3046 | -115.4838 | 119.442
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.099e-10 | -1.2615e-09 | -1.5256e-09 | -4.099e-10 | 1.2615e-09 | 1.5256e-09 | 5.245e-10 | -3.8509e-10 | 4.122e-11 | -5.245e-10 | 3.8509e-10 | -4.122e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.003 | 0.702 | 0.60752 | 1.003 | 0.702 | 0.60752 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -115.4838 | 119.442
Line_2_3-1ph | 0 | 0.58394 | 0.50535 | 0 | 0.58394 | 0.50535 | 0 | 6.7428 | 5.8353 | 0 | 6.7428 | 5.8353 | 4.099e-10 | 1.2745 | 0.9545 | -4.099e-10 | -0.43646 | -0.32688 | 5.245e-10 | 4.5586 | 3.4141 | -5.245e-10 | -4.3427 | -3.2524 | 0 | 170.1358 | 45.0617 | 0 | -9.8642 | -134.9383 |  | 1.003 | 0.702 | 0.60752 | 1.003 | 0.6473 | 0.56018 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -105.6033 | 129.3225
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.099e-10 | -1.2615e-09 | -1.5256e-09 | -4.099e-10 | 1.2615e-09 | 1.5256e-09 | 5.245e-10 | -3.8509e-10 | 4.122e-11 | -5.245e-10 | 3.8509e-10 | -4.122e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.003 | 0.702 | 0.60752 | 1.003 | 0.702 | 0.60752 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -115.4838 | 119.442

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00048142 | 0.55321 | 0.47915 | 0 | 0.55321 | 0.47875 | 0.005559 | 6.3879 | 5.5327 | 0 | 6.3879 | 5.5281 | 0.00085877 | 1.8221 | 1.1825 | -1.2876e-09 | -1.1438 | -0.85667 | -0.00493 | 3.8768 | 3.6654 | -1.6476e-09 | -4.0914 | -3.0642 | 80.115 | 170.086 | 45.0947 | 0 | -9.8642 | -134.9383 |  | 0.9002 | 0.6706 | 0.69612 | 0.95025 | 0.66505 | 0.57554 | -0.0035671 | -125.088 | 117.2145 | -4.3046 | -115.4838 | 119.442
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6789e-10 | -1.1322e-09 | -1.3692e-09 | -3.6789e-10 | 1.1322e-09 | 1.3692e-09 | 4.7075e-10 | -3.4562e-10 | 3.6994e-11 | -4.7075e-10 | 3.4562e-10 | -3.6994e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95025 | 0.66505 | 0.57554 | 0.95025 | 0.66505 | 0.57554 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -115.4838 | 119.442
Line_2_3-1ph | 0 | 0.55321 | 0.47875 | 0 | 0.55321 | 0.47875 | 0 | 6.3879 | 5.5281 | 0 | 6.3879 | 5.5281 | 3.6789e-10 | 1.1438 | 0.85667 | -3.6789e-10 | -0.39173 | -0.29338 | 4.7074e-10 | 4.0914 | 3.0642 | -4.7074e-10 | -3.8976 | -2.9191 | 0 | 170.1358 | 45.0617 | 0 | -9.8642 | -134.9383 |  | 0.95025 | 0.66505 | 0.57554 | 0.95025 | 0.61324 | 0.5307 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -105.6033 | 129.3225
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6789e-10 | -1.1322e-09 | -1.3692e-09 | -3.6789e-10 | 1.1322e-09 | 1.3692e-09 | 4.7075e-10 | -3.4562e-10 | 3.6995e-11 | -4.7075e-10 | 3.4562e-10 | -3.6995e-11 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95025 | 0.66505 | 0.57554 | 0.95025 | 0.66505 | 0.57554 | -4.3046 | -115.4838 | 119.442 | -4.3046 | -115.4838 | 119.442

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00061989 | 0.00062044 | 0 | 0.00061995 | 0.00061987 | 0 | 0.0071579 | 0.0071642 | 0 | 0.0071585 | 0.0071577 | -1.1349e-06 | 0.0048012 | 0.0048115 | -2.1591e-12 | -0.0048056 | -0.0048044 | -6.7174e-06 | 0.0048133 | 0.0048115 | -1.6163e-12 | -0.0048093 | -0.0048081 | 0 | -165.0819 | 74.9899 | 0 | 14.9753 | -105.034 |  | 0.95 | 0.94979 | 0.94979 | 0.95009 | 0.94974 | 0.94963 | 1.0973e-06 | -120.0102 | 119.9897 | -0.0039974 | -120.0027 | 119.9881
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1689e-13 | -1.776e-12 | -2.575e-12 | -6.1689e-13 | 1.776e-12 | 2.575e-12 | 4.6179e-13 | 3.1038e-13 | 1.3783e-12 | -4.6179e-13 | -3.1038e-13 | -1.3783e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95009 | 0.94974 | 0.94963 | 0.95009 | 0.94974 | 0.94963 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -120.0027 | 119.9881
Line_2_3-1ph | 0 | 0.00061995 | 0.00061987 | 0 | 0.00061995 | 0.00061987 | 0 | 0.0071585 | 0.0071577 | 0 | 0.0071585 | 0.0071577 | 6.1688e-13 | 0.0048056 | 0.0048044 | -6.1688e-13 | -0.0048047 | -0.0048035 | 4.6179e-13 | 0.0048093 | 0.0048081 | -4.6179e-13 | -0.0048091 | -0.0048079 | 0 | -165.0247 | 74.966 | 0 | 14.9753 | -105.034 |  | 0.95009 | 0.94974 | 0.94963 | 0.95009 | 0.94963 | 0.94951 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -119.9985 | 119.9922
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1689e-13 | -1.776e-12 | -2.575e-12 | -6.1689e-13 | 1.776e-12 | 2.575e-12 | 4.6179e-13 | 3.1038e-13 | 1.3783e-12 | -4.6179e-13 | -3.1038e-13 | -1.3783e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95009 | 0.94974 | 0.94963 | 0.95009 | 0.94974 | 0.94963 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -120.0027 | 119.9881

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.00058726 | 0.00058778 | 0 | 0.00058732 | 0.00058725 | 0 | 0.0067811 | 0.0067871 | 0 | 0.0067818 | 0.0067809 | -1.0186e-06 | 0.0043091 | 0.0043184 | -1.9378e-12 | -0.0043131 | -0.004312 | -6.0289e-06 | 0.0043199 | 0.0043183 | -1.4506e-12 | -0.0043164 | -0.0043153 | 0 | -165.0819 | 74.9899 | 0 | 14.9753 | -105.034 |  | 0.9 | 0.8998 | 0.8998 | 0.90008 | 0.89976 | 0.89965 | 1.0973e-06 | -120.0102 | 119.9897 | -0.0039974 | -120.0027 | 119.9881
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5366e-13 | -1.5939e-12 | -2.3111e-12 | -5.5366e-13 | 1.5939e-12 | 2.3111e-12 | 4.1446e-13 | 2.7857e-13 | 1.237e-12 | -4.1446e-13 | -2.7857e-13 | -1.237e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90008 | 0.89976 | 0.89965 | 0.90008 | 0.89976 | 0.89965 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -120.0027 | 119.9881
Line_2_3-1ph | 0 | 0.00058732 | 0.00058725 | 0 | 0.00058732 | 0.00058725 | 0 | 0.0067818 | 0.0067809 | 0 | 0.0067818 | 0.0067809 | 5.5365e-13 | 0.0043131 | 0.004312 | -5.5365e-13 | -0.0043122 | -0.0043112 | 4.1446e-13 | 0.0043164 | 0.0043153 | -4.1446e-13 | -0.0043162 | -0.0043151 | 0 | -165.0247 | 74.966 | 0 | 14.9753 | -105.034 |  | 0.90008 | 0.89976 | 0.89965 | 0.90008 | 0.89965 | 0.89954 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -119.9985 | 119.9922
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5366e-13 | -1.594e-12 | -2.3111e-12 | -5.5366e-13 | 1.594e-12 | 2.3111e-12 | 4.1446e-13 | 2.7857e-13 | 1.237e-12 | -4.1446e-13 | -2.7857e-13 | -1.237e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90008 | 0.89976 | 0.89965 | 0.90008 | 0.89976 | 0.89965 | -0.0039974 | -120.0027 | 119.9881 | -0.0039974 | -120.0027 | 119.9881