## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1e-07 | 0.0325 | -1e-07 | 0.036875 | 95.7106 | -84.2894 | 0 | 0.0098306 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -35.6809 | -35.6809

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1e-07 | 0.0325 | -1e-07 | 0.036875 | 95.7106 | -84.2894 | 0 | 0.0098306 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0098306 | 0.0098306 | -35.6809 | -35.6809

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1.3256 | 1.3581 | -3.5259 | 3.5628 | 95.7106 | -84.2894 | 0.75338 | 0.76257 | -14.8932 | -15.1554
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76257 | 0.76257 | -15.1554 | -15.1554
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76257 | 0.76257 | -15.1554 | -15.1554

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.14434 | 0.14434 | 0.20412 | 0 | 5 | 5 | -1.3256 | 1.3581 | -3.5259 | 3.5628 | 95.7106 | -84.2894 | 0.75338 | 0.76257 | -14.8932 | -15.1554
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76257 | 0.76257 | -15.1554 | -15.1554
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.76257 | 0.76257 | -15.1554 | -15.1554

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 8.7506e-20 | 0 | -1.3421e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 8.7506e-20 | 0 | -1.3421e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 5.9142e-10 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 5.9142e-10 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.19154 | -0.8773 | 0.78153 | 0.20237 | 0.88813 | -0.7707 | -1.9154 | -0.39592 | -0.5618 | 1.9277 | 0.40821 | 0.5741 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.155 | 0.5775 | 0.5775 | 1.163 | 0.58647 | 0.57661 | -7.0552e-06 | 180 | 180 | -0.28249 | -179.6045 | 179.0279
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.687e-10 | 6.4312e-11 | 2.2264e-11 | -2.6871e-10 | -6.4304e-11 | -2.2264e-11 | 2.3125e-11 | 2.0403e-09 | -1.9941e-09 | -2.3125e-11 | -2.0403e-09 | 1.9941e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.58647 | 0.57661 | 1.163 | 0.58647 | 0.57661 | -0.28249 | -179.6045 | 179.0279 | -0.28249 | -179.6045 | 179.0279
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6872e-10 | 6.4318e-11 | 2.2264e-11 | -2.6873e-10 | -6.4309e-11 | -2.2264e-11 | 2.3119e-11 | 2.0403e-09 | -1.9941e-09 | -2.3125e-11 | -2.0403e-09 | 1.9941e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.58647 | 0.57661 | 1.163 | 0.58647 | 0.57661 | -0.28249 | -179.6045 | 179.0279 | -0.28249 | -179.6045 | 179.0279

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.19154 | -0.8773 | 0.78153 | 0.20237 | 0.88813 | -0.7707 | -1.9154 | -0.39592 | -0.5618 | 1.9277 | 0.40821 | 0.5741 | 95.7104 | -24.2892 | -144.2895 | -84.2896 | 155.7108 | 35.7105 | 1.155 | 0.5775 | 0.5775 | 1.163 | 0.58647 | 0.57661 | -7.0552e-06 | 180 | 180 | -0.28249 | -179.6045 | 179.0279
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.687e-10 | 6.4312e-11 | 2.2264e-11 | -2.6871e-10 | -6.4304e-11 | -2.2264e-11 | 2.3125e-11 | 2.0403e-09 | -1.9941e-09 | -2.3125e-11 | -2.0403e-09 | 1.9941e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.58647 | 0.57661 | 1.163 | 0.58647 | 0.57661 | -0.28249 | -179.6045 | 179.0279 | -0.28249 | -179.6045 | 179.0279
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6872e-10 | 6.4318e-11 | 2.2264e-11 | -2.6873e-10 | -6.4309e-11 | -2.2264e-11 | 2.3119e-11 | 2.0403e-09 | -1.9941e-09 | -2.3125e-11 | -2.0403e-09 | 1.9941e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.58647 | 0.57661 | 1.163 | 0.58647 | 0.57661 | -0.28249 | -179.6045 | 179.0279 | -0.28249 | -179.6045 | 179.0279

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.19154 | -0.84406 | 0.11628 | 0.20237 | 0.85489 | -0.10545 | -1.9154 | -1.1833 | -0.98427 | 1.9277 | 1.1956 | 0.99656 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.155 | 0.87208 | 0.59467 | 1.163 | 0.88186 | 0.60128 | -5.4787e-06 | -149.7905 | 132.4483 | -0.28249 | -149.856 | 131.7507
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6871e-10 | -2.3328e-10 | -1.0487e-09 | -2.6871e-10 | 2.3329e-10 | 1.0487e-09 | 2.3127e-11 | 1.7707e-09 | -4.939e-10 | -2.3119e-11 | -1.7707e-09 | 4.939e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.88186 | 0.60128 | 1.163 | 0.88186 | 0.60128 | -0.28249 | -149.856 | 131.7507 | -0.28249 | -149.856 | 131.7507
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6871e-10 | -2.3328e-10 | -1.0487e-09 | -2.6872e-10 | 2.3329e-10 | 1.0487e-09 | 2.3114e-11 | 1.7707e-09 | -4.939e-10 | -2.3111e-11 | -1.7707e-09 | 4.939e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.88186 | 0.60128 | 1.163 | 0.88186 | 0.60128 | -0.28249 | -149.856 | 131.7507 | -0.28249 | -149.856 | 131.7507

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | -0.19154 | -0.84406 | 0.11628 | 0.20237 | 0.85489 | -0.10545 | -1.9154 | -1.1833 | -0.98427 | 1.9277 | 1.1956 | 0.99656 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.155 | 0.87208 | 0.59467 | 1.163 | 0.88186 | 0.60128 | -5.4787e-06 | -149.7905 | 132.4483 | -0.28249 | -149.856 | 131.7507
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6871e-10 | -2.3328e-10 | -1.0487e-09 | -2.6871e-10 | 2.3329e-10 | 1.0487e-09 | 2.3127e-11 | 1.7707e-09 | -4.939e-10 | -2.3119e-11 | -1.7707e-09 | 4.939e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.88186 | 0.60128 | 1.163 | 0.88186 | 0.60128 | -0.28249 | -149.856 | 131.7507 | -0.28249 | -149.856 | 131.7507
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6871e-10 | -2.3328e-10 | -1.0487e-09 | -2.6872e-10 | 2.3329e-10 | 1.0487e-09 | 2.3114e-11 | 1.7707e-09 | -4.939e-10 | -2.3111e-11 | -1.7707e-09 | 4.939e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.163 | 0.88186 | 0.60128 | 1.163 | 0.88186 | 0.60128 | -0.28249 | -149.856 | 131.7507 | -0.28249 | -149.856 | 131.7507

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13862 | 0.14677 | 0.14778 | 0.14053 | 0.14594 | 0.14662 | 1.6007 | 1.6948 | 1.7065 | 1.6227 | 1.6852 | 1.693 | -1.9943e-12 | -0.12849 | -0.25506 | 0.0080024 | 0.16332 | 0.24498 | 6.2405e-12 | -1.9548 | -1.9566 | 0.011219 | 1.9528 | 1.9587 | 95.9564 | -26.3384 | -142.4851 | -84.1264 | 154.336 | 36.9226 | 0 | 1.1559 | 1.1563 | 0.0084927 | 1.1629 | 1.1659 | 0 | -120.0991 | 120.0879 | -29.6253 | -120.4446 | 119.7933
Line_1 | 0.0019162 | 0.0019162 | 0.0019162 | 0 | 0 | 0 | 0.022126 | 0.022126 | 0.022126 | 0 | 0 | 0 | 9.2112e-05 | 0.022244 | -0.022326 | 2.9041e-11 | -2.6736e-10 | -2.8327e-10 | 0.00016379 | -0.012932 | -0.012924 | -1.5693e-11 | -3.7471e-11 | -1.7163e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.0084927 | 1.1629 | 1.1659 | 0.0082388 | 1.1627 | 1.1662 | -29.6253 | -120.4446 | 119.7933 | -28.1816 | -120.4574 | 119.7909
Line_2 | 0.0019162 | 0.0019162 | 0.0019162 | 0 | 0 | 0 | 0.022126 | 0.022126 | 0.022126 | 0 | 0 | 0 | 9.2112e-05 | 0.022244 | -0.022326 | 2.9041e-11 | -2.6738e-10 | -2.8328e-10 | 0.00016379 | -0.012932 | -0.012924 | -1.5694e-11 | -3.7431e-11 | -1.7157e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.0084927 | 1.1629 | 1.1659 | 0.0082388 | 1.1627 | 1.1662 | -29.6253 | -120.4446 | 119.7933 | -28.1816 | -120.4574 | 119.7909

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13862 | 0.14677 | 0.14778 | 0.14053 | 0.14594 | 0.14662 | 1.6007 | 1.6948 | 1.7065 | 1.6227 | 1.6852 | 1.693 | -1.9943e-12 | -0.12849 | -0.25506 | 0.0080024 | 0.16332 | 0.24498 | 6.2405e-12 | -1.9548 | -1.9566 | 0.011219 | 1.9528 | 1.9587 | 95.9564 | -26.3384 | -142.4851 | -84.1264 | 154.336 | 36.9226 | 0 | 1.1559 | 1.1563 | 0.0084927 | 1.1629 | 1.1659 | 0 | -120.0991 | 120.0879 | -29.6253 | -120.4446 | 119.7933
Line_1 | 0.0019162 | 0.0019162 | 0.0019162 | 0 | 0 | 0 | 0.022126 | 0.022126 | 0.022126 | 0 | 0 | 0 | 9.2112e-05 | 0.022244 | -0.022326 | 2.9041e-11 | -2.6736e-10 | -2.8327e-10 | 0.00016379 | -0.012932 | -0.012924 | -1.5693e-11 | -3.7471e-11 | -1.7163e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.0084927 | 1.1629 | 1.1659 | 0.0082388 | 1.1627 | 1.1662 | -29.6253 | -120.4446 | 119.7933 | -28.1816 | -120.4574 | 119.7909
Line_2 | 0.0019162 | 0.0019162 | 0.0019162 | 0 | 0 | 0 | 0.022126 | 0.022126 | 0.022126 | 0 | 0 | 0 | 9.2112e-05 | 0.022244 | -0.022326 | 2.9041e-11 | -2.6738e-10 | -2.8328e-10 | 0.00016379 | -0.012932 | -0.012924 | -1.5694e-11 | -3.7431e-11 | -1.7157e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.0084927 | 1.1629 | 1.1659 | 0.0082388 | 1.1627 | 1.1662 | -29.6253 | -120.4446 | 119.7933 | -28.1816 | -120.4574 | 119.7909

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14212 | 0.14609 | 0.14482 | 0.14286 | 0.14551 | 0.14466 | 1.6411 | 1.6869 | 1.6723 | 1.6496 | 1.6802 | 1.6704 | -0.42904 | -0.17439 | -0.22111 | 0.44314 | 0.19235 | 0.22159 | -1.1586 | -1.9417 | -1.9191 | 1.1753 | 1.9454 | 1.9313 | 95.413 | -24.8971 | -143.3843 | -84.4864 | 155.3033 | 36.3148 | 0.75282 | 1.1557 | 1.1552 | 0.76144 | 1.1635 | 1.1638 | -14.9072 | -120.0293 | 120.0432 | -15.1449 | -120.3434 | 119.7696
Line_1 | 0.00077864 | 0.00077864 | 0.00077864 | 0 | 0 | 0 | 0.008991 | 0.008991 | 0.008991 | 0 | 0 | 0 | 0.0043309 | 0.0060834 | -0.010413 | 8.3885e-10 | -2.7088e-10 | -2.7296e-10 | 0.005302 | -0.0085104 | -0.001034 | -8.0199e-10 | -2.8659e-11 | -1.8722e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.76144 | 1.1635 | 1.1638 | 0.76132 | 1.1635 | 1.1639 | -15.1449 | -120.3434 | 119.7696 | -15.1399 | -120.3499 | 119.7714
Line_2 | 0.00077864 | 0.00077864 | 0.00077864 | 0 | 0 | 0 | 0.008991 | 0.008991 | 0.008991 | 0 | 0 | 0 | 0.0043309 | 0.0060834 | -0.010413 | 8.3884e-10 | -2.7088e-10 | -2.7295e-10 | 0.005302 | -0.0085104 | -0.001034 | -8.0199e-10 | -2.8656e-11 | -1.8725e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.76144 | 1.1635 | 1.1638 | 0.76132 | 1.1635 | 1.1639 | -15.1449 | -120.3434 | 119.7696 | -15.1399 | -120.3499 | 119.7714

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14212 | 0.14609 | 0.14482 | 0.14286 | 0.14551 | 0.14466 | 1.6411 | 1.6869 | 1.6723 | 1.6496 | 1.6802 | 1.6704 | -0.42904 | -0.17439 | -0.22111 | 0.44314 | 0.19235 | 0.22159 | -1.1586 | -1.9417 | -1.9191 | 1.1753 | 1.9454 | 1.9313 | 95.413 | -24.8971 | -143.3843 | -84.4864 | 155.3033 | 36.3148 | 0.75282 | 1.1557 | 1.1552 | 0.76144 | 1.1635 | 1.1638 | -14.9072 | -120.0293 | 120.0432 | -15.1449 | -120.3434 | 119.7696
Line_1 | 0.00077864 | 0.00077864 | 0.00077864 | 0 | 0 | 0 | 0.008991 | 0.008991 | 0.008991 | 0 | 0 | 0 | 0.0043309 | 0.0060834 | -0.010413 | 8.3885e-10 | -2.7088e-10 | -2.7296e-10 | 0.005302 | -0.0085104 | -0.001034 | -8.0199e-10 | -2.8659e-11 | -1.8722e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.76144 | 1.1635 | 1.1638 | 0.76132 | 1.1635 | 1.1639 | -15.1449 | -120.3434 | 119.7696 | -15.1399 | -120.3499 | 119.7714
Line_2 | 0.00077864 | 0.00077864 | 0.00077864 | 0 | 0 | 0 | 0.008991 | 0.008991 | 0.008991 | 0 | 0 | 0 | 0.0043309 | 0.0060834 | -0.010413 | 8.3884e-10 | -2.7088e-10 | -2.7295e-10 | 0.005302 | -0.0085104 | -0.001034 | -8.0199e-10 | -2.8656e-11 | -1.8725e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.76144 | 1.1635 | 1.1638 | 0.76132 | 1.1635 | 1.1639 | -15.1449 | -120.3434 | 119.7696 | -15.1399 | -120.3499 | 119.7714

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15004 | 0.14209 | 0.14105 | 0.14814 | 0.14282 | 0.14212 | 1.7326 | 1.6408 | 1.6287 | 1.7106 | 1.6492 | 1.6411 | -0.192 | -5.0334e-12 | -5.315e-12 | 0.20585 | 0.0091165 | 0.0097921 | -1.9957 | 3.552e-12 | 3.1059e-12 | 1.9835 | 0.013839 | 0.0097 | 95.4843 | -22.1771 | -146.1766 | -84.4434 | 157.1124 | 34.4624 | 1.1572 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | -0.011179 | 0 | 0 | -0.36824 | -146.2617 | 79.1916
Line_1 | 0.0019126 | 0.0019126 | 0.0019126 | 0 | 0 | 0 | 0.022085 | 0.022085 | 0.022085 | 0 | 0 | 0 | -4.8108e-05 | -0.0001241 | 0.00018235 | -2.8185e-10 | 3.68e-11 | 2.4084e-11 | -0.025746 | 0.00018398 | -3.3951e-05 | -3.1462e-11 | -1.6895e-11 | -2.1939e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | 1.1659 | 0.010124 | 0.0081219 | -0.36824 | -146.2617 | 79.1916 | -0.38327 | -144.4402 | 77.9526
Line_2 | 0.0019126 | 0.0019126 | 0.0019126 | 0 | 0 | 0 | 0.022085 | 0.022085 | 0.022085 | 0 | 0 | 0 | -4.8108e-05 | -0.0001241 | 0.00018235 | -2.8185e-10 | 3.68e-11 | 2.4084e-11 | -0.025746 | 0.00018398 | -3.3951e-05 | -3.1462e-11 | -1.6895e-11 | -2.194e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | 1.1659 | 0.010124 | 0.0081219 | -0.36824 | -146.2617 | 79.1916 | -0.38327 | -144.4402 | 77.9526

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15004 | 0.14209 | 0.14105 | 0.14814 | 0.14282 | 0.14212 | 1.7326 | 1.6408 | 1.6287 | 1.7106 | 1.6492 | 1.6411 | -0.192 | -5.0334e-12 | -5.315e-12 | 0.20585 | 0.0091165 | 0.0097921 | -1.9957 | 3.552e-12 | 3.1059e-12 | 1.9835 | 0.013839 | 0.0097 | 95.4843 | -22.1771 | -146.1766 | -84.4434 | 157.1124 | 34.4624 | 1.1572 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | -0.011179 | 0 | 0 | -0.36824 | -146.2617 | 79.1916
Line_1 | 0.0019126 | 0.0019126 | 0.0019126 | 0 | 0 | 0 | 0.022085 | 0.022085 | 0.022085 | 0 | 0 | 0 | -4.8108e-05 | -0.0001241 | 0.00018235 | -2.8185e-10 | 3.68e-11 | 2.4084e-11 | -0.025746 | 0.00018398 | -3.3951e-05 | -3.1462e-11 | -1.6895e-11 | -2.1939e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | 1.1659 | 0.010124 | 0.0081219 | -0.36824 | -146.2617 | 79.1916 | -0.38327 | -144.4402 | 77.9526
Line_2 | 0.0019126 | 0.0019126 | 0.0019126 | 0 | 0 | 0 | 0.022085 | 0.022085 | 0.022085 | 0 | 0 | 0 | -4.8108e-05 | -0.0001241 | 0.00018235 | -2.8185e-10 | 3.68e-11 | 2.4084e-11 | -0.025746 | 0.00018398 | -3.3951e-05 | -3.1462e-11 | -1.6895e-11 | -2.194e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1658 | 0.010049 | 0.0083986 | 1.1659 | 0.010124 | 0.0081219 | -0.36824 | -146.2617 | 79.1916 | -0.38327 | -144.4402 | 77.9526

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14655 | 0.1426 | 0.14389 | 0.14582 | 0.14318 | 0.14403 | 1.6923 | 1.6466 | 1.6615 | 1.6837 | 1.6533 | 1.6631 | -0.20394 | -0.44828 | -0.42264 | 0.21154 | 0.45566 | 0.4402 | -1.9453 | -1.1559 | -1.178 | 1.949 | 1.1747 | 1.1882 | 95.9988 | -23.6671 | -145.1997 | -84.0967 | 156.1243 | 35.1043 | 1.1558 | 0.75294 | 0.75326 | 1.1643 | 0.76213 | 0.76189 | 0.013924 | -134.8639 | 105.0636 | -0.29133 | -135.0762 | 104.776
Line_1 | 0.00077807 | 0.00077807 | 0.00077807 | 0 | 0 | 0 | 0.0089844 | 0.0089844 | 0.0089844 | 0 | 0 | 0 | -0.0043174 | -0.0024359 | 0.0067549 | -2.7511e-10 | 8.3851e-10 | 8.3684e-10 | -0.0095282 | 0.0063993 | -0.0011072 | -2.425e-11 | -7.9902e-10 | -8.0708e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1643 | 0.76213 | 0.76189 | 1.1644 | 0.76213 | 0.76177 | -0.29133 | -135.0762 | 104.776 | -0.29591 | -135.0661 | 104.7708
Line_2 | 0.00077807 | 0.00077807 | 0.00077807 | 0 | 0 | 0 | 0.0089844 | 0.0089844 | 0.0089844 | 0 | 0 | 0 | -0.0043174 | -0.0024359 | 0.0067549 | -2.7511e-10 | 8.3852e-10 | 8.3683e-10 | -0.0095282 | 0.0063993 | -0.0011072 | -2.4247e-11 | -7.9902e-10 | -8.0708e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1643 | 0.76213 | 0.76189 | 1.1644 | 0.76213 | 0.76177 | -0.29133 | -135.0762 | 104.776 | -0.29591 | -135.0661 | 104.7708

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14655 | 0.1426 | 0.14389 | 0.14582 | 0.14318 | 0.14403 | 1.6923 | 1.6466 | 1.6615 | 1.6837 | 1.6533 | 1.6631 | -0.20394 | -0.44828 | -0.42264 | 0.21154 | 0.45566 | 0.4402 | -1.9453 | -1.1559 | -1.178 | 1.949 | 1.1747 | 1.1882 | 95.9988 | -23.6671 | -145.1997 | -84.0967 | 156.1243 | 35.1043 | 1.1558 | 0.75294 | 0.75326 | 1.1643 | 0.76213 | 0.76189 | 0.013924 | -134.8639 | 105.0636 | -0.29133 | -135.0762 | 104.776
Line_1 | 0.00077807 | 0.00077807 | 0.00077807 | 0 | 0 | 0 | 0.0089844 | 0.0089844 | 0.0089844 | 0 | 0 | 0 | -0.0043174 | -0.0024359 | 0.0067549 | -2.7511e-10 | 8.3851e-10 | 8.3684e-10 | -0.0095282 | 0.0063993 | -0.0011072 | -2.425e-11 | -7.9902e-10 | -8.0708e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1643 | 0.76213 | 0.76189 | 1.1644 | 0.76213 | 0.76177 | -0.29133 | -135.0762 | 104.776 | -0.29591 | -135.0661 | 104.7708
Line_2 | 0.00077807 | 0.00077807 | 0.00077807 | 0 | 0 | 0 | 0.0089844 | 0.0089844 | 0.0089844 | 0 | 0 | 0 | -0.0043174 | -0.0024359 | 0.0067549 | -2.7511e-10 | 8.3852e-10 | 8.3683e-10 | -0.0095282 | 0.0063993 | -0.0011072 | -2.4247e-11 | -7.9902e-10 | -8.0708e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1643 | 0.76213 | 0.76189 | 1.1644 | 0.76213 | 0.76177 | -0.29133 | -135.0762 | 104.776 | -0.29591 | -135.0661 | 104.7708

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627