## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4317 | 3.4317 | 0 | 0 | 118.879 | 118.879 | 37.6072 | -19.2354 | 42.4775 | -21.6325 | -71.5367 | 108.4633 | 0.47723 | 0.2435 | -23.0566 | -23.1798
Line_1 | 3.5753 | 3.5753 | 6.9405 | 0 | 123.8505 | 123.8505 | -1e-07 | 19.9406 | -1e-07 | 22.625 | 108.2117 | -71.7883 | 0 | 0.2435 | 0 | -23.1798
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.73779 | -0.70529 | 1.0293 | -0.99244 | -77.7798 | 102.2202 | 0.25328 | 0.2435 | -23.4119 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0386 | 1.0386 | 0 | 0 | 35.9798 | 35.9798 | 25.8989 | -24.216 | 22.1511 | -20.2417 | -48.4565 | 131.5435 | 0.94719 | 0.8772 | -7.9164 | -8.5649
Line_1 | 1.1666 | 1.1666 | 2.3096 | 0 | 40.4134 | 40.4134 | -23.6492 | 25.7724 | -21.9332 | 24.3422 | 128.0698 | -51.9302 | 0.79811 | 0.8772 | -9.0862 | -8.5649
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.5889 | -1.5564 | 4.1374 | -4.1006 | -77.7798 | 102.2202 | 0.88641 | 0.8772 | -8.7885 | -8.5649

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 2.9836 | 2.9673 | 0.28828 | 2.9836 | 2.9673 | 3.3288 | 34.4518 | 34.2634 | 3.3288 | 34.4518 | 34.2634 | -0.96997 | 28.5871 | -10.2685 | 1.0132 | -23.9581 | 14.847 | -3.7251 | 3.1824 | 16.1938 | 3.7742 | 2.0697 | -10.9989 | 105.2158 | -158.7721 | 15.6835 | -74.7842 | 21.2279 | -164.3165 | 1.1564 | 0.8349 | 0.55963 | 1.1739 | 0.698 | 0.53927 | 0.62086 | -152.4199 | 138.0622 | 0.18885 | -163.7096 | 159.1517
Line_1 | 0.14434 | 3.0971 | 3.0971 | 0.14434 | 3.0971 | 3.0971 | 1.6667 | 35.7623 | 35.7623 | 1.6667 | 35.7623 | 35.7623 | 0.61619 | -19.9338 | 20.2419 | -0.60535 | 24.9217 | -15.2541 | 1.8729 | 7.0773 | -6.1409 | -1.8606 | -1.418 | 11.8002 | -71.7884 | 19.547 | -163.1235 | 108.2116 | -160.453 | 16.8765 | 1.183 | 0.59149 | 0.59149 | 1.1739 | 0.698 | 0.53927 | -7.9887e-06 | 180 | 180 | 0.18885 | -163.7096 | 159.1517
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.97448 | -0.39625 | -0.40784 | -0.96365 | 0.40709 | 1.9259 | 0.664 | 0.8136 | -1.9136 | -0.6517 | -0.80131 | -77.78 | 162.2203 | 42.2201 | 102.22 | -17.7797 | -137.7799 | 1.1825 | 0.70752 | 0.54298 | 1.1739 | 0.698 | 0.53927 | -0.044689 | -163.5098 | 158.1877 | 0.18885 | -163.7096 | 159.1517

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28828 | 1.5018 | 1.4089 | 0.28828 | 1.5018 | 1.4089 | 3.3288 | 17.3408 | 16.2686 | 3.3288 | 17.3408 | 16.2686 | -0.96998 | 17.6007 | -0.67121 | 1.0132 | -16.4279 | 1.7034 | -3.7251 | 1.5359 | 13.3074 | 3.7742 | -0.20525 | -12.1362 | 105.2159 | -140.6985 | 28.5355 | -74.7841 | 39.3015 | -151.4645 | 1.1564 | 1.0188 | 0.81902 | 1.1739 | 0.94743 | 0.7533 | 0.62087 | -135.7114 | 121.423 | 0.18885 | -139.9827 | 126.5253
Line_1 | 0.14434 | 1.5848 | 1.5495 | 0.14434 | 1.5848 | 1.5495 | 1.6667 | 18.3001 | 17.8923 | 1.6667 | 18.3001 | 17.8923 | 0.61619 | -15.9633 | 2.8274 | -0.60535 | 17.2694 | -1.5788 | 1.8729 | -0.059496 | -11.9689 | -1.8606 | 1.5414 | 13.3855 | -71.7883 | 34.9169 | -150.2017 | 108.2117 | -145.0831 | 29.7983 | 1.183 | 0.87232 | 0.68735 | 1.1739 | 0.94743 | 0.7533 | -5.6252e-06 | -144.8696 | 133.0893 | 0.18885 | -139.9827 | 126.5253
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.41867 | 0.85234 | 0.13542 | -0.40784 | -0.84151 | -0.12458 | 1.9259 | 1.3484 | 1.2616 | -1.9136 | -1.3361 | -1.2493 | -77.7799 | 162.2202 | 42.2201 | 102.2201 | -17.7798 | -137.7799 | 1.1825 | 0.95714 | 0.76131 | 1.1739 | 0.94743 | 0.7533 | -0.044687 | -140.0766 | 126.0936 | 0.18885 | -139.9827 | 126.5253

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | 9.4739e-15 | -0.22679 | 13.7937 | -1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9984e-13 | -150.1294 | 122.3252 | 4.3803e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -9.0774e-30 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3918e-13 | -180 | 180 | 4.3803e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2293e-13 | -161.1438 | 151.2099 | 4.3803e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.3027e-14 | 23.4155 | -0.45749 | 9.4739e-15 | -17.676 | 6.197 | 9.4739e-15 | -0.22679 | 13.7937 | -1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 3.9984e-13 | -150.1294 | 122.3252 | 4.3803e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -1.1842e-15 | -11.9365 | 11.9365 | -1.1842e-15 | 17.676 | -6.197 | -9.0774e-30 | 7.0103 | -7.0103 | -2.3685e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 4.3918e-13 | -180 | 180 | 4.3803e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-15 | 2.4221e-10 | 6.7019e-10 | 1.1842e-15 | -2.4222e-10 | -6.7019e-10 | 9.4739e-15 | -1.5722e-09 | 8.3093e-10 | -9.4739e-15 | 1.5722e-09 | -8.3093e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 4.2293e-13 | -161.1438 | 151.2099 | 4.3803e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -8.8818e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0548e-13 | -135.6599 | 118.3519 | 2.2702e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | 9.3845e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.2878e-13 | -144.4405 | 138.2821 | 2.2702e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1276e-10 | 0 | -4.2826e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | 0 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.1885e-13 | -139.408 | 127.3216 | 2.2702e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -8.8818e-15 | 13.7181 | 1.6719 | 7.1054e-15 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 2.0548e-13 | -135.6599 | 118.3519 | 2.2702e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | 2.3685e-15 | 0.27863 | -8.8347 | 9.3845e-30 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.2878e-13 | -144.4405 | 138.2821 | 2.2702e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 4.2826e-10 | 8.1276e-10 | 0 | -4.2826e-10 | -8.1276e-10 | 4.737e-15 | -9.7051e-10 | 3.0453e-10 | 0 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.1885e-13 | -139.408 | 127.3216 | 2.2702e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.5658 | 0.28823 | 0.29298 | 2.5652 | 0.28808 | 0.29217 | 29.6276 | 3.3282 | 3.383 | 29.6205 | 3.3265 | 3.3737 | 22.6475 | -0.68328 | -1.4067 | -11.4487 | 1.5927 | 1.2554 | 11.2907 | -3.4259 | -3.7357 | -5.6918 | 3.209 | 4.6664 | -45.0763 | -15.848 | -134.2778 | 134.9415 | 164.35 | 45.6039 | 0.85413 | 1.0496 | 1.1799 | 0.43164 | 1.077 | 1.4324 | -18.5782 | -117.1273 | 115.0878 | -18.6238 | -132.0463 | 120.5463
Line_1 | 2.6857 | 0.14434 | 0.14434 | 2.6869 | 0.14403 | 0.14672 | 31.0114 | 1.6667 | 1.6667 | 31.0252 | 1.6631 | 1.6941 | 9.7236e-11 | 1.3335 | 0.66311 | 11.8171 | -0.87495 | -0.75202 | -9.7362e-11 | 1.4046 | 2.7282 | 6.3006 | -1.5629 | -2.3072 | 133.3595 | 168.2116 | 48.2118 | -46.6893 | -12.8049 | -131.4002 | 0 | 1.162 | 1.6846 | 0.43164 | 1.077 | 1.4324 | 0 | -145.3007 | 124.5504 | -18.6238 | -132.0463 | 120.5463
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14277 | 0.14441 | 0.14586 | 1.6667 | 1.6667 | 1.6667 | 1.6485 | 1.6675 | 1.6842 | 0.37917 | 0.74871 | 0.49418 | -0.36842 | -0.71775 | -0.50338 | 0.63001 | 1.6482 | 2.3506 | -0.60877 | -1.6461 | -2.3593 | -77.7798 | 162.2201 | 42.2201 | 102.5579 | -18.4877 | -137.4096 | 0.44118 | 1.0861 | 1.4412 | 0.43164 | 1.077 | 1.4324 | -18.8211 | -132.211 | 120.3474 | -18.6238 | -132.0463 | 120.5463

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.5658 | 0.28823 | 0.29298 | 2.5652 | 0.28808 | 0.29217 | 29.6276 | 3.3282 | 3.383 | 29.6205 | 3.3265 | 3.3737 | 22.6475 | -0.68328 | -1.4067 | -11.4487 | 1.5927 | 1.2554 | 11.2907 | -3.4259 | -3.7357 | -5.6918 | 3.209 | 4.6664 | -45.0763 | -15.848 | -134.2778 | 134.9415 | 164.35 | 45.6039 | 0.85413 | 1.0496 | 1.1799 | 0.43164 | 1.077 | 1.4324 | -18.5782 | -117.1273 | 115.0878 | -18.6238 | -132.0463 | 120.5463
Line_1 | 2.6857 | 0.14434 | 0.14434 | 2.6869 | 0.14403 | 0.14672 | 31.0114 | 1.6667 | 1.6667 | 31.0252 | 1.6631 | 1.6941 | 9.7236e-11 | 1.3335 | 0.66311 | 11.8171 | -0.87495 | -0.75202 | -9.7362e-11 | 1.4046 | 2.7282 | 6.3006 | -1.5629 | -2.3072 | 133.3595 | 168.2116 | 48.2118 | -46.6893 | -12.8049 | -131.4002 | 0 | 1.162 | 1.6846 | 0.43164 | 1.077 | 1.4324 | 0 | -145.3007 | 124.5504 | -18.6238 | -132.0463 | 120.5463
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14277 | 0.14441 | 0.14586 | 1.6667 | 1.6667 | 1.6667 | 1.6485 | 1.6675 | 1.6842 | 0.37917 | 0.74871 | 0.49418 | -0.36842 | -0.71775 | -0.50338 | 0.63001 | 1.6482 | 2.3506 | -0.60877 | -1.6461 | -2.3593 | -77.7798 | 162.2201 | 42.2201 | 102.5579 | -18.4877 | -137.4096 | 0.44118 | 1.0861 | 1.4412 | 0.43164 | 1.077 | 1.4324 | -18.8211 | -132.211 | 120.3474 | -18.6238 | -132.0463 | 120.5463

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90468 | 0.28831 | 0.29016 | 0.90446 | 0.28825 | 0.28984 | 10.4463 | 3.3292 | 3.3504 | 10.4438 | 3.3284 | 3.3468 | 9.125 | -0.85595 | -1.1473 | -7.5649 | 1.2542 | 1.1 | 5.5906 | -3.6025 | -3.7344 | -4.9733 | 3.5502 | 4.1366 | -37.5165 | -15.2169 | -134.5649 | 142.5055 | 164.8634 | 45.3844 | 1.0244 | 1.1122 | 1.166 | 0.86685 | 1.1313 | 1.2789 | -6.0218 | -118.5824 | 118.3572 | -4.173 | -124.5932 | 120.4925
Line_1 | 1.0181 | 0.14434 | 0.14434 | 1.0185 | 0.14424 | 0.14529 | 11.7555 | 1.6667 | 1.6667 | 11.7607 | 1.6655 | 1.6777 | -6.1816 | 0.91363 | 0.62487 | 7.9739 | -0.7177 | -0.65914 | -5.4664 | 1.6911 | 2.2213 | 6.3521 | -1.7421 | -2.0419 | 137.339 | 168.2117 | 48.2117 | -42.7143 | -12.2028 | -131.6175 | 0.70196 | 1.1533 | 1.3845 | 0.86685 | 1.1313 | 1.2789 | -1.1749 | -130.1686 | 122.5002 | -4.173 | -124.5932 | 120.4925
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14369 | 0.14438 | 0.14494 | 1.6667 | 1.6667 | 1.6667 | 1.6592 | 1.6672 | 1.6737 | 0.41837 | 0.55629 | 0.44422 | -0.40901 | -0.53648 | -0.44089 | 1.3983 | 1.8169 | 2.0995 | -1.3789 | -1.8081 | -2.0946 | -77.7798 | 162.2201 | 42.2202 | 102.349 | -18.0675 | -137.621 | 0.87574 | 1.1401 | 1.2876 | 0.86685 | 1.1313 | 1.2789 | -4.4367 | -124.8029 | 120.2738 | -4.173 | -124.5932 | 120.4925

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.90468 | 0.28831 | 0.29016 | 0.90446 | 0.28825 | 0.28984 | 10.4463 | 3.3292 | 3.3504 | 10.4438 | 3.3284 | 3.3468 | 9.125 | -0.85595 | -1.1473 | -7.5649 | 1.2542 | 1.1 | 5.5906 | -3.6025 | -3.7344 | -4.9733 | 3.5502 | 4.1366 | -37.5165 | -15.2169 | -134.5649 | 142.5055 | 164.8634 | 45.3844 | 1.0244 | 1.1122 | 1.166 | 0.86685 | 1.1313 | 1.2789 | -6.0218 | -118.5824 | 118.3572 | -4.173 | -124.5932 | 120.4925
Line_1 | 1.0181 | 0.14434 | 0.14434 | 1.0185 | 0.14424 | 0.14529 | 11.7555 | 1.6667 | 1.6667 | 11.7607 | 1.6655 | 1.6777 | -6.1816 | 0.91363 | 0.62487 | 7.9739 | -0.7177 | -0.65914 | -5.4664 | 1.6911 | 2.2213 | 6.3521 | -1.7421 | -2.0419 | 137.339 | 168.2117 | 48.2117 | -42.7143 | -12.2028 | -131.6175 | 0.70196 | 1.1533 | 1.3845 | 0.86685 | 1.1313 | 1.2789 | -1.1749 | -130.1686 | 122.5002 | -4.173 | -124.5932 | 120.4925
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14369 | 0.14438 | 0.14494 | 1.6667 | 1.6667 | 1.6667 | 1.6592 | 1.6672 | 1.6737 | 0.41837 | 0.55629 | 0.44422 | -0.40901 | -0.53648 | -0.44089 | 1.3983 | 1.8169 | 2.0995 | -1.3789 | -1.8081 | -2.0946 | -77.7798 | 162.2201 | 42.2202 | 102.349 | -18.0675 | -137.621 | 0.87574 | 1.1401 | 1.2876 | 0.86685 | 1.1313 | 1.2789 | -4.4367 | -124.8029 | 120.2738 | -4.173 | -124.5932 | 120.4925

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6097 | 0.0052148 | 0.0052148 | 1.6093 | 0.0043058 | 0.0043058 | 18.5872 | 0.060215 | 0.060215 | 18.5828 | 0.049719 | 0.049719 | 15.7124 | 0.053602 | -0.048245 | -7.8453 | -0.042258 | 0.041371 | 4.5508 | -0.016735 | -0.039202 | -2.2883 | 0.026847 | 0.04739 | -30.9232 | -102.44 | -102.44 | 149.1063 | 76.1991 | 76.1991 | 0.88008 | 0.93255 | 1.0324 | 0.43978 | 1.007 | 1.2653 | -14.7707 | -119.7792 | 116.6563 | -14.6327 | -136.2291 | 125.0782
Line_1 | 1.6081 | 0 | 0 | 1.6088 | 0.0025677 | 0.0025677 | 18.5682 | 0 | 0 | 18.5764 | 0.029649 | 0.029649 | -1.9152e-11 | -1.1832e-09 | -2.9618e-09 | 7.845 | 0.025438 | -0.024243 | -6.4746e-13 | -2.073e-09 | 1.0462e-09 | 2.2795 | -0.015629 | -0.028628 | 149.253 | 0 | 0 | -30.8349 | -104.6633 | -104.6633 | 0 | 1.1514 | 1.5152 | 0.43978 | 1.007 | 1.2653 | 0 | -149.4085 | 130.8538 | -14.6327 | -136.2291 | 125.0782
Line_2 | 0 | 0 | 0 | 0.0017388 | 0.0017388 | 0.0017388 | 0 | 0 | 0 | 0.020078 | 0.020078 | 0.020078 | 8.5151e-10 | -1.7176e-10 | -1.2513e-09 | 0.00032441 | 0.01682 | -0.017128 | -4.0535e-10 | -1.0329e-09 | 4.0962e-10 | 0.0088238 | -0.011218 | -0.018761 | 0 | 0 | 0 | -102.5272 | -102.5272 | -102.5272 | 0.43965 | 1.0066 | 1.2657 | 0.43978 | 1.007 | 1.2653 | -14.5637 | -136.2512 | 125.0637 | -14.6327 | -136.2291 | 125.0782

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6097 | 0.0052148 | 0.0052148 | 1.6093 | 0.0043058 | 0.0043058 | 18.5872 | 0.060215 | 0.060215 | 18.5828 | 0.049719 | 0.049719 | 15.7124 | 0.053602 | -0.048245 | -7.8453 | -0.042258 | 0.041371 | 4.5508 | -0.016735 | -0.039202 | -2.2883 | 0.026847 | 0.04739 | -30.9232 | -102.44 | -102.44 | 149.1063 | 76.1991 | 76.1991 | 0.88008 | 0.93255 | 1.0324 | 0.43978 | 1.007 | 1.2653 | -14.7707 | -119.7792 | 116.6563 | -14.6327 | -136.2291 | 125.0782
Line_1 | 1.6081 | 0 | 0 | 1.6088 | 0.0025677 | 0.0025677 | 18.5682 | 0 | 0 | 18.5764 | 0.029649 | 0.029649 | -1.9152e-11 | -1.1832e-09 | -2.9618e-09 | 7.845 | 0.025438 | -0.024243 | -6.4746e-13 | -2.073e-09 | 1.0462e-09 | 2.2795 | -0.015629 | -0.028628 | 149.253 | 0 | 0 | -30.8349 | -104.6633 | -104.6633 | 0 | 1.1514 | 1.5152 | 0.43978 | 1.007 | 1.2653 | 0 | -149.4085 | 130.8538 | -14.6327 | -136.2291 | 125.0782
Line_2 | 0 | 0 | 0 | 0.0017388 | 0.0017388 | 0.0017388 | 0 | 0 | 0 | 0.020078 | 0.020078 | 0.020078 | 8.5151e-10 | -1.7176e-10 | -1.2513e-09 | 0.00032441 | 0.01682 | -0.017128 | -4.0535e-10 | -1.0329e-09 | 4.0962e-10 | 0.0088238 | -0.011218 | -0.018761 | 0 | 0 | 0 | -102.5272 | -102.5272 | -102.5272 | 0.43965 | 1.0066 | 1.2657 | 0.43978 | 1.007 | 1.2653 | -14.5637 | -136.2512 | 125.0637 | -14.6327 | -136.2291 | 125.0782

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81736 | 0.0026479 | 0.0026479 | 0.81716 | 0.0021863 | 0.0021863 | 9.438 | 0.030575 | 0.030575 | 9.4358 | 0.025246 | 0.025246 | 7.3778 | 0.029083 | -0.020834 | -5.3504 | -0.023511 | 0.017346 | 4.5205 | -0.0051968 | -0.022884 | -3.9347 | 0.0073507 | 0.02293 | -37.9946 | -109.5114 | -109.5114 | 142.035 | 69.1278 | 69.1278 | 0.91678 | 0.96625 | 1.0122 | 0.70385 | 0.97576 | 1.1389 | -6.498 | -119.6426 | 118.1738 | -1.6341 | -128.2337 | 122.021
Line_1 | 0.81652 | 0 | 0 | 0.81688 | 0.0013038 | 0.0013038 | 9.4284 | 0 | 0 | 9.4326 | 0.015055 | 0.015055 | -3.3335 | -1.7823e-10 | -1.2695e-09 | 5.3526 | 0.014085 | -0.010137 | -3.3335 | -1.0453e-09 | 4.1531e-10 | 3.9278 | -0.0041719 | -0.013828 | 142.1816 | 0 | 0 | -37.9063 | -111.7347 | -111.7347 | 0.50002 | 1.0074 | 1.2689 | 0.70385 | 0.97576 | 1.1389 | 7.1816 | -136.4395 | 125.1212 | -1.6341 | -128.2337 | 122.021
Line_2 | 0 | 0 | 0 | 0.00088291 | 0.00088291 | 0.00088291 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | 7.6322e-10 | 5.0629e-11 | -5.835e-10 | -0.0022132 | 0.0094263 | -0.0072089 | -7.2586e-11 | -5.1276e-10 | 1.4664e-10 | 0.0068259 | -0.0031787 | -0.0091018 | 0 | 0 | 0 | -109.5985 | -109.5985 | -109.5985 | 0.70388 | 0.97552 | 1.1391 | 0.70385 | 0.97576 | 1.1389 | -1.6117 | -128.2419 | 122.0121 | -1.6341 | -128.2337 | 122.021

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81736 | 0.0026479 | 0.0026479 | 0.81716 | 0.0021863 | 0.0021863 | 9.438 | 0.030575 | 0.030575 | 9.4358 | 0.025246 | 0.025246 | 7.3778 | 0.029083 | -0.020834 | -5.3504 | -0.023511 | 0.017346 | 4.5205 | -0.0051968 | -0.022884 | -3.9347 | 0.0073507 | 0.02293 | -37.9946 | -109.5114 | -109.5114 | 142.035 | 69.1278 | 69.1278 | 0.91678 | 0.96625 | 1.0122 | 0.70385 | 0.97576 | 1.1389 | -6.498 | -119.6426 | 118.1738 | -1.6341 | -128.2337 | 122.021
Line_1 | 0.81652 | 0 | 0 | 0.81688 | 0.0013038 | 0.0013038 | 9.4284 | 0 | 0 | 9.4326 | 0.015055 | 0.015055 | -3.3335 | -1.7823e-10 | -1.2695e-09 | 5.3526 | 0.014085 | -0.010137 | -3.3335 | -1.0453e-09 | 4.1531e-10 | 3.9278 | -0.0041719 | -0.013828 | 142.1816 | 0 | 0 | -37.9063 | -111.7347 | -111.7347 | 0.50002 | 1.0074 | 1.2689 | 0.70385 | 0.97576 | 1.1389 | 7.1816 | -136.4395 | 125.1212 | -1.6341 | -128.2337 | 122.021
Line_2 | 0 | 0 | 0 | 0.00088291 | 0.00088291 | 0.00088291 | 0 | 0 | 0 | 0.010195 | 0.010195 | 0.010195 | 7.6322e-10 | 5.0629e-11 | -5.835e-10 | -0.0022132 | 0.0094263 | -0.0072089 | -7.2586e-11 | -5.1276e-10 | 1.4664e-10 | 0.0068259 | -0.0031787 | -0.0091018 | 0 | 0 | 0 | -109.5985 | -109.5985 | -109.5985 | 0.70388 | 0.97552 | 1.1391 | 0.70385 | 0.97576 | 1.1389 | -1.6117 | -128.2419 | 122.0121 | -1.6341 | -128.2337 | 122.021

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29208 | 3.6748 | 2.4386 | 0.29134 | 3.6748 | 2.4382 | 3.3726 | 42.4325 | 28.1582 | 3.3641 | 42.4327 | 28.154 | -1.1445 | 29.5497 | -0.19473 | 1.5682 | -14.9634 | 0.025184 | -3.5499 | 8.4395 | 16.4022 | 4.1454 | -4.3183 | -8.3018 | 104.976 | -172.5009 | 35.1185 | -75.0004 | 7.5107 | -144.8969 | 1.1059 | 0.72424 | 0.58254 | 1.3175 | 0.36703 | 0.29487 | -2.8936 | -156.5614 | 125.7987 | -5.7216 | -156.3915 | 125.277
Line_1 | 0.14434 | 3.8064 | 2.5794 | 0.14609 | 3.806 | 2.5807 | 1.6667 | 43.9527 | 29.7844 | 1.6869 | 43.9479 | 29.7991 | 1.1043 | 7.2469e-11 | 6.8014e-11 | -0.8907 | 15.4249 | 0.030659 | 2.2834 | -7.7102e-11 | -1.9304e-11 | -2.0362 | 4.7177 | 8.7869 | -71.7883 | 6.6303 | -144.5551 | 107.9044 | -173.3979 | 35.4769 | 1.5218 | 0 | 0 | 1.3175 | 0.36703 | 0.29487 | -7.5976 | 0 | 0 | -5.7216 | -156.3915 | 125.277
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14562 | 0.144 | 0.1434 | 1.6667 | 1.6667 | 1.6667 | 1.6815 | 1.6627 | 1.6559 | 0.68763 | 0.46954 | 0.070092 | -0.67749 | -0.46144 | -0.055843 | 2.1014 | 0.41704 | 0.49979 | -2.1092 | -0.39939 | -0.48507 | -77.7799 | 162.2203 | 42.2201 | 102.0855 | -17.2692 | -138.1559 | 1.3266 | 0.3768 | 0.30281 | 1.3175 | 0.36703 | 0.29487 | -5.8995 | -156.169 | 124.2369 | -5.7216 | -156.3915 | 125.277

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29208 | 3.6748 | 2.4386 | 0.29134 | 3.6748 | 2.4382 | 3.3726 | 42.4325 | 28.1582 | 3.3641 | 42.4327 | 28.154 | -1.1445 | 29.5497 | -0.19473 | 1.5682 | -14.9634 | 0.025184 | -3.5499 | 8.4395 | 16.4022 | 4.1454 | -4.3183 | -8.3018 | 104.976 | -172.5009 | 35.1185 | -75.0004 | 7.5107 | -144.8969 | 1.1059 | 0.72424 | 0.58254 | 1.3175 | 0.36703 | 0.29487 | -2.8936 | -156.5614 | 125.7987 | -5.7216 | -156.3915 | 125.277
Line_1 | 0.14434 | 3.8064 | 2.5794 | 0.14609 | 3.806 | 2.5807 | 1.6667 | 43.9527 | 29.7844 | 1.6869 | 43.9479 | 29.7991 | 1.1043 | 7.2469e-11 | 6.8014e-11 | -0.8907 | 15.4249 | 0.030659 | 2.2834 | -7.7102e-11 | -1.9304e-11 | -2.0362 | 4.7177 | 8.7869 | -71.7883 | 6.6303 | -144.5551 | 107.9044 | -173.3979 | 35.4769 | 1.5218 | 0 | 0 | 1.3175 | 0.36703 | 0.29487 | -7.5976 | 0 | 0 | -5.7216 | -156.3915 | 125.277
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14562 | 0.144 | 0.1434 | 1.6667 | 1.6667 | 1.6667 | 1.6815 | 1.6627 | 1.6559 | 0.68763 | 0.46954 | 0.070092 | -0.67749 | -0.46144 | -0.055843 | 2.1014 | 0.41704 | 0.49979 | -2.1092 | -0.39939 | -0.48507 | -77.7799 | 162.2203 | 42.2201 | 102.0855 | -17.2692 | -138.1559 | 1.3266 | 0.3768 | 0.30281 | 1.3175 | 0.36703 | 0.29487 | -5.8995 | -156.169 | 124.2369 | -5.7216 | -156.3915 | 125.277

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29004 | 1.1003 | 0.84885 | 0.2897 | 1.1005 | 0.84852 | 3.3491 | 12.7055 | 9.8017 | 3.3451 | 12.7071 | 9.7979 | -1.0402 | 11.3317 | 6.1043 | 1.2906 | -9.8653 | -5.688 | -3.6337 | 6.0701 | 7.0333 | 3.9256 | -6.2433 | -5.6638 | 105.0664 | -158.1871 | 67.4953 | -74.9156 | 21.8304 | -112.5142 | 1.1286 | 1.0118 | 0.95012 | 1.2353 | 0.91877 | 0.81925 | -0.90876 | -130.0101 | 116.5402 | -3.1142 | -125.8419 | 112.3637
Line_1 | 0.14434 | 1.2159 | 0.97949 | 0.14514 | 1.2154 | 0.98038 | 1.6667 | 14.0397 | 11.3102 | 1.676 | 14.0346 | 11.3205 | 0.86863 | -8.5866 | -5.6683 | -0.74689 | 10.3461 | 6.1465 | 2.0476 | -7.7267 | -5.287 | -1.9309 | 7.696 | 6.9449 | -71.7883 | 17.5526 | -116.1401 | 108.0323 | -162.4856 | 63.8737 | 1.3345 | 0.82276 | 0.68534 | 1.2353 | 0.91877 | 0.81925 | -4.7756 | -120.4649 | 106.8663 | -3.1142 | -125.8419 | 112.3637
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14494 | 0.14423 | 0.14385 | 1.6667 | 1.6667 | 1.6667 | 1.6736 | 1.6654 | 1.661 | 0.55549 | 0.48551 | 0.47453 | -0.54369 | -0.48078 | -0.45857 | 1.9979 | 1.4683 | 1.2964 | -1.9947 | -1.4527 | -1.2812 | -77.7799 | 162.2202 | 42.2201 | 102.1324 | -17.5293 | -137.9426 | 1.2442 | 0.92788 | 0.82829 | 1.2353 | 0.91877 | 0.81925 | -3.318 | -126.0771 | 112.1152 | -3.1142 | -125.8419 | 112.3637

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29004 | 1.1003 | 0.84885 | 0.2897 | 1.1005 | 0.84852 | 3.3491 | 12.7055 | 9.8017 | 3.3451 | 12.7071 | 9.7979 | -1.0402 | 11.3317 | 6.1043 | 1.2906 | -9.8653 | -5.688 | -3.6337 | 6.0701 | 7.0333 | 3.9256 | -6.2433 | -5.6638 | 105.0664 | -158.1871 | 67.4953 | -74.9156 | 21.8304 | -112.5142 | 1.1286 | 1.0118 | 0.95012 | 1.2353 | 0.91877 | 0.81925 | -0.90876 | -130.0101 | 116.5402 | -3.1142 | -125.8419 | 112.3637
Line_1 | 0.14434 | 1.2159 | 0.97949 | 0.14514 | 1.2154 | 0.98038 | 1.6667 | 14.0397 | 11.3102 | 1.676 | 14.0346 | 11.3205 | 0.86863 | -8.5866 | -5.6683 | -0.74689 | 10.3461 | 6.1465 | 2.0476 | -7.7267 | -5.287 | -1.9309 | 7.696 | 6.9449 | -71.7883 | 17.5526 | -116.1401 | 108.0323 | -162.4856 | 63.8737 | 1.3345 | 0.82276 | 0.68534 | 1.2353 | 0.91877 | 0.81925 | -4.7756 | -120.4649 | 106.8663 | -3.1142 | -125.8419 | 112.3637
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14494 | 0.14423 | 0.14385 | 1.6667 | 1.6667 | 1.6667 | 1.6736 | 1.6654 | 1.661 | 0.55549 | 0.48551 | 0.47453 | -0.54369 | -0.48078 | -0.45857 | 1.9979 | 1.4683 | 1.2964 | -1.9947 | -1.4527 | -1.2812 | -77.7799 | 162.2202 | 42.2201 | 102.1324 | -17.5293 | -137.9426 | 1.2442 | 0.92788 | 0.82829 | 1.2353 | 0.91877 | 0.81925 | -3.318 | -126.0771 | 112.1152 | -3.1142 | -125.8419 | 112.3637

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003437 | 2.7635 | 2.1034 | 0.0028379 | 2.7637 | 2.103 | 0.039688 | 31.9104 | 24.288 | 0.03277 | 31.9125 | 24.2838 | -0.0004052 | 25.2259 | 3.439 | 0.0005749 | -12.6188 | -1.7085 | -0.039046 | 2.2643 | 12.6315 | 0.038357 | -1.152 | -6.3002 | 88.197 | -158.1489 | 41.722 | -93.1638 | 21.8631 | -138.2911 | 0.98389 | 0.7937 | 0.539 | 1.1706 | 0.39706 | 0.26881 | -2.3976 | -153.0196 | 116.4921 | -4.0225 | -152.9205 | 116.5361
Line_1 | 0 | 2.7649 | 2.101 | 0.0016924 | 2.7642 | 2.1022 | 0 | 31.9264 | 24.2607 | 0.019542 | 31.9178 | 24.2747 | -1.8007e-09 | -1.5319e-10 | -3.2107e-11 | 1.5139e-06 | 12.6213 | 1.7054 | -4.461e-10 | -1.1764e-10 | -1.4336e-10 | -0.022876 | 1.1475 | 6.2985 | 0 | 21.9164 | -138.3459 | 85.9737 | -158.1152 | 41.6863 | 1.3577 | 0 | 0 | 1.1706 | 0.39706 | 0.26881 | -5.1411 | 0 | 0 | -4.0225 | -152.9205 | 116.5361
Line_2 | 0 | 0 | 0 | 0.001146 | 0.001146 | 0.001146 | 0 | 0 | 0 | 0.013233 | 0.013233 | 0.013233 | -7.4349e-10 | 6.4474e-10 | 7.1833e-10 | -0.00057641 | -0.002545 | 0.0031284 | -3.024e-10 | -7.904e-10 | -5.9096e-11 | -0.015481 | 0.004597 | 0.0016934 | 0 | 0 | 0 | 88.1099 | 88.1099 | 88.1099 | 1.1707 | 0.39717 | 0.26847 | 1.1706 | 0.39706 | 0.26881 | -4.0396 | -152.871 | 116.5582 | -4.0225 | -152.9205 | 116.5361

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.003437 | 2.7635 | 2.1034 | 0.0028379 | 2.7637 | 2.103 | 0.039688 | 31.9104 | 24.288 | 0.03277 | 31.9125 | 24.2838 | -0.0004052 | 25.2259 | 3.439 | 0.0005749 | -12.6188 | -1.7085 | -0.039046 | 2.2643 | 12.6315 | 0.038357 | -1.152 | -6.3002 | 88.197 | -158.1489 | 41.722 | -93.1638 | 21.8631 | -138.2911 | 0.98389 | 0.7937 | 0.539 | 1.1706 | 0.39706 | 0.26881 | -2.3976 | -153.0196 | 116.4921 | -4.0225 | -152.9205 | 116.5361
Line_1 | 0 | 2.7649 | 2.101 | 0.0016924 | 2.7642 | 2.1022 | 0 | 31.9264 | 24.2607 | 0.019542 | 31.9178 | 24.2747 | -1.8007e-09 | -1.5319e-10 | -3.2107e-11 | 1.5139e-06 | 12.6213 | 1.7054 | -4.461e-10 | -1.1764e-10 | -1.4336e-10 | -0.022876 | 1.1475 | 6.2985 | 0 | 21.9164 | -138.3459 | 85.9737 | -158.1152 | 41.6863 | 1.3577 | 0 | 0 | 1.1706 | 0.39706 | 0.26881 | -5.1411 | 0 | 0 | -4.0225 | -152.9205 | 116.5361
Line_2 | 0 | 0 | 0 | 0.001146 | 0.001146 | 0.001146 | 0 | 0 | 0 | 0.013233 | 0.013233 | 0.013233 | -7.4349e-10 | 6.4474e-10 | 7.1833e-10 | -0.00057641 | -0.002545 | 0.0031284 | -3.024e-10 | -7.904e-10 | -5.9096e-11 | -0.015481 | 0.004597 | 0.0016934 | 0 | 0 | 0 | 88.1099 | 88.1099 | 88.1099 | 1.1707 | 0.39717 | 0.26847 | 1.1706 | 0.39706 | 0.26881 | -4.0396 | -152.871 | 116.5582 | -4.0225 | -152.9205 | 116.5361

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021321 | 1.0562 | 0.84151 | 0.0017604 | 1.0564 | 0.84117 | 0.024619 | 12.1959 | 9.717 | 0.020328 | 12.1979 | 9.713 | 0.0042966 | 9.8368 | 4.677 | -0.0036278 | -7.7108 | -4.0995 | -0.02388 | 4.9063 | 6.6238 | 0.021982 | -5.2533 | -5.0732 | 78.4412 | -157.4195 | 61.1586 | -102.9197 | 22.5985 | -118.8516 | 0.98557 | 0.90133 | 0.83447 | 1.096 | 0.76491 | 0.67153 | -1.3592 | -130.9108 | 115.9333 | -3.5485 | -123.1351 | 112.2077
Line_1 | 0 | 1.0574 | 0.83948 | 0.0010498 | 1.0568 | 0.84049 | 0 | 12.2097 | 9.6935 | 0.012122 | 12.2025 | 9.7052 | -9.386e-10 | -5.5904 | -3.5236 | 0.0023605 | 7.7166 | 4.095 | -4.0848e-10 | -5.5904 | -3.5236 | -0.013075 | 5.251 | 5.0701 | 0 | 22.6762 | -118.8846 | 76.2179 | -157.3696 | 61.1341 | 1.2077 | 0.64752 | 0.51407 | 1.096 | 0.76491 | 0.67153 | -5.2927 | -112.3238 | 106.1154 | -3.5485 | -123.1351 | 112.2077
Line_2 | 0 | 0 | 0 | 0.00071092 | 0.00071092 | 0.00071092 | 0 | 0 | 0 | 0.0082089 | 0.0082089 | 0.0082089 | -3.9371e-10 | 6.5482e-10 | 7.8635e-10 | 0.0012673 | -0.0058426 | 0.004578 | -2.4955e-10 | -1.5298e-10 | -3.3343e-10 | -0.0089075 | 0.0023002 | 0.0030709 | 0 | 0 | 0 | 78.354 | 78.354 | 78.354 | 1.096 | 0.76509 | 0.67132 | 1.096 | 0.76491 | 0.67153 | -3.5601 | -123.1259 | 112.2149 | -3.5485 | -123.1351 | 112.2077

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0021321 | 1.0562 | 0.84151 | 0.0017604 | 1.0564 | 0.84117 | 0.024619 | 12.1959 | 9.717 | 0.020328 | 12.1979 | 9.713 | 0.0042966 | 9.8368 | 4.677 | -0.0036278 | -7.7108 | -4.0995 | -0.02388 | 4.9063 | 6.6238 | 0.021982 | -5.2533 | -5.0732 | 78.4412 | -157.4195 | 61.1586 | -102.9197 | 22.5985 | -118.8516 | 0.98557 | 0.90133 | 0.83447 | 1.096 | 0.76491 | 0.67153 | -1.3592 | -130.9108 | 115.9333 | -3.5485 | -123.1351 | 112.2077
Line_1 | 0 | 1.0574 | 0.83948 | 0.0010498 | 1.0568 | 0.84049 | 0 | 12.2097 | 9.6935 | 0.012122 | 12.2025 | 9.7052 | -9.386e-10 | -5.5904 | -3.5236 | 0.0023605 | 7.7166 | 4.095 | -4.0848e-10 | -5.5904 | -3.5236 | -0.013075 | 5.251 | 5.0701 | 0 | 22.6762 | -118.8846 | 76.2179 | -157.3696 | 61.1341 | 1.2077 | 0.64752 | 0.51407 | 1.096 | 0.76491 | 0.67153 | -5.2927 | -112.3238 | 106.1154 | -3.5485 | -123.1351 | 112.2077
Line_2 | 0 | 0 | 0 | 0.00071092 | 0.00071092 | 0.00071092 | 0 | 0 | 0 | 0.0082089 | 0.0082089 | 0.0082089 | -3.9371e-10 | 6.5482e-10 | 7.8635e-10 | 0.0012673 | -0.0058426 | 0.004578 | -2.4955e-10 | -1.5298e-10 | -3.3343e-10 | -0.0089075 | 0.0023002 | 0.0030709 | 0 | 0 | 0 | 78.354 | 78.354 | 78.354 | 1.096 | 0.76509 | 0.67132 | 1.096 | 0.76491 | 0.67153 | -3.5601 | -123.1259 | 112.2149 | -3.5485 | -123.1351 | 112.2077