## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -1e-07 | 0.13 | -1e-07 | 0.1475 | 92.672 | -87.328 | 0 | 0.019661 | 0 | -38.7195
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 0.0975 | -0.065 | 0.11062 | -0.07375 | -87.328 | 92.672 | 0.029492 | 0.019661 | -38.7195 | -38.7195

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.28868 | 0.28868 | 0.40825 | 0 | 10 | 10 | -2.0221 | 2.1521 | -8.9562 | 9.1037 | 92.672 | -87.328 | 0.91816 | 0.93546 | -10.051 | -10.6287
Line_1 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287
Line_2 | 0.14434 | 0.14434 | 0 | 0 | 5 | 5 | 1.1086 | -1.0761 | 4.5887 | -4.5518 | -87.328 | 92.672 | 0.94414 | 0.93546 | -10.9097 | -10.6287

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2812e-20 | 0 | 2.6701e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.7143 | 1.6243 | 0.22323 | 1.7576 | -1.581 | -3.855 | -0.88585 | -1.0417 | 3.9042 | 0.93502 | 1.0908 | 92.6718 | -27.3278 | -147.3281 | -87.3282 | 152.6722 | 32.6719 | 1.1578 | 0.57889 | 0.57889 | 1.1732 | 0.59725 | 0.57623 | -7.8808e-06 | 180 | 180 | -0.60064 | -179.3154 | 178.0673
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.88963 | -0.77966 | -0.11162 | -0.8788 | 0.79049 | 1.9644 | 0.4798 | 0.55771 | -1.9521 | -0.46751 | -0.54542 | -87.3282 | 152.6722 | 32.6719 | 92.6718 | -27.3278 | -147.3281 | 1.1809 | 0.60646 | 0.57516 | 1.1732 | 0.59725 | 0.57623 | -0.89507 | -178.9887 | 177.0948 | -0.60064 | -179.3154 | 178.0673

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28867 | 0.28867 | 0.28868 | 0.28867 | 0.28867 | 0.28868 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | -0.1799 | -1.3095 | -0.010965 | 0.22324 | 1.3528 | 0.054299 | -3.855 | -3.0078 | -2.4532 | 3.9042 | 3.057 | 2.5024 | 92.6719 | -27.3279 | -147.328 | -87.3281 | 152.6721 | 32.672 | 1.1578 | 0.98415 | 0.73597 | 1.1732 | 1.0029 | 0.75089 | -4.5885e-06 | -140.8543 | 122.4159 | -0.60064 | -141.1989 | 121.4289
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 0.14434 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 1.6667 | 0.12245 | 0.68724 | 0.037983 | -0.11162 | -0.67641 | -0.027149 | 1.9644 | 1.5408 | 1.2635 | -1.9521 | -1.5285 | -1.2512 | -87.3281 | 152.6721 | 32.672 | 92.6719 | -27.3279 | -147.328 | 1.1809 | 1.0123 | 0.75843 | 1.1732 | 1.0029 | 0.75089 | -0.89506 | -141.3664 | 120.9501 | -0.60064 | -141.1989 | 121.4289

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | 1.6579e-14 | 1.8948e-14 | 9.4746e-15 | -1.6579e-14 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1198e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | -2.3682e-15 | -4.737e-15 | 4.7367e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.5374e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1486e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3812e-29 | 3.553e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.7687e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1347e-12 | -180 | 180 | 1.1536e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-15 | 1.6579e-14 | 1.8948e-14 | 9.4746e-15 | -1.6579e-14 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1198e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -1.1839e-15 | -2.3682e-15 | -4.737e-15 | 4.7367e-15 | 2.3682e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -9.5374e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1486e-12 | -180 | 180 | 1.1536e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.3812e-29 | 3.553e-15 | 7.1057e-15 | 2.3685e-15 | 4.7367e-15 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.7687e-29 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.1347e-12 | -180 | 180 | 1.1536e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.806e-14 | -8.0025e-10 | -2.5674e-09 | 1.806e-14 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | 1.8089e-28 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5473e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.5579e-10 | -2.3685e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3723e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6951e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6601e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.806e-14 | -8.0025e-10 | -2.5674e-09 | 1.806e-14 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | 1.8089e-28 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.5473e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.6675e-10 | 8.5579e-10 | -2.3685e-15 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3723e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6951e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 2.0724e-15 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 5.6601e-13 | -141.4824 | 122.8363 | 5.7389e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27289 | 0.29627 | 0.2975 | 0.27815 | 0.29366 | 0.2945 | 3.151 | 3.421 | 3.4353 | 3.2118 | 3.3909 | 3.4006 | 2.0789e-12 | -2.9934 | 2.4981 | 0.02805 | 3.1089 | -2.5098 | -7.1978e-13 | -5.7178 | -5.956 | 0.04258 | 5.6625 | 5.923 | 92.8259 | -30.0442 | -144.7645 | -87.2256 | 150.8442 | 34.3977 | 0 | 1.8866 | 1.8801 | 0.015876 | 1.9051 | 1.8917 | 0 | -147.6772 | 147.9898 | -30.6009 | -147.9246 | 147.3614
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.13907 | 0.14683 | 0.14725 | 1.6667 | 1.6667 | 1.6667 | 1.6059 | 1.6954 | 1.7003 | 0.023919 | 1.6281 | -1.3058 | -0.014025 | -1.5545 | 1.2549 | 0.033922 | 2.7443 | 2.8783 | -0.02129 | -2.8312 | -2.9615 | -87.328 | 152.672 | 32.672 | 92.7744 | -29.1558 | -145.6023 | 0.024904 | 1.9145 | 1.8964 | 0.015876 | 1.9051 | 1.8917 | -32.5166 | -148.0064 | 147.0739 | -30.6009 | -147.9246 | 147.3614
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13907 | 0.14683 | 0.14725 | 1.6667 | 1.6667 | 1.6667 | 1.6059 | 1.6954 | 1.7003 | 0.023919 | 1.6281 | -1.3058 | -0.014025 | -1.5545 | 1.2549 | 0.033922 | 2.7443 | 2.8783 | -0.02129 | -2.8312 | -2.9615 | -87.328 | 152.672 | 32.672 | 92.7744 | -29.1558 | -145.6023 | 0.024904 | 1.9145 | 1.8964 | 0.015876 | 1.9051 | 1.8917 | -32.5166 | -148.0064 | 147.0739 | -30.6009 | -147.9246 | 147.3614

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27289 | 0.29627 | 0.2975 | 0.27815 | 0.29366 | 0.2945 | 3.151 | 3.421 | 3.4353 | 3.2118 | 3.3909 | 3.4006 | 2.0789e-12 | -2.9934 | 2.4981 | 0.02805 | 3.1089 | -2.5098 | -7.1978e-13 | -5.7178 | -5.956 | 0.04258 | 5.6625 | 5.923 | 92.8259 | -30.0442 | -144.7645 | -87.2256 | 150.8442 | 34.3977 | 0 | 1.8866 | 1.8801 | 0.015876 | 1.9051 | 1.8917 | 0 | -147.6772 | 147.9898 | -30.6009 | -147.9246 | 147.3614
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.13907 | 0.14683 | 0.14725 | 1.6667 | 1.6667 | 1.6667 | 1.6059 | 1.6954 | 1.7003 | 0.023919 | 1.6281 | -1.3058 | -0.014025 | -1.5545 | 1.2549 | 0.033922 | 2.7443 | 2.8783 | -0.02129 | -2.8312 | -2.9615 | -87.328 | 152.672 | 32.672 | 92.7744 | -29.1558 | -145.6023 | 0.024904 | 1.9145 | 1.8964 | 0.015876 | 1.9051 | 1.8917 | -32.5166 | -148.0064 | 147.0739 | -30.6009 | -147.9246 | 147.3614
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.13907 | 0.14683 | 0.14725 | 1.6667 | 1.6667 | 1.6667 | 1.6059 | 1.6954 | 1.7003 | 0.023919 | 1.6281 | -1.3058 | -0.014025 | -1.5545 | 1.2549 | 0.033922 | 2.7443 | 2.8783 | -0.02129 | -2.8312 | -2.9615 | -87.328 | 152.672 | 32.672 | 92.7744 | -29.1558 | -145.6023 | 0.024904 | 1.9145 | 1.8964 | 0.015876 | 1.9051 | 1.8917 | -32.5166 | -148.0064 | 147.0739 | -30.6009 | -147.9246 | 147.3614

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27663 | 0.29653 | 0.29324 | 0.28064 | 0.29388 | 0.29168 | 3.1943 | 3.4241 | 3.386 | 3.2406 | 3.3934 | 3.368 | -0.62041 | -2.0748 | 2.1138 | 0.66375 | 2.1689 | -2.1201 | -0.87897 | -5.7367 | -4.9321 | 0.93231 | 5.709 | 4.9387 | 92.2694 | -29.1568 | -145.0986 | -87.5913 | 151.4407 | 34.166 | 0.33681 | 1.7816 | 1.5847 | 0.35316 | 1.7997 | 1.5958 | -32.9462 | -139.0401 | 148.1004 | -33.0398 | -139.3615 | 147.3991
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14032 | 0.14694 | 0.14584 | 1.6667 | 1.6667 | 1.6667 | 1.6203 | 1.6967 | 1.684 | 0.3534 | 1.1371 | -1.1017 | -0.33187 | -1.0844 | 1.0601 | 0.48962 | 2.7921 | 2.4292 | -0.46616 | -2.8545 | -2.4694 | -87.328 | 152.672 | 32.672 | 92.4087 | -28.5593 | -145.834 | 0.3623 | 1.8089 | 1.6004 | 0.35316 | 1.7997 | 1.5958 | -33.1495 | -139.4868 | 147.0671 | -33.0398 | -139.3615 | 147.3991
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14032 | 0.14694 | 0.14584 | 1.6667 | 1.6667 | 1.6667 | 1.6203 | 1.6967 | 1.684 | 0.3534 | 1.1371 | -1.1017 | -0.33187 | -1.0844 | 1.0601 | 0.48962 | 2.7921 | 2.4292 | -0.46616 | -2.8545 | -2.4694 | -87.328 | 152.672 | 32.672 | 92.4087 | -28.5593 | -145.834 | 0.3623 | 1.8089 | 1.6004 | 0.35316 | 1.7997 | 1.5958 | -33.1495 | -139.4868 | 147.0671 | -33.0398 | -139.3615 | 147.3991

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27663 | 0.29653 | 0.29324 | 0.28064 | 0.29388 | 0.29168 | 3.1943 | 3.4241 | 3.386 | 3.2406 | 3.3934 | 3.368 | -0.62041 | -2.0748 | 2.1138 | 0.66375 | 2.1689 | -2.1201 | -0.87897 | -5.7367 | -4.9321 | 0.93231 | 5.709 | 4.9387 | 92.2694 | -29.1568 | -145.0986 | -87.5913 | 151.4407 | 34.166 | 0.33681 | 1.7816 | 1.5847 | 0.35316 | 1.7997 | 1.5958 | -32.9462 | -139.0401 | 148.1004 | -33.0398 | -139.3615 | 147.3991
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14032 | 0.14694 | 0.14584 | 1.6667 | 1.6667 | 1.6667 | 1.6203 | 1.6967 | 1.684 | 0.3534 | 1.1371 | -1.1017 | -0.33187 | -1.0844 | 1.0601 | 0.48962 | 2.7921 | 2.4292 | -0.46616 | -2.8545 | -2.4694 | -87.328 | 152.672 | 32.672 | 92.4087 | -28.5593 | -145.834 | 0.3623 | 1.8089 | 1.6004 | 0.35316 | 1.7997 | 1.5958 | -33.1495 | -139.4868 | 147.0671 | -33.0398 | -139.3615 | 147.3991
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14032 | 0.14694 | 0.14584 | 1.6667 | 1.6667 | 1.6667 | 1.6203 | 1.6967 | 1.684 | 0.3534 | 1.1371 | -1.1017 | -0.33187 | -1.0844 | 1.0601 | 0.48962 | 2.7921 | 2.4292 | -0.46616 | -2.8545 | -2.4694 | -87.328 | 152.672 | 32.672 | 92.4087 | -28.5593 | -145.834 | 0.3623 | 1.8089 | 1.6004 | 0.35316 | 1.7997 | 1.5958 | -33.1495 | -139.4868 | 147.0671 | -33.0398 | -139.3615 | 147.3991

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2937e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0301e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | -90.1613 | -90.1613 | -90.1613 | 89.7516 | 89.7516 | 89.7516 | 0 | 1.6252 | 1.6193 | 0.0071125 | 1.6227 | 1.6242 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4078e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.013599 | 0.013599 | 0.013599 | 0.0090689 | 0.0090689 | 0.0090689 | 0.15703 | 0.15703 | 0.15703 | 0.10472 | 0.10472 | 0.10472 | 1.2937e-13 | 0.13747 | -0.13451 | 0.0007293 | -0.091162 | 0.090214 | 1.0301e-13 | -0.21502 | -0.21578 | 0.00015123 | 0.1434 | 0.14419 | -90.1613 | -90.1613 | -90.1613 | 89.7516 | 89.7516 | 89.7516 | 0 | 1.6252 | 1.6193 | 0.0071125 | 1.6227 | 1.6242 | 0 | -147.5696 | 147.9007 | 101.4666 | -147.8041 | 147.7189
Line_1 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4078e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189
Line_2 | 0 | 0 | 0 | 0.0045344 | 0.0045344 | 0.0045344 | 0 | 0 | 0 | 0.052359 | 0.052359 | 0.052359 | -6.4841e-12 | -4.3898e-09 | -4.4077e-09 | -0.00036465 | 0.045581 | -0.045107 | 3.0672e-11 | -2.7788e-09 | 2.7684e-09 | -7.5615e-05 | -0.071701 | -0.072095 | 0 | 0 | 0 | -90.2484 | -90.2484 | -90.2484 | 0.0085353 | 1.6222 | 1.6252 | 0.0071125 | 1.6227 | 1.6242 | 101.4579 | -147.8511 | 147.6827 | 101.4666 | -147.8041 | 147.7189

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | -78.3824 | -78.3824 | -78.3824 | 101.5305 | 101.5305 | 101.5305 | 0.29 | 1.5357 | 1.3665 | 0.28545 | 1.534 | 1.371 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8574e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010512 | 0.010512 | 0.010512 | 0.0070099 | 0.0070099 | 0.0070099 | 0.12138 | 0.12138 | 0.12138 | 0.080943 | 0.080943 | 0.080943 | 0.024707 | 0.091491 | -0.11443 | -0.016015 | -0.060742 | 0.076626 | 0.025071 | -0.1624 | -0.12006 | -0.016654 | 0.1083 | 0.080274 | -78.3824 | -78.3824 | -78.3824 | 101.5305 | 101.5305 | 101.5305 | 0.29 | 1.5357 | 1.3665 | 0.28545 | 1.534 | 1.371 | -32.9634 | -138.9869 | 147.9932 | -32.3496 | -139.1824 | 147.8622
Line_1 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8575e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622
Line_2 | 0 | 0 | 0 | 0.0035049 | 0.0035049 | 0.0035049 | 0 | 0 | 0 | 0.040472 | 0.040472 | 0.040472 | 5.8574e-10 | -3.3148e-09 | -2.453e-09 | 0.0080076 | 0.030371 | -0.038313 | -5.5633e-10 | -1.8514e-09 | 2.3489e-09 | 0.0083269 | -0.054149 | -0.040137 | 0 | 0 | 0 | -78.4695 | -78.4695 | -78.4695 | 0.28454 | 1.5337 | 1.3719 | 0.28545 | 1.534 | 1.371 | -32.2243 | -139.2216 | 147.8361 | -32.3496 | -139.1824 | 147.8622

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29708 | 0.28493 | 0.2842 | 0.29428 | 0.28616 | 0.28567 | 3.4304 | 3.2901 | 3.2817 | 3.3981 | 3.3043 | 3.2986 | -0.25763 | -3.349e-13 | -5.7995e-13 | 0.30964 | 0.03788 | 0.040658 | -5.8217 | 1.2213e-12 | 1.0755e-12 | 5.8195 | 0.053342 | 0.041509 | 92.592 | -25.8214 | -148.7549 | -87.3828 | 153.6728 | 31.7259 | 1.6987 | 0 | 0 | 1.715 | 0.0198 | 0.017615 | 0.058093 | 0 | 0 | -0.42846 | -151.7069 | 77.319
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14714 | 0.14308 | 0.14283 | 1.6667 | 1.6667 | 1.6667 | 1.699 | 1.6521 | 1.6493 | 0.16619 | 0.028861 | 0.031564 | -0.15482 | -0.01894 | -0.020329 | 2.8667 | 0.040058 | 0.032132 | -2.9097 | -0.026671 | -0.020754 | -87.3282 | 152.6722 | 32.6719 | 92.6172 | -26.3272 | -148.2741 | 1.7229 | 0.029623 | 0.027025 | 1.715 | 0.0198 | 0.017615 | -0.64596 | -153.0997 | 78.1832 | -0.42846 | -151.7069 | 77.319
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14714 | 0.14308 | 0.14283 | 1.6667 | 1.6667 | 1.6667 | 1.699 | 1.6521 | 1.6493 | 0.16619 | 0.028861 | 0.031564 | -0.15482 | -0.01894 | -0.020329 | 2.8667 | 0.040058 | 0.032132 | -2.9097 | -0.026671 | -0.020754 | -87.3282 | 152.6722 | 32.6719 | 92.6172 | -26.3272 | -148.2741 | 1.7229 | 0.029623 | 0.027025 | 1.715 | 0.0198 | 0.017615 | -0.64596 | -153.0997 | 78.1832 | -0.42846 | -151.7069 | 77.319

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29708 | 0.28493 | 0.2842 | 0.29428 | 0.28616 | 0.28567 | 3.4304 | 3.2901 | 3.2817 | 3.3981 | 3.3043 | 3.2986 | -0.25763 | -3.349e-13 | -5.7995e-13 | 0.30964 | 0.03788 | 0.040658 | -5.8217 | 1.2213e-12 | 1.0755e-12 | 5.8195 | 0.053342 | 0.041509 | 92.592 | -25.8214 | -148.7549 | -87.3828 | 153.6728 | 31.7259 | 1.6987 | 0 | 0 | 1.715 | 0.0198 | 0.017615 | 0.058093 | 0 | 0 | -0.42846 | -151.7069 | 77.319
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14714 | 0.14308 | 0.14283 | 1.6667 | 1.6667 | 1.6667 | 1.699 | 1.6521 | 1.6493 | 0.16619 | 0.028861 | 0.031564 | -0.15482 | -0.01894 | -0.020329 | 2.8667 | 0.040058 | 0.032132 | -2.9097 | -0.026671 | -0.020754 | -87.3282 | 152.6722 | 32.6719 | 92.6172 | -26.3272 | -148.2741 | 1.7229 | 0.029623 | 0.027025 | 1.715 | 0.0198 | 0.017615 | -0.64596 | -153.0997 | 78.1832 | -0.42846 | -151.7069 | 77.319
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14714 | 0.14308 | 0.14283 | 1.6667 | 1.6667 | 1.6667 | 1.699 | 1.6521 | 1.6493 | 0.16619 | 0.028861 | 0.031564 | -0.15482 | -0.01894 | -0.020329 | 2.8667 | 0.040058 | 0.032132 | -2.9097 | -0.026671 | -0.020754 | -87.3282 | 152.6722 | 32.6719 | 92.6172 | -26.3272 | -148.2741 | 1.7229 | 0.029623 | 0.027025 | 1.715 | 0.0198 | 0.017615 | -0.64596 | -153.0997 | 78.1832 | -0.42846 | -151.7069 | 77.319

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29597 | 0.28462 | 0.28557 | 0.29354 | 0.28596 | 0.28659 | 3.4176 | 3.2865 | 3.2975 | 3.3895 | 3.302 | 3.3092 | -0.06623 | 0.39809 | -1.6158 | 0.11284 | -0.37956 | 1.6811 | -5.5537 | -2.4438 | -2.278 | 5.5612 | 2.5044 | 2.316 | 92.777 | -26.1105 | -148.6504 | -87.2581 | 153.4805 | 31.7936 | 1.6251 | 0.75338 | 0.84696 | 1.641 | 0.76712 | 0.86479 | 2.0938 | -106.8583 | 86.0011 | 1.5795 | -107.9016 | 85.819
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14677 | 0.14298 | 0.14329 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.651 | 1.6546 | 0.063609 | -0.19914 | 0.87523 | -0.056418 | 0.18978 | -0.84054 | 2.7471 | 1.2739 | 1.1649 | -2.7806 | -1.2522 | -1.158 | -87.3281 | 152.672 | 32.672 | 92.7419 | -26.5195 | -148.2064 | 1.6487 | 0.77365 | 0.87424 | 1.641 | 0.76712 | 0.86479 | 1.3455 | -108.4434 | 85.7531 | 1.5795 | -107.9016 | 85.819
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14677 | 0.14298 | 0.14329 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.651 | 1.6546 | 0.063609 | -0.19914 | 0.87523 | -0.056418 | 0.18978 | -0.84054 | 2.7471 | 1.2739 | 1.1649 | -2.7806 | -1.2522 | -1.158 | -87.3281 | 152.672 | 32.672 | 92.7419 | -26.5195 | -148.2064 | 1.6487 | 0.77365 | 0.87424 | 1.641 | 0.76712 | 0.86479 | 1.3455 | -108.4434 | 85.7531 | 1.5795 | -107.9016 | 85.819

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29597 | 0.28462 | 0.28557 | 0.29354 | 0.28596 | 0.28659 | 3.4176 | 3.2865 | 3.2975 | 3.3895 | 3.302 | 3.3092 | -0.06623 | 0.39809 | -1.6158 | 0.11284 | -0.37956 | 1.6811 | -5.5537 | -2.4438 | -2.278 | 5.5612 | 2.5044 | 2.316 | 92.777 | -26.1105 | -148.6504 | -87.2581 | 153.4805 | 31.7936 | 1.6251 | 0.75338 | 0.84696 | 1.641 | 0.76712 | 0.86479 | 2.0938 | -106.8583 | 86.0011 | 1.5795 | -107.9016 | 85.819
Line_1 | 0.14434 | 0.14434 | 0.14434 | 0.14677 | 0.14298 | 0.14329 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.651 | 1.6546 | 0.063609 | -0.19914 | 0.87523 | -0.056418 | 0.18978 | -0.84054 | 2.7471 | 1.2739 | 1.1649 | -2.7806 | -1.2522 | -1.158 | -87.3281 | 152.672 | 32.672 | 92.7419 | -26.5195 | -148.2064 | 1.6487 | 0.77365 | 0.87424 | 1.641 | 0.76712 | 0.86479 | 1.3455 | -108.4434 | 85.7531 | 1.5795 | -107.9016 | 85.819
Line_2 | 0.14434 | 0.14434 | 0.14434 | 0.14677 | 0.14298 | 0.14329 | 1.6667 | 1.6667 | 1.6667 | 1.6948 | 1.651 | 1.6546 | 0.063609 | -0.19914 | 0.87523 | -0.056418 | 0.18978 | -0.84054 | 2.7471 | 1.2739 | 1.1649 | -2.7806 | -1.2522 | -1.158 | -87.3281 | 152.672 | 32.672 | 92.7419 | -26.5195 | -148.2064 | 1.6487 | 0.77365 | 0.87424 | 1.641 | 0.76712 | 0.86479 | 1.3455 | -108.4434 | 85.7531 | 1.5795 | -107.9016 | 85.819

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.7063e-14 | 8.7685e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9576e-14 | 4.1642e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 89.669 | 89.669 | 89.669 | -90.4181 | -90.4181 | -90.4181 | 1.4658 | 0 | 0 | 1.4665 | 0.0037999 | 0.0037999 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3638e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0072653 | 0.0072653 | 0.0072653 | 0.0048451 | 0.0048451 | 0.0048451 | 0.083893 | 0.083893 | 0.083893 | 0.055946 | 0.055946 | 0.055946 | 0.00084308 | -7.7063e-14 | 8.7685e-14 | -0.0004788 | 0.00020816 | 0.00020816 | -0.12296 | 4.9576e-14 | 4.1642e-14 | 0.082043 | 4.3165e-05 | 4.3165e-05 | 89.669 | 89.669 | 89.669 | -90.4181 | -90.4181 | -90.4181 | 1.4658 | 0 | 0 | 1.4665 | 0.0037999 | 0.0037999 | 0.061852 | 0 | 0 | -0.083764 | -78.7031 | -78.7031
Line_1 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5913e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3638e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031
Line_2 | 0 | 0 | 0 | 0.0024225 | 0.0024225 | 0.0024225 | 0 | 0 | 0 | 0.027973 | 0.027973 | 0.027973 | -2.5095e-09 | 1.2487e-11 | -1.5912e-11 | 0.0002394 | -0.00010408 | -0.00010408 | -1.0604e-11 | 1.1033e-11 | 5.3639e-12 | -0.041022 | -2.1583e-05 | -2.1582e-05 | 0 | 0 | 0 | 89.5819 | 89.5819 | 89.5819 | 1.4666 | 0.00456 | 0.00456 | 1.4665 | 0.0037999 | 0.0037999 | -0.11288 | -78.7118 | -78.7118 | -0.083764 | -78.7031 | -78.7031

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 96.7333 | 96.7333 | 96.7333 | -83.3538 | -83.3538 | -83.3538 | 1.4024 | 0.64422 | 0.72398 | 1.4034 | 0.6469 | 0.72093 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7372e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0063139 | 0.0063139 | 0.0063139 | 0.0042106 | 0.0042106 | 0.0042106 | 0.072907 | 0.072907 | 0.072907 | 0.04862 | 0.04862 | 0.04862 | -0.0082775 | -0.042897 | 0.051812 | 0.0055739 | 0.028784 | -0.034405 | -0.10191 | 0.019125 | -0.01008 | 0.068004 | -0.012678 | 0.0067019 | 96.7333 | 96.7333 | 96.7333 | -83.3538 | -83.3538 | -83.3538 | 1.4024 | 0.64422 | 0.72398 | 1.4034 | 0.6469 | 0.72093 | 2.0899 | -107.2957 | 85.7242 | 1.9604 | -107.1252 | 85.6232
Line_1 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7372e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232
Line_2 | 0 | 0 | 0 | 0.0021053 | 0.0021053 | 0.0021053 | 0 | 0 | 0 | 0.02431 | 0.02431 | 0.02431 | -2.0798e-09 | 7.7696e-10 | 2.7685e-10 | -0.0027869 | -0.014392 | 0.017202 | 1.7373e-10 | 5.3033e-10 | -1.4921e-09 | -0.034002 | 0.006339 | -0.003351 | 0 | 0 | 0 | 96.6462 | 96.6462 | 96.6462 | 1.4036 | 0.64744 | 0.72032 | 1.4034 | 0.6469 | 0.72093 | 1.9346 | -107.0913 | 85.6029 | 1.9604 | -107.1252 | 85.6232