## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2981e-19 | 0 | -4.929e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2805e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2805e-20 | 0 | 2.6704e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1464e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9002e-14 | 5.2106e-14 | 1.0421e-14 | 7.816e-14 | -4.9501e-14 | -1.5632e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.5911e-12 | 180 | -180 | 1.701e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | 1.8981e-19 | 1.0421e-14 | -3.6475e-14 | 1.3026e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0829e-27 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.716e-12 | -180 | 180 | 1.701e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.0421e-14 | 1.0421e-14 | -3.1264e-14 | 2.3448e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.7151e-12 | -180 | 180 | 1.701e-12 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.0843e-14 | 5.2106e-15 | -1.5632e-14 | -5.2106e-15 | -5.2106e-15 | 1.5606e-28 | 7.816e-15 | 5.2106e-15 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.716e-12 | -180 | 180 | 1.7151e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9002e-14 | 5.2106e-14 | 1.0421e-14 | 7.816e-14 | -4.9501e-14 | -1.5632e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.5911e-12 | 180 | -180 | 1.701e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0843e-14 | 1.8981e-19 | 1.0421e-14 | -3.6475e-14 | 1.3026e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -1.0829e-27 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.716e-12 | -180 | 180 | 1.701e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5632e-14 | -1.0421e-14 | 1.0421e-14 | -3.1264e-14 | 2.3448e-14 | -1.5632e-14 | -5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.7151e-12 | -180 | 180 | 1.701e-12 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 2.0843e-14 | 5.2106e-15 | -1.5632e-14 | -5.2106e-15 | -5.2106e-15 | 1.5606e-28 | 7.816e-15 | 5.2106e-15 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95263 | 0 | 0.95263 | 0.95263 | 0 | 0.95263 | 1.716e-12 | -180 | 180 | 1.7151e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -9.5545e-10 | -3.075e-09 | 3.1264e-14 | 9.5545e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5666e-10 | -5.2106e-15 | -4.0277e-09 | 3.5667e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.0578e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.1848e-10 | 1.025e-09 | -1.954e-14 | -3.1847e-10 | -1.025e-09 | 1.1871e-28 | -1.3426e-09 | 1.1886e-10 | -2.2052e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.5268e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1847e-10 | 1.025e-09 | -1.5632e-14 | -3.1846e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -1.7642e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.52e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9678e-29 | 1.5039e-14 | 8.8779e-16 | -1.1724e-14 | -3.016e-15 | 1.7756e-15 | -2.6053e-15 | 8.1929e-16 | -1.3981e-15 | -1.3341e-28 | 8.9672e-15 | -2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.5268e-13 | -140.8543 | 122.4159 | 6.52e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | -9.5545e-10 | -3.075e-09 | 3.1264e-14 | 9.5545e-10 | 3.075e-09 | 7.816e-15 | 4.0277e-09 | -3.5666e-10 | -5.2106e-15 | -4.0277e-09 | 3.5667e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.0578e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 3.1848e-10 | 1.025e-09 | -1.954e-14 | -3.1847e-10 | -1.025e-09 | 1.1871e-28 | -1.3426e-09 | 1.1886e-10 | -2.2052e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.5268e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1847e-10 | 1.025e-09 | -1.5632e-14 | -3.1846e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -1.7642e-28 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.52e-13 | -140.8543 | 122.4159 | 6.4662e-13 | -140.8543 | 122.4159
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9678e-29 | 1.5039e-14 | 8.8779e-16 | -1.1724e-14 | -3.016e-15 | 1.7756e-15 | -2.6053e-15 | 8.1929e-16 | -1.3981e-15 | -1.3341e-28 | 8.9672e-15 | -2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1075 | 0.71098 | 0.91717 | 1.1075 | 0.71098 | 0.91717 | 6.5268e-13 | -140.8543 | 122.4159 | 6.52e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9637e-28 | 1.7764e-14 | -2.3685e-15 | 2.3685e-15 | -1.5394e-14 | 4.7376e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.9173e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1839e-15 | 1.1843e-14 | 4.737e-15 | 3.5525e-15 | -4.7372e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9653e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.1839e-15 | 7.1057e-15 | 1.1842e-14 | 3.5525e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.0596e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 3.5527e-15 | 4.737e-15 | -7.1054e-15 | -3.5527e-15 | -9.0914e-25 | 1.4211e-14 | -9.4739e-15 | 4.737e-15 | -9.4739e-15 | -2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9653e-13 | -180 | 180 | 7.0596e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9637e-28 | 1.7764e-14 | -2.3685e-15 | 2.3685e-15 | -1.5394e-14 | 4.7376e-15 | -1.4211e-14 | 4.7631e-09 | -4.7631e-09 | 1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.9173e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.1839e-15 | 1.1843e-14 | 4.737e-15 | 3.5525e-15 | -4.7372e-15 | 2.3685e-14 | -1.5877e-09 | 1.5877e-09 | -2.3685e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9653e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -1.1839e-15 | 7.1057e-15 | 1.1842e-14 | 3.5525e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 7.0596e-13 | -180 | 180 | 7.3209e-13 | -180 | 180
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 3.5527e-15 | 4.737e-15 | -7.1054e-15 | -3.5527e-15 | -9.0914e-25 | 1.4211e-14 | -9.4739e-15 | 4.737e-15 | -9.4739e-15 | -2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86603 | 0 | 0.86603 | 0.86603 | 0 | 0.86603 | 6.9653e-13 | -180 | 180 | 7.0596e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4803e-15 | -8.0025e-10 | -2.5674e-09 | -1.1842e-15 | 8.0025e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.7267e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4803e-15 | 2.6675e-10 | 8.558e-10 | 2.9478e-29 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4628e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.558e-10 | -1.265e-29 | -1.1338e-09 | 1.1354e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4973e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8629e-29 | -5.3494e-16 | 4.3789e-15 | 4.3371e-29 | 0 | -8.8337e-16 | 4.737e-15 | 4.6863e-15 | 4.149e-15 | -7.1054e-15 | 0 | -4.0983e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4628e-13 | -141.4824 | 122.8363 | 3.4973e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4803e-15 | -8.0025e-10 | -2.5674e-09 | -1.1842e-15 | 8.0025e-10 | 2.5674e-09 | -4.737e-15 | 3.4014e-09 | -3.4064e-10 | 7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.7267e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4803e-15 | 2.6675e-10 | 8.558e-10 | 2.9478e-29 | -2.6674e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -4.737e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4628e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0724e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-16 | -2.6675e-10 | -8.558e-10 | -1.265e-29 | -1.1338e-09 | 1.1354e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4973e-13 | -141.4824 | 122.8363 | 3.5655e-13 | -141.4824 | 122.8363
Line_4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8629e-29 | -5.3494e-16 | 4.3789e-15 | 4.3371e-29 | 0 | -8.8337e-16 | 4.737e-15 | 4.6863e-15 | 4.149e-15 | -7.1054e-15 | 0 | -4.0983e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0057 | 0.63489 | 0.83074 | 1.0057 | 0.63489 | 0.83074 | 3.4628e-13 | -141.4824 | 122.8363 | 3.4973e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020075 | 0.020075 | 0.020075 | 0.015062 | 0.015062 | 0.015062 | 0.2318 | 0.2318 | 0.2318 | 0.17392 | 0.17392 | 0.17392 | -4.0446e-13 | 0.22281 | -0.21883 | 0.00097783 | -0.16645 | 0.16491 | 1.2696e-13 | -0.35132 | -0.35218 | 0.00038919 | 0.26382 | 0.26478 | 0 | 0 | 0 | 89.8333 | 89.8333 | 89.8333 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 0 | -147.7283 | 148.033 | 111.5363 | -147.9182 | 147.918
Line_1 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0075309 | 0.0075309 | 0.0075309 | 0.028993 | 0.028993 | 0.028993 | 0.086959 | 0.086959 | 0.086959 | 0.00020956 | -0.027724 | 0.027514 | -0.00048891 | 0.083224 | -0.082455 | 8.3498e-05 | 0.043983 | 0.044173 | -0.00019459 | -0.13191 | -0.13239 | 0 | 0 | 0 | -90.1667 | -90.1667 | -90.1667 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5363 | -147.9182 | 147.918
Line_2 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0075309 | 0.0075309 | 0.0075309 | 0.028993 | 0.028993 | 0.028993 | 0.086959 | 0.086959 | 0.086959 | 0.00020956 | -0.027724 | 0.027514 | -0.00048891 | 0.083224 | -0.082455 | 8.3498e-05 | 0.043983 | 0.044173 | -0.00019459 | -0.13191 | -0.13239 | 0 | 0 | 0 | -90.1667 | -90.1667 | -90.1667 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5363 | -147.9182 | 147.918
Line_4 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | -0.00020956 | 0.027724 | -0.027514 | -0.00020956 | 0.027724 | -0.027514 | -8.3498e-05 | -0.043983 | -0.044173 | -8.3498e-05 | -0.043983 | -0.044173 | 0 | 0 | 0 | -90.197 | -90.197 | -90.197 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5276 | -147.9726 | 147.8852

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.020075 | 0.020075 | 0.020075 | 0.015062 | 0.015062 | 0.015062 | 0.2318 | 0.2318 | 0.2318 | 0.17392 | 0.17392 | 0.17392 | -4.0446e-13 | 0.22281 | -0.21883 | 0.00097783 | -0.16645 | 0.16491 | 1.2696e-13 | -0.35132 | -0.35218 | 0.00038919 | 0.26382 | 0.26478 | 0 | 0 | 0 | 89.8333 | 89.8333 | 89.8333 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 0 | -147.7283 | 148.033 | 111.5363 | -147.9182 | 147.918
Line_1 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0075309 | 0.0075309 | 0.0075309 | 0.028993 | 0.028993 | 0.028993 | 0.086959 | 0.086959 | 0.086959 | 0.00020956 | -0.027724 | 0.027514 | -0.00048891 | 0.083224 | -0.082455 | 8.3498e-05 | 0.043983 | 0.044173 | -0.00019459 | -0.13191 | -0.13239 | 0 | 0 | 0 | -90.1667 | -90.1667 | -90.1667 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5363 | -147.9182 | 147.918
Line_2 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0075309 | 0.0075309 | 0.0075309 | 0.028993 | 0.028993 | 0.028993 | 0.086959 | 0.086959 | 0.086959 | 0.00020956 | -0.027724 | 0.027514 | -0.00048891 | 0.083224 | -0.082455 | 8.3498e-05 | 0.043983 | 0.044173 | -0.00019459 | -0.13191 | -0.13239 | 0 | 0 | 0 | -90.1667 | -90.1667 | -90.1667 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5363 | -147.9182 | 147.918
Line_4 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.0025108 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | 0.028993 | -0.00020956 | 0.027724 | -0.027514 | -0.00020956 | 0.027724 | -0.027514 | -8.3498e-05 | -0.043983 | -0.044173 | -8.3498e-05 | -0.043983 | -0.044173 | 0 | 0 | 0 | -90.197 | -90.197 | -90.197 | 1.0362 | 1.1 | 1.0327 | 1.0362 | 1.1 | 1.0327 | 111.5276 | -147.9726 | 147.8852 | 111.5276 | -147.9726 | 147.8852

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01558 | 0.01558 | 0.01558 | 0.01169 | 0.01169 | 0.01169 | 0.1799 | 0.1799 | 0.1799 | 0.13498 | 0.13498 | 0.13498 | 0.039826 | 0.14921 | -0.18664 | -0.029263 | -0.11156 | 0.14048 | 0.04032 | -0.26626 | -0.1978 | -0.030046 | 0.1999 | 0.14878 | 0 | 0 | 0 | 101.4664 | 101.4664 | 101.4664 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -33.125 | -139.2124 | 148.1842 | -32.7769 | -139.3697 | 148.1091
Line_1 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0058448 | 0.0058448 | 0.0058448 | 0.022501 | 0.022501 | 0.022501 | 0.06749 | 0.06749 | 0.06749 | -0.0048474 | -0.018586 | 0.023433 | 0.014631 | 0.055778 | -0.070241 | -0.0050001 | 0.033325 | 0.024825 | 0.015023 | -0.09995 | -0.074389 | 0 | 0 | 0 | -78.5336 | -78.5336 | -78.5336 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.7769 | -139.3697 | 148.1091
Line_2 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0058448 | 0.0058448 | 0.0058448 | 0.022501 | 0.022501 | 0.022501 | 0.06749 | 0.06749 | 0.06749 | -0.0048474 | -0.018586 | 0.023433 | 0.014631 | 0.055778 | -0.070241 | -0.0050001 | 0.033325 | 0.024825 | 0.015023 | -0.09995 | -0.074389 | 0 | 0 | 0 | -78.5336 | -78.5336 | -78.5336 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.7769 | -139.3697 | 148.1091
Line_4 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.0048474 | 0.018586 | -0.023433 | 0.0048474 | 0.018586 | -0.023433 | 0.0050001 | -0.033325 | -0.024825 | 0.0050001 | -0.033325 | -0.024825 | 0 | 0 | 0 | -78.5639 | -78.5639 | -78.5639 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.6754 | -139.4146 | 148.0877

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.01558 | 0.01558 | 0.01558 | 0.01169 | 0.01169 | 0.01169 | 0.1799 | 0.1799 | 0.1799 | 0.13498 | 0.13498 | 0.13498 | 0.039826 | 0.14921 | -0.18664 | -0.029263 | -0.11156 | 0.14048 | 0.04032 | -0.26626 | -0.1978 | -0.030046 | 0.1999 | 0.14878 | 0 | 0 | 0 | 101.4664 | 101.4664 | 101.4664 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -33.125 | -139.2124 | 148.1842 | -32.7769 | -139.3697 | 148.1091
Line_1 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0058448 | 0.0058448 | 0.0058448 | 0.022501 | 0.022501 | 0.022501 | 0.06749 | 0.06749 | 0.06749 | -0.0048474 | -0.018586 | 0.023433 | 0.014631 | 0.055778 | -0.070241 | -0.0050001 | 0.033325 | 0.024825 | 0.015023 | -0.09995 | -0.074389 | 0 | 0 | 0 | -78.5336 | -78.5336 | -78.5336 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.7769 | -139.3697 | 148.1091
Line_2 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0058448 | 0.0058448 | 0.0058448 | 0.022501 | 0.022501 | 0.022501 | 0.06749 | 0.06749 | 0.06749 | -0.0048474 | -0.018586 | 0.023433 | 0.014631 | 0.055778 | -0.070241 | -0.0050001 | 0.033325 | 0.024825 | 0.015023 | -0.09995 | -0.074389 | 0 | 0 | 0 | -78.5336 | -78.5336 | -78.5336 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.7769 | -139.3697 | 148.1091
Line_4 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.0019487 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.022501 | 0.0048474 | 0.018586 | -0.023433 | 0.0048474 | 0.018586 | -0.023433 | 0.0050001 | -0.033325 | -0.024825 | 0.0050001 | -0.033325 | -0.024825 | 0 | 0 | 0 | -78.5639 | -78.5639 | -78.5639 | 1.0446 | 1.1 | 1.0546 | 1.0446 | 1.1 | 1.0546 | -32.6754 | -139.4146 | 148.0877 | -32.6754 | -139.4146 | 148.0877

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.633e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3303e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | 0 | 0 | 0 | 89.4964 | 89.4964 | 89.4964 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 0 | 0 | 0 | -90.5036 | -90.5036 | -90.5036 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 0 | 0 | 0 | -90.5036 | -90.5036 | -90.5036 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_4 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | 0 | 0 | 0 | -90.5617 | -90.5617 | -90.5617 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.018181 | 0.018181 | 0.018181 | 0.013641 | 0.013641 | 0.013641 | 0.20993 | 0.20993 | 0.20993 | 0.15751 | 0.15751 | 0.15751 | 1.633e-13 | 0.18494 | -0.17867 | 0.0015399 | -0.13761 | 0.13519 | 1.3303e-13 | -0.28725 | -0.28978 | 0.00031954 | 0.21558 | 0.21798 | 0 | 0 | 0 | 89.4964 | 89.4964 | 89.4964 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 0 | -147.6238 | 147.9449 | 101.2194 | -147.9524 | 147.6891
Line_1 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 0 | 0 | 0 | -90.5036 | -90.5036 | -90.5036 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_2 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0068204 | 0.0068204 | 0.0068204 | 0.026257 | 0.026257 | 0.026257 | 0.078755 | 0.078755 | 0.078755 | 0.00033002 | -0.022903 | 0.022573 | -0.00076994 | 0.068806 | -0.067596 | 6.873e-05 | 0.03593 | 0.036376 | -0.00015977 | -0.10779 | -0.10899 | 0 | 0 | 0 | -90.5036 | -90.5036 | -90.5036 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2194 | -147.9524 | 147.6891
Line_4 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.0022739 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | 0.026257 | -0.00033002 | 0.022903 | -0.022573 | -0.00033002 | 0.022903 | -0.022573 | -6.873e-05 | -0.03593 | -0.036376 | -6.873e-05 | -0.03593 | -0.036376 | 0 | 0 | 0 | -90.5617 | -90.5617 | -90.5617 | 0.93955 | 1 | 0.93624 | 0.93955 | 1 | 0.93624 | 101.2028 | -148.0465 | 147.6163 | 101.2028 | -148.0465 | 147.6163

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | 0 | 0 | 0 | 101.0844 | 101.0844 | 101.0844 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 0 | 0 | 0 | -78.9156 | -78.9156 | -78.9156 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 0 | 0 | 0 | -78.9156 | -78.9156 | -78.9156 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_4 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | 0 | 0 | 0 | -78.9736 | -78.9736 | -78.9736 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014122 | 0.014122 | 0.014122 | 0.010596 | 0.010596 | 0.010596 | 0.16307 | 0.16307 | 0.16307 | 0.12235 | 0.12235 | 0.12235 | 0.032526 | 0.12417 | -0.15291 | -0.023428 | -0.092532 | 0.11543 | 0.033306 | -0.21814 | -0.16333 | -0.024841 | 0.16369 | 0.12294 | 0 | 0 | 0 | 101.0844 | 101.0844 | 101.0844 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -33.1311 | -139.1612 | 148.0765 | -32.2393 | -139.4361 | 147.8904
Line_1 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 0 | 0 | 0 | -78.9156 | -78.9156 | -78.9156 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_2 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0052978 | 0.0052978 | 0.0052978 | 0.020396 | 0.020396 | 0.020396 | 0.061174 | 0.061174 | 0.061174 | -0.0038571 | -0.015409 | 0.019266 | 0.011714 | 0.046266 | -0.057714 | -0.0041358 | 0.02728 | 0.020524 | 0.01242 | -0.081843 | -0.061472 | 0 | 0 | 0 | -78.9156 | -78.9156 | -78.9156 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -32.2393 | -139.4361 | 147.8904
Line_4 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.0017663 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.020396 | 0.0038571 | 0.015409 | -0.019266 | 0.0038571 | 0.015409 | -0.019266 | 0.0041358 | -0.02728 | -0.020524 | 0.0041358 | -0.02728 | -0.020524 | 0 | 0 | 0 | -78.9736 | -78.9736 | -78.9736 | 0.94752 | 1 | 0.95692 | 0.94752 | 1 | 0.95692 | -31.9764 | -139.5148 | 147.8374 | -31.9764 | -139.5148 | 147.8374

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010681 | 0.010681 | 0.010681 | 0.0080136 | 0.0080136 | 0.0080136 | 0.12333 | 0.12333 | 0.12333 | 0.092534 | 0.092534 | 0.092534 | 0.0011271 | -6.1786e-14 | -5.4834e-14 | -0.00071187 | 0.0002768 | 0.0002768 | -0.19915 | -1.0737e-13 | 1.0742e-13 | 0.14953 | 0.00011017 | 0.00011017 | 0 | 0 | 0 | -90.3226 | -90.3226 | -90.3226 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | 0.056497 | 0 | 0 | -0.049845 | -68.6196 | -68.6196
Line_1 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0040068 | 0.0040068 | 0.0040068 | 0.015425 | 0.015425 | 0.015425 | 0.046267 | 0.046267 | 0.046267 | -0.00011865 | 5.9322e-05 | 5.9322e-05 | 0.00035593 | -0.0001384 | -0.0001384 | 0.024931 | 2.3637e-05 | 2.3637e-05 | -0.074763 | -5.5085e-05 | -5.5085e-05 | 0 | 0 | 0 | 89.6774 | 89.6774 | 89.6774 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.049845 | -68.6196 | -68.6196
Line_2 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0040068 | 0.0040068 | 0.0040068 | 0.015425 | 0.015425 | 0.015425 | 0.046267 | 0.046267 | 0.046267 | -0.00011865 | 5.9322e-05 | 5.9322e-05 | 0.00035593 | -0.0001384 | -0.0001384 | 0.024931 | 2.3637e-05 | 2.3637e-05 | -0.074763 | -5.5085e-05 | -5.5085e-05 | 0 | 0 | 0 | 89.6774 | 89.6774 | 89.6774 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.049845 | -68.6196 | -68.6196
Line_4 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.00011864 | -5.9322e-05 | -5.9322e-05 | 0.00011864 | -5.9322e-05 | -5.9322e-05 | -0.024931 | -2.3637e-05 | -2.3637e-05 | -0.024931 | -2.3637e-05 | -2.3637e-05 | 0 | 0 | 0 | 89.6471 | 89.6471 | 89.6471 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.080217 | -68.6282 | -68.6282

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.010681 | 0.010681 | 0.010681 | 0.0080136 | 0.0080136 | 0.0080136 | 0.12333 | 0.12333 | 0.12333 | 0.092534 | 0.092534 | 0.092534 | 0.0011271 | -6.1786e-14 | -5.4834e-14 | -0.00071187 | 0.0002768 | 0.0002768 | -0.19915 | -1.0737e-13 | 1.0742e-13 | 0.14953 | 0.00011017 | 0.00011017 | 0 | 0 | 0 | -90.3226 | -90.3226 | -90.3226 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | 0.056497 | 0 | 0 | -0.049845 | -68.6196 | -68.6196
Line_1 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0040068 | 0.0040068 | 0.0040068 | 0.015425 | 0.015425 | 0.015425 | 0.046267 | 0.046267 | 0.046267 | -0.00011865 | 5.9322e-05 | 5.9322e-05 | 0.00035593 | -0.0001384 | -0.0001384 | 0.024931 | 2.3637e-05 | 2.3637e-05 | -0.074763 | -5.5085e-05 | -5.5085e-05 | 0 | 0 | 0 | 89.6774 | 89.6774 | 89.6774 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.049845 | -68.6196 | -68.6196
Line_2 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0040068 | 0.0040068 | 0.0040068 | 0.015425 | 0.015425 | 0.015425 | 0.046267 | 0.046267 | 0.046267 | -0.00011865 | 5.9322e-05 | 5.9322e-05 | 0.00035593 | -0.0001384 | -0.0001384 | 0.024931 | 2.3637e-05 | 2.3637e-05 | -0.074763 | -5.5085e-05 | -5.5085e-05 | 0 | 0 | 0 | 89.6774 | 89.6774 | 89.6774 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.049845 | -68.6196 | -68.6196
Line_4 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.0013359 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.015425 | 0.00011864 | -5.9322e-05 | -5.9322e-05 | 0.00011864 | -5.9322e-05 | -5.9322e-05 | -0.024931 | -2.3637e-05 | -2.3637e-05 | -0.024931 | -2.3637e-05 | -2.3637e-05 | 0 | 0 | 0 | 89.6471 | 89.6471 | 89.6471 | 0.93227 | 0 | 0.93227 | 0.93227 | 0 | 0.93227 | -0.080217 | -68.6282 | -68.6282 | -0.080217 | -68.6282 | -68.6282

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093084 | 0.0093084 | 0.0093084 | 0.006984 | 0.006984 | 0.006984 | 0.10748 | 0.10748 | 0.10748 | 0.080644 | 0.080644 | 0.080644 | -0.01336 | -0.07066 | 0.084876 | 0.010115 | 0.053247 | -0.063482 | -0.16565 | 0.03056 | -0.016167 | 0.12438 | -0.022794 | 0.012153 | 0 | 0 | 0 | -83.3842 | -83.3842 | -83.3842 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 2.0597 | -106.7174 | 85.886 | 1.9666 | -106.559 | 85.7785
Line_1 | 0.0011642 | 0.0011642 | 0.0011642 | 0.003492 | 0.003492 | 0.003492 | 0.013443 | 0.013443 | 0.013443 | 0.040322 | 0.040322 | 0.040322 | 0.0016852 | 0.0088884 | -0.010574 | -0.0050574 | -0.026624 | 0.031741 | 0.020739 | -0.0037911 | 0.0020243 | -0.062189 | 0.011397 | -0.0060764 | 0 | 0 | 0 | 96.6158 | 96.6158 | 96.6158 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9666 | -106.559 | 85.7785
Line_2 | 0.0011642 | 0.0011642 | 0.0011642 | 0.003492 | 0.003492 | 0.003492 | 0.013443 | 0.013443 | 0.013443 | 0.040322 | 0.040322 | 0.040322 | 0.0016852 | 0.0088884 | -0.010574 | -0.0050574 | -0.026624 | 0.031741 | 0.020739 | -0.0037911 | 0.0020243 | -0.062189 | 0.011397 | -0.0060764 | 0 | 0 | 0 | 96.6158 | 96.6158 | 96.6158 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9666 | -106.559 | 85.7785
Line_4 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | -0.0016852 | -0.0088884 | 0.010574 | -0.0016852 | -0.0088884 | 0.010574 | -0.020739 | 0.0037911 | -0.0020243 | -0.020739 | 0.0037911 | -0.0020243 | 0 | 0 | 0 | 96.5856 | 96.5856 | 96.5856 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9399 | -106.5139 | 85.7476

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0093084 | 0.0093084 | 0.0093084 | 0.006984 | 0.006984 | 0.006984 | 0.10748 | 0.10748 | 0.10748 | 0.080644 | 0.080644 | 0.080644 | -0.01336 | -0.07066 | 0.084876 | 0.010115 | 0.053247 | -0.063482 | -0.16565 | 0.03056 | -0.016167 | 0.12438 | -0.022794 | 0.012153 | 0 | 0 | 0 | -83.3842 | -83.3842 | -83.3842 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 2.0597 | -106.7174 | 85.886 | 1.9666 | -106.559 | 85.7785
Line_1 | 0.0011642 | 0.0011642 | 0.0011642 | 0.003492 | 0.003492 | 0.003492 | 0.013443 | 0.013443 | 0.013443 | 0.040322 | 0.040322 | 0.040322 | 0.0016852 | 0.0088884 | -0.010574 | -0.0050574 | -0.026624 | 0.031741 | 0.020739 | -0.0037911 | 0.0020243 | -0.062189 | 0.011397 | -0.0060764 | 0 | 0 | 0 | 96.6158 | 96.6158 | 96.6158 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9666 | -106.559 | 85.7785
Line_2 | 0.0011642 | 0.0011642 | 0.0011642 | 0.003492 | 0.003492 | 0.003492 | 0.013443 | 0.013443 | 0.013443 | 0.040322 | 0.040322 | 0.040322 | 0.0016852 | 0.0088884 | -0.010574 | -0.0050574 | -0.026624 | 0.031741 | 0.020739 | -0.0037911 | 0.0020243 | -0.062189 | 0.011397 | -0.0060764 | 0 | 0 | 0 | 96.6158 | 96.6158 | 96.6158 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9666 | -106.559 | 85.7785
Line_4 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.0011642 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | 0.013443 | -0.0016852 | -0.0088884 | 0.010574 | -0.0016852 | -0.0088884 | 0.010574 | -0.020739 | 0.0037911 | -0.0020243 | -0.020739 | 0.0037911 | -0.0020243 | 0 | 0 | 0 | 96.5856 | 96.5856 | 96.5856 | 1.098 | 0.87234 | 0.96081 | 1.098 | 0.87234 | 0.96081 | 1.9399 | -106.5139 | 85.7476 | 1.9399 | -106.5139 | 85.7476

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0542e-13 | 1.1358e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4442e-14 | 5.5601e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 0 | 0 | 0 | -90.668 | -90.668 | -90.668 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | 0 | 0 | 0 | 89.332 | 89.332 | 89.332 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | 0 | 0 | 0 | 89.332 | 89.332 | 89.332 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_4 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 0 | 0 | 0 | 89.2739 | 89.2739 | 89.2739 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0096996 | 0.0096996 | 0.0096996 | 0.0072775 | 0.0072775 | 0.0072775 | 0.112 | 0.112 | 0.112 | 0.084033 | 0.084033 | 0.084033 | 0.0017846 | -1.0542e-13 | 1.1358e-13 | -0.0011272 | 0.0004383 | 0.0004383 | -0.16424 | 6.4442e-14 | 5.5601e-14 | 0.12331 | 9.0951e-05 | 9.0951e-05 | 0 | 0 | 0 | -90.668 | -90.668 | -90.668 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | 0.059826 | 0 | 0 | -0.14433 | -78.9451 | -78.9451
Line_1 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | 0 | 0 | 0 | 89.332 | 89.332 | 89.332 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_2 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0036387 | 0.0036387 | 0.0036387 | 0.014008 | 0.014008 | 0.014008 | 0.042016 | 0.042016 | 0.042016 | -0.00018787 | 9.3933e-05 | 9.3933e-05 | 0.0005636 | -0.00021915 | -0.00021915 | 0.020561 | 1.9563e-05 | 1.9563e-05 | -0.061657 | -4.5475e-05 | -4.5475e-05 | 0 | 0 | 0 | 89.332 | 89.332 | 89.332 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.14433 | -78.9451 | -78.9451
Line_4 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.0012132 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.014008 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | 0.00018787 | -9.3933e-05 | -9.3933e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | -0.020561 | -1.9563e-05 | -1.9563e-05 | 0 | 0 | 0 | 89.2739 | 89.2739 | 89.2739 | 0.84668 | 0 | 0.84668 | 0.84668 | 0 | 0.84668 | -0.20264 | -78.9617 | -78.9617 | -0.20264 | -78.9617 | -78.9617

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 0 | 0 | 0 | -83.7413 | -83.7413 | -83.7413 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | 0 | 0 | 0 | 96.2587 | 96.2587 | 96.2587 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | 0 | 0 | 0 | 96.2587 | 96.2587 | 96.2587 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_4 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 0 | 0 | 0 | 96.2007 | 96.2007 | 96.2007 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0084543 | 0.0084543 | 0.0084543 | 0.0063431 | 0.0063431 | 0.0063431 | 0.097622 | 0.097622 | 0.097622 | 0.073244 | 0.073244 | 0.073244 | -0.010301 | -0.057704 | 0.06936 | 0.0078729 | 0.043662 | -0.051725 | -0.13671 | 0.025112 | -0.013175 | 0.10265 | -0.018692 | 0.0098587 | 0 | 0 | 0 | -83.7413 | -83.7413 | -83.7413 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 2.0551 | -107.1538 | 85.6085 | 1.8731 | -106.9177 | 85.4677
Line_1 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | 0 | 0 | 0 | 96.2587 | 96.2587 | 96.2587 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_2 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0031716 | 0.0031716 | 0.0031716 | 0.01221 | 0.01221 | 0.01221 | 0.036622 | 0.036622 | 0.036622 | 0.0013109 | 0.0072975 | -0.0086084 | -0.0039365 | -0.021831 | 0.025863 | 0.017117 | -0.0031053 | 0.001638 | -0.051327 | 0.0093461 | -0.0049294 | 0 | 0 | 0 | 96.2587 | 96.2587 | 96.2587 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8731 | -106.9177 | 85.4677
Line_4 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.0010574 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | 0.01221 | -0.0013109 | -0.0072975 | 0.0086084 | -0.0013109 | -0.0072975 | 0.0086084 | -0.017117 | 0.0031053 | -0.001638 | -0.017117 | 0.0031053 | -0.001638 | 0 | 0 | 0 | 96.2007 | 96.2007 | 96.2007 | 0.99726 | 0.78485 | 0.86933 | 0.99726 | 0.78485 | 0.86933 | 1.8211 | -106.8508 | 85.4272 | 1.8211 | -106.8508 | 85.4272