## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 2.6053e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.2934e-13 | -152.1736 | 136.0734 | 8.4429e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -4.1685e-14 | 5.9452 | -5.9452 | 3.6475e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.0507e-13 | 180 | -180 | 8.4429e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 3.4055e-10 | 6.6443e-10 | 1.0421e-14 | -3.4054e-10 | -6.6443e-10 | 1.5632e-14 | -1.8234e-09 | 1.2624e-09 | -2.0843e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0593e-13 | -163.4303 | 158.2346 | 8.4429e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 2.6053e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.2934e-13 | -152.1736 | 136.0734 | 8.4429e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -4.1685e-14 | 5.9452 | -5.9452 | 3.6475e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.0507e-13 | 180 | -180 | 8.4429e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 3.4055e-10 | 6.6443e-10 | 1.0421e-14 | -3.4054e-10 | -6.6443e-10 | 1.5632e-14 | -1.8234e-09 | 1.2624e-09 | -2.0843e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0593e-13 | -163.4303 | 158.2346 | 8.4429e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | 17.2205 | 0.20321 | 2.6053e-15 | -15.9408 | 1.0765 | 1.0421e-14 | 3.8735 | 14.2393 | -1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.2097e-13 | -135.9762 | 120.5292 | 4.2651e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 1.5632e-14 | -14.6611 | 2.3562 | -2.0843e-14 | 15.9408 | -1.0765 | -2.8659e-14 | -0.96958 | -11.3353 | 2.3448e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.6036e-13 | -144.8696 | 133.0893 | 4.2651e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.6822e-10 | 1.0007e-09 | 5.2106e-15 | -4.6821e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0653e-10 | -1.0421e-14 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 4.0512e-13 | -140.0155 | 126.1589 | 4.2651e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -5.2106e-15 | 17.2205 | 0.20321 | 2.6053e-15 | -15.9408 | 1.0765 | 1.0421e-14 | 3.8735 | 14.2393 | -1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.2097e-13 | -135.9762 | 120.5292 | 4.2651e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | 1.5632e-14 | -14.6611 | 2.3562 | -2.0843e-14 | 15.9408 | -1.0765 | -2.8659e-14 | -0.96958 | -11.3353 | 2.3448e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.6036e-13 | -144.8696 | 133.0893 | 4.2651e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 4.6822e-10 | 1.0007e-09 | 5.2106e-15 | -4.6821e-10 | -1.0007e-09 | 2.6053e-15 | -1.2288e-09 | 3.0653e-10 | -1.0421e-14 | 1.2288e-09 | -3.0653e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 4.0512e-13 | -140.0155 | 126.1589 | 4.2651e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.8281e-29 | 23.4155 | -0.45749 | -2.3685e-15 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 4.737e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2604e-13 | -150.1294 | 122.3252 | 9.3746e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 9.4739e-15 | -11.9365 | 11.9365 | -1.1842e-14 | 17.676 | -6.197 | -2.6053e-14 | 7.0103 | -7.0103 | 2.8422e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0056e-12 | -180 | 180 | 9.3746e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 2.4223e-10 | 6.7019e-10 | 1.1842e-14 | -2.4223e-10 | -6.7019e-10 | 2.6053e-14 | -1.5722e-09 | 8.3092e-10 | -2.8422e-14 | 1.5722e-09 | -8.3091e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 8.2731e-13 | -161.1438 | 151.2099 | 9.3746e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 3.8281e-29 | 23.4155 | -0.45749 | -2.3685e-15 | -17.676 | 6.197 | -2.3685e-15 | -0.22679 | 13.7937 | 4.737e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2604e-13 | -150.1294 | 122.3252 | 9.3746e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 9.4739e-15 | -11.9365 | 11.9365 | -1.1842e-14 | 17.676 | -6.197 | -2.6053e-14 | 7.0103 | -7.0103 | 2.8422e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0056e-12 | -180 | 180 | 9.3746e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 2.4223e-10 | 6.7019e-10 | 1.1842e-14 | -2.4223e-10 | -6.7019e-10 | 2.6053e-14 | -1.5722e-09 | 8.3092e-10 | -2.8422e-14 | 1.5722e-09 | -8.3091e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 8.2731e-13 | -161.1438 | 151.2099 | 9.3746e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.1448e-15 | -12.0096 | 0.036546 | 2.3685e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 5.0192e-13 | -135.6599 | 118.3519 | 5.1225e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -5.9212e-16 | 12.0096 | -0.036546 | -1.1842e-14 | 0.27863 | -8.8347 | 1.1842e-14 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 5.5485e-13 | -144.4405 | 138.2821 | 5.1225e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.2828e-10 | 8.1276e-10 | 1.0658e-14 | -4.2828e-10 | -8.1276e-10 | 1.4211e-14 | -9.7052e-10 | 3.0453e-10 | -1.6579e-14 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.5616e-13 | -139.408 | 127.3216 | 5.1225e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -4.1448e-15 | 13.7181 | 1.6719 | 4.1448e-15 | -12.0096 | 0.036546 | 2.3685e-15 | 1.7406 | 10.8539 | -2.3685e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 5.0192e-13 | -135.6599 | 118.3519 | 5.1225e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -5.9212e-16 | -10.3011 | 1.745 | -5.9212e-16 | 12.0096 | -0.036546 | -1.1842e-14 | 0.27863 | -8.8347 | 1.1842e-14 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 5.5485e-13 | -144.4405 | 138.2821 | 5.1225e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.2828e-10 | 8.1276e-10 | 1.0658e-14 | -4.2828e-10 | -8.1276e-10 | 1.4211e-14 | -9.7052e-10 | 3.0453e-10 | -1.6579e-14 | 9.7052e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.5616e-13 | -139.408 | 127.3216 | 5.1225e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1644 | 1.0822 | 1.0822 | 2.1632 | 1.0833 | 1.0833 | 24.9919 | 12.496 | 12.496 | 24.9786 | 12.5093 | 12.5093 | 7.4841 | -3.9642 | 16.5755 | -5.0543 | 4.5937 | -15.981 | 7.0565 | 12.1689 | 0.12971 | -4.2848 | -11.4867 | 0.54316 | -59.6236 | 120.3764 | 120.3764 | 120.4074 | -59.6855 | -59.6855 |  | 0.41158 | 1.0242 | 1.3265 | 0.26527 | 0.98896 | 1.2783 | -16.3083 | -131.58 | 120.8247 | -19.3032 | -127.8883 | 118.3678
Line_1 | 2.5124 | 0.73658 | 0.73658 | 2.5137 | 0.73517 | 0.73517 | 29.0112 | 8.5053 | 8.5053 | 29.026 | 8.4891 | 8.4891 | 1.5321e-10 | 3.1982 | -11.3365 | 5.9718 | -3.6494 | 10.8445 | -1.7572e-10 | -7.6517 | -0.48659 | 4.8605 | 7.5606 | 0.38293 | 121.5876 | -63.7582 | -63.7582 | -58.4456 | 116.3455 | 116.3455 |  | 0 | 0.97506 | 1.3341 | 0.26527 | 0.98896 | 1.2783 | 0 | -131.0747 | 118.6996 | -19.3032 | -127.8883 | 118.3678
Line_2 | 0.35448 | 0.35448 | 0.35448 | 0.35361 | 0.35361 | 0.35361 | 4.0932 | 4.0932 | 4.0932 | 4.0831 | 4.0831 | 4.0831 | 1.3816 | 1.4218 | -4.6882 | -0.91747 | -0.94427 | 5.1365 | 0.76485 | -3.7479 | 1.0982 | -0.57572 | 3.9261 | -0.92609 | -51.5803 | -51.5803 | -51.5803 | 128.5882 | 128.5882 | 128.5882 |  | 0.38581 | 0.97932 | 1.1764 | 0.26527 | 0.98896 | 1.2783 | -22.612 | -120.8061 | 115.2357 | -19.3032 | -127.8883 | 118.3678

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1644 | 1.0822 | 1.0822 | 2.1632 | 1.0833 | 1.0833 | 24.9919 | 12.496 | 12.496 | 24.9786 | 12.5093 | 12.5093 | 7.4841 | -3.9642 | 16.5755 | -5.0543 | 4.5937 | -15.981 | 7.0565 | 12.1689 | 0.12971 | -4.2848 | -11.4867 | 0.54316 | -59.6236 | 120.3764 | 120.3764 | 120.4074 | -59.6855 | -59.6855 |  | 0.41158 | 1.0242 | 1.3265 | 0.26527 | 0.98896 | 1.2783 | -16.3083 | -131.58 | 120.8247 | -19.3032 | -127.8883 | 118.3678
Line_1 | 2.5124 | 0.73658 | 0.73658 | 2.5137 | 0.73517 | 0.73517 | 29.0112 | 8.5053 | 8.5053 | 29.026 | 8.4891 | 8.4891 | 1.5321e-10 | 3.1982 | -11.3365 | 5.9718 | -3.6494 | 10.8445 | -1.7572e-10 | -7.6517 | -0.48659 | 4.8605 | 7.5606 | 0.38293 | 121.5876 | -63.7582 | -63.7582 | -58.4456 | 116.3455 | 116.3455 |  | 0 | 0.97506 | 1.3341 | 0.26527 | 0.98896 | 1.2783 | 0 | -131.0747 | 118.6996 | -19.3032 | -127.8883 | 118.3678
Line_2 | 0.35448 | 0.35448 | 0.35448 | 0.35361 | 0.35361 | 0.35361 | 4.0932 | 4.0932 | 4.0932 | 4.0831 | 4.0831 | 4.0831 | 1.3816 | 1.4218 | -4.6882 | -0.91747 | -0.94427 | 5.1365 | 0.76485 | -3.7479 | 1.0982 | -0.57572 | 3.9261 | -0.92609 | -51.5803 | -51.5803 | -51.5803 | 128.5882 | 128.5882 | 128.5882 |  | 0.38581 | 0.97932 | 1.1764 | 0.26527 | 0.98896 | 1.2783 | -22.612 | -120.8061 | 115.2357 | -19.3032 | -127.8883 | 118.3678

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77675 | 0.38838 | 0.38838 | 0.77634 | 0.38879 | 0.38879 | 8.9692 | 4.4846 | 4.4846 | 8.9644 | 4.4894 | 4.4894 | 5.489 | -1.3387 | 5.2256 | -5.1761 | 1.424 | -5.1532 | 5.4339 | 4.658 | -0.81144 | -5.0721 | -4.5726 | 0.89565 | -50.1985 | 129.8015 | 129.8015 | 129.8325 | -50.2604 | -50.2604 |  | 0.86115 | 1.0807 | 1.1792 | 0.80841 | 1.0668 | 1.1651 | -5.4874 | -124.1637 | 120.9749 | -5.749 | -122.9622 | 119.8798
Line_1 | 0.90167 | 0.26435 | 0.26435 | 0.90213 | 0.26384 | 0.26384 | 10.4116 | 3.0524 | 3.0524 | 10.4169 | 3.0466 | 3.0466 | -5.3627 | 1.1258 | -3.5989 | 6.1316 | -1.1788 | 3.5307 | -5.1406 | -3.0431 | 0.34786 | 5.7724 | 3.0287 | -0.3643 | 131.0127 | -54.3331 | -54.3331 | -49.0205 | 125.7707 | 125.7707 |  | 0.71349 | 1.063 | 1.1845 | 0.80841 | 1.0668 | 1.1651 | -5.1985 | -124.0309 | 120.146 | -5.749 | -122.9622 | 119.8798
Line_2 | 0.12722 | 0.12722 | 0.12722 | 0.1269 | 0.1269 | 0.1269 | 1.469 | 1.469 | 1.469 | 1.4654 | 1.4654 | 1.4654 | 1.0155 | 0.31006 | -1.5683 | -0.95549 | -0.2452 | 1.6225 | 0.72864 | -1.5231 | 0.55171 | -0.70027 | 1.5439 | -0.53135 | -42.1552 | -42.1552 | -42.1552 | 138.0134 | 138.0134 | 138.0134 |  | 0.85083 | 1.0581 | 1.1318 | 0.80841 | 1.0668 | 1.1651 | -6.4944 | -120.6485 | 118.4638 | -5.749 | -122.9622 | 119.8798

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.77675 | 0.38838 | 0.38838 | 0.77634 | 0.38879 | 0.38879 | 8.9692 | 4.4846 | 4.4846 | 8.9644 | 4.4894 | 4.4894 | 5.489 | -1.3387 | 5.2256 | -5.1761 | 1.424 | -5.1532 | 5.4339 | 4.658 | -0.81144 | -5.0721 | -4.5726 | 0.89565 | -50.1985 | 129.8015 | 129.8015 | 129.8325 | -50.2604 | -50.2604 |  | 0.86115 | 1.0807 | 1.1792 | 0.80841 | 1.0668 | 1.1651 | -5.4874 | -124.1637 | 120.9749 | -5.749 | -122.9622 | 119.8798
Line_1 | 0.90167 | 0.26435 | 0.26435 | 0.90213 | 0.26384 | 0.26384 | 10.4116 | 3.0524 | 3.0524 | 10.4169 | 3.0466 | 3.0466 | -5.3627 | 1.1258 | -3.5989 | 6.1316 | -1.1788 | 3.5307 | -5.1406 | -3.0431 | 0.34786 | 5.7724 | 3.0287 | -0.3643 | 131.0127 | -54.3331 | -54.3331 | -49.0205 | 125.7707 | 125.7707 |  | 0.71349 | 1.063 | 1.1845 | 0.80841 | 1.0668 | 1.1651 | -5.1985 | -124.0309 | 120.146 | -5.749 | -122.9622 | 119.8798
Line_2 | 0.12722 | 0.12722 | 0.12722 | 0.1269 | 0.1269 | 0.1269 | 1.469 | 1.469 | 1.469 | 1.4654 | 1.4654 | 1.4654 | 1.0155 | 0.31006 | -1.5683 | -0.95549 | -0.2452 | 1.6225 | 0.72864 | -1.5231 | 0.55171 | -0.70027 | 1.5439 | -0.53135 | -42.1552 | -42.1552 | -42.1552 | 138.0134 | 138.0134 | 138.0134 |  | 0.85083 | 1.0581 | 1.1318 | 0.80841 | 1.0668 | 1.1651 | -6.4944 | -120.6485 | 118.4638 | -5.749 | -122.9622 | 119.8798

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7105 | 0.85523 | 0.85523 | 1.7095 | 0.85614 | 0.85614 | 19.7507 | 9.8754 | 9.8754 | 19.7402 | 9.8859 | 9.8859 | 8.2231 | -1.8733 | 11.5361 | -5.3076 | 2.6192 | -10.816 | 4.7706 | 9.2347 | -1.384 | -3.0355 | -8.812 | 1.8036 | -51.6247 | 128.3753 | 128.3753 | 128.4063 | -51.6867 | -51.6867 |  | 0.48134 | 0.95417 | 1.1765 | 0.30974 | 0.92991 | 1.1092 | -21.5046 | -130.1577 | 121.534 | -21.8278 | -125.133 | 118.8463
Line_1 | 1.9211 | 0.64898 | 0.64898 | 1.9222 | 0.64778 | 0.64778 | 22.1835 | 7.4937 | 7.4937 | 22.1954 | 7.4799 | 7.4799 | -7.366e-11 | 2.3095 | -8.6271 | 6.0768 | -2.6264 | 8.278 | -2.5401e-12 | -6.6538 | 0.3362 | 3.215 | 6.4407 | -0.55506 | 130.3286 | -57.4158 | -57.4158 | -49.709 | 122.6823 | 122.6823 |  | 0 | 0.93988 | 1.1521 | 0.30974 | 0.92991 | 1.1092 | 0 | -128.2741 | 120.3524 | -21.8278 | -125.133 | 118.8463
Line_2 | 0.22138 | 0.22138 | 0.22138 | 0.22083 | 0.22083 | 0.22083 | 2.5563 | 2.5563 | 2.5563 | 2.55 | 2.55 | 2.55 | 1.1176 | 0.34875 | -2.2015 | -0.76918 | 0.0071902 | 2.5379 | 0.25505 | -2.3047 | 1.3146 | -0.17944 | 2.3712 | -1.2485 | -35.1696 | -35.1696 | -35.1696 | 145.0407 | 145.0407 | 145.0407 |  | 0.44846 | 0.91187 | 1.0031 | 0.30974 | 0.92991 | 1.1092 | -22.3148 | -116.5649 | 113.9881 | -21.8278 | -125.133 | 118.8463

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7105 | 0.85523 | 0.85523 | 1.7095 | 0.85614 | 0.85614 | 19.7507 | 9.8754 | 9.8754 | 19.7402 | 9.8859 | 9.8859 | 8.2231 | -1.8733 | 11.5361 | -5.3076 | 2.6192 | -10.816 | 4.7706 | 9.2347 | -1.384 | -3.0355 | -8.812 | 1.8036 | -51.6247 | 128.3753 | 128.3753 | 128.4063 | -51.6867 | -51.6867 |  | 0.48134 | 0.95417 | 1.1765 | 0.30974 | 0.92991 | 1.1092 | -21.5046 | -130.1577 | 121.534 | -21.8278 | -125.133 | 118.8463
Line_1 | 1.9211 | 0.64898 | 0.64898 | 1.9222 | 0.64778 | 0.64778 | 22.1835 | 7.4937 | 7.4937 | 22.1954 | 7.4799 | 7.4799 | -7.366e-11 | 2.3095 | -8.6271 | 6.0768 | -2.6264 | 8.278 | -2.5401e-12 | -6.6538 | 0.3362 | 3.215 | 6.4407 | -0.55506 | 130.3286 | -57.4158 | -57.4158 | -49.709 | 122.6823 | 122.6823 |  | 0 | 0.93988 | 1.1521 | 0.30974 | 0.92991 | 1.1092 | 0 | -128.2741 | 120.3524 | -21.8278 | -125.133 | 118.8463
Line_2 | 0.22138 | 0.22138 | 0.22138 | 0.22083 | 0.22083 | 0.22083 | 2.5563 | 2.5563 | 2.5563 | 2.55 | 2.55 | 2.55 | 1.1176 | 0.34875 | -2.2015 | -0.76918 | 0.0071902 | 2.5379 | 0.25505 | -2.3047 | 1.3146 | -0.17944 | 2.3712 | -1.2485 | -35.1696 | -35.1696 | -35.1696 | 145.0407 | 145.0407 | 145.0407 |  | 0.44846 | 0.91187 | 1.0031 | 0.30974 | 0.92991 | 1.1092 | -22.3148 | -116.5649 | 113.9881 | -21.8278 | -125.133 | 118.8463

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66631 | 0.33315 | 0.33315 | 0.66595 | 0.33351 | 0.33351 | 7.6939 | 3.8469 | 3.8469 | 7.6897 | 3.851 | 3.851 | 4.5776 | -0.89365 | 4.0248 | -4.1352 | 1.01 | -3.9186 | 4.0537 | 3.6756 | -0.81941 | -3.7868 | -3.6132 | 0.88126 | -47.5758 | 132.4242 | 132.4242 | 132.4553 | -47.6378 | -47.6378 |  | 0.79472 | 0.9833 | 1.0677 | 0.72917 | 0.97421 | 1.043 | -6.0493 | -123.9105 | 120.9167 | -5.0629 | -122.0212 | 119.6879
Line_1 | 0.74838 | 0.25281 | 0.25281 | 0.74878 | 0.25234 | 0.25234 | 8.6415 | 2.9192 | 2.9192 | 8.6462 | 2.9138 | 2.9138 | -3.8652 | 0.98466 | -3.0728 | 4.787 | -1.0287 | 3.0161 | -3.6102 | -2.68 | 0.33694 | 4.1026 | 2.6457 | -0.37264 | 134.3776 | -53.3669 | -53.3669 | -45.66 | 126.7313 | 126.7313 |  | 0.61204 | 0.97807 | 1.0589 | 0.72917 | 0.97421 | 1.043 | -2.5758 | -123.1931 | 120.3753 | -5.0629 | -122.0212 | 119.6879
Line_2 | 0.086237 | 0.086237 | 0.086237 | 0.086026 | 0.086026 | 0.086026 | 0.99578 | 0.99578 | 0.99578 | 0.99334 | 0.99334 | 0.99334 | 0.70498 | 0.037446 | -0.85398 | -0.65185 | 0.01876 | 0.90258 | 0.32993 | -0.959 | 0.51752 | -0.31578 | 0.96754 | -0.50862 | -31.1207 | -31.1207 | -31.1207 | 149.0896 | 149.0896 | 149.0896 |  | 0.78166 | 0.9638 | 1.0028 | 0.72917 | 0.97421 | 1.043 | -6.0409 | -118.8846 | 117.663 | -5.0629 | -122.0212 | 119.6879

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66631 | 0.33315 | 0.33315 | 0.66595 | 0.33351 | 0.33351 | 7.6939 | 3.8469 | 3.8469 | 7.6897 | 3.851 | 3.851 | 4.5776 | -0.89365 | 4.0248 | -4.1352 | 1.01 | -3.9186 | 4.0537 | 3.6756 | -0.81941 | -3.7868 | -3.6132 | 0.88126 | -47.5758 | 132.4242 | 132.4242 | 132.4553 | -47.6378 | -47.6378 |  | 0.79472 | 0.9833 | 1.0677 | 0.72917 | 0.97421 | 1.043 | -6.0493 | -123.9105 | 120.9167 | -5.0629 | -122.0212 | 119.6879
Line_1 | 0.74838 | 0.25281 | 0.25281 | 0.74878 | 0.25234 | 0.25234 | 8.6415 | 2.9192 | 2.9192 | 8.6462 | 2.9138 | 2.9138 | -3.8652 | 0.98466 | -3.0728 | 4.787 | -1.0287 | 3.0161 | -3.6102 | -2.68 | 0.33694 | 4.1026 | 2.6457 | -0.37264 | 134.3776 | -53.3669 | -53.3669 | -45.66 | 126.7313 | 126.7313 |  | 0.61204 | 0.97807 | 1.0589 | 0.72917 | 0.97421 | 1.043 | -2.5758 | -123.1931 | 120.3753 | -5.0629 | -122.0212 | 119.6879
Line_2 | 0.086237 | 0.086237 | 0.086237 | 0.086026 | 0.086026 | 0.086026 | 0.99578 | 0.99578 | 0.99578 | 0.99334 | 0.99334 | 0.99334 | 0.70498 | 0.037446 | -0.85398 | -0.65185 | 0.01876 | 0.90258 | 0.32993 | -0.959 | 0.51752 | -0.31578 | 0.96754 | -0.50862 | -31.1207 | -31.1207 | -31.1207 | 149.0896 | 149.0896 | 149.0896 |  | 0.78166 | 0.9638 | 1.0028 | 0.72917 | 0.97421 | 1.043 | -6.0409 | -118.8846 | 117.663 | -5.0629 | -122.0212 | 119.6879

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.9835 | 3.2159 | 2.8435 | 0.98455 | 3.2163 | 2.8427 | 11.3565 | 37.1341 | 32.8338 | 11.3686 | 37.1385 | 32.8247 | 10.489 | 14.3297 | 5.9137 | -9.9842 | -8.9559 | -1.707 | 9.6478 | 10.2208 | 12.155 | -9.0988 | -4.1059 | -7.3916 | -49.2679 | -169.9085 | 27.4042 | 130.6702 | 10.1173 | -152.6214 |  | 1.2549 | 0.47399 | 0.41169 | 1.1882 | 0.26528 | 0.23111 | -6.6599 | -134.4098 | 91.4602 | -6.9862 | -145.2532 | 104.375
Line_1 | 0.66941 | 3.4273 | 2.7398 | 0.66813 | 3.4269 | 2.7409 | 7.7297 | 39.5753 | 31.6362 | 7.715 | 39.5708 | 31.6494 | -6.7217 | 1.4848e-10 | 1.5442e-10 | 6.3318 | 9.1974 | 2.4132 | -6.7217 | -1.2957e-10 | -2.4913e-11 | 6.6288 | 5.0603 | 6.905 | 126.5975 | 5.9565 | -146.3895 | -53.2987 | -174.0723 | 33.6385 |  | 1.2298 | 0 | 0 | 1.1882 | 0.26528 | 0.23111 | -8.4025 | 0 | 0 | -6.9862 | -145.2532 | 104.375
Line_2 | 0.32216 | 0.32216 | 0.32216 | 0.32137 | 0.32137 | 0.32137 | 3.7199 | 3.7199 | 3.7199 | 3.7108 | 3.7108 | 3.7108 | -3.2712 | 0.62213 | 1.0923 | 3.6524 | -0.24144 | -0.70619 | -2.3341 | 1.1102 | -0.33291 | 2.47 | -0.95435 | 0.48661 | 138.7754 | 138.7754 | 138.7754 | -41.056 | -41.056 | -41.056 |  | 1.0803 | 0.34211 | 0.30696 | 1.1882 | 0.26528 | 0.23111 | -5.7156 | -160.4892 | 121.8249 | -6.9862 | -145.2532 | 104.375

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.9835 | 3.2159 | 2.8435 | 0.98455 | 3.2163 | 2.8427 | 11.3565 | 37.1341 | 32.8338 | 11.3686 | 37.1385 | 32.8247 | 10.489 | 14.3297 | 5.9137 | -9.9842 | -8.9559 | -1.707 | 9.6478 | 10.2208 | 12.155 | -9.0988 | -4.1059 | -7.3916 | -49.2679 | -169.9085 | 27.4042 | 130.6702 | 10.1173 | -152.6214 |  | 1.2549 | 0.47399 | 0.41169 | 1.1882 | 0.26528 | 0.23111 | -6.6599 | -134.4098 | 91.4602 | -6.9862 | -145.2532 | 104.375
Line_1 | 0.66941 | 3.4273 | 2.7398 | 0.66813 | 3.4269 | 2.7409 | 7.7297 | 39.5753 | 31.6362 | 7.715 | 39.5708 | 31.6494 | -6.7217 | 1.4848e-10 | 1.5442e-10 | 6.3318 | 9.1974 | 2.4132 | -6.7217 | -1.2957e-10 | -2.4913e-11 | 6.6288 | 5.0603 | 6.905 | 126.5975 | 5.9565 | -146.3895 | -53.2987 | -174.0723 | 33.6385 |  | 1.2298 | 0 | 0 | 1.1882 | 0.26528 | 0.23111 | -8.4025 | 0 | 0 | -6.9862 | -145.2532 | 104.375
Line_2 | 0.32216 | 0.32216 | 0.32216 | 0.32137 | 0.32137 | 0.32137 | 3.7199 | 3.7199 | 3.7199 | 3.7108 | 3.7108 | 3.7108 | -3.2712 | 0.62213 | 1.0923 | 3.6524 | -0.24144 | -0.70619 | -2.3341 | 1.1102 | -0.33291 | 2.47 | -0.95435 | 0.48661 | 138.7754 | 138.7754 | 138.7754 | -41.056 | -41.056 | -41.056 |  | 1.0803 | 0.34211 | 0.30696 | 1.1882 | 0.26528 | 0.23111 | -5.7156 | -160.4892 | 121.8249 | -6.9862 | -145.2532 | 104.375

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37242 | 1.0895 | 1.0418 | 0.37282 | 1.0898 | 1.0414 | 4.3004 | 12.5805 | 12.0298 | 4.305 | 12.5836 | 12.0249 | 3.5845 | 10.0952 | 4.4782 | -3.5121 | -9.4824 | -3.9096 | 3.4639 | 5.6451 | 9.1823 | -3.3896 | -4.9404 | -8.5409 | -46.6148 | -153.8427 | 46.1217 | 133.3233 | 26.1836 | -133.8991 |  | 1.1591 | 0.91939 | 0.84923 | 1.1338 | 0.8497 | 0.78115 | -2.5952 | -124.6294 | 110.1232 | -2.6932 | -126.2966 | 111.5047
Line_1 | 0.25349 | 1.1476 | 1.0363 | 0.253 | 1.1473 | 1.0368 | 2.927 | 13.2508 | 11.9659 | 2.9214 | 13.2476 | 11.9723 | -2.2741 | -8.4257 | -4.3999 | 2.2184 | 9.4385 | 4.8593 | -2.4783 | -5.6677 | -6.9537 | 2.4597 | 6.1336 | 7.9906 | 129.2506 | 20.7161 | -127.2102 | -50.6457 | -159.3141 | 52.81 |  | 1.1491 | 0.76634 | 0.68769 | 1.1338 | 0.8497 | 0.78115 | -3.2891 | -125.3565 | 110.4666 | -2.6932 | -126.2966 | 111.5047
Line_2 | 0.12199 | 0.12199 | 0.12199 | 0.12169 | 0.12169 | 0.12169 | 1.4086 | 1.4086 | 1.4086 | 1.4052 | 1.4052 | 1.4052 | -1.2392 | 0.0073947 | 1.0086 | 1.2937 | 0.043885 | -0.9497 | -0.91411 | 1.2179 | -0.52699 | 0.92992 | -1.1932 | 0.55035 | 141.4285 | 141.4285 | 141.4285 | -38.403 | -38.403 | -38.403 |  | 1.0932 | 0.8646 | 0.80784 | 1.1338 | 0.8497 | 0.78115 | -2.1565 | -128.9194 | 113.8406 | -2.6932 | -126.2966 | 111.5047

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37242 | 1.0895 | 1.0418 | 0.37282 | 1.0898 | 1.0414 | 4.3004 | 12.5805 | 12.0298 | 4.305 | 12.5836 | 12.0249 | 3.5845 | 10.0952 | 4.4782 | -3.5121 | -9.4824 | -3.9096 | 3.4639 | 5.6451 | 9.1823 | -3.3896 | -4.9404 | -8.5409 | -46.6148 | -153.8427 | 46.1217 | 133.3233 | 26.1836 | -133.8991 |  | 1.1591 | 0.91939 | 0.84923 | 1.1338 | 0.8497 | 0.78115 | -2.5952 | -124.6294 | 110.1232 | -2.6932 | -126.2966 | 111.5047
Line_1 | 0.25349 | 1.1476 | 1.0363 | 0.253 | 1.1473 | 1.0368 | 2.927 | 13.2508 | 11.9659 | 2.9214 | 13.2476 | 11.9723 | -2.2741 | -8.4257 | -4.3999 | 2.2184 | 9.4385 | 4.8593 | -2.4783 | -5.6677 | -6.9537 | 2.4597 | 6.1336 | 7.9906 | 129.2506 | 20.7161 | -127.2102 | -50.6457 | -159.3141 | 52.81 |  | 1.1491 | 0.76634 | 0.68769 | 1.1338 | 0.8497 | 0.78115 | -3.2891 | -125.3565 | 110.4666 | -2.6932 | -126.2966 | 111.5047
Line_2 | 0.12199 | 0.12199 | 0.12199 | 0.12169 | 0.12169 | 0.12169 | 1.4086 | 1.4086 | 1.4086 | 1.4052 | 1.4052 | 1.4052 | -1.2392 | 0.0073947 | 1.0086 | 1.2937 | 0.043885 | -0.9497 | -0.91411 | 1.2179 | -0.52699 | 0.92992 | -1.1932 | 0.55035 | 141.4285 | 141.4285 | 141.4285 | -38.403 | -38.403 | -38.403 |  | 1.0932 | 0.8646 | 0.80784 | 1.1338 | 0.8497 | 0.78115 | -2.1565 | -128.9194 | 113.8406 | -2.6932 | -126.2966 | 111.5047

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7848 | 2.5259 | 2.3292 | 0.78564 | 2.5264 | 2.3284 | 9.0621 | 29.1669 | 26.895 | 9.0718 | 29.172 | 26.8861 | 7.9095 | 15.6591 | 8.9163 | -7.2929 | -9.2894 | -3.5012 | 6.4391 | 5.2742 | 9.2112 | -6.092 | -1.4952 | -6.0187 | -44.8703 | -158.2165 | 39.804 | 135.0677 | 21.8086 | -140.2185 |  | 1.1255 | 0.56652 | 0.47666 | 1.0475 | 0.32253 | 0.25898 | -5.7212 | -139.6024 | 85.736 | -5.0593 | -149.0474 | 99.5939
Line_1 | 0.59553 | 2.6617 | 2.2592 | 0.59443 | 2.6611 | 2.2603 | 6.8766 | 30.7345 | 26.0865 | 6.8639 | 30.7281 | 26.0993 | -5.3199 | -1.6733e-10 | -6.0607e-11 | 5.0391 | 9.6763 | 3.8726 | -5.3199 | -1.237e-10 | -1.6692e-10 | 5.1286 | 2.1432 | 5.5398 | 129.3386 | 18.4936 | -135.476 | -50.5632 | -161.5363 | 44.5494 |  | 1.0941 | 0 | 0 | 1.0475 | 0.32253 | 0.25898 | -5.6614 | 0 | 0 | -5.0593 | -149.0474 | 99.5939
Line_2 | 0.20315 | 0.20315 | 0.20315 | 0.20265 | 0.20265 | 0.20265 | 2.3457 | 2.3457 | 2.3457 | 2.34 | 2.34 | 2.34 | -1.9634 | 0.67789 | 0.66649 | 2.2538 | -0.38693 | -0.37142 | -0.9132 | 0.71191 | -0.41774 | 0.96346 | -0.64799 | 0.47885 | 151.5848 | 151.5848 | 151.5848 | -28.2049 | -28.2049 | -28.2049 |  | 0.92312 | 0.41907 | 0.33533 | 1.0475 | 0.32253 | 0.25898 | -3.4716 | -162.0128 | 119.506 | -5.0593 | -149.0474 | 99.5939

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7848 | 2.5259 | 2.3292 | 0.78564 | 2.5264 | 2.3284 | 9.0621 | 29.1669 | 26.895 | 9.0718 | 29.172 | 26.8861 | 7.9095 | 15.6591 | 8.9163 | -7.2929 | -9.2894 | -3.5012 | 6.4391 | 5.2742 | 9.2112 | -6.092 | -1.4952 | -6.0187 | -44.8703 | -158.2165 | 39.804 | 135.0677 | 21.8086 | -140.2185 |  | 1.1255 | 0.56652 | 0.47666 | 1.0475 | 0.32253 | 0.25898 | -5.7212 | -139.6024 | 85.736 | -5.0593 | -149.0474 | 99.5939
Line_1 | 0.59553 | 2.6617 | 2.2592 | 0.59443 | 2.6611 | 2.2603 | 6.8766 | 30.7345 | 26.0865 | 6.8639 | 30.7281 | 26.0993 | -5.3199 | -1.6733e-10 | -6.0607e-11 | 5.0391 | 9.6763 | 3.8726 | -5.3199 | -1.237e-10 | -1.6692e-10 | 5.1286 | 2.1432 | 5.5398 | 129.3386 | 18.4936 | -135.476 | -50.5632 | -161.5363 | 44.5494 |  | 1.0941 | 0 | 0 | 1.0475 | 0.32253 | 0.25898 | -5.6614 | 0 | 0 | -5.0593 | -149.0474 | 99.5939
Line_2 | 0.20315 | 0.20315 | 0.20315 | 0.20265 | 0.20265 | 0.20265 | 2.3457 | 2.3457 | 2.3457 | 2.34 | 2.34 | 2.34 | -1.9634 | 0.67789 | 0.66649 | 2.2538 | -0.38693 | -0.37142 | -0.9132 | 0.71191 | -0.41774 | 0.96346 | -0.64799 | 0.47885 | 151.5848 | 151.5848 | 151.5848 | -28.2049 | -28.2049 | -28.2049 |  | 0.92312 | 0.41907 | 0.33533 | 1.0475 | 0.32253 | 0.25898 | -3.4716 | -162.0128 | 119.506 | -5.0593 | -149.0474 | 99.5939

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32141 | 0.92549 | 0.89543 | 0.32175 | 0.92573 | 0.89506 | 3.7113 | 10.6866 | 10.3396 | 3.7152 | 10.6894 | 10.3352 | 2.8761 | 8.2089 | 4.0787 | -2.7727 | -7.3567 | -3.2755 | 2.6295 | 3.859 | 6.9991 | -2.5746 | -3.3496 | -6.5257 | -44.9469 | -150.3516 | 49.894 | 134.9911 | 29.6746 | -130.126 |  | 1.05 | 0.8488 | 0.78348 | 1.0184 | 0.75621 | 0.70648 | -2.5116 | -125.1736 | 109.6626 | -2.1302 | -125.8452 | 113.2199
Line_1 | 0.24389 | 0.97261 | 0.88125 | 0.24344 | 0.97231 | 0.88177 | 2.8162 | 11.2308 | 10.1758 | 2.811 | 11.2273 | 10.1818 | -1.9434 | -6.1632 | -3.1433 | 1.8966 | 7.4521 | 3.8054 | -2.1807 | -3.8586 | -5.2106 | 2.1445 | 4.068 | 6.1042 | 129.262 | 25.5572 | -124.8614 | -50.6398 | -154.4744 | 55.1593 |  | 1.0372 | 0.64745 | 0.59802 | 1.0184 | 0.75621 | 0.70648 | -2.4451 | -122.3934 | 114.0381 | -2.1302 | -125.8452 | 113.2199
Line_2 | 0.083197 | 0.083197 | 0.083197 | 0.082992 | 0.082992 | 0.082992 | 0.96067 | 0.96067 | 0.96067 | 0.95831 | 0.95831 | 0.95831 | -0.82759 | 0.14202 | 0.58175 | 0.87607 | -0.095389 | -0.52986 | -0.42422 | 0.73071 | -0.41031 | 0.43016 | -0.71838 | 0.42145 | 151.5082 | 151.5082 | 151.5082 | -28.2815 | -28.2815 | -28.2815 |  | 0.96806 | 0.77485 | 0.74104 | 1.0184 | 0.75621 | 0.70648 | -1.3525 | -129.4907 | 116.3125 | -2.1302 | -125.8452 | 113.2199

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32141 | 0.92549 | 0.89543 | 0.32175 | 0.92573 | 0.89506 | 3.7113 | 10.6866 | 10.3396 | 3.7152 | 10.6894 | 10.3352 | 2.8761 | 8.2089 | 4.0787 | -2.7727 | -7.3567 | -3.2755 | 2.6295 | 3.859 | 6.9991 | -2.5746 | -3.3496 | -6.5257 | -44.9469 | -150.3516 | 49.894 | 134.9911 | 29.6746 | -130.126 |  | 1.05 | 0.8488 | 0.78348 | 1.0184 | 0.75621 | 0.70648 | -2.5116 | -125.1736 | 109.6626 | -2.1302 | -125.8452 | 113.2199
Line_1 | 0.24389 | 0.97261 | 0.88125 | 0.24344 | 0.97231 | 0.88177 | 2.8162 | 11.2308 | 10.1758 | 2.811 | 11.2273 | 10.1818 | -1.9434 | -6.1632 | -3.1433 | 1.8966 | 7.4521 | 3.8054 | -2.1807 | -3.8586 | -5.2106 | 2.1445 | 4.068 | 6.1042 | 129.262 | 25.5572 | -124.8614 | -50.6398 | -154.4744 | 55.1593 |  | 1.0372 | 0.64745 | 0.59802 | 1.0184 | 0.75621 | 0.70648 | -2.4451 | -122.3934 | 114.0381 | -2.1302 | -125.8452 | 113.2199
Line_2 | 0.083197 | 0.083197 | 0.083197 | 0.082992 | 0.082992 | 0.082992 | 0.96067 | 0.96067 | 0.96067 | 0.95831 | 0.95831 | 0.95831 | -0.82759 | 0.14202 | 0.58175 | 0.87607 | -0.095389 | -0.52986 | -0.42422 | 0.73071 | -0.41031 | 0.43016 | -0.71838 | 0.42145 | 151.5082 | 151.5082 | 151.5082 | -28.2815 | -28.2815 | -28.2815 |  | 0.96806 | 0.77485 | 0.74104 | 1.0184 | 0.75621 | 0.70648 | -1.3525 | -129.4907 | 116.3125 | -2.1302 | -125.8452 | 113.2199