## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | 27.4008 | -8.7391 | -2.0843e-14 | -22.7354 | 13.4045 | 2.6053e-14 | 4.6417 | 16.5321 | -2.6053e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.2962e-13 | -152.1736 | 136.0734 | 8.3457e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | -18.0699 | 18.0699 | -8.3488e-28 | 22.7354 | -13.4045 | -6.2528e-14 | 5.9452 | -5.9452 | 5.7317e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 8.9821e-13 | 180 | -180 | 8.3457e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4054e-10 | 6.6441e-10 | 3.7949e-28 | -3.4052e-10 | -6.6441e-10 | 2.6053e-14 | -1.8234e-09 | 1.2624e-09 | -2.6053e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 7.7924e-13 | -163.4303 | 158.2346 | 8.3457e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 1.5632e-14 | 27.4008 | -8.7391 | -2.0843e-14 | -22.7354 | 13.4045 | 2.6053e-14 | 4.6417 | 16.5321 | -2.6053e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.2962e-13 | -152.1736 | 136.0734 | 8.3457e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | -18.0699 | 18.0699 | -8.3488e-28 | 22.7354 | -13.4045 | -6.2528e-14 | 5.9452 | -5.9452 | 5.7317e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 8.9821e-13 | 180 | -180 | 8.3457e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.4054e-10 | 6.6441e-10 | 3.7949e-28 | -3.4052e-10 | -6.6441e-10 | 2.6053e-14 | -1.8234e-09 | 1.2624e-09 | -2.6053e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 7.7924e-13 | -163.4303 | 158.2346 | 8.3457e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | 1.5632e-14 | 3.8735 | 14.2393 | -1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.2533e-13 | -135.9762 | 120.5292 | 4.3036e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | -3.1264e-14 | -0.96958 | -11.3353 | 3.1264e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.6536e-13 | -144.8696 | 133.0893 | 4.3036e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6821e-10 | 1.0007e-09 | 2.6053e-15 | -4.682e-10 | -1.0007e-09 | 1.3027e-14 | -1.2288e-09 | 3.0652e-10 | -1.3027e-14 | 1.2288e-09 | -3.0652e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.9737e-13 | -140.0155 | 126.1589 | 4.3036e-13 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | 17.2205 | 0.20321 | -2.6053e-15 | -15.9408 | 1.0765 | 1.5632e-14 | 3.8735 | 14.2393 | -1.5632e-14 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 4.2533e-13 | -135.9762 | 120.5292 | 4.3036e-13 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.6053e-15 | -14.6611 | 2.3562 | -2.6053e-15 | 15.9408 | -1.0765 | -3.1264e-14 | -0.96958 | -11.3353 | 3.1264e-14 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 4.6536e-13 | -144.8696 | 133.0893 | 4.3036e-13 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 4.6821e-10 | 1.0007e-09 | 2.6053e-15 | -4.682e-10 | -1.0007e-09 | 1.3027e-14 | -1.2288e-09 | 3.0652e-10 | -1.3027e-14 | 1.2288e-09 | -3.0652e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 3.9737e-13 | -140.0155 | 126.1589 | 4.3036e-13 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | 23.4155 | -0.45749 | -3.5527e-15 | -17.676 | 6.197 | 2.3685e-14 | -0.22679 | 13.7937 | -2.3685e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 8.8746e-13 | -150.1294 | 122.3252 | 9.0579e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | -11.9365 | 11.9365 | 4.737e-15 | 17.676 | -6.197 | -4.0264e-14 | 7.0103 | -7.0103 | 3.7896e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 9.899e-13 | -180 | 180 | 9.0579e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.4223e-10 | 6.7019e-10 | 7.1054e-15 | -2.4223e-10 | -6.7019e-10 | 3.3159e-14 | -1.5722e-09 | 8.3093e-10 | -3.079e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9426e-13 | -161.1438 | 151.2099 | 9.0579e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 2.3685e-15 | 23.4155 | -0.45749 | -3.5527e-15 | -17.676 | 6.197 | 2.3685e-14 | -0.22679 | 13.7937 | -2.3685e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 8.8746e-13 | -150.1294 | 122.3252 | 9.0579e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | -11.9365 | 11.9365 | 4.737e-15 | 17.676 | -6.197 | -4.0264e-14 | 7.0103 | -7.0103 | 3.7896e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 9.899e-13 | -180 | 180 | 9.0579e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.4223e-10 | 6.7019e-10 | 7.1054e-15 | -2.4223e-10 | -6.7019e-10 | 3.3159e-14 | -1.5722e-09 | 8.3093e-10 | -3.079e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9426e-13 | -161.1438 | 151.2099 | 9.0579e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -6.0964e-29 | 13.7181 | 1.6719 | -1.1842e-15 | -12.0096 | 0.036546 | 7.1054e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.9159e-13 | -135.6599 | 118.3519 | 5.0161e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.7764e-15 | -10.3011 | 1.745 | 5.9212e-16 | 12.0096 | -0.036546 | -2.1316e-14 | 0.27863 | -8.8347 | 2.1316e-14 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 5.4997e-13 | -144.4405 | 138.2821 | 5.0161e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.2828e-10 | 8.1276e-10 | 2.9606e-15 | -4.2828e-10 | -8.1276e-10 | 1.6579e-14 | -9.7053e-10 | 3.0452e-10 | -1.8948e-14 | 9.7053e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.3744e-13 | -139.408 | 127.3216 | 5.0161e-13 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -6.0964e-29 | 13.7181 | 1.6719 | -1.1842e-15 | -12.0096 | 0.036546 | 7.1054e-15 | 1.7406 | 10.8539 | -7.1054e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 4.9159e-13 | -135.6599 | 118.3519 | 5.0161e-13 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.7764e-15 | -10.3011 | 1.745 | 5.9212e-16 | 12.0096 | -0.036546 | -2.1316e-14 | 0.27863 | -8.8347 | 2.1316e-14 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 5.4997e-13 | -144.4405 | 138.2821 | 5.0161e-13 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.2828e-10 | 8.1276e-10 | 2.9606e-15 | -4.2828e-10 | -8.1276e-10 | 1.6579e-14 | -9.7053e-10 | 3.0452e-10 | -1.8948e-14 | 9.7053e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 4.3744e-13 | -139.408 | 127.3216 | 5.0161e-13 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7283 | 1.3642 | 1.3642 | 2.7284 | 1.3642 | 1.3642 | 31.5043 | 15.7521 | 15.7521 | 31.5044 | 15.7521 | 15.7521 | 11.8366 | -1.6671 | 21.5556 | -7.9716 | 2.6478 | -20.5951 | 9.6836 | 11.8873 | -7.1237 | -5.28 | -10.7902 | 8.1958 | -50.6949 | 129.3051 | 129.3051 | 129.3358 | -50.7564 | -50.7564 |  | 0.48543 | 0.76203 | 1.4412 | 0.3035 | 0.70532 | 1.4072 | -11.4082 | -132.7116 | 111.0174 | -17.1454 | -126.9688 | 107.5435
Line_1 | 3.1102 | 0.98486 | 0.98486 | 3.1103 | 0.98491 | 0.98491 | 35.9141 | 11.3722 | 11.3722 | 35.9152 | 11.3728 | 11.3728 | 1.8507e-10 | 0.65847 | -15.2076 | 8.9587 | -1.3936 | 14.4466 | -2.6943e-10 | -7.3777 | 7.3777 | 6.2096 | 7.8995 | -6.8854 | 128.1603 | -47.0775 | -47.0775 | -51.8725 | 133.0264 | 133.0264 |  | 0 | 0.65133 | 1.4863 | 0.3035 | 0.70532 | 1.4072 | 0 | -131.9772 | 107.0432 | -17.1454 | -126.9688 | 107.5435
Line_2 | 0.38702 | 0.38702 | 0.38702 | 0.3869 | 0.3869 | 0.3869 | 4.4689 | 4.4689 | 4.4689 | 4.4675 | 4.4675 | 4.4675 | 1.5379 | 1.8164 | -5.601 | -0.98712 | -1.2543 | 6.1485 | 1.1535 | -2.6671 | 1.5136 | -0.92955 | 2.8907 | -1.3105 | -60.5929 | -60.5929 | -60.5929 | 119.5753 | 119.5753 | 119.5753 |  | 0.43018 | 0.72206 | 1.2983 | 0.3035 | 0.70532 | 1.4072 | -23.7213 | -116.3373 | 104.285 | -17.1454 | -126.9688 | 107.5435

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7283 | 1.3642 | 1.3642 | 2.7284 | 1.3642 | 1.3642 | 31.5043 | 15.7521 | 15.7521 | 31.5044 | 15.7521 | 15.7521 | 11.8366 | -1.6671 | 21.5556 | -7.9716 | 2.6478 | -20.5951 | 9.6836 | 11.8873 | -7.1237 | -5.28 | -10.7902 | 8.1958 | -50.6949 | 129.3051 | 129.3051 | 129.3358 | -50.7564 | -50.7564 |  | 0.48543 | 0.76203 | 1.4412 | 0.3035 | 0.70532 | 1.4072 | -11.4082 | -132.7116 | 111.0174 | -17.1454 | -126.9688 | 107.5435
Line_1 | 3.1102 | 0.98486 | 0.98486 | 3.1103 | 0.98491 | 0.98491 | 35.9141 | 11.3722 | 11.3722 | 35.9152 | 11.3728 | 11.3728 | 1.8507e-10 | 0.65847 | -15.2076 | 8.9587 | -1.3936 | 14.4466 | -2.6943e-10 | -7.3777 | 7.3777 | 6.2096 | 7.8995 | -6.8854 | 128.1603 | -47.0775 | -47.0775 | -51.8725 | 133.0264 | 133.0264 |  | 0 | 0.65133 | 1.4863 | 0.3035 | 0.70532 | 1.4072 | 0 | -131.9772 | 107.0432 | -17.1454 | -126.9688 | 107.5435
Line_2 | 0.38702 | 0.38702 | 0.38702 | 0.3869 | 0.3869 | 0.3869 | 4.4689 | 4.4689 | 4.4689 | 4.4675 | 4.4675 | 4.4675 | 1.5379 | 1.8164 | -5.601 | -0.98712 | -1.2543 | 6.1485 | 1.1535 | -2.6671 | 1.5136 | -0.92955 | 2.8907 | -1.3105 | -60.5929 | -60.5929 | -60.5929 | 119.5753 | 119.5753 | 119.5753 |  | 0.43018 | 0.72206 | 1.2983 | 0.3035 | 0.70532 | 1.4072 | -23.7213 | -116.3373 | 104.285 | -17.1454 | -126.9688 | 107.5435

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83311 | 0.41656 | 0.41656 | 0.83312 | 0.41655 | 0.41655 | 9.62 | 4.81 | 4.81 | 9.62 | 4.81 | 4.81 | 6.3092 | -1.1081 | 5.5653 | -5.9517 | 1.2034 | -5.4768 | 6.1085 | 4.6639 | -1.6169 | -5.6951 | -4.5605 | 1.7131 | -46.7364 | 133.2636 | 133.2636 | 133.2944 | -46.7978 | -46.7978 |  | 0.91287 | 0.99662 | 1.2049 | 0.85629 | 0.98059 | 1.193 | -2.6626 | -123.3708 | 117.0634 | -2.9675 | -122.0161 | 115.8333
Line_1 | 0.94973 | 0.30073 | 0.30073 | 0.94976 | 0.30075 | 0.30075 | 10.9665 | 3.4725 | 3.4725 | 10.9669 | 3.4727 | 3.4727 | -5.8145 | 0.58586 | -3.9363 | 6.6465 | -0.6497 | 3.864 | -6.0516 | -3.293 | 1.5363 | 6.6341 | 3.3428 | -1.495 | 132.1189 | -43.1189 | -43.1189 | -47.914 | 136.9849 | 136.9849 |  | 0.76526 | 0.9632 | 1.2168 | 0.85629 | 0.98059 | 1.193 | -1.7364 | -123.0311 | 115.5613 | -2.9675 | -122.0161 | 115.8333
Line_2 | 0.11818 | 0.11818 | 0.11818 | 0.11814 | 0.11814 | 0.11814 | 1.3646 | 1.3646 | 1.3646 | 1.3642 | 1.3642 | 1.3642 | 0.74389 | 0.60901 | -1.5624 | -0.69486 | -0.55368 | 1.6128 | 0.96191 | -1.1959 | 0.234 | -0.939 | 1.2177 | -0.21808 | -56.6344 | -56.6344 | -56.6344 | 123.5338 | 123.5338 | 123.5338 |  | 0.8911 | 0.98347 | 1.1577 | 0.85629 | 0.98059 | 1.193 | -4.3509 | -119.6473 | 114.8479 | -2.9675 | -122.0161 | 115.8333

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83311 | 0.41656 | 0.41656 | 0.83312 | 0.41655 | 0.41655 | 9.62 | 4.81 | 4.81 | 9.62 | 4.81 | 4.81 | 6.3092 | -1.1081 | 5.5653 | -5.9517 | 1.2034 | -5.4768 | 6.1085 | 4.6639 | -1.6169 | -5.6951 | -4.5605 | 1.7131 | -46.7364 | 133.2636 | 133.2636 | 133.2944 | -46.7978 | -46.7978 |  | 0.91287 | 0.99662 | 1.2049 | 0.85629 | 0.98059 | 1.193 | -2.6626 | -123.3708 | 117.0634 | -2.9675 | -122.0161 | 115.8333
Line_1 | 0.94973 | 0.30073 | 0.30073 | 0.94976 | 0.30075 | 0.30075 | 10.9665 | 3.4725 | 3.4725 | 10.9669 | 3.4727 | 3.4727 | -5.8145 | 0.58586 | -3.9363 | 6.6465 | -0.6497 | 3.864 | -6.0516 | -3.293 | 1.5363 | 6.6341 | 3.3428 | -1.495 | 132.1189 | -43.1189 | -43.1189 | -47.914 | 136.9849 | 136.9849 |  | 0.76526 | 0.9632 | 1.2168 | 0.85629 | 0.98059 | 1.193 | -1.7364 | -123.0311 | 115.5613 | -2.9675 | -122.0161 | 115.8333
Line_2 | 0.11818 | 0.11818 | 0.11818 | 0.11814 | 0.11814 | 0.11814 | 1.3646 | 1.3646 | 1.3646 | 1.3642 | 1.3642 | 1.3642 | 0.74389 | 0.60901 | -1.5624 | -0.69486 | -0.55368 | 1.6128 | 0.96191 | -1.1959 | 0.234 | -0.939 | 1.2177 | -0.21808 | -56.6344 | -56.6344 | -56.6344 | 123.5338 | 123.5338 | 123.5338 |  | 0.8911 | 0.98347 | 1.1577 | 0.85629 | 0.98059 | 1.193 | -4.3509 | -119.6473 | 114.8479 | -2.9675 | -122.0161 | 115.8333

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1017 | 1.0509 | 1.0509 | 2.1017 | 1.0509 | 1.0509 | 24.2687 | 12.1343 | 12.1343 | 24.2688 | 12.1343 | 12.1343 | 12.0878 | 0.1781 | 14.1556 | -7.6809 | 0.93445 | -13.0598 | 5.509 | 9.1929 | -6.5029 | -2.8903 | -8.5445 | 7.1362 | -41.686 | 138.314 | 138.314 | 138.3448 | -41.7474 | -41.7474 |  | 0.54737 | 0.75773 | 1.2838 | 0.33816 | 0.70836 | 1.2265 | -17.1851 | -132.7959 | 113.6407 | -21.0343 | -125.5062 | 109.5994
Line_1 | 2.3159 | 0.83718 | 0.83718 | 2.3159 | 0.8372 | 0.8372 | 26.7416 | 9.6669 | 9.6669 | 26.742 | 9.6671 | 9.6671 | -9.2115e-11 | 0.12861 | -10.6416 | 8.4262 | -0.5287 | 10.2194 | 8.346e-12 | -6.4099 | 6.4099 | 3.2826 | 6.8274 | -6.0116 | 137.717 | -40.0342 | -40.0342 | -42.3191 | 140.0657 | 140.0657 |  | 0 | 0.66321 | 1.2851 | 0.33816 | 0.70836 | 1.2265 | 0 | -128.8848 | 108.9032 | -21.0343 | -125.5062 | 109.5994
Line_2 | 0.21578 | 0.21578 | 0.21578 | 0.21571 | 0.21571 | 0.21571 | 2.4916 | 2.4916 | 2.4916 | 2.4908 | 2.4908 | 2.4908 | 1.0743 | 0.7424 | -2.5151 | -0.7453 | -0.40574 | 2.8404 | 0.46405 | -1.6473 | 1.1833 | -0.3924 | 1.7171 | -1.1246 | -49.011 | -49.011 | -49.011 | 131.199 | 131.199 | 131.199 |  | 0.46969 | 0.7252 | 1.1156 | 0.33816 | 0.70836 | 1.2265 | -25.6495 | -114.7515 | 105.7934 | -21.0343 | -125.5062 | 109.5994

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1017 | 1.0509 | 1.0509 | 2.1017 | 1.0509 | 1.0509 | 24.2687 | 12.1343 | 12.1343 | 24.2688 | 12.1343 | 12.1343 | 12.0878 | 0.1781 | 14.1556 | -7.6809 | 0.93445 | -13.0598 | 5.509 | 9.1929 | -6.5029 | -2.8903 | -8.5445 | 7.1362 | -41.686 | 138.314 | 138.314 | 138.3448 | -41.7474 | -41.7474 |  | 0.54737 | 0.75773 | 1.2838 | 0.33816 | 0.70836 | 1.2265 | -17.1851 | -132.7959 | 113.6407 | -21.0343 | -125.5062 | 109.5994
Line_1 | 2.3159 | 0.83718 | 0.83718 | 2.3159 | 0.8372 | 0.8372 | 26.7416 | 9.6669 | 9.6669 | 26.742 | 9.6671 | 9.6671 | -9.2115e-11 | 0.12861 | -10.6416 | 8.4262 | -0.5287 | 10.2194 | 8.346e-12 | -6.4099 | 6.4099 | 3.2826 | 6.8274 | -6.0116 | 137.717 | -40.0342 | -40.0342 | -42.3191 | 140.0657 | 140.0657 |  | 0 | 0.66321 | 1.2851 | 0.33816 | 0.70836 | 1.2265 | 0 | -128.8848 | 108.9032 | -21.0343 | -125.5062 | 109.5994
Line_2 | 0.21578 | 0.21578 | 0.21578 | 0.21571 | 0.21571 | 0.21571 | 2.4916 | 2.4916 | 2.4916 | 2.4908 | 2.4908 | 2.4908 | 1.0743 | 0.7424 | -2.5151 | -0.7453 | -0.40574 | 2.8404 | 0.46405 | -1.6473 | 1.1833 | -0.3924 | 1.7171 | -1.1246 | -49.011 | -49.011 | -49.011 | 131.199 | 131.199 | 131.199 |  | 0.46969 | 0.7252 | 1.1156 | 0.33816 | 0.70836 | 1.2265 | -25.6495 | -114.7515 | 105.7934 | -21.0343 | -125.5062 | 109.5994

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71745 | 0.35872 | 0.35872 | 0.71745 | 0.35872 | 0.35872 | 8.2844 | 4.1422 | 4.1422 | 8.2844 | 4.1421 | 4.1421 | 5.269 | -0.68576 | 4.2863 | -4.7576 | 0.81822 | -4.1593 | 4.5024 | 3.708 | -1.4643 | -4.1952 | -3.6316 | 1.5352 | -43.8693 | 136.1307 | 136.1307 | 136.1614 | -43.9307 | -43.9307 |  | 0.8366 | 0.91035 | 1.0935 | 0.76566 | 0.89873 | 1.0704 | -3.3552 | -123.3912 | 117.2695 | -2.4329 | -121.2337 | 115.8097
Line_1 | 0.79055 | 0.28578 | 0.28578 | 0.79056 | 0.28579 | 0.28579 | 9.1285 | 3.2999 | 3.2999 | 9.1287 | 3.3 | 3.3 | -4.2093 | 0.51705 | -3.3235 | 5.1885 | -0.56 | 3.2733 | -4.2979 | -2.8629 | 1.3701 | 4.6832 | 2.9124 | -1.3273 | 135.5337 | -42.2175 | -42.2175 | -44.5024 | 137.8824 | 137.8824 |  | 0.65902 | 0.8816 | 1.0894 | 0.76566 | 0.89873 | 1.0704 | 1.1307 | -121.9799 | 115.379 | -2.4329 | -121.2337 | 115.8097
Line_2 | 0.073658 | 0.073658 | 0.073658 | 0.073635 | 0.073635 | 0.073635 | 0.85053 | 0.85053 | 0.85053 | 0.85026 | 0.85026 | 0.85026 | 0.46776 | 0.29943 | -0.84857 | -0.43094 | -0.25823 | 0.88602 | 0.49771 | -0.71046 | 0.21274 | -0.48797 | 0.7192 | -0.20791 | -51.1943 | -51.1943 | -51.1943 | 129.0157 | 129.0157 | 129.0157 |  | 0.80306 | 0.90647 | 1.0286 | 0.76566 | 0.89873 | 1.0704 | -4.4174 | -118.3411 | 114.7313 | -2.4329 | -121.2337 | 115.8097

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71745 | 0.35872 | 0.35872 | 0.71745 | 0.35872 | 0.35872 | 8.2844 | 4.1422 | 4.1422 | 8.2844 | 4.1421 | 4.1421 | 5.269 | -0.68576 | 4.2863 | -4.7576 | 0.81822 | -4.1593 | 4.5024 | 3.708 | -1.4643 | -4.1952 | -3.6316 | 1.5352 | -43.8693 | 136.1307 | 136.1307 | 136.1614 | -43.9307 | -43.9307 |  | 0.8366 | 0.91035 | 1.0935 | 0.76566 | 0.89873 | 1.0704 | -3.3552 | -123.3912 | 117.2695 | -2.4329 | -121.2337 | 115.8097
Line_1 | 0.79055 | 0.28578 | 0.28578 | 0.79056 | 0.28579 | 0.28579 | 9.1285 | 3.2999 | 3.2999 | 9.1287 | 3.3 | 3.3 | -4.2093 | 0.51705 | -3.3235 | 5.1885 | -0.56 | 3.2733 | -4.2979 | -2.8629 | 1.3701 | 4.6832 | 2.9124 | -1.3273 | 135.5337 | -42.2175 | -42.2175 | -44.5024 | 137.8824 | 137.8824 |  | 0.65902 | 0.8816 | 1.0894 | 0.76566 | 0.89873 | 1.0704 | 1.1307 | -121.9799 | 115.379 | -2.4329 | -121.2337 | 115.8097
Line_2 | 0.073658 | 0.073658 | 0.073658 | 0.073635 | 0.073635 | 0.073635 | 0.85053 | 0.85053 | 0.85053 | 0.85026 | 0.85026 | 0.85026 | 0.46776 | 0.29943 | -0.84857 | -0.43094 | -0.25823 | 0.88602 | 0.49771 | -0.71046 | 0.21274 | -0.48797 | 0.7192 | -0.20791 | -51.1943 | -51.1943 | -51.1943 | 129.0157 | 129.0157 | 129.0157 |  | 0.80306 | 0.90647 | 1.0286 | 0.76566 | 0.89873 | 1.0704 | -4.4174 | -118.3411 | 114.7313 | -2.4329 | -121.2337 | 115.8097

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3751 | 3.526 | 2.5409 | 1.3751 | 3.5269 | 2.5397 | 15.878 | 40.7152 | 29.3402 | 15.8779 | 40.7252 | 29.3263 | 20.3215 | 17.9435 | 3.7817 | -19.3346 | -11.4804 | -0.42607 | 3.066 | 12.5033 | 10.2432 | -1.9749 | -5.1552 | -6.4373 | -25.2753 | -169.5 | 28.9437 | 154.6632 | 10.5193 | -151.0757 |  | 1.2943 | 0.53715 | 0.37215 | 1.224 | 0.30902 | 0.21999 | -16.6955 | -134.6308 | 98.68 | -19.5046 | -145.2985 | 115.1376
Line_1 | 0.99273 | 3.8112 | 2.3925 | 0.99278 | 3.8103 | 2.3941 | 11.463 | 44.008 | 27.6267 | 11.4636 | 43.9977 | 27.6448 | -14.7827 | 1.4493e-10 | 1.1556e-10 | 14.0229 | 11.963 | 1.2852 | -1.9671e-09 | -1.2077e-10 | -2.2453e-11 | 0.5018 | 6.4604 | 5.9442 | 158.3421 | 6.3547 | -142.6829 | -21.554 | -173.6689 | 37.3382 |  | 1.2896 | 0 | 0 | 1.224 | 0.30902 | 0.21999 | -21.6579 | 0 | 0 | -19.5046 | -145.2985 | 115.1376
Line_2 | 0.39011 | 0.39011 | 0.39011 | 0.38999 | 0.38999 | 0.38999 | 4.5046 | 4.5046 | 4.5046 | 4.5032 | 4.5032 | 4.5032 | -4.7469 | 1.041 | 1.423 | 5.3116 | -0.48263 | -0.85917 | -1.2648 | 1.5313 | -0.2665 | 1.4731 | -1.3052 | 0.49319 | 144.8266 | 144.8266 | 144.8266 | -35.0052 | -35.0052 | -35.0052 |  | 1.0905 | 0.41106 | 0.32138 | 1.224 | 0.30902 | 0.21999 | -20.2531 | -159.3824 | 134.219 | -19.5046 | -145.2985 | 115.1376

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3751 | 3.526 | 2.5409 | 1.3751 | 3.5269 | 2.5397 | 15.878 | 40.7152 | 29.3402 | 15.8779 | 40.7252 | 29.3263 | 20.3215 | 17.9435 | 3.7817 | -19.3346 | -11.4804 | -0.42607 | 3.066 | 12.5033 | 10.2432 | -1.9749 | -5.1552 | -6.4373 | -25.2753 | -169.5 | 28.9437 | 154.6632 | 10.5193 | -151.0757 |  | 1.2943 | 0.53715 | 0.37215 | 1.224 | 0.30902 | 0.21999 | -16.6955 | -134.6308 | 98.68 | -19.5046 | -145.2985 | 115.1376
Line_1 | 0.99273 | 3.8112 | 2.3925 | 0.99278 | 3.8103 | 2.3941 | 11.463 | 44.008 | 27.6267 | 11.4636 | 43.9977 | 27.6448 | -14.7827 | 1.4493e-10 | 1.1556e-10 | 14.0229 | 11.963 | 1.2852 | -1.9671e-09 | -1.2077e-10 | -2.2453e-11 | 0.5018 | 6.4604 | 5.9442 | 158.3421 | 6.3547 | -142.6829 | -21.554 | -173.6689 | 37.3382 |  | 1.2896 | 0 | 0 | 1.224 | 0.30902 | 0.21999 | -21.6579 | 0 | 0 | -19.5046 | -145.2985 | 115.1376
Line_2 | 0.39011 | 0.39011 | 0.39011 | 0.38999 | 0.38999 | 0.38999 | 4.5046 | 4.5046 | 4.5046 | 4.5032 | 4.5032 | 4.5032 | -4.7469 | 1.041 | 1.423 | 5.3116 | -0.48263 | -0.85917 | -1.2648 | 1.5313 | -0.2665 | 1.4731 | -1.3052 | 0.49319 | 144.8266 | 144.8266 | 144.8266 | -35.0052 | -35.0052 | -35.0052 |  | 1.0905 | 0.41106 | 0.32138 | 1.224 | 0.30902 | 0.21999 | -20.2531 | -159.3824 | 134.219 | -19.5046 | -145.2985 | 115.1376

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4224 | 1.123 | 1.0154 | 0.4224 | 1.1234 | 1.015 | 4.8775 | 12.9674 | 11.7252 | 4.8774 | 12.9721 | 11.72 | 4.5939 | 11.1073 | 3.8263 | -4.4979 | -10.4556 | -3.2892 | 2.9656 | 6.2526 | 8.8488 | -2.8655 | -5.508 | -8.2372 | -39.0492 | -154.5507 | 47.5015 | 140.8893 | 25.4591 | -132.4999 |  | 1.1211 | 0.98295 | 0.82221 | 1.0934 | 0.91101 | 0.75679 | -6.2045 | -125.1745 | 114.1176 | -6.61 | -126.7607 | 115.7325
Line_1 | 0.30495 | 1.1622 | 1.0344 | 0.30496 | 1.1617 | 1.035 | 3.5212 | 13.4194 | 11.9443 | 3.5214 | 13.4141 | 11.9507 | -3.4451 | -9.2193 | -3.7602 | 3.3768 | 10.1932 | 4.2981 | -1.8064 | -6.3088 | -6.9145 | 1.8501 | 6.7406 | 7.9576 | 144.5682 | 19.7783 | -125.8923 | -35.3279 | -160.2366 | 54.1071 |  | 1.1047 | 0.83247 | 0.65895 | 1.0934 | 0.91101 | 0.75679 | -7.7622 | -125.8377 | 115.5699 | -6.61 | -126.7607 | 115.7325
Line_2 | 0.11984 | 0.11984 | 0.11984 | 0.1198 | 0.1198 | 0.1198 | 1.3837 | 1.3837 | 1.3837 | 1.3833 | 1.3833 | 1.3833 | -1.0654 | -0.21307 | 1.063 | 1.1211 | 0.26241 | -1.0089 | -0.99785 | 1.2534 | -0.25552 | 1.0154 | -1.2326 | 0.27957 | 131.0528 | 131.0528 | 131.0528 | -48.779 | -48.779 | -48.779 |  | 1.0549 | 0.91877 | 0.79011 | 1.0934 | 0.91101 | 0.75679 | -5.822 | -129.2994 | 117.5371 | -6.61 | -126.7607 | 115.7325

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4224 | 1.123 | 1.0154 | 0.4224 | 1.1234 | 1.015 | 4.8775 | 12.9674 | 11.7252 | 4.8774 | 12.9721 | 11.72 | 4.5939 | 11.1073 | 3.8263 | -4.4979 | -10.4556 | -3.2892 | 2.9656 | 6.2526 | 8.8488 | -2.8655 | -5.508 | -8.2372 | -39.0492 | -154.5507 | 47.5015 | 140.8893 | 25.4591 | -132.4999 |  | 1.1211 | 0.98295 | 0.82221 | 1.0934 | 0.91101 | 0.75679 | -6.2045 | -125.1745 | 114.1176 | -6.61 | -126.7607 | 115.7325
Line_1 | 0.30495 | 1.1622 | 1.0344 | 0.30496 | 1.1617 | 1.035 | 3.5212 | 13.4194 | 11.9443 | 3.5214 | 13.4141 | 11.9507 | -3.4451 | -9.2193 | -3.7602 | 3.3768 | 10.1932 | 4.2981 | -1.8064 | -6.3088 | -6.9145 | 1.8501 | 6.7406 | 7.9576 | 144.5682 | 19.7783 | -125.8923 | -35.3279 | -160.2366 | 54.1071 |  | 1.1047 | 0.83247 | 0.65895 | 1.0934 | 0.91101 | 0.75679 | -7.7622 | -125.8377 | 115.5699 | -6.61 | -126.7607 | 115.7325
Line_2 | 0.11984 | 0.11984 | 0.11984 | 0.1198 | 0.1198 | 0.1198 | 1.3837 | 1.3837 | 1.3837 | 1.3833 | 1.3833 | 1.3833 | -1.0654 | -0.21307 | 1.063 | 1.1211 | 0.26241 | -1.0089 | -0.99785 | 1.2534 | -0.25552 | 1.0154 | -1.2326 | 0.27957 | 131.0528 | 131.0528 | 131.0528 | -48.779 | -48.779 | -48.779 |  | 1.0549 | 0.91877 | 0.79011 | 1.0934 | 0.91101 | 0.75679 | -5.822 | -129.2994 | 117.5371 | -6.61 | -126.7607 | 115.7325

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0714 | 2.7649 | 2.104 | 1.0714 | 2.7657 | 2.1029 | 12.3716 | 31.9263 | 24.2946 | 12.3715 | 31.9353 | 24.2827 | 14.3057 | 18.7632 | 7.0391 | -13.1577 | -11.1285 | -2.6237 | 1.5958 | 6.3513 | 8.047 | -0.937 | -1.8282 | -5.4388 | -20.7938 | -158.2616 | 41.874 | 159.1448 | 21.7558 | -138.1402 |  | 1.1635 | 0.62046 | 0.44007 | 1.0662 | 0.35314 | 0.24868 | -14.4288 | -139.5608 | 90.6964 | -16.7819 | -148.9147 | 106.1066
Line_1 | 0.85354 | 2.9138 | 2.036 | 0.85357 | 2.9129 | 2.0374 | 9.8559 | 33.6455 | 23.5096 | 9.8561 | 33.6348 | 23.5255 | -10.9281 | -1.6964e-10 | -5.3911e-11 | 10.5008 | 11.5904 | 3.0625 | -1.3517e-09 | -1.3663e-10 | -1.4286e-10 | 0.41445 | 2.5969 | 4.9846 | 160.858 | 18.4794 | -132.3428 | -19.0421 | -161.5436 | 47.6731 |  | 1.1088 | 0 | 0 | 1.0662 | 0.35314 | 0.24868 | -19.142 | 0 | 0 | -16.7819 | -148.9147 | 106.1066
Line_2 | 0.22 | 0.22 | 0.22 | 0.21993 | 0.21993 | 0.21993 | 2.5403 | 2.5403 | 2.5403 | 2.5395 | 2.5395 | 2.5395 | -2.3124 | 0.80257 | 0.78389 | 2.6568 | -0.46197 | -0.43881 | -0.46093 | 0.8421 | -0.38117 | 0.52255 | -0.76866 | 0.45416 | 151.8812 | 151.8812 | 151.8812 | -27.9088 | -27.9088 | -27.9088 |  | 0.92821 | 0.45794 | 0.34313 | 1.0662 | 0.35314 | 0.24868 | -16.8459 | -161.7418 | 125.9495 | -16.7819 | -148.9147 | 106.1066

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0714 | 2.7649 | 2.104 | 1.0714 | 2.7657 | 2.1029 | 12.3716 | 31.9263 | 24.2946 | 12.3715 | 31.9353 | 24.2827 | 14.3057 | 18.7632 | 7.0391 | -13.1577 | -11.1285 | -2.6237 | 1.5958 | 6.3513 | 8.047 | -0.937 | -1.8282 | -5.4388 | -20.7938 | -158.2616 | 41.874 | 159.1448 | 21.7558 | -138.1402 |  | 1.1635 | 0.62046 | 0.44007 | 1.0662 | 0.35314 | 0.24868 | -14.4288 | -139.5608 | 90.6964 | -16.7819 | -148.9147 | 106.1066
Line_1 | 0.85354 | 2.9138 | 2.036 | 0.85357 | 2.9129 | 2.0374 | 9.8559 | 33.6455 | 23.5096 | 9.8561 | 33.6348 | 23.5255 | -10.9281 | -1.6964e-10 | -5.3911e-11 | 10.5008 | 11.5904 | 3.0625 | -1.3517e-09 | -1.3663e-10 | -1.4286e-10 | 0.41445 | 2.5969 | 4.9846 | 160.858 | 18.4794 | -132.3428 | -19.0421 | -161.5436 | 47.6731 |  | 1.1088 | 0 | 0 | 1.0662 | 0.35314 | 0.24868 | -19.142 | 0 | 0 | -16.7819 | -148.9147 | 106.1066
Line_2 | 0.22 | 0.22 | 0.22 | 0.21993 | 0.21993 | 0.21993 | 2.5403 | 2.5403 | 2.5403 | 2.5395 | 2.5395 | 2.5395 | -2.3124 | 0.80257 | 0.78389 | 2.6568 | -0.46197 | -0.43881 | -0.46093 | 0.8421 | -0.38117 | 0.52255 | -0.76866 | 0.45416 | 151.8812 | 151.8812 | 151.8812 | -27.9088 | -27.9088 | -27.9088 |  | 0.92821 | 0.45794 | 0.34313 | 1.0662 | 0.35314 | 0.24868 | -16.8459 | -161.7418 | 125.9495 | -16.7819 | -148.9147 | 106.1066

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36826 | 0.95618 | 0.87189 | 0.36825 | 0.95655 | 0.8715 | 4.2523 | 11.0411 | 10.0677 | 4.2522 | 11.0452 | 10.0632 | 3.7242 | 8.9835 | 3.6112 | -3.5864 | -8.0732 | -2.8521 | 2.2227 | 4.3145 | 6.7301 | -2.147 | -3.7743 | -6.279 | -36.8984 | -151.1897 | 51.4522 | 143.0402 | 28.8199 | -128.5483 |  | 1.0199 | 0.90262 | 0.75863 | 0.98301 | 0.80686 | 0.68531 | -6.0686 | -125.5362 | 113.2352 | -6.0524 | -126.1234 | 117.0229
Line_1 | 0.29337 | 0.98196 | 0.8814 | 0.29338 | 0.98152 | 0.88191 | 3.3876 | 11.3387 | 10.1775 | 3.3877 | 11.3336 | 10.1834 | -2.9576 | -6.7902 | -2.6279 | 2.9099 | 7.9765 | 3.4178 | -1.5732 | -4.2988 | -5.2127 | 1.6193 | 4.472 | 6.0846 | 144.7534 | 24.6146 | -123.6523 | -35.1467 | -155.4 | 56.3463 |  | 0.98889 | 0.70877 | 0.57358 | 0.98301 | 0.80686 | 0.68531 | -7.2379 | -123.0478 | 119.5934 | -6.0524 | -126.1234 | 117.0229
Line_2 | 0.075615 | 0.075615 | 0.075615 | 0.075592 | 0.075592 | 0.075592 | 0.87313 | 0.87313 | 0.87313 | 0.87286 | 0.87286 | 0.87286 | -0.63421 | -0.058709 | 0.60715 | 0.67649 | 0.096677 | -0.56571 | -0.52199 | 0.70591 | -0.18393 | 0.52779 | -0.69761 | 0.19439 | 135.7766 | 135.7766 | 135.7766 | -44.0134 | -44.0134 | -44.0134 |  | 0.94075 | 0.81128 | 0.72658 | 0.98301 | 0.80686 | 0.68531 | -4.7674 | -129.4692 | 118.9233 | -6.0524 | -126.1234 | 117.0229

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36826 | 0.95618 | 0.87189 | 0.36825 | 0.95655 | 0.8715 | 4.2523 | 11.0411 | 10.0677 | 4.2522 | 11.0452 | 10.0632 | 3.7242 | 8.9835 | 3.6112 | -3.5864 | -8.0732 | -2.8521 | 2.2227 | 4.3145 | 6.7301 | -2.147 | -3.7743 | -6.279 | -36.8984 | -151.1897 | 51.4522 | 143.0402 | 28.8199 | -128.5483 |  | 1.0199 | 0.90262 | 0.75863 | 0.98301 | 0.80686 | 0.68531 | -6.0686 | -125.5362 | 113.2352 | -6.0524 | -126.1234 | 117.0229
Line_1 | 0.29337 | 0.98196 | 0.8814 | 0.29338 | 0.98152 | 0.88191 | 3.3876 | 11.3387 | 10.1775 | 3.3877 | 11.3336 | 10.1834 | -2.9576 | -6.7902 | -2.6279 | 2.9099 | 7.9765 | 3.4178 | -1.5732 | -4.2988 | -5.2127 | 1.6193 | 4.472 | 6.0846 | 144.7534 | 24.6146 | -123.6523 | -35.1467 | -155.4 | 56.3463 |  | 0.98889 | 0.70877 | 0.57358 | 0.98301 | 0.80686 | 0.68531 | -7.2379 | -123.0478 | 119.5934 | -6.0524 | -126.1234 | 117.0229
Line_2 | 0.075615 | 0.075615 | 0.075615 | 0.075592 | 0.075592 | 0.075592 | 0.87313 | 0.87313 | 0.87313 | 0.87286 | 0.87286 | 0.87286 | -0.63421 | -0.058709 | 0.60715 | 0.67649 | 0.096677 | -0.56571 | -0.52199 | 0.70591 | -0.18393 | 0.52779 | -0.69761 | 0.19439 | 135.7766 | 135.7766 | 135.7766 | -44.0134 | -44.0134 | -44.0134 |  | 0.94075 | 0.81128 | 0.72658 | 0.98301 | 0.80686 | 0.68531 | -4.7674 | -129.4692 | 118.9233 | -6.0524 | -126.1234 | 117.0229