## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2119 | 1.2119 | 0 | 0 | 41.9813 | 41.9813 | 26.6127 | -24.3216 | 27.2296 | -24.63 | -54.0862 | 125.9138 | 0.90694 | 0.82453 | -8.4298 | -8.7252
Line_1 | 1.2119 | 1.2119 | 2.3741 | 0 | 41.9813 | 41.9813 | -22.0304 | 24.3216 | -22.0304 | 24.63 | 125.9138 | -54.0862 | 0.74213 | 0.82453 | -9.0862 | -8.7252
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.82453 | 0.82453 | -8.7252 | -8.7252

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0349 | 1.0349 | 0 | 0 | 35.8516 | 35.8516 | 22.4832 | -19.2749 | 19.8585 | -17.9626 | -50.3977 | 129.6023 | 0.83671 | 0.7349 | -8.9447 | -7.416
Line_1 | 1.0349 | 1.0349 | 1.7392 | 0 | 35.8516 | 35.8516 | -16.0667 | 19.2749 | -16.0667 | 17.9626 | 129.6023 | -50.3977 | 0.63377 | 0.7349 | -5.3977 | -7.416
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7349 | 0.7349 | -7.416 | -7.416

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | -2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.5587e-12 | -152.1736 | 136.0734 | 8.5669e-12 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -3.6475e-14 | -18.0699 | 18.0699 | 5.2106e-15 | 22.7354 | -13.4045 | -2.6053e-14 | 5.9452 | -5.9452 | 1.5632e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 8.5887e-12 | 180 | -180 | 8.5669e-12 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4052e-10 | 6.6442e-10 | 1.5632e-14 | -3.4052e-10 | -6.6442e-10 | -2.0843e-14 | -1.8234e-09 | 1.2625e-09 | 5.2106e-15 | 1.8234e-09 | -1.2625e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.583e-12 | -163.4303 | 158.2346 | 8.5669e-12 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -2.0843e-14 | 27.4008 | -8.7391 | -5.2106e-15 | -22.7354 | 13.4045 | 5.2106e-15 | 4.6417 | 16.5321 | -2.0843e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.5587e-12 | -152.1736 | 136.0734 | 8.5669e-12 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -3.6475e-14 | -18.0699 | 18.0699 | 5.2106e-15 | 22.7354 | -13.4045 | -2.6053e-14 | 5.9452 | -5.9452 | 1.5632e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 8.5887e-12 | 180 | -180 | 8.5669e-12 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4052e-10 | 6.6442e-10 | 1.5632e-14 | -3.4052e-10 | -6.6442e-10 | -2.0843e-14 | -1.8234e-09 | 1.2625e-09 | 5.2106e-15 | 1.8234e-09 | -1.2625e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.583e-12 | -163.4303 | 158.2346 | 8.5669e-12 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.3113e-28 | 17.2205 | 0.20321 | -1.5632e-14 | -15.9408 | 1.0765 | 2.6053e-15 | 3.8735 | 14.2393 | -1.3875e-27 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 5.0829e-12 | -135.9762 | 120.5292 | 5.0856e-12 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.0843e-14 | -14.6611 | 2.3562 | 7.816e-15 | 15.9408 | -1.0765 | -5.2106e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 5.0889e-12 | -144.8696 | 133.0893 | 5.0856e-12 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | 4.6821e-10 | 1.0007e-09 | 2.6053e-15 | -4.682e-10 | -1.0007e-09 | -1.0421e-14 | -1.2288e-09 | 3.0655e-10 | 7.816e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 5.0875e-12 | -140.0155 | 126.1589 | 5.0856e-12 | -140.0155 | 126.1589

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.3113e-28 | 17.2205 | 0.20321 | -1.5632e-14 | -15.9408 | 1.0765 | 2.6053e-15 | 3.8735 | 14.2393 | -1.3875e-27 | -2.4216 | -12.7873 | 0 | -148.6532 | 31.3468 | 0 | 31.3468 | -148.6532 | 1.1 | 0.97441 | 0.78616 | 1.1 | 0.89011 | 0.70842 | 5.0829e-12 | -135.9762 | 120.5292 | 5.0856e-12 | -140.0155 | 126.1589
Line_1 | 0 | 1.5688 | 1.5688 | 0 | 1.5688 | 1.5688 | 0 | 18.1144 | 18.1144 | 0 | 18.1144 | 18.1144 | -2.0843e-14 | -14.6611 | 2.3562 | 7.816e-15 | 15.9408 | -1.0765 | -5.2106e-15 | -0.96958 | -11.3353 | 2.6053e-15 | 2.4216 | 12.7873 | 0 | 31.3468 | -148.6532 | 0 | -148.6532 | 31.3468 | 1.1 | 0.81113 | 0.63914 | 1.1 | 0.89011 | 0.70842 | 5.0889e-12 | -144.8696 | 133.0893 | 5.0856e-12 | -140.0155 | 126.1589
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8237e-14 | 4.6821e-10 | 1.0007e-09 | 2.6053e-15 | -4.682e-10 | -1.0007e-09 | -1.0421e-14 | -1.2288e-09 | 3.0655e-10 | 7.816e-15 | 1.2288e-09 | -3.0654e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.89011 | 0.70842 | 1.1 | 0.89011 | 0.70842 | 5.0875e-12 | -140.0155 | 126.1589 | 5.0856e-12 | -140.0155 | 126.1589

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | 23.4155 | -0.45749 | 3.5527e-15 | -17.676 | 6.197 | 7.1054e-15 | -0.22679 | 13.7937 | -9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 2.7264e-12 | -150.1294 | 122.3252 | 2.7474e-12 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -3.5527e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.6579e-14 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 2.7666e-12 | -180 | 180 | 2.7474e-12 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 2.4222e-10 | 6.7019e-10 | 2.3685e-15 | -2.4221e-10 | -6.7019e-10 | -1.1842e-14 | -1.5722e-09 | 8.3094e-10 | 7.1054e-15 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 2.7631e-12 | -161.1438 | 151.2099 | 2.7474e-12 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -7.1054e-15 | 23.4155 | -0.45749 | 3.5527e-15 | -17.676 | 6.197 | 7.1054e-15 | -0.22679 | 13.7937 | -9.4739e-15 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 2.7264e-12 | -150.1294 | 122.3252 | 2.7474e-12 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -3.5527e-15 | -11.9365 | 11.9365 | 1.1842e-15 | 17.676 | -6.197 | -1.6579e-14 | 7.0103 | -7.0103 | 4.737e-15 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 2.7666e-12 | -180 | 180 | 2.7474e-12 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.2897e-15 | 2.4222e-10 | 6.7019e-10 | 2.3685e-15 | -2.4221e-10 | -6.7019e-10 | -1.1842e-14 | -1.5722e-09 | 8.3094e-10 | 7.1054e-15 | 1.5722e-09 | -8.3094e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 2.7631e-12 | -161.1438 | 151.2099 | 2.7474e-12 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.1842e-15 | 13.7181 | 1.6719 | 1.6573e-28 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 1.9939e-12 | -135.6599 | 118.3519 | 2.0046e-12 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | -9.4739e-15 | 0.27863 | -8.8347 | 7.1054e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.0153e-12 | -144.4405 | 138.2821 | 2.0046e-12 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.2826e-10 | 8.1277e-10 | 4.1448e-15 | -4.2826e-10 | -8.1277e-10 | -9.4739e-15 | -9.705e-10 | 3.0453e-10 | 9.4739e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.0136e-12 | -139.408 | 127.3216 | 2.0046e-12 | -139.408 | 127.3216

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -1.1842e-15 | 13.7181 | 1.6719 | 1.6573e-28 | -12.0096 | 0.036546 | 4.737e-15 | 1.7406 | 10.8539 | -4.737e-15 | -0.73098 | -9.8443 | 0 | -142.8911 | 37.1089 | 0 | 37.1089 | -142.8911 | 1 | 0.91546 | 0.72704 | 1 | 0.79654 | 0.65173 | 1.9939e-12 | -135.6599 | 118.3519 | 2.0046e-12 | -139.408 | 127.3216
Line_1 | 0 | 1.3081 | 1.3081 | 0 | 1.3081 | 1.3081 | 0 | 15.105 | 15.105 | 0 | 15.105 | 15.105 | -3.5527e-15 | -10.3011 | 1.745 | 2.3685e-15 | 12.0096 | -0.036546 | -9.4739e-15 | 0.27863 | -8.8347 | 7.1054e-15 | 0.73098 | 9.8443 | 0 | 37.1089 | -142.8911 | 0 | -142.8911 | 37.1089 | 1 | 0.68221 | 0.59619 | 1 | 0.79654 | 0.65173 | 2.0153e-12 | -144.4405 | 138.2821 | 2.0046e-12 | -139.408 | 127.3216
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1448e-15 | 4.2826e-10 | 8.1277e-10 | 4.1448e-15 | -4.2826e-10 | -8.1277e-10 | -9.4739e-15 | -9.705e-10 | 3.0453e-10 | 9.4739e-15 | 9.7051e-10 | -3.0453e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79654 | 0.65173 | 1 | 0.79654 | 0.65173 | 2.0136e-12 | -139.408 | 127.3216 | 2.0046e-12 | -139.408 | 127.3216

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.032382 | 0.016191 | 0.016191 | 0.026986 | 0.021586 | 0.021586 | 0.37391 | 0.18696 | 0.18696 | 0.31161 | 0.24926 | 0.24926 | 0.0010865 | -0.17673 | 0.17946 | -0.00072089 | 0.23635 | -0.23854 | 0.0012437 | 0.30718 | 0.30488 | -0.00062652 | -0.40907 | -0.40638 | -89.6304 | 90.3696 | 90.3696 | 90.4059 | -89.6758 | -89.6758 |  | 0.0044167 | 1.8956 | 1.8923 | 0.003065 | 1.8954 | 1.8905 | -40.7709 | -149.7169 | 149.8882 | -48.6002 | -149.6576 | 149.9119
Line_1 | 0.032371 | 0.016201 | 0.016201 | 0.037766 | 0.010806 | 0.010806 | 0.37379 | 0.18708 | 0.18708 | 0.43609 | 0.12478 | 0.12478 | -1.9893e-14 | 0.17822 | -0.17822 | 0.0010092 | -0.11892 | 0.11881 | 8.0425e-14 | -0.30645 | -0.30541 | 0.00087636 | 0.20443 | 0.20379 | 90.4716 | -89.8342 | -89.8342 | -89.5689 | 90.1546 | 90.1546 |  | 0 | 1.8949 | 1.8902 | 0.003065 | 1.8954 | 1.8905 | 0 | -149.6537 | 149.9014 | -48.6002 | -149.6576 | 149.9119
Line_2 | 0.016171 | 0.016171 | 0.016171 | 0.01078 | 0.01078 | 0.01078 | 0.18672 | 0.18672 | 0.18672 | 0.12448 | 0.12448 | 0.12448 | 0.0012375 | 0.17725 | -0.17849 | -0.00028836 | -0.11743 | 0.11973 | 0.00069555 | -0.30647 | -0.30375 | -0.00024984 | 0.20464 | 0.20259 | -89.5626 | -89.5626 | -89.5626 | 90.4941 | 90.4941 | 90.4941 |  | 0.0076024 | 1.8961 | 1.8868 | 0.003065 | 1.8954 | 1.8905 | -60.2229 | -149.5188 | 149.9982 | -48.6002 | -149.6576 | 149.9119

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.032382 | 0.016191 | 0.016191 | 0.026986 | 0.021586 | 0.021586 | 0.37391 | 0.18696 | 0.18696 | 0.31161 | 0.24926 | 0.24926 | 0.0010865 | -0.17673 | 0.17946 | -0.00072089 | 0.23635 | -0.23854 | 0.0012437 | 0.30718 | 0.30488 | -0.00062652 | -0.40907 | -0.40638 | -89.6304 | 90.3696 | 90.3696 | 90.4059 | -89.6758 | -89.6758 |  | 0.0044167 | 1.8956 | 1.8923 | 0.003065 | 1.8954 | 1.8905 | -40.7709 | -149.7169 | 149.8882 | -48.6002 | -149.6576 | 149.9119
Line_1 | 0.032371 | 0.016201 | 0.016201 | 0.037766 | 0.010806 | 0.010806 | 0.37379 | 0.18708 | 0.18708 | 0.43609 | 0.12478 | 0.12478 | -1.9893e-14 | 0.17822 | -0.17822 | 0.0010092 | -0.11892 | 0.11881 | 8.0425e-14 | -0.30645 | -0.30541 | 0.00087636 | 0.20443 | 0.20379 | 90.4716 | -89.8342 | -89.8342 | -89.5689 | 90.1546 | 90.1546 |  | 0 | 1.8949 | 1.8902 | 0.003065 | 1.8954 | 1.8905 | 0 | -149.6537 | 149.9014 | -48.6002 | -149.6576 | 149.9119
Line_2 | 0.016171 | 0.016171 | 0.016171 | 0.01078 | 0.01078 | 0.01078 | 0.18672 | 0.18672 | 0.18672 | 0.12448 | 0.12448 | 0.12448 | 0.0012375 | 0.17725 | -0.17849 | -0.00028836 | -0.11743 | 0.11973 | 0.00069555 | -0.30647 | -0.30375 | -0.00024984 | 0.20464 | 0.20259 | -89.5626 | -89.5626 | -89.5626 | 90.4941 | 90.4941 | 90.4941 |  | 0.0076024 | 1.8961 | 1.8868 | 0.003065 | 1.8954 | 1.8905 | -60.2229 | -149.5188 | 149.9982 | -48.6002 | -149.6576 | 149.9119

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.031765 | 0.015882 | 0.015882 | 0.026472 | 0.021175 | 0.021175 | 0.36679 | 0.18339 | 0.18339 | 0.30567 | 0.24451 | 0.24451 | 0.008613 | -0.17145 | 0.17785 | -0.0070043 | 0.22928 | -0.23643 | 0.0087643 | 0.30076 | 0.29199 | -0.0069055 | -0.40052 | -0.3892 | -88.5626 | 91.4373 | 91.4373 | 91.4737 | -88.6081 | -88.6081 |  | 0.033502 | 1.8877 | 1.8643 | 0.032178 | 1.8875 | 1.8625 | -43.0639 | -148.8771 | 150.0917 | -43.9333 | -148.8186 | 150.1144
Line_1 | 0.031754 | 0.015893 | 0.015893 | 0.037047 | 0.0106 | 0.0106 | 0.36667 | 0.18351 | 0.18351 | 0.42778 | 0.1224 | 0.1224 | -0.0075785 | 0.17289 | -0.17667 | 0.0098065 | -0.11537 | 0.11778 | -0.0075516 | -0.30005 | -0.29252 | 0.0096597 | 0.20016 | 0.19518 | 91.5394 | -88.7664 | -88.7664 | -88.5011 | 91.2224 | 91.2224 |  | 0.029178 | 1.887 | 1.8621 | 0.032178 | 1.8875 | 1.8625 | -43.5626 | -148.8149 | 150.1039 | -43.9333 | -148.8186 | 150.1144
Line_2 | 0.015862 | 0.015862 | 0.015862 | 0.010575 | 0.010575 | 0.010575 | 0.18316 | 0.18316 | 0.18316 | 0.12211 | 0.12211 | 0.12211 | 0.0049742 | 0.17194 | -0.17691 | -0.0028023 | -0.11391 | 0.11865 | 0.0044438 | -0.30007 | -0.2909 | -0.0027542 | 0.20036 | 0.19402 | -88.4948 | -88.4948 | -88.4948 | 91.5619 | 91.5619 | 91.5619 |  | 0.036416 | 1.8881 | 1.8588 | 0.032178 | 1.8875 | 1.8625 | -46.7181 | -148.6818 | 150.1987 | -43.9333 | -148.8186 | 150.1144

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.031765 | 0.015882 | 0.015882 | 0.026472 | 0.021175 | 0.021175 | 0.36679 | 0.18339 | 0.18339 | 0.30567 | 0.24451 | 0.24451 | 0.008613 | -0.17145 | 0.17785 | -0.0070043 | 0.22928 | -0.23643 | 0.0087643 | 0.30076 | 0.29199 | -0.0069055 | -0.40052 | -0.3892 | -88.5626 | 91.4373 | 91.4373 | 91.4737 | -88.6081 | -88.6081 |  | 0.033502 | 1.8877 | 1.8643 | 0.032178 | 1.8875 | 1.8625 | -43.0639 | -148.8771 | 150.0917 | -43.9333 | -148.8186 | 150.1144
Line_1 | 0.031754 | 0.015893 | 0.015893 | 0.037047 | 0.0106 | 0.0106 | 0.36667 | 0.18351 | 0.18351 | 0.42778 | 0.1224 | 0.1224 | -0.0075785 | 0.17289 | -0.17667 | 0.0098065 | -0.11537 | 0.11778 | -0.0075516 | -0.30005 | -0.29252 | 0.0096597 | 0.20016 | 0.19518 | 91.5394 | -88.7664 | -88.7664 | -88.5011 | 91.2224 | 91.2224 |  | 0.029178 | 1.887 | 1.8621 | 0.032178 | 1.8875 | 1.8625 | -43.5626 | -148.8149 | 150.1039 | -43.9333 | -148.8186 | 150.1144
Line_2 | 0.015862 | 0.015862 | 0.015862 | 0.010575 | 0.010575 | 0.010575 | 0.18316 | 0.18316 | 0.18316 | 0.12211 | 0.12211 | 0.12211 | 0.0049742 | 0.17194 | -0.17691 | -0.0028023 | -0.11391 | 0.11865 | 0.0044438 | -0.30007 | -0.2909 | -0.0027542 | 0.20036 | 0.19402 | -88.4948 | -88.4948 | -88.4948 | 91.5619 | 91.5619 | 91.5619 |  | 0.036416 | 1.8881 | 1.8588 | 0.032178 | 1.8875 | 1.8625 | -46.7181 | -148.6818 | 150.1987 | -43.9333 | -148.8186 | 150.1144

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.029428 | 0.014714 | 0.014714 | 0.024525 | 0.019617 | 0.019617 | 0.3398 | 0.1699 | 0.1699 | 0.28319 | 0.22652 | 0.22652 | 0.0017228 | -0.14497 | 0.14929 | -0.0011431 | 0.19442 | -0.1979 | 0.0010424 | 0.25453 | 0.25095 | -0.00052704 | -0.33881 | -0.33464 | -89.304 | 90.696 | 90.696 | 90.7658 | -89.3912 | -89.3912 |  | 0.005926 | 1.7241 | 1.7187 | 0.0044449 | 1.7245 | 1.7163 | -58.1268 | -149.6401 | 149.9486 | -64.4815 | -149.5425 | 150.0104
Line_1 | 0.029418 | 0.014724 | 0.014724 | 0.034321 | 0.0098207 | 0.0098207 | 0.33969 | 0.17002 | 0.17002 | 0.39631 | 0.1134 | 0.1134 | -6.2122e-14 | 0.14724 | -0.14724 | 0.0016003 | -0.098294 | 0.098118 | -6.6736e-14 | -0.25346 | -0.25189 | 0.00073622 | 0.16906 | 0.16809 | 90.8918 | -89.6952 | -89.6952 | -89.1859 | 90.2833 | 90.2833 |  | 0 | 1.7241 | 1.7161 | 0.0044449 | 1.7245 | 1.7163 | 0 | -149.5424 | 149.9975 | -64.4815 | -149.5425 | 150.0104
Line_2 | 0.014695 | 0.014695 | 0.014695 | 0.0097966 | 0.0097966 | 0.0097966 | 0.16968 | 0.16968 | 0.16968 | 0.11312 | 0.11312 | 0.11312 | 0.0019621 | 0.14595 | -0.14792 | -0.00045724 | -0.096128 | 0.099777 | 0.00057964 | -0.25409 | -0.24985 | -0.00020918 | 0.16975 | 0.16655 | -89.1738 | -89.1738 | -89.1738 | 90.9351 | 90.9351 | 90.9351 |  | 0.012057 | 1.7269 | 1.7111 | 0.0044449 | 1.7245 | 1.7163 | -72.7157 | -149.2999 | 150.2 | -64.4815 | -149.5425 | 150.0104

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.029428 | 0.014714 | 0.014714 | 0.024525 | 0.019617 | 0.019617 | 0.3398 | 0.1699 | 0.1699 | 0.28319 | 0.22652 | 0.22652 | 0.0017228 | -0.14497 | 0.14929 | -0.0011431 | 0.19442 | -0.1979 | 0.0010424 | 0.25453 | 0.25095 | -0.00052704 | -0.33881 | -0.33464 | -89.304 | 90.696 | 90.696 | 90.7658 | -89.3912 | -89.3912 |  | 0.005926 | 1.7241 | 1.7187 | 0.0044449 | 1.7245 | 1.7163 | -58.1268 | -149.6401 | 149.9486 | -64.4815 | -149.5425 | 150.0104
Line_1 | 0.029418 | 0.014724 | 0.014724 | 0.034321 | 0.0098207 | 0.0098207 | 0.33969 | 0.17002 | 0.17002 | 0.39631 | 0.1134 | 0.1134 | -6.2122e-14 | 0.14724 | -0.14724 | 0.0016003 | -0.098294 | 0.098118 | -6.6736e-14 | -0.25346 | -0.25189 | 0.00073622 | 0.16906 | 0.16809 | 90.8918 | -89.6952 | -89.6952 | -89.1859 | 90.2833 | 90.2833 |  | 0 | 1.7241 | 1.7161 | 0.0044449 | 1.7245 | 1.7163 | 0 | -149.5424 | 149.9975 | -64.4815 | -149.5425 | 150.0104
Line_2 | 0.014695 | 0.014695 | 0.014695 | 0.0097966 | 0.0097966 | 0.0097966 | 0.16968 | 0.16968 | 0.16968 | 0.11312 | 0.11312 | 0.11312 | 0.0019621 | 0.14595 | -0.14792 | -0.00045724 | -0.096128 | 0.099777 | 0.00057964 | -0.25409 | -0.24985 | -0.00020918 | 0.16975 | 0.16655 | -89.1738 | -89.1738 | -89.1738 | 90.9351 | 90.9351 | 90.9351 |  | 0.012057 | 1.7269 | 1.7111 | 0.0044449 | 1.7245 | 1.7163 | -72.7157 | -149.2999 | 150.2 | -64.4815 | -149.5425 | 150.0104

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028864 | 0.014432 | 0.014432 | 0.024055 | 0.019241 | 0.019241 | 0.3333 | 0.16665 | 0.16665 | 0.27776 | 0.22218 | 0.22218 | 0.0079061 | -0.14061 | 0.14789 | -0.0063136 | 0.18858 | -0.19608 | 0.0072515 | 0.24914 | 0.24029 | -0.0057082 | -0.33165 | -0.32044 | -88.2429 | 91.7571 | 91.7571 | 91.8269 | -88.3301 | -88.3301 |  | 0.032188 | 1.7167 | 1.6931 | 0.030643 | 1.7171 | 1.6908 | -45.7157 | -148.803 | 150.1461 | -46.0559 | -148.7068 | 150.2065
Line_1 | 0.028855 | 0.014442 | 0.014442 | 0.033664 | 0.0096327 | 0.0096327 | 0.33319 | 0.16676 | 0.16676 | 0.38872 | 0.11123 | 0.11123 | -0.0062679 | 0.14283 | -0.14593 | 0.0088423 | -0.09535 | 0.097251 | -0.0062252 | -0.24811 | -0.24123 | 0.0079809 | 0.16549 | 0.16097 | 91.9529 | -88.6341 | -88.6341 | -88.1248 | 91.3445 | 91.3445 |  | 0.026514 | 1.7167 | 1.6906 | 0.030643 | 1.7171 | 1.6908 | -43.2429 | -148.7067 | 150.1935 | -46.0559 | -148.7068 | 150.2065
Line_2 | 0.014414 | 0.014414 | 0.014414 | 0.009609 | 0.009609 | 0.009609 | 0.16643 | 0.16643 | 0.16643 | 0.11096 | 0.11096 | 0.11096 | 0.0050151 | 0.14155 | -0.14657 | -0.0025287 | -0.093231 | 0.098832 | 0.0036708 | -0.24872 | -0.23922 | -0.0022727 | 0.16616 | 0.15946 | -88.1127 | -88.1127 | -88.1127 | 91.9962 | 91.9962 | 91.9962 |  | 0.037342 | 1.7195 | 1.6857 | 0.030643 | 1.7171 | 1.6908 | -51.9099 | -148.4675 | 150.3927 | -46.0559 | -148.7068 | 150.2065

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.028864 | 0.014432 | 0.014432 | 0.024055 | 0.019241 | 0.019241 | 0.3333 | 0.16665 | 0.16665 | 0.27776 | 0.22218 | 0.22218 | 0.0079061 | -0.14061 | 0.14789 | -0.0063136 | 0.18858 | -0.19608 | 0.0072515 | 0.24914 | 0.24029 | -0.0057082 | -0.33165 | -0.32044 | -88.2429 | 91.7571 | 91.7571 | 91.8269 | -88.3301 | -88.3301 |  | 0.032188 | 1.7167 | 1.6931 | 0.030643 | 1.7171 | 1.6908 | -45.7157 | -148.803 | 150.1461 | -46.0559 | -148.7068 | 150.2065
Line_1 | 0.028855 | 0.014442 | 0.014442 | 0.033664 | 0.0096327 | 0.0096327 | 0.33319 | 0.16676 | 0.16676 | 0.38872 | 0.11123 | 0.11123 | -0.0062679 | 0.14283 | -0.14593 | 0.0088423 | -0.09535 | 0.097251 | -0.0062252 | -0.24811 | -0.24123 | 0.0079809 | 0.16549 | 0.16097 | 91.9529 | -88.6341 | -88.6341 | -88.1248 | 91.3445 | 91.3445 |  | 0.026514 | 1.7167 | 1.6906 | 0.030643 | 1.7171 | 1.6908 | -43.2429 | -148.7067 | 150.1935 | -46.0559 | -148.7068 | 150.2065
Line_2 | 0.014414 | 0.014414 | 0.014414 | 0.009609 | 0.009609 | 0.009609 | 0.16643 | 0.16643 | 0.16643 | 0.11096 | 0.11096 | 0.11096 | 0.0050151 | 0.14155 | -0.14657 | -0.0025287 | -0.093231 | 0.098832 | 0.0036708 | -0.24872 | -0.23922 | -0.0022727 | 0.16616 | 0.15946 | -88.1127 | -88.1127 | -88.1127 | 91.9962 | 91.9962 | 91.9962 |  | 0.037342 | 1.7195 | 1.6857 | 0.030643 | 1.7171 | 1.6908 | -51.9099 | -148.4675 | 150.3927 | -46.0559 | -148.7068 | 150.2065

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081499 | 2.9941 | 2.9966 | 0.010866 | 2.9949 | 2.9957 | 0.094106 | 34.5725 | 34.6015 | 0.12547 | 34.5822 | 34.5917 | 0.00062051 | 9.3233 | 9.3383 | -0.00056296 | -4.6687 | -4.6621 | 0.155 | 10.5781 | 10.5957 | -0.20658 | -5.2704 | -5.3165 | -89.7545 | -161.8624 | 18.2858 | 90.2001 | 18.1869 | -161.7635 |  | 1.6471 | 0.40785 | 0.40818 | 1.6465 | 0.2036 | 0.20442 | 0.016119 | -113.2548 | 66.8951 | 0.043952 | -113.3486 | 66.9884
Line_1 | 0.0081552 | 2.9941 | 2.9965 | 0.0054394 | 2.9933 | 2.9974 | 0.094169 | 34.5728 | 34.6012 | 0.062808 | 34.5631 | 34.611 | -3.2976e-09 | 6.4416e-11 | 5.5986e-11 | -2.4189e-05 | 4.657 | 4.6739 | -0.15503 | -3.7072e-11 | 2.8257e-11 | 0.10342 | 5.2756 | 5.3114 | 90.0417 | 18.1375 | -161.7141 | -89.9694 | -161.9119 | 18.3352 |  | 1.6463 | 0 | 0 | 1.6465 | 0.2036 | 0.20442 | 0.041738 | 0 | 0 | 0.043952 | -113.3486 | 66.9884
Line_2 | 0.0081396 | 0.0081396 | 0.0081396 | 0.0054264 | 0.0054264 | 0.0054264 | 0.093989 | 0.093989 | 0.093989 | 0.062658 | 0.062658 | 0.062658 | -0.00052346 | -0.017323 | 0.017847 | 0.00058714 | 0.01168 | -0.011757 | -0.15467 | 0.0077612 | -0.007526 | 0.10317 | -0.0051315 | 0.0050831 | 90.3133 | 90.3133 | 90.3133 | -89.63 | -89.63 | -89.63 |  | 1.6457 | 0.20196 | 0.20607 | 1.6465 | 0.2036 | 0.20442 | 0.11939 | -113.8202 | 67.4479 | 0.043952 | -113.3486 | 66.9884

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0081499 | 2.9941 | 2.9966 | 0.010866 | 2.9949 | 2.9957 | 0.094106 | 34.5725 | 34.6015 | 0.12547 | 34.5822 | 34.5917 | 0.00062051 | 9.3233 | 9.3383 | -0.00056296 | -4.6687 | -4.6621 | 0.155 | 10.5781 | 10.5957 | -0.20658 | -5.2704 | -5.3165 | -89.7545 | -161.8624 | 18.2858 | 90.2001 | 18.1869 | -161.7635 |  | 1.6471 | 0.40785 | 0.40818 | 1.6465 | 0.2036 | 0.20442 | 0.016119 | -113.2548 | 66.8951 | 0.043952 | -113.3486 | 66.9884
Line_1 | 0.0081552 | 2.9941 | 2.9965 | 0.0054394 | 2.9933 | 2.9974 | 0.094169 | 34.5728 | 34.6012 | 0.062808 | 34.5631 | 34.611 | -3.2976e-09 | 6.4416e-11 | 5.5986e-11 | -2.4189e-05 | 4.657 | 4.6739 | -0.15503 | -3.7072e-11 | 2.8257e-11 | 0.10342 | 5.2756 | 5.3114 | 90.0417 | 18.1375 | -161.7141 | -89.9694 | -161.9119 | 18.3352 |  | 1.6463 | 0 | 0 | 1.6465 | 0.2036 | 0.20442 | 0.041738 | 0 | 0 | 0.043952 | -113.3486 | 66.9884
Line_2 | 0.0081396 | 0.0081396 | 0.0081396 | 0.0054264 | 0.0054264 | 0.0054264 | 0.093989 | 0.093989 | 0.093989 | 0.062658 | 0.062658 | 0.062658 | -0.00052346 | -0.017323 | 0.017847 | 0.00058714 | 0.01168 | -0.011757 | -0.15467 | 0.0077612 | -0.007526 | 0.10317 | -0.0051315 | 0.0050831 | 90.3133 | 90.3133 | 90.3133 | -89.63 | -89.63 | -89.63 |  | 1.6457 | 0.20196 | 0.20607 | 1.6465 | 0.2036 | 0.20442 | 0.11939 | -113.8202 | 67.4479 | 0.043952 | -113.3486 | 66.9884

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080715 | 1.0472 | 1.0519 | 0.010761 | 1.0488 | 1.0503 | 0.093201 | 12.0922 | 12.1458 | 0.12426 | 12.1101 | 12.1278 | 0.0015859 | 6.6344 | 6.6725 | -0.001854 | -6.0845 | -6.0764 | 0.15301 | 6.7185 | 6.8968 | -0.20393 | -6.0623 | -6.2529 | -89.2107 | -144.2668 | 36.0936 | 90.7439 | 35.8534 | -144.0258 |  | 1.6418 | 0.78084 | 0.79009 | 1.6413 | 0.70925 | 0.71893 | 0.19549 | -98.9058 | 82.0407 | 0.22301 | -99.2516 | 81.7942
Line_1 | 0.0080768 | 1.0472 | 1.0518 | 0.0053871 | 1.0457 | 1.0534 | 0.093263 | 12.0925 | 12.1455 | 0.062204 | 12.0747 | 12.1636 | -0.0009744 | -5.4938 | -5.5219 | 0.00062604 | 6.0412 | 6.1205 | -0.15304 | -5.4247 | -5.591 | 0.10209 | 6.07 | 6.2458 | 90.5855 | 35.7326 | -143.9057 | -89.4256 | -144.388 | 36.2134 |  | 1.641 | 0.63847 | 0.647 | 1.6413 | 0.70925 | 0.71893 | 0.22076 | -99.6303 | 81.4509 | 0.22301 | -99.2516 | 81.7942
Line_2 | 0.0080614 | 0.0080614 | 0.0080614 | 0.0053742 | 0.0053742 | 0.0053742 | 0.093085 | 0.093085 | 0.093085 | 0.062056 | 0.062056 | 0.062056 | -0.0014906 | -0.064795 | 0.066286 | 0.001228 | 0.043322 | -0.04405 | -0.15269 | 0.011667 | -0.010462 | 0.10184 | -0.0077679 | 0.0070711 | 90.8571 | 90.8571 | 90.8571 | -89.0862 | -89.0862 | -89.0862 |  | 1.6404 | 0.70728 | 0.72092 | 1.6413 | 0.70925 | 0.71893 | 0.29777 | -99.3504 | 81.8882 | 0.22301 | -99.2516 | 81.7942

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0080715 | 1.0472 | 1.0519 | 0.010761 | 1.0488 | 1.0503 | 0.093201 | 12.0922 | 12.1458 | 0.12426 | 12.1101 | 12.1278 | 0.0015859 | 6.6344 | 6.6725 | -0.001854 | -6.0845 | -6.0764 | 0.15301 | 6.7185 | 6.8968 | -0.20393 | -6.0623 | -6.2529 | -89.2107 | -144.2668 | 36.0936 | 90.7439 | 35.8534 | -144.0258 |  | 1.6418 | 0.78084 | 0.79009 | 1.6413 | 0.70925 | 0.71893 | 0.19549 | -98.9058 | 82.0407 | 0.22301 | -99.2516 | 81.7942
Line_1 | 0.0080768 | 1.0472 | 1.0518 | 0.0053871 | 1.0457 | 1.0534 | 0.093263 | 12.0925 | 12.1455 | 0.062204 | 12.0747 | 12.1636 | -0.0009744 | -5.4938 | -5.5219 | 0.00062604 | 6.0412 | 6.1205 | -0.15304 | -5.4247 | -5.591 | 0.10209 | 6.07 | 6.2458 | 90.5855 | 35.7326 | -143.9057 | -89.4256 | -144.388 | 36.2134 |  | 1.641 | 0.63847 | 0.647 | 1.6413 | 0.70925 | 0.71893 | 0.22076 | -99.6303 | 81.4509 | 0.22301 | -99.2516 | 81.7942
Line_2 | 0.0080614 | 0.0080614 | 0.0080614 | 0.0053742 | 0.0053742 | 0.0053742 | 0.093085 | 0.093085 | 0.093085 | 0.062056 | 0.062056 | 0.062056 | -0.0014906 | -0.064795 | 0.066286 | 0.001228 | 0.043322 | -0.04405 | -0.15269 | 0.011667 | -0.010462 | 0.10184 | -0.0077679 | 0.0070711 | 90.8571 | 90.8571 | 90.8571 | -89.0862 | -89.0862 | -89.0862 |  | 1.6404 | 0.70728 | 0.72092 | 1.6413 | 0.70925 | 0.71893 | 0.29777 | -99.3504 | 81.8882 | 0.22301 | -99.2516 | 81.7942

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074082 | 2.3958 | 2.3995 | 0.0098768 | 2.397 | 2.3982 | 0.085542 | 27.6643 | 27.707 | 0.11405 | 27.6786 | 27.6926 | 0.00098436 | 11.4622 | 11.4959 | -0.00089305 | -5.7307 | -5.7484 | 0.12807 | 6.7728 | 6.7941 | -0.17069 | -3.3626 | -3.4208 | -89.5321 | -149.6512 | 30.5022 | 90.3807 | 30.3998 | -149.5487 |  | 1.4973 | 0.48126 | 0.48195 | 1.4967 | 0.24005 | 0.24155 | 0.027543 | -119.073 | 61.0856 | 0.080981 | -119.1966 | 61.208
Line_1 | 0.0074133 | 2.3958 | 2.3994 | 0.0049446 | 2.3946 | 2.4007 | 0.085601 | 27.6648 | 27.7064 | 0.057095 | 27.6505 | 27.7209 | -2.7245e-09 | -1.3497e-10 | 1.0349e-11 | -3.8359e-05 | 5.7188 | 5.7603 | -0.1281 | -8.8988e-11 | -1.6358e-10 | 0.085455 | 3.3695 | 3.414 | 90.0767 | 30.3483 | -149.4973 | -89.9447 | -149.7027 | 30.5535 |  | 1.4965 | 0 | 0 | 1.4967 | 0.24005 | 0.24155 | 0.076736 | 0 | 0 | 0.080981 | -119.1966 | 61.208
Line_2 | 0.0073986 | 0.0073986 | 0.0073986 | 0.0049324 | 0.0049324 | 0.0049324 | 0.085432 | 0.085432 | 0.085432 | 0.056954 | 0.056954 | 0.056954 | -0.00083037 | -0.017474 | 0.018304 | 0.0009314 | 0.011852 | -0.011974 | -0.1278 | 0.010258 | -0.01006 | 0.085239 | -0.0068161 | 0.0067743 | 90.5981 | 90.5981 | 90.5981 | -89.293 | -89.293 | -89.293 |  | 1.4959 | 0.23717 | 0.24448 | 1.4967 | 0.24005 | 0.24155 | 0.22582 | -119.8159 | 61.804 | 0.080981 | -119.1966 | 61.208

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0074082 | 2.3958 | 2.3995 | 0.0098768 | 2.397 | 2.3982 | 0.085542 | 27.6643 | 27.707 | 0.11405 | 27.6786 | 27.6926 | 0.00098436 | 11.4622 | 11.4959 | -0.00089305 | -5.7307 | -5.7484 | 0.12807 | 6.7728 | 6.7941 | -0.17069 | -3.3626 | -3.4208 | -89.5321 | -149.6512 | 30.5022 | 90.3807 | 30.3998 | -149.5487 |  | 1.4973 | 0.48126 | 0.48195 | 1.4967 | 0.24005 | 0.24155 | 0.027543 | -119.073 | 61.0856 | 0.080981 | -119.1966 | 61.208
Line_1 | 0.0074133 | 2.3958 | 2.3994 | 0.0049446 | 2.3946 | 2.4007 | 0.085601 | 27.6648 | 27.7064 | 0.057095 | 27.6505 | 27.7209 | -2.7245e-09 | -1.3497e-10 | 1.0349e-11 | -3.8359e-05 | 5.7188 | 5.7603 | -0.1281 | -8.8988e-11 | -1.6358e-10 | 0.085455 | 3.3695 | 3.414 | 90.0767 | 30.3483 | -149.4973 | -89.9447 | -149.7027 | 30.5535 |  | 1.4965 | 0 | 0 | 1.4967 | 0.24005 | 0.24155 | 0.076736 | 0 | 0 | 0.080981 | -119.1966 | 61.208
Line_2 | 0.0073986 | 0.0073986 | 0.0073986 | 0.0049324 | 0.0049324 | 0.0049324 | 0.085432 | 0.085432 | 0.085432 | 0.056954 | 0.056954 | 0.056954 | -0.00083037 | -0.017474 | 0.018304 | 0.0009314 | 0.011852 | -0.011974 | -0.1278 | 0.010258 | -0.01006 | 0.085239 | -0.0068161 | 0.0067743 | 90.5981 | 90.5981 | 90.5981 | -89.293 | -89.293 | -89.293 |  | 1.4959 | 0.23717 | 0.24448 | 1.4967 | 0.24005 | 0.24155 | 0.22582 | -119.8159 | 61.804 | 0.080981 | -119.1966 | 61.208

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073366 | 0.89401 | 0.89858 | 0.0097814 | 0.89554 | 0.89704 | 0.084716 | 10.3231 | 10.3759 | 0.11295 | 10.3408 | 10.3582 | 0.0017728 | 5.5978 | 5.6442 | -0.0019507 | -4.8139 | -4.8238 | 0.12642 | 4.8932 | 5.0365 | -0.16849 | -4.4119 | -4.5696 | -88.9905 | -140.5814 | 39.7852 | 90.9223 | 39.5406 | -140.336 |  | 1.4924 | 0.72022 | 0.72906 | 1.4919 | 0.63146 | 0.64148 | 0.20607 | -99.424 | 81.5287 | 0.25903 | -97.9543 | 83.1138
Line_1 | 0.0073417 | 0.89405 | 0.89854 | 0.0048968 | 0.89252 | 0.90009 | 0.084775 | 10.3236 | 10.3755 | 0.056544 | 10.3059 | 10.3933 | -0.00080242 | -4.0016 | -4.0321 | 0.00049738 | 4.7787 | 4.8596 | -0.12646 | -3.9505 | -4.0833 | 0.084356 | 4.4176 | 4.5644 | 90.6183 | 39.4168 | -140.2131 | -89.4031 | -140.7055 | 39.9077 |  | 1.4917 | 0.54469 | 0.55309 | 1.4919 | 0.63146 | 0.64148 | 0.25477 | -95.9517 | 85.148 | 0.25903 | -97.9543 | 83.1138
Line_2 | 0.0073272 | 0.0073272 | 0.0073272 | 0.0048848 | 0.0048848 | 0.0048848 | 0.084607 | 0.084607 | 0.084607 | 0.056404 | 0.056404 | 0.056404 | -0.0016226 | -0.052437 | 0.05406 | 0.0014533 | 0.035159 | -0.035818 | -0.12614 | 0.00851 | -0.007512 | 0.084137 | -0.0056963 | 0.0051199 | 91.1397 | 91.1397 | 91.1397 | -88.7514 | -88.7514 | -88.7514 |  | 1.4911 | 0.62788 | 0.64509 | 1.4919 | 0.63146 | 0.64148 | 0.40273 | -98.0784 | 83.2287 | 0.25903 | -97.9543 | 83.1138

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0073366 | 0.89401 | 0.89858 | 0.0097814 | 0.89554 | 0.89704 | 0.084716 | 10.3231 | 10.3759 | 0.11295 | 10.3408 | 10.3582 | 0.0017728 | 5.5978 | 5.6442 | -0.0019507 | -4.8139 | -4.8238 | 0.12642 | 4.8932 | 5.0365 | -0.16849 | -4.4119 | -4.5696 | -88.9905 | -140.5814 | 39.7852 | 90.9223 | 39.5406 | -140.336 |  | 1.4924 | 0.72022 | 0.72906 | 1.4919 | 0.63146 | 0.64148 | 0.20607 | -99.424 | 81.5287 | 0.25903 | -97.9543 | 83.1138
Line_1 | 0.0073417 | 0.89405 | 0.89854 | 0.0048968 | 0.89252 | 0.90009 | 0.084775 | 10.3236 | 10.3755 | 0.056544 | 10.3059 | 10.3933 | -0.00080242 | -4.0016 | -4.0321 | 0.00049738 | 4.7787 | 4.8596 | -0.12646 | -3.9505 | -4.0833 | 0.084356 | 4.4176 | 4.5644 | 90.6183 | 39.4168 | -140.2131 | -89.4031 | -140.7055 | 39.9077 |  | 1.4917 | 0.54469 | 0.55309 | 1.4919 | 0.63146 | 0.64148 | 0.25477 | -95.9517 | 85.148 | 0.25903 | -97.9543 | 83.1138
Line_2 | 0.0073272 | 0.0073272 | 0.0073272 | 0.0048848 | 0.0048848 | 0.0048848 | 0.084607 | 0.084607 | 0.084607 | 0.056404 | 0.056404 | 0.056404 | -0.0016226 | -0.052437 | 0.05406 | 0.0014533 | 0.035159 | -0.035818 | -0.12614 | 0.00851 | -0.007512 | 0.084137 | -0.0056963 | 0.0051199 | 91.1397 | 91.1397 | 91.1397 | -88.7514 | -88.7514 | -88.7514 |  | 1.4911 | 0.62788 | 0.64509 | 1.4919 | 0.63146 | 0.64148 | 0.40273 | -98.0784 | 83.2287 | 0.25903 | -97.9543 | 83.1138