## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.3027e-14 | 5.2106e-15 | 1.5632e-14 | -1.0421e-14 | -1.0421e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8357e-13 | -180 | 180 | 7.0636e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.3027e-14 | 1.5632e-14 | 5.2106e-15 | -1.5737e-19 | -3.1264e-14 | -4.1685e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1948e-13 | -180 | 180 | 7.0636e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 3.6475e-14 | -5.2106e-15 | 1.0421e-14 | -4.1685e-14 | -3.6475e-14 | -1.9211e-09 | 1.9211e-09 | 3.6475e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1947e-13 | -180 | 180 | 7.0636e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 1.3027e-14 | 5.2106e-15 | 1.5632e-14 | -1.0421e-14 | -1.0421e-14 | 2.0843e-14 | 5.7634e-09 | -5.7634e-09 | -2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8357e-13 | -180 | 180 | 7.0636e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.3027e-14 | 1.5632e-14 | 5.2106e-15 | -1.5737e-19 | -3.1264e-14 | -4.1685e-14 | -1.9211e-09 | 1.9211e-09 | 5.2106e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1948e-13 | -180 | 180 | 7.0636e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.6055e-15 | 3.6475e-14 | -5.2106e-15 | 1.0421e-14 | -4.1685e-14 | -3.6475e-14 | -1.9211e-09 | 1.9211e-09 | 3.6475e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1947e-13 | -180 | 180 | 7.0636e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3078e-10 | -2.0393e-09 | 1.5632e-14 | 7.3079e-10 | 2.0393e-09 | 2.6053e-14 | 5.8225e-09 | -3.5561e-09 | -2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.37e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.4361e-10 | 6.7977e-10 | 1.5632e-14 | -2.436e-10 | -6.7978e-10 | -2.6053e-14 | -1.9408e-09 | 1.1854e-09 | 2.6053e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.6652e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1221e-28 | 2.436e-10 | 6.7978e-10 | -5.2106e-15 | -2.436e-10 | -6.7978e-10 | -3.1264e-14 | -1.9408e-09 | 1.1854e-09 | 3.1264e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7218e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -7.3078e-10 | -2.0393e-09 | 1.5632e-14 | 7.3079e-10 | 2.0393e-09 | 2.6053e-14 | 5.8225e-09 | -3.5561e-09 | -2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.37e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.4361e-10 | 6.7977e-10 | 1.5632e-14 | -2.436e-10 | -6.7978e-10 | -2.6053e-14 | -1.9408e-09 | 1.1854e-09 | 2.6053e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.6652e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1221e-28 | 2.436e-10 | 6.7978e-10 | -5.2106e-15 | -2.436e-10 | -6.7978e-10 | -3.1264e-14 | -1.9408e-09 | 1.1854e-09 | 3.1264e-14 | 1.9408e-09 | -1.1854e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 5.7218e-13 | -164.9034 | 158.1097 | 5.5454e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -5.9213e-15 | -7.1055e-15 | 4.737e-15 | 7.1062e-15 | 9.4747e-15 | -1.1743e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1018e-13 | -180 | 180 | 7.1686e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1839e-15 | 2.3688e-15 | 4.737e-15 | 2.3682e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0639e-13 | -180 | 180 | 7.1686e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 8.29e-15 | 7.1058e-15 | -1.6579e-14 | -7.1057e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -2.0743e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1331e-13 | -180 | 180 | 7.1686e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -5.9213e-15 | -7.1055e-15 | 4.737e-15 | 7.1062e-15 | 9.4747e-15 | -1.1743e-28 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1018e-13 | -180 | 180 | 7.1686e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -1.1839e-15 | 2.3688e-15 | 4.737e-15 | 2.3682e-15 | 4.7367e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0639e-13 | -180 | 180 | 7.1686e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | 8.29e-15 | 7.1058e-15 | -1.6579e-14 | -7.1057e-15 | -2.6081e-19 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | -2.0743e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1331e-13 | -180 | 180 | 7.1686e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.5596e-10 | -1.5515e-09 | -2.3685e-15 | 5.5597e-10 | 1.5515e-09 | 4.737e-15 | 4.8331e-09 | -3.1089e-09 | -4.737e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.891e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8866e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -7.1054e-15 | -1.8533e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8866e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -5.5596e-10 | -1.5515e-09 | -2.3685e-15 | 5.5597e-10 | 1.5515e-09 | 4.737e-15 | 4.8331e-09 | -3.1089e-09 | -4.737e-15 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.891e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | 1.8532e-10 | 5.1715e-10 | 2.3685e-15 | -1.8532e-10 | -5.1715e-10 | -4.737e-15 | -1.6111e-09 | 1.0363e-09 | 4.737e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8866e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.8533e-10 | 5.1715e-10 | -7.1054e-15 | -1.8533e-10 | -5.1715e-10 | 2.3685e-15 | -1.6111e-09 | 1.0363e-09 | -2.3685e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.8866e-13 | -166.2936 | 160.6236 | 5.9793e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3611e-10 | -7.3833e-10 | 2.9489e-09 | 7.3609e-10 | 7.3833e-10 | -2.6189e-12 | -3.8545e-09 | 3.8531e-09 | 2.6293e-12 | 3.8545e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4537e-10 | 2.4613e-10 | -9.8295e-10 | -2.4537e-10 | -2.4612e-10 | 8.8333e-13 | 1.2848e-09 | -1.2844e-09 | -8.7988e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4536e-10 | 2.4611e-10 | -9.8296e-10 | -2.4536e-10 | -2.461e-10 | 8.7642e-13 | 1.2848e-09 | -1.2844e-09 | -8.7297e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3611e-10 | -7.3833e-10 | 2.9489e-09 | 7.3609e-10 | 7.3833e-10 | -2.6189e-12 | -3.8545e-09 | 3.8531e-09 | 2.6293e-12 | 3.8545e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4537e-10 | 2.4613e-10 | -9.8295e-10 | -2.4537e-10 | -2.4612e-10 | 8.8333e-13 | 1.2848e-09 | -1.2844e-09 | -8.7988e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4536e-10 | 2.4611e-10 | -9.8296e-10 | -2.4536e-10 | -2.461e-10 | 8.7642e-13 | 1.2848e-09 | -1.2844e-09 | -8.7297e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6862e-10 | 3.1392e-09 | 1.401e-09 | 1.6863e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6698e-10 | 5.6226e-11 | -1.0464e-09 | -4.6699e-10 | -5.6222e-11 | -4.7432e-10 | 7.4191e-10 | -9.7907e-10 | 4.7432e-10 | -7.4191e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6698e-10 | 5.6196e-11 | -1.0464e-09 | -4.6699e-10 | -5.6192e-11 | -4.7433e-10 | 7.4191e-10 | -9.7906e-10 | 4.7433e-10 | -7.4191e-10 | 9.7906e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6862e-10 | 3.1392e-09 | 1.401e-09 | 1.6863e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6698e-10 | 5.6226e-11 | -1.0464e-09 | -4.6699e-10 | -5.6222e-11 | -4.7432e-10 | 7.4191e-10 | -9.7907e-10 | 4.7432e-10 | -7.4191e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6698e-10 | 5.6196e-11 | -1.0464e-09 | -4.6699e-10 | -5.6192e-11 | -4.7433e-10 | 7.4191e-10 | -9.7906e-10 | 4.7433e-10 | -7.4191e-10 | 9.7906e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0792e-10 | -6.1009e-10 | 2.4361e-09 | 6.0792e-10 | 6.1009e-10 | -2.4811e-12 | -3.1869e-09 | 3.1856e-09 | 2.4811e-12 | 3.1869e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0264e-10 | 2.0336e-10 | -8.1203e-10 | -2.0264e-10 | -2.0336e-10 | 8.2755e-13 | 1.0623e-09 | -1.0619e-09 | -8.2755e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0265e-10 | 2.0337e-10 | -8.1202e-10 | -2.0265e-10 | -2.0336e-10 | 8.2754e-13 | 1.0623e-09 | -1.0619e-09 | -8.2755e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0792e-10 | -6.1009e-10 | 2.4361e-09 | 6.0792e-10 | 6.1009e-10 | -2.4811e-12 | -3.1869e-09 | 3.1856e-09 | 2.4811e-12 | 3.1869e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0264e-10 | 2.0336e-10 | -8.1203e-10 | -2.0264e-10 | -2.0336e-10 | 8.2755e-13 | 1.0623e-09 | -1.0619e-09 | -8.2755e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0265e-10 | 2.0337e-10 | -8.1202e-10 | -2.0265e-10 | -2.0336e-10 | 8.2754e-13 | 1.0623e-09 | -1.0619e-09 | -8.2755e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7034e-10 | 2.6247e-09 | 1.142e-09 | 1.7034e-10 | 1.122e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8066e-10 | 5.6781e-11 | -8.7489e-10 | -3.8066e-10 | -5.6783e-11 | -3.7399e-10 | 6.5043e-10 | -8.3742e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8067e-10 | 5.6778e-11 | -8.7489e-10 | -3.8067e-10 | -5.6779e-11 | -3.7399e-10 | 6.5043e-10 | -8.3741e-10 | 3.7398e-10 | -6.5044e-10 | 8.3741e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7034e-10 | 2.6247e-09 | 1.142e-09 | 1.7034e-10 | 1.122e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8066e-10 | 5.6781e-11 | -8.7489e-10 | -3.8066e-10 | -5.6783e-11 | -3.7399e-10 | 6.5043e-10 | -8.3742e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8067e-10 | 5.6778e-11 | -8.7489e-10 | -3.8067e-10 | -5.6779e-11 | -3.7399e-10 | 6.5043e-10 | -8.3741e-10 | 3.7398e-10 | -6.5044e-10 | 8.3741e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4281e-10 | -7.405e-10 | 2.9666e-09 | 7.4282e-10 | 7.405e-10 | -2.6266e-12 | 3.8301e-09 | -3.8314e-09 | 2.6266e-12 | -3.8301e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8885e-10 | 2.476e-10 | 2.4683e-10 | -9.8886e-10 | -2.476e-10 | -2.4684e-10 | 8.7551e-13 | -1.2767e-09 | 1.2771e-09 | -8.7552e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8885e-10 | 2.476e-10 | 2.4685e-10 | -9.8886e-10 | -2.4759e-10 | -2.4685e-10 | 8.6859e-13 | -1.2767e-09 | 1.2771e-09 | -8.6859e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4281e-10 | -7.405e-10 | 2.9666e-09 | 7.4282e-10 | 7.405e-10 | -2.6266e-12 | 3.8301e-09 | -3.8314e-09 | 2.6266e-12 | -3.8301e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8885e-10 | 2.476e-10 | 2.4683e-10 | -9.8886e-10 | -2.476e-10 | -2.4684e-10 | 8.7551e-13 | -1.2767e-09 | 1.2771e-09 | -8.7552e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8885e-10 | 2.476e-10 | 2.4685e-10 | -9.8886e-10 | -2.4759e-10 | -2.4685e-10 | 8.6859e-13 | -1.2767e-09 | 1.2771e-09 | -8.6859e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.1331e-09 | 2.2782e-09 | 1.9066e-09 | 3.1331e-09 | 7.1379e-10 | 4.3453e-09 | -7.9707e-10 | -7.138e-10 | -4.3453e-09 | 7.9707e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5939e-10 | 6.3556e-10 | 1.0444e-09 | -7.594e-10 | -6.3555e-10 | -1.0444e-09 | -2.3795e-10 | -1.4484e-09 | 2.6568e-10 | 2.3795e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5939e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3554e-10 | -1.0444e-09 | -2.3794e-10 | -1.4484e-09 | 2.6568e-10 | 2.3794e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.1331e-09 | 2.2782e-09 | 1.9066e-09 | 3.1331e-09 | 7.1379e-10 | 4.3453e-09 | -7.9707e-10 | -7.138e-10 | -4.3453e-09 | 7.9707e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5939e-10 | 6.3556e-10 | 1.0444e-09 | -7.594e-10 | -6.3555e-10 | -1.0444e-09 | -2.3795e-10 | -1.4484e-09 | 2.6568e-10 | 2.3795e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5939e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3554e-10 | -1.0444e-09 | -2.3794e-10 | -1.4484e-09 | 2.6568e-10 | 2.3794e-10 | 1.4484e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4956e-12 | 3.164e-09 | -3.1652e-09 | 2.4956e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1758e-10 | 2.0475e-10 | 2.0403e-10 | -8.1758e-10 | -2.0475e-10 | -2.0403e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.2661e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0475e-10 | 2.0403e-10 | -8.1758e-10 | -2.0476e-10 | -2.0403e-10 | 8.4864e-13 | -1.0547e-09 | 1.0551e-09 | -8.4864e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4956e-12 | 3.164e-09 | -3.1652e-09 | 2.4956e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1758e-10 | 2.0475e-10 | 2.0403e-10 | -8.1758e-10 | -2.0475e-10 | -2.0403e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.2661e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0475e-10 | 2.0403e-10 | -8.1758e-10 | -2.0476e-10 | -2.0403e-10 | 8.4864e-13 | -1.0547e-09 | 1.0551e-09 | -8.4864e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2293e-10 | -5.6308e-10 | -3.6195e-09 | 8.2293e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4925e-10 | 5.1359e-10 | 8.3567e-10 | -6.4925e-10 | -5.1358e-10 | -8.3567e-10 | -1.877e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1359e-10 | 8.3567e-10 | -6.4923e-10 | -5.136e-10 | -8.3568e-10 | -1.8767e-10 | -1.2065e-09 | 2.7433e-10 | 1.8767e-10 | 1.2065e-09 | -2.7433e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2293e-10 | -5.6308e-10 | -3.6195e-09 | 8.2293e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4925e-10 | 5.1359e-10 | 8.3567e-10 | -6.4925e-10 | -5.1358e-10 | -8.3567e-10 | -1.877e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1359e-10 | 8.3567e-10 | -6.4923e-10 | -5.136e-10 | -8.3568e-10 | -1.8767e-10 | -1.2065e-09 | 2.7433e-10 | 1.8767e-10 | 1.2065e-09 | -2.7433e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837