## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 1.8237e-14 | -1.5632e-14 | 2.0843e-14 | 4.2689e-19 | 1.5632e-14 | 3.1264e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.062e-13 | 180 | -180 | 7.2823e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 1.5632e-14 | -1.5632e-14 | -1.423e-19 | -1.5632e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4176e-13 | -180 | 180 | 7.2823e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 1.5632e-14 | -1.5632e-14 | -1.423e-19 | -1.5632e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4176e-13 | -180 | 180 | 7.2823e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 1.8237e-14 | -1.5632e-14 | 2.0843e-14 | 4.2689e-19 | 1.5632e-14 | 3.1264e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.062e-13 | 180 | -180 | 7.2823e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 1.5632e-14 | -1.5632e-14 | -1.423e-19 | -1.5632e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4176e-13 | -180 | 180 | 7.2823e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 7.8162e-15 | 1.5632e-14 | -1.5632e-14 | -1.423e-19 | -1.5632e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4176e-13 | -180 | 180 | 7.2823e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -9.5549e-10 | -3.075e-09 | 1.3027e-15 | 9.555e-10 | 3.075e-09 | 5.2106e-15 | 4.0277e-09 | -3.5665e-10 | -5.2106e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.4943e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1851e-10 | 1.025e-09 | -1.0421e-14 | -3.1851e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1888e-10 | 1.0421e-14 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6352e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1851e-10 | 1.025e-09 | -1.0421e-14 | -3.1851e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1888e-10 | 1.0421e-14 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6352e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -9.5549e-10 | -3.075e-09 | 1.3027e-15 | 9.555e-10 | 3.075e-09 | 5.2106e-15 | 4.0277e-09 | -3.5665e-10 | -5.2106e-15 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.4943e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1851e-10 | 1.025e-09 | -1.0421e-14 | -3.1851e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1888e-10 | 1.0421e-14 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6352e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.816e-15 | 3.1851e-10 | 1.025e-09 | -1.0421e-14 | -3.1851e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1888e-10 | 1.0421e-14 | 1.3426e-09 | -1.1888e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6352e-13 | -140.8543 | 122.4159 | 2.5713e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.6579e-14 | -4.737e-15 | 2.3685e-15 | 1.658e-14 | 9.4746e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5216e-13 | -180 | 180 | 7.7786e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | 3.0472e-19 | 9.4739e-15 | 2.3682e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5613e-13 | -180 | 180 | 7.7786e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | 3.0472e-19 | 9.4739e-15 | 2.3682e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5613e-13 | -180 | 180 | 7.7786e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -1.6579e-14 | -4.737e-15 | 2.3685e-15 | 1.658e-14 | 9.4746e-15 | 4.737e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5216e-13 | -180 | 180 | 7.7786e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | 3.0472e-19 | 9.4739e-15 | 2.3682e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5613e-13 | -180 | 180 | 7.7786e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -2.3682e-15 | 3.0472e-19 | 9.4739e-15 | 2.3682e-15 | -2.2922e-19 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | -9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.5613e-13 | -180 | 180 | 7.7786e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0025e-10 | 2.5674e-09 | -4.6825e-30 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6676e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.5579e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1039e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6676e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.5579e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1039e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -8.0025e-10 | -2.5674e-09 | -5.9212e-16 | 8.0025e-10 | 2.5674e-09 | -4.6825e-30 | 3.4014e-09 | -3.4065e-10 | -2.3685e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0206e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6676e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.5579e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1039e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.033e-15 | 2.6676e-10 | 8.558e-10 | 3.5527e-15 | -2.6676e-10 | -8.5579e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1354e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.1039e-13 | -141.4824 | 122.8363 | 3.1554e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0187 | 1.0187 | 1.0187 | 1.0204 | 1.0204 | 1.0204 | 11.7626 | 11.7626 | 11.7626 | 11.7826 | 11.7826 | 11.7826 | 3.927e-11 | 4.2163 | 20.9442 | 3.8432 | -0.34083 | -17.1369 | -6.6265e-11 | 14.7573 | -0.15636 | 1.5331 | -13.2605 | 1.6338 | 131.7185 | 131.7185 | 131.7185 | -48.4343 | -48.4343 | -48.4343 |  | 0 | 1.3048 | 1.7806 | 0.35117 | 1.1258 | 1.461 | 0 | -154.2267 | 131.2907 | -26.6863 | -139.9067 | 126.1196
Line_1 | 0.51146 | 0.51146 | 0.51146 | 0.5102 | 0.5102 | 0.5102 | 5.9058 | 5.9058 | 5.9058 | 5.8913 | 5.8913 | 5.8913 | 2.8892 | 0.81383 | -7.6268 | -1.9216 | 0.17042 | 8.5685 | 1.1593 | -6.2619 | 1.1788 | -0.76656 | 6.6302 | -0.8169 | -48.6029 | -48.6029 | -48.6029 | 131.5657 | 131.5657 | 131.5657 |  | 0.52712 | 1.0692 | 1.3067 | 0.35117 | 1.1258 | 1.461 | -26.74 | -131.1979 | 122.611 | -26.6863 | -139.9067 | 126.1196
Line_2 | 0.51146 | 0.51146 | 0.51146 | 0.5102 | 0.5102 | 0.5102 | 5.9058 | 5.9058 | 5.9058 | 5.8913 | 5.8913 | 5.8913 | 2.8892 | 0.81383 | -7.6268 | -1.9216 | 0.17042 | 8.5685 | 1.1593 | -6.2619 | 1.1788 | -0.76656 | 6.6302 | -0.8169 | -48.6029 | -48.6029 | -48.6029 | 131.5657 | 131.5657 | 131.5657 |  | 0.52712 | 1.0692 | 1.3067 | 0.35117 | 1.1258 | 1.461 | -26.74 | -131.1979 | 122.611 | -26.6863 | -139.9067 | 126.1196

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0187 | 1.0187 | 1.0187 | 1.0204 | 1.0204 | 1.0204 | 11.7626 | 11.7626 | 11.7626 | 11.7826 | 11.7826 | 11.7826 | 3.927e-11 | 4.2163 | 20.9442 | 3.8432 | -0.34083 | -17.1369 | -6.6265e-11 | 14.7573 | -0.15636 | 1.5331 | -13.2605 | 1.6338 | 131.7185 | 131.7185 | 131.7185 | -48.4343 | -48.4343 | -48.4343 |  | 0 | 1.3048 | 1.7806 | 0.35117 | 1.1258 | 1.461 | 0 | -154.2267 | 131.2907 | -26.6863 | -139.9067 | 126.1196
Line_1 | 0.51146 | 0.51146 | 0.51146 | 0.5102 | 0.5102 | 0.5102 | 5.9058 | 5.9058 | 5.9058 | 5.8913 | 5.8913 | 5.8913 | 2.8892 | 0.81383 | -7.6268 | -1.9216 | 0.17042 | 8.5685 | 1.1593 | -6.2619 | 1.1788 | -0.76656 | 6.6302 | -0.8169 | -48.6029 | -48.6029 | -48.6029 | 131.5657 | 131.5657 | 131.5657 |  | 0.52712 | 1.0692 | 1.3067 | 0.35117 | 1.1258 | 1.461 | -26.74 | -131.1979 | 122.611 | -26.6863 | -139.9067 | 126.1196
Line_2 | 0.51146 | 0.51146 | 0.51146 | 0.5102 | 0.5102 | 0.5102 | 5.9058 | 5.9058 | 5.9058 | 5.8913 | 5.8913 | 5.8913 | 2.8892 | 0.81383 | -7.6268 | -1.9216 | 0.17042 | 8.5685 | 1.1593 | -6.2619 | 1.1788 | -0.76656 | 6.6302 | -0.8169 | -48.6029 | -48.6029 | -48.6029 | 131.5657 | 131.5657 | 131.5657 |  | 0.52712 | 1.0692 | 1.3067 | 0.35117 | 1.1258 | 1.461 | -26.74 | -131.1979 | 122.611 | -26.6863 | -139.9067 | 126.1196

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37725 | 0.37725 | 0.37725 | 0.37789 | 0.37789 | 0.37789 | 4.3561 | 4.3561 | 4.3561 | 4.3635 | 4.3635 | 4.3635 | -2.1348 | -0.20312 | 5.7886 | 2.6598 | 0.74375 | -5.2735 | -2.1348 | 4.9401 | -0.80282 | 2.3543 | -4.7376 | 0.99899 | 133.7853 | 133.7853 | 133.7853 | -46.3675 | -46.3675 | -46.3675 |  | 0.69305 | 1.135 | 1.3416 | 0.81404 | 1.099 | 1.23 | -1.2147 | -133.8603 | 125.8893 | -4.8532 | -127.4457 | 122.9057
Line_1 | 0.18941 | 0.18941 | 0.18941 | 0.18895 | 0.18895 | 0.18895 | 2.1871 | 2.1871 | 2.1871 | 2.1818 | 2.1818 | 2.1818 | 1.462 | 0.51214 | -2.5123 | -1.3299 | -0.37187 | 2.6367 | 1.2368 | -2.3207 | 0.54577 | -1.1772 | 2.3688 | -0.49949 | -46.536 | -46.536 | -46.536 | 133.6325 | 133.6325 | 133.6325 |  | 0.87558 | 1.0866 | 1.1755 | 0.81404 | 1.099 | 1.23 | -6.3066 | -124.0915 | 121.2077 | -4.8532 | -127.4457 | 122.9057
Line_2 | 0.18941 | 0.18941 | 0.18941 | 0.18895 | 0.18895 | 0.18895 | 2.1871 | 2.1871 | 2.1871 | 2.1818 | 2.1818 | 2.1818 | 1.462 | 0.51214 | -2.5123 | -1.3299 | -0.37187 | 2.6367 | 1.2368 | -2.3207 | 0.54577 | -1.1772 | 2.3688 | -0.49949 | -46.536 | -46.536 | -46.536 | 133.6325 | 133.6325 | 133.6325 |  | 0.87558 | 1.0866 | 1.1755 | 0.81404 | 1.099 | 1.23 | -6.3066 | -124.0915 | 121.2077 | -4.8532 | -127.4457 | 122.9057

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37725 | 0.37725 | 0.37725 | 0.37789 | 0.37789 | 0.37789 | 4.3561 | 4.3561 | 4.3561 | 4.3635 | 4.3635 | 4.3635 | -2.1348 | -0.20312 | 5.7886 | 2.6598 | 0.74375 | -5.2735 | -2.1348 | 4.9401 | -0.80282 | 2.3543 | -4.7376 | 0.99899 | 133.7853 | 133.7853 | 133.7853 | -46.3675 | -46.3675 | -46.3675 |  | 0.69305 | 1.135 | 1.3416 | 0.81404 | 1.099 | 1.23 | -1.2147 | -133.8603 | 125.8893 | -4.8532 | -127.4457 | 122.9057
Line_1 | 0.18941 | 0.18941 | 0.18941 | 0.18895 | 0.18895 | 0.18895 | 2.1871 | 2.1871 | 2.1871 | 2.1818 | 2.1818 | 2.1818 | 1.462 | 0.51214 | -2.5123 | -1.3299 | -0.37187 | 2.6367 | 1.2368 | -2.3207 | 0.54577 | -1.1772 | 2.3688 | -0.49949 | -46.536 | -46.536 | -46.536 | 133.6325 | 133.6325 | 133.6325 |  | 0.87558 | 1.0866 | 1.1755 | 0.81404 | 1.099 | 1.23 | -6.3066 | -124.0915 | 121.2077 | -4.8532 | -127.4457 | 122.9057
Line_2 | 0.18941 | 0.18941 | 0.18941 | 0.18895 | 0.18895 | 0.18895 | 2.1871 | 2.1871 | 2.1871 | 2.1818 | 2.1818 | 2.1818 | 1.462 | 0.51214 | -2.5123 | -1.3299 | -0.37187 | 2.6367 | 1.2368 | -2.3207 | 0.54577 | -1.1772 | 2.3688 | -0.49949 | -46.536 | -46.536 | -46.536 | 133.6325 | 133.6325 | 133.6325 |  | 0.87558 | 1.0866 | 1.1755 | 0.81404 | 1.099 | 1.23 | -6.3066 | -124.0915 | 121.2077 | -4.8532 | -127.4457 | 122.9057

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70225 | 0.70225 | 0.70225 | 0.70343 | 0.70343 | 0.70343 | 8.1088 | 8.1088 | 8.1088 | 8.1226 | 8.1226 | 8.1226 | -1.6114e-11 | 5.711 | 13.8155 | 3.5071 | -2.1756 | -10.3412 | 3.3729e-12 | 9.1791 | -2.2916 | 0.73145 | -8.4867 | 2.9698 | 144.7574 | 144.7574 | 144.7574 | -35.4791 | -35.4791 | -35.4791 |  | 0 | 1.3332 | 1.727 | 0.44106 | 1.0786 | 1.3246 | 0 | -157.1315 | 135.3394 | -23.6982 | -139.8575 | 128.4978
Line_1 | 0.35258 | 0.35258 | 0.35258 | 0.35172 | 0.35172 | 0.35172 | 4.0713 | 4.0713 | 4.0713 | 4.0613 | 4.0613 | 4.0613 | 2.6373 | -0.19407 | -4.3079 | -1.7535 | 1.0878 | 5.1706 | 0.55657 | -4.0743 | 1.653 | -0.36572 | 4.2434 | -1.4849 | -35.6894 | -35.6894 | -35.6894 | 144.5209 | 144.5209 | 144.5209 |  | 0.66205 | 1.0019 | 1.1334 | 0.44106 | 1.0786 | 1.3246 | -23.7727 | -128.4165 | 123.3182 | -23.6982 | -139.8575 | 128.4978
Line_2 | 0.35258 | 0.35258 | 0.35258 | 0.35172 | 0.35172 | 0.35172 | 4.0713 | 4.0713 | 4.0713 | 4.0613 | 4.0613 | 4.0613 | 2.6373 | -0.19407 | -4.3079 | -1.7535 | 1.0878 | 5.1706 | 0.55657 | -4.0743 | 1.653 | -0.36572 | 4.2434 | -1.4849 | -35.6894 | -35.6894 | -35.6894 | 144.5209 | 144.5209 | 144.5209 |  | 0.66205 | 1.0019 | 1.1334 | 0.44106 | 1.0786 | 1.3246 | -23.7727 | -128.4165 | 123.3182 | -23.6982 | -139.8575 | 128.4978

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70225 | 0.70225 | 0.70225 | 0.70343 | 0.70343 | 0.70343 | 8.1088 | 8.1088 | 8.1088 | 8.1226 | 8.1226 | 8.1226 | -1.6114e-11 | 5.711 | 13.8155 | 3.5071 | -2.1756 | -10.3412 | 3.3729e-12 | 9.1791 | -2.2916 | 0.73145 | -8.4867 | 2.9698 | 144.7574 | 144.7574 | 144.7574 | -35.4791 | -35.4791 | -35.4791 |  | 0 | 1.3332 | 1.727 | 0.44106 | 1.0786 | 1.3246 | 0 | -157.1315 | 135.3394 | -23.6982 | -139.8575 | 128.4978
Line_1 | 0.35258 | 0.35258 | 0.35258 | 0.35172 | 0.35172 | 0.35172 | 4.0713 | 4.0713 | 4.0713 | 4.0613 | 4.0613 | 4.0613 | 2.6373 | -0.19407 | -4.3079 | -1.7535 | 1.0878 | 5.1706 | 0.55657 | -4.0743 | 1.653 | -0.36572 | 4.2434 | -1.4849 | -35.6894 | -35.6894 | -35.6894 | 144.5209 | 144.5209 | 144.5209 |  | 0.66205 | 1.0019 | 1.1334 | 0.44106 | 1.0786 | 1.3246 | -23.7727 | -128.4165 | 123.3182 | -23.6982 | -139.8575 | 128.4978
Line_2 | 0.35258 | 0.35258 | 0.35258 | 0.35172 | 0.35172 | 0.35172 | 4.0713 | 4.0713 | 4.0713 | 4.0613 | 4.0613 | 4.0613 | 2.6373 | -0.19407 | -4.3079 | -1.7535 | 1.0878 | 5.1706 | 0.55657 | -4.0743 | 1.653 | -0.36572 | 4.2434 | -1.4849 | -35.6894 | -35.6894 | -35.6894 | 144.5209 | 144.5209 | 144.5209 |  | 0.66205 | 1.0019 | 1.1334 | 0.44106 | 1.0786 | 1.3246 | -23.7727 | -128.4165 | 123.3182 | -23.6982 | -139.8575 | 128.4978

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30774 | 0.30774 | 0.30774 | 0.30826 | 0.30826 | 0.30826 | 3.5535 | 3.5535 | 3.5535 | 3.5595 | 3.5595 | 3.5595 | -1.4206 | 0.57678 | 4.5936 | 2.0906 | 0.11106 | -3.9319 | -1.4206 | 3.7033 | -0.96004 | 1.5693 | -3.5714 | 1.0831 | 139.2592 | 139.2592 | 139.2592 | -40.9773 | -40.9773 | -40.9773 |  | 0.56535 | 1.0547 | 1.3206 | 0.73438 | 1.0038 | 1.1458 | 4.2592 | -139.5935 | 127.4547 | -4.0835 | -129.1962 | 123.6211
Line_1 | 0.15451 | 0.15451 | 0.15451 | 0.15413 | 0.15413 | 0.15413 | 1.7841 | 1.7841 | 1.7841 | 1.7797 | 1.7797 | 1.7797 | 1.2141 | 0.23138 | -1.8036 | -1.0453 | -0.055528 | 1.9659 | 0.82566 | -1.7546 | 0.5709 | -0.78465 | 1.7857 | -0.54157 | -41.1876 | -41.1876 | -41.1876 | 139.0227 | 139.0227 | 139.0227 |  | 0.82296 | 0.99199 | 1.0603 | 0.73438 | 1.0038 | 1.1458 | -6.97 | -123.6755 | 121.2481 | -4.0835 | -129.1962 | 123.6211
Line_2 | 0.15451 | 0.15451 | 0.15451 | 0.15413 | 0.15413 | 0.15413 | 1.7841 | 1.7841 | 1.7841 | 1.7797 | 1.7797 | 1.7797 | 1.2141 | 0.23138 | -1.8036 | -1.0453 | -0.055528 | 1.9659 | 0.82566 | -1.7546 | 0.5709 | -0.78465 | 1.7857 | -0.54157 | -41.1876 | -41.1876 | -41.1876 | 139.0227 | 139.0227 | 139.0227 |  | 0.82296 | 0.99199 | 1.0603 | 0.73438 | 1.0038 | 1.1458 | -6.97 | -123.6755 | 121.2481 | -4.0835 | -129.1962 | 123.6211

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30774 | 0.30774 | 0.30774 | 0.30826 | 0.30826 | 0.30826 | 3.5535 | 3.5535 | 3.5535 | 3.5595 | 3.5595 | 3.5595 | -1.4206 | 0.57678 | 4.5936 | 2.0906 | 0.11106 | -3.9319 | -1.4206 | 3.7033 | -0.96004 | 1.5693 | -3.5714 | 1.0831 | 139.2592 | 139.2592 | 139.2592 | -40.9773 | -40.9773 | -40.9773 |  | 0.56535 | 1.0547 | 1.3206 | 0.73438 | 1.0038 | 1.1458 | 4.2592 | -139.5935 | 127.4547 | -4.0835 | -129.1962 | 123.6211
Line_1 | 0.15451 | 0.15451 | 0.15451 | 0.15413 | 0.15413 | 0.15413 | 1.7841 | 1.7841 | 1.7841 | 1.7797 | 1.7797 | 1.7797 | 1.2141 | 0.23138 | -1.8036 | -1.0453 | -0.055528 | 1.9659 | 0.82566 | -1.7546 | 0.5709 | -0.78465 | 1.7857 | -0.54157 | -41.1876 | -41.1876 | -41.1876 | 139.0227 | 139.0227 | 139.0227 |  | 0.82296 | 0.99199 | 1.0603 | 0.73438 | 1.0038 | 1.1458 | -6.97 | -123.6755 | 121.2481 | -4.0835 | -129.1962 | 123.6211
Line_2 | 0.15451 | 0.15451 | 0.15451 | 0.15413 | 0.15413 | 0.15413 | 1.7841 | 1.7841 | 1.7841 | 1.7797 | 1.7797 | 1.7797 | 1.2141 | 0.23138 | -1.8036 | -1.0453 | -0.055528 | 1.9659 | 0.82566 | -1.7546 | 0.5709 | -0.78465 | 1.7857 | -0.54157 | -41.1876 | -41.1876 | -41.1876 | 139.0227 | 139.0227 | 139.0227 |  | 0.82296 | 0.99199 | 1.0603 | 0.73438 | 1.0038 | 1.1458 | -6.97 | -123.6755 | 121.2481 | -4.0835 | -129.1962 | 123.6211

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63396 | 0.63396 | 0.63396 | 0.63504 | 0.63504 | 0.63504 | 7.3204 | 7.3204 | 7.3204 | 7.3328 | 7.3328 | 7.3328 | 9.745 | 1.465e-11 | -8.269e-12 | -8.2579 | 1.4885 | 1.4885 | 5.6552 | -8.6921e-13 | -1.2183e-11 | -5.097 | 0.5938 | 0.5938 | -35.691 | -35.691 | -35.691 | 144.1562 | 144.1562 | 144.1562 |  | 1.5391 | 0 | 0 | 1.3234 | 0.21855 | 0.21855 | -5.5639 | 0 | 0 | -4.1599 | 165.9042 | 165.9042
Line_1 | 0.3183 | 0.3183 | 0.3183 | 0.31752 | 0.31752 | 0.31752 | 3.6754 | 3.6754 | 3.6754 | 3.6664 | 3.6664 | 3.6664 | -3.7578 | 1.119 | 1.119 | 4.129 | -0.74426 | -0.74426 | -2.4178 | 0.449 | 0.449 | 2.5485 | -0.2969 | -0.2969 | 143.9877 | 143.9877 | 143.9877 | -35.8438 | -35.8438 | -35.8438 |  | 1.2157 | 0.32805 | 0.32805 | 1.3234 | 0.21855 | 0.21855 | -3.2552 | 165.8506 | 165.8506 | -4.1599 | 165.9042 | 165.9042
Line_2 | 0.3183 | 0.3183 | 0.3183 | 0.31752 | 0.31752 | 0.31752 | 3.6754 | 3.6754 | 3.6754 | 3.6664 | 3.6664 | 3.6664 | -3.7578 | 1.119 | 1.119 | 4.129 | -0.74426 | -0.74426 | -2.4178 | 0.449 | 0.449 | 2.5485 | -0.2969 | -0.2969 | 143.9877 | 143.9877 | 143.9877 | -35.8438 | -35.8438 | -35.8438 |  | 1.2157 | 0.32805 | 0.32805 | 1.3234 | 0.21855 | 0.21855 | -3.2552 | 165.8506 | 165.8506 | -4.1599 | 165.9042 | 165.9042

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63396 | 0.63396 | 0.63396 | 0.63504 | 0.63504 | 0.63504 | 7.3204 | 7.3204 | 7.3204 | 7.3328 | 7.3328 | 7.3328 | 9.745 | 1.465e-11 | -8.269e-12 | -8.2579 | 1.4885 | 1.4885 | 5.6552 | -8.6921e-13 | -1.2183e-11 | -5.097 | 0.5938 | 0.5938 | -35.691 | -35.691 | -35.691 | 144.1562 | 144.1562 | 144.1562 |  | 1.5391 | 0 | 0 | 1.3234 | 0.21855 | 0.21855 | -5.5639 | 0 | 0 | -4.1599 | 165.9042 | 165.9042
Line_1 | 0.3183 | 0.3183 | 0.3183 | 0.31752 | 0.31752 | 0.31752 | 3.6754 | 3.6754 | 3.6754 | 3.6664 | 3.6664 | 3.6664 | -3.7578 | 1.119 | 1.119 | 4.129 | -0.74426 | -0.74426 | -2.4178 | 0.449 | 0.449 | 2.5485 | -0.2969 | -0.2969 | 143.9877 | 143.9877 | 143.9877 | -35.8438 | -35.8438 | -35.8438 |  | 1.2157 | 0.32805 | 0.32805 | 1.3234 | 0.21855 | 0.21855 | -3.2552 | 165.8506 | 165.8506 | -4.1599 | 165.9042 | 165.9042
Line_2 | 0.3183 | 0.3183 | 0.3183 | 0.31752 | 0.31752 | 0.31752 | 3.6754 | 3.6754 | 3.6754 | 3.6664 | 3.6664 | 3.6664 | -3.7578 | 1.119 | 1.119 | 4.129 | -0.74426 | -0.74426 | -2.4178 | 0.449 | 0.449 | 2.5485 | -0.2969 | -0.2969 | 143.9877 | 143.9877 | 143.9877 | -35.8438 | -35.8438 | -35.8438 |  | 1.2157 | 0.32805 | 0.32805 | 1.3234 | 0.21855 | 0.21855 | -3.2552 | 165.8506 | 165.8506 | -4.1599 | 165.9042 | 165.9042

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30895 | 0.30895 | 0.30895 | 0.30947 | 0.30947 | 0.30947 | 3.5674 | 3.5674 | 3.5674 | 3.5735 | 3.5735 | 3.5735 | 3.7461 | 0.64906 | -2.0808 | -3.3915 | -0.30478 | 2.4421 | 2.7748 | -3.0398 | 1.608 | -2.6485 | 3.1842 | -1.4642 | -40.4787 | -40.4787 | -40.4787 | 139.3685 | 139.3685 | 139.3685 |  | 1.3068 | 0.8713 | 0.73715 | 1.2042 | 0.89514 | 0.79682 | -3.9508 | -118.4257 | 101.8247 | -2.6448 | -125.1641 | 108.4238
Line_1 | 0.15512 | 0.15512 | 0.15512 | 0.15474 | 0.15474 | 0.15474 | 1.7911 | 1.7911 | 1.7911 | 1.7868 | 1.7868 | 1.7868 | -1.6072 | -0.068682 | 1.315 | 1.6958 | 0.15239 | -1.2211 | -1.2971 | 1.631 | -0.69486 | 1.3242 | -1.5921 | 0.73209 | 139.2 | 139.2 | 139.2 | -40.6315 | -40.6315 | -40.6315 |  | 1.1531 | 0.9114 | 0.83036 | 1.2042 | 0.89514 | 0.79682 | -1.8961 | -128.3887 | 111.3476 | -2.6448 | -125.1641 | 108.4238
Line_2 | 0.15512 | 0.15512 | 0.15512 | 0.15474 | 0.15474 | 0.15474 | 1.7911 | 1.7911 | 1.7911 | 1.7868 | 1.7868 | 1.7868 | -1.6072 | -0.068682 | 1.315 | 1.6958 | 0.15239 | -1.2211 | -1.2971 | 1.631 | -0.69486 | 1.3242 | -1.5921 | 0.73209 | 139.2 | 139.2 | 139.2 | -40.6315 | -40.6315 | -40.6315 |  | 1.1531 | 0.9114 | 0.83036 | 1.2042 | 0.89514 | 0.79682 | -1.8961 | -128.3887 | 111.3476 | -2.6448 | -125.1641 | 108.4238

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30895 | 0.30895 | 0.30895 | 0.30947 | 0.30947 | 0.30947 | 3.5674 | 3.5674 | 3.5674 | 3.5735 | 3.5735 | 3.5735 | 3.7461 | 0.64906 | -2.0808 | -3.3915 | -0.30478 | 2.4421 | 2.7748 | -3.0398 | 1.608 | -2.6485 | 3.1842 | -1.4642 | -40.4787 | -40.4787 | -40.4787 | 139.3685 | 139.3685 | 139.3685 |  | 1.3068 | 0.8713 | 0.73715 | 1.2042 | 0.89514 | 0.79682 | -3.9508 | -118.4257 | 101.8247 | -2.6448 | -125.1641 | 108.4238
Line_1 | 0.15512 | 0.15512 | 0.15512 | 0.15474 | 0.15474 | 0.15474 | 1.7911 | 1.7911 | 1.7911 | 1.7868 | 1.7868 | 1.7868 | -1.6072 | -0.068682 | 1.315 | 1.6958 | 0.15239 | -1.2211 | -1.2971 | 1.631 | -0.69486 | 1.3242 | -1.5921 | 0.73209 | 139.2 | 139.2 | 139.2 | -40.6315 | -40.6315 | -40.6315 |  | 1.1531 | 0.9114 | 0.83036 | 1.2042 | 0.89514 | 0.79682 | -1.8961 | -128.3887 | 111.3476 | -2.6448 | -125.1641 | 108.4238
Line_2 | 0.15512 | 0.15512 | 0.15512 | 0.15474 | 0.15474 | 0.15474 | 1.7911 | 1.7911 | 1.7911 | 1.7868 | 1.7868 | 1.7868 | -1.6072 | -0.068682 | 1.315 | 1.6958 | 0.15239 | -1.2211 | -1.2971 | 1.631 | -0.69486 | 1.3242 | -1.5921 | 0.73209 | 139.2 | 139.2 | 139.2 | -40.6315 | -40.6315 | -40.6315 |  | 1.1531 | 0.9114 | 0.83036 | 1.2042 | 0.89514 | 0.79682 | -1.8961 | -128.3887 | 111.3476 | -2.6448 | -125.1641 | 108.4238

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39831 | 0.39831 | 0.39831 | 0.39898 | 0.39898 | 0.39898 | 4.5992 | 4.5992 | 4.5992 | 4.607 | 4.607 | 4.607 | 6.2817 | -1.618e-12 | -3.8583e-12 | -5.1549 | 1.1282 | 1.1282 | 2.2157 | -5.3231e-12 | 4.0934e-12 | -2.0101 | 0.23531 | 0.23531 | -23.8613 | -23.8613 | -23.8613 | 155.9021 | 155.9021 | 155.9021 |  | 1.4483 | 0 | 0 | 1.201 | 0.25016 | 0.25016 | -4.4323 | 0 | 0 | -2.7949 | 167.6831 | 167.6831
Line_1 | 0.19998 | 0.19998 | 0.19998 | 0.19949 | 0.19949 | 0.19949 | 2.3092 | 2.3092 | 2.3092 | 2.3035 | 2.3035 | 2.3035 | -2.2967 | 0.84842 | 0.84842 | 2.5775 | -0.56412 | -0.56412 | -0.95798 | 0.17905 | 0.17905 | 1.0051 | -0.11765 | -0.11765 | 155.6918 | 155.6918 | 155.6918 | -24.0979 | -24.0979 | -24.0979 |  | 1.0777 | 0.37551 | 0.37551 | 1.201 | 0.25016 | 0.25016 | -1.6668 | 167.6085 | 167.6085 | -2.7949 | 167.6831 | 167.6831
Line_2 | 0.19998 | 0.19998 | 0.19998 | 0.19949 | 0.19949 | 0.19949 | 2.3092 | 2.3092 | 2.3092 | 2.3035 | 2.3035 | 2.3035 | -2.2967 | 0.84842 | 0.84842 | 2.5775 | -0.56412 | -0.56412 | -0.95798 | 0.17905 | 0.17905 | 1.0051 | -0.11765 | -0.11765 | 155.6918 | 155.6918 | 155.6918 | -24.0979 | -24.0979 | -24.0979 |  | 1.0777 | 0.37551 | 0.37551 | 1.201 | 0.25016 | 0.25016 | -1.6668 | 167.6085 | 167.6085 | -2.7949 | 167.6831 | 167.6831

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39831 | 0.39831 | 0.39831 | 0.39898 | 0.39898 | 0.39898 | 4.5992 | 4.5992 | 4.5992 | 4.607 | 4.607 | 4.607 | 6.2817 | -1.618e-12 | -3.8583e-12 | -5.1549 | 1.1282 | 1.1282 | 2.2157 | -5.3231e-12 | 4.0934e-12 | -2.0101 | 0.23531 | 0.23531 | -23.8613 | -23.8613 | -23.8613 | 155.9021 | 155.9021 | 155.9021 |  | 1.4483 | 0 | 0 | 1.201 | 0.25016 | 0.25016 | -4.4323 | 0 | 0 | -2.7949 | 167.6831 | 167.6831
Line_1 | 0.19998 | 0.19998 | 0.19998 | 0.19949 | 0.19949 | 0.19949 | 2.3092 | 2.3092 | 2.3092 | 2.3035 | 2.3035 | 2.3035 | -2.2967 | 0.84842 | 0.84842 | 2.5775 | -0.56412 | -0.56412 | -0.95798 | 0.17905 | 0.17905 | 1.0051 | -0.11765 | -0.11765 | 155.6918 | 155.6918 | 155.6918 | -24.0979 | -24.0979 | -24.0979 |  | 1.0777 | 0.37551 | 0.37551 | 1.201 | 0.25016 | 0.25016 | -1.6668 | 167.6085 | 167.6085 | -2.7949 | 167.6831 | 167.6831
Line_2 | 0.19998 | 0.19998 | 0.19998 | 0.19949 | 0.19949 | 0.19949 | 2.3092 | 2.3092 | 2.3092 | 2.3035 | 2.3035 | 2.3035 | -2.2967 | 0.84842 | 0.84842 | 2.5775 | -0.56412 | -0.56412 | -0.95798 | 0.17905 | 0.17905 | 1.0051 | -0.11765 | -0.11765 | 155.6918 | 155.6918 | 155.6918 | -24.0979 | -24.0979 | -24.0979 |  | 1.0777 | 0.37551 | 0.37551 | 1.201 | 0.25016 | 0.25016 | -1.6668 | 167.6085 | 167.6085 | -2.7949 | 167.6831 | 167.6831

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23388 | 0.23388 | 0.23388 | 0.23427 | 0.23427 | 0.23427 | 2.7006 | 2.7006 | 2.7006 | 2.7051 | 2.7051 | 2.7051 | 2.9863 | 0.28837 | -1.1088 | -2.5958 | 0.091416 | 1.505 | 1.5844 | -2.1077 | 1.2872 | -1.5183 | 2.1912 | -1.2037 | -32.775 | -32.775 | -32.775 | 146.9885 | 146.9885 | 146.9885 |  | 1.2518 | 0.78773 | 0.62911 | 1.1117 | 0.8107 | 0.7124 | -4.8263 | -114.9841 | 97.9678 | -2.6877 | -125.4005 | 108.337
Line_1 | 0.11742 | 0.11742 | 0.11742 | 0.11714 | 0.11714 | 0.11714 | 1.3559 | 1.3559 | 1.3559 | 1.3526 | 1.3526 | 1.3526 | -1.2006 | 0.13948 | 0.85427 | 1.2979 | -0.045708 | -0.75251 | -0.74543 | 1.1188 | -0.58018 | 0.75914 | -1.0956 | 0.60183 | 146.7782 | 146.7782 | 146.7782 | -33.0115 | -33.0115 | -33.0115 |  | 1.0422 | 0.83152 | 0.76161 | 1.1117 | 0.8107 | 0.7124 | -1.3859 | -130.3284 | 112.5953 | -2.6877 | -125.4005 | 108.337
Line_2 | 0.11742 | 0.11742 | 0.11742 | 0.11714 | 0.11714 | 0.11714 | 1.3559 | 1.3559 | 1.3559 | 1.3526 | 1.3526 | 1.3526 | -1.2006 | 0.13948 | 0.85427 | 1.2979 | -0.045708 | -0.75251 | -0.74543 | 1.1188 | -0.58018 | 0.75914 | -1.0956 | 0.60183 | 146.7782 | 146.7782 | 146.7782 | -33.0115 | -33.0115 | -33.0115 |  | 1.0422 | 0.83152 | 0.76161 | 1.1117 | 0.8107 | 0.7124 | -1.3859 | -130.3284 | 112.5953 | -2.6877 | -125.4005 | 108.337

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23388 | 0.23388 | 0.23388 | 0.23427 | 0.23427 | 0.23427 | 2.7006 | 2.7006 | 2.7006 | 2.7051 | 2.7051 | 2.7051 | 2.9863 | 0.28837 | -1.1088 | -2.5958 | 0.091416 | 1.505 | 1.5844 | -2.1077 | 1.2872 | -1.5183 | 2.1912 | -1.2037 | -32.775 | -32.775 | -32.775 | 146.9885 | 146.9885 | 146.9885 |  | 1.2518 | 0.78773 | 0.62911 | 1.1117 | 0.8107 | 0.7124 | -4.8263 | -114.9841 | 97.9678 | -2.6877 | -125.4005 | 108.337
Line_1 | 0.11742 | 0.11742 | 0.11742 | 0.11714 | 0.11714 | 0.11714 | 1.3559 | 1.3559 | 1.3559 | 1.3526 | 1.3526 | 1.3526 | -1.2006 | 0.13948 | 0.85427 | 1.2979 | -0.045708 | -0.75251 | -0.74543 | 1.1188 | -0.58018 | 0.75914 | -1.0956 | 0.60183 | 146.7782 | 146.7782 | 146.7782 | -33.0115 | -33.0115 | -33.0115 |  | 1.0422 | 0.83152 | 0.76161 | 1.1117 | 0.8107 | 0.7124 | -1.3859 | -130.3284 | 112.5953 | -2.6877 | -125.4005 | 108.337
Line_2 | 0.11742 | 0.11742 | 0.11742 | 0.11714 | 0.11714 | 0.11714 | 1.3559 | 1.3559 | 1.3559 | 1.3526 | 1.3526 | 1.3526 | -1.2006 | 0.13948 | 0.85427 | 1.2979 | -0.045708 | -0.75251 | -0.74543 | 1.1188 | -0.58018 | 0.75914 | -1.0956 | 0.60183 | 146.7782 | 146.7782 | 146.7782 | -33.0115 | -33.0115 | -33.0115 |  | 1.0422 | 0.83152 | 0.76161 | 1.1117 | 0.8107 | 0.7124 | -1.3859 | -130.3284 | 112.5953 | -2.6877 | -125.4005 | 108.337