## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0675e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6775e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4811e-28 | 4.429e-14 | -5.2106e-14 | -5.2106e-15 | -2.8658e-14 | 3.6475e-14 | 3.6475e-14 | 5.7634e-09 | -5.7634e-09 | -4.6896e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0392e-13 | 180 | -180 | 7.2135e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -5.2106e-15 | 2.6052e-15 | -1.5632e-14 | -3.1264e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3498e-13 | -180 | 180 | 7.2135e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -5.2106e-15 | 2.6052e-15 | -1.5632e-14 | -3.1264e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3498e-13 | -180 | 180 | 7.2135e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.4811e-28 | 4.429e-14 | -5.2106e-14 | -5.2106e-15 | -2.8658e-14 | 3.6475e-14 | 3.6475e-14 | 5.7634e-09 | -5.7634e-09 | -4.6896e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0392e-13 | 180 | -180 | 7.2135e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -5.2106e-15 | 2.6052e-15 | -1.5632e-14 | -3.1264e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3498e-13 | -180 | 180 | 7.2135e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 1.3027e-14 | 1.0421e-14 | -5.2106e-15 | 2.6052e-15 | -1.5632e-14 | -3.1264e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3498e-13 | -180 | 180 | 7.2135e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -9.5548e-10 | -3.075e-09 | 5.2106e-15 | 9.5549e-10 | 3.075e-09 | 1.3027e-14 | 4.0277e-09 | -3.5663e-10 | -1.0421e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6209e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1887e-10 | 1.0421e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7056e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1887e-10 | 1.0421e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7056e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -9.5548e-10 | -3.075e-09 | 5.2106e-15 | 9.5549e-10 | 3.075e-09 | 1.3027e-14 | 4.0277e-09 | -3.5663e-10 | -1.0421e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6209e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1887e-10 | 1.0421e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7056e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | 3.1849e-10 | 1.025e-09 | -3.908e-15 | -3.1848e-10 | -1.025e-09 | -1.0421e-14 | -1.3426e-09 | 1.1887e-10 | 1.0421e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7056e-13 | -140.8543 | 122.4159 | 2.6664e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.7764e-14 | 7.1054e-15 | -7.1054e-15 | 2.1317e-14 | -2.3678e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3718e-13 | -180 | 180 | 7.5876e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.0658e-14 | 2.3688e-15 | 9.4739e-15 | -2.3687e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.368e-13 | -180 | 180 | 7.5876e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.0658e-14 | 2.3688e-15 | 9.4739e-15 | -2.3687e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.368e-13 | -180 | 180 | 7.5876e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.7764e-14 | 7.1054e-15 | -7.1054e-15 | 2.1317e-14 | -2.3678e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3718e-13 | -180 | 180 | 7.5876e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.0658e-14 | 2.3688e-15 | 9.4739e-15 | -2.3687e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.368e-13 | -180 | 180 | 7.5876e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 1.0658e-14 | 2.3688e-15 | 9.4739e-15 | -2.3687e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.368e-13 | -180 | 180 | 7.5876e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | -8.0026e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9323e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6676e-10 | -8.5579e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9434e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6676e-10 | -8.5579e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9434e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9606e-16 | -8.0026e-10 | -2.5674e-09 | -2.9606e-16 | 8.0026e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4065e-10 | -4.737e-15 | -3.4014e-09 | 3.4065e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9323e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6676e-10 | -8.5579e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9434e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2172e-15 | 2.6675e-10 | 8.558e-10 | 5.9212e-15 | -2.6676e-10 | -8.5579e-10 | -4.737e-15 | -1.1338e-09 | 1.1355e-10 | 2.3685e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9434e-13 | -141.4824 | 122.8363 | 3.0399e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1868 | 1.1868 | 1.1868 | 1.1875 | 1.1875 | 1.1875 | 13.7035 | 13.7035 | 13.7035 | 13.7121 | 13.7121 | 13.7121 | 3.3031e-11 | 8.7277 | 25.3024 | 5.2078 | -3.4863 | -20.1249 | -8.2717e-11 | 14.6869 | -5.486 | 2.0775 | -12.6418 | 7.4996 | 140.5925 | 140.5925 | 140.5925 | -39.5598 | -39.5598 | -39.5598 |  | 0 | 1.2467 | 1.8893 | 0.4089 | 0.95636 | 1.5663 | 0 | -160.1285 | 128.3591 | -17.812 | -144.9775 | 120.0022
Line_1 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022
Line_2 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1868 | 1.1868 | 1.1868 | 1.1875 | 1.1875 | 1.1875 | 13.7035 | 13.7035 | 13.7035 | 13.7121 | 13.7121 | 13.7121 | 3.3031e-11 | 8.7277 | 25.3024 | 5.2078 | -3.4863 | -20.1249 | -8.2717e-11 | 14.6869 | -5.486 | 2.0775 | -12.6418 | 7.4996 | 140.5925 | 140.5925 | 140.5925 | -39.5598 | -39.5598 | -39.5598 |  | 0 | 1.2467 | 1.8893 | 0.4089 | 0.95636 | 1.5663 | 0 | -160.1285 | 128.3591 | -17.812 | -144.9775 | 120.0022
Line_1 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022
Line_2 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3984 | 0.3984 | 0.3984 | 0.39864 | 0.39864 | 0.39864 | 4.6003 | 4.6003 | 4.6003 | 4.6031 | 4.6031 | 4.6031 | -2.3808 | 0.11214 | 6.1036 | 2.9628 | 0.48773 | -5.5245 | -2.3808 | 4.9073 | -1.4897 | 2.6227 | -4.6766 | 1.7085 | 136.8748 | 136.8748 | 136.8748 | -43.2775 | -43.2775 | -43.2775 |  | 0.7319 | 1.067 | 1.3657 | 0.8596 | 1.0215 | 1.2562 | 1.8748 | -134.4343 | 123.1592 | -1.762 | -127.3236 | 119.538
Line_1 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538
Line_2 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3984 | 0.3984 | 0.3984 | 0.39864 | 0.39864 | 0.39864 | 4.6003 | 4.6003 | 4.6003 | 4.6031 | 4.6031 | 4.6031 | -2.3808 | 0.11214 | 6.1036 | 2.9628 | 0.48773 | -5.5245 | -2.3808 | 4.9073 | -1.4897 | 2.6227 | -4.6766 | 1.7085 | 136.8748 | 136.8748 | 136.8748 | -43.2775 | -43.2775 | -43.2775 |  | 0.7319 | 1.067 | 1.3657 | 0.8596 | 1.0215 | 1.2562 | 1.8748 | -134.4343 | 123.1592 | -1.762 | -127.3236 | 119.538
Line_1 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538
Line_2 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76479 | 0.76479 | 0.76479 | 0.76526 | 0.76526 | 0.76526 | 8.8311 | 8.8311 | 8.8311 | 8.8365 | 8.8365 | 8.8365 | -1.4725e-11 | 8.0119 | 15.0791 | 4.1529 | -3.8282 | -10.9555 | 5.1657e-12 | 8.6629 | -4.9025 | 0.86613 | -7.835 | 5.7094 | 152.4819 | 152.4819 | 152.4819 | -27.754 | -27.754 | -27.754 |  | 0 | 1.3362 | 1.7955 | 0.48009 | 0.98684 | 1.3981 | 0 | -160.2826 | 134.4717 | -15.9733 | -143.7943 | 124.7198
Line_1 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198
Line_2 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76479 | 0.76479 | 0.76479 | 0.76526 | 0.76526 | 0.76526 | 8.8311 | 8.8311 | 8.8311 | 8.8365 | 8.8365 | 8.8365 | -1.4725e-11 | 8.0119 | 15.0791 | 4.1529 | -3.8282 | -10.9555 | 5.1657e-12 | 8.6629 | -4.9025 | 0.86613 | -7.835 | 5.7094 | 152.4819 | 152.4819 | 152.4819 | -27.754 | -27.754 | -27.754 |  | 0 | 1.3362 | 1.7955 | 0.48009 | 0.98684 | 1.3981 | 0 | -160.2826 | 134.4717 | -15.9733 | -143.7943 | 124.7198
Line_1 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198
Line_2 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32163 | 0.32163 | 0.32163 | 0.32183 | 0.32183 | 0.32183 | 3.7138 | 3.7138 | 3.7138 | 3.7161 | 3.7161 | 3.7161 | -1.5517 | 0.84902 | 4.7865 | 2.2807 | -0.10002 | -4.0608 | -1.5517 | 3.6517 | -1.435 | 1.7122 | -3.5042 | 1.5693 | 142.2577 | 142.2577 | 142.2577 | -37.9781 | -37.9781 | -37.9781 |  | 0.59087 | 1.0095 | 1.3455 | 0.76743 | 0.94337 | 1.1715 | 7.2577 | -140.8309 | 125.569 | -1.0815 | -129.613 | 120.8926
Line_1 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926
Line_2 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32163 | 0.32163 | 0.32163 | 0.32183 | 0.32183 | 0.32183 | 3.7138 | 3.7138 | 3.7138 | 3.7161 | 3.7161 | 3.7161 | -1.5517 | 0.84902 | 4.7865 | 2.2807 | -0.10002 | -4.0608 | -1.5517 | 3.6517 | -1.435 | 1.7122 | -3.5042 | 1.5693 | 142.2577 | 142.2577 | 142.2577 | -37.9781 | -37.9781 | -37.9781 |  | 0.59087 | 1.0095 | 1.3455 | 0.76743 | 0.94337 | 1.1715 | 7.2577 | -140.8309 | 125.569 | -1.0815 | -129.613 | 120.8926
Line_1 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926
Line_2 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2835e-11 | -9.5757e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.5019e-12 | -9.3122e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2835e-11 | -9.5757e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.5019e-12 | -9.3122e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33428 | 0.33428 | 0.33428 | 0.33449 | 0.33449 | 0.33449 | 3.86 | 3.86 | 3.86 | 3.8624 | 3.8624 | 3.8624 | 4.3762 | 0.38089 | -2.0571 | -3.9593 | 0.0228 | 2.4764 | 2.4062 | -3.4872 | 1.811 | -2.2545 | 3.6532 | -1.6418 | -34.7604 | -34.7604 | -34.7604 | 145.0873 | 145.0873 | 145.0873 |  | 1.2938 | 0.9088 | 0.71002 | 1.1796 | 0.94585 | 0.76926 | -5.9568 | -118.5271 | 103.8794 | -5.2549 | -125.2703 | 111.5428
Line_1 | 0.1673 | 0.1673 | 0.1673 | 0.16725 | 0.16725 | 0.16725 | 1.9318 | 1.9318 | 1.9318 | 1.9312 | 1.9312 | 1.9312 | -1.8736 | 0.10941 | 1.3444 | 1.9797 | -0.0114 | -1.2382 | -1.0922 | 1.8684 | -0.77628 | 1.1273 | -1.8266 | 0.82092 | 144.919 | 144.919 | 144.919 | -34.9127 | -34.9127 | -34.9127 |  | 1.1226 | 0.96886 | 0.80359 | 1.1796 | 0.94585 | 0.76926 | -4.842 | -128.4323 | 114.9153 | -5.2549 | -125.2703 | 111.5428
Line_2 | 0.1673 | 0.1673 | 0.1673 | 0.16725 | 0.16725 | 0.16725 | 1.9318 | 1.9318 | 1.9318 | 1.9312 | 1.9312 | 1.9312 | -1.8736 | 0.10941 | 1.3444 | 1.9797 | -0.0114 | -1.2382 | -1.0922 | 1.8684 | -0.77628 | 1.1273 | -1.8266 | 0.82092 | 144.919 | 144.919 | 144.919 | -34.9127 | -34.9127 | -34.9127 |  | 1.1226 | 0.96886 | 0.80359 | 1.1796 | 0.94585 | 0.76926 | -4.842 | -128.4323 | 114.9153 | -5.2549 | -125.2703 | 111.5428

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33428 | 0.33428 | 0.33428 | 0.33449 | 0.33449 | 0.33449 | 3.86 | 3.86 | 3.86 | 3.8624 | 3.8624 | 3.8624 | 4.3762 | 0.38089 | -2.0571 | -3.9593 | 0.0228 | 2.4764 | 2.4062 | -3.4872 | 1.811 | -2.2545 | 3.6532 | -1.6418 | -34.7604 | -34.7604 | -34.7604 | 145.0873 | 145.0873 | 145.0873 |  | 1.2938 | 0.9088 | 0.71002 | 1.1796 | 0.94585 | 0.76926 | -5.9568 | -118.5271 | 103.8794 | -5.2549 | -125.2703 | 111.5428
Line_1 | 0.1673 | 0.1673 | 0.1673 | 0.16725 | 0.16725 | 0.16725 | 1.9318 | 1.9318 | 1.9318 | 1.9312 | 1.9312 | 1.9312 | -1.8736 | 0.10941 | 1.3444 | 1.9797 | -0.0114 | -1.2382 | -1.0922 | 1.8684 | -0.77628 | 1.1273 | -1.8266 | 0.82092 | 144.919 | 144.919 | 144.919 | -34.9127 | -34.9127 | -34.9127 |  | 1.1226 | 0.96886 | 0.80359 | 1.1796 | 0.94585 | 0.76926 | -4.842 | -128.4323 | 114.9153 | -5.2549 | -125.2703 | 111.5428
Line_2 | 0.1673 | 0.1673 | 0.1673 | 0.16725 | 0.16725 | 0.16725 | 1.9318 | 1.9318 | 1.9318 | 1.9312 | 1.9312 | 1.9312 | -1.8736 | 0.10941 | 1.3444 | 1.9797 | -0.0114 | -1.2382 | -1.0922 | 1.8684 | -0.77628 | 1.1273 | -1.8266 | 0.82092 | 144.919 | 144.919 | 144.919 | -34.9127 | -34.9127 | -34.9127 |  | 1.1226 | 0.96886 | 0.80359 | 1.1796 | 0.94585 | 0.76926 | -4.842 | -128.4323 | 114.9153 | -5.2549 | -125.2703 | 111.5428

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0705e-12 | -3.3553e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0324e-12 | 4.3236e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0705e-12 | -3.3553e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0324e-12 | 4.3236e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24687 | 0.24687 | 0.24687 | 0.24702 | 0.24702 | 0.24702 | 2.8506 | 2.8506 | 2.8506 | 2.8524 | 2.8524 | 2.8524 | 3.3201 | 0.11717 | -1.0313 | -2.8841 | 0.30597 | 1.4704 | 1.306 | -2.3076 | 1.3934 | -1.2302 | 2.3988 | -1.2998 | -27.6448 | -27.6448 | -27.6448 | 152.1194 | 152.1194 | 152.1194 |  | 1.2516 | 0.81055 | 0.60814 | 1.0993 | 0.84779 | 0.68804 | -6.1725 | -114.7381 | 98.862 | -4.7798 | -125.1497 | 110.6442
Line_1 | 0.12355 | 0.12355 | 0.12355 | 0.12351 | 0.12351 | 0.12351 | 1.4266 | 1.4266 | 1.4266 | 1.4262 | 1.4262 | 1.4262 | -1.3319 | 0.2569 | 0.84608 | 1.442 | -0.15299 | -0.73521 | -0.59802 | 1.2229 | -0.62483 | 0.6151 | -1.1994 | 0.64989 | 151.9094 | 151.9094 | 151.9094 | -27.8806 | -27.8806 | -27.8806 |  | 1.0234 | 0.87588 | 0.73726 | 1.0993 | 0.84779 | 0.68804 | -3.9113 | -129.955 | 115.4633 | -4.7798 | -125.1497 | 110.6442
Line_2 | 0.12355 | 0.12355 | 0.12355 | 0.12351 | 0.12351 | 0.12351 | 1.4266 | 1.4266 | 1.4266 | 1.4262 | 1.4262 | 1.4262 | -1.3319 | 0.2569 | 0.84608 | 1.442 | -0.15299 | -0.73521 | -0.59802 | 1.2229 | -0.62483 | 0.6151 | -1.1994 | 0.64989 | 151.9094 | 151.9094 | 151.9094 | -27.8806 | -27.8806 | -27.8806 |  | 1.0234 | 0.87588 | 0.73726 | 1.0993 | 0.84779 | 0.68804 | -3.9113 | -129.955 | 115.4633 | -4.7798 | -125.1497 | 110.6442

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24687 | 0.24687 | 0.24687 | 0.24702 | 0.24702 | 0.24702 | 2.8506 | 2.8506 | 2.8506 | 2.8524 | 2.8524 | 2.8524 | 3.3201 | 0.11717 | -1.0313 | -2.8841 | 0.30597 | 1.4704 | 1.306 | -2.3076 | 1.3934 | -1.2302 | 2.3988 | -1.2998 | -27.6448 | -27.6448 | -27.6448 | 152.1194 | 152.1194 | 152.1194 |  | 1.2516 | 0.81055 | 0.60814 | 1.0993 | 0.84779 | 0.68804 | -6.1725 | -114.7381 | 98.862 | -4.7798 | -125.1497 | 110.6442
Line_1 | 0.12355 | 0.12355 | 0.12355 | 0.12351 | 0.12351 | 0.12351 | 1.4266 | 1.4266 | 1.4266 | 1.4262 | 1.4262 | 1.4262 | -1.3319 | 0.2569 | 0.84608 | 1.442 | -0.15299 | -0.73521 | -0.59802 | 1.2229 | -0.62483 | 0.6151 | -1.1994 | 0.64989 | 151.9094 | 151.9094 | 151.9094 | -27.8806 | -27.8806 | -27.8806 |  | 1.0234 | 0.87588 | 0.73726 | 1.0993 | 0.84779 | 0.68804 | -3.9113 | -129.955 | 115.4633 | -4.7798 | -125.1497 | 110.6442
Line_2 | 0.12355 | 0.12355 | 0.12355 | 0.12351 | 0.12351 | 0.12351 | 1.4266 | 1.4266 | 1.4266 | 1.4262 | 1.4262 | 1.4262 | -1.3319 | 0.2569 | 0.84608 | 1.442 | -0.15299 | -0.73521 | -0.59802 | 1.2229 | -0.62483 | 0.6151 | -1.1994 | 0.64989 | 151.9094 | 151.9094 | 151.9094 | -27.8806 | -27.8806 | -27.8806 |  | 1.0234 | 0.87588 | 0.73726 | 1.0993 | 0.84779 | 0.68804 | -3.9113 | -129.955 | 115.4633 | -4.7798 | -125.1497 | 110.6442