## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 5.2106e-15 | 7.8164e-15 | 1.0422e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.504e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 5.2106e-15 | 7.8164e-15 | 1.0422e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.504e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 5.2106e-15 | 7.8164e-15 | 1.0422e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.504e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.6053e-15 | -2.0843e-14 | 5.2106e-15 | 7.8164e-15 | 1.0422e-14 | 1.0421e-14 | 5.7634e-09 | -5.7634e-09 | -2.6053e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.504e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 2.6055e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -3.1264e-14 | -2.6053e-14 | -1.9211e-09 | 1.9211e-09 | 1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.5221e-12 | -180 | 180 | 8.5109e-12 | -180 | 180

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.5395e-14 | 2.3684e-15 | 1.8948e-14 | 1.3027e-14 | 7.8255e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4672e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.5395e-14 | 2.3684e-15 | 1.8948e-14 | 1.3027e-14 | 7.8255e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4672e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.5395e-14 | 2.3684e-15 | 1.8948e-14 | 1.3027e-14 | 7.8255e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4672e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.5395e-14 | 2.3684e-15 | 1.8948e-14 | 1.3027e-14 | 7.8255e-19 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.4672e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -1.1839e-15 | 7.1058e-15 | 2.3685e-15 | 3.5525e-15 | -2.6085e-19 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 1.5137e-12 | -180 | 180 | 1.5023e-12 | -180 | 180

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3946e-10 | 2.9578e-09 | 7.3944e-10 | 7.3947e-10 | -8.693e-16 | -3.8423e-09 | 3.8422e-09 | 2.6065e-15 | 3.8423e-09 | -3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6621e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4652e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -8.6803e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4058e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4652e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -8.6803e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4058e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3946e-10 | 2.9578e-09 | 7.3944e-10 | 7.3947e-10 | -8.693e-16 | -3.8423e-09 | 3.8422e-09 | 2.6065e-15 | 3.8423e-09 | -3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 1.6621e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4652e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -8.6803e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4058e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8592e-10 | 2.4647e-10 | 2.4652e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -8.6803e-16 | 1.2808e-09 | -1.2808e-09 | 2.6049e-15 | -1.2808e-09 | 1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36667 | 0.97011 | 0.97011 | 0.36667 | 0.97011 | 0.97011 | 2.4058e-08 | -100.8934 | 100.8934 | 2.2199e-08 | -100.8934 | 100.8934

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.3989e-09 | -1.7058e-10 | 3.139e-09 | 1.3989e-09 | 1.7059e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2218e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6876e-11 | -1.0463e-09 | -4.6631e-10 | -5.6869e-11 | -4.7279e-10 | 7.4059e-10 | -9.7699e-10 | 4.728e-10 | -7.4059e-10 | 9.7699e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6876e-11 | -1.0463e-09 | -4.6631e-10 | -5.6869e-11 | -4.7279e-10 | 7.4059e-10 | -9.7699e-10 | 4.728e-10 | -7.4059e-10 | 9.7699e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.139e-09 | -1.3989e-09 | -1.7058e-10 | 3.139e-09 | 1.3989e-09 | 1.7059e-10 | 1.4184e-09 | -2.2217e-09 | 2.9309e-09 | -1.4184e-09 | 2.2218e-09 | -2.9309e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6876e-11 | -1.0463e-09 | -4.6631e-10 | -5.6869e-11 | -4.7279e-10 | 7.4059e-10 | -9.7699e-10 | 4.728e-10 | -7.4059e-10 | 9.7699e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0463e-09 | 4.6631e-10 | 5.6876e-11 | -1.0463e-09 | -4.6631e-10 | -5.6869e-11 | -4.7279e-10 | 7.4059e-10 | -9.7699e-10 | 4.728e-10 | -7.4059e-10 | 9.7699e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61947 | 0.94433 | 1.056 | 0.61947 | 0.94433 | 1.056 | -10.9078 | -108.7881 | 106.7392 | -10.9078 | -108.7881 | 106.7392

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -1.9741e-15 | -3.1754e-09 | 3.1754e-09 | 3.9481e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.2707e-09 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -3.9452e-16 | 1.0585e-09 | -1.0584e-09 | 7.8929e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5708e-08 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -3.9452e-16 | 1.0585e-09 | -1.0584e-09 | 7.8929e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5708e-08 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.111e-10 | -6.1111e-10 | 2.4444e-09 | 6.111e-10 | 6.1111e-10 | -1.9741e-15 | -3.1754e-09 | 3.1754e-09 | 3.9481e-15 | 3.1754e-09 | -3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 8.2707e-09 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -3.9452e-16 | 1.0585e-09 | -1.0584e-09 | 7.8929e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5708e-08 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1481e-10 | -2.037e-10 | -2.0371e-10 | -3.9452e-16 | 1.0585e-09 | -1.0584e-09 | 7.8929e-16 | -1.0585e-09 | 1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33333 | 0.88192 | 0.88192 | 0.33333 | 0.88192 | 0.88192 | 1.5708e-08 | -100.8934 | 100.8934 | 1.3848e-08 | -100.8934 | 100.8934

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7217e-10 | 2.6248e-09 | 1.1402e-09 | 1.7216e-10 | 1.1178e-09 | -1.9471e-09 | 2.5059e-09 | -1.1178e-09 | 1.9471e-09 | -2.5059e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7385e-11 | -8.7492e-10 | -3.8007e-10 | -5.7388e-11 | -3.726e-10 | 6.49e-10 | -8.353e-10 | 3.726e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7385e-11 | -8.7492e-10 | -3.8007e-10 | -5.7388e-11 | -3.726e-10 | 6.49e-10 | -8.353e-10 | 3.726e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6248e-09 | -1.1402e-09 | -1.7217e-10 | 2.6248e-09 | 1.1402e-09 | 1.7216e-10 | 1.1178e-09 | -1.9471e-09 | 2.5059e-09 | -1.1178e-09 | 1.9471e-09 | -2.5059e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7385e-11 | -8.7492e-10 | -3.8007e-10 | -5.7388e-11 | -3.726e-10 | 6.49e-10 | -8.353e-10 | 3.726e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7492e-10 | 3.8006e-10 | 5.7385e-11 | -8.7492e-10 | -3.8007e-10 | -5.7388e-11 | -3.726e-10 | 6.49e-10 | -8.353e-10 | 3.726e-10 | -6.4901e-10 | 8.3531e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54216 | 0.8576 | 0.95472 | 0.54216 | 0.8576 | 0.95472 | -10.8028 | -108.0887 | 106.1949 | -10.8028 | -108.0887 | 106.1949

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3945e-10 | 2.9578e-09 | 7.3947e-10 | 7.3946e-10 | 3.4737e-15 | 3.8423e-09 | -3.8423e-09 | -3.4736e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4999e-09 | -180 | -180 | 2.8944e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3945e-10 | 2.9578e-09 | 7.3947e-10 | 7.3946e-10 | 3.4737e-15 | 3.8423e-09 | -3.8423e-09 | -3.4736e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4999e-09 | -180 | -180 | 2.8944e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3945e-10 | 2.9578e-09 | 7.3947e-10 | 7.3946e-10 | 3.4737e-15 | 3.8423e-09 | -3.8423e-09 | -3.4736e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4999e-09 | -180 | -180 | 2.8944e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9578e-09 | -7.3945e-10 | -7.3945e-10 | 2.9578e-09 | 7.3947e-10 | 7.3946e-10 | 3.4737e-15 | 3.8423e-09 | -3.8423e-09 | -3.4736e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 1.4999e-09 | -180 | -180 | 2.8944e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8591e-10 | 2.465e-10 | 2.465e-10 | -9.8592e-10 | -2.4648e-10 | -2.4649e-10 | -2.4316e-14 | -1.2807e-09 | 1.2808e-09 | 1.7369e-14 | 1.2807e-09 | -1.2808e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73333 | 0.36667 | 0.36667 | 0.73333 | 0.36667 | 0.36667 | 3.3592e-09 | -180 | 180 | 2.8944e-09 | -180 | 180

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.111e-10 | 2.4444e-09 | 6.1112e-10 | 6.111e-10 | 3.158e-15 | 3.1754e-09 | -3.1754e-09 | -6.3159e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -4.3027e-11 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.111e-10 | 2.4444e-09 | 6.1112e-10 | 6.111e-10 | 3.158e-15 | 3.1754e-09 | -3.1754e-09 | -6.3159e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -4.3027e-11 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.111e-10 | 2.4444e-09 | 6.1112e-10 | 6.111e-10 | 3.158e-15 | 3.1754e-09 | -3.1754e-09 | -6.3159e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -4.3027e-11 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4444e-09 | -6.1112e-10 | -6.111e-10 | 2.4444e-09 | 6.1112e-10 | 6.111e-10 | 3.158e-15 | 3.1754e-09 | -3.1754e-09 | -6.3159e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | -4.3027e-11 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1482e-10 | 2.037e-10 | 2.037e-10 | -8.1482e-10 | -2.037e-10 | -2.037e-10 | -9.4739e-15 | -1.0585e-09 | 1.0585e-09 | -1.9219e-20 | 1.0585e-09 | -1.0585e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66667 | 0.33333 | 0.33333 | 0.66667 | 0.33333 | 0.33333 | 1.8163e-09 | -180 | 180 | 1.3515e-09 | -180 | 180