## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.298e-19 | 0 | -4.9285e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2821e-20 | 0 | 2.6702e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -3.1264e-14 | 6.5721e-28 | -5.2102e-15 | 2.6054e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0742e-13 | 180 | -180 | 7.2266e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -3.1264e-14 | 6.5721e-28 | -5.2102e-15 | 2.6054e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0742e-13 | 180 | -180 | 7.2266e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -3.1264e-14 | 6.5721e-28 | -5.2102e-15 | 2.6054e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0742e-13 | 180 | -180 | 7.2266e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.0843e-14 | -3.1264e-14 | 6.5721e-28 | -5.2102e-15 | 2.6054e-14 | 5.2106e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0742e-13 | 180 | -180 | 7.2266e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8988e-19 | 1.0421e-14 | -2.6288e-28 | 5.2105e-15 | -1.5632e-14 | -2.0843e-14 | -1.9211e-09 | 1.9211e-09 | 2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3347e-13 | -180 | 180 | 7.2266e-13 | -180 | 180

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.1316e-14 | 1.1842e-14 | -9.4739e-15 | 2.3685e-14 | -7.1047e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3715e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.1316e-14 | 1.1842e-14 | -9.4739e-15 | 2.3685e-14 | -7.1047e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3715e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.1316e-14 | 1.1842e-14 | -9.4739e-15 | 2.3685e-14 | -7.1047e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3715e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1054e-15 | -2.1316e-14 | 1.1842e-14 | -9.4739e-15 | 2.3685e-14 | -7.1047e-15 | 9.4739e-15 | 4.7631e-09 | -4.7631e-09 | -4.737e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3715e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 7.1057e-15 | 2.3688e-15 | 9.4739e-15 | -4.7372e-15 | -2.3687e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.3061e-13 | -180 | 180 | 7.5575e-13 | -180 | 180

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1868 | 1.1868 | 1.1868 | 1.1875 | 1.1875 | 1.1875 | 13.7035 | 13.7035 | 13.7035 | 13.7121 | 13.7121 | 13.7121 | 3.3029e-11 | 8.7277 | 25.3024 | 5.2078 | -3.4863 | -20.1249 | -8.2719e-11 | 14.6869 | -5.486 | 2.0775 | -12.6418 | 7.4996 | 140.5925 | 140.5925 | 140.5925 | -39.5598 | -39.5598 | -39.5598 |  | 0 | 1.2467 | 1.8893 | 0.4089 | 0.95636 | 1.5663 | 0 | -160.1285 | 128.3591 | -17.812 | -144.9775 | 120.0022
Line_1 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022
Line_2 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1868 | 1.1868 | 1.1868 | 1.1875 | 1.1875 | 1.1875 | 13.7035 | 13.7035 | 13.7035 | 13.7121 | 13.7121 | 13.7121 | 3.3029e-11 | 8.7277 | 25.3024 | 5.2078 | -3.4863 | -20.1249 | -8.2719e-11 | 14.6869 | -5.486 | 2.0775 | -12.6418 | 7.4996 | 140.5925 | 140.5925 | 140.5925 | -39.5598 | -39.5598 | -39.5598 |  | 0 | 1.2467 | 1.8893 | 0.4089 | 0.95636 | 1.5663 | 0 | -160.1285 | 128.3591 | -17.812 | -144.9775 | 120.0022
Line_1 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022
Line_2 | 0.59393 | 0.59393 | 0.59393 | 0.59375 | 0.59375 | 0.59375 | 6.8582 | 6.8582 | 6.8582 | 6.856 | 6.856 | 6.856 | 3.9045 | -0.42224 | -8.7737 | -2.6039 | 1.7432 | 10.0624 | 1.5666 | -5.808 | 4.2413 | -1.0387 | 6.3209 | -3.7498 | -39.728 | -39.728 | -39.728 | 140.4402 | 140.4402 | 140.4402 |  | 0.61344 | 0.84911 | 1.4209 | 0.4089 | 0.95636 | 1.5663 | -17.8654 | -133.8861 | 114.4721 | -17.812 | -144.9775 | 120.0022

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3984 | 0.3984 | 0.3984 | 0.39864 | 0.39864 | 0.39864 | 4.6003 | 4.6003 | 4.6003 | 4.6031 | 4.6031 | 4.6031 | -2.3808 | 0.11214 | 6.1036 | 2.9628 | 0.48773 | -5.5245 | -2.3808 | 4.9073 | -1.4897 | 2.6227 | -4.6766 | 1.7085 | 136.8748 | 136.8748 | 136.8748 | -43.2775 | -43.2775 | -43.2775 |  | 0.7319 | 1.067 | 1.3657 | 0.8596 | 1.0215 | 1.2562 | 1.8748 | -134.4343 | 123.1592 | -1.762 | -127.3236 | 119.538
Line_1 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538
Line_2 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3984 | 0.3984 | 0.3984 | 0.39864 | 0.39864 | 0.39864 | 4.6003 | 4.6003 | 4.6003 | 4.6031 | 4.6031 | 4.6031 | -2.3808 | 0.11214 | 6.1036 | 2.9628 | 0.48773 | -5.5245 | -2.3808 | 4.9073 | -1.4897 | 2.6227 | -4.6766 | 1.7085 | 136.8748 | 136.8748 | 136.8748 | -43.2775 | -43.2775 | -43.2775 |  | 0.7319 | 1.067 | 1.3657 | 0.8596 | 1.0215 | 1.2562 | 1.8748 | -134.4343 | 123.1592 | -1.762 | -127.3236 | 119.538
Line_1 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538
Line_2 | 0.19938 | 0.19938 | 0.19938 | 0.19932 | 0.19932 | 0.19932 | 2.3023 | 2.3023 | 2.3023 | 2.3016 | 2.3016 | 2.3016 | 1.6248 | 0.39763 | -2.6188 | -1.4814 | -0.24386 | 2.7623 | 1.3747 | -2.2797 | 0.90498 | -1.3114 | 2.3383 | -0.85424 | -43.4457 | -43.4457 | -43.4457 | 136.7225 | 136.7225 | 136.7225 |  | 0.92445 | 1.0051 | 1.2035 | 0.8596 | 1.0215 | 1.2562 | -3.2127 | -123.5515 | 117.4904 | -1.762 | -127.3236 | 119.538

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76479 | 0.76479 | 0.76479 | 0.76526 | 0.76526 | 0.76526 | 8.8311 | 8.8311 | 8.8311 | 8.8365 | 8.8365 | 8.8365 | -1.4721e-11 | 8.0119 | 15.0791 | 4.1529 | -3.8282 | -10.9555 | 5.1686e-12 | 8.6629 | -4.9025 | 0.86613 | -7.835 | 5.7094 | 152.4819 | 152.4819 | 152.4819 | -27.754 | -27.754 | -27.754 |  | 0 | 1.3362 | 1.7955 | 0.48009 | 0.98684 | 1.3981 | 0 | -160.2826 | 134.4717 | -15.9733 | -143.7943 | 124.7198
Line_1 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198
Line_2 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76479 | 0.76479 | 0.76479 | 0.76526 | 0.76526 | 0.76526 | 8.8311 | 8.8311 | 8.8311 | 8.8365 | 8.8365 | 8.8365 | -1.4721e-11 | 8.0119 | 15.0791 | 4.1529 | -3.8282 | -10.9555 | 5.1686e-12 | 8.6629 | -4.9025 | 0.86613 | -7.835 | 5.7094 | 152.4819 | 152.4819 | 152.4819 | -27.754 | -27.754 | -27.754 |  | 0 | 1.3362 | 1.7955 | 0.48009 | 0.98684 | 1.3981 | 0 | -160.2826 | 134.4717 | -15.9733 | -143.7943 | 124.7198
Line_1 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198
Line_2 | 0.38275 | 0.38275 | 0.38275 | 0.38263 | 0.38263 | 0.38263 | 4.4196 | 4.4196 | 4.4196 | 4.4182 | 4.4182 | 4.4182 | 3.1146 | -0.86125 | -4.4508 | -2.0765 | 1.9141 | 5.4778 | 0.65727 | -3.7092 | 3.052 | -0.43306 | 3.9175 | -2.8547 | -27.964 | -27.964 | -27.964 | 152.246 | 152.246 | 152.246 |  | 0.72024 | 0.8616 | 1.2211 | 0.48009 | 0.98684 | 1.3981 | -16.0476 | -131.0358 | 117.5971 | -15.9733 | -143.7943 | 124.7198

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32163 | 0.32163 | 0.32163 | 0.32183 | 0.32183 | 0.32183 | 3.7138 | 3.7138 | 3.7138 | 3.7161 | 3.7161 | 3.7161 | -1.5517 | 0.84902 | 4.7865 | 2.2807 | -0.10002 | -4.0608 | -1.5517 | 3.6517 | -1.435 | 1.7122 | -3.5042 | 1.5693 | 142.2577 | 142.2577 | 142.2577 | -37.9781 | -37.9781 | -37.9781 |  | 0.59087 | 1.0095 | 1.3455 | 0.76743 | 0.94337 | 1.1715 | 7.2577 | -140.8309 | 125.569 | -1.0815 | -129.613 | 120.8926
Line_1 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926
Line_2 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32163 | 0.32163 | 0.32163 | 0.32183 | 0.32183 | 0.32183 | 3.7138 | 3.7138 | 3.7138 | 3.7161 | 3.7161 | 3.7161 | -1.5517 | 0.84902 | 4.7865 | 2.2807 | -0.10002 | -4.0608 | -1.5517 | 3.6517 | -1.435 | 1.7122 | -3.5042 | 1.5693 | 142.2577 | 142.2577 | 142.2577 | -37.9781 | -37.9781 | -37.9781 |  | 0.59087 | 1.0095 | 1.3455 | 0.76743 | 0.94337 | 1.1715 | 7.2577 | -140.8309 | 125.569 | -1.0815 | -129.613 | 120.8926
Line_1 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926
Line_2 | 0.16096 | 0.16096 | 0.16096 | 0.16091 | 0.16091 | 0.16091 | 1.8586 | 1.8586 | 1.8586 | 1.8581 | 1.8581 | 1.8581 | 1.3213 | 0.14017 | -1.8501 | -1.1403 | 0.05001 | 2.0304 | 0.89882 | -1.7146 | 0.81574 | -0.85609 | 1.7521 | -0.78466 | -38.1881 | -38.1881 | -38.1881 | 142.0219 | 142.0219 | 142.0219 |  | 0.85979 | 0.92555 | 1.0879 | 0.76743 | 0.94337 | 1.1715 | -3.963 | -123.5145 | 118.0188 | -1.0815 | -129.613 | 120.8926

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2836e-11 | -9.5824e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.4965e-12 | -9.313e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2836e-11 | -9.5824e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.4965e-12 | -9.313e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2836e-11 | -9.5824e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.4965e-12 | -9.313e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7245 | 0.7245 | 0.7245 | 0.72495 | 0.72495 | 0.72495 | 8.3658 | 8.3658 | 8.3658 | 8.371 | 8.371 | 8.371 | 12.6827 | 1.2836e-11 | -9.5824e-12 | -10.7406 | 1.9409 | 1.9409 | 3.4291 | -3.4965e-12 | -9.313e-12 | -2.6907 | 0.77425 | 0.77425 | -22.3395 | -22.3395 | -22.3395 | 157.5082 | 157.5082 | 157.5082 |  | 1.5705 | 0 | 0 | 1.3227 | 0.24963 | 0.24963 | -7.2099 | 0 | 0 | -8.4276 | 179.256 | 179.256
Line_1 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256
Line_2 | 0.36259 | 0.36259 | 0.36259 | 0.36248 | 0.36248 | 0.36248 | 4.1868 | 4.1868 | 4.1868 | 4.1855 | 4.1855 | 4.1855 | -4.8824 | 1.4552 | 1.4552 | 5.3703 | -0.97045 | -0.97045 | -1.1678 | 0.58388 | 0.58388 | 1.3454 | -0.38713 | -0.38713 | 157.34 | 157.34 | 157.34 | -22.4918 | -22.4918 | -22.4918 |  | 1.199 | 0.3745 | 0.3745 | 1.3227 | 0.24963 | 0.24963 | -9.2089 | 179.2026 | 179.2026 | -8.4276 | 179.256 | 179.256

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0694e-12 | -3.3512e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0282e-12 | 4.3252e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0694e-12 | -3.3512e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0282e-12 | 4.3252e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0694e-12 | -3.3512e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0282e-12 | 4.3252e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42342 | 0.42342 | 0.42342 | 0.42368 | 0.42368 | 0.42368 | 4.8893 | 4.8893 | 4.8893 | 4.8923 | 4.8923 | 4.8923 | 7.0779 | -2.0694e-12 | -3.3512e-12 | -5.8045 | 1.273 | 1.273 | 1.1527 | -5.0282e-12 | 4.3252e-12 | -0.91702 | 0.26549 | 0.26549 | -14.2277 | -14.2277 | -14.2277 | 165.5364 | 165.5364 | 165.5364 |  | 1.4667 | 0 | 0 | 1.2012 | 0.2658 | 0.2658 | -4.9782 | 0 | 0 | -5.4859 | 177.3171 | 177.3171
Line_1 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171
Line_2 | 0.21191 | 0.21191 | 0.21191 | 0.21184 | 0.21184 | 0.21184 | 2.4469 | 2.4469 | 2.4469 | 2.4461 | 2.4461 | 2.4461 | -2.583 | 0.95469 | 0.95469 | 2.9023 | -0.63648 | -0.63648 | -0.40294 | 0.20147 | 0.20147 | 0.45851 | -0.13274 | -0.13274 | 165.3265 | 165.3265 | 165.3265 | -14.4636 | -14.4636 | -14.4636 |  | 1.0684 | 0.39876 | 0.39876 | 1.2012 | 0.2658 | 0.2658 | -5.8069 | 177.2428 | 177.2428 | -5.4859 | 177.3171 | 177.3171