## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.4587 | 3.4587 | 0 | 0 | 119.8128 | 119.8128 | 37.3233 | -18.6616 | 42.3476 | -21.1738 | -71.7883 | 108.2117 | 0.47113 | 0.23557 | -23.1798 | -23.1798
Line_1 | 3.4587 | 3.4587 | 6.7756 | 0 | 119.8128 | 119.8128 | -1e-07 | 18.6616 | -1e-07 | 21.1738 | 108.2117 | -71.7883 | 0 | 0.23557 | 0 | -23.1798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23557 | 0.23557 | -23.1798 | -23.1798

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.7686 | 2.7686 | 0 | 0 | 95.9057 | 95.9057 | 45.916 | -22.958 | 27.1338 | -13.5669 | -59.5744 | 120.4256 | 0.55611 | 0.27805 | -28.9937 | -28.9937
Line_1 | 2.7686 | 2.7686 | 4.6525 | 0 | 95.9057 | 95.9057 | -1e-07 | 22.958 | -1e-07 | 13.5669 | 120.4256 | -59.5744 | 0 | 0.27805 | 0 | -28.9937
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.27805 | 0.27805 | -28.9937 | -28.9937

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 3.1264e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.3867e-13 | -152.1736 | 136.0734 | 8.4989e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 3.1264e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -3.6475e-14 | 5.9452 | -5.9452 | 4.1685e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.2126e-13 | 180 | -180 | 8.4989e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4057e-10 | 6.6442e-10 | 3.6475e-14 | -3.4055e-10 | -6.6442e-10 | 1.0421e-14 | -1.8234e-09 | 1.2624e-09 | -1.0421e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0229e-13 | -163.4303 | 158.2346 | 8.4989e-13 | -163.4303 | 158.2346

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 3.1264e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.3867e-13 | -152.1736 | 136.0734 | 8.4989e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 3.1264e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -3.6475e-14 | 5.9452 | -5.9452 | 4.1685e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.2126e-13 | 180 | -180 | 8.4989e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4057e-10 | 6.6442e-10 | 3.6475e-14 | -3.4055e-10 | -6.6442e-10 | 1.0421e-14 | -1.8234e-09 | 1.2624e-09 | -1.0421e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0229e-13 | -163.4303 | 158.2346 | 8.4989e-13 | -163.4303 | 158.2346

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 3.1264e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.3867e-13 | -152.1736 | 136.0734 | 8.4989e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 3.1264e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -3.6475e-14 | 5.9452 | -5.9452 | 4.1685e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.2126e-13 | 180 | -180 | 8.4989e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4057e-10 | 6.6442e-10 | 3.6475e-14 | -3.4055e-10 | -6.6442e-10 | 1.0421e-14 | -1.8234e-09 | 1.2624e-09 | -1.0421e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0229e-13 | -163.4303 | 158.2346 | 8.4989e-13 | -163.4303 | 158.2346

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | -1.0421e-14 | 27.4008 | -8.7391 | 5.2106e-15 | -22.7354 | 13.4045 | 3.1264e-14 | 4.6417 | 16.5321 | -3.1264e-14 | 0.65175 | -11.2386 | 0 | -161.7883 | 18.2117 | 0 | 18.2117 | -161.7883 | 1.1 | 0.80351 | 0.54066 | 1.1 | 0.65761 | 0.50575 | 8.3867e-13 | -152.1736 | 136.0734 | 8.4989e-13 | -163.4303 | 158.2346
Line_1 | 0 | 2.9953 | 2.9953 | 0 | 2.9953 | 2.9953 | 0 | 34.587 | 34.587 | 0 | 34.587 | 34.587 | 3.1264e-14 | -18.0699 | 18.0699 | -3.1264e-14 | 22.7354 | -13.4045 | -3.6475e-14 | 5.9452 | -5.9452 | 4.1685e-14 | -0.65175 | 11.2386 | 0 | 18.2117 | -161.7883 | 0 | -161.7883 | 18.2117 | 1.1 | 0.55 | 0.55 | 1.1 | 0.65761 | 0.50575 | 9.2126e-13 | 180 | -180 | 8.4989e-13 | -163.4303 | 158.2346
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.6475e-14 | 3.4057e-10 | 6.6442e-10 | 3.6475e-14 | -3.4055e-10 | -6.6442e-10 | 1.0421e-14 | -1.8234e-09 | 1.2624e-09 | -1.0421e-14 | 1.8234e-09 | -1.2624e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.65761 | 0.50575 | 1.1 | 0.65761 | 0.50575 | 8.0229e-13 | -163.4303 | 158.2346 | 8.4989e-13 | -163.4303 | 158.2346

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2317e-13 | -150.1294 | 122.3252 | 9.2472e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 1.8948e-14 | -11.9365 | 11.9365 | -2.4869e-14 | 17.676 | -6.197 | -1.8948e-14 | 7.0103 | -7.0103 | 2.6053e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0212e-12 | -180 | 180 | 9.2472e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7237e-14 | 2.4225e-10 | 6.702e-10 | 2.3685e-14 | -2.4225e-10 | -6.7019e-10 | 4.2633e-14 | -1.5722e-09 | 8.3092e-10 | -4.0264e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9436e-13 | -161.1438 | 151.2099 | 9.2472e-13 | -161.1438 | 151.2099

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2317e-13 | -150.1294 | 122.3252 | 9.2472e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 1.8948e-14 | -11.9365 | 11.9365 | -2.4869e-14 | 17.676 | -6.197 | -1.8948e-14 | 7.0103 | -7.0103 | 2.6053e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0212e-12 | -180 | 180 | 9.2472e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7237e-14 | 2.4225e-10 | 6.702e-10 | 2.3685e-14 | -2.4225e-10 | -6.7019e-10 | 4.2633e-14 | -1.5722e-09 | 8.3092e-10 | -4.0264e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9436e-13 | -161.1438 | 151.2099 | 9.2472e-13 | -161.1438 | 151.2099

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2317e-13 | -150.1294 | 122.3252 | 9.2472e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 1.8948e-14 | -11.9365 | 11.9365 | -2.4869e-14 | 17.676 | -6.197 | -1.8948e-14 | 7.0103 | -7.0103 | 2.6053e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0212e-12 | -180 | 180 | 9.2472e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7237e-14 | 2.4225e-10 | 6.702e-10 | 2.3685e-14 | -2.4225e-10 | -6.7019e-10 | 4.2633e-14 | -1.5722e-09 | 8.3092e-10 | -4.0264e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9436e-13 | -161.1438 | 151.2099 | 9.2472e-13 | -161.1438 | 151.2099

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | -2.0132e-14 | 23.4155 | -0.45749 | 1.8948e-14 | -17.676 | 6.197 | -9.4739e-15 | -0.22679 | 13.7937 | 1.1842e-14 | 3.6185 | -10.402 | 0 | -149.5744 | 30.4256 | 0 | 30.4256 | -149.5744 | 1 | 0.8458 | 0.4985 | 1 | 0.65169 | 0.43734 | 9.2317e-13 | -150.1294 | 122.3252 | 9.2472e-13 | -161.1438 | 151.2099
Line_1 | 0 | 2.3976 | 2.3976 | 0 | 2.3976 | 2.3976 | 0 | 27.6856 | 27.6856 | 0 | 27.6856 | 27.6856 | 1.8948e-14 | -11.9365 | 11.9365 | -2.4869e-14 | 17.676 | -6.197 | -1.8948e-14 | 7.0103 | -7.0103 | 2.6053e-14 | -3.6185 | 10.402 | 0 | 30.4256 | -149.5744 | 0 | -149.5744 | 30.4256 | 1 | 0.5 | 0.5 | 1 | 0.65169 | 0.43734 | 1.0212e-12 | -180 | 180 | 9.2472e-13 | -161.1438 | 151.2099
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7237e-14 | 2.4225e-10 | 6.702e-10 | 2.3685e-14 | -2.4225e-10 | -6.7019e-10 | 4.2633e-14 | -1.5722e-09 | 8.3092e-10 | -4.0264e-14 | 1.5722e-09 | -8.3092e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.65169 | 0.43734 | 1 | 0.65169 | 0.43734 | 7.9436e-13 | -161.1438 | 151.2099 | 9.2472e-13 | -161.1438 | 151.2099

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3129 | 1.1565 | 1.1565 | 2.3117 | 1.1577 | 1.1577 | 26.7075 | 13.3538 | 13.3538 | 26.6931 | 13.3681 | 13.3681 | 7.7752 | -10.2385 | 14.15 | -4.996 | 10.9484 | -13.4664 | 9.097 | 10.9337 | 3.6873 | -5.9396 | -10.1545 | -2.9003 | -73.452 | 106.548 | 106.548 | 106.5481 | -73.4521 | -73.4521 |  | 0.44808 | 1.1217 | 1.095 | 0.29076 | 1.117 | 1.0304 | -23.9722 | -120.3328 | 121.1536 | -23.5199 | -116.2976 | 118.7022
Line_1 | 2.655 | 0.8437 | 0.8437 | 2.6565 | 0.84219 | 0.84219 | 30.6571 | 9.7422 | 9.7422 | 30.6743 | 9.7247 | 9.7247 | 2.3094e-10 | 9.2648 | -9.2648 | 6.2204 | -9.4414 | 9.0551 | -1.7976e-10 | -5.8812 | -4.7961 | 6.3918 | 5.3721 | 4.292 | 110.7083 | -86.6486 | -86.6486 | -69.2985 | 93.3418 | 93.3418 |  | 0 | 1.1264 | 1.0709 | 0.29076 | 1.117 | 1.0304 | 0 | -119.0557 | 120.7208 | -23.5199 | -116.2976 | 118.7022
Line_2 | 0.38971 | 0.38971 | 0.38971 | 0.38875 | 0.38875 | 0.38875 | 4.5 | 4.5 | 4.5 | 4.4889 | 4.4889 | 4.4889 | 1.7876 | 2.075 | -3.8627 | -1.2244 | -1.507 | 4.4113 | 0.67723 | -4.57 | 1.6147 | -0.45213 | 4.7824 | -1.3917 | -43.8329 | -43.8329 | -43.8329 | 136.2125 | 136.2125 | 136.2125 |  | 0.4248 | 1.1153 | 0.93035 | 0.29076 | 1.117 | 1.0304 | -23.084 | -109.4121 | 113.4811 | -23.5199 | -116.2976 | 118.7022

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.3129 | 1.1565 | 1.1565 | 2.3117 | 1.1577 | 1.1577 | 26.7075 | 13.3538 | 13.3538 | 26.6931 | 13.3681 | 13.3681 | 7.7752 | -10.2385 | 14.15 | -4.996 | 10.9484 | -13.4664 | 9.097 | 10.9337 | 3.6873 | -5.9396 | -10.1545 | -2.9003 | -73.452 | 106.548 | 106.548 | 106.5481 | -73.4521 | -73.4521 |  | 0.44808 | 1.1217 | 1.095 | 0.29076 | 1.117 | 1.0304 | -23.9722 | -120.3328 | 121.1536 | -23.5199 | -116.2976 | 118.7022
Line_1 | 2.655 | 0.8437 | 0.8437 | 2.6565 | 0.84219 | 0.84219 | 30.6571 | 9.7422 | 9.7422 | 30.6743 | 9.7247 | 9.7247 | 2.3094e-10 | 9.2648 | -9.2648 | 6.2204 | -9.4414 | 9.0551 | -1.7976e-10 | -5.8812 | -4.7961 | 6.3918 | 5.3721 | 4.292 | 110.7083 | -86.6486 | -86.6486 | -69.2985 | 93.3418 | 93.3418 |  | 0 | 1.1264 | 1.0709 | 0.29076 | 1.117 | 1.0304 | 0 | -119.0557 | 120.7208 | -23.5199 | -116.2976 | 118.7022
Line_2 | 0.38971 | 0.38971 | 0.38971 | 0.38875 | 0.38875 | 0.38875 | 4.5 | 4.5 | 4.5 | 4.4889 | 4.4889 | 4.4889 | 1.7876 | 2.075 | -3.8627 | -1.2244 | -1.507 | 4.4113 | 0.67723 | -4.57 | 1.6147 | -0.45213 | 4.7824 | -1.3917 | -43.8329 | -43.8329 | -43.8329 | 136.2125 | 136.2125 | 136.2125 |  | 0.4248 | 1.1153 | 0.93035 | 0.29076 | 1.117 | 1.0304 | -23.084 | -109.4121 | 113.4811 | -23.5199 | -116.2976 | 118.7022

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81135 | 0.40567 | 0.40567 | 0.81091 | 0.40611 | 0.40611 | 9.3686 | 4.6843 | 4.6843 | 9.3636 | 4.6894 | 4.6894 | 5.8939 | -2.1634 | 5.1133 | -5.5492 | 2.2518 | -5.0328 | 6.0565 | 4.7175 | -0.44983 | -5.6654 | -4.6253 | 0.54764 | -54.6206 | 125.3794 | 125.3794 | 125.3795 | -54.6207 | -54.6207 |  | 0.90205 | 1.1079 | 1.0958 | 0.84693 | 1.097 | 1.0796 | -8.8407 | -119.9848 | 120.3519 | -9.0273 | -118.6622 | 119.1692
Line_1 | 0.93133 | 0.29596 | 0.29596 | 0.93185 | 0.29543 | 0.29543 | 10.7541 | 3.4174 | 3.4174 | 10.7601 | 3.4113 | 3.4113 | -6.0635 | 2.3435 | -3.6857 | 6.8317 | -2.3634 | 3.6553 | -5.2412 | -2.9684 | -0.51002 | 6.0314 | 2.9015 | 0.44856 | 129.5397 | -67.8172 | -67.8172 | -50.4671 | 112.1732 | 112.1732 |  | 0.74527 | 1.1067 | 1.0888 | 0.84693 | 1.097 | 1.0796 | -9.6206 | -119.5269 | 120.0613 | -9.0273 | -118.6622 | 119.1692
Line_2 | 0.1367 | 0.1367 | 0.1367 | 0.13637 | 0.13637 | 0.13637 | 1.5785 | 1.5785 | 1.5785 | 1.5746 | 1.5746 | 1.5746 | 1.3543 | -0.041585 | -1.3127 | -1.2824 | 0.11166 | 1.3775 | 0.39536 | -1.7007 | 1.025 | -0.366 | 1.7238 | -0.9962 | -25.0015 | -25.0015 | -25.0015 | 155.044 | 155.044 | 155.044 |  | 0.89374 | 1.0777 | 1.0551 | 0.84693 | 1.097 | 1.0796 | -8.7268 | -116.4022 | 117.0142 | -9.0273 | -118.6622 | 119.1692

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81135 | 0.40567 | 0.40567 | 0.81091 | 0.40611 | 0.40611 | 9.3686 | 4.6843 | 4.6843 | 9.3636 | 4.6894 | 4.6894 | 5.8939 | -2.1634 | 5.1133 | -5.5492 | 2.2518 | -5.0328 | 6.0565 | 4.7175 | -0.44983 | -5.6654 | -4.6253 | 0.54764 | -54.6206 | 125.3794 | 125.3794 | 125.3795 | -54.6207 | -54.6207 |  | 0.90205 | 1.1079 | 1.0958 | 0.84693 | 1.097 | 1.0796 | -8.8407 | -119.9848 | 120.3519 | -9.0273 | -118.6622 | 119.1692
Line_1 | 0.93133 | 0.29596 | 0.29596 | 0.93185 | 0.29543 | 0.29543 | 10.7541 | 3.4174 | 3.4174 | 10.7601 | 3.4113 | 3.4113 | -6.0635 | 2.3435 | -3.6857 | 6.8317 | -2.3634 | 3.6553 | -5.2412 | -2.9684 | -0.51002 | 6.0314 | 2.9015 | 0.44856 | 129.5397 | -67.8172 | -67.8172 | -50.4671 | 112.1732 | 112.1732 |  | 0.74527 | 1.1067 | 1.0888 | 0.84693 | 1.097 | 1.0796 | -9.6206 | -119.5269 | 120.0613 | -9.0273 | -118.6622 | 119.1692
Line_2 | 0.1367 | 0.1367 | 0.1367 | 0.13637 | 0.13637 | 0.13637 | 1.5785 | 1.5785 | 1.5785 | 1.5746 | 1.5746 | 1.5746 | 1.3543 | -0.041585 | -1.3127 | -1.2824 | 0.11166 | 1.3775 | 0.39536 | -1.7007 | 1.025 | -0.366 | 1.7238 | -0.9962 | -25.0015 | -25.0015 | -25.0015 | 155.044 | 155.044 | 155.044 |  | 0.89374 | 1.0777 | 1.0551 | 0.84693 | 1.097 | 1.0796 | -8.7268 | -116.4022 | 117.0142 | -9.0273 | -118.6622 | 119.1692

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.854 | 0.92702 | 0.92702 | 1.8531 | 0.92802 | 0.92802 | 21.4087 | 10.7044 | 10.7044 | 21.3972 | 10.7159 | 10.7159 | 8.4999 | -6.2883 | 10.5678 | -5.0717 | 7.1573 | -9.717 | 6.8426 | 8.8075 | 1.0859 | -4.8132 | -8.3087 | -0.57887 | -65.3879 | 114.6121 | 114.6121 | 114.6122 | -65.3882 | -65.3882 |  | 0.50969 | 1.011 | 0.99244 | 0.32678 | 1.0234 | 0.90839 | -26.5531 | -119.8624 | 120.479 | -21.886 | -114.646 | 118.0211
Line_1 | 2.023 | 0.78655 | 0.78655 | 2.0243 | 0.78522 | 0.78522 | 23.3592 | 9.0823 | 9.0823 | 23.3741 | 9.067 | 9.067 | -9.4775e-11 | 7.708 | -7.708 | 5.9821 | -7.4948 | 7.8955 | -2.1089e-11 | -6.2065 | -3.0735 | 4.7492 | 5.4705 | 2.3449 | 119.6769 | -78.512 | -78.512 | -60.3318 | 101.4799 | 101.4799 |  | 0 | 1.0896 | 0.91366 | 0.32678 | 1.0234 | 0.90839 | 0 | -117.3533 | 123.2272 | -21.886 | -114.646 | 118.0211
Line_2 | 0.24247 | 0.24247 | 0.24247 | 0.24187 | 0.24187 | 0.24187 | 2.7998 | 2.7998 | 2.7998 | 2.7929 | 2.7929 | 2.7929 | 1.3294 | 0.082594 | -1.412 | -0.91041 | 0.33755 | 1.8215 | 0.023543 | -2.7594 | 1.854 | 0.064021 | 2.8382 | -1.7661 | -17.9508 | -17.9508 | -17.9508 | 162.1365 | 162.1365 | 162.1365 |  | 0.47489 | 0.986 | 0.83235 | 0.32678 | 1.0234 | 0.90839 | -16.9362 | -106.2363 | 109.3424 | -21.886 | -114.646 | 118.0211

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.854 | 0.92702 | 0.92702 | 1.8531 | 0.92802 | 0.92802 | 21.4087 | 10.7044 | 10.7044 | 21.3972 | 10.7159 | 10.7159 | 8.4999 | -6.2883 | 10.5678 | -5.0717 | 7.1573 | -9.717 | 6.8426 | 8.8075 | 1.0859 | -4.8132 | -8.3087 | -0.57887 | -65.3879 | 114.6121 | 114.6121 | 114.6122 | -65.3882 | -65.3882 |  | 0.50969 | 1.011 | 0.99244 | 0.32678 | 1.0234 | 0.90839 | -26.5531 | -119.8624 | 120.479 | -21.886 | -114.646 | 118.0211
Line_1 | 2.023 | 0.78655 | 0.78655 | 2.0243 | 0.78522 | 0.78522 | 23.3592 | 9.0823 | 9.0823 | 23.3741 | 9.067 | 9.067 | -9.4775e-11 | 7.708 | -7.708 | 5.9821 | -7.4948 | 7.8955 | -2.1089e-11 | -6.2065 | -3.0735 | 4.7492 | 5.4705 | 2.3449 | 119.6769 | -78.512 | -78.512 | -60.3318 | 101.4799 | 101.4799 |  | 0 | 1.0896 | 0.91366 | 0.32678 | 1.0234 | 0.90839 | 0 | -117.3533 | 123.2272 | -21.886 | -114.646 | 118.0211
Line_2 | 0.24247 | 0.24247 | 0.24247 | 0.24187 | 0.24187 | 0.24187 | 2.7998 | 2.7998 | 2.7998 | 2.7929 | 2.7929 | 2.7929 | 1.3294 | 0.082594 | -1.412 | -0.91041 | 0.33755 | 1.8215 | 0.023543 | -2.7594 | 1.854 | 0.064021 | 2.8382 | -1.7661 | -17.9508 | -17.9508 | -17.9508 | 162.1365 | 162.1365 | 162.1365 |  | 0.47489 | 0.986 | 0.83235 | 0.32678 | 1.0234 | 0.90839 | -16.9362 | -106.2363 | 109.3424 | -21.886 | -114.646 | 118.0211

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69615 | 0.34807 | 0.34807 | 0.69578 | 0.34845 | 0.34845 | 8.0384 | 4.0192 | 4.0192 | 8.0341 | 4.0235 | 4.0235 | 4.833 | -1.5517 | 3.9724 | -4.3478 | 1.675 | -3.8551 | 4.5994 | 3.7242 | -0.5121 | -4.3113 | -3.6566 | 0.58429 | -52.5162 | 127.4838 | 127.4838 | 127.4839 | -52.5164 | -52.5164 |  | 0.82998 | 1.0038 | 0.99653 | 0.76212 | 0.9996 | 0.96908 | -8.9351 | -119.8968 | 120.1381 | -7.7573 | -117.9054 | 118.8653
Line_1 | 0.75957 | 0.29533 | 0.29533 | 0.76006 | 0.29483 | 0.29483 | 8.7708 | 3.4102 | 3.4102 | 8.7764 | 3.4044 | 3.4044 | -4.3005 | 2.1146 | -3.2662 | 5.146 | -2.0831 | 3.2889 | -3.6002 | -2.7982 | -0.36192 | 4.2727 | 2.691 | 0.25964 | 132.5487 | -65.6402 | -65.6402 | -47.46 | 114.3516 | 114.3516 |  | 0.63945 | 1.0285 | 0.96363 | 0.76212 | 0.9996 | 0.96908 | -7.5162 | -118.5618 | 120.6828 | -7.7573 | -117.9054 | 118.8653
Line_2 | 0.091042 | 0.091042 | 0.091042 | 0.090818 | 0.090818 | 0.090818 | 1.0513 | 1.0513 | 1.0513 | 1.0487 | 1.0487 | 1.0487 | 0.85904 | -0.34892 | -0.51012 | -0.79828 | 0.40813 | 0.56618 | -0.025266 | -0.95637 | 0.85731 | 0.038561 | 0.96554 | -0.84393 | -5.079 | -5.079 | -5.079 | 175.0082 | 175.0082 | 175.0082 |  | 0.81751 | 0.9684 | 0.94896 | 0.76212 | 0.9996 | 0.96908 | -6.7637 | -115.123 | 115.6747 | -7.7573 | -117.9054 | 118.8653

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69615 | 0.34807 | 0.34807 | 0.69578 | 0.34845 | 0.34845 | 8.0384 | 4.0192 | 4.0192 | 8.0341 | 4.0235 | 4.0235 | 4.833 | -1.5517 | 3.9724 | -4.3478 | 1.675 | -3.8551 | 4.5994 | 3.7242 | -0.5121 | -4.3113 | -3.6566 | 0.58429 | -52.5162 | 127.4838 | 127.4838 | 127.4839 | -52.5164 | -52.5164 |  | 0.82998 | 1.0038 | 0.99653 | 0.76212 | 0.9996 | 0.96908 | -8.9351 | -119.8968 | 120.1381 | -7.7573 | -117.9054 | 118.8653
Line_1 | 0.75957 | 0.29533 | 0.29533 | 0.76006 | 0.29483 | 0.29483 | 8.7708 | 3.4102 | 3.4102 | 8.7764 | 3.4044 | 3.4044 | -4.3005 | 2.1146 | -3.2662 | 5.146 | -2.0831 | 3.2889 | -3.6002 | -2.7982 | -0.36192 | 4.2727 | 2.691 | 0.25964 | 132.5487 | -65.6402 | -65.6402 | -47.46 | 114.3516 | 114.3516 |  | 0.63945 | 1.0285 | 0.96363 | 0.76212 | 0.9996 | 0.96908 | -7.5162 | -118.5618 | 120.6828 | -7.7573 | -117.9054 | 118.8653
Line_2 | 0.091042 | 0.091042 | 0.091042 | 0.090818 | 0.090818 | 0.090818 | 1.0513 | 1.0513 | 1.0513 | 1.0487 | 1.0487 | 1.0487 | 0.85904 | -0.34892 | -0.51012 | -0.79828 | 0.40813 | 0.56618 | -0.025266 | -0.95637 | 0.85731 | 0.038561 | 0.96554 | -0.84393 | -5.079 | -5.079 | -5.079 | 175.0082 | 175.0082 | 175.0082 |  | 0.81751 | 0.9684 | 0.94896 | 0.76212 | 0.9996 | 0.96908 | -6.7637 | -115.123 | 115.6747 | -7.7573 | -117.9054 | 118.8653

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1591 | 3.0176 | 3.0838 | 1.1603 | 3.0174 | 3.0835 | 13.3838 | 34.8439 | 35.6087 | 13.3982 | 34.842 | 35.6052 | 3.6428 | 13.4662 | 7.0048 | -2.9446 | -8.7356 | -2.0548 | 14.5002 | 8.3682 | 14.9967 | -13.7213 | -2.9855 | -9.3934 | -75.1246 | -172.8419 | 29.0251 | 104.8753 | 7.1815 | -150.9973 |  | 1.1171 | 0.45501 | 0.46483 | 1.0474 | 0.26496 | 0.27006 | 0.77332 | -140.9843 | 93.9885 | 2.7631 | -153.9499 | 106.6638
Line_1 | 0.8456 | 3.2684 | 3.0019 | 0.84408 | 3.2685 | 3.0027 | 9.7641 | 37.7402 | 34.6635 | 9.7466 | 37.7418 | 34.6721 | 6.8045e-11 | 1.9067e-10 | 2.1939e-10 | -0.19491 | 9.1137 | 3.1288 | -10.7255 | -1.6062e-10 | -5.7961e-11 | 10.207 | 4.116 | 8.8253 | 91.6787 | 1.7711 | -143.8409 | -88.3308 | -178.2554 | 36.1844 |  | 1.0985 | 0 | 0 | 1.0474 | 0.26496 | 0.27006 | 1.6787 | 0 | 0 | 2.7631 | -153.9499 | 106.6638
Line_2 | 0.39059 | 0.39059 | 0.39059 | 0.38963 | 0.38963 | 0.38963 | 4.5101 | 4.5101 | 4.5101 | 4.499 | 4.499 | 4.499 | -2.5814 | 0.94117 | 1.6402 | 3.1395 | -0.37804 | -1.074 | -3.3014 | 1.3576 | -0.34461 | 3.5142 | -1.1305 | 0.56809 | 134.4945 | 134.4945 | 134.4945 | -45.4601 | -45.4601 | -45.4601 |  | 0.9292 | 0.36628 | 0.37161 | 1.0474 | 0.26496 | 0.27006 | 6.4723 | -170.2371 | 122.629 | 2.7631 | -153.9499 | 106.6638

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1591 | 3.0176 | 3.0838 | 1.1603 | 3.0174 | 3.0835 | 13.3838 | 34.8439 | 35.6087 | 13.3982 | 34.842 | 35.6052 | 3.6428 | 13.4662 | 7.0048 | -2.9446 | -8.7356 | -2.0548 | 14.5002 | 8.3682 | 14.9967 | -13.7213 | -2.9855 | -9.3934 | -75.1246 | -172.8419 | 29.0251 | 104.8753 | 7.1815 | -150.9973 |  | 1.1171 | 0.45501 | 0.46483 | 1.0474 | 0.26496 | 0.27006 | 0.77332 | -140.9843 | 93.9885 | 2.7631 | -153.9499 | 106.6638
Line_1 | 0.8456 | 3.2684 | 3.0019 | 0.84408 | 3.2685 | 3.0027 | 9.7641 | 37.7402 | 34.6635 | 9.7466 | 37.7418 | 34.6721 | 6.8045e-11 | 1.9067e-10 | 2.1939e-10 | -0.19491 | 9.1137 | 3.1288 | -10.7255 | -1.6062e-10 | -5.7961e-11 | 10.207 | 4.116 | 8.8253 | 91.6787 | 1.7711 | -143.8409 | -88.3308 | -178.2554 | 36.1844 |  | 1.0985 | 0 | 0 | 1.0474 | 0.26496 | 0.27006 | 1.6787 | 0 | 0 | 2.7631 | -153.9499 | 106.6638
Line_2 | 0.39059 | 0.39059 | 0.39059 | 0.38963 | 0.38963 | 0.38963 | 4.5101 | 4.5101 | 4.5101 | 4.499 | 4.499 | 4.499 | -2.5814 | 0.94117 | 1.6402 | 3.1395 | -0.37804 | -1.074 | -3.3014 | 1.3576 | -0.34461 | 3.5142 | -1.1305 | 0.56809 | 134.4945 | 134.4945 | 134.4945 | -45.4601 | -45.4601 | -45.4601 |  | 0.9292 | 0.36628 | 0.37161 | 1.0474 | 0.26496 | 0.27006 | 6.4723 | -170.2371 | 122.629 | 2.7631 | -153.9499 | 106.6638

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1591 | 3.0176 | 3.0838 | 1.1603 | 3.0174 | 3.0835 | 13.3838 | 34.8439 | 35.6087 | 13.3982 | 34.842 | 35.6052 | 3.6428 | 13.4662 | 7.0048 | -2.9446 | -8.7356 | -2.0548 | 14.5002 | 8.3682 | 14.9967 | -13.7213 | -2.9855 | -9.3934 | -75.1246 | -172.8419 | 29.0251 | 104.8753 | 7.1815 | -150.9973 |  | 1.1171 | 0.45501 | 0.46483 | 1.0474 | 0.26496 | 0.27006 | 0.77332 | -140.9843 | 93.9885 | 2.7631 | -153.9499 | 106.6638
Line_1 | 0.8456 | 3.2684 | 3.0019 | 0.84408 | 3.2685 | 3.0027 | 9.7641 | 37.7402 | 34.6635 | 9.7466 | 37.7418 | 34.6721 | 6.8045e-11 | 1.9067e-10 | 2.1939e-10 | -0.19491 | 9.1137 | 3.1288 | -10.7255 | -1.6062e-10 | -5.7961e-11 | 10.207 | 4.116 | 8.8253 | 91.6787 | 1.7711 | -143.8409 | -88.3308 | -178.2554 | 36.1844 |  | 1.0985 | 0 | 0 | 1.0474 | 0.26496 | 0.27006 | 1.6787 | 0 | 0 | 2.7631 | -153.9499 | 106.6638
Line_2 | 0.39059 | 0.39059 | 0.39059 | 0.38963 | 0.38963 | 0.38963 | 4.5101 | 4.5101 | 4.5101 | 4.499 | 4.499 | 4.499 | -2.5814 | 0.94117 | 1.6402 | 3.1395 | -0.37804 | -1.074 | -3.3014 | 1.3576 | -0.34461 | 3.5142 | -1.1305 | 0.56809 | 134.4945 | 134.4945 | 134.4945 | -45.4601 | -45.4601 | -45.4601 |  | 0.9292 | 0.36628 | 0.37161 | 1.0474 | 0.26496 | 0.27006 | 6.4723 | -170.2371 | 122.629 | 2.7631 | -153.9499 | 106.6638

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1591 | 3.0176 | 3.0838 | 1.1603 | 3.0174 | 3.0835 | 13.3838 | 34.8439 | 35.6087 | 13.3982 | 34.842 | 35.6052 | 3.6428 | 13.4662 | 7.0048 | -2.9446 | -8.7356 | -2.0548 | 14.5002 | 8.3682 | 14.9967 | -13.7213 | -2.9855 | -9.3934 | -75.1246 | -172.8419 | 29.0251 | 104.8753 | 7.1815 | -150.9973 |  | 1.1171 | 0.45501 | 0.46483 | 1.0474 | 0.26496 | 0.27006 | 0.77332 | -140.9843 | 93.9885 | 2.7631 | -153.9499 | 106.6638
Line_1 | 0.8456 | 3.2684 | 3.0019 | 0.84408 | 3.2685 | 3.0027 | 9.7641 | 37.7402 | 34.6635 | 9.7466 | 37.7418 | 34.6721 | 6.8045e-11 | 1.9067e-10 | 2.1939e-10 | -0.19491 | 9.1137 | 3.1288 | -10.7255 | -1.6062e-10 | -5.7961e-11 | 10.207 | 4.116 | 8.8253 | 91.6787 | 1.7711 | -143.8409 | -88.3308 | -178.2554 | 36.1844 |  | 1.0985 | 0 | 0 | 1.0474 | 0.26496 | 0.27006 | 1.6787 | 0 | 0 | 2.7631 | -153.9499 | 106.6638
Line_2 | 0.39059 | 0.39059 | 0.39059 | 0.38963 | 0.38963 | 0.38963 | 4.5101 | 4.5101 | 4.5101 | 4.499 | 4.499 | 4.499 | -2.5814 | 0.94117 | 1.6402 | 3.1395 | -0.37804 | -1.074 | -3.3014 | 1.3576 | -0.34461 | 3.5142 | -1.1305 | 0.56809 | 134.4945 | 134.4945 | 134.4945 | -45.4601 | -45.4601 | -45.4601 |  | 0.9292 | 0.36628 | 0.37161 | 1.0474 | 0.26496 | 0.27006 | 6.4723 | -170.2371 | 122.629 | 2.7631 | -153.9499 | 106.6638

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92167 | 2.3486 | 2.531 | 0.92266 | 2.3486 | 2.5307 | 10.6426 | 27.1194 | 29.2259 | 10.654 | 27.1196 | 29.2216 | 3.3426 | 14.504 | 10.1106 | -2.4938 | -8.999 | -3.7132 | 10.1543 | 4.4157 | 11.0296 | -9.6628 | -1.1492 | -7.2592 | -71.194 | -160.6554 | 40.6988 | 108.8058 | 19.3688 | -139.322 |  | 1.0045 | 0.55906 | 0.51196 | 0.93668 | 0.33452 | 0.27903 | 0.58565 | -143.7228 | 88.1879 | 4.3344 | -153.354 | 103.5875
Line_1 | 0.78201 | 2.5298 | 2.4355 | 0.78069 | 2.5297 | 2.4362 | 9.0299 | 29.2121 | 28.1222 | 9.0146 | 29.2107 | 28.1311 | -9.4129e-11 | -1.7591e-10 | -8.8861e-11 | 0.19738 | 9.5921 | 4.1823 | -9.1732 | -1.2503e-10 | -1.8902e-10 | 8.4416 | 1.864 | 6.6425 | 95.682 | 15.6789 | -134.2425 | -84.3262 | -164.351 | 45.783 |  | 1.0159 | 0 | 0 | 0.93668 | 0.33452 | 0.27903 | 5.682 | 0 | 0 | 4.3344 | -153.354 | 103.5875
Line_2 | 0.24107 | 0.24107 | 0.24107 | 0.24048 | 0.24048 | 0.24048 | 2.7836 | 2.7836 | 2.7836 | 2.7768 | 2.7768 | 2.7768 | -1.8884 | 1.0054 | 0.88301 | 2.2964 | -0.59316 | -0.46907 | -1.1424 | 0.80286 | -0.53216 | 1.2212 | -0.71486 | 0.6167 | 156.2432 | 156.2432 | 156.2432 | -23.6696 | -23.6696 | -23.6696 |  | 0.79287 | 0.4622 | 0.37037 | 0.93668 | 0.33452 | 0.27903 | 7.4159 | -165.1472 | 125.1673 | 4.3344 | -153.354 | 103.5875

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92167 | 2.3486 | 2.531 | 0.92266 | 2.3486 | 2.5307 | 10.6426 | 27.1194 | 29.2259 | 10.654 | 27.1196 | 29.2216 | 3.3426 | 14.504 | 10.1106 | -2.4938 | -8.999 | -3.7132 | 10.1543 | 4.4157 | 11.0296 | -9.6628 | -1.1492 | -7.2592 | -71.194 | -160.6554 | 40.6988 | 108.8058 | 19.3688 | -139.322 |  | 1.0045 | 0.55906 | 0.51196 | 0.93668 | 0.33452 | 0.27903 | 0.58565 | -143.7228 | 88.1879 | 4.3344 | -153.354 | 103.5875
Line_1 | 0.78201 | 2.5298 | 2.4355 | 0.78069 | 2.5297 | 2.4362 | 9.0299 | 29.2121 | 28.1222 | 9.0146 | 29.2107 | 28.1311 | -9.4129e-11 | -1.7591e-10 | -8.8861e-11 | 0.19738 | 9.5921 | 4.1823 | -9.1732 | -1.2503e-10 | -1.8902e-10 | 8.4416 | 1.864 | 6.6425 | 95.682 | 15.6789 | -134.2425 | -84.3262 | -164.351 | 45.783 |  | 1.0159 | 0 | 0 | 0.93668 | 0.33452 | 0.27903 | 5.682 | 0 | 0 | 4.3344 | -153.354 | 103.5875
Line_2 | 0.24107 | 0.24107 | 0.24107 | 0.24048 | 0.24048 | 0.24048 | 2.7836 | 2.7836 | 2.7836 | 2.7768 | 2.7768 | 2.7768 | -1.8884 | 1.0054 | 0.88301 | 2.2964 | -0.59316 | -0.46907 | -1.1424 | 0.80286 | -0.53216 | 1.2212 | -0.71486 | 0.6167 | 156.2432 | 156.2432 | 156.2432 | -23.6696 | -23.6696 | -23.6696 |  | 0.79287 | 0.4622 | 0.37037 | 0.93668 | 0.33452 | 0.27903 | 7.4159 | -165.1472 | 125.1673 | 4.3344 | -153.354 | 103.5875

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92167 | 2.3486 | 2.531 | 0.92266 | 2.3486 | 2.5307 | 10.6426 | 27.1194 | 29.2259 | 10.654 | 27.1196 | 29.2216 | 3.3426 | 14.504 | 10.1106 | -2.4938 | -8.999 | -3.7132 | 10.1543 | 4.4157 | 11.0296 | -9.6628 | -1.1492 | -7.2592 | -71.194 | -160.6554 | 40.6988 | 108.8058 | 19.3688 | -139.322 |  | 1.0045 | 0.55906 | 0.51196 | 0.93668 | 0.33452 | 0.27903 | 0.58565 | -143.7228 | 88.1879 | 4.3344 | -153.354 | 103.5875
Line_1 | 0.78201 | 2.5298 | 2.4355 | 0.78069 | 2.5297 | 2.4362 | 9.0299 | 29.2121 | 28.1222 | 9.0146 | 29.2107 | 28.1311 | -9.4129e-11 | -1.7591e-10 | -8.8861e-11 | 0.19738 | 9.5921 | 4.1823 | -9.1732 | -1.2503e-10 | -1.8902e-10 | 8.4416 | 1.864 | 6.6425 | 95.682 | 15.6789 | -134.2425 | -84.3262 | -164.351 | 45.783 |  | 1.0159 | 0 | 0 | 0.93668 | 0.33452 | 0.27903 | 5.682 | 0 | 0 | 4.3344 | -153.354 | 103.5875
Line_2 | 0.24107 | 0.24107 | 0.24107 | 0.24048 | 0.24048 | 0.24048 | 2.7836 | 2.7836 | 2.7836 | 2.7768 | 2.7768 | 2.7768 | -1.8884 | 1.0054 | 0.88301 | 2.2964 | -0.59316 | -0.46907 | -1.1424 | 0.80286 | -0.53216 | 1.2212 | -0.71486 | 0.6167 | 156.2432 | 156.2432 | 156.2432 | -23.6696 | -23.6696 | -23.6696 |  | 0.79287 | 0.4622 | 0.37037 | 0.93668 | 0.33452 | 0.27903 | 7.4159 | -165.1472 | 125.1673 | 4.3344 | -153.354 | 103.5875

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92167 | 2.3486 | 2.531 | 0.92266 | 2.3486 | 2.5307 | 10.6426 | 27.1194 | 29.2259 | 10.654 | 27.1196 | 29.2216 | 3.3426 | 14.504 | 10.1106 | -2.4938 | -8.999 | -3.7132 | 10.1543 | 4.4157 | 11.0296 | -9.6628 | -1.1492 | -7.2592 | -71.194 | -160.6554 | 40.6988 | 108.8058 | 19.3688 | -139.322 |  | 1.0045 | 0.55906 | 0.51196 | 0.93668 | 0.33452 | 0.27903 | 0.58565 | -143.7228 | 88.1879 | 4.3344 | -153.354 | 103.5875
Line_1 | 0.78201 | 2.5298 | 2.4355 | 0.78069 | 2.5297 | 2.4362 | 9.0299 | 29.2121 | 28.1222 | 9.0146 | 29.2107 | 28.1311 | -9.4129e-11 | -1.7591e-10 | -8.8861e-11 | 0.19738 | 9.5921 | 4.1823 | -9.1732 | -1.2503e-10 | -1.8902e-10 | 8.4416 | 1.864 | 6.6425 | 95.682 | 15.6789 | -134.2425 | -84.3262 | -164.351 | 45.783 |  | 1.0159 | 0 | 0 | 0.93668 | 0.33452 | 0.27903 | 5.682 | 0 | 0 | 4.3344 | -153.354 | 103.5875
Line_2 | 0.24107 | 0.24107 | 0.24107 | 0.24048 | 0.24048 | 0.24048 | 2.7836 | 2.7836 | 2.7836 | 2.7768 | 2.7768 | 2.7768 | -1.8884 | 1.0054 | 0.88301 | 2.2964 | -0.59316 | -0.46907 | -1.1424 | 0.80286 | -0.53216 | 1.2212 | -0.71486 | 0.6167 | 156.2432 | 156.2432 | 156.2432 | -23.6696 | -23.6696 | -23.6696 |  | 0.79287 | 0.4622 | 0.37037 | 0.93668 | 0.33452 | 0.27903 | 7.4159 | -165.1472 | 125.1673 | 4.3344 | -153.354 | 103.5875