## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.3027e-14 | -3.6475e-14 | -5.2106e-15 | 2.6058e-15 | 3.6475e-14 | -6.7679e-29 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.442e-13 | 180 | -180 | 7.4839e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -2.8658e-14 | 5.2108e-15 | 5.2106e-15 | 4.429e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3674e-13 | -180 | 180 | 7.4839e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.8158e-15 | -5.2105e-15 | -5.2106e-15 | 2.3448e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3173e-13 | -180 | 180 | 7.4839e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.3027e-14 | 0 | -6.6545e-29 | 2.8659e-14 | -1.5632e-14 | -2.01e-28 | 1.5632e-14 | 0 | 5.2106e-15 | -1.5632e-14 | 1.5469e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3674e-13 | -180 | 180 | 7.3173e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 1.3027e-14 | -3.6475e-14 | -5.2106e-15 | 2.6058e-15 | 3.6475e-14 | -6.7679e-29 | 5.7634e-09 | -5.7634e-09 | 5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.442e-13 | 180 | -180 | 7.4839e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -2.8658e-14 | 5.2108e-15 | 5.2106e-15 | 4.429e-14 | -1.5632e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3674e-13 | -180 | 180 | 7.4839e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -7.8158e-15 | -5.2105e-15 | -5.2106e-15 | 2.3448e-14 | -5.2108e-15 | 1.5632e-14 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3173e-13 | -180 | 180 | 7.4839e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -1.3027e-14 | 0 | -6.6545e-29 | 2.8659e-14 | -1.5632e-14 | -2.01e-28 | 1.5632e-14 | 0 | 5.2106e-15 | -1.5632e-14 | 1.5469e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.3674e-13 | -180 | 180 | 7.3173e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5548e-10 | -3.075e-09 | -3.908e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5663e-10 | 1.0421e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8219e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | 3.1848e-10 | 1.025e-09 | 3.908e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7642e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1847e-10 | -1.025e-09 | -3.1143e-29 | -1.3426e-09 | 1.1888e-10 | 6.4215e-30 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7396e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 1.0786e-15 | 2.6634e-15 | -2.6053e-15 | 1.6217e-14 | -1.7756e-15 | 2.6053e-15 | -4.8331e-15 | -4.1942e-15 | -2.6053e-15 | 4.6339e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7642e-13 | -140.8543 | 122.4159 | 2.7396e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3027e-15 | -9.5548e-10 | -3.075e-09 | -3.908e-15 | 9.5548e-10 | 3.075e-09 | -1.3027e-14 | 4.0277e-09 | -3.5663e-10 | 1.0421e-14 | -4.0277e-09 | 3.5664e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.8219e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1186e-15 | 3.1848e-10 | 1.025e-09 | 3.908e-15 | -3.1847e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -2.6053e-15 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7642e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1849e-10 | 1.025e-09 | 1.3027e-15 | -3.1847e-10 | -1.025e-09 | -3.1143e-29 | -1.3426e-09 | 1.1888e-10 | 6.4215e-30 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7396e-13 | -140.8543 | 122.4159 | 2.8244e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 1.0786e-15 | 2.6634e-15 | -2.6053e-15 | 1.6217e-14 | -1.7756e-15 | 2.6053e-15 | -4.8331e-15 | -4.1942e-15 | -2.6053e-15 | 4.6339e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7642e-13 | -140.8543 | 122.4159 | 2.7396e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-15 | -7.1054e-15 | -9.4739e-15 | 4.7376e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4189e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | 8.29e-15 | 1.1843e-14 | 2.1316e-14 | -2.2903e-19 | -1.1843e-14 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6251e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | 3.553e-15 | 1.1843e-14 | 2.1316e-14 | -2.2903e-19 | -7.1057e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6689e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.9212e-15 | 1.8183e-24 | 0 | -1.1842e-15 | 2.3685e-15 | -3.1521e-29 | -7.1054e-15 | 9.4739e-15 | 0 | 9.4739e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6251e-13 | -180 | 180 | 7.6689e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | -1.1842e-15 | -7.1054e-15 | -9.4739e-15 | 4.7376e-15 | 7.1061e-15 | 2.3685e-14 | 4.7631e-09 | -4.7631e-09 | -2.3685e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4189e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | 8.29e-15 | 1.1843e-14 | 2.1316e-14 | -2.2903e-19 | -1.1843e-14 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 1.8948e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6251e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | 3.553e-15 | 1.1843e-14 | 2.1316e-14 | -2.2903e-19 | -7.1057e-15 | -1.8948e-14 | -1.5877e-09 | 1.5877e-09 | 1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6689e-13 | -180 | 180 | 7.694e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 5.9212e-15 | 1.8183e-24 | 0 | -1.1842e-15 | 2.3685e-15 | -3.1521e-29 | -7.1054e-15 | 9.4739e-15 | 0 | 9.4739e-15 | -9.4739e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.6251e-13 | -180 | 180 | 7.6689e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4409e-15 | -8.0026e-10 | -2.5674e-09 | -5.6251e-15 | 8.0026e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4065e-10 | -9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0018e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 2.6677e-10 | 8.558e-10 | 1.0658e-14 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 5.7143e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0038e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-15 | 2.6676e-10 | 8.558e-10 | 7.6975e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 4.127e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0382e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.0095e-15 | 4.9817e-15 | 1.1842e-15 | -5.3494e-16 | -1.8881e-15 | -6.2084e-30 | -7.2009e-15 | 3.215e-15 | 6.2797e-30 | 4.6863e-15 | -2.5416e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0038e-13 | -141.4824 | 122.8363 | 3.0382e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4409e-15 | -8.0026e-10 | -2.5674e-09 | -5.6251e-15 | 8.0026e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4065e-10 | -9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0018e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 2.6677e-10 | 8.558e-10 | 1.0658e-14 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 5.7143e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0038e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-15 | 2.6676e-10 | 8.558e-10 | 7.6975e-15 | -2.6675e-10 | -8.558e-10 | -2.3685e-15 | -1.1338e-09 | 1.1355e-10 | 4.127e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0382e-13 | -141.4824 | 122.8363 | 3.0719e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-15 | 7.0095e-15 | 4.9817e-15 | 1.1842e-15 | -5.3494e-16 | -1.8881e-15 | -6.2084e-30 | -7.2009e-15 | 3.215e-15 | 6.2797e-30 | 4.6863e-15 | -2.5416e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 3.0038e-13 | -141.4824 | 122.8363 | 3.0382e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1575 | 1.1575 | 1.1575 | 1.1595 | 1.1595 | 1.1595 | 13.3654 | 13.3654 | 13.3654 | 13.3882 | 13.3882 | 13.3882 | 7.3941e-11 | 0.35128 | 22.0015 | 4.963 | 4.6369 | -17.0716 | -8.5875e-11 | 16.1742 | 2.7688 | 1.9768 | -14.2256 | -0.83177 | 121.7649 | 121.7649 | 121.7649 | -58.3261 | -58.3261 | -58.3261 |  | 0 | 1.2104 | 1.6591 | 0.39903 | 1.1176 | 1.2766 | 0 | -149.4792 | 128.9377 | -36.6089 | -130.2724 | 124.4633
Line_1 | 0.58116 | 0.58116 | 0.58116 | 0.57973 | 0.57973 | 0.57973 | 6.7106 | 6.7106 | 6.7106 | 6.6941 | 6.6941 | 6.6941 | 3.7335 | 3.5764 | -7.3099 | -2.4815 | -2.3185 | 8.5358 | 1.4887 | -6.6325 | 0.072251 | -0.98838 | 7.1128 | 0.41588 | -58.3715 | -58.3715 | -58.3715 | 121.6739 | 121.6739 | 121.6739 |  | 0.59895 | 1.1229 | 1.0894 | 0.39903 | 1.1176 | 1.2766 | -36.6317 | -120.0368 | 121.0622 | -36.6089 | -130.2724 | 124.4633
Line_2 | 0.58116 | 0.58116 | 0.58116 | 0.57973 | 0.57973 | 0.57973 | 6.7106 | 6.7106 | 6.7106 | 6.6941 | 6.6941 | 6.6941 | 3.7335 | 3.5764 | -7.3099 | -2.4815 | -2.3185 | 8.5358 | 1.4887 | -6.6325 | 0.072251 | -0.98838 | 7.1128 | 0.41588 | -58.3715 | -58.3715 | -58.3715 | 121.6739 | 121.6739 | 121.6739 |  | 0.59895 | 1.1229 | 1.0894 | 0.39903 | 1.1176 | 1.2766 | -36.6317 | -120.0368 | 121.0622 | -36.6089 | -130.2724 | 124.4633
Line_3 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0040054 | 0.0038369 | -0.0078423 | 0.0040054 | 0.0038369 | -0.0078423 | 0.0015972 | -0.0071156 | 7.7512e-05 | 0.0015972 | -0.0071156 | 7.7512e-05 | -58.3715 | -58.3715 | -58.3715 | -58.3715 | -58.3715 | -58.3715 |  | 0.59895 | 1.1229 | 1.0894 | 0.59895 | 1.1229 | 1.0894 | -36.6317 | -120.0368 | 121.0622 | -36.6317 | -120.0368 | 121.0622

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1575 | 1.1575 | 1.1575 | 1.1595 | 1.1595 | 1.1595 | 13.3654 | 13.3654 | 13.3654 | 13.3882 | 13.3882 | 13.3882 | 7.3941e-11 | 0.35128 | 22.0015 | 4.963 | 4.6369 | -17.0716 | -8.5875e-11 | 16.1742 | 2.7688 | 1.9768 | -14.2256 | -0.83177 | 121.7649 | 121.7649 | 121.7649 | -58.3261 | -58.3261 | -58.3261 |  | 0 | 1.2104 | 1.6591 | 0.39903 | 1.1176 | 1.2766 | 0 | -149.4792 | 128.9377 | -36.6089 | -130.2724 | 124.4633
Line_1 | 0.58116 | 0.58116 | 0.58116 | 0.57973 | 0.57973 | 0.57973 | 6.7106 | 6.7106 | 6.7106 | 6.6941 | 6.6941 | 6.6941 | 3.7335 | 3.5764 | -7.3099 | -2.4815 | -2.3185 | 8.5358 | 1.4887 | -6.6325 | 0.072251 | -0.98838 | 7.1128 | 0.41588 | -58.3715 | -58.3715 | -58.3715 | 121.6739 | 121.6739 | 121.6739 |  | 0.59895 | 1.1229 | 1.0894 | 0.39903 | 1.1176 | 1.2766 | -36.6317 | -120.0368 | 121.0622 | -36.6089 | -130.2724 | 124.4633
Line_2 | 0.58116 | 0.58116 | 0.58116 | 0.57973 | 0.57973 | 0.57973 | 6.7106 | 6.7106 | 6.7106 | 6.6941 | 6.6941 | 6.6941 | 3.7335 | 3.5764 | -7.3099 | -2.4815 | -2.3185 | 8.5358 | 1.4887 | -6.6325 | 0.072251 | -0.98838 | 7.1128 | 0.41588 | -58.3715 | -58.3715 | -58.3715 | 121.6739 | 121.6739 | 121.6739 |  | 0.59895 | 1.1229 | 1.0894 | 0.39903 | 1.1176 | 1.2766 | -36.6317 | -120.0368 | 121.0622 | -36.6089 | -130.2724 | 124.4633
Line_3 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.00062348 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0071993 | 0.0040054 | 0.0038369 | -0.0078423 | 0.0040054 | 0.0038369 | -0.0078423 | 0.0015972 | -0.0071156 | 7.7512e-05 | 0.0015972 | -0.0071156 | 7.7512e-05 | -58.3715 | -58.3715 | -58.3715 | -58.3715 | -58.3715 | -58.3715 |  | 0.59895 | 1.1229 | 1.0894 | 0.59895 | 1.1229 | 1.0894 | -36.6317 | -120.0368 | 121.0622 | -36.6317 | -120.0368 | 121.0622

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.397 | 0.397 | 0.397 | 0.39768 | 0.39768 | 0.39768 | 4.5842 | 4.5842 | 4.5842 | 4.592 | 4.592 | 4.592 | -2.3641 | -0.82401 | 5.8178 | 2.9483 | 1.4174 | -5.2447 | -2.3641 | 5.1322 | -0.53961 | 2.6045 | -4.9071 | 0.76382 | 130.4961 | 130.4961 | 130.4961 | -49.5948 | -49.5948 | -49.5948 |  | 0.72934 | 1.1339 | 1.2745 | 0.85669 | 1.1123 | 1.1542 | -4.5039 | -130.3825 | 125.197 | -8.1377 | -123.4833 | 122.119
Line_1 | 0.19933 | 0.19933 | 0.19933 | 0.19884 | 0.19884 | 0.19884 | 2.3017 | 2.3017 | 2.3017 | 2.296 | 2.296 | 2.296 | 1.6234 | 0.85907 | -2.4825 | -1.4741 | -0.70872 | 2.6223 | 1.365 | -2.4007 | 0.43911 | -1.3022 | 2.4536 | -0.38191 | -49.6403 | -49.6403 | -49.6403 | 130.4052 | 130.4052 | 130.4052 |  | 0.9215 | 1.1078 | 1.0953 | 0.85669 | 1.1123 | 1.1542 | -9.5827 | -119.951 | 120.3286 | -8.1377 | -123.4833 | 122.119
Line_2 | 0.19933 | 0.19933 | 0.19933 | 0.19884 | 0.19884 | 0.19884 | 2.3017 | 2.3017 | 2.3017 | 2.296 | 2.296 | 2.296 | 1.6234 | 0.85907 | -2.4825 | -1.4741 | -0.70872 | 2.6223 | 1.365 | -2.4007 | 0.43911 | -1.3022 | 2.4536 | -0.38191 | -49.6403 | -49.6403 | -49.6403 | 130.4052 | 130.4052 | 130.4052 |  | 0.9215 | 1.1078 | 1.0953 | 0.85669 | 1.1123 | 1.1542 | -9.5827 | -119.951 | 120.3286 | -8.1377 | -123.4833 | 122.119
Line_3 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0017416 | 0.00092163 | -0.0026632 | 0.0017416 | 0.00092163 | -0.0026632 | 0.0014644 | -0.0025755 | 0.00047109 | 0.0014644 | -0.0025755 | 0.00047109 | -49.6403 | -49.6403 | -49.6403 | -49.6403 | -49.6403 | -49.6403 |  | 0.9215 | 1.1078 | 1.0953 | 0.9215 | 1.1078 | 1.0953 | -9.5827 | -119.951 | 120.3286 | -9.5827 | -119.951 | 120.3286

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.397 | 0.397 | 0.397 | 0.39768 | 0.39768 | 0.39768 | 4.5842 | 4.5842 | 4.5842 | 4.592 | 4.592 | 4.592 | -2.3641 | -0.82401 | 5.8178 | 2.9483 | 1.4174 | -5.2447 | -2.3641 | 5.1322 | -0.53961 | 2.6045 | -4.9071 | 0.76382 | 130.4961 | 130.4961 | 130.4961 | -49.5948 | -49.5948 | -49.5948 |  | 0.72934 | 1.1339 | 1.2745 | 0.85669 | 1.1123 | 1.1542 | -4.5039 | -130.3825 | 125.197 | -8.1377 | -123.4833 | 122.119
Line_1 | 0.19933 | 0.19933 | 0.19933 | 0.19884 | 0.19884 | 0.19884 | 2.3017 | 2.3017 | 2.3017 | 2.296 | 2.296 | 2.296 | 1.6234 | 0.85907 | -2.4825 | -1.4741 | -0.70872 | 2.6223 | 1.365 | -2.4007 | 0.43911 | -1.3022 | 2.4536 | -0.38191 | -49.6403 | -49.6403 | -49.6403 | 130.4052 | 130.4052 | 130.4052 |  | 0.9215 | 1.1078 | 1.0953 | 0.85669 | 1.1123 | 1.1542 | -9.5827 | -119.951 | 120.3286 | -8.1377 | -123.4833 | 122.119
Line_2 | 0.19933 | 0.19933 | 0.19933 | 0.19884 | 0.19884 | 0.19884 | 2.3017 | 2.3017 | 2.3017 | 2.296 | 2.296 | 2.296 | 1.6234 | 0.85907 | -2.4825 | -1.4741 | -0.70872 | 2.6223 | 1.365 | -2.4007 | 0.43911 | -1.3022 | 2.4536 | -0.38191 | -49.6403 | -49.6403 | -49.6403 | 130.4052 | 130.4052 | 130.4052 |  | 0.9215 | 1.1078 | 1.0953 | 0.85669 | 1.1123 | 1.1542 | -9.5827 | -119.951 | 120.3286 | -8.1377 | -123.4833 | 122.119
Line_3 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.00021385 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0024693 | 0.0017416 | 0.00092163 | -0.0026632 | 0.0017416 | 0.00092163 | -0.0026632 | 0.0014644 | -0.0025755 | 0.00047109 | 0.0014644 | -0.0025755 | 0.00047109 | -49.6403 | -49.6403 | -49.6403 | -49.6403 | -49.6403 | -49.6403 |  | 0.9215 | 1.1078 | 1.0953 | 0.9215 | 1.1078 | 1.0953 | -9.5827 | -119.951 | 120.3286 | -9.5827 | -119.951 | 120.3286

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79745 | 0.79745 | 0.79745 | 0.79881 | 0.79881 | 0.79881 | 9.2081 | 9.2081 | 9.2081 | 9.2238 | 9.2238 | 9.2238 | -2.3965e-11 | 4.9414 | 15.4296 | 4.523 | -0.39477 | -10.9375 | 2.5193e-12 | 10.4808 | -1.5346 | 0.9408 | -9.5728 | 2.4308 | 138.8822 | 138.8822 | 138.8822 | -41.2925 | -41.2925 | -41.2925 |  | 0 | 1.2584 | 1.6839 | 0.50086 | 1.0387 | 1.2147 | 0 | -156.3604 | 133.2025 | -29.5424 | -133.6539 | 126.1773
Line_1 | 0.40039 | 0.40039 | 0.40039 | 0.3994 | 0.3994 | 0.3994 | 4.6233 | 4.6233 | 4.6233 | 4.6119 | 4.6119 | 4.6119 | 3.4025 | 0.94552 | -4.348 | -2.2615 | 0.19738 | 5.4687 | 0.71041 | -4.5631 | 1.4455 | -0.4704 | 4.7864 | -1.2154 | -41.3797 | -41.3797 | -41.3797 | 138.7075 | 138.7075 | 138.7075 |  | 0.75181 | 1.008 | 0.99106 | 0.50086 | 1.0387 | 1.2147 | -29.5861 | -119.6731 | 120.2311 | -29.5424 | -133.6539 | 126.1773
Line_2 | 0.40039 | 0.40039 | 0.40039 | 0.3994 | 0.3994 | 0.3994 | 4.6233 | 4.6233 | 4.6233 | 4.6119 | 4.6119 | 4.6119 | 3.4025 | 0.94552 | -4.348 | -2.2615 | 0.19738 | 5.4687 | 0.71041 | -4.5631 | 1.4455 | -0.4704 | 4.7864 | -1.2154 | -41.3797 | -41.3797 | -41.3797 | 138.7075 | 138.7075 | 138.7075 |  | 0.75181 | 1.008 | 0.99106 | 0.50086 | 1.0387 | 1.2147 | -29.5861 | -119.6731 | 120.2311 | -29.5424 | -133.6539 | 126.1773
Line_3 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.0036502 | 0.0010144 | -0.0046646 | 0.0036502 | 0.0010144 | -0.0046646 | 0.00076215 | -0.0048954 | 0.0015507 | 0.00076215 | -0.0048954 | 0.0015507 | -41.3797 | -41.3797 | -41.3797 | -41.3797 | -41.3797 | -41.3797 |  | 0.75181 | 1.008 | 0.99106 | 0.75181 | 1.008 | 0.99106 | -29.5861 | -119.6731 | 120.2311 | -29.5861 | -119.6731 | 120.2311

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.79745 | 0.79745 | 0.79745 | 0.79881 | 0.79881 | 0.79881 | 9.2081 | 9.2081 | 9.2081 | 9.2238 | 9.2238 | 9.2238 | -2.3965e-11 | 4.9414 | 15.4296 | 4.523 | -0.39477 | -10.9375 | 2.5193e-12 | 10.4808 | -1.5346 | 0.9408 | -9.5728 | 2.4308 | 138.8822 | 138.8822 | 138.8822 | -41.2925 | -41.2925 | -41.2925 |  | 0 | 1.2584 | 1.6839 | 0.50086 | 1.0387 | 1.2147 | 0 | -156.3604 | 133.2025 | -29.5424 | -133.6539 | 126.1773
Line_1 | 0.40039 | 0.40039 | 0.40039 | 0.3994 | 0.3994 | 0.3994 | 4.6233 | 4.6233 | 4.6233 | 4.6119 | 4.6119 | 4.6119 | 3.4025 | 0.94552 | -4.348 | -2.2615 | 0.19738 | 5.4687 | 0.71041 | -4.5631 | 1.4455 | -0.4704 | 4.7864 | -1.2154 | -41.3797 | -41.3797 | -41.3797 | 138.7075 | 138.7075 | 138.7075 |  | 0.75181 | 1.008 | 0.99106 | 0.50086 | 1.0387 | 1.2147 | -29.5861 | -119.6731 | 120.2311 | -29.5424 | -133.6539 | 126.1773
Line_2 | 0.40039 | 0.40039 | 0.40039 | 0.3994 | 0.3994 | 0.3994 | 4.6233 | 4.6233 | 4.6233 | 4.6119 | 4.6119 | 4.6119 | 3.4025 | 0.94552 | -4.348 | -2.2615 | 0.19738 | 5.4687 | 0.71041 | -4.5631 | 1.4455 | -0.4704 | 4.7864 | -1.2154 | -41.3797 | -41.3797 | -41.3797 | 138.7075 | 138.7075 | 138.7075 |  | 0.75181 | 1.008 | 0.99106 | 0.50086 | 1.0387 | 1.2147 | -29.5861 | -119.6731 | 120.2311 | -29.5424 | -133.6539 | 126.1773
Line_3 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00042955 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.00496 | 0.0036502 | 0.0010144 | -0.0046646 | 0.0036502 | 0.0010144 | -0.0046646 | 0.00076215 | -0.0048954 | 0.0015507 | 0.00076215 | -0.0048954 | 0.0015507 | -41.3797 | -41.3797 | -41.3797 | -41.3797 | -41.3797 | -41.3797 |  | 0.75181 | 1.008 | 0.99106 | 0.75181 | 1.008 | 0.99106 | -29.5861 | -119.6731 | 120.2311 | -29.5861 | -119.6731 | 120.2311

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32369 | 0.32369 | 0.32369 | 0.32424 | 0.32424 | 0.32424 | 3.7376 | 3.7376 | 3.7376 | 3.744 | 3.744 | 3.744 | -1.5716 | 0.23889 | 4.689 | 2.3147 | 0.51774 | -3.9543 | -1.5716 | 3.8736 | -0.82807 | 1.7341 | -3.7259 | 0.97016 | 136.5748 | 136.5748 | 136.5748 | -43.5999 | -43.5999 | -43.5999 |  | 0.59465 | 1.0384 | 1.274 | 0.77249 | 1.0047 | 1.0875 | 1.5748 | -136.9542 | 126.5596 | -6.7606 | -125.689 | 122.6151
Line_1 | 0.16252 | 0.16252 | 0.16252 | 0.16212 | 0.16212 | 0.16212 | 1.8766 | 1.8766 | 1.8766 | 1.872 | 1.872 | 1.872 | 1.346 | 0.44953 | -1.7956 | -1.1573 | -0.25887 | 1.9771 | 0.90972 | -1.8284 | 0.52204 | -0.86703 | 1.863 | -0.48508 | -43.6871 | -43.6871 | -43.6871 | 136.4001 | 136.4001 | 136.4001 |  | 0.86573 | 1.0033 | 0.99644 | 0.77249 | 1.0047 | 1.0875 | -9.6343 | -119.8742 | 120.1016 | -6.7606 | -125.689 | 122.6151
Line_2 | 0.16252 | 0.16252 | 0.16252 | 0.16212 | 0.16212 | 0.16212 | 1.8766 | 1.8766 | 1.8766 | 1.872 | 1.872 | 1.872 | 1.346 | 0.44953 | -1.7956 | -1.1573 | -0.25887 | 1.9771 | 0.90972 | -1.8284 | 0.52204 | -0.86703 | 1.863 | -0.48508 | -43.6871 | -43.6871 | -43.6871 | 136.4001 | 136.4001 | 136.4001 |  | 0.86573 | 1.0033 | 0.99644 | 0.77249 | 1.0047 | 1.0875 | -9.6343 | -119.8742 | 120.1016 | -6.7606 | -125.689 | 122.6151
Line_3 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0014441 | 0.00048227 | -0.0019263 | 0.0014441 | 0.00048227 | -0.0019263 | 0.00097597 | -0.0019615 | 0.00056006 | 0.00097597 | -0.0019615 | 0.00056006 | -43.6871 | -43.6871 | -43.6871 | -43.6871 | -43.6871 | -43.6871 |  | 0.86573 | 1.0033 | 0.99644 | 0.86573 | 1.0033 | 0.99644 | -9.6343 | -119.8742 | 120.1016 | -9.6343 | -119.8742 | 120.1016

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32369 | 0.32369 | 0.32369 | 0.32424 | 0.32424 | 0.32424 | 3.7376 | 3.7376 | 3.7376 | 3.744 | 3.744 | 3.744 | -1.5716 | 0.23889 | 4.689 | 2.3147 | 0.51774 | -3.9543 | -1.5716 | 3.8736 | -0.82807 | 1.7341 | -3.7259 | 0.97016 | 136.5748 | 136.5748 | 136.5748 | -43.5999 | -43.5999 | -43.5999 |  | 0.59465 | 1.0384 | 1.274 | 0.77249 | 1.0047 | 1.0875 | 1.5748 | -136.9542 | 126.5596 | -6.7606 | -125.689 | 122.6151
Line_1 | 0.16252 | 0.16252 | 0.16252 | 0.16212 | 0.16212 | 0.16212 | 1.8766 | 1.8766 | 1.8766 | 1.872 | 1.872 | 1.872 | 1.346 | 0.44953 | -1.7956 | -1.1573 | -0.25887 | 1.9771 | 0.90972 | -1.8284 | 0.52204 | -0.86703 | 1.863 | -0.48508 | -43.6871 | -43.6871 | -43.6871 | 136.4001 | 136.4001 | 136.4001 |  | 0.86573 | 1.0033 | 0.99644 | 0.77249 | 1.0047 | 1.0875 | -9.6343 | -119.8742 | 120.1016 | -6.7606 | -125.689 | 122.6151
Line_2 | 0.16252 | 0.16252 | 0.16252 | 0.16212 | 0.16212 | 0.16212 | 1.8766 | 1.8766 | 1.8766 | 1.872 | 1.872 | 1.872 | 1.346 | 0.44953 | -1.7956 | -1.1573 | -0.25887 | 1.9771 | 0.90972 | -1.8284 | 0.52204 | -0.86703 | 1.863 | -0.48508 | -43.6871 | -43.6871 | -43.6871 | 136.4001 | 136.4001 | 136.4001 |  | 0.86573 | 1.0033 | 0.99644 | 0.77249 | 1.0047 | 1.0875 | -9.6343 | -119.8742 | 120.1016 | -6.7606 | -125.689 | 122.6151
Line_3 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.00017435 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0020133 | 0.0014441 | 0.00048227 | -0.0019263 | 0.0014441 | 0.00048227 | -0.0019263 | 0.00097597 | -0.0019615 | 0.00056006 | 0.00097597 | -0.0019615 | 0.00056006 | -43.6871 | -43.6871 | -43.6871 | -43.6871 | -43.6871 | -43.6871 |  | 0.86573 | 1.0033 | 0.99644 | 0.86573 | 1.0033 | 0.99644 | -9.6343 | -119.8742 | 120.1016 | -9.6343 | -119.8742 | 120.1016

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78199 | 0.78199 | 0.78199 | 0.78333 | 0.78333 | 0.78333 | 9.0297 | 9.0297 | 9.0297 | 9.0451 | 9.0451 | 9.0451 | 10.2027 | 2.5703e-11 | -1.1243e-11 | -7.941 | 2.2653 | 2.2653 | 8.6463 | 2.1792e-12 | -2.3251e-11 | -7.775 | 0.90227 | 0.90227 | -46.2571 | -46.2571 | -46.2571 | 133.6519 | 133.6519 | 133.6519 |  | 1.4811 | 0 | 0 | 1.2287 | 0.26958 | 0.26958 | -5.9774 | 0 | 0 | -1.9532 | 155.369 | 155.369
Line_1 | 0.39263 | 0.39263 | 0.39263 | 0.39166 | 0.39166 | 0.39166 | 4.5337 | 4.5337 | 4.5337 | 4.5225 | 4.5225 | 4.5225 | -3.4082 | 1.7041 | 1.7041 | 3.9705 | -1.1327 | -1.1327 | -3.6739 | 0.67951 | 0.67951 | 3.8875 | -0.45113 | -0.45113 | 133.6064 | 133.6064 | 133.6064 | -46.3481 | -46.3481 | -46.3481 |  | 1.1053 | 0.40465 | 0.40465 | 1.2287 | 0.26958 | 0.26958 | 0.75488 | 155.3463 | 155.3463 | -1.9532 | 155.369 | 155.369
Line_2 | 0.39263 | 0.39263 | 0.39263 | 0.39166 | 0.39166 | 0.39166 | 4.5337 | 4.5337 | 4.5337 | 4.5225 | 4.5225 | 4.5225 | -3.4082 | 1.7041 | 1.7041 | 3.9705 | -1.1327 | -1.1327 | -3.6739 | 0.67951 | 0.67951 | 3.8875 | -0.45113 | -0.45113 | 133.6064 | 133.6064 | 133.6064 | -46.3481 | -46.3481 | -46.3481 |  | 1.1053 | 0.40465 | 0.40465 | 1.2287 | 0.26958 | 0.26958 | 0.75488 | 155.3463 | 155.3463 | -1.9532 | 155.369 | 155.369
Line_3 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | -0.0036564 | 0.0018282 | 0.0018282 | -0.0036564 | 0.0018282 | 0.0018282 | -0.0039414 | 0.000729 | 0.000729 | -0.0039414 | 0.000729 | 0.000729 | 133.6064 | 133.6064 | 133.6064 | 133.6064 | 133.6064 | 133.6064 |  | 1.1053 | 0.40465 | 0.40465 | 1.1053 | 0.40465 | 0.40465 | 0.75488 | 155.3463 | 155.3463 | 0.75488 | 155.3463 | 155.3463

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.78199 | 0.78199 | 0.78199 | 0.78333 | 0.78333 | 0.78333 | 9.0297 | 9.0297 | 9.0297 | 9.0451 | 9.0451 | 9.0451 | 10.2027 | 2.5703e-11 | -1.1243e-11 | -7.941 | 2.2653 | 2.2653 | 8.6463 | 2.1792e-12 | -2.3251e-11 | -7.775 | 0.90227 | 0.90227 | -46.2571 | -46.2571 | -46.2571 | 133.6519 | 133.6519 | 133.6519 |  | 1.4811 | 0 | 0 | 1.2287 | 0.26958 | 0.26958 | -5.9774 | 0 | 0 | -1.9532 | 155.369 | 155.369
Line_1 | 0.39263 | 0.39263 | 0.39263 | 0.39166 | 0.39166 | 0.39166 | 4.5337 | 4.5337 | 4.5337 | 4.5225 | 4.5225 | 4.5225 | -3.4082 | 1.7041 | 1.7041 | 3.9705 | -1.1327 | -1.1327 | -3.6739 | 0.67951 | 0.67951 | 3.8875 | -0.45113 | -0.45113 | 133.6064 | 133.6064 | 133.6064 | -46.3481 | -46.3481 | -46.3481 |  | 1.1053 | 0.40465 | 0.40465 | 1.2287 | 0.26958 | 0.26958 | 0.75488 | 155.3463 | 155.3463 | -1.9532 | 155.369 | 155.369
Line_2 | 0.39263 | 0.39263 | 0.39263 | 0.39166 | 0.39166 | 0.39166 | 4.5337 | 4.5337 | 4.5337 | 4.5225 | 4.5225 | 4.5225 | -3.4082 | 1.7041 | 1.7041 | 3.9705 | -1.1327 | -1.1327 | -3.6739 | 0.67951 | 0.67951 | 3.8875 | -0.45113 | -0.45113 | 133.6064 | 133.6064 | 133.6064 | -46.3481 | -46.3481 | -46.3481 |  | 1.1053 | 0.40465 | 0.40465 | 1.2287 | 0.26958 | 0.26958 | 0.75488 | 155.3463 | 155.3463 | -1.9532 | 155.369 | 155.369
Line_3 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.00042122 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | 0.0048639 | -0.0036564 | 0.0018282 | 0.0018282 | -0.0036564 | 0.0018282 | 0.0018282 | -0.0039414 | 0.000729 | 0.000729 | -0.0039414 | 0.000729 | 0.000729 | 133.6064 | 133.6064 | 133.6064 | 133.6064 | 133.6064 | 133.6064 |  | 1.1053 | 0.40465 | 0.40465 | 1.1053 | 0.40465 | 0.40465 | 0.75488 | 155.3463 | 155.3463 | 0.75488 | 155.3463 | 155.3463

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33913 | 0.33913 | 0.33913 | 0.33971 | 0.33971 | 0.33971 | 3.9159 | 3.9159 | 3.9159 | 3.9226 | 3.9226 | 3.9226 | 3.644 | 0.85513 | -2.5803 | -3.2188 | -0.43574 | 3.0132 | 3.3513 | -3.2712 | 1.5461 | -3.1931 | 3.4451 | -1.3749 | -45.5451 | -45.5451 | -45.5451 | 134.3639 | 134.3639 | 134.3639 |  | 1.2643 | 0.86343 | 0.76814 | 1.1558 | 0.88527 | 0.84434 | -2.9413 | -120.8953 | 103.5252 | -0.86604 | -128.4276 | 109.8366
Line_1 | 0.17027 | 0.17027 | 0.17027 | 0.16985 | 0.16985 | 0.16985 | 1.9661 | 1.9661 | 1.9661 | 1.9613 | 1.9613 | 1.9613 | -1.5051 | -0.11276 | 1.6179 | 1.6094 | 0.21787 | -1.5066 | -1.5592 | 1.7692 | -0.64538 | 1.5966 | -1.7226 | 0.68746 | 134.3184 | 134.3184 | 134.3184 | -45.6361 | -45.6361 | -45.6361 |  | 1.1022 | 0.90166 | 0.88591 | 1.1558 | 0.88527 | 0.84434 | 0.32974 | -132.0347 | 112.5709 | -0.86604 | -128.4276 | 109.8366
Line_2 | 0.17027 | 0.17027 | 0.17027 | 0.16985 | 0.16985 | 0.16985 | 1.9661 | 1.9661 | 1.9661 | 1.9613 | 1.9613 | 1.9613 | -1.5051 | -0.11276 | 1.6179 | 1.6094 | 0.21787 | -1.5066 | -1.5592 | 1.7692 | -0.64538 | 1.5966 | -1.7226 | 0.68746 | 134.3184 | 134.3184 | 134.3184 | -45.6361 | -45.6361 | -45.6361 |  | 1.1022 | 0.90166 | 0.88591 | 1.1558 | 0.88527 | 0.84434 | 0.32974 | -132.0347 | 112.5709 | -0.86604 | -128.4276 | 109.8366
Line_3 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | -0.0016147 | -0.00012097 | 0.0017357 | -0.0016147 | -0.00012097 | 0.0017357 | -0.0016727 | 0.0018981 | -0.00069238 | -0.0016727 | 0.0018981 | -0.00069238 | 134.3184 | 134.3184 | 134.3184 | 134.3184 | 134.3184 | 134.3184 |  | 1.1022 | 0.90166 | 0.88591 | 1.1022 | 0.90166 | 0.88591 | 0.32974 | -132.0347 | 112.5709 | 0.32974 | -132.0347 | 112.5709

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33913 | 0.33913 | 0.33913 | 0.33971 | 0.33971 | 0.33971 | 3.9159 | 3.9159 | 3.9159 | 3.9226 | 3.9226 | 3.9226 | 3.644 | 0.85513 | -2.5803 | -3.2188 | -0.43574 | 3.0132 | 3.3513 | -3.2712 | 1.5461 | -3.1931 | 3.4451 | -1.3749 | -45.5451 | -45.5451 | -45.5451 | 134.3639 | 134.3639 | 134.3639 |  | 1.2643 | 0.86343 | 0.76814 | 1.1558 | 0.88527 | 0.84434 | -2.9413 | -120.8953 | 103.5252 | -0.86604 | -128.4276 | 109.8366
Line_1 | 0.17027 | 0.17027 | 0.17027 | 0.16985 | 0.16985 | 0.16985 | 1.9661 | 1.9661 | 1.9661 | 1.9613 | 1.9613 | 1.9613 | -1.5051 | -0.11276 | 1.6179 | 1.6094 | 0.21787 | -1.5066 | -1.5592 | 1.7692 | -0.64538 | 1.5966 | -1.7226 | 0.68746 | 134.3184 | 134.3184 | 134.3184 | -45.6361 | -45.6361 | -45.6361 |  | 1.1022 | 0.90166 | 0.88591 | 1.1558 | 0.88527 | 0.84434 | 0.32974 | -132.0347 | 112.5709 | -0.86604 | -128.4276 | 109.8366
Line_2 | 0.17027 | 0.17027 | 0.17027 | 0.16985 | 0.16985 | 0.16985 | 1.9661 | 1.9661 | 1.9661 | 1.9613 | 1.9613 | 1.9613 | -1.5051 | -0.11276 | 1.6179 | 1.6094 | 0.21787 | -1.5066 | -1.5592 | 1.7692 | -0.64538 | 1.5966 | -1.7226 | 0.68746 | 134.3184 | 134.3184 | 134.3184 | -45.6361 | -45.6361 | -45.6361 |  | 1.1022 | 0.90166 | 0.88591 | 1.1558 | 0.88527 | 0.84434 | 0.32974 | -132.0347 | 112.5709 | -0.86604 | -128.4276 | 109.8366
Line_3 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.00018267 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | 0.0021093 | -0.0016147 | -0.00012097 | 0.0017357 | -0.0016147 | -0.00012097 | 0.0017357 | -0.0016727 | 0.0018981 | -0.00069238 | -0.0016727 | 0.0018981 | -0.00069238 | 134.3184 | 134.3184 | 134.3184 | 134.3184 | 134.3184 | 134.3184 |  | 1.1022 | 0.90166 | 0.88591 | 1.1022 | 0.90166 | 0.88591 | 0.32974 | -132.0347 | 112.5709 | 0.32974 | -132.0347 | 112.5709

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47135 | 0.47135 | 0.47135 | 0.47215 | 0.47215 | 0.47215 | 5.4427 | 5.4427 | 5.4427 | 5.452 | 5.452 | 5.452 | 7.117 | -2.0027e-12 | -5.1531e-12 | -5.5393 | 1.5802 | 1.5802 | 3.1255 | -7.0038e-12 | 5.2735e-12 | -2.8239 | 0.32869 | 0.32869 | -28.782 | -28.782 | -28.782 | 151.0433 | 151.0433 | 151.0433 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29604 | 0.29604 | -5.0727 | 0 | 0 | -1.9448 | 162.7934 | 162.7934
Line_1 | 0.23666 | 0.23666 | 0.23666 | 0.23608 | 0.23608 | 0.23608 | 2.7327 | 2.7327 | 2.7327 | 2.726 | 2.726 | 2.726 | -2.3774 | 1.1887 | 1.1887 | 2.7697 | -0.7901 | -0.7901 | -1.3374 | 0.2482 | 0.2482 | 1.4119 | -0.16434 | -0.16434 | 150.9561 | 150.9561 | 150.9561 | -28.9567 | -28.9567 | -28.9567 |  | 0.9982 | 0.44438 | 0.44438 | 1.1404 | 0.29604 | 0.29604 | 0.31575 | 162.7497 | 162.7497 | -1.9448 | 162.7934 | 162.7934
Line_2 | 0.23666 | 0.23666 | 0.23666 | 0.23608 | 0.23608 | 0.23608 | 2.7327 | 2.7327 | 2.7327 | 2.726 | 2.726 | 2.726 | -2.3774 | 1.1887 | 1.1887 | 2.7697 | -0.7901 | -0.7901 | -1.3374 | 0.2482 | 0.2482 | 1.4119 | -0.16434 | -0.16434 | 150.9561 | 150.9561 | 150.9561 | -28.9567 | -28.9567 | -28.9567 |  | 0.9982 | 0.44438 | 0.44438 | 1.1404 | 0.29604 | 0.29604 | 0.31575 | 162.7497 | 162.7497 | -1.9448 | 162.7934 | 162.7934
Line_3 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | -0.0025506 | 0.0012753 | 0.0012753 | -0.0025506 | 0.0012753 | 0.0012753 | -0.0014348 | 0.00026627 | 0.00026627 | -0.0014348 | 0.00026627 | 0.00026627 | 150.9561 | 150.9561 | 150.9561 | 150.9561 | 150.9561 | 150.9561 |  | 0.9982 | 0.44438 | 0.44438 | 0.9982 | 0.44438 | 0.44438 | 0.31575 | 162.7497 | 162.7497 | 0.31575 | 162.7497 | 162.7497

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47135 | 0.47135 | 0.47135 | 0.47215 | 0.47215 | 0.47215 | 5.4427 | 5.4427 | 5.4427 | 5.452 | 5.452 | 5.452 | 7.117 | -2.0027e-12 | -5.1531e-12 | -5.5393 | 1.5802 | 1.5802 | 3.1255 | -7.0038e-12 | 5.2735e-12 | -2.8239 | 0.32869 | 0.32869 | -28.782 | -28.782 | -28.782 | 151.0433 | 151.0433 | 151.0433 |  | 1.4282 | 0 | 0 | 1.1404 | 0.29604 | 0.29604 | -5.0727 | 0 | 0 | -1.9448 | 162.7934 | 162.7934
Line_1 | 0.23666 | 0.23666 | 0.23666 | 0.23608 | 0.23608 | 0.23608 | 2.7327 | 2.7327 | 2.7327 | 2.726 | 2.726 | 2.726 | -2.3774 | 1.1887 | 1.1887 | 2.7697 | -0.7901 | -0.7901 | -1.3374 | 0.2482 | 0.2482 | 1.4119 | -0.16434 | -0.16434 | 150.9561 | 150.9561 | 150.9561 | -28.9567 | -28.9567 | -28.9567 |  | 0.9982 | 0.44438 | 0.44438 | 1.1404 | 0.29604 | 0.29604 | 0.31575 | 162.7497 | 162.7497 | -1.9448 | 162.7934 | 162.7934
Line_2 | 0.23666 | 0.23666 | 0.23666 | 0.23608 | 0.23608 | 0.23608 | 2.7327 | 2.7327 | 2.7327 | 2.726 | 2.726 | 2.726 | -2.3774 | 1.1887 | 1.1887 | 2.7697 | -0.7901 | -0.7901 | -1.3374 | 0.2482 | 0.2482 | 1.4119 | -0.16434 | -0.16434 | 150.9561 | 150.9561 | 150.9561 | -28.9567 | -28.9567 | -28.9567 |  | 0.9982 | 0.44438 | 0.44438 | 1.1404 | 0.29604 | 0.29604 | 0.31575 | 162.7497 | 162.7497 | -1.9448 | 162.7934 | 162.7934
Line_3 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.00025389 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | 0.0029317 | -0.0025506 | 0.0012753 | 0.0012753 | -0.0025506 | 0.0012753 | 0.0012753 | -0.0014348 | 0.00026627 | 0.00026627 | -0.0014348 | 0.00026627 | 0.00026627 | 150.9561 | 150.9561 | 150.9561 | 150.9561 | 150.9561 | 150.9561 |  | 0.9982 | 0.44438 | 0.44438 | 0.9982 | 0.44438 | 0.44438 | 0.31575 | 162.7497 | 162.7497 | 0.31575 | 162.7497 | 162.7497

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25515 | 0.25515 | 0.25515 | 0.25558 | 0.25558 | 0.25558 | 2.9462 | 2.9462 | 2.9462 | 2.9512 | 2.9512 | 2.9512 | 3.0619 | 0.38645 | -1.363 | -2.5983 | 0.068925 | 1.8323 | 1.8923 | -2.2896 | 1.3131 | -1.8086 | 2.3887 | -1.2149 | -36.3044 | -36.3044 | -36.3044 | 143.5208 | 143.5208 | 143.5208 |  | 1.2217 | 0.78815 | 0.64239 | 1.0727 | 0.80972 | 0.74494 | -4.5873 | -116.7242 | 99.762 | -1.6386 | -128.132 | 109.9748
Line_1 | 0.12811 | 0.12811 | 0.12811 | 0.12779 | 0.12779 | 0.12779 | 1.4792 | 1.4792 | 1.4792 | 1.4756 | 1.4756 | 1.4756 | -1.1847 | 0.14903 | 1.0356 | 1.2992 | -0.034463 | -0.91615 | -0.88441 | 1.2214 | -0.58345 | 0.9043 | -1.1943 | 0.60745 | 143.4336 | 143.4336 | 143.4336 | -36.4792 | -36.4792 | -36.4792 |  | 0.99942 | 0.83183 | 0.80358 | 1.0727 | 0.80972 | 0.74494 | 0.17662 | -133.5227 | 114.038 | -1.6386 | -128.132 | 109.9748
Line_2 | 0.12811 | 0.12811 | 0.12811 | 0.12779 | 0.12779 | 0.12779 | 1.4792 | 1.4792 | 1.4792 | 1.4756 | 1.4756 | 1.4756 | -1.1847 | 0.14903 | 1.0356 | 1.2992 | -0.034463 | -0.91615 | -0.88441 | 1.2214 | -0.58345 | 0.9043 | -1.1943 | 0.60745 | 143.4336 | 143.4336 | 143.4336 | -36.4792 | -36.4792 | -36.4792 |  | 0.99942 | 0.83183 | 0.80358 | 1.0727 | 0.80972 | 0.74494 | 0.17662 | -133.5227 | 114.038 | -1.6386 | -128.132 | 109.9748
Line_3 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | -0.0012709 | 0.00015988 | 0.0011111 | -0.0012709 | 0.00015988 | 0.0011111 | -0.00094882 | 0.0013104 | -0.00062594 | -0.00094882 | 0.0013104 | -0.00062594 | 143.4336 | 143.4336 | 143.4336 | 143.4336 | 143.4336 | 143.4336 |  | 0.99942 | 0.83183 | 0.80358 | 0.99942 | 0.83183 | 0.80358 | 0.17662 | -133.5227 | 114.038 | 0.17662 | -133.5227 | 114.038

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25515 | 0.25515 | 0.25515 | 0.25558 | 0.25558 | 0.25558 | 2.9462 | 2.9462 | 2.9462 | 2.9512 | 2.9512 | 2.9512 | 3.0619 | 0.38645 | -1.363 | -2.5983 | 0.068925 | 1.8323 | 1.8923 | -2.2896 | 1.3131 | -1.8086 | 2.3887 | -1.2149 | -36.3044 | -36.3044 | -36.3044 | 143.5208 | 143.5208 | 143.5208 |  | 1.2217 | 0.78815 | 0.64239 | 1.0727 | 0.80972 | 0.74494 | -4.5873 | -116.7242 | 99.762 | -1.6386 | -128.132 | 109.9748
Line_1 | 0.12811 | 0.12811 | 0.12811 | 0.12779 | 0.12779 | 0.12779 | 1.4792 | 1.4792 | 1.4792 | 1.4756 | 1.4756 | 1.4756 | -1.1847 | 0.14903 | 1.0356 | 1.2992 | -0.034463 | -0.91615 | -0.88441 | 1.2214 | -0.58345 | 0.9043 | -1.1943 | 0.60745 | 143.4336 | 143.4336 | 143.4336 | -36.4792 | -36.4792 | -36.4792 |  | 0.99942 | 0.83183 | 0.80358 | 1.0727 | 0.80972 | 0.74494 | 0.17662 | -133.5227 | 114.038 | -1.6386 | -128.132 | 109.9748
Line_2 | 0.12811 | 0.12811 | 0.12811 | 0.12779 | 0.12779 | 0.12779 | 1.4792 | 1.4792 | 1.4792 | 1.4756 | 1.4756 | 1.4756 | -1.1847 | 0.14903 | 1.0356 | 1.2992 | -0.034463 | -0.91615 | -0.88441 | 1.2214 | -0.58345 | 0.9043 | -1.1943 | 0.60745 | 143.4336 | 143.4336 | 143.4336 | -36.4792 | -36.4792 | -36.4792 |  | 0.99942 | 0.83183 | 0.80358 | 1.0727 | 0.80972 | 0.74494 | 0.17662 | -133.5227 | 114.038 | -1.6386 | -128.132 | 109.9748
Line_3 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.00013744 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | 0.001587 | -0.0012709 | 0.00015988 | 0.0011111 | -0.0012709 | 0.00015988 | 0.0011111 | -0.00094882 | 0.0013104 | -0.00062594 | -0.00094882 | 0.0013104 | -0.00062594 | 143.4336 | 143.4336 | 143.4336 | 143.4336 | 143.4336 | 143.4336 |  | 0.99942 | 0.83183 | 0.80358 | 0.99942 | 0.83183 | 0.80358 | 0.17662 | -133.5227 | 114.038 | 0.17662 | -133.5227 | 114.038