## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.8659e-14 | -7.2949e-14 | 6.2528e-14 | -1.5631e-14 | 6.7739e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7081e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 1.0421e-14 | 0 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4781e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.3026e-14 | 1.0421e-14 | 5.2106e-15 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4965e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 1.0421e-14 | -5.5649e-25 | -1.0421e-14 | 5.2106e-15 | 1.6695e-24 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | -1.3635e-28 | 7.816e-15 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4781e-13 | -180 | 180 | 7.4965e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.7738e-14 | 2.8659e-14 | -7.2949e-14 | 6.2528e-14 | -1.5631e-14 | 6.7739e-14 | -1.0421e-14 | 5.7634e-09 | -5.7634e-09 | 1.5632e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7081e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.3026e-14 | 1.0421e-14 | 0 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | 0 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4781e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -1.3026e-14 | 1.0421e-14 | 5.2106e-15 | 2.6053e-14 | -1.5632e-14 | 5.2106e-15 | -1.9211e-09 | 1.9211e-09 | -5.2106e-15 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4965e-13 | -180 | 180 | 7.756e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | 1.0421e-14 | -5.5649e-25 | -1.0421e-14 | 5.2106e-15 | 1.6695e-24 | -5.2106e-15 | 2.6053e-15 | -5.2106e-15 | -1.3635e-28 | 7.816e-15 | 1.5632e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4781e-13 | -180 | 180 | 7.4965e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | -7.3075e-10 | -2.0393e-09 | 3.1264e-14 | 7.3077e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.3381e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7978e-10 | -5.2106e-15 | -2.4359e-10 | -6.7977e-10 | 5.2106e-15 | -1.9409e-09 | 1.1853e-09 | -5.7868e-29 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1397e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4359e-10 | 6.7978e-10 | -5.2106e-15 | -2.4359e-10 | -6.7978e-10 | 1.0421e-14 | -1.9409e-09 | 1.1853e-09 | -5.7868e-29 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1604e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6708e-15 | 0 | -5.6025e-29 | -5.3942e-15 | 0 | 0 | 8.7581e-15 | 0 | 5.2106e-15 | -4.7996e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1397e-13 | -164.9034 | 158.1097 | 6.1604e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-14 | -7.3075e-10 | -2.0393e-09 | 3.1264e-14 | 7.3077e-10 | 2.0393e-09 | -1.5632e-14 | 5.8225e-09 | -3.5561e-09 | 2.6053e-14 | -5.8225e-09 | 3.5561e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.3381e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 2.4359e-10 | 6.7978e-10 | -5.2106e-15 | -2.4359e-10 | -6.7977e-10 | 5.2106e-15 | -1.9409e-09 | 1.1853e-09 | -5.7868e-29 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1397e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | 2.4359e-10 | 6.7978e-10 | -5.2106e-15 | -2.4359e-10 | -6.7978e-10 | 1.0421e-14 | -1.9409e-09 | 1.1853e-09 | -5.7868e-29 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1604e-13 | -164.9034 | 158.1097 | 6.3631e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6708e-15 | 0 | -5.6025e-29 | -5.3942e-15 | 0 | 0 | 8.7581e-15 | 0 | 5.2106e-15 | -4.7996e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | 6.1397e-13 | -164.9034 | 158.1097 | 6.1604e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3684e-15 | -2.3686e-15 | 1.6495e-28 | 2.3693e-15 | 4.7377e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.3945e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 2.3688e-15 | 1.6579e-14 | 1.1842e-14 | -2.608e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5806e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-14 | -2.3681e-15 | 1.8948e-14 | 1.1842e-14 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 2.1993e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5543e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.1842e-15 | -2.3685e-15 | -4.737e-15 | -1.1842e-15 | 2.3685e-15 | -4.737e-15 | 7.1054e-15 | 4.737e-15 | -4.737e-15 | -7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5806e-13 | -180 | 180 | 6.5543e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 2.3684e-15 | -2.3686e-15 | 1.6495e-28 | 2.3693e-15 | 4.7377e-15 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.3945e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 2.3688e-15 | 1.6579e-14 | 1.1842e-14 | -2.608e-19 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5806e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1316e-14 | -1.1842e-14 | -2.3681e-15 | 1.8948e-14 | 1.1842e-14 | 4.7367e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 2.1993e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5543e-13 | -180 | 180 | 6.6505e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 1.1842e-15 | -2.3685e-15 | -4.737e-15 | -1.1842e-15 | 2.3685e-15 | -4.737e-15 | 7.1054e-15 | 4.737e-15 | -4.737e-15 | -7.1054e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.5806e-13 | -180 | 180 | 6.5543e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -5.5596e-10 | -1.5515e-09 | -2.3685e-15 | 5.5596e-10 | 1.5515e-09 | 1.8948e-14 | 4.8332e-09 | -3.1089e-09 | -2.1316e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.27e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1716e-10 | 1.8948e-14 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4172e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1715e-10 | 1.8948e-14 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4101e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.7397e-15 | 4.6686e-15 | -2.2364e-29 | 3.1383e-15 | -1.3644e-15 | 2.3685e-15 | -1.0575e-15 | 7.0769e-15 | 2.3685e-15 | -7.1638e-16 | -3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4172e-13 | -166.2936 | 160.6236 | 5.4101e-13 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | -5.5596e-10 | -1.5515e-09 | -2.3685e-15 | 5.5596e-10 | 1.5515e-09 | 1.8948e-14 | 4.8332e-09 | -3.1089e-09 | -2.1316e-14 | -4.8332e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.27e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1716e-10 | 1.8948e-14 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4172e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1715e-10 | 1.8948e-14 | -1.8531e-10 | -5.1715e-10 | -7.1054e-15 | -1.6111e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4101e-13 | -166.2936 | 160.6236 | 5.4729e-13 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.7397e-15 | 4.6686e-15 | -2.2364e-29 | 3.1383e-15 | -1.3644e-15 | 2.3685e-15 | -1.0575e-15 | 7.0769e-15 | 2.3685e-15 | -7.1638e-16 | -3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 5.4172e-13 | -166.2936 | 160.6236 | 5.4101e-13 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3612e-10 | -7.3835e-10 | 2.9489e-09 | 7.3611e-10 | 7.3836e-10 | -2.6284e-12 | -3.8544e-09 | 3.8531e-09 | 2.6388e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4536e-10 | 2.4612e-10 | -9.8296e-10 | -2.4537e-10 | -2.4611e-10 | 8.8074e-13 | 1.2848e-09 | -1.2844e-09 | -8.7729e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4535e-10 | 2.4614e-10 | -9.8296e-10 | -2.4537e-10 | -2.4613e-10 | 8.8765e-13 | 1.2848e-09 | -1.2844e-09 | -8.842e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5892e-15 | -6.0237e-15 | -9.8873e-15 | -4.3317e-16 | -2.7866e-15 | 1.8048e-14 | -8.6479e-16 | -7.0346e-15 | 2.7856e-15 | 2.5895e-15 | 9.8894e-15 | 3.4529e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3612e-10 | -7.3835e-10 | 2.9489e-09 | 7.3611e-10 | 7.3836e-10 | -2.6284e-12 | -3.8544e-09 | 3.8531e-09 | 2.6388e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4536e-10 | 2.4612e-10 | -9.8296e-10 | -2.4537e-10 | -2.4611e-10 | 8.8074e-13 | 1.2848e-09 | -1.2844e-09 | -8.7729e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8296e-10 | 2.4535e-10 | 2.4614e-10 | -9.8296e-10 | -2.4537e-10 | -2.4613e-10 | 8.8765e-13 | 1.2848e-09 | -1.2844e-09 | -8.842e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5892e-15 | -6.0237e-15 | -9.8873e-15 | -4.3317e-16 | -2.7866e-15 | 1.8048e-14 | -8.6479e-16 | -7.0346e-15 | 2.7856e-15 | 2.5895e-15 | 9.8894e-15 | 3.4529e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6863e-10 | 3.1392e-09 | 1.401e-09 | 1.6864e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6219e-11 | -1.0464e-09 | -4.6701e-10 | -5.6212e-11 | -4.7432e-10 | 7.4189e-10 | -9.7907e-10 | 4.7434e-10 | -7.4189e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6229e-11 | -1.0464e-09 | -4.67e-10 | -5.6222e-11 | -4.7432e-10 | 7.4191e-10 | -9.7907e-10 | 4.7433e-10 | -7.419e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.016e-15 | 6.3805e-16 | -3.3527e-15 | 9.5201e-16 | -3.1552e-15 | 3.3527e-15 | -1.6213e-16 | -1.2023e-14 | -6.2295e-15 | 8.7696e-15 | 4.6139e-15 | 6.2295e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6863e-10 | 3.1392e-09 | 1.401e-09 | 1.6864e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6219e-11 | -1.0464e-09 | -4.6701e-10 | -5.6212e-11 | -4.7432e-10 | 7.4189e-10 | -9.7907e-10 | 4.7434e-10 | -7.4189e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.67e-10 | 5.6229e-11 | -1.0464e-09 | -4.67e-10 | -5.6222e-11 | -4.7432e-10 | 7.4191e-10 | -9.7907e-10 | 4.7433e-10 | -7.419e-10 | 9.7907e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.016e-15 | 6.3805e-16 | -3.3527e-15 | 9.5201e-16 | -3.1552e-15 | 3.3527e-15 | -1.6213e-16 | -1.2023e-14 | -6.2295e-15 | 8.7696e-15 | 4.6139e-15 | 6.2295e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0794e-10 | -6.101e-10 | 2.4361e-09 | 6.0794e-10 | 6.101e-10 | -2.4846e-12 | -3.1869e-09 | 3.1856e-09 | 2.4846e-12 | 3.1869e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0265e-10 | 2.0337e-10 | -8.1203e-10 | -2.0265e-10 | -2.0338e-10 | 8.2245e-13 | 1.0623e-09 | -1.0619e-09 | -8.2246e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0265e-10 | 2.0338e-10 | -8.1204e-10 | -2.0265e-10 | -2.0338e-10 | 8.2716e-13 | 1.0623e-09 | -1.0619e-09 | -8.2716e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5277e-15 | -2.9267e-15 | -1.2668e-15 | 1.5677e-15 | -1.1762e-15 | 1.2668e-15 | -1.1786e-15 | 6.9384e-15 | -4.4938e-15 | 7.8519e-16 | -6.1543e-15 | 4.4938e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0794e-10 | -6.101e-10 | 2.4361e-09 | 6.0794e-10 | 6.101e-10 | -2.4846e-12 | -3.1869e-09 | 3.1856e-09 | 2.4846e-12 | 3.1869e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0265e-10 | 2.0337e-10 | -8.1203e-10 | -2.0265e-10 | -2.0338e-10 | 8.2245e-13 | 1.0623e-09 | -1.0619e-09 | -8.2246e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0265e-10 | 2.0338e-10 | -8.1204e-10 | -2.0265e-10 | -2.0338e-10 | 8.2716e-13 | 1.0623e-09 | -1.0619e-09 | -8.2716e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5277e-15 | -2.9267e-15 | -1.2668e-15 | 1.5677e-15 | -1.1762e-15 | 1.2668e-15 | -1.1786e-15 | 6.9384e-15 | -4.4938e-15 | 7.8519e-16 | -6.1543e-15 | 4.4938e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7037e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.1219e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6784e-11 | -8.749e-10 | -3.8066e-10 | -5.6786e-11 | -3.7399e-10 | 6.5045e-10 | -8.3743e-10 | 3.7399e-10 | -6.5045e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6788e-11 | -8.749e-10 | -3.8067e-10 | -5.679e-11 | -3.7399e-10 | 6.5044e-10 | -8.3743e-10 | 3.7399e-10 | -6.5044e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0089e-15 | 1.2164e-15 | -3.0852e-15 | 1.1983e-15 | 2.9379e-15 | -6.2936e-16 | -2.6699e-16 | 1.0281e-14 | -5.6026e-15 | -5.5625e-16 | -7.3645e-15 | 2.1719e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7037e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.1219e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6784e-11 | -8.749e-10 | -3.8066e-10 | -5.6786e-11 | -3.7399e-10 | 6.5045e-10 | -8.3743e-10 | 3.7399e-10 | -6.5045e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.749e-10 | 3.8067e-10 | 5.6788e-11 | -8.749e-10 | -3.8067e-10 | -5.679e-11 | -3.7399e-10 | 6.5044e-10 | -8.3743e-10 | 3.7399e-10 | -6.5044e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0089e-15 | 1.2164e-15 | -3.0852e-15 | 1.1983e-15 | 2.9379e-15 | -6.2936e-16 | -2.6699e-16 | 1.0281e-14 | -5.6026e-15 | -5.5625e-16 | -7.3645e-15 | 2.1719e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4279e-10 | -7.4054e-10 | 2.9666e-09 | 7.4279e-10 | 7.4055e-10 | -2.6612e-12 | 3.83e-09 | -3.8314e-09 | 2.6716e-12 | -3.83e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8887e-10 | 2.4758e-10 | 2.4685e-10 | -9.8888e-10 | -2.4758e-10 | -2.4686e-10 | 8.8245e-13 | -1.2767e-09 | 1.2771e-09 | -8.7899e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4685e-10 | -9.8887e-10 | -2.4758e-10 | -2.4685e-10 | 8.963e-13 | -1.2767e-09 | 1.2771e-09 | -8.8591e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7318e-14 | -3.4628e-15 | -3.4571e-15 | -2.4245e-14 | 1.2124e-14 | -6.9308e-15 | -3.4581e-15 | -1.7327e-15 | -2.0781e-14 | 6.9194e-15 | -6.923e-15 | 1.3851e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4279e-10 | -7.4054e-10 | 2.9666e-09 | 7.4279e-10 | 7.4055e-10 | -2.6612e-12 | 3.83e-09 | -3.8314e-09 | 2.6716e-12 | -3.83e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8887e-10 | 2.4758e-10 | 2.4685e-10 | -9.8888e-10 | -2.4758e-10 | -2.4686e-10 | 8.8245e-13 | -1.2767e-09 | 1.2771e-09 | -8.7899e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4685e-10 | -9.8887e-10 | -2.4758e-10 | -2.4685e-10 | 8.963e-13 | -1.2767e-09 | 1.2771e-09 | -8.8591e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7318e-14 | -3.4628e-15 | -3.4571e-15 | -2.4245e-14 | 1.2124e-14 | -6.9308e-15 | -3.4581e-15 | -1.7327e-15 | -2.0781e-14 | 6.9194e-15 | -6.923e-15 | 1.3851e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2783e-09 | -1.9066e-09 | -3.1331e-09 | 2.2783e-09 | 1.9066e-09 | 3.1331e-09 | 7.1378e-10 | 4.3453e-09 | -7.9703e-10 | -7.1378e-10 | -4.3453e-09 | 7.9704e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.3793e-10 | -1.4485e-09 | 2.6568e-10 | 2.3793e-10 | 1.4484e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.3792e-10 | -1.4485e-09 | 2.6568e-10 | 2.3792e-10 | 1.4485e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2124e-14 | 1.371e-15 | -4.5524e-15 | -3.762e-15 | 1.3231e-15 | 1.2994e-15 | -8.3831e-16 | 6.7353e-16 | -9.7224e-16 | 4.3208e-15 | -6.1576e-15 | -1.6265e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2783e-09 | -1.9066e-09 | -3.1331e-09 | 2.2783e-09 | 1.9066e-09 | 3.1331e-09 | 7.1378e-10 | 4.3453e-09 | -7.9703e-10 | -7.1378e-10 | -4.3453e-09 | 7.9704e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.3793e-10 | -1.4485e-09 | 2.6568e-10 | 2.3793e-10 | 1.4484e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.594e-10 | 6.3554e-10 | 1.0444e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.3792e-10 | -1.4485e-09 | 2.6568e-10 | 2.3792e-10 | 1.4485e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2124e-14 | 1.371e-15 | -4.5524e-15 | -3.762e-15 | 1.3231e-15 | 1.2994e-15 | -8.3831e-16 | 6.7353e-16 | -9.7224e-16 | 4.3208e-15 | -6.1576e-15 | -1.6265e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4956e-12 | 3.164e-09 | -3.1652e-09 | 2.4987e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0475e-10 | 2.0404e-10 | -8.1757e-10 | -2.0475e-10 | -2.0404e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.266e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0476e-10 | 2.0404e-10 | -8.1757e-10 | -2.0475e-10 | -2.0403e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.2661e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2955e-15 | 1.5741e-15 | -3.1504e-15 | 1.5757e-15 | 3.1493e-15 | 3.2219e-18 | 3.145e-15 | -1.5731e-15 | 9.4405e-15 | -6.2938e-15 | -6.2933e-15 | -9.4416e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4956e-12 | 3.164e-09 | -3.1652e-09 | 2.4987e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0475e-10 | 2.0404e-10 | -8.1757e-10 | -2.0475e-10 | -2.0404e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.266e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1757e-10 | 2.0476e-10 | 2.0404e-10 | -8.1757e-10 | -2.0475e-10 | -2.0403e-10 | 8.2346e-13 | -1.0547e-09 | 1.0551e-09 | -8.2661e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2955e-15 | 1.5741e-15 | -3.1504e-15 | 1.5757e-15 | 3.1493e-15 | 3.2219e-18 | 3.145e-15 | -1.5731e-15 | 9.4405e-15 | -6.2938e-15 | -6.2933e-15 | -9.4416e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2294e-10 | -5.6308e-10 | -3.6195e-09 | 8.2294e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4924e-10 | 5.1358e-10 | 8.3567e-10 | -6.4924e-10 | -5.1358e-10 | -8.3567e-10 | -1.877e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3567e-10 | -6.4923e-10 | -5.1358e-10 | -8.3567e-10 | -1.8769e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0066e-15 | 2.4376e-15 | 8.356e-15 | -4.4094e-15 | 1.7711e-15 | -5.982e-15 | -4.1095e-15 | 1.1047e-15 | 1.3801e-15 | 2.1154e-15 | -6.6646e-16 | -4.0743e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2294e-10 | -5.6308e-10 | -3.6195e-09 | 8.2294e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4924e-10 | 5.1358e-10 | 8.3567e-10 | -6.4924e-10 | -5.1358e-10 | -8.3567e-10 | -1.877e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3567e-10 | -6.4923e-10 | -5.1358e-10 | -8.3567e-10 | -1.8769e-10 | -1.2065e-09 | 2.7431e-10 | 1.877e-10 | 1.2065e-09 | -2.7431e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0066e-15 | 2.4376e-15 | 8.356e-15 | -4.4094e-15 | 1.7711e-15 | -5.982e-15 | -4.1095e-15 | 1.1047e-15 | 1.3801e-15 | 2.1154e-15 | -6.6646e-16 | -4.0743e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837