## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40283 | 0.40283 | -25.8808 | -25.8808

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33546 | 0.33546 | -27.0249 | -27.0249

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.7317e-14 | -8.337e-14 | 1.0421e-14 | -4.9501e-14 | 7.816e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0293e-12 | -180 | 180 | 1.012e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -2.6053e-14 | 3.1264e-14 | 5.2106e-15 | 3.3869e-14 | -3.6475e-14 | 3.6475e-14 | -1.9212e-09 | 1.9211e-09 | -1.5632e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5323e-13 | -180 | 180 | 1.012e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 3.1264e-14 | -2.0843e-14 | 3.3869e-14 | -3.6475e-14 | 3.1264e-14 | -1.9212e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5919e-13 | -180 | 180 | 1.012e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -1.1131e-24 | 1.5632e-14 | 1.1116e-24 | -5.5653e-25 | 1.5632e-14 | -7.816e-15 | -1.0421e-14 | 5.2106e-15 | -1.0421e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5323e-13 | -180 | 180 | 9.5919e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.7317e-14 | -8.337e-14 | 1.0421e-14 | -4.9501e-14 | 7.816e-14 | -2.6053e-14 | 5.7634e-09 | -5.7634e-09 | 4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 1.0293e-12 | -180 | 180 | 1.012e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -2.6053e-14 | 3.1264e-14 | 5.2106e-15 | 3.3869e-14 | -3.6475e-14 | 3.6475e-14 | -1.9212e-09 | 1.9211e-09 | -1.5632e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5323e-13 | -180 | 180 | 1.012e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0421e-14 | -2.6053e-14 | 3.1264e-14 | -2.0843e-14 | 3.3869e-14 | -3.6475e-14 | 3.1264e-14 | -1.9212e-09 | 1.9211e-09 | -1.0421e-14 | 1.9212e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5919e-13 | -180 | 180 | 1.012e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 5.2106e-15 | -1.1131e-24 | 1.5632e-14 | 1.1116e-24 | -5.5653e-25 | 1.5632e-14 | -7.816e-15 | -1.0421e-14 | 5.2106e-15 | -1.0421e-14 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.5323e-13 | -180 | 180 | 9.5919e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.3074e-10 | -2.0394e-09 | 1.5632e-14 | 7.3074e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 3.6475e-14 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.2088e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.4357e-10 | 6.7978e-10 | 2.0843e-14 | -2.4355e-10 | -6.7978e-10 | 3.1264e-14 | -1.9409e-09 | 1.1853e-09 | -2.0843e-14 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7648e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3026e-28 | 2.4356e-10 | 6.7978e-10 | 5.2106e-15 | -2.4356e-10 | -6.7979e-10 | 3.1264e-14 | -1.9409e-09 | 1.1853e-09 | -1.5632e-14 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7177e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 8.5118e-15 | -6.6902e-15 | 1.0421e-14 | 7.0762e-15 | 5.0083e-15 | 1.0421e-14 | 5.6406e-15 | 7.5501e-15 | 5.2106e-15 | -1.4356e-15 | -1.1736e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7648e-13 | -164.9034 | 158.1097 | -9.7177e-13 | -164.9034 | 158.1097

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.3074e-10 | -2.0394e-09 | 1.5632e-14 | 7.3074e-10 | 2.0393e-09 | -2.6053e-14 | 5.8225e-09 | -3.5561e-09 | 3.6475e-14 | -5.8225e-09 | 3.556e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.2088e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | 2.4357e-10 | 6.7978e-10 | 2.0843e-14 | -2.4355e-10 | -6.7978e-10 | 3.1264e-14 | -1.9409e-09 | 1.1853e-09 | -2.0843e-14 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7648e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3026e-28 | 2.4356e-10 | 6.7978e-10 | 5.2106e-15 | -2.4356e-10 | -6.7979e-10 | 3.1264e-14 | -1.9409e-09 | 1.1853e-09 | -1.5632e-14 | 1.9409e-09 | -1.1853e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7177e-13 | -164.9034 | 158.1097 | -9.3295e-13 | -164.9034 | 158.1097
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 8.5118e-15 | -6.6902e-15 | 1.0421e-14 | 7.0762e-15 | 5.0083e-15 | 1.0421e-14 | 5.6406e-15 | 7.5501e-15 | 5.2106e-15 | -1.4356e-15 | -1.1736e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.68167 | 0.47619 | 1.1 | 0.68167 | 0.47619 | -9.7648e-13 | -164.9034 | 158.1097 | -9.7177e-13 | -164.9034 | 158.1097

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1595e-27 | -1.0165e-19 | 2.3684e-15 | -4.737e-15 | 1.185e-15 | 7.8309e-19 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6748e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.079e-14 | 4.7373e-15 | -7.1051e-15 | 2.3685e-14 | 1.184e-15 | 9.4736e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7019e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 3.359e-19 | -7.1051e-15 | 2.1316e-14 | 5.9209e-15 | 9.4736e-15 | -2.3399e-27 | -1.5877e-09 | 1.5877e-09 | 1.7509e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7171e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1842e-14 | 2.0081e-24 | 3.8999e-28 | -1.5032e-24 | 7.1054e-15 | 9.4739e-15 | -2.3685e-15 | 9.4739e-15 | -4.737e-15 | 7.1054e-15 | -1.5061e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7019e-12 | -180 | 180 | 4.7171e-12 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1595e-27 | -1.0165e-19 | 2.3684e-15 | -4.737e-15 | 1.185e-15 | 7.8309e-19 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -1.4211e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.6748e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.079e-14 | 4.7373e-15 | -7.1051e-15 | 2.3685e-14 | 1.184e-15 | 9.4736e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7019e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 3.359e-19 | -7.1051e-15 | 2.1316e-14 | 5.9209e-15 | 9.4736e-15 | -2.3399e-27 | -1.5877e-09 | 1.5877e-09 | 1.7509e-27 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7171e-12 | -180 | 180 | 4.7061e-12 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 1.1842e-14 | 2.0081e-24 | 3.8999e-28 | -1.5032e-24 | 7.1054e-15 | 9.4739e-15 | -2.3685e-15 | 9.4739e-15 | -4.737e-15 | 7.1054e-15 | -1.5061e-24 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 4.7019e-12 | -180 | 180 | 4.7171e-12 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -5.5597e-10 | -1.5514e-09 | -1.1842e-14 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8332e-09 | -3.1089e-09 | -2.3685e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6438e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | -1.1842e-14 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6839e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1715e-10 | 9.4739e-15 | -1.8532e-10 | -5.1715e-10 | -1.8948e-14 | -1.611e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.698e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 3.2066e-15 | 1.1507e-15 | 6.1147e-28 | 1.3644e-15 | 1.3644e-15 | 2.3685e-15 | 1.1155e-14 | -9.1235e-15 | -9.4739e-15 | -5.5943e-15 | 3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6839e-12 | -166.2936 | 160.6236 | 3.698e-12 | -166.2936 | 160.6236

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.4739e-15 | -5.5597e-10 | -1.5514e-09 | -1.1842e-14 | 5.5597e-10 | 1.5515e-09 | 1.4211e-14 | 4.8332e-09 | -3.1089e-09 | -2.3685e-14 | -4.8331e-09 | 3.1089e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6438e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | 1.8532e-10 | 5.1715e-10 | 1.4211e-14 | -1.8532e-10 | -5.1715e-10 | -1.1842e-14 | -1.611e-09 | 1.0363e-09 | 4.737e-15 | 1.611e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6839e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6579e-14 | 1.8532e-10 | 5.1715e-10 | 9.4739e-15 | -1.8532e-10 | -5.1715e-10 | -1.8948e-14 | -1.611e-09 | 1.0363e-09 | 9.4739e-15 | 1.6111e-09 | -1.0363e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.698e-12 | -166.2936 | 160.6236 | 3.6743e-12 | -166.2936 | 160.6236
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 3.2066e-15 | 1.1507e-15 | 6.1147e-28 | 1.3644e-15 | 1.3644e-15 | 2.3685e-15 | 1.1155e-14 | -9.1235e-15 | -9.4739e-15 | -5.5943e-15 | 3.8796e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.60781 | 0.43409 | 1 | 0.60781 | 0.43409 | 3.6839e-12 | -166.2936 | 160.6236 | 3.698e-12 | -166.2936 | 160.6236

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3615e-10 | -7.3833e-10 | 2.9489e-09 | 7.3615e-10 | 7.3833e-10 | -2.6137e-12 | -3.8544e-09 | 3.8531e-09 | 2.618e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4539e-10 | 2.4609e-10 | -9.8295e-10 | -2.4539e-10 | -2.4609e-10 | 8.6779e-13 | 1.2848e-09 | -1.2844e-09 | -8.5657e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.454e-10 | 2.4611e-10 | -9.8295e-10 | -2.4539e-10 | -2.4611e-10 | 8.816e-13 | 1.2848e-09 | -1.2844e-09 | -8.7038e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3369e-16 | -6.0048e-15 | -8.1608e-15 | -1.3026e-15 | 7.5155e-15 | 1.0751e-14 | -3.4527e-15 | 1.7522e-14 | -6.2385e-15 | 1.2948e-14 | -9.6243e-15 | -7.2976e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9489e-09 | -7.3615e-10 | -7.3833e-10 | 2.9489e-09 | 7.3615e-10 | 7.3833e-10 | -2.6137e-12 | -3.8544e-09 | 3.8531e-09 | 2.618e-12 | 3.8544e-09 | -3.8531e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.4539e-10 | 2.4609e-10 | -9.8295e-10 | -2.4539e-10 | -2.4609e-10 | 8.6779e-13 | 1.2848e-09 | -1.2844e-09 | -8.5657e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8295e-10 | 2.454e-10 | 2.4611e-10 | -9.8295e-10 | -2.4539e-10 | -2.4611e-10 | 8.816e-13 | 1.2848e-09 | -1.2844e-09 | -8.7038e-13 | -1.2848e-09 | 1.2844e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.3369e-16 | -6.0048e-15 | -8.1608e-15 | -1.3026e-15 | 7.5155e-15 | 1.0751e-14 | -3.4527e-15 | 1.7522e-14 | -6.2385e-15 | 1.2948e-14 | -9.6243e-15 | -7.2976e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.36447 | 0.97001 | 0.96979 | 0.36447 | 0.97001 | 0.96979 | 0.03433 | -100.8285 | 100.8309 | 0.03433 | -100.8285 | 100.8309

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6861e-10 | 3.1392e-09 | 1.401e-09 | 1.6861e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6703e-10 | 5.6194e-11 | -1.0464e-09 | -4.6702e-10 | -5.6197e-11 | -4.7433e-10 | 7.419e-10 | -9.7908e-10 | 4.7435e-10 | -7.4189e-10 | 9.7908e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6703e-10 | 5.6216e-11 | -1.0464e-09 | -4.6702e-10 | -5.6211e-11 | -4.7432e-10 | 7.4189e-10 | -9.7909e-10 | 4.7434e-10 | -7.4189e-10 | 9.7908e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2991e-15 | -1.7168e-15 | -1.1978e-14 | -9.1432e-17 | 4.5733e-15 | 1.1021e-14 | 9.9773e-16 | 8.8479e-15 | -3.596e-15 | 1.4941e-14 | -3.915e-15 | -1.9143e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1392e-09 | -1.401e-09 | -1.6861e-10 | 3.1392e-09 | 1.401e-09 | 1.6861e-10 | 1.423e-09 | -2.2257e-09 | 2.9372e-09 | -1.423e-09 | 2.2257e-09 | -2.9372e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6703e-10 | 5.6194e-11 | -1.0464e-09 | -4.6702e-10 | -5.6197e-11 | -4.7433e-10 | 7.419e-10 | -9.7908e-10 | 4.7435e-10 | -7.4189e-10 | 9.7908e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0464e-09 | 4.6703e-10 | 5.6216e-11 | -1.0464e-09 | -4.6702e-10 | -5.6211e-11 | -4.7432e-10 | 7.4189e-10 | -9.7909e-10 | 4.7434e-10 | -7.4189e-10 | 9.7908e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2991e-15 | -1.7168e-15 | -1.1978e-14 | -9.1432e-17 | 4.5733e-15 | 1.1021e-14 | 9.9773e-16 | 8.8479e-15 | -3.596e-15 | 1.4941e-14 | -3.915e-15 | -1.9143e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.61859 | 0.944 | 1.056 | 0.61859 | 0.944 | 1.056 | -10.9593 | -108.7637 | 106.7109 | -10.9593 | -108.7637 | 106.7109

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0794e-10 | -6.101e-10 | 2.4361e-09 | 6.0793e-10 | 6.1011e-10 | -2.4811e-12 | -3.1868e-09 | 3.1856e-09 | 2.4768e-12 | 3.1868e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0263e-10 | 2.0338e-10 | -8.1203e-10 | -2.0264e-10 | -2.0338e-10 | 8.1814e-13 | 1.0623e-09 | -1.0619e-09 | -8.2245e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0263e-10 | 2.0339e-10 | -8.1202e-10 | -2.0264e-10 | -2.0338e-10 | 8.2127e-13 | 1.0623e-09 | -1.0619e-09 | -8.2402e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1362e-15 | -3.3643e-15 | 6.1527e-15 | -5.487e-15 | -1.3722e-15 | 1.2668e-15 | 3.9419e-16 | 1.0212e-14 | 1.1762e-15 | -2.7482e-15 | -7.18e-15 | 4.4938e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4361e-09 | -6.0794e-10 | -6.101e-10 | 2.4361e-09 | 6.0793e-10 | 6.1011e-10 | -2.4811e-12 | -3.1868e-09 | 3.1856e-09 | 2.4768e-12 | 3.1868e-09 | -3.1856e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1203e-10 | 2.0263e-10 | 2.0338e-10 | -8.1203e-10 | -2.0264e-10 | -2.0338e-10 | 8.1814e-13 | 1.0623e-09 | -1.0619e-09 | -8.2245e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1202e-10 | 2.0263e-10 | 2.0339e-10 | -8.1202e-10 | -2.0264e-10 | -2.0338e-10 | 8.2127e-13 | 1.0623e-09 | -1.0619e-09 | -8.2402e-13 | -1.0623e-09 | 1.0619e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1362e-15 | -3.3643e-15 | 6.1527e-15 | -5.487e-15 | -1.3722e-15 | 1.2668e-15 | 3.9419e-16 | 1.0212e-14 | 1.1762e-15 | -2.7482e-15 | -7.18e-15 | 4.4938e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.33107 | 0.88181 | 0.88159 | 0.33107 | 0.88181 | 0.88159 | 0.038971 | -100.8197 | 100.8224 | 0.038971 | -100.8197 | 100.8224

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7036e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.1219e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8065e-10 | 5.6794e-11 | -8.7489e-10 | -3.8066e-10 | -5.679e-11 | -3.7399e-10 | 6.5044e-10 | -8.3743e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8065e-10 | 5.6799e-11 | -8.749e-10 | -3.8066e-10 | -5.6795e-11 | -3.7399e-10 | 6.5043e-10 | -8.3743e-10 | 3.7398e-10 | -6.5044e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0094e-15 | -2.8956e-15 | 3.4307e-15 | -2.19e-15 | -2.1151e-17 | 1.5426e-15 | -2.3013e-15 | 9.4404e-16 | -3.7145e-15 | -1.211e-15 | 3.2102e-15 | 2.8013e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6247e-09 | -1.142e-09 | -1.7036e-10 | 2.6247e-09 | 1.142e-09 | 1.7037e-10 | 1.1219e-09 | -1.9513e-09 | 2.5123e-09 | -1.122e-09 | 1.9513e-09 | -2.5123e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8065e-10 | 5.6794e-11 | -8.7489e-10 | -3.8066e-10 | -5.679e-11 | -3.7399e-10 | 6.5044e-10 | -8.3743e-10 | 3.7399e-10 | -6.5043e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.7489e-10 | 3.8065e-10 | 5.6799e-11 | -8.749e-10 | -3.8066e-10 | -5.6795e-11 | -3.7399e-10 | 6.5043e-10 | -8.3743e-10 | 3.7398e-10 | -6.5044e-10 | 8.3743e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0094e-15 | -2.8956e-15 | 3.4307e-15 | -2.19e-15 | -2.1151e-17 | 1.5426e-15 | -2.3013e-15 | 9.4404e-16 | -3.7145e-15 | -1.211e-15 | 3.2102e-15 | 2.8013e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.54114 | 0.85725 | 0.95475 | 0.54114 | 0.85725 | 0.95475 | -10.8642 | -108.0575 | 106.1598 | -10.8642 | -108.0575 | 106.1598

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4277e-10 | -7.4054e-10 | 2.9666e-09 | 7.4277e-10 | 7.4054e-10 | -2.6404e-12 | 3.8301e-09 | -3.8314e-09 | 2.6647e-12 | -3.8301e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8884e-10 | 2.4759e-10 | 2.4686e-10 | -9.8886e-10 | -2.4758e-10 | -2.4685e-10 | 9.0322e-13 | -1.2767e-09 | 1.2771e-09 | -8.8591e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4686e-10 | -9.8888e-10 | -2.4759e-10 | -2.4685e-10 | 9.0322e-13 | -1.2767e-09 | 1.2771e-09 | -8.7899e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7712e-14 | -1.7337e-15 | 6.9287e-15 | 1.0389e-14 | 1.0395e-14 | 6.9287e-15 | 1.7308e-14 | 6.9261e-15 | -6.9246e-15 | 3.4664e-15 | -1.7314e-14 | -6.9246e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9666e-09 | -7.4277e-10 | -7.4054e-10 | 2.9666e-09 | 7.4277e-10 | 7.4054e-10 | -2.6404e-12 | 3.8301e-09 | -3.8314e-09 | 2.6647e-12 | -3.8301e-09 | 3.8314e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8884e-10 | 2.4759e-10 | 2.4686e-10 | -9.8886e-10 | -2.4758e-10 | -2.4685e-10 | 9.0322e-13 | -1.2767e-09 | 1.2771e-09 | -8.8591e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.8886e-10 | 2.4759e-10 | 2.4686e-10 | -9.8888e-10 | -2.4759e-10 | -2.4685e-10 | 9.0322e-13 | -1.2767e-09 | 1.2771e-09 | -8.7899e-13 | 1.2767e-09 | -1.2771e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7712e-14 | -1.7337e-15 | 6.9287e-15 | 1.0389e-14 | 1.0395e-14 | 6.9287e-15 | 1.7308e-14 | 6.9261e-15 | -6.9246e-15 | 3.4664e-15 | -1.7314e-14 | -6.9246e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73113 | 0.36556 | 0.36556 | 0.73113 | 0.36556 | 0.36556 | 0.017217 | -179.9828 | -179.9828 | 0.017217 | -179.9828 | -179.9828

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.1331e-09 | 2.2783e-09 | 1.9066e-09 | 3.1331e-09 | 7.1381e-10 | 4.3454e-09 | -7.9703e-10 | -7.1379e-10 | -4.3454e-09 | 7.9703e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3553e-10 | 1.0443e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.379e-10 | -1.4485e-09 | 2.6567e-10 | 2.3792e-10 | 1.4485e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3553e-10 | 1.0444e-09 | -7.5941e-10 | -6.3553e-10 | -1.0444e-09 | -2.379e-10 | -1.4485e-09 | 2.6567e-10 | 2.3791e-10 | 1.4485e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7944e-16 | 5.3882e-15 | -1.9536e-15 | 5.5887e-16 | 2.6941e-15 | -6.4968e-15 | 4.0414e-15 | -1.0968e-14 | -4.2252e-15 | 8.0828e-15 | -5.484e-15 | 8.1325e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2782e-09 | -1.9066e-09 | -3.1331e-09 | 2.2783e-09 | 1.9066e-09 | 3.1331e-09 | 7.1381e-10 | 4.3454e-09 | -7.9703e-10 | -7.1379e-10 | -4.3454e-09 | 7.9703e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3553e-10 | 1.0443e-09 | -7.594e-10 | -6.3553e-10 | -1.0444e-09 | -2.379e-10 | -1.4485e-09 | 2.6567e-10 | 2.3792e-10 | 1.4485e-09 | -2.6567e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5941e-10 | 6.3553e-10 | 1.0444e-09 | -7.5941e-10 | -6.3553e-10 | -1.0444e-09 | -2.379e-10 | -1.4485e-09 | 2.6567e-10 | 2.3791e-10 | 1.4485e-09 | -2.6568e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7944e-16 | 5.3882e-15 | -1.9536e-15 | 5.5887e-16 | 2.6941e-15 | -6.4968e-15 | 4.0414e-15 | -1.0968e-14 | -4.2252e-15 | 8.0828e-15 | -5.484e-15 | 8.1325e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8552 | 0.64494 | 0.43948 | 0.8552 | 0.64494 | 0.43948 | -3.9553 | -153.8367 | 128.6205 | -3.9553 | -153.8367 | 128.6205

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4924e-12 | 3.164e-09 | -3.1652e-09 | 2.4861e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0476e-10 | 2.0404e-10 | -8.1757e-10 | -2.0476e-10 | -2.0404e-10 | 8.1716e-13 | -1.0547e-09 | 1.0551e-09 | -8.2031e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0476e-10 | 2.0404e-10 | -8.1756e-10 | -2.0475e-10 | -2.0403e-10 | 8.1716e-13 | -1.0547e-09 | 1.0551e-09 | -8.266e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1483e-15 | 8.6542e-15 | 4.7219e-15 | -6.2933e-15 | -7.868e-16 | -3.1483e-15 | -3.1461e-15 | 1.5765e-15 | -3.1456e-15 | -3.1493e-15 | -2.6849e-19 | 3.1461e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4527e-09 | -6.1427e-10 | -6.121e-10 | 2.4527e-09 | 6.1427e-10 | 6.121e-10 | -2.4924e-12 | 3.164e-09 | -3.1652e-09 | 2.4861e-12 | -3.164e-09 | 3.1652e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0476e-10 | 2.0404e-10 | -8.1757e-10 | -2.0476e-10 | -2.0404e-10 | 8.1716e-13 | -1.0547e-09 | 1.0551e-09 | -8.2031e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1756e-10 | 2.0476e-10 | 2.0404e-10 | -8.1756e-10 | -2.0475e-10 | -2.0403e-10 | 8.1716e-13 | -1.0547e-09 | 1.0551e-09 | -8.266e-13 | 1.0547e-09 | -1.0551e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1483e-15 | 8.6542e-15 | 4.7219e-15 | -6.2933e-15 | -7.868e-16 | -3.1483e-15 | -3.1461e-15 | 1.5765e-15 | -3.1456e-15 | -3.1493e-15 | -2.6849e-19 | 3.1461e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.66439 | 0.3322 | 0.3322 | 0.66439 | 0.3322 | 0.3322 | 0.019552 | -179.9804 | -179.9804 | 0.019552 | -179.9804 | -179.9804

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2294e-10 | -5.6309e-10 | -3.6195e-09 | 8.2295e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4924e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1357e-10 | -8.3567e-10 | -1.8771e-10 | -1.2065e-09 | 2.7432e-10 | 1.877e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1357e-10 | -8.3567e-10 | -1.8771e-10 | -1.2065e-09 | 2.7432e-10 | 1.877e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7458e-15 | 7.3698e-15 | 2.6943e-15 | -1.6336e-15 | -1.1413e-16 | 1.7805e-15 | 1.5698e-15 | 4.8089e-15 | 2.374e-15 | -1.0813e-14 | -2.9899e-15 | -2.0207e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9477e-09 | -1.5408e-09 | -2.507e-09 | 1.9477e-09 | 1.5408e-09 | 2.507e-09 | 5.6308e-10 | 3.6195e-09 | -8.2294e-10 | -5.6309e-10 | -3.6195e-09 | 8.2295e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4924e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1357e-10 | -8.3567e-10 | -1.8771e-10 | -1.2065e-09 | 2.7432e-10 | 1.877e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4923e-10 | 5.1358e-10 | 8.3568e-10 | -6.4924e-10 | -5.1357e-10 | -8.3567e-10 | -1.8771e-10 | -1.2065e-09 | 2.7432e-10 | 1.877e-10 | 1.2065e-09 | -2.7432e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7458e-15 | 7.3698e-15 | 2.6943e-15 | -1.6336e-15 | -1.1413e-16 | 1.7805e-15 | 1.5698e-15 | 4.8089e-15 | 2.374e-15 | -1.0813e-14 | -2.9899e-15 | -2.0207e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.76688 | 0.56496 | 0.37903 | 0.76688 | 0.56496 | 0.37903 | -3.8274 | -155.621 | 131.3837 | -3.8274 | -155.621 | 131.3837