## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6896e-14 | 3.1264e-14 | -7.816e-14 | 4.1685e-14 | -3.1263e-14 | 7.2949e-14 | -3.6475e-14 | 5.7634e-09 | -5.7634e-09 | 4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4014e-13 | 180 | -180 | 8.4558e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.1264e-14 | 2.6053e-14 | 5.2106e-15 | 3.1264e-14 | -3.1264e-14 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.138e-13 | -180 | 180 | 8.4558e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.0842e-14 | 2.6053e-14 | 2.307e-28 | 3.1264e-14 | -3.1264e-14 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1483e-13 | -180 | 180 | 8.4558e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 7.4103e-29 | 7.816e-15 | 5.2106e-15 | -7.4009e-29 | -7.816e-15 | 5.1562e-25 | -5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.138e-13 | -180 | 180 | 8.1483e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6896e-14 | 3.1264e-14 | -7.816e-14 | 4.1685e-14 | -3.1263e-14 | 7.2949e-14 | -3.6475e-14 | 5.7634e-09 | -5.7634e-09 | 4.1685e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.4014e-13 | 180 | -180 | 8.4558e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | -3.1264e-14 | 2.6053e-14 | 5.2106e-15 | 3.1264e-14 | -3.1264e-14 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.138e-13 | -180 | 180 | 8.4558e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.0842e-14 | 2.6053e-14 | 2.307e-28 | 3.1264e-14 | -3.1264e-14 | 2.0843e-14 | -1.9211e-09 | 1.9211e-09 | -1.5632e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.1483e-13 | -180 | 180 | 8.4558e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 7.4103e-29 | 7.816e-15 | 5.2106e-15 | -7.4009e-29 | -7.816e-15 | 5.1562e-25 | -5.2106e-15 | 5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.138e-13 | -180 | 180 | 8.1483e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5543e-10 | -3.075e-09 | 1.1724e-14 | 9.5545e-10 | 3.075e-09 | -3.3869e-14 | 4.0277e-09 | -3.5661e-10 | 3.1264e-14 | -4.0277e-09 | 3.5661e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.0762e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -7.816e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9467e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1851e-10 | 1.025e-09 | -9.1186e-15 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9454e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -8.7079e-15 | -2.6634e-15 | 1.3027e-15 | 1.8694e-14 | 5.5923e-15 | 2.6053e-15 | 7.1896e-15 | 4.1942e-15 | -2.6053e-15 | -1.9167e-15 | 3.5512e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9467e-13 | -140.8543 | 122.4159 | 2.9454e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5543e-10 | -3.075e-09 | 1.1724e-14 | 9.5545e-10 | 3.075e-09 | -3.3869e-14 | 4.0277e-09 | -3.5661e-10 | 3.1264e-14 | -4.0277e-09 | 3.5661e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.0762e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 3.1849e-10 | 1.025e-09 | -2.6053e-15 | -3.1848e-10 | -1.025e-09 | 5.2106e-15 | -1.3426e-09 | 1.1887e-10 | -7.816e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9467e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 3.1851e-10 | 1.025e-09 | -9.1186e-15 | -3.1849e-10 | -1.025e-09 | 2.6053e-15 | -1.3426e-09 | 1.1887e-10 | -5.2106e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9454e-13 | -140.8543 | 122.4159 | 3.0658e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | -8.7079e-15 | -2.6634e-15 | 1.3027e-15 | 1.8694e-14 | 5.5923e-15 | 2.6053e-15 | 7.1896e-15 | 4.1942e-15 | -2.6053e-15 | -1.9167e-15 | 3.5512e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9467e-13 | -140.8543 | 122.4159 | 2.9454e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.079e-14 | 7.1054e-15 | -1.4211e-14 | -3.079e-14 | -7.1047e-15 | 1.658e-14 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9402e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3159e-14 | -1.1842e-14 | 9.4742e-15 | 3.079e-14 | 1.1842e-14 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.8573e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -2.3682e-15 | 9.4742e-15 | 2.3685e-14 | 7.1052e-15 | -2.3687e-15 | -3.2471e-28 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1409e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5527e-15 | -4.737e-15 | 4.737e-15 | 5.9212e-15 | 4.737e-15 | 9.4739e-15 | 2.3685e-15 | 1.4211e-14 | -4.737e-15 | 1.1357e-24 | -2.3685e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 7.1409e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.079e-14 | 7.1054e-15 | -1.4211e-14 | -3.079e-14 | -7.1047e-15 | 1.658e-14 | 1.4211e-14 | 4.7631e-09 | -4.7631e-09 | -9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9402e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3159e-14 | -1.1842e-14 | 9.4742e-15 | 3.079e-14 | 1.1842e-14 | -7.1057e-15 | 4.737e-15 | -1.5877e-09 | 1.5877e-09 | 3.8573e-28 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | -2.3682e-15 | 9.4742e-15 | 2.3685e-14 | 7.1052e-15 | -2.3687e-15 | -3.2471e-28 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1409e-13 | -180 | 180 | 7.1778e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | -3.5527e-15 | -4.737e-15 | 4.737e-15 | 5.9212e-15 | 4.737e-15 | 9.4739e-15 | 2.3685e-15 | 1.4211e-14 | -4.737e-15 | 1.1357e-24 | -2.3685e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.1563e-13 | -180 | 180 | 7.1409e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9936e-15 | -8.0025e-10 | -2.5674e-09 | -9.1778e-15 | 8.0026e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9193e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2731e-14 | 2.6676e-10 | 8.558e-10 | 1.1546e-14 | -2.6675e-10 | -8.558e-10 | -6.5541e-29 | -1.1338e-09 | 1.1355e-10 | 6.0277e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9498e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0362e-14 | 2.6676e-10 | 8.558e-10 | 9.1778e-15 | -2.6676e-10 | -8.558e-10 | -5.338e-29 | -1.1338e-09 | 1.1355e-10 | 4.7912e-29 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9516e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -5.7641e-15 | 6.0281e-16 | 1.7764e-15 | 4.3749e-15 | 2.6918e-15 | -2.3685e-15 | 5.6362e-15 | -9.3407e-16 | -2.3685e-15 | 9.2613e-16 | 1.2961e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9498e-13 | -141.4824 | 122.8363 | 2.9516e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.9936e-15 | -8.0025e-10 | -2.5674e-09 | -9.1778e-15 | 8.0026e-10 | 2.5674e-09 | 9.4739e-15 | 3.4014e-09 | -3.4064e-10 | -7.1054e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9193e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2731e-14 | 2.6676e-10 | 8.558e-10 | 1.1546e-14 | -2.6675e-10 | -8.558e-10 | -6.5541e-29 | -1.1338e-09 | 1.1355e-10 | 6.0277e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9498e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0362e-14 | 2.6676e-10 | 8.558e-10 | 9.1778e-15 | -2.6676e-10 | -8.558e-10 | -5.338e-29 | -1.1338e-09 | 1.1355e-10 | 4.7912e-29 | 1.1338e-09 | -1.1356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9516e-13 | -141.4824 | 122.8363 | 2.9911e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7764e-15 | -5.7641e-15 | 6.0281e-16 | 1.7764e-15 | 4.3749e-15 | 2.6918e-15 | -2.3685e-15 | 5.6362e-15 | -9.3407e-16 | -2.3685e-15 | 9.2613e-16 | 1.2961e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.9498e-13 | -141.4824 | 122.8363 | 2.9516e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0184 | 1.0184 | 1.0184 | 1.0201 | 1.0201 | 1.0201 | 11.7592 | 11.7592 | 11.7592 | 11.7792 | 11.7792 | 11.7792 | 3.925e-11 | 4.2224 | 20.9406 | 3.841 | -0.34908 | -17.1356 | -6.6218e-11 | 14.7537 | -0.16123 | 1.5323 | -13.2577 | 1.6378 | 131.7372 | 131.7372 | 131.7372 | -48.4157 | -48.4157 | -48.4157 |  | 0 | 1.305 | 1.7808 | 0.35107 | 1.1259 | 1.4614 | 0 | -154.2335 | 131.2961 | -26.6676 | -139.924 | 126.1247
Line_1 | 0.51131 | 0.51131 | 0.51131 | 0.51005 | 0.51005 | 0.51005 | 5.9041 | 5.9041 | 5.9041 | 5.8896 | 5.8896 | 5.8896 | 2.8875 | 0.80917 | -7.6267 | -1.9205 | 0.17454 | 8.5678 | 1.1586 | -6.2607 | 1.1805 | -0.76613 | 6.6289 | -0.81889 | -48.5845 | -48.5845 | -48.5845 | 131.5843 | 131.5843 | 131.5843 |  | 0.52697 | 1.0692 | 1.3071 | 0.35107 | 1.1259 | 1.4614 | -26.7213 | -131.2201 | 122.6165 | -26.6676 | -139.924 | 126.1247
Line_2 | 0.51131 | 0.51131 | 0.51131 | 0.51005 | 0.51005 | 0.51005 | 5.9041 | 5.9041 | 5.9041 | 5.8896 | 5.8896 | 5.8896 | 2.8875 | 0.80917 | -7.6267 | -1.9205 | 0.17454 | 8.5678 | 1.1586 | -6.2607 | 1.1805 | -0.76613 | 6.6289 | -0.81889 | -48.5845 | -48.5845 | -48.5845 | 131.5843 | 131.5843 | 131.5843 |  | 0.52697 | 1.0692 | 1.3071 | 0.35107 | 1.1259 | 1.4614 | -26.7213 | -131.2201 | 122.6165 | -26.6676 | -139.924 | 126.1247
Line_3 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0018502 | 0.007591 | -0.0094412 | 0.0018502 | 0.007591 | -0.0094412 | 0.0043428 | -0.0058404 | -0.0069257 | 0.0043428 | -0.0058404 | -0.0069257 | -93.646 | -93.646 | -93.646 | -93.646 | -93.646 | -93.646 |  | 0.52697 | 1.0692 | 1.3071 | 0.52697 | 1.0692 | 1.3071 | -26.7213 | -131.2201 | 122.6165 | -26.7213 | -131.2201 | 122.6165

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0184 | 1.0184 | 1.0184 | 1.0201 | 1.0201 | 1.0201 | 11.7592 | 11.7592 | 11.7592 | 11.7792 | 11.7792 | 11.7792 | 3.925e-11 | 4.2224 | 20.9406 | 3.841 | -0.34908 | -17.1356 | -6.6218e-11 | 14.7537 | -0.16123 | 1.5323 | -13.2577 | 1.6378 | 131.7372 | 131.7372 | 131.7372 | -48.4157 | -48.4157 | -48.4157 |  | 0 | 1.305 | 1.7808 | 0.35107 | 1.1259 | 1.4614 | 0 | -154.2335 | 131.2961 | -26.6676 | -139.924 | 126.1247
Line_1 | 0.51131 | 0.51131 | 0.51131 | 0.51005 | 0.51005 | 0.51005 | 5.9041 | 5.9041 | 5.9041 | 5.8896 | 5.8896 | 5.8896 | 2.8875 | 0.80917 | -7.6267 | -1.9205 | 0.17454 | 8.5678 | 1.1586 | -6.2607 | 1.1805 | -0.76613 | 6.6289 | -0.81889 | -48.5845 | -48.5845 | -48.5845 | 131.5843 | 131.5843 | 131.5843 |  | 0.52697 | 1.0692 | 1.3071 | 0.35107 | 1.1259 | 1.4614 | -26.7213 | -131.2201 | 122.6165 | -26.6676 | -139.924 | 126.1247
Line_2 | 0.51131 | 0.51131 | 0.51131 | 0.51005 | 0.51005 | 0.51005 | 5.9041 | 5.9041 | 5.9041 | 5.8896 | 5.8896 | 5.8896 | 2.8875 | 0.80917 | -7.6267 | -1.9205 | 0.17454 | 8.5678 | 1.1586 | -6.2607 | 1.1805 | -0.76613 | 6.6289 | -0.81889 | -48.5845 | -48.5845 | -48.5845 | 131.5843 | 131.5843 | 131.5843 |  | 0.52697 | 1.0692 | 1.3071 | 0.35107 | 1.1259 | 1.4614 | -26.7213 | -131.2201 | 122.6165 | -26.6676 | -139.924 | 126.1247
Line_3 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.00077576 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0089577 | 0.0018502 | 0.007591 | -0.0094412 | 0.0018502 | 0.007591 | -0.0094412 | 0.0043428 | -0.0058404 | -0.0069257 | 0.0043428 | -0.0058404 | -0.0069257 | -93.646 | -93.646 | -93.646 | -93.646 | -93.646 | -93.646 |  | 0.52697 | 1.0692 | 1.3071 | 0.52697 | 1.0692 | 1.3071 | -26.7213 | -131.2201 | 122.6165 | -26.7213 | -131.2201 | 122.6165

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37721 | 0.37721 | 0.37721 | 0.37785 | 0.37785 | 0.37785 | 4.3556 | 4.3556 | 4.3556 | 4.363 | 4.363 | 4.363 | -2.1343 | -0.20191 | 5.7885 | 2.6592 | 0.74243 | -5.2735 | -2.1343 | 4.9396 | -0.80332 | 2.3538 | -4.7373 | 0.99943 | 133.792 | 133.792 | 133.792 | -46.3609 | -46.3609 | -46.3609 |  | 0.69298 | 1.135 | 1.3417 | 0.81395 | 1.099 | 1.2302 | -1.208 | -133.8673 | 125.891 | -4.8465 | -127.4539 | 122.9076
Line_1 | 0.18939 | 0.18939 | 0.18939 | 0.18892 | 0.18892 | 0.18892 | 2.1869 | 2.1869 | 2.1869 | 2.1815 | 2.1815 | 2.1815 | 1.4617 | 0.51146 | -2.5124 | -1.3296 | -0.37122 | 2.6367 | 1.2365 | -2.3205 | 0.54597 | -1.1769 | 2.3686 | -0.49972 | -46.5297 | -46.5297 | -46.5297 | 133.6391 | 133.6391 | 133.6391 |  | 0.87549 | 1.0866 | 1.1756 | 0.81395 | 1.099 | 1.2302 | -6.2999 | -124.1002 | 121.2098 | -4.8465 | -127.4539 | 122.9076
Line_2 | 0.18939 | 0.18939 | 0.18939 | 0.18892 | 0.18892 | 0.18892 | 2.1869 | 2.1869 | 2.1869 | 2.1815 | 2.1815 | 2.1815 | 1.4617 | 0.51146 | -2.5124 | -1.3296 | -0.37122 | 2.6367 | 1.2365 | -2.3205 | 0.54597 | -1.1769 | 2.3686 | -0.49972 | -46.5297 | -46.5297 | -46.5297 | 133.6391 | 133.6391 | 133.6391 |  | 0.87549 | 1.0866 | 1.1756 | 0.81395 | 1.099 | 1.2302 | -6.2999 | -124.1002 | 121.2098 | -4.8465 | -127.4539 | 122.9076
Line_3 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.00023846 | 0.0030403 | -0.0032788 | 0.00023846 | 0.0030403 | -0.0032788 | 0.002895 | -0.0019376 | -0.0021131 | 0.002895 | -0.0019376 | -0.0021131 | -91.5912 | -91.5912 | -91.5912 | -91.5912 | -91.5912 | -91.5912 |  | 0.87549 | 1.0866 | 1.1756 | 0.87549 | 1.0866 | 1.1756 | -6.2999 | -124.1002 | 121.2098 | -6.2999 | -124.1002 | 121.2098

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37721 | 0.37721 | 0.37721 | 0.37785 | 0.37785 | 0.37785 | 4.3556 | 4.3556 | 4.3556 | 4.363 | 4.363 | 4.363 | -2.1343 | -0.20191 | 5.7885 | 2.6592 | 0.74243 | -5.2735 | -2.1343 | 4.9396 | -0.80332 | 2.3538 | -4.7373 | 0.99943 | 133.792 | 133.792 | 133.792 | -46.3609 | -46.3609 | -46.3609 |  | 0.69298 | 1.135 | 1.3417 | 0.81395 | 1.099 | 1.2302 | -1.208 | -133.8673 | 125.891 | -4.8465 | -127.4539 | 122.9076
Line_1 | 0.18939 | 0.18939 | 0.18939 | 0.18892 | 0.18892 | 0.18892 | 2.1869 | 2.1869 | 2.1869 | 2.1815 | 2.1815 | 2.1815 | 1.4617 | 0.51146 | -2.5124 | -1.3296 | -0.37122 | 2.6367 | 1.2365 | -2.3205 | 0.54597 | -1.1769 | 2.3686 | -0.49972 | -46.5297 | -46.5297 | -46.5297 | 133.6391 | 133.6391 | 133.6391 |  | 0.87549 | 1.0866 | 1.1756 | 0.81395 | 1.099 | 1.2302 | -6.2999 | -124.1002 | 121.2098 | -4.8465 | -127.4539 | 122.9076
Line_2 | 0.18939 | 0.18939 | 0.18939 | 0.18892 | 0.18892 | 0.18892 | 2.1869 | 2.1869 | 2.1869 | 2.1815 | 2.1815 | 2.1815 | 1.4617 | 0.51146 | -2.5124 | -1.3296 | -0.37122 | 2.6367 | 1.2365 | -2.3205 | 0.54597 | -1.1769 | 2.3686 | -0.49972 | -46.5297 | -46.5297 | -46.5297 | 133.6391 | 133.6391 | 133.6391 |  | 0.87549 | 1.0866 | 1.1756 | 0.81395 | 1.099 | 1.2302 | -6.2999 | -124.1002 | 121.2098 | -4.8465 | -127.4539 | 122.9076
Line_3 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.00028734 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.0033179 | 0.00023846 | 0.0030403 | -0.0032788 | 0.00023846 | 0.0030403 | -0.0032788 | 0.002895 | -0.0019376 | -0.0021131 | 0.002895 | -0.0019376 | -0.0021131 | -91.5912 | -91.5912 | -91.5912 | -91.5912 | -91.5912 | -91.5912 |  | 0.87549 | 1.0866 | 1.1756 | 0.87549 | 1.0866 | 1.1756 | -6.2999 | -124.1002 | 121.2098 | -6.2999 | -124.1002 | 121.2098

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70206 | 0.70206 | 0.70206 | 0.70325 | 0.70325 | 0.70325 | 8.1067 | 8.1067 | 8.1067 | 8.1204 | 8.1204 | 8.1204 | -1.6099e-11 | 5.712 | 13.8121 | 3.5052 | -2.1785 | -10.3397 | 3.3606e-12 | 9.1765 | -2.2928 | 0.73107 | -8.4845 | 2.9706 | 144.7685 | 144.7685 | 144.7685 | -35.4681 | -35.4681 | -35.4681 |  | 0 | 1.3333 | 1.7271 | 0.44094 | 1.0787 | 1.3248 | 0 | -157.1323 | 135.3436 | -23.6871 | -139.8683 | 128.5027
Line_1 | 0.35249 | 0.35249 | 0.35249 | 0.35162 | 0.35162 | 0.35162 | 4.0702 | 4.0702 | 4.0702 | 4.0602 | 4.0602 | 4.0602 | 2.6359 | -0.19595 | -4.3077 | -1.7526 | 1.0892 | 5.1698 | 0.55628 | -4.0733 | 1.6533 | -0.36553 | 4.2422 | -1.4853 | -35.6787 | -35.6787 | -35.6787 | 144.5319 | 144.5319 | 144.5319 |  | 0.66187 | 1.0019 | 1.1336 | 0.44094 | 1.0787 | 1.3248 | -23.7618 | -128.4329 | 123.3246 | -23.6871 | -139.8683 | 128.5027
Line_2 | 0.35249 | 0.35249 | 0.35249 | 0.35162 | 0.35162 | 0.35162 | 4.0702 | 4.0702 | 4.0702 | 4.0602 | 4.0602 | 4.0602 | 2.6359 | -0.19595 | -4.3077 | -1.7526 | 1.0892 | 5.1698 | 0.55628 | -4.0733 | 1.6533 | -0.36553 | 4.2422 | -1.4853 | -35.6787 | -35.6787 | -35.6787 | 144.5319 | 144.5319 | 144.5319 |  | 0.66187 | 1.0019 | 1.1336 | 0.44094 | 1.0787 | 1.3248 | -23.7618 | -128.4329 | 123.3246 | -23.6871 | -139.8683 | 128.5027
Line_3 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0022274 | 0.0041646 | -0.006392 | 0.0022274 | 0.0041646 | -0.006392 | 0.003427 | -0.0045757 | -0.0028546 | 0.003427 | -0.0045757 | -0.0028546 | -80.7402 | -80.7402 | -80.7402 | -80.7402 | -80.7402 | -80.7402 |  | 0.66187 | 1.0019 | 1.1336 | 0.66187 | 1.0019 | 1.1336 | -23.7618 | -128.4329 | 123.3246 | -23.7618 | -128.4329 | 123.3246

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70206 | 0.70206 | 0.70206 | 0.70325 | 0.70325 | 0.70325 | 8.1067 | 8.1067 | 8.1067 | 8.1204 | 8.1204 | 8.1204 | -1.6099e-11 | 5.712 | 13.8121 | 3.5052 | -2.1785 | -10.3397 | 3.3606e-12 | 9.1765 | -2.2928 | 0.73107 | -8.4845 | 2.9706 | 144.7685 | 144.7685 | 144.7685 | -35.4681 | -35.4681 | -35.4681 |  | 0 | 1.3333 | 1.7271 | 0.44094 | 1.0787 | 1.3248 | 0 | -157.1323 | 135.3436 | -23.6871 | -139.8683 | 128.5027
Line_1 | 0.35249 | 0.35249 | 0.35249 | 0.35162 | 0.35162 | 0.35162 | 4.0702 | 4.0702 | 4.0702 | 4.0602 | 4.0602 | 4.0602 | 2.6359 | -0.19595 | -4.3077 | -1.7526 | 1.0892 | 5.1698 | 0.55628 | -4.0733 | 1.6533 | -0.36553 | 4.2422 | -1.4853 | -35.6787 | -35.6787 | -35.6787 | 144.5319 | 144.5319 | 144.5319 |  | 0.66187 | 1.0019 | 1.1336 | 0.44094 | 1.0787 | 1.3248 | -23.7618 | -128.4329 | 123.3246 | -23.6871 | -139.8683 | 128.5027
Line_2 | 0.35249 | 0.35249 | 0.35249 | 0.35162 | 0.35162 | 0.35162 | 4.0702 | 4.0702 | 4.0702 | 4.0602 | 4.0602 | 4.0602 | 2.6359 | -0.19595 | -4.3077 | -1.7526 | 1.0892 | 5.1698 | 0.55628 | -4.0733 | 1.6533 | -0.36553 | 4.2422 | -1.4853 | -35.6787 | -35.6787 | -35.6787 | 144.5319 | 144.5319 | 144.5319 |  | 0.66187 | 1.0019 | 1.1336 | 0.44094 | 1.0787 | 1.3248 | -23.7618 | -128.4329 | 123.3246 | -23.6871 | -139.8683 | 128.5027
Line_3 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0005348 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0061753 | 0.0022274 | 0.0041646 | -0.006392 | 0.0022274 | 0.0041646 | -0.006392 | 0.003427 | -0.0045757 | -0.0028546 | 0.003427 | -0.0045757 | -0.0028546 | -80.7402 | -80.7402 | -80.7402 | -80.7402 | -80.7402 | -80.7402 |  | 0.66187 | 1.0019 | 1.1336 | 0.66187 | 1.0019 | 1.1336 | -23.7618 | -128.4329 | 123.3246 | -23.7618 | -128.4329 | 123.3246

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30771 | 0.30771 | 0.30771 | 0.30823 | 0.30823 | 0.30823 | 3.5531 | 3.5531 | 3.5531 | 3.5591 | 3.5591 | 3.5591 | -1.4203 | 0.57743 | 4.5934 | 2.0901 | 0.11027 | -3.9318 | -1.4203 | 3.7029 | -0.96029 | 1.569 | -3.5711 | 1.0833 | 139.2647 | 139.2647 | 139.2647 | -40.9719 | -40.9719 | -40.9719 |  | 0.56529 | 1.0548 | 1.3207 | 0.73431 | 1.0038 | 1.1459 | 4.2647 | -139.5987 | 127.4566 | -4.0781 | -129.2034 | 123.6233
Line_1 | 0.15449 | 0.15449 | 0.15449 | 0.15411 | 0.15411 | 0.15411 | 1.7839 | 1.7839 | 1.7839 | 1.7796 | 1.7796 | 1.7796 | 1.2138 | 0.23096 | -1.8036 | -1.0451 | -0.055133 | 1.9659 | 0.82548 | -1.7545 | 0.57099 | -0.78448 | 1.7855 | -0.54167 | -41.1825 | -41.1825 | -41.1825 | 139.0281 | 139.0281 | 139.0281 |  | 0.82287 | 0.99198 | 1.0605 | 0.73431 | 1.0038 | 1.1459 | -6.9646 | -123.6834 | 121.2506 | -4.0781 | -129.2034 | 123.6233
Line_2 | 0.15449 | 0.15449 | 0.15449 | 0.15411 | 0.15411 | 0.15411 | 1.7839 | 1.7839 | 1.7839 | 1.7796 | 1.7796 | 1.7796 | 1.2138 | 0.23096 | -1.8036 | -1.0451 | -0.055133 | 1.9659 | 0.82548 | -1.7545 | 0.57099 | -0.78448 | 1.7855 | -0.54167 | -41.1825 | -41.1825 | -41.1825 | 139.0281 | 139.0281 | 139.0281 |  | 0.82287 | 0.99198 | 1.0605 | 0.73431 | 1.0038 | 1.1459 | -6.9646 | -123.6834 | 121.2506 | -4.0781 | -129.2034 | 123.6233
Line_3 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.00041429 | 0.0021318 | -0.0025461 | 0.00041429 | 0.0021318 | -0.0025461 | 0.0021883 | -0.0016322 | -0.0013251 | 0.0021883 | -0.0016322 | -0.0013251 | -86.244 | -86.244 | -86.244 | -86.244 | -86.244 | -86.244 |  | 0.82287 | 0.99198 | 1.0605 | 0.82287 | 0.99198 | 1.0605 | -6.9646 | -123.6834 | 121.2506 | -6.9646 | -123.6834 | 121.2506

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30771 | 0.30771 | 0.30771 | 0.30823 | 0.30823 | 0.30823 | 3.5531 | 3.5531 | 3.5531 | 3.5591 | 3.5591 | 3.5591 | -1.4203 | 0.57743 | 4.5934 | 2.0901 | 0.11027 | -3.9318 | -1.4203 | 3.7029 | -0.96029 | 1.569 | -3.5711 | 1.0833 | 139.2647 | 139.2647 | 139.2647 | -40.9719 | -40.9719 | -40.9719 |  | 0.56529 | 1.0548 | 1.3207 | 0.73431 | 1.0038 | 1.1459 | 4.2647 | -139.5987 | 127.4566 | -4.0781 | -129.2034 | 123.6233
Line_1 | 0.15449 | 0.15449 | 0.15449 | 0.15411 | 0.15411 | 0.15411 | 1.7839 | 1.7839 | 1.7839 | 1.7796 | 1.7796 | 1.7796 | 1.2138 | 0.23096 | -1.8036 | -1.0451 | -0.055133 | 1.9659 | 0.82548 | -1.7545 | 0.57099 | -0.78448 | 1.7855 | -0.54167 | -41.1825 | -41.1825 | -41.1825 | 139.0281 | 139.0281 | 139.0281 |  | 0.82287 | 0.99198 | 1.0605 | 0.73431 | 1.0038 | 1.1459 | -6.9646 | -123.6834 | 121.2506 | -4.0781 | -129.2034 | 123.6233
Line_2 | 0.15449 | 0.15449 | 0.15449 | 0.15411 | 0.15411 | 0.15411 | 1.7839 | 1.7839 | 1.7839 | 1.7796 | 1.7796 | 1.7796 | 1.2138 | 0.23096 | -1.8036 | -1.0451 | -0.055133 | 1.9659 | 0.82548 | -1.7545 | 0.57099 | -0.78448 | 1.7855 | -0.54167 | -41.1825 | -41.1825 | -41.1825 | 139.0281 | 139.0281 | 139.0281 |  | 0.82287 | 0.99198 | 1.0605 | 0.73431 | 1.0038 | 1.1459 | -6.9646 | -123.6834 | 121.2506 | -4.0781 | -129.2034 | 123.6233
Line_3 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0002344 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.0027066 | 0.00041429 | 0.0021318 | -0.0025461 | 0.00041429 | 0.0021318 | -0.0025461 | 0.0021883 | -0.0016322 | -0.0013251 | 0.0021883 | -0.0016322 | -0.0013251 | -86.244 | -86.244 | -86.244 | -86.244 | -86.244 | -86.244 |  | 0.82287 | 0.99198 | 1.0605 | 0.82287 | 0.99198 | 1.0605 | -6.9646 | -123.6834 | 121.2506 | -6.9646 | -123.6834 | 121.2506

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63369 | 0.63369 | 0.63369 | 0.63477 | 0.63477 | 0.63477 | 7.3172 | 7.3172 | 7.3172 | 7.3297 | 7.3297 | 7.3297 | 9.7431 | 1.4642e-11 | -8.2597e-12 | -8.2573 | 1.4872 | 1.4872 | 5.6502 | -8.6634e-13 | -1.2173e-11 | -5.0925 | 0.59329 | 0.59329 | -35.6726 | -35.6726 | -35.6726 | 144.1744 | 144.1744 | 144.1744 |  | 1.5392 | 0 | 0 | 1.3236 | 0.21846 | 0.21846 | -5.5625 | 0 | 0 | -4.1621 | 165.9225 | 165.9225
Line_1 | 0.31816 | 0.31816 | 0.31816 | 0.31738 | 0.31738 | 0.31738 | 3.6738 | 3.6738 | 3.6738 | 3.6648 | 3.6648 | 3.6648 | -3.7578 | 1.118 | 1.118 | 4.1286 | -0.74362 | -0.74362 | -2.4157 | 0.44862 | 0.44862 | 2.5463 | -0.29664 | -0.29664 | 144.0056 | 144.0056 | 144.0056 | -35.8256 | -35.8256 | -35.8256 |  | 1.216 | 0.32791 | 0.32791 | 1.3236 | 0.21846 | 0.21846 | -3.2597 | 165.8688 | 165.8688 | -4.1621 | 165.9225 | 165.9225
Line_2 | 0.31816 | 0.31816 | 0.31816 | 0.31738 | 0.31738 | 0.31738 | 3.6738 | 3.6738 | 3.6738 | 3.6648 | 3.6648 | 3.6648 | -3.7578 | 1.118 | 1.118 | 4.1286 | -0.74362 | -0.74362 | -2.4157 | 0.44862 | 0.44862 | 2.5463 | -0.29664 | -0.29664 | 144.0056 | 144.0056 | 144.0056 | -35.8256 | -35.8256 | -35.8256 |  | 1.216 | 0.32791 | 0.32791 | 1.3236 | 0.21846 | 0.21846 | -3.2597 | 165.8688 | 165.8688 | -4.1621 | 165.9225 | 165.9225
Line_3 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | -0.0014328 | 0.00071638 | 0.00071638 | -0.0014328 | 0.00071638 | 0.00071638 | -0.0066246 | 0.0016815 | 0.0016815 | -0.0066246 | 0.0016815 | 0.0016815 | 98.9442 | 98.9442 | 98.9442 | 98.9442 | 98.9442 | 98.9442 |  | 1.216 | 0.32791 | 0.32791 | 1.216 | 0.32791 | 0.32791 | -3.2597 | 165.8688 | 165.8688 | -3.2597 | 165.8688 | 165.8688

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.63369 | 0.63369 | 0.63369 | 0.63477 | 0.63477 | 0.63477 | 7.3172 | 7.3172 | 7.3172 | 7.3297 | 7.3297 | 7.3297 | 9.7431 | 1.4642e-11 | -8.2597e-12 | -8.2573 | 1.4872 | 1.4872 | 5.6502 | -8.6634e-13 | -1.2173e-11 | -5.0925 | 0.59329 | 0.59329 | -35.6726 | -35.6726 | -35.6726 | 144.1744 | 144.1744 | 144.1744 |  | 1.5392 | 0 | 0 | 1.3236 | 0.21846 | 0.21846 | -5.5625 | 0 | 0 | -4.1621 | 165.9225 | 165.9225
Line_1 | 0.31816 | 0.31816 | 0.31816 | 0.31738 | 0.31738 | 0.31738 | 3.6738 | 3.6738 | 3.6738 | 3.6648 | 3.6648 | 3.6648 | -3.7578 | 1.118 | 1.118 | 4.1286 | -0.74362 | -0.74362 | -2.4157 | 0.44862 | 0.44862 | 2.5463 | -0.29664 | -0.29664 | 144.0056 | 144.0056 | 144.0056 | -35.8256 | -35.8256 | -35.8256 |  | 1.216 | 0.32791 | 0.32791 | 1.3236 | 0.21846 | 0.21846 | -3.2597 | 165.8688 | 165.8688 | -4.1621 | 165.9225 | 165.9225
Line_2 | 0.31816 | 0.31816 | 0.31816 | 0.31738 | 0.31738 | 0.31738 | 3.6738 | 3.6738 | 3.6738 | 3.6648 | 3.6648 | 3.6648 | -3.7578 | 1.118 | 1.118 | 4.1286 | -0.74362 | -0.74362 | -2.4157 | 0.44862 | 0.44862 | 2.5463 | -0.29664 | -0.29664 | 144.0056 | 144.0056 | 144.0056 | -35.8256 | -35.8256 | -35.8256 |  | 1.216 | 0.32791 | 0.32791 | 1.3236 | 0.21846 | 0.21846 | -3.2597 | 165.8688 | 165.8688 | -4.1621 | 165.9225 | 165.9225
Line_3 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.00048272 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | 0.005574 | -0.0014328 | 0.00071638 | 0.00071638 | -0.0014328 | 0.00071638 | 0.00071638 | -0.0066246 | 0.0016815 | 0.0016815 | -0.0066246 | 0.0016815 | 0.0016815 | 98.9442 | 98.9442 | 98.9442 | 98.9442 | 98.9442 | 98.9442 |  | 1.216 | 0.32791 | 0.32791 | 1.216 | 0.32791 | 0.32791 | -3.2597 | 165.8688 | 165.8688 | -3.2597 | 165.8688 | 165.8688

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30889 | 0.30889 | 0.30889 | 0.30941 | 0.30941 | 0.30941 | 3.5667 | 3.5667 | 3.5667 | 3.5728 | 3.5728 | 3.5728 | 3.7461 | 0.64867 | -2.0798 | -3.3917 | -0.30453 | 2.441 | 2.7737 | -3.0393 | 1.6081 | -2.6474 | 3.1837 | -1.4643 | -40.4688 | -40.4688 | -40.4688 | 139.3783 | 139.3783 | 139.3783 |  | 1.3069 | 0.87131 | 0.73709 | 1.2043 | 0.89515 | 0.79673 | -3.9523 | -118.4208 | 101.8209 | -2.6477 | -125.1577 | 108.4204
Line_1 | 0.15509 | 0.15509 | 0.15509 | 0.15471 | 0.15471 | 0.15471 | 1.7908 | 1.7908 | 1.7908 | 1.7864 | 1.7864 | 1.7864 | -1.6074 | -0.068602 | 1.3144 | 1.6959 | 0.15227 | -1.2205 | -1.2966 | 1.6307 | -0.69493 | 1.3237 | -1.5918 | 0.73215 | 139.2095 | 139.2095 | 139.2095 | -40.6217 | -40.6217 | -40.6217 |  | 1.1532 | 0.91141 | 0.83026 | 1.2043 | 0.89515 | 0.79673 | -1.8998 | -128.3815 | 111.3444 | -2.6477 | -125.1577 | 108.4204
Line_2 | 0.15509 | 0.15509 | 0.15509 | 0.15471 | 0.15471 | 0.15471 | 1.7908 | 1.7908 | 1.7908 | 1.7864 | 1.7864 | 1.7864 | -1.6074 | -0.068602 | 1.3144 | 1.6959 | 0.15227 | -1.2205 | -1.2966 | 1.6307 | -0.69493 | 1.3237 | -1.5918 | 0.73215 | 139.2095 | 139.2095 | 139.2095 | -40.6217 | -40.6217 | -40.6217 |  | 1.1532 | 0.91141 | 0.83026 | 1.2043 | 0.89515 | 0.79673 | -1.8998 | -128.3815 | 111.3444 | -2.6477 | -125.1577 | 108.4204
Line_3 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | -0.00033011 | -0.0018249 | 0.002155 | -0.00033011 | -0.0018249 | 0.002155 | -0.0031158 | 0.0016739 | 0.00066692 | -0.0031158 | 0.0016739 | 0.00066692 | 94.148 | 94.148 | 94.148 | 94.148 | 94.148 | 94.148 |  | 1.1532 | 0.91141 | 0.83026 | 1.1532 | 0.91141 | 0.83026 | -1.8998 | -128.3815 | 111.3444 | -1.8998 | -128.3815 | 111.3444

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30889 | 0.30889 | 0.30889 | 0.30941 | 0.30941 | 0.30941 | 3.5667 | 3.5667 | 3.5667 | 3.5728 | 3.5728 | 3.5728 | 3.7461 | 0.64867 | -2.0798 | -3.3917 | -0.30453 | 2.441 | 2.7737 | -3.0393 | 1.6081 | -2.6474 | 3.1837 | -1.4643 | -40.4688 | -40.4688 | -40.4688 | 139.3783 | 139.3783 | 139.3783 |  | 1.3069 | 0.87131 | 0.73709 | 1.2043 | 0.89515 | 0.79673 | -3.9523 | -118.4208 | 101.8209 | -2.6477 | -125.1577 | 108.4204
Line_1 | 0.15509 | 0.15509 | 0.15509 | 0.15471 | 0.15471 | 0.15471 | 1.7908 | 1.7908 | 1.7908 | 1.7864 | 1.7864 | 1.7864 | -1.6074 | -0.068602 | 1.3144 | 1.6959 | 0.15227 | -1.2205 | -1.2966 | 1.6307 | -0.69493 | 1.3237 | -1.5918 | 0.73215 | 139.2095 | 139.2095 | 139.2095 | -40.6217 | -40.6217 | -40.6217 |  | 1.1532 | 0.91141 | 0.83026 | 1.2043 | 0.89515 | 0.79673 | -1.8998 | -128.3815 | 111.3444 | -2.6477 | -125.1577 | 108.4204
Line_2 | 0.15509 | 0.15509 | 0.15509 | 0.15471 | 0.15471 | 0.15471 | 1.7908 | 1.7908 | 1.7908 | 1.7864 | 1.7864 | 1.7864 | -1.6074 | -0.068602 | 1.3144 | 1.6959 | 0.15227 | -1.2205 | -1.2966 | 1.6307 | -0.69493 | 1.3237 | -1.5918 | 0.73215 | 139.2095 | 139.2095 | 139.2095 | -40.6217 | -40.6217 | -40.6217 |  | 1.1532 | 0.91141 | 0.83026 | 1.2043 | 0.89515 | 0.79673 | -1.8998 | -128.3815 | 111.3444 | -2.6477 | -125.1577 | 108.4204
Line_3 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.0002353 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | 0.002717 | -0.00033011 | -0.0018249 | 0.002155 | -0.00033011 | -0.0018249 | 0.002155 | -0.0031158 | 0.0016739 | 0.00066692 | -0.0031158 | 0.0016739 | 0.00066692 | 94.148 | 94.148 | 94.148 | 94.148 | 94.148 | 94.148 |  | 1.1532 | 0.91141 | 0.83026 | 1.1532 | 0.91141 | 0.83026 | -1.8998 | -128.3815 | 111.3444 | -1.8998 | -128.3815 | 111.3444

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39817 | 0.39817 | 0.39817 | 0.39884 | 0.39884 | 0.39884 | 4.5977 | 4.5977 | 4.5977 | 4.6055 | 4.6055 | 4.6055 | 6.2801 | -1.6188e-12 | -3.8644e-12 | -5.154 | 1.1275 | 1.1275 | 2.2142 | -5.3213e-12 | 4.0868e-12 | -2.0087 | 0.23515 | 0.23515 | -23.8524 | -23.8524 | -23.8524 | 155.911 | 155.911 | 155.911 |  | 1.4483 | 0 | 0 | 1.2011 | 0.25008 | 0.25008 | -4.4311 | 0 | 0 | -2.796 | 167.692 | 167.692
Line_1 | 0.19991 | 0.19991 | 0.19991 | 0.19942 | 0.19942 | 0.19942 | 2.3084 | 2.3084 | 2.3084 | 2.3027 | 2.3027 | 2.3027 | -2.2965 | 0.84785 | 0.84785 | 2.577 | -0.56374 | -0.56374 | -0.95734 | 0.17893 | 0.17893 | 1.0044 | -0.11758 | -0.11758 | 155.7004 | 155.7004 | 155.7004 | -24.089 | -24.089 | -24.089 |  | 1.0778 | 0.37538 | 0.37538 | 1.2011 | 0.25008 | 0.25008 | -1.6695 | 167.6173 | 167.6173 | -2.796 | 167.692 | 167.692
Line_2 | 0.19991 | 0.19991 | 0.19991 | 0.19942 | 0.19942 | 0.19942 | 2.3084 | 2.3084 | 2.3084 | 2.3027 | 2.3027 | 2.3027 | -2.2965 | 0.84785 | 0.84785 | 2.577 | -0.56374 | -0.56374 | -0.95734 | 0.17893 | 0.17893 | 1.0044 | -0.11758 | -0.11758 | 155.7004 | 155.7004 | 155.7004 | -24.089 | -24.089 | -24.089 |  | 1.0778 | 0.37538 | 0.37538 | 1.2011 | 0.25008 | 0.25008 | -1.6695 | 167.6173 | 167.6173 | -2.796 | 167.692 | 167.692
Line_3 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | -0.0014329 | 0.00071645 | 0.00071645 | -0.0014329 | 0.00071645 | 0.00071645 | -0.0034923 | 0.0011023 | 0.0011023 | -0.0034923 | 0.0011023 | 0.0011023 | 110.6389 | 110.6389 | 110.6389 | 110.6389 | 110.6389 | 110.6389 |  | 1.0778 | 0.37538 | 0.37538 | 1.0778 | 0.37538 | 0.37538 | -1.6695 | 167.6173 | 167.6173 | -1.6695 | 167.6173 | 167.6173

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39817 | 0.39817 | 0.39817 | 0.39884 | 0.39884 | 0.39884 | 4.5977 | 4.5977 | 4.5977 | 4.6055 | 4.6055 | 4.6055 | 6.2801 | -1.6188e-12 | -3.8644e-12 | -5.154 | 1.1275 | 1.1275 | 2.2142 | -5.3213e-12 | 4.0868e-12 | -2.0087 | 0.23515 | 0.23515 | -23.8524 | -23.8524 | -23.8524 | 155.911 | 155.911 | 155.911 |  | 1.4483 | 0 | 0 | 1.2011 | 0.25008 | 0.25008 | -4.4311 | 0 | 0 | -2.796 | 167.692 | 167.692
Line_1 | 0.19991 | 0.19991 | 0.19991 | 0.19942 | 0.19942 | 0.19942 | 2.3084 | 2.3084 | 2.3084 | 2.3027 | 2.3027 | 2.3027 | -2.2965 | 0.84785 | 0.84785 | 2.577 | -0.56374 | -0.56374 | -0.95734 | 0.17893 | 0.17893 | 1.0044 | -0.11758 | -0.11758 | 155.7004 | 155.7004 | 155.7004 | -24.089 | -24.089 | -24.089 |  | 1.0778 | 0.37538 | 0.37538 | 1.2011 | 0.25008 | 0.25008 | -1.6695 | 167.6173 | 167.6173 | -2.796 | 167.692 | 167.692
Line_2 | 0.19991 | 0.19991 | 0.19991 | 0.19942 | 0.19942 | 0.19942 | 2.3084 | 2.3084 | 2.3084 | 2.3027 | 2.3027 | 2.3027 | -2.2965 | 0.84785 | 0.84785 | 2.577 | -0.56374 | -0.56374 | -0.95734 | 0.17893 | 0.17893 | 1.0044 | -0.11758 | -0.11758 | 155.7004 | 155.7004 | 155.7004 | -24.089 | -24.089 | -24.089 |  | 1.0778 | 0.37538 | 0.37538 | 1.2011 | 0.25008 | 0.25008 | -1.6695 | 167.6173 | 167.6173 | -2.796 | 167.692 | 167.692
Line_3 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.00030331 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | 0.0035023 | -0.0014329 | 0.00071645 | 0.00071645 | -0.0014329 | 0.00071645 | 0.00071645 | -0.0034923 | 0.0011023 | 0.0011023 | -0.0034923 | 0.0011023 | 0.0011023 | 110.6389 | 110.6389 | 110.6389 | 110.6389 | 110.6389 | 110.6389 |  | 1.0778 | 0.37538 | 0.37538 | 1.0778 | 0.37538 | 0.37538 | -1.6695 | 167.6173 | 167.6173 | -1.6695 | 167.6173 | 167.6173

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23383 | 0.23383 | 0.23383 | 0.23423 | 0.23423 | 0.23423 | 2.7001 | 2.7001 | 2.7001 | 2.7046 | 2.7046 | 2.7046 | 2.9861 | 0.28819 | -1.1084 | -2.5957 | 0.091455 | 1.5044 | 1.5838 | -2.1073 | 1.2871 | -1.5177 | 2.1908 | -1.2036 | -32.768 | -32.768 | -32.768 | 146.9953 | 146.9953 | 146.9953 |  | 1.2519 | 0.78772 | 0.62909 | 1.1117 | 0.8107 | 0.71234 | -4.8266 | -114.9807 | 97.964 | -2.6894 | -125.3951 | 108.3334
Line_1 | 0.1174 | 0.1174 | 0.1174 | 0.11711 | 0.11711 | 0.11711 | 1.3556 | 1.3556 | 1.3556 | 1.3523 | 1.3523 | 1.3523 | -1.2006 | 0.13946 | 0.85392 | 1.2978 | -0.045728 | -0.7522 | -0.74516 | 1.1186 | -0.58017 | 0.75886 | -1.0954 | 0.60181 | 146.7847 | 146.7847 | 146.7847 | -33.0047 | -33.0047 | -33.0047 |  | 1.0423 | 0.83151 | 0.76153 | 1.1117 | 0.8107 | 0.71234 | -1.3886 | -130.3221 | 112.592 | -2.6894 | -125.3951 | 108.3334
Line_2 | 0.1174 | 0.1174 | 0.1174 | 0.11711 | 0.11711 | 0.11711 | 1.3556 | 1.3556 | 1.3556 | 1.3523 | 1.3523 | 1.3523 | -1.2006 | 0.13946 | 0.85392 | 1.2978 | -0.045728 | -0.7522 | -0.74516 | 1.1186 | -0.58017 | 0.75886 | -1.0954 | 0.60181 | 146.7847 | 146.7847 | 146.7847 | -33.0047 | -33.0047 | -33.0047 |  | 1.0423 | 0.83151 | 0.76153 | 1.1117 | 0.8107 | 0.71234 | -1.3886 | -130.3221 | 112.592 | -2.6894 | -125.3951 | 108.3334
Line_3 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | -0.00048634 | -0.0010519 | 0.0015382 | -0.00048634 | -0.0010519 | 0.0015382 | -0.002088 | 0.0013485 | 0.00029534 | -0.002088 | 0.0013485 | 0.00029534 | 101.7233 | 101.7233 | 101.7233 | 101.7233 | 101.7233 | 101.7233 |  | 1.0423 | 0.83151 | 0.76153 | 1.0423 | 0.83151 | 0.76153 | -1.3886 | -130.3221 | 112.592 | -1.3886 | -130.3221 | 112.592

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23383 | 0.23383 | 0.23383 | 0.23423 | 0.23423 | 0.23423 | 2.7001 | 2.7001 | 2.7001 | 2.7046 | 2.7046 | 2.7046 | 2.9861 | 0.28819 | -1.1084 | -2.5957 | 0.091455 | 1.5044 | 1.5838 | -2.1073 | 1.2871 | -1.5177 | 2.1908 | -1.2036 | -32.768 | -32.768 | -32.768 | 146.9953 | 146.9953 | 146.9953 |  | 1.2519 | 0.78772 | 0.62909 | 1.1117 | 0.8107 | 0.71234 | -4.8266 | -114.9807 | 97.964 | -2.6894 | -125.3951 | 108.3334
Line_1 | 0.1174 | 0.1174 | 0.1174 | 0.11711 | 0.11711 | 0.11711 | 1.3556 | 1.3556 | 1.3556 | 1.3523 | 1.3523 | 1.3523 | -1.2006 | 0.13946 | 0.85392 | 1.2978 | -0.045728 | -0.7522 | -0.74516 | 1.1186 | -0.58017 | 0.75886 | -1.0954 | 0.60181 | 146.7847 | 146.7847 | 146.7847 | -33.0047 | -33.0047 | -33.0047 |  | 1.0423 | 0.83151 | 0.76153 | 1.1117 | 0.8107 | 0.71234 | -1.3886 | -130.3221 | 112.592 | -2.6894 | -125.3951 | 108.3334
Line_2 | 0.1174 | 0.1174 | 0.1174 | 0.11711 | 0.11711 | 0.11711 | 1.3556 | 1.3556 | 1.3556 | 1.3523 | 1.3523 | 1.3523 | -1.2006 | 0.13946 | 0.85392 | 1.2978 | -0.045728 | -0.7522 | -0.74516 | 1.1186 | -0.58017 | 0.75886 | -1.0954 | 0.60181 | 146.7847 | 146.7847 | 146.7847 | -33.0047 | -33.0047 | -33.0047 |  | 1.0423 | 0.83151 | 0.76153 | 1.1117 | 0.8107 | 0.71234 | -1.3886 | -130.3221 | 112.592 | -2.6894 | -125.3951 | 108.3334
Line_3 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.00017812 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | 0.0020568 | -0.00048634 | -0.0010519 | 0.0015382 | -0.00048634 | -0.0010519 | 0.0015382 | -0.002088 | 0.0013485 | 0.00029534 | -0.002088 | 0.0013485 | 0.00029534 | 101.7233 | 101.7233 | 101.7233 | 101.7233 | 101.7233 | 101.7233 |  | 1.0423 | 0.83151 | 0.76153 | 1.0423 | 0.83151 | 0.76153 | -1.3886 | -130.3221 | 112.592 | -1.3886 | -130.3221 | 112.592