## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.8659e-14 | -2.0843e-14 | 2.0843e-14 | -1.3026e-14 | 2.0843e-14 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4979e-13 | 180 | -180 | 7.6445e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8237e-14 | 1.0421e-14 | 1.0421e-14 | -1.3027e-14 | -1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.3904e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5192e-13 | -180 | 180 | 7.6445e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1685e-14 | 2.8659e-14 | 2.0843e-14 | -5.2106e-14 | -1.3027e-14 | -2.0843e-14 | -6.2528e-14 | -1.9211e-09 | 1.9211e-09 | 6.7738e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7714e-13 | -180 | 180 | 7.6445e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -5.2106e-15 | -1.5632e-14 | 4.6896e-14 | 1.0421e-14 | 1.5632e-14 | 7.2949e-14 | 1.3027e-14 | 1.5632e-14 | -6.7738e-14 | -1.8237e-14 | -2.0843e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5192e-13 | -180 | 180 | 7.7714e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-14 | 2.8659e-14 | -2.0843e-14 | 2.0843e-14 | -1.3026e-14 | 2.0843e-14 | 1.5632e-14 | 5.7634e-09 | -5.7634e-09 | -5.2106e-15 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.4979e-13 | 180 | -180 | 7.6445e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.8237e-14 | 1.0421e-14 | 1.0421e-14 | -1.3027e-14 | -1.0421e-14 | 1.0421e-14 | -1.9211e-09 | 1.9211e-09 | 1.3904e-28 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5192e-13 | -180 | 180 | 7.6445e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1685e-14 | 2.8659e-14 | 2.0843e-14 | -5.2106e-14 | -1.3027e-14 | -2.0843e-14 | -6.2528e-14 | -1.9211e-09 | 1.9211e-09 | 6.7738e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.7714e-13 | -180 | 180 | 7.6445e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2528e-14 | -5.2106e-15 | -1.5632e-14 | 4.6896e-14 | 1.0421e-14 | 1.5632e-14 | 7.2949e-14 | 1.3027e-14 | 1.5632e-14 | -6.7738e-14 | -1.8237e-14 | -2.0843e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.5192e-13 | -180 | 180 | 7.7714e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -9.5546e-10 | -3.075e-09 | -5.2106e-15 | 9.5546e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5664e-10 | 1.0421e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6881e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.185e-10 | 1.025e-09 | 3.908e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3425e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7256e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1851e-10 | 1.025e-09 | -7.4875e-29 | -3.185e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1887e-10 | 1.5632e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7641e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -2.4767e-15 | -4.439e-15 | -1.3027e-15 | 1.7096e-14 | 8.8779e-16 | 1.3027e-14 | 6.5507e-15 | 6.9904e-15 | -1.3027e-14 | -1.7495e-14 | -1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7256e-13 | -140.8543 | 122.4159 | 2.7641e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -9.5546e-10 | -3.075e-09 | -5.2106e-15 | 9.5546e-10 | 3.075e-09 | -1.0421e-14 | 4.0277e-09 | -3.5664e-10 | 1.0421e-14 | -4.0277e-09 | 3.5665e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.6881e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 3.185e-10 | 1.025e-09 | 3.908e-15 | -3.1848e-10 | -1.025e-09 | -2.6053e-15 | -1.3426e-09 | 1.1888e-10 | 2.6053e-15 | 1.3425e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7256e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5133e-15 | 3.1851e-10 | 1.025e-09 | -7.4875e-29 | -3.185e-10 | -1.025e-09 | -1.5632e-14 | -1.3426e-09 | 1.1887e-10 | 1.5632e-14 | 1.3426e-09 | -1.1887e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7641e-13 | -140.8543 | 122.4159 | 2.7444e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.908e-15 | -2.4767e-15 | -4.439e-15 | -1.3027e-15 | 1.7096e-14 | 8.8779e-16 | 1.3027e-14 | 6.5507e-15 | 6.9904e-15 | -1.3027e-14 | -1.7495e-14 | -1.3981e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.7256e-13 | -140.8543 | 122.4159 | 2.7641e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4475e-14 | -7.5472e-21 | -8.1226e-21 | -5.6843e-14 | 5.9219e-15 | 4.7376e-15 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.7142e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | -4.7366e-15 | 4.7373e-15 | 3.079e-14 | 5.921e-15 | -4.7372e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4161e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 3.0453e-19 | 3.0473e-19 | 2.6053e-14 | 1.184e-15 | -2.2922e-19 | -3.2065e-28 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.464e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -5.9212e-15 | 4.737e-15 | 4.737e-15 | 5.9212e-15 | 0 | 1.4211e-14 | 2.3685e-15 | 9.4739e-15 | -4.737e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4161e-13 | -180 | 180 | 6.464e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4475e-14 | -7.5472e-21 | -8.1226e-21 | -5.6843e-14 | 5.9219e-15 | 4.7376e-15 | -2.8422e-14 | 4.7631e-09 | -4.7631e-09 | 3.3159e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.7142e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5527e-14 | -4.7366e-15 | 4.7373e-15 | 3.079e-14 | 5.921e-15 | -4.7372e-15 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4161e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 3.0453e-19 | 3.0473e-19 | 2.6053e-14 | 1.184e-15 | -2.2922e-19 | -3.2065e-28 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.464e-13 | -180 | 180 | 6.5079e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1054e-15 | -5.9212e-15 | 4.737e-15 | 4.737e-15 | 5.9212e-15 | 0 | 1.4211e-14 | 2.3685e-15 | 9.4739e-15 | -4.737e-15 | -1.4211e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.4161e-13 | -180 | 180 | 6.464e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | -8.0024e-10 | -2.5674e-09 | -1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7895e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0954e-14 | 2.6675e-10 | 8.558e-10 | 1.2138e-14 | -2.6674e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1354e-10 | -9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5985e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.6676e-10 | 8.5581e-10 | 8.2897e-15 | -2.6676e-10 | -8.5581e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6199e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -1.2239e-14 | -2.9724e-15 | 3.2567e-15 | 1.1632e-14 | 1.2852e-15 | 4.737e-15 | 8.1509e-15 | -6.3285e-15 | -2.3685e-15 | -9.6585e-16 | 3.4756e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5985e-13 | -141.4824 | 122.8363 | 2.6199e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-14 | -8.0024e-10 | -2.5674e-09 | -1.4211e-14 | 8.0024e-10 | 2.5674e-09 | -1.1842e-14 | 3.4014e-09 | -3.4064e-10 | 9.4739e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7895e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0954e-14 | 2.6675e-10 | 8.558e-10 | 1.2138e-14 | -2.6674e-10 | -8.558e-10 | 9.4739e-15 | -1.1338e-09 | 1.1354e-10 | -9.4739e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5985e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.4739e-15 | 2.6676e-10 | 8.5581e-10 | 8.2897e-15 | -2.6676e-10 | -8.5581e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | -7.1054e-15 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.6199e-13 | -141.4824 | 122.8363 | 2.7023e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8818e-16 | -1.2239e-14 | -2.9724e-15 | 3.2567e-15 | 1.1632e-14 | 1.2852e-15 | 4.737e-15 | 8.1509e-15 | -6.3285e-15 | -2.3685e-15 | -9.6585e-16 | 3.4756e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.5985e-13 | -141.4824 | 122.8363 | 2.6199e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.423 | 1.423 | 1.423 | 1.4239 | 1.4239 | 1.4239 | 16.4316 | 16.4316 | 16.4316 | 16.4419 | 16.4419 | 16.4419 | 8.2202e-11 | 4.9059 | 28.8068 | 7.4894 | 2.607 | -21.341 | -1.3034e-10 | 16.785 | -3.4348 | 2.983 | -13.8204 | 6.3742 | 130.2307 | 130.2307 | 130.2307 | -49.8601 | -49.8601 | -49.8601 |  | 0 | 1.0642 | 1.7656 | 0.4903 | 0.85538 | 1.3546 | 0 | -156.0619 | 123.4312 | -28.143 | -129.1778 | 113.5099
Line_1 | 0.71218 | 0.71218 | 0.71218 | 0.71196 | 0.71196 | 0.71196 | 8.2236 | 8.2236 | 8.2236 | 8.221 | 8.221 | 8.221 | 5.6188 | 3.1835 | -8.8023 | -3.7447 | -1.3035 | 10.6705 | 2.2405 | -6.1657 | 3.9252 | -1.4915 | 6.9102 | -3.1871 | -49.9055 | -49.9055 | -49.9055 | 130.1399 | 130.1399 | 130.1399 |  | 0.73557 | 0.84381 | 1.172 | 0.4903 | 0.85538 | 1.3546 | -28.1657 | -112.5974 | 106.0608 | -28.143 | -129.1778 | 113.5099
Line_2 | 0.71218 | 0.71218 | 0.71218 | 0.71196 | 0.71196 | 0.71196 | 8.2236 | 8.2236 | 8.2236 | 8.221 | 8.221 | 8.221 | 5.6188 | 3.1835 | -8.8023 | -3.7447 | -1.3035 | 10.6705 | 2.2405 | -6.1657 | 3.9252 | -1.4915 | 6.9102 | -3.1871 | -49.9055 | -49.9055 | -49.9055 | 130.1399 | 130.1399 | 130.1399 |  | 0.73557 | 0.84381 | 1.172 | 0.4903 | 0.85538 | 1.3546 | -28.1657 | -112.5974 | 106.0608 | -28.143 | -129.1778 | 113.5099
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8054e-13 | 2.7708e-13 | -7.6496e-13 | 4.9183e-13 | 2.7062e-13 | -7.4402e-13 | 1.8883e-13 | -5.2662e-13 | 3.3437e-13 | 2.0255e-13 | -5.2393e-13 | 3.5195e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73557 | 0.84381 | 1.172 | 0.73557 | 0.84381 | 1.172 | -28.1657 | -112.5974 | 106.0608 | -28.1657 | -112.5974 | 106.0608

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.423 | 1.423 | 1.423 | 1.4239 | 1.4239 | 1.4239 | 16.4316 | 16.4316 | 16.4316 | 16.4419 | 16.4419 | 16.4419 | 8.2202e-11 | 4.9059 | 28.8068 | 7.4894 | 2.607 | -21.341 | -1.3034e-10 | 16.785 | -3.4348 | 2.983 | -13.8204 | 6.3742 | 130.2307 | 130.2307 | 130.2307 | -49.8601 | -49.8601 | -49.8601 |  | 0 | 1.0642 | 1.7656 | 0.4903 | 0.85538 | 1.3546 | 0 | -156.0619 | 123.4312 | -28.143 | -129.1778 | 113.5099
Line_1 | 0.71218 | 0.71218 | 0.71218 | 0.71196 | 0.71196 | 0.71196 | 8.2236 | 8.2236 | 8.2236 | 8.221 | 8.221 | 8.221 | 5.6188 | 3.1835 | -8.8023 | -3.7447 | -1.3035 | 10.6705 | 2.2405 | -6.1657 | 3.9252 | -1.4915 | 6.9102 | -3.1871 | -49.9055 | -49.9055 | -49.9055 | 130.1399 | 130.1399 | 130.1399 |  | 0.73557 | 0.84381 | 1.172 | 0.4903 | 0.85538 | 1.3546 | -28.1657 | -112.5974 | 106.0608 | -28.143 | -129.1778 | 113.5099
Line_2 | 0.71218 | 0.71218 | 0.71218 | 0.71196 | 0.71196 | 0.71196 | 8.2236 | 8.2236 | 8.2236 | 8.221 | 8.221 | 8.221 | 5.6188 | 3.1835 | -8.8023 | -3.7447 | -1.3035 | 10.6705 | 2.2405 | -6.1657 | 3.9252 | -1.4915 | 6.9102 | -3.1871 | -49.9055 | -49.9055 | -49.9055 | 130.1399 | 130.1399 | 130.1399 |  | 0.73557 | 0.84381 | 1.172 | 0.4903 | 0.85538 | 1.3546 | -28.1657 | -112.5974 | 106.0608 | -28.143 | -129.1778 | 113.5099
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8054e-13 | 2.7708e-13 | -7.6496e-13 | 4.9183e-13 | 2.7062e-13 | -7.4402e-13 | 1.8883e-13 | -5.2662e-13 | 3.3437e-13 | 2.0255e-13 | -5.2393e-13 | 3.5195e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.73557 | 0.84381 | 1.172 | 0.73557 | 0.84381 | 1.172 | -28.1657 | -112.5974 | 106.0608 | -28.1657 | -112.5974 | 106.0608

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42174 | 0.42174 | 0.42174 | 0.42201 | 0.42201 | 0.42201 | 4.8698 | 4.8698 | 4.8698 | 4.8729 | 4.8729 | 4.8729 | -2.668 | -0.54563 | 6.1748 | 3.3233 | 1.2119 | -5.5229 | -2.668 | 5.1188 | -1.2782 | 2.9359 | -4.8592 | 1.5313 | 133.588 | 133.588 | 133.588 | -46.5028 | -46.5028 | -46.5028 |  | 0.77479 | 1.0571 | 1.2948 | 0.91 | 1.0277 | 1.1761 | -1.412 | -130.3276 | 121.8924 | -5.0441 | -122.4984 | 118.0007
Line_1 | 0.21107 | 0.21107 | 0.21107 | 0.211 | 0.211 | 0.211 | 2.4372 | 2.4372 | 2.4372 | 2.4365 | 2.4365 | 2.4365 | 1.8256 | 0.77269 | -2.5983 | -1.6616 | -0.60596 | 2.7614 | 1.5352 | -2.3644 | 0.82917 | -1.4679 | 2.4296 | -0.76563 | -46.5482 | -46.5482 | -46.5482 | 133.4972 | 133.4972 | 133.4972 |  | 0.9787 | 1.0206 | 1.1191 | 0.91 | 1.0277 | 1.1761 | -6.4865 | -118.4506 | 115.7528 | -5.0441 | -122.4984 | 118.0007
Line_2 | 0.21107 | 0.21107 | 0.21107 | 0.211 | 0.211 | 0.211 | 2.4372 | 2.4372 | 2.4372 | 2.4365 | 2.4365 | 2.4365 | 1.8256 | 0.77269 | -2.5983 | -1.6616 | -0.60596 | 2.7614 | 1.5352 | -2.3644 | 0.82917 | -1.4679 | 2.4296 | -0.76563 | -46.5482 | -46.5482 | -46.5482 | 133.4972 | 133.4972 | 133.4972 |  | 0.9787 | 1.0206 | 1.1191 | 0.91 | 1.0277 | 1.1761 | -6.4865 | -118.4506 | 115.7528 | -5.0441 | -122.4984 | 118.0007
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6107e-13 | 6.6395e-14 | -2.219e-13 | 1.5419e-13 | 6.325e-14 | -2.2122e-13 | 1.342e-13 | -2.0093e-13 | 6.8049e-14 | 1.3528e-13 | -2.061e-13 | 7.4263e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9787 | 1.0206 | 1.1191 | 0.9787 | 1.0206 | 1.1191 | -6.4865 | -118.4506 | 115.7528 | -6.4865 | -118.4506 | 115.7528

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42174 | 0.42174 | 0.42174 | 0.42201 | 0.42201 | 0.42201 | 4.8698 | 4.8698 | 4.8698 | 4.8729 | 4.8729 | 4.8729 | -2.668 | -0.54563 | 6.1748 | 3.3233 | 1.2119 | -5.5229 | -2.668 | 5.1188 | -1.2782 | 2.9359 | -4.8592 | 1.5313 | 133.588 | 133.588 | 133.588 | -46.5028 | -46.5028 | -46.5028 |  | 0.77479 | 1.0571 | 1.2948 | 0.91 | 1.0277 | 1.1761 | -1.412 | -130.3276 | 121.8924 | -5.0441 | -122.4984 | 118.0007
Line_1 | 0.21107 | 0.21107 | 0.21107 | 0.211 | 0.211 | 0.211 | 2.4372 | 2.4372 | 2.4372 | 2.4365 | 2.4365 | 2.4365 | 1.8256 | 0.77269 | -2.5983 | -1.6616 | -0.60596 | 2.7614 | 1.5352 | -2.3644 | 0.82917 | -1.4679 | 2.4296 | -0.76563 | -46.5482 | -46.5482 | -46.5482 | 133.4972 | 133.4972 | 133.4972 |  | 0.9787 | 1.0206 | 1.1191 | 0.91 | 1.0277 | 1.1761 | -6.4865 | -118.4506 | 115.7528 | -5.0441 | -122.4984 | 118.0007
Line_2 | 0.21107 | 0.21107 | 0.21107 | 0.211 | 0.211 | 0.211 | 2.4372 | 2.4372 | 2.4372 | 2.4365 | 2.4365 | 2.4365 | 1.8256 | 0.77269 | -2.5983 | -1.6616 | -0.60596 | 2.7614 | 1.5352 | -2.3644 | 0.82917 | -1.4679 | 2.4296 | -0.76563 | -46.5482 | -46.5482 | -46.5482 | 133.4972 | 133.4972 | 133.4972 |  | 0.9787 | 1.0206 | 1.1191 | 0.91 | 1.0277 | 1.1761 | -6.4865 | -118.4506 | 115.7528 | -5.0441 | -122.4984 | 118.0007
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6107e-13 | 6.6395e-14 | -2.219e-13 | 1.5419e-13 | 6.325e-14 | -2.2122e-13 | 1.342e-13 | -2.0093e-13 | 6.8049e-14 | 1.3528e-13 | -2.061e-13 | 7.4263e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9787 | 1.0206 | 1.1191 | 0.9787 | 1.0206 | 1.1191 | -6.4865 | -118.4506 | 115.7528 | -6.4865 | -118.4506 | 115.7528

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89196 | 0.89196 | 0.89196 | 0.89251 | 0.89251 | 0.89251 | 10.2994 | 10.2994 | 10.2994 | 10.3059 | 10.3059 | 10.3059 | -2.4032e-11 | 7.8877 | 17.543 | 5.6495 | -2.2124 | -11.9193 | 6.0668e-12 | 10.0945 | -4.9058 | 1.1751 | -8.9497 | 6.0305 | 147.2318 | 147.2318 | 147.2318 | -32.9426 | -32.9426 | -32.9426 |  | 0 | 1.2438 | 1.7686 | 0.55991 | 0.89455 | 1.2962 | 0 | -160.7718 | 131.6084 | -21.1926 | -136.8278 | 120.2205
Line_1 | 0.4464 | 0.4464 | 0.4464 | 0.44626 | 0.44626 | 0.44626 | 5.1545 | 5.1545 | 5.1545 | 5.1529 | 5.1529 | 5.1529 | 4.2384 | 0.31398 | -4.5524 | -2.8247 | 1.1062 | 5.9597 | 0.88495 | -4.185 | 3.3001 | -0.58754 | 4.4749 | -3.0153 | -33.0297 | -33.0297 | -33.0297 | 147.0574 | 147.0574 | 147.0574 |  | 0.84 | 0.81419 | 1.0908 | 0.55991 | 0.89455 | 1.2962 | -21.2362 | -118.7392 | 111.0318 | -21.1926 | -136.8278 | 120.2205
Line_2 | 0.4464 | 0.4464 | 0.4464 | 0.44626 | 0.44626 | 0.44626 | 5.1545 | 5.1545 | 5.1545 | 5.1529 | 5.1529 | 5.1529 | 4.2384 | 0.31398 | -4.5524 | -2.8247 | 1.1062 | 5.9597 | 0.88495 | -4.185 | 3.3001 | -0.58754 | 4.4749 | -3.0153 | -33.0297 | -33.0297 | -33.0297 | 147.0574 | 147.0574 | 147.0574 |  | 0.84 | 0.81419 | 1.0908 | 0.55991 | 0.89455 | 1.2962 | -21.2362 | -118.7392 | 111.0318 | -21.1926 | -136.8278 | 120.2205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6303e-13 | 3.0234e-14 | -3.8672e-13 | 3.6352e-13 | 2.4009e-14 | -3.9303e-13 | 7.184e-14 | -3.6297e-13 | 2.8588e-13 | 7.8587e-14 | -3.5076e-13 | 2.8069e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.84 | 0.81419 | 1.0908 | 0.84 | 0.81419 | 1.0908 | -21.2362 | -118.7392 | 111.0318 | -21.2362 | -118.7392 | 111.0318

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.89196 | 0.89196 | 0.89196 | 0.89251 | 0.89251 | 0.89251 | 10.2994 | 10.2994 | 10.2994 | 10.3059 | 10.3059 | 10.3059 | -2.4032e-11 | 7.8877 | 17.543 | 5.6495 | -2.2124 | -11.9193 | 6.0668e-12 | 10.0945 | -4.9058 | 1.1751 | -8.9497 | 6.0305 | 147.2318 | 147.2318 | 147.2318 | -32.9426 | -32.9426 | -32.9426 |  | 0 | 1.2438 | 1.7686 | 0.55991 | 0.89455 | 1.2962 | 0 | -160.7718 | 131.6084 | -21.1926 | -136.8278 | 120.2205
Line_1 | 0.4464 | 0.4464 | 0.4464 | 0.44626 | 0.44626 | 0.44626 | 5.1545 | 5.1545 | 5.1545 | 5.1529 | 5.1529 | 5.1529 | 4.2384 | 0.31398 | -4.5524 | -2.8247 | 1.1062 | 5.9597 | 0.88495 | -4.185 | 3.3001 | -0.58754 | 4.4749 | -3.0153 | -33.0297 | -33.0297 | -33.0297 | 147.0574 | 147.0574 | 147.0574 |  | 0.84 | 0.81419 | 1.0908 | 0.55991 | 0.89455 | 1.2962 | -21.2362 | -118.7392 | 111.0318 | -21.1926 | -136.8278 | 120.2205
Line_2 | 0.4464 | 0.4464 | 0.4464 | 0.44626 | 0.44626 | 0.44626 | 5.1545 | 5.1545 | 5.1545 | 5.1529 | 5.1529 | 5.1529 | 4.2384 | 0.31398 | -4.5524 | -2.8247 | 1.1062 | 5.9597 | 0.88495 | -4.185 | 3.3001 | -0.58754 | 4.4749 | -3.0153 | -33.0297 | -33.0297 | -33.0297 | 147.0574 | 147.0574 | 147.0574 |  | 0.84 | 0.81419 | 1.0908 | 0.55991 | 0.89455 | 1.2962 | -21.2362 | -118.7392 | 111.0318 | -21.1926 | -136.8278 | 120.2205
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6303e-13 | 3.0234e-14 | -3.8672e-13 | 3.6352e-13 | 2.4009e-14 | -3.9303e-13 | 7.184e-14 | -3.6297e-13 | 2.8588e-13 | 7.8587e-14 | -3.5076e-13 | 2.8069e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.84 | 0.81419 | 1.0908 | 0.84 | 0.81419 | 1.0908 | -21.2362 | -118.7392 | 111.0318 | -21.2362 | -118.7392 | 111.0318

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33986 | 0.33986 | 0.33986 | 0.34007 | 0.34007 | 0.34007 | 3.9243 | 3.9243 | 3.9243 | 3.9268 | 3.9268 | 3.9268 | -1.7326 | 0.51098 | 4.9136 | 2.5486 | 0.32057 | -4.1006 | -1.7326 | 3.8322 | -1.3464 | 1.9095 | -3.6656 | 1.5029 | 139.6304 | 139.6304 | 139.6304 | -40.544 | -40.544 | -40.544 |  | 0.62436 | 0.98517 | 1.2982 | 0.81098 | 0.93704 | 1.1122 | 4.6304 | -137.9646 | 124.3068 | -3.7016 | -125.5461 | 119.3281
Line_1 | 0.17009 | 0.17009 | 0.17009 | 0.17004 | 0.17004 | 0.17004 | 1.964 | 1.964 | 1.964 | 1.9634 | 1.9634 | 1.9634 | 1.4785 | 0.36836 | -1.8468 | -1.2743 | -0.16028 | 2.0503 | 0.99952 | -1.7906 | 0.79107 | -0.95475 | 1.8328 | -0.75143 | -40.6312 | -40.6312 | -40.6312 | 139.456 | 139.456 | 139.456 |  | 0.90866 | 0.93079 | 1.023 | 0.81098 | 0.93704 | 1.1122 | -6.5704 | -119.0064 | 116.1814 | -3.7016 | -125.5461 | 119.3281
Line_2 | 0.17009 | 0.17009 | 0.17009 | 0.17004 | 0.17004 | 0.17004 | 1.964 | 1.964 | 1.964 | 1.9634 | 1.9634 | 1.9634 | 1.4785 | 0.36836 | -1.8468 | -1.2743 | -0.16028 | 2.0503 | 0.99952 | -1.7906 | 0.79107 | -0.95475 | 1.8328 | -0.75143 | -40.6312 | -40.6312 | -40.6312 | 139.456 | 139.456 | 139.456 |  | 0.90866 | 0.93079 | 1.023 | 0.81098 | 0.93704 | 1.1122 | -6.5704 | -119.0064 | 116.1814 | -3.7016 | -125.5461 | 119.3281
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2948e-13 | 3.2221e-14 | -1.572e-13 | 1.2523e-13 | 3.2087e-14 | -1.6018e-13 | 8.7312e-14 | -1.5272e-13 | 6.8505e-14 | 8.3334e-14 | -1.5297e-13 | 6.8389e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90866 | 0.93079 | 1.023 | 0.90866 | 0.93079 | 1.023 | -6.5704 | -119.0064 | 116.1814 | -6.5704 | -119.0064 | 116.1814

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33986 | 0.33986 | 0.33986 | 0.34007 | 0.34007 | 0.34007 | 3.9243 | 3.9243 | 3.9243 | 3.9268 | 3.9268 | 3.9268 | -1.7326 | 0.51098 | 4.9136 | 2.5486 | 0.32057 | -4.1006 | -1.7326 | 3.8322 | -1.3464 | 1.9095 | -3.6656 | 1.5029 | 139.6304 | 139.6304 | 139.6304 | -40.544 | -40.544 | -40.544 |  | 0.62436 | 0.98517 | 1.2982 | 0.81098 | 0.93704 | 1.1122 | 4.6304 | -137.9646 | 124.3068 | -3.7016 | -125.5461 | 119.3281
Line_1 | 0.17009 | 0.17009 | 0.17009 | 0.17004 | 0.17004 | 0.17004 | 1.964 | 1.964 | 1.964 | 1.9634 | 1.9634 | 1.9634 | 1.4785 | 0.36836 | -1.8468 | -1.2743 | -0.16028 | 2.0503 | 0.99952 | -1.7906 | 0.79107 | -0.95475 | 1.8328 | -0.75143 | -40.6312 | -40.6312 | -40.6312 | 139.456 | 139.456 | 139.456 |  | 0.90866 | 0.93079 | 1.023 | 0.81098 | 0.93704 | 1.1122 | -6.5704 | -119.0064 | 116.1814 | -3.7016 | -125.5461 | 119.3281
Line_2 | 0.17009 | 0.17009 | 0.17009 | 0.17004 | 0.17004 | 0.17004 | 1.964 | 1.964 | 1.964 | 1.9634 | 1.9634 | 1.9634 | 1.4785 | 0.36836 | -1.8468 | -1.2743 | -0.16028 | 2.0503 | 0.99952 | -1.7906 | 0.79107 | -0.95475 | 1.8328 | -0.75143 | -40.6312 | -40.6312 | -40.6312 | 139.456 | 139.456 | 139.456 |  | 0.90866 | 0.93079 | 1.023 | 0.81098 | 0.93704 | 1.1122 | -6.5704 | -119.0064 | 116.1814 | -3.7016 | -125.5461 | 119.3281
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2948e-13 | 3.2221e-14 | -1.572e-13 | 1.2523e-13 | 3.2087e-14 | -1.6018e-13 | 8.7312e-14 | -1.5272e-13 | 6.8505e-14 | 8.3334e-14 | -1.5297e-13 | 6.8389e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.90866 | 0.93079 | 1.023 | 0.90866 | 0.93079 | 1.023 | -6.5704 | -119.0064 | 116.1814 | -6.5704 | -119.0064 | 116.1814

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97267 | 0.97267 | 0.97267 | 0.97328 | 0.97328 | 0.97328 | 11.2314 | 11.2314 | 11.2314 | 11.2384 | 11.2384 | 11.2384 | 15.7507 | 2.8245e-11 | -1.8773e-11 | -12.2517 | 3.4991 | 3.4991 | 6.2373 | -5.0895e-12 | -2.1845e-11 | -4.8725 | 1.3937 | 1.3937 | -30.8871 | -30.8871 | -30.8871 | 149.0221 | 149.0221 | 149.0221 |  | 1.5083 | 0 | 0 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 0 | 0 | -9.29 | 170.7392 | 170.7392
Line_1 | 0.48679 | 0.48679 | 0.48679 | 0.48664 | 0.48664 | 0.48664 | 5.621 | 5.621 | 5.621 | 5.6192 | 5.6192 | 5.6192 | -5.2502 | 2.6251 | 2.6251 | 6.1258 | -1.7495 | -1.7495 | -2.0935 | 1.0468 | 1.0468 | 2.4363 | -0.69683 | -0.69683 | 148.9767 | 148.9767 | 148.9767 | -30.9779 | -30.9779 | -30.9779 |  | 1.0056 | 0.50278 | 0.50278 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 170.7165 | 170.7165 | -9.29 | 170.7392 | 170.7392
Line_2 | 0.48679 | 0.48679 | 0.48679 | 0.48664 | 0.48664 | 0.48664 | 5.621 | 5.621 | 5.621 | 5.6192 | 5.6192 | 5.6192 | -5.2502 | 2.6251 | 2.6251 | 6.1258 | -1.7495 | -1.7495 | -2.0935 | 1.0468 | 1.0468 | 2.4363 | -0.69683 | -0.69683 | 148.9767 | 148.9767 | 148.9767 | -30.9779 | -30.9779 | -30.9779 |  | 1.0056 | 0.50278 | 0.50278 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 170.7165 | 170.7165 | -9.29 | 170.7392 | 170.7392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0107e-13 | 2.6409e-13 | 2.2759e-13 | -5.0074e-13 | 2.0092e-13 | 2.2605e-13 | -2.0955e-13 | 6.5429e-14 | 9.3114e-14 | -1.4017e-13 | 1.0713e-13 | 8.3713e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0056 | 0.50278 | 0.50278 | 1.0056 | 0.50278 | 0.50278 | -9.2835 | 170.7165 | 170.7165 | -9.2835 | 170.7165 | 170.7165

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.97267 | 0.97267 | 0.97267 | 0.97328 | 0.97328 | 0.97328 | 11.2314 | 11.2314 | 11.2314 | 11.2384 | 11.2384 | 11.2384 | 15.7507 | 2.8245e-11 | -1.8773e-11 | -12.2517 | 3.4991 | 3.4991 | 6.2373 | -5.0895e-12 | -2.1845e-11 | -4.8725 | 1.3937 | 1.3937 | -30.8871 | -30.8871 | -30.8871 | 149.0221 | 149.0221 | 149.0221 |  | 1.5083 | 0 | 0 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 0 | 0 | -9.29 | 170.7392 | 170.7392
Line_1 | 0.48679 | 0.48679 | 0.48679 | 0.48664 | 0.48664 | 0.48664 | 5.621 | 5.621 | 5.621 | 5.6192 | 5.6192 | 5.6192 | -5.2502 | 2.6251 | 2.6251 | 6.1258 | -1.7495 | -1.7495 | -2.0935 | 1.0468 | 1.0468 | 2.4363 | -0.69683 | -0.69683 | 148.9767 | 148.9767 | 148.9767 | -30.9779 | -30.9779 | -30.9779 |  | 1.0056 | 0.50278 | 0.50278 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 170.7165 | 170.7165 | -9.29 | 170.7392 | 170.7392
Line_2 | 0.48679 | 0.48679 | 0.48679 | 0.48664 | 0.48664 | 0.48664 | 5.621 | 5.621 | 5.621 | 5.6192 | 5.6192 | 5.6192 | -5.2502 | 2.6251 | 2.6251 | 6.1258 | -1.7495 | -1.7495 | -2.0935 | 1.0468 | 1.0468 | 2.4363 | -0.69683 | -0.69683 | 148.9767 | 148.9767 | 148.9767 | -30.9779 | -30.9779 | -30.9779 |  | 1.0056 | 0.50278 | 0.50278 | 1.1732 | 0.33513 | 0.33513 | -9.2835 | 170.7165 | 170.7165 | -9.29 | 170.7392 | 170.7392
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0107e-13 | 2.6409e-13 | 2.2759e-13 | -5.0074e-13 | 2.0092e-13 | 2.2605e-13 | -2.0955e-13 | 6.5429e-14 | 9.3114e-14 | -1.4017e-13 | 1.0713e-13 | 8.3713e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0056 | 0.50278 | 0.50278 | 1.0056 | 0.50278 | 0.50278 | -9.2835 | 170.7165 | 170.7165 | -9.2835 | 170.7165 | 170.7165

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37328 | 0.37328 | 0.37328 | 0.37352 | 0.37352 | 0.37352 | 4.3103 | 4.3103 | 4.3103 | 4.313 | 4.313 | 4.313 | 4.4099 | 0.56237 | -2.6525 | -3.8925 | -0.053523 | 3.1723 | 3.0087 | -3.877 | 1.7869 | -2.8124 | 4.0838 | -1.5785 | -39.6306 | -39.6306 | -39.6306 | 140.2786 | 140.2786 | 140.2786 |  | 1.2385 | 0.90888 | 0.74199 | 1.1134 | 0.94693 | 0.82155 | -5.326 | -121.3772 | 106.4027 | -3.8733 | -128.9705 | 113.824
Line_1 | 0.18682 | 0.18682 | 0.18682 | 0.18676 | 0.18676 | 0.18676 | 2.1572 | 2.1572 | 2.1572 | 2.1565 | 2.1565 | 2.1565 | -1.8168 | 0.10057 | 1.7162 | 1.9463 | 0.026762 | -1.5862 | -1.3569 | 2.0938 | -0.73695 | 1.4062 | -2.0419 | 0.78926 | 140.2332 | 140.2332 | 140.2332 | -39.7214 | -39.7214 | -39.7214 |  | 1.0512 | 0.97174 | 0.86584 | 1.1134 | 0.94693 | 0.82155 | -3.013 | -132.5167 | 116.9947 | -3.8733 | -128.9705 | 113.824
Line_2 | 0.18682 | 0.18682 | 0.18682 | 0.18676 | 0.18676 | 0.18676 | 2.1572 | 2.1572 | 2.1572 | 2.1565 | 2.1565 | 2.1565 | -1.8168 | 0.10057 | 1.7162 | 1.9463 | 0.026762 | -1.5862 | -1.3569 | 2.0938 | -0.73695 | 1.4062 | -2.0419 | 0.78926 | 140.2332 | 140.2332 | 140.2332 | -39.7214 | -39.7214 | -39.7214 |  | 1.0512 | 0.97174 | 0.86584 | 1.1134 | 0.94693 | 0.82155 | -3.013 | -132.5167 | 116.9947 | -3.8733 | -128.9705 | 113.824
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4564e-13 | 1.2498e-14 | 1.4768e-13 | -1.6553e-13 | 1.4404e-14 | 1.4628e-13 | -1.145e-13 | 1.9072e-13 | -6.4009e-14 | -1.1345e-13 | 1.6556e-13 | -6.1268e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0512 | 0.97174 | 0.86584 | 1.0512 | 0.97174 | 0.86584 | -3.013 | -132.5167 | 116.9947 | -3.013 | -132.5167 | 116.9947

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37328 | 0.37328 | 0.37328 | 0.37352 | 0.37352 | 0.37352 | 4.3103 | 4.3103 | 4.3103 | 4.313 | 4.313 | 4.313 | 4.4099 | 0.56237 | -2.6525 | -3.8925 | -0.053523 | 3.1723 | 3.0087 | -3.877 | 1.7869 | -2.8124 | 4.0838 | -1.5785 | -39.6306 | -39.6306 | -39.6306 | 140.2786 | 140.2786 | 140.2786 |  | 1.2385 | 0.90888 | 0.74199 | 1.1134 | 0.94693 | 0.82155 | -5.326 | -121.3772 | 106.4027 | -3.8733 | -128.9705 | 113.824
Line_1 | 0.18682 | 0.18682 | 0.18682 | 0.18676 | 0.18676 | 0.18676 | 2.1572 | 2.1572 | 2.1572 | 2.1565 | 2.1565 | 2.1565 | -1.8168 | 0.10057 | 1.7162 | 1.9463 | 0.026762 | -1.5862 | -1.3569 | 2.0938 | -0.73695 | 1.4062 | -2.0419 | 0.78926 | 140.2332 | 140.2332 | 140.2332 | -39.7214 | -39.7214 | -39.7214 |  | 1.0512 | 0.97174 | 0.86584 | 1.1134 | 0.94693 | 0.82155 | -3.013 | -132.5167 | 116.9947 | -3.8733 | -128.9705 | 113.824
Line_2 | 0.18682 | 0.18682 | 0.18682 | 0.18676 | 0.18676 | 0.18676 | 2.1572 | 2.1572 | 2.1572 | 2.1565 | 2.1565 | 2.1565 | -1.8168 | 0.10057 | 1.7162 | 1.9463 | 0.026762 | -1.5862 | -1.3569 | 2.0938 | -0.73695 | 1.4062 | -2.0419 | 0.78926 | 140.2332 | 140.2332 | 140.2332 | -39.7214 | -39.7214 | -39.7214 |  | 1.0512 | 0.97174 | 0.86584 | 1.1134 | 0.94693 | 0.82155 | -3.013 | -132.5167 | 116.9947 | -3.8733 | -128.9705 | 113.824
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4564e-13 | 1.2498e-14 | 1.4768e-13 | -1.6553e-13 | 1.4404e-14 | 1.4628e-13 | -1.145e-13 | 1.9072e-13 | -6.4009e-14 | -1.1345e-13 | 1.6556e-13 | -6.1268e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0512 | 0.97174 | 0.86584 | 1.0512 | 0.97174 | 0.86584 | -3.013 | -132.5167 | 116.9947 | -3.013 | -132.5167 | 116.9947

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51394 | 0.51394 | 0.51394 | 0.51426 | 0.51426 | 0.51426 | 5.9345 | 5.9345 | 5.9345 | 5.9382 | 5.9382 | 5.9382 | 8.443 | -2.7845e-12 | -4.3692e-12 | -6.5673 | 1.8756 | 1.8756 | 1.7226 | -6.5944e-12 | 5.7342e-12 | -1.3593 | 0.39013 | 0.39013 | -17.5218 | -17.5218 | -17.5218 | 162.3038 | 162.3038 | 162.3038 |  | 1.452 | 0 | 0 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 0 | 0 | -6.0023 | 174.0537 | 174.0537
Line_1 | 0.25721 | 0.25721 | 0.25721 | 0.25713 | 0.25713 | 0.25713 | 2.97 | 2.97 | 2.97 | 2.9691 | 2.9691 | 2.9691 | -2.8143 | 1.4072 | 1.4072 | 3.2837 | -0.93781 | -0.93781 | -0.58761 | 0.2938 | 0.2938 | 0.67965 | -0.19506 | -0.19506 | 162.2166 | 162.2166 | 162.2166 | -17.6962 | -17.6962 | -17.6962 |  | 0.96801 | 0.484 | 0.484 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 174.0101 | 174.0101 | -6.0023 | 174.0537 | 174.0537
Line_2 | 0.25721 | 0.25721 | 0.25721 | 0.25713 | 0.25713 | 0.25713 | 2.97 | 2.97 | 2.97 | 2.9691 | 2.9691 | 2.9691 | -2.8143 | 1.4072 | 1.4072 | 3.2837 | -0.93781 | -0.93781 | -0.58761 | 0.2938 | 0.2938 | 0.67965 | -0.19506 | -0.19506 | 162.2166 | 162.2166 | 162.2166 | -17.6962 | -17.6962 | -17.6962 |  | 0.96801 | 0.484 | 0.484 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 174.0101 | 174.0101 | -6.0023 | 174.0537 | 174.0537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3567e-13 | 1.2354e-13 | 1.1508e-13 | -2.484e-13 | 1.1832e-13 | 1.242e-13 | -4.9041e-14 | 2.3922e-14 | 2.0199e-14 | -3.8485e-14 | 2.9081e-14 | 1.9242e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.96801 | 0.484 | 0.484 | 0.96801 | 0.484 | 0.484 | -5.9899 | 174.0101 | 174.0101 | -5.9899 | 174.0101 | 174.0101

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51394 | 0.51394 | 0.51394 | 0.51426 | 0.51426 | 0.51426 | 5.9345 | 5.9345 | 5.9345 | 5.9382 | 5.9382 | 5.9382 | 8.443 | -2.7845e-12 | -4.3692e-12 | -6.5673 | 1.8756 | 1.8756 | 1.7226 | -6.5944e-12 | 5.7342e-12 | -1.3593 | 0.39013 | 0.39013 | -17.5218 | -17.5218 | -17.5218 | 162.3038 | 162.3038 | 162.3038 |  | 1.452 | 0 | 0 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 0 | 0 | -6.0023 | 174.0537 | 174.0537
Line_1 | 0.25721 | 0.25721 | 0.25721 | 0.25713 | 0.25713 | 0.25713 | 2.97 | 2.97 | 2.97 | 2.9691 | 2.9691 | 2.9691 | -2.8143 | 1.4072 | 1.4072 | 3.2837 | -0.93781 | -0.93781 | -0.58761 | 0.2938 | 0.2938 | 0.67965 | -0.19506 | -0.19506 | 162.2166 | 162.2166 | 162.2166 | -17.6962 | -17.6962 | -17.6962 |  | 0.96801 | 0.484 | 0.484 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 174.0101 | 174.0101 | -6.0023 | 174.0537 | 174.0537
Line_2 | 0.25721 | 0.25721 | 0.25721 | 0.25713 | 0.25713 | 0.25713 | 2.97 | 2.97 | 2.97 | 2.9691 | 2.9691 | 2.9691 | -2.8143 | 1.4072 | 1.4072 | 3.2837 | -0.93781 | -0.93781 | -0.58761 | 0.2938 | 0.2938 | 0.67965 | -0.19506 | -0.19506 | 162.2166 | 162.2166 | 162.2166 | -17.6962 | -17.6962 | -17.6962 |  | 0.96801 | 0.484 | 0.484 | 1.1294 | 0.32262 | 0.32262 | -5.9899 | 174.0101 | 174.0101 | -6.0023 | 174.0537 | 174.0537
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3567e-13 | 1.2354e-13 | 1.1508e-13 | -2.484e-13 | 1.1832e-13 | 1.242e-13 | -4.9041e-14 | 2.3922e-14 | 2.0199e-14 | -3.8485e-14 | 2.9081e-14 | 1.9242e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.96801 | 0.484 | 0.484 | 0.96801 | 0.484 | 0.484 | -5.9899 | 174.0101 | 174.0101 | -5.9899 | 174.0101 | 174.0101

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27213 | 0.27213 | 0.27213 | 0.2723 | 0.2723 | 0.2723 | 3.1423 | 3.1423 | 3.1423 | 3.1442 | 3.1442 | 3.1442 | 3.4779 | 0.19096 | -1.3018 | -2.9494 | 0.32699 | 1.8329 | 1.5938 | -2.5566 | 1.4457 | -1.496 | 2.6669 | -1.3333 | -30.8586 | -30.8586 | -30.8586 | 148.967 | 148.967 | 148.967 |  | 1.2175 | 0.81587 | 0.61912 | 1.0518 | 0.85455 | 0.72084 | -6.2387 | -116.5868 | 101.1419 | -4.1379 | -128.0232 | 112.9331
Line_1 | 0.13619 | 0.13619 | 0.13619 | 0.13615 | 0.13615 | 0.13615 | 1.5726 | 1.5726 | 1.5726 | 1.5721 | 1.5721 | 1.5721 | -1.3424 | 0.29311 | 1.0493 | 1.4747 | -0.1635 | -0.91643 | -0.72321 | 1.3614 | -0.6382 | 0.74799 | -1.3335 | 0.66665 | 148.8798 | 148.8798 | 148.8798 | -31.033 | -31.033 | -31.033 |  | 0.96962 | 0.88553 | 0.78096 | 1.0518 | 0.85455 | 0.72084 | -2.8074 | -133.2704 | 117.5717 | -4.1379 | -128.0232 | 112.9331
Line_2 | 0.13619 | 0.13619 | 0.13619 | 0.13615 | 0.13615 | 0.13615 | 1.5726 | 1.5726 | 1.5726 | 1.5721 | 1.5721 | 1.5721 | -1.3424 | 0.29311 | 1.0493 | 1.4747 | -0.1635 | -0.91643 | -0.72321 | 1.3614 | -0.6382 | 0.74799 | -1.3335 | 0.66665 | 148.8798 | 148.8798 | 148.8798 | -31.033 | -31.033 | -31.033 |  | 0.96962 | 0.88553 | 0.78096 | 1.0518 | 0.85455 | 0.72084 | -2.8074 | -133.2704 | 117.5717 | -4.1379 | -128.0232 | 112.9331
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1497e-13 | 1.6947e-14 | 9.492e-14 | -1.1353e-13 | 3.2715e-14 | 8.6148e-14 | -5.8742e-14 | 1.1439e-13 | -5.79e-14 | -6.4561e-14 | 1.2043e-13 | -5.309e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.96962 | 0.88553 | 0.78096 | 0.96962 | 0.88553 | 0.78096 | -2.8074 | -133.2704 | 117.5717 | -2.8074 | -133.2704 | 117.5717

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.27213 | 0.27213 | 0.27213 | 0.2723 | 0.2723 | 0.2723 | 3.1423 | 3.1423 | 3.1423 | 3.1442 | 3.1442 | 3.1442 | 3.4779 | 0.19096 | -1.3018 | -2.9494 | 0.32699 | 1.8329 | 1.5938 | -2.5566 | 1.4457 | -1.496 | 2.6669 | -1.3333 | -30.8586 | -30.8586 | -30.8586 | 148.967 | 148.967 | 148.967 |  | 1.2175 | 0.81587 | 0.61912 | 1.0518 | 0.85455 | 0.72084 | -6.2387 | -116.5868 | 101.1419 | -4.1379 | -128.0232 | 112.9331
Line_1 | 0.13619 | 0.13619 | 0.13619 | 0.13615 | 0.13615 | 0.13615 | 1.5726 | 1.5726 | 1.5726 | 1.5721 | 1.5721 | 1.5721 | -1.3424 | 0.29311 | 1.0493 | 1.4747 | -0.1635 | -0.91643 | -0.72321 | 1.3614 | -0.6382 | 0.74799 | -1.3335 | 0.66665 | 148.8798 | 148.8798 | 148.8798 | -31.033 | -31.033 | -31.033 |  | 0.96962 | 0.88553 | 0.78096 | 1.0518 | 0.85455 | 0.72084 | -2.8074 | -133.2704 | 117.5717 | -4.1379 | -128.0232 | 112.9331
Line_2 | 0.13619 | 0.13619 | 0.13619 | 0.13615 | 0.13615 | 0.13615 | 1.5726 | 1.5726 | 1.5726 | 1.5721 | 1.5721 | 1.5721 | -1.3424 | 0.29311 | 1.0493 | 1.4747 | -0.1635 | -0.91643 | -0.72321 | 1.3614 | -0.6382 | 0.74799 | -1.3335 | 0.66665 | 148.8798 | 148.8798 | 148.8798 | -31.033 | -31.033 | -31.033 |  | 0.96962 | 0.88553 | 0.78096 | 1.0518 | 0.85455 | 0.72084 | -2.8074 | -133.2704 | 117.5717 | -4.1379 | -128.0232 | 112.9331
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1497e-13 | 1.6947e-14 | 9.492e-14 | -1.1353e-13 | 3.2715e-14 | 8.6148e-14 | -5.8742e-14 | 1.1439e-13 | -5.79e-14 | -6.4561e-14 | 1.2043e-13 | -5.309e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.96962 | 0.88553 | 0.78096 | 0.96962 | 0.88553 | 0.78096 | -2.8074 | -133.2704 | 117.5717 | -2.8074 | -133.2704 | 117.5717