## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2987e-19 | 0 | -4.9292e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.0676e-09 | 0 | 5.5265e-09 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.87234 | 0.87234 | -10.051 | -10.051

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2858e-20 | 0 | 2.6707e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.1465e-09 | 0 | 4.6776e-09 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78485 | 0.78485 | -10.4046 | -10.4046

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 3.3869e-14 | -6.2528e-14 | 2.6053e-14 | -2.3447e-14 | 5.2107e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.0813e-13 | 180 | -180 | 8.1784e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -1.0421e-14 | 1.5632e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9018e-13 | -180 | 180 | 8.1784e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -7.8158e-15 | 1.0421e-14 | 1.5632e-14 | 7.8158e-15 | -1.0421e-14 | 1.0421e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9289e-13 | -180 | 180 | 8.1784e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 1.0421e-14 | 0 | 7.1861e-29 | -7.816e-15 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9018e-13 | -180 | 180 | 7.9289e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.1264e-14 | 3.3869e-14 | -6.2528e-14 | 2.6053e-14 | -2.3447e-14 | 5.2107e-14 | -3.1264e-14 | 5.7634e-09 | -5.7634e-09 | 2.0843e-14 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 8.0813e-13 | 180 | -180 | 8.1784e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -7.8158e-15 | 2.0843e-14 | 1.0421e-14 | 1.8237e-14 | -1.0421e-14 | 1.5632e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9018e-13 | -180 | 180 | 8.1784e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0843e-14 | -7.8158e-15 | 1.0421e-14 | 1.5632e-14 | 7.8158e-15 | -1.0421e-14 | 1.0421e-14 | -1.9212e-09 | 1.9211e-09 | -2.0843e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9289e-13 | -180 | 180 | 8.1784e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | 5.2106e-15 | 1.0421e-14 | -1.5632e-14 | 1.0421e-14 | 0 | 7.1861e-29 | -7.816e-15 | -5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.9018e-13 | -180 | 180 | 7.9289e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5546e-10 | -3.075e-09 | 1.0421e-14 | 9.5547e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 2.0843e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.074e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1886e-10 | 7.816e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9987e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7294e-29 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1886e-10 | 5.2106e-15 | 1.3426e-09 | -1.1885e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.0013e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 1.418e-14 | 0 | -5.2106e-15 | -1.7175e-15 | -1.7756e-15 | -2.6053e-15 | 1.2025e-16 | 0 | 2.6053e-15 | -1.3981e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9987e-13 | -140.8543 | 122.4159 | 3.0013e-13 | -140.8543 | 122.4159

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | -9.5546e-10 | -3.075e-09 | 1.0421e-14 | 9.5547e-10 | 3.075e-09 | -1.8237e-14 | 4.0277e-09 | -3.5663e-10 | 2.0843e-14 | -4.0277e-09 | 3.5663e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.074e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6053e-15 | 3.185e-10 | 1.025e-09 | -7.816e-15 | -3.1849e-10 | -1.025e-09 | -7.816e-15 | -1.3426e-09 | 1.1886e-10 | 7.816e-15 | 1.3426e-09 | -1.1886e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9987e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7294e-29 | 3.1849e-10 | 1.025e-09 | -6.5133e-15 | -3.1848e-10 | -1.025e-09 | -5.2106e-15 | -1.3426e-09 | 1.1886e-10 | 5.2106e-15 | 1.3426e-09 | -1.1885e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 3.0013e-13 | -140.8543 | 122.4159 | 3.0932e-13 | -140.8543 | 122.4159
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3027e-15 | 1.418e-14 | 0 | -5.2106e-15 | -1.7175e-15 | -1.7756e-15 | -2.6053e-15 | 1.2025e-16 | 0 | 2.6053e-15 | -1.3981e-15 | 2.7962e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.93504 | 0.69924 | 1.1 | 0.93504 | 0.69924 | 2.9987e-13 | -140.8543 | 122.4159 | 3.0013e-13 | -140.8543 | 122.4159

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -3.5527e-15 | -4.737e-15 | -1.4211e-14 | 1.1843e-14 | 1.1843e-14 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6895e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 1.1845e-15 | 4.7373e-15 | 2.8422e-14 | 7.1052e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8995e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3159e-14 | 1.1845e-15 | 3.0472e-19 | 3.3159e-14 | 7.1052e-15 | 2.3682e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8726e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9212e-15 | 2.3685e-15 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 5.7042e-29 | 9.4739e-15 | 4.737e-15 | -5.682e-29 | 2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8995e-13 | -180 | 180 | 6.8726e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4211e-14 | -3.5527e-15 | -4.737e-15 | -1.4211e-14 | 1.1843e-14 | 1.1843e-14 | 1.8948e-14 | 4.7631e-09 | -4.7631e-09 | -1.8948e-14 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.6895e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8422e-14 | 1.1845e-15 | 4.7373e-15 | 2.8422e-14 | 7.1052e-15 | 2.3682e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8995e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.3159e-14 | 1.1845e-15 | 3.0472e-19 | 3.3159e-14 | 7.1052e-15 | 2.3682e-15 | -4.737e-15 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8726e-13 | -180 | 180 | 6.9339e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.737e-15 | 5.9212e-15 | 2.3685e-15 | -4.737e-15 | 1.1842e-15 | 2.3685e-15 | 5.7042e-29 | 9.4739e-15 | 4.737e-15 | -5.682e-29 | 2.3685e-15 | -4.737e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.8995e-13 | -180 | 180 | 6.8726e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | -8.0025e-10 | -2.5674e-09 | -7.6975e-15 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7118e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 2.6676e-10 | 8.558e-10 | 1.3027e-14 | -2.6675e-10 | -8.558e-10 | -5.6454e-29 | -1.1338e-09 | 1.1355e-10 | 6.3331e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7314e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 2.6676e-10 | 8.558e-10 | 1.2138e-14 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | 5.9013e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7196e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | 4.7661e-15 | 8.7578e-15 | -1.7764e-15 | -4.0556e-15 | 2.2103e-15 | -2.3685e-15 | 1.2375e-15 | 8.2981e-15 | 2.3685e-15 | 1.884e-15 | -3.4249e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7314e-13 | -141.4824 | 122.8363 | 2.7196e-13 | -141.4824 | 122.8363

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5133e-15 | -8.0025e-10 | -2.5674e-09 | -7.6975e-15 | 8.0025e-10 | 2.5674e-09 | 4.737e-15 | 3.4014e-09 | -3.4064e-10 | -2.3685e-15 | -3.4014e-09 | 3.4064e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7118e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1842e-14 | 2.6676e-10 | 8.558e-10 | 1.3027e-14 | -2.6675e-10 | -8.558e-10 | -5.6454e-29 | -1.1338e-09 | 1.1355e-10 | 6.3331e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7314e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 2.6676e-10 | 8.558e-10 | 1.2138e-14 | -2.6675e-10 | -8.558e-10 | 4.737e-15 | -1.1338e-09 | 1.1355e-10 | 5.9013e-29 | 1.1338e-09 | -1.1355e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7196e-13 | -141.4824 | 122.8363 | 2.7855e-13 | -141.4824 | 122.8363
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4803e-15 | 4.7661e-15 | 8.7578e-15 | -1.7764e-15 | -4.0556e-15 | 2.2103e-15 | -2.3685e-15 | 1.2375e-15 | 8.2981e-15 | 2.3685e-15 | 1.884e-15 | -3.4249e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.84437 | 0.62583 | 1 | 0.84437 | 0.62583 | 2.7314e-13 | -141.4824 | 122.8363 | 2.7196e-13 | -141.4824 | 122.8363

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.187 | 1.187 | 1.187 | 1.1877 | 1.1877 | 1.1877 | 13.7057 | 13.7057 | 13.7057 | 13.7143 | 13.7143 | 13.7143 | 3.3032e-11 | 8.7338 | 25.3072 | 5.2095 | -3.4907 | -20.128 | -8.2764e-11 | 14.6859 | -5.4934 | 2.0781 | -12.6401 | 7.5076 | 140.6035 | 140.6035 | 140.6035 | -39.5488 | -39.5488 | -39.5488 |  | 0 | 1.2467 | 1.8895 | 0.40897 | 0.95618 | 1.5664 | 0 | -160.1366 | 128.3564 | -17.801 | -144.9867 | 119.996
Line_1 | 0.59403 | 0.59403 | 0.59403 | 0.59384 | 0.59384 | 0.59384 | 6.8593 | 6.8593 | 6.8593 | 6.8571 | 6.8571 | 6.8571 | 3.9058 | -0.424 | -8.7748 | -2.6047 | 1.7453 | 10.064 | 1.5671 | -5.807 | 4.2455 | -1.0391 | 6.3201 | -3.7538 | -39.717 | -39.717 | -39.717 | 140.4512 | 140.4512 | 140.4512 |  | 0.61354 | 0.84885 | 1.4211 | 0.40897 | 0.95618 | 1.5664 | -17.8544 | -133.8931 | 114.4639 | -17.801 | -144.9867 | 119.996
Line_2 | 0.59403 | 0.59403 | 0.59403 | 0.59384 | 0.59384 | 0.59384 | 6.8593 | 6.8593 | 6.8593 | 6.8571 | 6.8571 | 6.8571 | 3.9058 | -0.424 | -8.7748 | -2.6047 | 1.7453 | 10.064 | 1.5671 | -5.807 | 4.2455 | -1.0391 | 6.3201 | -3.7538 | -39.717 | -39.717 | -39.717 | 140.4512 | 140.4512 | 140.4512 |  | 0.61354 | 0.84885 | 1.4211 | 0.40897 | 0.95618 | 1.5664 | -17.8544 | -133.8931 | 114.4639 | -17.801 | -144.9867 | 119.996
Line_3 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | -0.001684 | 0.0062237 | -0.0045397 | -0.001684 | 0.0062237 | -0.0045397 | 0.0041839 | -0.00044773 | -0.0094086 | 0.0041839 | -0.00044773 | -0.0094086 | -129.7784 | -129.7784 | -129.7784 | -129.7784 | -129.7784 | -129.7784 |  | 0.61354 | 0.84885 | 1.4211 | 0.61354 | 0.84885 | 1.4211 | -17.8544 | -133.8931 | 114.4639 | -17.8544 | -133.8931 | 114.4639

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.187 | 1.187 | 1.187 | 1.1877 | 1.1877 | 1.1877 | 13.7057 | 13.7057 | 13.7057 | 13.7143 | 13.7143 | 13.7143 | 3.3032e-11 | 8.7338 | 25.3072 | 5.2095 | -3.4907 | -20.128 | -8.2764e-11 | 14.6859 | -5.4934 | 2.0781 | -12.6401 | 7.5076 | 140.6035 | 140.6035 | 140.6035 | -39.5488 | -39.5488 | -39.5488 |  | 0 | 1.2467 | 1.8895 | 0.40897 | 0.95618 | 1.5664 | 0 | -160.1366 | 128.3564 | -17.801 | -144.9867 | 119.996
Line_1 | 0.59403 | 0.59403 | 0.59403 | 0.59384 | 0.59384 | 0.59384 | 6.8593 | 6.8593 | 6.8593 | 6.8571 | 6.8571 | 6.8571 | 3.9058 | -0.424 | -8.7748 | -2.6047 | 1.7453 | 10.064 | 1.5671 | -5.807 | 4.2455 | -1.0391 | 6.3201 | -3.7538 | -39.717 | -39.717 | -39.717 | 140.4512 | 140.4512 | 140.4512 |  | 0.61354 | 0.84885 | 1.4211 | 0.40897 | 0.95618 | 1.5664 | -17.8544 | -133.8931 | 114.4639 | -17.801 | -144.9867 | 119.996
Line_2 | 0.59403 | 0.59403 | 0.59403 | 0.59384 | 0.59384 | 0.59384 | 6.8593 | 6.8593 | 6.8593 | 6.8571 | 6.8571 | 6.8571 | 3.9058 | -0.424 | -8.7748 | -2.6047 | 1.7453 | 10.064 | 1.5671 | -5.807 | 4.2455 | -1.0391 | 6.3201 | -3.7538 | -39.717 | -39.717 | -39.717 | 140.4512 | 140.4512 | 140.4512 |  | 0.61354 | 0.84885 | 1.4211 | 0.40897 | 0.95618 | 1.5664 | -17.8544 | -133.8931 | 114.4639 | -17.801 | -144.9867 | 119.996
Line_3 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.00063661 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | 0.0073509 | -0.001684 | 0.0062237 | -0.0045397 | -0.001684 | 0.0062237 | -0.0045397 | 0.0041839 | -0.00044773 | -0.0094086 | 0.0041839 | -0.00044773 | -0.0094086 | -129.7784 | -129.7784 | -129.7784 | -129.7784 | -129.7784 | -129.7784 |  | 0.61354 | 0.84885 | 1.4211 | 0.61354 | 0.84885 | 1.4211 | -17.8544 | -133.8931 | 114.4639 | -17.8544 | -133.8931 | 114.4639

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39842 | 0.39842 | 0.39842 | 0.39867 | 0.39867 | 0.39867 | 4.6005 | 4.6005 | 4.6005 | 4.6034 | 4.6034 | 4.6034 | -2.3811 | 0.11252 | 6.104 | 2.9632 | 0.48742 | -5.5248 | -2.3811 | 4.9073 | -1.4905 | 2.623 | -4.6765 | 1.7093 | 136.8782 | 136.8782 | 136.8782 | -43.2741 | -43.2741 | -43.2741 |  | 0.73194 | 1.067 | 1.3658 | 0.85965 | 1.0214 | 1.2563 | 1.8782 | -134.4352 | 123.1562 | -1.7585 | -127.3237 | 119.5344
Line_1 | 0.19939 | 0.19939 | 0.19939 | 0.19933 | 0.19933 | 0.19933 | 2.3024 | 2.3024 | 2.3024 | 2.3017 | 2.3017 | 2.3017 | 1.625 | 0.3975 | -2.6189 | -1.4816 | -0.24371 | 2.7624 | 1.3749 | -2.2796 | 0.90541 | -1.3115 | 2.3382 | -0.85466 | -43.4423 | -43.4423 | -43.4423 | 136.7259 | 136.7259 | 136.7259 |  | 0.92451 | 1.005 | 1.2035 | 0.85965 | 1.0214 | 1.2563 | -3.2092 | -123.5511 | 117.4864 | -1.7585 | -127.3237 | 119.5344
Line_2 | 0.19939 | 0.19939 | 0.19939 | 0.19933 | 0.19933 | 0.19933 | 2.3024 | 2.3024 | 2.3024 | 2.3017 | 2.3017 | 2.3017 | 1.625 | 0.3975 | -2.6189 | -1.4816 | -0.24371 | 2.7624 | 1.3749 | -2.2796 | 0.90541 | -1.3115 | 2.3382 | -0.85466 | -43.4423 | -43.4423 | -43.4423 | 136.7259 | 136.7259 | 136.7259 |  | 0.92451 | 1.005 | 1.2035 | 0.85965 | 1.0214 | 1.2563 | -3.2092 | -123.5511 | 117.4864 | -1.7585 | -127.3237 | 119.5344
Line_3 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | -0.0014753 | 0.0024426 | -0.00096729 | -0.0014753 | 0.0024426 | -0.00096729 | 0.0017399 | 0.0004286 | -0.0028076 | 0.0017399 | 0.0004286 | -0.0028076 | -133.5037 | -133.5037 | -133.5037 | -133.5037 | -133.5037 | -133.5037 |  | 0.92451 | 1.005 | 1.2035 | 0.92451 | 1.005 | 1.2035 | -3.2092 | -123.5511 | 117.4864 | -3.2092 | -123.5511 | 117.4864

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39842 | 0.39842 | 0.39842 | 0.39867 | 0.39867 | 0.39867 | 4.6005 | 4.6005 | 4.6005 | 4.6034 | 4.6034 | 4.6034 | -2.3811 | 0.11252 | 6.104 | 2.9632 | 0.48742 | -5.5248 | -2.3811 | 4.9073 | -1.4905 | 2.623 | -4.6765 | 1.7093 | 136.8782 | 136.8782 | 136.8782 | -43.2741 | -43.2741 | -43.2741 |  | 0.73194 | 1.067 | 1.3658 | 0.85965 | 1.0214 | 1.2563 | 1.8782 | -134.4352 | 123.1562 | -1.7585 | -127.3237 | 119.5344
Line_1 | 0.19939 | 0.19939 | 0.19939 | 0.19933 | 0.19933 | 0.19933 | 2.3024 | 2.3024 | 2.3024 | 2.3017 | 2.3017 | 2.3017 | 1.625 | 0.3975 | -2.6189 | -1.4816 | -0.24371 | 2.7624 | 1.3749 | -2.2796 | 0.90541 | -1.3115 | 2.3382 | -0.85466 | -43.4423 | -43.4423 | -43.4423 | 136.7259 | 136.7259 | 136.7259 |  | 0.92451 | 1.005 | 1.2035 | 0.85965 | 1.0214 | 1.2563 | -3.2092 | -123.5511 | 117.4864 | -1.7585 | -127.3237 | 119.5344
Line_2 | 0.19939 | 0.19939 | 0.19939 | 0.19933 | 0.19933 | 0.19933 | 2.3024 | 2.3024 | 2.3024 | 2.3017 | 2.3017 | 2.3017 | 1.625 | 0.3975 | -2.6189 | -1.4816 | -0.24371 | 2.7624 | 1.3749 | -2.2796 | 0.90541 | -1.3115 | 2.3382 | -0.85466 | -43.4423 | -43.4423 | -43.4423 | 136.7259 | 136.7259 | 136.7259 |  | 0.92451 | 1.005 | 1.2035 | 0.85965 | 1.0214 | 1.2563 | -3.2092 | -123.5511 | 117.4864 | -1.7585 | -127.3237 | 119.5344
Line_3 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.00021369 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | 0.0024674 | -0.0014753 | 0.0024426 | -0.00096729 | -0.0014753 | 0.0024426 | -0.00096729 | 0.0017399 | 0.0004286 | -0.0028076 | 0.0017399 | 0.0004286 | -0.0028076 | -133.5037 | -133.5037 | -133.5037 | -133.5037 | -133.5037 | -133.5037 |  | 0.92451 | 1.005 | 1.2035 | 0.92451 | 1.005 | 1.2035 | -3.2092 | -123.5511 | 117.4864 | -3.2092 | -123.5511 | 117.4864

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76486 | 0.76486 | 0.76486 | 0.76533 | 0.76533 | 0.76533 | 8.8318 | 8.8318 | 8.8318 | 8.8372 | 8.8372 | 8.8372 | -1.4722e-11 | 8.0146 | 15.0802 | 4.1536 | -3.8302 | -10.956 | 5.169e-12 | 8.662 | -4.9056 | 0.86627 | -7.834 | 5.7127 | 152.4908 | 152.4908 | 152.4908 | -27.745 | -27.745 | -27.745 |  | 0 | 1.3362 | 1.7956 | 0.48013 | 0.98675 | 1.3982 | 0 | -160.2862 | 134.471 | -15.9644 | -143.8001 | 124.7162
Line_1 | 0.38278 | 0.38278 | 0.38278 | 0.38266 | 0.38266 | 0.38266 | 4.42 | 4.42 | 4.42 | 4.4186 | 4.4186 | 4.4186 | 3.1151 | -0.86206 | -4.4509 | -2.0768 | 1.9151 | 5.478 | 0.65738 | -3.7087 | 3.0537 | -0.43314 | 3.917 | -2.8564 | -27.955 | -27.955 | -27.955 | 152.255 | 152.255 | 152.255 |  | 0.7203 | 0.86144 | 1.2212 | 0.48013 | 0.98675 | 1.3982 | -16.0387 | -131.0407 | 117.5916 | -15.9644 | -143.8001 | 124.7162
Line_2 | 0.38278 | 0.38278 | 0.38278 | 0.38266 | 0.38266 | 0.38266 | 4.42 | 4.42 | 4.42 | 4.4186 | 4.4186 | 4.4186 | 3.1151 | -0.86206 | -4.4509 | -2.0768 | 1.9151 | 5.478 | 0.65738 | -3.7087 | 3.0537 | -0.43314 | 3.917 | -2.8564 | -27.955 | -27.955 | -27.955 | 152.255 | 152.255 | 152.255 |  | 0.7203 | 0.86144 | 1.2212 | 0.48013 | 0.98675 | 1.3982 | -16.0387 | -131.0407 | 117.5916 | -15.9644 | -143.8001 | 124.7162
Line_3 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | -0.00070808 | 0.0039755 | -0.0032674 | -0.00070808 | 0.0039755 | -0.0032674 | 0.0033376 | -0.00091959 | -0.0047734 | 0.0033376 | -0.00091959 | -0.0047734 | -118.0164 | -118.0164 | -118.0164 | -118.0164 | -118.0164 | -118.0164 |  | 0.7203 | 0.86144 | 1.2212 | 0.7203 | 0.86144 | 1.2212 | -16.0387 | -131.0407 | 117.5916 | -16.0387 | -131.0407 | 117.5916

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76486 | 0.76486 | 0.76486 | 0.76533 | 0.76533 | 0.76533 | 8.8318 | 8.8318 | 8.8318 | 8.8372 | 8.8372 | 8.8372 | -1.4722e-11 | 8.0146 | 15.0802 | 4.1536 | -3.8302 | -10.956 | 5.169e-12 | 8.662 | -4.9056 | 0.86627 | -7.834 | 5.7127 | 152.4908 | 152.4908 | 152.4908 | -27.745 | -27.745 | -27.745 |  | 0 | 1.3362 | 1.7956 | 0.48013 | 0.98675 | 1.3982 | 0 | -160.2862 | 134.471 | -15.9644 | -143.8001 | 124.7162
Line_1 | 0.38278 | 0.38278 | 0.38278 | 0.38266 | 0.38266 | 0.38266 | 4.42 | 4.42 | 4.42 | 4.4186 | 4.4186 | 4.4186 | 3.1151 | -0.86206 | -4.4509 | -2.0768 | 1.9151 | 5.478 | 0.65738 | -3.7087 | 3.0537 | -0.43314 | 3.917 | -2.8564 | -27.955 | -27.955 | -27.955 | 152.255 | 152.255 | 152.255 |  | 0.7203 | 0.86144 | 1.2212 | 0.48013 | 0.98675 | 1.3982 | -16.0387 | -131.0407 | 117.5916 | -15.9644 | -143.8001 | 124.7162
Line_2 | 0.38278 | 0.38278 | 0.38278 | 0.38266 | 0.38266 | 0.38266 | 4.42 | 4.42 | 4.42 | 4.4186 | 4.4186 | 4.4186 | 3.1151 | -0.86206 | -4.4509 | -2.0768 | 1.9151 | 5.478 | 0.65738 | -3.7087 | 3.0537 | -0.43314 | 3.917 | -2.8564 | -27.955 | -27.955 | -27.955 | 152.255 | 152.255 | 152.255 |  | 0.7203 | 0.86144 | 1.2212 | 0.48013 | 0.98675 | 1.3982 | -16.0387 | -131.0407 | 117.5916 | -15.9644 | -143.8001 | 124.7162
Line_3 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.00041022 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | 0.0047368 | -0.00070808 | 0.0039755 | -0.0032674 | -0.00070808 | 0.0039755 | -0.0032674 | 0.0033376 | -0.00091959 | -0.0047734 | 0.0033376 | -0.00091959 | -0.0047734 | -118.0164 | -118.0164 | -118.0164 | -118.0164 | -118.0164 | -118.0164 |  | 0.7203 | 0.86144 | 1.2212 | 0.7203 | 0.86144 | 1.2212 | -16.0387 | -131.0407 | 117.5916 | -16.0387 | -131.0407 | 117.5916

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32164 | 0.32164 | 0.32164 | 0.32184 | 0.32184 | 0.32184 | 3.714 | 3.714 | 3.714 | 3.7163 | 3.7163 | 3.7163 | -1.5518 | 0.84933 | 4.7867 | 2.2809 | -0.10027 | -4.0609 | -1.5518 | 3.6516 | -1.4355 | 1.7123 | -3.5041 | 1.5699 | 142.2611 | 142.2611 | 142.2611 | -37.9748 | -37.9748 | -37.9748 |  | 0.5909 | 1.0094 | 1.3455 | 0.76746 | 0.9433 | 1.1715 | 7.2611 | -140.8325 | 125.567 | -1.0781 | -129.6138 | 120.8897
Line_1 | 0.16097 | 0.16097 | 0.16097 | 0.16092 | 0.16092 | 0.16092 | 1.8587 | 1.8587 | 1.8587 | 1.8581 | 1.8581 | 1.8581 | 1.3214 | 0.14006 | -1.8502 | -1.1405 | 0.050133 | 2.0305 | 0.8989 | -1.7145 | 0.81602 | -0.85617 | 1.7521 | -0.78494 | -38.1847 | -38.1847 | -38.1847 | 142.0252 | 142.0252 | 142.0252 |  | 0.85983 | 0.92548 | 1.0879 | 0.76746 | 0.9433 | 1.1715 | -3.9597 | -123.5145 | 118.0153 | -1.0781 | -129.6138 | 120.8897
Line_2 | 0.16097 | 0.16097 | 0.16097 | 0.16092 | 0.16092 | 0.16092 | 1.8587 | 1.8587 | 1.8587 | 1.8581 | 1.8581 | 1.8581 | 1.3214 | 0.14006 | -1.8502 | -1.1405 | 0.050133 | 2.0305 | 0.8989 | -1.7145 | 0.81602 | -0.85617 | 1.7521 | -0.78494 | -38.1847 | -38.1847 | -38.1847 | 142.0252 | 142.0252 | 142.0252 |  | 0.85983 | 0.92548 | 1.0879 | 0.76746 | 0.9433 | 1.1715 | -3.9597 | -123.5145 | 118.0153 | -1.0781 | -129.6138 | 120.8897
Line_3 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | -0.00096484 | 0.0018372 | -0.00087238 | -0.00096484 | 0.0018372 | -0.00087238 | 0.0014151 | 0.00015207 | -0.0019837 | 0.0014151 | 0.00015207 | -0.0019837 | -128.2462 | -128.2462 | -128.2462 | -128.2462 | -128.2462 | -128.2462 |  | 0.85983 | 0.92548 | 1.0879 | 0.85983 | 0.92548 | 1.0879 | -3.9597 | -123.5145 | 118.0153 | -3.9597 | -123.5145 | 118.0153

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32164 | 0.32164 | 0.32164 | 0.32184 | 0.32184 | 0.32184 | 3.714 | 3.714 | 3.714 | 3.7163 | 3.7163 | 3.7163 | -1.5518 | 0.84933 | 4.7867 | 2.2809 | -0.10027 | -4.0609 | -1.5518 | 3.6516 | -1.4355 | 1.7123 | -3.5041 | 1.5699 | 142.2611 | 142.2611 | 142.2611 | -37.9748 | -37.9748 | -37.9748 |  | 0.5909 | 1.0094 | 1.3455 | 0.76746 | 0.9433 | 1.1715 | 7.2611 | -140.8325 | 125.567 | -1.0781 | -129.6138 | 120.8897
Line_1 | 0.16097 | 0.16097 | 0.16097 | 0.16092 | 0.16092 | 0.16092 | 1.8587 | 1.8587 | 1.8587 | 1.8581 | 1.8581 | 1.8581 | 1.3214 | 0.14006 | -1.8502 | -1.1405 | 0.050133 | 2.0305 | 0.8989 | -1.7145 | 0.81602 | -0.85617 | 1.7521 | -0.78494 | -38.1847 | -38.1847 | -38.1847 | 142.0252 | 142.0252 | 142.0252 |  | 0.85983 | 0.92548 | 1.0879 | 0.76746 | 0.9433 | 1.1715 | -3.9597 | -123.5145 | 118.0153 | -1.0781 | -129.6138 | 120.8897
Line_2 | 0.16097 | 0.16097 | 0.16097 | 0.16092 | 0.16092 | 0.16092 | 1.8587 | 1.8587 | 1.8587 | 1.8581 | 1.8581 | 1.8581 | 1.3214 | 0.14006 | -1.8502 | -1.1405 | 0.050133 | 2.0305 | 0.8989 | -1.7145 | 0.81602 | -0.85617 | 1.7521 | -0.78494 | -38.1847 | -38.1847 | -38.1847 | 142.0252 | 142.0252 | 142.0252 |  | 0.85983 | 0.92548 | 1.0879 | 0.76746 | 0.9433 | 1.1715 | -3.9597 | -123.5145 | 118.0153 | -1.0781 | -129.6138 | 120.8897
Line_3 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.00017251 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | 0.0019919 | -0.00096484 | 0.0018372 | -0.00087238 | -0.00096484 | 0.0018372 | -0.00087238 | 0.0014151 | 0.00015207 | -0.0019837 | 0.0014151 | 0.00015207 | -0.0019837 | -128.2462 | -128.2462 | -128.2462 | -128.2462 | -128.2462 | -128.2462 |  | 0.85983 | 0.92548 | 1.0879 | 0.85983 | 0.92548 | 1.0879 | -3.9597 | -123.5145 | 118.0153 | -3.9597 | -123.5145 | 118.0153

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72459 | 0.72459 | 0.72459 | 0.72504 | 0.72504 | 0.72504 | 8.3668 | 8.3668 | 8.3668 | 8.372 | 8.372 | 8.372 | 12.6857 | 1.2834e-11 | -9.5784e-12 | -10.7431 | 1.9414 | 1.9414 | 3.4257 | -3.5016e-12 | -9.3132e-12 | -2.6871 | 0.77444 | 0.77444 | -22.3233 | -22.3233 | -22.3233 | 157.5244 | 157.5244 | 157.5244 |  | 1.5705 | 0 | 0 | 1.3228 | 0.24966 | 0.24966 | -7.2115 | 0 | 0 | -8.4327 | 179.2722 | 179.2722
Line_1 | 0.36263 | 0.36263 | 0.36263 | 0.36252 | 0.36252 | 0.36252 | 4.1873 | 4.1873 | 4.1873 | 4.186 | 4.186 | 4.186 | -4.8836 | 1.4555 | 1.4555 | 5.3716 | -0.97068 | -0.97068 | -1.1659 | 0.58401 | 0.58401 | 1.3436 | -0.38722 | -0.38722 | 157.3562 | 157.3562 | 157.3562 | -22.4756 | -22.4756 | -22.4756 |  | 1.1991 | 0.37454 | 0.37454 | 1.3228 | 0.24966 | 0.24966 | -9.2162 | 179.2188 | 179.2188 | -8.4327 | 179.2722 | 179.2722
Line_2 | 0.36263 | 0.36263 | 0.36263 | 0.36252 | 0.36252 | 0.36252 | 4.1873 | 4.1873 | 4.1873 | 4.186 | 4.186 | 4.186 | -4.8836 | 1.4555 | 1.4555 | 5.3716 | -0.97068 | -0.97068 | -1.1659 | 0.58401 | 0.58401 | 1.3436 | -0.38722 | -0.38722 | 157.3562 | 157.3562 | 157.3562 | -22.4756 | -22.4756 | -22.4756 |  | 1.1991 | 0.37454 | 0.37454 | 1.3228 | 0.24966 | 0.24966 | -9.2162 | 179.2188 | 179.2188 | -8.4327 | 179.2722 | 179.2722
Line_3 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0012551 | -0.00062755 | -0.00062755 | 0.0012551 | -0.00062755 | -0.00062755 | -0.0052322 | 0.0015592 | 0.0015592 | -0.0052322 | 0.0015592 | 0.0015592 | 67.2948 | 67.2948 | 67.2948 | 67.2948 | 67.2948 | 67.2948 |  | 1.1991 | 0.37454 | 0.37454 | 1.1991 | 0.37454 | 0.37454 | -9.2162 | 179.2188 | 179.2188 | -9.2162 | 179.2188 | 179.2188

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72459 | 0.72459 | 0.72459 | 0.72504 | 0.72504 | 0.72504 | 8.3668 | 8.3668 | 8.3668 | 8.372 | 8.372 | 8.372 | 12.6857 | 1.2834e-11 | -9.5784e-12 | -10.7431 | 1.9414 | 1.9414 | 3.4257 | -3.5016e-12 | -9.3132e-12 | -2.6871 | 0.77444 | 0.77444 | -22.3233 | -22.3233 | -22.3233 | 157.5244 | 157.5244 | 157.5244 |  | 1.5705 | 0 | 0 | 1.3228 | 0.24966 | 0.24966 | -7.2115 | 0 | 0 | -8.4327 | 179.2722 | 179.2722
Line_1 | 0.36263 | 0.36263 | 0.36263 | 0.36252 | 0.36252 | 0.36252 | 4.1873 | 4.1873 | 4.1873 | 4.186 | 4.186 | 4.186 | -4.8836 | 1.4555 | 1.4555 | 5.3716 | -0.97068 | -0.97068 | -1.1659 | 0.58401 | 0.58401 | 1.3436 | -0.38722 | -0.38722 | 157.3562 | 157.3562 | 157.3562 | -22.4756 | -22.4756 | -22.4756 |  | 1.1991 | 0.37454 | 0.37454 | 1.3228 | 0.24966 | 0.24966 | -9.2162 | 179.2188 | 179.2188 | -8.4327 | 179.2722 | 179.2722
Line_2 | 0.36263 | 0.36263 | 0.36263 | 0.36252 | 0.36252 | 0.36252 | 4.1873 | 4.1873 | 4.1873 | 4.186 | 4.186 | 4.186 | -4.8836 | 1.4555 | 1.4555 | 5.3716 | -0.97068 | -0.97068 | -1.1659 | 0.58401 | 0.58401 | 1.3436 | -0.38722 | -0.38722 | 157.3562 | 157.3562 | 157.3562 | -22.4756 | -22.4756 | -22.4756 |  | 1.1991 | 0.37454 | 0.37454 | 1.3228 | 0.24966 | 0.24966 | -9.2162 | 179.2188 | 179.2188 | -8.4327 | 179.2722 | 179.2722
Line_3 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.00038862 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0044874 | 0.0012551 | -0.00062755 | -0.00062755 | 0.0012551 | -0.00062755 | -0.00062755 | -0.0052322 | 0.0015592 | 0.0015592 | -0.0052322 | 0.0015592 | 0.0015592 | 67.2948 | 67.2948 | 67.2948 | 67.2948 | 67.2948 | 67.2948 |  | 1.1991 | 0.37454 | 0.37454 | 1.1991 | 0.37454 | 0.37454 | -9.2162 | 179.2188 | 179.2188 | -9.2162 | 179.2188 | 179.2188

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33431 | 0.33431 | 0.33431 | 0.33452 | 0.33452 | 0.33452 | 3.8603 | 3.8603 | 3.8603 | 3.8627 | 3.8627 | 3.8627 | 4.3769 | 0.38055 | -2.057 | -3.96 | 0.023209 | 2.4764 | 2.4057 | -3.4877 | 1.8112 | -2.254 | 3.6537 | -1.642 | -34.7539 | -34.7539 | -34.7539 | 145.0939 | 145.0939 | 145.0939 |  | 1.2938 | 0.90884 | 0.70999 | 1.1796 | 0.94591 | 0.76923 | -5.9592 | -118.5269 | 103.8816 | -5.2581 | -125.2701 | 111.5463
Line_1 | 0.16731 | 0.16731 | 0.16731 | 0.16726 | 0.16726 | 0.16726 | 1.9319 | 1.9319 | 1.9319 | 1.9314 | 1.9314 | 1.9314 | -1.8739 | 0.10963 | 1.3444 | 1.98 | -0.011604 | -1.2382 | -1.0919 | 1.8687 | -0.77637 | 1.127 | -1.8269 | 0.82101 | 144.9256 | 144.9256 | 144.9256 | -34.9061 | -34.9061 | -34.9061 |  | 1.1226 | 0.96893 | 0.80356 | 1.1796 | 0.94591 | 0.76923 | -4.8457 | -128.432 | 114.9193 | -5.2581 | -125.2701 | 111.5463
Line_2 | 0.16731 | 0.16731 | 0.16731 | 0.16726 | 0.16726 | 0.16726 | 1.9319 | 1.9319 | 1.9319 | 1.9314 | 1.9314 | 1.9314 | -1.8739 | 0.10963 | 1.3444 | 1.98 | -0.011604 | -1.2382 | -1.0919 | 1.8687 | -0.77637 | 1.127 | -1.8269 | 0.82101 | 144.9256 | 144.9256 | 144.9256 | -34.9061 | -34.9061 | -34.9061 |  | 1.1226 | 0.96893 | 0.80356 | 1.1796 | 0.94591 | 0.76923 | -4.8457 | -128.432 | 114.9193 | -5.2581 | -125.2701 | 111.5463
Line_3 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0011723 | -0.0020028 | 0.00083047 | 0.0011723 | -0.0020028 | 0.00083047 | -0.002007 | 0.00011535 | 0.0014416 | -0.002007 | 0.00011535 | 0.0014416 | 54.8642 | 54.8642 | 54.8642 | 54.8642 | 54.8642 | 54.8642 |  | 1.1226 | 0.96893 | 0.80356 | 1.1226 | 0.96893 | 0.80356 | -4.8457 | -128.432 | 114.9193 | -4.8457 | -128.432 | 114.9193

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33431 | 0.33431 | 0.33431 | 0.33452 | 0.33452 | 0.33452 | 3.8603 | 3.8603 | 3.8603 | 3.8627 | 3.8627 | 3.8627 | 4.3769 | 0.38055 | -2.057 | -3.96 | 0.023209 | 2.4764 | 2.4057 | -3.4877 | 1.8112 | -2.254 | 3.6537 | -1.642 | -34.7539 | -34.7539 | -34.7539 | 145.0939 | 145.0939 | 145.0939 |  | 1.2938 | 0.90884 | 0.70999 | 1.1796 | 0.94591 | 0.76923 | -5.9592 | -118.5269 | 103.8816 | -5.2581 | -125.2701 | 111.5463
Line_1 | 0.16731 | 0.16731 | 0.16731 | 0.16726 | 0.16726 | 0.16726 | 1.9319 | 1.9319 | 1.9319 | 1.9314 | 1.9314 | 1.9314 | -1.8739 | 0.10963 | 1.3444 | 1.98 | -0.011604 | -1.2382 | -1.0919 | 1.8687 | -0.77637 | 1.127 | -1.8269 | 0.82101 | 144.9256 | 144.9256 | 144.9256 | -34.9061 | -34.9061 | -34.9061 |  | 1.1226 | 0.96893 | 0.80356 | 1.1796 | 0.94591 | 0.76923 | -4.8457 | -128.432 | 114.9193 | -5.2581 | -125.2701 | 111.5463
Line_2 | 0.16731 | 0.16731 | 0.16731 | 0.16726 | 0.16726 | 0.16726 | 1.9319 | 1.9319 | 1.9319 | 1.9314 | 1.9314 | 1.9314 | -1.8739 | 0.10963 | 1.3444 | 1.98 | -0.011604 | -1.2382 | -1.0919 | 1.8687 | -0.77637 | 1.127 | -1.8269 | 0.82101 | 144.9256 | 144.9256 | 144.9256 | -34.9061 | -34.9061 | -34.9061 |  | 1.1226 | 0.96893 | 0.80356 | 1.1796 | 0.94591 | 0.76923 | -4.8457 | -128.432 | 114.9193 | -5.2581 | -125.2701 | 111.5463
Line_3 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0001793 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0020704 | 0.0011723 | -0.0020028 | 0.00083047 | 0.0011723 | -0.0020028 | 0.00083047 | -0.002007 | 0.00011535 | 0.0014416 | -0.002007 | 0.00011535 | 0.0014416 | 54.8642 | 54.8642 | 54.8642 | 54.8642 | 54.8642 | 54.8642 |  | 1.1226 | 0.96893 | 0.80356 | 1.1226 | 0.96893 | 0.80356 | -4.8457 | -128.432 | 114.9193 | -4.8457 | -128.432 | 114.9193

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42344 | 0.42344 | 0.42344 | 0.42371 | 0.42371 | 0.42371 | 4.8895 | 4.8895 | 4.8895 | 4.8925 | 4.8925 | 4.8925 | 7.0786 | -2.0707e-12 | -3.3512e-12 | -5.8051 | 1.2731 | 1.2731 | 1.1513 | -5.0292e-12 | 4.3242e-12 | -0.91567 | 0.26551 | 0.26551 | -14.2168 | -14.2168 | -14.2168 | 165.5473 | 165.5473 | 165.5473 |  | 1.4667 | 0 | 0 | 1.2012 | 0.26581 | 0.26581 | -4.9786 | 0 | 0 | -5.4889 | 177.328 | 177.328
Line_1 | 0.21192 | 0.21192 | 0.21192 | 0.21185 | 0.21185 | 0.21185 | 2.447 | 2.447 | 2.447 | 2.4463 | 2.4463 | 2.4463 | -2.5832 | 0.95478 | 0.95478 | 2.9025 | -0.63655 | -0.63655 | -0.40226 | 0.20149 | 0.20149 | 0.45784 | -0.13276 | -0.13276 | 165.3373 | 165.3373 | 165.3373 | -14.4527 | -14.4527 | -14.4527 |  | 1.0684 | 0.39878 | 0.39878 | 1.2012 | 0.26581 | 0.26581 | -5.8117 | 177.2537 | 177.2537 | -5.4889 | 177.328 | 177.328
Line_2 | 0.21192 | 0.21192 | 0.21192 | 0.21185 | 0.21185 | 0.21185 | 2.447 | 2.447 | 2.447 | 2.4463 | 2.4463 | 2.4463 | -2.5832 | 0.95478 | 0.95478 | 2.9025 | -0.63655 | -0.63655 | -0.40226 | 0.20149 | 0.20149 | 0.45784 | -0.13276 | -0.13276 | 165.3373 | 165.3373 | 165.3373 | -14.4527 | -14.4527 | -14.4527 |  | 1.0684 | 0.39878 | 0.39878 | 1.2012 | 0.26581 | 0.26581 | -5.8117 | 177.2537 | 177.2537 | -5.4889 | 177.328 | 177.328
Line_3 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.00043405 | -0.00021703 | -0.00021703 | 0.00043405 | -0.00021703 | -0.00021703 | -0.0027679 | 0.001023 | 0.001023 | -0.0027679 | 0.001023 | 0.001023 | 75.2759 | 75.2759 | 75.2759 | 75.2759 | 75.2759 | 75.2759 |  | 1.0684 | 0.39878 | 0.39878 | 1.0684 | 0.39878 | 0.39878 | -5.8117 | 177.2537 | 177.2537 | -5.8117 | 177.2537 | 177.2537

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42344 | 0.42344 | 0.42344 | 0.42371 | 0.42371 | 0.42371 | 4.8895 | 4.8895 | 4.8895 | 4.8925 | 4.8925 | 4.8925 | 7.0786 | -2.0707e-12 | -3.3512e-12 | -5.8051 | 1.2731 | 1.2731 | 1.1513 | -5.0292e-12 | 4.3242e-12 | -0.91567 | 0.26551 | 0.26551 | -14.2168 | -14.2168 | -14.2168 | 165.5473 | 165.5473 | 165.5473 |  | 1.4667 | 0 | 0 | 1.2012 | 0.26581 | 0.26581 | -4.9786 | 0 | 0 | -5.4889 | 177.328 | 177.328
Line_1 | 0.21192 | 0.21192 | 0.21192 | 0.21185 | 0.21185 | 0.21185 | 2.447 | 2.447 | 2.447 | 2.4463 | 2.4463 | 2.4463 | -2.5832 | 0.95478 | 0.95478 | 2.9025 | -0.63655 | -0.63655 | -0.40226 | 0.20149 | 0.20149 | 0.45784 | -0.13276 | -0.13276 | 165.3373 | 165.3373 | 165.3373 | -14.4527 | -14.4527 | -14.4527 |  | 1.0684 | 0.39878 | 0.39878 | 1.2012 | 0.26581 | 0.26581 | -5.8117 | 177.2537 | 177.2537 | -5.4889 | 177.328 | 177.328
Line_2 | 0.21192 | 0.21192 | 0.21192 | 0.21185 | 0.21185 | 0.21185 | 2.447 | 2.447 | 2.447 | 2.4463 | 2.4463 | 2.4463 | -2.5832 | 0.95478 | 0.95478 | 2.9025 | -0.63655 | -0.63655 | -0.40226 | 0.20149 | 0.20149 | 0.45784 | -0.13276 | -0.13276 | 165.3373 | 165.3373 | 165.3373 | -14.4527 | -14.4527 | -14.4527 |  | 1.0684 | 0.39878 | 0.39878 | 1.2012 | 0.26581 | 0.26581 | -5.8117 | 177.2537 | 177.2537 | -5.4889 | 177.328 | 177.328
Line_3 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.00022711 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.0026224 | 0.00043405 | -0.00021703 | -0.00021703 | 0.00043405 | -0.00021703 | -0.00021703 | -0.0027679 | 0.001023 | 0.001023 | -0.0027679 | 0.001023 | 0.001023 | 75.2759 | 75.2759 | 75.2759 | 75.2759 | 75.2759 | 75.2759 |  | 1.0684 | 0.39878 | 0.39878 | 1.0684 | 0.39878 | 0.39878 | -5.8117 | 177.2537 | 177.2537 | -5.8117 | 177.2537 | 177.2537

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24688 | 0.24688 | 0.24688 | 0.24703 | 0.24703 | 0.24703 | 2.8508 | 2.8508 | 2.8508 | 2.8525 | 2.8525 | 2.8525 | 3.3205 | 0.11696 | -1.0312 | -2.8844 | 0.30622 | 1.4704 | 1.3056 | -2.3078 | 1.3935 | -1.2299 | 2.399 | -1.2999 | -27.639 | -27.639 | -27.639 | 152.1252 | 152.1252 | 152.1252 |  | 1.2516 | 0.81058 | 0.60812 | 1.0993 | 0.84783 | 0.68801 | -6.174 | -114.7377 | 98.8628 | -4.7822 | -125.1492 | 110.6467
Line_1 | 0.12356 | 0.12356 | 0.12356 | 0.12352 | 0.12352 | 0.12352 | 1.4267 | 1.4267 | 1.4267 | 1.4263 | 1.4263 | 1.4263 | -1.3321 | 0.25704 | 0.84606 | 1.4422 | -0.15311 | -0.73518 | -0.59784 | 1.223 | -0.62488 | 0.61493 | -1.1995 | 0.64994 | 151.9152 | 151.9152 | 151.9152 | -27.8748 | -27.8748 | -27.8748 |  | 1.0234 | 0.87593 | 0.73723 | 1.0993 | 0.84783 | 0.68801 | -3.9143 | -129.9543 | 115.4665 | -4.7822 | -125.1492 | 110.6467
Line_2 | 0.12356 | 0.12356 | 0.12356 | 0.12352 | 0.12352 | 0.12352 | 1.4267 | 1.4267 | 1.4267 | 1.4263 | 1.4263 | 1.4263 | -1.3321 | 0.25704 | 0.84606 | 1.4422 | -0.15311 | -0.73518 | -0.59784 | 1.223 | -0.62488 | 0.61493 | -1.1995 | 0.64994 | 151.9152 | 151.9152 | 151.9152 | -27.8748 | -27.8748 | -27.8748 |  | 1.0234 | 0.87593 | 0.73723 | 1.0993 | 0.84783 | 0.68801 | -3.9143 | -129.9543 | 115.4665 | -4.7822 | -125.1492 | 110.6467
Line_3 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.00064222 | -0.0013109 | 0.0006687 | 0.00064222 | -0.0013109 | 0.0006687 | -0.0014269 | 0.00027406 | 0.00090742 | -0.0014269 | 0.00027406 | 0.00090742 | 61.8538 | 61.8538 | 61.8538 | 61.8538 | 61.8538 | 61.8538 |  | 1.0234 | 0.87593 | 0.73723 | 1.0234 | 0.87593 | 0.73723 | -3.9143 | -129.9543 | 115.4665 | -3.9143 | -129.9543 | 115.4665

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24688 | 0.24688 | 0.24688 | 0.24703 | 0.24703 | 0.24703 | 2.8508 | 2.8508 | 2.8508 | 2.8525 | 2.8525 | 2.8525 | 3.3205 | 0.11696 | -1.0312 | -2.8844 | 0.30622 | 1.4704 | 1.3056 | -2.3078 | 1.3935 | -1.2299 | 2.399 | -1.2999 | -27.639 | -27.639 | -27.639 | 152.1252 | 152.1252 | 152.1252 |  | 1.2516 | 0.81058 | 0.60812 | 1.0993 | 0.84783 | 0.68801 | -6.174 | -114.7377 | 98.8628 | -4.7822 | -125.1492 | 110.6467
Line_1 | 0.12356 | 0.12356 | 0.12356 | 0.12352 | 0.12352 | 0.12352 | 1.4267 | 1.4267 | 1.4267 | 1.4263 | 1.4263 | 1.4263 | -1.3321 | 0.25704 | 0.84606 | 1.4422 | -0.15311 | -0.73518 | -0.59784 | 1.223 | -0.62488 | 0.61493 | -1.1995 | 0.64994 | 151.9152 | 151.9152 | 151.9152 | -27.8748 | -27.8748 | -27.8748 |  | 1.0234 | 0.87593 | 0.73723 | 1.0993 | 0.84783 | 0.68801 | -3.9143 | -129.9543 | 115.4665 | -4.7822 | -125.1492 | 110.6467
Line_2 | 0.12356 | 0.12356 | 0.12356 | 0.12352 | 0.12352 | 0.12352 | 1.4267 | 1.4267 | 1.4267 | 1.4263 | 1.4263 | 1.4263 | -1.3321 | 0.25704 | 0.84606 | 1.4422 | -0.15311 | -0.73518 | -0.59784 | 1.223 | -0.62488 | 0.61493 | -1.1995 | 0.64994 | 151.9152 | 151.9152 | 151.9152 | -27.8748 | -27.8748 | -27.8748 |  | 1.0234 | 0.87593 | 0.73723 | 1.0993 | 0.84783 | 0.68801 | -3.9143 | -129.9543 | 115.4665 | -4.7822 | -125.1492 | 110.6467
Line_3 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.00013241 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.001529 | 0.00064222 | -0.0013109 | 0.0006687 | 0.00064222 | -0.0013109 | 0.0006687 | -0.0014269 | 0.00027406 | 0.00090742 | -0.0014269 | 0.00027406 | 0.00090742 | 61.8538 | 61.8538 | 61.8538 | 61.8538 | 61.8538 | 61.8538 |  | 1.0234 | 0.87593 | 0.73723 | 1.0234 | 0.87593 | 0.73723 | -3.9143 | -129.9543 | 115.4665 | -3.9143 | -129.9543 | 115.4665