## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.2778 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6021e-19 | 0 | -1.2515e-19 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3097 | 1.3097 | 0 | 2.8371 | 45.3689 | 45.3689 | 28.405 | -25.7292 | 28.7652 | -25.7292 | -54.5297 | 125.4703 | 0.89106 | 0.80202 | -9.1687 | -9.5297
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.495e-09 | 0 | 1.6067e-09 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.80202 | 0.80202 | -9.5297 | -9.5297

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8381 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.731e-20 | 0 | 6.3235e-20 | 0 | 0 | 0 | 0 | 0 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1462 | 1.1462 | 0 | 2.1763 | 39.7072 | 39.7072 | 23.6436 | -19.7082 | 22.0338 | -19.7082 | -52.6343 | 127.3657 | 0.81393 | 0.70193 | -9.6527 | -7.6343
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.233e-09 | 0 | 1.0258e-09 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.70193 | 0.70193 | -7.6343 | -7.6343

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 5.2106e-14 | -23.0225 | 23.0225 | -4.6896e-14 | 3.131 | 13.1032 | 4.6896e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.3094e-13 | -161.8563 | 152.6723 | 9.3505e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1581e-28 | -2.8659e-14 | 4.6896e-14 | -1.0421e-14 | 3.3869e-14 | -4.1685e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1443e-13 | -180 | 180 | 9.3505e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8159e-15 | 2.6053e-14 | -1.5632e-14 | 1.3027e-14 | -2.0843e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1686e-13 | -180 | 180 | 9.3505e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 1.8237e-14 | -1.5632e-14 | -8.3161e-29 | 1.3027e-14 | -1.0421e-14 | -8.3382e-29 | -1.8237e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1443e-13 | -180 | 180 | 9.1686e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.7092 | 3.7092 | 0 | 3.7092 | 3.7092 | 0 | 42.8296 | 42.8296 | 0 | 42.8296 | 42.8296 | -6.2528e-14 | 30.1766 | -15.8685 | 5.2106e-14 | -23.0225 | 23.0225 | -4.6896e-14 | 3.131 | 13.1032 | 4.6896e-14 | 4.9861 | -4.9861 | 0 | -167.7798 | 12.2202 | 0 | 12.2202 | -167.7798 | 1.1 | 0.70836 | 0.48049 | 1.1 | 0.55 | 0.55 | 9.3094e-13 | -161.8563 | 152.6723 | 9.3505e-13 | 180 | -180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1581e-28 | -2.8659e-14 | 4.6896e-14 | -1.0421e-14 | 3.3869e-14 | -4.1685e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1443e-13 | -180 | 180 | 9.3505e-13 | 180 | -180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2106e-15 | -7.8159e-15 | 2.6053e-14 | -1.5632e-14 | 1.3027e-14 | -2.0843e-14 | 2.6053e-14 | -1.9211e-09 | 1.9211e-09 | -2.6053e-14 | 1.9211e-09 | -1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1686e-13 | -180 | 180 | 9.3505e-13 | 180 | -180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -1.5632e-14 | 2.0843e-14 | -5.2106e-15 | 1.8237e-14 | -1.5632e-14 | -8.3161e-29 | 1.3027e-14 | -1.0421e-14 | -8.3382e-29 | -1.8237e-14 | 5.2106e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 9.1443e-13 | -180 | 180 | 9.1686e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -4.1685e-14 | 19.0761 | -0.30087 | 3.3869e-14 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.0843e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.2879e-13 | -138.0936 | 121.2196 | 4.3111e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | 1.3027e-14 | -1.3544e-09 | 3.8386e-10 | -1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2163e-13 | -142.8673 | 128.239 | 4.3111e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1528e-28 | 4.7341e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 1.5632e-14 | -1.3544e-09 | 3.8388e-10 | -1.5632e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2254e-13 | -142.8673 | 128.239 | 4.3111e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -2.471e-15 | -5.9897e-15 | -2.6053e-15 | 1.2704e-14 | -3.8945e-15 | -2.6053e-15 | 3.2634e-15 | -1.2731e-14 | 2.6053e-15 | -3.2165e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2163e-13 | -142.8673 | 128.239 | 4.2254e-13 | -142.8673 | 128.239

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7631 | 1.7631 | 0 | 1.7631 | 1.7631 | 0 | 20.3584 | 20.3584 | 0 | 20.3584 | 20.3584 | -4.1685e-14 | 19.0761 | -0.30087 | 3.3869e-14 | -17.4596 | 1.9173 | -2.3448e-14 | 3.9919 | 15.2185 | 2.0843e-14 | -2.1579 | -13.3845 | 0 | -149.913 | 30.087 | 0 | 30.087 | -149.913 | 1.1 | 0.95731 | 0.74767 | 1.1 | 0.86414 | 0.66415 | 4.2879e-13 | -138.0936 | 121.2196 | 4.3111e-13 | -142.8673 | 128.239
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | 4.7339e-10 | 1.0337e-09 | -5.2106e-15 | -4.7338e-10 | -1.0337e-09 | 1.3027e-14 | -1.3544e-09 | 3.8386e-10 | -1.3027e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2163e-13 | -142.8673 | 128.239 | 4.3111e-13 | -142.8673 | 128.239
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1528e-28 | 4.7341e-10 | 1.0337e-09 | -7.816e-15 | -4.7339e-10 | -1.0337e-09 | 1.5632e-14 | -1.3544e-09 | 3.8388e-10 | -1.5632e-14 | 1.3544e-09 | -3.8387e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2254e-13 | -142.8673 | 128.239 | 4.3111e-13 | -142.8673 | 128.239
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -2.471e-15 | -5.9897e-15 | -2.6053e-15 | 1.2704e-14 | -3.8945e-15 | -2.6053e-15 | 3.2634e-15 | -1.2731e-14 | 2.6053e-15 | -3.2165e-15 | 4.9421e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.86414 | 0.66415 | 1.1 | 0.86414 | 0.66415 | 4.2163e-13 | -142.8673 | 128.239 | 4.2254e-13 | -142.8673 | 128.239

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.9864e-13 | -160.7833 | 141.207 | 9.1522e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1841e-15 | 9.474e-15 | 1.6579e-14 | 2.3685e-15 | -9.4739e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.1037e-13 | -180 | 180 | 9.1522e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -1.1841e-15 | 9.474e-15 | 2.3685e-14 | 7.1054e-15 | -9.4739e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2765e-13 | -180 | 180 | 9.1522e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9212e-15 | -7.1054e-15 | -7.1054e-15 | -3.5527e-15 | 7.1054e-15 | 3.7633e-29 | -1.4211e-14 | 1.4211e-14 | -9.4739e-15 | 1.6579e-14 | -1.8948e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.1037e-13 | -180 | 180 | 9.2765e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.1191 | 3.1191 | 0 | 3.1191 | 3.1191 | 0 | 36.0161 | 36.0161 | 0 | 36.0161 | 36.0161 | 2.1316e-14 | 26.5997 | -7.1734 | -2.1316e-14 | -16.8865 | 16.8865 | 1.8948e-14 | -0.51586 | 11.9957 | -1.4211e-14 | 6.2558 | -6.2558 | 0 | -159.6723 | 20.3277 | 0 | 20.3277 | -159.6723 | 1 | 0.73869 | 0.38808 | 1 | 0.5 | 0.5 | 8.9864e-13 | -160.7833 | 141.207 | 9.1522e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1841e-15 | 9.474e-15 | 1.6579e-14 | 2.3685e-15 | -9.4739e-15 | -9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.1037e-13 | -180 | 180 | 9.1522e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-14 | -1.1841e-15 | 9.474e-15 | 2.3685e-14 | 7.1054e-15 | -9.4739e-15 | -1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 9.4739e-15 | 1.5877e-09 | -1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.2765e-13 | -180 | 180 | 9.1522e-13 | -180 | 180
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 5.9212e-15 | -7.1054e-15 | -7.1054e-15 | -3.5527e-15 | 7.1054e-15 | 3.7633e-29 | -1.4211e-14 | 1.4211e-14 | -9.4739e-15 | 1.6579e-14 | -1.8948e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 9.1037e-13 | -180 | 180 | 9.2765e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -7.1054e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.4383e-13 | -138.1765 | 119.7467 | 4.5083e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2617e-10 | 9.4739e-15 | -4.7979e-10 | -8.2617e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.4544e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4773e-13 | -142.5584 | 131.6989 | 4.5083e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 4.798e-10 | 8.2616e-10 | 1.125e-14 | -4.7979e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5665e-13 | -142.5584 | 131.6989 | 4.5083e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5642e-15 | 2.4013e-15 | -2.3685e-15 | 1.0781e-15 | -3.8321e-15 | 4.737e-15 | -1.7378e-15 | -2.6952e-15 | -2.3685e-15 | -1.408e-15 | -4.3811e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4773e-13 | -142.5584 | 131.6989 | 4.5665e-13 | -142.5584 | 131.6989

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.5183 | 1.5183 | 0 | 1.5183 | 1.5183 | 0 | 17.5318 | 17.5318 | 0 | 17.5318 | 17.5318 | 5.3291e-15 | 15.3932 | 0.73601 | -7.1054e-15 | -13.0917 | 1.5655 | 2.3685e-15 | 2.3135 | 11.9328 | -2.3685e-15 | -0.95344 | -10.5727 | 0 | -146.7238 | 33.2762 | 0 | 33.2762 | -146.7238 | 1 | 0.88788 | 0.68193 | 1 | 0.74872 | 0.60963 | 4.4383e-13 | -138.1765 | 119.7467 | 4.5083e-13 | -142.5584 | 131.6989
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0658e-14 | 4.798e-10 | 8.2617e-10 | 9.4739e-15 | -4.7979e-10 | -8.2617e-10 | 2.3685e-15 | -1.0532e-09 | 4.5325e-10 | 7.4544e-29 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4773e-13 | -142.5584 | 131.6989 | 4.5083e-13 | -142.5584 | 131.6989
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2434e-14 | 4.798e-10 | 8.2616e-10 | 1.125e-14 | -4.7979e-10 | -8.2616e-10 | -2.3685e-15 | -1.0532e-09 | 4.5326e-10 | 2.3685e-15 | 1.0532e-09 | -4.5326e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.5665e-13 | -142.5584 | 131.6989 | 4.5083e-13 | -142.5584 | 131.6989
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3685e-15 | 3.5642e-15 | 2.4013e-15 | -2.3685e-15 | 1.0781e-15 | -3.8321e-15 | 4.737e-15 | -1.7378e-15 | -2.6952e-15 | -2.3685e-15 | -1.408e-15 | -4.3811e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.74872 | 0.60963 | 1 | 0.74872 | 0.60963 | 4.4773e-13 | -142.5584 | 131.6989 | 4.5665e-13 | -142.5584 | 131.6989

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6561 | 1.328 | 1.328 | 2.6542 | 1.3299 | 1.3299 | 30.6699 | 15.3349 | 15.3349 | 30.6486 | 15.3563 | 15.3563 | 3.6574 | -7.9753 | 19.6505 | 2.6722e-10 | 8.921 | -18.7508 | 4.1639 | 14.3837 | 4.8732 | -1.9647e-10 | -13.3554 | -3.8537 | -71.0034 | 108.9966 | 108.9966 | 109.0195 | -71.049 | -71.049 |  | 0.1807 | 1.0725 | 1.3202 | 0 | 1.0459 | 1.2466 | -22.2977 | -131.9965 | 122.9246 | 0 | -127.3073 | 120.5647
Line_1 | 0.66659 | 0.66659 | 0.66659 | 0.66495 | 0.66495 | 0.66495 | 7.6971 | 7.6971 | 7.6971 | 7.6781 | 7.6781 | 7.6781 | 1.6401 | 6.1169 | -7.7569 | 6.7004e-11 | -4.4605 | 9.3754 | 0.65248 | -6.0381 | -1.2866 | -4.9139e-11 | 6.6777 | 1.9268 | -71.0944 | -71.0944 | -71.0944 | 108.951 | 108.951 | 108.951 |  | 0.22932 | 1.1167 | 1.0215 | 0 | 1.0459 | 1.2466 | -49.4 | -115.7233 | 118.3229 | 0 | -127.3073 | 120.5647
Line_2 | 0.66659 | 0.66659 | 0.66659 | 0.66495 | 0.66495 | 0.66495 | 7.6971 | 7.6971 | 7.6971 | 7.6781 | 7.6781 | 7.6781 | 1.6401 | 6.1169 | -7.7569 | 6.7004e-11 | -4.4605 | 9.3754 | 0.65248 | -6.0381 | -1.2866 | -4.9139e-11 | 6.6777 | 1.9268 | -71.0944 | -71.0944 | -71.0944 | 108.951 | 108.951 | 108.951 |  | 0.22932 | 1.1167 | 1.0215 | 0 | 1.0459 | 1.2466 | -49.4 | -115.7233 | 118.3229 | 0 | -127.3073 | 120.5647
Line_3 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0017595 | 0.0065623 | -0.0083218 | 0.0017595 | 0.0065623 | -0.0083218 | 0.00069999 | -0.0064779 | -0.0013803 | 0.00069999 | -0.0064779 | -0.0013803 | -71.0944 | -71.0944 | -71.0944 | -71.0944 | -71.0944 | -71.0944 |  | 0.22932 | 1.1167 | 1.0215 | 0.22932 | 1.1167 | 1.0215 | -49.4 | -115.7233 | 118.3229 | -49.4 | -115.7233 | 118.3229

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.6561 | 1.328 | 1.328 | 2.6542 | 1.3299 | 1.3299 | 30.6699 | 15.3349 | 15.3349 | 30.6486 | 15.3563 | 15.3563 | 3.6574 | -7.9753 | 19.6505 | 2.6722e-10 | 8.921 | -18.7508 | 4.1639 | 14.3837 | 4.8732 | -1.9647e-10 | -13.3554 | -3.8537 | -71.0034 | 108.9966 | 108.9966 | 109.0195 | -71.049 | -71.049 |  | 0.1807 | 1.0725 | 1.3202 | 0 | 1.0459 | 1.2466 | -22.2977 | -131.9965 | 122.9246 | 0 | -127.3073 | 120.5647
Line_1 | 0.66659 | 0.66659 | 0.66659 | 0.66495 | 0.66495 | 0.66495 | 7.6971 | 7.6971 | 7.6971 | 7.6781 | 7.6781 | 7.6781 | 1.6401 | 6.1169 | -7.7569 | 6.7004e-11 | -4.4605 | 9.3754 | 0.65248 | -6.0381 | -1.2866 | -4.9139e-11 | 6.6777 | 1.9268 | -71.0944 | -71.0944 | -71.0944 | 108.951 | 108.951 | 108.951 |  | 0.22932 | 1.1167 | 1.0215 | 0 | 1.0459 | 1.2466 | -49.4 | -115.7233 | 118.3229 | 0 | -127.3073 | 120.5647
Line_2 | 0.66659 | 0.66659 | 0.66659 | 0.66495 | 0.66495 | 0.66495 | 7.6971 | 7.6971 | 7.6971 | 7.6781 | 7.6781 | 7.6781 | 1.6401 | 6.1169 | -7.7569 | 6.7004e-11 | -4.4605 | 9.3754 | 0.65248 | -6.0381 | -1.2866 | -4.9139e-11 | 6.6777 | 1.9268 | -71.0944 | -71.0944 | -71.0944 | 108.951 | 108.951 | 108.951 |  | 0.22932 | 1.1167 | 1.0215 | 0 | 1.0459 | 1.2466 | -49.4 | -115.7233 | 118.3229 | 0 | -127.3073 | 120.5647
Line_3 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.00071513 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0082576 | 0.0017595 | 0.0065623 | -0.0083218 | 0.0017595 | 0.0065623 | -0.0083218 | 0.00069999 | -0.0064779 | -0.0013803 | 0.00069999 | -0.0064779 | -0.0013803 | -71.0944 | -71.0944 | -71.0944 | -71.0944 | -71.0944 | -71.0944 |  | 0.22932 | 1.1167 | 1.0215 | 0.22932 | 1.1167 | 1.0215 | -49.4 | -115.7233 | 118.3229 | -49.4 | -115.7233 | 118.3229

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84389 | 0.42195 | 0.42195 | 0.8433 | 0.42253 | 0.42253 | 9.7444 | 4.8722 | 4.8722 | 9.7376 | 4.879 | 4.879 | 5.7103 | -1.7826 | 5.6317 | -5.3396 | 1.8823 | -5.5467 | 5.7615 | 5.1 | -0.48557 | -5.3353 | -5.0005 | 0.58694 | -53.0071 | 126.9929 | 126.9929 | 127.0157 | -53.0527 | -53.0527 |  | 0.83246 | 1.1089 | 1.1602 | 0.77516 | 1.0951 | 1.1432 | -7.7517 | -123.7416 | 122.065 | -8.0071 | -122.4254 | 120.9069
Line_1 | 0.21179 | 0.21179 | 0.21179 | 0.21127 | 0.21127 | 0.21127 | 2.4455 | 2.4455 | 2.4455 | 2.4395 | 2.4395 | 2.4395 | 1.5039 | 1.111 | -2.6149 | -1.3361 | -0.94115 | 2.7734 | 1.4084 | -2.4398 | 0.35785 | -1.3382 | 2.5003 | -0.29347 | -53.0981 | -53.0981 | -53.0981 | 126.9473 | 126.9473 | 126.9473 |  | 0.84253 | 1.0962 | 1.0792 | 0.77516 | 1.0951 | 1.1432 | -9.975 | -118.6152 | 119.1092 | -8.0071 | -122.4254 | 120.9069
Line_2 | 0.21179 | 0.21179 | 0.21179 | 0.21127 | 0.21127 | 0.21127 | 2.4455 | 2.4455 | 2.4455 | 2.4395 | 2.4395 | 2.4395 | 1.5039 | 1.111 | -2.6149 | -1.3361 | -0.94115 | 2.7734 | 1.4084 | -2.4398 | 0.35785 | -1.3382 | 2.5003 | -0.29347 | -53.0981 | -53.0981 | -53.0981 | 126.9473 | 126.9473 | 126.9473 |  | 0.84253 | 1.0962 | 1.0792 | 0.77516 | 1.0951 | 1.1432 | -9.975 | -118.6152 | 119.1092 | -8.0071 | -122.4254 | 120.9069
Line_3 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0016134 | 0.0011919 | -0.0028053 | 0.0016134 | 0.0011919 | -0.0028053 | 0.001511 | -0.0026175 | 0.00038391 | 0.001511 | -0.0026175 | 0.00038391 | -53.0981 | -53.0981 | -53.0981 | -53.0981 | -53.0981 | -53.0981 |  | 0.84253 | 1.0962 | 1.0792 | 0.84253 | 1.0962 | 1.0792 | -9.975 | -118.6152 | 119.1092 | -9.975 | -118.6152 | 119.1092

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.84389 | 0.42195 | 0.42195 | 0.8433 | 0.42253 | 0.42253 | 9.7444 | 4.8722 | 4.8722 | 9.7376 | 4.879 | 4.879 | 5.7103 | -1.7826 | 5.6317 | -5.3396 | 1.8823 | -5.5467 | 5.7615 | 5.1 | -0.48557 | -5.3353 | -5.0005 | 0.58694 | -53.0071 | 126.9929 | 126.9929 | 127.0157 | -53.0527 | -53.0527 |  | 0.83246 | 1.1089 | 1.1602 | 0.77516 | 1.0951 | 1.1432 | -7.7517 | -123.7416 | 122.065 | -8.0071 | -122.4254 | 120.9069
Line_1 | 0.21179 | 0.21179 | 0.21179 | 0.21127 | 0.21127 | 0.21127 | 2.4455 | 2.4455 | 2.4455 | 2.4395 | 2.4395 | 2.4395 | 1.5039 | 1.111 | -2.6149 | -1.3361 | -0.94115 | 2.7734 | 1.4084 | -2.4398 | 0.35785 | -1.3382 | 2.5003 | -0.29347 | -53.0981 | -53.0981 | -53.0981 | 126.9473 | 126.9473 | 126.9473 |  | 0.84253 | 1.0962 | 1.0792 | 0.77516 | 1.0951 | 1.1432 | -9.975 | -118.6152 | 119.1092 | -8.0071 | -122.4254 | 120.9069
Line_2 | 0.21179 | 0.21179 | 0.21179 | 0.21127 | 0.21127 | 0.21127 | 2.4455 | 2.4455 | 2.4455 | 2.4395 | 2.4395 | 2.4395 | 1.5039 | 1.111 | -2.6149 | -1.3361 | -0.94115 | 2.7734 | 1.4084 | -2.4398 | 0.35785 | -1.3382 | 2.5003 | -0.29347 | -53.0981 | -53.0981 | -53.0981 | 126.9473 | 126.9473 | 126.9473 |  | 0.84253 | 1.0962 | 1.0792 | 0.77516 | 1.0951 | 1.1432 | -9.975 | -118.6152 | 119.1092 | -8.0071 | -122.4254 | 120.9069
Line_3 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.00022721 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0026236 | 0.0016134 | 0.0011919 | -0.0028053 | 0.0016134 | 0.0011919 | -0.0028053 | 0.001511 | -0.0026175 | 0.00038391 | 0.001511 | -0.0026175 | 0.00038391 | -53.0981 | -53.0981 | -53.0981 | -53.0981 | -53.0981 | -53.0981 |  | 0.84253 | 1.0962 | 1.0792 | 0.84253 | 1.0962 | 1.0792 | -9.975 | -118.6152 | 119.1092 | -9.975 | -118.6152 | 119.1092

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1156 | 1.0578 | 1.0578 | 2.1141 | 1.0593 | 1.0593 | 24.4286 | 12.2143 | 12.2143 | 24.4117 | 12.2313 | 12.2313 | 4.455 | -1.854 | 16.0752 | -1.0654e-10 | 2.999 | -14.9724 | 2.6505 | 11.7056 | 0.47577 | -1.9742e-11 | -11.0611 | 0.15683 | -57.9394 | 122.0606 | 122.0606 | 122.1044 | -58.027 | -58.027 |  | 0.2122 | 0.9703 | 1.3167 | 0 | 0.93698 | 1.2242 | -27.1886 | -138.9392 | 123.7558 | 0 | -132.8573 | 121.3729
Line_1 | 0.53094 | 0.53094 | 0.53094 | 0.52963 | 0.52963 | 0.52963 | 6.1307 | 6.1307 | 6.1307 | 6.1156 | 6.1156 | 6.1156 | 1.9977 | 3.5093 | -5.507 | -2.668e-11 | -1.4995 | 7.4862 | 0.41394 | -5.128 | 0.48112 | -5.007e-12 | 5.5306 | -0.078413 | -58.1142 | -58.1142 | -58.1142 | 121.973 | 121.973 | 121.973 |  | 0.33277 | 1.0136 | 0.90169 | 0 | 0.93698 | 1.2242 | -46.4079 | -113.7284 | 116.8929 | 0 | -132.8573 | 121.3729
Line_2 | 0.53094 | 0.53094 | 0.53094 | 0.52963 | 0.52963 | 0.52963 | 6.1307 | 6.1307 | 6.1307 | 6.1156 | 6.1156 | 6.1156 | 1.9977 | 3.5093 | -5.507 | -2.668e-11 | -1.4995 | 7.4862 | 0.41394 | -5.128 | 0.48112 | -5.007e-12 | 5.5306 | -0.078413 | -58.1142 | -58.1142 | -58.1142 | 121.973 | 121.973 | 121.973 |  | 0.33277 | 1.0136 | 0.90169 | 0 | 0.93698 | 1.2242 | -46.4079 | -113.7284 | 116.8929 | 0 | -132.8573 | 121.3729
Line_3 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0021432 | 0.0037649 | -0.0059081 | 0.0021432 | 0.0037649 | -0.0059081 | 0.00044408 | -0.0055014 | 0.00051615 | 0.00044408 | -0.0055014 | 0.00051615 | -58.1142 | -58.1142 | -58.1142 | -58.1142 | -58.1142 | -58.1142 |  | 0.33277 | 1.0136 | 0.90169 | 0.33277 | 1.0136 | 0.90169 | -46.4079 | -113.7284 | 116.8929 | -46.4079 | -113.7284 | 116.8929

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1156 | 1.0578 | 1.0578 | 2.1141 | 1.0593 | 1.0593 | 24.4286 | 12.2143 | 12.2143 | 24.4117 | 12.2313 | 12.2313 | 4.455 | -1.854 | 16.0752 | -1.0654e-10 | 2.999 | -14.9724 | 2.6505 | 11.7056 | 0.47577 | -1.9742e-11 | -11.0611 | 0.15683 | -57.9394 | 122.0606 | 122.0606 | 122.1044 | -58.027 | -58.027 |  | 0.2122 | 0.9703 | 1.3167 | 0 | 0.93698 | 1.2242 | -27.1886 | -138.9392 | 123.7558 | 0 | -132.8573 | 121.3729
Line_1 | 0.53094 | 0.53094 | 0.53094 | 0.52963 | 0.52963 | 0.52963 | 6.1307 | 6.1307 | 6.1307 | 6.1156 | 6.1156 | 6.1156 | 1.9977 | 3.5093 | -5.507 | -2.668e-11 | -1.4995 | 7.4862 | 0.41394 | -5.128 | 0.48112 | -5.007e-12 | 5.5306 | -0.078413 | -58.1142 | -58.1142 | -58.1142 | 121.973 | 121.973 | 121.973 |  | 0.33277 | 1.0136 | 0.90169 | 0 | 0.93698 | 1.2242 | -46.4079 | -113.7284 | 116.8929 | 0 | -132.8573 | 121.3729
Line_2 | 0.53094 | 0.53094 | 0.53094 | 0.52963 | 0.52963 | 0.52963 | 6.1307 | 6.1307 | 6.1307 | 6.1156 | 6.1156 | 6.1156 | 1.9977 | 3.5093 | -5.507 | -2.668e-11 | -1.4995 | 7.4862 | 0.41394 | -5.128 | 0.48112 | -5.007e-12 | 5.5306 | -0.078413 | -58.1142 | -58.1142 | -58.1142 | 121.973 | 121.973 | 121.973 |  | 0.33277 | 1.0136 | 0.90169 | 0 | 0.93698 | 1.2242 | -46.4079 | -113.7284 | 116.8929 | 0 | -132.8573 | 121.3729
Line_3 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0005696 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0065772 | 0.0021432 | 0.0037649 | -0.0059081 | 0.0021432 | 0.0037649 | -0.0059081 | 0.00044408 | -0.0055014 | 0.00051615 | 0.00044408 | -0.0055014 | 0.00051615 | -58.1142 | -58.1142 | -58.1142 | -58.1142 | -58.1142 | -58.1142 |  | 0.33277 | 1.0136 | 0.90169 | 0.33277 | 1.0136 | 0.90169 | -46.4079 | -113.7284 | 116.8929 | -46.4079 | -113.7284 | 116.8929

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72291 | 0.36146 | 0.36146 | 0.72241 | 0.36196 | 0.36196 | 8.3475 | 4.1737 | 4.1737 | 8.3417 | 4.1795 | 4.1795 | 4.4397 | -0.93381 | 4.5541 | -3.9198 | 1.0726 | -4.4301 | 4.229 | 4.0439 | -0.66177 | -3.9138 | -3.9712 | 0.73253 | -49.3883 | 130.6117 | 130.6117 | 130.6556 | -49.4759 | -49.4759 |  | 0.73453 | 0.99438 | 1.1026 | 0.66404 | 0.98421 | 1.0744 | -5.7807 | -126.3856 | 122.3438 | -4.3883 | -124.3616 | 121.1351
Line_1 | 0.18143 | 0.18143 | 0.18143 | 0.18098 | 0.18098 | 0.18098 | 2.0949 | 2.0949 | 2.0949 | 2.0898 | 2.0898 | 2.0898 | 1.2139 | 0.77391 | -1.9878 | -0.97974 | -0.53629 | 2.2151 | 1.035 | -1.9414 | 0.41212 | -0.98274 | 1.9856 | -0.36627 | -49.5631 | -49.5631 | -49.5631 | 130.5241 | 130.5241 | 130.5241 |  | 0.76148 | 0.99762 | 0.96906 | 0.66404 | 0.98421 | 1.0744 | -9.1121 | -117.8288 | 118.7241 | -4.3883 | -124.3616 | 121.1351
Line_2 | 0.18143 | 0.18143 | 0.18143 | 0.18098 | 0.18098 | 0.18098 | 2.0949 | 2.0949 | 2.0949 | 2.0898 | 2.0898 | 2.0898 | 1.2139 | 0.77391 | -1.9878 | -0.97974 | -0.53629 | 2.2151 | 1.035 | -1.9414 | 0.41212 | -0.98274 | 1.9856 | -0.36627 | -49.5631 | -49.5631 | -49.5631 | 130.5241 | 130.5241 | 130.5241 |  | 0.76148 | 0.99762 | 0.96906 | 0.66404 | 0.98421 | 1.0744 | -9.1121 | -117.8288 | 118.7241 | -4.3883 | -124.3616 | 121.1351
Line_3 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0013023 | 0.00083027 | -0.0021326 | 0.0013023 | 0.00083027 | -0.0021326 | 0.0011104 | -0.0020827 | 0.00044213 | 0.0011104 | -0.0020827 | 0.00044213 | -49.5631 | -49.5631 | -49.5631 | -49.5631 | -49.5631 | -49.5631 |  | 0.76148 | 0.99762 | 0.96906 | 0.76148 | 0.99762 | 0.96906 | -9.1121 | -117.8288 | 118.7241 | -9.1121 | -117.8288 | 118.7241

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72291 | 0.36146 | 0.36146 | 0.72241 | 0.36196 | 0.36196 | 8.3475 | 4.1737 | 4.1737 | 8.3417 | 4.1795 | 4.1795 | 4.4397 | -0.93381 | 4.5541 | -3.9198 | 1.0726 | -4.4301 | 4.229 | 4.0439 | -0.66177 | -3.9138 | -3.9712 | 0.73253 | -49.3883 | 130.6117 | 130.6117 | 130.6556 | -49.4759 | -49.4759 |  | 0.73453 | 0.99438 | 1.1026 | 0.66404 | 0.98421 | 1.0744 | -5.7807 | -126.3856 | 122.3438 | -4.3883 | -124.3616 | 121.1351
Line_1 | 0.18143 | 0.18143 | 0.18143 | 0.18098 | 0.18098 | 0.18098 | 2.0949 | 2.0949 | 2.0949 | 2.0898 | 2.0898 | 2.0898 | 1.2139 | 0.77391 | -1.9878 | -0.97974 | -0.53629 | 2.2151 | 1.035 | -1.9414 | 0.41212 | -0.98274 | 1.9856 | -0.36627 | -49.5631 | -49.5631 | -49.5631 | 130.5241 | 130.5241 | 130.5241 |  | 0.76148 | 0.99762 | 0.96906 | 0.66404 | 0.98421 | 1.0744 | -9.1121 | -117.8288 | 118.7241 | -4.3883 | -124.3616 | 121.1351
Line_2 | 0.18143 | 0.18143 | 0.18143 | 0.18098 | 0.18098 | 0.18098 | 2.0949 | 2.0949 | 2.0949 | 2.0898 | 2.0898 | 2.0898 | 1.2139 | 0.77391 | -1.9878 | -0.97974 | -0.53629 | 2.2151 | 1.035 | -1.9414 | 0.41212 | -0.98274 | 1.9856 | -0.36627 | -49.5631 | -49.5631 | -49.5631 | 130.5241 | 130.5241 | 130.5241 |  | 0.76148 | 0.99762 | 0.96906 | 0.66404 | 0.98421 | 1.0744 | -9.1121 | -117.8288 | 118.7241 | -4.3883 | -124.3616 | 121.1351
Line_3 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.00019464 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0022475 | 0.0013023 | 0.00083027 | -0.0021326 | 0.0013023 | 0.00083027 | -0.0021326 | 0.0011104 | -0.0020827 | 0.00044213 | 0.0011104 | -0.0020827 | 0.00044213 | -49.5631 | -49.5631 | -49.5631 | -49.5631 | -49.5631 | -49.5631 |  | 0.76148 | 0.99762 | 0.96906 | 0.76148 | 0.99762 | 0.96906 | -9.1121 | -117.8288 | 118.7241 | -9.1121 | -117.8288 | 118.7241

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2276 | 3.8894 | 3.6251 | 1.2293 | 3.8897 | 3.6242 | 14.1747 | 44.9114 | 41.859 | 14.1944 | 44.9148 | 41.8488 | 9.187 | 7.8629 | 6.8322 | -8.3987 | 2.0826e-10 | 2.6183e-10 | 15.5648 | 8.9402 | 7.7392 | -14.7035 | -1.9089e-10 | -5.6562e-12 | -65.1802 | -176.6391 | 21.7312 | 114.7742 | 3.3896 | -158.2966 |  | 1.2751 | 0.2651 | 0.24663 | 1.1929 | 0 | 0 | -5.7312 | -127.9708 | 70.293 | -4.9609 | 0 | 0
Line_1 | 0.61615 | 0.61615 | 0.61615 | 0.61464 | 0.61464 | 0.61464 | 7.1147 | 7.1147 | 7.1147 | 7.0972 | 7.0972 | 7.0972 | -2.8026 | 1.4013 | 1.4013 | 4.1993 | 4.0086e-11 | -3.3366e-12 | -6.8157 | 0.55748 | 0.55748 | 7.3518 | 1.9644e-11 | -4.429e-11 | 114.7288 | 114.7288 | 114.7288 | -65.2258 | -65.2258 | -65.2258 |  | 1.0358 | 0.21197 | 0.21197 | 1.1929 | 0 | 0 | 2.3768 | 136.4231 | 136.4231 | -4.9609 | 0 | 0
Line_2 | 0.61615 | 0.61615 | 0.61615 | 0.61464 | 0.61464 | 0.61464 | 7.1147 | 7.1147 | 7.1147 | 7.0972 | 7.0972 | 7.0972 | -2.8026 | 1.4013 | 1.4013 | 4.1993 | 4.0086e-11 | -3.3366e-12 | -6.8157 | 0.55748 | 0.55748 | 7.3518 | 1.9644e-11 | -4.429e-11 | 114.7288 | 114.7288 | 114.7288 | -65.2258 | -65.2258 | -65.2258 |  | 1.0358 | 0.21197 | 0.21197 | 1.1929 | 0 | 0 | 2.3768 | 136.4231 | 136.4231 | -4.9609 | 0 | 0
Line_3 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | -0.0030067 | 0.0015033 | 0.0015033 | -0.0030067 | 0.0015033 | 0.0015033 | -0.0073121 | 0.00059808 | 0.00059808 | -0.0073121 | 0.00059808 | 0.00059808 | 114.7288 | 114.7288 | 114.7288 | 114.7288 | 114.7288 | 114.7288 |  | 1.0358 | 0.21197 | 0.21197 | 1.0358 | 0.21197 | 0.21197 | 2.3768 | 136.4231 | 136.4231 | 2.3768 | 136.4231 | 136.4231

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2276 | 3.8894 | 3.6251 | 1.2293 | 3.8897 | 3.6242 | 14.1747 | 44.9114 | 41.859 | 14.1944 | 44.9148 | 41.8488 | 9.187 | 7.8629 | 6.8322 | -8.3987 | 2.0826e-10 | 2.6183e-10 | 15.5648 | 8.9402 | 7.7392 | -14.7035 | -1.9089e-10 | -5.6562e-12 | -65.1802 | -176.6391 | 21.7312 | 114.7742 | 3.3896 | -158.2966 |  | 1.2751 | 0.2651 | 0.24663 | 1.1929 | 0 | 0 | -5.7312 | -127.9708 | 70.293 | -4.9609 | 0 | 0
Line_1 | 0.61615 | 0.61615 | 0.61615 | 0.61464 | 0.61464 | 0.61464 | 7.1147 | 7.1147 | 7.1147 | 7.0972 | 7.0972 | 7.0972 | -2.8026 | 1.4013 | 1.4013 | 4.1993 | 4.0086e-11 | -3.3366e-12 | -6.8157 | 0.55748 | 0.55748 | 7.3518 | 1.9644e-11 | -4.429e-11 | 114.7288 | 114.7288 | 114.7288 | -65.2258 | -65.2258 | -65.2258 |  | 1.0358 | 0.21197 | 0.21197 | 1.1929 | 0 | 0 | 2.3768 | 136.4231 | 136.4231 | -4.9609 | 0 | 0
Line_2 | 0.61615 | 0.61615 | 0.61615 | 0.61464 | 0.61464 | 0.61464 | 7.1147 | 7.1147 | 7.1147 | 7.0972 | 7.0972 | 7.0972 | -2.8026 | 1.4013 | 1.4013 | 4.1993 | 4.0086e-11 | -3.3366e-12 | -6.8157 | 0.55748 | 0.55748 | 7.3518 | 1.9644e-11 | -4.429e-11 | 114.7288 | 114.7288 | 114.7288 | -65.2258 | -65.2258 | -65.2258 |  | 1.0358 | 0.21197 | 0.21197 | 1.1929 | 0 | 0 | 2.3768 | 136.4231 | 136.4231 | -4.9609 | 0 | 0
Line_3 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.00066103 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | 0.0076329 | -0.0030067 | 0.0015033 | 0.0015033 | -0.0030067 | 0.0015033 | 0.0015033 | -0.0073121 | 0.00059808 | 0.00059808 | -0.0073121 | 0.00059808 | 0.00059808 | 114.7288 | 114.7288 | 114.7288 | 114.7288 | 114.7288 | 114.7288 |  | 1.0358 | 0.21197 | 0.21197 | 1.0358 | 0.21197 | 0.21197 | 2.3768 | 136.4231 | 136.4231 | 2.3768 | 136.4231 | 136.4231

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40802 | 1.1627 | 1.1421 | 0.40858 | 1.1629 | 1.1417 | 4.7114 | 13.4256 | 13.1873 | 4.7179 | 13.4278 | 13.1828 | 3.5121 | 10.3081 | 5.1858 | -3.4265 | -9.6095 | -4.5022 | 4.2167 | 5.7826 | 9.8977 | -4.127 | -4.9792 | -9.1285 | -51.5841 | -154.6217 | 45.7467 | 128.3703 | 25.4092 | -134.2795 |  | 1.1648 | 0.88035 | 0.84732 | 1.1369 | 0.806 | 0.7721 | -1.3752 | -125.33 | 108.095 | -1.3313 | -127.1998 | 109.4679
Line_1 | 0.2048 | 0.2048 | 0.2048 | 0.20429 | 0.20429 | 0.20429 | 2.3648 | 2.3648 | 2.3648 | 2.359 | 2.359 | 2.359 | -1.561 | -0.32163 | 1.8826 | 1.7132 | 0.4738 | -1.7231 | -2.0084 | 1.9071 | -0.52853 | 2.0635 | -1.8413 | 0.59004 | 128.3248 | 128.3248 | 128.3248 | -51.6297 | -51.6297 | -51.6297 |  | 1.0757 | 0.81785 | 0.8269 | 1.1369 | 0.806 | 0.7721 | 0.4683 | -132.1024 | 112.6433 | -1.3313 | -127.1998 | 109.4679
Line_2 | 0.2048 | 0.2048 | 0.2048 | 0.20429 | 0.20429 | 0.20429 | 2.3648 | 2.3648 | 2.3648 | 2.359 | 2.359 | 2.359 | -1.561 | -0.32163 | 1.8826 | 1.7132 | 0.4738 | -1.7231 | -2.0084 | 1.9071 | -0.52853 | 2.0635 | -1.8413 | 0.59004 | 128.3248 | 128.3248 | 128.3248 | -51.6297 | -51.6297 | -51.6297 |  | 1.0757 | 0.81785 | 0.8269 | 1.1369 | 0.806 | 0.7721 | 0.4683 | -132.1024 | 112.6433 | -1.3313 | -127.1998 | 109.4679
Line_3 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | -0.0016747 | -0.00034505 | 0.0020198 | -0.0016747 | -0.00034505 | 0.0020198 | -0.0021546 | 0.002046 | -0.00056702 | -0.0021546 | 0.002046 | -0.00056702 | 128.3248 | 128.3248 | 128.3248 | 128.3248 | 128.3248 | 128.3248 |  | 1.0757 | 0.81785 | 0.8269 | 1.0757 | 0.81785 | 0.8269 | 0.4683 | -132.1024 | 112.6433 | 0.4683 | -132.1024 | 112.6433

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40802 | 1.1627 | 1.1421 | 0.40858 | 1.1629 | 1.1417 | 4.7114 | 13.4256 | 13.1873 | 4.7179 | 13.4278 | 13.1828 | 3.5121 | 10.3081 | 5.1858 | -3.4265 | -9.6095 | -4.5022 | 4.2167 | 5.7826 | 9.8977 | -4.127 | -4.9792 | -9.1285 | -51.5841 | -154.6217 | 45.7467 | 128.3703 | 25.4092 | -134.2795 |  | 1.1648 | 0.88035 | 0.84732 | 1.1369 | 0.806 | 0.7721 | -1.3752 | -125.33 | 108.095 | -1.3313 | -127.1998 | 109.4679
Line_1 | 0.2048 | 0.2048 | 0.2048 | 0.20429 | 0.20429 | 0.20429 | 2.3648 | 2.3648 | 2.3648 | 2.359 | 2.359 | 2.359 | -1.561 | -0.32163 | 1.8826 | 1.7132 | 0.4738 | -1.7231 | -2.0084 | 1.9071 | -0.52853 | 2.0635 | -1.8413 | 0.59004 | 128.3248 | 128.3248 | 128.3248 | -51.6297 | -51.6297 | -51.6297 |  | 1.0757 | 0.81785 | 0.8269 | 1.1369 | 0.806 | 0.7721 | 0.4683 | -132.1024 | 112.6433 | -1.3313 | -127.1998 | 109.4679
Line_2 | 0.2048 | 0.2048 | 0.2048 | 0.20429 | 0.20429 | 0.20429 | 2.3648 | 2.3648 | 2.3648 | 2.359 | 2.359 | 2.359 | -1.561 | -0.32163 | 1.8826 | 1.7132 | 0.4738 | -1.7231 | -2.0084 | 1.9071 | -0.52853 | 2.0635 | -1.8413 | 0.59004 | 128.3248 | 128.3248 | 128.3248 | -51.6297 | -51.6297 | -51.6297 |  | 1.0757 | 0.81785 | 0.8269 | 1.1369 | 0.806 | 0.7721 | 0.4683 | -132.1024 | 112.6433 | -1.3313 | -127.1998 | 109.4679
Line_3 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.00021971 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | 0.002537 | -0.0016747 | -0.00034505 | 0.0020198 | -0.0016747 | -0.00034505 | 0.0020198 | -0.0021546 | 0.002046 | -0.00056702 | -0.0021546 | 0.002046 | -0.00056702 | 128.3248 | 128.3248 | 128.3248 | 128.3248 | 128.3248 | 128.3248 |  | 1.0757 | 0.81785 | 0.8269 | 1.0757 | 0.81785 | 0.8269 | 0.4683 | -132.1024 | 112.6433 | 0.4683 | -132.1024 | 112.6433

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91875 | 3.3094 | 2.9879 | 0.92002 | 3.31 | 2.9868 | 10.6088 | 38.2134 | 34.5011 | 10.6235 | 38.2208 | 34.4884 | 9.8805 | 10.9376 | 8.9049 | -9.0326 | -1.8949e-10 | -2.6027e-11 | 8.6952 | 6.4842 | 5.2484 | -8.2261 | -1.5461e-10 | -2.204e-10 | -48.9867 | -167.1339 | 28.5975 | 130.9257 | 12.897 | -151.4322 |  | 1.2406 | 0.33274 | 0.2996 | 1.15 | 0 | 0 | -7.6377 | -136.473 | 59.1118 | -6.7498 | 0 | 0
Line_1 | 0.46115 | 0.46115 | 0.46115 | 0.46001 | 0.46001 | 0.46001 | 5.3249 | 5.3249 | 5.3249 | 5.3118 | 5.3118 | 5.3118 | -3.0141 | 1.507 | 1.507 | 4.5163 | 6.5919e-12 | -3.2301e-11 | -3.8178 | 0.31227 | 0.31227 | 4.113 | -3.3343e-11 | 1.1181e-11 | 130.8385 | 130.8385 | 130.8385 | -49.0743 | -49.0743 | -49.0743 |  | 0.91349 | 0.28903 | 0.28903 | 1.15 | 0 | 0 | 2.5479 | 142.5448 | 142.5448 | -6.7498 | 0 | 0
Line_2 | 0.46115 | 0.46115 | 0.46115 | 0.46001 | 0.46001 | 0.46001 | 5.3249 | 5.3249 | 5.3249 | 5.3118 | 5.3118 | 5.3118 | -3.0141 | 1.507 | 1.507 | 4.5163 | 6.5919e-12 | -3.2301e-11 | -3.8178 | 0.31227 | 0.31227 | 4.113 | -3.3343e-11 | 1.1181e-11 | 130.8385 | 130.8385 | 130.8385 | -49.0743 | -49.0743 | -49.0743 |  | 0.91349 | 0.28903 | 0.28903 | 1.15 | 0 | 0 | 2.5479 | 142.5448 | 142.5448 | -6.7498 | 0 | 0
Line_3 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | -0.0032336 | 0.0016168 | 0.0016168 | -0.0032336 | 0.0016168 | 0.0016168 | -0.0040958 | 0.00033501 | 0.00033501 | -0.0040958 | 0.00033501 | 0.00033501 | 130.8385 | 130.8385 | 130.8385 | 130.8385 | 130.8385 | 130.8385 |  | 0.91349 | 0.28903 | 0.28903 | 0.91349 | 0.28903 | 0.28903 | 2.5479 | 142.5448 | 142.5448 | 2.5479 | 142.5448 | 142.5448

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.91875 | 3.3094 | 2.9879 | 0.92002 | 3.31 | 2.9868 | 10.6088 | 38.2134 | 34.5011 | 10.6235 | 38.2208 | 34.4884 | 9.8805 | 10.9376 | 8.9049 | -9.0326 | -1.8949e-10 | -2.6027e-11 | 8.6952 | 6.4842 | 5.2484 | -8.2261 | -1.5461e-10 | -2.204e-10 | -48.9867 | -167.1339 | 28.5975 | 130.9257 | 12.897 | -151.4322 |  | 1.2406 | 0.33274 | 0.2996 | 1.15 | 0 | 0 | -7.6377 | -136.473 | 59.1118 | -6.7498 | 0 | 0
Line_1 | 0.46115 | 0.46115 | 0.46115 | 0.46001 | 0.46001 | 0.46001 | 5.3249 | 5.3249 | 5.3249 | 5.3118 | 5.3118 | 5.3118 | -3.0141 | 1.507 | 1.507 | 4.5163 | 6.5919e-12 | -3.2301e-11 | -3.8178 | 0.31227 | 0.31227 | 4.113 | -3.3343e-11 | 1.1181e-11 | 130.8385 | 130.8385 | 130.8385 | -49.0743 | -49.0743 | -49.0743 |  | 0.91349 | 0.28903 | 0.28903 | 1.15 | 0 | 0 | 2.5479 | 142.5448 | 142.5448 | -6.7498 | 0 | 0
Line_2 | 0.46115 | 0.46115 | 0.46115 | 0.46001 | 0.46001 | 0.46001 | 5.3249 | 5.3249 | 5.3249 | 5.3118 | 5.3118 | 5.3118 | -3.0141 | 1.507 | 1.507 | 4.5163 | 6.5919e-12 | -3.2301e-11 | -3.8178 | 0.31227 | 0.31227 | 4.113 | -3.3343e-11 | 1.1181e-11 | 130.8385 | 130.8385 | 130.8385 | -49.0743 | -49.0743 | -49.0743 |  | 0.91349 | 0.28903 | 0.28903 | 1.15 | 0 | 0 | 2.5479 | 142.5448 | 142.5448 | -6.7498 | 0 | 0
Line_3 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.00049473 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | 0.0057126 | -0.0032336 | 0.0016168 | 0.0016168 | -0.0032336 | 0.0016168 | 0.0016168 | -0.0040958 | 0.00033501 | 0.00033501 | -0.0040958 | 0.00033501 | 0.00033501 | 130.8385 | 130.8385 | 130.8385 | 130.8385 | 130.8385 | 130.8385 |  | 0.91349 | 0.28903 | 0.28903 | 0.91349 | 0.28903 | 0.28903 | 2.5479 | 142.5448 | 142.5448 | 2.5479 | 142.5448 | 142.5448

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34201 | 1.0252 | 0.98908 | 0.34248 | 1.0256 | 0.98852 | 3.9492 | 11.838 | 11.4209 | 3.9547 | 11.8423 | 11.4145 | 3.1237 | 8.4675 | 4.2892 | -3.006 | -7.4223 | -3.3093 | 2.9595 | 4.6643 | 7.2649 | -2.8996 | -4.0389 | -6.6874 | -46.483 | -152.1804 | 47.2638 | 133.4294 | 27.853 | -132.7617 |  | 1.0896 | 0.81662 | 0.7387 | 1.0561 | 0.71355 | 0.65368 | -3.0297 | -123.3324 | 106.706 | -2.6027 | -123.594 | 110.9093
Line_1 | 0.17166 | 0.17166 | 0.17166 | 0.17124 | 0.17124 | 0.17124 | 1.9822 | 1.9822 | 1.9822 | 1.9773 | 1.9773 | 1.9773 | -1.2956 | -0.11087 | 1.4065 | 1.503 | 0.31683 | -1.194 | -1.4124 | 1.4211 | -0.45118 | 1.4498 | -1.3749 | 0.49505 | 133.3421 | 133.3421 | 133.3421 | -46.5706 | -46.5706 | -46.5706 |  | 0.96693 | 0.71909 | 0.74518 | 1.0561 | 0.71355 | 0.65368 | 0.8107 | -132.1967 | 115.5571 | -2.6027 | -123.594 | 110.9093
Line_2 | 0.17166 | 0.17166 | 0.17166 | 0.17124 | 0.17124 | 0.17124 | 1.9822 | 1.9822 | 1.9822 | 1.9773 | 1.9773 | 1.9773 | -1.2956 | -0.11087 | 1.4065 | 1.503 | 0.31683 | -1.194 | -1.4124 | 1.4211 | -0.45118 | 1.4498 | -1.3749 | 0.49505 | 133.3421 | 133.3421 | 133.3421 | -46.5706 | -46.5706 | -46.5706 |  | 0.96693 | 0.71909 | 0.74518 | 1.0561 | 0.71355 | 0.65368 | 0.8107 | -132.1967 | 115.5571 | -2.6027 | -123.594 | 110.9093
Line_3 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | -0.00139 | -0.00011894 | 0.0015089 | -0.00139 | -0.00011894 | 0.0015089 | -0.0015152 | 0.0015246 | -0.00048403 | -0.0015152 | 0.0015246 | -0.00048403 | 133.3421 | 133.3421 | 133.3421 | 133.3421 | 133.3421 | 133.3421 |  | 0.96693 | 0.71909 | 0.74518 | 0.96693 | 0.71909 | 0.74518 | 0.8107 | -132.1967 | 115.5571 | 0.8107 | -132.1967 | 115.5571

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34201 | 1.0252 | 0.98908 | 0.34248 | 1.0256 | 0.98852 | 3.9492 | 11.838 | 11.4209 | 3.9547 | 11.8423 | 11.4145 | 3.1237 | 8.4675 | 4.2892 | -3.006 | -7.4223 | -3.3093 | 2.9595 | 4.6643 | 7.2649 | -2.8996 | -4.0389 | -6.6874 | -46.483 | -152.1804 | 47.2638 | 133.4294 | 27.853 | -132.7617 |  | 1.0896 | 0.81662 | 0.7387 | 1.0561 | 0.71355 | 0.65368 | -3.0297 | -123.3324 | 106.706 | -2.6027 | -123.594 | 110.9093
Line_1 | 0.17166 | 0.17166 | 0.17166 | 0.17124 | 0.17124 | 0.17124 | 1.9822 | 1.9822 | 1.9822 | 1.9773 | 1.9773 | 1.9773 | -1.2956 | -0.11087 | 1.4065 | 1.503 | 0.31683 | -1.194 | -1.4124 | 1.4211 | -0.45118 | 1.4498 | -1.3749 | 0.49505 | 133.3421 | 133.3421 | 133.3421 | -46.5706 | -46.5706 | -46.5706 |  | 0.96693 | 0.71909 | 0.74518 | 1.0561 | 0.71355 | 0.65368 | 0.8107 | -132.1967 | 115.5571 | -2.6027 | -123.594 | 110.9093
Line_2 | 0.17166 | 0.17166 | 0.17166 | 0.17124 | 0.17124 | 0.17124 | 1.9822 | 1.9822 | 1.9822 | 1.9773 | 1.9773 | 1.9773 | -1.2956 | -0.11087 | 1.4065 | 1.503 | 0.31683 | -1.194 | -1.4124 | 1.4211 | -0.45118 | 1.4498 | -1.3749 | 0.49505 | 133.3421 | 133.3421 | 133.3421 | -46.5706 | -46.5706 | -46.5706 |  | 0.96693 | 0.71909 | 0.74518 | 1.0561 | 0.71355 | 0.65368 | 0.8107 | -132.1967 | 115.5571 | -2.6027 | -123.594 | 110.9093
Line_3 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.00018417 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | 0.0021266 | -0.00139 | -0.00011894 | 0.0015089 | -0.00139 | -0.00011894 | 0.0015089 | -0.0015152 | 0.0015246 | -0.00048403 | -0.0015152 | 0.0015246 | -0.00048403 | 133.3421 | 133.3421 | 133.3421 | 133.3421 | 133.3421 | 133.3421 |  | 0.96693 | 0.71909 | 0.74518 | 0.96693 | 0.71909 | 0.74518 | 0.8107 | -132.1967 | 115.5571 | 0.8107 | -132.1967 | 115.5571