## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6999 | 3.6999 | 0 | 0 | 128.1693 | 128.1693 | 35.5926 | -14.237 | 40.3839 | -16.1536 | -73.5107 | 106.4893 | 0.41999 | 0.168 | -24.9022 | -24.9022
Line_1 | 2.4666 | 2.4666 | 4.9647 | 0 | 85.4462 | 85.4462 | -1e-07 | 9.4914 | -1e-07 | 10.769 | 106.4893 | -73.5107 | 0 | 0.168 | 0 | -24.9022
Line_2 | 1.2333 | 1.2333 | 0 | 0 | 42.7231 | 42.7231 | -2.3728 | 4.7457 | -2.6923 | 5.3845 | 106.4893 | -73.5107 | 0.083999 | 0.168 | -24.9022 | -24.9022
Line_3 | 1.2333 | 1.2333 | 2.4824 | 0 | 42.7231 | 42.7231 | -1e-07 | 2.3728 | -1e-07 | 2.6923 | 106.4893 | -73.5107 | 0 | 0.083999 | 0 | -24.9022

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.2428 | 1.2428 | 0 | 0 | 43.0531 | 43.0531 | 27.1857 | -24.7761 | 27.7264 | -24.9923 | -54.2264 | 125.7736 | 0.90192 | 0.81741 | -8.6624 | -8.9775
Line_1 | 0.82856 | 0.82856 | 1.6677 | 0 | 28.7021 | 28.7021 | -15.4464 | 16.5174 | -15.4464 | 16.6616 | 125.7736 | -54.2264 | 0.76108 | 0.81741 | -9.2264 | -8.9775
Line_2 | 0.41428 | 0.41428 | 0 | 0 | 14.351 | 14.351 | -7.991 | 8.2587 | -8.027 | 8.3308 | 125.7736 | -54.2264 | 0.78924 | 0.81741 | -9.0975 | -8.9775
Line_3 | 0.41428 | 0.41428 | 0.83384 | 0 | 14.351 | 14.351 | -7.7232 | 7.991 | -7.7232 | 8.027 | 125.7736 | -54.2264 | 0.76108 | 0.78924 | -9.2264 | -9.0975

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.0092 | 3.0092 | 0 | 0 | 104.2421 | 104.2421 | 45.2043 | -18.0817 | 26.7133 | -10.6853 | -62.3733 | 117.6267 | 0.50371 | 0.20148 | -31.7926 | -31.7926
Line_1 | 2.0061 | 2.0061 | 3.4722 | 0 | 69.4947 | 69.4947 | -1e-07 | 12.0545 | -1e-07 | 7.1235 | 117.6267 | -62.3733 | 0 | 0.20148 | 0 | -31.7926
Line_2 | 1.0031 | 1.0031 | 0 | 0 | 34.7474 | 34.7474 | -3.0136 | 6.0272 | -1.7809 | 3.5618 | 117.6267 | -62.3733 | 0.10074 | 0.20148 | -31.7926 | -31.7926
Line_3 | 1.0031 | 1.0031 | 1.7361 | 0 | 34.7474 | 34.7474 | -1e-07 | 3.0136 | -1e-07 | 1.7809 | 117.6267 | -62.3733 | 0 | 0.10074 | 0 | -31.7926

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0697 | 1.0697 | 0 | 0 | 37.0569 | 37.0569 | 22.8777 | -19.4502 | 20.541 | -18.5155 | -51.0933 | 128.9067 | 0.8297 | 0.72467 | -9.1739 | -7.5036
Line_1 | 0.71316 | 0.71316 | 1.2343 | 0 | 24.7046 | 24.7046 | -11.4434 | 12.9668 | -11.4434 | 12.3437 | 128.9067 | -51.0933 | 0.65508 | 0.72467 | -6.0933 | -7.5036
Line_2 | 0.35658 | 0.35658 | 0 | 0 | 12.3523 | 12.3523 | -6.1026 | 6.4834 | -5.9468 | 6.1718 | 128.9067 | -51.0933 | 0.68982 | 0.72467 | -6.834 | -7.5036
Line_3 | 0.35658 | 0.35658 | 0.61717 | 0 | 12.3523 | 12.3523 | -5.7217 | 6.1026 | -5.7217 | 5.9468 | 128.9067 | -51.0933 | 0.65508 | 0.68982 | -6.0933 | -6.834

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.2106e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | -5.7317e-14 | 4.32 | 15.8719 | 5.7317e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 9.9926e-13 | -154.8648 | 140.2623 | 1.0014e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -2.6053e-14 | -13.0085 | 13.0085 | 1.0421e-14 | 15.3813 | -10.6356 | 2.0843e-14 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 9.7892e-13 | 180 | -180 | 1.0014e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -3.6475e-14 | -7.0974 | 5.911 | 2.0843e-14 | 7.6906 | -5.3178 | 3.1264e-14 | 1.2523 | -2.5984 | -3.1264e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 9.6498e-13 | -173.5168 | 172.7598 | 1.0014e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -6.5042 | 6.5042 | -2.6053e-14 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 2.0843e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 9.7892e-13 | 180 | -180 | 9.6498e-13 | -173.5168 | 172.7598

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 3.2042 | 3.2042 | 0 | 3.2042 | 3.2042 | 0 | 36.9993 | 36.9993 | 0 | 36.9993 | 36.9993 | -5.2106e-14 | 28.4108 | -10.6145 | 4.1685e-14 | -23.0719 | 15.9534 | -5.7317e-14 | 4.32 | 15.8719 | 5.7317e-14 | 1.7376 | -9.8143 | 0 | -163.5107 | 16.4893 | 0 | 16.4893 | -163.5107 | 1.1 | 0.7767 | 0.51607 | 1.1 | 0.62534 | 0.50624 | 9.9926e-13 | -154.8648 | 140.2623 | 1.0014e-12 | -167.8176 | 164.89
Line_1 | 0 | 2.1362 | 2.1362 | 0 | 2.1362 | 2.1362 | 0 | 24.6662 | 24.6662 | 0 | 24.6662 | 24.6662 | -2.6053e-14 | -13.0085 | 13.0085 | 1.0421e-14 | 15.3813 | -10.6356 | 2.0843e-14 | 3.8506 | -3.8506 | -5.2106e-15 | -1.1584 | 6.5429 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.62534 | 0.50624 | 9.7892e-13 | 180 | -180 | 1.0014e-12 | -167.8176 | 164.89
Line_2 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | -3.6475e-14 | -7.0974 | 5.911 | 2.0843e-14 | 7.6906 | -5.3178 | 3.1264e-14 | 1.2523 | -2.5984 | -3.1264e-14 | -0.57919 | 3.2714 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.58437 | 0.52354 | 1.1 | 0.62534 | 0.50624 | 9.6498e-13 | -173.5168 | 172.7598 | 1.0014e-12 | -167.8176 | 164.89
Line_3 | 0 | 1.0681 | 1.0681 | 0 | 1.0681 | 1.0681 | 0 | 12.3331 | 12.3331 | 0 | 12.3331 | 12.3331 | 5.2106e-15 | -6.5042 | 6.5042 | -2.6053e-14 | 7.0974 | -5.911 | -1.5632e-14 | 1.9253 | -1.9253 | 2.0843e-14 | -1.2523 | 2.5984 | 0 | 16.4893 | -163.5107 | 0 | -163.5107 | 16.4893 | 1.1 | 0.55 | 0.55 | 1.1 | 0.58437 | 0.52354 | 9.7892e-13 | 180 | -180 | 9.6498e-13 | -173.5168 | 172.7598

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -2.8659e-14 | 3.9189 | 14.5607 | 3.1264e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.9582e-13 | -136.625 | 120.7211 | 4.9446e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -5.2106e-15 | -10.3342 | 1.4923 | 2.6053e-15 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.2484e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.8459e-13 | -144.2087 | 131.5665 | 4.9446e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.3204 | 0.59289 | 8.9935e-29 | 5.4736 | -0.43963 | 1.0421e-14 | -0.61073 | -4.158 | -1.0421e-14 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.7674e-13 | -142.4927 | 129.0741 | 4.9446e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.1017e-28 | -5.1671 | 0.74615 | -2.6053e-15 | 5.3204 | -0.59289 | -1.3027e-14 | -0.43684 | -3.9841 | 1.0421e-14 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.8459e-13 | -144.2087 | 131.5665 | 4.7674e-13 | -142.4927 | 129.0741

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.6287 | 1.6287 | 0 | 1.6287 | 1.6287 | 0 | 18.8063 | 18.8063 | 0 | 18.8063 | 18.8063 | -2.8659e-14 | 17.8002 | 0.06044 | 2.3448e-14 | -16.4209 | 1.3189 | -2.8659e-14 | 3.9189 | 14.5607 | 3.1264e-14 | -2.3539 | -12.9957 | 0 | -149.0411 | 30.9589 | 0 | 30.9589 | -149.0411 | 1.1 | 0.96917 | 0.77425 | 1.1 | 0.88208 | 0.69458 | 4.9582e-13 | -136.625 | 120.7211 | 4.9446e-13 | -140.8835 | 126.7539
Line_1 | 0 | 1.0858 | 1.0858 | 0 | 1.0858 | 1.0858 | 0 | 12.5375 | 12.5375 | 0 | 12.5375 | 12.5375 | -5.2106e-15 | -10.3342 | 1.4923 | 2.6053e-15 | 10.9473 | -0.87927 | -2.6053e-15 | -0.87368 | -7.9682 | 2.2484e-29 | 1.5692 | 8.6638 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.88208 | 0.69458 | 4.8459e-13 | -144.2087 | 131.5665 | 4.9446e-13 | -140.8835 | 126.7539
Line_2 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | -7.816e-15 | -5.3204 | 0.59289 | 8.9935e-29 | 5.4736 | -0.43963 | 1.0421e-14 | -0.61073 | -4.158 | -1.0421e-14 | 0.78462 | 4.3319 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.85428 | 0.67 | 1.1 | 0.88208 | 0.69458 | 4.7674e-13 | -142.4927 | 129.0741 | 4.9446e-13 | -140.8835 | 126.7539
Line_3 | 0 | 0.54289 | 0.54289 | 0 | 0.54289 | 0.54289 | 0 | 6.2688 | 6.2688 | 0 | 6.2688 | 6.2688 | 1.1017e-28 | -5.1671 | 0.74615 | -2.6053e-15 | 5.3204 | -0.59289 | -1.3027e-14 | -0.43684 | -3.9841 | 1.0421e-14 | 0.61073 | 4.158 | 0 | 30.9589 | -149.0411 | 0 | -149.0411 | 30.9589 | 1.1 | 0.8272 | 0.6466 | 1.1 | 0.85428 | 0.67 | 4.8459e-13 | -144.2087 | 131.5665 | 4.7674e-13 | -142.4927 | 129.0741

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.0132e-14 | 24.6317 | -2.0295 | -2.1316e-14 | -17.851 | 8.8102 | 3.3342e-28 | -0.29866 | 13.6553 | -3.5639e-28 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 9.4891e-13 | -153.068 | 126.0805 | 9.5794e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -2.6053e-14 | -8.8871 | 8.8871 | 2.6053e-14 | 11.9007 | -5.8735 | -4.3897e-28 | 4.6513 | -4.6513 | 4.3559e-28 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 9.6536e-13 | -180 | 180 | 9.5794e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.079e-14 | -5.1969 | 3.6901 | 2.8422e-14 | 5.9503 | -2.9367 | 4.737e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 9.3371e-13 | -172.2653 | 170.7242 | 9.5794e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 9.6536e-13 | -180 | 180 | 9.3371e-13 | -172.2653 | 170.7242

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 2.6061 | 2.6061 | 0 | 2.6061 | 2.6061 | 0 | 30.0921 | 30.0921 | 0 | 30.0921 | 30.0921 | 2.0132e-14 | 24.6317 | -2.0295 | -2.1316e-14 | -17.851 | 8.8102 | 3.3342e-28 | -0.29866 | 13.6553 | -3.5639e-28 | 4.3057 | -9.6483 | 0 | -152.3733 | 27.6267 | 0 | 27.6267 | -152.3733 | 1 | 0.8186 | 0.45877 | 1 | 0.61023 | 0.43419 | 9.4891e-13 | -153.068 | 126.0805 | 9.5794e-13 | -165.934 | 160.0269
Line_1 | 0 | 1.7374 | 1.7374 | 0 | 1.7374 | 1.7374 | 0 | 20.0614 | 20.0614 | 0 | 20.0614 | 20.0614 | -2.6053e-14 | -8.8871 | 8.8871 | 2.6053e-14 | 11.9007 | -5.8735 | -4.3897e-28 | 4.6513 | -4.6513 | 4.3559e-28 | -2.8704 | 6.4322 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.61023 | 0.43419 | 9.6536e-13 | -180 | 180 | 9.5794e-13 | -165.934 | 160.0269
Line_2 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | -3.079e-14 | -5.1969 | 3.6901 | 2.8422e-14 | 5.9503 | -2.9367 | 4.737e-15 | 1.8804 | -2.7709 | -9.4739e-15 | -1.4352 | 3.2161 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.55098 | 0.46005 | 1 | 0.61023 | 0.43419 | 9.3371e-13 | -172.2653 | 170.7242 | 9.5794e-13 | -165.934 | 160.0269
Line_3 | 0 | 0.86868 | 0.86868 | 0 | 0.86868 | 0.86868 | 0 | 10.0307 | 10.0307 | 0 | 10.0307 | 10.0307 | 4.737e-15 | -4.4435 | 4.4435 | -7.1054e-15 | 5.1969 | -3.6901 | -9.4739e-15 | 2.3257 | -2.3257 | 4.737e-15 | -1.8804 | 2.7709 | 0 | 27.6267 | -152.3733 | 0 | -152.3733 | 27.6267 | 1 | 0.5 | 0.5 | 1 | 0.55098 | 0.46005 | 9.6536e-13 | -180 | 180 | 9.3371e-13 | -172.2653 | 170.7242

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.0066e-14 | 14.2512 | 1.4266 | -1.2434e-14 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -7.1054e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 5.0666e-13 | -136.4258 | 118.7019 | 5.112e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 8.8818e-15 | 8.2478 | -0.30197 | -2.3685e-15 | -0.036791 | -6.2383 | 7.9245e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.1572e-13 | -143.7605 | 136.2873 | 5.112e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.2434e-14 | -3.9151 | 0.35982 | 1.125e-14 | 4.1239 | -0.15099 | -1.082e-28 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 4.9855e-13 | -141.9705 | 132.2872 | 5.112e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.3685e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | -2.3685e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.1572e-13 | -143.7605 | 136.2873 | 4.9855e-13 | -141.9705 | 132.2872

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.3721 | 1.3721 | 0 | 1.3721 | 1.3721 | 0 | 15.8432 | 15.8432 | 0 | 15.8432 | 15.8432 | 1.0066e-14 | 14.2512 | 1.4266 | -1.2434e-14 | -12.3717 | 0.45296 | 7.1054e-15 | 1.9064 | 11.2087 | -7.1054e-15 | -0.79565 | -10.098 | 0 | -144.0449 | 35.9551 | 0 | 35.9551 | -144.0449 | 1 | 0.90753 | 0.71319 | 1 | 0.7825 | 0.63801 | 5.0666e-13 | -136.4258 | 118.7019 | 5.112e-13 | -140.3651 | 128.5235
Line_1 | 0 | 0.9147 | 0.9147 | 0 | 0.9147 | 0.9147 | 0 | 10.5621 | 10.5621 | 0 | 10.5621 | 10.5621 | -1.125e-14 | -7.4125 | 1.1373 | 8.8818e-15 | 8.2478 | -0.30197 | -2.3685e-15 | -0.036791 | -6.2383 | 7.9245e-29 | 0.53044 | 6.732 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.7825 | 0.63801 | 5.1572e-13 | -143.7605 | 136.2873 | 5.112e-13 | -140.3651 | 128.5235
Line_2 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | -1.2434e-14 | -3.9151 | 0.35982 | 1.125e-14 | 4.1239 | -0.15099 | -1.082e-28 | -0.14181 | -3.2426 | -2.3685e-15 | 0.26522 | 3.366 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.74183 | 0.61777 | 1 | 0.7825 | 0.63801 | 4.9855e-13 | -141.9705 | 132.2872 | 5.112e-13 | -140.3651 | 128.5235
Line_3 | 0 | 0.45735 | 0.45735 | 0 | 0.45735 | 0.45735 | 0 | 5.2811 | 5.2811 | 0 | 5.2811 | 5.2811 | 2.3685e-15 | -3.7062 | 0.56866 | -2.3685e-15 | 3.9151 | -0.35982 | -2.3685e-15 | -0.018396 | -3.1192 | 2.3685e-15 | 0.14181 | 3.2426 | 0 | 35.9551 | -144.0449 | 0 | -144.0449 | 35.9551 | 1 | 0.70181 | 0.60037 | 1 | 0.74183 | 0.61777 | 5.1572e-13 | -143.7605 | 136.2873 | 4.9855e-13 | -141.9705 | 132.2872

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.403 | 1.2015 | 1.2015 | 2.4018 | 1.2028 | 1.2028 | 27.7479 | 13.8739 | 13.8739 | 27.733 | 13.8888 | 13.8888 | 6.4541 | -4.566 | 18.7497 | -3.4591 | 5.3398 | -18.0143 | 6.385 | 13.2288 | 0.77481 | -2.9711 | -12.3863 | 0.05576 | -61.8914 | 118.1086 | 118.1086 | 118.1397 | -61.9534 | -61.9534 |  | 0.32719 | 1.0087 | 1.3526 | 0.16442 | 0.97116 | 1.297 | -17.1993 | -132.8488 | 120.475 | -21.2002 | -128.632 | 117.8693
Line_1 | 1.7703 | 0.63293 | 0.63293 | 1.7716 | 0.63156 | 0.63156 | 20.4414 | 7.3085 | 7.3085 | 20.4569 | 7.2926 | 7.2926 | 1.3e-10 | 2.8114 | -9.6008 | 2.5643 | -2.9132 | 9.458 | -1.3387e-10 | -6.3515 | -0.040304 | 2.1766 | 6.4554 | 0.13041 | 118.5222 | -63.0481 | -63.0481 | -61.5244 | 117.0793 | 117.0793 |  | 0 | 0.95039 | 1.3137 | 0.16442 | 0.97116 | 1.297 | 0 | -129.1722 | 117.1925 | -21.2002 | -128.632 | 117.8693
Line_2 | 0.62901 | 0.57264 | 0.57264 | 0.63025 | 0.57144 | 0.57144 | 7.2632 | 6.6123 | 6.6123 | 7.2775 | 6.5984 | 6.5984 | -1.0239 | 2.9229 | -8.096 | 0.89473 | -2.4267 | 8.5564 | -0.67624 | -5.6461 | 0.46089 | 0.7945 | 5.9308 | -0.18617 | 117.3003 | -61.0034 | -61.0034 | -62.8044 | 119.1157 | 119.1157 |  | 0.16895 | 0.96152 | 1.2264 | 0.16442 | 0.97116 | 1.297 | -29.2576 | -123.6336 | 115.7384 | -21.2002 | -128.632 | 117.8693
Line_3 | 1.1409 | 0.064729 | 0.064729 | 1.1422 | 0.06308 | 0.06308 | 13.1742 | 0.74743 | 0.74743 | 13.1888 | 0.72838 | 0.72838 | 8.2725e-11 | 0.48217 | -0.92774 | 1.8981 | -0.517 | 0.85446 | -8.7295e-11 | -0.52164 | -0.32149 | 1.1671 | 0.47244 | 0.26043 | 119.222 | -81.9202 | -81.9202 | -60.8444 | 98.7876 | 98.7876 |  | 0 | 0.95039 | 1.3137 | 0.16895 | 0.96152 | 1.2264 | 0 | -129.1722 | 117.1925 | -29.2576 | -123.6336 | 115.7384

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.403 | 1.2015 | 1.2015 | 2.4018 | 1.2028 | 1.2028 | 27.7479 | 13.8739 | 13.8739 | 27.733 | 13.8888 | 13.8888 | 6.4541 | -4.566 | 18.7497 | -3.4591 | 5.3398 | -18.0143 | 6.385 | 13.2288 | 0.77481 | -2.9711 | -12.3863 | 0.05576 | -61.8914 | 118.1086 | 118.1086 | 118.1397 | -61.9534 | -61.9534 |  | 0.32719 | 1.0087 | 1.3526 | 0.16442 | 0.97116 | 1.297 | -17.1993 | -132.8488 | 120.475 | -21.2002 | -128.632 | 117.8693
Line_1 | 1.7703 | 0.63293 | 0.63293 | 1.7716 | 0.63156 | 0.63156 | 20.4414 | 7.3085 | 7.3085 | 20.4569 | 7.2926 | 7.2926 | 1.3e-10 | 2.8114 | -9.6008 | 2.5643 | -2.9132 | 9.458 | -1.3387e-10 | -6.3515 | -0.040304 | 2.1766 | 6.4554 | 0.13041 | 118.5222 | -63.0481 | -63.0481 | -61.5244 | 117.0793 | 117.0793 |  | 0 | 0.95039 | 1.3137 | 0.16442 | 0.97116 | 1.297 | 0 | -129.1722 | 117.1925 | -21.2002 | -128.632 | 117.8693
Line_2 | 0.62901 | 0.57264 | 0.57264 | 0.63025 | 0.57144 | 0.57144 | 7.2632 | 6.6123 | 6.6123 | 7.2775 | 6.5984 | 6.5984 | -1.0239 | 2.9229 | -8.096 | 0.89473 | -2.4267 | 8.5564 | -0.67624 | -5.6461 | 0.46089 | 0.7945 | 5.9308 | -0.18617 | 117.3003 | -61.0034 | -61.0034 | -62.8044 | 119.1157 | 119.1157 |  | 0.16895 | 0.96152 | 1.2264 | 0.16442 | 0.97116 | 1.297 | -29.2576 | -123.6336 | 115.7384 | -21.2002 | -128.632 | 117.8693
Line_3 | 1.1409 | 0.064729 | 0.064729 | 1.1422 | 0.06308 | 0.06308 | 13.1742 | 0.74743 | 0.74743 | 13.1888 | 0.72838 | 0.72838 | 8.2725e-11 | 0.48217 | -0.92774 | 1.8981 | -0.517 | 0.85446 | -8.7295e-11 | -0.52164 | -0.32149 | 1.1671 | 0.47244 | 0.26043 | 119.222 | -81.9202 | -81.9202 | -60.8444 | 98.7876 | 98.7876 |  | 0 | 0.95039 | 1.3137 | 0.16895 | 0.96152 | 1.2264 | 0 | -129.1722 | 117.1925 | -29.2576 | -123.6336 | 115.7384

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.807 | 0.4035 | 0.4035 | 0.80657 | 0.40393 | 0.40393 | 9.3185 | 4.6592 | 4.6592 | 9.3135 | 4.6642 | 4.6642 | 5.6123 | -1.4089 | 5.4507 | -5.2745 | 1.5007 | -5.3723 | 5.6045 | 4.828 | -0.80652 | -5.2142 | -4.7356 | 0.89754 | -50.5997 | 129.4003 | 129.4003 | 129.4314 | -50.6617 | -50.6617 |  | 0.85116 | 1.0794 | 1.1826 | 0.79635 | 1.0651 | 1.1678 | -5.6394 | -124.332 | 120.9835 | -5.8981 | -123.0785 | 119.8536
Line_1 | 0.59451 | 0.21256 | 0.21256 | 0.59496 | 0.21209 | 0.21209 | 6.8648 | 2.4544 | 2.4544 | 6.87 | 2.449 | 2.449 | -3.6241 | 0.82334 | -2.8493 | 3.9132 | -0.82984 | 2.8284 | -3.5722 | -2.4638 | 0.43077 | 3.8233 | 2.4729 | -0.42358 | 129.8139 | -51.7564 | -51.7564 | -50.2327 | 128.371 | 128.371 |  | 0.74128 | 1.0584 | 1.1741 | 0.79635 | 1.0651 | 1.1678 | -5.5997 | -123.2784 | 119.6465 | -5.8981 | -123.0785 | 119.8536
Line_2 | 0.21124 | 0.19231 | 0.19231 | 0.21165 | 0.1919 | 0.1919 | 2.4392 | 2.2206 | 2.2206 | 2.444 | 2.2159 | 2.2159 | -1.3758 | 0.73099 | -2.4963 | 1.3614 | -0.67086 | 2.5439 | -1.3727 | -2.2332 | 0.5026 | 1.3909 | 2.2627 | -0.47395 | 128.592 | -49.7117 | -49.7117 | -51.5127 | 130.4074 | 130.4074 |  | 0.79679 | 1.0582 | 1.1467 | 0.79635 | 1.0651 | 1.1678 | -6.4734 | -121.5868 | 118.9044 | -5.8981 | -123.0785 | 119.8536
Line_3 | 0.38315 | 0.021738 | 0.021738 | 0.38357 | 0.021184 | 0.021184 | 4.4242 | 0.25101 | 0.25101 | 4.4291 | 0.24461 | 0.24461 | -2.3636 | 0.16118 | -0.28998 | 2.5777 | -0.16054 | 0.27717 | -2.2735 | -0.21119 | -0.052567 | 2.4104 | 0.20304 | 0.043033 | 130.5137 | -70.6285 | -70.6285 | -49.5527 | 110.0793 | 110.0793 |  | 0.74128 | 1.0584 | 1.1741 | 0.79679 | 1.0582 | 1.1467 | -5.5997 | -123.2784 | 119.6465 | -6.4734 | -121.5868 | 118.9044

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.807 | 0.4035 | 0.4035 | 0.80657 | 0.40393 | 0.40393 | 9.3185 | 4.6592 | 4.6592 | 9.3135 | 4.6642 | 4.6642 | 5.6123 | -1.4089 | 5.4507 | -5.2745 | 1.5007 | -5.3723 | 5.6045 | 4.828 | -0.80652 | -5.2142 | -4.7356 | 0.89754 | -50.5997 | 129.4003 | 129.4003 | 129.4314 | -50.6617 | -50.6617 |  | 0.85116 | 1.0794 | 1.1826 | 0.79635 | 1.0651 | 1.1678 | -5.6394 | -124.332 | 120.9835 | -5.8981 | -123.0785 | 119.8536
Line_1 | 0.59451 | 0.21256 | 0.21256 | 0.59496 | 0.21209 | 0.21209 | 6.8648 | 2.4544 | 2.4544 | 6.87 | 2.449 | 2.449 | -3.6241 | 0.82334 | -2.8493 | 3.9132 | -0.82984 | 2.8284 | -3.5722 | -2.4638 | 0.43077 | 3.8233 | 2.4729 | -0.42358 | 129.8139 | -51.7564 | -51.7564 | -50.2327 | 128.371 | 128.371 |  | 0.74128 | 1.0584 | 1.1741 | 0.79635 | 1.0651 | 1.1678 | -5.5997 | -123.2784 | 119.6465 | -5.8981 | -123.0785 | 119.8536
Line_2 | 0.21124 | 0.19231 | 0.19231 | 0.21165 | 0.1919 | 0.1919 | 2.4392 | 2.2206 | 2.2206 | 2.444 | 2.2159 | 2.2159 | -1.3758 | 0.73099 | -2.4963 | 1.3614 | -0.67086 | 2.5439 | -1.3727 | -2.2332 | 0.5026 | 1.3909 | 2.2627 | -0.47395 | 128.592 | -49.7117 | -49.7117 | -51.5127 | 130.4074 | 130.4074 |  | 0.79679 | 1.0582 | 1.1467 | 0.79635 | 1.0651 | 1.1678 | -6.4734 | -121.5868 | 118.9044 | -5.8981 | -123.0785 | 119.8536
Line_3 | 0.38315 | 0.021738 | 0.021738 | 0.38357 | 0.021184 | 0.021184 | 4.4242 | 0.25101 | 0.25101 | 4.4291 | 0.24461 | 0.24461 | -2.3636 | 0.16118 | -0.28998 | 2.5777 | -0.16054 | 0.27717 | -2.2735 | -0.21119 | -0.052567 | 2.4104 | 0.20304 | 0.043033 | 130.5137 | -70.6285 | -70.6285 | -49.5527 | 110.0793 | 110.0793 |  | 0.74128 | 1.0584 | 1.1741 | 0.79679 | 1.0582 | 1.1467 | -5.5997 | -123.2784 | 119.6465 | -6.4734 | -121.5868 | 118.9044

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.946 | 0.97298 | 0.97298 | 1.9449 | 0.97402 | 0.97402 | 22.47 | 11.235 | 11.235 | 22.458 | 11.247 | 11.247 | 7.9297 | -2.3017 | 13.467 | -4.1567 | 3.2653 | -12.5326 | 4.342 | 10.3237 | -1.0791 | -2.0987 | -9.775 | 1.6229 | -54.1282 | 125.8718 | 125.8718 | 125.9029 | -54.1903 | -54.1903 |  | 0.40235 | 0.94145 | 1.2025 | 0.20734 | 0.91633 | 1.1236 | -25.4247 | -131.5595 | 121.2907 | -27.3083 | -125.7187 | 118.4315
Line_1 | 1.4194 | 0.52708 | 0.52708 | 1.4205 | 0.52593 | 0.52593 | 16.3896 | 6.0862 | 6.0862 | 16.4022 | 6.0729 | 6.0729 | -6.364e-11 | 1.8543 | -6.9127 | 3.0547 | -1.9416 | 6.7929 | -6.4375e-12 | -5.1901 | 0.66355 | 1.4948 | 5.2151 | -0.64563 | 126.6667 | -56.2692 | -56.2692 | -53.3838 | 123.8608 | 123.8608 |  | 0 | 0.90556 | 1.141 | 0.20734 | 0.91633 | 1.1236 | 0 | -126.6085 | 118.2477 | -27.3083 | -125.7187 | 118.4315
Line_2 | 0.52385 | 0.44969 | 0.44969 | 0.52485 | 0.44875 | 0.44875 | 6.0489 | 5.1926 | 5.1926 | 6.0605 | 5.1818 | 5.1818 | -1.213 | 1.8755 | -5.2139 | 1.102 | -1.3237 | 5.7397 | -0.56259 | -4.3643 | 1.1702 | 0.60381 | 4.56 | -0.97722 | 124.0638 | -52.0219 | -52.0219 | -56.0279 | 128.0938 | 128.0938 |  | 0.22105 | 0.9148 | 1.0291 | 0.20734 | 0.91633 | 1.1236 | -31.0536 | -118.7665 | 115.3283 | -27.3083 | -125.7187 | 118.4315
Line_3 | 0.89595 | 0.08594 | 0.08594 | 0.89695 | 0.084551 | 0.084551 | 10.3455 | 0.99235 | 0.99235 | 10.3571 | 0.97631 | 0.97631 | -4.0266e-11 | 0.6094 | -1.0796 | 2.1401 | -0.68614 | 0.9736 | -2.9797e-12 | -0.66044 | -0.34152 | 0.81319 | 0.57175 | 0.248 | 128.2106 | -79.3071 | -79.3071 | -51.8592 | 101.0373 | 101.0373 |  | 0 | 0.90556 | 1.141 | 0.22105 | 0.9148 | 1.0291 | 0 | -126.6085 | 118.2477 | -31.0536 | -118.7665 | 115.3283

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.946 | 0.97298 | 0.97298 | 1.9449 | 0.97402 | 0.97402 | 22.47 | 11.235 | 11.235 | 22.458 | 11.247 | 11.247 | 7.9297 | -2.3017 | 13.467 | -4.1567 | 3.2653 | -12.5326 | 4.342 | 10.3237 | -1.0791 | -2.0987 | -9.775 | 1.6229 | -54.1282 | 125.8718 | 125.8718 | 125.9029 | -54.1903 | -54.1903 |  | 0.40235 | 0.94145 | 1.2025 | 0.20734 | 0.91633 | 1.1236 | -25.4247 | -131.5595 | 121.2907 | -27.3083 | -125.7187 | 118.4315
Line_1 | 1.4194 | 0.52708 | 0.52708 | 1.4205 | 0.52593 | 0.52593 | 16.3896 | 6.0862 | 6.0862 | 16.4022 | 6.0729 | 6.0729 | -6.364e-11 | 1.8543 | -6.9127 | 3.0547 | -1.9416 | 6.7929 | -6.4375e-12 | -5.1901 | 0.66355 | 1.4948 | 5.2151 | -0.64563 | 126.6667 | -56.2692 | -56.2692 | -53.3838 | 123.8608 | 123.8608 |  | 0 | 0.90556 | 1.141 | 0.20734 | 0.91633 | 1.1236 | 0 | -126.6085 | 118.2477 | -27.3083 | -125.7187 | 118.4315
Line_2 | 0.52385 | 0.44969 | 0.44969 | 0.52485 | 0.44875 | 0.44875 | 6.0489 | 5.1926 | 5.1926 | 6.0605 | 5.1818 | 5.1818 | -1.213 | 1.8755 | -5.2139 | 1.102 | -1.3237 | 5.7397 | -0.56259 | -4.3643 | 1.1702 | 0.60381 | 4.56 | -0.97722 | 124.0638 | -52.0219 | -52.0219 | -56.0279 | 128.0938 | 128.0938 |  | 0.22105 | 0.9148 | 1.0291 | 0.20734 | 0.91633 | 1.1236 | -31.0536 | -118.7665 | 115.3283 | -27.3083 | -125.7187 | 118.4315
Line_3 | 0.89595 | 0.08594 | 0.08594 | 0.89695 | 0.084551 | 0.084551 | 10.3455 | 0.99235 | 0.99235 | 10.3571 | 0.97631 | 0.97631 | -4.0266e-11 | 0.6094 | -1.0796 | 2.1401 | -0.68614 | 0.9736 | -2.9797e-12 | -0.66044 | -0.34152 | 0.81319 | 0.57175 | 0.248 | 128.2106 | -79.3071 | -79.3071 | -51.8592 | 101.0373 | 101.0373 |  | 0 | 0.90556 | 1.141 | 0.22105 | 0.9148 | 1.0291 | 0 | -126.6085 | 118.2477 | -31.0536 | -118.7665 | 115.3283

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70015 | 0.35008 | 0.35008 | 0.69978 | 0.35045 | 0.35045 | 8.0846 | 4.0423 | 4.0423 | 8.0803 | 4.0466 | 4.0466 | 4.7031 | -0.97083 | 4.2545 | -4.2147 | 1.099 | -4.137 | 4.2387 | 3.8476 | -0.81255 | -3.9443 | -3.7785 | 0.88094 | -48.2722 | 131.7278 | 131.7278 | 131.7589 | -48.3343 | -48.3343 |  | 0.78313 | 0.98166 | 1.0715 | 0.71438 | 0.97244 | 1.0452 | -6.2455 | -124.1109 | 120.9153 | -5.1393 | -122.1168 | 119.6445
Line_1 | 0.51069 | 0.18964 | 0.18964 | 0.51108 | 0.18923 | 0.18923 | 5.8969 | 2.1898 | 2.1898 | 5.9015 | 2.185 | 2.185 | -2.7186 | 0.65511 | -2.2679 | 3.1138 | -0.66246 | 2.2487 | -2.6442 | -2.0176 | 0.39932 | 2.8422 | 2.0189 | -0.39943 | 132.5227 | -50.4133 | -50.4133 | -47.5278 | 129.7168 | 129.7168 |  | 0.64313 | 0.96874 | 1.0516 | 0.71438 | 0.97244 | 1.0452 | -3.2722 | -122.425 | 119.6006 | -5.1393 | -122.1168 | 119.6445
Line_2 | 0.18848 | 0.1618 | 0.1618 | 0.18884 | 0.16146 | 0.16146 | 2.1764 | 1.8683 | 1.8683 | 2.1805 | 1.8644 | 1.8644 | -1.115 | 0.51091 | -1.8234 | 1.1009 | -0.43655 | 1.8883 | -1.0933 | -1.7362 | 0.50492 | 1.1021 | 1.7596 | -0.48151 | 129.9198 | -46.1659 | -46.1659 | -50.1719 | 133.9498 | 133.9498 |  | 0.71752 | 0.96871 | 1.0127 | 0.71438 | 0.97244 | 1.0452 | -5.6443 | -119.7686 | 118.3558 | -5.1393 | -122.1168 | 119.6445
Line_3 | 0.32236 | 0.030921 | 0.030921 | 0.32272 | 0.030421 | 0.030421 | 3.7223 | 0.35705 | 0.35705 | 3.7265 | 0.35127 | 0.35127 | -1.7604 | 0.22704 | -0.36577 | 2.0375 | -0.23354 | 0.34863 | -1.6223 | -0.26094 | -0.084791 | 1.7315 | 0.24749 | 0.070692 | 134.0666 | -73.4511 | -73.4511 | -46.0032 | 106.8933 | 106.8933 |  | 0.64313 | 0.96874 | 1.0516 | 0.71752 | 0.96871 | 1.0127 | -3.2722 | -122.425 | 119.6006 | -5.6443 | -119.7686 | 118.3558

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.70015 | 0.35008 | 0.35008 | 0.69978 | 0.35045 | 0.35045 | 8.0846 | 4.0423 | 4.0423 | 8.0803 | 4.0466 | 4.0466 | 4.7031 | -0.97083 | 4.2545 | -4.2147 | 1.099 | -4.137 | 4.2387 | 3.8476 | -0.81255 | -3.9443 | -3.7785 | 0.88094 | -48.2722 | 131.7278 | 131.7278 | 131.7589 | -48.3343 | -48.3343 |  | 0.78313 | 0.98166 | 1.0715 | 0.71438 | 0.97244 | 1.0452 | -6.2455 | -124.1109 | 120.9153 | -5.1393 | -122.1168 | 119.6445
Line_1 | 0.51069 | 0.18964 | 0.18964 | 0.51108 | 0.18923 | 0.18923 | 5.8969 | 2.1898 | 2.1898 | 5.9015 | 2.185 | 2.185 | -2.7186 | 0.65511 | -2.2679 | 3.1138 | -0.66246 | 2.2487 | -2.6442 | -2.0176 | 0.39932 | 2.8422 | 2.0189 | -0.39943 | 132.5227 | -50.4133 | -50.4133 | -47.5278 | 129.7168 | 129.7168 |  | 0.64313 | 0.96874 | 1.0516 | 0.71438 | 0.97244 | 1.0452 | -3.2722 | -122.425 | 119.6006 | -5.1393 | -122.1168 | 119.6445
Line_2 | 0.18848 | 0.1618 | 0.1618 | 0.18884 | 0.16146 | 0.16146 | 2.1764 | 1.8683 | 1.8683 | 2.1805 | 1.8644 | 1.8644 | -1.115 | 0.51091 | -1.8234 | 1.1009 | -0.43655 | 1.8883 | -1.0933 | -1.7362 | 0.50492 | 1.1021 | 1.7596 | -0.48151 | 129.9198 | -46.1659 | -46.1659 | -50.1719 | 133.9498 | 133.9498 |  | 0.71752 | 0.96871 | 1.0127 | 0.71438 | 0.97244 | 1.0452 | -5.6443 | -119.7686 | 118.3558 | -5.1393 | -122.1168 | 119.6445
Line_3 | 0.32236 | 0.030921 | 0.030921 | 0.32272 | 0.030421 | 0.030421 | 3.7223 | 0.35705 | 0.35705 | 3.7265 | 0.35127 | 0.35127 | -1.7604 | 0.22704 | -0.36577 | 2.0375 | -0.23354 | 0.34863 | -1.6223 | -0.26094 | -0.084791 | 1.7315 | 0.24749 | 0.070692 | 134.0666 | -73.4511 | -73.4511 | -46.0032 | 106.8933 | 106.8933 |  | 0.64313 | 0.96874 | 1.0516 | 0.71752 | 0.96871 | 1.0127 | -3.2722 | -122.425 | 119.6006 | -5.6443 | -119.7686 | 118.3558

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1293 | 3.4577 | 3.0358 | 1.1305 | 3.4581 | 3.0349 | 13.0395 | 39.9263 | 35.0543 | 13.0535 | 39.9312 | 35.0434 | 12.0639 | 12.1892 | 6.7999 | -11.3978 | -5.9761 | -2.0065 | 11.428 | 10.5667 | 10.5644 | -10.7009 | -3.4986 | -5.1365 | -51.2643 | -172.2037 | 26.4019 | 128.6737 | 7.8239 | -153.6253 |  | 1.2744 | 0.40404 | 0.35841 | 1.1977 | 0.17342 | 0.15736 | -7.8148 | -131.2821 | 83.6342 | -8.1326 | -141.8302 | 95.0371
Line_1 | 0.59487 | 2.4002 | 1.9842 | 0.59357 | 2.3998 | 1.9853 | 6.8689 | 27.7153 | 22.9113 | 6.854 | 27.7106 | 22.9247 | -5.9973 | 1.1469e-10 | 1.2431e-10 | 5.889 | 4.007 | 1.5699 | -5.6461 | -1.0071e-10 | -1.7003e-11 | 5.719 | 2.6529 | 3.248 | 127.579 | 4.7054 | -149.2082 | -52.2936 | -175.3377 | 30.8334 |  | 1.1991 | 0 | 0 | 1.1977 | 0.17342 | 0.15736 | -9.1485 | 0 | 0 | -8.1326 | -141.8302 | 95.0371
Line_2 | 0.5382 | 1.0707 | 1.0661 | 0.53707 | 1.0702 | 1.0667 | 6.2146 | 12.3639 | 12.3106 | 6.2015 | 12.3576 | 12.3177 | -5.0872 | -1.7585 | 0.51673 | 5.5089 | 1.9691 | 0.43664 | -4.7458 | 0.25336 | -1.6551 | 4.9819 | 0.84567 | 1.8885 | 129.6237 | 15.0081 | -162.0231 | -50.2572 | -165.072 | 18.0556 |  | 1.1195 | 0.14369 | 0.14084 | 1.1977 | 0.17342 | 0.15736 | -7.3644 | -173.1906 | 125.3156 | -8.1326 | -141.8302 | 95.0371
Line_3 | 0.060836 | 1.3603 | 0.97322 | 0.059286 | 1.3602 | 0.97456 | 0.70248 | 15.7071 | 11.2377 | 0.68457 | 15.706 | 11.2532 | -0.39359 | 7.236e-11 | 5.7132e-11 | 0.34529 | 2.2209 | 0.26336 | -0.74476 | -4.7397e-11 | -2.2868e-11 | 0.68418 | 0.40115 | 1.5629 | 108.7069 | -3.3569 | -135.1827 | -70.5853 | 176.5708 | 44.8804 |  | 1.1991 | 0 | 0 | 1.1195 | 0.14369 | 0.14084 | -9.1485 | 0 | 0 | -7.3644 | -173.1906 | 125.3156

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1293 | 3.4577 | 3.0358 | 1.1305 | 3.4581 | 3.0349 | 13.0395 | 39.9263 | 35.0543 | 13.0535 | 39.9312 | 35.0434 | 12.0639 | 12.1892 | 6.7999 | -11.3978 | -5.9761 | -2.0065 | 11.428 | 10.5667 | 10.5644 | -10.7009 | -3.4986 | -5.1365 | -51.2643 | -172.2037 | 26.4019 | 128.6737 | 7.8239 | -153.6253 |  | 1.2744 | 0.40404 | 0.35841 | 1.1977 | 0.17342 | 0.15736 | -7.8148 | -131.2821 | 83.6342 | -8.1326 | -141.8302 | 95.0371
Line_1 | 0.59487 | 2.4002 | 1.9842 | 0.59357 | 2.3998 | 1.9853 | 6.8689 | 27.7153 | 22.9113 | 6.854 | 27.7106 | 22.9247 | -5.9973 | 1.1469e-10 | 1.2431e-10 | 5.889 | 4.007 | 1.5699 | -5.6461 | -1.0071e-10 | -1.7003e-11 | 5.719 | 2.6529 | 3.248 | 127.579 | 4.7054 | -149.2082 | -52.2936 | -175.3377 | 30.8334 |  | 1.1991 | 0 | 0 | 1.1977 | 0.17342 | 0.15736 | -9.1485 | 0 | 0 | -8.1326 | -141.8302 | 95.0371
Line_2 | 0.5382 | 1.0707 | 1.0661 | 0.53707 | 1.0702 | 1.0667 | 6.2146 | 12.3639 | 12.3106 | 6.2015 | 12.3576 | 12.3177 | -5.0872 | -1.7585 | 0.51673 | 5.5089 | 1.9691 | 0.43664 | -4.7458 | 0.25336 | -1.6551 | 4.9819 | 0.84567 | 1.8885 | 129.6237 | 15.0081 | -162.0231 | -50.2572 | -165.072 | 18.0556 |  | 1.1195 | 0.14369 | 0.14084 | 1.1977 | 0.17342 | 0.15736 | -7.3644 | -173.1906 | 125.3156 | -8.1326 | -141.8302 | 95.0371
Line_3 | 0.060836 | 1.3603 | 0.97322 | 0.059286 | 1.3602 | 0.97456 | 0.70248 | 15.7071 | 11.2377 | 0.68457 | 15.706 | 11.2532 | -0.39359 | 7.236e-11 | 5.7132e-11 | 0.34529 | 2.2209 | 0.26336 | -0.74476 | -4.7397e-11 | -2.2868e-11 | 0.68418 | 0.40115 | 1.5629 | 108.7069 | -3.3569 | -135.1827 | -70.5853 | 176.5708 | 44.8804 |  | 1.1991 | 0 | 0 | 1.1195 | 0.14369 | 0.14084 | -9.1485 | 0 | 0 | -7.3644 | -173.1906 | 125.3156

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39182 | 1.1174 | 1.0701 | 0.39224 | 1.1177 | 1.0696 | 4.5244 | 12.9031 | 12.3561 | 4.5292 | 12.9064 | 12.3509 | 3.7552 | 10.2281 | 4.6598 | -3.675 | -9.5834 | -4.0601 | 3.6787 | 5.8428 | 9.2849 | -3.5961 | -5.1015 | -8.6083 | -47.1697 | -154.2465 | 46.242 | 132.7682 | 25.7805 | -133.779 |  | 1.1619 | 0.9129 | 0.84076 | 1.1352 | 0.84119 | 0.77061 | -2.7597 | -124.5093 | 109.5912 | -2.8535 | -126.1918 | 110.9701
Line_1 | 0.2064 | 0.76676 | 0.71461 | 0.20595 | 0.76648 | 0.71513 | 2.3833 | 8.8538 | 8.2516 | 2.3782 | 8.8506 | 8.2576 | -1.9104 | -5.9277 | -2.91 | 1.8975 | 6.3187 | 3.1544 | -1.9171 | -3.6934 | -5.0954 | 1.9205 | 3.9373 | 5.5265 | 131.6736 | 21.924 | -129.3435 | -48.199 | -158.1192 | 50.6863 |  | 1.1356 | 0.78883 | 0.71111 | 1.1352 | 0.84119 | 0.77061 | -3.2261 | -126.1501 | 110.9251 | -2.8535 | -126.1918 | 110.9701
Line_2 | 0.18674 | 0.35716 | 0.36064 | 0.18635 | 0.35684 | 0.36098 | 2.1563 | 4.1241 | 4.1644 | 2.1518 | 4.1205 | 4.1683 | -1.7269 | -3.2328 | -0.80632 | 1.7775 | 3.2647 | 0.90575 | -1.6517 | -1.0274 | -3.0639 | 1.6756 | 1.1643 | 3.0818 | 133.7182 | 34.253 | -142.7206 | -46.1627 | -145.8196 | 37.3484 |  | 1.1082 | 0.82252 | 0.76078 | 1.1352 | 0.84119 | 0.77061 | -2.5553 | -128.1171 | 112.5352 | -2.8535 | -126.1918 | 110.9701
Line_3 | 0.021109 | 0.42479 | 0.37297 | 0.020571 | 0.42465 | 0.37351 | 0.24374 | 4.905 | 4.3067 | 0.23753 | 4.9034 | 4.313 | -0.12145 | -2.8647 | -2.0742 | 0.11566 | 3.0738 | 2.1553 | -0.24871 | -2.6008 | -2.2531 | 0.23646 | 2.6111 | 2.4741 | 112.8015 | 11.6142 | -116.4423 | -66.4908 | -168.4639 | 63.5949 |  | 1.1356 | 0.78883 | 0.71111 | 1.1082 | 0.82252 | 0.76078 | -3.2261 | -126.1501 | 110.9251 | -2.5553 | -128.1171 | 112.5352

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39182 | 1.1174 | 1.0701 | 0.39224 | 1.1177 | 1.0696 | 4.5244 | 12.9031 | 12.3561 | 4.5292 | 12.9064 | 12.3509 | 3.7552 | 10.2281 | 4.6598 | -3.675 | -9.5834 | -4.0601 | 3.6787 | 5.8428 | 9.2849 | -3.5961 | -5.1015 | -8.6083 | -47.1697 | -154.2465 | 46.242 | 132.7682 | 25.7805 | -133.779 |  | 1.1619 | 0.9129 | 0.84076 | 1.1352 | 0.84119 | 0.77061 | -2.7597 | -124.5093 | 109.5912 | -2.8535 | -126.1918 | 110.9701
Line_1 | 0.2064 | 0.76676 | 0.71461 | 0.20595 | 0.76648 | 0.71513 | 2.3833 | 8.8538 | 8.2516 | 2.3782 | 8.8506 | 8.2576 | -1.9104 | -5.9277 | -2.91 | 1.8975 | 6.3187 | 3.1544 | -1.9171 | -3.6934 | -5.0954 | 1.9205 | 3.9373 | 5.5265 | 131.6736 | 21.924 | -129.3435 | -48.199 | -158.1192 | 50.6863 |  | 1.1356 | 0.78883 | 0.71111 | 1.1352 | 0.84119 | 0.77061 | -3.2261 | -126.1501 | 110.9251 | -2.8535 | -126.1918 | 110.9701
Line_2 | 0.18674 | 0.35716 | 0.36064 | 0.18635 | 0.35684 | 0.36098 | 2.1563 | 4.1241 | 4.1644 | 2.1518 | 4.1205 | 4.1683 | -1.7269 | -3.2328 | -0.80632 | 1.7775 | 3.2647 | 0.90575 | -1.6517 | -1.0274 | -3.0639 | 1.6756 | 1.1643 | 3.0818 | 133.7182 | 34.253 | -142.7206 | -46.1627 | -145.8196 | 37.3484 |  | 1.1082 | 0.82252 | 0.76078 | 1.1352 | 0.84119 | 0.77061 | -2.5553 | -128.1171 | 112.5352 | -2.8535 | -126.1918 | 110.9701
Line_3 | 0.021109 | 0.42479 | 0.37297 | 0.020571 | 0.42465 | 0.37351 | 0.24374 | 4.905 | 4.3067 | 0.23753 | 4.9034 | 4.313 | -0.12145 | -2.8647 | -2.0742 | 0.11566 | 3.0738 | 2.1553 | -0.24871 | -2.6008 | -2.2531 | 0.23646 | 2.6111 | 2.4741 | 112.8015 | 11.6142 | -116.4423 | -66.4908 | -168.4639 | 63.5949 |  | 1.1356 | 0.78883 | 0.71111 | 1.1082 | 0.82252 | 0.76078 | -3.2261 | -126.1501 | 110.9251 | -2.5553 | -128.1171 | 112.5352

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92728 | 2.7689 | 2.5191 | 0.92827 | 2.7694 | 2.5182 | 10.7073 | 31.9729 | 29.0882 | 10.7187 | 31.9786 | 29.0778 | 9.4498 | 14.4551 | 9.602 | -8.5886 | -6.8 | -3.2693 | 7.8319 | 5.896 | 8.1643 | -7.3444 | -1.3554 | -4.4313 | -46.5099 | -161.6421 | 37.824 | 133.4279 | 18.3853 | -142.2007 |  | 1.1463 | 0.48827 | 0.43329 | 1.0543 | 0.21683 | 0.18938 | -6.8583 | -139.4524 | 78.1972 | -6.0373 | -150.342 | 91.3809
Line_1 | 0.50232 | 1.9148 | 1.6532 | 0.50122 | 1.9142 | 1.6543 | 5.8003 | 22.1099 | 19.0893 | 5.7876 | 22.1037 | 19.1025 | -4.5943 | -1.2144e-10 | -4.3023e-11 | 4.4999 | 4.6451 | 2.346 | -4.1113 | -9.4526e-11 | -1.2652e-10 | 4.1211 | 1.1802 | 2.7539 | 131.349 | 15.4469 | -138.229 | -48.521 | -164.5976 | 41.8087 |  | 1.0629 | 0 | 0 | 1.0543 | 0.21683 | 0.18938 | -6.8267 | 0 | 0 | -6.0373 | -150.342 | 91.3809
Line_2 | 0.42857 | 0.86405 | 0.87501 | 0.42767 | 0.86355 | 0.8756 | 4.9487 | 9.9772 | 10.1038 | 4.9384 | 9.9715 | 10.1106 | -3.6004 | -1.7706 | 0.1597 | 4.0887 | 2.155 | 0.92324 | -3.0544 | 0.79414 | -1.7886 | 3.2233 | 0.17523 | 1.6775 | 135.5964 | 25.0851 | -149.8636 | -44.2879 | -154.9908 | 30.2081 |  | 0.95409 | 0.1945 | 0.17773 | 1.0543 | 0.21683 | 0.18938 | -4.0943 | -179.0719 | 125.2386 | -6.0373 | -150.342 | 91.3809
Line_3 | 0.081904 | 1.0727 | 0.81507 | 0.080579 | 1.0725 | 0.81624 | 0.94574 | 12.3869 | 9.4116 | 0.93045 | 12.3842 | 9.4251 | -0.42703 | -6.0304e-11 | -3.4183e-11 | 0.34329 | 2.3922 | 0.547 | -0.91004 | -6.1618e-11 | -5.6327e-11 | 0.81867 | -0.28199 | 1.5833 | 108.3112 | 7.7256 | -125.7573 | -71.3444 | -172.3488 | 54.2981 |  | 1.0629 | 0 | 0 | 0.95409 | 0.1945 | 0.17773 | -6.8267 | 0 | 0 | -4.0943 | -179.0719 | 125.2386

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.92728 | 2.7689 | 2.5191 | 0.92827 | 2.7694 | 2.5182 | 10.7073 | 31.9729 | 29.0882 | 10.7187 | 31.9786 | 29.0778 | 9.4498 | 14.4551 | 9.602 | -8.5886 | -6.8 | -3.2693 | 7.8319 | 5.896 | 8.1643 | -7.3444 | -1.3554 | -4.4313 | -46.5099 | -161.6421 | 37.824 | 133.4279 | 18.3853 | -142.2007 |  | 1.1463 | 0.48827 | 0.43329 | 1.0543 | 0.21683 | 0.18938 | -6.8583 | -139.4524 | 78.1972 | -6.0373 | -150.342 | 91.3809
Line_1 | 0.50232 | 1.9148 | 1.6532 | 0.50122 | 1.9142 | 1.6543 | 5.8003 | 22.1099 | 19.0893 | 5.7876 | 22.1037 | 19.1025 | -4.5943 | -1.2144e-10 | -4.3023e-11 | 4.4999 | 4.6451 | 2.346 | -4.1113 | -9.4526e-11 | -1.2652e-10 | 4.1211 | 1.1802 | 2.7539 | 131.349 | 15.4469 | -138.229 | -48.521 | -164.5976 | 41.8087 |  | 1.0629 | 0 | 0 | 1.0543 | 0.21683 | 0.18938 | -6.8267 | 0 | 0 | -6.0373 | -150.342 | 91.3809
Line_2 | 0.42857 | 0.86405 | 0.87501 | 0.42767 | 0.86355 | 0.8756 | 4.9487 | 9.9772 | 10.1038 | 4.9384 | 9.9715 | 10.1106 | -3.6004 | -1.7706 | 0.1597 | 4.0887 | 2.155 | 0.92324 | -3.0544 | 0.79414 | -1.7886 | 3.2233 | 0.17523 | 1.6775 | 135.5964 | 25.0851 | -149.8636 | -44.2879 | -154.9908 | 30.2081 |  | 0.95409 | 0.1945 | 0.17773 | 1.0543 | 0.21683 | 0.18938 | -4.0943 | -179.0719 | 125.2386 | -6.0373 | -150.342 | 91.3809
Line_3 | 0.081904 | 1.0727 | 0.81507 | 0.080579 | 1.0725 | 0.81624 | 0.94574 | 12.3869 | 9.4116 | 0.93045 | 12.3842 | 9.4251 | -0.42703 | -6.0304e-11 | -3.4183e-11 | 0.34329 | 2.3922 | 0.547 | -0.91004 | -6.1618e-11 | -5.6327e-11 | 0.81867 | -0.28199 | 1.5833 | 108.3112 | 7.7256 | -125.7573 | -71.3444 | -172.3488 | 54.2981 |  | 1.0629 | 0 | 0 | 0.95409 | 0.1945 | 0.17773 | -6.8267 | 0 | 0 | -4.0943 | -179.0719 | 125.2386

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34302 | 0.95829 | 0.92576 | 0.34338 | 0.95855 | 0.92535 | 3.9608 | 11.0654 | 10.6897 | 3.9651 | 11.0684 | 10.685 | 3.058 | 8.3289 | 4.1916 | -2.9401 | -7.4151 | -3.3332 | 2.8366 | 4.1177 | 7.1315 | -2.7737 | -3.5716 | -6.6255 | -45.5585 | -151.3547 | 49.5328 | 134.3794 | 28.6725 | -130.4877 |  | 1.0531 | 0.83966 | 0.77384 | 1.0194 | 0.7436 | 0.69412 | -2.7094 | -125.0473 | 109.0879 | -2.289 | -125.6089 | 112.8062
Line_1 | 0.18582 | 0.65843 | 0.61561 | 0.18541 | 0.65815 | 0.6161 | 2.1456 | 7.6029 | 7.1084 | 2.141 | 7.5996 | 7.1141 | -1.5484 | -4.3982 | -2.1687 | 1.5357 | 4.9316 | 2.5286 | -1.5537 | -2.6441 | -3.8514 | 1.5508 | 2.7593 | 4.2415 | 132.3004 | 25.2081 | -126.4211 | -47.5695 | -154.8365 | 53.6083 |  | 1.0223 | 0.67498 | 0.62181 | 1.0194 | 0.7436 | 0.69412 | -2.6009 | -123.779 | 114.1954 | -2.289 | -125.6089 | 112.8062
Line_2 | 0.15854 | 0.30457 | 0.31364 | 0.1582 | 0.30432 | 0.31393 | 1.8306 | 3.5169 | 3.6216 | 1.8268 | 3.5139 | 3.6249 | -1.3378 | -2.4278 | -0.675 | 1.4044 | 2.4835 | 0.80453 | -1.2031 | -0.67924 | -2.4057 | 1.2229 | 0.81231 | 2.3841 | 136.5478 | 36.3512 | -138.6117 | -43.3365 | -143.721 | 41.4539 |  | 0.98287 | 0.71684 | 0.6899 | 1.0194 | 0.7436 | 0.69412 | -1.4862 | -128.0187 | 115.7148 | -2.289 | -125.6089 | 112.8062
Line_3 | 0.030298 | 0.36441 | 0.31588 | 0.029808 | 0.36426 | 0.31636 | 0.34985 | 4.2079 | 3.6475 | 0.34419 | 4.2062 | 3.653 | -0.13319 | -2.1669 | -1.5017 | 0.12175 | 2.4357 | 1.6193 | -0.33193 | -1.8362 | -1.6997 | 0.31563 | 1.7772 | 1.9312 | 109.2626 | 15.9431 | -114.3442 | -70.393 | -164.1355 | 65.6936 |  | 1.0223 | 0.67498 | 0.62181 | 0.98287 | 0.71684 | 0.6899 | -2.6009 | -123.779 | 114.1954 | -1.4862 | -128.0187 | 115.7148

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34302 | 0.95829 | 0.92576 | 0.34338 | 0.95855 | 0.92535 | 3.9608 | 11.0654 | 10.6897 | 3.9651 | 11.0684 | 10.685 | 3.058 | 8.3289 | 4.1916 | -2.9401 | -7.4151 | -3.3332 | 2.8366 | 4.1177 | 7.1315 | -2.7737 | -3.5716 | -6.6255 | -45.5585 | -151.3547 | 49.5328 | 134.3794 | 28.6725 | -130.4877 |  | 1.0531 | 0.83966 | 0.77384 | 1.0194 | 0.7436 | 0.69412 | -2.7094 | -125.0473 | 109.0879 | -2.289 | -125.6089 | 112.8062
Line_1 | 0.18582 | 0.65843 | 0.61561 | 0.18541 | 0.65815 | 0.6161 | 2.1456 | 7.6029 | 7.1084 | 2.141 | 7.5996 | 7.1141 | -1.5484 | -4.3982 | -2.1687 | 1.5357 | 4.9316 | 2.5286 | -1.5537 | -2.6441 | -3.8514 | 1.5508 | 2.7593 | 4.2415 | 132.3004 | 25.2081 | -126.4211 | -47.5695 | -154.8365 | 53.6083 |  | 1.0223 | 0.67498 | 0.62181 | 1.0194 | 0.7436 | 0.69412 | -2.6009 | -123.779 | 114.1954 | -2.289 | -125.6089 | 112.8062
Line_2 | 0.15854 | 0.30457 | 0.31364 | 0.1582 | 0.30432 | 0.31393 | 1.8306 | 3.5169 | 3.6216 | 1.8268 | 3.5139 | 3.6249 | -1.3378 | -2.4278 | -0.675 | 1.4044 | 2.4835 | 0.80453 | -1.2031 | -0.67924 | -2.4057 | 1.2229 | 0.81231 | 2.3841 | 136.5478 | 36.3512 | -138.6117 | -43.3365 | -143.721 | 41.4539 |  | 0.98287 | 0.71684 | 0.6899 | 1.0194 | 0.7436 | 0.69412 | -1.4862 | -128.0187 | 115.7148 | -2.289 | -125.6089 | 112.8062
Line_3 | 0.030298 | 0.36441 | 0.31588 | 0.029808 | 0.36426 | 0.31636 | 0.34985 | 4.2079 | 3.6475 | 0.34419 | 4.2062 | 3.653 | -0.13319 | -2.1669 | -1.5017 | 0.12175 | 2.4357 | 1.6193 | -0.33193 | -1.8362 | -1.6997 | 0.31563 | 1.7772 | 1.9312 | 109.2626 | 15.9431 | -114.3442 | -70.393 | -164.1355 | 65.6936 |  | 1.0223 | 0.67498 | 0.62181 | 0.98287 | 0.71684 | 0.6899 | -2.6009 | -123.779 | 114.1954 | -1.4862 | -128.0187 | 115.7148