## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.94995 | 0.94995 | 2.0934 | 0 | 32.9073 | 32.9073 | -1e-07 | 1.4078 | -1e-07 | 1.5973 | 106.2064 | -73.7936 | 0 | 0.0647 | 0 | -25.1851
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0647 | 0.0647 | -25.1851 | -25.1851
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0647 | 0.0647 | -25.1851 | -25.1851

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.94995 | 0.94995 | 2.0934 | 0 | 32.9073 | 32.9073 | -1e-07 | 1.4078 | -1e-07 | 1.5973 | 106.2064 | -73.7936 | 0 | 0.0647 | 0 | -25.1851
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0647 | 0.0647 | -25.1851 | -25.1851
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0647 | 0.0647 | -25.1851 | -25.1851

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.39551 | 0.39551 | 0.81281 | 0 | 13.7007 | 13.7007 | -7.5593 | 7.8033 | -8.0748 | 8.3517 | 121.2243 | -58.7757 | 0.80733 | 0.83425 | -11.8869 | -11.8313
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83425 | 0.83425 | -11.8313 | -11.8313
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83425 | 0.83425 | -11.8313 | -11.8313

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.39551 | 0.39551 | 0.81281 | 0 | 13.7007 | 13.7007 | -7.5593 | 7.8033 | -8.0748 | 8.3517 | 121.2243 | -58.7757 | 0.80733 | 0.83425 | -11.8869 | -11.8313
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83425 | 0.83425 | -11.8313 | -11.8313
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.83425 | 0.83425 | -11.8313 | -11.8313

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77473 | 0.77473 | 1.8132 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77473 | 0.77473 | 1.8132 | 0 | 26.8374 | 26.8374 | -1e-07 | 1.7977 | -1e-07 | 1.0624 | 109.7251 | -70.2749 | 0 | 0.077808 | 0 | -39.6941
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.2815 | 0.2815 | 0.65884 | 0 | 9.7516 | 9.7516 | -5.4846 | 5.7219 | -3.7684 | 3.9087 | 133.2408 | -46.7592 | 0.6824 | 0.71061 | -12.2664 | -12.4219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.2815 | 0.2815 | 0.65884 | 0 | 9.7516 | 9.7516 | -5.4846 | 5.7219 | -3.7684 | 3.9087 | 133.2408 | -46.7592 | 0.6824 | 0.71061 | -12.2664 | -12.4219
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71061 | 0.71061 | -12.4219 | -12.4219

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18511 | 0.8238 | 0.74576 | 0.18511 | 0.8238 | 0.74576 | 2.1374 | 9.5124 | 8.6113 | 2.1374 | 9.5124 | 8.6113 | -1.347 | -5.5251 | 4.8516 | 1.3648 | 5.878 | -4.5624 | -2.0875 | 0.1839 | -1.2276 | 2.1077 | 0.2165 | 1.5558 | 124.5089 | 3.5815 | -164.1249 | -55.4911 | -176.4185 | 15.8751 | 1.1623 | 0.58115 | 0.58115 | 1.1748 | 0.61835 | 0.55977 | 1.6752 | -178.3248 | -178.3248 | 1.5837 | -174.3091 | 177.0458
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.239e-10 | -5.3026e-11 | -7.9228e-11 | -3.2391e-10 | 5.3032e-11 | 7.9219e-11 | -1.3097e-10 | 2.0256e-09 | -1.8945e-09 | 1.3097e-10 | -2.0256e-09 | 1.8945e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1748 | 0.61835 | 0.55977 | 1.1748 | 0.61835 | 0.55977 | 1.5837 | -174.3091 | 177.0458 | 1.5837 | -174.3091 | 177.0458
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2393e-10 | -5.3041e-11 | -7.9214e-11 | -3.2394e-10 | 5.3048e-11 | 7.9203e-11 | -1.3098e-10 | 2.0256e-09 | -1.8945e-09 | 1.3098e-10 | -2.0256e-09 | 1.8945e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1748 | 0.61835 | 0.55977 | 1.1748 | 0.61835 | 0.55977 | 1.5837 | -174.3091 | 177.0458 | 1.5837 | -174.3091 | 177.0458

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18511 | 0.8238 | 0.74576 | 0.18511 | 0.8238 | 0.74576 | 2.1374 | 9.5124 | 8.6113 | 2.1374 | 9.5124 | 8.6113 | -1.347 | -5.5251 | 4.8516 | 1.3648 | 5.878 | -4.5624 | -2.0875 | 0.1839 | -1.2276 | 2.1077 | 0.2165 | 1.5558 | 124.5089 | 3.5815 | -164.1249 | -55.4911 | -176.4185 | 15.8751 | 1.1623 | 0.58115 | 0.58115 | 1.1748 | 0.61835 | 0.55977 | 1.6752 | -178.3248 | -178.3248 | 1.5837 | -174.3091 | 177.0458
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.239e-10 | -5.3026e-11 | -7.9228e-11 | -3.2391e-10 | 5.3032e-11 | 7.9219e-11 | -1.3097e-10 | 2.0256e-09 | -1.8945e-09 | 1.3097e-10 | -2.0256e-09 | 1.8945e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1748 | 0.61835 | 0.55977 | 1.1748 | 0.61835 | 0.55977 | 1.5837 | -174.3091 | 177.0458 | 1.5837 | -174.3091 | 177.0458
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2393e-10 | -5.3041e-11 | -7.9214e-11 | -3.2394e-10 | 5.3048e-11 | 7.9203e-11 | -1.3098e-10 | 2.0256e-09 | -1.8945e-09 | 1.3098e-10 | -2.0256e-09 | 1.8945e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1748 | 0.61835 | 0.55977 | 1.1748 | 0.61835 | 0.55977 | 1.5837 | -174.3091 | 177.0458 | 1.5837 | -174.3091 | 177.0458

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13998 | 0.46664 | 0.45955 | 0.13998 | 0.46664 | 0.45955 | 1.6164 | 5.3883 | 5.3064 | 1.6164 | 5.3883 | 5.3064 | -0.80442 | -4.6067 | 0.4036 | 0.81461 | 4.7199 | -0.29379 | -1.6757 | -1.6059 | -3.34 | 1.6873 | 1.7343 | 3.4646 | 116.5901 | 15.0401 | -147.5963 | -63.4099 | -164.9599 | 32.4037 | 1.15 | 0.9054 | 0.63401 | 1.1592 | 0.93322 | 0.65525 | 0.9472 | -145.7416 | 129.2938 | 0.81929 | -144.784 | 127.2506
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5198e-10 | -2.2396e-10 | -1.0474e-09 | -2.5198e-10 | 2.2397e-10 | 1.0474e-09 | -6.6861e-11 | 1.5779e-09 | -3.3355e-10 | 6.6853e-11 | -1.5779e-09 | 3.3356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1592 | 0.93322 | 0.65525 | 1.1592 | 0.93322 | 0.65525 | 0.81929 | -144.784 | 127.2506 | 0.81929 | -144.784 | 127.2506
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5198e-10 | -2.2397e-10 | -1.0474e-09 | -2.5198e-10 | 2.2399e-10 | 1.0474e-09 | -6.6861e-11 | 1.5779e-09 | -3.3355e-10 | 6.6858e-11 | -1.5779e-09 | 3.3356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1592 | 0.93322 | 0.65525 | 1.1592 | 0.93322 | 0.65525 | 0.81929 | -144.784 | 127.2506 | 0.81929 | -144.784 | 127.2506

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13998 | 0.46664 | 0.45955 | 0.13998 | 0.46664 | 0.45955 | 1.6164 | 5.3883 | 5.3064 | 1.6164 | 5.3883 | 5.3064 | -0.80442 | -4.6067 | 0.4036 | 0.81461 | 4.7199 | -0.29379 | -1.6757 | -1.6059 | -3.34 | 1.6873 | 1.7343 | 3.4646 | 116.5901 | 15.0401 | -147.5963 | -63.4099 | -164.9599 | 32.4037 | 1.15 | 0.9054 | 0.63401 | 1.1592 | 0.93322 | 0.65525 | 0.9472 | -145.7416 | 129.2938 | 0.81929 | -144.784 | 127.2506
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5198e-10 | -2.2396e-10 | -1.0474e-09 | -2.5198e-10 | 2.2397e-10 | 1.0474e-09 | -6.6861e-11 | 1.5779e-09 | -3.3355e-10 | 6.6853e-11 | -1.5779e-09 | 3.3356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1592 | 0.93322 | 0.65525 | 1.1592 | 0.93322 | 0.65525 | 0.81929 | -144.784 | 127.2506 | 0.81929 | -144.784 | 127.2506
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5198e-10 | -2.2397e-10 | -1.0474e-09 | -2.5198e-10 | 2.2399e-10 | 1.0474e-09 | -6.6861e-11 | 1.5779e-09 | -3.3355e-10 | 6.6858e-11 | -1.5779e-09 | 3.3356e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1592 | 0.93322 | 0.65525 | 1.1592 | 0.93322 | 0.65525 | 0.81929 | -144.784 | 127.2506 | 0.81929 | -144.784 | 127.2506

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.084747 | 0.67204 | 0.59382 | 0.084747 | 0.67204 | 0.59382 | 0.97858 | 7.76 | 6.8568 | 0.97858 | 7.76 | 6.8568 | -0.96496 | -3.8802 | 3.3977 | 0.97213 | 4.3311 | -3.0456 | -0.21836 | 0.57655 | -0.68573 | 0.2226 | -0.31009 | 0.89378 | 169.2442 | 10.4465 | -166.5948 | -10.7558 | -169.5535 | 13.4052 | 1.011 | 0.50551 | 0.50551 | 1.0191 | 0.55955 | 0.4629 | 1.9948 | -178.0052 | -178.0052 | 2.1413 | -173.6486 | 177.0501
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.808e-11 | -1.3748e-10 | -7.4053e-11 | 6.8086e-11 | 1.3749e-10 | -1.3961e-10 | 1.6524e-09 | -1.4243e-09 | 1.3961e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.8082e-11 | -1.3749e-10 | -7.4054e-11 | 6.8087e-11 | 1.3749e-10 | -1.3962e-10 | 1.6524e-09 | -1.4243e-09 | 1.3963e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.084747 | 0.67204 | 0.59382 | 0.084747 | 0.67204 | 0.59382 | 0.97858 | 7.76 | 6.8568 | 0.97858 | 7.76 | 6.8568 | -0.96496 | -3.8802 | 3.3977 | 0.97213 | 4.3311 | -3.0456 | -0.21836 | 0.57655 | -0.68573 | 0.2226 | -0.31009 | 0.89378 | 169.2442 | 10.4465 | -166.5948 | -10.7558 | -169.5535 | 13.4052 | 1.011 | 0.50551 | 0.50551 | 1.0191 | 0.55955 | 0.4629 | 1.9948 | -178.0052 | -178.0052 | 2.1413 | -173.6486 | 177.0501
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.808e-11 | -1.3748e-10 | -7.4053e-11 | 6.8086e-11 | 1.3749e-10 | -1.3961e-10 | 1.6524e-09 | -1.4243e-09 | 1.3961e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4053e-11 | -6.8082e-11 | -1.3749e-10 | -7.4054e-11 | 6.8087e-11 | 1.3749e-10 | -1.3962e-10 | 1.6524e-09 | -1.4243e-09 | 1.3963e-10 | -1.6524e-09 | 1.4243e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0191 | 0.55955 | 0.4629 | 1.0191 | 0.55955 | 0.4629 | 2.1413 | -173.6486 | 177.0501 | 2.1413 | -173.6486 | 177.0501

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046416 | 0.36807 | 0.32523 | 0.046416 | 0.36807 | 0.32523 | 0.53596 | 4.2501 | 3.7555 | 0.53596 | 4.2501 | 3.7555 | -0.53252 | -3.2832 | 0.32684 | 0.53467 | 3.4184 | -0.22123 | 0.058683 | -0.26726 | -1.9885 | -0.057411 | 0.34719 | 2.0509 | -172.56 | 28.6424 | -148.399 | 7.44 | -151.3576 | 31.601 | 0.9996 | 0.77504 | 0.5366 | 1.0033 | 0.80844 | 0.54929 | 1.1516 | -146.7038 | 130.9349 | 1.3113 | -145.5583 | 127.7576
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3206e-11 | -2.7776e-10 | -8.8932e-10 | -1.3208e-11 | 2.7776e-10 | 8.8933e-10 | -8.419e-11 | 1.2789e-09 | -2.7185e-10 | 8.419e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3209e-11 | -2.7776e-10 | -8.8932e-10 | -1.3212e-11 | 2.7776e-10 | 8.8932e-10 | -8.4192e-11 | 1.2789e-09 | -2.7186e-10 | 8.4195e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046416 | 0.36807 | 0.32523 | 0.046416 | 0.36807 | 0.32523 | 0.53596 | 4.2501 | 3.7555 | 0.53596 | 4.2501 | 3.7555 | -0.53252 | -3.2832 | 0.32684 | 0.53467 | 3.4184 | -0.22123 | 0.058683 | -0.26726 | -1.9885 | -0.057411 | 0.34719 | 2.0509 | -172.56 | 28.6424 | -148.399 | 7.44 | -151.3576 | 31.601 | 0.9996 | 0.77504 | 0.5366 | 1.0033 | 0.80844 | 0.54929 | 1.1516 | -146.7038 | 130.9349 | 1.3113 | -145.5583 | 127.7576
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3206e-11 | -2.7776e-10 | -8.8932e-10 | -1.3208e-11 | 2.7776e-10 | 8.8933e-10 | -8.419e-11 | 1.2789e-09 | -2.7185e-10 | 8.419e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3209e-11 | -2.7776e-10 | -8.8932e-10 | -1.3212e-11 | 2.7776e-10 | 8.8932e-10 | -8.4192e-11 | 1.2789e-09 | -2.7186e-10 | 8.4195e-11 | -1.2789e-09 | 2.7185e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0033 | 0.80844 | 0.54929 | 1.0033 | 0.80844 | 0.54929 | 1.3113 | -145.5583 | 127.7576 | 1.3113 | -145.5583 | 127.7576

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.034 | 0.11992 | 0.18418 | 1.0356 | 0.1211 | 0.18407 | 11.94 | 1.3847 | 2.1268 | 11.9581 | 1.3983 | 2.1255 | -6.7118e-12 | -1.5229 | 0.75116 | 1.7591 | 1.6038 | -0.66576 | 3.8541e-11 | -0.204 | -2.359 | 1.0768 | 0.33994 | 2.1609 | 102.7089 | 54.6869 | -169.1132 | -77.3004 | -124.8144 | 10.3974 | 0 | 1.1096 | 1.1641 | 0.17248 | 1.1725 | 1.0638 | 0 | -117.6835 | 118.5496 | -45.8273 | -112.8475 | 117.5213
Line_1 | 0.0014304 | 0.0014304 | 0.0014304 | 0 | 0 | 0 | 0.016516 | 0.016516 | 0.016516 | 0 | 0 | 0 | 0.0025452 | 0.014762 | -0.017301 | 3.7536e-10 | -3.4768e-10 | 1.3625e-10 | 0.0012794 | -0.012533 | -0.0030619 | -4.9819e-10 | 5.8788e-10 | -1.854e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.17248 | 1.1725 | 1.0638 | 0.17223 | 1.1724 | 1.064 | -45.8273 | -112.8475 | 117.5213 | -45.8201 | -112.8581 | 117.524
Line_2 | 0.0014304 | 0.0014304 | 0.0014304 | 0 | 0 | 0 | 0.016516 | 0.016516 | 0.016516 | 0 | 0 | 0 | 0.0025452 | 0.014762 | -0.017301 | 3.7536e-10 | -3.477e-10 | 1.3625e-10 | 0.0012794 | -0.012533 | -0.0030619 | -4.9819e-10 | 5.8788e-10 | -1.854e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.17248 | 1.1725 | 1.0638 | 0.17223 | 1.1724 | 1.064 | -45.8273 | -112.8475 | 117.5213 | -45.8201 | -112.8581 | 117.524

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.034 | 0.11992 | 0.18418 | 1.0356 | 0.1211 | 0.18407 | 11.94 | 1.3847 | 2.1268 | 11.9581 | 1.3983 | 2.1255 | -6.7118e-12 | -1.5229 | 0.75116 | 1.7591 | 1.6038 | -0.66576 | 3.8541e-11 | -0.204 | -2.359 | 1.0768 | 0.33994 | 2.1609 | 102.7089 | 54.6869 | -169.1132 | -77.3004 | -124.8144 | 10.3974 | 0 | 1.1096 | 1.1641 | 0.17248 | 1.1725 | 1.0638 | 0 | -117.6835 | 118.5496 | -45.8273 | -112.8475 | 117.5213
Line_1 | 0.0014304 | 0.0014304 | 0.0014304 | 0 | 0 | 0 | 0.016516 | 0.016516 | 0.016516 | 0 | 0 | 0 | 0.0025452 | 0.014762 | -0.017301 | 3.7536e-10 | -3.4768e-10 | 1.3625e-10 | 0.0012794 | -0.012533 | -0.0030619 | -4.9819e-10 | 5.8788e-10 | -1.854e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.17248 | 1.1725 | 1.0638 | 0.17223 | 1.1724 | 1.064 | -45.8273 | -112.8475 | 117.5213 | -45.8201 | -112.8581 | 117.524
Line_2 | 0.0014304 | 0.0014304 | 0.0014304 | 0 | 0 | 0 | 0.016516 | 0.016516 | 0.016516 | 0 | 0 | 0 | 0.0025452 | 0.014762 | -0.017301 | 3.7536e-10 | -3.477e-10 | 1.3625e-10 | 0.0012794 | -0.012533 | -0.0030619 | -4.9819e-10 | 5.8788e-10 | -1.854e-10 | -72.5146 | -72.5146 | -72.5146 | 0 | 0 | 0 | 0.17248 | 1.1725 | 1.0638 | 0.17223 | 1.1724 | 1.064 | -45.8273 | -112.8475 | 117.5213 | -45.8201 | -112.8581 | 117.524

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42245 | 0.08286 | 0.15421 | 0.42298 | 0.082501 | 0.15424 | 4.878 | 0.95678 | 1.7807 | 4.8842 | 0.95264 | 1.781 | -2.6248 | -0.36156 | 0.028058 | 2.8766 | 0.33619 | 0.0094003 | -2.9843 | -1.0196 | -2.0625 | 3.1799 | 1.0302 | 2.0206 | 119.4085 | -10.0814 | -151.1254 | -60.588 | 170.1941 | 28.6759 | 0.81474 | 1.1306 | 1.1584 | 0.87793 | 1.1376 | 1.1345 | -11.9242 | -119.6073 | 119.654 | -12.7217 | -117.8788 | 118.4093
Line_1 | 0.00048608 | 0.00048608 | 0.00048608 | 0 | 0 | 0 | 0.0056127 | 0.0056127 | 0.0056127 | 0 | 0 | 0 | 0.004072 | 0.0020908 | -0.0061622 | 6.2816e-10 | -1.5988e-10 | -1.4562e-10 | 0.0027748 | -0.0060329 | 0.0016048 | -7.7963e-10 | 1.6949e-10 | -1.2682e-10 | -46.9934 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.87793 | 1.1376 | 1.1345 | 0.87785 | 1.1376 | 1.1346 | -12.7217 | -117.8788 | 118.4093 | -12.7205 | -117.883 | 118.4118
Line_2 | 0.00048608 | 0.00048608 | 0.00048608 | 0 | 0 | 0 | 0.0056127 | 0.0056127 | 0.0056127 | 0 | 0 | 0 | 0.004072 | 0.0020908 | -0.0061622 | 6.2816e-10 | -1.5988e-10 | -1.4562e-10 | 0.0027748 | -0.0060329 | 0.0016048 | -7.7964e-10 | 1.6949e-10 | -1.2682e-10 | -46.9934 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.87793 | 1.1376 | 1.1345 | 0.87785 | 1.1376 | 1.1346 | -12.7217 | -117.8788 | 118.4093 | -12.7205 | -117.883 | 118.4118

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42245 | 0.08286 | 0.15421 | 0.42298 | 0.082501 | 0.15424 | 4.878 | 0.95678 | 1.7807 | 4.8842 | 0.95264 | 1.781 | -2.6248 | -0.36156 | 0.028058 | 2.8766 | 0.33619 | 0.0094003 | -2.9843 | -1.0196 | -2.0625 | 3.1799 | 1.0302 | 2.0206 | 119.4085 | -10.0814 | -151.1254 | -60.588 | 170.1941 | 28.6759 | 0.81474 | 1.1306 | 1.1584 | 0.87793 | 1.1376 | 1.1345 | -11.9242 | -119.6073 | 119.654 | -12.7217 | -117.8788 | 118.4093
Line_1 | 0.00048608 | 0.00048608 | 0.00048608 | 0 | 0 | 0 | 0.0056127 | 0.0056127 | 0.0056127 | 0 | 0 | 0 | 0.004072 | 0.0020908 | -0.0061622 | 6.2816e-10 | -1.5988e-10 | -1.4562e-10 | 0.0027748 | -0.0060329 | 0.0016048 | -7.7963e-10 | 1.6949e-10 | -1.2682e-10 | -46.9934 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.87793 | 1.1376 | 1.1345 | 0.87785 | 1.1376 | 1.1346 | -12.7217 | -117.8788 | 118.4093 | -12.7205 | -117.883 | 118.4118
Line_2 | 0.00048608 | 0.00048608 | 0.00048608 | 0 | 0 | 0 | 0.0056127 | 0.0056127 | 0.0056127 | 0 | 0 | 0 | 0.004072 | 0.0020908 | -0.0061622 | 6.2816e-10 | -1.5988e-10 | -1.4562e-10 | 0.0027748 | -0.0060329 | 0.0016048 | -7.7964e-10 | 1.6949e-10 | -1.2682e-10 | -46.9934 | -46.9934 | -46.9934 | 0 | 0 | 0 | 0.87793 | 1.1376 | 1.1345 | 0.87785 | 1.1376 | 1.1346 | -12.7217 | -117.8788 | 118.4093 | -12.7205 | -117.883 | 118.4118

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80053 | 0.12293 | 0.11275 | 0.80179 | 0.12388 | 0.11272 | 9.2438 | 1.4194 | 1.3019 | 9.2583 | 1.4304 | 1.3016 | 1.6815e-11 | -0.21738 | 0.41253 | 2.1122 | 0.47883 | -0.30811 | 2.5662e-11 | 1.3286 | -1.2959 | 0.87861 | -1.3757 | 1.1076 | 110.9836 | 141.4976 | -168.7674 | -69.0345 | -38.8979 | 10.5824 | 0 | 0.94849 | 1.0446 | 0.24709 | 1.0183 | 0.88333 | 0 | -119.2105 | 118.8904 | -46.4483 | -109.7069 | 116.1273
Line_1 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2769e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6598e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338
Line_2 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2768e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6597e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80053 | 0.12293 | 0.11275 | 0.80179 | 0.12388 | 0.11272 | 9.2438 | 1.4194 | 1.3019 | 9.2583 | 1.4304 | 1.3016 | 1.6815e-11 | -0.21738 | 0.41253 | 2.1122 | 0.47883 | -0.30811 | 2.5662e-11 | 1.3286 | -1.2959 | 0.87861 | -1.3757 | 1.1076 | 110.9836 | 141.4976 | -168.7674 | -69.0345 | -38.8979 | 10.5824 | 0 | 0.94849 | 1.0446 | 0.24709 | 1.0183 | 0.88333 | 0 | -119.2105 | 118.8904 | -46.4483 | -109.7069 | 116.1273
Line_1 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2769e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6598e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338
Line_2 | 0.0010881 | 0.0010881 | 0.0010881 | 0 | 0 | 0 | 0.012565 | 0.012565 | 0.012565 | 0 | 0 | 0 | 0.0030358 | 0.008021 | -0.011051 | 4.0014e-10 | -1.2768e-10 | 3.6958e-10 | 0.00064971 | -0.0099685 | 0.0010338 | -6.5571e-10 | 6.6597e-10 | -2.1847e-10 | -58.5282 | -58.5281 | -58.5281 | 0 | 0 | 0 | 0.24709 | 1.0183 | 0.88333 | 0.24675 | 1.0182 | 0.88366 | -46.4483 | -109.7069 | 116.1273 | -46.4477 | -109.724 | 116.1338

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.044407 | 0.040731 | 0.28965 | 0.044752 | 0.04072 | 3.3394 | 0.51277 | 0.47032 | 3.3446 | 0.51675 | 0.47019 | -1.8997 | 0.13001 | -0.038017 | 2.1779 | -0.094941 | 0.04812 | -1.2641 | 0.48595 | -0.4771 | 1.3814 | -0.49561 | 0.45347 | 134.2865 | 164.8006 | -145.4644 | -45.7316 | -15.5949 | 33.8853 | 0.68333 | 0.98102 | 1.0176 | 0.77112 | 0.97652 | 0.96984 | -12.0719 | -120.1774 | 119.9796 | -13.3458 | -116.4394 | 117.8281
Line_1 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7158e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326
Line_2 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7161e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2892 | 0.044407 | 0.040731 | 0.28965 | 0.044752 | 0.04072 | 3.3394 | 0.51277 | 0.47032 | 3.3446 | 0.51675 | 0.47019 | -1.8997 | 0.13001 | -0.038017 | 2.1779 | -0.094941 | 0.04812 | -1.2641 | 0.48595 | -0.4771 | 1.3814 | -0.49561 | 0.45347 | 134.2865 | 164.8006 | -145.4644 | -45.7316 | -15.5949 | 33.8853 | 0.68333 | 0.98102 | 1.0176 | 0.77112 | 0.97652 | 0.96984 | -12.0719 | -120.1774 | 119.9796 | -13.3458 | -116.4394 | 117.8281
Line_1 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7158e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326
Line_2 | 0.00039309 | 0.00039309 | 0.00039309 | 0 | 0 | 0 | 0.004539 | 0.004539 | 0.004539 | 0 | 0 | 0 | 0.003248 | 0.00067702 | -0.0039242 | 5.7107e-10 | 7.7161e-11 | 1.0436e-10 | 0.0013043 | -0.0043805 | 0.0019949 | -6.5247e-10 | 2.2192e-10 | -1.345e-10 | -35.2252 | -35.2252 | -35.2252 | 0 | 0 | 0 | 0.77112 | 0.97652 | 0.96984 | 0.771 | 0.97653 | 0.96994 | -13.3458 | -116.4394 | 117.8281 | -13.3442 | -116.4466 | 117.8326

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064559 | 1.0797 | 0.92674 | 0.063057 | 1.0806 | 0.92788 | 0.74546 | 12.4676 | 10.7011 | 0.72812 | 12.4776 | 10.7143 | -0.45351 | -2.9404e-11 | -1.9752e-11 | 0.37078 | 1.7968 | 0.81139 | -0.70264 | 2.2121e-11 | 2.4926e-11 | 0.6815 | -0.045031 | 1.6518 | 123.4237 | -22.551 | -126.7339 | -55.9651 | 157.3747 | 53.3394 | 1.1218 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 0.5843 | 0 | 0 | 5.4858 | 155.9391 | 117.1792
Line_1 | 0.001496 | 0.001496 | 0.001496 | 0 | 0 | 0 | 0.017275 | 0.017275 | 0.017275 | 0 | 0 | 0 | -0.0046758 | 0.0017368 | 0.0029452 | 1.1447e-10 | -1.5401e-11 | 5.8308e-10 | -0.017803 | 0.0017821 | 0.00036045 | 4.1008e-10 | -5.769e-10 | -3.4308e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 1.0657 | 0.14382 | 0.17152 | 5.4858 | 155.9391 | 117.1792 | 5.4746 | 155.981 | 117.1574
Line_2 | 0.001496 | 0.001496 | 0.001496 | 0 | 0 | 0 | 0.017275 | 0.017275 | 0.017275 | 0 | 0 | 0 | -0.0046758 | 0.0017368 | 0.0029452 | 1.1445e-10 | -1.54e-11 | 5.8308e-10 | -0.017803 | 0.0017821 | 0.00036045 | 4.1007e-10 | -5.769e-10 | -3.431e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 1.0657 | 0.14382 | 0.17152 | 5.4858 | 155.9391 | 117.1792 | 5.4746 | 155.981 | 117.1574

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064559 | 1.0797 | 0.92674 | 0.063057 | 1.0806 | 0.92788 | 0.74546 | 12.4676 | 10.7011 | 0.72812 | 12.4776 | 10.7143 | -0.45351 | -2.9404e-11 | -1.9752e-11 | 0.37078 | 1.7968 | 0.81139 | -0.70264 | 2.2121e-11 | 2.4926e-11 | 0.6815 | -0.045031 | 1.6518 | 123.4237 | -22.551 | -126.7339 | -55.9651 | 157.3747 | 53.3394 | 1.1218 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 0.5843 | 0 | 0 | 5.4858 | 155.9391 | 117.1792
Line_1 | 0.001496 | 0.001496 | 0.001496 | 0 | 0 | 0 | 0.017275 | 0.017275 | 0.017275 | 0 | 0 | 0 | -0.0046758 | 0.0017368 | 0.0029452 | 1.1447e-10 | -1.5401e-11 | 5.8308e-10 | -0.017803 | 0.0017821 | 0.00036045 | 4.1008e-10 | -5.769e-10 | -3.4308e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 1.0657 | 0.14382 | 0.17152 | 5.4858 | 155.9391 | 117.1792 | 5.4746 | 155.981 | 117.1574
Line_2 | 0.001496 | 0.001496 | 0.001496 | 0 | 0 | 0 | 0.017275 | 0.017275 | 0.017275 | 0 | 0 | 0 | -0.0046758 | 0.0017368 | 0.0029452 | 1.1445e-10 | -1.54e-11 | 5.8308e-10 | -0.017803 | 0.0017821 | 0.00036045 | 4.1007e-10 | -5.769e-10 | -3.431e-11 | 110.2017 | 110.2017 | 110.2017 | 0 | 0 | 0 | 1.0655 | 0.14405 | 0.17177 | 1.0657 | 0.14382 | 0.17152 | 5.4858 | 155.9391 | 117.1792 | 5.4746 | 155.981 | 117.1574

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10363 | 0.43904 | 0.3813 | 0.10315 | 0.43936 | 0.38158 | 1.1967 | 5.0695 | 4.4028 | 1.1911 | 5.0733 | 4.4062 | -0.14865 | -2.5718 | -2.5811 | 0.12437 | 2.8378 | 2.6781 | -1.3554 | -3.271 | -2.404 | 1.3207 | 3.3079 | 2.6493 | 96.2781 | -4.085 | -114.4889 | -83.8583 | 175.8592 | 65.5797 | 1.1395 | 0.82077 | 0.80112 | 1.1137 | 0.85908 | 0.85495 | 0.019667 | -132.2614 | 108.4772 | 0.76197 | -134.7666 | 110.2698
Line_1 | 0.00048931 | 0.00048931 | 0.00048931 | 0 | 0 | 0 | 0.0056501 | 0.0056501 | 0.0056501 | 0 | 0 | 0 | -0.0043283 | -8.559e-05 | 0.0044145 | -5.657e-11 | 6.4459e-10 | 7.1867e-10 | -0.0045673 | 0.0048531 | -0.0019612 | 5.9597e-11 | -8.8282e-10 | -5.83e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.1137 | 0.85908 | 0.85495 | 1.1138 | 0.85905 | 0.85489 | 0.76197 | -134.7666 | 110.2698 | 0.76015 | -134.7614 | 110.2658
Line_2 | 0.00048931 | 0.00048931 | 0.00048931 | 0 | 0 | 0 | 0.0056501 | 0.0056501 | 0.0056501 | 0 | 0 | 0 | -0.0043283 | -8.559e-05 | 0.0044145 | -5.6573e-11 | 6.446e-10 | 7.1867e-10 | -0.0045673 | 0.0048531 | -0.0019612 | 5.9599e-11 | -8.8282e-10 | -5.83e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.1137 | 0.85908 | 0.85495 | 1.1138 | 0.85905 | 0.85489 | 0.76197 | -134.7666 | 110.2698 | 0.76015 | -134.7614 | 110.2658

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10363 | 0.43904 | 0.3813 | 0.10315 | 0.43936 | 0.38158 | 1.1967 | 5.0695 | 4.4028 | 1.1911 | 5.0733 | 4.4062 | -0.14865 | -2.5718 | -2.5811 | 0.12437 | 2.8378 | 2.6781 | -1.3554 | -3.271 | -2.404 | 1.3207 | 3.3079 | 2.6493 | 96.2781 | -4.085 | -114.4889 | -83.8583 | 175.8592 | 65.5797 | 1.1395 | 0.82077 | 0.80112 | 1.1137 | 0.85908 | 0.85495 | 0.019667 | -132.2614 | 108.4772 | 0.76197 | -134.7666 | 110.2698
Line_1 | 0.00048931 | 0.00048931 | 0.00048931 | 0 | 0 | 0 | 0.0056501 | 0.0056501 | 0.0056501 | 0 | 0 | 0 | -0.0043283 | -8.559e-05 | 0.0044145 | -5.657e-11 | 6.4459e-10 | 7.1867e-10 | -0.0045673 | 0.0048531 | -0.0019612 | 5.9597e-11 | -8.8282e-10 | -5.83e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.1137 | 0.85908 | 0.85495 | 1.1138 | 0.85905 | 0.85489 | 0.76197 | -134.7666 | 110.2698 | 0.76015 | -134.7614 | 110.2658
Line_2 | 0.00048931 | 0.00048931 | 0.00048931 | 0 | 0 | 0 | 0.0056501 | 0.0056501 | 0.0056501 | 0 | 0 | 0 | -0.0043283 | -8.559e-05 | 0.0044145 | -5.6573e-11 | 6.446e-10 | 7.1867e-10 | -0.0045673 | 0.0048531 | -0.0019612 | 5.9599e-11 | -8.8282e-10 | -5.83e-10 | 134.223 | 134.223 | 134.223 | 0 | 0 | 0 | 1.1137 | 0.85908 | 0.85495 | 1.1138 | 0.85905 | 0.85489 | 0.76197 | -134.7666 | 110.2698 | 0.76015 | -134.7614 | 110.2658

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02481 | 0.92117 | 0.65179 | 0.025395 | 0.92179 | 0.65269 | 0.28648 | 10.6367 | 7.5262 | 0.29323 | 10.6439 | 7.5367 | 0.28093 | -1.4285e-13 | -3.3562e-12 | -0.24135 | 2.4094 | 0.72974 | 0.051518 | -1.9675e-11 | -1.3691e-11 | -0.092566 | -0.45766 | 1.5124 | -10.9831 | -14.1098 | -122.257 | 166.3321 | 165.8182 | 57.8264 | 0.99697 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | -0.59139 | 0 | 0 | 7.3156 | 155.0629 | 122.0682
Line_1 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1071e-10 | -8.4028e-10 | 2.9087e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439
Line_2 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1072e-10 | -8.4028e-10 | 2.909e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.02481 | 0.92117 | 0.65179 | 0.025395 | 0.92179 | 0.65269 | 0.28648 | 10.6367 | 7.5262 | 0.29323 | 10.6439 | 7.5367 | 0.28093 | -1.4285e-13 | -3.3562e-12 | -0.24135 | 2.4094 | 0.72974 | 0.051518 | -1.9675e-11 | -1.3691e-11 | -0.092566 | -0.45766 | 1.5124 | -10.9831 | -14.1098 | -122.257 | 166.3321 | 165.8182 | 57.8264 | 0.99697 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | -0.59139 | 0 | 0 | 7.3156 | 155.0629 | 122.0682
Line_1 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1071e-10 | -8.4028e-10 | 2.9087e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439
Line_2 | 0.0011167 | 0.0011167 | 0.0011167 | 0 | 0 | 0 | 0.012895 | 0.012895 | 0.012895 | 0 | 0 | 0 | -0.0054566 | 0.002597 | 0.0028662 | 3.5609e-10 | -1.1926e-10 | 6.3372e-10 | -0.0099717 | 0.0014431 | -0.00019717 | 4.1072e-10 | -8.4028e-10 | 2.909e-11 | 126.0035 | 126.0035 | 126.0035 | 0 | 0 | 0 | 0.88153 | 0.23041 | 0.22281 | 0.88176 | 0.23007 | 0.22247 | 7.3156 | 155.0629 | 122.0682 | 7.2983 | 155.0889 | 122.0439

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077773 | 0.32585 | 0.24523 | 0.0080858 | 0.32604 | 0.24555 | 0.089805 | 3.7625 | 2.8316 | 0.093366 | 3.7648 | 2.8354 | 0.089258 | -2.0568 | -1.6682 | -0.086823 | 2.3485 | 1.775 | 0.0093186 | -1.6157 | -0.90441 | -0.015263 | 1.5518 | 1.1047 | -6.1491 | 9.7528 | -100.7165 | 171.3753 | -170.3207 | 79.36 | 0.99931 | 0.69514 | 0.67013 | 0.94417 | 0.74769 | 0.73736 | -0.18897 | -132.0949 | 107.748 | 1.3457 | -136.8653 | 111.2569
Line_1 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1136e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499
Line_2 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1139e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0077773 | 0.32585 | 0.24523 | 0.0080858 | 0.32604 | 0.24555 | 0.089805 | 3.7625 | 2.8316 | 0.093366 | 3.7648 | 2.8354 | 0.089258 | -2.0568 | -1.6682 | -0.086823 | 2.3485 | 1.775 | 0.0093186 | -1.6157 | -0.90441 | -0.015263 | 1.5518 | 1.1047 | -6.1491 | 9.7528 | -100.7165 | 171.3753 | -170.3207 | 79.36 | 0.99931 | 0.69514 | 0.67013 | 0.94417 | 0.74769 | 0.73736 | -0.18897 | -132.0949 | 107.748 | 1.3457 | -136.8653 | 111.2569
Line_1 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1136e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499
Line_2 | 0.00039196 | 0.00039196 | 0.00039196 | 0 | 0 | 0 | 0.004526 | 0.004526 | 0.004526 | 0 | 0 | 0 | -0.0035069 | 0.00078204 | 0.0027257 | 1.9195e-10 | 5.7402e-10 | 6.7877e-10 | -0.0024418 | 0.0032924 | -0.0019256 | 8.1139e-11 | -7.9493e-10 | -4.1125e-10 | 146.4965 | 146.4965 | 146.4965 | 0 | 0 | 0 | 0.94417 | 0.74769 | 0.73736 | 0.94429 | 0.74764 | 0.73727 | 1.3457 | -136.8653 | 111.2569 | 1.3428 | -136.8567 | 111.2499