## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0996 | 2.0996 | 0 | 0 | 72.7312 | 72.7312 | 16.3475 | -9.4707 | 18.9813 | -11.1788 | -73.9365 | 106.0635 | 0.34443 | 0.20144 | -24.673 | -24.208
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20144 | 0.20144 | -24.208 | -24.208
Line_2 | 2.9577 | 2.9577 | 0 | 5.8256 | 102.4575 | 102.4575 | 13.6468 | -1e-07 | 15.4839 | -1e-07 | -72.8164 | 107.1836 | 0.20144 | 0 | -24.208 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0996 | 2.0996 | 0 | 0 | 72.7312 | 72.7312 | 16.3475 | -9.4707 | 18.9813 | -11.1788 | -73.9365 | 106.0635 | 0.34443 | 0.20144 | -24.673 | -24.208
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20144 | 0.20144 | -24.208 | -24.208
Line_2 | 2.9577 | 2.9577 | 0 | 5.8256 | 102.4575 | 102.4575 | 13.6468 | -1e-07 | 15.4839 | -1e-07 | -72.8164 | 107.1836 | 0.20144 | 0 | -24.208 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.59646 | 0.59646 | 0 | 0 | 20.6619 | 20.6619 | 14.7205 | -14.1655 | 12.2358 | -11.6061 | -48.0688 | 131.9312 | 0.92643 | 0.88631 | -8.3352 | -8.7404
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88631 | 0.88631 | -8.7404 | -8.7404
Line_2 | 0.94375 | 0.94375 | 0 | 1.8923 | 32.6924 | 32.6924 | 21.0721 | -19.6826 | 19.8887 | -18.3122 | -52.0855 | 127.9145 | 0.88631 | 0.82233 | -8.7404 | -9.1512

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.59646 | 0.59646 | 0 | 0 | 20.6619 | 20.6619 | 14.7205 | -14.1655 | 12.2358 | -11.6061 | -48.0688 | 131.9312 | 0.92643 | 0.88631 | -8.3352 | -8.7404
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.88631 | 0.88631 | -8.7404 | -8.7404
Line_2 | 0.94375 | 0.94375 | 0 | 1.8923 | 32.6924 | 32.6924 | 21.0721 | -19.6826 | 19.8887 | -18.3122 | -52.0855 | 127.9145 | 0.88631 | 0.82233 | -8.7404 | -9.1512

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132
Line_2 | 2.3157 | 2.3157 | 0 | 4.2852 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.6417 | 1.6417 | 0 | 0 | 56.8697 | 56.8697 | 19.4023 | -11.3298 | 11.5948 | -6.8244 | -65.6754 | 114.3246 | 0.39745 | 0.23257 | -34.8129 | -34.6132
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.23257 | 0.23257 | -34.6132 | -34.6132
Line_2 | 2.3157 | 2.3157 | 0 | 4.2852 | 80.2187 | 80.2187 | 16.0618 | -1e-07 | 9.4917 | -1e-07 | -65.194 | 114.806 | 0.23257 | 0 | -34.6132 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.57229 | 0.57229 | 0 | 0 | 19.8247 | 19.8247 | 11.9966 | -11.0156 | 10.5107 | -9.931 | -50.9652 | 129.0348 | 0.80454 | 0.74813 | -9.7422 | -8.9292
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74813 | 0.74813 | -8.9292 | -8.9292
Line_2 | 0.80725 | 0.80725 | 0 | 1.4938 | 27.9641 | 27.9641 | 15.6555 | -13.7036 | 13.8774 | -12.7239 | -50.4837 | 129.5163 | 0.74813 | 0.66871 | -8.9292 | -7.6068

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.57229 | 0.57229 | 0 | 0 | 19.8247 | 19.8247 | 11.9966 | -11.0156 | 10.5107 | -9.931 | -50.9652 | 129.0348 | 0.80454 | 0.74813 | -9.7422 | -8.9292
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.74813 | 0.74813 | -8.9292 | -8.9292
Line_2 | 0.80725 | 0.80725 | 0 | 1.4938 | 27.9641 | 27.9641 | 15.6555 | -13.7036 | 13.8774 | -12.7239 | -50.4837 | 129.5163 | 0.74813 | 0.66871 | -8.9292 | -7.6068

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30282 | 1.7738 | 1.8935 | 0.30282 | 1.7738 | 1.8935 | 3.4966 | 20.4824 | 21.8637 | 3.4966 | 20.4824 | 21.8637 | -2.4958 | 16.0902 | -8.9513 | 2.5435 | -14.4541 | 10.8155 | -3.3618 | 0.45472 | 7.1928 | 3.4159 | 1.4017 | -5.0776 | 129.6761 | -159.1686 | 12.1259 | -50.3239 | 20.8314 | -167.8741 | 1.1974 | 0.78588 | 0.52521 | 1.218 | 0.70899 | 0.54648 | 3.0862 | -157.5498 | 153.3421 | 3.0049 | -164.7076 | 166.9772
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3368e-10 | -1.8918e-10 | -4.0885e-10 | -5.337e-10 | 1.8919e-10 | 4.0885e-10 | -2.5752e-10 | 2.0117e-09 | -1.6114e-09 | 2.5752e-10 | -2.0117e-09 | 1.6114e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.218 | 0.70899 | 0.54648 | 1.218 | 0.70899 | 0.54648 | 3.0049 | -164.7076 | 166.9772 | 3.0049 | -164.7076 | 166.9772
Line_2 | 0.16246 | 2.4968 | 2.5728 | 0.16246 | 2.4968 | 2.5728 | 1.8759 | 28.8309 | 29.7083 | 1.8759 | 28.8309 | 29.7083 | -1.4765 | 20.4317 | -14.493 | 1.4902 | -17.1899 | 17.9351 | -1.7437 | -0.61254 | 7.3165 | 1.7593 | 4.2907 | -3.411 | 133.2606 | -162.9904 | 13.7631 | -46.7394 | 17.0096 | -166.2369 | 1.218 | 0.70899 | 0.54648 | 1.2291 | 0.61453 | 0.61453 | 3.0049 | -164.7076 | 166.9772 | 2.9947 | -177.0053 | -177.0053

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30282 | 1.7738 | 1.8935 | 0.30282 | 1.7738 | 1.8935 | 3.4966 | 20.4824 | 21.8637 | 3.4966 | 20.4824 | 21.8637 | -2.4958 | 16.0902 | -8.9513 | 2.5435 | -14.4541 | 10.8155 | -3.3618 | 0.45472 | 7.1928 | 3.4159 | 1.4017 | -5.0776 | 129.6761 | -159.1686 | 12.1259 | -50.3239 | 20.8314 | -167.8741 | 1.1974 | 0.78588 | 0.52521 | 1.218 | 0.70899 | 0.54648 | 3.0862 | -157.5498 | 153.3421 | 3.0049 | -164.7076 | 166.9772
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3368e-10 | -1.8918e-10 | -4.0885e-10 | -5.337e-10 | 1.8919e-10 | 4.0885e-10 | -2.5752e-10 | 2.0117e-09 | -1.6114e-09 | 2.5752e-10 | -2.0117e-09 | 1.6114e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.218 | 0.70899 | 0.54648 | 1.218 | 0.70899 | 0.54648 | 3.0049 | -164.7076 | 166.9772 | 3.0049 | -164.7076 | 166.9772
Line_2 | 0.16246 | 2.4968 | 2.5728 | 0.16246 | 2.4968 | 2.5728 | 1.8759 | 28.8309 | 29.7083 | 1.8759 | 28.8309 | 29.7083 | -1.4765 | 20.4317 | -14.493 | 1.4902 | -17.1899 | 17.9351 | -1.7437 | -0.61254 | 7.3165 | 1.7593 | 4.2907 | -3.411 | 133.2606 | -162.9904 | 13.7631 | -46.7394 | 17.0096 | -166.2369 | 1.218 | 0.70899 | 0.54648 | 1.2291 | 0.61453 | 0.61453 | 3.0049 | -164.7076 | 166.9772 | 2.9947 | -177.0053 | -177.0053

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23271 | 0.89428 | 0.88254 | 0.23271 | 0.89428 | 0.88254 | 2.6871 | 10.3263 | 10.1907 | 2.6871 | 10.3263 | 10.1907 | -1.6019 | 10.4922 | -0.80611 | 1.6301 | -10.0764 | 1.2111 | -2.7363 | -0.11491 | 7.7901 | 2.7683 | 0.58676 | -7.3305 | 122.2712 | -137.3456 | 27.6221 | -57.7288 | 42.6544 | -152.3779 | 1.18 | 1.0161 | 0.76851 | 1.1955 | 0.97745 | 0.72908 | 1.9256 | -137.9731 | 123.53 | 1.7801 | -140.6783 | 127.0036
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2115e-10 | -1.8521e-10 | -9.6964e-10 | -4.2115e-10 | 1.8522e-10 | 9.6964e-10 | -1.4979e-10 | 1.3921e-09 | -3.5855e-10 | 1.4979e-10 | -1.3921e-09 | 3.5856e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1955 | 0.97745 | 0.72908 | 1.1955 | 0.97745 | 0.72908 | 1.7801 | -140.6783 | 127.0036 | 1.7801 | -140.6783 | 127.0036
Line_2 | 0.12131 | 1.2795 | 1.2918 | 0.12131 | 1.2795 | 1.2918 | 1.4008 | 14.7744 | 14.917 | 1.4008 | 14.7744 | 14.917 | -0.98061 | 14.3896 | -1.4962 | 0.98826 | -13.5383 | 2.364 | -1.3575 | 1.2199 | 10.7723 | 1.3662 | -0.25395 | -9.7877 | 127.6226 | -145.5239 | 29.0961 | -52.3774 | 34.4761 | -150.9039 | 1.1955 | 0.97745 | 0.72908 | 1.2038 | 0.9165 | 0.67501 | 1.7801 | -140.6783 | 127.0036 | 1.7421 | -144.4492 | 132.6747

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23271 | 0.89428 | 0.88254 | 0.23271 | 0.89428 | 0.88254 | 2.6871 | 10.3263 | 10.1907 | 2.6871 | 10.3263 | 10.1907 | -1.6019 | 10.4922 | -0.80611 | 1.6301 | -10.0764 | 1.2111 | -2.7363 | -0.11491 | 7.7901 | 2.7683 | 0.58676 | -7.3305 | 122.2712 | -137.3456 | 27.6221 | -57.7288 | 42.6544 | -152.3779 | 1.18 | 1.0161 | 0.76851 | 1.1955 | 0.97745 | 0.72908 | 1.9256 | -137.9731 | 123.53 | 1.7801 | -140.6783 | 127.0036
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2115e-10 | -1.8521e-10 | -9.6964e-10 | -4.2115e-10 | 1.8522e-10 | 9.6964e-10 | -1.4979e-10 | 1.3921e-09 | -3.5855e-10 | 1.4979e-10 | -1.3921e-09 | 3.5856e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1955 | 0.97745 | 0.72908 | 1.1955 | 0.97745 | 0.72908 | 1.7801 | -140.6783 | 127.0036 | 1.7801 | -140.6783 | 127.0036
Line_2 | 0.12131 | 1.2795 | 1.2918 | 0.12131 | 1.2795 | 1.2918 | 1.4008 | 14.7744 | 14.917 | 1.4008 | 14.7744 | 14.917 | -0.98061 | 14.3896 | -1.4962 | 0.98826 | -13.5383 | 2.364 | -1.3575 | 1.2199 | 10.7723 | 1.3662 | -0.25395 | -9.7877 | 127.6226 | -145.5239 | 29.0961 | -52.3774 | 34.4761 | -150.9039 | 1.1955 | 0.97745 | 0.72908 | 1.2038 | 0.9165 | 0.67501 | 1.7801 | -140.6783 | 127.0036 | 1.7421 | -144.4492 | 132.6747

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12518 | 1.3825 | 1.4885 | 0.12518 | 1.3825 | 1.4885 | 1.4455 | 15.9643 | 17.1872 | 1.4455 | 15.9643 | 17.1872 | -1.4406 | 12.2824 | -3.1005 | 1.4563 | -10.374 | 5.3124 | -0.26888 | -0.58027 | 6.0481 | 0.27813 | 1.708 | -4.741 | 172.4105 | -154.0103 | 23.3235 | -7.5895 | 25.9897 | -156.6765 | 1.0138 | 0.77023 | 0.39544 | 1.0257 | 0.65858 | 0.41428 | 2.9826 | -156.7152 | 140.4648 | 3.2229 | -163.3598 | 161.5767
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0248e-10 | -1.6535e-10 | -5.0703e-10 | -1.0248e-10 | 1.6535e-10 | 5.0703e-10 | -2.1143e-10 | 1.6579e-09 | -1.0081e-09 | 2.1144e-10 | -1.6579e-09 | 1.0081e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0257 | 0.65858 | 0.41428 | 1.0257 | 0.65858 | 0.41428 | 3.2229 | -163.3598 | 161.5767 | 3.2229 | -163.3598 | 161.5767
Line_2 | 0.071518 | 1.9547 | 2.0122 | 0.071518 | 1.9547 | 2.0122 | 0.82582 | 22.571 | 23.2349 | 0.82582 | 22.571 | 23.2349 | -0.81018 | 14.7624 | -7.3128 | 0.81528 | -10.9476 | 11.3553 | -0.24709 | -1.7412 | 6.2593 | 0.25011 | 3.9955 | -3.8704 | 166.2621 | -156.6331 | 22.1383 | -13.7379 | 23.3669 | -157.8617 | 1.0257 | 0.65858 | 0.41428 | 1.0326 | 0.51632 | 0.51632 | 3.2229 | -163.3598 | 161.5767 | 3.3167 | -176.6833 | -176.6833

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12518 | 1.3825 | 1.4885 | 0.12518 | 1.3825 | 1.4885 | 1.4455 | 15.9643 | 17.1872 | 1.4455 | 15.9643 | 17.1872 | -1.4406 | 12.2824 | -3.1005 | 1.4563 | -10.374 | 5.3124 | -0.26888 | -0.58027 | 6.0481 | 0.27813 | 1.708 | -4.741 | 172.4105 | -154.0103 | 23.3235 | -7.5895 | 25.9897 | -156.6765 | 1.0138 | 0.77023 | 0.39544 | 1.0257 | 0.65858 | 0.41428 | 2.9826 | -156.7152 | 140.4648 | 3.2229 | -163.3598 | 161.5767
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0248e-10 | -1.6535e-10 | -5.0703e-10 | -1.0248e-10 | 1.6535e-10 | 5.0703e-10 | -2.1143e-10 | 1.6579e-09 | -1.0081e-09 | 2.1144e-10 | -1.6579e-09 | 1.0081e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0257 | 0.65858 | 0.41428 | 1.0257 | 0.65858 | 0.41428 | 3.2229 | -163.3598 | 161.5767 | 3.2229 | -163.3598 | 161.5767
Line_2 | 0.071518 | 1.9547 | 2.0122 | 0.071518 | 1.9547 | 2.0122 | 0.82582 | 22.571 | 23.2349 | 0.82582 | 22.571 | 23.2349 | -0.81018 | 14.7624 | -7.3128 | 0.81528 | -10.9476 | 11.3553 | -0.24709 | -1.7412 | 6.2593 | 0.25011 | 3.9955 | -3.8704 | 166.2621 | -156.6331 | 22.1383 | -13.7379 | 23.3669 | -157.8617 | 1.0257 | 0.65858 | 0.41428 | 1.0326 | 0.51632 | 0.51632 | 3.2229 | -163.3598 | 161.5767 | 3.3167 | -176.6833 | -176.6833

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066502 | 0.73446 | 0.79072 | 0.066502 | 0.73446 | 0.79072 | 0.7679 | 8.4808 | 9.1304 | 0.7679 | 8.4808 | 9.1304 | -0.76733 | 7.6193 | 0.60813 | 0.77175 | -7.0807 | 0.016101 | 0.043122 | 0.43215 | 5.9734 | -0.040512 | -0.11389 | -5.6045 | -175.135 | -141.5558 | 35.778 | 4.865 | 38.4442 | -144.222 | 1.0008 | 0.89986 | 0.65761 | 1.0064 | 0.83502 | 0.61383 | 1.6486 | -138.3096 | 119.9649 | 1.8601 | -140.6343 | 125.9426
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555e-11 | -3.0871e-10 | -8.5706e-10 | -2.555e-11 | 3.0871e-10 | 8.5706e-10 | -1.1979e-10 | 1.079e-09 | -2.3302e-10 | 1.1978e-10 | -1.079e-09 | 2.3302e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0064 | 0.83502 | 0.61383 | 1.0064 | 0.83502 | 0.61383 | 1.8601 | -140.6343 | 125.9426 | 1.8601 | -140.6343 | 125.9426
Line_2 | 0.037993 | 1.0384 | 1.069 | 0.037993 | 1.0384 | 1.069 | 0.43871 | 11.9905 | 12.3432 | 0.43871 | 11.9905 | 12.3432 | -0.44085 | 9.9931 | -0.17848 | 0.44229 | -8.9166 | 1.3193 | -0.024211 | 0.61895 | 7.5745 | 0.025062 | 0.017242 | -6.9003 | 178.7166 | -144.1786 | 34.5928 | -1.2834 | 35.8214 | -145.4072 | 1.0064 | 0.83502 | 0.61383 | 1.0098 | 0.74364 | 0.56917 | 1.8601 | -140.6343 | 125.9426 | 1.9598 | -144.2894 | 135.4168

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066502 | 0.73446 | 0.79072 | 0.066502 | 0.73446 | 0.79072 | 0.7679 | 8.4808 | 9.1304 | 0.7679 | 8.4808 | 9.1304 | -0.76733 | 7.6193 | 0.60813 | 0.77175 | -7.0807 | 0.016101 | 0.043122 | 0.43215 | 5.9734 | -0.040512 | -0.11389 | -5.6045 | -175.135 | -141.5558 | 35.778 | 4.865 | 38.4442 | -144.222 | 1.0008 | 0.89986 | 0.65761 | 1.0064 | 0.83502 | 0.61383 | 1.6486 | -138.3096 | 119.9649 | 1.8601 | -140.6343 | 125.9426
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.555e-11 | -3.0871e-10 | -8.5706e-10 | -2.555e-11 | 3.0871e-10 | 8.5706e-10 | -1.1979e-10 | 1.079e-09 | -2.3302e-10 | 1.1978e-10 | -1.079e-09 | 2.3302e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0064 | 0.83502 | 0.61383 | 1.0064 | 0.83502 | 0.61383 | 1.8601 | -140.6343 | 125.9426 | 1.8601 | -140.6343 | 125.9426
Line_2 | 0.037993 | 1.0384 | 1.069 | 0.037993 | 1.0384 | 1.069 | 0.43871 | 11.9905 | 12.3432 | 0.43871 | 11.9905 | 12.3432 | -0.44085 | 9.9931 | -0.17848 | 0.44229 | -8.9166 | 1.3193 | -0.024211 | 0.61895 | 7.5745 | 0.025062 | 0.017242 | -6.9003 | 178.7166 | -144.1786 | 34.5928 | -1.2834 | 35.8214 | -145.4072 | 1.0064 | 0.83502 | 0.61383 | 1.0098 | 0.74364 | 0.56917 | 1.8601 | -140.6343 | 125.9426 | 1.9598 | -144.2894 | 135.4168

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.606 | 0.54097 | 0.22949 | 1.605 | 0.54144 | 0.23047 | 18.5447 | 6.2466 | 2.65 | 18.5333 | 6.252 | 2.6612 | 8.6428 | -6.992 | 2.8532 | -5.6369 | 7.2927 | -3.0465 | 6.6136 | -1.5996 | 0.24321 | -3.7037 | 1.0465 | -0.44122 | -61.377 | 57.3444 | 110.6456 | 118.6228 | -122.5642 | -69.3193 | 0.58685 | 1.1482 | 1.0806 | 0.36393 | 1.1784 | 1.1567 | -23.9532 | -109.7693 | 115.5179 | -28.0709 | -114.3979 | 118.9215
Line_1 | 0.0012562 | 0.0012562 | 0.0012562 | 0 | 0 | 0 | 0.014506 | 0.014506 | 0.014506 | 0 | 0 | 0 | 0.0037839 | 0.01268 | -0.016459 | 8.0952e-10 | -3.6094e-10 | -2.4236e-10 | 0.0036811 | -0.011463 | -0.00326 | -6.9004e-10 | 4.6315e-10 | -8.7664e-11 | -72.2819 | -72.2819 | -72.2819 | 0 | 0 | 0 | 0.36393 | 1.1784 | 1.1567 | 0.36373 | 1.1783 | 1.1569 | -28.0709 | -114.3979 | 118.9215 | -28.0578 | -114.4073 | 118.9234
Line_2 | 2.4726 | 0.42081 | 0.2177 | 2.471 | 0.42222 | 0.21937 | 28.5511 | 4.8591 | 2.5138 | 28.5328 | 4.8754 | 2.533 | 8.2259 | -5.6705 | 2.24 | -4.4345e-12 | 5.6989 | -2.4639 | 6.348 | -0.7951 | 1.854 | 3.1833e-11 | -0.087797 | -2.2916 | -65.7286 | 57.6204 | 79.3067 | 114.2862 | -122.2469 | -100.5916 | 0.36393 | 1.1784 | 1.1567 | 0 | 1.1691 | 1.3284 | -28.0709 | -114.3979 | 118.9215 | 0 | -123.1295 | 122.3324

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.606 | 0.54097 | 0.22949 | 1.605 | 0.54144 | 0.23047 | 18.5447 | 6.2466 | 2.65 | 18.5333 | 6.252 | 2.6612 | 8.6428 | -6.992 | 2.8532 | -5.6369 | 7.2927 | -3.0465 | 6.6136 | -1.5996 | 0.24321 | -3.7037 | 1.0465 | -0.44122 | -61.377 | 57.3444 | 110.6456 | 118.6228 | -122.5642 | -69.3193 | 0.58685 | 1.1482 | 1.0806 | 0.36393 | 1.1784 | 1.1567 | -23.9532 | -109.7693 | 115.5179 | -28.0709 | -114.3979 | 118.9215
Line_1 | 0.0012562 | 0.0012562 | 0.0012562 | 0 | 0 | 0 | 0.014506 | 0.014506 | 0.014506 | 0 | 0 | 0 | 0.0037839 | 0.01268 | -0.016459 | 8.0952e-10 | -3.6094e-10 | -2.4236e-10 | 0.0036811 | -0.011463 | -0.00326 | -6.9004e-10 | 4.6315e-10 | -8.7664e-11 | -72.2819 | -72.2819 | -72.2819 | 0 | 0 | 0 | 0.36393 | 1.1784 | 1.1567 | 0.36373 | 1.1783 | 1.1569 | -28.0709 | -114.3979 | 118.9215 | -28.0578 | -114.4073 | 118.9234
Line_2 | 2.4726 | 0.42081 | 0.2177 | 2.471 | 0.42222 | 0.21937 | 28.5511 | 4.8591 | 2.5138 | 28.5328 | 4.8754 | 2.533 | 8.2259 | -5.6705 | 2.24 | -4.4345e-12 | 5.6989 | -2.4639 | 6.348 | -0.7951 | 1.854 | 3.1833e-11 | -0.087797 | -2.2916 | -65.7286 | 57.6204 | 79.3067 | 114.2862 | -122.2469 | -100.5916 | 0.36393 | 1.1784 | 1.1567 | 0 | 1.1691 | 1.3284 | -28.0709 | -114.3979 | 118.9215 | 0 | -123.1295 | 122.3324

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48723 | 0.21365 | 0.167 | 0.48689 | 0.21358 | 0.16724 | 5.6261 | 2.467 | 1.9283 | 5.6221 | 2.4662 | 1.9311 | 5.1257 | -2.5024 | 0.92944 | -4.7918 | 2.6069 | -0.99986 | 2.2698 | -1.2959 | -2.0228 | -2.0144 | 1.2519 | 2.051 | -32.3248 | 36.1765 | -176.3549 | 147.6831 | -143.7303 | 3.5567 | 0.99639 | 1.1423 | 1.1544 | 0.92457 | 1.1726 | 1.1815 | -8.4393 | -116.445 | 118.323 | -9.516 | -118.0794 | 119.546
Line_1 | 0.00045216 | 0.00045216 | 0.00045216 | 0 | 0 | 0 | 0.0052211 | 0.0052211 | 0.0052211 | 0 | 0 | 0 | 0.0034198 | 0.0027154 | -0.0061346 | 5.4362e-10 | -3.1489e-10 | -3.5377e-10 | 0.003407 | -0.0054872 | 0.00064969 | -6.1633e-10 | 1.5819e-10 | -3.761e-11 | -54.4087 | -54.4087 | -54.4087 | 0 | 0 | 0 | 0.92457 | 1.1726 | 1.1815 | 0.9245 | 1.1726 | 1.1816 | -9.516 | -118.0794 | 119.546 | -9.5141 | -118.0832 | 119.5478
Line_2 | 0.8353 | 0.15729 | 0.072751 | 0.83474 | 0.1576 | 0.073227 | 9.6452 | 1.8163 | 0.84005 | 9.6387 | 1.8198 | 0.84555 | 7.2386 | -2.0871 | 0.85672 | -6.2448 | 2.1507 | -0.92234 | 5.2085 | -0.42449 | -0.50121 | -4.4868 | 0.30904 | 0.49125 | -45.2528 | 50.424 | 149.8751 | 134.7647 | -129.3821 | -30.4322 | 0.92457 | 1.1726 | 1.1815 | 0.79777 | 1.1939 | 1.2359 | -9.516 | -118.0794 | 119.546 | -9.5382 | -121.205 | 121.5276

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48723 | 0.21365 | 0.167 | 0.48689 | 0.21358 | 0.16724 | 5.6261 | 2.467 | 1.9283 | 5.6221 | 2.4662 | 1.9311 | 5.1257 | -2.5024 | 0.92944 | -4.7918 | 2.6069 | -0.99986 | 2.2698 | -1.2959 | -2.0228 | -2.0144 | 1.2519 | 2.051 | -32.3248 | 36.1765 | -176.3549 | 147.6831 | -143.7303 | 3.5567 | 0.99639 | 1.1423 | 1.1544 | 0.92457 | 1.1726 | 1.1815 | -8.4393 | -116.445 | 118.323 | -9.516 | -118.0794 | 119.546
Line_1 | 0.00045216 | 0.00045216 | 0.00045216 | 0 | 0 | 0 | 0.0052211 | 0.0052211 | 0.0052211 | 0 | 0 | 0 | 0.0034198 | 0.0027154 | -0.0061346 | 5.4362e-10 | -3.1489e-10 | -3.5377e-10 | 0.003407 | -0.0054872 | 0.00064969 | -6.1633e-10 | 1.5819e-10 | -3.761e-11 | -54.4087 | -54.4087 | -54.4087 | 0 | 0 | 0 | 0.92457 | 1.1726 | 1.1815 | 0.9245 | 1.1726 | 1.1816 | -9.516 | -118.0794 | 119.546 | -9.5141 | -118.0832 | 119.5478
Line_2 | 0.8353 | 0.15729 | 0.072751 | 0.83474 | 0.1576 | 0.073227 | 9.6452 | 1.8163 | 0.84005 | 9.6387 | 1.8198 | 0.84555 | 7.2386 | -2.0871 | 0.85672 | -6.2448 | 2.1507 | -0.92234 | 5.2085 | -0.42449 | -0.50121 | -4.4868 | 0.30904 | 0.49125 | -45.2528 | 50.424 | 149.8751 | 134.7647 | -129.3821 | -30.4322 | 0.92457 | 1.1726 | 1.1815 | 0.79777 | 1.1939 | 1.2359 | -9.516 | -118.0794 | 119.546 | -9.5382 | -121.205 | 121.5276

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1229 | 0.47196 | 0.34399 | 1.1223 | 0.4724 | 0.34445 | 12.9665 | 5.4497 | 3.972 | 12.9592 | 5.4549 | 3.9774 | 6.8769 | -4.8274 | 3.4565 | -4.742 | 5.0439 | -3.3687 | 4.3007 | 1.6218 | 1.2603 | -2.3583 | -2.1201 | -1.6418 | -54.638 | 90.0625 | 92.2564 | 125.3561 | -89.8816 | -87.6699 | 0.62553 | 0.93447 | 0.92626 | 0.40867 | 1.003 | 0.94219 | -22.6165 | -108.5077 | 112.2896 | -28.2017 | -112.6805 | 118.3133
Line_1 | 0.00091549 | 0.00091549 | 0.00091549 | 0 | 0 | 0 | 0.010571 | 0.010571 | 0.010571 | 0 | 0 | 0 | 0.0037249 | 0.0062255 | -0.009946 | 7.083e-10 | -4.0556e-11 | 1.9731e-10 | 0.0021883 | -0.0085832 | 0.00053033 | -7.0737e-10 | 4.6756e-10 | -1.0145e-10 | -58.6345 | -58.6345 | -58.6345 | 0 | 0 | 0 | 0.40867 | 1.003 | 0.94219 | 0.4084 | 1.0029 | 0.94247 | -28.2017 | -112.6805 | 118.3133 | -28.1887 | -112.6954 | 118.3177
Line_2 | 1.7559 | 0.40242 | 0.3288 | 1.7546 | 0.40375 | 0.33014 | 20.2757 | 4.6467 | 3.7966 | 20.2608 | 4.6621 | 3.8121 | 7.1484 | -4.5602 | 2.7878 | 2.1136e-11 | 4.4079 | -2.9665 | 4.1904 | 0.96306 | 2.2415 | 1.3602e-11 | -1.9077 | -3.0255 | -58.5804 | 79.2445 | 79.5119 | 121.438 | -100.6917 | -100.4111 | 0.40867 | 1.003 | 0.94219 | 0 | 1.0302 | 1.1115 | -28.2017 | -112.6805 | 118.3133 | 0 | -124.0941 | 125.1531

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1229 | 0.47196 | 0.34399 | 1.1223 | 0.4724 | 0.34445 | 12.9665 | 5.4497 | 3.972 | 12.9592 | 5.4549 | 3.9774 | 6.8769 | -4.8274 | 3.4565 | -4.742 | 5.0439 | -3.3687 | 4.3007 | 1.6218 | 1.2603 | -2.3583 | -2.1201 | -1.6418 | -54.638 | 90.0625 | 92.2564 | 125.3561 | -89.8816 | -87.6699 | 0.62553 | 0.93447 | 0.92626 | 0.40867 | 1.003 | 0.94219 | -22.6165 | -108.5077 | 112.2896 | -28.2017 | -112.6805 | 118.3133
Line_1 | 0.00091549 | 0.00091549 | 0.00091549 | 0 | 0 | 0 | 0.010571 | 0.010571 | 0.010571 | 0 | 0 | 0 | 0.0037249 | 0.0062255 | -0.009946 | 7.083e-10 | -4.0556e-11 | 1.9731e-10 | 0.0021883 | -0.0085832 | 0.00053033 | -7.0737e-10 | 4.6756e-10 | -1.0145e-10 | -58.6345 | -58.6345 | -58.6345 | 0 | 0 | 0 | 0.40867 | 1.003 | 0.94219 | 0.4084 | 1.0029 | 0.94247 | -28.2017 | -112.6805 | 118.3133 | -28.1887 | -112.6954 | 118.3177
Line_2 | 1.7559 | 0.40242 | 0.3288 | 1.7546 | 0.40375 | 0.33014 | 20.2757 | 4.6467 | 3.7966 | 20.2608 | 4.6621 | 3.8121 | 7.1484 | -4.5602 | 2.7878 | 2.1136e-11 | 4.4079 | -2.9665 | 4.1904 | 0.96306 | 2.2415 | 1.3602e-11 | -1.9077 | -3.0255 | -58.5804 | 79.2445 | 79.5119 | 121.438 | -100.6917 | -100.4111 | 0.40867 | 1.003 | 0.94219 | 0 | 1.0302 | 1.1115 | -28.2017 | -112.6805 | 118.3133 | 0 | -124.0941 | 125.1531

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4309 | 0.1811 | 0.132 | 0.43066 | 0.18127 | 0.13218 | 4.9756 | 2.0912 | 1.5242 | 4.9728 | 2.0932 | 1.5262 | 3.7425 | -1.4919 | 1.4783 | -3.4264 | 1.5235 | -1.4668 | 2.2465 | 1.3186 | 0.24804 | -1.9599 | -1.3938 | -0.30305 | -39.5806 | 105.1198 | 107.3137 | 140.4134 | -74.8243 | -72.6126 | 0.87727 | 0.95214 | 0.98346 | 0.79378 | 0.98647 | 0.98133 | -8.6053 | -116.3515 | 116.8387 | -9.8175 | -117.2784 | 119.0611
Line_1 | 0.0003513 | 0.0003513 | 0.0003513 | 0 | 0 | 0 | 0.0040564 | 0.0040564 | 0.0040564 | 0 | 0 | 0 | 0.002677 | 0.001123 | -0.0037993 | 5.5784e-10 | 4.4916e-11 | 6.6376e-11 | 0.0017893 | -0.0038407 | 0.0011878 | -4.9606e-10 | 1.7134e-10 | -5.8768e-11 | -43.5772 | -43.5772 | -43.5772 | 0 | 0 | 0 | 0.79378 | 0.98647 | 0.98133 | 0.79368 | 0.98646 | 0.98142 | -9.8175 | -117.2784 | 119.0611 | -9.8145 | -117.2848 | 119.0643
Line_2 | 0.6738 | 0.15442 | 0.12617 | 0.6733 | 0.15493 | 0.12668 | 7.7803 | 1.7831 | 1.4569 | 7.7746 | 1.789 | 1.4628 | 5.1377 | -1.4985 | 1.301 | -4.083 | 1.4779 | -1.3313 | 3.4272 | 0.92115 | 0.59269 | -2.8068 | -1.0637 | -0.708 | -43.523 | 94.3018 | 94.5693 | 136.4953 | -85.6344 | -85.3538 | 0.79378 | 0.98647 | 0.98133 | 0.63729 | 1.0179 | 1.0308 | -9.8175 | -117.2784 | 119.0611 | -8.9993 | -121.3795 | 122.6503

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4309 | 0.1811 | 0.132 | 0.43066 | 0.18127 | 0.13218 | 4.9756 | 2.0912 | 1.5242 | 4.9728 | 2.0932 | 1.5262 | 3.7425 | -1.4919 | 1.4783 | -3.4264 | 1.5235 | -1.4668 | 2.2465 | 1.3186 | 0.24804 | -1.9599 | -1.3938 | -0.30305 | -39.5806 | 105.1198 | 107.3137 | 140.4134 | -74.8243 | -72.6126 | 0.87727 | 0.95214 | 0.98346 | 0.79378 | 0.98647 | 0.98133 | -8.6053 | -116.3515 | 116.8387 | -9.8175 | -117.2784 | 119.0611
Line_1 | 0.0003513 | 0.0003513 | 0.0003513 | 0 | 0 | 0 | 0.0040564 | 0.0040564 | 0.0040564 | 0 | 0 | 0 | 0.002677 | 0.001123 | -0.0037993 | 5.5784e-10 | 4.4916e-11 | 6.6376e-11 | 0.0017893 | -0.0038407 | 0.0011878 | -4.9606e-10 | 1.7134e-10 | -5.8768e-11 | -43.5772 | -43.5772 | -43.5772 | 0 | 0 | 0 | 0.79378 | 0.98647 | 0.98133 | 0.79368 | 0.98646 | 0.98142 | -9.8175 | -117.2784 | 119.0611 | -9.8145 | -117.2848 | 119.0643
Line_2 | 0.6738 | 0.15442 | 0.12617 | 0.6733 | 0.15493 | 0.12668 | 7.7803 | 1.7831 | 1.4569 | 7.7746 | 1.789 | 1.4628 | 5.1377 | -1.4985 | 1.301 | -4.083 | 1.4779 | -1.3313 | 3.4272 | 0.92115 | 0.59269 | -2.8068 | -1.0637 | -0.708 | -43.523 | 94.3018 | 94.5693 | 136.4953 | -85.6344 | -85.3538 | 0.79378 | 0.98647 | 0.98133 | 0.63729 | 1.0179 | 1.0308 | -9.8175 | -117.2784 | 119.0611 | -8.9993 | -121.3795 | 122.6503

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3003 | 2.1497 | 1.6358 | 0.30039 | 2.1492 | 1.6359 | 3.4676 | 24.8231 | 18.889 | 3.4686 | 24.8173 | 18.8893 | -2.937 | 12.8276 | 0.22003 | 3.1963 | -7.7736 | -0.21434 | 2.0857 | 2.6804 | 9.0155 | -2.3657 | -0.82312 | -5.8321 | -139.4337 | -177.0518 | 33.8403 | 40.746 | 2.9696 | -146.1928 | 1.0389 | 0.52792 | 0.47743 | 1.1464 | 0.31498 | 0.30896 | 5.1859 | -165.2493 | 122.4422 | 4.239 | -170.986 | 121.7023
Line_1 | 0.00121 | 0.00121 | 0.00121 | 0 | 0 | 0 | 0.013972 | 0.013972 | 0.013972 | 0 | 0 | 0 | -0.0054099 | 0.0011364 | 0.0042776 | -2.0837e-10 | 4.3644e-10 | 8.9523e-10 | -0.015077 | 0.0042516 | 0.00058017 | 3.412e-10 | -9.863e-10 | 3.6785e-11 | 113.9785 | 113.9784 | 113.9785 | 0 | 0 | 0 | 1.1464 | 0.31498 | 0.30896 | 1.1466 | 0.31486 | 0.30876 | 4.239 | -170.986 | 121.7023 | 4.2312 | -170.9556 | 121.693
Line_2 | 0.28616 | 3.0524 | 2.3966 | 0.28722 | 3.0521 | 2.3957 | 3.3043 | 35.246 | 27.6731 | 3.3165 | 35.2422 | 27.6632 | -2.7174 | 10.8661 | 1.2434 | 2.8744 | -5.4643e-12 | -1.3879e-11 | 2.6392 | 2.2757 | 8.4589 | -3.2448 | 3.5115e-11 | 2.4714e-11 | -131.5969 | 177.1857 | 40.0642 | 48.6564 | -2.784 | -139.9695 | 1.1464 | 0.31498 | 0.30896 | 1.3071 | 0 | 0 | 4.239 | -170.986 | 121.7023 | 0.19323 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3003 | 2.1497 | 1.6358 | 0.30039 | 2.1492 | 1.6359 | 3.4676 | 24.8231 | 18.889 | 3.4686 | 24.8173 | 18.8893 | -2.937 | 12.8276 | 0.22003 | 3.1963 | -7.7736 | -0.21434 | 2.0857 | 2.6804 | 9.0155 | -2.3657 | -0.82312 | -5.8321 | -139.4337 | -177.0518 | 33.8403 | 40.746 | 2.9696 | -146.1928 | 1.0389 | 0.52792 | 0.47743 | 1.1464 | 0.31498 | 0.30896 | 5.1859 | -165.2493 | 122.4422 | 4.239 | -170.986 | 121.7023
Line_1 | 0.00121 | 0.00121 | 0.00121 | 0 | 0 | 0 | 0.013972 | 0.013972 | 0.013972 | 0 | 0 | 0 | -0.0054099 | 0.0011364 | 0.0042776 | -2.0837e-10 | 4.3644e-10 | 8.9523e-10 | -0.015077 | 0.0042516 | 0.00058017 | 3.412e-10 | -9.863e-10 | 3.6785e-11 | 113.9785 | 113.9784 | 113.9785 | 0 | 0 | 0 | 1.1464 | 0.31498 | 0.30896 | 1.1466 | 0.31486 | 0.30876 | 4.239 | -170.986 | 121.7023 | 4.2312 | -170.9556 | 121.693
Line_2 | 0.28616 | 3.0524 | 2.3966 | 0.28722 | 3.0521 | 2.3957 | 3.3043 | 35.246 | 27.6731 | 3.3165 | 35.2422 | 27.6632 | -2.7174 | 10.8661 | 1.2434 | 2.8744 | -5.4643e-12 | -1.3879e-11 | 2.6392 | 2.2757 | 8.4589 | -3.2448 | 3.5115e-11 | 2.4714e-11 | -131.5969 | 177.1857 | 40.0642 | 48.6564 | -2.784 | -139.9695 | 1.1464 | 0.31498 | 0.30896 | 1.3071 | 0 | 0 | 4.239 | -170.986 | 121.7023 | 0.19323 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082892 | 0.64147 | 0.46464 | 0.082557 | 0.64136 | 0.46456 | 0.95716 | 7.407 | 5.3652 | 0.95328 | 7.4058 | 5.3643 | -0.92835 | 6.8978 | 3.0654 | 0.96347 | -6.4271 | -3.0458 | -0.53237 | 2.2343 | 4.0393 | 0.55092 | -2.1486 | -3.716 | 151.5061 | -149.6919 | 62.3731 | -28.4409 | 30.3373 | -117.6682 | 1.1181 | 0.97889 | 0.94512 | 1.1642 | 0.91506 | 0.8957 | 1.3388 | -131.7437 | 115.1779 | 1.3203 | -131.1772 | 112.9927
Line_1 | 0.0004404 | 0.0004404 | 0.0004404 | 0 | 0 | 0 | 0.0050853 | 0.0050853 | 0.0050853 | 0 | 0 | 0 | -0.0034967 | -0.00091192 | 0.0044092 | -2.7579e-10 | 5.5061e-10 | 6.4414e-10 | -0.0047776 | 0.0045631 | -0.0011426 | 1.0804e-10 | -7.1513e-10 | -4.4088e-10 | 127.5211 | 127.5211 | 127.5211 | 0 | 0 | 0 | 1.1642 | 0.91506 | 0.8957 | 1.1643 | 0.91504 | 0.89564 | 1.3203 | -131.1772 | 112.9927 | 1.3183 | -131.1726 | 112.9898
Line_2 | 0.066003 | 0.97656 | 0.81329 | 0.066061 | 0.97651 | 0.8129 | 0.76214 | 11.2763 | 9.3911 | 0.76281 | 11.2757 | 9.3866 | -0.79609 | 8.8026 | 5.4226 | 0.83322 | -7.6565 | -5.1818 | 0.3919 | 5.3838 | 6.4304 | -0.43523 | -5.2699 | -5.3872 | -152.4697 | -162.6279 | 63.1326 | 28.0489 | 17.4072 | -116.8994 | 1.1642 | 0.91506 | 0.8957 | 1.2323 | 0.82432 | 0.79634 | 1.3203 | -131.1772 | 112.9927 | 0.46868 | -128.0535 | 109.2139

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082892 | 0.64147 | 0.46464 | 0.082557 | 0.64136 | 0.46456 | 0.95716 | 7.407 | 5.3652 | 0.95328 | 7.4058 | 5.3643 | -0.92835 | 6.8978 | 3.0654 | 0.96347 | -6.4271 | -3.0458 | -0.53237 | 2.2343 | 4.0393 | 0.55092 | -2.1486 | -3.716 | 151.5061 | -149.6919 | 62.3731 | -28.4409 | 30.3373 | -117.6682 | 1.1181 | 0.97889 | 0.94512 | 1.1642 | 0.91506 | 0.8957 | 1.3388 | -131.7437 | 115.1779 | 1.3203 | -131.1772 | 112.9927
Line_1 | 0.0004404 | 0.0004404 | 0.0004404 | 0 | 0 | 0 | 0.0050853 | 0.0050853 | 0.0050853 | 0 | 0 | 0 | -0.0034967 | -0.00091192 | 0.0044092 | -2.7579e-10 | 5.5061e-10 | 6.4414e-10 | -0.0047776 | 0.0045631 | -0.0011426 | 1.0804e-10 | -7.1513e-10 | -4.4088e-10 | 127.5211 | 127.5211 | 127.5211 | 0 | 0 | 0 | 1.1642 | 0.91506 | 0.8957 | 1.1643 | 0.91504 | 0.89564 | 1.3203 | -131.1772 | 112.9927 | 1.3183 | -131.1726 | 112.9898
Line_2 | 0.066003 | 0.97656 | 0.81329 | 0.066061 | 0.97651 | 0.8129 | 0.76214 | 11.2763 | 9.3911 | 0.76281 | 11.2757 | 9.3866 | -0.79609 | 8.8026 | 5.4226 | 0.83322 | -7.6565 | -5.1818 | 0.3919 | 5.3838 | 6.4304 | -0.43523 | -5.2699 | -5.3872 | -152.4697 | -162.6279 | 63.1326 | 28.0489 | 17.4072 | -116.8994 | 1.1642 | 0.91506 | 0.8957 | 1.2323 | 0.82432 | 0.79634 | 1.3203 | -131.1772 | 112.9927 | 0.46868 | -128.0535 | 109.2139

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37332 | 1.606 | 1.3163 | 0.37358 | 1.6057 | 1.3164 | 4.3108 | 18.5448 | 15.199 | 4.3138 | 18.5407 | 15.2006 | -1.0724 | 11.621 | 1.0654 | 1.3451 | -7.102 | -0.68605 | 3.499 | 0.48615 | 6.4564 | -3.8586 | 0.69469 | -4.5498 | -103.4555 | -165.9056 | 37.2854 | 76.627 | 14.1116 | -142.7399 | 0.84897 | 0.62719 | 0.43054 | 0.94726 | 0.38488 | 0.3027 | 3.5841 | -163.5101 | 117.915 | 5.8452 | -171.4751 | 118.6853
Line_1 | 0.00085175 | 0.00085175 | 0.00085175 | 0 | 0 | 0 | 0.0098352 | 0.0098352 | 0.0098352 | 0 | 0 | 0 | -0.0047045 | 0.0017566 | 0.0029517 | 1.646e-10 | 3.3652e-10 | 7.7327e-10 | -0.0080414 | 0.0033531 | -0.00038802 | 3.5305e-10 | -1.1031e-09 | -2.577e-11 | 126.1742 | 126.1742 | 126.1742 | 0 | 0 | 0 | 0.94726 | 0.38488 | 0.3027 | 0.94744 | 0.38471 | 0.30245 | 5.8452 | -171.4751 | 118.6853 | 5.8331 | -171.4443 | 118.6687
Line_2 | 0.3391 | 2.3108 | 1.8603 | 0.34022 | 2.3107 | 1.8596 | 3.9155 | 26.6831 | 21.4809 | 3.9286 | 26.6818 | 21.4733 | -1.4991 | 10.2684 | 1.6064 | 1.5289 | -5.8948e-12 | -8.4361e-12 | 3.3926 | 0.16909 | 6.3008 | -4.184 | 8.14e-12 | 3.8767e-12 | -107.9949 | -172.4185 | 42.9878 | 72.1177 | 7.6139 | -137.047 | 0.94726 | 0.38488 | 0.3027 | 1.1339 | 0 | 0 | 5.8452 | -171.4751 | 118.6853 | 2.1915 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37332 | 1.606 | 1.3163 | 0.37358 | 1.6057 | 1.3164 | 4.3108 | 18.5448 | 15.199 | 4.3138 | 18.5407 | 15.2006 | -1.0724 | 11.621 | 1.0654 | 1.3451 | -7.102 | -0.68605 | 3.499 | 0.48615 | 6.4564 | -3.8586 | 0.69469 | -4.5498 | -103.4555 | -165.9056 | 37.2854 | 76.627 | 14.1116 | -142.7399 | 0.84897 | 0.62719 | 0.43054 | 0.94726 | 0.38488 | 0.3027 | 3.5841 | -163.5101 | 117.915 | 5.8452 | -171.4751 | 118.6853
Line_1 | 0.00085175 | 0.00085175 | 0.00085175 | 0 | 0 | 0 | 0.0098352 | 0.0098352 | 0.0098352 | 0 | 0 | 0 | -0.0047045 | 0.0017566 | 0.0029517 | 1.646e-10 | 3.3652e-10 | 7.7327e-10 | -0.0080414 | 0.0033531 | -0.00038802 | 3.5305e-10 | -1.1031e-09 | -2.577e-11 | 126.1742 | 126.1742 | 126.1742 | 0 | 0 | 0 | 0.94726 | 0.38488 | 0.3027 | 0.94744 | 0.38471 | 0.30245 | 5.8452 | -171.4751 | 118.6853 | 5.8331 | -171.4443 | 118.6687
Line_2 | 0.3391 | 2.3108 | 1.8603 | 0.34022 | 2.3107 | 1.8596 | 3.9155 | 26.6831 | 21.4809 | 3.9286 | 26.6818 | 21.4733 | -1.4991 | 10.2684 | 1.6064 | 1.5289 | -5.8948e-12 | -8.4361e-12 | 3.3926 | 0.16909 | 6.3008 | -4.184 | 8.14e-12 | 3.8767e-12 | -107.9949 | -172.4185 | 42.9878 | 72.1177 | 7.6139 | -137.047 | 0.94726 | 0.38488 | 0.3027 | 1.1339 | 0 | 0 | 5.8452 | -171.4751 | 118.6853 | 2.1915 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15142 | 0.57133 | 0.47365 | 0.15153 | 0.5712 | 0.47367 | 1.7484 | 6.5972 | 5.4692 | 1.7497 | 6.5957 | 5.4695 | -0.001923 | 5.4522 | 2.2686 | 0.042042 | -4.8539 | -2.2196 | 1.6343 | 1.8399 | 3.808 | -1.6933 | -1.7064 | -3.528 | -89.6892 | -151.6727 | 55.7985 | 90.39 | 28.3471 | -124.2301 | 0.93475 | 0.87224 | 0.81045 | 0.96807 | 0.78008 | 0.76206 | 0.3782 | -133.0248 | 115.0137 | 1.8123 | -132.2834 | 113.5942
Line_1 | 0.00033831 | 0.00033831 | 0.00033831 | 0 | 0 | 0 | 0.0039064 | 0.0039064 | 0.0039064 | 0 | 0 | 0 | -0.0027173 | 1.5851e-06 | 0.0027163 | 1.1125e-10 | 5.6368e-10 | 6.4755e-10 | -0.0026301 | 0.0030473 | -0.001218 | 1.1206e-10 | -6.0813e-10 | -3.1195e-10 | 137.7464 | 137.7464 | 137.7464 | 0 | 0 | 0 | 0.96807 | 0.78008 | 0.76206 | 0.96816 | 0.78006 | 0.76197 | 1.8123 | -132.2834 | 113.5942 | 1.8089 | -132.2758 | 113.5895
Line_2 | 0.13655 | 0.82111 | 0.68289 | 0.137 | 0.82109 | 0.68257 | 1.5767 | 9.4814 | 7.8853 | 1.5819 | 9.4811 | 7.8817 | -0.18247 | 6.6248 | 3.7116 | 0.18234 | -5.2732 | -3.432 | 1.5154 | 3.2888 | 4.7258 | -1.6446 | -3.3343 | -3.8012 | -95.0538 | -158.6849 | 61.74 | 85.0527 | 21.3513 | -118.2946 | 0.96807 | 0.78008 | 0.76206 | 1.046 | 0.65804 | 0.64977 | 1.8123 | -132.2834 | 113.5942 | 1.3794 | -126.3428 | 109.6275

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15142 | 0.57133 | 0.47365 | 0.15153 | 0.5712 | 0.47367 | 1.7484 | 6.5972 | 5.4692 | 1.7497 | 6.5957 | 5.4695 | -0.001923 | 5.4522 | 2.2686 | 0.042042 | -4.8539 | -2.2196 | 1.6343 | 1.8399 | 3.808 | -1.6933 | -1.7064 | -3.528 | -89.6892 | -151.6727 | 55.7985 | 90.39 | 28.3471 | -124.2301 | 0.93475 | 0.87224 | 0.81045 | 0.96807 | 0.78008 | 0.76206 | 0.3782 | -133.0248 | 115.0137 | 1.8123 | -132.2834 | 113.5942
Line_1 | 0.00033831 | 0.00033831 | 0.00033831 | 0 | 0 | 0 | 0.0039064 | 0.0039064 | 0.0039064 | 0 | 0 | 0 | -0.0027173 | 1.5851e-06 | 0.0027163 | 1.1125e-10 | 5.6368e-10 | 6.4755e-10 | -0.0026301 | 0.0030473 | -0.001218 | 1.1206e-10 | -6.0813e-10 | -3.1195e-10 | 137.7464 | 137.7464 | 137.7464 | 0 | 0 | 0 | 0.96807 | 0.78008 | 0.76206 | 0.96816 | 0.78006 | 0.76197 | 1.8123 | -132.2834 | 113.5942 | 1.8089 | -132.2758 | 113.5895
Line_2 | 0.13655 | 0.82111 | 0.68289 | 0.137 | 0.82109 | 0.68257 | 1.5767 | 9.4814 | 7.8853 | 1.5819 | 9.4811 | 7.8817 | -0.18247 | 6.6248 | 3.7116 | 0.18234 | -5.2732 | -3.432 | 1.5154 | 3.2888 | 4.7258 | -1.6446 | -3.3343 | -3.8012 | -95.0538 | -158.6849 | 61.74 | 85.0527 | 21.3513 | -118.2946 | 0.96807 | 0.78008 | 0.76206 | 1.046 | 0.65804 | 0.64977 | 1.8123 | -132.2834 | 113.5942 | 1.3794 | -126.3428 | 109.6275