## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.6544e-19 | 0 | 1.202e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.908e-19 | 0 | -1.751e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -6.6877e-12 | 0 | 5.4717e-12 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0086185 | -0.0086185
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0086185 | -0.0086185
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0086185 | -0.0086185

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -7.6891e-12 | 0 | 6.2911e-12 | 0 | 0 | 0 | 1.0998 | 1.0998 | -0.0090289 | -0.0090289
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0998 | 1.0998 | -0.0090289 | -0.0090289
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0998 | 1.0998 | -0.0090289 | -0.0090289

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 1.6703e-20 | 0 | 1.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 8.406e-20 | 0 | 2.269e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -6.1911e-12 | 0 | 5.0654e-12 | 0 | 0 | 0 | 0.9498 | 0.9498 | -0.0097469 | -0.0097469
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9498 | 0.9498 | -0.0097469 | -0.0097469
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9498 | 0.9498 | -0.0097469 | -0.0097469

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -5.2642e-12 | 0 | 4.3071e-12 | 0 | 0 | 0 | 0.89982 | 0.89982 | -0.009234 | -0.009234
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89982 | 0.89982 | -0.009234 | -0.009234
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89982 | 0.89982 | -0.009234 | -0.009234

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7145e-18 | -4.4444e-16 | 4.42e-16 | 9.7145e-18 | 1.404e-15 | 5.1756e-16 | -1.9429e-17 | 5.2514e-09 | -5.2514e-09 | 1.7e-17 | -5.2514e-09 | 5.2514e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 6.8403e-13 | -180 | 180 | 6.8525e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8092e-32 | -4.8379e-16 | -1.4985e-16 | 2.4286e-18 | 5.9648e-16 | 2.5647e-16 | -4.8572e-18 | 1.7505e-09 | -1.7505e-09 | 7.2858e-18 | -1.7505e-09 | 1.7505e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 6.8525e-13 | -180 | 180 | 6.6912e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4286e-18 | -4.68e-16 | -1.6928e-16 | -4.8572e-18 | 5.4169e-16 | 2.3325e-16 | 2.9046e-32 | 1.7505e-09 | -1.7505e-09 | -4.8572e-18 | -1.7505e-09 | 1.7505e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.525 | 0.525 | 1.05 | 0.525 | 0.525 | 6.8525e-13 | -180 | 180 | 6.8366e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0885e-18 | -4.8723e-16 | 4.8595e-16 | 5.0885e-18 | 1.5454e-15 | 5.6717e-16 | -6.0832e-32 | 5.7634e-09 | -5.7634e-09 | 2.5443e-18 | -5.7634e-09 | 5.7634e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.8496e-13 | 180 | 180 | 6.9736e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0885e-18 | -5.3296e-16 | -1.6531e-16 | 2.5443e-18 | 6.4997e-16 | 2.8232e-16 | -6.1934e-32 | 1.9211e-09 | -1.9211e-09 | -2.5443e-18 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9736e-13 | -180 | 180 | 6.8539e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0177e-17 | -5.1387e-16 | -1.7803e-16 | 1.0177e-17 | 5.9171e-16 | 2.5333e-16 | 2.5443e-17 | 1.9211e-09 | -1.9211e-09 | -2.0354e-17 | -1.9211e-09 | 1.9211e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9736e-13 | -180 | 180 | 6.9579e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7832e-21 | -1.7636e-12 | -4.9216e-12 | 1.0376e-20 | 1.7636e-12 | 4.9216e-12 | -2.3717e-21 | 4.6659e-12 | 8.0382e-13 | 3.5575e-21 | -4.6659e-12 | -8.0382e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0496 | 2.4934e-16 | -120.022 | 119.9962 | 2.6315e-16 | -120.022 | 119.9962
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6704e-21 | -5.8788e-13 | -1.6405e-12 | 5.781e-21 | 5.8788e-13 | 1.6405e-12 | -1.1858e-21 | 1.5553e-12 | 2.6794e-13 | 2.3717e-21 | -1.5553e-12 | -2.6794e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0496 | 2.6315e-16 | -120.022 | 119.9962 | 2.5805e-16 | -120.022 | 119.9962
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5575e-21 | -5.8788e-13 | -1.6405e-12 | 3.5575e-21 | 5.8788e-13 | 1.6405e-12 | 4.7434e-21 | 1.5553e-12 | 2.6794e-13 | -9.4868e-21 | -1.5553e-12 | -2.6794e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0496 | 2.6315e-16 | -120.022 | 119.9962 | 2.6818e-16 | -120.022 | 119.9962

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3044e-20 | -2.0277e-12 | -5.6585e-12 | 1.2268e-20 | 2.0277e-12 | 5.6585e-12 | 7.4539e-21 | 5.3646e-12 | 9.2411e-13 | -9.9385e-21 | -5.3646e-12 | -9.2411e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.6388e-16 | -120.0231 | 119.996 | 2.7862e-16 | -120.0231 | 119.996
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.6587e-22 | -6.759e-13 | -1.8862e-12 | 4.6587e-22 | 6.759e-13 | 1.8862e-12 | -2.2654e-39 | 1.7882e-12 | 3.0804e-13 | 2.4846e-21 | -1.7882e-12 | -3.0804e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.7862e-16 | -120.0231 | 119.996 | 2.6937e-16 | -120.0231 | 119.996
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.4539e-21 | -6.759e-13 | -1.8862e-12 | 5.901e-21 | 6.759e-13 | 1.8862e-12 | 2.4846e-21 | 1.7882e-12 | 3.0804e-13 | -4.9693e-21 | -1.7882e-12 | -3.0804e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.7862e-16 | -120.0231 | 119.996 | 2.839e-16 | -120.0231 | 119.996

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5919e-18 | -3.6173e-16 | 3.6366e-16 | 6.0426e-18 | 1.8715e-15 | 1.1445e-15 | -4.3946e-18 | 4.2987e-09 | -4.2987e-09 | 2.1973e-18 | -4.2987e-09 | 4.2987e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | 6.8495e-13 | 180 | -180 | 6.7841e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7466e-18 | -6.3785e-16 | -3.6593e-16 | 1.0987e-18 | 8.0542e-16 | 5.3515e-16 | -8.7893e-18 | 1.4329e-09 | -1.4329e-09 | 8.7893e-18 | -1.4329e-09 | 1.4329e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | 6.7841e-13 | -180 | 180 | 6.6032e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.8052e-32 | -6.2741e-16 | -3.7966e-16 | 2.1973e-18 | 7.2795e-16 | 4.813e-16 | 6.5919e-18 | 1.4329e-09 | -1.4329e-09 | -4.3946e-18 | -1.4329e-09 | 1.4329e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.475 | 0.475 | 0.95 | 0.475 | 0.475 | 6.7841e-13 | -180 | 180 | 6.8518e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5613e-18 | -3.2343e-16 | 3.2527e-16 | 1.5613e-18 | 1.6791e-15 | 1.0288e-15 | -8.3267e-18 | 3.8581e-09 | -3.8581e-09 | 8.3267e-18 | -3.8581e-09 | 3.8581e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | 6.8631e-13 | 180 | -180 | 6.5346e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5613e-18 | -5.7531e-16 | -3.2837e-16 | 1.0408e-18 | 7.257e-16 | 4.7877e-16 | -2.0817e-18 | 1.286e-09 | -1.286e-09 | 1.0408e-18 | -1.286e-09 | 1.286e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | 6.5346e-13 | -180 | 180 | 6.3651e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0408e-18 | -5.6412e-16 | -3.4086e-16 | 2.0817e-18 | 6.5436e-16 | 4.311e-16 | 6.245e-18 | 1.286e-09 | -1.286e-09 | -6.245e-18 | -1.286e-09 | 1.286e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.45 | 0.45 | 0.9 | 0.45 | 0.45 | 6.5346e-13 | -180 | 180 | 6.6022e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.9505e-21 | -1.6326e-12 | -4.5559e-12 | 2.9505e-21 | 1.6326e-12 | 4.5559e-12 | -1.4604e-38 | 4.3194e-12 | 7.4395e-13 | 1.4723e-38 | -4.3194e-12 | -7.4395e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94984 | 0.94956 | 0.95 | 0.94984 | 0.94956 | 2.836e-16 | -120.0249 | 119.9957 | 2.8591e-16 | -120.0249 | 119.9957
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3645e-22 | -5.442e-13 | -1.5186e-12 | -8.0468e-22 | 5.442e-13 | 1.5186e-12 | 2.677e-39 | 1.4398e-12 | 2.4798e-13 | 2.1458e-21 | -1.4398e-12 | -2.4798e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94984 | 0.94956 | 0.95 | 0.94984 | 0.94956 | 2.8591e-16 | -120.0249 | 119.9957 | 2.7997e-16 | -120.0249 | 119.9957
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.3539e-39 | -5.442e-13 | -1.5186e-12 | 5.3645e-22 | 5.442e-13 | 1.5186e-12 | -1.0729e-21 | 1.4398e-12 | 2.4798e-13 | 2.1458e-21 | -1.4398e-12 | -2.4798e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94984 | 0.94956 | 0.95 | 0.94984 | 0.94956 | 2.8591e-16 | -120.0249 | 119.9957 | 2.8869e-16 | -120.0249 | 119.9957

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0329e-21 | -1.3882e-12 | -3.8739e-12 | -2.287e-21 | 1.3882e-12 | 3.8739e-12 | -2.0329e-21 | 3.6727e-12 | 6.3264e-13 | 2.0329e-21 | -3.6727e-12 | -6.3264e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89986 | 0.89961 | 0.9 | 0.89986 | 0.89961 | 2.7157e-16 | -120.0236 | 119.9959 | 2.5998e-16 | -120.0236 | 119.9959
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5411e-22 | -4.6274e-13 | -1.2913e-12 | -1.0164e-21 | 4.6274e-13 | 1.2913e-12 | -3.0493e-21 | 1.2242e-12 | 2.1088e-13 | 1.0164e-21 | -1.2242e-12 | -2.1088e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89986 | 0.89961 | 0.9 | 0.89986 | 0.89961 | 2.5998e-16 | -120.0236 | 119.9959 | 2.4911e-16 | -120.0236 | 119.9959
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5411e-21 | -4.6274e-13 | -1.2913e-12 | 2.5411e-21 | 4.6274e-13 | 1.2913e-12 | -2.0329e-21 | 1.2242e-12 | 2.1088e-13 | 2.0329e-21 | -1.2242e-12 | -2.1088e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89986 | 0.89961 | 0.9 | 0.89986 | 0.89961 | 2.5998e-16 | -120.0236 | 119.9959 | 2.6261e-16 | -120.0236 | 119.9959

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00020372 | 0.00020372 | 0.00020372 | 0.00015697 | 0.00015697 | 0.00015697 | 4.7046e-05 | 4.7046e-05 | 4.7046e-05 | 3.6251e-05 | 3.6251e-05 | 3.6251e-05 | 1.4175e-16 | 4.2892e-05 | -4.2668e-05 | 5.7949e-08 | -3.3005e-05 | 3.2922e-05 | -7.7805e-17 | -2.4505e-05 | -2.4894e-05 | 3.9154e-08 | 1.8899e-05 | 1.9243e-05 | -90.2746 | -90.2605 | -90.2605 | 89.6827 | 89.701 | 89.701 |  | 0 | 1.05 | 1.05 | 0.0019292 | 1.0491 | 1.0519 | 0 | -120.0001 | 120.0001 | 123.7283 | -120.0946 | 120.0069
Line_1_3-2ph | 9.8121e-05 | 9.8121e-05 | 9.8121e-05 | 0 | 0 | 0 | 2.266e-05 | 2.266e-05 | 2.266e-05 | 0 | 0 | 0 | -3.6222e-08 | 2.0633e-05 | -2.0577e-05 | -5.6905e-12 | 4.4921e-12 | -1.0215e-11 | -2.4477e-08 | -1.1809e-05 | -1.2033e-05 | 8.4908e-12 | -9.1567e-12 | 6.6574e-13 | -90.3205 | -90.3107 | -90.3107 | 0 | 0 | 0 |  | 0.0019292 | 1.0491 | 1.0519 | 0.0026512 | 1.0488 | 1.0526 | 123.7283 | -120.0946 | 120.0069 | 123.7099 | -120.1299 | 120.0094
Line_2_3-2ph | 5.8851e-05 | 5.8851e-05 | 5.8851e-05 | 0 | 0 | 0 | 1.3591e-05 | 1.3591e-05 | 1.3591e-05 | 0 | 0 | 0 | -2.1732e-08 | 1.2372e-05 | -1.2345e-05 | -4.6968e-12 | 3.7099e-12 | -8.4305e-12 | -1.4671e-08 | -7.0896e-06 | -7.2102e-06 | 7.009e-12 | -7.5623e-12 | 5.5305e-13 | -90.2957 | -90.2795 | -90.2795 | 0 | 0 | 0 |  | 0.0019292 | 1.0491 | 1.0519 | 0.0021889 | 1.049 | 1.0522 | 123.7283 | -120.0946 | 120.0069 | 123.727 | -120.1073 | 120.0078

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00021342 | 0.00021342 | 0.00021342 | 0.00016445 | 0.00016445 | 0.00016445 | 4.9286e-05 | 4.9286e-05 | 4.9286e-05 | 3.7977e-05 | 3.7977e-05 | 3.7977e-05 | 9.1257e-17 | 4.7074e-05 | -4.6828e-05 | 6.36e-08 | -3.6223e-05 | 3.6132e-05 | -1.8942e-16 | -2.6894e-05 | -2.7321e-05 | 4.2972e-08 | 2.0741e-05 | 2.1119e-05 | -90.2746 | -90.2605 | -90.2605 | 89.6827 | 89.701 | 89.701 |  | 0 | 1.1 | 1.1 | 0.0020211 | 1.0991 | 1.102 | 0 | -120.0001 | 120.0001 | 123.7283 | -120.0946 | 120.0069
Line_1_3-2ph | 0.00010279 | 0.00010279 | 0.00010279 | 0 | 0 | 0 | 2.3739e-05 | 2.3739e-05 | 2.3739e-05 | 0 | 0 | 0 | -3.9754e-08 | 2.2645e-05 | -2.2583e-05 | -6.2454e-12 | 4.93e-12 | -1.1211e-11 | -2.6864e-08 | -1.2961e-05 | -1.3206e-05 | 9.3187e-12 | -1.005e-11 | 7.309e-13 | -90.3205 | -90.3107 | -90.3107 | 0 | 0 | 0 |  | 0.0020211 | 1.0991 | 1.102 | 0.0027774 | 1.0988 | 1.1028 | 123.7283 | -120.0946 | 120.0069 | 123.7099 | -120.1299 | 120.0094
Line_2_3-2ph | 6.1653e-05 | 6.1653e-05 | 6.1653e-05 | 0 | 0 | 0 | 1.4238e-05 | 1.4238e-05 | 1.4238e-05 | 0 | 0 | 0 | -2.385e-08 | 1.3578e-05 | -1.3549e-05 | -5.1548e-12 | 4.0715e-12 | -9.2527e-12 | -1.6102e-08 | -7.7809e-06 | -7.9132e-06 | 7.6925e-12 | -8.3e-12 | 6.0722e-13 | -90.2957 | -90.2795 | -90.2795 | 0 | 0 | 0 |  | 0.0020211 | 1.0991 | 1.102 | 0.0022932 | 1.099 | 1.1023 | 123.7283 | -120.0946 | 120.0069 | 123.727 | -120.1073 | 120.0078

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.3857e-09 | 4.2013e-09 | -1.1589e-08 | -5.6857e-09 | -3.243e-09 | 8.9309e-09 | 9.1157e-09 | -1.0956e-08 | 1.8398e-09 | -7.0283e-09 | 8.4402e-09 | -1.4116e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0498 | 1.05 | 1.05 | 1.0498 | 1.05 | 1.05 | -0.0086186 | -120 | 120 | -0.0086112 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5538e-09 | 2.0282e-09 | -5.5828e-09 | 7.4539e-13 | -5.4641e-16 | -1.7733e-15 | 4.3935e-09 | -5.2754e-09 | 8.8123e-10 | -6.0726e-13 | -2.3631e-15 | 1.6548e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0498 | 1.05 | 1.05 | 1.0498 | 1.05 | 1.05 | -0.0086112 | -120 | 120 | -0.0086085 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1326e-09 | 1.2148e-09 | -3.3481e-09 | 7.4499e-13 | -4.5195e-16 | -1.4637e-15 | 2.6342e-09 | -3.1648e-09 | 5.3037e-10 | -6.0738e-13 | -1.9511e-15 | 1.3669e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0498 | 1.05 | 1.05 | 1.0498 | 1.05 | 1.05 | -0.0086112 | -120 | 120 | -0.0086103 | -120 | 120

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.4916e-09 | 4.8306e-09 | -1.3325e-08 | -6.5371e-09 | -3.7287e-09 | 1.0268e-08 | 1.0481e-08 | -1.2597e-08 | 2.1152e-09 | -8.0807e-09 | 9.7042e-09 | -1.6229e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0998 | 1.1 | 1.1 | 1.0998 | 1.1 | 1.1 | -0.0090289 | -120 | 120 | -0.0090212 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.086e-09 | 2.332e-09 | -6.4188e-09 | 8.5701e-13 | -6.2829e-16 | -2.0389e-15 | 5.0514e-09 | -6.0655e-09 | 1.0132e-09 | -6.982e-13 | -2.7171e-15 | 1.9026e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0998 | 1.1 | 1.1 | 1.0998 | 1.1 | 1.1 | -0.0090212 | -120 | 120 | -0.0090184 | -120 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.452e-09 | 1.3967e-09 | -3.8496e-09 | 8.5655e-13 | -5.1968e-16 | -1.6829e-15 | 3.0287e-09 | -3.6387e-09 | 6.0977e-10 | -6.9834e-13 | -2.2433e-15 | 1.5717e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0998 | 1.1 | 1.1 | 1.0998 | 1.1 | 1.1 | -0.0090212 | -120 | 120 | -0.0090202 | -120 | 120

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00018431 | 0.00018431 | 0.00018431 | 0.00014202 | 0.00014202 | 0.00014202 | 4.2564e-05 | 4.2564e-05 | 4.2564e-05 | 3.2797e-05 | 3.2797e-05 | 3.2797e-05 | -5.3776e-17 | 3.5194e-05 | -3.4841e-05 | 9.1078e-08 | -2.7047e-05 | 2.6917e-05 | -7.3694e-17 | -1.9912e-05 | -2.0523e-05 | 3.2068e-08 | 1.534e-05 | 1.588e-05 | -90.5142 | -90.5001 | -90.5001 | 89.4077 | 89.426 | 89.426 |  | 0 | 0.95 | 0.95 | 0.0029441 | 0.94806 | 0.95289 | 0 | -120.0001 | 120.0001 | 108.8045 | -120.134 | 119.9657
Line_1_3-2ph | 8.8773e-05 | 8.8772e-05 | 8.8772e-05 | 0 | 0 | 0 | 2.0501e-05 | 2.0501e-05 | 2.0501e-05 | 0 | 0 | 0 | -5.6926e-08 | 1.691e-05 | -1.6821e-05 | -4.5946e-12 | 9.2255e-12 | -1.3886e-11 | -2.0059e-08 | -9.582e-06 | -9.9332e-06 | 1.3343e-11 | -1.0604e-11 | -2.7394e-12 | -90.6063 | -90.5966 | -90.5966 | 0 | 0 | 0 |  | 0.0029441 | 0.94806 | 0.95289 | 0.0040458 | 0.94734 | 0.95397 | 108.8045 | -120.134 | 119.9657 | 108.7699 | -120.1841 | 119.9528
Line_2_3-2ph | 5.3244e-05 | 5.3244e-05 | 5.3244e-05 | 0 | 0 | 0 | 1.2296e-05 | 1.2296e-05 | 1.2296e-05 | 0 | 0 | 0 | -3.4155e-08 | 1.0136e-05 | -1.0095e-05 | -3.7913e-12 | 7.6202e-12 | -1.1458e-11 | -1.1999e-08 | -5.7577e-06 | -5.9472e-06 | 1.1015e-11 | -8.7607e-12 | -2.2544e-12 | -90.5527 | -90.5365 | -90.5365 | 0 | 0 | 0 |  | 0.0029441 | 0.94806 | 0.95289 | 0.0033404 | 0.9478 | 0.95328 | 108.8045 | -120.134 | 119.9657 | 108.803 | -120.152 | 119.9611

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00017461 | 0.00017461 | 0.00017461 | 0.00013454 | 0.00013454 | 0.00013454 | 4.0324e-05 | 4.0324e-05 | 4.0324e-05 | 3.1071e-05 | 3.1071e-05 | 3.1071e-05 | 1.2915e-16 | 3.1586e-05 | -3.127e-05 | 8.1743e-08 | -2.4275e-05 | 2.4158e-05 | 1.9868e-17 | -1.7871e-05 | -1.8419e-05 | 2.8781e-08 | 1.3767e-05 | 1.4253e-05 | -90.5142 | -90.5001 | -90.5001 | 89.4077 | 89.426 | 89.426 |  | 0 | 0.9 | 0.9 | 0.0027891 | 0.89817 | 0.90274 | 0 | -120.0001 | 120.0001 | 108.8045 | -120.134 | 119.9657
Line_1_3-2ph | 8.41e-05 | 8.41e-05 | 8.41e-05 | 0 | 0 | 0 | 1.9422e-05 | 1.9422e-05 | 1.9422e-05 | 0 | 0 | 0 | -5.1092e-08 | 1.5177e-05 | -1.5097e-05 | -4.1237e-12 | 8.28e-12 | -1.2463e-11 | -1.8003e-08 | -8.5999e-06 | -8.9151e-06 | 1.1976e-11 | -9.5171e-12 | -2.4588e-12 | -90.6063 | -90.5966 | -90.5966 | 0 | 0 | 0 |  | 0.0027891 | 0.89817 | 0.90274 | 0.0038328 | 0.89748 | 0.90376 | 108.8045 | -120.134 | 119.9657 | 108.7699 | -120.1841 | 119.9528
Line_2_3-2ph | 5.0442e-05 | 5.0442e-05 | 5.0442e-05 | 0 | 0 | 0 | 1.1649e-05 | 1.1649e-05 | 1.1649e-05 | 0 | 0 | 0 | -3.0654e-08 | 9.0975e-06 | -9.0607e-06 | -3.4027e-12 | 6.8393e-12 | -1.0284e-11 | -1.0769e-08 | -5.1676e-06 | -5.3376e-06 | 9.8858e-12 | -7.8626e-12 | -2.0235e-12 | -90.5527 | -90.5365 | -90.5365 | 0 | 0 | 0 |  | 0.0027891 | 0.89817 | 0.90274 | 0.0031646 | 0.89792 | 0.90311 | 108.8045 | -120.134 | 119.9657 | 108.803 | -120.152 | 119.9611

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8017e-09 | 3.9319e-09 | -1.0736e-08 | -5.232e-09 | -3.0397e-09 | 8.2739e-09 | 8.467e-09 | -1.0126e-08 | 1.658e-09 | -6.5313e-09 | 7.7988e-09 | -1.2669e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9498 | 0.95 | 0.95 | 0.9498 | 0.95 | 0.95 | -0.0097469 | -120 | 120 | -0.0097217 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2695e-09 | 1.902e-09 | -5.1722e-09 | 6.9111e-13 | 1.2733e-16 | -3.3411e-15 | 4.0834e-09 | -4.8742e-09 | 7.8989e-10 | -5.6082e-13 | -3.7844e-15 | 1.7819e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9498 | 0.95 | 0.95 | 0.9498 | 0.95 | 0.95 | -0.0097217 | -120 | 120 | -0.0097123 | -120.0001 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.9633e-09 | 1.1377e-09 | -3.1017e-09 | 6.9055e-13 | 1.0309e-16 | -2.7577e-15 | 2.4473e-09 | -2.9246e-09 | 4.7701e-10 | -5.6117e-13 | -3.1248e-15 | 1.4731e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9498 | 0.95 | 0.95 | 0.9498 | 0.95 | 0.95 | -0.0097217 | -120 | 120 | -0.0097183 | -120.0001 | 120

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7834e-09 | 3.3431e-09 | -9.1282e-09 | -4.4488e-09 | -2.5846e-09 | 7.0351e-09 | 7.1994e-09 | -8.6102e-09 | 1.4099e-09 | -5.5535e-09 | 6.6312e-09 | -1.0773e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89982 | 0.9 | 0.9 | 0.89982 | 0.9 | 0.9 | -0.009234 | -120 | 120 | -0.0092102 | -120 | 120
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.78e-09 | 1.6172e-09 | -4.3978e-09 | 5.8764e-13 | 1.083e-16 | -2.8408e-15 | 3.4721e-09 | -4.1444e-09 | 6.7167e-10 | -4.7686e-13 | -3.2178e-15 | 1.5151e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89982 | 0.9 | 0.9 | 0.89982 | 0.9 | 0.9 | -0.0092102 | -120 | 120 | -0.0092012 | -120.0001 | 120
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6693e-09 | 9.6736e-10 | -2.6373e-09 | 5.8717e-13 | 8.7687e-17 | -2.3448e-15 | 2.0809e-09 | -2.4868e-09 | 4.0562e-10 | -4.7716e-13 | -2.6569e-15 | 1.2525e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89982 | 0.9 | 0.9 | 0.89982 | 0.9 | 0.9 | -0.0092102 | -120 | 120 | -0.0092069 | -120.0001 | 120

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00020372 | 0.00020376 | 0.00020367 | 0.00015697 | 0.00015701 | 0.00015693 | 4.7046e-05 | 4.7056e-05 | 4.7036e-05 | 3.6251e-05 | 3.6261e-05 | 3.6241e-05 | 2.2457e-07 | 5.3372e-17 | 4.5704e-17 | -1.4067e-07 | 5.7974e-08 | 5.7934e-08 | -4.9398e-05 | 8.0505e-17 | -8.7309e-17 | 3.8102e-05 | 3.916e-08 | 3.9134e-08 | 89.7395 | 89.7325 | 89.7324 | -90.299 | -90.308 | -90.3082 |  | 1.05 | 0 | 0 | 1.0511 | 0.0019294 | 0.0019291 | -8.4122e-06 | 0 | 0 | -0.087469 | -56.2697 | -56.2697
Line_1_3-2ph | 9.812e-05 | 9.8135e-05 | 9.8106e-05 | 0 | 0 | 0 | 2.266e-05 | 2.2663e-05 | 2.2657e-05 | 0 | 0 | 0 | 9.2805e-08 | -3.6231e-08 | -3.6216e-08 | -5.6968e-12 | 4.495e-12 | -1.0211e-11 | -2.3817e-05 | -2.448e-08 | -2.447e-08 | -8.491e-12 | 9.1519e-12 | -6.6075e-13 | 89.6893 | 89.6845 | 89.6844 | 0 | 0 | 0 |  | 1.0511 | 0.0019294 | 0.0019291 | 1.0515 | 0.0026513 | 0.002651 | -0.087469 | -56.2697 | -56.2697 | -0.12018 | -56.2881 | -56.2882
Line_2_3-2ph | 5.8851e-05 | 5.8865e-05 | 5.8836e-05 | 0 | 0 | 0 | 1.3591e-05 | 1.3594e-05 | 1.3588e-05 | 0 | 0 | 0 | 4.7864e-08 | -2.174e-08 | -2.1726e-08 | -4.703e-12 | 3.7128e-12 | -8.4266e-12 | -1.4285e-05 | -1.4673e-08 | -1.4665e-08 | -7.0093e-12 | 7.5575e-12 | -5.4808e-13 | 89.7206 | 89.7125 | 89.7124 | 0 | 0 | 0 |  | 1.0511 | 0.0019294 | 0.0019291 | 1.0512 | 0.0021891 | 0.0021888 | -0.087469 | -56.2697 | -56.2697 | -0.09923 | -56.2709 | -56.2709

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00021342 | 0.00021346 | 0.00021337 | 0.00016445 | 0.00016449 | 0.0001644 | 4.9286e-05 | 4.9297e-05 | 4.9276e-05 | 3.7977e-05 | 3.7988e-05 | 3.7967e-05 | 2.4647e-07 | 1.6622e-16 | 6.2542e-18 | -1.5439e-07 | 6.3626e-08 | 6.3583e-08 | -5.4214e-05 | 9.9801e-17 | -1.947e-16 | 4.1817e-05 | 4.2978e-08 | 4.295e-08 | 89.7395 | 89.7325 | 89.7324 | -90.299 | -90.308 | -90.3082 |  | 1.1 | 0 | 0 | 1.1011 | 0.0020212 | 0.002021 | -8.8128e-06 | 0 | 0 | -0.087469 | -56.2697 | -56.2697
Line_1_3-2ph | 0.00010279 | 0.00010281 | 0.00010278 | 0 | 0 | 0 | 2.3739e-05 | 2.3743e-05 | 2.3736e-05 | 0 | 0 | 0 | 1.0185e-07 | -3.9763e-08 | -3.9747e-08 | -6.2526e-12 | 4.9333e-12 | -1.1206e-11 | -2.6139e-05 | -2.6867e-08 | -2.6856e-08 | -9.3189e-12 | 1.0044e-11 | -7.2517e-13 | 89.6893 | 89.6845 | 89.6844 | 0 | 0 | 0 |  | 1.1011 | 0.0020212 | 0.002021 | 1.1015 | 0.0027776 | 0.0027773 | -0.087469 | -56.2697 | -56.2697 | -0.12018 | -56.2881 | -56.2882
Line_2_3-2ph | 6.1653e-05 | 6.1668e-05 | 6.1638e-05 | 0 | 0 | 0 | 1.4238e-05 | 1.4242e-05 | 1.4235e-05 | 0 | 0 | 0 | 5.2531e-08 | -2.3859e-08 | -2.3845e-08 | -5.1618e-12 | 4.0748e-12 | -9.2483e-12 | -1.5678e-05 | -1.6104e-08 | -1.6094e-08 | -7.6928e-12 | 8.2944e-12 | -6.0152e-13 | 89.7206 | 89.7125 | 89.7124 | 0 | 0 | 0 |  | 1.1011 | 0.0020212 | 0.002021 | 1.1013 | 0.0022933 | 0.002293 | -0.087469 | -56.2697 | -56.2697 | -0.09923 | -56.2709 | -56.2709

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.3879e-09 | -4.2011e-09 | 1.1585e-08 | 5.6879e-09 | 3.2433e-09 | -8.9268e-09 | -9.1167e-09 | 1.0957e-08 | -1.8393e-09 | 7.0286e-09 | -8.441e-09 | 1.4109e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.0498 | 1.0498 | 1.05 | 1.0498 | 1.0498 | 1.0549e-08 | -120.0086 | 119.9914 | -7.2954e-06 | -120.0086 | 119.9914
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.5546e-09 | -2.0278e-09 | 5.5809e-09 | -2.3197e-15 | 7.4362e-13 | 7.4485e-13 | -4.3942e-09 | 5.2754e-09 | -8.813e-10 | -7.0837e-16 | -6.0561e-13 | -6.0962e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.0498 | 1.0498 | 1.05 | 1.0498 | 1.0498 | -7.2954e-06 | -120.0086 | 119.9914 | -1.004e-05 | -120.0086 | 119.9914
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1334e-09 | -1.2148e-09 | 3.3467e-09 | -1.9157e-15 | 7.4353e-13 | 7.4454e-13 | -2.6344e-09 | 3.165e-09 | -5.3017e-10 | -5.8415e-16 | -6.0602e-13 | -6.0934e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.05 | 1.0498 | 1.0498 | 1.05 | 1.0498 | 1.0498 | -7.2954e-06 | -120.0086 | 119.9914 | -8.2794e-06 | -120.0086 | 119.9914

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4942e-09 | -4.8302e-09 | 1.3319e-08 | 6.5397e-09 | 3.729e-09 | -1.0264e-08 | -1.0482e-08 | 1.2598e-08 | -2.1148e-09 | 8.0812e-09 | -9.705e-09 | 1.6221e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.0998 | 1.0998 | 1.1 | 1.0998 | 1.0998 | 1.1577e-08 | -120.009 | 119.991 | -7.6424e-06 | -120.009 | 119.991
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0868e-09 | -2.3315e-09 | 6.4166e-09 | -2.6672e-15 | 8.5498e-13 | 8.5638e-13 | -5.0523e-09 | 6.0654e-09 | -1.0133e-09 | -8.1443e-16 | -6.9629e-13 | -7.0091e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.0998 | 1.0998 | 1.1 | 1.0998 | 1.0998 | -7.6424e-06 | -120.009 | 119.991 | -1.0518e-05 | -120.009 | 119.9909
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4529e-09 | -1.3967e-09 | 3.8479e-09 | -2.2026e-15 | 8.5487e-13 | 8.5603e-13 | -3.0289e-09 | 3.6389e-09 | -6.0956e-10 | -6.7162e-16 | -6.9677e-13 | -7.0058e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1 | 1.0998 | 1.0998 | 1.1 | 1.0998 | 1.0998 | -7.6424e-06 | -120.009 | 119.991 | -8.6733e-06 | -120.009 | 119.991

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00018431 | 0.00018435 | 0.00018427 | 0.00014202 | 0.00014206 | 0.00014198 | 4.2564e-05 | 4.2573e-05 | 4.2555e-05 | 3.2797e-05 | 3.2806e-05 | 3.2788e-05 | 3.5291e-07 | 2.4883e-17 | -8.0672e-17 | -2.2106e-07 | 9.1112e-08 | 9.1051e-08 | -4.0434e-05 | -8.137e-17 | 1.843e-17 | 3.1188e-05 | 3.2067e-08 | 3.2046e-08 | 89.4999 | 89.493 | 89.4928 | -90.574 | -90.583 | -90.5833 |  | 0.95 | 0 | 0 | 0.95095 | 0.0029443 | 0.0029439 | -9.8937e-06 | 0 | 0 | -0.16792 | -71.1935 | -71.1935
Line_1_3-2ph | 8.8772e-05 | 8.8785e-05 | 8.8759e-05 | 0 | 0 | 0 | 2.0501e-05 | 2.0504e-05 | 2.0498e-05 | 0 | 0 | 0 | 1.4584e-07 | -5.6939e-08 | -5.6915e-08 | -4.6008e-12 | 9.2285e-12 | -1.3882e-11 | -1.9495e-05 | -2.006e-08 | -2.0052e-08 | -1.3344e-11 | 1.06e-11 | 2.744e-12 | 89.4035 | 89.3987 | 89.3985 | 0 | 0 | 0 |  | 0.95095 | 0.0029443 | 0.0029439 | 0.95131 | 0.004046 | 0.0040455 | -0.16792 | -71.1935 | -71.1935 | -0.23072 | -71.2282 | -71.2282
Line_2_3-2ph | 5.3244e-05 | 5.3257e-05 | 5.3231e-05 | 0 | 0 | 0 | 1.2296e-05 | 1.2299e-05 | 1.2293e-05 | 0 | 0 | 0 | 7.5216e-08 | -3.4166e-08 | -3.4145e-08 | -3.7974e-12 | 7.6231e-12 | -1.1455e-11 | -1.1693e-05 | -1.1999e-08 | -1.1992e-08 | -1.1015e-11 | 8.7561e-12 | 2.2589e-12 | 89.4635 | 89.4555 | 89.4553 | 0 | 0 | 0 |  | 0.95095 | 0.0029443 | 0.0029439 | 0.95108 | 0.0033406 | 0.0033402 | -0.16792 | -71.1935 | -71.1935 | -0.1905 | -71.1949 | -71.195

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00017461 | 0.00017464 | 0.00017457 | 0.00013454 | 0.00013458 | 0.0001345 | 4.0324e-05 | 4.0332e-05 | 4.0315e-05 | 3.1071e-05 | 3.108e-05 | 3.1063e-05 | 3.1674e-07 | 3.6591e-17 | 9.3919e-18 | -1.984e-07 | 8.1774e-08 | 8.1718e-08 | -3.629e-05 | 2.9688e-17 | -4.7146e-17 | 2.7991e-05 | 2.878e-08 | 2.8761e-08 | 89.4999 | 89.493 | 89.4928 | -90.574 | -90.583 | -90.5833 |  | 0.9 | 0 | 0 | 0.9009 | 0.0027893 | 0.002789 | -9.373e-06 | 0 | 0 | -0.16792 | -71.1935 | -71.1935
Line_1_3-2ph | 8.41e-05 | 8.4112e-05 | 8.4088e-05 | 0 | 0 | 0 | 1.9422e-05 | 1.9425e-05 | 1.9419e-05 | 0 | 0 | 0 | 1.3089e-07 | -5.1103e-08 | -5.1082e-08 | -4.129e-12 | 8.2826e-12 | -1.2459e-11 | -1.7497e-05 | -1.8004e-08 | -1.7997e-08 | -1.1976e-11 | 9.5133e-12 | 2.4627e-12 | 89.4035 | 89.3987 | 89.3985 | 0 | 0 | 0 |  | 0.9009 | 0.0027893 | 0.002789 | 0.90124 | 0.0038331 | 0.0038326 | -0.16792 | -71.1935 | -71.1935 | -0.23072 | -71.2282 | -71.2282
Line_2_3-2ph | 5.0442e-05 | 5.0454e-05 | 5.0429e-05 | 0 | 0 | 0 | 1.1649e-05 | 1.1652e-05 | 1.1646e-05 | 0 | 0 | 0 | 6.7507e-08 | -3.0664e-08 | -3.0646e-08 | -3.4079e-12 | 6.8418e-12 | -1.028e-11 | -1.0494e-05 | -1.0769e-08 | -1.0763e-08 | -9.8861e-12 | 7.8587e-12 | 2.0274e-12 | 89.4635 | 89.4555 | 89.4553 | 0 | 0 | 0 |  | 0.9009 | 0.0027893 | 0.002789 | 0.90103 | 0.0031648 | 0.0031644 | -0.16792 | -71.1935 | -71.1935 | -0.1905 | -71.1949 | -71.195

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.8037e-09 | -3.9314e-09 | 1.0731e-08 | 5.2341e-09 | 3.0399e-09 | -8.2698e-09 | -8.4683e-09 | 1.0127e-08 | -1.6578e-09 | 6.5319e-09 | -7.7994e-09 | 1.2664e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.9498 | 0.9498 | 0.95 | 0.9498 | 0.9498 | 1.3406e-08 | -120.0097 | 119.9903 | -2.5202e-05 | -120.0097 | 119.9902
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.2702e-09 | -1.9015e-09 | 5.1703e-09 | -3.2137e-15 | 6.8777e-13 | 6.9124e-13 | -4.0843e-09 | 4.8741e-09 | -7.9005e-10 | -2.0025e-15 | -5.5904e-13 | -5.6461e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.9498 | 0.9498 | 0.95 | 0.9498 | 0.9498 | -2.5202e-05 | -120.0097 | 119.9902 | -3.4672e-05 | -120.0097 | 119.9902
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9639e-09 | -1.1377e-09 | 3.1003e-09 | -2.6546e-15 | 6.878e-13 | 6.9065e-13 | -2.4476e-09 | 2.9248e-09 | -4.7688e-10 | -1.6517e-15 | -5.597e-13 | -5.643e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.95 | 0.9498 | 0.9498 | 0.95 | 0.9498 | 0.9498 | -2.5202e-05 | -120.0097 | 119.9902 | -2.8597e-05 | -120.0097 | 119.9902

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7851e-09 | -3.3428e-09 | 9.1244e-09 | 4.4505e-09 | 2.5848e-09 | -7.0317e-09 | -7.2003e-09 | 8.6105e-09 | -1.4096e-09 | 5.5539e-09 | -6.6317e-09 | 1.0768e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.89982 | 0.89982 | 0.9 | 0.89982 | 0.89982 | 1.2032e-08 | -120.0092 | 119.9908 | -2.3876e-05 | -120.0092 | 119.9907
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7806e-09 | -1.6168e-09 | 4.3962e-09 | -2.7325e-15 | 5.848e-13 | 5.8775e-13 | -3.4728e-09 | 4.1444e-09 | -6.7177e-10 | -1.7027e-15 | -4.7535e-13 | -4.8008e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.89982 | 0.89982 | 0.9 | 0.89982 | 0.89982 | -2.3876e-05 | -120.0092 | 119.9907 | -3.2847e-05 | -120.0092 | 119.9907
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6699e-09 | -9.6736e-10 | 2.6361e-09 | -2.2571e-15 | 5.8482e-13 | 5.8725e-13 | -2.0811e-09 | 2.4869e-09 | -4.0549e-10 | -1.4044e-15 | -4.7591e-13 | -4.7982e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.9 | 0.89982 | 0.89982 | 0.9 | 0.89982 | 0.89982 | -2.3876e-05 | -120.0092 | 119.9907 | -2.7093e-05 | -120.0092 | 119.9907