## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 95.7106 | -84.2894 | 0 | 0.011797 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -35.6809 | -35.6809

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 95.7106 | -84.2894 | 0 | 0.011797 | 0 | -35.6809
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -35.6809 | -35.6809
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011797 | 0.011797 | -35.6809 | -35.6809

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.6058 | 1.6526 | -4.2714 | 4.3245 | 95.7106 | -84.2894 | 0.76055 | 0.77159 | -14.8932 | -15.2041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77159 | 0.77159 | -15.2041 | -15.2041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77159 | 0.77159 | -15.2041 | -15.2041

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.6058 | 1.6526 | -4.2714 | 4.3245 | 95.7106 | -84.2894 | 0.76055 | 0.77159 | -14.8932 | -15.2041
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77159 | 0.77159 | -15.2041 | -15.2041
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77159 | 0.77159 | -15.2041 | -15.2041

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 8.7506e-20 | 0 | -1.3421e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 1.3472e-09 | 0 | 0 | 0 | 8.7506e-20 | 0 | -1.3421e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 5.9142e-10 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0 | 0 | 5.9142e-10 | 0 | 0 | 0 | -6.9608e-09 | 0 | 5.6951e-09 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.23204 | -1.0628 | 0.94677 | 0.24764 | 1.0784 | -0.93117 | -2.3204 | -0.47962 | -0.68058 | 2.3381 | 0.49732 | 0.69828 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.166 | 0.583 | 0.583 | 1.1756 | 0.59377 | 0.58195 | -7.0552e-06 | 180 | 180 | -0.33536 | -179.5312 | 178.8442
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2595e-10 | 7.8371e-11 | 2.7412e-11 | -3.2597e-10 | -7.8351e-11 | -2.7412e-11 | 2.7752e-11 | 2.0642e-09 | -2.0087e-09 | -2.7757e-11 | -2.0642e-09 | 2.0087e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.59377 | 0.58195 | 1.1756 | 0.59377 | 0.58195 | -0.33536 | -179.5312 | 178.8442 | -0.33536 | -179.5312 | 178.8442
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2596e-10 | 7.8365e-11 | 2.7423e-11 | -3.2597e-10 | -7.8351e-11 | -2.7423e-11 | 2.7741e-11 | 2.0642e-09 | -2.0087e-09 | -2.7746e-11 | -2.0642e-09 | 2.0087e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.59377 | 0.58195 | 1.1756 | 0.59377 | 0.58195 | -0.33536 | -179.5312 | 178.8442 | -0.33536 | -179.5312 | 178.8442

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.23204 | -1.0628 | 0.94677 | 0.24764 | 1.0784 | -0.93117 | -2.3204 | -0.47962 | -0.68058 | 2.3381 | 0.49732 | 0.69828 | 95.7105 | -24.2892 | -144.2895 | -84.2895 | 155.7108 | 35.7105 | 1.166 | 0.583 | 0.583 | 1.1756 | 0.59377 | 0.58195 | -7.0552e-06 | 180 | 180 | -0.33536 | -179.5312 | 178.8442
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2595e-10 | 7.8371e-11 | 2.7412e-11 | -3.2597e-10 | -7.8351e-11 | -2.7412e-11 | 2.7752e-11 | 2.0642e-09 | -2.0087e-09 | -2.7757e-11 | -2.0642e-09 | 2.0087e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.59377 | 0.58195 | 1.1756 | 0.59377 | 0.58195 | -0.33536 | -179.5312 | 178.8442 | -0.33536 | -179.5312 | 178.8442
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2596e-10 | 7.8365e-11 | 2.7423e-11 | -3.2597e-10 | -7.8351e-11 | -2.7423e-11 | 2.7741e-11 | 2.0642e-09 | -2.0087e-09 | -2.7746e-11 | -2.0642e-09 | 2.0087e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.59377 | 0.58195 | 1.1756 | 0.59377 | 0.58195 | -0.33536 | -179.5312 | 178.8442 | -0.33536 | -179.5312 | 178.8442

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.23204 | -1.0225 | 0.14087 | 0.24764 | 1.0381 | -0.12527 | -2.3204 | -1.4334 | -1.1924 | 2.3381 | 1.4511 | 1.2101 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.166 | 0.88038 | 0.60033 | 1.1756 | 0.89212 | 0.60827 | -5.4787e-06 | -149.7905 | 132.4483 | -0.33535 | -149.8683 | 131.6209
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2596e-10 | -2.0204e-10 | -1.0464e-09 | -3.2597e-10 | 2.0205e-10 | 1.0464e-09 | 2.776e-11 | 1.7919e-09 | -4.9419e-10 | -2.7763e-11 | -1.7919e-09 | 4.9419e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.89212 | 0.60827 | 1.1756 | 0.89212 | 0.60827 | -0.33535 | -149.8683 | 131.6209 | -0.33535 | -149.8683 | 131.6209
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2598e-10 | -2.0206e-10 | -1.0464e-09 | -3.2598e-10 | 2.0207e-10 | 1.0464e-09 | 2.7752e-11 | 1.792e-09 | -4.9421e-10 | -2.7749e-11 | -1.792e-09 | 4.9421e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.89212 | 0.60827 | 1.1756 | 0.89212 | 0.60827 | -0.33535 | -149.8683 | 131.6209 | -0.33535 | -149.8683 | 131.6209

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.23204 | -1.0225 | 0.14087 | 0.24764 | 1.0381 | -0.12527 | -2.3204 | -1.4334 | -1.1924 | 2.3381 | 1.4511 | 1.2101 | 95.7105 | -24.2893 | -144.2894 | -84.2895 | 155.7107 | 35.7106 | 1.166 | 0.88038 | 0.60033 | 1.1756 | 0.89212 | 0.60827 | -5.4787e-06 | -149.7905 | 132.4483 | -0.33535 | -149.8683 | 131.6209
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2596e-10 | -2.0204e-10 | -1.0464e-09 | -3.2597e-10 | 2.0205e-10 | 1.0464e-09 | 2.776e-11 | 1.7919e-09 | -4.9419e-10 | -2.7763e-11 | -1.7919e-09 | 4.9419e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.89212 | 0.60827 | 1.1756 | 0.89212 | 0.60827 | -0.33535 | -149.8683 | 131.6209 | -0.33535 | -149.8683 | 131.6209
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2598e-10 | -2.0206e-10 | -1.0464e-09 | -3.2598e-10 | 2.0207e-10 | 1.0464e-09 | 2.7752e-11 | 1.792e-09 | -4.9421e-10 | -2.7749e-11 | -1.792e-09 | 4.9421e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1756 | 0.89212 | 0.60827 | 1.1756 | 0.89212 | 0.60827 | -0.33535 | -149.8683 | 131.6209 | -0.33535 | -149.8683 | 131.6209

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8948e-14 | -1.1842e-14 | 7.1054e-15 | 1.8948e-14 | 1.1843e-14 | 6.8182e-19 | -9.4739e-15 | 4.7631e-09 | -4.7631e-09 | 9.4739e-15 | -4.7631e-09 | 4.7631e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.4102e-13 | -180 | 180 | 7.0564e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.5529e-15 | 2.3682e-15 | 2.3685e-15 | 4.7373e-15 | 3.0278e-19 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 7.0809e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7502e-28 | -2.2709e-19 | -7.1057e-15 | -1.1571e-28 | 2.3688e-15 | 9.4742e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 9.4739e-15 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0564e-13 | -180 | 180 | 6.9981e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4211e-14 | -9.1816e-10 | -2.5622e-09 | 1.3027e-14 | 9.1815e-10 | 2.5622e-09 | -7.1054e-15 | 4.2643e-09 | -1.4167e-09 | 4.737e-15 | -4.2643e-09 | 1.4167e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.3457e-13 | -151.709 | 135.0798 | 4.0971e-13 | -151.709 | 135.0798
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.9212e-15 | -3.0606e-10 | -8.5407e-10 | 2.3685e-15 | 3.0606e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7224e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0942e-13 | -151.709 | 135.0798
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.0605e-10 | -8.5406e-10 | 1.1842e-15 | 3.0605e-10 | 8.5407e-10 | -4.737e-15 | 1.4214e-09 | -4.7223e-10 | 2.3685e-15 | -1.4214e-09 | 4.7224e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.0971e-13 | -151.709 | 135.0798 | 4.0387e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16744 | 0.17565 | 0.17667 | 0.16936 | 0.17482 | 0.17551 | 1.9334 | 2.0282 | 2.04 | 1.9556 | 2.0186 | 2.0266 | -2.3508e-12 | -0.16845 | -0.29624 | 0.012157 | 0.20884 | 0.29075 | 7.4923e-12 | -2.3608 | -2.3628 | 0.016396 | 2.3636 | 2.3706 | 95.916 | -26.0177 | -142.7658 | -84.1529 | 154.5521 | 36.7327 | 0 | 1.1669 | 1.1673 | 0.010438 | 1.1755 | 1.1785 | 0 | -120.0991 | 120.0879 | -30.7097 | -120.4972 | 119.7404
Line_1 | 0.0019344 | 0.0019344 | 0.0019344 | 0 | 0 | 0 | 0.022337 | 0.022337 | 0.022337 | 0 | 0 | 0 | 0.00011811 | 0.022687 | -0.022795 | 3.5324e-11 | -3.246e-10 | -3.4098e-10 | 0.00020101 | -0.013218 | -0.013168 | -2.0248e-11 | -4.2204e-11 | -2.1721e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.010438 | 1.1755 | 1.1785 | 0.010177 | 1.1753 | 1.1789 | -30.7097 | -120.4972 | 119.7404 | -29.5577 | -120.51 | 119.7381
Line_2 | 0.0019344 | 0.0019344 | 0.0019344 | 0 | 0 | 0 | 0.022337 | 0.022337 | 0.022337 | 0 | 0 | 0 | 0.00011811 | 0.022687 | -0.022795 | 3.5324e-11 | -3.2462e-10 | -3.4097e-10 | 0.00020101 | -0.013218 | -0.013168 | -2.0248e-11 | -4.2204e-11 | -2.1729e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.010438 | 1.1755 | 1.1785 | 0.010177 | 1.1753 | 1.1789 | -30.7097 | -120.4972 | 119.7404 | -29.5577 | -120.51 | 119.7381

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16744 | 0.17565 | 0.17667 | 0.16936 | 0.17482 | 0.17551 | 1.9334 | 2.0282 | 2.04 | 1.9556 | 2.0186 | 2.0266 | -2.3508e-12 | -0.16845 | -0.29624 | 0.012157 | 0.20884 | 0.29075 | 7.4923e-12 | -2.3608 | -2.3628 | 0.016396 | 2.3636 | 2.3706 | 95.916 | -26.0177 | -142.7658 | -84.1529 | 154.5521 | 36.7327 | 0 | 1.1669 | 1.1673 | 0.010438 | 1.1755 | 1.1785 | 0 | -120.0991 | 120.0879 | -30.7097 | -120.4972 | 119.7404
Line_1 | 0.0019344 | 0.0019344 | 0.0019344 | 0 | 0 | 0 | 0.022337 | 0.022337 | 0.022337 | 0 | 0 | 0 | 0.00011811 | 0.022687 | -0.022795 | 3.5324e-11 | -3.246e-10 | -3.4098e-10 | 0.00020101 | -0.013218 | -0.013168 | -2.0248e-11 | -4.2204e-11 | -2.1721e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.010438 | 1.1755 | 1.1785 | 0.010177 | 1.1753 | 1.1789 | -30.7097 | -120.4972 | 119.7404 | -29.5577 | -120.51 | 119.7381
Line_2 | 0.0019344 | 0.0019344 | 0.0019344 | 0 | 0 | 0 | 0.022337 | 0.022337 | 0.022337 | 0 | 0 | 0 | 0.00011811 | 0.022687 | -0.022795 | 3.5324e-11 | -3.2462e-10 | -3.4097e-10 | 0.00020101 | -0.013218 | -0.013168 | -2.0248e-11 | -4.2204e-11 | -2.1729e-11 | -90.2724 | -90.2724 | -90.2724 | 0 | 0 | 0 | 0.010438 | 1.1755 | 1.1785 | 0.010177 | 1.1753 | 1.1789 | -30.7097 | -120.4972 | 119.7404 | -29.5577 | -120.51 | 119.7381

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17097 | 0.17498 | 0.17369 | 0.17171 | 0.17438 | 0.17353 | 1.9742 | 2.0204 | 2.0056 | 1.9828 | 2.0136 | 2.0037 | -0.5222 | -0.21477 | -0.2619 | 0.54095 | 0.23783 | 0.26694 | -1.4066 | -2.3474 | -2.3242 | 1.4286 | 2.3563 | 2.3421 | 95.4608 | -24.8016 | -143.5275 | -84.4548 | 155.3675 | 36.2191 | 0.75999 | 1.1667 | 1.1662 | 0.77044 | 1.1761 | 1.1764 | -14.9072 | -120.0293 | 120.0432 | -15.1937 | -120.3962 | 119.7167
Line_1 | 0.00078606 | 0.00078606 | 0.00078606 | 0 | 0 | 0 | 0.0090766 | 0.0090766 | 0.0090766 | 0 | 0 | 0 | 0.0044285 | 0.0061999 | -0.010627 | 8.2264e-10 | -3.2822e-10 | -3.3033e-10 | 0.0054121 | -0.0086902 | -0.0010453 | -8.1403e-10 | -3.3342e-11 | -2.3316e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.77044 | 1.1761 | 1.1764 | 0.77033 | 1.1761 | 1.1766 | -15.1937 | -120.3962 | 119.7167 | -15.1888 | -120.4026 | 119.7185
Line_2 | 0.00078606 | 0.00078606 | 0.00078606 | 0 | 0 | 0 | 0.0090766 | 0.0090766 | 0.0090766 | 0 | 0 | 0 | 0.0044285 | 0.0061999 | -0.010627 | 8.2263e-10 | -3.2822e-10 | -3.3033e-10 | 0.0054121 | -0.0086902 | -0.0010453 | -8.1403e-10 | -3.3337e-11 | -2.3313e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.77044 | 1.1761 | 1.1764 | 0.77033 | 1.1761 | 1.1766 | -15.1937 | -120.3962 | 119.7167 | -15.1888 | -120.4026 | 119.7185

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17097 | 0.17498 | 0.17369 | 0.17171 | 0.17438 | 0.17353 | 1.9742 | 2.0204 | 2.0056 | 1.9828 | 2.0136 | 2.0037 | -0.5222 | -0.21477 | -0.2619 | 0.54095 | 0.23783 | 0.26694 | -1.4066 | -2.3474 | -2.3242 | 1.4286 | 2.3563 | 2.3421 | 95.4608 | -24.8016 | -143.5275 | -84.4548 | 155.3675 | 36.2191 | 0.75999 | 1.1667 | 1.1662 | 0.77044 | 1.1761 | 1.1764 | -14.9072 | -120.0293 | 120.0432 | -15.1937 | -120.3962 | 119.7167
Line_1 | 0.00078606 | 0.00078606 | 0.00078606 | 0 | 0 | 0 | 0.0090766 | 0.0090766 | 0.0090766 | 0 | 0 | 0 | 0.0044285 | 0.0061999 | -0.010627 | 8.2264e-10 | -3.2822e-10 | -3.3033e-10 | 0.0054121 | -0.0086902 | -0.0010453 | -8.1403e-10 | -3.3342e-11 | -2.3316e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.77044 | 1.1761 | 1.1764 | 0.77033 | 1.1761 | 1.1766 | -15.1937 | -120.3962 | 119.7167 | -15.1888 | -120.4026 | 119.7185
Line_2 | 0.00078606 | 0.00078606 | 0.00078606 | 0 | 0 | 0 | 0.0090766 | 0.0090766 | 0.0090766 | 0 | 0 | 0 | 0.0044285 | 0.0061999 | -0.010627 | 8.2263e-10 | -3.2822e-10 | -3.3033e-10 | 0.0054121 | -0.0086902 | -0.0010453 | -8.1403e-10 | -3.3337e-11 | -2.3313e-11 | -65.9014 | -65.9014 | -65.9014 | 0 | 0 | 0 | 0.77044 | 1.1761 | 1.1764 | 0.77033 | 1.1761 | 1.1766 | -15.1937 | -120.3962 | 119.7167 | -15.1888 | -120.4026 | 119.7185

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.004978 | 0.004978 | 0.004978 | 0.0033197 | 0.0033197 | 0.0033197 | 0.057481 | 0.057481 | 0.057481 | 0.038332 | 0.038332 | 0.038332 | -7.5096e-14 | 0.049976 | -0.04958 | 9.7722e-05 | -0.033259 | 0.033132 | -2.2546e-13 | -0.028499 | -0.029227 | 2.0264e-05 | 0.018975 | 0.019561 | -90.4191 | -90.4191 | -90.4191 | 89.4937 | 89.4938 | 89.4938 | 0 | 1.0009 | 1.0013 | 0.0026036 | 0.99892 | 1.0037 | 0 | -120.1128 | 120.0996 | 101.2088 | -120.2114 | 120.0515
Line_1 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3508e-12 | -1.5576e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4775e-11 | 2.6946e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419
Line_2 | 0.0016598 | 0.0016598 | 0.0016598 | 0 | 0 | 0 | 0.019166 | 0.019166 | 0.019166 | 0 | 0 | 0 | -4.8861e-05 | 0.01663 | -0.016566 | -2.261e-12 | 5.3532e-12 | -1.5579e-11 | -1.0132e-05 | -0.0094873 | -0.0097806 | 1.1238e-11 | -1.4767e-11 | 2.6938e-12 | -90.5063 | -90.5062 | -90.5062 | 0 | 0 | 0 | 0.0026036 | 0.99892 | 1.0037 | 0.0031244 | 0.99853 | 1.0042 | 101.2088 | -120.2114 | 120.0515 | 101.2001 | -120.2312 | 120.0419

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002188 | 0.002188 | 0.002188 | 0.0014591 | 0.0014591 | 0.0014591 | 0.025265 | 0.025265 | 0.025265 | 0.016848 | 0.016848 | 0.016848 | 0.0098315 | 0.015307 | -0.025062 | -0.0065251 | -0.01021 | 0.016729 | 0.012203 | -0.020122 | -0.0032335 | -0.008144 | 0.013407 | 0.0021857 | -67.2988 | -67.2988 | -67.2988 | 112.6141 | 112.6141 | 112.6141 | 0.62026 | 1.0007 | 1.0002 | 0.61938 | 1.0002 | 1.0014 | -16.1559 | -120.037 | 120.0529 | -16.0885 | -120.0961 | 120.0578
Line_1 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7202e-13 | -5.8161e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9072e-12 | 3.7653e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587
Line_2 | 0.00072956 | 0.00072956 | 0.00072956 | 0 | 0 | 0 | 0.0084242 | 0.0084242 | 0.0084242 | 0 | 0 | 0 | 0.0032626 | 0.0051048 | -0.0083645 | 7.7579e-10 | -3.7323e-13 | -5.8203e-12 | 0.004072 | -0.0067035 | -0.0010928 | -6.2867e-10 | -6.9058e-12 | 3.7688e-12 | -67.3859 | -67.3859 | -67.3859 | 0 | 0 | 0 | 0.61938 | 1.0002 | 1.0014 | 0.6192 | 1.0001 | 1.0016 | -16.0885 | -120.0961 | 120.0578 | -16.075 | -120.1079 | 120.0587

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17897 | 0.17092 | 0.16987 | 0.17705 | 0.17167 | 0.17097 | 2.0665 | 1.9737 | 1.9615 | 2.0443 | 1.9823 | 1.9741 | -0.23265 | -6.0538e-12 | -6.3503e-12 | 0.25188 | 0.013507 | 0.014326 | -2.4029 | 4.1584e-12 | 3.6974e-12 | 2.3959 | 0.01957 | 0.014555 | 95.5191 | -22.5168 | -145.8712 | -84.4195 | 156.888 | 34.6631 | 1.1682 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | -0.011179 | 0 | 0 | -0.42086 | -147.7255 | 80.1185
Line_1 | 0.0019308 | 0.0019308 | 0.0019308 | 0 | 0 | 0 | 0.022295 | 0.022295 | 0.022295 | 0 | 0 | 0 | -7.3224e-05 | -0.00014384 | 0.0002274 | -3.3953e-10 | 4.3131e-11 | 3.0321e-11 | -0.026273 | 0.00022547 | -3.8544e-05 | -3.6184e-11 | -2.1461e-11 | -2.6553e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | 1.1785 | 0.012063 | 0.010062 | -0.42086 | -147.7255 | 80.1185 | -0.43587 | -146.1742 | 79.135
Line_2 | 0.0019308 | 0.0019308 | 0.0019308 | 0 | 0 | 0 | 0.022295 | 0.022295 | 0.022295 | 0 | 0 | 0 | -7.3224e-05 | -0.00014384 | 0.0002274 | -3.3955e-10 | 4.3131e-11 | 3.0321e-11 | -0.026273 | 0.00022547 | -3.8544e-05 | -3.6184e-11 | -2.1461e-11 | -2.6553e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | 1.1785 | 0.012063 | 0.010062 | -0.42086 | -147.7255 | 80.1185 | -0.43587 | -146.1742 | 79.135

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17897 | 0.17092 | 0.16987 | 0.17705 | 0.17167 | 0.17097 | 2.0665 | 1.9737 | 1.9615 | 2.0443 | 1.9823 | 1.9741 | -0.23265 | -6.0538e-12 | -6.3503e-12 | 0.25188 | 0.013507 | 0.014326 | -2.4029 | 4.1584e-12 | 3.6974e-12 | 2.3959 | 0.01957 | 0.014555 | 95.5191 | -22.5168 | -145.8712 | -84.4195 | 156.888 | 34.6631 | 1.1682 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | -0.011179 | 0 | 0 | -0.42086 | -147.7255 | 80.1185
Line_1 | 0.0019308 | 0.0019308 | 0.0019308 | 0 | 0 | 0 | 0.022295 | 0.022295 | 0.022295 | 0 | 0 | 0 | -7.3224e-05 | -0.00014384 | 0.0002274 | -3.3953e-10 | 4.3131e-11 | 3.0321e-11 | -0.026273 | 0.00022547 | -3.8544e-05 | -3.6184e-11 | -2.1461e-11 | -2.6553e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | 1.1785 | 0.012063 | 0.010062 | -0.42086 | -147.7255 | 80.1185 | -0.43587 | -146.1742 | 79.135
Line_2 | 0.0019308 | 0.0019308 | 0.0019308 | 0 | 0 | 0 | 0.022295 | 0.022295 | 0.022295 | 0 | 0 | 0 | -7.3224e-05 | -0.00014384 | 0.0002274 | -3.3955e-10 | 4.3131e-11 | 3.0321e-11 | -0.026273 | 0.00022547 | -3.8544e-05 | -3.6184e-11 | -2.1461e-11 | -2.6553e-11 | 89.7388 | 89.7388 | 89.7388 | 0 | 0 | 0 | 1.1784 | 0.011996 | 0.010345 | 1.1785 | 0.012063 | 0.010062 | -0.42086 | -147.7255 | 80.1185 | -0.43587 | -146.1742 | 79.135

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17544 | 0.17145 | 0.17275 | 0.1747 | 0.17203 | 0.1729 | 2.0258 | 1.9797 | 1.9947 | 2.0172 | 1.9865 | 1.9964 | -0.24461 | -0.54166 | -0.51585 | 0.25711 | 0.55354 | 0.53831 | -2.3511 | -1.404 | -1.4264 | 2.3602 | 1.4283 | 1.4418 | 95.9536 | -23.7669 | -145.0548 | -84.127 | 156.0582 | 35.2007 | 1.1669 | 0.76011 | 0.76043 | 1.1769 | 0.77114 | 0.7709 | 0.013924 | -134.8639 | 105.0636 | -0.34412 | -135.1252 | 104.7273
Line_1 | 0.00078548 | 0.00078548 | 0.00078548 | 0 | 0 | 0 | 0.00907 | 0.00907 | 0.00907 | 0 | 0 | 0 | -0.0044147 | -0.0024826 | 0.006899 | -3.3256e-10 | 8.2227e-10 | 8.2057e-10 | -0.0097192 | 0.0065388 | -0.0011368 | -2.8899e-11 | -8.1103e-10 | -8.1917e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1769 | 0.77114 | 0.7709 | 1.177 | 0.77114 | 0.77078 | -0.34412 | -135.1252 | 104.7273 | -0.34869 | -135.1151 | 104.7222
Line_2 | 0.00078548 | 0.00078548 | 0.00078548 | 0 | 0 | 0 | 0.00907 | 0.00907 | 0.00907 | 0 | 0 | 0 | -0.0044147 | -0.0024826 | 0.006899 | -3.3257e-10 | 8.2226e-10 | 8.2058e-10 | -0.0097192 | 0.0065388 | -0.0011368 | -2.8888e-11 | -8.1103e-10 | -8.1917e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1769 | 0.77114 | 0.7709 | 1.177 | 0.77114 | 0.77078 | -0.34412 | -135.1252 | 104.7273 | -0.34869 | -135.1151 | 104.7222

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17544 | 0.17145 | 0.17275 | 0.1747 | 0.17203 | 0.1729 | 2.0258 | 1.9797 | 1.9947 | 2.0172 | 1.9865 | 1.9964 | -0.24461 | -0.54166 | -0.51585 | 0.25711 | 0.55354 | 0.53831 | -2.3511 | -1.404 | -1.4264 | 2.3602 | 1.4283 | 1.4418 | 95.9536 | -23.7669 | -145.0548 | -84.127 | 156.0582 | 35.2007 | 1.1669 | 0.76011 | 0.76043 | 1.1769 | 0.77114 | 0.7709 | 0.013924 | -134.8639 | 105.0636 | -0.34412 | -135.1252 | 104.7273
Line_1 | 0.00078548 | 0.00078548 | 0.00078548 | 0 | 0 | 0 | 0.00907 | 0.00907 | 0.00907 | 0 | 0 | 0 | -0.0044147 | -0.0024826 | 0.006899 | -3.3256e-10 | 8.2227e-10 | 8.2057e-10 | -0.0097192 | 0.0065388 | -0.0011368 | -2.8899e-11 | -8.1103e-10 | -8.1917e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1769 | 0.77114 | 0.7709 | 1.177 | 0.77114 | 0.77078 | -0.34412 | -135.1252 | 104.7273 | -0.34869 | -135.1151 | 104.7222
Line_2 | 0.00078548 | 0.00078548 | 0.00078548 | 0 | 0 | 0 | 0.00907 | 0.00907 | 0.00907 | 0 | 0 | 0 | -0.0044147 | -0.0024826 | 0.006899 | -3.3257e-10 | 8.2226e-10 | 8.2058e-10 | -0.0097192 | 0.0065388 | -0.0011368 | -2.8888e-11 | -8.1103e-10 | -8.1917e-10 | 114.0846 | 114.0846 | 114.0846 | 0 | 0 | 0 | 1.1769 | 0.77114 | 0.7709 | 1.177 | 0.77114 | 0.77078 | -0.34412 | -135.1252 | 104.7273 | -0.34869 | -135.1151 | 104.7222

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0049673 | 0.0049673 | 0.0049673 | 0.0033126 | 0.0033126 | 0.0033126 | 0.057358 | 0.057358 | 0.057358 | 0.03825 | 0.03825 | 0.03825 | 0.00039409 | -1.4935e-13 | 1.2366e-13 | -0.00022381 | 9.7305e-05 | 9.7305e-05 | -0.057479 | 5.3081e-14 | 1.0174e-13 | 0.038351 | 2.0178e-05 | 2.0178e-05 | 89.5941 | 89.5941 | 89.5941 | -90.4931 | -90.4931 | -90.4931 | 1.0021 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | -0.013103 | 0 | 0 | -0.15872 | -78.778 | -78.778
Line_1 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0114e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.207e-11 | 7.5318e-12 | 3.6815e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867
Line_2 | 0.0016563 | 0.0016563 | 0.0016563 | 0 | 0 | 0 | 0.019125 | 0.019125 | 0.019125 | 0 | 0 | 0 | 0.00011191 | -4.8652e-05 | -4.8652e-05 | -1.0112e-11 | 8.5639e-12 | -1.0858e-11 | -0.019176 | -1.0089e-05 | -1.0089e-05 | -1.2051e-11 | 7.5319e-12 | 3.6816e-12 | 89.5069 | 89.5069 | 89.5069 | 0 | 0 | 0 | 1.0026 | 0.002598 | 0.002598 | 1.0028 | 0.0031177 | 0.0031177 | -0.15872 | -78.778 | -78.778 | -0.18784 | -78.7867 | -78.7867

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.002186 | 0.002186 | 0.002186 | 0.0014578 | 0.0014578 | 0.0014578 | 0.025242 | 0.025242 | 0.025242 | 0.016833 | 0.016833 | 0.016833 | -0.0097374 | -0.005666 | 0.01548 | 0.0064888 | 0.0038122 | -0.010307 | -0.023313 | 0.014599 | -0.002418 | 0.015561 | -0.0097261 | 0.0016007 | 112.6854 | 112.6854 | 112.6854 | -67.4018 | -67.4018 | -67.4018 | 1.0009 | 0.6204 | 0.62069 | 1.0016 | 0.62059 | 0.61962 | 0.015819 | -136.103 | 103.8072 | -0.038214 | -135.9989 | 103.7701
Line_1 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1628e-12 | 7.7541e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.143e-12 | -6.2641e-10 | -6.3505e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627
Line_2 | 0.0007289 | 0.0007289 | 0.0007289 | 0 | 0 | 0 | 0.0084166 | 0.0084166 | 0.0084166 | 0 | 0 | 0 | -0.0032444 | -0.0019061 | 0.0051533 | -6.1645e-12 | 7.754e-10 | 7.7378e-10 | -0.0077803 | 0.004863 | -0.00080037 | -3.1453e-12 | -6.2641e-10 | -6.3506e-10 | 112.5982 | 112.5982 | 112.5982 | 0 | 0 | 0 | 1.0016 | 0.62059 | 0.61962 | 1.0017 | 0.62063 | 0.61941 | -0.038214 | -135.9989 | 103.7701 | -0.049021 | -135.9781 | 103.7627