## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4629e-20 | 0 | -3.9667e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 100.9122 | -79.0878 | 0 | 0.011797 | 0 | -30.4793

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4629e-20 | 0 | -3.9667e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0.17321 | 0.17321 | 0.24495 | 0 | 6 | 6 | -1e-07 | 0.0468 | -1e-07 | 0.0531 | 100.9122 | -79.0878 | 0 | 0.011797 | 0 | -30.4793

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.92664 | 0.92664 | 0 | 2.0569 | 32.0998 | 32.0998 | 20.706 | -19.3664 | 16.472 | -14.9521 | -51.8044 | 128.1956 | 0.82426 | 0.76221 | -13.3014 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.553e-09 | 0 | 2.2521e-09 | 0 | 0 | 0 | 0.76221 | 0.76221 | -14.1339 | -14.1339
Line_2 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.9361 | 1.9829 | -4.1432 | 4.1963 | 100.9122 | -79.0878 | 0.76221 | 0.77354 | -14.1339 | -14.3798

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.92664 | 0.92664 | 0 | 2.0569 | 32.0998 | 32.0998 | 20.706 | -19.3664 | 16.472 | -14.9521 | -51.8044 | 128.1956 | 0.82426 | 0.76221 | -13.3014 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.553e-09 | 0 | 2.2521e-09 | 0 | 0 | 0 | 0.76221 | 0.76221 | -14.1339 | -14.1339
Line_2 | 0.1732 | 0.1732 | 0.24495 | 0 | 6 | 6 | -1.9361 | 1.9829 | -4.1432 | 4.1963 | 100.9122 | -79.0878 | 0.76221 | 0.77354 | -14.1339 | -14.3798

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 4.4908e-10 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 2.0866e-10 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 2.0866e-10 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 2.181 | 2.181 | 0.34641 | 2.181 | 2.181 | 4 | 25.1835 | 25.1835 | 4 | 25.1835 | 25.1835 | -0.88547 | 17.6647 | -13.1919 | 0.94787 | -15.1913 | 15.6653 | -4.8458 | -1.3972 | 4.5517 | 4.9166 | 4.2036 | -1.7453 | 100.9121 | -164.5327 | 6.3572 | -79.0879 | 15.4673 | -173.6428 | 1.2315 | 0.70363 | 0.55413 | 1.2518 | 0.62589 | 0.62589 | 0.55677 | -169.0552 | 167.3209 | -1.4361e-05 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9669e-10 | 1.7417e-10 | 1.7418e-10 | -6.9671e-10 | -1.7416e-10 | -1.742e-10 | 5.755e-15 | 2.1862e-09 | -2.1862e-09 | 1.7463e-16 | -2.1862e-09 | 2.1862e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2518 | 0.62589 | 0.62589 | 1.2518 | 0.62589 | 0.62589 | -1.4361e-05 | 180 | 180 | -1.4361e-05 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.183 | 0.946 | 0.48953 | 1.1986 | -0.9304 | -2.4583 | -0.40935 | -0.8198 | 2.476 | 0.42705 | 0.8375 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2518 | 0.62589 | 0.62589 | 1.262 | 0.63619 | 0.62591 | -1.4361e-05 | 180 | 180 | -0.27168 | -179.4765 | 178.9201

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 2.181 | 2.181 | 0.34641 | 2.181 | 2.181 | 4 | 25.1835 | 25.1835 | 4 | 25.1835 | 25.1835 | -0.88547 | 17.6647 | -13.1919 | 0.94787 | -15.1913 | 15.6653 | -4.8458 | -1.3972 | 4.5517 | 4.9166 | 4.2036 | -1.7453 | 100.9121 | -164.5327 | 6.3572 | -79.0879 | 15.4673 | -173.6428 | 1.2315 | 0.70363 | 0.55413 | 1.2518 | 0.62589 | 0.62589 | 0.55677 | -169.0552 | 167.3209 | -1.4361e-05 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9669e-10 | 1.7417e-10 | 1.7418e-10 | -6.9671e-10 | -1.7416e-10 | -1.742e-10 | 5.755e-15 | 2.1862e-09 | -2.1862e-09 | 1.7463e-16 | -2.1862e-09 | 2.1862e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2518 | 0.62589 | 0.62589 | 1.2518 | 0.62589 | 0.62589 | -1.4361e-05 | 180 | 180 | -1.4361e-05 | 180 | 180
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.183 | 0.946 | 0.48953 | 1.1986 | -0.9304 | -2.4583 | -0.40935 | -0.8198 | 2.476 | 0.42705 | 0.8375 | 100.9121 | -19.0876 | -139.0879 | -79.0879 | 160.9124 | 40.9121 | 1.2518 | 0.62589 | 0.62589 | 1.262 | 0.63619 | 0.62591 | -1.4361e-05 | 180 | 180 | -0.27168 | -179.4765 | 178.9201

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.2941 | 1.192 | 0.34641 | 1.2941 | 1.192 | 4 | 14.9428 | 13.7643 | 4 | 14.9428 | 13.7643 | -0.88547 | 14.2296 | -3.1911 | 0.94787 | -13.3588 | 3.93 | -4.8458 | -0.52804 | 8.7002 | 4.9166 | 1.5161 | -7.8618 | 100.9121 | -144.4522 | 20.2311 | -79.0879 | 35.5478 | -159.7689 | 1.2315 | 0.95293 | 0.67326 | 1.2518 | 0.89973 | 0.63856 | 0.55677 | -146.5774 | 130.3734 | -1.1711e-05 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9669e-10 | -1.4475e-10 | -9.7061e-10 | -6.9669e-10 | 1.4476e-10 | 9.706e-10 | 1.1717e-14 | 1.8651e-09 | -7.4402e-10 | -1.1717e-14 | -1.8651e-09 | 7.4402e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2518 | 0.89973 | 0.63856 | 1.2518 | 0.89973 | 0.63856 | -1.1711e-05 | -150.927 | 136.7907 | -1.1711e-05 | -150.927 | 136.7907
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.2003 | 0.1308 | 0.48953 | 1.2159 | -0.1152 | -2.4583 | -1.3406 | -1.2704 | 2.476 | 1.3583 | 1.2881 | 100.9121 | -19.0877 | -139.0878 | -79.0879 | 160.9123 | 40.9122 | 1.2518 | 0.89973 | 0.63856 | 1.262 | 0.91153 | 0.64663 | -1.1711e-05 | -150.927 | 136.7907 | -0.27168 | -150.9212 | 136.0229

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34641 | 1.2941 | 1.192 | 0.34641 | 1.2941 | 1.192 | 4 | 14.9428 | 13.7643 | 4 | 14.9428 | 13.7643 | -0.88547 | 14.2296 | -3.1911 | 0.94787 | -13.3588 | 3.93 | -4.8458 | -0.52804 | 8.7002 | 4.9166 | 1.5161 | -7.8618 | 100.9121 | -144.4522 | 20.2311 | -79.0879 | 35.5478 | -159.7689 | 1.2315 | 0.95293 | 0.67326 | 1.2518 | 0.89973 | 0.63856 | 0.55677 | -146.5774 | 130.3734 | -1.1711e-05 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9669e-10 | -1.4475e-10 | -9.7061e-10 | -6.9669e-10 | 1.4476e-10 | 9.706e-10 | 1.1717e-14 | 1.8651e-09 | -7.4402e-10 | -1.1717e-14 | -1.8651e-09 | 7.4402e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2518 | 0.89973 | 0.63856 | 1.2518 | 0.89973 | 0.63856 | -1.1711e-05 | -150.927 | 136.7907 | -1.1711e-05 | -150.927 | 136.7907
Line_2 | 0.1732 | 0.1732 | 0.17321 | 0.1732 | 0.1732 | 0.17321 | 2 | 2 | 2 | 2 | 2 | 2 | -0.47393 | -1.2003 | 0.1308 | 0.48953 | 1.2159 | -0.1152 | -2.4583 | -1.3406 | -1.2704 | 2.476 | 1.3583 | 1.2881 | 100.9121 | -19.0877 | -139.0878 | -79.0879 | 160.9123 | 40.9122 | 1.2518 | 0.89973 | 0.63856 | 1.262 | 0.91153 | 0.64663 | -1.1711e-05 | -150.927 | 136.7907 | -0.27168 | -150.9212 | 136.0229

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2252 | 0.34748 | 0.35221 | 2.2234 | 0.34688 | 0.35076 | 25.6949 | 4.0124 | 4.067 | 25.6735 | 4.0054 | 4.0502 | 8.6871 | -0.79788 | -0.95703 | 3.3004e-12 | 1.7033 | 1.0841 | 4.4174 | -4.8789 | -4.9248 | 6.9128e-11 | 4.3923 | 5.9696 | -67.415 | -20.2819 | -138.3587 | 112.6082 | 160.0438 | 41.4025 | 0.37929 | 1.2321 | 1.2336 | 0 | 1.1761 | 1.498 | -40.4617 | -119.5697 | 120.6441 | 0 | -131.1519 | 121.1091
Line_1 | 0.0026371 | 0.0026371 | 0.0026371 | 0 | 0 | 0 | 0.03045 | 0.03045 | 0.03045 | 0 | 0 | 0 | 4.6234e-14 | 0.031982 | -0.031963 | -2.3242e-13 | -4.168e-10 | -2.1901e-09 | -6.7824e-14 | -0.016117 | -0.032543 | 1.8171e-12 | -9.1861e-10 | 1.1621e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1761 | 1.498 | 0.00045417 | 1.1758 | 1.4984 | 0 | -131.1519 | 121.1091 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.17083 | 0.17344 | 0.17538 | 0.17321 | 0.17321 | 0.1732 | 1.9725 | 2.0027 | 2.0251 | 2 | 2 | 2 | -7.9366e-13 | -0.85164 | -0.54207 | 0.014694 | 0.89962 | 0.52621 | 5.2576e-12 | -2.1961 | -2.9848 | 0.017758 | 2.1969 | 2.9707 | 101.2906 | -19.9562 | -138.5975 | -79.0877 | 160.9121 | 40.9123 | 0 | 1.1761 | 1.498 | 0.011524 | 1.187 | 1.5085 | 0 | -131.1519 | 121.1091 | -28.6934 | -131.3568 | 120.8674

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2252 | 0.34748 | 0.35221 | 2.2234 | 0.34688 | 0.35076 | 25.6949 | 4.0124 | 4.067 | 25.6735 | 4.0054 | 4.0502 | 8.6871 | -0.79788 | -0.95703 | 3.3004e-12 | 1.7033 | 1.0841 | 4.4174 | -4.8789 | -4.9248 | 6.9128e-11 | 4.3923 | 5.9696 | -67.415 | -20.2819 | -138.3587 | 112.6082 | 160.0438 | 41.4025 | 0.37929 | 1.2321 | 1.2336 | 0 | 1.1761 | 1.498 | -40.4617 | -119.5697 | 120.6441 | 0 | -131.1519 | 121.1091
Line_1 | 0.0026371 | 0.0026371 | 0.0026371 | 0 | 0 | 0 | 0.03045 | 0.03045 | 0.03045 | 0 | 0 | 0 | 4.6234e-14 | 0.031982 | -0.031963 | -2.3242e-13 | -4.168e-10 | -2.1901e-09 | -6.7824e-14 | -0.016117 | -0.032543 | 1.8171e-12 | -9.1861e-10 | 1.1621e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1761 | 1.498 | 0.00045417 | 1.1758 | 1.4984 | 0 | -131.1519 | 121.1091 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.17083 | 0.17344 | 0.17538 | 0.17321 | 0.17321 | 0.1732 | 1.9725 | 2.0027 | 2.0251 | 2 | 2 | 2 | -7.9366e-13 | -0.85164 | -0.54207 | 0.014694 | 0.89962 | 0.52621 | 5.2576e-12 | -2.1961 | -2.9848 | 0.017758 | 2.1969 | 2.9707 | 101.2906 | -19.9562 | -138.5975 | -79.0877 | 160.9121 | 40.9123 | 0 | 1.1761 | 1.498 | 0.011524 | 1.187 | 1.5085 | 0 | -131.1519 | 121.1091 | -28.6934 | -131.3568 | 120.8674

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85731 | 0.34762 | 0.3485 | 0.85653 | 0.34716 | 0.34802 | 9.8994 | 4.014 | 4.0241 | 9.8904 | 4.0086 | 4.0185 | 7.1823 | -0.85013 | -0.92332 | -5.7035 | 1.3395 | 0.90825 | 4.673 | -4.8718 | -4.8719 | -4.1157 | 4.7755 | 5.3807 | -46.4395 | -19.5977 | -138.6633 | 133.595 | 160.5365 | 41.205 | 0.86558 | 1.2321 | 1.2322 | 0.71114 | 1.2373 | 1.3579 | -13.39 | -119.4961 | 120.6054 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0011966 | 0.0011966 | 0.0011966 | 0 | 0 | 0 | 0.013817 | 0.013817 | 0.013817 | 0 | 0 | 0 | 0.0016195 | 0.014168 | -0.015784 | 9.6537e-10 | -6.4232e-10 | -1.2875e-09 | 0.0096914 | -0.0095667 | -0.010144 | -5.2637e-10 | -4.47e-10 | 1.5506e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.71114 | 1.2373 | 1.3579 | 0.71103 | 1.2372 | 1.3581 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.17203 | 0.17358 | 0.17401 | 0.17321 | 0.17321 | 0.1732 | 1.9865 | 2.0043 | 2.0093 | 2 | 2 | 2 | -0.51971 | -0.66973 | -0.45412 | 0.53652 | 0.69976 | 0.45408 | -1.3136 | -2.3878 | -2.6903 | 1.3409 | 2.3956 | 2.6983 | 100.9952 | -19.4635 | -138.795 | -79.0877 | 160.9122 | 40.9122 | 0.71114 | 1.2373 | 1.3579 | 0.72213 | 1.2478 | 1.3681 | -10.5903 | -125.1316 | 121.6239 | -10.8947 | -125.3713 | 121.3597

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.85731 | 0.34762 | 0.3485 | 0.85653 | 0.34716 | 0.34802 | 9.8994 | 4.014 | 4.0241 | 9.8904 | 4.0086 | 4.0185 | 7.1823 | -0.85013 | -0.92332 | -5.7035 | 1.3395 | 0.90825 | 4.673 | -4.8718 | -4.8719 | -4.1157 | 4.7755 | 5.3807 | -46.4395 | -19.5977 | -138.6633 | 133.595 | 160.5365 | 41.205 | 0.86558 | 1.2321 | 1.2322 | 0.71114 | 1.2373 | 1.3579 | -13.39 | -119.4961 | 120.6054 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.0011966 | 0.0011966 | 0.0011966 | 0 | 0 | 0 | 0.013817 | 0.013817 | 0.013817 | 0 | 0 | 0 | 0.0016195 | 0.014168 | -0.015784 | 9.6537e-10 | -6.4232e-10 | -1.2875e-09 | 0.0096914 | -0.0095667 | -0.010144 | -5.2637e-10 | -4.47e-10 | 1.5506e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.71114 | 1.2373 | 1.3579 | 0.71103 | 1.2372 | 1.3581 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.17203 | 0.17358 | 0.17401 | 0.17321 | 0.17321 | 0.1732 | 1.9865 | 2.0043 | 2.0093 | 2 | 2 | 2 | -0.51971 | -0.66973 | -0.45412 | 0.53652 | 0.69976 | 0.45408 | -1.3136 | -2.3878 | -2.6903 | 1.3409 | 2.3956 | 2.6983 | 100.9952 | -19.4635 | -138.795 | -79.0877 | 160.9122 | 40.9122 | 0.71114 | 1.2373 | 1.3579 | 0.72213 | 1.2478 | 1.3681 | -10.5903 | -125.1316 | 121.6239 | -10.8947 | -125.3713 | 121.3597

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35269 | 2.686 | 2.0349 | 0.35087 | 2.6856 | 2.0339 | 4.0725 | 31.0156 | 23.4965 | 4.0515 | 31.0106 | 23.4851 | -0.88281 | 9.1417 | 1.5355 | 1.6759 | -3.8396e-11 | -3.5985e-11 | -4.9471 | 0.23528 | 7.5 | 5.4818 | 3.641e-11 | 1.9314e-11 | 100.6559 | 171.1331 | 37.4435 | -79.314 | -8.8291 | -142.5999 | 1.2339 | 0.29484 | 0.32582 | 1.4148 | 0 | 0 | 0.53794 | 172.6074 | 115.8732 | -6.3135 | 0 | 0
Line_1 | 0.0023348 | 0.0023348 | 0.0023348 | 0 | 0 | 0 | 0.02696 | 0.02696 | 0.02696 | 0 | 0 | 0 | 1.5113e-05 | 3.3076e-14 | 1.2539e-14 | -1.669e-09 | 1.1395e-12 | -1.5696e-12 | -0.038144 | 3.1972e-14 | -4.5175e-14 | -6.2912e-10 | 1.1535e-12 | 4.1058e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.4148 | 0 | 0 | 1.415 | 0.0004021 | 0.0004021 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.17544 | 0.1727 | 0.1715 | 0.1732 | 0.17321 | 0.17321 | 2.0258 | 1.9942 | 1.9803 | 2 | 2 | 2 | -0.83795 | -2.8219e-12 | -2.9454e-12 | 0.85437 | 0.015145 | 0.015253 | -2.7409 | 1.9017e-12 | 1.7842e-12 | 2.7205 | 0.018363 | 0.016975 | 100.686 | -18.3321 | -139.6174 | -79.0879 | 160.9124 | 40.9121 | 1.4148 | 0 | 0 | 1.4258 | 0.011902 | 0.01141 | -6.3135 | 0 | 0 | -6.5226 | -148.6021 | 88.9703

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35269 | 2.686 | 2.0349 | 0.35087 | 2.6856 | 2.0339 | 4.0725 | 31.0156 | 23.4965 | 4.0515 | 31.0106 | 23.4851 | -0.88281 | 9.1417 | 1.5355 | 1.6759 | -3.8396e-11 | -3.5985e-11 | -4.9471 | 0.23528 | 7.5 | 5.4818 | 3.641e-11 | 1.9314e-11 | 100.6559 | 171.1331 | 37.4435 | -79.314 | -8.8291 | -142.5999 | 1.2339 | 0.29484 | 0.32582 | 1.4148 | 0 | 0 | 0.53794 | 172.6074 | 115.8732 | -6.3135 | 0 | 0
Line_1 | 0.0023348 | 0.0023348 | 0.0023348 | 0 | 0 | 0 | 0.02696 | 0.02696 | 0.02696 | 0 | 0 | 0 | 1.5113e-05 | 3.3076e-14 | 1.2539e-14 | -1.669e-09 | 1.1395e-12 | -1.5696e-12 | -0.038144 | 3.1972e-14 | -4.5175e-14 | -6.2912e-10 | 1.1535e-12 | 4.1058e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.4148 | 0 | 0 | 1.415 | 0.0004021 | 0.0004021 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.17544 | 0.1727 | 0.1715 | 0.1732 | 0.17321 | 0.17321 | 2.0258 | 1.9942 | 1.9803 | 2 | 2 | 2 | -0.83795 | -2.8219e-12 | -2.9454e-12 | 0.85437 | 0.015145 | 0.015253 | -2.7409 | 1.9017e-12 | 1.7842e-12 | 2.7205 | 0.018363 | 0.016975 | 100.686 | -18.3321 | -139.6174 | -79.0879 | 160.9124 | 40.9121 | 1.4148 | 0 | 0 | 1.4258 | 0.011902 | 0.01141 | -6.3135 | 0 | 0 | -6.5226 | -148.6021 | 88.9703

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34949 | 0.95715 | 0.8294 | 0.34862 | 0.95716 | 0.8287 | 4.0356 | 11.0522 | 9.577 | 4.0255 | 11.0524 | 9.569 | -0.88993 | 8.056 | 5.9401 | 1.2618 | -6.8677 | -5.3414 | -4.8944 | 4.7228 | 5.4752 | 5.2331 | -5.0722 | -4.1029 | 100.8609 | -165.922 | 66.3306 | -79.1449 | 14.1303 | -113.7057 | 1.2327 | 0.84493 | 0.84353 | 1.3372 | 0.77248 | 0.70387 | 0.55568 | -135.5412 | 108.9985 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.001118 | 0.001118 | 0.001118 | 0 | 0 | 0 | 0.012909 | 0.012909 | 0.012909 | 0 | 0 | 0 | -0.0014102 | -0.0074793 | 0.008893 | -1.1698e-09 | 8.8562e-10 | 9.1015e-10 | -0.017205 | 0.0065954 | 0.001864 | -2.5485e-10 | -5.094e-10 | -7.9086e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.3372 | 0.77248 | 0.70387 | 1.3373 | 0.77257 | 0.70368 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.17431 | 0.17281 | 0.1725 | 0.1732 | 0.1732 | 0.17321 | 2.0128 | 1.9954 | 1.9919 | 2 | 2 | 2 | -0.63088 | -0.54434 | -0.63216 | 0.64544 | 0.5522 | 0.65654 | -2.6166 | -1.4421 | -1.2514 | 2.6171 | 1.4667 | 1.2706 | 100.8551 | -18.7418 | -139.3767 | -79.0878 | 160.9123 | 40.9122 | 1.3372 | 0.77248 | 0.70387 | 1.3478 | 0.78359 | 0.71512 | -2.7007 | -129.4216 | 103.8229 | -2.9418 | -129.719 | 103.5868

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34949 | 0.95715 | 0.8294 | 0.34862 | 0.95716 | 0.8287 | 4.0356 | 11.0522 | 9.577 | 4.0255 | 11.0524 | 9.569 | -0.88993 | 8.056 | 5.9401 | 1.2618 | -6.8677 | -5.3414 | -4.8944 | 4.7228 | 5.4752 | 5.2331 | -5.0722 | -4.1029 | 100.8609 | -165.922 | 66.3306 | -79.1449 | 14.1303 | -113.7057 | 1.2327 | 0.84493 | 0.84353 | 1.3372 | 0.77248 | 0.70387 | 0.55568 | -135.5412 | 108.9985 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.001118 | 0.001118 | 0.001118 | 0 | 0 | 0 | 0.012909 | 0.012909 | 0.012909 | 0 | 0 | 0 | -0.0014102 | -0.0074793 | 0.008893 | -1.1698e-09 | 8.8562e-10 | 9.1015e-10 | -0.017205 | 0.0065954 | 0.001864 | -2.5485e-10 | -5.094e-10 | -7.9086e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.3372 | 0.77248 | 0.70387 | 1.3373 | 0.77257 | 0.70368 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.17431 | 0.17281 | 0.1725 | 0.1732 | 0.1732 | 0.17321 | 2.0128 | 1.9954 | 1.9919 | 2 | 2 | 2 | -0.63088 | -0.54434 | -0.63216 | 0.64544 | 0.5522 | 0.65654 | -2.6166 | -1.4421 | -1.2514 | 2.6171 | 1.4667 | 1.2706 | 100.8551 | -18.7418 | -139.3767 | -79.0878 | 160.9123 | 40.9122 | 1.3372 | 0.77248 | 0.70387 | 1.3478 | 0.78359 | 0.71512 | -2.7007 | -129.4216 | 103.8229 | -2.9418 | -129.719 | 103.5868

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212