## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.4534e-19 | 0 | -4.1731e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.453e-19 | 0 | -3.8634e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0426e-19 | 0 | -3.1277e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0426e-19 | 0 | -3.1277e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0421e-14 | 5.2106e-15 | -5.2106e-15 | -5.2106e-15 | 7.8183e-15 | -1.0419e-14 | 1.5632e-14 | 1.3448e-08 | -1.3448e-08 | -1.0421e-14 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.9682e-13 | 180 | 180 | 7.1667e-13 | -180 | 180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3965e-15 | -2.606e-15 | -5.2113e-15 | -1.3965e-15 | 2.6065e-15 | 5.2118e-15 | 6.5939e-16 | 3.8423e-09 | -3.8423e-09 | -6.5939e-16 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1667e-13 | -180 | 180 | 7.1665e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1741e-16 | -5.2113e-15 | -2.606e-15 | -2.1741e-16 | 5.2118e-15 | 2.6065e-15 | 1.0381e-16 | 3.8423e-09 | -3.8423e-09 | -1.0381e-16 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1667e-13 | -180 | 180 | 7.1667e-13 | -180 | 180
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2264e-20 | -5.2113e-15 | -2.606e-15 | 1.2264e-20 | 5.2118e-15 | 2.6065e-15 | -1.0774e-22 | 3.8423e-09 | -3.8423e-09 | 1.0774e-22 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1667e-13 | -180 | 180 | 7.1667e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5632e-14 | 1.0421e-14 | -5.2106e-15 | -5.2106e-15 | -5.2083e-15 | -5.2083e-15 | 5.2106e-15 | 1.3448e-08 | -1.3448e-08 | -5.2106e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.1098e-13 | 180 | 180 | 6.4879e-13 | -180 | 180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2932e-15 | -6.6596e-19 | 5.21e-15 | 1.2932e-15 | 1.1345e-18 | -5.2095e-15 | -4.5889e-16 | 3.8423e-09 | -3.8423e-09 | 4.5889e-16 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.4879e-13 | -180 | 180 | 6.4887e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5393e-16 | -6.6596e-19 | 1.0421e-14 | 1.5393e-16 | 1.1345e-18 | -1.042e-14 | -1.434e-16 | 3.8423e-09 | -3.8423e-09 | 1.434e-16 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.4879e-13 | -180 | 180 | 6.4876e-13 | -180 | 180
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2273e-20 | -6.6596e-19 | 2.6047e-15 | 1.2273e-20 | 1.1345e-18 | -2.6042e-15 | -1.014e-22 | 3.8423e-09 | -3.8423e-09 | 1.014e-22 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 6.4879e-13 | -180 | 180 | 6.4879e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6053e-15 | -2.6451e-09 | -7.3814e-09 | -5.2106e-15 | 2.6451e-09 | 7.3814e-09 | -2.6053e-15 | 1.165e-08 | -3.4468e-09 | 5.2106e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0931e-13 | -149.7905 | 132.4483 | 4.2183e-13 | -149.7905 | 132.4483
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.194e-16 | -7.5576e-10 | -2.109e-09 | -4.194e-16 | 7.5576e-10 | 2.109e-09 | 1.8029e-16 | 3.3287e-09 | -9.8481e-10 | -1.8029e-16 | -3.3287e-09 | 9.8481e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.2183e-13 | -149.7905 | 132.4483 | 4.2181e-13 | -149.7905 | 132.4483
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1413e-16 | -7.5575e-10 | -2.109e-09 | -3.1413e-16 | 7.5575e-10 | 2.109e-09 | 4.2221e-17 | 3.3287e-09 | -9.848e-10 | -4.2221e-17 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.2183e-13 | -149.7905 | 132.4483 | 4.2177e-13 | -149.7905 | 132.4483
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6728e-21 | -7.5575e-10 | -2.109e-09 | 6.6728e-21 | 7.5575e-10 | 2.109e-09 | -6.411e-23 | 3.3287e-09 | -9.8481e-10 | 6.411e-23 | -3.3287e-09 | 9.8481e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.2183e-13 | -149.7905 | 132.4483 | 4.2183e-13 | -149.7905 | 132.4483

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2106e-15 | -2.6451e-09 | -7.3814e-09 | -1.7361e-29 | 2.6451e-09 | 7.3814e-09 | -3.7224e-29 | 1.165e-08 | -3.4468e-09 | 2.6053e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 4.0931e-13 | -149.7905 | 132.4483 | 3.8179e-13 | -149.7905 | 132.4483
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.7152e-16 | -7.5574e-10 | -2.109e-09 | 4.7152e-16 | 7.5574e-10 | 2.109e-09 | -2.7018e-16 | 3.3287e-09 | -9.8479e-10 | 2.7018e-16 | -3.3287e-09 | 9.8479e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.8179e-13 | -149.7905 | 132.4483 | 3.8177e-13 | -149.7905 | 132.4483
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0765e-16 | -7.5574e-10 | -2.109e-09 | 2.0765e-16 | 7.5574e-10 | 2.109e-09 | -1.3332e-16 | 3.3287e-09 | -9.8479e-10 | 1.3332e-16 | -3.3287e-09 | 9.8479e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.8179e-13 | -149.7905 | 132.4483 | 3.8178e-13 | -149.7905 | 132.4483
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6808e-21 | -7.5574e-10 | -2.109e-09 | 6.6808e-21 | 7.5574e-10 | 2.109e-09 | -5.5935e-23 | 3.3287e-09 | -9.8479e-10 | 5.5935e-23 | -3.3287e-09 | 9.8479e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.8179e-13 | -149.7905 | 132.4483 | 3.8179e-13 | -149.7905 | 132.4483

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.3027e-14 | -7.1054e-15 | -2.3685e-15 | -4.7332e-15 | 4.7407e-15 | -4.737e-15 | 1.1114e-08 | -1.1114e-08 | -3.0549e-29 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9254e-13 | -180 | 180 | 7.39e-13 | -180 | 180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.701e-16 | 2.3674e-15 | -2.3695e-15 | -6.701e-16 | -2.3667e-15 | 2.3703e-15 | -2.0274e-16 | 3.1754e-09 | -3.1754e-09 | 2.0274e-16 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.386e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6907e-16 | 1.1832e-15 | -1.1853e-15 | -6.6907e-16 | -1.1824e-15 | 1.186e-15 | 2.2088e-16 | 3.1754e-09 | -3.1754e-09 | -2.2088e-16 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.3905e-13 | -180 | 180
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2263e-20 | 1.1832e-15 | -1.0586e-18 | -2.2263e-20 | -1.1824e-15 | 1.802e-18 | -9.5177e-23 | 3.1754e-09 | -3.1754e-09 | 9.5177e-23 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.39e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | 1.3027e-14 | -7.1054e-15 | -2.3685e-15 | -4.7332e-15 | 4.7407e-15 | -4.737e-15 | 1.1114e-08 | -1.1114e-08 | -3.0549e-29 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.9254e-13 | -180 | 180 | 7.39e-13 | -180 | 180
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.701e-16 | 2.3674e-15 | -2.3695e-15 | -6.701e-16 | -2.3667e-15 | 2.3703e-15 | -2.0274e-16 | 3.1754e-09 | -3.1754e-09 | 2.0274e-16 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.386e-13 | -180 | 180
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6907e-16 | 1.1832e-15 | -1.1853e-15 | -6.6907e-16 | -1.1824e-15 | 1.186e-15 | 2.2088e-16 | 3.1754e-09 | -3.1754e-09 | -2.2088e-16 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.3905e-13 | -180 | 180
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2263e-20 | 1.1832e-15 | -1.0586e-18 | -2.2263e-20 | -1.1824e-15 | 1.802e-18 | -9.5177e-23 | 3.1754e-09 | -3.1754e-09 | 9.5177e-23 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.39e-13 | -180 | 180 | 7.39e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1316e-29 | -2.1424e-09 | -5.9785e-09 | -5.5018e-29 | 2.1424e-09 | 5.9785e-09 | -7.1054e-15 | 9.9501e-09 | -3.3057e-09 | 7.1054e-15 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1379e-13 | -151.709 | 135.0798 | 4.4365e-13 | -151.709 | 135.0798
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.696e-16 | -6.121e-10 | -1.7081e-09 | -1.696e-16 | 6.121e-10 | 1.7081e-09 | -1.8577e-16 | 2.8429e-09 | -9.4449e-10 | 1.8577e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4341e-13 | -151.709 | 135.0798
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7144e-16 | -6.121e-10 | -1.7081e-09 | -2.7144e-16 | 6.121e-10 | 1.7081e-09 | 1.0543e-16 | 2.8429e-09 | -9.4449e-10 | -1.0543e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4369e-13 | -151.709 | 135.0798
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5999e-20 | -6.121e-10 | -1.7081e-09 | -1.5999e-20 | 6.121e-10 | 1.7081e-09 | -5.7321e-23 | 2.8429e-09 | -9.4449e-10 | 5.7321e-23 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4365e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.1316e-29 | -2.1424e-09 | -5.9785e-09 | -5.5018e-29 | 2.1424e-09 | 5.9785e-09 | -7.1054e-15 | 9.9501e-09 | -3.3057e-09 | 7.1054e-15 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1379e-13 | -151.709 | 135.0798 | 4.4365e-13 | -151.709 | 135.0798
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.696e-16 | -6.121e-10 | -1.7081e-09 | -1.696e-16 | 6.121e-10 | 1.7081e-09 | -1.8577e-16 | 2.8429e-09 | -9.4449e-10 | 1.8577e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4341e-13 | -151.709 | 135.0798
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.7144e-16 | -6.121e-10 | -1.7081e-09 | -2.7144e-16 | 6.121e-10 | 1.7081e-09 | 1.0543e-16 | 2.8429e-09 | -9.4449e-10 | -1.0543e-16 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4369e-13 | -151.709 | 135.0798
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5999e-20 | -6.121e-10 | -1.7081e-09 | -1.5999e-20 | 6.121e-10 | 1.7081e-09 | -5.7321e-23 | 2.8429e-09 | -9.4449e-10 | 5.7321e-23 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.4365e-13 | -151.709 | 135.0798 | 4.4365e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0018175 | 0.0018175 | 0.0018175 | 0 | 0 | 0 | 0.020987 | 0.020987 | 0.020987 | 0 | 0 | 0 | 3.8368e-14 | 0.019997 | -0.019988 | -3.2618e-12 | -2.5679e-12 | -2.0197e-11 | -8.0719e-14 | -0.011547 | -0.011568 | 8.2145e-12 | -2.4756e-11 | 1.4586e-11 | -90.03 | -90.0299 | -90.0299 | 0 | 0 | 0 |  | 0 | 1.1003 | 1.1004 | 0.00031302 | 1.1001 | 1.1007 | 0 | -120.0329 | 120.0293 | 111.6417 | -120.0457 | 120.0269
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3194e-13 | 7.3424e-13 | 5.7676e-12 | -9.3194e-13 | -7.3424e-13 | -5.7676e-12 | -2.347e-12 | 7.0734e-12 | -4.1681e-12 | 2.347e-12 | -7.0734e-12 | 4.1681e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3194e-13 | 7.3415e-13 | 5.7673e-12 | -9.3194e-13 | -7.3415e-13 | -5.7673e-12 | -2.347e-12 | 7.0733e-12 | -4.1671e-12 | 2.347e-12 | -7.0733e-12 | 4.1671e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3193e-13 | 7.3415e-13 | 5.767e-12 | -9.3193e-13 | -7.3415e-13 | -5.767e-12 | -2.347e-12 | 7.0733e-12 | -4.1677e-12 | 2.347e-12 | -7.0733e-12 | 4.1677e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0018175 | 0.0018175 | 0.0018175 | 0 | 0 | 0 | 0.020987 | 0.020987 | 0.020987 | 0 | 0 | 0 | 3.8521e-14 | 0.019997 | -0.019988 | -3.2618e-12 | -2.5798e-12 | -2.0176e-11 | -8.0724e-14 | -0.011547 | -0.011568 | 8.2145e-12 | -2.4744e-11 | 1.4593e-11 | -90.03 | -90.0299 | -90.0299 | 0 | 0 | 0 |  | 0 | 1.1003 | 1.1004 | 0.00031302 | 1.1001 | 1.1007 | 0 | -120.0329 | 120.0293 | 111.6417 | -120.0457 | 120.0269
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3193e-13 | 7.3453e-13 | 5.7654e-12 | -9.3193e-13 | -7.3453e-13 | -5.7654e-12 | -2.347e-12 | 7.0732e-12 | -4.1675e-12 | 2.347e-12 | -7.0732e-12 | 4.1675e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3193e-13 | 7.3415e-13 | 5.767e-12 | -9.3193e-13 | -7.3415e-13 | -5.767e-12 | -2.347e-12 | 7.0733e-12 | -4.167e-12 | 2.347e-12 | -7.0733e-12 | 4.167e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3193e-13 | 7.3415e-13 | 5.7672e-12 | -9.3193e-13 | -7.3415e-13 | -5.7672e-12 | -2.347e-12 | 7.0733e-12 | -4.1674e-12 | 2.347e-12 | -7.0733e-12 | 4.1674e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00031302 | 1.1001 | 1.1007 | 0.00031302 | 1.1001 | 1.1007 | 111.6417 | -120.0457 | 120.0269 | 111.6417 | -120.0457 | 120.0269

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00073797 | 0.00073797 | 0.00073797 | 0 | 0 | 0 | 0.0085214 | 0.0085214 | 0.0085214 | 0 | 0 | 0 | 0.003868 | 0.0054619 | -0.0093283 | 6.3663e-09 | -5.0987e-12 | -5.011e-12 | 0.0047332 | -0.00762 | -0.00092392 | -5.2044e-09 | -8.7305e-12 | 8.7766e-12 | -65.6421 | -65.642 | -65.642 | 0 | 0 | 0 |  | 0.71733 | 1.1002 | 1.1001 | 0.71722 | 1.1002 | 1.1002 | -14.8979 | -120.0097 | 120.0144 | -14.893 | -120.0161 | 120.0162
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.456e-12 | 1.4328e-12 | 1.8189e-09 | -1.456e-12 | -1.4328e-12 | 1.487e-09 | 2.4934e-12 | -2.5073e-12 | -1.487e-09 | -2.4934e-12 | 2.5073e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.4562e-12 | 1.4327e-12 | 1.8189e-09 | -1.4562e-12 | -1.4327e-12 | 1.487e-09 | 2.4936e-12 | -2.5073e-12 | -1.487e-09 | -2.4936e-12 | 2.5073e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.4562e-12 | 1.4327e-12 | 1.8189e-09 | -1.4562e-12 | -1.4327e-12 | 1.487e-09 | 2.4936e-12 | -2.5072e-12 | -1.487e-09 | -2.4936e-12 | 2.5072e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00073797 | 0.00073797 | 0.00073797 | 0 | 0 | 0 | 0.0085214 | 0.0085214 | 0.0085214 | 0 | 0 | 0 | 0.003868 | 0.0054619 | -0.0093283 | 6.3662e-09 | -5.0985e-12 | -5.0141e-12 | 0.0047332 | -0.00762 | -0.00092392 | -5.2044e-09 | -8.7253e-12 | 8.7773e-12 | -65.6421 | -65.642 | -65.642 | 0 | 0 | 0 |  | 0.71733 | 1.1002 | 1.1001 | 0.71722 | 1.1002 | 1.1002 | -14.8979 | -120.0097 | 120.0144 | -14.893 | -120.0161 | 120.0162
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.4563e-12 | 1.4331e-12 | 1.8189e-09 | -1.4563e-12 | -1.4331e-12 | 1.487e-09 | 2.4936e-12 | -2.5068e-12 | -1.487e-09 | -2.4936e-12 | 2.5068e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.4562e-12 | 1.4327e-12 | 1.8189e-09 | -1.4562e-12 | -1.4327e-12 | 1.487e-09 | 2.4936e-12 | -2.507e-12 | -1.487e-09 | -2.4936e-12 | 2.507e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8189e-09 | 1.4562e-12 | 1.433e-12 | 1.8189e-09 | -1.4562e-12 | -1.433e-12 | 1.487e-09 | 2.4936e-12 | -2.5069e-12 | -1.487e-09 | -2.4936e-12 | 2.5069e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71722 | 1.1002 | 1.1002 | 0.71722 | 1.1002 | 1.1002 | -14.893 | -120.0161 | 120.0162 | -14.893 | -120.0161 | 120.0162

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0016526 | 0.0016526 | 0.0016526 | 0 | 0 | 0 | 0.019082 | 0.019082 | 0.019082 | 0 | 0 | 0 | -2.5646e-14 | 0.016533 | -0.016518 | -2.6855e-12 | 2.3834e-12 | -2.3377e-11 | -7.4541e-14 | -0.0095397 | -0.0095696 | 1.3037e-11 | -2.5575e-11 | 1.0703e-11 | -90.0519 | -90.0518 | -90.0518 | 0 | 0 | 0 |  | 0 | 1.0003 | 1.0004 | 0.00051853 | 0.99991 | 1.0009 | 0 | -120.0374 | 120.0333 | 101.6109 | -120.0571 | 120.0239
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8073e-13 | 6.6824e-12 | -7.6729e-13 | 6.8073e-13 | -6.6824e-12 | -3.7247e-12 | 7.3104e-12 | -3.0589e-12 | 3.7247e-12 | -7.3104e-12 | 3.0589e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8144e-13 | 6.6831e-12 | -7.6729e-13 | 6.8144e-13 | -6.6831e-12 | -3.7247e-12 | 7.3102e-12 | -3.058e-12 | 3.7247e-12 | -7.3102e-12 | 3.058e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8144e-13 | 6.6827e-12 | -7.6728e-13 | 6.8144e-13 | -6.6827e-12 | -3.7247e-12 | 7.3102e-12 | -3.0586e-12 | 3.7247e-12 | -7.3102e-12 | 3.0586e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0016526 | 0.0016526 | 0.0016526 | 0 | 0 | 0 | 0.019082 | 0.019082 | 0.019082 | 0 | 0 | 0 | -2.5646e-14 | 0.016533 | -0.016518 | -2.6855e-12 | 2.3834e-12 | -2.3377e-11 | -7.4541e-14 | -0.0095397 | -0.0095696 | 1.3037e-11 | -2.5575e-11 | 1.0703e-11 | -90.0519 | -90.0518 | -90.0518 | 0 | 0 | 0 |  | 0 | 1.0003 | 1.0004 | 0.00051853 | 0.99991 | 1.0009 | 0 | -120.0374 | 120.0333 | 101.6109 | -120.0571 | 120.0239
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8073e-13 | 6.6824e-12 | -7.6729e-13 | 6.8073e-13 | -6.6824e-12 | -3.7247e-12 | 7.3104e-12 | -3.0589e-12 | 3.7247e-12 | -7.3104e-12 | 3.0589e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8144e-13 | 6.6831e-12 | -7.6729e-13 | 6.8144e-13 | -6.6831e-12 | -3.7247e-12 | 7.3102e-12 | -3.058e-12 | 3.7247e-12 | -7.3102e-12 | 3.058e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.6729e-13 | -6.8144e-13 | 6.6827e-12 | -7.6728e-13 | 6.8144e-13 | -6.6827e-12 | -3.7247e-12 | 7.3102e-12 | -3.0586e-12 | 3.7247e-12 | -7.3102e-12 | 3.0586e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.00051853 | 0.99991 | 1.0009 | 0.00051853 | 0.99991 | 1.0009 | 101.6109 | -120.0571 | 120.0239 | 101.6109 | -120.0571 | 120.0239

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00072576 | 0.00072576 | 0.00072576 | 0 | 0 | 0 | 0.0083803 | 0.0083803 | 0.0083803 | 0 | 0 | 0 | 0.0032896 | 0.0050328 | -0.0083197 | 5.4171e-09 | -3.4482e-12 | -7.5899e-12 | 0.0040287 | -0.0067032 | -0.0010111 | -4.4249e-09 | -1.0742e-11 | 8.3586e-12 | -66.912 | -66.9119 | -66.9119 | 0 | 0 | 0 |  | 0.62064 | 1.0002 | 1.0001 | 0.62046 | 1.0001 | 1.0003 | -16.1454 | -120.0122 | 120.0176 | -16.1321 | -120.024 | 120.0186
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8492e-13 | 2.1693e-12 | 1.5478e-09 | -9.8492e-13 | -2.1693e-12 | 1.2642e-09 | 3.0708e-12 | -2.3874e-12 | -1.2642e-09 | -3.0708e-12 | 2.3874e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8488e-13 | 2.169e-12 | 1.5478e-09 | -9.8488e-13 | -2.169e-12 | 1.2642e-09 | 3.071e-12 | -2.3873e-12 | -1.2642e-09 | -3.071e-12 | 2.3873e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8488e-13 | 2.1692e-12 | 1.5478e-09 | -9.8488e-13 | -2.1692e-12 | 1.2642e-09 | 3.071e-12 | -2.3872e-12 | -1.2642e-09 | -3.071e-12 | 2.3872e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00072576 | 0.00072576 | 0.00072576 | 0 | 0 | 0 | 0.0083803 | 0.0083803 | 0.0083803 | 0 | 0 | 0 | 0.0032896 | 0.0050328 | -0.0083197 | 5.4171e-09 | -3.4482e-12 | -7.5899e-12 | 0.0040287 | -0.0067032 | -0.0010111 | -4.4249e-09 | -1.0742e-11 | 8.3586e-12 | -66.912 | -66.9119 | -66.9119 | 0 | 0 | 0 |  | 0.62064 | 1.0002 | 1.0001 | 0.62046 | 1.0001 | 1.0003 | -16.1454 | -120.0122 | 120.0176 | -16.1321 | -120.024 | 120.0186
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8492e-13 | 2.1693e-12 | 1.5478e-09 | -9.8492e-13 | -2.1693e-12 | 1.2642e-09 | 3.0708e-12 | -2.3874e-12 | -1.2642e-09 | -3.0708e-12 | 2.3874e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8488e-13 | 2.169e-12 | 1.5478e-09 | -9.8488e-13 | -2.169e-12 | 1.2642e-09 | 3.071e-12 | -2.3873e-12 | -1.2642e-09 | -3.071e-12 | 2.3873e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.5478e-09 | 9.8488e-13 | 2.1692e-12 | 1.5478e-09 | -9.8488e-13 | -2.1692e-12 | 1.2642e-09 | 3.071e-12 | -2.3872e-12 | -1.2642e-09 | -3.071e-12 | 2.3872e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62046 | 1.0001 | 1.0003 | 0.62046 | 1.0001 | 1.0003 | -16.1321 | -120.024 | 120.0186 | -16.1321 | -120.024 | 120.0186

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0018164 | 0.0018164 | 0.0018164 | 0 | 0 | 0 | 0.020974 | 0.020974 | 0.020974 | 0 | 0 | 0 | 9.1458e-06 | 7.0782e-14 | 2.2967e-15 | -2.2733e-11 | 5.4779e-12 | -8.7407e-12 | -0.023085 | 4.2135e-14 | -8.2799e-14 | -1.015e-11 | 6.9259e-12 | 1.2833e-12 | 89.9737 | 89.9737 | 89.9737 | 0 | 0 | 0 |  | 1.1007 | 0 | 0 | 1.1008 | 0.00031282 | 0.00031282 | -0.0036014 | 0 | 0 | -0.018735 | -68.3546 | -68.3547
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4926e-12 | -1.5651e-12 | 2.4973e-12 | -6.4926e-12 | 1.5651e-12 | -2.4973e-12 | 2.9048e-12 | -1.9788e-12 | -3.6666e-13 | -2.9048e-12 | 1.9788e-12 | 3.6666e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4924e-12 | -1.5651e-12 | 2.4974e-12 | -6.4924e-12 | 1.5651e-12 | -2.4973e-12 | 2.9031e-12 | -1.9788e-12 | -3.6666e-13 | -2.9031e-12 | 1.9788e-12 | 3.6666e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4917e-12 | -1.5651e-12 | 2.4974e-12 | -6.4917e-12 | 1.5651e-12 | -2.4973e-12 | 2.9036e-12 | -1.9788e-12 | -3.6666e-13 | -2.9036e-12 | 1.9788e-12 | 3.6666e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0018164 | 0.0018164 | 0.0018164 | 0 | 0 | 0 | 0.020974 | 0.020974 | 0.020974 | 0 | 0 | 0 | 9.1458e-06 | 7.0855e-14 | 2.3107e-15 | -2.2717e-11 | 5.478e-12 | -8.7407e-12 | -0.023085 | 4.2133e-14 | -8.2809e-14 | -1.015e-11 | 6.9259e-12 | 1.2833e-12 | 89.9737 | 89.9737 | 89.9737 | 0 | 0 | 0 |  | 1.1007 | 0 | 0 | 1.1008 | 0.00031282 | 0.00031282 | -0.0036014 | 0 | 0 | -0.018735 | -68.3546 | -68.3547
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4917e-12 | -1.5651e-12 | 2.4973e-12 | -6.4917e-12 | 1.5651e-12 | -2.4973e-12 | 2.9037e-12 | -1.9788e-12 | -3.6665e-13 | -2.9037e-12 | 1.9788e-12 | 3.6665e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4921e-12 | -1.5651e-12 | 2.4973e-12 | -6.4921e-12 | 1.5651e-12 | -2.4973e-12 | 2.9038e-12 | -1.9788e-12 | -3.6665e-13 | -2.9038e-12 | 1.9788e-12 | 3.6665e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.4917e-12 | -1.5651e-12 | 2.4973e-12 | -6.4917e-12 | 1.5651e-12 | -2.4973e-12 | 2.9036e-12 | -1.9788e-12 | -3.6665e-13 | -2.9036e-12 | 1.9788e-12 | 3.6665e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1008 | 0.00031282 | 0.00031282 | 1.1008 | 0.00031282 | 0.00031282 | -0.018735 | -68.3546 | -68.3547 | -0.018735 | -68.3547 | -68.3547

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00073779 | 0.0007378 | 0.00073779 | 0 | 0 | 0 | 0.0085193 | 0.0085193 | 0.0085193 | 0 | 0 | 0 | -0.0038646 | -0.0021665 | 0.0060326 | -1.0104e-11 | 6.3667e-09 | 6.3632e-09 | -0.0085398 | 0.0057145 | -0.00098365 | 4.6896e-14 | -5.1987e-09 | -5.2122e-09 | 114.3533 | 114.3533 | 114.3533 | 0 | 0 | 0 |  | 1.1003 | 0.71736 | 0.71746 | 1.1004 | 0.71736 | 0.71736 | 0.0046799 | -134.8835 | 105.0924 | 8.5576e-05 | -134.8734 | 105.0872
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8868e-12 | -1.819e-09 | -1.818e-09 | -2.8868e-12 | 1.819e-09 | 1.818e-09 | -1.3406e-14 | 1.4854e-09 | 1.4892e-09 | 1.3406e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8875e-12 | -1.8191e-09 | -1.818e-09 | -2.8875e-12 | 1.8191e-09 | 1.818e-09 | -1.351e-14 | 1.4854e-09 | 1.4892e-09 | 1.351e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8874e-12 | -1.8191e-09 | -1.818e-09 | -2.8874e-12 | 1.8191e-09 | 1.818e-09 | -1.3258e-14 | 1.4854e-09 | 1.4892e-09 | 1.3258e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00073779 | 0.0007378 | 0.00073779 | 0 | 0 | 0 | 0.0085193 | 0.0085193 | 0.0085193 | 0 | 0 | 0 | -0.0038646 | -0.0021665 | 0.0060326 | -1.0105e-11 | 6.3667e-09 | 6.3631e-09 | -0.0085398 | 0.0057145 | -0.00098365 | 4.6896e-14 | -5.1987e-09 | -5.2122e-09 | 114.3533 | 114.3533 | 114.3533 | 0 | 0 | 0 |  | 1.1003 | 0.71736 | 0.71746 | 1.1004 | 0.71736 | 0.71736 | 0.0046799 | -134.8835 | 105.0924 | 8.5576e-05 | -134.8734 | 105.0872
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8878e-12 | -1.8191e-09 | -1.818e-09 | -2.8878e-12 | 1.8191e-09 | 1.818e-09 | -1.3042e-14 | 1.4854e-09 | 1.4892e-09 | 1.3042e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8872e-12 | -1.819e-09 | -1.818e-09 | -2.8872e-12 | 1.819e-09 | 1.818e-09 | -1.3314e-14 | 1.4854e-09 | 1.4892e-09 | 1.3314e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8874e-12 | -1.819e-09 | -1.818e-09 | -2.8874e-12 | 1.819e-09 | 1.818e-09 | -1.3261e-14 | 1.4854e-09 | 1.4892e-09 | 1.3261e-14 | -1.4854e-09 | -1.4892e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1004 | 0.71736 | 0.71736 | 1.1004 | 0.71736 | 0.71736 | 8.5576e-05 | -134.8734 | 105.0872 | 8.5576e-05 | -134.8734 | 105.0872

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0016514 | 0.0016514 | 0.0016514 | 0 | 0 | 0 | 0.019069 | 0.019069 | 0.019069 | 0 | 0 | 0 | 1.4515e-05 | -4.9456e-14 | 4.1271e-14 | -2.0965e-11 | 9.936e-12 | -1.2627e-11 | -0.019082 | 1.7912e-14 | 3.3523e-14 | -1.4865e-11 | 8.8324e-12 | 4.1946e-12 | 89.9523 | 89.9523 | 89.9523 | 0 | 0 | 0 |  | 1.0007 | 0 | 0 | 1.0008 | 0.00051816 | 0.00051816 | -0.0041077 | 0 | 0 | -0.033164 | -78.385 | -78.385
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9898e-12 | -2.8389e-12 | 3.6078e-12 | -5.9898e-12 | 2.8389e-12 | -3.6078e-12 | 4.2466e-12 | -2.5235e-12 | -1.1985e-12 | -4.2466e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9902e-12 | -2.8389e-12 | 3.6078e-12 | -5.9902e-12 | 2.8389e-12 | -3.6078e-12 | 4.2481e-12 | -2.5235e-12 | -1.1985e-12 | -4.2481e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9898e-12 | -2.8389e-12 | 3.6078e-12 | -5.9898e-12 | 2.8389e-12 | -3.6078e-12 | 4.2481e-12 | -2.5235e-12 | -1.1985e-12 | -4.2481e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0016514 | 0.0016514 | 0.0016514 | 0 | 0 | 0 | 0.019069 | 0.019069 | 0.019069 | 0 | 0 | 0 | 1.4515e-05 | -4.9456e-14 | 4.1271e-14 | -2.0965e-11 | 9.936e-12 | -1.2627e-11 | -0.019082 | 1.7912e-14 | 3.3523e-14 | -1.4865e-11 | 8.8324e-12 | 4.1946e-12 | 89.9523 | 89.9523 | 89.9523 | 0 | 0 | 0 |  | 1.0007 | 0 | 0 | 1.0008 | 0.00051816 | 0.00051816 | -0.0041077 | 0 | 0 | -0.033164 | -78.385 | -78.385
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9898e-12 | -2.8389e-12 | 3.6078e-12 | -5.9898e-12 | 2.8389e-12 | -3.6078e-12 | 4.2466e-12 | -2.5235e-12 | -1.1985e-12 | -4.2466e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9902e-12 | -2.8389e-12 | 3.6078e-12 | -5.9902e-12 | 2.8389e-12 | -3.6078e-12 | 4.2481e-12 | -2.5235e-12 | -1.1985e-12 | -4.2481e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9898e-12 | -2.8389e-12 | 3.6078e-12 | -5.9898e-12 | 2.8389e-12 | -3.6078e-12 | 4.2481e-12 | -2.5235e-12 | -1.1985e-12 | -4.2481e-12 | 2.5235e-12 | 1.1985e-12 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0008 | 0.00051816 | 0.00051816 | 1.0008 | 0.00051816 | 0.00051816 | -0.033164 | -78.385 | -78.385 | -0.033164 | -78.385 | -78.385

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00072554 | 0.00072554 | 0.00072554 | 0 | 0 | 0 | 0.0083778 | 0.0083778 | 0.0083778 | 0 | 0 | 0 | -0.0032849 | -0.0018457 | 0.0051333 | -1.103e-11 | 5.4172e-09 | 5.4138e-09 | -0.0077097 | 0.0048614 | -0.00083512 | -2.3945e-12 | -4.42e-09 | -4.4344e-09 | 113.0827 | 113.0827 | 113.0827 | 0 | 0 | 0 |  | 1.0003 | 0.62068 | 0.62078 | 1.0004 | 0.62072 | 0.62057 | 0.0053729 | -136.1278 | 103.8424 | -0.005341 | -136.107 | 103.8349
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1517e-12 | -1.5478e-09 | -1.5468e-09 | -3.1517e-12 | 1.5478e-09 | 1.5468e-09 | 6.8344e-13 | 1.2629e-09 | 1.267e-09 | -6.8344e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1516e-12 | -1.5478e-09 | -1.5468e-09 | -3.1516e-12 | 1.5478e-09 | 1.5468e-09 | 6.8381e-13 | 1.2629e-09 | 1.267e-09 | -6.8381e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1517e-12 | -1.5478e-09 | -1.5468e-09 | -3.1517e-12 | 1.5478e-09 | 1.5468e-09 | 6.8389e-13 | 1.2629e-09 | 1.267e-09 | -6.8389e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00072554 | 0.00072554 | 0.00072554 | 0 | 0 | 0 | 0.0083778 | 0.0083778 | 0.0083778 | 0 | 0 | 0 | -0.0032849 | -0.0018457 | 0.0051333 | -1.103e-11 | 5.4172e-09 | 5.4138e-09 | -0.0077097 | 0.0048614 | -0.00083512 | -2.3945e-12 | -4.42e-09 | -4.4344e-09 | 113.0827 | 113.0827 | 113.0827 | 0 | 0 | 0 |  | 1.0003 | 0.62068 | 0.62078 | 1.0004 | 0.62072 | 0.62057 | 0.0053729 | -136.1278 | 103.8424 | -0.005341 | -136.107 | 103.8349
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1517e-12 | -1.5478e-09 | -1.5468e-09 | -3.1517e-12 | 1.5478e-09 | 1.5468e-09 | 6.8344e-13 | 1.2629e-09 | 1.267e-09 | -6.8344e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1516e-12 | -1.5478e-09 | -1.5468e-09 | -3.1516e-12 | 1.5478e-09 | 1.5468e-09 | 6.8381e-13 | 1.2629e-09 | 1.267e-09 | -6.8381e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349
Line_3_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.1517e-12 | -1.5478e-09 | -1.5468e-09 | -3.1517e-12 | 1.5478e-09 | 1.5468e-09 | 6.8389e-13 | 1.2629e-09 | 1.267e-09 | -6.8389e-13 | -1.2629e-09 | -1.267e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0004 | 0.62072 | 0.62057 | 1.0004 | 0.62072 | 0.62057 | -0.005341 | -136.107 | 103.8349 | -0.005341 | -136.107 | 103.8349