## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 2.1058 | 2.1058 | 0 | 0 | 72.9481 | 72.9481 | 23.9464 | -17.0286 | 16.2707 | -8.4216 | -68.2221 | 111.7779 | 0.39687 | 0.26042 | -34.0275 | -41.9071
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_3_3-1ph | 2.1058 | 2.1058 | 0 | 3.918 | 72.9481 | 72.9481 | 17.0286 | -1e-07 | 8.4216 | -1e-07 | -68.2221 | 111.7779 | 0.26042 | 0 | -41.9071 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 2.1058 | 2.1058 | 0 | 0 | 72.9481 | 72.9481 | 23.9464 | -17.0286 | 16.2707 | -8.4216 | -68.2221 | 111.7779 | 0.39687 | 0.26042 | -34.0275 | -41.9071
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26042 | 0.26042 | -41.9071 | -41.9071
Line_3_3-1ph | 2.1058 | 2.1058 | 0 | 3.918 | 72.9481 | 72.9481 | 17.0286 | -1e-07 | 8.4216 | -1e-07 | -68.2221 | 111.7779 | 0.26042 | 0 | -41.9071 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.98951 | 0.98951 | 0 | 0 | 34.2777 | 34.2777 | 19.9744 | -18.4469 | 18.2796 | -16.5465 | -55.6772 | 124.3228 | 0.7899 | 0.72293 | -13.214 | -13.7858
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_3_3-1ph | 0.98951 | 0.98951 | 0 | 1.841 | 34.2777 | 34.2777 | 18.4469 | -14.687 | 16.5465 | -14.687 | -55.6772 | 124.3228 | 0.72293 | 0.60595 | -13.7858 | -10.6772

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.98951 | 0.98951 | 0 | 0 | 34.2777 | 34.2777 | 19.9744 | -18.4469 | 18.2796 | -16.5465 | -55.6772 | 124.3228 | 0.7899 | 0.72293 | -13.214 | -13.7858
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72293 | 0.72293 | -13.7858 | -13.7858
Line_3_3-1ph | 0.98951 | 0.98951 | 0 | 1.841 | 34.2777 | 34.2777 | 18.4469 | -14.687 | 16.5465 | -14.687 | -55.6772 | 124.3228 | 0.72293 | 0.60595 | -13.7858 | -10.6772

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 1.5706 | 1.5706 | 0 | 0 | 54.4088 | 54.4088 | 25.5772 | -18.1882 | 9.0514 | -4.6849 | -57.4683 | 122.5317 | 0.49866 | 0.3452 | -37.9802 | -43.024
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_3_3-1ph | 1.5706 | 1.5706 | 0 | 2.5869 | 54.4088 | 54.4088 | 18.1882 | -1e-07 | 4.6849 | -1e-07 | -57.4683 | 122.5317 | 0.3452 | 0 | -43.024 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 1.5706 | 1.5706 | 0 | 0 | 54.4088 | 54.4088 | 25.5772 | -18.1882 | 9.0514 | -4.6849 | -57.4683 | 122.5317 | 0.49866 | 0.3452 | -37.9802 | -43.024
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3452 | 0.3452 | -43.024 | -43.024
Line_3_3-1ph | 1.5706 | 1.5706 | 0 | 2.5869 | 54.4088 | 54.4088 | 18.1882 | -1e-07 | 4.6849 | -1e-07 | -57.4683 | 122.5317 | 0.3452 | 0 | -43.024 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.80537 | 0.80537 | 0 | 0 | 27.8988 | 27.8988 | 16.4541 | -14.5114 | 12.1091 | -10.961 | -51.356 | 128.644 | 0.73228 | 0.65185 | -15.0055 | -14.2907
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_3_3-1ph | 0.80537 | 0.80537 | 0 | 1.3264 | 27.8988 | 27.8988 | 14.5114 | -9.7293 | 10.961 | -9.7293 | -51.356 | 128.644 | 0.65185 | 0.49318 | -14.2907 | -6.356

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.80537 | 0.80537 | 0 | 0 | 27.8988 | 27.8988 | 16.4541 | -14.5114 | 12.1091 | -10.961 | -51.356 | 128.644 | 0.73228 | 0.65185 | -15.0055 | -14.2907
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65185 | 0.65185 | -14.2907 | -14.2907
Line_3_3-1ph | 0.80537 | 0.80537 | 0 | 1.3264 | 27.8988 | 27.8988 | 14.5114 | -9.7293 | 10.961 | -9.7293 | -51.356 | 128.644 | 0.65185 | 0.49318 | -14.2907 | -6.356

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -5.2106e-15 | 16.7421 | -4.7688 | -5.2106e-15 | -15.0126 | 6.4983 | -4.5853e-29 | -0.2294 | 8.3647 | -4.7631e-29 | 2.1917 | -6.4025 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.79511 | 0.45724 | 1.1 | 0.72046 | 0.4332 | 5.042e-13 | -159.0071 | 141.4659 | 5.2375e-13 | -166.5279 | 157.2036
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0082e-16 | -1.9199e-10 | -1.4071e-09 | 7.0082e-16 | 1.9199e-10 | 1.4071e-09 | -4.8349e-16 | 4.2176e-09 | -2.1129e-09 | 4.8349e-16 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.2375e-13 | -166.5279 | 157.2036 | 5.2369e-13 | -166.5279 | 157.2036
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8013e-16 | -1.9199e-10 | -1.4071e-09 | 2.8013e-16 | 1.9199e-10 | 1.4071e-09 | -1.3386e-16 | 4.2176e-09 | -2.1129e-09 | 1.3386e-16 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 5.2375e-13 | -166.5279 | 157.2036 | 5.2375e-13 | -166.5279 | 157.2036
Line_3_3-1ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -8.3578e-21 | 15.0126 | -6.4983 | 8.3578e-21 | -10.7554 | 10.7554 | -7.7853e-23 | -2.1917 | 6.4025 | 7.7853e-23 | 4.2971 | -4.2971 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.55 | 0.55 | 5.2375e-13 | -166.5279 | 157.2036 | 5.2375e-13 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -2.0843e-14 | 16.7421 | -4.7688 | 1.5632e-14 | -15.0126 | 6.4983 | -1.8187e-28 | -0.2294 | 8.3647 | -5.2106e-15 | 2.1917 | -6.4025 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.79511 | 0.45724 | 1.1 | 0.72046 | 0.4332 | 4.9995e-13 | -159.0071 | 141.4659 | 4.6471e-13 | -166.5279 | 157.2036
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5103e-16 | -1.9199e-10 | -1.4071e-09 | -4.5103e-16 | 1.9199e-10 | 1.4071e-09 | -1.8446e-16 | 4.2176e-09 | -2.1129e-09 | 1.8446e-16 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 4.6471e-13 | -166.5279 | 157.2036 | 4.6452e-13 | -166.5279 | 157.2036
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6844e-16 | -1.9199e-10 | -1.4071e-09 | -3.6844e-16 | 1.9199e-10 | 1.4071e-09 | -4.2985e-17 | 4.2176e-09 | -2.1129e-09 | 4.2985e-17 | -4.2176e-09 | 2.1129e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.72046 | 0.4332 | 4.6471e-13 | -166.5279 | 157.2036 | 4.646e-13 | -166.5279 | 157.2036
Line_3_3-1ph | 0 | 1.8237 | 1.8237 | 0 | 1.8237 | 1.8237 | 0 | 21.0583 | 21.0583 | 0 | 21.0583 | 21.0583 | -8.368e-21 | 15.0126 | -6.4983 | 8.368e-21 | -10.7554 | 10.7554 | -7.2896e-23 | -2.1917 | 6.4025 | 7.2896e-23 | 4.2971 | -4.2971 | 0 | -158.2221 | 21.7779 | 0 | 21.7779 | -158.2221 | 1.1 | 0.72046 | 0.4332 | 1.1 | 0.55 | 0.55 | 4.6471e-13 | -166.5279 | 157.2036 | 4.6471e-13 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -7.816e-15 | 12.333 | -0.51824 | 2.6053e-15 | -11.6186 | 1.2326 | -2.6053e-15 | 1.3568 | 8.8726 | -2.6053e-15 | -0.5463 | -8.0621 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.91675 | 0.65669 | 1.1 | 0.85941 | 0.6026 | 3.0875e-13 | -143.4014 | 123.6631 | 3.2714e-13 | -146.9876 | 129.013
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2756e-16 | -7.6134e-10 | -2.138e-09 | -1.2756e-16 | 7.6134e-10 | 2.138e-09 | 1.4763e-16 | 3.146e-09 | -7.6152e-10 | -1.4763e-16 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.2714e-13 | -146.9876 | 129.013 | 3.2718e-13 | -146.9876 | 129.013
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5649e-16 | -7.6135e-10 | -2.138e-09 | -3.5649e-16 | 7.6135e-10 | 2.138e-09 | 7.5236e-17 | 3.146e-09 | -7.6152e-10 | -7.5236e-17 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 3.2714e-13 | -146.9876 | 129.013 | 3.2709e-13 | -146.9876 | 129.013
Line_3_3-1ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -4.9946e-21 | 11.6186 | -1.2326 | 4.9946e-21 | -9.8601 | 2.9911 | -4.8921e-23 | 0.5463 | 8.0621 | 4.8921e-23 | 0.32337 | -7.1924 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.72893 | 0.57555 | 3.2714e-13 | -146.9876 | 129.013 | 3.2714e-13 | -151.558 | 142.9012

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -5.2106e-15 | 12.333 | -0.51824 | -2.6053e-15 | -11.6186 | 1.2326 | -5.2106e-15 | 1.3568 | 8.8726 | 5.2106e-15 | -0.5463 | -8.0621 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.91675 | 0.65669 | 1.1 | 0.85941 | 0.6026 | 3.1158e-13 | -143.4014 | 123.6631 | 2.8874e-13 | -146.9876 | 129.013
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.74e-16 | -7.6135e-10 | -2.138e-09 | 1.74e-16 | 7.6135e-10 | 2.138e-09 | -2.9386e-16 | 3.146e-09 | -7.6152e-10 | 2.9386e-16 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 2.8874e-13 | -146.9876 | 129.013 | 2.8865e-13 | -146.9876 | 129.013
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4361e-16 | -7.6135e-10 | -2.138e-09 | 1.4361e-16 | 7.6135e-10 | 2.138e-09 | -1.6538e-16 | 3.146e-09 | -7.6152e-10 | 1.6538e-16 | -3.146e-09 | 7.6152e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.85941 | 0.6026 | 2.8874e-13 | -146.9876 | 129.013 | 2.887e-13 | -146.9876 | 129.013
Line_3_3-1ph | 0 | 1.1721 | 1.1721 | 0 | 1.1721 | 1.1721 | 0 | 13.5342 | 13.5342 | 0 | 13.5342 | 13.5342 | -5.0023e-21 | 11.6186 | -1.2326 | 5.0023e-21 | -9.8601 | 2.9911 | -4.3296e-23 | 0.5463 | 8.0621 | 4.3296e-23 | 0.32337 | -7.1924 | 0 | -149.6797 | 30.3203 | 0 | 30.3203 | -149.6797 | 1.1 | 0.85941 | 0.6026 | 1.1 | 0.72893 | 0.57555 | 2.8874e-13 | -146.9876 | 129.013 | 2.8874e-13 | -151.558 | 142.9012

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -2.3685e-15 | 13.0153 | -0.22673 | 4.737e-15 | -11.1681 | 2.074 | -2.3685e-15 | -1.9604 | 6.4861 | 2.3685e-15 | 3.052 | -5.3944 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.83801 | 0.41321 | 1 | 0.73712 | 0.36796 | 4.2245e-13 | -156.0338 | 124.5337 | 4.54e-13 | -162.7527 | 143.5616
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2822e-16 | 1.5305e-11 | -1.4805e-09 | -1.2822e-16 | -1.5305e-11 | 1.4805e-09 | -3.5626e-16 | 3.6695e-09 | -1.0786e-09 | 3.5626e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.54e-13 | -162.7527 | 143.5616 | 4.5359e-13 | -162.7527 | 143.5616
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0818e-17 | 1.5305e-11 | -1.4805e-09 | 5.0818e-17 | -1.5305e-11 | 1.4805e-09 | 1.1298e-16 | 3.6695e-09 | -1.0786e-09 | -1.1298e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.54e-13 | -162.7527 | 143.5616 | 4.5413e-13 | -162.7527 | 143.5616
Line_3_3-1ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | 1.8353e-20 | 11.1681 | -2.074 | -1.8353e-20 | -6.621 | 6.621 | -5.8695e-23 | -3.052 | 5.3944 | 5.8695e-23 | 4.2232 | -4.2232 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.73712 | 0.36796 | 1 | 0.5 | 0.5 | 4.54e-13 | -162.7527 | 143.5616 | 4.54e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | -2.3685e-15 | 13.0153 | -0.22673 | 4.737e-15 | -11.1681 | 2.074 | -2.3685e-15 | -1.9604 | 6.4861 | 2.3685e-15 | 3.052 | -5.3944 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.83801 | 0.41321 | 1 | 0.73712 | 0.36796 | 4.2245e-13 | -156.0338 | 124.5337 | 4.54e-13 | -162.7527 | 143.5616
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2822e-16 | 1.5305e-11 | -1.4805e-09 | -1.2822e-16 | -1.5305e-11 | 1.4805e-09 | -3.5626e-16 | 3.6695e-09 | -1.0786e-09 | 3.5626e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.54e-13 | -162.7527 | 143.5616 | 4.5359e-13 | -162.7527 | 143.5616
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0818e-17 | 1.5305e-11 | -1.4805e-09 | 5.0818e-17 | -1.5305e-11 | 1.4805e-09 | 1.1298e-16 | 3.6695e-09 | -1.0786e-09 | -1.1298e-16 | -3.6695e-09 | 1.0786e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73712 | 0.36796 | 1 | 0.73712 | 0.36796 | 4.54e-13 | -162.7527 | 143.5616 | 4.5413e-13 | -162.7527 | 143.5616
Line_3_3-1ph | 0 | 1.3602 | 1.3602 | 0 | 1.3602 | 1.3602 | 0 | 15.7065 | 15.7065 | 0 | 15.7065 | 15.7065 | 1.8353e-20 | 11.1681 | -2.074 | -1.8353e-20 | -6.621 | 6.621 | -5.8695e-23 | -3.052 | 5.3944 | 5.8695e-23 | 4.2232 | -4.2232 | 0 | -147.4683 | 32.5317 | 0 | 32.5317 | -147.4683 | 1 | 0.73712 | 0.36796 | 1 | 0.5 | 0.5 | 4.54e-13 | -162.7527 | 143.5616 | 4.54e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | -2.9606e-15 | 9.3583 | 0.79627 | 1.7764e-15 | -8.5072 | 0.054829 | -2.3685e-15 | -0.0024805 | 6.35 | 2.3685e-15 | 0.50543 | -5.847 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.87779 | 0.60028 | 1 | 0.79936 | 0.54846 | 2.7702e-13 | -143.4421 | 119.4256 | 2.9399e-13 | -146.8271 | 127.1103
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7424e-17 | -5.4522e-10 | -1.7852e-09 | 8.7424e-17 | 5.4522e-10 | 1.7852e-09 | 5.517e-17 | 2.6455e-09 | -4.9785e-10 | -5.517e-17 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9407e-13 | -146.8271 | 127.1103
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2406e-17 | -5.4522e-10 | -1.7852e-09 | 1.2406e-17 | 5.4522e-10 | 1.7852e-09 | -2.6715e-17 | 2.6455e-09 | -4.9785e-10 | 2.6715e-17 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9396e-13 | -146.8271 | 127.1103
Line_3_3-1ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | 1.2558e-20 | 8.5072 | -0.054829 | -1.2558e-20 | -6.4122 | 2.1498 | -3.8076e-23 | -0.50543 | 5.847 | 3.8076e-23 | 1.0451 | -5.3074 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.79936 | 0.54846 | 1 | 0.60938 | 0.53711 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9399e-13 | -152.6838 | 148.6242

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | -2.9606e-15 | 9.3583 | 0.79627 | 1.7764e-15 | -8.5072 | 0.054829 | -2.3685e-15 | -0.0024805 | 6.35 | 2.3685e-15 | 0.50543 | -5.847 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.87779 | 0.60028 | 1 | 0.79936 | 0.54846 | 2.7702e-13 | -143.4421 | 119.4256 | 2.9399e-13 | -146.8271 | 127.1103
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7424e-17 | -5.4522e-10 | -1.7852e-09 | 8.7424e-17 | 5.4522e-10 | 1.7852e-09 | 5.517e-17 | 2.6455e-09 | -4.9785e-10 | -5.517e-17 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9407e-13 | -146.8271 | 127.1103
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2406e-17 | -5.4522e-10 | -1.7852e-09 | 1.2406e-17 | 5.4522e-10 | 1.7852e-09 | -2.6715e-17 | 2.6455e-09 | -4.9785e-10 | 2.6715e-17 | -2.6455e-09 | 4.9785e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.79936 | 0.54846 | 1 | 0.79936 | 0.54846 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9396e-13 | -146.8271 | 127.1103
Line_3_3-1ph | 0 | 0.92329 | 0.92329 | 0 | 0.92329 | 0.92329 | 0 | 10.6612 | 10.6612 | 0 | 10.6612 | 10.6612 | 1.2558e-20 | 8.5072 | -0.054829 | -1.2558e-20 | -6.4122 | 2.1498 | -3.8076e-23 | -0.50543 | 5.847 | 3.8076e-23 | 1.0451 | -5.3074 | 0 | -143.427 | 36.573 | 0 | 36.573 | -143.427 | 1 | 0.79936 | 0.54846 | 1 | 0.60938 | 0.53711 | 2.9399e-13 | -146.8271 | 127.1103 | 2.9399e-13 | -152.6838 | 148.6242

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.881 | 0.0015072 | 0.0015072 | 1.8796 | 0 | 0 | 21.7198 | 0.017404 | 0.017404 | 21.704 | 0 | 0 | 10.111 | 0.01566 | -0.017366 | -4.5222 | 5.0185e-10 | -5.7256e-09 | 5.3628 | -0.01102 | -0.0080682 | -2.2365 | -4.8897e-09 | 1.2943e-09 | -60.7884 | -84.8933 | -84.8933 | 119.2304 | 0 | 0 |  | 0.52695 | 1.1003 | 1.1003 | 0.23245 | 1.0671 | 1.2743 | -32.8473 | -120.0261 | 120.0257 | -34.4547 | -129.3404 | 122.0616
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1499e-09 | -1.4339e-10 | 1.6359e-09 | 1.1499e-09 | 1.4339e-10 | -1.6359e-09 | 1.0608e-09 | 1.3971e-09 | -3.698e-10 | -1.0608e-09 | -1.3971e-09 | 3.698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0.23245 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | -34.4547 | -129.3404 | 122.0616
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1499e-09 | -1.4339e-10 | 1.6359e-09 | 1.1499e-09 | 1.4339e-10 | -1.6359e-09 | 1.0608e-09 | 1.3971e-09 | -3.698e-10 | -1.0608e-09 | -1.3971e-09 | 3.698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0.23245 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | -34.4547 | -129.3404 | 122.0616
Line_3_3-1ph | 1.8796 | 0 | 0 | 1.8796 | 0 | 0 | 21.704 | 0 | 0 | 21.704 | 0 | 0 | 4.5222 | -1.4339e-10 | 1.6359e-09 | 3.2788e-12 | 1.4339e-10 | -1.6359e-09 | 2.2365 | 1.3971e-09 | -3.6979e-10 | 5.3136e-11 | -1.3971e-09 | 3.6979e-10 | -60.7696 | 0 | 0 | 119.2304 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | 0 | -129.3404 | 122.0616

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.881 | 0.0015072 | 0.0015072 | 1.8796 | 0 | 0 | 21.7198 | 0.017404 | 0.017404 | 21.704 | 0 | 0 | 10.111 | 0.01566 | -0.017366 | -4.5222 | 5.0186e-10 | -5.7256e-09 | 5.3628 | -0.01102 | -0.0080682 | -2.2365 | -4.8897e-09 | 1.2943e-09 | -60.7884 | -84.8933 | -84.8933 | 119.2304 | 0 | 0 |  | 0.52695 | 1.1003 | 1.1003 | 0.23245 | 1.0671 | 1.2743 | -32.8473 | -120.0261 | 120.0257 | -34.4547 | -129.3404 | 122.0616
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1499e-09 | -1.434e-10 | 1.6359e-09 | 1.1499e-09 | 1.434e-10 | -1.6359e-09 | 1.0608e-09 | 1.3971e-09 | -3.698e-10 | -1.0608e-09 | -1.3971e-09 | 3.698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0.23245 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | -34.4547 | -129.3404 | 122.0616
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1499e-09 | -1.434e-10 | 1.6359e-09 | 1.1499e-09 | 1.434e-10 | -1.6359e-09 | 1.0608e-09 | 1.3971e-09 | -3.698e-10 | -1.0608e-09 | -1.3971e-09 | 3.698e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0.23245 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | -34.4547 | -129.3404 | 122.0616
Line_3_3-1ph | 1.8796 | 0 | 0 | 1.8796 | 0 | 0 | 21.704 | 0 | 0 | 21.704 | 0 | 0 | 4.5222 | -1.434e-10 | 1.6359e-09 | 3.1244e-12 | 1.434e-10 | -1.6359e-09 | 2.2365 | 1.3971e-09 | -3.698e-10 | 5.3217e-11 | -1.3971e-09 | 3.698e-10 | -60.7696 | 0 | 0 | 119.2304 | 0 | 0 |  | 0.23245 | 1.0671 | 1.2743 | 0 | 1.0671 | 1.2743 | -34.4547 | -129.3404 | 122.0616 | 0 | -129.3404 | 122.0616

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.92795 | 0.00074354 | 0.00074354 | 0.92727 | 0 | 0 | 10.715 | 0.0085856 | 0.0085856 | 10.7072 | 0 | 0 | 6.7616 | 0.0068875 | -0.00904 | -5.3997 | 1.0932e-10 | -2.5045e-09 | 5.6088 | -0.006464 | -0.0027366 | -4.8434 | -2.4803e-09 | 9.7125e-10 | -52.7237 | -76.8286 | -76.8286 | 127.2951 | 0 | 0 |  | 0.81989 | 1.1002 | 1.1001 | 0.67746 | 1.0925 | 1.1821 | -13.0476 | -120.0117 | 120.0136 | -10.8135 | -124.6121 | 121.6676
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0022e-09 | -3.1236e-11 | 7.1557e-10 | 2.0022e-09 | 3.1236e-11 | -7.1557e-10 | 1.0253e-09 | 7.0866e-10 | -2.775e-10 | -1.0253e-09 | -7.0866e-10 | 2.775e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.67746 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -10.8135 | -124.6121 | 121.6676
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0022e-09 | -3.1235e-11 | 7.1557e-10 | 2.0022e-09 | 3.1235e-11 | -7.1557e-10 | 1.0253e-09 | 7.0867e-10 | -2.775e-10 | -1.0253e-09 | -7.0867e-10 | 2.775e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.67746 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -10.8135 | -124.6121 | 121.6676
Line_3_3-1ph | 0.92727 | 0 | 0 | 0.92727 | 0 | 0 | 10.7072 | 0 | 0 | 10.7072 | 0 | 0 | 5.3997 | -3.1235e-11 | 7.1557e-10 | -4.2991 | 3.1235e-11 | -7.1557e-10 | 4.8434 | 7.0867e-10 | -2.775e-10 | -4.2991 | -7.0867e-10 | 2.775e-10 | -52.7049 | 0 | 0 | 127.2951 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.56783 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -7.7049 | -124.6121 | 121.6676

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.92795 | 0.00074354 | 0.00074354 | 0.92727 | 0 | 0 | 10.715 | 0.0085856 | 0.0085856 | 10.7072 | 0 | 0 | 6.7616 | 0.0068875 | -0.00904 | -5.3997 | 1.0932e-10 | -2.5045e-09 | 5.6088 | -0.006464 | -0.0027366 | -4.8434 | -2.4803e-09 | 9.7124e-10 | -52.7237 | -76.8286 | -76.8286 | 127.2951 | 0 | 0 |  | 0.81989 | 1.1002 | 1.1001 | 0.67746 | 1.0925 | 1.1821 | -13.0476 | -120.0117 | 120.0136 | -10.8135 | -124.6121 | 121.6676
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0022e-09 | -3.1238e-11 | 7.1557e-10 | 2.0022e-09 | 3.1238e-11 | -7.1557e-10 | 1.0253e-09 | 7.0866e-10 | -2.775e-10 | -1.0253e-09 | -7.0866e-10 | 2.775e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.67746 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -10.8135 | -124.6121 | 121.6676
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.0022e-09 | -3.1239e-11 | 7.1557e-10 | 2.0022e-09 | 3.1239e-11 | -7.1557e-10 | 1.0253e-09 | 7.0866e-10 | -2.775e-10 | -1.0253e-09 | -7.0866e-10 | 2.775e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.67746 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -10.8135 | -124.6121 | 121.6676
Line_3_3-1ph | 0.92727 | 0 | 0 | 0.92727 | 0 | 0 | 10.7072 | 0 | 0 | 10.7072 | 0 | 0 | 5.3997 | -3.1239e-11 | 7.1557e-10 | -4.2991 | 3.1239e-11 | -7.1557e-10 | 4.8434 | 7.0866e-10 | -2.775e-10 | -4.2991 | -7.0866e-10 | 2.775e-10 | -52.7049 | 0 | 0 | 127.2951 | 0 | 0 |  | 0.67746 | 1.0925 | 1.1821 | 0.56783 | 1.0925 | 1.1821 | -10.8135 | -124.6121 | 121.6676 | -7.7049 | -124.6121 | 121.6676

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.308 | 0.0013095 | 0.0013095 | 1.3069 | 0 | 0 | 15.1033 | 0.015121 | 0.015121 | 15.091 | 0 | 0 | 9.3868 | 0.012024 | -0.013953 | -4.1977 | -4.5038e-10 | -6.9872e-09 | 2.5921 | -0.0091763 | -0.0058381 | -1.0812 | -5.9104e-09 | 2.1364e-09 | -47.3232 | -82.6768 | -82.6768 | 132.71 | 0 | 0 |  | 0.64477 | 1.0003 | 1.0003 | 0.28724 | 0.99031 | 1.2207 | -31.886 | -120.0277 | 120.0286 | -32.8457 | -133.4461 | 123.9099
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1646e-09 | 1.2868e-10 | 1.9963e-09 | 1.1646e-09 | -1.2868e-10 | -1.9963e-09 | 1.1425e-09 | 1.6887e-09 | -6.104e-10 | -1.1425e-09 | -1.6887e-09 | 6.104e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0.28724 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | -32.8457 | -133.4461 | 123.9099
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1646e-09 | 1.2868e-10 | 1.9963e-09 | 1.1646e-09 | -1.2868e-10 | -1.9963e-09 | 1.1425e-09 | 1.6887e-09 | -6.104e-10 | -1.1425e-09 | -1.6887e-09 | 6.104e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0.28724 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | -32.8457 | -133.4461 | 123.9099
Line_3_3-1ph | 1.3069 | 0 | 0 | 1.3069 | 0 | 0 | 15.091 | 0 | 0 | 15.091 | 0 | 0 | 4.1977 | 1.2868e-10 | 1.9963e-09 | 2.2765e-11 | -1.2868e-10 | -1.9963e-09 | 1.0812 | 1.6887e-09 | -6.104e-10 | 1.2672e-11 | -1.6887e-09 | 6.104e-10 | -47.29 | 0 | 0 | 132.71 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | 0 | -133.4461 | 123.9099

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 1.308 | 0.0013095 | 0.0013095 | 1.3069 | 0 | 0 | 15.1033 | 0.015121 | 0.015121 | 15.091 | 0 | 0 | 9.3868 | 0.012024 | -0.013953 | -4.1977 | -4.5038e-10 | -6.9872e-09 | 2.5921 | -0.0091763 | -0.0058381 | -1.0812 | -5.9104e-09 | 2.1364e-09 | -47.3232 | -82.6768 | -82.6768 | 132.71 | 0 | 0 |  | 0.64477 | 1.0003 | 1.0003 | 0.28724 | 0.99031 | 1.2207 | -31.886 | -120.0277 | 120.0286 | -32.8457 | -133.4461 | 123.9099
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1646e-09 | 1.2868e-10 | 1.9963e-09 | 1.1646e-09 | -1.2868e-10 | -1.9963e-09 | 1.1425e-09 | 1.6887e-09 | -6.104e-10 | -1.1425e-09 | -1.6887e-09 | 6.104e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0.28724 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | -32.8457 | -133.4461 | 123.9099
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1646e-09 | 1.2868e-10 | 1.9963e-09 | 1.1646e-09 | -1.2868e-10 | -1.9963e-09 | 1.1425e-09 | 1.6887e-09 | -6.104e-10 | -1.1425e-09 | -1.6887e-09 | 6.104e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0.28724 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | -32.8457 | -133.4461 | 123.9099
Line_3_3-1ph | 1.3069 | 0 | 0 | 1.3069 | 0 | 0 | 15.091 | 0 | 0 | 15.091 | 0 | 0 | 4.1977 | 1.2868e-10 | 1.9963e-09 | 2.2765e-11 | -1.2868e-10 | -1.9963e-09 | 1.0812 | 1.6887e-09 | -6.104e-10 | 1.2672e-11 | -1.6887e-09 | 6.104e-10 | -47.29 | 0 | 0 | 132.71 | 0 | 0 |  | 0.28724 | 0.99031 | 1.2207 | 0 | 0.99031 | 1.2207 | -32.8457 | -133.4461 | 123.9099 | 0 | -133.4461 | 123.9099

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.72667 | 0.00072751 | 0.00072751 | 0.72608 | 0 | 0 | 8.3909 | 0.0084005 | 0.0084005 | 8.384 | 0 | 0 | 5.5338 | 0.0065885 | -0.0078077 | -3.9316 | 3.6022e-11 | -3.5156e-09 | 3.4397 | -0.0052138 | -0.0031031 | -2.9697 | -3.2925e-09 | 1.2419e-09 | -46.3052 | -81.6589 | -81.6589 | 133.728 | 0 | 0 |  | 0.77653 | 1.0002 | 1.0001 | 0.58768 | 0.99016 | 1.1212 | -14.4411 | -120.0152 | 120.016 | -9.2068 | -127.4438 | 122.4733
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7214e-09 | -1.0293e-11 | 1.0045e-09 | 1.7214e-09 | 1.0293e-11 | -1.0045e-09 | 6.8953e-10 | 9.407e-10 | -3.5483e-10 | -6.8953e-10 | -9.407e-10 | 3.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.58768 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -9.2068 | -127.4438 | 122.4733
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7214e-09 | -1.0293e-11 | 1.0045e-09 | 1.7214e-09 | 1.0293e-11 | -1.0045e-09 | 6.8953e-10 | 9.407e-10 | -3.5483e-10 | -6.8953e-10 | -9.407e-10 | 3.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.58768 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -9.2068 | -127.4438 | 122.4733
Line_3_3-1ph | 0.72608 | 0 | 0 | 0.72608 | 0 | 0 | 8.384 | 0 | 0 | 8.384 | 0 | 0 | 3.9316 | -1.0293e-11 | 1.0045e-09 | -2.636 | 1.0293e-11 | -1.0045e-09 | 2.9697 | 9.407e-10 | -3.5483e-10 | -2.636 | -9.407e-10 | 3.5483e-10 | -46.272 | 0 | 0 | 133.728 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.44463 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -1.272 | -127.4438 | 122.4733

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.72667 | 0.00072751 | 0.00072751 | 0.72608 | 0 | 0 | 8.3909 | 0.0084005 | 0.0084005 | 8.384 | 0 | 0 | 5.5338 | 0.0065885 | -0.0078077 | -3.9316 | 3.6022e-11 | -3.5156e-09 | 3.4397 | -0.0052138 | -0.0031031 | -2.9697 | -3.2925e-09 | 1.2419e-09 | -46.3052 | -81.6589 | -81.6589 | 133.728 | 0 | 0 |  | 0.77653 | 1.0002 | 1.0001 | 0.58768 | 0.99016 | 1.1212 | -14.4411 | -120.0152 | 120.016 | -9.2068 | -127.4438 | 122.4733
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7214e-09 | -1.0293e-11 | 1.0045e-09 | 1.7214e-09 | 1.0293e-11 | -1.0045e-09 | 6.8953e-10 | 9.407e-10 | -3.5483e-10 | -6.8953e-10 | -9.407e-10 | 3.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.58768 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -9.2068 | -127.4438 | 122.4733
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7214e-09 | -1.0293e-11 | 1.0045e-09 | 1.7214e-09 | 1.0293e-11 | -1.0045e-09 | 6.8953e-10 | 9.407e-10 | -3.5483e-10 | -6.8953e-10 | -9.407e-10 | 3.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.58768 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -9.2068 | -127.4438 | 122.4733
Line_3_3-1ph | 0.72608 | 0 | 0 | 0.72608 | 0 | 0 | 8.384 | 0 | 0 | 8.384 | 0 | 0 | 3.9316 | -1.0293e-11 | 1.0045e-09 | -2.636 | 1.0293e-11 | -1.0045e-09 | 2.9697 | 9.407e-10 | -3.5483e-10 | -2.636 | -9.407e-10 | 3.5483e-10 | -46.272 | 0 | 0 | 133.728 | 0 | 0 |  | 0.58768 | 0.99016 | 1.1212 | 0.44463 | 0.99016 | 1.1212 | -9.2068 | -127.4438 | 122.4733 | -1.272 | -127.4438 | 122.4733

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0013446 | 2.1766 | 1.8232 | 0 | 2.1763 | 1.8224 | 0.015526 | 25.1333 | 21.0527 | 0 | 25.1302 | 21.0433 | -0.0032696 | 11.6373 | 5.8541 | -4.1572e-09 | -6.0627 | -4.2511 | -0.01677 | 3.2648 | 7.4206 | -2.8614e-09 | -2.9983 | -2.1024 | 101.0347 | 179.7328 | 48.399 | 0 | -0.23253 | -131.6346 |  | 1.1005 | 0.4809 | 0.44896 | 1.2281 | 0.26914 | 0.22537 | 0.0024751 | -164.5958 | 100.1294 | -4.7335 | -153.9176 | 74.6804
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1878e-09 | -1.2704e-09 | -9.0585e-10 | -1.1878e-09 | 1.2704e-09 | 9.0585e-10 | 8.1753e-10 | 1.2115e-09 | 1.2927e-09 | -8.1753e-10 | -1.2115e-09 | -1.2927e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0.26914 | 0.22537 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | -153.9176 | 74.6804
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1878e-09 | -1.2704e-09 | -9.0585e-10 | -1.1878e-09 | 1.2704e-09 | 9.0585e-10 | 8.1753e-10 | 1.2115e-09 | 1.2927e-09 | -8.1753e-10 | -1.2115e-09 | -1.2927e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0.26914 | 0.22537 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | -153.9176 | 74.6804
Line_3_3-1ph | 0 | 2.1763 | 1.8224 | 0 | 2.1763 | 1.8224 | 0 | 25.1302 | 21.0433 | 0 | 25.1302 | 21.0433 | 1.1878e-09 | 6.0627 | 4.2511 | -1.1878e-09 | -1.6669e-11 | -2.0868e-11 | 8.1753e-10 | 2.9983 | 2.1024 | -8.1753e-10 | 3.6122e-11 | 2.6819e-11 | 0 | 179.7675 | 48.3654 | 0 | -0.23253 | -131.6346 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0 | 0 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0013446 | 2.1766 | 1.8232 | 0 | 2.1763 | 1.8224 | 0.015526 | 25.1333 | 21.0527 | 0 | 25.1302 | 21.0433 | -0.0032696 | 11.6373 | 5.8541 | -4.1572e-09 | -6.0627 | -4.2511 | -0.01677 | 3.2648 | 7.4206 | -2.8614e-09 | -2.9983 | -2.1024 | 101.0347 | 179.7328 | 48.399 | 0 | -0.23253 | -131.6346 |  | 1.1005 | 0.4809 | 0.44896 | 1.2281 | 0.26914 | 0.22537 | 0.0024751 | -164.5958 | 100.1294 | -4.7335 | -153.9176 | 74.6804
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1878e-09 | -1.2704e-09 | -9.0585e-10 | -1.1878e-09 | 1.2704e-09 | 9.0585e-10 | 8.1754e-10 | 1.2115e-09 | 1.2927e-09 | -8.1754e-10 | -1.2115e-09 | -1.2927e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0.26914 | 0.22537 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | -153.9176 | 74.6804
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1878e-09 | -1.2704e-09 | -9.0585e-10 | -1.1878e-09 | 1.2704e-09 | 9.0585e-10 | 8.1753e-10 | 1.2115e-09 | 1.2927e-09 | -8.1753e-10 | -1.2115e-09 | -1.2927e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0.26914 | 0.22537 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | -153.9176 | 74.6804
Line_3_3-1ph | 0 | 2.1763 | 1.8224 | 0 | 2.1763 | 1.8224 | 0 | 25.1302 | 21.0433 | 0 | 25.1302 | 21.0433 | 1.1878e-09 | 6.0627 | 4.2511 | -1.1878e-09 | -1.6694e-11 | -2.0881e-11 | 8.1753e-10 | 2.9983 | 2.1024 | -8.1753e-10 | 3.6139e-11 | 2.6817e-11 | 0 | 179.7675 | 48.3654 | 0 | -0.23253 | -131.6346 |  | 1.2281 | 0.26914 | 0.22537 | 1.2281 | 0 | 0 | -4.7335 | -153.9176 | 74.6804 | -4.7335 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00069798 | 0.99828 | 0.92309 | 0 | 0.99819 | 0.92258 | 0.0080596 | 11.5271 | 10.6589 | 0 | 11.5261 | 10.653 | -0.002412 | 7.4683 | 5.9016 | -2.1106e-09 | -6.2573 | -5.3453 | -0.0085333 | 5.5513 | 6.1739 | -1.3298e-09 | -5.6127 | -4.7946 | 105.7858 | -171.435 | 62.3548 | 0 | 8.6048 | -117.675 |  | 1.1003 | 0.80727 | 0.80129 | 1.1694 | 0.72928 | 0.67403 | 0.0024229 | -134.8113 | 108.6468 | -2.3083 | -129.5038 | 104.2165
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0304e-10 | -1.9019e-09 | -1.9005e-09 | -6.0304e-10 | 1.9019e-09 | 1.9005e-09 | 3.7995e-10 | 9.7133e-10 | 1.4789e-09 | -3.7995e-10 | -9.7133e-10 | -1.4789e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.72928 | 0.67403 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -129.5038 | 104.2165
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0304e-10 | -1.9019e-09 | -1.9005e-09 | -6.0304e-10 | 1.9019e-09 | 1.9005e-09 | 3.7994e-10 | 9.7132e-10 | 1.4789e-09 | -3.7994e-10 | -9.7132e-10 | -1.4789e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.72928 | 0.67403 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -129.5038 | 104.2165
Line_3_3-1ph | 0 | 0.99819 | 0.92258 | 0 | 0.99819 | 0.92258 | 0 | 11.5261 | 10.653 | 0 | 11.5261 | 10.653 | 6.0304e-10 | 6.2573 | 5.3453 | -6.0304e-10 | -4.9819 | -4.2558 | 3.7994e-10 | 5.6127 | 4.7946 | -3.7994e-10 | -4.9819 | -4.2558 | 0 | -171.3952 | 62.325 | 0 | 8.6048 | -117.675 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.61127 | 0.56496 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -126.3952 | 107.325

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00069798 | 0.99828 | 0.92309 | 0 | 0.99819 | 0.92258 | 0.0080596 | 11.5271 | 10.6589 | 0 | 11.5261 | 10.653 | -0.002412 | 7.4683 | 5.9016 | -2.1106e-09 | -6.2573 | -5.3453 | -0.0085333 | 5.5513 | 6.1739 | -1.3298e-09 | -5.6127 | -4.7946 | 105.7858 | -171.435 | 62.3548 | 0 | 8.6048 | -117.675 |  | 1.1003 | 0.80727 | 0.80129 | 1.1694 | 0.72928 | 0.67403 | 0.0024229 | -134.8113 | 108.6468 | -2.3083 | -129.5038 | 104.2165
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0303e-10 | -1.9019e-09 | -1.9005e-09 | -6.0303e-10 | 1.9019e-09 | 1.9005e-09 | 3.7995e-10 | 9.7133e-10 | 1.4789e-09 | -3.7995e-10 | -9.7133e-10 | -1.4789e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.72928 | 0.67403 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -129.5038 | 104.2165
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0303e-10 | -1.9019e-09 | -1.9005e-09 | -6.0303e-10 | 1.9019e-09 | 1.9005e-09 | 3.7995e-10 | 9.7133e-10 | 1.4789e-09 | -3.7995e-10 | -9.7133e-10 | -1.4789e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.72928 | 0.67403 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -129.5038 | 104.2165
Line_3_3-1ph | 0 | 0.99819 | 0.92258 | 0 | 0.99819 | 0.92258 | 0 | 11.5261 | 10.653 | 0 | 11.5261 | 10.653 | 6.0303e-10 | 6.2573 | 5.3453 | -6.0303e-10 | -4.9819 | -4.2558 | 3.7995e-10 | 5.6127 | 4.7946 | -3.7995e-10 | -4.9819 | -4.2558 | 0 | -171.3952 | 62.325 | 0 | 8.6048 | -117.675 |  | 1.1694 | 0.72928 | 0.67403 | 1.1694 | 0.61127 | 0.56496 | -2.3083 | -129.5038 | 104.2165 | -2.3083 | -126.3952 | 107.325

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0011003 | 1.611 | 1.3077 | 0 | 1.611 | 1.3069 | 0.012705 | 18.6022 | 15.0997 | 0 | 18.602 | 15.0913 | -0.0031646 | 11.5136 | 5.8203 | -5.2511e-09 | -6.3781 | -4.1978 | -0.012311 | 0.58151 | 5.0386 | -2.6645e-09 | -1.6429 | -1.0813 | 104.4202 | -166.5005 | 56.2186 | 0 | 13.5387 | -123.8174 |  | 1.0005 | 0.61973 | 0.50982 | 1.1708 | 0.35406 | 0.28724 | 0.0041317 | -163.6091 | 97.1011 | -5.087 | -152.017 | 70.6269
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5003e-09 | -1.2822e-09 | -7.6651e-10 | -1.5003e-09 | 1.2822e-09 | 7.6651e-10 | 7.6129e-10 | 1.3766e-09 | 1.5987e-09 | -7.6129e-10 | -1.3766e-09 | -1.5987e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0.35406 | 0.28724 | -5.087 | -152.017 | 70.6269 | -5.087 | -152.017 | 70.6269
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5003e-09 | -1.2822e-09 | -7.6651e-10 | -1.5003e-09 | 1.2822e-09 | 7.6651e-10 | 7.6129e-10 | 1.3766e-09 | 1.5987e-09 | -7.6129e-10 | -1.3766e-09 | -1.5987e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0.35406 | 0.28724 | -5.087 | -152.017 | 70.6269 | -5.087 | -152.017 | 70.6269
Line_3_3-1ph | 0 | 1.611 | 1.3069 | 0 | 1.611 | 1.3069 | 0 | 18.602 | 15.0913 | 0 | 18.602 | 15.0913 | 1.5003e-09 | 6.3781 | 4.1978 | -1.5003e-09 | -3.1736e-11 | -2.2496e-11 | 7.6129e-10 | 1.6429 | 1.0813 | -7.6129e-10 | -1.2375e-11 | -1.7117e-11 | 0 | -166.4613 | 56.1826 | 0 | 13.5387 | -123.8174 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0 | 0 | -5.087 | -152.017 | 70.6269 | -5.087 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0011003 | 1.611 | 1.3077 | 0 | 1.611 | 1.3069 | 0.012705 | 18.6022 | 15.0997 | 0 | 18.602 | 15.0913 | -0.0031646 | 11.5136 | 5.8203 | -5.2511e-09 | -6.3781 | -4.1978 | -0.012311 | 0.58151 | 5.0386 | -2.6645e-09 | -1.6429 | -1.0813 | 104.4202 | -166.5005 | 56.2186 | 0 | 13.5387 | -123.8174 |  | 1.0005 | 0.61973 | 0.50982 | 1.1708 | 0.35406 | 0.28724 | 0.0041317 | -163.6091 | 97.1011 | -5.087 | -152.017 | 70.6269
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5003e-09 | -1.2822e-09 | -7.6651e-10 | -1.5003e-09 | 1.2822e-09 | 7.6651e-10 | 7.6129e-10 | 1.3766e-09 | 1.5987e-09 | -7.6129e-10 | -1.3766e-09 | -1.5987e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0.35406 | 0.28724 | -5.087 | -152.017 | 70.6269 | -5.087 | -152.017 | 70.6269
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.5003e-09 | -1.2822e-09 | -7.6651e-10 | -1.5003e-09 | 1.2822e-09 | 7.6651e-10 | 7.6129e-10 | 1.3766e-09 | 1.5987e-09 | -7.6129e-10 | -1.3766e-09 | -1.5987e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0.35406 | 0.28724 | -5.087 | -152.017 | 70.6269 | -5.087 | -152.017 | 70.6269
Line_3_3-1ph | 0 | 1.611 | 1.3069 | 0 | 1.611 | 1.3069 | 0 | 18.602 | 15.0913 | 0 | 18.602 | 15.0913 | 1.5003e-09 | 6.3781 | 4.1978 | -1.5003e-09 | -3.1736e-11 | -2.2496e-11 | 7.6129e-10 | 1.6429 | 1.0813 | -7.6129e-10 | -1.2375e-11 | -1.7117e-11 | 0 | -166.4613 | 56.1826 | 0 | 13.5387 | -123.8174 |  | 1.1708 | 0.35406 | 0.28724 | 1.1708 | 0 | 0 | -5.087 | -152.017 | 70.6269 | -5.087 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00065844 | 0.81725 | 0.72226 | 0 | 0.81728 | 0.72174 | 0.0076031 | 9.4368 | 8.34 | 0 | 9.4371 | 8.3339 | -0.0016442 | 6.3658 | 4.5691 | -2.8503e-09 | -4.9813 | -3.8847 | -0.0074254 | 3.3245 | 4.2046 | -1.6797e-09 | -3.7626 | -2.9343 | 102.4876 | -164.7822 | 65.3783 | 0 | 15.2639 | -114.6532 |  | 1.0003 | 0.76103 | 0.74452 | 1.0993 | 0.66149 | 0.58416 | 0.0019272 | -137.2068 | 107.9995 | -3.4131 | -127.6709 | 102.412
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1437e-10 | -1.5987e-09 | -1.5811e-09 | -8.1437e-10 | 1.5987e-09 | 1.5811e-09 | 4.7991e-10 | 6.4752e-10 | 1.2945e-09 | -4.7991e-10 | -6.4752e-10 | -1.2945e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.66149 | 0.58416 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -127.6709 | 102.412
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1438e-10 | -1.5987e-09 | -1.5811e-09 | -8.1438e-10 | 1.5987e-09 | 1.5811e-09 | 4.7991e-10 | 6.4752e-10 | 1.2944e-09 | -4.7991e-10 | -6.4752e-10 | -1.2944e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.66149 | 0.58416 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -127.6709 | 102.412
Line_3_3-1ph | 0 | 0.81728 | 0.72174 | 0 | 0.81728 | 0.72174 | 0 | 9.4371 | 8.3339 | 0 | 9.4371 | 8.3339 | 8.1437e-10 | 4.9813 | 3.8847 | -8.1437e-10 | -3.3397 | -2.6045 | 4.7991e-10 | 3.7626 | 2.9343 | -4.7991e-10 | -3.3397 | -2.6045 | 0 | -164.7361 | 65.3468 | 0 | 15.2639 | -114.6532 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.50048 | 0.44197 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -119.7361 | 110.3468

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00065844 | 0.81725 | 0.72226 | 0 | 0.81728 | 0.72174 | 0.0076031 | 9.4368 | 8.34 | 0 | 9.4371 | 8.3339 | -0.0016442 | 6.3658 | 4.5691 | -2.8503e-09 | -4.9813 | -3.8847 | -0.0074254 | 3.3245 | 4.2046 | -1.6797e-09 | -3.7626 | -2.9343 | 102.4876 | -164.7822 | 65.3783 | 0 | 15.2639 | -114.6532 |  | 1.0003 | 0.76103 | 0.74452 | 1.0993 | 0.66149 | 0.58416 | 0.0019272 | -137.2068 | 107.9995 | -3.4131 | -127.6709 | 102.412
Line_1_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1437e-10 | -1.5987e-09 | -1.5811e-09 | -8.1437e-10 | 1.5987e-09 | 1.5811e-09 | 4.7991e-10 | 6.4752e-10 | 1.2945e-09 | -4.7991e-10 | -6.4752e-10 | -1.2945e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.66149 | 0.58416 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -127.6709 | 102.412
Line_2_3-1ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.1438e-10 | -1.5987e-09 | -1.5811e-09 | -8.1438e-10 | 1.5987e-09 | 1.5811e-09 | 4.7991e-10 | 6.4752e-10 | 1.2944e-09 | -4.7991e-10 | -6.4752e-10 | -1.2944e-09 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.66149 | 0.58416 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -127.6709 | 102.412
Line_3_3-1ph | 0 | 0.81728 | 0.72174 | 0 | 0.81728 | 0.72174 | 0 | 9.4371 | 8.3339 | 0 | 9.4371 | 8.3339 | 8.1437e-10 | 4.9813 | 3.8847 | -8.1437e-10 | -3.3397 | -2.6045 | 4.7991e-10 | 3.7626 | 2.9343 | -4.7991e-10 | -3.3397 | -2.6045 | 0 | -164.7361 | 65.3468 | 0 | 15.2639 | -114.6532 |  | 1.0993 | 0.66149 | 0.58416 | 1.0993 | 0.50048 | 0.44197 | -3.4131 | -127.6709 | 102.412 | -3.4131 | -119.7361 | 110.3468