## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.63684 | 0.63684 | 0 | 0 | 22.0607 | 22.0607 | 6.1122 | -5.4795 | 16.8634 | -16.1455 | -73.3297 | 106.6703 | 0.81307 | 0.77287 | -3.2529 | -2.076
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77287 | 0.77287 | -2.076 | -2.076
Line_2_3-2ph | 0.63684 | 0.63684 | 0 | 0 | 22.0607 | 22.0607 | 5.4795 | -1.4827 | 16.1455 | -14.7523 | -73.3297 | 106.6703 | 0.77287 | 0.67208 | -2.076 | 10.9311
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77287 | 0.77287 | -2.076 | -2.076

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.64777 | 0.64777 | 0 | 0 | 22.4393 | 22.4393 | 6.3968 | -5.7422 | 18.174 | -17.4313 | -73.6512 | 106.3488 | 0.85862 | 0.81788 | -3.0421 | -1.8842
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81788 | 0.81788 | -1.8842 | -1.8842
Line_2_3-2ph | 0.64777 | 0.64777 | 0 | 0 | 22.4393 | 22.4393 | 5.7422 | -1.607 | 17.4313 | -15.9898 | -73.6512 | 106.3488 | 0.81788 | 0.71617 | -1.8842 | 10.6096
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.81788 | 0.81788 | -1.8842 | -1.8842

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00068521 | 0.00068521 | 0 | 0 | 0.023736 | 0.023736 | 0.017614 | -0.017613 | 0.017626 | -0.017625 | -45.0293 | 134.9707 | 1.0498 | 1.0498 | -0.0090182 | -0.0091776
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091776 | -0.0091776
Line_2_3-2ph | 0.00068521 | 0.00068521 | 0 | 0 | 0.023736 | 0.023736 | 0.017613 | -0.017608 | 0.017625 | -0.017624 | -45.0293 | 134.9707 | 1.0498 | 1.0496 | -0.0091776 | -0.0042724
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0498 | 1.0498 | -0.0091776 | -0.0091776

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00071782 | 0.00071782 | 0 | 0 | 0.024866 | 0.024866 | 0.01933 | -0.019329 | 0.019345 | -0.019344 | -45.0304 | 134.9696 | 1.0998 | 1.0997 | -0.0090177 | -0.0091771
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091771 | -0.0091771
Line_2_3-2ph | 0.00071782 | 0.00071782 | 0 | 0 | 0.024866 | 0.024866 | 0.019329 | -0.019324 | 0.019344 | -0.019342 | -45.0304 | 134.9696 | 1.0997 | 1.0995 | -0.0091771 | -0.0042718
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0997 | 1.0997 | -0.0091771 | -0.0091771

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.5111 | 0.5111 | 0 | 0 | 17.705 | 17.705 | 6.7282 | -5.9458 | 11.3404 | -10.878 | -64.9631 | 115.0369 | 0.74477 | 0.7002 | -5.6437 | -3.6237
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7002 | 0.7002 | -3.6237 | -3.6237
Line_2_3-2ph | 0.5111 | 0.5111 | 0 | 0 | 17.705 | 17.705 | 5.9458 | -1.0031 | 10.878 | -9.9806 | -64.9631 | 115.0369 | 0.7002 | 0.56656 | -3.6237 | 19.2977
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7002 | 0.7002 | -3.6237 | -3.6237

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.4842 | 0.4842 | 0 | 0 | 16.7731 | 16.7731 | 6.0386 | -5.3364 | 10.1781 | -9.7631 | -64.9631 | 115.0369 | 0.70557 | 0.66334 | -5.6437 | -3.6237
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66334 | 0.66334 | -3.6237 | -3.6237
Line_2_3-2ph | 0.4842 | 0.4842 | 0 | 0 | 16.7731 | 16.7731 | 5.3364 | -0.90028 | 9.7631 | -8.9577 | -64.9631 | 115.0369 | 0.66334 | 0.53674 | -3.6237 | 19.2977
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66334 | 0.66334 | -3.6237 | -3.6237

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00061983 | 0.00061983 | 0 | 0 | 0.021472 | 0.021472 | 0.014417 | -0.014416 | 0.014424 | -0.014423 | -45.0237 | 134.9763 | 0.94979 | 0.94973 | -0.010247 | -0.0093114
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093114 | -0.0093114
Line_2_3-2ph | 0.00061983 | 0.00061983 | 0 | 0 | 0.021472 | 0.021472 | 0.014416 | -0.014409 | 0.014423 | -0.014422 | -45.0237 | 134.9763 | 0.94973 | 0.94945 | -0.0093114 | 0.0025169
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94973 | 0.94973 | -0.0093114 | -0.0093114

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0.00058721 | 0.00058721 | 0 | 0 | 0.020341 | 0.020341 | 0.012939 | -0.012938 | 0.012945 | -0.012945 | -45.0237 | 134.9763 | 0.8998 | 0.89975 | -0.010247 | -0.0093114
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093114 | -0.0093114
Line_2_3-2ph | 0.00058721 | 0.00058721 | 0 | 0 | 0.020341 | 0.020341 | 0.012938 | -0.012932 | 0.012945 | -0.012944 | -45.0237 | 134.9763 | 0.89975 | 0.89948 | -0.0093114 | 0.0025169
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.89975 | 0.89975 | -0.0093114 | -0.0093114

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | 4.9738e-15 | 4.7309 | -1.6748 | -4.9738e-15 | -4.5728 | 1.833 | 1.2434e-15 | 3.2567 | 5.1749 | -1.3787e-29 | -3.0773 | -4.9955 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 | 1.05 | 0.90188 | 0.8541 | 1.05 | 0.86549 | 0.83556 | 1.5431e-13 | -128.7864 | 124.6042 | 1.5881e-13 | -129.3908 | 126.8201
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0103e-15 | -1.0818e-09 | -1.2684e-09 | 4.6629e-16 | 1.0818e-09 | 1.2684e-09 | 6.2172e-16 | 1.0874e-09 | -7.6403e-10 | 1.2849e-30 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | 1.5881e-13 | -129.3908 | 126.8201 | 1.5788e-13 | -129.3908 | 126.8201
Line_2_3-2ph | 0 | 0.55152 | 0.55152 | 0 | 0.55152 | 0.55152 | 0 | 6.3684 | 6.3684 | 0 | 6.3684 | 6.3684 | 4.6629e-15 | 4.5728 | -1.833 | -5.2847e-15 | -3.5735 | 2.8322 | 1.2434e-15 | 3.0773 | 4.9955 | -9.3259e-16 | -2.729 | -4.6472 | 0 | -163.3297 | 16.6703 | 0 | 16.6703 | -163.3297 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.70605 | 0.85457 | 1.5881e-13 | -129.3908 | 126.8201 | 1.5951e-13 | -125.9623 | 138.0305
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7716e-17 | -1.0818e-09 | -1.2684e-09 | -3.8858e-16 | 1.0818e-09 | 1.2684e-09 | 3.1086e-16 | 1.0874e-09 | -7.6403e-10 | -3.1086e-16 | -1.0874e-09 | 7.6403e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 0.86549 | 0.83556 | 1.05 | 0.86549 | 0.83556 | 1.5881e-13 | -129.3908 | 126.8201 | 1.5965e-13 | -129.3908 | 126.8201

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 1.3027e-15 | 5.0179 | -1.8195 | -2.6053e-15 | -4.8542 | 1.9831 | -3.908e-15 | 3.5406 | 5.5463 | 3.908e-15 | -3.355 | -5.3607 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 | 1.1 | 0.94807 | 0.90112 | 1.1 | 0.91094 | 0.88237 | 1.5154e-13 | -128.4442 | 124.5108 | 1.538e-13 | -129.0012 | 126.6501
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6991e-16 | -1.1725e-09 | -1.3603e-09 | 1.6283e-16 | 1.1725e-09 | 1.3603e-09 | -9.77e-16 | 1.1497e-09 | -8.2429e-10 | 1.3027e-15 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | 1.538e-13 | -129.0012 | 126.6501 | 1.5329e-13 | -129.0012 | 126.6501
Line_2_3-2ph | 0 | 0.56098 | 0.56098 | 0 | 0.56098 | 0.56098 | 0 | 6.4777 | 6.4777 | 0 | 6.4777 | 6.4777 | 2.931e-15 | 4.8542 | -1.9831 | -3.5823e-15 | -3.8204 | 3.0169 | -4.885e-15 | 3.355 | 5.3607 | 5.2106e-15 | -2.9946 | -5.0003 | 0 | -163.6512 | 16.3488 | 0 | 16.3488 | -163.6512 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.74937 | 0.90155 | 1.538e-13 | -129.0012 | 126.6501 | 1.4064e-13 | -125.5605 | 137.4533
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.77e-16 | -1.1725e-09 | -1.3603e-09 | 5.6991e-16 | 1.1725e-09 | 1.3603e-09 | -9.77e-16 | 1.1497e-09 | -8.2428e-10 | 9.77e-16 | -1.1497e-09 | 8.2428e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.91094 | 0.88237 | 1.1 | 0.91094 | 0.88237 | 1.538e-13 | -129.0012 | 126.6501 | 1.5191e-13 | -129.0012 | 126.6501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0011857 | 0.0011857 | 0 | 0.0011857 | 0.0011857 | 0 | 0.013691 | 0.013691 | 0 | 0.013691 | 0.013691 | 7.2858e-18 | 0.013881 | 0.0037059 | -1.2143e-17 | -0.013881 | -0.0037052 | 4.8572e-18 | 0.0037287 | 0.013884 | -9.7145e-18 | -0.0037279 | -0.013883 | 0 | -135.0585 | 44.9415 | 0 | 44.9415 | -135.0585 | 1.05 | 1.0498 | 1.0496 | 1.05 | 1.0498 | 1.0495 | 2.6154e-16 | -120.0231 | 119.996 | 2.7594e-16 | -120.0255 | 119.998
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.5894e-19 | -1.7499e-12 | -3.9886e-12 | 8.8458e-36 | 1.7499e-12 | 3.9886e-12 | 2.4286e-18 | 3.5965e-12 | 2.811e-13 | -1.8215e-18 | -3.5965e-12 | -2.811e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 2.7594e-16 | -120.0255 | 119.998 | 2.7825e-16 | -120.0255 | 119.998
Line_2_3-2ph | 0 | 0.0011857 | 0.0011857 | 0 | 0.0011857 | 0.0011857 | 0 | 0.013691 | 0.013691 | 0 | 0.013691 | 0.013691 | 2.5804e-18 | 0.013881 | 0.0037052 | -3.4911e-18 | -0.013876 | -0.0037006 | 6.0715e-18 | 0.0037279 | 0.013883 | -6.0715e-18 | -0.0037263 | -0.013881 | 0 | -135.0585 | 44.9415 | 0 | 44.9415 | -135.0585 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0494 | 1.0493 | 2.7594e-16 | -120.0255 | 119.998 | 2.8626e-16 | -120.0269 | 120.0141
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5536e-19 | -1.7499e-12 | -3.9886e-12 | -1.0625e-18 | 1.7499e-12 | 3.9886e-12 | -6.0715e-19 | 3.5965e-12 | 2.811e-13 | -5.124e-36 | -3.5965e-12 | -2.811e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.0498 | 1.0495 | 1.05 | 1.0498 | 1.0495 | 2.7594e-16 | -120.0255 | 119.998 | 2.7631e-16 | -120.0255 | 119.998

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0012421 | 0.0012421 | 0 | 0.0012421 | 0.0012421 | 0 | 0.014342 | 0.014342 | 0 | 0.014342 | 0.014342 | 1.6538e-17 | 0.015234 | 0.0040664 | -2.1626e-17 | -0.015233 | -0.0040656 | -1.5266e-17 | 0.0040927 | 0.015237 | 2.0354e-17 | -0.0040918 | -0.015236 | 0 | -135.0608 | 44.9392 | 0 | 44.9392 | -135.0608 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.5103e-16 | -120.0231 | 119.996 | 2.4916e-16 | -120.0255 | 119.998
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3852e-18 | -1.9206e-12 | -4.3773e-12 | 1.5902e-18 | 1.9206e-12 | 4.3773e-12 | 6.3607e-19 | 3.9469e-12 | 3.0831e-13 | 6.8935e-36 | -3.9469e-12 | -3.0831e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.4916e-16 | -120.0255 | 119.998 | 2.4838e-16 | -120.0255 | 119.998
Line_2_3-2ph | 0 | 0.0012421 | 0.0012421 | 0 | 0.0012421 | 0.0012421 | 0 | 0.014342 | 0.014342 | 0 | 0.014342 | 0.014342 | 1.0972e-17 | 0.015233 | 0.0040656 | -1.1767e-17 | -0.015228 | -0.0040606 | -2.0354e-17 | 0.0040918 | 0.015236 | 2.0354e-17 | -0.00409 | -0.015234 | 0 | -135.0608 | 44.9392 | 0 | 44.9392 | -135.0608 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0994 | 1.0992 | 2.4916e-16 | -120.0255 | 119.998 | 2.0247e-16 | -120.0269 | 120.0141
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9082e-18 | -1.9206e-12 | -4.3773e-12 | 1.1131e-18 | 1.9206e-12 | 4.3773e-12 | -3.1803e-18 | 3.9469e-12 | 3.0831e-13 | 3.1803e-18 | -3.9469e-12 | -3.0831e-13 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 1.0998 | 1.0995 | 1.1 | 1.0998 | 1.0995 | 2.4916e-16 | -120.0255 | 119.998 | 2.4493e-16 | -120.0255 | 119.998

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | -1.6875e-15 | 3.8817 | -0.51754 | 2.2501e-15 | -3.6861 | 0.71314 | -1.125e-15 | 1.8077 | 3.8625 | 1.125e-15 | -1.6921 | -3.7469 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.95 | 0.83779 | 0.76248 | 0.95 | 0.79356 | 0.74627 | 1.5491e-13 | -129.9918 | 122.6685 | 1.6292e-13 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2624e-17 | -8.212e-10 | -1.0882e-09 | -3.5706e-16 | 8.212e-10 | 1.0882e-09 | -1.4063e-16 | 9.8903e-10 | -5.2656e-10 | 1.4063e-16 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | 1.6292e-13 | -130.3055 | 125.8129 | 1.6485e-13 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.44262 | 0.44262 | 0 | 0.44262 | 0.44262 | 0 | 5.111 | 5.111 | 0 | 5.111 | 5.111 | -8.4377e-16 | 3.6861 | -0.71314 | 4.2188e-16 | -2.4504 | 1.9488 | 8.4377e-16 | 1.6921 | 3.7469 | -8.4377e-16 | -1.4677 | -3.5226 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.55886 | 0.78766 | 1.6292e-13 | -130.3055 | 125.8129 | 1.7205e-13 | -124.042 | 143.99
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4164e-16 | -8.212e-10 | -1.0882e-09 | 1.2305e-16 | 8.212e-10 | 1.0882e-09 | 1.4063e-16 | 9.8903e-10 | -5.2656e-10 | -2.8126e-16 | -9.8903e-10 | 5.2656e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.79356 | 0.74627 | 0.95 | 0.79356 | 0.74627 | 1.6292e-13 | -130.3055 | 125.8129 | 1.668e-13 | -130.3055 | 125.8129

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | -5.3291e-16 | 3.4838 | -0.4645 | 1.0658e-15 | -3.3083 | 0.64005 | -1.0658e-15 | 1.6224 | 3.4666 | 1.0658e-15 | -1.5187 | -3.3629 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.9 | 0.7937 | 0.72235 | 0.9 | 0.7518 | 0.70699 | 1.5582e-13 | -129.9918 | 122.6685 | 1.6208e-13 | -130.3055 | 125.8129
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0777e-17 | -7.3703e-10 | -9.7667e-10 | -3.237e-16 | 7.3703e-10 | 9.7667e-10 | 1.3323e-16 | 8.8766e-10 | -4.7259e-10 | -1.3323e-16 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | 1.6208e-13 | -130.3055 | 125.8129 | 1.6329e-13 | -130.3055 | 125.8129
Line_2_3-2ph | 0 | 0.41933 | 0.41933 | 0 | 0.41933 | 0.41933 | 0 | 4.842 | 4.842 | 0 | 4.842 | 4.842 | -7.9936e-16 | 3.3083 | -0.64005 | 5.3291e-16 | -2.1992 | 1.7491 | 1.0658e-15 | 1.5187 | 3.3629 | -1.0658e-15 | -1.3173 | -3.1615 | 0 | -154.9631 | 25.0369 | 0 | 25.0369 | -154.9631 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.52945 | 0.74621 | 1.6208e-13 | -130.3055 | 125.8129 | 1.7076e-13 | -124.042 | 143.99
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.8183e-16 | -7.3703e-10 | -9.7667e-10 | 1.8735e-16 | 7.3703e-10 | 9.7667e-10 | 5.3291e-16 | 8.8766e-10 | -4.7259e-10 | -5.3291e-16 | -8.8766e-10 | 4.7259e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.7518 | 0.70699 | 0.9 | 0.7518 | 0.70699 | 1.6208e-13 | -130.3055 | 125.8129 | 1.6596e-13 | -130.3055 | 125.8129

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010724 | 0.0010724 | 0 | 0.0010724 | 0.0010724 | 0 | 0.012382 | 0.012382 | 0 | 0.012382 | 0.012382 | -1.3733e-18 | 0.011359 | 0.0030346 | 1.3733e-18 | -0.011358 | -0.0030335 | 8.7893e-18 | 0.0030483 | 0.011359 | -6.5919e-18 | -0.0030476 | -0.011359 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.95 | 0.94984 | 0.94954 | 0.95 | 0.94973 | 0.94946 | 3.1146e-16 | -120.0262 | 119.9955 | 3.4306e-16 | -120.0279 | 120.0001
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.648e-18 | -1.8673e-12 | -3.7263e-12 | 6.8666e-19 | 1.8673e-12 | 3.7263e-12 | -5.4933e-19 | 3.2259e-12 | -6.04e-15 | 5.4933e-19 | -3.2259e-12 | 6.0396e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.4306e-16 | -120.0279 | 120.0001 | 3.516e-16 | -120.0279 | 120.0001
Line_2_3-2ph | 0 | 0.0010724 | 0.0010724 | 0 | 0.0010724 | 0.0010724 | 0 | 0.012382 | 0.012382 | 0 | 0.012382 | 0.012382 | -1.648e-18 | 0.011358 | 0.0030335 | 2.7466e-19 | -0.011351 | -0.0030262 | 6.0426e-18 | 0.0030476 | 0.011359 | -6.5919e-18 | -0.0030463 | -0.011357 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94914 | 0.94921 | 3.4306e-16 | -120.0279 | 120.0001 | 3.9376e-16 | -120.025 | 120.0326
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.236e-18 | -1.8673e-12 | -3.7263e-12 | 2.7466e-19 | 1.8673e-12 | 3.7263e-12 | 2.7466e-19 | 3.2259e-12 | -6.0426e-15 | -2.7466e-19 | -3.2259e-12 | 6.0415e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.95 | 0.94973 | 0.94946 | 0.95 | 0.94973 | 0.94946 | 3.4306e-16 | -120.0279 | 120.0001 | 3.5069e-16 | -120.0279 | 120.0001

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0.0010159 | 0.0010159 | 0 | 0.0010159 | 0.0010159 | 0 | 0.011731 | 0.011731 | 0 | 0.011731 | 0.011731 | -3.9031e-19 | 0.010195 | 0.0027236 | -1.9516e-18 | -0.010194 | -0.0027226 | 8.3267e-18 | 0.0027358 | 0.010195 | -6.245e-18 | -0.0027352 | -0.010194 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.9 | 0.89984 | 0.89957 | 0.9 | 0.89975 | 0.89949 | 3.0997e-16 | -120.0262 | 119.9955 | 3.3307e-16 | -120.0279 | 120.0001
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.9031e-19 | -1.6759e-12 | -3.3444e-12 | -3.9031e-19 | 1.6759e-12 | 3.3444e-12 | -2.6021e-19 | 2.8952e-12 | -5.4215e-15 | 2.6021e-19 | -2.8952e-12 | 5.4207e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.3307e-16 | -120.0279 | 120.0001 | 3.3752e-16 | -120.0279 | 120.0001
Line_2_3-2ph | 0 | 0.0010159 | 0.0010159 | 0 | 0.0010159 | 0.0010159 | 0 | 0.011731 | 0.011731 | 0 | 0.011731 | 0.011731 | -9.1073e-19 | 0.010194 | 0.0027226 | 5.0933e-35 | -0.010188 | -0.002716 | 7.2858e-18 | 0.0027352 | 0.010194 | -7.8063e-18 | -0.002734 | -0.010193 | 0 | -135.0474 | 44.9526 | 0 | 44.9526 | -135.0474 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89918 | 0.89925 | 3.3307e-16 | -120.0279 | 120.0001 | 3.7384e-16 | -120.025 | 120.0326
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.2042e-19 | -1.6759e-12 | -3.3444e-12 | -1.301e-19 | 1.6759e-12 | 3.3444e-12 | 1.0408e-18 | 2.8952e-12 | -5.423e-15 | -7.8063e-19 | -2.8952e-12 | 5.4221e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.9 | 0.89975 | 0.89949 | 0.9 | 0.89975 | 0.89949 | 3.3307e-16 | -120.0279 | 120.0001 | 3.4067e-16 | -120.0279 | 120.0001

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.48406 | 0.24203 | 0.24203 | 0.48406 | 0.24203 | 0.24203 | 5.5894 | 2.7947 | 2.7947 | 5.5894 | 2.7947 | 2.7947 | 1.3198 | -2.1356 | 2.7955 | -1.198 | 2.166 | -2.765 | 4.668 | 1.7829 | 0.55108 | -4.5298 | -1.7484 | -0.51652 | -75.9736 | 104.0264 | 104.0264 | 104.0264 | -75.9736 | -75.9736 |  | 0.8679 | 0.99545 | 1.0195 | 0.83829 | 0.99603 | 1.0065 | -1.7614 | -115.8315 | 115.1782 | -0.78758 | -114.8835 | 114.6075
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3009e-09 | -3.6363e-10 | -2.868e-10 | 1.3009e-09 | 3.6363e-10 | 2.868e-10 | 8.8724e-11 | -6.8397e-10 | 7.2833e-10 | -8.8724e-11 | 6.8397e-10 | -7.2833e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.83829 | 0.99603 | 1.0065 | 0.83829 | 0.99603 | 1.0065 | -0.78758 | -114.8835 | 114.6075 | -0.78758 | -114.8835 | 114.6075
Line_2_3-2ph | 0.48406 | 0.24203 | 0.24203 | 0.48406 | 0.24203 | 0.24203 | 5.5894 | 2.7947 | 2.7947 | 5.5894 | 2.7947 | 2.7947 | 1.198 | -2.166 | 2.765 | -0.42829 | 2.3584 | -2.5726 | 4.5298 | 1.7484 | 0.51652 | -4.2615 | -1.6813 | -0.44944 | -75.9736 | 104.0264 | 104.0264 | 104.0264 | -75.9736 | -75.9736 |  | 0.83829 | 0.99603 | 1.0065 | 0.76626 | 1.0364 | 0.93447 | -0.78758 | -114.8835 | 114.6075 | 8.2872 | -111.4581 | 113.9361
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3009e-09 | -3.6364e-10 | -2.868e-10 | 1.3009e-09 | 3.6364e-10 | 2.868e-10 | 8.8723e-11 | -6.8397e-10 | 7.2833e-10 | -8.8723e-11 | 6.8397e-10 | -7.2833e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.83829 | 0.99603 | 1.0065 | 0.83829 | 0.99603 | 1.0065 | -0.78758 | -114.8835 | 114.6075 | -0.78758 | -114.8835 | 114.6075

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.49024 | 0.24512 | 0.24512 | 0.49024 | 0.24512 | 0.24512 | 5.6608 | 2.8304 | 2.8304 | 5.6608 | 2.8304 | 2.8304 | 1.3747 | -2.2754 | 2.9627 | -1.2497 | 2.3066 | -2.9315 | 4.9962 | 1.8899 | 0.60823 | -4.8544 | -1.8544 | -0.57278 | -76.2511 | 103.7489 | 103.7489 | 103.7489 | -76.2511 | -76.2511 |  | 0.9154 | 1.045 | 1.0686 | 0.88551 | 1.0457 | 1.0553 | -1.6352 | -115.9634 | 115.3502 | -0.68788 | -115.049 | 114.8046
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3923e-09 | -3.8521e-10 | -3.1094e-10 | 1.3923e-09 | 3.8521e-10 | 3.1094e-10 | 8.5757e-11 | -7.2798e-10 | 7.7086e-10 | -8.5757e-11 | 7.2798e-10 | -7.7086e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.88551 | 1.0457 | 1.0553 | 0.88551 | 1.0457 | 1.0553 | -0.68788 | -115.049 | 114.8046 | -0.68788 | -115.049 | 114.8046
Line_2_3-2ph | 0.49024 | 0.24512 | 0.24512 | 0.49024 | 0.24512 | 0.24512 | 5.6608 | 2.8304 | 2.8304 | 5.6608 | 2.8304 | 2.8304 | 1.2497 | -2.3066 | 2.9315 | -0.46023 | 2.504 | -2.7341 | 4.8544 | 1.8544 | 0.57278 | -4.5792 | -1.7856 | -0.50398 | -76.2511 | 103.7489 | 103.7489 | 103.7489 | -76.2511 | -76.2511 |  | 0.88551 | 1.0457 | 1.0553 | 0.81301 | 1.0866 | 0.98226 | -0.68788 | -115.049 | 114.8046 | 8.0098 | -111.7442 | 114.193
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3923e-09 | -3.8521e-10 | -3.1094e-10 | 1.3923e-09 | 3.8521e-10 | 3.1094e-10 | 8.5757e-11 | -7.2798e-10 | 7.7086e-10 | -8.5757e-11 | 7.2798e-10 | -7.7086e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.88551 | 1.0457 | 1.0553 | 0.88551 | 1.0457 | 1.0553 | -0.68788 | -115.049 | 114.8046 | -0.68788 | -115.049 | 114.8046

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00045687 | 0.00022843 | 0.00022843 | 0.00045687 | 0.00022843 | 0.00022843 | 0.0052755 | 0.0026377 | 0.0026377 | 0.0052755 | 0.0026377 | 0.0026377 | 0.0039148 | -0.00071815 | 0.0026756 | -0.0039147 | 0.00071818 | -0.0026755 | 0.0039178 | 0.0026747 | -0.00071576 | -0.0039177 | -0.0026746 | 0.00071579 | -45.0278 | 134.9722 | 134.9722 | 134.9722 | -45.0278 | -45.0278 |  | 1.0499 | 1.0499 | 1.05 | 1.0498 | 1.0499 | 1.05 | -0.0060127 | -119.9983 | 119.9953 | -0.006119 | -119.9976 | 119.9946
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2767e-12 | -6.9301e-13 | 5.4642e-14 | 1.2767e-12 | 6.9301e-13 | -5.4642e-14 | 8.6331e-13 | -3.3714e-13 | 7.688e-13 | -8.6331e-13 | 3.3714e-13 | -7.688e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0498 | 1.0499 | 1.05 | 1.0498 | 1.0499 | 1.05 | -0.006119 | -119.9976 | 119.9946 | -0.006119 | -119.9976 | 119.9946
Line_2_3-2ph | 0.00045687 | 0.00022843 | 0.00022843 | 0.00045687 | 0.00022843 | 0.00022843 | 0.0052755 | 0.0026377 | 0.0026377 | 0.0052755 | 0.0026377 | 0.0026377 | 0.0039147 | -0.00071818 | 0.0026755 | -0.003914 | 0.00071835 | -0.0026754 | 0.0039177 | 0.0026746 | -0.00071579 | -0.0039175 | -0.0026746 | 0.00071585 | -45.0278 | 134.9722 | 134.9722 | 134.9722 | -45.0278 | -45.0278 |  | 1.0498 | 1.0499 | 1.05 | 1.0497 | 1.0499 | 1.05 | -0.006119 | -119.9976 | 119.9946 | -0.0028486 | -119.9939 | 119.9924
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2767e-12 | -6.9301e-13 | 5.4641e-14 | 1.2767e-12 | 6.9301e-13 | -5.4641e-14 | 8.6331e-13 | -3.3714e-13 | 7.688e-13 | -8.6331e-13 | 3.3714e-13 | -7.688e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0498 | 1.0499 | 1.05 | 1.0498 | 1.0499 | 1.05 | -0.006119 | -119.9976 | 119.9946 | -0.006119 | -119.9976 | 119.9946

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00047861 | 0.00023931 | 0.00023931 | 0.00047861 | 0.00023931 | 0.00023931 | 0.0055265 | 0.0027633 | 0.0027633 | 0.0055265 | 0.0027633 | 0.0027633 | 0.0042964 | -0.00078822 | 0.0029364 | -0.0042962 | 0.00078825 | -0.0029364 | 0.0042998 | 0.0029354 | -0.00078547 | -0.0042997 | -0.0029353 | 0.0007855 | -45.029 | 134.971 | 134.971 | 134.971 | -45.029 | -45.029 |  | 1.0999 | 1.0999 | 1.1 | 1.0998 | 1.0999 | 1.1 | -0.0060124 | -119.9983 | 119.9953 | -0.0061186 | -119.9976 | 119.9946
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4012e-12 | -7.6055e-13 | 5.9949e-14 | 1.4012e-12 | 7.6055e-13 | -5.995e-14 | 9.4744e-13 | -3.7002e-13 | 8.4374e-13 | -9.4744e-13 | 3.7002e-13 | -8.4374e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0998 | 1.0999 | 1.1 | 1.0998 | 1.0999 | 1.1 | -0.0061186 | -119.9976 | 119.9946 | -0.0061186 | -119.9976 | 119.9946
Line_2_3-2ph | 0.00047861 | 0.00023931 | 0.00023931 | 0.00047861 | 0.00023931 | 0.00023931 | 0.0055265 | 0.0027633 | 0.0027633 | 0.0055265 | 0.0027633 | 0.0027633 | 0.0042962 | -0.00078825 | 0.0029364 | -0.0042955 | 0.00078843 | -0.0029362 | 0.0042997 | 0.0029353 | -0.0007855 | -0.0042994 | -0.0029353 | 0.00078557 | -45.029 | 134.971 | 134.971 | 134.971 | -45.029 | -45.029 |  | 1.0998 | 1.0999 | 1.1 | 1.0997 | 1.0999 | 1.0999 | -0.0061186 | -119.9976 | 119.9946 | -0.0028482 | -119.9939 | 119.9924
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.4012e-12 | -7.6055e-13 | 5.995e-14 | 1.4012e-12 | 7.6055e-13 | -5.995e-14 | 9.4743e-13 | -3.7002e-13 | 8.4374e-13 | -9.4743e-13 | 3.7002e-13 | -8.4374e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0998 | 1.0999 | 1.1 | 1.0998 | 1.0999 | 1.1 | -0.0061186 | -119.9976 | 119.9946 | -0.0061186 | -119.9976 | 119.9946

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.39767 | 0.19884 | 0.19884 | 0.39767 | 0.19884 | 0.19884 | 4.592 | 2.296 | 2.296 | 4.592 | 2.296 | 2.296 | 1.459 | -1.403 | 2.1325 | -1.3011 | 1.4424 | -2.093 | 3.2956 | 1.4897 | 0.15806 | -3.2023 | -1.4664 | -0.13474 | -69.3606 | 110.6394 | 110.6394 | 110.6394 | -69.3606 | -69.3606 |  | 0.78487 | 0.89128 | 0.93133 | 0.75273 | 0.89588 | 0.91348 | -3.2401 | -116.0783 | 114.8785 | -1.4727 | -114.8323 | 114.3227
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0872e-09 | -3.3016e-10 | -2.1344e-10 | 1.0872e-09 | 3.3016e-10 | 2.1344e-10 | 1.3478e-10 | -5.6216e-10 | 6.2955e-10 | -1.3478e-10 | 5.6216e-10 | -6.2955e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.75273 | 0.89588 | 0.91348 | 0.75273 | 0.89588 | 0.91348 | -1.4727 | -114.8323 | 114.3227 | -1.4727 | -114.8323 | 114.3227
Line_2_3-2ph | 0.39767 | 0.19884 | 0.19884 | 0.39767 | 0.19884 | 0.19884 | 4.592 | 2.296 | 2.296 | 4.592 | 2.296 | 2.296 | 1.3011 | -1.4424 | 2.093 | -0.30364 | 1.6918 | -1.8436 | 3.2023 | 1.4664 | 0.13474 | -3.0212 | -1.4211 | -0.089464 | -69.3606 | 110.6394 | 110.6394 | 110.6394 | -69.3606 | -69.3606 |  | 0.75273 | 0.89588 | 0.91348 | 0.66124 | 0.96233 | 0.80393 | -1.4727 | -114.8323 | 114.3227 | 14.9002 | -109.3909 | 113.4175
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.0872e-09 | -3.3016e-10 | -2.1344e-10 | 1.0872e-09 | 3.3016e-10 | 2.1344e-10 | 1.3478e-10 | -5.6216e-10 | 6.2955e-10 | -1.3478e-10 | 5.6216e-10 | -6.2955e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.75273 | 0.89588 | 0.91348 | 0.75273 | 0.89588 | 0.91348 | -1.4727 | -114.8323 | 114.3227 | -1.4727 | -114.8323 | 114.3227

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.37674 | 0.18837 | 0.18837 | 0.37674 | 0.18837 | 0.18837 | 4.3503 | 2.1751 | 2.1751 | 4.3503 | 2.1751 | 2.1751 | 1.3094 | -1.2592 | 1.9139 | -1.1677 | 1.2946 | -1.8785 | 2.9578 | 1.337 | 0.14186 | -2.8741 | -1.3161 | -0.12093 | -69.3606 | 110.6394 | 110.6394 | 110.6394 | -69.3606 | -69.3606 |  | 0.74356 | 0.84437 | 0.88231 | 0.71311 | 0.84873 | 0.8654 | -3.2401 | -116.0783 | 114.8785 | -1.4727 | -114.8323 | 114.3227
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7578e-10 | -2.9632e-10 | -1.9157e-10 | 9.7578e-10 | 2.9632e-10 | 1.9157e-10 | 1.2096e-10 | -5.0454e-10 | 5.6502e-10 | -1.2096e-10 | 5.0454e-10 | -5.6502e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71311 | 0.84873 | 0.8654 | 0.71311 | 0.84873 | 0.8654 | -1.4727 | -114.8323 | 114.3227 | -1.4727 | -114.8323 | 114.3227
Line_2_3-2ph | 0.37674 | 0.18837 | 0.18837 | 0.37674 | 0.18837 | 0.18837 | 4.3503 | 2.1751 | 2.1751 | 4.3503 | 2.1751 | 2.1751 | 1.1677 | -1.2946 | 1.8785 | -0.27252 | 1.5184 | -1.6547 | 2.8741 | 1.3161 | 0.12093 | -2.7115 | -1.2755 | -0.080294 | -69.3606 | 110.6394 | 110.6394 | 110.6394 | -69.3606 | -69.3606 |  | 0.71311 | 0.84873 | 0.8654 | 0.62644 | 0.91168 | 0.76161 | -1.4727 | -114.8323 | 114.3227 | 14.9002 | -109.3909 | 113.4175
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.7578e-10 | -2.9632e-10 | -1.9157e-10 | 9.7578e-10 | 2.9632e-10 | 1.9157e-10 | 1.2096e-10 | -5.0454e-10 | 5.6502e-10 | -1.2096e-10 | 5.0454e-10 | -5.6502e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.71311 | 0.84873 | 0.8654 | 0.71311 | 0.84873 | 0.8654 | -1.4727 | -114.8323 | 114.3227 | -1.4727 | -114.8323 | 114.3227

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0004133 | 0.00020665 | 0.00020665 | 0.0004133 | 0.00020665 | 0.00020665 | 0.0047724 | 0.0023862 | 0.0023862 | 0.0047724 | 0.0023862 | 0.0023862 | 0.0032044 | -0.00058767 | 0.0021899 | -0.0032042 | 0.00058771 | -0.0021898 | 0.0032064 | 0.0021892 | -0.00058599 | -0.0032063 | -0.0021891 | 0.00058601 | -45.0246 | 134.9754 | 134.9754 | 134.9754 | -45.0246 | -45.0246 |  | 0.94986 | 0.94992 | 0.95001 | 0.94982 | 0.94991 | 0.95 | -0.0068323 | -119.9981 | 119.9947 | -0.006208 | -119.9969 | 119.9938
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.245e-12 | -6.2171e-13 | -7.9969e-16 | 1.245e-12 | 6.2171e-13 | 7.9965e-16 | 7.1697e-13 | -3.6e-13 | 7.1849e-13 | -7.1697e-13 | 3.6e-13 | -7.1849e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94982 | 0.94991 | 0.95 | 0.94982 | 0.94991 | 0.95 | -0.006208 | -119.9969 | 119.9938 | -0.006208 | -119.9969 | 119.9938
Line_2_3-2ph | 0.0004133 | 0.00020665 | 0.00020665 | 0.0004133 | 0.00020665 | 0.00020665 | 0.0047724 | 0.0023862 | 0.0023862 | 0.0047724 | 0.0023862 | 0.0023862 | 0.0032042 | -0.00058771 | 0.0021898 | -0.0032031 | 0.00058798 | -0.0021896 | 0.0032063 | 0.0021891 | -0.00058601 | -0.0032061 | -0.0021891 | 0.00058606 | -45.0246 | 134.9754 | 134.9754 | 134.9754 | -45.0246 | -45.0246 |  | 0.94982 | 0.94991 | 0.95 | 0.94963 | 0.94992 | 0.9499 | -0.006208 | -119.9969 | 119.9938 | 0.0016783 | -119.99 | 119.9908
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.245e-12 | -6.2171e-13 | -7.9983e-16 | 1.245e-12 | 6.2171e-13 | 7.9971e-16 | 7.1697e-13 | -3.6e-13 | 7.1849e-13 | -7.1697e-13 | 3.6e-13 | -7.1849e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94982 | 0.94991 | 0.95 | 0.94982 | 0.94991 | 0.95 | -0.006208 | -119.9969 | 119.9938 | -0.006208 | -119.9969 | 119.9938

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00039155 | 0.00019577 | 0.00019577 | 0.00039155 | 0.00019577 | 0.00019577 | 0.0045212 | 0.0022606 | 0.0022606 | 0.0045212 | 0.0022606 | 0.0022606 | 0.002876 | -0.00052744 | 0.0019654 | -0.0028758 | 0.00052748 | -0.0019654 | 0.0028777 | 0.0019648 | -0.00052593 | -0.0028777 | -0.0019648 | 0.00052595 | -45.0246 | 134.9754 | 134.9754 | 134.9754 | -45.0246 | -45.0246 |  | 0.89987 | 0.89992 | 0.90001 | 0.89983 | 0.89992 | 0.9 | -0.0068323 | -119.9981 | 119.9947 | -0.006208 | -119.9969 | 119.9938
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1174e-12 | -5.5799e-13 | -7.1747e-16 | 1.1174e-12 | 5.5799e-13 | 7.1747e-16 | 6.4348e-13 | -3.2311e-13 | 6.4485e-13 | -6.4348e-13 | 3.2311e-13 | -6.4485e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89983 | 0.89992 | 0.9 | 0.89983 | 0.89992 | 0.9 | -0.006208 | -119.9969 | 119.9938 | -0.006208 | -119.9969 | 119.9938
Line_2_3-2ph | 0.00039155 | 0.00019577 | 0.00019577 | 0.00039155 | 0.00019577 | 0.00019577 | 0.0045212 | 0.0022606 | 0.0022606 | 0.0045212 | 0.0022606 | 0.0022606 | 0.0028758 | -0.00052748 | 0.0019654 | -0.0028748 | 0.00052772 | -0.0019651 | 0.0028777 | 0.0019648 | -0.00052595 | -0.0028775 | -0.0019647 | 0.00052599 | -45.0246 | 134.9754 | 134.9754 | 134.9754 | -45.0246 | -45.0246 |  | 0.89983 | 0.89992 | 0.9 | 0.89965 | 0.89992 | 0.8999 | -0.006208 | -119.9969 | 119.9938 | 0.0016783 | -119.99 | 119.9908
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1174e-12 | -5.5799e-13 | -7.1735e-16 | 1.1174e-12 | 5.5799e-13 | 7.1754e-16 | 6.4348e-13 | -3.2311e-13 | 6.4485e-13 | -6.4348e-13 | 3.2311e-13 | -6.4485e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89983 | 0.89992 | 0.9 | 0.89983 | 0.89992 | 0.9 | -0.006208 | -119.9969 | 119.9938 | -0.006208 | -119.9969 | 119.9938

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.28055 | 0.55435 | 0.58344 | 0.28055 | 0.55435 | 0.58344 | 3.2395 | 6.4011 | 6.7369 | 3.2395 | 6.4011 | 6.7369 | 0.58724 | 3.4369 | -0.087187 | -0.54631 | -3.2771 | 0.26419 | 2.9996 | 4.3483 | 5.5832 | -2.9532 | -4.167 | -5.3824 | -79.4688 | -177.9017 | 30.5009 | 100.5312 | 2.0983 | -149.4991 |  | 0.94352 | 0.86588 | 0.82885 | 0.92707 | 0.82818 | 0.7999 | -0.54556 | -126.2245 | 121.3956 | 0.050525 | -126.0847 | 123.311
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.3573e-10 | -1.3113e-09 | -1.4568e-09 | 8.3573e-10 | 1.3113e-09 | 1.4568e-09 | -6.295e-12 | 6.7594e-10 | -3.5573e-10 | 6.295e-12 | -6.7595e-10 | 3.5573e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.92707 | 0.82818 | 0.7999 | 0.92707 | 0.82818 | 0.7999 | 0.050525 | -126.0847 | 123.311 | 0.050525 | -126.0847 | 123.311
Line_2_3-2ph | 0.28055 | 0.55435 | 0.58344 | 0.28055 | 0.55435 | 0.58344 | 3.2395 | 6.4011 | 6.7369 | 3.2395 | 6.4011 | 6.7369 | 0.54631 | 3.2771 | -0.26419 | -0.28775 | -2.2676 | 1.3824 | 2.9532 | 4.167 | 5.3824 | -2.863 | -3.8151 | -4.9926 | -79.4688 | -177.9017 | 30.5009 | 100.5312 | 2.0983 | -149.4991 |  | 0.92707 | 0.82818 | 0.7999 | 0.88823 | 0.69334 | 0.76896 | 0.050525 | -126.0847 | 123.311 | 4.792 | -118.6279 | 135.9779
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.3573e-10 | -1.3113e-09 | -1.4568e-09 | 8.3573e-10 | 1.3113e-09 | 1.4568e-09 | -6.2941e-12 | 6.7594e-10 | -3.5573e-10 | 6.2944e-12 | -6.7595e-10 | 3.5573e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.92707 | 0.82818 | 0.7999 | 0.92707 | 0.82818 | 0.7999 | 0.050525 | -126.0847 | 123.311 | 0.050525 | -126.0847 | 123.311

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.28257 | 0.56399 | 0.59266 | 0.28257 | 0.56399 | 0.59266 | 3.2628 | 6.5124 | 6.8434 | 3.2628 | 6.5124 | 6.8434 | 0.6096 | 3.6487 | -0.14547 | -0.56809 | -3.4833 | 0.32811 | 3.1812 | 4.6876 | 5.9899 | -3.1341 | -4.4999 | -5.7827 | -79.6542 | -178.0775 | 30.0633 | 100.3458 | 1.9225 | -149.9367 |  | 0.99272 | 0.91214 | 0.87555 | 0.97619 | 0.87381 | 0.84636 | -0.50221 | -125.9734 | 121.4544 | 0.071838 | -125.8198 | 123.3108
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8631e-10 | -1.4131e-09 | -1.5628e-09 | 8.8631e-10 | 1.4131e-09 | 1.5628e-09 | -9.8723e-12 | 7.1474e-10 | -3.9429e-10 | 9.8723e-12 | -7.1474e-10 | 3.9429e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.97619 | 0.87381 | 0.84636 | 0.97619 | 0.87381 | 0.84636 | 0.071838 | -125.8198 | 123.3108 | 0.071838 | -125.8198 | 123.3108
Line_2_3-2ph | 0.28257 | 0.56399 | 0.59266 | 0.28257 | 0.56399 | 0.59266 | 3.2628 | 6.5124 | 6.8434 | 3.2628 | 6.5124 | 6.8434 | 0.56809 | 3.4833 | -0.32811 | -0.3058 | -2.4384 | 1.4819 | 3.1341 | 4.4999 | 5.7827 | -3.0426 | -4.1357 | -5.3805 | -79.6542 | -178.0775 | 30.0633 | 100.3458 | 1.9225 | -149.9367 |  | 0.97619 | 0.87381 | 0.84636 | 0.93722 | 0.73721 | 0.81551 | 0.071838 | -125.8198 | 123.3108 | 4.6066 | -118.6005 | 135.4623
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.8631e-10 | -1.4131e-09 | -1.5628e-09 | 8.8631e-10 | 1.4131e-09 | 1.5628e-09 | -9.8744e-12 | 7.1474e-10 | -3.9429e-10 | 9.8744e-12 | -7.1474e-10 | 3.9429e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.97619 | 0.87381 | 0.84636 | 0.97619 | 0.87381 | 0.84636 | 0.071838 | -125.8198 | 123.3108 | 0.071838 | -125.8198 | 123.3108

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00022847 | 0.00060431 | 0.0006043 | 0.00022847 | 0.00060431 | 0.0006043 | 0.0026381 | 0.0069779 | 0.0069778 | 0.0026381 | 0.0069779 | 0.0069778 | 0.0019578 | 0.0065893 | 0.0031964 | -0.0019577 | -0.0065891 | -0.0031962 | 0.0019594 | 0.0032017 | 0.006591 | -0.0019593 | -0.0032015 | -0.0065908 | -45.0264 | -145.9255 | 55.8672 | 134.9736 | 34.0745 | -124.1328 |  | 1.0499 | 1.0499 | 1.0498 | 1.0499 | 1.0498 | 1.0497 | -0.0030067 | -120.0107 | 119.9957 | -0.0030598 | -120.0116 | 119.9963
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.3852e-13 | -1.2219e-12 | -1.9693e-12 | 6.3852e-13 | 1.2219e-12 | 1.9693e-12 | 4.3173e-13 | 1.6318e-12 | 5.2615e-13 | -4.3173e-13 | -1.6318e-12 | -5.2616e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0499 | 1.0498 | 1.0497 | 1.0499 | 1.0498 | 1.0497 | -0.0030598 | -120.0116 | 119.9963 | -0.0030598 | -120.0116 | 119.9963
Line_2_3-2ph | 0.00022847 | 0.00060431 | 0.0006043 | 0.00022847 | 0.00060431 | 0.0006043 | 0.0026381 | 0.0069779 | 0.0069778 | 0.0026381 | 0.0069779 | 0.0069778 | 0.0019577 | 0.0065891 | 0.0031962 | -0.0019576 | -0.0065879 | -0.003195 | 0.0019593 | 0.0032015 | 0.0065908 | -0.0019593 | -0.0032011 | -0.0065904 | -45.0264 | -145.9255 | 55.8672 | 134.9736 | 34.0745 | -124.1328 |  | 1.0499 | 1.0498 | 1.0497 | 1.0499 | 1.0497 | 1.0496 | -0.0030598 | -120.0116 | 119.9963 | -0.0014245 | -120.0104 | 120.0033
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.3852e-13 | -1.2219e-12 | -1.9693e-12 | 6.3852e-13 | 1.2219e-12 | 1.9693e-12 | 4.3173e-13 | 1.6318e-12 | 5.2615e-13 | -4.3173e-13 | -1.6318e-12 | -5.2615e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0499 | 1.0498 | 1.0497 | 1.0499 | 1.0498 | 1.0497 | -0.0030598 | -120.0116 | 119.9963 | -0.0030598 | -120.0116 | 119.9963

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00023934 | 0.00063307 | 0.00063306 | 0.00023934 | 0.00063307 | 0.00063306 | 0.0027636 | 0.00731 | 0.0073099 | 0.0027636 | 0.00731 | 0.0073099 | 0.0021486 | 0.0072316 | 0.0035078 | -0.0021485 | -0.0072314 | -0.0035076 | 0.0021504 | 0.003514 | 0.0072336 | -0.0021504 | -0.0035137 | -0.0072333 | -45.0276 | -145.9267 | 55.866 | 134.9724 | 34.0733 | -124.134 |  | 1.0999 | 1.0999 | 1.0998 | 1.0999 | 1.0998 | 1.0997 | -0.0030065 | -120.0107 | 119.9957 | -0.0030596 | -120.0116 | 119.9963
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0077e-13 | -1.3411e-12 | -2.1613e-12 | 7.0077e-13 | 1.3411e-12 | 2.1613e-12 | 4.738e-13 | 1.7909e-12 | 5.7739e-13 | -4.738e-13 | -1.7909e-12 | -5.774e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0999 | 1.0998 | 1.0997 | 1.0999 | 1.0998 | 1.0997 | -0.0030596 | -120.0116 | 119.9963 | -0.0030596 | -120.0116 | 119.9963
Line_2_3-2ph | 0.00023934 | 0.00063307 | 0.00063306 | 0.00023934 | 0.00063307 | 0.00063306 | 0.0027636 | 0.00731 | 0.0073099 | 0.0027636 | 0.00731 | 0.0073099 | 0.0021485 | 0.0072314 | 0.0035076 | -0.0021483 | -0.00723 | -0.0035063 | 0.0021504 | 0.0035137 | 0.0072333 | -0.0021503 | -0.0035133 | -0.0072329 | -45.0276 | -145.9267 | 55.866 | 134.9724 | 34.0733 | -124.134 |  | 1.0999 | 1.0998 | 1.0997 | 1.0998 | 1.0996 | 1.0996 | -0.0030596 | -120.0116 | 119.9963 | -0.0014243 | -120.0104 | 120.0033
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0077e-13 | -1.3411e-12 | -2.1613e-12 | 7.0077e-13 | 1.3411e-12 | 2.1613e-12 | 4.738e-13 | 1.7909e-12 | 5.774e-13 | -4.738e-13 | -1.7909e-12 | -5.774e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.0999 | 1.0998 | 1.0997 | 1.0999 | 1.0998 | 1.0997 | -0.0030596 | -120.0116 | 119.9963 | -0.0030596 | -120.0116 | 119.9963

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.2364 | 0.43682 | 0.4785 | 0.2364 | 0.43682 | 0.4785 | 2.7298 | 5.0439 | 5.5253 | 2.7298 | 5.0439 | 5.5253 | 0.62289 | 2.9599 | 0.71568 | -0.56709 | -2.7694 | -0.48708 | 2.2323 | 2.7424 | 4.0439 | -2.1993 | -2.6298 | -3.9088 | -75.4682 | -170.3932 | 39.0936 | 104.5318 | 9.6068 | -140.9064 |  | 0.84899 | 0.79998 | 0.74326 | 0.83202 | 0.75717 | 0.71291 | -1.0595 | -127.5771 | 119.0574 | 0.072837 | -126.8735 | 121.9905
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1983e-10 | -1.0328e-09 | -1.2365e-09 | 7.1983e-10 | 1.0328e-09 | 1.2365e-09 | -7.3684e-12 | 6.313e-10 | -1.7251e-10 | 7.3685e-12 | -6.313e-10 | 1.7251e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.83202 | 0.75717 | 0.71291 | 0.83202 | 0.75717 | 0.71291 | 0.072837 | -126.8735 | 121.9905 | 0.072837 | -126.8735 | 121.9905
Line_2_3-2ph | 0.2364 | 0.43682 | 0.4785 | 0.2364 | 0.43682 | 0.4785 | 2.7298 | 5.0439 | 5.5253 | 2.7298 | 5.0439 | 5.5253 | 0.56709 | 2.7694 | 0.48708 | -0.2146 | -1.5659 | 0.95705 | 2.1993 | 2.6298 | 3.9088 | -2.1353 | -2.4113 | -3.6466 | -75.4682 | -170.3932 | 39.0936 | 104.5318 | 9.6068 | -140.9064 |  | 0.83202 | 0.75717 | 0.71291 | 0.78617 | 0.57003 | 0.68234 | 0.072837 | -126.8735 | 121.9905 | 8.7926 | -113.3924 | 143.7992
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.1983e-10 | -1.0328e-09 | -1.2365e-09 | 7.1983e-10 | 1.0328e-09 | 1.2365e-09 | -7.3683e-12 | 6.3129e-10 | -1.7251e-10 | 7.3683e-12 | -6.3129e-10 | 1.7251e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.83202 | 0.75717 | 0.71291 | 0.83202 | 0.75717 | 0.71291 | 0.072837 | -126.8735 | 121.9905 | 0.072837 | -126.8735 | 121.9905

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.22396 | 0.41383 | 0.45332 | 0.22396 | 0.41383 | 0.45332 | 2.5861 | 4.7785 | 5.2345 | 2.5861 | 4.7785 | 5.2345 | 0.55905 | 2.6565 | 0.64233 | -0.50897 | -2.4855 | -0.43716 | 2.0035 | 2.4613 | 3.6294 | -1.9739 | -2.3603 | -3.5082 | -75.4682 | -170.3932 | 39.0936 | 104.5318 | 9.6068 | -140.9064 |  | 0.80431 | 0.75788 | 0.70414 | 0.78823 | 0.71731 | 0.67539 | -1.0595 | -127.5771 | 119.0574 | 0.072837 | -126.8735 | 121.9905
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4605e-10 | -9.2695e-10 | -1.1098e-09 | 6.4605e-10 | 9.2695e-10 | 1.1098e-09 | -6.6135e-12 | 5.6659e-10 | -1.5483e-10 | 6.6137e-12 | -5.6659e-10 | 1.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.78823 | 0.71731 | 0.67539 | 0.78823 | 0.71731 | 0.67539 | 0.072837 | -126.8735 | 121.9905 | 0.072837 | -126.8735 | 121.9905
Line_2_3-2ph | 0.22396 | 0.41383 | 0.45332 | 0.22396 | 0.41383 | 0.45332 | 2.5861 | 4.7785 | 5.2345 | 2.5861 | 4.7785 | 5.2345 | 0.50897 | 2.4855 | 0.43716 | -0.19261 | -1.4054 | 0.85896 | 1.9739 | 2.3603 | 3.5082 | -1.9164 | -2.1642 | -3.2729 | -75.4682 | -170.3932 | 39.0936 | 104.5318 | 9.6068 | -140.9064 |  | 0.78823 | 0.71731 | 0.67539 | 0.74479 | 0.54002 | 0.64643 | 0.072837 | -126.8735 | 121.9905 | 8.7926 | -113.3924 | 143.7992
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.4605e-10 | -9.2695e-10 | -1.1098e-09 | 6.4605e-10 | 9.2695e-10 | 1.1098e-09 | -6.6133e-12 | 5.6659e-10 | -1.5483e-10 | 6.6135e-12 | -5.6659e-10 | 1.5483e-10 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.78823 | 0.71731 | 0.67539 | 0.78823 | 0.71731 | 0.67539 | 0.072837 | -126.8735 | 121.9905 | 0.072837 | -126.8735 | 121.9905

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00020669 | 0.00054664 | 0.00054665 | 0.00020669 | 0.00054664 | 0.00054665 | 0.0023866 | 0.0063121 | 0.0063122 | 0.0023866 | 0.0063121 | 0.0063122 | 0.0016025 | 0.0053931 | 0.0026167 | -0.0016025 | -0.0053928 | -0.0026164 | 0.0016037 | 0.0026198 | 0.005394 | -0.0016037 | -0.0026196 | -0.0053938 | -45.0254 | -145.9213 | 55.8737 | 134.9746 | 34.0787 | -124.1263 |  | 0.94993 | 0.94988 | 0.94978 | 0.94991 | 0.94982 | 0.94973 | -0.0034165 | -120.0122 | 119.9951 | -0.0031043 | -120.0124 | 119.9969
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2271e-13 | -1.2455e-12 | -1.8662e-12 | 6.2271e-13 | 1.2455e-12 | 1.8662e-12 | 3.5854e-13 | 1.4351e-12 | 3.5706e-13 | -3.5854e-13 | -1.4351e-12 | -3.5706e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94991 | 0.94982 | 0.94973 | 0.94991 | 0.94982 | 0.94973 | -0.0031043 | -120.0124 | 119.9969 | -0.0031043 | -120.0124 | 119.9969
Line_2_3-2ph | 0.00020669 | 0.00054664 | 0.00054665 | 0.00020669 | 0.00054664 | 0.00054665 | 0.0023866 | 0.0063121 | 0.0063122 | 0.0023866 | 0.0063121 | 0.0063122 | 0.0016025 | 0.0053928 | 0.0026164 | -0.0016022 | -0.0053909 | -0.0026145 | 0.0016037 | 0.0026196 | 0.0053938 | -0.0016037 | -0.0026193 | -0.0053934 | -45.0254 | -145.9213 | 55.8737 | 134.9746 | 34.0787 | -124.1263 |  | 0.94991 | 0.94982 | 0.94973 | 0.94982 | 0.94953 | 0.94955 | -0.0031043 | -120.0124 | 119.9969 | 0.0008393 | -120.0075 | 120.0117
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.2272e-13 | -1.2455e-12 | -1.8662e-12 | 6.2271e-13 | 1.2455e-12 | 1.8662e-12 | 3.5854e-13 | 1.4351e-12 | 3.5706e-13 | -3.5854e-13 | -1.4351e-12 | -3.5706e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.94991 | 0.94982 | 0.94973 | 0.94991 | 0.94982 | 0.94973 | -0.0031043 | -120.0124 | 119.9969 | -0.0031043 | -120.0124 | 119.9969

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.00019581 | 0.00051787 | 0.00051788 | 0.00019581 | 0.00051787 | 0.00051788 | 0.002261 | 0.0059799 | 0.0059799 | 0.002261 | 0.0059799 | 0.0059799 | 0.0014383 | 0.0048403 | 0.0023485 | -0.0014382 | -0.00484 | -0.0023482 | 0.0014394 | 0.0023513 | 0.0048411 | -0.0014393 | -0.0023511 | -0.004841 | -45.0254 | -145.9213 | 55.8737 | 134.9746 | 34.0787 | -124.1263 |  | 0.89993 | 0.89988 | 0.89979 | 0.89992 | 0.89983 | 0.89975 | -0.0034165 | -120.0122 | 119.9951 | -0.0031043 | -120.0124 | 119.9969
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5889e-13 | -1.1179e-12 | -1.6749e-12 | 5.5889e-13 | 1.1179e-12 | 1.6749e-12 | 3.218e-13 | 1.288e-12 | 3.2046e-13 | -3.218e-13 | -1.288e-12 | -3.2046e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89992 | 0.89983 | 0.89975 | 0.89992 | 0.89983 | 0.89975 | -0.0031043 | -120.0124 | 119.9969 | -0.0031043 | -120.0124 | 119.9969
Line_2_3-2ph | 0.00019581 | 0.00051787 | 0.00051788 | 0.00019581 | 0.00051787 | 0.00051788 | 0.002261 | 0.0059799 | 0.0059799 | 0.002261 | 0.0059799 | 0.0059799 | 0.0014382 | 0.00484 | 0.0023482 | -0.001438 | -0.0048384 | -0.0023465 | 0.0014393 | 0.0023511 | 0.004841 | -0.0014393 | -0.0023508 | -0.0048407 | -45.0254 | -145.9213 | 55.8737 | 134.9746 | 34.0787 | -124.1263 |  | 0.89992 | 0.89983 | 0.89975 | 0.89983 | 0.89955 | 0.89958 | -0.0031043 | -120.0124 | 119.9969 | 0.0008393 | -120.0075 | 120.0117
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5889e-13 | -1.1179e-12 | -1.6749e-12 | 5.5889e-13 | 1.1179e-12 | 1.6749e-12 | 3.218e-13 | 1.288e-12 | 3.2046e-13 | -3.218e-13 | -1.288e-12 | -3.2046e-13 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.89992 | 0.89983 | 0.89975 | 0.89992 | 0.89983 | 0.89975 | -0.0031043 | -120.0124 | 119.9969 | -0.0031043 | -120.0124 | 119.9969