## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.4545e-19 | 0 | -4.303e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -4.456e-19 | 0 | -4.262e-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.9091e-08 | 0 | 1.562e-08 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.7175 | 0.7175 | -14.8932 | -14.8932

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0426e-19 | 0 | -3.127e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 2.0426e-19 | 0 | -3.127e-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | -1.6242e-08 | 0 | 1.3289e-08 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.62083 | 0.62083 | -16.14 | -16.14

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.9113e-15 | 3.5472e-15 | 4.4779e-15 | 6.011e-15 | -2.0949e-15 | -3.0254e-15 | 2.0846e-15 | 1.3448e-08 | -1.3448e-08 | -2.0945e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0713e-13 | 180 | 180 | 7.0998e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7692e-15 | 2.0061e-15 | -6.6141e-16 | -5.2284e-16 | -8.5873e-16 | 1.8089e-15 | 1.961e-16 | 3.8423e-09 | -3.8423e-09 | -2.0764e-16 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.0837e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2933e-15 | 9.4938e-16 | 1.1953e-15 | -5.0861e-18 | 2.0096e-16 | -4.4565e-17 | -1.0902e-17 | 3.8423e-09 | -3.8423e-09 | -5.6378e-19 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.1117e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2933e-15 | 9.4938e-16 | 1.1953e-15 | -5.0861e-18 | 2.0096e-16 | -4.4565e-17 | -1.0902e-17 | 3.8423e-09 | -3.8423e-09 | -5.6378e-19 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.1117e-13 | -180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.9091e-15 | 6.0396e-15 | 1.9947e-15 | 6.0085e-15 | -4.587e-15 | -5.4225e-16 | 2.0845e-15 | 1.3448e-08 | -1.3448e-08 | -2.0935e-15 | -1.3448e-08 | 1.3448e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0713e-13 | 180 | 180 | 7.0998e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.1813e-15 | 7.0389e-16 | -9.4683e-18 | -1.1067e-16 | 4.433e-16 | 1.157e-15 | 2.2281e-15 | 3.8423e-09 | -3.8423e-09 | -2.239e-15 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.0837e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2996e-15 | 2.2814e-15 | 2.2469e-16 | 6.3631e-18 | -1.1335e-15 | 9.2353e-16 | -1.233e-17 | 3.8423e-09 | -3.8423e-09 | 1.1891e-18 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.114e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2996e-15 | 2.2814e-15 | 2.2469e-16 | 6.3631e-18 | -1.1335e-15 | 9.2353e-16 | -1.233e-17 | 3.8423e-09 | -3.8423e-09 | 1.1891e-18 | -3.8423e-09 | 3.8423e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.55 | 0.55 | 1.1 | 0.55 | 0.55 | 7.0998e-13 | -180 | 180 | 7.114e-13 | -180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0631e-15 | -2.6451e-09 | -7.3814e-09 | 3.435e-15 | 2.6451e-09 | 7.3814e-09 | 1.0415e-15 | 1.165e-08 | -3.4468e-09 | -1.086e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9712e-13 | -149.7905 | 132.4483 | 3.9874e-13 | -149.7905 | 132.4483
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.0437e-16 | -7.5574e-10 | -2.109e-09 | -5.851e-16 | 7.5574e-10 | 2.109e-09 | -2.4379e-15 | 3.3286e-09 | -9.848e-10 | 2.4439e-15 | -3.3286e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9874e-13 | -149.7905 | 132.4483 | 3.9769e-13 | -149.7905 | 132.4483
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2845e-15 | -7.5574e-10 | -2.109e-09 | -3.7353e-18 | 7.5574e-10 | 2.109e-09 | 6.1505e-18 | 3.3287e-09 | -9.848e-10 | 1.1606e-20 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9874e-13 | -149.7905 | 132.4483 | 3.9943e-13 | -149.7905 | 132.4483
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.2845e-15 | -7.5574e-10 | -2.109e-09 | -3.7353e-18 | 7.5574e-10 | 2.109e-09 | 6.1505e-18 | 3.3287e-09 | -9.848e-10 | 1.1606e-20 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9874e-13 | -149.7905 | 132.4483 | 3.9943e-13 | -149.7905 | 132.4483

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.0729e-15 | -2.6451e-09 | -7.3814e-09 | 3.442e-15 | 2.6451e-09 | 7.3814e-09 | 1.0389e-15 | 1.165e-08 | -3.4468e-09 | -1.0835e-15 | -1.165e-08 | 3.4468e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9713e-13 | -149.7905 | 132.4483 | 3.9892e-13 | -149.7905 | 132.4483
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.1162e-16 | -7.5574e-10 | -2.109e-09 | -3.7904e-16 | 7.5574e-10 | 2.109e-09 | -1.4519e-15 | 3.3287e-09 | -9.848e-10 | 1.4579e-15 | -3.3286e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9892e-13 | -149.7905 | 132.4483 | 3.9787e-13 | -149.7905 | 132.4483
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.292e-15 | -7.5574e-10 | -2.109e-09 | 1.3299e-18 | 7.5574e-10 | 2.109e-09 | 6.2706e-18 | 3.3287e-09 | -9.848e-10 | 4.9289e-19 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9892e-13 | -149.7905 | 132.4483 | 3.998e-13 | -149.7905 | 132.4483
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.292e-15 | -7.5574e-10 | -2.109e-09 | 1.3299e-18 | 7.5574e-10 | 2.109e-09 | 6.2706e-18 | 3.3287e-09 | -9.848e-10 | 4.9289e-19 | -3.3287e-09 | 9.848e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1 | 0.83055 | 0.56635 | 1.1 | 0.83055 | 0.56635 | 3.9892e-13 | -149.7905 | 132.4483 | 3.998e-13 | -149.7905 | 132.4483

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.122e-15 | 3.912e-15 | 4.0477e-15 | 5.7291e-15 | -2.7117e-15 | -2.8475e-15 | 1.9436e-16 | 1.1114e-08 | -1.1114e-08 | -2.0804e-16 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0327e-13 | -180 | 180 | 7.0569e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8272e-15 | 9.2144e-16 | 1.0536e-15 | -6.8299e-17 | 2.8442e-17 | -1.0398e-16 | -2.0907e-15 | 3.1754e-09 | -3.1754e-09 | 2.073e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0768e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8966e-15 | 8.542e-16 | 7.6267e-16 | -6.609e-20 | 9.6096e-17 | 1.8746e-16 | -1.8243e-17 | 3.1754e-09 | -3.1754e-09 | 7.7718e-19 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0672e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8966e-15 | 8.542e-16 | 7.6267e-16 | -6.609e-20 | 9.6096e-17 | 1.8746e-16 | -1.8243e-17 | 3.1754e-09 | -3.1754e-09 | 7.7718e-19 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0672e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.122e-15 | 3.912e-15 | 4.0477e-15 | 5.7291e-15 | -2.7117e-15 | -2.8475e-15 | 1.9436e-16 | 1.1114e-08 | -1.1114e-08 | -2.0804e-16 | -1.1114e-08 | 1.1114e-08 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0327e-13 | -180 | 180 | 7.0569e-13 | -180 | 180
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8272e-15 | 9.2144e-16 | 1.0536e-15 | -6.8299e-17 | 2.8442e-17 | -1.0398e-16 | -2.0907e-15 | 3.1754e-09 | -3.1754e-09 | 2.073e-15 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0768e-13 | -180 | 180
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8966e-15 | 8.542e-16 | 7.6267e-16 | -6.609e-20 | 9.6096e-17 | 1.8746e-16 | -1.8243e-17 | 3.1754e-09 | -3.1754e-09 | 7.7718e-19 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0672e-13 | -180 | 180
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.8966e-15 | 8.542e-16 | 7.6267e-16 | -6.609e-20 | 9.6096e-17 | 1.8746e-16 | -1.8243e-17 | 3.1754e-09 | -3.1754e-09 | 7.7718e-19 | -3.1754e-09 | 3.1754e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 7.0569e-13 | -180 | 180 | 7.0672e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.9815e-15 | -2.1424e-09 | -5.9785e-09 | 3.5531e-15 | 2.1424e-09 | 5.9785e-09 | 1.4118e-16 | 9.9501e-09 | -3.3057e-09 | -1.8308e-16 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1864e-13 | -151.709 | 135.0798 | 4.2029e-13 | -151.709 | 135.0798
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3864e-15 | -6.1211e-10 | -1.7081e-09 | 2.5645e-16 | 6.1211e-10 | 1.7081e-09 | 1.3511e-15 | 2.8429e-09 | -9.4449e-10 | -1.3531e-15 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2168e-13 | -151.709 | 135.0798
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1297e-15 | -6.1211e-10 | -1.7081e-09 | -8.6366e-19 | 6.1211e-10 | 1.7081e-09 | -2.3146e-18 | 2.8429e-09 | -9.4449e-10 | 5.3979e-19 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2097e-13 | -151.709 | 135.0798
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1297e-15 | -6.1211e-10 | -1.7081e-09 | -8.6366e-19 | 6.1211e-10 | 1.7081e-09 | -2.3146e-18 | 2.8429e-09 | -9.4449e-10 | 5.3979e-19 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2097e-13 | -151.709 | 135.0798

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.9815e-15 | -2.1424e-09 | -5.9785e-09 | 3.5531e-15 | 2.1424e-09 | 5.9785e-09 | 1.4118e-16 | 9.9501e-09 | -3.3057e-09 | -1.8308e-16 | -9.9501e-09 | 3.3057e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.1864e-13 | -151.709 | 135.0798 | 4.2029e-13 | -151.709 | 135.0798
Line_1_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3864e-15 | -6.1211e-10 | -1.7081e-09 | 2.5645e-16 | 6.1211e-10 | 1.7081e-09 | 1.3511e-15 | 2.8429e-09 | -9.4449e-10 | -1.3531e-15 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2168e-13 | -151.709 | 135.0798
Line_2_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1297e-15 | -6.1211e-10 | -1.7081e-09 | -8.6366e-19 | 6.1211e-10 | 1.7081e-09 | -2.3146e-18 | 2.8429e-09 | -9.4449e-10 | 5.3979e-19 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2097e-13 | -151.709 | 135.0798
Line_3_3-2ph | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1297e-15 | -6.1211e-10 | -1.7081e-09 | -8.6366e-19 | 6.1211e-10 | 1.7081e-09 | -2.3146e-18 | 2.8429e-09 | -9.4449e-10 | 5.3979e-19 | -2.8429e-09 | 9.4449e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.73756 | 0.49505 | 1 | 0.73756 | 0.49505 | 4.2029e-13 | -151.709 | 135.0798 | 4.2097e-13 | -151.709 | 135.0798

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053336 | 0.0053336 | 0.0053336 | 0.0035106 | 0.0035106 | 0.0035106 | 0.061587 | 0.061587 | 0.061587 | 0.040537 | 0.040537 | 0.040537 | 1.1303e-13 | 0.058792 | -0.058547 | 5.7369e-05 | -0.038659 | 0.038573 | -2.3646e-13 | -0.033763 | -0.034232 | 2.2832e-05 | 0.022212 | 0.022588 | -90.2287 | -90.2287 | -90.2287 | 89.7211 | 89.7212 | 89.7212 |  | 0 | 1.1008 | 1.1012 | 0.0015232 | 1.0999 | 1.1027 | 0 | -120.0966 | 120.0856 | 111.4231 | -120.1587 | 120.0737
Line_1_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4325e-12 | -2.5912e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7788e-11 | 1.0843e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_2_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4326e-12 | -2.5912e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7786e-11 | 1.0844e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_3_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4326e-12 | -2.5912e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7786e-11 | 1.0844e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053336 | 0.0053336 | 0.0053336 | 0.0035106 | 0.0035106 | 0.0035106 | 0.061587 | 0.061587 | 0.061587 | 0.040537 | 0.040537 | 0.040537 | 1.1303e-13 | 0.058792 | -0.058547 | 5.7369e-05 | -0.038659 | 0.038573 | -2.3649e-13 | -0.033763 | -0.034232 | 2.2832e-05 | 0.022212 | 0.022588 | -90.2287 | -90.2287 | -90.2287 | 89.7211 | 89.7212 | 89.7212 |  | 0 | 1.1008 | 1.1012 | 0.0015232 | 1.0999 | 1.1027 | 0 | -120.0966 | 120.0856 | 111.4231 | -120.1587 | 120.0737
Line_1_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4345e-12 | -2.5913e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7785e-11 | 1.0842e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_2_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4326e-12 | -2.5912e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7786e-11 | 1.0844e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698
Line_3_3-2ph | 0.0011702 | 0.0011702 | 0.0011702 | 0 | 0 | 0 | 0.013512 | 0.013512 | 0.013512 | 0 | 0 | 0 | -1.9123e-05 | 0.012886 | -0.012858 | -6.0262e-12 | 3.4326e-12 | -2.5912e-11 | -7.6107e-06 | -0.007404 | -0.0075293 | 1.5246e-11 | -2.7786e-11 | 1.0844e-11 | -90.2789 | -90.2788 | -90.2788 | 0 | 0 | 0 |  | 0.0015232 | 1.0999 | 1.1027 | 0.0020309 | 1.0996 | 1.1032 | 111.4231 | -120.1587 | 120.0737 | 111.4693 | -120.1795 | 120.0698

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021672 | 0.0021672 | 0.0021672 | 0.0014265 | 0.0014265 | 0.0014265 | 0.025025 | 0.025025 | 0.025025 | 0.016472 | 0.016472 | 0.016472 | 0.011304 | 0.016123 | -0.027386 | -0.0074228 | -0.010615 | 0.018034 | 0.013934 | -0.022331 | -0.0028297 | -0.0091745 | 0.014693 | 0.0018821 | -65.8571 | -65.8571 | -65.8571 | 114.0927 | 114.0928 | 114.0928 |  | 0.71699 | 1.1006 | 1.1002 | 0.71645 | 1.1005 | 1.1008 | -14.9068 | -120.0285 | 120.0421 | -14.8826 | -120.0598 | 120.0509
Line_1_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3701e-12 | -7.7549e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0875e-11 | 8.3435e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_2_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3704e-12 | -7.7544e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0875e-11 | 8.3435e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_3_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3704e-12 | -7.7544e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0875e-11 | 8.3435e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021672 | 0.0021672 | 0.0021672 | 0.0014265 | 0.0014265 | 0.0014265 | 0.025025 | 0.025025 | 0.025025 | 0.016472 | 0.016472 | 0.016472 | 0.011304 | 0.016123 | -0.027386 | -0.0074228 | -0.010615 | 0.018034 | 0.013934 | -0.022331 | -0.0028297 | -0.0091745 | 0.014693 | 0.0018821 | -65.8571 | -65.8571 | -65.8571 | 114.0927 | 114.0928 | 114.0928 |  | 0.71699 | 1.1006 | 1.1002 | 0.71645 | 1.1005 | 1.1008 | -14.9068 | -120.0285 | 120.0421 | -14.8826 | -120.0598 | 120.0509
Line_1_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3708e-12 | -7.7538e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0878e-11 | 8.3426e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_2_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3704e-12 | -7.7544e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0875e-11 | 8.3435e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538
Line_3_3-2ph | 0.0004755 | 0.0004755 | 0.0004755 | 0 | 0 | 0 | 0.0054906 | 0.0054906 | 0.0054906 | 0 | 0 | 0 | 0.0024743 | 0.0035385 | -0.0060112 | 1.822e-09 | -3.3704e-12 | -7.7544e-12 | 0.0030582 | -0.0048977 | -0.00062736 | -1.4832e-09 | -1.0875e-11 | 8.3435e-12 | -65.9073 | -65.9072 | -65.9072 | 0 | 0 | 0 |  | 0.71645 | 1.1005 | 1.1008 | 0.71627 | 1.1004 | 1.101 | -14.8826 | -120.0598 | 120.0509 | -14.8746 | -120.0702 | 120.0538

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.004851 | 0.004851 | 0.004851 | 0.003193 | 0.003193 | 0.003193 | 0.056015 | 0.056015 | 0.056015 | 0.036869 | 0.036869 | 0.036869 | -7.3507e-14 | 0.048704 | -0.048314 | 9.1118e-05 | -0.031997 | 0.03186 | -2.1978e-13 | -0.027766 | -0.028482 | 1.8904e-05 | 0.018241 | 0.018819 | -90.4228 | -90.4228 | -90.4228 | 89.4809 | 89.4809 | 89.4809 |  | 0 | 1.0009 | 1.0012 | 0.002524 | 0.99896 | 1.0036 | 0 | -120.11 | 120.0971 | 101.2018 | -120.2055 | 120.0504
Line_1_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.218e-11 | -3.2586e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0343e-11 | 4.4943e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_2_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.2181e-11 | -3.2587e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0342e-11 | 4.4958e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_3_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.2181e-11 | -3.2587e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0342e-11 | 4.4958e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.004851 | 0.004851 | 0.004851 | 0.003193 | 0.003193 | 0.003193 | 0.056015 | 0.056015 | 0.056015 | 0.036869 | 0.036869 | 0.036869 | -7.3507e-14 | 0.048704 | -0.048314 | 9.1118e-05 | -0.031997 | 0.03186 | -2.1978e-13 | -0.027766 | -0.028482 | 1.8904e-05 | 0.018241 | 0.018819 | -90.4228 | -90.4228 | -90.4228 | 89.4809 | 89.4809 | 89.4809 |  | 0 | 1.0009 | 1.0012 | 0.002524 | 0.99896 | 1.0036 | 0 | -120.11 | 120.0971 | 101.2018 | -120.2055 | 120.0504
Line_1_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.218e-11 | -3.2586e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0343e-11 | 4.4943e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_2_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.2181e-11 | -3.2587e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0342e-11 | 4.4958e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035
Line_3_3-2ph | 0.0010643 | 0.0010643 | 0.0010643 | 0 | 0 | 0 | 0.01229 | 0.01229 | 0.01229 | 0 | 0 | 0 | -3.0373e-05 | 0.010666 | -0.01062 | -4.8809e-12 | 1.2181e-11 | -3.2587e-11 | -6.3014e-06 | -0.0060802 | -0.0062731 | 2.4201e-11 | -3.0342e-11 | 4.4958e-12 | -90.5191 | -90.5191 | -90.5191 | 0 | 0 | 0 |  | 0.002524 | 0.99896 | 1.0036 | 0.0033643 | 0.99833 | 1.0044 | 101.2018 | -120.2055 | 120.0504 | 101.2137 | -120.2375 | 120.035

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021321 | 0.0021321 | 0.0021321 | 0.0014034 | 0.0014034 | 0.0014034 | 0.02462 | 0.02462 | 0.02462 | 0.016205 | 0.016205 | 0.016205 | 0.0095801 | 0.014918 | -0.024422 | -0.0062749 | -0.0098229 | 0.016089 | 0.011892 | -0.019607 | -0.0031516 | -0.0078346 | 0.012892 | 0.0021051 | -67.3017 | -67.3017 | -67.3017 | 112.602 | 112.602 | 112.602 |  | 0.62028 | 1.0007 | 1.0002 | 0.61942 | 1.0002 | 1.0013 | -16.1555 | -120.0361 | 120.0515 | -16.0902 | -120.0934 | 120.0563
Line_1_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8227e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4393e-11 | 7.4157e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_2_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8229e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4392e-11 | 7.4162e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_3_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8229e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4392e-11 | 7.4162e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021321 | 0.0021321 | 0.0021321 | 0.0014034 | 0.0014034 | 0.0014034 | 0.02462 | 0.02462 | 0.02462 | 0.016205 | 0.016205 | 0.016205 | 0.0095801 | 0.014918 | -0.024422 | -0.0062749 | -0.0098229 | 0.016089 | 0.011892 | -0.019607 | -0.0031516 | -0.0078346 | 0.012892 | 0.0021051 | -67.3017 | -67.3017 | -67.3017 | 112.602 | 112.602 | 112.602 |  | 0.62028 | 1.0007 | 1.0002 | 0.61942 | 1.0002 | 1.0013 | -16.1555 | -120.0361 | 120.0515 | -16.0902 | -120.0934 | 120.0563
Line_1_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8227e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4393e-11 | 7.4157e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_2_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8229e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4392e-11 | 7.4162e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578
Line_3_3-2ph | 0.00046779 | 0.00046779 | 0.00046779 | 0 | 0 | 0 | 0.0054016 | 0.0054016 | 0.0054016 | 0 | 0 | 0 | 0.0020916 | 0.0032743 | -0.005363 | 1.5519e-09 | -2.8229e-13 | -1.2365e-11 | 0.0026115 | -0.0042974 | -0.0007017 | -1.2567e-09 | -1.4392e-11 | 7.4162e-12 | -67.398 | -67.398 | -67.398 | 0 | 0 | 0 |  | 0.61942 | 1.0002 | 1.0013 | 0.61914 | 1 | 1.0017 | -16.0902 | -120.0934 | 120.0563 | -16.0684 | -120.1124 | 120.0578

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053238 | 0.0053238 | 0.0053238 | 0.0035042 | 0.0035042 | 0.0035042 | 0.061474 | 0.061474 | 0.061474 | 0.040463 | 0.040463 | 0.040463 | 0.00024458 | 2.0687e-13 | 7.9243e-15 | -0.00014286 | 5.7159e-05 | 5.7158e-05 | -0.067745 | 1.2431e-13 | -2.4252e-13 | 0.044613 | 2.2748e-05 | 2.2748e-05 | 89.7823 | 89.7822 | 89.7822 | -90.2679 | -90.2679 | -90.2679 |  | 1.102 | 0 | 0 | 1.1026 | 0.0015204 | 0.0015204 | -0.010894 | 0 | 0 | -0.084431 | -68.566 | -68.566
Line_1_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6905e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_2_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6907e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_3_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6907e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0053238 | 0.0053238 | 0.0053238 | 0.0035042 | 0.0035042 | 0.0035042 | 0.061474 | 0.061474 | 0.061474 | 0.040463 | 0.040463 | 0.040463 | 0.00024458 | 2.0688e-13 | 7.9311e-15 | -0.00014286 | 5.7159e-05 | 5.7158e-05 | -0.067745 | 1.2428e-13 | -2.4251e-13 | 0.044613 | 2.2748e-05 | 2.2748e-05 | 89.7823 | 89.7822 | 89.7822 | -90.2679 | -90.2679 | -90.2679 |  | 1.102 | 0 | 0 | 1.1026 | 0.0015204 | 0.0015204 | -0.010894 | 0 | 0 | -0.084431 | -68.566 | -68.566
Line_1_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6904e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_2_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6907e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198
Line_3_3-2ph | 0.0011681 | 0.0011681 | 0.0011681 | 0 | 0 | 0 | 0.013488 | 0.013488 | 0.013488 | 0 | 0 | 0 | 4.7619e-05 | -1.9053e-05 | -1.9053e-05 | -2.2353e-11 | 1.0154e-11 | -1.6202e-11 | -0.014871 | -7.5828e-06 | -7.5828e-06 | -1.6907e-11 | 1.2794e-11 | 2.4226e-12 | 89.7321 | 89.7321 | 89.7321 | 0 | 0 | 0 |  | 1.1026 | 0.0015204 | 0.0015204 | 1.1028 | 0.0020271 | 0.0020271 | -0.084431 | -68.566 | -68.566 | -0.10889 | -68.5198 | -68.5198

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021657 | 0.0021657 | 0.0021657 | 0.0014255 | 0.0014255 | 0.0014255 | 0.025007 | 0.025007 | 0.025007 | 0.01646 | 0.01646 | 0.01646 | -0.011247 | -0.0064283 | 0.017716 | 0.0073981 | 0.0042502 | -0.011653 | -0.025125 | 0.016741 | -0.0028264 | 0.016548 | -0.011012 | 0.0018539 | 114.1293 | 114.1293 | 114.1293 | -65.9208 | -65.9208 | -65.9208 |  | 1.1008 | 0.7171 | 0.71739 | 1.1012 | 0.71709 | 0.71686 | 0.013572 | -134.8647 | 105.0647 | -0.0088754 | -134.8153 | 105.0394
Line_1_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1101e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.5338e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_2_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1102e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.532e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_3_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1102e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.532e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021657 | 0.0021657 | 0.0021657 | 0.0014255 | 0.0014255 | 0.0014255 | 0.025007 | 0.025007 | 0.025007 | 0.01646 | 0.01646 | 0.01646 | -0.011247 | -0.0064283 | 0.017716 | 0.0073981 | 0.0042502 | -0.011653 | -0.025125 | 0.016741 | -0.0028264 | 0.016548 | -0.011012 | 0.0018539 | 114.1293 | 114.1293 | 114.1293 | -65.9208 | -65.9208 | -65.9208 |  | 1.1008 | 0.7171 | 0.71739 | 1.1012 | 0.71709 | 0.71686 | 0.013572 | -134.8647 | 105.0647 | -0.0088754 | -134.8153 | 105.0394
Line_1_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1101e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.5334e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_2_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1102e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.532e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031
Line_3_3-2ph | 0.00047516 | 0.00047516 | 0.00047516 | 0 | 0 | 0 | 0.0054867 | 0.0054867 | 0.0054867 | 0 | 0 | 0 | -0.002466 | -0.0014167 | 0.0038843 | -1.1102e-11 | 1.8217e-09 | 1.8184e-09 | -0.0055159 | 0.0036705 | -0.00061798 | -2.532e-12 | -1.4775e-09 | -1.4933e-09 | 114.0792 | 114.0792 | 114.0792 | 0 | 0 | 0 |  | 1.1012 | 0.71709 | 0.71686 | 1.1014 | 0.71709 | 0.71668 | -0.0088754 | -134.8153 | 105.0394 | -0.016329 | -134.7988 | 105.031

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0048409 | 0.0048409 | 0.0048409 | 0.0031863 | 0.0031863 | 0.0031863 | 0.055898 | 0.055898 | 0.055898 | 0.036793 | 0.036793 | 0.036793 | 0.00038827 | -1.4551e-13 | 1.206e-13 | -0.00022678 | 9.0738e-05 | 9.0738e-05 | -0.056013 | 5.1717e-14 | 9.918e-14 | 0.036887 | 1.8825e-05 | 1.8825e-05 | 89.5901 | 89.5901 | 89.5901 | -90.5062 | -90.5062 | -90.5062 |  | 1.0021 | 0 | 0 | 1.0026 | 0.0025187 | 0.0025187 | -0.012779 | 0 | 0 | -0.15397 | -78.7854 | -78.7854
Line_1_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0224e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_2_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0223e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_3_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0223e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0048409 | 0.0048409 | 0.0048409 | 0.0031863 | 0.0031863 | 0.0031863 | 0.055898 | 0.055898 | 0.055898 | 0.036793 | 0.036793 | 0.036793 | 0.00038827 | -1.4551e-13 | 1.206e-13 | -0.00022678 | 9.0738e-05 | 9.0738e-05 | -0.056013 | 5.1717e-14 | 9.918e-14 | 0.036887 | 1.8825e-05 | 1.8825e-05 | 89.5901 | 89.5901 | 89.5901 | -90.5062 | -90.5062 | -90.5062 |  | 1.0021 | 0 | 0 | 1.0026 | 0.0025187 | 0.0025187 | -0.012779 | 0 | 0 | -0.15397 | -78.7854 | -78.7854
Line_1_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0224e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_2_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0223e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735
Line_3_3-2ph | 0.0010621 | 0.0010621 | 0.0010621 | 0 | 0 | 0 | 0.012264 | 0.012264 | 0.012264 | 0 | 0 | 0 | 7.5595e-05 | -3.0246e-05 | -3.0246e-05 | -2.0223e-11 | 1.8435e-11 | -2.3393e-11 | -0.012296 | -6.2751e-06 | -6.2751e-06 | -2.5788e-11 | 1.6226e-11 | 7.9235e-12 | 89.4938 | 89.4938 | 89.4938 | 0 | 0 | 0 |  | 1.0026 | 0.0025187 | 0.0025187 | 1.0027 | 0.0033573 | 0.0033573 | -0.15397 | -78.7854 | -78.7854 | -0.20093 | -78.7735 | -78.7735

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021303 | 0.0021303 | 0.0021303 | 0.0014021 | 0.0014021 | 0.0014021 | 0.024598 | 0.024598 | 0.024598 | 0.016191 | 0.016191 | 0.016191 | -0.009488 | -0.005522 | 0.015085 | 0.0062375 | 0.0036679 | -0.0099142 | -0.022718 | 0.014227 | -0.0023553 | 0.014967 | -0.0093544 | 0.0015373 | 112.6829 | 112.6828 | 112.6828 | -67.4134 | -67.4135 | -67.4135 |  | 1.0009 | 0.62041 | 0.6207 | 1.0015 | 0.62059 | 0.61966 | 0.015414 | -136.1039 | 103.8085 | -0.036973 | -136.003 | 103.7726
Line_1_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2607e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9727e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_2_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2606e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9734e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_3_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2606e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9734e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0_3ph | 0.0021303 | 0.0021303 | 0.0021303 | 0.0014021 | 0.0014021 | 0.0014021 | 0.024598 | 0.024598 | 0.024598 | 0.016191 | 0.016191 | 0.016191 | -0.009488 | -0.005522 | 0.015085 | 0.0062375 | 0.0036679 | -0.0099142 | -0.022718 | 0.014227 | -0.0023553 | 0.014967 | -0.0093544 | 0.0015373 | 112.6829 | 112.6828 | 112.6828 | -67.4134 | -67.4135 | -67.4135 |  | 1.0009 | 0.62041 | 0.6207 | 1.0015 | 0.62059 | 0.61966 | 0.015414 | -136.1039 | 103.8085 | -0.036973 | -136.003 | 103.7726
Line_1_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2607e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9727e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_2_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2606e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9734e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606
Line_3_3-2ph | 0.00046738 | 0.00046738 | 0.00046738 | 0 | 0 | 0 | 0.0053969 | 0.0053969 | 0.0053969 | 0 | 0 | 0 | -0.0020792 | -0.0012226 | 0.0033047 | -1.2606e-11 | 1.5509e-09 | 1.5477e-09 | -0.0049891 | 0.0031181 | -0.00051242 | -6.9734e-12 | -1.2522e-09 | -1.2701e-09 | 112.5866 | 112.5866 | 112.5866 | 0 | 0 | 0 |  | 1.0015 | 0.62059 | 0.61966 | 1.0017 | 0.62065 | 0.61931 | -0.036973 | -136.003 | 103.7726 | -0.054391 | -135.9694 | 103.7606