## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9773e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9747e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.5104 | 2.5104 | 0 | 5.5724 | 86.9625 | 86.9625 | 9.8312 | -1e-07 | 11.1547 | -1e-07 | -79.0878 | 100.9122 | 0.17098 | 0 | -30.4793 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9773e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -5.4635e-20 | 0 | -3.9747e-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0081 | 1.0081 | 0 | 2.2378 | 34.9233 | 34.9233 | 20.273 | -18.6875 | 18.4131 | -16.6141 | -55.7727 | 124.2273 | 0.7842 | 0.716 | -13.5251 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7622e-09 | 0 | 2.1155e-09 | 0 | 0 | 0 | 0.716 | 0.716 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7621e-09 | 0 | 2.1155e-09 | 0 | 0 | 0 | 0.716 | 0.716 | -14.1339 | -14.1339

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.0081 | 1.0081 | 0 | 2.2378 | 34.9233 | 34.9233 | 20.273 | -18.6875 | 18.4131 | -16.6141 | -55.7727 | 124.2273 | 0.7842 | 0.716 | -13.5251 | -14.1339
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7622e-09 | 0 | 2.1155e-09 | 0 | 0 | 0 | 0.716 | 0.716 | -14.1339 | -14.1339
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7621e-09 | 0 | 2.1155e-09 | 0 | 0 | 0 | 0.716 | 0.716 | -14.1339 | -14.1339

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.0037 | 2.0037 | 0 | 4.1302 | 69.4115 | 69.4115 | 12.0256 | -1e-07 | 7.1065 | -1e-07 | -74.9546 | 105.0454 | 0.20124 | 0 | -44.3738 | 0
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4613e-20 | 0 | -3.7585e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.93103 | 0.93103 | 0 | 1.9191 | 32.2518 | 32.2518 | 15.5985 | -13.0022 | 14.5365 | -13.0022 | -58.4151 | 121.5849 | 0.66111 | 0.57014 | -15.4334 | -13.4151
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5248e-09 | 0 | 1.455e-09 | 0 | 0 | 0 | 0.57014 | 0.57014 | -13.4151 | -13.4151

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 2.1758 | 2.1758 | 0.1732 | 2.1758 | 2.1758 | 2 | 25.1238 | 25.1238 | 2 | 25.1238 | 25.1238 | -0.4296 | 16.8433 | -12.1425 | 0.4452 | -14.3816 | 14.6042 | -2.2916 | -0.57832 | 5.0099 | 2.3093 | 3.3714 | -2.2168 | 100.9121 | -166.8067 | 8.6311 | -79.0879 | 13.1933 | -171.3689 | 1.1657 | 0.67081 | 0.52283 | 1.1759 | 0.58795 | 0.58795 | 0.29409 | -168.7732 | 166.2105 | -7.1806e-06 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.272e-10 | 8.1829e-11 | 8.1781e-11 | -3.2721e-10 | -8.1812e-11 | -8.1803e-11 | 2.224e-14 | 2.0537e-09 | -2.0537e-09 | 4.1008e-17 | -2.0537e-09 | 2.0537e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.58795 | 0.58795 | 1.1759 | 0.58795 | 0.58795 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2723e-10 | 8.1823e-11 | 8.1814e-11 | -3.2724e-10 | -8.1806e-11 | -8.1825e-11 | -4.101e-17 | 2.0537e-09 | -2.0537e-09 | 5.6112e-15 | -2.0537e-09 | 2.0537e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.58795 | 0.58795 | 1.1759 | 0.58795 | 0.58795 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 2.1758 | 2.1758 | 0.1732 | 2.1758 | 2.1758 | 2 | 25.1238 | 25.1238 | 2 | 25.1238 | 25.1238 | -0.4296 | 16.8433 | -12.1425 | 0.4452 | -14.3816 | 14.6042 | -2.2916 | -0.57832 | 5.0099 | 2.3093 | 3.3714 | -2.2168 | 100.9121 | -166.8067 | 8.6311 | -79.0879 | 13.1933 | -171.3689 | 1.1657 | 0.67081 | 0.52283 | 1.1759 | 0.58795 | 0.58795 | 0.29409 | -168.7732 | 166.2105 | -7.1806e-06 | 180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.272e-10 | 8.1829e-11 | 8.1781e-11 | -3.2721e-10 | -8.1812e-11 | -8.1803e-11 | 2.224e-14 | 2.0537e-09 | -2.0537e-09 | 4.1008e-17 | -2.0537e-09 | 2.0537e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.58795 | 0.58795 | 1.1759 | 0.58795 | 0.58795 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2723e-10 | 8.1823e-11 | 8.1814e-11 | -3.2724e-10 | -8.1806e-11 | -8.1825e-11 | -4.101e-17 | 2.0537e-09 | -2.0537e-09 | 5.6112e-15 | -2.0537e-09 | 2.0537e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.58795 | 0.58795 | 1.1759 | 0.58795 | 0.58795 | -7.1806e-06 | 180 | 180 | -7.1806e-06 | 180 | 180

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.3096 | 1.2633 | 0.1732 | 1.3096 | 1.2633 | 2 | 15.1221 | 14.5872 | 2 | 15.1221 | 14.5872 | -0.4296 | 13.6707 | -2.746 | 0.4452 | -12.7788 | 3.5759 | -2.2916 | 0.78072 | 8.9277 | 2.3093 | 0.23118 | -7.9861 | 100.9121 | -149.8906 | 22.6698 | -79.0879 | 30.1094 | -157.3302 | 1.1657 | 0.90549 | 0.64032 | 1.1759 | 0.84518 | 0.59985 | 0.29409 | -146.622 | 129.7667 | -5.8553e-06 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -3.05e-10 | -9.9691e-10 | -3.2722e-10 | 3.05e-10 | 9.9692e-10 | -2.8185e-15 | 1.752e-09 | -6.9891e-10 | -2.7516e-15 | -1.752e-09 | 6.9891e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.84518 | 0.59985 | 1.1759 | 0.84518 | 0.59985 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2723e-10 | -3.0501e-10 | -9.969e-10 | -3.2723e-10 | 3.05e-10 | 9.9691e-10 | -8.3887e-15 | 1.752e-09 | -6.9891e-10 | 2.8185e-15 | -1.752e-09 | 6.9891e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.84518 | 0.59985 | 1.1759 | 0.84518 | 0.59985 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1732 | 1.3096 | 1.2633 | 0.1732 | 1.3096 | 1.2633 | 2 | 15.1221 | 14.5872 | 2 | 15.1221 | 14.5872 | -0.4296 | 13.6707 | -2.746 | 0.4452 | -12.7788 | 3.5759 | -2.2916 | 0.78072 | 8.9277 | 2.3093 | 0.23118 | -7.9861 | 100.9121 | -149.8906 | 22.6698 | -79.0879 | 30.1094 | -157.3302 | 1.1657 | 0.90549 | 0.64032 | 1.1759 | 0.84518 | 0.59985 | 0.29409 | -146.622 | 129.7667 | -5.8553e-06 | -150.927 | 136.7907
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2722e-10 | -3.05e-10 | -9.9691e-10 | -3.2722e-10 | 3.05e-10 | 9.9692e-10 | -2.8185e-15 | 1.752e-09 | -6.9891e-10 | -2.7516e-15 | -1.752e-09 | 6.9891e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.84518 | 0.59985 | 1.1759 | 0.84518 | 0.59985 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2723e-10 | -3.0501e-10 | -9.969e-10 | -3.2723e-10 | 3.05e-10 | 9.9691e-10 | -8.3887e-15 | 1.752e-09 | -6.9891e-10 | 2.8185e-15 | -1.752e-09 | 6.9891e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1759 | 0.84518 | 0.59985 | 1.1759 | 0.84518 | 0.59985 | -5.8553e-06 | -150.927 | 136.7907 | -5.8554e-06 | -150.927 | 136.7907

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.7353 | 1.7353 | 0 | 1.7353 | 1.7353 | 0 | 20.0374 | 20.0374 | 0 | 20.0374 | 20.0374 | -1.8948e-14 | 12.6817 | -6.6688 | 1.8948e-14 | -9.6753 | 9.6753 | -9.4739e-15 | -0.82408 | 4.3773 | 1.4211e-14 | 2.6007 | -2.6007 | 0 | -164.9546 | 15.0454 | 0 | 15.0454 | -164.9546 | 1 | 0.63423 | 0.39811 | 1 | 0.5 | 0.5 | 6.3194e-13 | -168.6725 | 161.7652 | 6.0599e-13 | -180 | 180
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 2.3685e-15 | 7.1054e-15 | 2.3685e-15 | 9.474e-15 | -2.3684e-15 | -1.4211e-14 | 1.5877e-09 | -1.5877e-09 | 1.4211e-14 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.07e-13 | -180 | 180
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | 5.9212e-15 | -7.1054e-15 | 0 | 5.9213e-15 | 7.1055e-15 | -4.737e-15 | 1.5877e-09 | -1.5877e-09 | 0 | -1.5877e-09 | 1.5877e-09 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.5 | 0.5 | 1 | 0.5 | 0.5 | 6.0599e-13 | -180 | 180 | 6.0005e-13 | -180 | 180

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0 | 1.111 | 1.111 | 0 | 1.111 | 1.111 | 0 | 12.8289 | 12.8289 | 0 | 12.8289 | 12.8289 | -1.4211e-14 | 10.0659 | -1.4294 | 1.0658e-14 | -8.8335 | 2.6618 | -7.1054e-15 | 0.96644 | 6.6618 | 9.4739e-15 | -0.23817 | -5.9336 | 0 | -153.6438 | 26.3562 | 0 | 26.3562 | -153.6438 | 1 | 0.78824 | 0.5311 | 1 | 0.68882 | 0.50692 | 3.8609e-13 | -148.1595 | 128.4665 | 3.6077e-13 | -152.0993 | 140.5172
Line_1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.737e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | -2.3685e-15 | 1.3421e-09 | -6.5146e-10 | 2.3685e-15 | -1.3421e-09 | 6.5146e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5999e-13 | -152.0993 | 140.5172
Line_2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3685e-15 | -3.9984e-10 | -7.9859e-10 | 1.1842e-15 | 3.9984e-10 | 7.9859e-10 | 2.3685e-15 | 1.3421e-09 | -6.5145e-10 | -2.3685e-15 | -1.3421e-09 | 6.5145e-10 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0.68882 | 0.50692 | 1 | 0.68882 | 0.50692 | 3.6077e-13 | -152.0993 | 140.5172 | 3.5531e-13 | -152.0993 | 140.5172

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2396 | 0.17427 | 0.17868 | 2.2378 | 0.17368 | 0.1773 | 25.8607 | 2.0123 | 2.0632 | 25.8404 | 2.0055 | 2.0473 | 8.3669 | -0.34718 | -0.49599 | -1.3586e-12 | 0.7736 | 0.53559 | 4.4529 | -2.3212 | -2.3575 | 7.5136e-11 | 2.0763 | 2.8307 | -68.2028 | -21.3246 | -137.7377 | 111.8182 | 159.2829 | 41.8233 | 0.3665 | 1.1663 | 1.1677 | 0 | 1.1048 | 1.4072 | -40.1808 | -119.8313 | 120.3812 | 0 | -131.1519 | 121.109
Line_1 | 0.0024772 | 0.0024772 | 0.0024772 | 0 | 0 | 0 | 0.028604 | 0.028604 | 0.028604 | 0 | 0 | 0 | 5.0364e-14 | 0.028222 | -0.028205 | -2.1829e-13 | -1.028e-10 | -1.5884e-09 | -6.6207e-14 | -0.014222 | -0.028717 | 1.7069e-12 | -8.6293e-10 | 1.0918e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1048 | 1.4072 | 0.00042663 | 1.1046 | 1.4076 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0024772 | 0.0024772 | 0.0024772 | 0 | 0 | 0 | 0.028604 | 0.028604 | 0.028604 | 0 | 0 | 0 | 5.0364e-14 | 0.028222 | -0.028205 | -2.1829e-13 | -1.0281e-10 | -1.5884e-09 | -6.6207e-14 | -0.014222 | -0.028717 | 1.7069e-12 | -8.629e-10 | 1.0918e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1048 | 1.4072 | 0.00042663 | 1.1046 | 1.4076 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2396 | 0.17427 | 0.17868 | 2.2378 | 0.17368 | 0.1773 | 25.8607 | 2.0123 | 2.0632 | 25.8404 | 2.0055 | 2.0473 | 8.3669 | -0.34718 | -0.49599 | -1.3586e-12 | 0.7736 | 0.53559 | 4.4529 | -2.3212 | -2.3575 | 7.5136e-11 | 2.0763 | 2.8307 | -68.2028 | -21.3246 | -137.7377 | 111.8182 | 159.2829 | 41.8233 | 0.3665 | 1.1663 | 1.1677 | 0 | 1.1048 | 1.4072 | -40.1808 | -119.8313 | 120.3812 | 0 | -131.1519 | 121.109
Line_1 | 0.0024772 | 0.0024772 | 0.0024772 | 0 | 0 | 0 | 0.028604 | 0.028604 | 0.028604 | 0 | 0 | 0 | 5.0364e-14 | 0.028222 | -0.028205 | -2.1829e-13 | -1.028e-10 | -1.5884e-09 | -6.6207e-14 | -0.014222 | -0.028717 | 1.7069e-12 | -8.6293e-10 | 1.0918e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1048 | 1.4072 | 0.00042663 | 1.1046 | 1.4076 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102
Line_2 | 0.0024772 | 0.0024772 | 0.0024772 | 0 | 0 | 0 | 0.028604 | 0.028604 | 0.028604 | 0 | 0 | 0 | 5.0364e-14 | 0.028222 | -0.028205 | -2.1829e-13 | -1.0281e-10 | -1.5884e-09 | -6.6207e-14 | -0.014222 | -0.028717 | 1.7069e-12 | -8.629e-10 | 1.0918e-10 | -104.4062 | -104.4062 | -104.4062 | 0 | 0 | 0 | 0 | 1.1048 | 1.4072 | 0.00042663 | 1.1046 | 1.4076 | 0 | -131.1519 | 121.109 | 97.2655 | -131.1685 | 121.102

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.93709 | 0.17435 | 0.17518 | 0.93632 | 0.17391 | 0.17472 | 10.8206 | 2.0132 | 2.0228 | 10.8117 | 2.0082 | 2.0175 | 7.0306 | -0.39623 | -0.46485 | -5.4632 | 0.61743 | 0.43962 | 5.4661 | -2.3143 | -2.3131 | -4.7241 | 2.2509 | 2.5356 | -51.4663 | -20.0428 | -138.2946 | 128.5593 | 160.2077 | 41.46 | 0.82301 | 1.1663 | 1.1664 | 0.66802 | 1.1623 | 1.2756 | -13.6021 | -119.7583 | 120.3425 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.001124 | 0.001124 | 0.001124 | 0 | 0 | 0 | 0.012979 | 0.012979 | 0.012979 | 0 | 0 | 0 | 0.0014291 | 0.012502 | -0.013928 | 1.0124e-09 | -2.8375e-10 | -8.2426e-10 | 0.0085519 | -0.0084419 | -0.0089509 | -4.9445e-10 | -4.199e-10 | 1.4567e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66802 | 1.1623 | 1.2756 | 0.66792 | 1.1622 | 1.2758 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.001124 | 0.001124 | 0.001124 | 0 | 0 | 0 | 0.012979 | 0.012979 | 0.012979 | 0 | 0 | 0 | 0.0014291 | 0.012502 | -0.013928 | 1.0124e-09 | -2.8375e-10 | -8.2427e-10 | 0.0085519 | -0.0084419 | -0.0089509 | -4.9445e-10 | -4.1989e-10 | 1.4567e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66802 | 1.1623 | 1.2756 | 0.66792 | 1.1622 | 1.2758 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.93709 | 0.17435 | 0.17518 | 0.93632 | 0.17391 | 0.17472 | 10.8206 | 2.0132 | 2.0228 | 10.8117 | 2.0082 | 2.0175 | 7.0306 | -0.39623 | -0.46485 | -5.4632 | 0.61743 | 0.43962 | 5.4661 | -2.3143 | -2.3131 | -4.7241 | 2.2509 | 2.5356 | -51.4663 | -20.0428 | -138.2946 | 128.5593 | 160.2077 | 41.46 | 0.82301 | 1.1663 | 1.1664 | 0.66802 | 1.1623 | 1.2756 | -13.6021 | -119.7583 | 120.3425 | -10.5903 | -125.1316 | 121.6239
Line_1 | 0.001124 | 0.001124 | 0.001124 | 0 | 0 | 0 | 0.012979 | 0.012979 | 0.012979 | 0 | 0 | 0 | 0.0014291 | 0.012502 | -0.013928 | 1.0124e-09 | -2.8375e-10 | -8.2426e-10 | 0.0085519 | -0.0084419 | -0.0089509 | -4.9445e-10 | -4.199e-10 | 1.4567e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66802 | 1.1623 | 1.2756 | 0.66792 | 1.1622 | 1.2758 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222
Line_2 | 0.001124 | 0.001124 | 0.001124 | 0 | 0 | 0 | 0.012979 | 0.012979 | 0.012979 | 0 | 0 | 0 | 0.0014291 | 0.012502 | -0.013928 | 1.0124e-09 | -2.8375e-10 | -8.2427e-10 | 0.0085519 | -0.0084419 | -0.0089509 | -4.9445e-10 | -4.1989e-10 | 1.4567e-10 | -91.1035 | -91.1035 | -91.1035 | 0 | 0 | 0 | 0.66802 | 1.1623 | 1.2756 | 0.66792 | 1.1622 | 1.2758 | -10.5903 | -125.1316 | 121.6239 | -10.5761 | -125.1395 | 121.6222

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6893 | 0.006489 | 0.006489 | 1.6879 | 0.0048311 | 0.0048311 | 19.5066 | 0.074929 | 0.074929 | 19.4907 | 0.055785 | 0.055785 | 8.6763 | 0.07239 | -0.052906 | 3.8218e-11 | -0.045755 | 0.045693 | 2.4924 | -0.01947 | -0.053289 | 3.2969e-11 | 0.025231 | 0.056426 | -58.8305 | -105.1052 | -105.1052 | 121.2031 | 71.1644 | 71.1644 | 0.46277 | 1.0005 | 1.0022 | 0 | 0.93665 | 1.3015 | -42.803 | -120.1589 | 120.1015 | 0 | -137.7096 | 122.1644
Line_1 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6218e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432
Line_2 | 0.0024156 | 0.0024156 | 0.0024156 | 0 | 0 | 0 | 0.027892 | 0.027892 | 0.027892 | 0 | 0 | 0 | 1.0356e-15 | 0.022878 | -0.022846 | 3.4489e-13 | 5.6223e-11 | -1.4459e-09 | -7.2224e-14 | -0.012616 | -0.028213 | 2.7573e-12 | -1.0458e-09 | 1.7856e-10 | -108.8356 | -108.8356 | -108.8356 | 0 | 0 | 0 | 0 | 0.93665 | 1.3015 | 0.00075793 | 0.93607 | 1.3021 | 0 | -137.7096 | 122.1644 | 82.8272 | -137.7398 | 122.1432

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83741 | 0.0032167 | 0.0032167 | 0.83673 | 0.0023948 | 0.0023948 | 9.6696 | 0.037143 | 0.037143 | 9.6617 | 0.027653 | 0.027653 | 5.6192 | 0.034472 | -0.029209 | -3.4865 | -0.024078 | 0.02279 | 4.1192 | -0.013868 | -0.023002 | -3.5018 | 0.01214 | 0.022011 | -51.8876 | -98.1623 | -98.1623 | 128.1459 | 78.1073 | 78.1073 | 0.72054 | 1.0004 | 1.001 | 0.51145 | 0.97515 | 1.1458 | -15.6445 | -120.0766 | 120.0575 | -6.7282 | -128.6499 | 122.1108
Line_1 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3843e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008
Line_2 | 0.0011974 | 0.0011974 | 0.0011974 | 0 | 0 | 0 | 0.013827 | 0.013827 | 0.013827 | 0 | 0 | 0 | -0.00063656 | 0.012039 | -0.011395 | 9.0343e-10 | 4.9103e-11 | -6.1667e-10 | 0.0070428 | -0.0060701 | -0.011005 | -2.1833e-10 | -5.3842e-10 | 1.5404e-10 | -101.8927 | -101.8927 | -101.8927 | 0 | 0 | 0 | 0.51145 | 0.97515 | 1.1458 | 0.51141 | 0.97485 | 1.1461 | -6.7282 | -128.6499 | 122.1108 | -6.6863 | -128.6636 | 122.1008

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17911 | 2.6731 | 2.0634 | 0.1774 | 2.6727 | 2.0625 | 2.0681 | 30.8663 | 23.8264 | 2.0484 | 30.8614 | 23.8157 | -0.4262 | 8.7922 | 1.6472 | 0.78713 | -4.073e-11 | -3.963e-11 | -2.3777 | 0.5075 | 7.3317 | 2.6062 | 4.5106e-11 | 2.6353e-11 | 100.4381 | 170.5542 | 37.6992 | -79.5079 | -9.4102 | -142.3409 | 1.168 | 0.28532 | 0.31539 | 1.3291 | 0 | 0 | 0.27592 | 173.8577 | 115.0372 | -6.3135 | 0 | 0
Line_1 | 0.0021932 | 0.0021932 | 0.0021932 | 0 | 0 | 0 | 0.025325 | 0.025325 | 0.025325 | 0 | 0 | 0 | 1.3336e-05 | 3.8754e-14 | 9.1121e-15 | -1.1497e-09 | 1.0704e-12 | -1.4744e-12 | -0.033659 | 3.139e-14 | -4.9782e-14 | -5.9096e-10 | 1.0836e-12 | 3.8569e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3291 | 0 | 0 | 1.3292 | 0.00037772 | 0.00037772 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0021932 | 0.0021932 | 0.0021932 | 0 | 0 | 0 | 0.025325 | 0.025325 | 0.025325 | 0 | 0 | 0 | 1.3336e-05 | 3.8754e-14 | 9.1121e-15 | -1.1498e-09 | 1.0704e-12 | -1.4744e-12 | -0.033659 | 3.139e-14 | -4.9782e-14 | -5.9092e-10 | 1.0836e-12 | 3.8567e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3291 | 0 | 0 | 1.3292 | 0.00037772 | 0.00037772 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17911 | 2.6731 | 2.0634 | 0.1774 | 2.6727 | 2.0625 | 2.0681 | 30.8663 | 23.8264 | 2.0484 | 30.8614 | 23.8157 | -0.4262 | 8.7922 | 1.6472 | 0.78713 | -4.073e-11 | -3.963e-11 | -2.3777 | 0.5075 | 7.3317 | 2.6062 | 4.5106e-11 | 2.6353e-11 | 100.4381 | 170.5542 | 37.6992 | -79.5079 | -9.4102 | -142.3409 | 1.168 | 0.28532 | 0.31539 | 1.3291 | 0 | 0 | 0.27592 | 173.8577 | 115.0372 | -6.3135 | 0 | 0
Line_1 | 0.0021932 | 0.0021932 | 0.0021932 | 0 | 0 | 0 | 0.025325 | 0.025325 | 0.025325 | 0 | 0 | 0 | 1.3336e-05 | 3.8754e-14 | 9.1121e-15 | -1.1497e-09 | 1.0704e-12 | -1.4744e-12 | -0.033659 | 3.139e-14 | -4.9782e-14 | -5.9096e-10 | 1.0836e-12 | 3.8569e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3291 | 0 | 0 | 1.3292 | 0.00037772 | 0.00037772 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645
Line_2 | 0.0021932 | 0.0021932 | 0.0021932 | 0 | 0 | 0 | 0.025325 | 0.025325 | 0.025325 | 0 | 0 | 0 | 1.3336e-05 | 3.8754e-14 | 9.1121e-15 | -1.1498e-09 | 1.0704e-12 | -1.4744e-12 | -0.033659 | 3.139e-14 | -4.9782e-14 | -5.9092e-10 | 1.0836e-12 | 3.8567e-13 | 83.6638 | 83.6638 | 83.6638 | 0 | 0 | 0 | 1.3291 | 0 | 0 | 1.3292 | 0.00037772 | 0.00037772 | -6.3135 | 0 | 0 | -6.3286 | -74.6645 | -74.6645

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1761 | 1.0299 | 0.91891 | 0.17528 | 1.0298 | 0.91828 | 2.0334 | 11.8922 | 10.6106 | 2.024 | 11.8916 | 10.6034 | -0.43335 | 7.846 | 5.8591 | 0.59379 | -6.5034 | -5.2425 | -2.3328 | 5.4587 | 6.1738 | 2.4721 | -5.6717 | -4.655 | 100.8167 | -170.5593 | 62.2537 | -79.1944 | 9.4863 | -117.7798 | 1.1669 | 0.80373 | 0.80217 | 1.2562 | 0.72565 | 0.66119 | 0.29325 | -135.7317 | 108.7517 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010502 | 0.0010502 | 0.0010502 | 0 | 0 | 0 | 0.012126 | 0.012126 | 0.012126 | 0 | 0 | 0 | -0.0012444 | -0.0065999 | 0.0078473 | -7.2536e-10 | 9.5655e-10 | 9.5839e-10 | -0.015182 | 0.0058199 | 0.0016448 | -2.394e-10 | -4.7852e-10 | -7.4291e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2562 | 0.72565 | 0.66119 | 1.2562 | 0.72573 | 0.66101 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.0010502 | 0.0010502 | 0.0010502 | 0 | 0 | 0 | 0.012126 | 0.012126 | 0.012126 | 0 | 0 | 0 | -0.0012444 | -0.0065999 | 0.0078473 | -7.2537e-10 | 9.5656e-10 | 9.5838e-10 | -0.015182 | 0.0058199 | 0.0016448 | -2.394e-10 | -4.7852e-10 | -7.4291e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2562 | 0.72565 | 0.66119 | 1.2562 | 0.72573 | 0.66101 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1761 | 1.0299 | 0.91891 | 0.17528 | 1.0298 | 0.91828 | 2.0334 | 11.8922 | 10.6106 | 2.024 | 11.8916 | 10.6034 | -0.43335 | 7.846 | 5.8591 | 0.59379 | -6.5034 | -5.2425 | -2.3328 | 5.4587 | 6.1738 | 2.4721 | -5.6717 | -4.655 | 100.8167 | -170.5593 | 62.2537 | -79.1944 | 9.4863 | -117.7798 | 1.1669 | 0.80373 | 0.80217 | 1.2562 | 0.72565 | 0.66119 | 0.29325 | -135.7317 | 108.7517 | -2.7007 | -129.4216 | 103.8229
Line_1 | 0.0010502 | 0.0010502 | 0.0010502 | 0 | 0 | 0 | 0.012126 | 0.012126 | 0.012126 | 0 | 0 | 0 | -0.0012444 | -0.0065999 | 0.0078473 | -7.2536e-10 | 9.5655e-10 | 9.5839e-10 | -0.015182 | 0.0058199 | 0.0016448 | -2.394e-10 | -4.7852e-10 | -7.4291e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2562 | 0.72565 | 0.66119 | 1.2562 | 0.72573 | 0.66101 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203
Line_2 | 0.0010502 | 0.0010502 | 0.0010502 | 0 | 0 | 0 | 0.012126 | 0.012126 | 0.012126 | 0 | 0 | 0 | -0.0012444 | -0.0065999 | 0.0078473 | -7.2537e-10 | 9.5656e-10 | 9.5838e-10 | -0.015182 | 0.0058199 | 0.0016448 | -2.394e-10 | -4.7852e-10 | -7.4291e-10 | 91.9849 | 91.9849 | 91.9849 | 0 | 0 | 0 | 1.2562 | 0.72565 | 0.66119 | 1.2562 | 0.72573 | 0.66101 | -2.7007 | -129.4216 | 103.8229 | -2.7081 | -129.4089 | 103.8203

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0053366 | 2.1446 | 1.5471 | 0.0039731 | 2.1444 | 1.5463 | 0.061621 | 24.7634 | 17.8641 | 0.045877 | 24.7611 | 17.8556 | 0.0042038 | 9.4319 | 1.4996 | -4.2012e-05 | -2.5475e-11 | -1.0126e-11 | -0.061618 | -1.0675 | 5.7525 | 0.055228 | -3.29e-11 | -2.8746e-11 | 86.075 | 178.2475 | 38.6618 | -97.6554 | -1.7156 | -141.3821 | 1.0023 | 0.38331 | 0.33278 | 1.2038 | 0 | 0 | -0.022111 | 171.7901 | 114.0509 | -7.6118 | 0 | 0
Line_1 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3946e-10 | 1.8932e-12 | -2.0558e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8696e-10 | 1.2783e-12 | 1.0016e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926
Line_2 | 0.0019866 | 0.0019866 | 0.0019866 | 0 | 0 | 0 | 0.022939 | 0.022939 | 0.022939 | 0 | 0 | 0 | 2.1005e-05 | -3.2757e-14 | 3.4927e-14 | -9.3948e-10 | 1.8932e-12 | -2.0557e-12 | -0.027614 | 2.0319e-14 | 1.7696e-14 | -5.8695e-10 | 1.2783e-12 | 1.0017e-12 | 82.3446 | 82.3446 | 82.3446 | 0 | 0 | 0 | 1.2038 | 0 | 0 | 1.2039 | 0.00062332 | 0.00062332 | -7.6118 | 0 | 0 | -7.6409 | -85.9926 | -85.9926

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0028876 | 0.95703 | 0.81755 | 0.0021499 | 0.95704 | 0.81697 | 0.033343 | 11.0508 | 9.4403 | 0.024824 | 11.051 | 9.4335 | 0.001614 | 6.4849 | 4.1594 | -0.0010383 | -4.5725 | -3.333 | -0.033346 | 4.0426 | 4.9777 | 0.027522 | -4.5923 | -3.3255 | 87.2184 | -171.0928 | 58.4135 | -96.5121 | 8.9524 | -121.6201 | 1.0012 | 0.69151 | 0.68714 | 1.1094 | 0.58642 | 0.4991 | -0.010567 | -139.1542 | 108.5308 | -4.3516 | -125.9236 | 103.3157
Line_1 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3971e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212
Line_2 | 0.0010749 | 0.0010749 | 0.0010749 | 0 | 0 | 0 | 0.012412 | 0.012412 | 0.012412 | 0 | 0 | 0 | 0.00051914 | -0.0063406 | 0.0058276 | -4.5728e-10 | 8.7772e-10 | 8.3972e-10 | -0.013761 | 0.0035744 | 0.0021013 | -3.099e-10 | -2.2119e-10 | -5.2488e-10 | 83.4879 | 83.4879 | 83.4879 | 0 | 0 | 0 | 1.1094 | 0.58642 | 0.4991 | 1.1095 | 0.58667 | 0.49876 | -4.3516 | -125.9236 | 103.3157 | -4.3687 | -125.9019 | 103.3212