## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7335 | 0.52986 | 0.69112 | 1.7361 | 0.53256 | 0.69264 | 20.0169 | 6.1183 | 7.9804 | 20.0464 | 6.1494 | 7.9979 | 9.2387e-11 | -2.812 | 12.1466 | 6.6553 | 4.4587 | -9.788 | -9.3021e-11 | 7.745 | -3.1267 | 3.7723 | -6.8085 | 2.9925 | 115.8945 | 108.7124 | 147.5315 | -64.1472 | -71.3881 | -32.6684 |  | 0 | 1.3467 | 1.5717 | 0.38162 | 1.3235 | 1.2797 | 0 | -141.3331 | 133.0964 | -34.6021 | -128.1685 | 130.3312
Line_1 | 0.87003 | 0.26828 | 0.34793 | 0.86804 | 0.26628 | 0.34632 | 10.0462 | 3.0978 | 4.0175 | 10.0232 | 3.0747 | 3.999 | 5.0081 | 2.6546 | -4.3178 | -3.3277 | -2.2293 | 4.894 | 2.8376 | -3.1855 | 1.4628 | -1.8862 | 3.4042 | -1.4963 | -64.1589 | -71.3722 | -32.8647 | 115.8528 | 108.6119 | 147.3316 |  | 0.57297 | 1.3386 | 1.1347 | 0.38162 | 1.3235 | 1.2797 | -34.6236 | -121.5662 | 128.4201 | -34.6021 | -128.1685 | 130.3312
Line_2 | 0.87003 | 0.26828 | 0.34793 | 0.86804 | 0.26628 | 0.34632 | 10.0462 | 3.0978 | 4.0175 | 10.0232 | 3.0747 | 3.999 | 5.0081 | 2.6546 | -4.3178 | -3.3277 | -2.2293 | 4.894 | 2.8376 | -3.1855 | 1.4628 | -1.8862 | 3.4042 | -1.4963 | -64.1589 | -71.3722 | -32.8647 | 115.8528 | 108.6119 | 147.3316 |  | 0.57297 | 1.3386 | 1.1347 | 0.38162 | 1.3235 | 1.2797 | -34.6236 | -121.5662 | 128.4201 | -34.6021 | -128.1685 | 130.3312

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7335 | 0.52986 | 0.69112 | 1.7361 | 0.53256 | 0.69264 | 20.0169 | 6.1183 | 7.9804 | 20.0464 | 6.1494 | 7.9979 | 9.2387e-11 | -2.812 | 12.1466 | 6.6553 | 4.4587 | -9.788 | -9.3021e-11 | 7.745 | -3.1267 | 3.7723 | -6.8085 | 2.9925 | 115.8945 | 108.7124 | 147.5315 | -64.1472 | -71.3881 | -32.6684 |  | 0 | 1.3467 | 1.5717 | 0.38162 | 1.3235 | 1.2797 | 0 | -141.3331 | 133.0964 | -34.6021 | -128.1685 | 130.3312
Line_1 | 0.87003 | 0.26828 | 0.34793 | 0.86804 | 0.26628 | 0.34632 | 10.0462 | 3.0978 | 4.0175 | 10.0232 | 3.0747 | 3.999 | 5.0081 | 2.6546 | -4.3178 | -3.3277 | -2.2293 | 4.894 | 2.8376 | -3.1855 | 1.4628 | -1.8862 | 3.4042 | -1.4963 | -64.1589 | -71.3722 | -32.8647 | 115.8528 | 108.6119 | 147.3316 |  | 0.57297 | 1.3386 | 1.1347 | 0.38162 | 1.3235 | 1.2797 | -34.6236 | -121.5662 | 128.4201 | -34.6021 | -128.1685 | 130.3312
Line_2 | 0.87003 | 0.26828 | 0.34793 | 0.86804 | 0.26628 | 0.34632 | 10.0462 | 3.0978 | 4.0175 | 10.0232 | 3.0747 | 3.999 | 5.0081 | 2.6546 | -4.3178 | -3.3277 | -2.2293 | 4.894 | 2.8376 | -3.1855 | 1.4628 | -1.8862 | 3.4042 | -1.4963 | -64.1589 | -71.3722 | -32.8647 | 115.8528 | 108.6119 | 147.3316 |  | 0.57297 | 1.3386 | 1.1347 | 0.38162 | 1.3235 | 1.2797 | -34.6236 | -121.5662 | 128.4201 | -34.6021 | -128.1685 | 130.3312

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66921 | 0.049297 | 0.36909 | 0.67008 | 0.04964 | 0.36933 | 7.7274 | 0.56924 | 4.2619 | 7.7374 | 0.57319 | 4.2647 | -4.1933 | -0.68591 | 2.9151 | 4.9896 | 0.67394 | -2.5289 | -4.6948 | -0.16118 | -4.3801 | 5.3277 | 0.19686 | 4.2917 | 123.4507 | 40.5049 | -176.8797 | -56.569 | -138.5319 | 2.9858 |  | 0.81461 | 1.2378 | 1.2345 | 0.94339 | 1.2249 | 1.168 | -8.3201 | -126.2714 | 126.7651 | -9.6923 | -122.2487 | 123.4951
Line_1 | 0.33567 | 0.024847 | 0.18504 | 0.33504 | 0.02482 | 0.18467 | 3.8759 | 0.28691 | 2.1367 | 3.8687 | 0.2866 | 2.1323 | 2.6992 | 0.33516 | -1.1728 | -2.4948 | -0.33697 | 1.2645 | 2.8252 | 0.10168 | 2.1256 | -2.6639 | -0.098429 | -2.1458 | -56.5572 | -137.0785 | 2.8294 | 123.431 | 41.4681 | -177.0142 |  | 1.0081 | 1.2208 | 1.1362 | 0.94339 | 1.2249 | 1.168 | -10.2514 | -120.2019 | 121.7162 | -9.6923 | -122.2487 | 123.4951
Line_2 | 0.33567 | 0.024847 | 0.18504 | 0.33504 | 0.02482 | 0.18467 | 3.8759 | 0.28691 | 2.1367 | 3.8687 | 0.2866 | 2.1323 | 2.6992 | 0.33516 | -1.1728 | -2.4948 | -0.33697 | 1.2645 | 2.8252 | 0.10168 | 2.1256 | -2.6639 | -0.098429 | -2.1458 | -56.5572 | -137.0785 | 2.8294 | 123.431 | 41.4681 | -177.0142 |  | 1.0081 | 1.2208 | 1.1362 | 0.94339 | 1.2249 | 1.168 | -10.2514 | -120.2019 | 121.7162 | -9.6923 | -122.2487 | 123.4951

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66921 | 0.049297 | 0.36909 | 0.67008 | 0.04964 | 0.36933 | 7.7274 | 0.56924 | 4.2619 | 7.7374 | 0.57319 | 4.2647 | -4.1933 | -0.68591 | 2.9151 | 4.9896 | 0.67394 | -2.5289 | -4.6948 | -0.16118 | -4.3801 | 5.3277 | 0.19686 | 4.2917 | 123.4507 | 40.5049 | -176.8797 | -56.569 | -138.5319 | 2.9858 |  | 0.81461 | 1.2378 | 1.2345 | 0.94339 | 1.2249 | 1.168 | -8.3201 | -126.2714 | 126.7651 | -9.6923 | -122.2487 | 123.4951
Line_1 | 0.33567 | 0.024847 | 0.18504 | 0.33504 | 0.02482 | 0.18467 | 3.8759 | 0.28691 | 2.1367 | 3.8687 | 0.2866 | 2.1323 | 2.6992 | 0.33516 | -1.1728 | -2.4948 | -0.33697 | 1.2645 | 2.8252 | 0.10168 | 2.1256 | -2.6639 | -0.098429 | -2.1458 | -56.5572 | -137.0785 | 2.8294 | 123.431 | 41.4681 | -177.0142 |  | 1.0081 | 1.2208 | 1.1362 | 0.94339 | 1.2249 | 1.168 | -10.2514 | -120.2019 | 121.7162 | -9.6923 | -122.2487 | 123.4951
Line_2 | 0.33567 | 0.024847 | 0.18504 | 0.33504 | 0.02482 | 0.18467 | 3.8759 | 0.28691 | 2.1367 | 3.8687 | 0.2866 | 2.1323 | 2.6992 | 0.33516 | -1.1728 | -2.4948 | -0.33697 | 1.2645 | 2.8252 | 0.10168 | 2.1256 | -2.6639 | -0.098429 | -2.1458 | -56.5572 | -137.0785 | 2.8294 | 123.431 | 41.4681 | -177.0142 |  | 1.0081 | 1.2208 | 1.1362 | 0.94339 | 1.2249 | 1.168 | -10.2514 | -120.2019 | 121.7162 | -9.6923 | -122.2487 | 123.4951

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0797 | 0.46975 | 0.40691 | 1.0815 | 0.47113 | 0.40802 | 12.4678 | 5.4242 | 4.6985 | 12.4877 | 5.4402 | 4.7114 | -3.3354e-11 | 2.3415 | 6.5492 | 5.3522 | -0.22396 | -4.7855 | 5.9388e-12 | 6.2881 | -1.988 | 1.7458 | -6.0461 | 1.9759 | 134.9782 | 145.0294 | 152.1626 | -45.1178 | -35.224 | -28.1517 |  | 0 | 1.237 | 1.4567 | 0.45083 | 1.1121 | 1.0989 | 0 | -145.3943 | 135.2769 | -27.0522 | -127.3454 | 129.4126
Line_1 | 0.54199 | 0.23675 | 0.20511 | 0.54073 | 0.23557 | 0.20401 | 6.2584 | 2.7337 | 2.3684 | 6.2438 | 2.7201 | 2.3557 | 4.0272 | 0.42334 | -1.9571 | -2.6761 | 0.11198 | 2.3927 | 1.3136 | -2.9702 | 0.98999 | -0.87291 | 3.023 | -0.98796 | -45.1567 | -35.3643 | -28.353 | 134.8822 | 144.776 | 151.8483 |  | 0.67686 | 1.0975 | 0.92605 | 0.45083 | 1.1121 | 1.0989 | -27.0921 | -117.2526 | 124.8149 | -27.0522 | -127.3454 | 129.4126
Line_2 | 0.54199 | 0.23675 | 0.20511 | 0.54073 | 0.23557 | 0.20401 | 6.2584 | 2.7337 | 2.3684 | 6.2438 | 2.7201 | 2.3557 | 4.0272 | 0.42334 | -1.9571 | -2.6761 | 0.11198 | 2.3927 | 1.3136 | -2.9702 | 0.98999 | -0.87291 | 3.023 | -0.98796 | -45.1567 | -35.3643 | -28.353 | 134.8822 | 144.776 | 151.8483 |  | 0.67686 | 1.0975 | 0.92605 | 0.45083 | 1.1121 | 1.0989 | -27.0921 | -117.2526 | 124.8149 | -27.0522 | -127.3454 | 129.4126

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0797 | 0.46975 | 0.40691 | 1.0815 | 0.47113 | 0.40802 | 12.4678 | 5.4242 | 4.6985 | 12.4877 | 5.4402 | 4.7114 | -3.3354e-11 | 2.3415 | 6.5492 | 5.3522 | -0.22396 | -4.7855 | 5.9388e-12 | 6.2881 | -1.988 | 1.7458 | -6.0461 | 1.9759 | 134.9782 | 145.0294 | 152.1626 | -45.1178 | -35.224 | -28.1517 |  | 0 | 1.237 | 1.4567 | 0.45083 | 1.1121 | 1.0989 | 0 | -145.3943 | 135.2769 | -27.0522 | -127.3454 | 129.4126
Line_1 | 0.54199 | 0.23675 | 0.20511 | 0.54073 | 0.23557 | 0.20401 | 6.2584 | 2.7337 | 2.3684 | 6.2438 | 2.7201 | 2.3557 | 4.0272 | 0.42334 | -1.9571 | -2.6761 | 0.11198 | 2.3927 | 1.3136 | -2.9702 | 0.98999 | -0.87291 | 3.023 | -0.98796 | -45.1567 | -35.3643 | -28.353 | 134.8822 | 144.776 | 151.8483 |  | 0.67686 | 1.0975 | 0.92605 | 0.45083 | 1.1121 | 1.0989 | -27.0921 | -117.2526 | 124.8149 | -27.0522 | -127.3454 | 129.4126
Line_2 | 0.54199 | 0.23675 | 0.20511 | 0.54073 | 0.23557 | 0.20401 | 6.2584 | 2.7337 | 2.3684 | 6.2438 | 2.7201 | 2.3557 | 4.0272 | 0.42334 | -1.9571 | -2.6761 | 0.11198 | 2.3927 | 1.3136 | -2.9702 | 0.98999 | -0.87291 | 3.023 | -0.98796 | -45.1567 | -35.3643 | -28.353 | 134.8822 | 144.776 | 151.8483 |  | 0.67686 | 1.0975 | 0.92605 | 0.45083 | 1.1121 | 1.0989 | -27.0921 | -117.2526 | 124.8149 | -27.0522 | -127.3454 | 129.4126

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38341 | 0.16681 | 0.14449 | 0.38402 | 0.16729 | 0.14488 | 4.4272 | 1.9261 | 1.6684 | 4.4343 | 1.9318 | 1.673 | -2.6513 | 0.63081 | 1.4961 | 3.3284 | -0.35936 | -1.2804 | -1.2211 | 2.0177 | -1.1229 | 1.4476 | -1.9922 | 1.12 | 148.1968 | 158.2479 | 165.3812 | -31.8992 | -22.0054 | -14.9331 |  | 0.65934 | 1.0975 | 1.1212 | 0.81852 | 1.0479 | 1.0168 | -7.074 | -129.1135 | 128.4926 | -8.3931 | -122.2306 | 123.8885
Line_1 | 0.19246 | 0.084067 | 0.072833 | 0.19201 | 0.083647 | 0.072442 | 2.2223 | 0.97072 | 0.841 | 2.2171 | 0.96588 | 0.83648 | 1.8372 | -0.1115 | -0.58862 | -1.6642 | 0.17968 | 0.64018 | 0.78172 | -0.99294 | 0.56142 | -0.72382 | 0.99612 | -0.56001 | -31.9381 | -22.1457 | -15.1344 | 148.1008 | 157.9946 | 165.0669 |  | 0.89844 | 1.0293 | 0.96722 | 0.81852 | 1.0479 | 1.0168 | -8.889 | -118.5528 | 121.2204 | -8.3931 | -122.2306 | 123.8885
Line_2 | 0.19246 | 0.084067 | 0.072833 | 0.19201 | 0.083647 | 0.072442 | 2.2223 | 0.97072 | 0.841 | 2.2171 | 0.96588 | 0.83648 | 1.8372 | -0.1115 | -0.58862 | -1.6642 | 0.17968 | 0.64018 | 0.78172 | -0.99294 | 0.56142 | -0.72382 | 0.99612 | -0.56001 | -31.9381 | -22.1457 | -15.1344 | 148.1008 | 157.9946 | 165.0669 |  | 0.89844 | 1.0293 | 0.96722 | 0.81852 | 1.0479 | 1.0168 | -8.889 | -118.5528 | 121.2204 | -8.3931 | -122.2306 | 123.8885

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38341 | 0.16681 | 0.14449 | 0.38402 | 0.16729 | 0.14488 | 4.4272 | 1.9261 | 1.6684 | 4.4343 | 1.9318 | 1.673 | -2.6513 | 0.63081 | 1.4961 | 3.3284 | -0.35936 | -1.2804 | -1.2211 | 2.0177 | -1.1229 | 1.4476 | -1.9922 | 1.12 | 148.1968 | 158.2479 | 165.3812 | -31.8992 | -22.0054 | -14.9331 |  | 0.65934 | 1.0975 | 1.1212 | 0.81852 | 1.0479 | 1.0168 | -7.074 | -129.1135 | 128.4926 | -8.3931 | -122.2306 | 123.8885
Line_1 | 0.19246 | 0.084067 | 0.072833 | 0.19201 | 0.083647 | 0.072442 | 2.2223 | 0.97072 | 0.841 | 2.2171 | 0.96588 | 0.83648 | 1.8372 | -0.1115 | -0.58862 | -1.6642 | 0.17968 | 0.64018 | 0.78172 | -0.99294 | 0.56142 | -0.72382 | 0.99612 | -0.56001 | -31.9381 | -22.1457 | -15.1344 | 148.1008 | 157.9946 | 165.0669 |  | 0.89844 | 1.0293 | 0.96722 | 0.81852 | 1.0479 | 1.0168 | -8.889 | -118.5528 | 121.2204 | -8.3931 | -122.2306 | 123.8885
Line_2 | 0.19246 | 0.084067 | 0.072833 | 0.19201 | 0.083647 | 0.072442 | 2.2223 | 0.97072 | 0.841 | 2.2171 | 0.96588 | 0.83648 | 1.8372 | -0.1115 | -0.58862 | -1.6642 | 0.17968 | 0.64018 | 0.78172 | -0.99294 | 0.56142 | -0.72382 | 0.99612 | -0.56001 | -31.9381 | -22.1457 | -15.1344 | 148.1008 | 157.9946 | 165.0669 |  | 0.89844 | 1.0293 | 0.96722 | 0.81852 | 1.0479 | 1.0168 | -8.889 | -118.5528 | 121.2204 | -8.3931 | -122.2306 | 123.8885

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16626 | 2.0195 | 1.3467 | 0.16751 | 2.0202 | 1.3481 | 1.9198 | 23.3196 | 15.5505 | 1.9342 | 23.3272 | 15.5666 | 2.5009 | 4.9329e-11 | 3.135e-11 | -2.1211 | 6.2322 | 0.76885 | 1.465 | -2.2604e-11 | -1.7333e-11 | -1.5066 | 0.6474 | 4.0507 | -31.6315 | -12.5763 | -129.2644 | 147.8291 | 167.3699 | 50.7967 |  | 1.5097 | 0 | 0 | 1.3451 | 0.2686 | 0.26487 | -1.2705 | 0 | 0 | 3.2161 | 173.3005 | 130.0495
Line_1 | 0.084972 | 1.011 | 0.67461 | 0.083753 | 1.0101 | 0.67405 | 0.98117 | 11.6741 | 7.7897 | 0.9671 | 11.6636 | 7.7833 | -0.97164 | 4.6817 | 0.58351 | 1.0605 | -3.1161 | -0.38442 | -0.77428 | 0.4881 | 3.0426 | 0.75332 | -0.3237 | -2.0254 | 147.353 | 167.3092 | 50.9065 | -32.1709 | -12.6301 | -129.2033 |  | 1.2663 | 0.4032 | 0.39771 | 1.3451 | 0.2686 | 0.26487 | 5.9037 | 173.2611 | 130.0501 | 3.2161 | 173.3005 | 130.0495
Line_2 | 0.084972 | 1.011 | 0.67461 | 0.083753 | 1.0101 | 0.67405 | 0.98117 | 11.6741 | 7.7897 | 0.9671 | 11.6636 | 7.7833 | -0.97164 | 4.6817 | 0.58351 | 1.0605 | -3.1161 | -0.38442 | -0.77428 | 0.4881 | 3.0426 | 0.75332 | -0.3237 | -2.0254 | 147.353 | 167.3092 | 50.9065 | -32.1709 | -12.6301 | -129.2033 |  | 1.2663 | 0.4032 | 0.39771 | 1.3451 | 0.2686 | 0.26487 | 5.9037 | 173.2611 | 130.0501 | 3.2161 | 173.3005 | 130.0495

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16626 | 2.0195 | 1.3467 | 0.16751 | 2.0202 | 1.3481 | 1.9198 | 23.3196 | 15.5505 | 1.9342 | 23.3272 | 15.5666 | 2.5009 | 4.9329e-11 | 3.135e-11 | -2.1211 | 6.2322 | 0.76885 | 1.465 | -2.2604e-11 | -1.7333e-11 | -1.5066 | 0.6474 | 4.0507 | -31.6315 | -12.5763 | -129.2644 | 147.8291 | 167.3699 | 50.7967 |  | 1.5097 | 0 | 0 | 1.3451 | 0.2686 | 0.26487 | -1.2705 | 0 | 0 | 3.2161 | 173.3005 | 130.0495
Line_1 | 0.084972 | 1.011 | 0.67461 | 0.083753 | 1.0101 | 0.67405 | 0.98117 | 11.6741 | 7.7897 | 0.9671 | 11.6636 | 7.7833 | -0.97164 | 4.6817 | 0.58351 | 1.0605 | -3.1161 | -0.38442 | -0.77428 | 0.4881 | 3.0426 | 0.75332 | -0.3237 | -2.0254 | 147.353 | 167.3092 | 50.9065 | -32.1709 | -12.6301 | -129.2033 |  | 1.2663 | 0.4032 | 0.39771 | 1.3451 | 0.2686 | 0.26487 | 5.9037 | 173.2611 | 130.0501 | 3.2161 | 173.3005 | 130.0495
Line_2 | 0.084972 | 1.011 | 0.67461 | 0.083753 | 1.0101 | 0.67405 | 0.98117 | 11.6741 | 7.7897 | 0.9671 | 11.6636 | 7.7833 | -0.97164 | 4.6817 | 0.58351 | 1.0605 | -3.1161 | -0.38442 | -0.77428 | 0.4881 | 3.0426 | 0.75332 | -0.3237 | -2.0254 | 147.353 | 167.3092 | 50.9065 | -32.1709 | -12.6301 | -129.2033 |  | 1.2663 | 0.4032 | 0.39771 | 1.3451 | 0.2686 | 0.26487 | 5.9037 | 173.2611 | 130.0501 | 3.2161 | 173.3005 | 130.0495

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15848 | 0.65794 | 0.53278 | 0.15809 | 0.65831 | 0.53343 | 1.8299 | 7.5972 | 6.152 | 1.8255 | 7.6015 | 6.1596 | 1.5913 | -2.606 | -4.7239 | -1.5381 | 3.3794 | 4.9457 | -1.737 | -6.2659 | -2.8358 | 1.6105 | 6.3832 | 3.4619 | 47.9919 | -8.909 | -105.5047 | -132.257 | 171.0303 | 74.5428 |  | 1.2873 | 0.89324 | 0.89559 | 1.2199 | 0.95016 | 0.9801 | 0.48578 | -121.4914 | 105.4721 | 1.4254 | -126.8669 | 109.5337
Line_1 | 0.078973 | 0.32957 | 0.26703 | 0.079047 | 0.32915 | 0.26672 | 0.9119 | 3.8055 | 3.0834 | 0.91275 | 3.8007 | 3.0798 | -0.75945 | 1.8837 | 2.5327 | 0.76903 | -1.6897 | -2.4729 | 0.7703 | 3.2252 | 1.8859 | -0.80524 | -3.1916 | -1.7309 | -132.6535 | 170.9672 | 74.6402 | 47.743 | -8.9697 | -105.4572 |  | 1.1862 | 0.98148 | 1.0241 | 1.2199 | 0.95016 | 0.9801 | 1.9401 | -129.3196 | 111.3134 | 1.4254 | -126.8669 | 109.5337
Line_2 | 0.078973 | 0.32957 | 0.26703 | 0.079047 | 0.32915 | 0.26672 | 0.9119 | 3.8055 | 3.0834 | 0.91275 | 3.8007 | 3.0798 | -0.75945 | 1.8837 | 2.5327 | 0.76903 | -1.6897 | -2.4729 | 0.7703 | 3.2252 | 1.8859 | -0.80524 | -3.1916 | -1.7309 | -132.6535 | 170.9672 | 74.6402 | 47.743 | -8.9697 | -105.4572 |  | 1.1862 | 0.98148 | 1.0241 | 1.2199 | 0.95016 | 0.9801 | 1.9401 | -129.3196 | 111.3134 | 1.4254 | -126.8669 | 109.5337

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15848 | 0.65794 | 0.53278 | 0.15809 | 0.65831 | 0.53343 | 1.8299 | 7.5972 | 6.152 | 1.8255 | 7.6015 | 6.1596 | 1.5913 | -2.606 | -4.7239 | -1.5381 | 3.3794 | 4.9457 | -1.737 | -6.2659 | -2.8358 | 1.6105 | 6.3832 | 3.4619 | 47.9919 | -8.909 | -105.5047 | -132.257 | 171.0303 | 74.5428 |  | 1.2873 | 0.89324 | 0.89559 | 1.2199 | 0.95016 | 0.9801 | 0.48578 | -121.4914 | 105.4721 | 1.4254 | -126.8669 | 109.5337
Line_1 | 0.078973 | 0.32957 | 0.26703 | 0.079047 | 0.32915 | 0.26672 | 0.9119 | 3.8055 | 3.0834 | 0.91275 | 3.8007 | 3.0798 | -0.75945 | 1.8837 | 2.5327 | 0.76903 | -1.6897 | -2.4729 | 0.7703 | 3.2252 | 1.8859 | -0.80524 | -3.1916 | -1.7309 | -132.6535 | 170.9672 | 74.6402 | 47.743 | -8.9697 | -105.4572 |  | 1.1862 | 0.98148 | 1.0241 | 1.2199 | 0.95016 | 0.9801 | 1.9401 | -129.3196 | 111.3134 | 1.4254 | -126.8669 | 109.5337
Line_2 | 0.078973 | 0.32957 | 0.26703 | 0.079047 | 0.32915 | 0.26672 | 0.9119 | 3.8055 | 3.0834 | 0.91275 | 3.8007 | 3.0798 | -0.75945 | 1.8837 | 2.5327 | 0.76903 | -1.6897 | -2.4729 | 0.7703 | 3.2252 | 1.8859 | -0.80524 | -3.1916 | -1.7309 | -132.6535 | 170.9672 | 74.6402 | 47.743 | -8.9697 | -105.4572 |  | 1.1862 | 0.98148 | 1.0241 | 1.2199 | 0.95016 | 0.9801 | 1.9401 | -129.3196 | 111.3134 | 1.4254 | -126.8669 | 109.5337

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1631 | 1.5708 | 0.87196 | 0.16435 | 1.5709 | 0.87301 | 1.8833 | 18.1383 | 10.0685 | 1.8978 | 18.1394 | 10.0807 | 1.8766 | -2.9135e-11 | -1.1592e-11 | -1.4533 | 6.1355 | -0.032885 | 1.7354 | -2.6293e-11 | -1.8883e-11 | -1.5907 | -0.35431 | 2.5817 | -43.9414 | 3.095 | -133.7134 | 135.6944 | -176.9643 | 46.3684 |  | 1.3572 | 0 | 0 | 1.1353 | 0.3388 | 0.25612 | -1.1793 | 0 | 0 | 3.2783 | 179.7307 | 137.0982
Line_1 | 0.083024 | 0.78593 | 0.43666 | 0.082176 | 0.78546 | 0.43651 | 0.95868 | 9.0751 | 5.0421 | 0.94889 | 9.0697 | 5.0403 | -0.62465 | 4.6069 | -0.020339 | 0.72665 | -3.0677 | 0.016442 | -0.76172 | -0.26566 | 1.9395 | 0.79533 | 0.17715 | -1.2908 | 135.5984 | -177.0167 | 46.4794 | -44.3056 | 3.0357 | -133.6316 |  | 1.0276 | 0.50849 | 0.38468 | 1.1353 | 0.3388 | 0.25612 | 6.2449 | 179.6831 | 137.0803 | 3.2783 | 179.7307 | 137.0982
Line_2 | 0.083024 | 0.78593 | 0.43666 | 0.082176 | 0.78546 | 0.43651 | 0.95868 | 9.0751 | 5.0421 | 0.94889 | 9.0697 | 5.0403 | -0.62465 | 4.6069 | -0.020339 | 0.72665 | -3.0677 | 0.016442 | -0.76172 | -0.26566 | 1.9395 | 0.79533 | 0.17715 | -1.2908 | 135.5984 | -177.0167 | 46.4794 | -44.3056 | 3.0357 | -133.6316 |  | 1.0276 | 0.50849 | 0.38468 | 1.1353 | 0.3388 | 0.25612 | 6.2449 | 179.6831 | 137.0803 | 3.2783 | 179.7307 | 137.0982

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1631 | 1.5708 | 0.87196 | 0.16435 | 1.5709 | 0.87301 | 1.8833 | 18.1383 | 10.0685 | 1.8978 | 18.1394 | 10.0807 | 1.8766 | -2.9135e-11 | -1.1592e-11 | -1.4533 | 6.1355 | -0.032885 | 1.7354 | -2.6293e-11 | -1.8883e-11 | -1.5907 | -0.35431 | 2.5817 | -43.9414 | 3.095 | -133.7134 | 135.6944 | -176.9643 | 46.3684 |  | 1.3572 | 0 | 0 | 1.1353 | 0.3388 | 0.25612 | -1.1793 | 0 | 0 | 3.2783 | 179.7307 | 137.0982
Line_1 | 0.083024 | 0.78593 | 0.43666 | 0.082176 | 0.78546 | 0.43651 | 0.95868 | 9.0751 | 5.0421 | 0.94889 | 9.0697 | 5.0403 | -0.62465 | 4.6069 | -0.020339 | 0.72665 | -3.0677 | 0.016442 | -0.76172 | -0.26566 | 1.9395 | 0.79533 | 0.17715 | -1.2908 | 135.5984 | -177.0167 | 46.4794 | -44.3056 | 3.0357 | -133.6316 |  | 1.0276 | 0.50849 | 0.38468 | 1.1353 | 0.3388 | 0.25612 | 6.2449 | 179.6831 | 137.0803 | 3.2783 | 179.7307 | 137.0982
Line_2 | 0.083024 | 0.78593 | 0.43666 | 0.082176 | 0.78546 | 0.43651 | 0.95868 | 9.0751 | 5.0421 | 0.94889 | 9.0697 | 5.0403 | -0.62465 | 4.6069 | -0.020339 | 0.72665 | -3.0677 | 0.016442 | -0.76172 | -0.26566 | 1.9395 | 0.79533 | 0.17715 | -1.2908 | 135.5984 | -177.0167 | 46.4794 | -44.3056 | 3.0357 | -133.6316 |  | 1.0276 | 0.50849 | 0.38468 | 1.1353 | 0.3388 | 0.25612 | 6.2449 | 179.6831 | 137.0803 | 3.2783 | 179.7307 | 137.0982

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11062 | 0.39016 | 0.29228 | 0.11112 | 0.39013 | 0.29301 | 1.2773 | 4.5051 | 3.3749 | 1.2831 | 4.5048 | 3.3834 | 1.2886 | -2.4005 | -2.5326 | -1.1506 | 2.94 | 2.7788 | 0.73108 | -2.494 | -0.17205 | -0.7035 | 2.3459 | 0.53301 | -29.6763 | 15.0225 | -80.3761 | 150.0418 | -165.086 | 99.6315 |  | 1.1599 | 0.76836 | 0.75215 | 1.0511 | 0.83493 | 0.83626 | -0.10797 | -118.8836 | 103.5102 | 1.4851 | -126.4985 | 110.4897
Line_1 | 0.055931 | 0.19525 | 0.14683 | 0.055559 | 0.19506 | 0.14651 | 0.64584 | 2.2545 | 1.6955 | 0.64154 | 2.2524 | 1.6917 | -0.543 | 1.6058 | 1.4534 | 0.57528 | -1.47 | -1.3894 | -0.34591 | 1.1383 | 0.3556 | 0.35175 | -1.1729 | -0.2665 | 149.9235 | -165.187 | 99.7147 | -29.9582 | 14.914 | -80.3685 |  | 0.99687 | 0.87304 | 0.88251 | 1.0511 | 0.83493 | 0.83626 | 2.4221 | -129.8561 | 113.4629 | 1.4851 | -126.4985 | 110.4897
Line_2 | 0.055931 | 0.19525 | 0.14683 | 0.055559 | 0.19506 | 0.14651 | 0.64584 | 2.2545 | 1.6955 | 0.64154 | 2.2524 | 1.6917 | -0.543 | 1.6058 | 1.4534 | 0.57528 | -1.47 | -1.3894 | -0.34591 | 1.1383 | 0.3556 | 0.35175 | -1.1729 | -0.2665 | 149.9235 | -165.187 | 99.7147 | -29.9582 | 14.914 | -80.3685 |  | 0.99687 | 0.87304 | 0.88251 | 1.0511 | 0.83493 | 0.83626 | 2.4221 | -129.8561 | 113.4629 | 1.4851 | -126.4985 | 110.4897

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11062 | 0.39016 | 0.29228 | 0.11112 | 0.39013 | 0.29301 | 1.2773 | 4.5051 | 3.3749 | 1.2831 | 4.5048 | 3.3834 | 1.2886 | -2.4005 | -2.5326 | -1.1506 | 2.94 | 2.7788 | 0.73108 | -2.494 | -0.17205 | -0.7035 | 2.3459 | 0.53301 | -29.6763 | 15.0225 | -80.3761 | 150.0418 | -165.086 | 99.6315 |  | 1.1599 | 0.76836 | 0.75215 | 1.0511 | 0.83493 | 0.83626 | -0.10797 | -118.8836 | 103.5102 | 1.4851 | -126.4985 | 110.4897
Line_1 | 0.055931 | 0.19525 | 0.14683 | 0.055559 | 0.19506 | 0.14651 | 0.64584 | 2.2545 | 1.6955 | 0.64154 | 2.2524 | 1.6917 | -0.543 | 1.6058 | 1.4534 | 0.57528 | -1.47 | -1.3894 | -0.34591 | 1.1383 | 0.3556 | 0.35175 | -1.1729 | -0.2665 | 149.9235 | -165.187 | 99.7147 | -29.9582 | 14.914 | -80.3685 |  | 0.99687 | 0.87304 | 0.88251 | 1.0511 | 0.83493 | 0.83626 | 2.4221 | -129.8561 | 113.4629 | 1.4851 | -126.4985 | 110.4897
Line_2 | 0.055931 | 0.19525 | 0.14683 | 0.055559 | 0.19506 | 0.14651 | 0.64584 | 2.2545 | 1.6955 | 0.64154 | 2.2524 | 1.6917 | -0.543 | 1.6058 | 1.4534 | 0.57528 | -1.47 | -1.3894 | -0.34591 | 1.1383 | 0.3556 | 0.35175 | -1.1729 | -0.2665 | 149.9235 | -165.187 | 99.7147 | -29.9582 | 14.914 | -80.3685 |  | 0.99687 | 0.87304 | 0.88251 | 1.0511 | 0.83493 | 0.83626 | 2.4221 | -129.8561 | 113.4629 | 1.4851 | -126.4985 | 110.4897