## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8361 | 0.71467 | 0.66878 | 1.8386 | 0.71776 | 0.67114 | 21.2015 | 8.2522 | 7.7224 | 21.23 | 8.288 | 7.7496 | 8.6221e-11 | -5.446 | 13.5823 | 8.0158 | 7.6605 | -11.0863 | -8.7796e-11 | 8.7337 | 2.2872 | 3.0668 | -6.8933 | -1.8067 | 116.0568 | 86.4302 | 119.3387 | -64.0032 | -93.6062 | -60.8375 |  | 0 | 1.2472 | 1.7836 | 0.40426 | 1.2434 | 1.4494 | 0 | -151.6235 | 128.8973 | -43.067 | -135.5886 | 128.4185
Line_1 | 0.92139 | 0.36102 | 0.33763 | 0.91929 | 0.35888 | 0.33557 | 10.6393 | 4.1687 | 3.8986 | 10.615 | 4.144 | 3.8748 | 6.0308 | 4.401 | -4.9349 | -4.0079 | -3.8302 | 5.5431 | 2.309 | -3.0005 | -0.78672 | -1.5334 | 3.4466 | 0.90335 | -64.0426 | -93.5289 | -60.9645 | 115.9968 | 86.3938 | 119.1625 |  | 0.60697 | 1.2777 | 1.2818 | 0.40426 | 1.2434 | 1.4494 | -43.0922 | -127.814 | 128.0933 | -43.067 | -135.5886 | 128.4185
Line_2 | 0.92139 | 0.36102 | 0.33763 | 0.91929 | 0.35888 | 0.33557 | 10.6393 | 4.1687 | 3.8986 | 10.615 | 4.144 | 3.8748 | 6.0308 | 4.401 | -4.9349 | -4.0079 | -3.8302 | 5.5431 | 2.309 | -3.0005 | -0.78672 | -1.5334 | 3.4466 | 0.90335 | -64.0426 | -93.5289 | -60.9645 | 115.9968 | 86.3938 | 119.1625 |  | 0.60697 | 1.2777 | 1.2818 | 0.40426 | 1.2434 | 1.4494 | -43.0922 | -127.814 | 128.0933 | -43.067 | -135.5886 | 128.4185

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8361 | 0.71467 | 0.66878 | 1.8386 | 0.71776 | 0.67114 | 21.2015 | 8.2522 | 7.7224 | 21.23 | 8.288 | 7.7496 | 8.6221e-11 | -5.446 | 13.5823 | 8.0158 | 7.6605 | -11.0863 | -8.7796e-11 | 8.7337 | 2.2872 | 3.0668 | -6.8933 | -1.8067 | 116.0568 | 86.4302 | 119.3387 | -64.0032 | -93.6062 | -60.8375 |  | 0 | 1.2472 | 1.7836 | 0.40426 | 1.2434 | 1.4494 | 0 | -151.6235 | 128.8973 | -43.067 | -135.5886 | 128.4185
Line_1 | 0.92139 | 0.36102 | 0.33763 | 0.91929 | 0.35888 | 0.33557 | 10.6393 | 4.1687 | 3.8986 | 10.615 | 4.144 | 3.8748 | 6.0308 | 4.401 | -4.9349 | -4.0079 | -3.8302 | 5.5431 | 2.309 | -3.0005 | -0.78672 | -1.5334 | 3.4466 | 0.90335 | -64.0426 | -93.5289 | -60.9645 | 115.9968 | 86.3938 | 119.1625 |  | 0.60697 | 1.2777 | 1.2818 | 0.40426 | 1.2434 | 1.4494 | -43.0922 | -127.814 | 128.0933 | -43.067 | -135.5886 | 128.4185
Line_2 | 0.92139 | 0.36102 | 0.33763 | 0.91929 | 0.35888 | 0.33557 | 10.6393 | 4.1687 | 3.8986 | 10.615 | 4.144 | 3.8748 | 6.0308 | 4.401 | -4.9349 | -4.0079 | -3.8302 | 5.5431 | 2.309 | -3.0005 | -0.78672 | -1.5334 | 3.4466 | 0.90335 | -64.0426 | -93.5289 | -60.9645 | 115.9968 | 86.3938 | 119.1625 |  | 0.60697 | 1.2777 | 1.2818 | 0.40426 | 1.2434 | 1.4494 | -43.0922 | -127.814 | 128.0933 | -43.067 | -135.5886 | 128.4185

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68981 | 0.18965 | 0.2694 | 0.6906 | 0.19033 | 0.26955 | 7.9652 | 2.1899 | 3.1108 | 7.9743 | 2.1977 | 3.1125 | -2.8621 | -2.4986 | 3.1547 | 3.7757 | 2.5279 | -2.8993 | -5.826 | -0.42095 | -2.6438 | 6.3202 | 0.62774 | 2.5295 | 113.993 | 40.855 | 164.1571 | -66.0457 | -138.9591 | -16.0348 |  | 0.81492 | 1.1571 | 1.3232 | 0.92322 | 1.1852 | 1.2362 | -2.1702 | -129.582 | 124.1932 | -6.8998 | -125.0131 | 122.8627
Line_1 | 0.34593 | 0.095451 | 0.1351 | 0.3453 | 0.095163 | 0.13477 | 3.9945 | 1.1022 | 1.56 | 3.9872 | 1.0988 | 1.5562 | 2.12 | 1.2748 | -1.3914 | -1.8878 | -1.2639 | 1.4497 | 3.2882 | 0.36089 | 1.2356 | -3.1601 | -0.31387 | -1.2647 | -66.0631 | -138.615 | -16.2689 | 113.9543 | 41.0409 | 163.9652 |  | 0.97945 | 1.202 | 1.1928 | 0.92322 | 1.1852 | 1.2362 | -8.8745 | -122.8082 | 122.1257 | -6.8998 | -125.0131 | 122.8627
Line_2 | 0.34593 | 0.095451 | 0.1351 | 0.3453 | 0.095163 | 0.13477 | 3.9945 | 1.1022 | 1.56 | 3.9872 | 1.0988 | 1.5562 | 2.12 | 1.2748 | -1.3914 | -1.8878 | -1.2639 | 1.4497 | 3.2882 | 0.36089 | 1.2356 | -3.1601 | -0.31387 | -1.2647 | -66.0631 | -138.615 | -16.2689 | 113.9543 | 41.0409 | 163.9652 |  | 0.97945 | 1.202 | 1.1928 | 0.92322 | 1.1852 | 1.2362 | -8.8745 | -122.8082 | 122.1257 | -6.8998 | -125.0131 | 122.8627

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68981 | 0.18965 | 0.2694 | 0.6906 | 0.19033 | 0.26955 | 7.9652 | 2.1899 | 3.1108 | 7.9743 | 2.1977 | 3.1125 | -2.8621 | -2.4986 | 3.1547 | 3.7757 | 2.5279 | -2.8993 | -5.826 | -0.42095 | -2.6438 | 6.3202 | 0.62774 | 2.5295 | 113.993 | 40.855 | 164.1571 | -66.0457 | -138.9591 | -16.0348 |  | 0.81492 | 1.1571 | 1.3232 | 0.92322 | 1.1852 | 1.2362 | -2.1702 | -129.582 | 124.1932 | -6.8998 | -125.0131 | 122.8627
Line_1 | 0.34593 | 0.095451 | 0.1351 | 0.3453 | 0.095163 | 0.13477 | 3.9945 | 1.1022 | 1.56 | 3.9872 | 1.0988 | 1.5562 | 2.12 | 1.2748 | -1.3914 | -1.8878 | -1.2639 | 1.4497 | 3.2882 | 0.36089 | 1.2356 | -3.1601 | -0.31387 | -1.2647 | -66.0631 | -138.615 | -16.2689 | 113.9543 | 41.0409 | 163.9652 |  | 0.97945 | 1.202 | 1.1928 | 0.92322 | 1.1852 | 1.2362 | -8.8745 | -122.8082 | 122.1257 | -6.8998 | -125.0131 | 122.8627
Line_2 | 0.34593 | 0.095451 | 0.1351 | 0.3453 | 0.095163 | 0.13477 | 3.9945 | 1.1022 | 1.56 | 3.9872 | 1.0988 | 1.5562 | 2.12 | 1.2748 | -1.3914 | -1.8878 | -1.2639 | 1.4497 | 3.2882 | 0.36089 | 1.2356 | -3.1601 | -0.31387 | -1.2647 | -66.0631 | -138.615 | -16.2689 | 113.9543 | 41.0409 | 163.9652 |  | 0.97945 | 1.202 | 1.1928 | 0.92322 | 1.1852 | 1.2362 | -8.8745 | -122.8082 | 122.1257 | -6.8998 | -125.0131 | 122.8627

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2319 | 0.52308 | 0.42562 | 1.2332 | 0.52516 | 0.42782 | 14.2252 | 6.04 | 4.9146 | 14.2396 | 6.0641 | 4.9401 | -3.3153e-11 | 0.42388 | 7.8283 | 6.9178 | 2.0336 | -5.9685 | 7.3459e-12 | 6.8093 | 2.5406 | 0.6771 | -5.8824 | -1.7025 | 138.0239 | 115.624 | 111.4366 | -42.0896 | -64.5708 | -68.7815 |  | 0 | 1.1295 | 1.6747 | 0.48814 | 1.0264 | 1.2564 | 0 | -157.9381 | 129.4168 | -36.4994 | -135.5004 | 127.1392
Line_1 | 0.61781 | 0.264 | 0.21535 | 0.61659 | 0.26258 | 0.21391 | 7.1338 | 3.0484 | 2.4866 | 7.1198 | 3.032 | 2.47 | 5.2029 | 1.6397 | -2.5259 | -3.4589 | -1.0168 | 2.9842 | 0.51185 | -2.716 | -0.63731 | -0.33855 | 2.9412 | 0.85125 | -42.162 | -64.6267 | -68.8221 | 137.9104 | 115.4292 | 111.2185 |  | 0.73285 | 1.0407 | 1.0476 | 0.48814 | 1.0264 | 1.2564 | -36.5435 | -123.506 | 125.3387 | -36.4994 | -135.5004 | 127.1392
Line_2 | 0.61781 | 0.264 | 0.21535 | 0.61659 | 0.26258 | 0.21391 | 7.1338 | 3.0484 | 2.4866 | 7.1198 | 3.032 | 2.47 | 5.2029 | 1.6397 | -2.5259 | -3.4589 | -1.0168 | 2.9842 | 0.51185 | -2.716 | -0.63731 | -0.33855 | 2.9412 | 0.85125 | -42.162 | -64.6267 | -68.8221 | 137.9104 | 115.4292 | 111.2185 |  | 0.73285 | 1.0407 | 1.0476 | 0.48814 | 1.0264 | 1.2564 | -36.5435 | -123.506 | 125.3387 | -36.4994 | -135.5004 | 127.1392

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2319 | 0.52308 | 0.42562 | 1.2332 | 0.52516 | 0.42782 | 14.2252 | 6.04 | 4.9146 | 14.2396 | 6.0641 | 4.9401 | -3.3153e-11 | 0.42388 | 7.8283 | 6.9178 | 2.0336 | -5.9685 | 7.3459e-12 | 6.8093 | 2.5406 | 0.6771 | -5.8824 | -1.7025 | 138.0239 | 115.624 | 111.4366 | -42.0896 | -64.5708 | -68.7815 |  | 0 | 1.1295 | 1.6747 | 0.48814 | 1.0264 | 1.2564 | 0 | -157.9381 | 129.4168 | -36.4994 | -135.5004 | 127.1392
Line_1 | 0.61781 | 0.264 | 0.21535 | 0.61659 | 0.26258 | 0.21391 | 7.1338 | 3.0484 | 2.4866 | 7.1198 | 3.032 | 2.47 | 5.2029 | 1.6397 | -2.5259 | -3.4589 | -1.0168 | 2.9842 | 0.51185 | -2.716 | -0.63731 | -0.33855 | 2.9412 | 0.85125 | -42.162 | -64.6267 | -68.8221 | 137.9104 | 115.4292 | 111.2185 |  | 0.73285 | 1.0407 | 1.0476 | 0.48814 | 1.0264 | 1.2564 | -36.5435 | -123.506 | 125.3387 | -36.4994 | -135.5004 | 127.1392
Line_2 | 0.61781 | 0.264 | 0.21535 | 0.61659 | 0.26258 | 0.21391 | 7.1338 | 3.0484 | 2.4866 | 7.1198 | 3.032 | 2.47 | 5.2029 | 1.6397 | -2.5259 | -3.4589 | -1.0168 | 2.9842 | 0.51185 | -2.716 | -0.63731 | -0.33855 | 2.9412 | 0.85125 | -42.162 | -64.6267 | -68.8221 | 137.9104 | 115.4292 | 111.2185 |  | 0.73285 | 1.0407 | 1.0476 | 0.48814 | 1.0264 | 1.2564 | -36.5435 | -123.506 | 125.3387 | -36.4994 | -135.5004 | 127.1392

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37257 | 0.15819 | 0.12872 | 0.37295 | 0.15882 | 0.12939 | 4.3021 | 1.8267 | 1.4863 | 4.3064 | 1.8339 | 1.494 | -2.0412 | -0.77467 | 1.7242 | 2.6716 | 1.006 | -1.5583 | -2.2051 | 1.6057 | 0.47997 | 2.2733 | -1.522 | -0.40845 | 134.3701 | 111.9702 | 107.7828 | -45.7434 | -68.2246 | -72.4353 |  | 0.69845 | 0.97598 | 1.2041 | 0.81457 | 0.99484 | 1.0783 | 1.5812 | -132.2746 | 123.3388 | -5.348 | -124.7612 | 122.2521
Line_1 | 0.18684 | 0.079842 | 0.065127 | 0.18647 | 0.079412 | 0.064693 | 2.1575 | 0.92193 | 0.75202 | 2.1532 | 0.91697 | 0.74701 | 1.4959 | 0.56269 | -0.74055 | -1.3358 | -0.50301 | 0.77916 | 1.156 | -0.74269 | -0.18587 | -1.1367 | 0.76102 | 0.20423 | -45.8159 | -68.2805 | -72.4759 | 134.2566 | 111.7754 | 107.5647 |  | 0.87626 | 1.0107 | 1.0153 | 0.81457 | 0.99484 | 1.0783 | -8.1203 | -121.1314 | 121.6136 | -5.348 | -124.7612 | 122.2521
Line_2 | 0.18684 | 0.079842 | 0.065127 | 0.18647 | 0.079412 | 0.064693 | 2.1575 | 0.92193 | 0.75202 | 2.1532 | 0.91697 | 0.74701 | 1.4959 | 0.56269 | -0.74055 | -1.3358 | -0.50301 | 0.77916 | 1.156 | -0.74269 | -0.18587 | -1.1367 | 0.76102 | 0.20423 | -45.8159 | -68.2805 | -72.4759 | 134.2566 | 111.7754 | 107.5647 |  | 0.87626 | 1.0107 | 1.0153 | 0.81457 | 0.99484 | 1.0783 | -8.1203 | -121.1314 | 121.6136 | -5.348 | -124.7612 | 122.2521

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37257 | 0.15819 | 0.12872 | 0.37295 | 0.15882 | 0.12939 | 4.3021 | 1.8267 | 1.4863 | 4.3064 | 1.8339 | 1.494 | -2.0412 | -0.77467 | 1.7242 | 2.6716 | 1.006 | -1.5583 | -2.2051 | 1.6057 | 0.47997 | 2.2733 | -1.522 | -0.40845 | 134.3701 | 111.9702 | 107.7828 | -45.7434 | -68.2246 | -72.4353 |  | 0.69845 | 0.97598 | 1.2041 | 0.81457 | 0.99484 | 1.0783 | 1.5812 | -132.2746 | 123.3388 | -5.348 | -124.7612 | 122.2521
Line_1 | 0.18684 | 0.079842 | 0.065127 | 0.18647 | 0.079412 | 0.064693 | 2.1575 | 0.92193 | 0.75202 | 2.1532 | 0.91697 | 0.74701 | 1.4959 | 0.56269 | -0.74055 | -1.3358 | -0.50301 | 0.77916 | 1.156 | -0.74269 | -0.18587 | -1.1367 | 0.76102 | 0.20423 | -45.8159 | -68.2805 | -72.4759 | 134.2566 | 111.7754 | 107.5647 |  | 0.87626 | 1.0107 | 1.0153 | 0.81457 | 0.99484 | 1.0783 | -8.1203 | -121.1314 | 121.6136 | -5.348 | -124.7612 | 122.2521
Line_2 | 0.18684 | 0.079842 | 0.065127 | 0.18647 | 0.079412 | 0.064693 | 2.1575 | 0.92193 | 0.75202 | 2.1532 | 0.91697 | 0.74701 | 1.4959 | 0.56269 | -0.74055 | -1.3358 | -0.50301 | 0.77916 | 1.156 | -0.74269 | -0.18587 | -1.1367 | 0.76102 | 0.20423 | -45.8159 | -68.2805 | -72.4759 | 134.2566 | 111.7754 | 107.5647 |  | 0.87626 | 1.0107 | 1.0153 | 0.81457 | 0.99484 | 1.0783 | -8.1203 | -121.1314 | 121.6136 | -5.348 | -124.7612 | 122.2521

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20947 | 2.0309 | 1.3374 | 0.21151 | 2.0314 | 1.339 | 2.4187 | 23.4503 | 15.4427 | 2.4423 | 23.457 | 15.461 | 1.3069 | 3.402e-11 | 2.1421e-11 | -0.89136 | 6.3516 | 1.0109 | 3.5774 | -1.0928e-11 | -9.5307e-12 | -3.3051 | 0.36067 | 4.1476 | -74.7868 | -13.096 | -128.0044 | 105.0927 | 166.8473 | 52.0542 |  | 1.5746 | 0 | 0 | 1.4016 | 0.27121 | 0.27612 | -4.8559 | 0 | 0 | -0.00049957 | 170.0974 | 128.3569
Line_1 | 0.1072 | 1.0166 | 0.67017 | 0.10576 | 1.0157 | 0.66948 | 1.2379 | 11.7387 | 7.7384 | 1.2212 | 11.7285 | 7.7305 | -0.34809 | 4.7714 | 0.76581 | 0.44568 | -3.1758 | -0.50544 | -1.5957 | 0.27302 | 3.1156 | 1.6525 | -0.18034 | -2.0738 | 105.2153 | 166.7816 | 52.1649 | -74.9073 | -13.1527 | -127.9458 |  | 1.3194 | 0.40713 | 0.4146 | 1.4016 | 0.27121 | 0.27612 | 2.9095 | 170.0564 | 128.3555 | -0.00049957 | 170.0974 | 128.3569
Line_2 | 0.1072 | 1.0166 | 0.67017 | 0.10576 | 1.0157 | 0.66948 | 1.2379 | 11.7387 | 7.7384 | 1.2212 | 11.7285 | 7.7305 | -0.34809 | 4.7714 | 0.76581 | 0.44568 | -3.1758 | -0.50544 | -1.5957 | 0.27302 | 3.1156 | 1.6525 | -0.18034 | -2.0738 | 105.2153 | 166.7816 | 52.1649 | -74.9073 | -13.1527 | -127.9458 |  | 1.3194 | 0.40713 | 0.4146 | 1.4016 | 0.27121 | 0.27612 | 2.9095 | 170.0564 | 128.3555 | -0.00049957 | 170.0974 | 128.3569

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20947 | 2.0309 | 1.3374 | 0.21151 | 2.0314 | 1.339 | 2.4187 | 23.4503 | 15.4427 | 2.4423 | 23.457 | 15.461 | 1.3069 | 3.402e-11 | 2.1421e-11 | -0.89136 | 6.3516 | 1.0109 | 3.5774 | -1.0928e-11 | -9.5307e-12 | -3.3051 | 0.36067 | 4.1476 | -74.7868 | -13.096 | -128.0044 | 105.0927 | 166.8473 | 52.0542 |  | 1.5746 | 0 | 0 | 1.4016 | 0.27121 | 0.27612 | -4.8559 | 0 | 0 | -0.00049957 | 170.0974 | 128.3569
Line_1 | 0.1072 | 1.0166 | 0.67017 | 0.10576 | 1.0157 | 0.66948 | 1.2379 | 11.7387 | 7.7384 | 1.2212 | 11.7285 | 7.7305 | -0.34809 | 4.7714 | 0.76581 | 0.44568 | -3.1758 | -0.50544 | -1.5957 | 0.27302 | 3.1156 | 1.6525 | -0.18034 | -2.0738 | 105.2153 | 166.7816 | 52.1649 | -74.9073 | -13.1527 | -127.9458 |  | 1.3194 | 0.40713 | 0.4146 | 1.4016 | 0.27121 | 0.27612 | 2.9095 | 170.0564 | 128.3555 | -0.00049957 | 170.0974 | 128.3569
Line_2 | 0.1072 | 1.0166 | 0.67017 | 0.10576 | 1.0157 | 0.66948 | 1.2379 | 11.7387 | 7.7384 | 1.2212 | 11.7285 | 7.7305 | -0.34809 | 4.7714 | 0.76581 | 0.44568 | -3.1758 | -0.50544 | -1.5957 | 0.27302 | 3.1156 | 1.6525 | -0.18034 | -2.0738 | 105.2153 | 166.7816 | 52.1649 | -74.9073 | -13.1527 | -127.9458 |  | 1.3194 | 0.40713 | 0.4146 | 1.4016 | 0.27121 | 0.27612 | 2.9095 | 170.0564 | 128.3555 | -0.00049957 | 170.0974 | 128.3569

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050393 | 0.60461 | 0.60699 | 0.049708 | 0.60479 | 0.60775 | 0.58189 | 6.9814 | 7.009 | 0.57398 | 6.9835 | 7.0177 | 0.36777 | -1.6117 | -4.6732 | -0.37552 | 2.2591 | 5.0923 | -0.66048 | -6.441 | -3.484 | 0.60732 | 6.4055 | 4.19 | 57.8372 | -15.4109 | -109.9403 | -122.6242 | 164.5159 | 70.0829 |  | 1.2992 | 0.95104 | 0.83165 | 1.244 | 0.9726 | 0.9397 | -3.0528 | -119.4597 | 106.7652 | -0.89493 | -124.9114 | 109.5311
Line_1 | 0.024514 | 0.30271 | 0.30431 | 0.024854 | 0.3024 | 0.30387 | 0.28306 | 3.4954 | 3.5138 | 0.28699 | 3.4918 | 3.5088 | -0.1922 | 1.2903 | 2.6558 | 0.18776 | -1.1296 | -2.5461 | 0.2859 | 3.1978 | 2.2715 | -0.30366 | -3.2027 | -2.095 | -123.6483 | 164.4292 | 70.1491 | 57.3758 | -15.4841 | -109.9171 |  | 1.2171 | 0.98651 | 0.99456 | 1.244 | 0.9726 | 0.9397 | 0.263 | -127.5448 | 110.6893 | -0.89493 | -124.9114 | 109.5311
Line_2 | 0.024514 | 0.30271 | 0.30431 | 0.024854 | 0.3024 | 0.30387 | 0.28306 | 3.4954 | 3.5138 | 0.28699 | 3.4918 | 3.5088 | -0.1922 | 1.2903 | 2.6558 | 0.18776 | -1.1296 | -2.5461 | 0.2859 | 3.1978 | 2.2715 | -0.30366 | -3.2027 | -2.095 | -123.6483 | 164.4292 | 70.1491 | 57.3758 | -15.4841 | -109.9171 |  | 1.2171 | 0.98651 | 0.99456 | 1.244 | 0.9726 | 0.9397 | 0.263 | -127.5448 | 110.6893 | -0.89493 | -124.9114 | 109.5311

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.050393 | 0.60461 | 0.60699 | 0.049708 | 0.60479 | 0.60775 | 0.58189 | 6.9814 | 7.009 | 0.57398 | 6.9835 | 7.0177 | 0.36777 | -1.6117 | -4.6732 | -0.37552 | 2.2591 | 5.0923 | -0.66048 | -6.441 | -3.484 | 0.60732 | 6.4055 | 4.19 | 57.8372 | -15.4109 | -109.9403 | -122.6242 | 164.5159 | 70.0829 |  | 1.2992 | 0.95104 | 0.83165 | 1.244 | 0.9726 | 0.9397 | -3.0528 | -119.4597 | 106.7652 | -0.89493 | -124.9114 | 109.5311
Line_1 | 0.024514 | 0.30271 | 0.30431 | 0.024854 | 0.3024 | 0.30387 | 0.28306 | 3.4954 | 3.5138 | 0.28699 | 3.4918 | 3.5088 | -0.1922 | 1.2903 | 2.6558 | 0.18776 | -1.1296 | -2.5461 | 0.2859 | 3.1978 | 2.2715 | -0.30366 | -3.2027 | -2.095 | -123.6483 | 164.4292 | 70.1491 | 57.3758 | -15.4841 | -109.9171 |  | 1.2171 | 0.98651 | 0.99456 | 1.244 | 0.9726 | 0.9397 | 0.263 | -127.5448 | 110.6893 | -0.89493 | -124.9114 | 109.5311
Line_2 | 0.024514 | 0.30271 | 0.30431 | 0.024854 | 0.3024 | 0.30387 | 0.28306 | 3.4954 | 3.5138 | 0.28699 | 3.4918 | 3.5088 | -0.1922 | 1.2903 | 2.6558 | 0.18776 | -1.1296 | -2.5461 | 0.2859 | 3.1978 | 2.2715 | -0.30366 | -3.2027 | -2.095 | -123.6483 | 164.4292 | 70.1491 | 57.3758 | -15.4841 | -109.9171 |  | 1.2171 | 0.98651 | 0.99456 | 1.244 | 0.9726 | 0.9397 | 0.263 | -127.5448 | 110.6893 | -0.89493 | -124.9114 | 109.5311

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22471 | 1.5935 | 0.83752 | 0.22638 | 1.5935 | 0.83874 | 2.5947 | 18.4002 | 9.6709 | 2.614 | 18.4 | 9.685 | 1.1302 | -2.3055e-11 | -8.3279e-12 | -0.68792 | 6.2934 | 0.12153 | 3.4984 | -2.5953e-11 | -1.6382e-11 | -3.023 | -0.66269 | 2.6218 | -77.157 | 2.8668 | -131.9188 | 102.7642 | -177.1944 | 48.1622 |  | 1.4169 | 0 | 0 | 1.186 | 0.34392 | 0.27099 | -5.0607 | 0 | 0 | -0.055761 | 176.7945 | 135.5082
Line_1 | 0.11404 | 0.79719 | 0.41961 | 0.11319 | 0.79674 | 0.41937 | 1.3168 | 9.2051 | 4.8453 | 1.307 | 9.2 | 4.8425 | -0.23727 | 4.7254 | 0.096074 | 0.34396 | -3.1467 | -0.060764 | -1.3953 | -0.49703 | 1.9697 | 1.5115 | 0.33135 | -1.3109 | 102.9163 | -177.2504 | 48.2801 | -77.2358 | 2.8056 | -131.8378 |  | 1.0748 | 0.51617 | 0.407 | 1.186 | 0.34392 | 0.27099 | 3.2654 | 176.7451 | 135.4876 | -0.055761 | 176.7945 | 135.5082
Line_2 | 0.11404 | 0.79719 | 0.41961 | 0.11319 | 0.79674 | 0.41937 | 1.3168 | 9.2051 | 4.8453 | 1.307 | 9.2 | 4.8425 | -0.23727 | 4.7254 | 0.096074 | 0.34396 | -3.1467 | -0.060764 | -1.3953 | -0.49703 | 1.9697 | 1.5115 | 0.33135 | -1.3109 | 102.9163 | -177.2504 | 48.2801 | -77.2358 | 2.8056 | -131.8378 |  | 1.0748 | 0.51617 | 0.407 | 1.186 | 0.34392 | 0.27099 | 3.2654 | 176.7451 | 135.4876 | -0.055761 | 176.7945 | 135.5082

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22471 | 1.5935 | 0.83752 | 0.22638 | 1.5935 | 0.83874 | 2.5947 | 18.4002 | 9.6709 | 2.614 | 18.4 | 9.685 | 1.1302 | -2.3055e-11 | -8.3279e-12 | -0.68792 | 6.2934 | 0.12153 | 3.4984 | -2.5953e-11 | -1.6382e-11 | -3.023 | -0.66269 | 2.6218 | -77.157 | 2.8668 | -131.9188 | 102.7642 | -177.1944 | 48.1622 |  | 1.4169 | 0 | 0 | 1.186 | 0.34392 | 0.27099 | -5.0607 | 0 | 0 | -0.055761 | 176.7945 | 135.5082
Line_1 | 0.11404 | 0.79719 | 0.41961 | 0.11319 | 0.79674 | 0.41937 | 1.3168 | 9.2051 | 4.8453 | 1.307 | 9.2 | 4.8425 | -0.23727 | 4.7254 | 0.096074 | 0.34396 | -3.1467 | -0.060764 | -1.3953 | -0.49703 | 1.9697 | 1.5115 | 0.33135 | -1.3109 | 102.9163 | -177.2504 | 48.2801 | -77.2358 | 2.8056 | -131.8378 |  | 1.0748 | 0.51617 | 0.407 | 1.186 | 0.34392 | 0.27099 | 3.2654 | 176.7451 | 135.4876 | -0.055761 | 176.7945 | 135.5082
Line_2 | 0.11404 | 0.79719 | 0.41961 | 0.11319 | 0.79674 | 0.41937 | 1.3168 | 9.2051 | 4.8453 | 1.307 | 9.2 | 4.8425 | -0.23727 | 4.7254 | 0.096074 | 0.34396 | -3.1467 | -0.060764 | -1.3953 | -0.49703 | 1.9697 | 1.5115 | 0.33135 | -1.3109 | 102.9163 | -177.2504 | 48.2801 | -77.2358 | 2.8056 | -131.8378 |  | 1.0748 | 0.51617 | 0.407 | 1.186 | 0.34392 | 0.27099 | 3.2654 | 176.7451 | 135.4876 | -0.055761 | 176.7945 | 135.5082

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12779 | 0.33263 | 0.33891 | 0.12843 | 0.33239 | 0.3396 | 1.4756 | 3.8409 | 3.9134 | 1.483 | 3.8381 | 3.9214 | 0.52168 | -1.9127 | -2.5755 | -0.38706 | 2.2626 | 2.95 | 1.6166 | -2.6199 | -0.73681 | -1.5302 | 2.4028 | 1.0954 | -76.9458 | 8.4512 | -89.2587 | 102.9237 | -171.6636 | 90.7163 |  | 1.1512 | 0.84455 | 0.68453 | 1.0643 | 0.85991 | 0.80249 | -4.8305 | -117.6804 | 106.7062 | -1.2715 | -124.9426 | 111.0864
Line_1 | 0.064587 | 0.16626 | 0.17015 | 0.064216 | 0.1662 | 0.1698 | 0.74578 | 1.9199 | 1.9648 | 0.7415 | 1.9191 | 1.9607 | -0.16135 | 1.2185 | 1.5716 | 0.19353 | -1.1313 | -1.475 | -0.74533 | 1.1494 | 0.63703 | 0.7651 | -1.2014 | -0.54768 | 102.9577 | -171.7899 | 90.7553 | -77.0763 | 8.3364 | -89.2837 |  | 1.0225 | 0.87248 | 0.86308 | 1.0643 | 0.85991 | 0.80249 | 0.74292 | -128.4614 | 112.8207 | -1.2715 | -124.9426 | 111.0864
Line_2 | 0.064587 | 0.16626 | 0.17015 | 0.064216 | 0.1662 | 0.1698 | 0.74578 | 1.9199 | 1.9648 | 0.7415 | 1.9191 | 1.9607 | -0.16135 | 1.2185 | 1.5716 | 0.19353 | -1.1313 | -1.475 | -0.74533 | 1.1494 | 0.63703 | 0.7651 | -1.2014 | -0.54768 | 102.9577 | -171.7899 | 90.7553 | -77.0763 | 8.3364 | -89.2837 |  | 1.0225 | 0.87248 | 0.86308 | 1.0643 | 0.85991 | 0.80249 | 0.74292 | -128.4614 | 112.8207 | -1.2715 | -124.9426 | 111.0864

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12779 | 0.33263 | 0.33891 | 0.12843 | 0.33239 | 0.3396 | 1.4756 | 3.8409 | 3.9134 | 1.483 | 3.8381 | 3.9214 | 0.52168 | -1.9127 | -2.5755 | -0.38706 | 2.2626 | 2.95 | 1.6166 | -2.6199 | -0.73681 | -1.5302 | 2.4028 | 1.0954 | -76.9458 | 8.4512 | -89.2587 | 102.9237 | -171.6636 | 90.7163 |  | 1.1512 | 0.84455 | 0.68453 | 1.0643 | 0.85991 | 0.80249 | -4.8305 | -117.6804 | 106.7062 | -1.2715 | -124.9426 | 111.0864
Line_1 | 0.064587 | 0.16626 | 0.17015 | 0.064216 | 0.1662 | 0.1698 | 0.74578 | 1.9199 | 1.9648 | 0.7415 | 1.9191 | 1.9607 | -0.16135 | 1.2185 | 1.5716 | 0.19353 | -1.1313 | -1.475 | -0.74533 | 1.1494 | 0.63703 | 0.7651 | -1.2014 | -0.54768 | 102.9577 | -171.7899 | 90.7553 | -77.0763 | 8.3364 | -89.2837 |  | 1.0225 | 0.87248 | 0.86308 | 1.0643 | 0.85991 | 0.80249 | 0.74292 | -128.4614 | 112.8207 | -1.2715 | -124.9426 | 111.0864
Line_2 | 0.064587 | 0.16626 | 0.17015 | 0.064216 | 0.1662 | 0.1698 | 0.74578 | 1.9199 | 1.9648 | 0.7415 | 1.9191 | 1.9607 | -0.16135 | 1.2185 | 1.5716 | 0.19353 | -1.1313 | -1.475 | -0.74533 | 1.1494 | 0.63703 | 0.7651 | -1.2014 | -0.54768 | 102.9577 | -171.7899 | 90.7553 | -77.0763 | 8.3364 | -89.2837 |  | 1.0225 | 0.87248 | 0.86308 | 1.0643 | 0.85991 | 0.80249 | 0.74292 | -128.4614 | 112.8207 | -1.2715 | -124.9426 | 111.0864