## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2488 | 0.85549 | 0.71491 | 2.2463 | 0.85822 | 0.71713 | 25.9666 | 9.8783 | 8.255 | 25.9384 | 9.9099 | 8.2807 | 4.2836 | -9.563 | 11.4209 | 1.1296e-10 | 9.6019 | -11.7629 | 4.1327 | 7.7349 | 1.7119 | -1.0624e-10 | -7.9975 | -1.7231 | -67.7307 | 86.1588 | 120.9977 | 112.301 | -93.8441 | -59.1299 |  | 0.22922 | 1.2451 | 1.399 | 0 | 1.261 | 1.4357 | -23.7578 | -132.8085 | 129.5225 | 0 | -133.6353 | 129.2039
Line_1 | 1.1365 | 0.43172 | 0.36088 | 1.1339 | 0.42911 | 0.35856 | 13.1233 | 4.9851 | 4.167 | 13.0936 | 4.955 | 4.1403 | 2.9546 | 5.6788 | -5.1003 | 6.3878e-11 | -4.801 | 5.8814 | 1.3516 | -3.4334 | -0.83499 | -4.5249e-11 | 3.9988 | 0.86156 | -75.6578 | -93.8062 | -59.3288 | 104.3697 | 86.1559 | 120.8701 |  | 0.24758 | 1.3312 | 1.2403 | 0 | 1.261 | 1.4357 | -51.0764 | -124.9635 | 129.9689 | 0 | -133.6353 | 129.2039
Line_2 | 1.1365 | 0.43172 | 0.36088 | 1.1339 | 0.42911 | 0.35856 | 13.1233 | 4.9851 | 4.167 | 13.0936 | 4.955 | 4.1403 | 2.9546 | 5.6788 | -5.1003 | 6.3878e-11 | -4.801 | 5.8814 | 1.3516 | -3.4334 | -0.83499 | -4.5249e-11 | 3.9988 | 0.86156 | -75.6578 | -93.8062 | -59.3288 | 104.3697 | 86.1559 | 120.8701 |  | 0.24758 | 1.3312 | 1.2403 | 0 | 1.261 | 1.4357 | -51.0764 | -124.9635 | 129.9689 | 0 | -133.6353 | 129.2039

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2488 | 0.85549 | 0.71491 | 2.2463 | 0.85822 | 0.71713 | 25.9666 | 9.8783 | 8.255 | 25.9384 | 9.9099 | 8.2807 | 4.2836 | -9.563 | 11.4209 | 1.1296e-10 | 9.6019 | -11.7629 | 4.1327 | 7.7349 | 1.7119 | -1.0624e-10 | -7.9975 | -1.7231 | -67.7307 | 86.1588 | 120.9977 | 112.301 | -93.8441 | -59.1299 |  | 0.22922 | 1.2451 | 1.399 | 0 | 1.261 | 1.4357 | -23.7578 | -132.8085 | 129.5225 | 0 | -133.6353 | 129.2039
Line_1 | 1.1365 | 0.43172 | 0.36088 | 1.1339 | 0.42911 | 0.35856 | 13.1233 | 4.9851 | 4.167 | 13.0936 | 4.955 | 4.1403 | 2.9546 | 5.6788 | -5.1003 | 6.3878e-11 | -4.801 | 5.8814 | 1.3516 | -3.4334 | -0.83499 | -4.5249e-11 | 3.9988 | 0.86156 | -75.6578 | -93.8062 | -59.3288 | 104.3697 | 86.1559 | 120.8701 |  | 0.24758 | 1.3312 | 1.2403 | 0 | 1.261 | 1.4357 | -51.0764 | -124.9635 | 129.9689 | 0 | -133.6353 | 129.2039
Line_2 | 1.1365 | 0.43172 | 0.36088 | 1.1339 | 0.42911 | 0.35856 | 13.1233 | 4.9851 | 4.167 | 13.0936 | 4.955 | 4.1403 | 2.9546 | 5.6788 | -5.1003 | 6.3878e-11 | -4.801 | 5.8814 | 1.3516 | -3.4334 | -0.83499 | -4.5249e-11 | 3.9988 | 0.86156 | -75.6578 | -93.8062 | -59.3288 | 104.3697 | 86.1559 | 120.8701 |  | 0.24758 | 1.3312 | 1.2403 | 0 | 1.261 | 1.4357 | -51.0764 | -124.9635 | 129.9689 | 0 | -133.6353 | 129.2039

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55223 | 0.19702 | 0.31241 | 0.55157 | 0.19764 | 0.31272 | 6.3765 | 2.275 | 3.6074 | 6.369 | 2.2822 | 3.6109 | 4.9073 | -2.7073 | 2.8956 | -4.6086 | 2.7474 | -2.9401 | 2.9203 | 0.285 | -3.1996 | -2.6722 | -0.32283 | 3.2628 | -37.9871 | 62.7999 | 172.4054 | 142.0658 | -117.0413 | -7.7358 |  | 0.89555 | 1.1966 | 1.1962 | 0.83644 | 1.2121 | 1.2163 | -7.2307 | -123.2096 | 124.5497 | -7.8282 | -123.743 | 124.2861
Line_1 | 0.42321 | 0.099354 | 0.15675 | 0.42242 | 0.098822 | 0.15636 | 4.8868 | 1.1472 | 1.8099 | 4.8777 | 1.1411 | 1.8055 | 2.7067 | 1.4021 | -1.3867 | -2.3599 | -1.3737 | 1.47 | 3.5324 | -0.10452 | 1.5877 | -3.3281 | 0.16141 | -1.6314 | -62.5003 | -116.6983 | -7.9906 | 117.5114 | 62.9587 | 172.2642 |  | 0.91065 | 1.2255 | 1.1647 | 0.83644 | 1.2121 | 1.2163 | -9.9621 | -120.9614 | 123.1432 | -7.8282 | -123.743 | 124.2861
Line_2 | 0.42321 | 0.099354 | 0.15675 | 0.42242 | 0.098822 | 0.15636 | 4.8868 | 1.1472 | 1.8099 | 4.8777 | 1.1411 | 1.8055 | 2.7067 | 1.4021 | -1.3867 | -2.3599 | -1.3737 | 1.47 | 3.5324 | -0.10452 | 1.5877 | -3.3281 | 0.16141 | -1.6314 | -62.5003 | -116.6983 | -7.9906 | 117.5114 | 62.9587 | 172.2642 |  | 0.91065 | 1.2255 | 1.1647 | 0.83644 | 1.2121 | 1.2163 | -9.9621 | -120.9614 | 123.1432 | -7.8282 | -123.743 | 124.2861

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55223 | 0.19702 | 0.31241 | 0.55157 | 0.19764 | 0.31272 | 6.3765 | 2.275 | 3.6074 | 6.369 | 2.2822 | 3.6109 | 4.9073 | -2.7073 | 2.8956 | -4.6086 | 2.7474 | -2.9401 | 2.9203 | 0.285 | -3.1996 | -2.6722 | -0.32283 | 3.2628 | -37.9871 | 62.7999 | 172.4054 | 142.0658 | -117.0413 | -7.7358 |  | 0.89555 | 1.1966 | 1.1962 | 0.83644 | 1.2121 | 1.2163 | -7.2307 | -123.2096 | 124.5497 | -7.8282 | -123.743 | 124.2861
Line_1 | 0.42321 | 0.099354 | 0.15675 | 0.42242 | 0.098822 | 0.15636 | 4.8868 | 1.1472 | 1.8099 | 4.8777 | 1.1411 | 1.8055 | 2.7067 | 1.4021 | -1.3867 | -2.3599 | -1.3737 | 1.47 | 3.5324 | -0.10452 | 1.5877 | -3.3281 | 0.16141 | -1.6314 | -62.5003 | -116.6983 | -7.9906 | 117.5114 | 62.9587 | 172.2642 |  | 0.91065 | 1.2255 | 1.1647 | 0.83644 | 1.2121 | 1.2163 | -9.9621 | -120.9614 | 123.1432 | -7.8282 | -123.743 | 124.2861
Line_2 | 0.42321 | 0.099354 | 0.15675 | 0.42242 | 0.098822 | 0.15636 | 4.8868 | 1.1472 | 1.8099 | 4.8777 | 1.1411 | 1.8055 | 2.7067 | 1.4021 | -1.3867 | -2.3599 | -1.3737 | 1.47 | 3.5324 | -0.10452 | 1.5877 | -3.3281 | 0.16141 | -1.6314 | -62.5003 | -116.6983 | -7.9906 | 117.5114 | 62.9587 | 172.2642 |  | 0.91065 | 1.2255 | 1.1647 | 0.83644 | 1.2121 | 1.2163 | -9.9621 | -120.9614 | 123.1432 | -7.8282 | -123.743 | 124.2861

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9817 | 0.73072 | 0.60737 | 1.9799 | 0.73266 | 0.6092 | 22.8824 | 8.4376 | 7.0133 | 22.8619 | 8.46 | 7.0345 | 6.4591 | -3.0387 | 8.5792 | -5.9373e-11 | 2.698 | -9.0046 | 3.1215 | 8.3778 | 1.0905 | 4.0118e-12 | -8.4834 | -1.1698 | -57.2236 | 116.146 | 120.856 | 122.8191 | -63.9525 | -59.2771 |  | 0.31351 | 1.0562 | 1.2331 | 0 | 1.0523 | 1.2908 | -31.4303 | -133.918 | 128.1 | 0 | -136.3102 | 128.1246
Line_1 | 0.87362 | 0.36826 | 0.30647 | 0.87167 | 0.36633 | 0.3046 | 10.0877 | 4.2524 | 3.5388 | 10.0652 | 4.23 | 3.5172 | 3.4933 | 2.6549 | -3.465 | -2.6138e-11 | -1.349 | 4.5023 | 0.90918 | -4.007 | -0.47966 | -1.7966e-12 | 4.2417 | 0.58488 | -65.0269 | -64.073 | -59.4508 | 115.0216 | 116.0475 | 120.7229 |  | 0.35783 | 1.1304 | 0.98849 | 0 | 1.0523 | 1.2908 | -50.4385 | -120.5458 | 128.4305 | 0 | -136.3102 | 128.1246
Line_2 | 0.87362 | 0.36826 | 0.30647 | 0.87167 | 0.36633 | 0.3046 | 10.0877 | 4.2524 | 3.5388 | 10.0652 | 4.23 | 3.5172 | 3.4933 | 2.6549 | -3.465 | -2.6138e-11 | -1.349 | 4.5023 | 0.90918 | -4.007 | -0.47966 | -1.7966e-12 | 4.2417 | 0.58488 | -65.0269 | -64.073 | -59.4508 | 115.0216 | 116.0475 | 120.7229 |  | 0.35783 | 1.1304 | 0.98849 | 0 | 1.0523 | 1.2908 | -50.4385 | -120.5458 | 128.4305 | 0 | -136.3102 | 128.1246

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9817 | 0.73072 | 0.60737 | 1.9799 | 0.73266 | 0.6092 | 22.8824 | 8.4376 | 7.0133 | 22.8619 | 8.46 | 7.0345 | 6.4591 | -3.0387 | 8.5792 | -5.9373e-11 | 2.698 | -9.0046 | 3.1215 | 8.3778 | 1.0905 | 4.0118e-12 | -8.4834 | -1.1698 | -57.2236 | 116.146 | 120.856 | 122.8191 | -63.9525 | -59.2771 |  | 0.31351 | 1.0562 | 1.2331 | 0 | 1.0523 | 1.2908 | -31.4303 | -133.918 | 128.1 | 0 | -136.3102 | 128.1246
Line_1 | 0.87362 | 0.36826 | 0.30647 | 0.87167 | 0.36633 | 0.3046 | 10.0877 | 4.2524 | 3.5388 | 10.0652 | 4.23 | 3.5172 | 3.4933 | 2.6549 | -3.465 | -2.6138e-11 | -1.349 | 4.5023 | 0.90918 | -4.007 | -0.47966 | -1.7966e-12 | 4.2417 | 0.58488 | -65.0269 | -64.073 | -59.4508 | 115.0216 | 116.0475 | 120.7229 |  | 0.35783 | 1.1304 | 0.98849 | 0 | 1.0523 | 1.2908 | -50.4385 | -120.5458 | 128.4305 | 0 | -136.3102 | 128.1246
Line_2 | 0.87362 | 0.36826 | 0.30647 | 0.87167 | 0.36633 | 0.3046 | 10.0877 | 4.2524 | 3.5388 | 10.0652 | 4.23 | 3.5172 | 3.4933 | 2.6549 | -3.465 | -2.6138e-11 | -1.349 | 4.5023 | 0.90918 | -4.007 | -0.47966 | -1.7966e-12 | 4.2417 | 0.58488 | -65.0269 | -64.073 | -59.4508 | 115.0216 | 116.0475 | 120.7229 |  | 0.35783 | 1.1304 | 0.98849 | 0 | 1.0523 | 1.2908 | -50.4385 | -120.5458 | 128.4305 | 0 | -136.3102 | 128.1246

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61007 | 0.22495 | 0.18698 | 0.60952 | 0.22555 | 0.18755 | 7.0444 | 2.5975 | 2.1591 | 7.0381 | 2.6044 | 2.1656 | 4.313 | -0.85078 | 2.2614 | -3.7 | 0.82297 | -2.3071 | 3.5577 | 2.5238 | -0.33082 | -3.2561 | -2.5374 | 0.32124 | -46.2097 | 127.1599 | 131.8699 | 133.833 | -52.9386 | -48.2632 |  | 0.79368 | 1.0253 | 1.0585 | 0.70029 | 1.0242 | 1.0756 | -6.6916 | -124.2109 | 123.5471 | -4.8177 | -124.9691 | 123.8098
Line_1 | 0.26895 | 0.11337 | 0.094347 | 0.26835 | 0.11278 | 0.093773 | 3.1055 | 1.3091 | 1.0894 | 3.0986 | 1.3022 | 1.0828 | 1.7523 | 0.53858 | -1.0603 | -1.4194 | -0.41148 | 1.1535 | 1.7324 | -1.2504 | 0.1697 | -1.6413 | 1.2687 | -0.16062 | -54.013 | -53.0591 | -48.4369 | 126.0355 | 127.0614 | 131.7368 |  | 0.79343 | 1.04 | 0.98569 | 0.70029 | 1.0242 | 1.0756 | -9.3403 | -119.757 | 122.4705 | -4.8177 | -124.9691 | 123.8098
Line_2 | 0.26895 | 0.11337 | 0.094347 | 0.26835 | 0.11278 | 0.093773 | 3.1055 | 1.3091 | 1.0894 | 3.0986 | 1.3022 | 1.0828 | 1.7523 | 0.53858 | -1.0603 | -1.4194 | -0.41148 | 1.1535 | 1.7324 | -1.2504 | 0.1697 | -1.6413 | 1.2687 | -0.16062 | -54.013 | -53.0591 | -48.4369 | 126.0355 | 127.0614 | 131.7368 |  | 0.79343 | 1.04 | 0.98569 | 0.70029 | 1.0242 | 1.0756 | -9.3403 | -119.757 | 122.4705 | -4.8177 | -124.9691 | 123.8098

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61007 | 0.22495 | 0.18698 | 0.60952 | 0.22555 | 0.18755 | 7.0444 | 2.5975 | 2.1591 | 7.0381 | 2.6044 | 2.1656 | 4.313 | -0.85078 | 2.2614 | -3.7 | 0.82297 | -2.3071 | 3.5577 | 2.5238 | -0.33082 | -3.2561 | -2.5374 | 0.32124 | -46.2097 | 127.1599 | 131.8699 | 133.833 | -52.9386 | -48.2632 |  | 0.79368 | 1.0253 | 1.0585 | 0.70029 | 1.0242 | 1.0756 | -6.6916 | -124.2109 | 123.5471 | -4.8177 | -124.9691 | 123.8098
Line_1 | 0.26895 | 0.11337 | 0.094347 | 0.26835 | 0.11278 | 0.093773 | 3.1055 | 1.3091 | 1.0894 | 3.0986 | 1.3022 | 1.0828 | 1.7523 | 0.53858 | -1.0603 | -1.4194 | -0.41148 | 1.1535 | 1.7324 | -1.2504 | 0.1697 | -1.6413 | 1.2687 | -0.16062 | -54.013 | -53.0591 | -48.4369 | 126.0355 | 127.0614 | 131.7368 |  | 0.79343 | 1.04 | 0.98569 | 0.70029 | 1.0242 | 1.0756 | -9.3403 | -119.757 | 122.4705 | -4.8177 | -124.9691 | 123.8098
Line_2 | 0.26895 | 0.11337 | 0.094347 | 0.26835 | 0.11278 | 0.093773 | 3.1055 | 1.3091 | 1.0894 | 3.0986 | 1.3022 | 1.0828 | 1.7523 | 0.53858 | -1.0603 | -1.4194 | -0.41148 | 1.1535 | 1.7324 | -1.2504 | 0.1697 | -1.6413 | 1.2687 | -0.16062 | -54.013 | -53.0591 | -48.4369 | 126.0355 | 127.0614 | 131.7368 |  | 0.79343 | 1.04 | 0.98569 | 0.70029 | 1.0242 | 1.0756 | -9.3403 | -119.757 | 122.4705 | -4.8177 | -124.9691 | 123.8098

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3907 | 3.8782 | 3.5966 | 0.39289 | 3.8784 | 3.5959 | 4.5114 | 44.7819 | 41.5303 | 4.5367 | 44.7837 | 41.5223 | -0.17326 | 10.1721 | 4.9502 | 0.13139 | 1.0194e-10 | 1.2294e-10 | 6.3084 | 7.3791 | 9.5082 | -6.5083 | -8.8161e-11 | 9.316e-12 | -91.6659 | -174.5693 | 19.544 | 88.3501 | 5.463 | -160.4891 |  | 1.3989 | 0.28062 | 0.25812 | 1.4349 | 0 | 0 | -0.092594 | -138.6111 | 82.0415 | -0.49337 | 0 | 0
Line_1 | 0.19852 | 1.1188 | 0.93216 | 0.19644 | 1.1176 | 0.93059 | 2.2923 | 12.9184 | 10.7636 | 2.2683 | 12.9054 | 10.7455 | 0.34713 | 2.245 | 1.0271 | -0.065694 | 3.8082e-11 | 2.6887e-11 | -3.0699 | -0.22323 | 1.9533 | 3.2542 | -7.6272e-12 | -1.7181e-11 | 88.4554 | 155.8434 | 56.51 | -91.6499 | -24.0655 | -123.5765 |  | 1.3477 | 0.17464 | 0.20503 | 1.4349 | 0 | 0 | 4.9068 | 150.1649 | 118.7733 | -0.49337 | 0 | 0
Line_2 | 0.19852 | 1.1188 | 0.93216 | 0.19644 | 1.1176 | 0.93059 | 2.2923 | 12.9184 | 10.7636 | 2.2683 | 12.9054 | 10.7455 | 0.34713 | 2.245 | 1.0271 | -0.065694 | 3.8082e-11 | 2.6887e-11 | -3.0699 | -0.22323 | 1.9533 | 3.2542 | -7.6272e-12 | -1.7181e-11 | 88.4554 | 155.8434 | 56.51 | -91.6499 | -24.0655 | -123.5765 |  | 1.3477 | 0.17464 | 0.20503 | 1.4349 | 0 | 0 | 4.9068 | 150.1649 | 118.7733 | -0.49337 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3907 | 3.8782 | 3.5966 | 0.39289 | 3.8784 | 3.5959 | 4.5114 | 44.7819 | 41.5303 | 4.5367 | 44.7837 | 41.5223 | -0.17326 | 10.1721 | 4.9502 | 0.13139 | 1.0194e-10 | 1.2294e-10 | 6.3084 | 7.3791 | 9.5082 | -6.5083 | -8.8161e-11 | 9.316e-12 | -91.6659 | -174.5693 | 19.544 | 88.3501 | 5.463 | -160.4891 |  | 1.3989 | 0.28062 | 0.25812 | 1.4349 | 0 | 0 | -0.092594 | -138.6111 | 82.0415 | -0.49337 | 0 | 0
Line_1 | 0.19852 | 1.1188 | 0.93216 | 0.19644 | 1.1176 | 0.93059 | 2.2923 | 12.9184 | 10.7636 | 2.2683 | 12.9054 | 10.7455 | 0.34713 | 2.245 | 1.0271 | -0.065694 | 3.8082e-11 | 2.6887e-11 | -3.0699 | -0.22323 | 1.9533 | 3.2542 | -7.6272e-12 | -1.7181e-11 | 88.4554 | 155.8434 | 56.51 | -91.6499 | -24.0655 | -123.5765 |  | 1.3477 | 0.17464 | 0.20503 | 1.4349 | 0 | 0 | 4.9068 | 150.1649 | 118.7733 | -0.49337 | 0 | 0
Line_2 | 0.19852 | 1.1188 | 0.93216 | 0.19644 | 1.1176 | 0.93059 | 2.2923 | 12.9184 | 10.7636 | 2.2683 | 12.9054 | 10.7455 | 0.34713 | 2.245 | 1.0271 | -0.065694 | 3.8082e-11 | 2.6887e-11 | -3.0699 | -0.22323 | 1.9533 | 3.2542 | -7.6272e-12 | -1.7181e-11 | 88.4554 | 155.8434 | 56.51 | -91.6499 | -24.0655 | -123.5765 |  | 1.3477 | 0.17464 | 0.20503 | 1.4349 | 0 | 0 | 4.9068 | 150.1649 | 118.7733 | -0.49337 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037763 | 0.83095 | 0.72974 | 0.03757 | 0.83123 | 0.72927 | 0.43605 | 9.595 | 8.4263 | 0.43382 | 9.5982 | 8.4208 | 0.47049 | 8.4253 | 4.4099 | -0.47929 | -7.9369 | -4.1977 | -0.25939 | 3.1886 | 6.5746 | 0.256 | -2.9342 | -6.0921 | 29.8451 | -143.8674 | 53.0565 | -151.2805 | 36.1816 | -126.9905 |  | 1.2321 | 0.93887 | 0.93951 | 1.2525 | 0.88161 | 0.87856 | 0.97645 | -123.1383 | 109.2048 | 0.61192 | -123.5298 | 108.4411
Line_1 | 0.01871 | 0.3843 | 0.36534 | 0.018785 | 0.38385 | 0.36476 | 0.21604 | 4.4375 | 4.2186 | 0.21691 | 4.4323 | 4.2119 | -0.23928 | 1.4855 | 3.216 | 0.23965 | -1.2131 | -3.047 | 0.10821 | 3.709 | 2.369 | -0.128 | -3.7145 | -2.0998 | -153.5142 | 164.4697 | 73.9398 | 28.7195 | -15.4431 | -106.131 |  | 1.2156 | 0.90038 | 0.94684 | 1.2525 | 0.88161 | 0.87856 | 2.1527 | -127.3577 | 110.3159 | 0.61192 | -123.5298 | 108.4411
Line_2 | 0.01871 | 0.3843 | 0.36534 | 0.018785 | 0.38385 | 0.36476 | 0.21604 | 4.4375 | 4.2186 | 0.21691 | 4.4323 | 4.2119 | -0.23928 | 1.4855 | 3.216 | 0.23965 | -1.2131 | -3.047 | 0.10821 | 3.709 | 2.369 | -0.128 | -3.7145 | -2.0998 | -153.5142 | 164.4697 | 73.9398 | 28.7195 | -15.4431 | -106.131 |  | 1.2156 | 0.90038 | 0.94684 | 1.2525 | 0.88161 | 0.87856 | 2.1527 | -127.3577 | 110.3159 | 0.61192 | -123.5298 | 108.4411

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037763 | 0.83095 | 0.72974 | 0.03757 | 0.83123 | 0.72927 | 0.43605 | 9.595 | 8.4263 | 0.43382 | 9.5982 | 8.4208 | 0.47049 | 8.4253 | 4.4099 | -0.47929 | -7.9369 | -4.1977 | -0.25939 | 3.1886 | 6.5746 | 0.256 | -2.9342 | -6.0921 | 29.8451 | -143.8674 | 53.0565 | -151.2805 | 36.1816 | -126.9905 |  | 1.2321 | 0.93887 | 0.93951 | 1.2525 | 0.88161 | 0.87856 | 0.97645 | -123.1383 | 109.2048 | 0.61192 | -123.5298 | 108.4411
Line_1 | 0.01871 | 0.3843 | 0.36534 | 0.018785 | 0.38385 | 0.36476 | 0.21604 | 4.4375 | 4.2186 | 0.21691 | 4.4323 | 4.2119 | -0.23928 | 1.4855 | 3.216 | 0.23965 | -1.2131 | -3.047 | 0.10821 | 3.709 | 2.369 | -0.128 | -3.7145 | -2.0998 | -153.5142 | 164.4697 | 73.9398 | 28.7195 | -15.4431 | -106.131 |  | 1.2156 | 0.90038 | 0.94684 | 1.2525 | 0.88161 | 0.87856 | 2.1527 | -127.3577 | 110.3159 | 0.61192 | -123.5298 | 108.4411
Line_2 | 0.01871 | 0.3843 | 0.36534 | 0.018785 | 0.38385 | 0.36476 | 0.21604 | 4.4375 | 4.2186 | 0.21691 | 4.4323 | 4.2119 | -0.23928 | 1.4855 | 3.216 | 0.23965 | -1.2131 | -3.047 | 0.10821 | 3.709 | 2.369 | -0.128 | -3.7145 | -2.0998 | -153.5142 | 164.4697 | 73.9398 | 28.7195 | -15.4431 | -106.131 |  | 1.2156 | 0.90038 | 0.94684 | 1.2525 | 0.88161 | 0.87856 | 2.1527 | -127.3577 | 110.3159 | 0.61192 | -123.5298 | 108.4411

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43661 | 3.2852 | 3.0158 | 0.43834 | 3.2855 | 3.015 | 5.0416 | 37.9342 | 34.8233 | 5.0615 | 37.9381 | 34.8137 | 2.3369 | 13.3122 | 7.4621 | -2.5176 | -1.1253e-10 | -1.9798e-11 | 5.6425 | 3.9554 | 8.1424 | -5.8395 | -8.847e-11 | -1.3103e-10 | -68.4388 | -167.4276 | 28.7806 | 111.4801 | 12.6038 | -151.2505 |  | 1.2114 | 0.36609 | 0.31716 | 1.2564 | 0 | 0 | -0.93618 | -150.8795 | 76.2769 | -1.8422 | 0 | 0
Line_1 | 0.2208 | 0.96109 | 0.62643 | 0.21917 | 0.96031 | 0.6252 | 2.5496 | 11.0977 | 7.2333 | 2.5308 | 11.0887 | 7.2192 | -0.70061 | 2.9805 | 0.87101 | 1.2588 | -1.7055e-11 | -1.789e-11 | -2.7085 | -0.72052 | 1.7317 | 2.9198 | -3.8204e-11 | -2.0857e-11 | 111.416 | 164.7479 | 60.8798 | -68.5199 | -15.1651 | -119.2216 |  | 1.0973 | 0.27631 | 0.26798 | 1.2564 | 0 | 0 | 6.9131 | 151.1579 | 124.1782 | -1.8422 | 0 | 0
Line_2 | 0.2208 | 0.96109 | 0.62643 | 0.21917 | 0.96031 | 0.6252 | 2.5496 | 11.0977 | 7.2333 | 2.5308 | 11.0887 | 7.2192 | -0.70061 | 2.9805 | 0.87101 | 1.2588 | -1.7055e-11 | -1.789e-11 | -2.7085 | -0.72052 | 1.7317 | 2.9198 | -3.8204e-11 | -2.0857e-11 | 111.416 | 164.7479 | 60.8798 | -68.5199 | -15.1651 | -119.2216 |  | 1.0973 | 0.27631 | 0.26798 | 1.2564 | 0 | 0 | 6.9131 | 151.1579 | 124.1782 | -1.8422 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43661 | 3.2852 | 3.0158 | 0.43834 | 3.2855 | 3.015 | 5.0416 | 37.9342 | 34.8233 | 5.0615 | 37.9381 | 34.8137 | 2.3369 | 13.3122 | 7.4621 | -2.5176 | -1.1253e-10 | -1.9798e-11 | 5.6425 | 3.9554 | 8.1424 | -5.8395 | -8.847e-11 | -1.3103e-10 | -68.4388 | -167.4276 | 28.7806 | 111.4801 | 12.6038 | -151.2505 |  | 1.2114 | 0.36609 | 0.31716 | 1.2564 | 0 | 0 | -0.93618 | -150.8795 | 76.2769 | -1.8422 | 0 | 0
Line_1 | 0.2208 | 0.96109 | 0.62643 | 0.21917 | 0.96031 | 0.6252 | 2.5496 | 11.0977 | 7.2333 | 2.5308 | 11.0887 | 7.2192 | -0.70061 | 2.9805 | 0.87101 | 1.2588 | -1.7055e-11 | -1.789e-11 | -2.7085 | -0.72052 | 1.7317 | 2.9198 | -3.8204e-11 | -2.0857e-11 | 111.416 | 164.7479 | 60.8798 | -68.5199 | -15.1651 | -119.2216 |  | 1.0973 | 0.27631 | 0.26798 | 1.2564 | 0 | 0 | 6.9131 | 151.1579 | 124.1782 | -1.8422 | 0 | 0
Line_2 | 0.2208 | 0.96109 | 0.62643 | 0.21917 | 0.96031 | 0.6252 | 2.5496 | 11.0977 | 7.2333 | 2.5308 | 11.0887 | 7.2192 | -0.70061 | 2.9805 | 0.87101 | 1.2588 | -1.7055e-11 | -1.789e-11 | -2.7085 | -0.72052 | 1.7317 | 2.9198 | -3.8204e-11 | -2.0857e-11 | 111.416 | 164.7479 | 60.8798 | -68.5199 | -15.1651 | -119.2216 |  | 1.0973 | 0.27631 | 0.26798 | 1.2564 | 0 | 0 | 6.9131 | 151.1579 | 124.1782 | -1.8422 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17385 | 0.80072 | 0.7871 | 0.17445 | 0.80096 | 0.78662 | 2.0074 | 9.2459 | 9.0886 | 2.0144 | 9.2487 | 9.0831 | 1.0747 | 6.8421 | 4.183 | -1.1002 | -6.03 | -3.6115 | 1.8664 | 3.7322 | 6.1443 | -1.8933 | -3.5972 | -5.4839 | -60.3292 | -152.1606 | 53.3219 | 119.5855 | 27.8827 | -126.7105 |  | 1.0729 | 0.84295 | 0.81784 | 1.0871 | 0.75918 | 0.72291 | -0.2619 | -123.5493 | 109.0754 | -0.57551 | -121.299 | 109.9221
Line_1 | 0.087799 | 0.25178 | 0.22037 | 0.087224 | 0.25152 | 0.21982 | 1.0138 | 2.9073 | 2.5446 | 1.0072 | 2.9043 | 2.5383 | -0.47006 | 1.0759 | 1.8544 | 0.55011 | -0.82737 | -1.6782 | -0.92479 | 1.9623 | 0.92498 | 0.94667 | -2.0438 | -0.74203 | 119.5039 | 170.6209 | 86.1249 | -60.4145 | -9.2595 | -93.9304 |  | 1.0233 | 0.76974 | 0.81438 | 1.0871 | 0.75918 | 0.72291 | 2.5602 | -128.1155 | 112.6352 | -0.57551 | -121.299 | 109.9221
Line_2 | 0.087799 | 0.25178 | 0.22037 | 0.087224 | 0.25152 | 0.21982 | 1.0138 | 2.9073 | 2.5446 | 1.0072 | 2.9043 | 2.5383 | -0.47006 | 1.0759 | 1.8544 | 0.55011 | -0.82737 | -1.6782 | -0.92479 | 1.9623 | 0.92498 | 0.94667 | -2.0438 | -0.74203 | 119.5039 | 170.6209 | 86.1249 | -60.4145 | -9.2595 | -93.9304 |  | 1.0233 | 0.76974 | 0.81438 | 1.0871 | 0.75918 | 0.72291 | 2.5602 | -128.1155 | 112.6352 | -0.57551 | -121.299 | 109.9221

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17385 | 0.80072 | 0.7871 | 0.17445 | 0.80096 | 0.78662 | 2.0074 | 9.2459 | 9.0886 | 2.0144 | 9.2487 | 9.0831 | 1.0747 | 6.8421 | 4.183 | -1.1002 | -6.03 | -3.6115 | 1.8664 | 3.7322 | 6.1443 | -1.8933 | -3.5972 | -5.4839 | -60.3292 | -152.1606 | 53.3219 | 119.5855 | 27.8827 | -126.7105 |  | 1.0729 | 0.84295 | 0.81784 | 1.0871 | 0.75918 | 0.72291 | -0.2619 | -123.5493 | 109.0754 | -0.57551 | -121.299 | 109.9221
Line_1 | 0.087799 | 0.25178 | 0.22037 | 0.087224 | 0.25152 | 0.21982 | 1.0138 | 2.9073 | 2.5446 | 1.0072 | 2.9043 | 2.5383 | -0.47006 | 1.0759 | 1.8544 | 0.55011 | -0.82737 | -1.6782 | -0.92479 | 1.9623 | 0.92498 | 0.94667 | -2.0438 | -0.74203 | 119.5039 | 170.6209 | 86.1249 | -60.4145 | -9.2595 | -93.9304 |  | 1.0233 | 0.76974 | 0.81438 | 1.0871 | 0.75918 | 0.72291 | 2.5602 | -128.1155 | 112.6352 | -0.57551 | -121.299 | 109.9221
Line_2 | 0.087799 | 0.25178 | 0.22037 | 0.087224 | 0.25152 | 0.21982 | 1.0138 | 2.9073 | 2.5446 | 1.0072 | 2.9043 | 2.5383 | -0.47006 | 1.0759 | 1.8544 | 0.55011 | -0.82737 | -1.6782 | -0.92479 | 1.9623 | 0.92498 | 0.94667 | -2.0438 | -0.74203 | 119.5039 | 170.6209 | 86.1249 | -60.4145 | -9.2595 | -93.9304 |  | 1.0233 | 0.76974 | 0.81438 | 1.0871 | 0.75918 | 0.72291 | 2.5602 | -128.1155 | 112.6352 | -0.57551 | -121.299 | 109.9221