## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4617 | 0.75505 | 0.67351 | 2.4591 | 0.75769 | 0.67557 | 28.425 | 8.7186 | 7.777 | 28.3953 | 8.749 | 7.8009 | 6.1531 | -8.9272 | 10.0946 | 1.4795e-10 | 8.3988 | -10.6917 | 4.0942 | 7.234 | 0.18762 | -1.057e-10 | -7.3054 | 0.29089 | -75.344 | 90.3772 | 130.8978 | 104.669 | -89.6154 | -49.241 |  | 0.26001 | 1.3179 | 1.2982 | 0 | 1.2723 | 1.3711 | -41.7044 | -128.6418 | 131.9626 | 0 | -130.6328 | 129.2005
Line_1 | 1.1208 | 0.38133 | 0.33983 | 1.1183 | 0.37884 | 0.33779 | 12.9417 | 4.4032 | 3.924 | 12.9132 | 4.3745 | 3.9004 | 2.762 | 4.9403 | -4.6569 | 6.715e-11 | -4.1994 | 5.3458 | 1.3922 | -3.2005 | 0.092164 | -4.8253e-11 | 3.6527 | -0.14545 | -75.1949 | -89.5817 | -49.4835 | 104.8257 | 90.3846 | 130.759 |  | 0.239 | 1.3369 | 1.187 | 0 | 1.2723 | 1.3711 | -48.4444 | -122.5184 | 129.3827 | 0 | -130.6328 | 129.2005
Line_2 | 1.1208 | 0.38133 | 0.33983 | 1.1183 | 0.37884 | 0.33779 | 12.9417 | 4.4032 | 3.924 | 12.9132 | 4.3745 | 3.9004 | 2.762 | 4.9403 | -4.6569 | 6.715e-11 | -4.1994 | 5.3458 | 1.3922 | -3.2005 | 0.092164 | -4.8253e-11 | 3.6527 | -0.14545 | -75.1949 | -89.5817 | -49.4835 | 104.8257 | 90.3846 | 130.759 |  | 0.239 | 1.3369 | 1.187 | 0 | 1.2723 | 1.3711 | -48.4444 | -122.5184 | 129.3827 | 0 | -130.6328 | 129.2005

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4617 | 0.75505 | 0.67351 | 2.4591 | 0.75769 | 0.67557 | 28.425 | 8.7186 | 7.777 | 28.3953 | 8.749 | 7.8009 | 6.1531 | -8.9272 | 10.0946 | 1.4795e-10 | 8.3988 | -10.6917 | 4.0942 | 7.234 | 0.18762 | -1.057e-10 | -7.3054 | 0.29089 | -75.344 | 90.3772 | 130.8978 | 104.669 | -89.6154 | -49.241 |  | 0.26001 | 1.3179 | 1.2982 | 0 | 1.2723 | 1.3711 | -41.7044 | -128.6418 | 131.9626 | 0 | -130.6328 | 129.2005
Line_1 | 1.1208 | 0.38133 | 0.33983 | 1.1183 | 0.37884 | 0.33779 | 12.9417 | 4.4032 | 3.924 | 12.9132 | 4.3745 | 3.9004 | 2.762 | 4.9403 | -4.6569 | 6.715e-11 | -4.1994 | 5.3458 | 1.3922 | -3.2005 | 0.092164 | -4.8253e-11 | 3.6527 | -0.14545 | -75.1949 | -89.5817 | -49.4835 | 104.8257 | 90.3846 | 130.759 |  | 0.239 | 1.3369 | 1.187 | 0 | 1.2723 | 1.3711 | -48.4444 | -122.5184 | 129.3827 | 0 | -130.6328 | 129.2005
Line_2 | 1.1208 | 0.38133 | 0.33983 | 1.1183 | 0.37884 | 0.33779 | 12.9417 | 4.4032 | 3.924 | 12.9132 | 4.3745 | 3.9004 | 2.762 | 4.9403 | -4.6569 | 6.715e-11 | -4.1994 | 5.3458 | 1.3922 | -3.2005 | 0.092164 | -4.8253e-11 | 3.6527 | -0.14545 | -75.1949 | -89.5817 | -49.4835 | 104.8257 | 90.3846 | 130.759 |  | 0.239 | 1.3369 | 1.187 | 0 | 1.2723 | 1.3711 | -48.4444 | -122.5184 | 129.3827 | 0 | -130.6328 | 129.2005

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58763 | 0.14882 | 0.32503 | 0.58691 | 0.14927 | 0.32533 | 6.7854 | 1.7184 | 3.7531 | 6.777 | 1.7237 | 3.7566 | 5.0893 | -2.0849 | 2.395 | -4.6902 | 2.0896 | -2.4349 | 3.5774 | 0.042083 | -3.6207 | -3.3657 | -0.091215 | 3.7655 | -44.2757 | 59.6587 | -178.8584 | 135.7523 | -120.0972 | 1.015 |  | 0.9168 | 1.2135 | 1.1567 | 0.85183 | 1.2135 | 1.1937 | -9.1711 | -121.4977 | 124.6256 | -8.5842 | -122.5967 | 123.9039
Line_1 | 0.40947 | 0.075039 | 0.16299 | 0.40873 | 0.074637 | 0.16267 | 4.7281 | 0.86647 | 1.8821 | 4.7196 | 0.86184 | 1.8783 | 2.8021 | 1.0581 | -1.138 | -2.4923 | -1.0448 | 1.2175 | 3.3562 | -0.0077612 | 1.8398 | -3.1545 | 0.045607 | -1.8827 | -60.2775 | -119.6226 | 0.78206 | 119.727 | 59.9028 | -178.985 |  | 0.92471 | 1.2212 | 1.1494 | 0.85183 | 1.2135 | 1.1937 | -10.1363 | -120.0428 | 122.5203 | -8.5842 | -122.5967 | 123.9039
Line_2 | 0.40947 | 0.075039 | 0.16299 | 0.40873 | 0.074637 | 0.16267 | 4.7281 | 0.86647 | 1.8821 | 4.7196 | 0.86184 | 1.8783 | 2.8021 | 1.0581 | -1.138 | -2.4923 | -1.0448 | 1.2175 | 3.3562 | -0.0077612 | 1.8398 | -3.1545 | 0.045607 | -1.8827 | -60.2775 | -119.6226 | 0.78206 | 119.727 | 59.9028 | -178.985 |  | 0.92471 | 1.2212 | 1.1494 | 0.85183 | 1.2135 | 1.1937 | -10.1363 | -120.0428 | 122.5203 | -8.5842 | -122.5967 | 123.9039

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58763 | 0.14882 | 0.32503 | 0.58691 | 0.14927 | 0.32533 | 6.7854 | 1.7184 | 3.7531 | 6.777 | 1.7237 | 3.7566 | 5.0893 | -2.0849 | 2.395 | -4.6902 | 2.0896 | -2.4349 | 3.5774 | 0.042083 | -3.6207 | -3.3657 | -0.091215 | 3.7655 | -44.2757 | 59.6587 | -178.8584 | 135.7523 | -120.0972 | 1.015 |  | 0.9168 | 1.2135 | 1.1567 | 0.85183 | 1.2135 | 1.1937 | -9.1711 | -121.4977 | 124.6256 | -8.5842 | -122.5967 | 123.9039
Line_1 | 0.40947 | 0.075039 | 0.16299 | 0.40873 | 0.074637 | 0.16267 | 4.7281 | 0.86647 | 1.8821 | 4.7196 | 0.86184 | 1.8783 | 2.8021 | 1.0581 | -1.138 | -2.4923 | -1.0448 | 1.2175 | 3.3562 | -0.0077612 | 1.8398 | -3.1545 | 0.045607 | -1.8827 | -60.2775 | -119.6226 | 0.78206 | 119.727 | 59.9028 | -178.985 |  | 0.92471 | 1.2212 | 1.1494 | 0.85183 | 1.2135 | 1.1937 | -10.1363 | -120.0428 | 122.5203 | -8.5842 | -122.5967 | 123.9039
Line_2 | 0.40947 | 0.075039 | 0.16299 | 0.40873 | 0.074637 | 0.16267 | 4.7281 | 0.86647 | 1.8821 | 4.7196 | 0.86184 | 1.8783 | 2.8021 | 1.0581 | -1.138 | -2.4923 | -1.0448 | 1.2175 | 3.3562 | -0.0077612 | 1.8398 | -3.1545 | 0.045607 | -1.8827 | -60.2775 | -119.6226 | 0.78206 | 119.727 | 59.9028 | -178.985 |  | 0.92471 | 1.2212 | 1.1494 | 0.85183 | 1.2135 | 1.1937 | -10.1363 | -120.0428 | 122.5203 | -8.5842 | -122.5967 | 123.9039

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1368 | 0.67062 | 0.555 | 2.1347 | 0.67259 | 0.5568 | 24.6737 | 7.7437 | 6.4086 | 24.6499 | 7.7663 | 6.4294 | 8.6882 | -2.9669 | 7.2121 | -6.8486e-11 | 2.1514 | -7.9636 | 2.4672 | 8.3756 | 0.3564 | -3.1893e-12 | -7.9368 | 0.10154 | -63.8592 | 121.5548 | 128.9313 | 116.1649 | -58.538 | -51.2058 |  | 0.36605 | 1.1475 | 1.1268 | 0 | 1.0588 | 1.2387 | -48.0063 | -128.9396 | 131.7604 | 0 | -133.3713 | 128.0636
Line_1 | 0.858 | 0.33809 | 0.28008 | 0.85612 | 0.33629 | 0.2784 | 9.9073 | 3.904 | 3.2341 | 9.8856 | 3.8832 | 3.2147 | 3.2597 | 2.2182 | -3.0845 | -2.7431e-11 | -1.0757 | 3.9818 | 0.98373 | -3.8161 | 0.061404 | -1.8762e-12 | 3.9684 | -0.050771 | -65.1224 | -58.6776 | -51.4199 | 114.9186 | 121.462 | 128.7942 |  | 0.34368 | 1.1306 | 0.95392 | 0 | 1.0588 | 1.2387 | -48.3295 | -118.5093 | 127.4396 | 0 | -133.3713 | 128.0636
Line_2 | 0.858 | 0.33809 | 0.28008 | 0.85612 | 0.33629 | 0.2784 | 9.9073 | 3.904 | 3.2341 | 9.8856 | 3.8832 | 3.2147 | 3.2597 | 2.2182 | -3.0845 | -2.7431e-11 | -1.0757 | 3.9818 | 0.98373 | -3.8161 | 0.061404 | -1.8762e-12 | 3.9684 | -0.050771 | -65.1224 | -58.6776 | -51.4199 | 114.9186 | 121.462 | 128.7942 |  | 0.34368 | 1.1306 | 0.95392 | 0 | 1.0588 | 1.2387 | -48.3295 | -118.5093 | 127.4396 | 0 | -133.3713 | 128.0636

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1368 | 0.67062 | 0.555 | 2.1347 | 0.67259 | 0.5568 | 24.6737 | 7.7437 | 6.4086 | 24.6499 | 7.7663 | 6.4294 | 8.6882 | -2.9669 | 7.2121 | -6.8486e-11 | 2.1514 | -7.9636 | 2.4672 | 8.3756 | 0.3564 | -3.1893e-12 | -7.9368 | 0.10154 | -63.8592 | 121.5548 | 128.9313 | 116.1649 | -58.538 | -51.2058 |  | 0.36605 | 1.1475 | 1.1268 | 0 | 1.0588 | 1.2387 | -48.0063 | -128.9396 | 131.7604 | 0 | -133.3713 | 128.0636
Line_1 | 0.858 | 0.33809 | 0.28008 | 0.85612 | 0.33629 | 0.2784 | 9.9073 | 3.904 | 3.2341 | 9.8856 | 3.8832 | 3.2147 | 3.2597 | 2.2182 | -3.0845 | -2.7431e-11 | -1.0757 | 3.9818 | 0.98373 | -3.8161 | 0.061404 | -1.8762e-12 | 3.9684 | -0.050771 | -65.1224 | -58.6776 | -51.4199 | 114.9186 | 121.462 | 128.7942 |  | 0.34368 | 1.1306 | 0.95392 | 0 | 1.0588 | 1.2387 | -48.3295 | -118.5093 | 127.4396 | 0 | -133.3713 | 128.0636
Line_2 | 0.858 | 0.33809 | 0.28008 | 0.85612 | 0.33629 | 0.2784 | 9.9073 | 3.904 | 3.2341 | 9.8856 | 3.8832 | 3.2147 | 3.2597 | 2.2182 | -3.0845 | -2.7431e-11 | -1.0757 | 3.9818 | 0.98373 | -3.8161 | 0.061404 | -1.8762e-12 | 3.9684 | -0.050771 | -65.1224 | -58.6776 | -51.4199 | 114.9186 | 121.462 | 128.7942 |  | 0.34368 | 1.1306 | 0.95392 | 0 | 1.0588 | 1.2387 | -48.3295 | -118.5093 | 127.4396 | 0 | -133.3713 | 128.0636

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64447 | 0.20226 | 0.16739 | 0.64385 | 0.20286 | 0.16794 | 7.4417 | 2.3355 | 1.9329 | 7.4345 | 2.3424 | 1.9391 | 4.5634 | -0.53104 | 1.8649 | -3.771 | 0.4603 | -1.9388 | 3.9282 | 2.4005 | -0.61906 | -3.6986 | -2.365 | 0.65994 | -50.2161 | 135.1979 | 142.5744 | 129.808 | -44.8949 | -37.5627 |  | 0.80912 | 1.0527 | 1.0166 | 0.71048 | 1.0286 | 1.0561 | -9.4937 | -122.3281 | 124.2107 | -5.7467 | -123.8813 | 123.6393
Line_1 | 0.25878 | 0.10197 | 0.084475 | 0.25821 | 0.10143 | 0.083968 | 2.9881 | 1.1775 | 0.97543 | 2.9815 | 1.1712 | 0.96957 | 1.7784 | 0.33679 | -0.89265 | -1.4797 | -0.23015 | 0.96939 | 1.6097 | -1.1727 | 0.33062 | -1.5158 | 1.1825 | -0.32997 | -51.4793 | -45.0345 | -37.7768 | 128.5617 | 135.1051 | 142.4373 |  | 0.80276 | 1.0362 | 0.97589 | 0.71048 | 1.0286 | 1.0561 | -9.329 | -119.0109 | 121.8998 | -5.7467 | -123.8813 | 123.6393
Line_2 | 0.25878 | 0.10197 | 0.084475 | 0.25821 | 0.10143 | 0.083968 | 2.9881 | 1.1775 | 0.97543 | 2.9815 | 1.1712 | 0.96957 | 1.7784 | 0.33679 | -0.89265 | -1.4797 | -0.23015 | 0.96939 | 1.6097 | -1.1727 | 0.33062 | -1.5158 | 1.1825 | -0.32997 | -51.4793 | -45.0345 | -37.7768 | 128.5617 | 135.1051 | 142.4373 |  | 0.80276 | 1.0362 | 0.97589 | 0.71048 | 1.0286 | 1.0561 | -9.329 | -119.0109 | 121.8998 | -5.7467 | -123.8813 | 123.6393

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64447 | 0.20226 | 0.16739 | 0.64385 | 0.20286 | 0.16794 | 7.4417 | 2.3355 | 1.9329 | 7.4345 | 2.3424 | 1.9391 | 4.5634 | -0.53104 | 1.8649 | -3.771 | 0.4603 | -1.9388 | 3.9282 | 2.4005 | -0.61906 | -3.6986 | -2.365 | 0.65994 | -50.2161 | 135.1979 | 142.5744 | 129.808 | -44.8949 | -37.5627 |  | 0.80912 | 1.0527 | 1.0166 | 0.71048 | 1.0286 | 1.0561 | -9.4937 | -122.3281 | 124.2107 | -5.7467 | -123.8813 | 123.6393
Line_1 | 0.25878 | 0.10197 | 0.084475 | 0.25821 | 0.10143 | 0.083968 | 2.9881 | 1.1775 | 0.97543 | 2.9815 | 1.1712 | 0.96957 | 1.7784 | 0.33679 | -0.89265 | -1.4797 | -0.23015 | 0.96939 | 1.6097 | -1.1727 | 0.33062 | -1.5158 | 1.1825 | -0.32997 | -51.4793 | -45.0345 | -37.7768 | 128.5617 | 135.1051 | 142.4373 |  | 0.80276 | 1.0362 | 0.97589 | 0.71048 | 1.0286 | 1.0561 | -9.329 | -119.0109 | 121.8998 | -5.7467 | -123.8813 | 123.6393
Line_2 | 0.25878 | 0.10197 | 0.084475 | 0.25821 | 0.10143 | 0.083968 | 2.9881 | 1.1775 | 0.97543 | 2.9815 | 1.1712 | 0.96957 | 1.7784 | 0.33679 | -0.89265 | -1.4797 | -0.23015 | 0.96939 | 1.6097 | -1.1727 | 0.33062 | -1.5158 | 1.1825 | -0.32997 | -51.4793 | -45.0345 | -37.7768 | 128.5617 | 135.1051 | 142.4373 |  | 0.80276 | 1.0362 | 0.97589 | 0.71048 | 1.0286 | 1.0561 | -9.329 | -119.0109 | 121.8998 | -5.7467 | -123.8813 | 123.6393

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33149 | 3.7445 | 3.7806 | 0.33366 | 3.7444 | 3.78 | 3.8277 | 43.2378 | 43.6543 | 3.8528 | 43.2361 | 43.6477 | 0.033116 | 8.9664 | 6.9873 | -0.28765 | 1.1087e-10 | 1.4294e-10 | 5.2884 | 4.8271 | 12.2751 | -5.4005 | -9.1384e-11 | 1.234e-12 | -86.2646 | -177.49 | 21.8367 | 93.7534 | 2.5433 | -158.1951 |  | 1.3817 | 0.23552 | 0.32355 | 1.4037 | 0 | 0 | 3.3767 | -149.1938 | 82.187 | 0.70455 | 0 | 0
Line_1 | 0.16888 | 1.1185 | 0.92915 | 0.16683 | 1.1174 | 0.92764 | 1.9501 | 12.9157 | 10.7288 | 1.9264 | 12.9027 | 10.7115 | 0.09875 | 2.2227 | 0.97498 | 0.14382 | 4.173e-11 | 2.9115e-11 | -2.5703 | -0.18075 | 1.9276 | 2.7003 | -9.8558e-12 | -1.9568e-11 | 93.8237 | 156.2477 | 56.292 | -86.2466 | -23.6639 | -123.7952 |  | 1.319 | 0.17266 | 0.20134 | 1.4037 | 0 | 0 | 6.0239 | 151.5984 | 119.4612 | 0.70455 | 0 | 0
Line_2 | 0.16888 | 1.1185 | 0.92915 | 0.16683 | 1.1174 | 0.92764 | 1.9501 | 12.9157 | 10.7288 | 1.9264 | 12.9027 | 10.7115 | 0.09875 | 2.2227 | 0.97498 | 0.14382 | 4.173e-11 | 2.9115e-11 | -2.5703 | -0.18075 | 1.9276 | 2.7003 | -9.8558e-12 | -1.9568e-11 | 93.8237 | 156.2477 | 56.292 | -86.2466 | -23.6639 | -123.7952 |  | 1.319 | 0.17266 | 0.20134 | 1.4037 | 0 | 0 | 6.0239 | 151.5984 | 119.4612 | 0.70455 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33149 | 3.7445 | 3.7806 | 0.33366 | 3.7444 | 3.78 | 3.8277 | 43.2378 | 43.6543 | 3.8528 | 43.2361 | 43.6477 | 0.033116 | 8.9664 | 6.9873 | -0.28765 | 1.1087e-10 | 1.4294e-10 | 5.2884 | 4.8271 | 12.2751 | -5.4005 | -9.1384e-11 | 1.234e-12 | -86.2646 | -177.49 | 21.8367 | 93.7534 | 2.5433 | -158.1951 |  | 1.3817 | 0.23552 | 0.32355 | 1.4037 | 0 | 0 | 3.3767 | -149.1938 | 82.187 | 0.70455 | 0 | 0
Line_1 | 0.16888 | 1.1185 | 0.92915 | 0.16683 | 1.1174 | 0.92764 | 1.9501 | 12.9157 | 10.7288 | 1.9264 | 12.9027 | 10.7115 | 0.09875 | 2.2227 | 0.97498 | 0.14382 | 4.173e-11 | 2.9115e-11 | -2.5703 | -0.18075 | 1.9276 | 2.7003 | -9.8558e-12 | -1.9568e-11 | 93.8237 | 156.2477 | 56.292 | -86.2466 | -23.6639 | -123.7952 |  | 1.319 | 0.17266 | 0.20134 | 1.4037 | 0 | 0 | 6.0239 | 151.5984 | 119.4612 | 0.70455 | 0 | 0
Line_2 | 0.16888 | 1.1185 | 0.92915 | 0.16683 | 1.1174 | 0.92764 | 1.9501 | 12.9157 | 10.7288 | 1.9264 | 12.9027 | 10.7115 | 0.09875 | 2.2227 | 0.97498 | 0.14382 | 4.173e-11 | 2.9115e-11 | -2.5703 | -0.18075 | 1.9276 | 2.7003 | -9.8558e-12 | -1.9568e-11 | 93.8237 | 156.2477 | 56.292 | -86.2466 | -23.6639 | -123.7952 |  | 1.319 | 0.17266 | 0.20134 | 1.4037 | 0 | 0 | 6.0239 | 151.5984 | 119.4612 | 0.70455 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074601 | 0.78581 | 0.78532 | 0.074268 | 0.78593 | 0.78494 | 0.86142 | 9.0738 | 9.0681 | 0.85757 | 9.0751 | 9.0638 | 0.68682 | 7.7612 | 5.1187 | -0.68554 | -7.3844 | -4.7486 | -0.78924 | 3.1176 | 7.187 | 0.8084 | -3.0101 | -6.5575 | 51.3991 | -146.8042 | 54.8811 | -129.1018 | 33.2484 | -125.1647 |  | 1.2145 | 0.92177 | 0.97303 | 1.236 | 0.8787 | 0.89326 | 2.4298 | -124.9192 | 109.4224 | 1.197 | -124.5745 | 108.925
Line_1 | 0.03686 | 0.38702 | 0.34789 | 0.037134 | 0.38657 | 0.34738 | 0.42562 | 4.4689 | 4.0171 | 0.42879 | 4.4637 | 4.0112 | -0.34512 | 1.7234 | 3.0827 | 0.34277 | -1.4552 | -2.9452 | 0.37602 | 3.652 | 2.2887 | -0.4042 | -3.6423 | -2.0407 | -130.0851 | 167.1247 | 74.284 | 50.8982 | -12.7967 | -105.7934 |  | 1.1992 | 0.90364 | 0.95578 | 1.236 | 0.8787 | 0.89326 | 2.4615 | -128.1376 | 110.8758 | 1.197 | -124.5745 | 108.925
Line_2 | 0.03686 | 0.38702 | 0.34789 | 0.037134 | 0.38657 | 0.34738 | 0.42562 | 4.4689 | 4.0171 | 0.42879 | 4.4637 | 4.0112 | -0.34512 | 1.7234 | 3.0827 | 0.34277 | -1.4552 | -2.9452 | 0.37602 | 3.652 | 2.2887 | -0.4042 | -3.6423 | -2.0407 | -130.0851 | 167.1247 | 74.284 | 50.8982 | -12.7967 | -105.7934 |  | 1.1992 | 0.90364 | 0.95578 | 1.236 | 0.8787 | 0.89326 | 2.4615 | -128.1376 | 110.8758 | 1.197 | -124.5745 | 108.925

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074601 | 0.78581 | 0.78532 | 0.074268 | 0.78593 | 0.78494 | 0.86142 | 9.0738 | 9.0681 | 0.85757 | 9.0751 | 9.0638 | 0.68682 | 7.7612 | 5.1187 | -0.68554 | -7.3844 | -4.7486 | -0.78924 | 3.1176 | 7.187 | 0.8084 | -3.0101 | -6.5575 | 51.3991 | -146.8042 | 54.8811 | -129.1018 | 33.2484 | -125.1647 |  | 1.2145 | 0.92177 | 0.97303 | 1.236 | 0.8787 | 0.89326 | 2.4298 | -124.9192 | 109.4224 | 1.197 | -124.5745 | 108.925
Line_1 | 0.03686 | 0.38702 | 0.34789 | 0.037134 | 0.38657 | 0.34738 | 0.42562 | 4.4689 | 4.0171 | 0.42879 | 4.4637 | 4.0112 | -0.34512 | 1.7234 | 3.0827 | 0.34277 | -1.4552 | -2.9452 | 0.37602 | 3.652 | 2.2887 | -0.4042 | -3.6423 | -2.0407 | -130.0851 | 167.1247 | 74.284 | 50.8982 | -12.7967 | -105.7934 |  | 1.1992 | 0.90364 | 0.95578 | 1.236 | 0.8787 | 0.89326 | 2.4615 | -128.1376 | 110.8758 | 1.197 | -124.5745 | 108.925
Line_2 | 0.03686 | 0.38702 | 0.34789 | 0.037134 | 0.38657 | 0.34738 | 0.42562 | 4.4689 | 4.0171 | 0.42879 | 4.4637 | 4.0112 | -0.34512 | 1.7234 | 3.0827 | 0.34277 | -1.4552 | -2.9452 | 0.37602 | 3.652 | 2.2887 | -0.4042 | -3.6423 | -2.0407 | -130.0851 | 167.1247 | 74.284 | 50.8982 | -12.7967 | -105.7934 |  | 1.1992 | 0.90364 | 0.95578 | 1.236 | 0.8787 | 0.89326 | 2.4615 | -128.1376 | 110.8758 | 1.197 | -124.5745 | 108.925

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39532 | 3.2025 | 3.1437 | 0.39707 | 3.2025 | 3.143 | 4.5648 | 36.9791 | 36.3006 | 4.585 | 36.9792 | 36.2928 | 2.094 | 11.9789 | 9.9608 | -2.5663 | -1.101e-10 | -2.9829e-11 | 5.0438 | 1.2968 | 10.7996 | -5.0173 | -9.1229e-11 | -1.3855e-10 | -63.7492 | -170.1608 | 31.0145 | 116.1742 | 9.872 | -149.0166 |  | 1.1964 | 0.32583 | 0.40472 | 1.2291 | 0 | 0 | 3.704 | -163.9821 | 78.3283 | -0.91488 | 0 | 0
Line_1 | 0.20012 | 0.95804 | 0.62699 | 0.19854 | 0.95726 | 0.62582 | 2.3107 | 11.0624 | 7.2399 | 2.2925 | 11.0535 | 7.2263 | -0.78093 | 2.9377 | 0.82522 | 1.2831 | -1.8456e-11 | -1.8681e-11 | -2.355 | -0.66938 | 1.7121 | 2.5087 | -3.855e-11 | -2.1151e-11 | 116.0752 | 165.0149 | 60.3876 | -63.8258 | -14.9004 | -119.7141 |  | 1.0737 | 0.27236 | 0.26252 | 1.2291 | 0 | 0 | 7.7292 | 152.1788 | 124.6537 | -0.91488 | 0 | 0
Line_2 | 0.20012 | 0.95804 | 0.62699 | 0.19854 | 0.95726 | 0.62582 | 2.3107 | 11.0624 | 7.2399 | 2.2925 | 11.0535 | 7.2263 | -0.78093 | 2.9377 | 0.82522 | 1.2831 | -1.8456e-11 | -1.8681e-11 | -2.355 | -0.66938 | 1.7121 | 2.5087 | -3.855e-11 | -2.1151e-11 | 116.0752 | 165.0149 | 60.3876 | -63.8258 | -14.9004 | -119.7141 |  | 1.0737 | 0.27236 | 0.26252 | 1.2291 | 0 | 0 | 7.7292 | 152.1788 | 124.6537 | -0.91488 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39532 | 3.2025 | 3.1437 | 0.39707 | 3.2025 | 3.143 | 4.5648 | 36.9791 | 36.3006 | 4.585 | 36.9792 | 36.2928 | 2.094 | 11.9789 | 9.9608 | -2.5663 | -1.101e-10 | -2.9829e-11 | 5.0438 | 1.2968 | 10.7996 | -5.0173 | -9.1229e-11 | -1.3855e-10 | -63.7492 | -170.1608 | 31.0145 | 116.1742 | 9.872 | -149.0166 |  | 1.1964 | 0.32583 | 0.40472 | 1.2291 | 0 | 0 | 3.704 | -163.9821 | 78.3283 | -0.91488 | 0 | 0
Line_1 | 0.20012 | 0.95804 | 0.62699 | 0.19854 | 0.95726 | 0.62582 | 2.3107 | 11.0624 | 7.2399 | 2.2925 | 11.0535 | 7.2263 | -0.78093 | 2.9377 | 0.82522 | 1.2831 | -1.8456e-11 | -1.8681e-11 | -2.355 | -0.66938 | 1.7121 | 2.5087 | -3.855e-11 | -2.1151e-11 | 116.0752 | 165.0149 | 60.3876 | -63.8258 | -14.9004 | -119.7141 |  | 1.0737 | 0.27236 | 0.26252 | 1.2291 | 0 | 0 | 7.7292 | 152.1788 | 124.6537 | -0.91488 | 0 | 0
Line_2 | 0.20012 | 0.95804 | 0.62699 | 0.19854 | 0.95726 | 0.62582 | 2.3107 | 11.0624 | 7.2399 | 2.2925 | 11.0535 | 7.2263 | -0.78093 | 2.9377 | 0.82522 | 1.2831 | -1.8456e-11 | -1.8681e-11 | -2.355 | -0.66938 | 1.7121 | 2.5087 | -3.855e-11 | -2.1151e-11 | 116.0752 | 165.0149 | 60.3876 | -63.8258 | -14.9004 | -119.7141 |  | 1.0737 | 0.27236 | 0.26252 | 1.2291 | 0 | 0 | 7.7292 | 152.1788 | 124.6537 | -0.91488 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15131 | 0.77347 | 0.82845 | 0.1519 | 0.77355 | 0.82807 | 1.7472 | 8.9312 | 9.5661 | 1.754 | 8.9322 | 9.5617 | 1.0852 | 6.3628 | 4.8078 | -1.1466 | -5.6756 | -3.9868 | 1.5023 | 3.5905 | 6.6252 | -1.4968 | -3.6417 | -5.7907 | -52.4184 | -154.9546 | 54.838 | 127.5 | 25.0915 | -125.1965 |  | 1.0607 | 0.81802 | 0.85572 | 1.075 | 0.75496 | 0.73527 | 1.739 | -125.5188 | 108.8703 | 0.045595 | -122.2228 | 110.2566
Line_1 | 0.076482 | 0.25267 | 0.20778 | 0.075949 | 0.25241 | 0.20728 | 0.88314 | 2.9175 | 2.3992 | 0.87698 | 2.9145 | 2.3934 | -0.50769 | 1.2044 | 1.7577 | 0.57331 | -0.96197 | -1.6108 | -0.73496 | 1.9093 | 0.8785 | 0.74839 | -1.9789 | -0.70882 | 127.3879 | 173.5912 | 86.57 | -52.5 | -6.298 | -93.4953 |  | 1.0115 | 0.77374 | 0.81901 | 1.075 | 0.75496 | 0.73527 | 2.7522 | -128.6534 | 113.1261 | 0.045595 | -122.2228 | 110.2566
Line_2 | 0.076482 | 0.25267 | 0.20778 | 0.075949 | 0.25241 | 0.20728 | 0.88314 | 2.9175 | 2.3992 | 0.87698 | 2.9145 | 2.3934 | -0.50769 | 1.2044 | 1.7577 | 0.57331 | -0.96197 | -1.6108 | -0.73496 | 1.9093 | 0.8785 | 0.74839 | -1.9789 | -0.70882 | 127.3879 | 173.5912 | 86.57 | -52.5 | -6.298 | -93.4953 |  | 1.0115 | 0.77374 | 0.81901 | 1.075 | 0.75496 | 0.73527 | 2.7522 | -128.6534 | 113.1261 | 0.045595 | -122.2228 | 110.2566

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15131 | 0.77347 | 0.82845 | 0.1519 | 0.77355 | 0.82807 | 1.7472 | 8.9312 | 9.5661 | 1.754 | 8.9322 | 9.5617 | 1.0852 | 6.3628 | 4.8078 | -1.1466 | -5.6756 | -3.9868 | 1.5023 | 3.5905 | 6.6252 | -1.4968 | -3.6417 | -5.7907 | -52.4184 | -154.9546 | 54.838 | 127.5 | 25.0915 | -125.1965 |  | 1.0607 | 0.81802 | 0.85572 | 1.075 | 0.75496 | 0.73527 | 1.739 | -125.5188 | 108.8703 | 0.045595 | -122.2228 | 110.2566
Line_1 | 0.076482 | 0.25267 | 0.20778 | 0.075949 | 0.25241 | 0.20728 | 0.88314 | 2.9175 | 2.3992 | 0.87698 | 2.9145 | 2.3934 | -0.50769 | 1.2044 | 1.7577 | 0.57331 | -0.96197 | -1.6108 | -0.73496 | 1.9093 | 0.8785 | 0.74839 | -1.9789 | -0.70882 | 127.3879 | 173.5912 | 86.57 | -52.5 | -6.298 | -93.4953 |  | 1.0115 | 0.77374 | 0.81901 | 1.075 | 0.75496 | 0.73527 | 2.7522 | -128.6534 | 113.1261 | 0.045595 | -122.2228 | 110.2566
Line_2 | 0.076482 | 0.25267 | 0.20778 | 0.075949 | 0.25241 | 0.20728 | 0.88314 | 2.9175 | 2.3992 | 0.87698 | 2.9145 | 2.3934 | -0.50769 | 1.2044 | 1.7577 | 0.57331 | -0.96197 | -1.6108 | -0.73496 | 1.9093 | 0.8785 | 0.74839 | -1.9789 | -0.70882 | 127.3879 | 173.5912 | 86.57 | -52.5 | -6.298 | -93.4953 |  | 1.0115 | 0.77374 | 0.81901 | 1.075 | 0.75496 | 0.73527 | 2.7522 | -128.6534 | 113.1261 | 0.045595 | -122.2228 | 110.2566