## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6271 | 0.84297 | 0.63065 | 1.6255 | 0.84471 | 0.63236 | 18.7882 | 9.7338 | 7.2821 | 18.7695 | 9.7539 | 7.3019 | 6.5164 | -10.5275 | 9.1075 | -4.7981 | 11.2403 | -8.9907 | 6.837 | 4.8431 | 2.0409 | -3.9731 | -5.0548 | -2.3355 | -59.4364 | 78.1425 | 113.4308 | 120.5918 | -101.8234 | -66.6229 |  | 0.50271 | 1.1905 | 1.2817 | 0.3319 | 1.2636 | 1.2722 | -13.0611 | -126.562 | 126.0615 | -19.7818 | -126.037 | 127.939
Line_1 | 2.4647 | 0.63201 | 0.44689 | 2.4669 | 0.62968 | 0.44442 | 28.4596 | 7.2978 | 5.1602 | 28.4852 | 7.2709 | 5.1317 | 8.0569e-11 | 8.8236 | -5.637 | 6.9314 | -8.7455 | 5.3102 | -9.3571e-11 | -3.7999 | -4.4565 | 6.4293 | 2.8146 | 3.7975 | 117.3957 | -108.1229 | -87.6371 | -62.6297 | 71.8028 | 92.3694 |  | 0 | 1.3164 | 1.3926 | 0.3319 | 1.2636 | 1.2722 | 0 | -131.4223 | 130.692 | -19.7818 | -126.037 | 127.939
Line_2 | 0.85068 | 0.23158 | 0.27087 | 0.8489 | 0.22981 | 0.2696 | 9.8229 | 2.6741 | 3.1278 | 9.8023 | 2.6537 | 3.113 | 3.6433 | 2.8063 | -3.3019 | -2.1333 | -2.4949 | 3.6805 | 3.3047 | -2.0389 | 1.3768 | -2.4563 | 2.2403 | -1.4619 | -68.8199 | -84.0449 | -30.6641 | 111.1932 | 95.8851 | 149.6023 |  | 0.50076 | 1.2972 | 1.1438 | 0.3319 | 1.2636 | 1.2722 | -26.6097 | -120.0459 | 126.701 | -19.7818 | -126.037 | 127.939

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6271 | 0.84297 | 0.63065 | 1.6255 | 0.84471 | 0.63236 | 18.7882 | 9.7338 | 7.2821 | 18.7695 | 9.7539 | 7.3019 | 6.5164 | -10.5275 | 9.1075 | -4.7981 | 11.2403 | -8.9907 | 6.837 | 4.8431 | 2.0409 | -3.9731 | -5.0548 | -2.3355 | -59.4364 | 78.1425 | 113.4308 | 120.5918 | -101.8234 | -66.6229 |  | 0.50271 | 1.1905 | 1.2817 | 0.3319 | 1.2636 | 1.2722 | -13.0611 | -126.562 | 126.0615 | -19.7818 | -126.037 | 127.939
Line_1 | 2.4647 | 0.63201 | 0.44689 | 2.4669 | 0.62968 | 0.44442 | 28.4596 | 7.2978 | 5.1602 | 28.4852 | 7.2709 | 5.1317 | 8.0569e-11 | 8.8236 | -5.637 | 6.9314 | -8.7455 | 5.3102 | -9.3571e-11 | -3.7999 | -4.4565 | 6.4293 | 2.8146 | 3.7975 | 117.3957 | -108.1229 | -87.6371 | -62.6297 | 71.8028 | 92.3694 |  | 0 | 1.3164 | 1.3926 | 0.3319 | 1.2636 | 1.2722 | 0 | -131.4223 | 130.692 | -19.7818 | -126.037 | 127.939
Line_2 | 0.85068 | 0.23158 | 0.27087 | 0.8489 | 0.22981 | 0.2696 | 9.8229 | 2.6741 | 3.1278 | 9.8023 | 2.6537 | 3.113 | 3.6433 | 2.8063 | -3.3019 | -2.1333 | -2.4949 | 3.6805 | 3.3047 | -2.0389 | 1.3768 | -2.4563 | 2.2403 | -1.4619 | -68.8199 | -84.0449 | -30.6641 | 111.1932 | 95.8851 | 149.6023 |  | 0.50076 | 1.2972 | 1.1438 | 0.3319 | 1.2636 | 1.2722 | -26.6097 | -120.0459 | 126.701 | -19.7818 | -126.037 | 127.939

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45856 | 0.25884 | 0.28314 | 0.45807 | 0.25925 | 0.28351 | 5.295 | 2.9888 | 3.2694 | 5.2894 | 2.9936 | 3.2737 | 4.607 | -3.5045 | 2.8544 | -4.4322 | 3.6099 | -2.8762 | 1.9564 | 0.20385 | -2.5899 | -1.7105 | -0.20716 | 2.5754 | -28.961 | 61.6217 | 165.3798 | 151.0896 | -118.2719 | -14.7238 |  | 0.94527 | 1.1745 | 1.1789 | 0.89818 | 1.2079 | 1.1793 | -5.9516 | -121.7074 | 123.1619 | -7.8078 | -121.5563 | 123.4346
Line_1 | 0.79344 | 0.21149 | 0.14612 | 0.79419 | 0.21084 | 0.14539 | 9.1618 | 2.4421 | 1.6872 | 9.1705 | 2.4346 | 1.6788 | -5.9994 | 2.9732 | -1.9758 | 6.7715 | -2.9077 | 1.8918 | -4.015 | -0.55939 | 0.54311 | 4.6893 | 0.43949 | -0.58377 | 137.52 | -112.8079 | -39.5977 | -42.5105 | 67.0386 | 140.5838 |  | 0.78793 | 1.2388 | 1.2145 | 0.89818 | 1.2079 | 1.1793 | -8.6884 | -123.4631 | 125.0326 | -7.8078 | -121.5563 | 123.4346
Line_2 | 0.36583 | 0.053125 | 0.16341 | 0.3652 | 0.053032 | 0.16314 | 4.2242 | 0.61343 | 1.8869 | 4.217 | 0.61236 | 1.8838 | 2.5728 | 0.69969 | -0.91589 | -2.3393 | -0.70222 | 0.98438 | 3.1477 | 0.25122 | 1.9567 | -2.9788 | -0.23232 | -1.9916 | -59.6618 | -139.1944 | 6.9337 | 120.3355 | 40.1375 | -172.8671 |  | 0.96238 | 1.2119 | 1.145 | 0.89818 | 1.2079 | 1.1793 | -8.923 | -119.444 | 122.0169 | -7.8078 | -121.5563 | 123.4346

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45856 | 0.25884 | 0.28314 | 0.45807 | 0.25925 | 0.28351 | 5.295 | 2.9888 | 3.2694 | 5.2894 | 2.9936 | 3.2737 | 4.607 | -3.5045 | 2.8544 | -4.4322 | 3.6099 | -2.8762 | 1.9564 | 0.20385 | -2.5899 | -1.7105 | -0.20716 | 2.5754 | -28.961 | 61.6217 | 165.3798 | 151.0896 | -118.2719 | -14.7238 |  | 0.94527 | 1.1745 | 1.1789 | 0.89818 | 1.2079 | 1.1793 | -5.9516 | -121.7074 | 123.1619 | -7.8078 | -121.5563 | 123.4346
Line_1 | 0.79344 | 0.21149 | 0.14612 | 0.79419 | 0.21084 | 0.14539 | 9.1618 | 2.4421 | 1.6872 | 9.1705 | 2.4346 | 1.6788 | -5.9994 | 2.9732 | -1.9758 | 6.7715 | -2.9077 | 1.8918 | -4.015 | -0.55939 | 0.54311 | 4.6893 | 0.43949 | -0.58377 | 137.52 | -112.8079 | -39.5977 | -42.5105 | 67.0386 | 140.5838 |  | 0.78793 | 1.2388 | 1.2145 | 0.89818 | 1.2079 | 1.1793 | -8.6884 | -123.4631 | 125.0326 | -7.8078 | -121.5563 | 123.4346
Line_2 | 0.36583 | 0.053125 | 0.16341 | 0.3652 | 0.053032 | 0.16314 | 4.2242 | 0.61343 | 1.8869 | 4.217 | 0.61236 | 1.8838 | 2.5728 | 0.69969 | -0.91589 | -2.3393 | -0.70222 | 0.98438 | 3.1477 | 0.25122 | 1.9567 | -2.9788 | -0.23232 | -1.9916 | -59.6618 | -139.1944 | 6.9337 | 120.3355 | 40.1375 | -172.8671 |  | 0.96238 | 1.2119 | 1.145 | 0.89818 | 1.2079 | 1.1793 | -8.923 | -119.444 | 122.0169 | -7.8078 | -121.5563 | 123.4346

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3626 | 0.67184 | 0.56177 | 1.3615 | 0.673 | 0.56292 | 15.7339 | 7.7577 | 6.4867 | 15.7215 | 7.7711 | 6.5 | 7.2328 | -5.2231 | 6.7087 | -5.0008 | 5.7119 | -6.4221 | 5.8705 | 5.8045 | 1.6181 | -3.6077 | -6.1503 | -1.9409 | -54.6572 | 104.7863 | 109.2471 | 125.3615 | -75.2171 | -70.7662 |  | 0.59206 | 1.0065 | 1.0639 | 0.39222 | 1.0801 | 1.0321 | -15.5929 | -123.2319 | 122.8077 | -18.8312 | -122.3338 | 126.05
Line_1 | 1.8782 | 0.58179 | 0.50955 | 1.8799 | 0.57986 | 0.50761 | 21.6874 | 6.7179 | 5.8838 | 21.707 | 6.6956 | 5.8614 | -4.0694e-11 | 6.0893 | -5.1695 | 6.9242 | -6.0819 | 5.0558 | 8.601e-12 | -5.0603 | -4.3339 | 4.9541 | 3.913 | 3.3226 | 125.6146 | -89.5566 | -87.2471 | -54.414 | 90.4225 | 92.7378 |  | 0 | 1.1786 | 1.1465 | 0.39222 | 1.0801 | 1.0321 | 0 | -129.2839 | 132.7282 | -18.8312 | -122.3338 | 126.05
Line_2 | 0.51949 | 0.1827 | 0.16371 | 0.5184 | 0.18183 | 0.16304 | 5.9986 | 2.1096 | 1.8904 | 5.986 | 2.0996 | 1.8826 | 2.9998 | -0.026041 | -1.0976 | -1.9234 | 0.37003 | 1.3663 | 1.8494 | -2.2709 | 1.2931 | -1.3464 | 2.2373 | -1.3816 | -53.8398 | -23.1569 | -8.9378 | 126.1757 | 157.0572 | 171.3687 |  | 0.58748 | 1.0765 | 0.89723 | 0.39222 | 1.0801 | 1.0321 | -22.1854 | -113.8139 | 121.3878 | -18.8312 | -122.3338 | 126.05

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3626 | 0.67184 | 0.56177 | 1.3615 | 0.673 | 0.56292 | 15.7339 | 7.7577 | 6.4867 | 15.7215 | 7.7711 | 6.5 | 7.2328 | -5.2231 | 6.7087 | -5.0008 | 5.7119 | -6.4221 | 5.8705 | 5.8045 | 1.6181 | -3.6077 | -6.1503 | -1.9409 | -54.6572 | 104.7863 | 109.2471 | 125.3615 | -75.2171 | -70.7662 |  | 0.59206 | 1.0065 | 1.0639 | 0.39222 | 1.0801 | 1.0321 | -15.5929 | -123.2319 | 122.8077 | -18.8312 | -122.3338 | 126.05
Line_1 | 1.8782 | 0.58179 | 0.50955 | 1.8799 | 0.57986 | 0.50761 | 21.6874 | 6.7179 | 5.8838 | 21.707 | 6.6956 | 5.8614 | -4.0694e-11 | 6.0893 | -5.1695 | 6.9242 | -6.0819 | 5.0558 | 8.601e-12 | -5.0603 | -4.3339 | 4.9541 | 3.913 | 3.3226 | 125.6146 | -89.5566 | -87.2471 | -54.414 | 90.4225 | 92.7378 |  | 0 | 1.1786 | 1.1465 | 0.39222 | 1.0801 | 1.0321 | 0 | -129.2839 | 132.7282 | -18.8312 | -122.3338 | 126.05
Line_2 | 0.51949 | 0.1827 | 0.16371 | 0.5184 | 0.18183 | 0.16304 | 5.9986 | 2.1096 | 1.8904 | 5.986 | 2.0996 | 1.8826 | 2.9998 | -0.026041 | -1.0976 | -1.9234 | 0.37003 | 1.3663 | 1.8494 | -2.2709 | 1.2931 | -1.3464 | 2.2373 | -1.3816 | -53.8398 | -23.1569 | -8.9378 | 126.1757 | 157.0572 | 171.3687 |  | 0.58748 | 1.0765 | 0.89723 | 0.39222 | 1.0801 | 1.0321 | -22.1854 | -113.8139 | 121.3878 | -18.8312 | -122.3338 | 126.05

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50063 | 0.24684 | 0.2064 | 0.50023 | 0.24726 | 0.20682 | 5.7807 | 2.8502 | 2.3833 | 5.7762 | 2.8552 | 2.3882 | 4.1019 | -1.459 | 2.4258 | -3.7988 | 1.5264 | -2.3903 | 2.8624 | 2.4712 | -0.060295 | -2.5543 | -2.5207 | 0.016938 | -41.1301 | 118.3135 | 122.7742 | 138.8886 | -61.69 | -57.239 |  | 0.86527 | 1.0068 | 1.0182 | 0.79251 | 1.0321 | 1.0009 | -6.2221 | -121.1294 | 121.3504 | -7.195 | -120.4943 | 122.355
Line_1 | 0.69006 | 0.21375 | 0.18721 | 0.69068 | 0.21304 | 0.1865 | 7.9681 | 2.4682 | 2.1617 | 7.9753 | 2.46 | 2.1535 | -4.3217 | 1.8165 | -2.0918 | 5.2589 | -1.8127 | 2.0711 | -2.8327 | -1.9373 | -0.73411 | 3.5062 | 1.7778 | 0.5974 | 139.1418 | -76.0294 | -73.72 | -40.8868 | 103.9496 | 106.2649 |  | 0.6485 | 1.076 | 1.0255 | 0.79251 | 1.0321 | 1.0009 | -7.6152 | -122.8714 | 125.6188 | -7.195 | -120.4943 | 122.355
Line_2 | 0.19087 | 0.067124 | 0.06015 | 0.19046 | 0.066805 | 0.059902 | 2.2039 | 0.77508 | 0.69455 | 2.1993 | 0.7714 | 0.69169 | 1.6077 | -0.23938 | -0.28582 | -1.4601 | 0.28634 | 0.31924 | 1.0217 | -0.75042 | 0.60342 | -0.95189 | 0.74289 | -0.61433 | -40.3127 | -9.6298 | 4.5893 | 139.7029 | 170.5843 | -175.1041 |  | 0.86432 | 1.0162 | 0.96133 | 0.79251 | 1.0321 | 1.0009 | -7.8756 | -117.3222 | 119.9349 | -7.195 | -120.4943 | 122.355

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50063 | 0.24684 | 0.2064 | 0.50023 | 0.24726 | 0.20682 | 5.7807 | 2.8502 | 2.3833 | 5.7762 | 2.8552 | 2.3882 | 4.1019 | -1.459 | 2.4258 | -3.7988 | 1.5264 | -2.3903 | 2.8624 | 2.4712 | -0.060295 | -2.5543 | -2.5207 | 0.016938 | -41.1301 | 118.3135 | 122.7742 | 138.8886 | -61.69 | -57.239 |  | 0.86527 | 1.0068 | 1.0182 | 0.79251 | 1.0321 | 1.0009 | -6.2221 | -121.1294 | 121.3504 | -7.195 | -120.4943 | 122.355
Line_1 | 0.69006 | 0.21375 | 0.18721 | 0.69068 | 0.21304 | 0.1865 | 7.9681 | 2.4682 | 2.1617 | 7.9753 | 2.46 | 2.1535 | -4.3217 | 1.8165 | -2.0918 | 5.2589 | -1.8127 | 2.0711 | -2.8327 | -1.9373 | -0.73411 | 3.5062 | 1.7778 | 0.5974 | 139.1418 | -76.0294 | -73.72 | -40.8868 | 103.9496 | 106.2649 |  | 0.6485 | 1.076 | 1.0255 | 0.79251 | 1.0321 | 1.0009 | -7.6152 | -122.8714 | 125.6188 | -7.195 | -120.4943 | 122.355
Line_2 | 0.19087 | 0.067124 | 0.06015 | 0.19046 | 0.066805 | 0.059902 | 2.2039 | 0.77508 | 0.69455 | 2.1993 | 0.7714 | 0.69169 | 1.6077 | -0.23938 | -0.28582 | -1.4601 | 0.28634 | 0.31924 | 1.0217 | -0.75042 | 0.60342 | -0.95189 | 0.74289 | -0.61433 | -40.3127 | -9.6298 | 4.5893 | 139.7029 | 170.5843 | -175.1041 |  | 0.86432 | 1.0162 | 0.96133 | 0.79251 | 1.0321 | 1.0009 | -7.8756 | -117.3222 | 119.9349 | -7.195 | -120.4943 | 122.355

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41577 | 3.0468 | 2.7168 | 0.41709 | 3.0469 | 2.7163 | 4.8009 | 35.1809 | 31.3705 | 4.8161 | 35.183 | 31.3656 | -1.9629 | 17.4357 | 3.2094 | 2.2182 | -10.5909 | -1.166 | 5.8446 | 8.9626 | 13.445 | -5.985 | -3.3178 | -8.9235 | -107.9629 | -165.3191 | 24.5724 | 72.1241 | 14.7082 | -155.4571 |  | 1.2842 | 0.55724 | 0.44063 | 1.3253 | 0.31545 | 0.28692 | 0.60198 | -138.1142 | 101.1467 | 2.4604 | -147.8978 | 107.0982
Line_1 | 0.37152 | 3.8344 | 3.3329 | 0.3698 | 3.8342 | 3.3337 | 4.2899 | 44.2754 | 38.4844 | 4.2701 | 44.274 | 38.4948 | 2.8368 | 8.681e-11 | 9.5643e-11 | -2.7268 | 12.7584 | 2.7227 | -5.4813 | -7.1865e-11 | -5.8302e-12 | 4.959 | 5.6813 | 10.704 | 63.8137 | 8.1284 | -148.6612 | -116.3444 | -171.9013 | 31.3695 |  | 1.4387 | 0 | 0 | 1.3253 | 0.31545 | 0.28692 | 1.1772 | 0 | 0 | 2.4604 | -147.8978 | 107.0982
Line_2 | 0.076253 | 0.88123 | 0.71479 | 0.074828 | 0.88042 | 0.71386 | 0.88049 | 10.1755 | 8.2537 | 0.86404 | 10.1662 | 8.2429 | -0.42782 | 3.4449 | 2.019 | 0.50854 | -2.1675 | -1.5567 | -1.0196 | 2.3265 | 2.8765 | 1.026 | -2.3636 | -1.7805 | 118.6284 | 164.5456 | 58.3498 | -61.1739 | -15.3761 | -121.7392 |  | 1.2558 | 0.40852 | 0.42579 | 1.3253 | 0.31545 | 0.28692 | 5.866 | -161.4216 | 113.2857 | 2.4604 | -147.8978 | 107.0982

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41577 | 3.0468 | 2.7168 | 0.41709 | 3.0469 | 2.7163 | 4.8009 | 35.1809 | 31.3705 | 4.8161 | 35.183 | 31.3656 | -1.9629 | 17.4357 | 3.2094 | 2.2182 | -10.5909 | -1.166 | 5.8446 | 8.9626 | 13.445 | -5.985 | -3.3178 | -8.9235 | -107.9629 | -165.3191 | 24.5724 | 72.1241 | 14.7082 | -155.4571 |  | 1.2842 | 0.55724 | 0.44063 | 1.3253 | 0.31545 | 0.28692 | 0.60198 | -138.1142 | 101.1467 | 2.4604 | -147.8978 | 107.0982
Line_1 | 0.37152 | 3.8344 | 3.3329 | 0.3698 | 3.8342 | 3.3337 | 4.2899 | 44.2754 | 38.4844 | 4.2701 | 44.274 | 38.4948 | 2.8368 | 8.681e-11 | 9.5643e-11 | -2.7268 | 12.7584 | 2.7227 | -5.4813 | -7.1865e-11 | -5.8302e-12 | 4.959 | 5.6813 | 10.704 | 63.8137 | 8.1284 | -148.6612 | -116.3444 | -171.9013 | 31.3695 |  | 1.4387 | 0 | 0 | 1.3253 | 0.31545 | 0.28692 | 1.1772 | 0 | 0 | 2.4604 | -147.8978 | 107.0982
Line_2 | 0.076253 | 0.88123 | 0.71479 | 0.074828 | 0.88042 | 0.71386 | 0.88049 | 10.1755 | 8.2537 | 0.86404 | 10.1662 | 8.2429 | -0.42782 | 3.4449 | 2.019 | 0.50854 | -2.1675 | -1.5567 | -1.0196 | 2.3265 | 2.8765 | 1.026 | -2.3636 | -1.7805 | 118.6284 | 164.5456 | 58.3498 | -61.1739 | -15.3761 | -121.7392 |  | 1.2558 | 0.40852 | 0.42579 | 1.3253 | 0.31545 | 0.28692 | 5.866 | -161.4216 | 113.2857 | 2.4604 | -147.8978 | 107.0982

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022577 | 0.7807 | 0.59315 | 0.022953 | 0.7809 | 0.59285 | 0.2607 | 9.0147 | 6.8491 | 0.26503 | 9.0171 | 6.8456 | -0.15734 | 8.54 | 3.3117 | 0.16015 | -8.0229 | -3.2703 | 0.27009 | 2.2279 | 5.6955 | -0.2803 | -1.8951 | -5.436 | -119.2545 | -138.4715 | 51.9824 | 61.8602 | 41.5684 | -128.0657 |  | 1.199 | 0.97905 | 0.96193 | 1.2181 | 0.91422 | 0.92671 | 0.96791 | -123.8505 | 111.806 | 1.6012 | -125.1415 | 110.903
Line_1 | 0.082445 | 1.0382 | 0.88717 | 0.081882 | 1.038 | 0.88769 | 0.95199 | 11.9876 | 10.2442 | 0.94549 | 11.9863 | 10.2502 | 0.56763 | -8.5098 | -5.6067 | -0.55182 | 9.5883 | 5.8164 | -1.0658 | -5.0272 | -6.5417 | 1.0109 | 5.3053 | 7.51 | 63.3602 | 25.9457 | -121.3783 | -117.0287 | -154.0976 | 58.6604 |  | 1.2684 | 0.8245 | 0.84102 | 1.2181 | 0.91422 | 0.92671 | 1.4002 | -123.4819 | 108.0224 | 1.6012 | -125.1415 | 110.903
Line_2 | 0.058635 | 0.35584 | 0.30725 | 0.058936 | 0.35545 | 0.30688 | 0.67706 | 4.1089 | 3.5478 | 0.68053 | 4.1044 | 3.5436 | -0.39617 | 1.7794 | 2.6343 | 0.39167 | -1.5654 | -2.5461 | 0.69905 | 3.4317 | 2.264 | -0.73055 | -3.4102 | -2.0739 | -117.0738 | 169.4468 | 71.8199 | 63.4041 | -10.4846 | -108.2622 |  | 1.1868 | 0.94079 | 0.97905 | 1.2181 | 0.91422 | 0.92671 | 2.4676 | -127.9603 | 112.4973 | 1.6012 | -125.1415 | 110.903

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.022577 | 0.7807 | 0.59315 | 0.022953 | 0.7809 | 0.59285 | 0.2607 | 9.0147 | 6.8491 | 0.26503 | 9.0171 | 6.8456 | -0.15734 | 8.54 | 3.3117 | 0.16015 | -8.0229 | -3.2703 | 0.27009 | 2.2279 | 5.6955 | -0.2803 | -1.8951 | -5.436 | -119.2545 | -138.4715 | 51.9824 | 61.8602 | 41.5684 | -128.0657 |  | 1.199 | 0.97905 | 0.96193 | 1.2181 | 0.91422 | 0.92671 | 0.96791 | -123.8505 | 111.806 | 1.6012 | -125.1415 | 110.903
Line_1 | 0.082445 | 1.0382 | 0.88717 | 0.081882 | 1.038 | 0.88769 | 0.95199 | 11.9876 | 10.2442 | 0.94549 | 11.9863 | 10.2502 | 0.56763 | -8.5098 | -5.6067 | -0.55182 | 9.5883 | 5.8164 | -1.0658 | -5.0272 | -6.5417 | 1.0109 | 5.3053 | 7.51 | 63.3602 | 25.9457 | -121.3783 | -117.0287 | -154.0976 | 58.6604 |  | 1.2684 | 0.8245 | 0.84102 | 1.2181 | 0.91422 | 0.92671 | 1.4002 | -123.4819 | 108.0224 | 1.6012 | -125.1415 | 110.903
Line_2 | 0.058635 | 0.35584 | 0.30725 | 0.058936 | 0.35545 | 0.30688 | 0.67706 | 4.1089 | 3.5478 | 0.68053 | 4.1044 | 3.5436 | -0.39617 | 1.7794 | 2.6343 | 0.39167 | -1.5654 | -2.5461 | 0.69905 | 3.4317 | 2.264 | -0.73055 | -3.4102 | -2.0739 | -117.0738 | 169.4468 | 71.8199 | 63.4041 | -10.4846 | -108.2622 |  | 1.1868 | 0.94079 | 0.97905 | 1.2181 | 0.91422 | 0.92671 | 2.4676 | -127.9603 | 112.4973 | 1.6012 | -125.1415 | 110.903

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46913 | 2.3482 | 2.2647 | 0.47005 | 2.3484 | 2.2643 | 5.4171 | 27.1146 | 26.1506 | 5.4277 | 27.1169 | 26.1458 | 0.055249 | 17.9387 | 6.7529 | 0.2623 | -10.7403 | -3.1676 | 5.7169 | 3.6219 | 11.0151 | -5.9254 | -0.59254 | -7.3963 | -88.9699 | -154.3092 | 39.0872 | 91.0546 | 25.7132 | -140.9343 |  | 1.0554 | 0.67494 | 0.49407 | 1.0928 | 0.39668 | 0.30774 | 0.47636 | -142.8945 | 97.5765 | 3.5892 | -151.1289 | 105.8818
Line_1 | 0.42969 | 2.9501 | 2.6693 | 0.42818 | 2.9497 | 2.6702 | 4.9616 | 34.0649 | 30.8221 | 4.9442 | 34.0607 | 30.8326 | 1.3494 | -1.0378e-10 | -3.9651e-11 | -1.2269 | 13.3698 | 4.2736 | -5.996 | -6.5579e-11 | -1.048e-10 | 5.2617 | 1.9485 | 8.4714 | 80.5251 | 20.6091 | -137.3762 | -99.5357 | -159.4207 | 42.6514 |  | 1.2387 | 0 | 0 | 1.0928 | 0.39668 | 0.30774 | 3.2084 | 0 | 0 | 3.5892 | -151.1289 | 105.8818
Line_2 | 0.09357 | 0.64633 | 0.43455 | 0.09279 | 0.64591 | 0.43407 | 1.0804 | 7.4632 | 5.0177 | 1.0714 | 7.4584 | 5.0122 | -0.83319 | 3.7954 | 1.3192 | 0.96456 | -2.6295 | -1.106 | -0.66667 | 1.1419 | 1.7779 | 0.6637 | -1.356 | -1.0751 | 148.7864 | -178.4776 | 61.7925 | -30.9423 | 1.5926 | -118.3074 |  | 0.98762 | 0.53107 | 0.4412 | 1.0928 | 0.39668 | 0.30774 | 7.4513 | -161.7327 | 115.2162 | 3.5892 | -151.1289 | 105.8818

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46913 | 2.3482 | 2.2647 | 0.47005 | 2.3484 | 2.2643 | 5.4171 | 27.1146 | 26.1506 | 5.4277 | 27.1169 | 26.1458 | 0.055249 | 17.9387 | 6.7529 | 0.2623 | -10.7403 | -3.1676 | 5.7169 | 3.6219 | 11.0151 | -5.9254 | -0.59254 | -7.3963 | -88.9699 | -154.3092 | 39.0872 | 91.0546 | 25.7132 | -140.9343 |  | 1.0554 | 0.67494 | 0.49407 | 1.0928 | 0.39668 | 0.30774 | 0.47636 | -142.8945 | 97.5765 | 3.5892 | -151.1289 | 105.8818
Line_1 | 0.42969 | 2.9501 | 2.6693 | 0.42818 | 2.9497 | 2.6702 | 4.9616 | 34.0649 | 30.8221 | 4.9442 | 34.0607 | 30.8326 | 1.3494 | -1.0378e-10 | -3.9651e-11 | -1.2269 | 13.3698 | 4.2736 | -5.996 | -6.5579e-11 | -1.048e-10 | 5.2617 | 1.9485 | 8.4714 | 80.5251 | 20.6091 | -137.3762 | -99.5357 | -159.4207 | 42.6514 |  | 1.2387 | 0 | 0 | 1.0928 | 0.39668 | 0.30774 | 3.2084 | 0 | 0 | 3.5892 | -151.1289 | 105.8818
Line_2 | 0.09357 | 0.64633 | 0.43455 | 0.09279 | 0.64591 | 0.43407 | 1.0804 | 7.4632 | 5.0177 | 1.0714 | 7.4584 | 5.0122 | -0.83319 | 3.7954 | 1.3192 | 0.96456 | -2.6295 | -1.106 | -0.66667 | 1.1419 | 1.7779 | 0.6637 | -1.356 | -1.0751 | 148.7864 | -178.4776 | 61.7925 | -30.9423 | 1.5926 | -118.3074 |  | 0.98762 | 0.53107 | 0.4412 | 1.0928 | 0.39668 | 0.30774 | 7.4513 | -161.7327 | 115.2162 | 3.5892 | -151.1289 | 105.8818

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19818 | 0.71113 | 0.66658 | 0.19856 | 0.7112 | 0.66638 | 2.2883 | 8.2114 | 7.697 | 2.2928 | 8.2122 | 7.6947 | 0.70198 | 6.9153 | 3.5775 | -0.65199 | -6.1974 | -3.3133 | 2.2309 | 2.3932 | 5.5769 | -2.2708 | -2.1124 | -5.2289 | -72.266 | -144.6435 | 55.0321 | 107.7488 | 35.3876 | -124.9972 |  | 1.022 | 0.89117 | 0.86082 | 1.0304 | 0.7973 | 0.80448 | 0.26757 | -125.5538 | 112.3523 | 1.7291 | -125.791 | 112.6426
Line_1 | 0.18028 | 0.90709 | 0.79172 | 0.17964 | 0.90698 | 0.79215 | 2.0817 | 10.4742 | 9.142 | 2.0743 | 10.4729 | 9.147 | -0.13653 | -6.1264 | -4.1799 | 0.14762 | 7.5664 | 4.5173 | -2.2636 | -3.4159 | -4.8774 | 2.1323 | 3.5316 | 5.8088 | 95.7379 | 29.2291 | -119.522 | -84.3106 | -150.8118 | 60.5136 |  | 1.0894 | 0.66967 | 0.70263 | 1.0304 | 0.7973 | 0.80448 | 2.2863 | -121.6281 | 109.8817 | 1.7291 | -125.791 | 112.6426
Line_2 | 0.044267 | 0.21439 | 0.14413 | 0.043961 | 0.21419 | 0.14387 | 0.51115 | 2.4756 | 1.6643 | 0.50762 | 2.4732 | 1.6612 | -0.48018 | 1.523 | 1.2499 | 0.50438 | -1.369 | -1.204 | -0.14282 | 1.3953 | 0.66996 | 0.13855 | -1.4192 | -0.57991 | 166.0909 | -171.908 | 87.0293 | -13.6313 | 8.1755 | -93.0744 |  | 0.98008 | 0.83437 | 0.8521 | 1.0304 | 0.7973 | 0.80448 | 2.6544 | -129.4141 | 115.2205 | 1.7291 | -125.791 | 112.6426

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19818 | 0.71113 | 0.66658 | 0.19856 | 0.7112 | 0.66638 | 2.2883 | 8.2114 | 7.697 | 2.2928 | 8.2122 | 7.6947 | 0.70198 | 6.9153 | 3.5775 | -0.65199 | -6.1974 | -3.3133 | 2.2309 | 2.3932 | 5.5769 | -2.2708 | -2.1124 | -5.2289 | -72.266 | -144.6435 | 55.0321 | 107.7488 | 35.3876 | -124.9972 |  | 1.022 | 0.89117 | 0.86082 | 1.0304 | 0.7973 | 0.80448 | 0.26757 | -125.5538 | 112.3523 | 1.7291 | -125.791 | 112.6426
Line_1 | 0.18028 | 0.90709 | 0.79172 | 0.17964 | 0.90698 | 0.79215 | 2.0817 | 10.4742 | 9.142 | 2.0743 | 10.4729 | 9.147 | -0.13653 | -6.1264 | -4.1799 | 0.14762 | 7.5664 | 4.5173 | -2.2636 | -3.4159 | -4.8774 | 2.1323 | 3.5316 | 5.8088 | 95.7379 | 29.2291 | -119.522 | -84.3106 | -150.8118 | 60.5136 |  | 1.0894 | 0.66967 | 0.70263 | 1.0304 | 0.7973 | 0.80448 | 2.2863 | -121.6281 | 109.8817 | 1.7291 | -125.791 | 112.6426
Line_2 | 0.044267 | 0.21439 | 0.14413 | 0.043961 | 0.21419 | 0.14387 | 0.51115 | 2.4756 | 1.6643 | 0.50762 | 2.4732 | 1.6612 | -0.48018 | 1.523 | 1.2499 | 0.50438 | -1.369 | -1.204 | -0.14282 | 1.3953 | 0.66996 | 0.13855 | -1.4192 | -0.57991 | 166.0909 | -171.908 | 87.0293 | -13.6313 | 8.1755 | -93.0744 |  | 0.98008 | 0.83437 | 0.8521 | 1.0304 | 0.7973 | 0.80448 | 2.6544 | -129.4141 | 115.2205 | 1.7291 | -125.791 | 112.6426