## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1253 | 0.36347 | 0.54036 | 1.1257 | 0.36308 | 0.54002 | 12.9938 | 4.1969 | 6.2395 | 12.9987 | 4.1925 | 6.2356 | -1.112 | 2.591 | -4.444 | 2.1461 | -2.6748 | 4.5652 | -5.4692 | -3.6924 | -4.8799 | 6.5894 | 3.7021 | 4.7994 | 103.5532 | -54.469 | -115.9836 | -76.4479 | 125.5593 | 63.9896 |  | 0.42952 | 1.0748 | 1.0578 | 0.53313 | 1.0894 | 1.0623 | 2.0601 | -109.411 | 111.6926 | -4.4883 | -108.5926 | 110.4226
Line_1 | 0.56314 | 0.18124 | 0.26985 | 0.56286 | 0.18154 | 0.27001 | 6.5026 | 2.0928 | 3.116 | 6.4993 | 2.0963 | 3.1178 | 1.3333 | -1.3572 | 2.3105 | -1.0731 | 1.3374 | -2.2826 | 3.5761 | 1.8512 | 2.3803 | -3.2947 | -1.8511 | -2.3997 | -76.4385 | 125.5656 | 63.9363 | 103.5521 | -54.4407 | -116.0104 |  | 0.58692 | 1.0968 | 1.0646 | 0.53313 | 1.0894 | 1.0623 | -6.8854 | -108.1877 | 109.7898 | -4.4883 | -108.5926 | 110.4226
Line_2 | 0.56314 | 0.18124 | 0.26985 | 0.56286 | 0.18154 | 0.27001 | 6.5026 | 2.0928 | 3.116 | 6.4993 | 2.0963 | 3.1178 | 1.3333 | -1.3572 | 2.3105 | -1.0731 | 1.3374 | -2.2826 | 3.5761 | 1.8512 | 2.3803 | -3.2947 | -1.8511 | -2.3997 | -76.4385 | 125.5656 | 63.9363 | 103.5521 | -54.4407 | -116.0104 |  | 0.58692 | 1.0968 | 1.0646 | 0.53313 | 1.0894 | 1.0623 | -6.8854 | -108.1877 | 109.7898 | -4.4883 | -108.5926 | 110.4226

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1253 | 0.36347 | 0.54036 | 1.1257 | 0.36308 | 0.54002 | 12.9938 | 4.1969 | 6.2395 | 12.9987 | 4.1925 | 6.2356 | -1.112 | 2.591 | -4.444 | 2.1461 | -2.6748 | 4.5652 | -5.4692 | -3.6924 | -4.8799 | 6.5894 | 3.7021 | 4.7994 | 103.5532 | -54.469 | -115.9836 | -76.4479 | 125.5593 | 63.9896 |  | 0.42952 | 1.0748 | 1.0578 | 0.53313 | 1.0894 | 1.0623 | 2.0601 | -109.411 | 111.6926 | -4.4883 | -108.5926 | 110.4226
Line_1 | 0.56314 | 0.18124 | 0.26985 | 0.56286 | 0.18154 | 0.27001 | 6.5026 | 2.0928 | 3.116 | 6.4993 | 2.0963 | 3.1178 | 1.3333 | -1.3572 | 2.3105 | -1.0731 | 1.3374 | -2.2826 | 3.5761 | 1.8512 | 2.3803 | -3.2947 | -1.8511 | -2.3997 | -76.4385 | 125.5656 | 63.9363 | 103.5521 | -54.4407 | -116.0104 |  | 0.58692 | 1.0968 | 1.0646 | 0.53313 | 1.0894 | 1.0623 | -6.8854 | -108.1877 | 109.7898 | -4.4883 | -108.5926 | 110.4226
Line_2 | 0.56314 | 0.18124 | 0.26985 | 0.56286 | 0.18154 | 0.27001 | 6.5026 | 2.0928 | 3.116 | 6.4993 | 2.0963 | 3.1178 | 1.3333 | -1.3572 | 2.3105 | -1.0731 | 1.3374 | -2.2826 | 3.5761 | 1.8512 | 2.3803 | -3.2947 | -1.8511 | -2.3997 | -76.4385 | 125.5656 | 63.9363 | 103.5521 | -54.4407 | -116.0104 |  | 0.58692 | 1.0968 | 1.0646 | 0.53313 | 1.0894 | 1.0623 | -6.8854 | -108.1877 | 109.7898 | -4.4883 | -108.5926 | 110.4226

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83134 | 0.33748 | 0.4117 | 0.83163 | 0.33722 | 0.41151 | 9.5995 | 3.8969 | 4.7539 | 9.6028 | 3.8939 | 4.7517 | -3.3967 | 1.3847 | -3.5332 | 3.9308 | -1.4207 | 3.6312 | -5.5537 | -3.903 | -3.933 | 6.1645 | 3.922 | 3.9024 | 112.6065 | -43.2177 | -114.0861 | -67.3929 | 136.8012 | 65.8839 |  | 0.67817 | 1.0627 | 1.1121 | 0.76135 | 1.0713 | 1.1218 | -8.8436 | -113.684 | 113.9787 | -9.9165 | -113.2869 | 112.9456
Line_1 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16861 | 0.20575 | 4.8036 | 1.9446 | 2.375 | 4.8014 | 1.9469 | 2.3759 | 2.1004 | -0.7191 | 1.8385 | -1.9654 | 0.71033 | -1.8156 | 3.2357 | 1.964 | 1.9444 | -3.0823 | -1.961 | -1.9512 | -67.3821 | 136.803 | 65.8311 | 112.6071 | -43.1988 | -114.1161 |  | 0.80308 | 1.0756 | 1.1267 | 0.76135 | 1.0713 | 1.1218 | -10.371 | -113.0876 | 112.434 | -9.9165 | -113.2869 | 112.9456
Line_2 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16861 | 0.20575 | 4.8036 | 1.9446 | 2.375 | 4.8014 | 1.9469 | 2.3759 | 2.1004 | -0.7191 | 1.8385 | -1.9654 | 0.71033 | -1.8156 | 3.2357 | 1.964 | 1.9444 | -3.0823 | -1.961 | -1.9512 | -67.3821 | 136.803 | 65.8311 | 112.6071 | -43.1988 | -114.1161 |  | 0.80308 | 1.0756 | 1.1267 | 0.76135 | 1.0713 | 1.1218 | -10.371 | -113.0876 | 112.434 | -9.9165 | -113.2869 | 112.9456

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83134 | 0.33748 | 0.4117 | 0.83163 | 0.33722 | 0.41151 | 9.5995 | 3.8969 | 4.7539 | 9.6028 | 3.8939 | 4.7517 | -3.3967 | 1.3847 | -3.5332 | 3.9308 | -1.4207 | 3.6312 | -5.5537 | -3.903 | -3.933 | 6.1645 | 3.922 | 3.9024 | 112.6065 | -43.2177 | -114.0861 | -67.3929 | 136.8012 | 65.8839 |  | 0.67817 | 1.0627 | 1.1121 | 0.76135 | 1.0713 | 1.1218 | -8.8436 | -113.684 | 113.9787 | -9.9165 | -113.2869 | 112.9456
Line_1 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16861 | 0.20575 | 4.8036 | 1.9446 | 2.375 | 4.8014 | 1.9469 | 2.3759 | 2.1004 | -0.7191 | 1.8385 | -1.9654 | 0.71033 | -1.8156 | 3.2357 | 1.964 | 1.9444 | -3.0823 | -1.961 | -1.9512 | -67.3821 | 136.803 | 65.8311 | 112.6071 | -43.1988 | -114.1161 |  | 0.80308 | 1.0756 | 1.1267 | 0.76135 | 1.0713 | 1.1218 | -10.371 | -113.0876 | 112.434 | -9.9165 | -113.2869 | 112.9456
Line_2 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16861 | 0.20575 | 4.8036 | 1.9446 | 2.375 | 4.8014 | 1.9469 | 2.3759 | 2.1004 | -0.7191 | 1.8385 | -1.9654 | 0.71033 | -1.8156 | 3.2357 | 1.964 | 1.9444 | -3.0823 | -1.961 | -1.9512 | -67.3821 | 136.803 | 65.8311 | 112.6071 | -43.1988 | -114.1161 |  | 0.80308 | 1.0756 | 1.1267 | 0.76135 | 1.0713 | 1.1218 | -10.371 | -113.0876 | 112.434 | -9.9165 | -113.2869 | 112.9456

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81802 | 0.20662 | 0.34196 | 0.81843 | 0.20618 | 0.34152 | 9.4457 | 2.3859 | 3.9486 | 9.4504 | 2.3808 | 3.9435 | -0.61976 | 2.0177 | -3.4541 | 1.7435 | -2.0535 | 3.4378 | -3.1285 | -0.87689 | -1.4516 | 3.8883 | 0.77931 | 1.3121 | 109.3094 | -87.8397 | -90.2604 | -70.7023 | 92.1709 | 89.7429 |  | 0.33765 | 0.9221 | 0.94887 | 0.45091 | 0.92255 | 0.93309 | 8.104 | -111.3291 | 112.5349 | -4.8537 | -108.6111 | 110.6327
Line_1 | 0.40945 | 0.10288 | 0.17055 | 0.40922 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9694 | 4.7252 | 1.1904 | 1.9718 | 1.1543 | -1.0352 | 1.7132 | -0.87176 | 1.0267 | -1.7189 | 2.1349 | 0.36381 | 0.62189 | -1.9442 | -0.38965 | -0.65603 | -70.6977 | 92.1152 | 89.7063 | 109.2977 | -87.8291 | -90.2571 |  | 0.51332 | 0.92366 | 0.92546 | 0.45091 | 0.92255 | 0.93309 | -9.0964 | -107.2489 | 109.6572 | -4.8537 | -108.6111 | 110.6327
Line_2 | 0.40945 | 0.10288 | 0.17055 | 0.40922 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9694 | 4.7252 | 1.1904 | 1.9718 | 1.1543 | -1.0352 | 1.7132 | -0.87176 | 1.0267 | -1.7189 | 2.1349 | 0.36381 | 0.62189 | -1.9442 | -0.38965 | -0.65603 | -70.6977 | 92.1152 | 89.7063 | 109.2977 | -87.8291 | -90.2571 |  | 0.51332 | 0.92366 | 0.92546 | 0.45091 | 0.92255 | 0.93309 | -9.0964 | -107.2489 | 109.6572 | -4.8537 | -108.6111 | 110.6327

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81802 | 0.20662 | 0.34196 | 0.81843 | 0.20618 | 0.34152 | 9.4457 | 2.3859 | 3.9486 | 9.4504 | 2.3808 | 3.9435 | -0.61976 | 2.0177 | -3.4541 | 1.7435 | -2.0535 | 3.4378 | -3.1285 | -0.87689 | -1.4516 | 3.8883 | 0.77931 | 1.3121 | 109.3094 | -87.8397 | -90.2604 | -70.7023 | 92.1709 | 89.7429 |  | 0.33765 | 0.9221 | 0.94887 | 0.45091 | 0.92255 | 0.93309 | 8.104 | -111.3291 | 112.5349 | -4.8537 | -108.6111 | 110.6327
Line_1 | 0.40945 | 0.10288 | 0.17055 | 0.40922 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9694 | 4.7252 | 1.1904 | 1.9718 | 1.1543 | -1.0352 | 1.7132 | -0.87176 | 1.0267 | -1.7189 | 2.1349 | 0.36381 | 0.62189 | -1.9442 | -0.38965 | -0.65603 | -70.6977 | 92.1152 | 89.7063 | 109.2977 | -87.8291 | -90.2571 |  | 0.51332 | 0.92366 | 0.92546 | 0.45091 | 0.92255 | 0.93309 | -9.0964 | -107.2489 | 109.6572 | -4.8537 | -108.6111 | 110.6327
Line_2 | 0.40945 | 0.10288 | 0.17055 | 0.40922 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9694 | 4.7252 | 1.1904 | 1.9718 | 1.1543 | -1.0352 | 1.7132 | -0.87176 | 1.0267 | -1.7189 | 2.1349 | 0.36381 | 0.62189 | -1.9442 | -0.38965 | -0.65603 | -70.6977 | 92.1152 | 89.7063 | 109.2977 | -87.8291 | -90.2571 |  | 0.51332 | 0.92366 | 0.92546 | 0.45091 | 0.92255 | 0.93309 | -9.0964 | -107.2489 | 109.6572 | -4.8537 | -108.6111 | 110.6327

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5797 | 0.14643 | 0.24234 | 0.57999 | 0.14611 | 0.24202 | 6.6938 | 1.6908 | 2.7983 | 6.6972 | 1.6872 | 2.7946 | -2.2667 | 1.2025 | -2.6861 | 2.8317 | -1.2199 | 2.6766 | -2.7854 | -0.99014 | -0.58529 | 3.168 | 0.93999 | 0.51533 | 121.7663 | -75.3828 | -77.8035 | -58.2454 | 104.6278 | 102.1997 |  | 0.53649 | 0.92127 | 0.98244 | 0.63447 | 0.91282 | 0.97538 | -7.3709 | -114.8513 | 114.4889 | -10.0375 | -112.9873 | 113.0974
Line_1 | 0.29016 | 0.072906 | 0.12086 | 0.29 | 0.073056 | 0.12101 | 3.3505 | 0.84184 | 1.3956 | 3.3486 | 0.84358 | 1.3973 | 1.5583 | -0.61428 | 1.3349 | -1.4159 | 0.60997 | -1.3383 | 1.68 | 0.45636 | 0.24091 | -1.584 | -0.46999 | -0.25766 | -58.2408 | 104.5721 | 102.1631 | 121.7546 | -75.3722 | -77.8003 |  | 0.68393 | 0.90901 | 0.97197 | 0.63447 | 0.91282 | 0.97538 | -11.0886 | -112.0376 | 112.3929 | -10.0375 | -112.9873 | 113.0974
Line_2 | 0.29016 | 0.072906 | 0.12086 | 0.29 | 0.073056 | 0.12101 | 3.3505 | 0.84184 | 1.3956 | 3.3486 | 0.84358 | 1.3973 | 1.5583 | -0.61428 | 1.3349 | -1.4159 | 0.60997 | -1.3383 | 1.68 | 0.45636 | 0.24091 | -1.584 | -0.46999 | -0.25766 | -58.2408 | 104.5721 | 102.1631 | 121.7546 | -75.3722 | -77.8003 |  | 0.68393 | 0.90901 | 0.97197 | 0.63447 | 0.91282 | 0.97538 | -11.0886 | -112.0376 | 112.3929 | -10.0375 | -112.9873 | 113.0974

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5797 | 0.14643 | 0.24234 | 0.57999 | 0.14611 | 0.24202 | 6.6938 | 1.6908 | 2.7983 | 6.6972 | 1.6872 | 2.7946 | -2.2667 | 1.2025 | -2.6861 | 2.8317 | -1.2199 | 2.6766 | -2.7854 | -0.99014 | -0.58529 | 3.168 | 0.93999 | 0.51533 | 121.7663 | -75.3828 | -77.8035 | -58.2454 | 104.6278 | 102.1997 |  | 0.53649 | 0.92127 | 0.98244 | 0.63447 | 0.91282 | 0.97538 | -7.3709 | -114.8513 | 114.4889 | -10.0375 | -112.9873 | 113.0974
Line_1 | 0.29016 | 0.072906 | 0.12086 | 0.29 | 0.073056 | 0.12101 | 3.3505 | 0.84184 | 1.3956 | 3.3486 | 0.84358 | 1.3973 | 1.5583 | -0.61428 | 1.3349 | -1.4159 | 0.60997 | -1.3383 | 1.68 | 0.45636 | 0.24091 | -1.584 | -0.46999 | -0.25766 | -58.2408 | 104.5721 | 102.1631 | 121.7546 | -75.3722 | -77.8003 |  | 0.68393 | 0.90901 | 0.97197 | 0.63447 | 0.91282 | 0.97538 | -11.0886 | -112.0376 | 112.3929 | -10.0375 | -112.9873 | 113.0974
Line_2 | 0.29016 | 0.072906 | 0.12086 | 0.29 | 0.073056 | 0.12101 | 3.3505 | 0.84184 | 1.3956 | 3.3486 | 0.84358 | 1.3973 | 1.5583 | -0.61428 | 1.3349 | -1.4159 | 0.60997 | -1.3383 | 1.68 | 0.45636 | 0.24091 | -1.584 | -0.46999 | -0.25766 | -58.2408 | 104.5721 | 102.1631 | 121.7546 | -75.3722 | -77.8003 |  | 0.68393 | 0.90901 | 0.97197 | 0.63447 | 0.91282 | 0.97538 | -11.0886 | -112.0376 | 112.3929 | -10.0375 | -112.9873 | 113.0974

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55216 | 1.4163 | 1.1903 | 0.55174 | 1.4164 | 1.1905 | 6.3758 | 16.3535 | 13.7449 | 6.3709 | 16.3551 | 13.7468 | -1.1818 | -4.2164 | 2.5959 | 1.1573 | 5.8606 | -2.0867 | -5.9832 | -3.9452 | -4.7988 | 5.9767 | 4.8596 | 6.1417 | 103.6327 | -7.2171 | -145.8645 | -76.3652 | 172.7667 | 34.1542 |  | 0.95655 | 0.35309 | 0.39694 | 0.95555 | 0.4655 | 0.47186 | 2.4599 | -144.1203 | 152.5466 | 2.676 | -147.5679 | 142.9198
Line_1 | 0.27559 | 0.70838 | 0.59527 | 0.27587 | 0.70819 | 0.59526 | 3.1822 | 8.1797 | 6.8736 | 3.1855 | 8.1775 | 6.8734 | 0.57088 | 3.3421 | -0.91478 | -0.57865 | -2.9303 | 1.0434 | 2.9849 | 2.6594 | 3.4073 | -2.9884 | -2.4298 | -3.0709 | -76.3846 | 172.7481 | 34.1827 | 103.6348 | -7.2333 | -145.8458 |  | 0.955 | 0.52216 | 0.51327 | 0.95555 | 0.4655 | 0.47186 | 2.788 | -148.7422 | 139.2109 | 2.676 | -147.5679 | 142.9198
Line_2 | 0.27559 | 0.70838 | 0.59527 | 0.27587 | 0.70819 | 0.59526 | 3.1822 | 8.1797 | 6.8736 | 3.1855 | 8.1775 | 6.8734 | 0.57088 | 3.3421 | -0.91478 | -0.57865 | -2.9303 | 1.0434 | 2.9849 | 2.6594 | 3.4073 | -2.9884 | -2.4298 | -3.0709 | -76.3846 | 172.7481 | 34.1827 | 103.6348 | -7.2333 | -145.8458 |  | 0.955 | 0.52216 | 0.51327 | 0.95555 | 0.4655 | 0.47186 | 2.788 | -148.7422 | 139.2109 | 2.676 | -147.5679 | 142.9198

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55216 | 1.4163 | 1.1903 | 0.55174 | 1.4164 | 1.1905 | 6.3758 | 16.3535 | 13.7449 | 6.3709 | 16.3551 | 13.7468 | -1.1818 | -4.2164 | 2.5959 | 1.1573 | 5.8606 | -2.0867 | -5.9832 | -3.9452 | -4.7988 | 5.9767 | 4.8596 | 6.1417 | 103.6327 | -7.2171 | -145.8645 | -76.3652 | 172.7667 | 34.1542 |  | 0.95655 | 0.35309 | 0.39694 | 0.95555 | 0.4655 | 0.47186 | 2.4599 | -144.1203 | 152.5466 | 2.676 | -147.5679 | 142.9198
Line_1 | 0.27559 | 0.70838 | 0.59527 | 0.27587 | 0.70819 | 0.59526 | 3.1822 | 8.1797 | 6.8736 | 3.1855 | 8.1775 | 6.8734 | 0.57088 | 3.3421 | -0.91478 | -0.57865 | -2.9303 | 1.0434 | 2.9849 | 2.6594 | 3.4073 | -2.9884 | -2.4298 | -3.0709 | -76.3846 | 172.7481 | 34.1827 | 103.6348 | -7.2333 | -145.8458 |  | 0.955 | 0.52216 | 0.51327 | 0.95555 | 0.4655 | 0.47186 | 2.788 | -148.7422 | 139.2109 | 2.676 | -147.5679 | 142.9198
Line_2 | 0.27559 | 0.70838 | 0.59527 | 0.27587 | 0.70819 | 0.59526 | 3.1822 | 8.1797 | 6.8736 | 3.1855 | 8.1775 | 6.8734 | 0.57088 | 3.3421 | -0.91478 | -0.57865 | -2.9303 | 1.0434 | 2.9849 | 2.6594 | 3.4073 | -2.9884 | -2.4298 | -3.0709 | -76.3846 | 172.7481 | 34.1827 | 103.6348 | -7.2333 | -145.8458 |  | 0.955 | 0.52216 | 0.51327 | 0.95555 | 0.4655 | 0.47186 | 2.788 | -148.7422 | 139.2109 | 2.676 | -147.5679 | 142.9198

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44296 | 1.0162 | 0.88426 | 0.44267 | 1.0163 | 0.88435 | 5.1148 | 11.7345 | 10.2105 | 5.1115 | 11.7358 | 10.2116 | -1.6645 | -6.1605 | -1.3415 | 1.6812 | 7.0002 | 1.6194 | -4.9145 | -4.8104 | -5.7291 | 4.9141 | 5.3108 | 6.4394 | 108.5667 | 2.1458 | -135.7455 | -71.4371 | -177.8693 | 44.2721 |  | 1.0144 | 0.66608 | 0.57627 | 1.0161 | 0.74872 | 0.65023 | -0.14427 | -139.8701 | 121.0756 | -0.32428 | -140.6827 | 120.1559
Line_1 | 0.22116 | 0.50831 | 0.44217 | 0.22134 | 0.50817 | 0.44218 | 2.5537 | 5.8695 | 5.1058 | 2.5558 | 5.8679 | 5.1058 | 0.84334 | 3.7107 | 0.88016 | -0.84062 | -3.5001 | -0.8097 | 2.456 | 2.7816 | 3.3971 | -2.457 | -2.6554 | -3.2197 | -71.4607 | -177.8858 | 44.2982 | 108.5629 | 2.1307 | -135.7279 |  | 1.0168 | 0.7901 | 0.68731 | 1.0161 | 0.74872 | 0.65023 | -0.41236 | -141.0292 | 119.7726 | -0.32428 | -140.6827 | 120.1559
Line_2 | 0.22116 | 0.50831 | 0.44217 | 0.22134 | 0.50817 | 0.44218 | 2.5537 | 5.8695 | 5.1058 | 2.5558 | 5.8679 | 5.1058 | 0.84334 | 3.7107 | 0.88016 | -0.84062 | -3.5001 | -0.8097 | 2.456 | 2.7816 | 3.3971 | -2.457 | -2.6554 | -3.2197 | -71.4607 | -177.8858 | 44.2982 | 108.5629 | 2.1307 | -135.7279 |  | 1.0168 | 0.7901 | 0.68731 | 1.0161 | 0.74872 | 0.65023 | -0.41236 | -141.0292 | 119.7726 | -0.32428 | -140.6827 | 120.1559

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44296 | 1.0162 | 0.88426 | 0.44267 | 1.0163 | 0.88435 | 5.1148 | 11.7345 | 10.2105 | 5.1115 | 11.7358 | 10.2116 | -1.6645 | -6.1605 | -1.3415 | 1.6812 | 7.0002 | 1.6194 | -4.9145 | -4.8104 | -5.7291 | 4.9141 | 5.3108 | 6.4394 | 108.5667 | 2.1458 | -135.7455 | -71.4371 | -177.8693 | 44.2721 |  | 1.0144 | 0.66608 | 0.57627 | 1.0161 | 0.74872 | 0.65023 | -0.14427 | -139.8701 | 121.0756 | -0.32428 | -140.6827 | 120.1559
Line_1 | 0.22116 | 0.50831 | 0.44217 | 0.22134 | 0.50817 | 0.44218 | 2.5537 | 5.8695 | 5.1058 | 2.5558 | 5.8679 | 5.1058 | 0.84334 | 3.7107 | 0.88016 | -0.84062 | -3.5001 | -0.8097 | 2.456 | 2.7816 | 3.3971 | -2.457 | -2.6554 | -3.2197 | -71.4607 | -177.8858 | 44.2982 | 108.5629 | 2.1307 | -135.7279 |  | 1.0168 | 0.7901 | 0.68731 | 1.0161 | 0.74872 | 0.65023 | -0.41236 | -141.0292 | 119.7726 | -0.32428 | -140.6827 | 120.1559
Line_2 | 0.22116 | 0.50831 | 0.44217 | 0.22134 | 0.50817 | 0.44218 | 2.5537 | 5.8695 | 5.1058 | 2.5558 | 5.8679 | 5.1058 | 0.84334 | 3.7107 | 0.88016 | -0.84062 | -3.5001 | -0.8097 | 2.456 | 2.7816 | 3.3971 | -2.457 | -2.6554 | -3.2197 | -71.4607 | -177.8858 | 44.2982 | 108.5629 | 2.1307 | -135.7279 |  | 1.0168 | 0.7901 | 0.68731 | 1.0161 | 0.74872 | 0.65023 | -0.41236 | -141.0292 | 119.7726 | -0.32428 | -140.6827 | 120.1559

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30601 | 1.1094 | 0.89248 | 0.30561 | 1.1093 | 0.89276 | 3.5335 | 12.81 | 10.3055 | 3.5289 | 12.8096 | 10.3087 | -1.1634 | -2.6812 | 1.6897 | 1.0789 | 4.5659 | -1.1318 | -2.7832 | -2.4114 | -2.6877 | 2.7119 | 2.7119 | 3.7431 | 113.7026 | 1.2015 | -144.0579 | -66.261 | -178.8213 | 35.9643 |  | 0.85369 | 0.2815 | 0.30806 | 0.82705 | 0.41457 | 0.37933 | 1.0177 | -136.832 | 158.0987 | 2.0442 | -148.1136 | 142.7887
Line_1 | 0.15258 | 0.55478 | 0.44641 | 0.15281 | 0.55467 | 0.44638 | 1.7618 | 6.406 | 5.1547 | 1.7645 | 6.4048 | 5.1543 | 0.5171 | 2.7547 | -0.42537 | -0.53945 | -2.283 | 0.56592 | 1.3372 | 1.4313 | 2.1361 | -1.3559 | -1.3559 | -1.8715 | -66.2671 | -178.8427 | 35.9939 | 113.739 | 1.1787 | -144.0357 |  | 0.81379 | 0.4846 | 0.42253 | 0.82705 | 0.41457 | 0.37933 | 2.5915 | -151.3872 | 137.2562 | 2.0442 | -148.1136 | 142.7887
Line_2 | 0.15258 | 0.55478 | 0.44641 | 0.15281 | 0.55467 | 0.44638 | 1.7618 | 6.406 | 5.1547 | 1.7645 | 6.4048 | 5.1543 | 0.5171 | 2.7547 | -0.42537 | -0.53945 | -2.283 | 0.56592 | 1.3372 | 1.4313 | 2.1361 | -1.3559 | -1.3559 | -1.8715 | -66.2671 | -178.8427 | 35.9939 | 113.739 | 1.1787 | -144.0357 |  | 0.81379 | 0.4846 | 0.42253 | 0.82705 | 0.41457 | 0.37933 | 2.5915 | -151.3872 | 137.2562 | 2.0442 | -148.1136 | 142.7887

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30601 | 1.1094 | 0.89248 | 0.30561 | 1.1093 | 0.89276 | 3.5335 | 12.81 | 10.3055 | 3.5289 | 12.8096 | 10.3087 | -1.1634 | -2.6812 | 1.6897 | 1.0789 | 4.5659 | -1.1318 | -2.7832 | -2.4114 | -2.6877 | 2.7119 | 2.7119 | 3.7431 | 113.7026 | 1.2015 | -144.0579 | -66.261 | -178.8213 | 35.9643 |  | 0.85369 | 0.2815 | 0.30806 | 0.82705 | 0.41457 | 0.37933 | 1.0177 | -136.832 | 158.0987 | 2.0442 | -148.1136 | 142.7887
Line_1 | 0.15258 | 0.55478 | 0.44641 | 0.15281 | 0.55467 | 0.44638 | 1.7618 | 6.406 | 5.1547 | 1.7645 | 6.4048 | 5.1543 | 0.5171 | 2.7547 | -0.42537 | -0.53945 | -2.283 | 0.56592 | 1.3372 | 1.4313 | 2.1361 | -1.3559 | -1.3559 | -1.8715 | -66.2671 | -178.8427 | 35.9939 | 113.739 | 1.1787 | -144.0357 |  | 0.81379 | 0.4846 | 0.42253 | 0.82705 | 0.41457 | 0.37933 | 2.5915 | -151.3872 | 137.2562 | 2.0442 | -148.1136 | 142.7887
Line_2 | 0.15258 | 0.55478 | 0.44641 | 0.15281 | 0.55467 | 0.44638 | 1.7618 | 6.406 | 5.1547 | 1.7645 | 6.4048 | 5.1543 | 0.5171 | 2.7547 | -0.42537 | -0.53945 | -2.283 | 0.56592 | 1.3372 | 1.4313 | 2.1361 | -1.3559 | -1.3559 | -1.8715 | -66.2671 | -178.8427 | 35.9939 | 113.739 | 1.1787 | -144.0357 |  | 0.81379 | 0.4846 | 0.42253 | 0.82705 | 0.41457 | 0.37933 | 2.5915 | -151.3872 | 137.2562 | 2.0442 | -148.1136 | 142.7887

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21671 | 0.78374 | 0.6317 | 0.21643 | 0.78372 | 0.6319 | 2.5023 | 9.0499 | 7.2943 | 2.4991 | 9.0497 | 7.2965 | -1.3401 | -4.2707 | -0.93506 | 1.2969 | 5.2117 | 1.217 | -1.7981 | -2.2877 | -3.1279 | 1.7611 | 2.4369 | 3.6579 | 125.9494 | 13.6431 | -131.4739 | -54.0141 | -166.3798 | 48.5483 |  | 0.89618 | 0.53534 | 0.44757 | 0.87517 | 0.63575 | 0.52834 | -0.74732 | -138.1804 | 121.8828 | -0.38147 | -141.3195 | 120.146
Line_1 | 0.10805 | 0.39194 | 0.31597 | 0.10821 | 0.39186 | 0.31595 | 1.2476 | 4.5257 | 3.6486 | 1.2495 | 4.5248 | 3.6483 | 0.63659 | 2.8416 | 0.67973 | -0.64843 | -2.6059 | -0.60849 | 0.87086 | 1.2563 | 1.9614 | -0.88056 | -1.2185 | -1.8289 | -54.0203 | -166.4014 | 48.5779 | 125.9859 | 13.6202 | -131.4517 |  | 0.86461 | 0.68651 | 0.56896 | 0.87517 | 0.63575 | 0.52834 | -0.18673 | -142.551 | 119.4642 | -0.38147 | -141.3195 | 120.146
Line_2 | 0.10805 | 0.39194 | 0.31597 | 0.10821 | 0.39186 | 0.31595 | 1.2476 | 4.5257 | 3.6486 | 1.2495 | 4.5248 | 3.6483 | 0.63659 | 2.8416 | 0.67973 | -0.64843 | -2.6059 | -0.60849 | 0.87086 | 1.2563 | 1.9614 | -0.88056 | -1.2185 | -1.8289 | -54.0203 | -166.4014 | 48.5779 | 125.9859 | 13.6202 | -131.4517 |  | 0.86461 | 0.68651 | 0.56896 | 0.87517 | 0.63575 | 0.52834 | -0.18673 | -142.551 | 119.4642 | -0.38147 | -141.3195 | 120.146

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21671 | 0.78374 | 0.6317 | 0.21643 | 0.78372 | 0.6319 | 2.5023 | 9.0499 | 7.2943 | 2.4991 | 9.0497 | 7.2965 | -1.3401 | -4.2707 | -0.93506 | 1.2969 | 5.2117 | 1.217 | -1.7981 | -2.2877 | -3.1279 | 1.7611 | 2.4369 | 3.6579 | 125.9494 | 13.6431 | -131.4739 | -54.0141 | -166.3798 | 48.5483 |  | 0.89618 | 0.53534 | 0.44757 | 0.87517 | 0.63575 | 0.52834 | -0.74732 | -138.1804 | 121.8828 | -0.38147 | -141.3195 | 120.146
Line_1 | 0.10805 | 0.39194 | 0.31597 | 0.10821 | 0.39186 | 0.31595 | 1.2476 | 4.5257 | 3.6486 | 1.2495 | 4.5248 | 3.6483 | 0.63659 | 2.8416 | 0.67973 | -0.64843 | -2.6059 | -0.60849 | 0.87086 | 1.2563 | 1.9614 | -0.88056 | -1.2185 | -1.8289 | -54.0203 | -166.4014 | 48.5779 | 125.9859 | 13.6202 | -131.4517 |  | 0.86461 | 0.68651 | 0.56896 | 0.87517 | 0.63575 | 0.52834 | -0.18673 | -142.551 | 119.4642 | -0.38147 | -141.3195 | 120.146
Line_2 | 0.10805 | 0.39194 | 0.31597 | 0.10821 | 0.39186 | 0.31595 | 1.2476 | 4.5257 | 3.6486 | 1.2495 | 4.5248 | 3.6483 | 0.63659 | 2.8416 | 0.67973 | -0.64843 | -2.6059 | -0.60849 | 0.87086 | 1.2563 | 1.9614 | -0.88056 | -1.2185 | -1.8289 | -54.0203 | -166.4014 | 48.5779 | 125.9859 | 13.6202 | -131.4517 |  | 0.86461 | 0.68651 | 0.56896 | 0.87517 | 0.63575 | 0.52834 | -0.18673 | -142.551 | 119.4642 | -0.38147 | -141.3195 | 120.146