## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1923 | 0.34123 | 0.45033 | 1.1928 | 0.34103 | 0.44978 | 13.7677 | 3.9402 | 5.2 | 13.7734 | 3.9378 | 5.1936 | 0.12489 | 1.2662 | -4.0743 | 1.3081 | -1.3964 | 4.0114 | -5.7279 | -3.8148 | -4.2051 | 6.8142 | 3.9565 | 4.0948 | 100.2475 | -40.0184 | -114.5345 | -79.7652 | 140.0687 | 65.4574 |  | 0.41614 | 1.0201 | 1.126 | 0.50377 | 1.0655 | 1.1037 | 11.4966 | -111.6566 | 111.3707 | -0.63203 | -110.4917 | 111.047
Line_1 | 0.5968 | 0.17025 | 0.22454 | 0.59641 | 0.17051 | 0.22489 | 6.8912 | 1.9658 | 2.5928 | 6.8867 | 1.9689 | 2.5968 | 1.0138 | -0.72803 | 1.9864 | -0.65405 | 0.69819 | -2.0057 | 3.6806 | 2.012 | 2.0193 | -3.4071 | -1.9782 | -2.0474 | -79.7699 | 140.1651 | 65.411 | 100.2348 | -39.9313 | -114.5426 |  | 0.55399 | 1.0884 | 1.0925 | 0.50377 | 1.0655 | 1.1037 | -5.1694 | -109.9423 | 110.8807 | -0.63203 | -110.4917 | 111.047
Line_2 | 0.5968 | 0.17025 | 0.22454 | 0.59641 | 0.17051 | 0.22489 | 6.8912 | 1.9658 | 2.5928 | 6.8867 | 1.9689 | 2.5968 | 1.0138 | -0.72803 | 1.9864 | -0.65405 | 0.69819 | -2.0057 | 3.6806 | 2.012 | 2.0193 | -3.4071 | -1.9782 | -2.0474 | -79.7699 | 140.1651 | 65.411 | 100.2348 | -39.9313 | -114.5426 |  | 0.55399 | 1.0884 | 1.0925 | 0.50377 | 1.0655 | 1.1037 | -5.1694 | -109.9423 | 110.8807 | -0.63203 | -110.4917 | 111.047

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1923 | 0.34123 | 0.45033 | 1.1928 | 0.34103 | 0.44978 | 13.7677 | 3.9402 | 5.2 | 13.7734 | 3.9378 | 5.1936 | 0.12489 | 1.2662 | -4.0743 | 1.3081 | -1.3964 | 4.0114 | -5.7279 | -3.8148 | -4.2051 | 6.8142 | 3.9565 | 4.0948 | 100.2475 | -40.0184 | -114.5345 | -79.7652 | 140.0687 | 65.4574 |  | 0.41614 | 1.0201 | 1.126 | 0.50377 | 1.0655 | 1.1037 | 11.4966 | -111.6566 | 111.3707 | -0.63203 | -110.4917 | 111.047
Line_1 | 0.5968 | 0.17025 | 0.22454 | 0.59641 | 0.17051 | 0.22489 | 6.8912 | 1.9658 | 2.5928 | 6.8867 | 1.9689 | 2.5968 | 1.0138 | -0.72803 | 1.9864 | -0.65405 | 0.69819 | -2.0057 | 3.6806 | 2.012 | 2.0193 | -3.4071 | -1.9782 | -2.0474 | -79.7699 | 140.1651 | 65.411 | 100.2348 | -39.9313 | -114.5426 |  | 0.55399 | 1.0884 | 1.0925 | 0.50377 | 1.0655 | 1.1037 | -5.1694 | -109.9423 | 110.8807 | -0.63203 | -110.4917 | 111.047
Line_2 | 0.5968 | 0.17025 | 0.22454 | 0.59641 | 0.17051 | 0.22489 | 6.8912 | 1.9658 | 2.5928 | 6.8867 | 1.9689 | 2.5968 | 1.0138 | -0.72803 | 1.9864 | -0.65405 | 0.69819 | -2.0057 | 3.6806 | 2.012 | 2.0193 | -3.4071 | -1.9782 | -2.0474 | -79.7699 | 140.1651 | 65.411 | 100.2348 | -39.9313 | -114.5426 |  | 0.55399 | 1.0884 | 1.0925 | 0.50377 | 1.0655 | 1.1037 | -5.1694 | -109.9423 | 110.8807 | -0.63203 | -110.4917 | 111.047

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87991 | 0.31777 | 0.34981 | 0.88026 | 0.31759 | 0.34945 | 10.1604 | 3.6693 | 4.0392 | 10.1644 | 3.6672 | 4.0351 | -2.8321 | 0.46905 | -3.0645 | 3.5745 | -0.54195 | 3.0689 | -5.9494 | -3.7715 | -3.5372 | 6.5568 | 3.8614 | 3.4704 | 109.8374 | -32.8584 | -114.8709 | -70.1728 | 147.202 | 65.1072 |  | 0.64851 | 1.0358 | 1.1586 | 0.73471 | 1.0633 | 1.1481 | -5.6187 | -115.7689 | 114.2248 | -8.7702 | -114.8086 | 113.6204
Line_1 | 0.4404 | 0.15859 | 0.17453 | 0.44013 | 0.15879 | 0.17473 | 5.0853 | 1.8312 | 2.0153 | 5.0822 | 1.8336 | 2.0176 | 1.9743 | -0.28789 | 1.5331 | -1.7873 | 0.27098 | -1.5345 | 3.4318 | 1.9515 | 1.7186 | -3.2784 | -1.9307 | -1.7352 | -70.1746 | 147.2645 | 65.0489 | 109.8272 | -32.798 | -114.8928 |  | 0.77855 | 1.0772 | 1.1428 | 0.73471 | 1.0633 | 1.1481 | -10.0866 | -114.3435 | 113.3137 | -8.7702 | -114.8086 | 113.6204
Line_2 | 0.4404 | 0.15859 | 0.17453 | 0.44013 | 0.15879 | 0.17473 | 5.0853 | 1.8312 | 2.0153 | 5.0822 | 1.8336 | 2.0176 | 1.9743 | -0.28789 | 1.5331 | -1.7873 | 0.27098 | -1.5345 | 3.4318 | 1.9515 | 1.7186 | -3.2784 | -1.9307 | -1.7352 | -70.1746 | 147.2645 | 65.0489 | 109.8272 | -32.798 | -114.8928 |  | 0.77855 | 1.0772 | 1.1428 | 0.73471 | 1.0633 | 1.1481 | -10.0866 | -114.3435 | 113.3137 | -8.7702 | -114.8086 | 113.6204

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87991 | 0.31777 | 0.34981 | 0.88026 | 0.31759 | 0.34945 | 10.1604 | 3.6693 | 4.0392 | 10.1644 | 3.6672 | 4.0351 | -2.8321 | 0.46905 | -3.0645 | 3.5745 | -0.54195 | 3.0689 | -5.9494 | -3.7715 | -3.5372 | 6.5568 | 3.8614 | 3.4704 | 109.8374 | -32.8584 | -114.8709 | -70.1728 | 147.202 | 65.1072 |  | 0.64851 | 1.0358 | 1.1586 | 0.73471 | 1.0633 | 1.1481 | -5.6187 | -115.7689 | 114.2248 | -8.7702 | -114.8086 | 113.6204
Line_1 | 0.4404 | 0.15859 | 0.17453 | 0.44013 | 0.15879 | 0.17473 | 5.0853 | 1.8312 | 2.0153 | 5.0822 | 1.8336 | 2.0176 | 1.9743 | -0.28789 | 1.5331 | -1.7873 | 0.27098 | -1.5345 | 3.4318 | 1.9515 | 1.7186 | -3.2784 | -1.9307 | -1.7352 | -70.1746 | 147.2645 | 65.0489 | 109.8272 | -32.798 | -114.8928 |  | 0.77855 | 1.0772 | 1.1428 | 0.73471 | 1.0633 | 1.1481 | -10.0866 | -114.3435 | 113.3137 | -8.7702 | -114.8086 | 113.6204
Line_2 | 0.4404 | 0.15859 | 0.17453 | 0.44013 | 0.15879 | 0.17473 | 5.0853 | 1.8312 | 2.0153 | 5.0822 | 1.8336 | 2.0176 | 1.9743 | -0.28789 | 1.5331 | -1.7873 | 0.27098 | -1.5345 | 3.4318 | 1.9515 | 1.7186 | -3.2784 | -1.9307 | -1.7352 | -70.1746 | 147.2645 | 65.0489 | 109.8272 | -32.798 | -114.8928 |  | 0.77855 | 1.0772 | 1.1428 | 0.73471 | 1.0633 | 1.1481 | -10.0866 | -114.3435 | 113.3137 | -8.7702 | -114.8086 | 113.6204

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87983 | 0.14108 | 0.27511 | 0.88028 | 0.14058 | 0.27458 | 10.1594 | 1.629 | 3.1767 | 10.1646 | 1.6233 | 3.1706 | 0.26661 | 1.1574 | -3.079 | 1.3305 | -1.2579 | 2.918 | -3.39 | -0.79808 | -1.0452 | 4.1122 | 0.75378 | 0.94488 | 106.7043 | -79.7238 | -86.7371 | -73.323 | 100.4254 | 93.3261 |  | 0.33472 | 0.863 | 1.0236 | 0.42521 | 0.90338 | 0.96738 | 21.2011 | -114.3127 | 112.013 | -1.2512 | -110.5059 | 111.2687
Line_1 | 0.44046 | 0.06997 | 0.13697 | 0.44014 | 0.070292 | 0.13729 | 5.0859 | 0.80794 | 1.5815 | 5.0823 | 0.81166 | 1.5853 | 1.0663 | -0.65259 | 1.4163 | -0.66523 | 0.62896 | -1.459 | 2.2378 | 0.36446 | 0.44771 | -2.0561 | -0.37689 | -0.47244 | -73.3323 | 100.4553 | 93.3246 | 106.677 | -79.5746 | -86.6739 |  | 0.48739 | 0.92514 | 0.93918 | 0.42521 | 0.90338 | 0.96738 | -8.8095 | -108.7271 | 110.8672 | -1.2512 | -110.5059 | 111.2687
Line_2 | 0.44046 | 0.06997 | 0.13697 | 0.44014 | 0.070292 | 0.13729 | 5.0859 | 0.80794 | 1.5815 | 5.0823 | 0.81166 | 1.5853 | 1.0663 | -0.65259 | 1.4163 | -0.66523 | 0.62896 | -1.459 | 2.2378 | 0.36446 | 0.44771 | -2.0561 | -0.37689 | -0.47244 | -73.3323 | 100.4553 | 93.3246 | 106.677 | -79.5746 | -86.6739 |  | 0.48739 | 0.92514 | 0.93918 | 0.42521 | 0.90338 | 0.96738 | -8.8095 | -108.7271 | 110.8672 | -1.2512 | -110.5059 | 111.2687

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.87983 | 0.14108 | 0.27511 | 0.88028 | 0.14058 | 0.27458 | 10.1594 | 1.629 | 3.1767 | 10.1646 | 1.6233 | 3.1706 | 0.26661 | 1.1574 | -3.079 | 1.3305 | -1.2579 | 2.918 | -3.39 | -0.79808 | -1.0452 | 4.1122 | 0.75378 | 0.94488 | 106.7043 | -79.7238 | -86.7371 | -73.323 | 100.4254 | 93.3261 |  | 0.33472 | 0.863 | 1.0236 | 0.42521 | 0.90338 | 0.96738 | 21.2011 | -114.3127 | 112.013 | -1.2512 | -110.5059 | 111.2687
Line_1 | 0.44046 | 0.06997 | 0.13697 | 0.44014 | 0.070292 | 0.13729 | 5.0859 | 0.80794 | 1.5815 | 5.0823 | 0.81166 | 1.5853 | 1.0663 | -0.65259 | 1.4163 | -0.66523 | 0.62896 | -1.459 | 2.2378 | 0.36446 | 0.44771 | -2.0561 | -0.37689 | -0.47244 | -73.3323 | 100.4553 | 93.3246 | 106.677 | -79.5746 | -86.6739 |  | 0.48739 | 0.92514 | 0.93918 | 0.42521 | 0.90338 | 0.96738 | -8.8095 | -108.7271 | 110.8672 | -1.2512 | -110.5059 | 111.2687
Line_2 | 0.44046 | 0.06997 | 0.13697 | 0.44014 | 0.070292 | 0.13729 | 5.0859 | 0.80794 | 1.5815 | 5.0823 | 0.81166 | 1.5853 | 1.0663 | -0.65259 | 1.4163 | -0.66523 | 0.62896 | -1.459 | 2.2378 | 0.36446 | 0.44771 | -2.0561 | -0.37689 | -0.47244 | -73.3323 | 100.4553 | 93.3246 | 106.677 | -79.5746 | -86.6739 |  | 0.48739 | 0.92514 | 0.93918 | 0.42521 | 0.90338 | 0.96738 | -8.8095 | -108.7271 | 110.8672 | -1.2512 | -110.5059 | 111.2687

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62306 | 0.099906 | 0.19483 | 0.62338 | 0.099556 | 0.19445 | 7.1945 | 1.1536 | 2.2496 | 7.1982 | 1.1496 | 2.2453 | -1.9122 | 0.65499 | -2.3019 | 2.7135 | -0.70415 | 2.2195 | -3.1002 | -0.79069 | -0.3607 | 3.4641 | 0.7673 | 0.30988 | 119.2039 | -67.2242 | -74.2374 | -60.8234 | 112.925 | 105.8258 |  | 0.50629 | 0.89003 | 1.0357 | 0.61131 | 0.90593 | 0.99809 | -2.4622 | -117.5866 | 114.6682 | -8.8959 | -114.5327 | 113.7739
Line_1 | 0.31191 | 0.04955 | 0.096993 | 0.31169 | 0.049778 | 0.097223 | 3.6017 | 0.57215 | 1.12 | 3.5991 | 0.57479 | 1.1226 | 1.5585 | -0.36365 | 1.0874 | -1.3567 | 0.35207 | -1.1097 | 1.8238 | 0.37654 | 0.14274 | -1.732 | -0.38365 | -0.15494 | -60.8326 | 112.9549 | 105.8243 | 119.1766 | -67.075 | -74.1742 |  | 0.66608 | 0.91492 | 0.97925 | 0.61131 | 0.90593 | 0.99809 | -11.3474 | -113.0426 | 113.3024 | -8.8959 | -114.5327 | 113.7739
Line_2 | 0.31191 | 0.04955 | 0.096993 | 0.31169 | 0.049778 | 0.097223 | 3.6017 | 0.57215 | 1.12 | 3.5991 | 0.57479 | 1.1226 | 1.5585 | -0.36365 | 1.0874 | -1.3567 | 0.35207 | -1.1097 | 1.8238 | 0.37654 | 0.14274 | -1.732 | -0.38365 | -0.15494 | -60.8326 | 112.9549 | 105.8243 | 119.1766 | -67.075 | -74.1742 |  | 0.66608 | 0.91492 | 0.97925 | 0.61131 | 0.90593 | 0.99809 | -11.3474 | -113.0426 | 113.3024 | -8.8959 | -114.5327 | 113.7739

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.62306 | 0.099906 | 0.19483 | 0.62338 | 0.099556 | 0.19445 | 7.1945 | 1.1536 | 2.2496 | 7.1982 | 1.1496 | 2.2453 | -1.9122 | 0.65499 | -2.3019 | 2.7135 | -0.70415 | 2.2195 | -3.1002 | -0.79069 | -0.3607 | 3.4641 | 0.7673 | 0.30988 | 119.2039 | -67.2242 | -74.2374 | -60.8234 | 112.925 | 105.8258 |  | 0.50629 | 0.89003 | 1.0357 | 0.61131 | 0.90593 | 0.99809 | -2.4622 | -117.5866 | 114.6682 | -8.8959 | -114.5327 | 113.7739
Line_1 | 0.31191 | 0.04955 | 0.096993 | 0.31169 | 0.049778 | 0.097223 | 3.6017 | 0.57215 | 1.12 | 3.5991 | 0.57479 | 1.1226 | 1.5585 | -0.36365 | 1.0874 | -1.3567 | 0.35207 | -1.1097 | 1.8238 | 0.37654 | 0.14274 | -1.732 | -0.38365 | -0.15494 | -60.8326 | 112.9549 | 105.8243 | 119.1766 | -67.075 | -74.1742 |  | 0.66608 | 0.91492 | 0.97925 | 0.61131 | 0.90593 | 0.99809 | -11.3474 | -113.0426 | 113.3024 | -8.8959 | -114.5327 | 113.7739
Line_2 | 0.31191 | 0.04955 | 0.096993 | 0.31169 | 0.049778 | 0.097223 | 3.6017 | 0.57215 | 1.12 | 3.5991 | 0.57479 | 1.1226 | 1.5585 | -0.36365 | 1.0874 | -1.3567 | 0.35207 | -1.1097 | 1.8238 | 0.37654 | 0.14274 | -1.732 | -0.38365 | -0.15494 | -60.8326 | 112.9549 | 105.8243 | 119.1766 | -67.075 | -74.1742 |  | 0.66608 | 0.91492 | 0.97925 | 0.61131 | 0.90593 | 0.99809 | -11.3474 | -113.0426 | 113.3024 | -8.8959 | -114.5327 | 113.7739

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49454 | 1.3787 | 1.2772 | 0.49411 | 1.3786 | 1.2776 | 5.7105 | 15.92 | 14.7474 | 5.7055 | 15.9192 | 14.7526 | -2.143 | -3.3321 | 2.9584 | 1.9709 | 4.8706 | -2.0279 | -5.1388 | -5.0673 | -4.2453 | 5.2315 | 5.5451 | 5.993 | 111.2304 | -10.7221 | -144.2129 | -68.7288 | 169.2549 | 35.802 |  | 0.97501 | 0.38095 | 0.35087 | 0.97983 | 0.46362 | 0.42886 | -1.4069 | -134.05 | 160.6589 | 0.62792 | -142.0399 | 144.4968
Line_1 | 0.24668 | 0.68942 | 0.63902 | 0.24705 | 0.68932 | 0.63881 | 2.8484 | 7.9607 | 7.3787 | 2.8527 | 7.9596 | 7.3763 | 0.94151 | 2.8197 | -0.77956 | -0.98544 | -2.4353 | 1.014 | 2.636 | 2.8929 | 3.4352 | -2.6157 | -2.7726 | -2.9965 | -68.7009 | 169.2233 | 35.8316 | 111.2712 | -10.7451 | -144.198 |  | 0.98268 | 0.50746 | 0.47739 | 0.97983 | 0.46362 | 0.42886 | 1.6436 | -145.0425 | 138.6173 | 0.62792 | -142.0399 | 144.4968
Line_2 | 0.24668 | 0.68942 | 0.63902 | 0.24705 | 0.68932 | 0.63881 | 2.8484 | 7.9607 | 7.3787 | 2.8527 | 7.9596 | 7.3763 | 0.94151 | 2.8197 | -0.77956 | -0.98544 | -2.4353 | 1.014 | 2.636 | 2.8929 | 3.4352 | -2.6157 | -2.7726 | -2.9965 | -68.7009 | 169.2233 | 35.8316 | 111.2712 | -10.7451 | -144.198 |  | 0.98268 | 0.50746 | 0.47739 | 0.97983 | 0.46362 | 0.42886 | 1.6436 | -145.0425 | 138.6173 | 0.62792 | -142.0399 | 144.4968

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49454 | 1.3787 | 1.2772 | 0.49411 | 1.3786 | 1.2776 | 5.7105 | 15.92 | 14.7474 | 5.7055 | 15.9192 | 14.7526 | -2.143 | -3.3321 | 2.9584 | 1.9709 | 4.8706 | -2.0279 | -5.1388 | -5.0673 | -4.2453 | 5.2315 | 5.5451 | 5.993 | 111.2304 | -10.7221 | -144.2129 | -68.7288 | 169.2549 | 35.802 |  | 0.97501 | 0.38095 | 0.35087 | 0.97983 | 0.46362 | 0.42886 | -1.4069 | -134.05 | 160.6589 | 0.62792 | -142.0399 | 144.4968
Line_1 | 0.24668 | 0.68942 | 0.63902 | 0.24705 | 0.68932 | 0.63881 | 2.8484 | 7.9607 | 7.3787 | 2.8527 | 7.9596 | 7.3763 | 0.94151 | 2.8197 | -0.77956 | -0.98544 | -2.4353 | 1.014 | 2.636 | 2.8929 | 3.4352 | -2.6157 | -2.7726 | -2.9965 | -68.7009 | 169.2233 | 35.8316 | 111.2712 | -10.7451 | -144.198 |  | 0.98268 | 0.50746 | 0.47739 | 0.97983 | 0.46362 | 0.42886 | 1.6436 | -145.0425 | 138.6173 | 0.62792 | -142.0399 | 144.4968
Line_2 | 0.24668 | 0.68942 | 0.63902 | 0.24705 | 0.68932 | 0.63881 | 2.8484 | 7.9607 | 7.3787 | 2.8527 | 7.9596 | 7.3763 | 0.94151 | 2.8197 | -0.77956 | -0.98544 | -2.4353 | 1.014 | 2.636 | 2.8929 | 3.4352 | -2.6157 | -2.7726 | -2.9965 | -68.7009 | 169.2233 | 35.8316 | 111.2712 | -10.7451 | -144.198 |  | 0.98268 | 0.50746 | 0.47739 | 0.97983 | 0.46362 | 0.42886 | 1.6436 | -145.0425 | 138.6173 | 0.62792 | -142.0399 | 144.4968

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39626 | 0.99513 | 0.94131 | 0.39593 | 0.99511 | 0.9416 | 4.5756 | 11.4907 | 10.8693 | 4.5718 | 11.4905 | 10.8727 | -2.1162 | -5.452 | -1.4794 | 2.0411 | 6.2582 | 1.96 | -4.2546 | -5.5187 | -5.5556 | 4.2876 | 5.8082 | 6.4745 | 114.0834 | -1.2449 | -134.0151 | -65.8905 | 178.7333 | 45.9997 |  | 1.0385 | 0.67512 | 0.52893 | 1.0387 | 0.74307 | 0.62217 | -2.3619 | -135.8962 | 121.0739 | -1.3476 | -138.4025 | 119.157
Line_1 | 0.1977 | 0.49764 | 0.47093 | 0.19796 | 0.49755 | 0.4708 | 2.2828 | 5.7462 | 5.4378 | 2.2859 | 5.7452 | 5.4364 | 1.0006 | 3.3305 | 1.1019 | -1.0206 | -3.1291 | -0.98002 | 2.1501 | 2.9778 | 3.4675 | -2.1438 | -2.9041 | -3.2373 | -65.8808 | 178.7041 | 46.028 | 114.1095 | -1.2667 | -134.0003 |  | 1.0389 | 0.77749 | 0.66908 | 1.0387 | 0.74307 | 0.62217 | -0.83701 | -139.4959 | 118.3996 | -1.3476 | -138.4025 | 119.157
Line_2 | 0.1977 | 0.49764 | 0.47093 | 0.19796 | 0.49755 | 0.4708 | 2.2828 | 5.7462 | 5.4378 | 2.2859 | 5.7452 | 5.4364 | 1.0006 | 3.3305 | 1.1019 | -1.0206 | -3.1291 | -0.98002 | 2.1501 | 2.9778 | 3.4675 | -2.1438 | -2.9041 | -3.2373 | -65.8808 | 178.7041 | 46.028 | 114.1095 | -1.2667 | -134.0003 |  | 1.0389 | 0.77749 | 0.66908 | 1.0387 | 0.74307 | 0.62217 | -0.83701 | -139.4959 | 118.3996 | -1.3476 | -138.4025 | 119.157

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39626 | 0.99513 | 0.94131 | 0.39593 | 0.99511 | 0.9416 | 4.5756 | 11.4907 | 10.8693 | 4.5718 | 11.4905 | 10.8727 | -2.1162 | -5.452 | -1.4794 | 2.0411 | 6.2582 | 1.96 | -4.2546 | -5.5187 | -5.5556 | 4.2876 | 5.8082 | 6.4745 | 114.0834 | -1.2449 | -134.0151 | -65.8905 | 178.7333 | 45.9997 |  | 1.0385 | 0.67512 | 0.52893 | 1.0387 | 0.74307 | 0.62217 | -2.3619 | -135.8962 | 121.0739 | -1.3476 | -138.4025 | 119.157
Line_1 | 0.1977 | 0.49764 | 0.47093 | 0.19796 | 0.49755 | 0.4708 | 2.2828 | 5.7462 | 5.4378 | 2.2859 | 5.7452 | 5.4364 | 1.0006 | 3.3305 | 1.1019 | -1.0206 | -3.1291 | -0.98002 | 2.1501 | 2.9778 | 3.4675 | -2.1438 | -2.9041 | -3.2373 | -65.8808 | 178.7041 | 46.028 | 114.1095 | -1.2667 | -134.0003 |  | 1.0389 | 0.77749 | 0.66908 | 1.0387 | 0.74307 | 0.62217 | -0.83701 | -139.4959 | 118.3996 | -1.3476 | -138.4025 | 119.157
Line_2 | 0.1977 | 0.49764 | 0.47093 | 0.19796 | 0.49755 | 0.4708 | 2.2828 | 5.7462 | 5.4378 | 2.2859 | 5.7452 | 5.4364 | 1.0006 | 3.3305 | 1.1019 | -1.0206 | -3.1291 | -0.98002 | 2.1501 | 2.9778 | 3.4675 | -2.1438 | -2.9041 | -3.2373 | -65.8808 | 178.7041 | 46.028 | 114.1095 | -1.2667 | -134.0003 |  | 1.0389 | 0.77749 | 0.66908 | 1.0387 | 0.74307 | 0.62217 | -0.83701 | -139.4959 | 118.3996 | -1.3476 | -138.4025 | 119.157

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2553 | 1.0933 | 0.9484 | 0.25498 | 1.093 | 0.94895 | 2.9479 | 12.624 | 10.9511 | 2.9443 | 12.6212 | 10.9575 | -1.5484 | -2.1699 | 1.9649 | 1.366 | 4.0062 | -0.99954 | -2.0637 | -3.4461 | -2.168 | 2.0903 | 3.2975 | 3.6281 | 123.1619 | -2.4223 | -141.2431 | -56.72 | 177.5483 | 38.7727 |  | 0.87518 | 0.32259 | 0.26718 | 0.84811 | 0.41112 | 0.34344 | -3.7197 | -124.6202 | 170.9429 | 0.11572 | -142.9938 | 144.1756
Line_1 | 0.12721 | 0.54655 | 0.47466 | 0.12749 | 0.54651 | 0.47447 | 1.4689 | 6.311 | 5.4809 | 1.4721 | 6.3106 | 5.4788 | 0.63647 | 2.462 | -0.25654 | -0.683 | -2.0031 | 0.49977 | 1.0503 | 1.6119 | 2.1804 | -1.0452 | -1.6488 | -1.814 | -56.6494 | 177.5147 | 38.8048 | 123.28 | -2.4517 | -141.2273 |  | 0.83607 | 0.46629 | 0.40057 | 0.84811 | 0.41112 | 0.34344 | 2.1351 | -149.2726 | 135.5152 | 0.11572 | -142.9938 | 144.1756
Line_2 | 0.12721 | 0.54655 | 0.47466 | 0.12749 | 0.54651 | 0.47447 | 1.4689 | 6.311 | 5.4809 | 1.4721 | 6.3106 | 5.4788 | 0.63647 | 2.462 | -0.25654 | -0.683 | -2.0031 | 0.49977 | 1.0503 | 1.6119 | 2.1804 | -1.0452 | -1.6488 | -1.814 | -56.6494 | 177.5147 | 38.8048 | 123.28 | -2.4517 | -141.2273 |  | 0.83607 | 0.46629 | 0.40057 | 0.84811 | 0.41112 | 0.34344 | 2.1351 | -149.2726 | 135.5152 | 0.11572 | -142.9938 | 144.1756

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2553 | 1.0933 | 0.9484 | 0.25498 | 1.093 | 0.94895 | 2.9479 | 12.624 | 10.9511 | 2.9443 | 12.6212 | 10.9575 | -1.5484 | -2.1699 | 1.9649 | 1.366 | 4.0062 | -0.99954 | -2.0637 | -3.4461 | -2.168 | 2.0903 | 3.2975 | 3.6281 | 123.1619 | -2.4223 | -141.2431 | -56.72 | 177.5483 | 38.7727 |  | 0.87518 | 0.32259 | 0.26718 | 0.84811 | 0.41112 | 0.34344 | -3.7197 | -124.6202 | 170.9429 | 0.11572 | -142.9938 | 144.1756
Line_1 | 0.12721 | 0.54655 | 0.47466 | 0.12749 | 0.54651 | 0.47447 | 1.4689 | 6.311 | 5.4809 | 1.4721 | 6.3106 | 5.4788 | 0.63647 | 2.462 | -0.25654 | -0.683 | -2.0031 | 0.49977 | 1.0503 | 1.6119 | 2.1804 | -1.0452 | -1.6488 | -1.814 | -56.6494 | 177.5147 | 38.8048 | 123.28 | -2.4517 | -141.2273 |  | 0.83607 | 0.46629 | 0.40057 | 0.84811 | 0.41112 | 0.34344 | 2.1351 | -149.2726 | 135.5152 | 0.11572 | -142.9938 | 144.1756
Line_2 | 0.12721 | 0.54655 | 0.47466 | 0.12749 | 0.54651 | 0.47447 | 1.4689 | 6.311 | 5.4809 | 1.4721 | 6.3106 | 5.4788 | 0.63647 | 2.462 | -0.25654 | -0.683 | -2.0031 | 0.49977 | 1.0503 | 1.6119 | 2.1804 | -1.0452 | -1.6488 | -1.814 | -56.6494 | 177.5147 | 38.8048 | 123.28 | -2.4517 | -141.2273 |  | 0.83607 | 0.46629 | 0.40057 | 0.84811 | 0.41112 | 0.34344 | 2.1351 | -149.2726 | 135.5152 | 0.11572 | -142.9938 | 144.1756

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18061 | 0.77235 | 0.67105 | 0.18039 | 0.77217 | 0.67144 | 2.0855 | 8.9183 | 7.7486 | 2.083 | 8.9163 | 7.7532 | -1.4559 | -3.9025 | -0.99619 | 1.364 | 4.8181 | 1.4827 | -1.2586 | -2.9667 | -2.8864 | 1.2702 | 2.892 | 3.6185 | 135.5153 | 10.0349 | -128.6874 | -44.3664 | -169.9946 | 51.3283 |  | 0.92277 | 0.54968 | 0.39406 | 0.8948 | 0.63024 | 0.50437 | -3.6405 | -132.7226 | 122.2712 | -1.4047 | -139.021 | 119.0471
Line_1 | 0.089996 | 0.38611 | 0.33585 | 0.090195 | 0.38609 | 0.33572 | 1.0392 | 4.4585 | 3.8781 | 1.0415 | 4.4582 | 3.8766 | 0.65803 | 2.6379 | 0.86437 | -0.68199 | -2.409 | -0.74133 | 0.637 | 1.428 | 1.9926 | -0.63511 | -1.446 | -1.8092 | -44.2958 | -170.0283 | 51.3604 | 135.6336 | 10.0054 | -128.6717 |  | 0.88131 | 0.6728 | 0.56007 | 0.8948 | 0.63024 | 0.50437 | -0.226 | -141.5999 | 117.9097 | -1.4047 | -139.021 | 119.0471
Line_2 | 0.089996 | 0.38611 | 0.33585 | 0.090195 | 0.38609 | 0.33572 | 1.0392 | 4.4585 | 3.8781 | 1.0415 | 4.4582 | 3.8766 | 0.65803 | 2.6379 | 0.86437 | -0.68199 | -2.409 | -0.74133 | 0.637 | 1.428 | 1.9926 | -0.63511 | -1.446 | -1.8092 | -44.2958 | -170.0283 | 51.3604 | 135.6336 | 10.0054 | -128.6717 |  | 0.88131 | 0.6728 | 0.56007 | 0.8948 | 0.63024 | 0.50437 | -0.226 | -141.5999 | 117.9097 | -1.4047 | -139.021 | 119.0471

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18061 | 0.77235 | 0.67105 | 0.18039 | 0.77217 | 0.67144 | 2.0855 | 8.9183 | 7.7486 | 2.083 | 8.9163 | 7.7532 | -1.4559 | -3.9025 | -0.99619 | 1.364 | 4.8181 | 1.4827 | -1.2586 | -2.9667 | -2.8864 | 1.2702 | 2.892 | 3.6185 | 135.5153 | 10.0349 | -128.6874 | -44.3664 | -169.9946 | 51.3283 |  | 0.92277 | 0.54968 | 0.39406 | 0.8948 | 0.63024 | 0.50437 | -3.6405 | -132.7226 | 122.2712 | -1.4047 | -139.021 | 119.0471
Line_1 | 0.089996 | 0.38611 | 0.33585 | 0.090195 | 0.38609 | 0.33572 | 1.0392 | 4.4585 | 3.8781 | 1.0415 | 4.4582 | 3.8766 | 0.65803 | 2.6379 | 0.86437 | -0.68199 | -2.409 | -0.74133 | 0.637 | 1.428 | 1.9926 | -0.63511 | -1.446 | -1.8092 | -44.2958 | -170.0283 | 51.3604 | 135.6336 | 10.0054 | -128.6717 |  | 0.88131 | 0.6728 | 0.56007 | 0.8948 | 0.63024 | 0.50437 | -0.226 | -141.5999 | 117.9097 | -1.4047 | -139.021 | 119.0471
Line_2 | 0.089996 | 0.38611 | 0.33585 | 0.090195 | 0.38609 | 0.33572 | 1.0392 | 4.4585 | 3.8781 | 1.0415 | 4.4582 | 3.8766 | 0.65803 | 2.6379 | 0.86437 | -0.68199 | -2.409 | -0.74133 | 0.637 | 1.428 | 1.9926 | -0.63511 | -1.446 | -1.8092 | -44.2958 | -170.0283 | 51.3604 | 135.6336 | 10.0054 | -128.6717 |  | 0.88131 | 0.6728 | 0.56007 | 0.8948 | 0.63024 | 0.50437 | -0.226 | -141.5999 | 117.9097 | -1.4047 | -139.021 | 119.0471