## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1129 | 0.3552 | 0.61594 | 1.1135 | 0.35464 | 0.61574 | 12.8508 | 4.1015 | 7.1122 | 12.8572 | 4.095 | 7.1099 | -2.3621 | 3.631 | -3.9751 | 3.289 | -3.6563 | 4.3523 | -4.7438 | -2.9901 | -5.9215 | 6.1454 | 2.8474 | 5.7923 | 108.6238 | -69.8121 | -121.8351 | -71.366 | 110.1584 | 58.1133 |  | 0.41238 | 1.1468 | 1.0028 | 0.54212 | 1.1317 | 1.019 | -7.8459 | -109.2838 | 114.2915 | -9.522 | -107.752 | 111.1927
Line_1 | 0.55705 | 0.177 | 0.30788 | 0.55673 | 0.17732 | 0.30787 | 6.4322 | 2.0438 | 3.5551 | 6.4286 | 2.0475 | 3.555 | 1.8789 | -1.8344 | 2.2684 | -1.6445 | 1.8281 | -2.1761 | 3.4242 | 1.3843 | 2.8662 | -3.0727 | -1.4237 | -2.8962 | -71.3383 | 110.0738 | 58.0364 | 108.634 | -69.8416 | -121.8867 |  | 0.60723 | 1.1244 | 1.0282 | 0.54212 | 1.1317 | 1.019 | -10.0926 | -106.9648 | 109.6769 | -9.522 | -107.752 | 111.1927
Line_2 | 0.55705 | 0.177 | 0.30788 | 0.55673 | 0.17732 | 0.30787 | 6.4322 | 2.0438 | 3.5551 | 6.4286 | 2.0475 | 3.555 | 1.8789 | -1.8344 | 2.2684 | -1.6445 | 1.8281 | -2.1761 | 3.4242 | 1.3843 | 2.8662 | -3.0727 | -1.4237 | -2.8962 | -71.3383 | 110.0738 | 58.0364 | 108.634 | -69.8416 | -121.8867 |  | 0.60723 | 1.1244 | 1.0282 | 0.54212 | 1.1317 | 1.019 | -10.0926 | -106.9648 | 109.6769 | -9.522 | -107.752 | 111.1927

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1129 | 0.3552 | 0.61594 | 1.1135 | 0.35464 | 0.61574 | 12.8508 | 4.1015 | 7.1122 | 12.8572 | 4.095 | 7.1099 | -2.3621 | 3.631 | -3.9751 | 3.289 | -3.6563 | 4.3523 | -4.7438 | -2.9901 | -5.9215 | 6.1454 | 2.8474 | 5.7923 | 108.6238 | -69.8121 | -121.8351 | -71.366 | 110.1584 | 58.1133 |  | 0.41238 | 1.1468 | 1.0028 | 0.54212 | 1.1317 | 1.019 | -7.8459 | -109.2838 | 114.2915 | -9.522 | -107.752 | 111.1927
Line_1 | 0.55705 | 0.177 | 0.30788 | 0.55673 | 0.17732 | 0.30787 | 6.4322 | 2.0438 | 3.5551 | 6.4286 | 2.0475 | 3.555 | 1.8789 | -1.8344 | 2.2684 | -1.6445 | 1.8281 | -2.1761 | 3.4242 | 1.3843 | 2.8662 | -3.0727 | -1.4237 | -2.8962 | -71.3383 | 110.0738 | 58.0364 | 108.634 | -69.8416 | -121.8867 |  | 0.60723 | 1.1244 | 1.0282 | 0.54212 | 1.1317 | 1.019 | -10.0926 | -106.9648 | 109.6769 | -9.522 | -107.752 | 111.1927
Line_2 | 0.55705 | 0.177 | 0.30788 | 0.55673 | 0.17732 | 0.30787 | 6.4322 | 2.0438 | 3.5551 | 6.4286 | 2.0475 | 3.555 | 1.8789 | -1.8344 | 2.2684 | -1.6445 | 1.8281 | -2.1761 | 3.4242 | 1.3843 | 2.8662 | -3.0727 | -1.4237 | -2.8962 | -71.3383 | 110.0738 | 58.0364 | 108.634 | -69.8416 | -121.8867 |  | 0.60723 | 1.1244 | 1.0282 | 0.54212 | 1.1317 | 1.019 | -10.0926 | -106.9648 | 109.6769 | -9.522 | -107.752 | 111.1927

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8173 | 0.33205 | 0.46984 | 0.81767 | 0.33166 | 0.46977 | 9.4374 | 3.8342 | 5.4253 | 9.4416 | 3.8297 | 5.4245 | -4.1756 | 2.2302 | -3.471 | 4.6368 | -2.2364 | 3.708 | -4.9402 | -3.6212 | -4.6445 | 5.6812 | 3.5491 | 4.6117 | 117.1802 | -54.4475 | -118.0171 | -62.8081 | 125.5332 | 61.9347 |  | 0.68541 | 1.1092 | 1.0687 | 0.77669 | 1.0954 | 1.0909 | -13.0252 | -112.8192 | 115.211 | -12.028 | -112.2509 | 113.1335
Line_1 | 0.40903 | 0.16561 | 0.23494 | 0.40883 | 0.16583 | 0.23489 | 4.7231 | 1.9123 | 2.7128 | 4.7208 | 1.9149 | 2.7122 | 2.4358 | -1.1205 | 1.9122 | -2.3184 | 1.1182 | -1.854 | 3.0261 | 1.7541 | 2.2996 | -2.8406 | -1.7746 | -2.3058 | -62.7799 | 125.474 | 61.8673 | 117.1919 | -54.4668 | -118.0653 |  | 0.82248 | 1.0885 | 1.1025 | 0.77669 | 1.0954 | 1.0909 | -11.6117 | -111.9573 | 112.123 | -12.028 | -112.2509 | 113.1335
Line_2 | 0.40903 | 0.16561 | 0.23494 | 0.40883 | 0.16583 | 0.23489 | 4.7231 | 1.9123 | 2.7128 | 4.7208 | 1.9149 | 2.7122 | 2.4358 | -1.1205 | 1.9122 | -2.3184 | 1.1182 | -1.854 | 3.0261 | 1.7541 | 2.2996 | -2.8406 | -1.7746 | -2.3058 | -62.7799 | 125.474 | 61.8673 | 117.1919 | -54.4668 | -118.0653 |  | 0.82248 | 1.0885 | 1.1025 | 0.77669 | 1.0954 | 1.0909 | -11.6117 | -111.9573 | 112.123 | -12.028 | -112.2509 | 113.1335

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8173 | 0.33205 | 0.46984 | 0.81767 | 0.33166 | 0.46977 | 9.4374 | 3.8342 | 5.4253 | 9.4416 | 3.8297 | 5.4245 | -4.1756 | 2.2302 | -3.471 | 4.6368 | -2.2364 | 3.708 | -4.9402 | -3.6212 | -4.6445 | 5.6812 | 3.5491 | 4.6117 | 117.1802 | -54.4475 | -118.0171 | -62.8081 | 125.5332 | 61.9347 |  | 0.68541 | 1.1092 | 1.0687 | 0.77669 | 1.0954 | 1.0909 | -13.0252 | -112.8192 | 115.211 | -12.028 | -112.2509 | 113.1335
Line_1 | 0.40903 | 0.16561 | 0.23494 | 0.40883 | 0.16583 | 0.23489 | 4.7231 | 1.9123 | 2.7128 | 4.7208 | 1.9149 | 2.7122 | 2.4358 | -1.1205 | 1.9122 | -2.3184 | 1.1182 | -1.854 | 3.0261 | 1.7541 | 2.2996 | -2.8406 | -1.7746 | -2.3058 | -62.7799 | 125.474 | 61.8673 | 117.1919 | -54.4668 | -118.0653 |  | 0.82248 | 1.0885 | 1.1025 | 0.77669 | 1.0954 | 1.0909 | -11.6117 | -111.9573 | 112.123 | -12.028 | -112.2509 | 113.1335
Line_2 | 0.40903 | 0.16561 | 0.23494 | 0.40883 | 0.16583 | 0.23489 | 4.7231 | 1.9123 | 2.7128 | 4.7208 | 1.9149 | 2.7122 | 2.4358 | -1.1205 | 1.9122 | -2.3184 | 1.1182 | -1.854 | 3.0261 | 1.7541 | 2.2996 | -2.8406 | -1.7746 | -2.3058 | -62.7799 | 125.474 | 61.8673 | 117.1919 | -54.4668 | -118.0653 |  | 0.82248 | 1.0885 | 1.1025 | 0.77669 | 1.0954 | 1.0909 | -11.6117 | -111.9573 | 112.123 | -12.028 | -112.2509 | 113.1335

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80273 | 0.24686 | 0.38188 | 0.8033 | 0.24638 | 0.38139 | 9.2692 | 2.8504 | 4.4095 | 9.2757 | 2.845 | 4.4039 | -1.2871 | 2.7716 | -3.3081 | 2.3031 | -2.6917 | 3.4556 | -2.5238 | -0.54421 | -2.2275 | 3.53 | 0.35346 | 1.9685 | 113.9143 | -100.534 | -98.1496 | -66.0867 | 79.3942 | 81.8071 |  | 0.30565 | 0.9909 | 0.90442 | 0.4544 | 0.95424 | 0.90306 | -3.1059 | -111.6429 | 115.8043 | -9.2084 | -108.0867 | 111.4757
Line_1 | 0.40191 | 0.12306 | 0.19055 | 0.40165 | 0.12319 | 0.1907 | 4.6409 | 1.421 | 2.2003 | 4.6378 | 1.4225 | 2.202 | 1.4077 | -1.326 | 1.7634 | -1.1515 | 1.3458 | -1.7278 | 2.0172 | 0.12694 | 0.92101 | -1.765 | -0.17673 | -0.98427 | -66.0662 | 79.2703 | 81.7288 | 113.9133 | -100.6058 | -98.1929 |  | 0.53004 | 0.93744 | 0.90415 | 0.4544 | 0.95424 | 0.90306 | -10.9747 | -106.1981 | 109.307 | -9.2084 | -108.0867 | 111.4757
Line_2 | 0.40191 | 0.12306 | 0.19055 | 0.40165 | 0.12319 | 0.1907 | 4.6409 | 1.421 | 2.2003 | 4.6378 | 1.4225 | 2.202 | 1.4077 | -1.326 | 1.7634 | -1.1515 | 1.3458 | -1.7278 | 2.0172 | 0.12694 | 0.92101 | -1.765 | -0.17673 | -0.98427 | -66.0662 | 79.2703 | 81.7288 | 113.9133 | -100.6058 | -98.1929 |  | 0.53004 | 0.93744 | 0.90415 | 0.4544 | 0.95424 | 0.90306 | -10.9747 | -106.1981 | 109.307 | -9.2084 | -108.0867 | 111.4757

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80273 | 0.24686 | 0.38188 | 0.8033 | 0.24638 | 0.38139 | 9.2692 | 2.8504 | 4.4095 | 9.2757 | 2.845 | 4.4039 | -1.2871 | 2.7716 | -3.3081 | 2.3031 | -2.6917 | 3.4556 | -2.5238 | -0.54421 | -2.2275 | 3.53 | 0.35346 | 1.9685 | 113.9143 | -100.534 | -98.1496 | -66.0867 | 79.3942 | 81.8071 |  | 0.30565 | 0.9909 | 0.90442 | 0.4544 | 0.95424 | 0.90306 | -3.1059 | -111.6429 | 115.8043 | -9.2084 | -108.0867 | 111.4757
Line_1 | 0.40191 | 0.12306 | 0.19055 | 0.40165 | 0.12319 | 0.1907 | 4.6409 | 1.421 | 2.2003 | 4.6378 | 1.4225 | 2.202 | 1.4077 | -1.326 | 1.7634 | -1.1515 | 1.3458 | -1.7278 | 2.0172 | 0.12694 | 0.92101 | -1.765 | -0.17673 | -0.98427 | -66.0662 | 79.2703 | 81.7288 | 113.9133 | -100.6058 | -98.1929 |  | 0.53004 | 0.93744 | 0.90415 | 0.4544 | 0.95424 | 0.90306 | -10.9747 | -106.1981 | 109.307 | -9.2084 | -108.0867 | 111.4757
Line_2 | 0.40191 | 0.12306 | 0.19055 | 0.40165 | 0.12319 | 0.1907 | 4.6409 | 1.421 | 2.2003 | 4.6378 | 1.4225 | 2.202 | 1.4077 | -1.326 | 1.7634 | -1.1515 | 1.3458 | -1.7278 | 2.0172 | 0.12694 | 0.92101 | -1.765 | -0.17673 | -0.98427 | -66.0662 | 79.2703 | 81.7288 | 113.9133 | -100.6058 | -98.1929 |  | 0.53004 | 0.93744 | 0.90415 | 0.4544 | 0.95424 | 0.90306 | -10.9747 | -106.1981 | 109.307 | -9.2084 | -108.0867 | 111.4757

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56889 | 0.17494 | 0.27063 | 0.56929 | 0.17461 | 0.27029 | 6.569 | 2.0201 | 3.125 | 6.5736 | 2.0162 | 3.121 | -2.6498 | 1.7578 | -2.7346 | 3.1614 | -1.7177 | 2.8073 | -2.3048 | -0.8628 | -1.1082 | 2.8109 | 0.76541 | 0.97896 | 126.3171 | -88.1313 | -85.7468 | -53.6839 | 91.797 | 94.2099 |  | 0.53462 | 0.96934 | 0.9442 | 0.64354 | 0.9327 | 0.95262 | -12.6655 | -114.2748 | 116.313 | -12.0428 | -112.2206 | 113.4343
Line_1 | 0.28483 | 0.08721 | 0.13504 | 0.28464 | 0.087304 | 0.13514 | 3.2889 | 1.007 | 1.5593 | 3.2868 | 1.0081 | 1.5605 | 1.7102 | -0.84932 | 1.4211 | -1.5807 | 0.85885 | -1.4037 | 1.5321 | 0.35698 | 0.45845 | -1.4055 | -0.3827 | -0.48948 | -53.6634 | 91.6731 | 94.1316 | 126.3161 | -88.203 | -85.7901 |  | 0.69814 | 0.91488 | 0.95762 | 0.64354 | 0.9327 | 0.95262 | -11.8072 | -111.1248 | 112.0109 | -12.0428 | -112.2206 | 113.4343
Line_2 | 0.28483 | 0.08721 | 0.13504 | 0.28464 | 0.087304 | 0.13514 | 3.2889 | 1.007 | 1.5593 | 3.2868 | 1.0081 | 1.5605 | 1.7102 | -0.84932 | 1.4211 | -1.5807 | 0.85885 | -1.4037 | 1.5321 | 0.35698 | 0.45845 | -1.4055 | -0.3827 | -0.48948 | -53.6634 | 91.6731 | 94.1316 | 126.3161 | -88.203 | -85.7901 |  | 0.69814 | 0.91488 | 0.95762 | 0.64354 | 0.9327 | 0.95262 | -11.8072 | -111.1248 | 112.0109 | -12.0428 | -112.2206 | 113.4343

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56889 | 0.17494 | 0.27063 | 0.56929 | 0.17461 | 0.27029 | 6.569 | 2.0201 | 3.125 | 6.5736 | 2.0162 | 3.121 | -2.6498 | 1.7578 | -2.7346 | 3.1614 | -1.7177 | 2.8073 | -2.3048 | -0.8628 | -1.1082 | 2.8109 | 0.76541 | 0.97896 | 126.3171 | -88.1313 | -85.7468 | -53.6839 | 91.797 | 94.2099 |  | 0.53462 | 0.96934 | 0.9442 | 0.64354 | 0.9327 | 0.95262 | -12.6655 | -114.2748 | 116.313 | -12.0428 | -112.2206 | 113.4343
Line_1 | 0.28483 | 0.08721 | 0.13504 | 0.28464 | 0.087304 | 0.13514 | 3.2889 | 1.007 | 1.5593 | 3.2868 | 1.0081 | 1.5605 | 1.7102 | -0.84932 | 1.4211 | -1.5807 | 0.85885 | -1.4037 | 1.5321 | 0.35698 | 0.45845 | -1.4055 | -0.3827 | -0.48948 | -53.6634 | 91.6731 | 94.1316 | 126.3161 | -88.203 | -85.7901 |  | 0.69814 | 0.91488 | 0.95762 | 0.64354 | 0.9327 | 0.95262 | -11.8072 | -111.1248 | 112.0109 | -12.0428 | -112.2206 | 113.4343
Line_2 | 0.28483 | 0.08721 | 0.13504 | 0.28464 | 0.087304 | 0.13514 | 3.2889 | 1.007 | 1.5593 | 3.2868 | 1.0081 | 1.5605 | 1.7102 | -0.84932 | 1.4211 | -1.5807 | 0.85885 | -1.4037 | 1.5321 | 0.35698 | 0.45845 | -1.4055 | -0.3827 | -0.48948 | -53.6634 | 91.6731 | 94.1316 | 126.3161 | -88.203 | -85.7901 |  | 0.69814 | 0.91488 | 0.95762 | 0.64354 | 0.9327 | 0.95262 | -11.8072 | -111.1248 | 112.0109 | -12.0428 | -112.2206 | 113.4343

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57618 | 1.5011 | 1.0935 | 0.57569 | 1.5015 | 1.0935 | 6.6531 | 17.3334 | 12.627 | 6.6475 | 17.3381 | 12.6265 | 0.23374 | -4.3732 | 1.5911 | -0.1162 | 6.5171 | -1.5186 | -6.5339 | -2.7726 | -5.0324 | 6.3549 | 4.1333 | 6.181 | 94.3229 | -5.2841 | -144.9355 | -85.7101 | 174.6998 | 35.0951 |  | 0.9827 | 0.29874 | 0.41799 | 0.95613 | 0.44511 | 0.50409 | 6.3717 | -152.9095 | 142.6101 | 5.3375 | -152.9161 | 138.8988
Line_1 | 0.28761 | 0.75113 | 0.54657 | 0.28785 | 0.75076 | 0.54674 | 3.3211 | 8.6734 | 6.3113 | 3.3238 | 8.6691 | 6.3133 | -0.031641 | 3.7967 | -0.7398 | 0.058101 | -3.2585 | 0.75931 | 3.1312 | 2.4082 | 3.3775 | -3.1774 | -2.0667 | -3.0905 | -85.7776 | 174.6866 | 35.1342 | 94.2899 | -5.3002 | -144.9049 |  | 0.94286 | 0.51838 | 0.54785 | 0.95613 | 0.44511 | 0.50409 | 4.8013 | -152.9271 | 137.4889 | 5.3375 | -152.9161 | 138.8988
Line_2 | 0.28761 | 0.75113 | 0.54657 | 0.28785 | 0.75076 | 0.54674 | 3.3211 | 8.6734 | 6.3113 | 3.3238 | 8.6691 | 6.3133 | -0.031641 | 3.7967 | -0.7398 | 0.058101 | -3.2585 | 0.75931 | 3.1312 | 2.4082 | 3.3775 | -3.1774 | -2.0667 | -3.0905 | -85.7776 | 174.6866 | 35.1342 | 94.2899 | -5.3002 | -144.9049 |  | 0.94286 | 0.51838 | 0.54785 | 0.95613 | 0.44511 | 0.50409 | 4.8013 | -152.9271 | 137.4889 | 5.3375 | -152.9161 | 138.8988

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57618 | 1.5011 | 1.0935 | 0.57569 | 1.5015 | 1.0935 | 6.6531 | 17.3334 | 12.627 | 6.6475 | 17.3381 | 12.6265 | 0.23374 | -4.3732 | 1.5911 | -0.1162 | 6.5171 | -1.5186 | -6.5339 | -2.7726 | -5.0324 | 6.3549 | 4.1333 | 6.181 | 94.3229 | -5.2841 | -144.9355 | -85.7101 | 174.6998 | 35.0951 |  | 0.9827 | 0.29874 | 0.41799 | 0.95613 | 0.44511 | 0.50409 | 6.3717 | -152.9095 | 142.6101 | 5.3375 | -152.9161 | 138.8988
Line_1 | 0.28761 | 0.75113 | 0.54657 | 0.28785 | 0.75076 | 0.54674 | 3.3211 | 8.6734 | 6.3113 | 3.3238 | 8.6691 | 6.3133 | -0.031641 | 3.7967 | -0.7398 | 0.058101 | -3.2585 | 0.75931 | 3.1312 | 2.4082 | 3.3775 | -3.1774 | -2.0667 | -3.0905 | -85.7776 | 174.6866 | 35.1342 | 94.2899 | -5.3002 | -144.9049 |  | 0.94286 | 0.51838 | 0.54785 | 0.95613 | 0.44511 | 0.50409 | 4.8013 | -152.9271 | 137.4889 | 5.3375 | -152.9161 | 138.8988
Line_2 | 0.28761 | 0.75113 | 0.54657 | 0.28785 | 0.75076 | 0.54674 | 3.3211 | 8.6734 | 6.3113 | 3.3238 | 8.6691 | 6.3133 | -0.031641 | 3.7967 | -0.7398 | 0.058101 | -3.2585 | 0.75931 | 3.1312 | 2.4082 | 3.3775 | -3.1774 | -2.0667 | -3.0905 | -85.7776 | 174.6866 | 35.1342 | 94.2899 | -5.3002 | -144.9049 |  | 0.94286 | 0.51838 | 0.54785 | 0.95613 | 0.44511 | 0.50409 | 4.8013 | -152.9271 | 137.4889 | 5.3375 | -152.9161 | 138.8988

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46725 | 1.0713 | 0.81819 | 0.46695 | 1.0716 | 0.81814 | 5.3954 | 12.3698 | 9.4476 | 5.3919 | 12.3733 | 9.447 | -0.80178 | -6.5976 | -1.6407 | 0.90711 | 7.6658 | 1.6964 | -5.4374 | -4.2247 | -5.6063 | 5.3571 | 4.9505 | 6.2078 | 100.9859 | 4.1855 | -135.1717 | -79.0463 | -175.8288 | 44.8561 |  | 1.0187 | 0.63334 | 0.6183 | 1.0077 | 0.73751 | 0.68121 | 2.5977 | -143.1816 | 118.5157 | 1.3432 | -142.9747 | 119.5719
Line_1 | 0.23334 | 0.53604 | 0.40894 | 0.23348 | 0.53578 | 0.40907 | 2.6944 | 6.1897 | 4.722 | 2.6959 | 6.1866 | 4.7235 | 0.47763 | 4.1018 | 0.8629 | -0.45355 | -3.8329 | -0.84821 | 2.6581 | 2.658 | 3.2532 | -2.6786 | -2.4753 | -3.1039 | -79.1072 | -175.8396 | 44.8906 | 100.9537 | 4.1712 | -135.1439 |  | 1.0023 | 0.78965 | 0.71278 | 1.0077 | 0.73751 | 0.68121 | 0.7061 | -142.8955 | 120.0354 | 1.3432 | -142.9747 | 119.5719
Line_2 | 0.23334 | 0.53604 | 0.40894 | 0.23348 | 0.53578 | 0.40907 | 2.6944 | 6.1897 | 4.722 | 2.6959 | 6.1866 | 4.7235 | 0.47763 | 4.1018 | 0.8629 | -0.45355 | -3.8329 | -0.84821 | 2.6581 | 2.658 | 3.2532 | -2.6786 | -2.4753 | -3.1039 | -79.1072 | -175.8396 | 44.8906 | 100.9537 | 4.1712 | -135.1439 |  | 1.0023 | 0.78965 | 0.71278 | 1.0077 | 0.73751 | 0.68121 | 0.7061 | -142.8955 | 120.0354 | 1.3432 | -142.9747 | 119.5719

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46725 | 1.0713 | 0.81819 | 0.46695 | 1.0716 | 0.81814 | 5.3954 | 12.3698 | 9.4476 | 5.3919 | 12.3733 | 9.447 | -0.80178 | -6.5976 | -1.6407 | 0.90711 | 7.6658 | 1.6964 | -5.4374 | -4.2247 | -5.6063 | 5.3571 | 4.9505 | 6.2078 | 100.9859 | 4.1855 | -135.1717 | -79.0463 | -175.8288 | 44.8561 |  | 1.0187 | 0.63334 | 0.6183 | 1.0077 | 0.73751 | 0.68121 | 2.5977 | -143.1816 | 118.5157 | 1.3432 | -142.9747 | 119.5719
Line_1 | 0.23334 | 0.53604 | 0.40894 | 0.23348 | 0.53578 | 0.40907 | 2.6944 | 6.1897 | 4.722 | 2.6959 | 6.1866 | 4.7235 | 0.47763 | 4.1018 | 0.8629 | -0.45355 | -3.8329 | -0.84821 | 2.6581 | 2.658 | 3.2532 | -2.6786 | -2.4753 | -3.1039 | -79.1072 | -175.8396 | 44.8906 | 100.9537 | 4.1712 | -135.1439 |  | 1.0023 | 0.78965 | 0.71278 | 1.0077 | 0.73751 | 0.68121 | 0.7061 | -142.8955 | 120.0354 | 1.3432 | -142.9747 | 119.5719
Line_2 | 0.23334 | 0.53604 | 0.40894 | 0.23348 | 0.53578 | 0.40907 | 2.6944 | 6.1897 | 4.722 | 2.6959 | 6.1866 | 4.7235 | 0.47763 | 4.1018 | 0.8629 | -0.45355 | -3.8329 | -0.84821 | 2.6581 | 2.658 | 3.2532 | -2.6786 | -2.4753 | -3.1039 | -79.1072 | -175.8396 | 44.8906 | 100.9537 | 4.1712 | -135.1439 |  | 1.0023 | 0.78965 | 0.71278 | 1.0077 | 0.73751 | 0.68121 | 0.7061 | -142.8955 | 120.0354 | 1.3432 | -142.9747 | 119.5719

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3241 | 1.164 | 0.82676 | 0.32355 | 1.1642 | 0.82688 | 3.7424 | 13.441 | 9.5466 | 3.736 | 13.4433 | 9.548 | -0.45084 | -2.4641 | 0.98667 | 0.4587 | 4.8456 | -0.84909 | -3.2864 | -1.608 | -2.8211 | 3.069 | 2.2398 | 3.7247 | 102.7726 | 3.008 | -144.0074 | -77.2451 | -177.0179 | 36.0305 |  | 0.8864 | 0.21891 | 0.31306 | 0.8306 | 0.39709 | 0.40011 | 4.9613 | -143.8649 | 145.27 | 4.2544 | -152.21 | 138.8721
Line_1 | 0.16155 | 0.58234 | 0.41336 | 0.16177 | 0.58211 | 0.41344 | 1.8654 | 6.7243 | 4.773 | 1.868 | 6.7216 | 4.774 | 0.22942 | 3.0199 | -0.38927 | -0.22935 | -2.4228 | 0.42454 | 1.4795 | 1.2782 | 2.0886 | -1.5345 | -1.1199 | -1.8624 | -77.313 | -177.0364 | 36.0695 | 102.7549 | 2.9821 | -143.9695 |  | 0.80263 | 0.48767 | 0.44513 | 0.8306 | 0.39709 | 0.40011 | 3.8727 | -154.0957 | 136.627 | 4.2544 | -152.21 | 138.8721
Line_2 | 0.16155 | 0.58234 | 0.41336 | 0.16177 | 0.58211 | 0.41344 | 1.8654 | 6.7243 | 4.773 | 1.868 | 6.7216 | 4.774 | 0.22942 | 3.0199 | -0.38927 | -0.22935 | -2.4228 | 0.42454 | 1.4795 | 1.2782 | 2.0886 | -1.5345 | -1.1199 | -1.8624 | -77.313 | -177.0364 | 36.0695 | 102.7549 | 2.9821 | -143.9695 |  | 0.80263 | 0.48767 | 0.44513 | 0.8306 | 0.39709 | 0.40011 | 3.8727 | -154.0957 | 136.627 | 4.2544 | -152.21 | 138.8721

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3241 | 1.164 | 0.82676 | 0.32355 | 1.1642 | 0.82688 | 3.7424 | 13.441 | 9.5466 | 3.736 | 13.4433 | 9.548 | -0.45084 | -2.4641 | 0.98667 | 0.4587 | 4.8456 | -0.84909 | -3.2864 | -1.608 | -2.8211 | 3.069 | 2.2398 | 3.7247 | 102.7726 | 3.008 | -144.0074 | -77.2451 | -177.0179 | 36.0305 |  | 0.8864 | 0.21891 | 0.31306 | 0.8306 | 0.39709 | 0.40011 | 4.9613 | -143.8649 | 145.27 | 4.2544 | -152.21 | 138.8721
Line_1 | 0.16155 | 0.58234 | 0.41336 | 0.16177 | 0.58211 | 0.41344 | 1.8654 | 6.7243 | 4.773 | 1.868 | 6.7216 | 4.774 | 0.22942 | 3.0199 | -0.38927 | -0.22935 | -2.4228 | 0.42454 | 1.4795 | 1.2782 | 2.0886 | -1.5345 | -1.1199 | -1.8624 | -77.313 | -177.0364 | 36.0695 | 102.7549 | 2.9821 | -143.9695 |  | 0.80263 | 0.48767 | 0.44513 | 0.8306 | 0.39709 | 0.40011 | 3.8727 | -154.0957 | 136.627 | 4.2544 | -152.21 | 138.8721
Line_2 | 0.16155 | 0.58234 | 0.41336 | 0.16177 | 0.58211 | 0.41344 | 1.8654 | 6.7243 | 4.773 | 1.868 | 6.7216 | 4.774 | 0.22942 | 3.0199 | -0.38927 | -0.22935 | -2.4228 | 0.42454 | 1.4795 | 1.2782 | 2.0886 | -1.5345 | -1.1199 | -1.8624 | -77.313 | -177.0364 | 36.0695 | 102.7549 | 2.9821 | -143.9695 |  | 0.80263 | 0.48767 | 0.44513 | 0.8306 | 0.39709 | 0.40011 | 3.8727 | -154.0957 | 136.627 | 4.2544 | -152.21 | 138.8721

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22945 | 0.82237 | 0.58547 | 0.22906 | 0.8225 | 0.58556 | 2.6494 | 9.4959 | 6.7604 | 2.6449 | 9.4974 | 6.7615 | -0.92675 | -4.3382 | -1.16 | 0.92932 | 5.5288 | 1.2316 | -2.22 | -1.8461 | -3.0598 | 2.1099 | 2.1605 | 3.5147 | 114.9038 | 15.433 | -131.3975 | -65.114 | -164.5931 | 48.6404 |  | 0.90801 | 0.49649 | 0.48403 | 0.87168 | 0.62501 | 0.5508 | 2.2458 | -141.5143 | 117.8407 | 1.1149 | -143.2488 | 119.3296
Line_1 | 0.11437 | 0.41141 | 0.29272 | 0.11453 | 0.41125 | 0.29278 | 1.3206 | 4.7506 | 3.38 | 1.3225 | 4.7487 | 3.3807 | 0.46387 | 3.0633 | 0.63419 | -0.46466 | -2.7644 | -0.61579 | 1.0273 | 1.1593 | 1.8707 | -1.055 | -1.0803 | -1.7573 | -65.1821 | -164.6118 | 48.6796 | 114.886 | 15.4069 | -131.3596 |  | 0.85354 | 0.68947 | 0.5844 | 0.87168 | 0.62501 | 0.5508 | 0.51734 | -143.8825 | 119.9527 | 1.1149 | -143.2488 | 119.3296
Line_2 | 0.11437 | 0.41141 | 0.29272 | 0.11453 | 0.41125 | 0.29278 | 1.3206 | 4.7506 | 3.38 | 1.3225 | 4.7487 | 3.3807 | 0.46387 | 3.0633 | 0.63419 | -0.46466 | -2.7644 | -0.61579 | 1.0273 | 1.1593 | 1.8707 | -1.055 | -1.0803 | -1.7573 | -65.1821 | -164.6118 | 48.6796 | 114.886 | 15.4069 | -131.3596 |  | 0.85354 | 0.68947 | 0.5844 | 0.87168 | 0.62501 | 0.5508 | 0.51734 | -143.8825 | 119.9527 | 1.1149 | -143.2488 | 119.3296

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22945 | 0.82237 | 0.58547 | 0.22906 | 0.8225 | 0.58556 | 2.6494 | 9.4959 | 6.7604 | 2.6449 | 9.4974 | 6.7615 | -0.92675 | -4.3382 | -1.16 | 0.92932 | 5.5288 | 1.2316 | -2.22 | -1.8461 | -3.0598 | 2.1099 | 2.1605 | 3.5147 | 114.9038 | 15.433 | -131.3975 | -65.114 | -164.5931 | 48.6404 |  | 0.90801 | 0.49649 | 0.48403 | 0.87168 | 0.62501 | 0.5508 | 2.2458 | -141.5143 | 117.8407 | 1.1149 | -143.2488 | 119.3296
Line_1 | 0.11437 | 0.41141 | 0.29272 | 0.11453 | 0.41125 | 0.29278 | 1.3206 | 4.7506 | 3.38 | 1.3225 | 4.7487 | 3.3807 | 0.46387 | 3.0633 | 0.63419 | -0.46466 | -2.7644 | -0.61579 | 1.0273 | 1.1593 | 1.8707 | -1.055 | -1.0803 | -1.7573 | -65.1821 | -164.6118 | 48.6796 | 114.886 | 15.4069 | -131.3596 |  | 0.85354 | 0.68947 | 0.5844 | 0.87168 | 0.62501 | 0.5508 | 0.51734 | -143.8825 | 119.9527 | 1.1149 | -143.2488 | 119.3296
Line_2 | 0.11437 | 0.41141 | 0.29272 | 0.11453 | 0.41125 | 0.29278 | 1.3206 | 4.7506 | 3.38 | 1.3225 | 4.7487 | 3.3807 | 0.46387 | 3.0633 | 0.63419 | -0.46466 | -2.7644 | -0.61579 | 1.0273 | 1.1593 | 1.8707 | -1.055 | -1.0803 | -1.7573 | -65.1821 | -164.6118 | 48.6796 | 114.886 | 15.4069 | -131.3596 |  | 0.85354 | 0.68947 | 0.5844 | 0.87168 | 0.62501 | 0.5508 | 0.51734 | -143.8825 | 119.9527 | 1.1149 | -143.2488 | 119.3296