## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0029 | 0.50168 | 0.60343 | 1.0029 | 0.50167 | 0.60342 | 11.5801 | 5.7929 | 6.9678 | 11.5802 | 5.7928 | 6.9677 | -0.75614 | 3.73 | -6.222 | 1.2852 | -3.6019 | 6.4081 | -6.1764 | -4.73 | -3.561 | 6.7705 | 4.8796 | 3.774 | 99.448 | -52.3508 | -103.5952 | -80.5522 | 127.6497 | 76.405 |  | 0.53734 | 1.0399 | 1.0289 | 0.5951 | 1.047 | 1.0673 | 2.4683 | -104.0922 | 106.1887 | -1.3003 | -105.9176 | 106.9008
Line_1 | 0.50144 | 0.25083 | 0.30171 | 0.50144 | 0.25084 | 0.30171 | 5.7901 | 2.8964 | 3.4838 | 5.7901 | 2.8964 | 3.4838 | 0.77486 | -1.7689 | 3.2505 | -0.64259 | 1.8009 | -3.204 | 3.5338 | 2.4772 | 1.9402 | -3.3852 | -2.4398 | -1.887 | -80.5524 | 127.6504 | 76.4049 | 99.4478 | -52.3503 | -103.595 |  | 0.62481 | 1.0509 | 1.0866 | 0.5951 | 1.047 | 1.0673 | -2.92 | -106.8205 | 107.238 | -1.3003 | -105.9176 | 106.9008
Line_2 | 0.50144 | 0.25083 | 0.30171 | 0.50144 | 0.25084 | 0.30171 | 5.7901 | 2.8964 | 3.4838 | 5.7901 | 2.8964 | 3.4838 | 0.77486 | -1.7689 | 3.2505 | -0.64259 | 1.8009 | -3.204 | 3.5338 | 2.4772 | 1.9402 | -3.3852 | -2.4398 | -1.887 | -80.5524 | 127.6504 | 76.4049 | 99.4478 | -52.3503 | -103.595 |  | 0.62481 | 1.0509 | 1.0866 | 0.5951 | 1.047 | 1.0673 | -2.92 | -106.8205 | 107.238 | -1.3003 | -105.9176 | 106.9008

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0029 | 0.50168 | 0.60343 | 1.0029 | 0.50167 | 0.60342 | 11.5801 | 5.7929 | 6.9678 | 11.5802 | 5.7928 | 6.9677 | -0.75614 | 3.73 | -6.222 | 1.2852 | -3.6019 | 6.4081 | -6.1764 | -4.73 | -3.561 | 6.7705 | 4.8796 | 3.774 | 99.448 | -52.3508 | -103.5952 | -80.5522 | 127.6497 | 76.405 |  | 0.53734 | 1.0399 | 1.0289 | 0.5951 | 1.047 | 1.0673 | 2.4683 | -104.0922 | 106.1887 | -1.3003 | -105.9176 | 106.9008
Line_1 | 0.50144 | 0.25083 | 0.30171 | 0.50144 | 0.25084 | 0.30171 | 5.7901 | 2.8964 | 3.4838 | 5.7901 | 2.8964 | 3.4838 | 0.77486 | -1.7689 | 3.2505 | -0.64259 | 1.8009 | -3.204 | 3.5338 | 2.4772 | 1.9402 | -3.3852 | -2.4398 | -1.887 | -80.5524 | 127.6504 | 76.4049 | 99.4478 | -52.3503 | -103.595 |  | 0.62481 | 1.0509 | 1.0866 | 0.5951 | 1.047 | 1.0673 | -2.92 | -106.8205 | 107.238 | -1.3003 | -105.9176 | 106.9008
Line_2 | 0.50144 | 0.25083 | 0.30171 | 0.50144 | 0.25084 | 0.30171 | 5.7901 | 2.8964 | 3.4838 | 5.7901 | 2.8964 | 3.4838 | 0.77486 | -1.7689 | 3.2505 | -0.64259 | 1.8009 | -3.204 | 3.5338 | 2.4772 | 1.9402 | -3.3852 | -2.4398 | -1.887 | -80.5524 | 127.6504 | 76.4049 | 99.4478 | -52.3503 | -103.595 |  | 0.62481 | 1.0509 | 1.0866 | 0.5951 | 1.047 | 1.0673 | -2.92 | -106.8205 | 107.238 | -1.3003 | -105.9176 | 106.9008

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75325 | 0.43151 | 0.43693 | 0.75326 | 0.43151 | 0.43693 | 8.6978 | 4.9826 | 5.0452 | 8.6979 | 4.9826 | 5.0452 | -2.708 | 1.7697 | -4.7272 | 3.0061 | -1.6745 | 4.8251 | -5.8774 | -4.7545 | -2.9564 | 6.2128 | 4.865 | 3.0678 | 108.3949 | -41.0309 | -101.7155 | -71.6052 | 138.9695 | 78.2846 |  | 0.74401 | 1.0182 | 1.1051 | 0.79351 | 1.0326 | 1.1333 | -6.3431 | -110.6147 | 110.3063 | -7.4259 | -112.0367 | 110.7329
Line_1 | 0.37663 | 0.21575 | 0.21846 | 0.37663 | 0.21575 | 0.21846 | 4.349 | 2.4913 | 2.5226 | 4.3489 | 2.4913 | 2.5226 | 1.5776 | -0.81346 | 2.437 | -1.5031 | 0.83727 | -2.4125 | 3.1903 | 2.4601 | 1.5617 | -3.1064 | -2.4325 | -1.5339 | -71.6054 | 138.97 | 78.2844 | 108.3948 | -41.0305 | -101.7154 |  | 0.81836 | 1.0401 | 1.1474 | 0.79351 | 1.0326 | 1.1333 | -7.9181 | -112.7327 | 110.9383 | -7.4259 | -112.0367 | 110.7329
Line_2 | 0.37663 | 0.21575 | 0.21846 | 0.37663 | 0.21575 | 0.21846 | 4.349 | 2.4913 | 2.5226 | 4.3489 | 2.4913 | 2.5226 | 1.5776 | -0.81346 | 2.437 | -1.5031 | 0.83727 | -2.4125 | 3.1903 | 2.4601 | 1.5617 | -3.1064 | -2.4325 | -1.5339 | -71.6054 | 138.97 | 78.2844 | 108.3948 | -41.0305 | -101.7154 |  | 0.81836 | 1.0401 | 1.1474 | 0.79351 | 1.0326 | 1.1333 | -7.9181 | -112.7327 | 110.9383 | -7.4259 | -112.0367 | 110.7329

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75325 | 0.43151 | 0.43693 | 0.75326 | 0.43151 | 0.43693 | 8.6978 | 4.9826 | 5.0452 | 8.6979 | 4.9826 | 5.0452 | -2.708 | 1.7697 | -4.7272 | 3.0061 | -1.6745 | 4.8251 | -5.8774 | -4.7545 | -2.9564 | 6.2128 | 4.865 | 3.0678 | 108.3949 | -41.0309 | -101.7155 | -71.6052 | 138.9695 | 78.2846 |  | 0.74401 | 1.0182 | 1.1051 | 0.79351 | 1.0326 | 1.1333 | -6.3431 | -110.6147 | 110.3063 | -7.4259 | -112.0367 | 110.7329
Line_1 | 0.37663 | 0.21575 | 0.21846 | 0.37663 | 0.21575 | 0.21846 | 4.349 | 2.4913 | 2.5226 | 4.3489 | 2.4913 | 2.5226 | 1.5776 | -0.81346 | 2.437 | -1.5031 | 0.83727 | -2.4125 | 3.1903 | 2.4601 | 1.5617 | -3.1064 | -2.4325 | -1.5339 | -71.6054 | 138.97 | 78.2844 | 108.3948 | -41.0305 | -101.7154 |  | 0.81836 | 1.0401 | 1.1474 | 0.79351 | 1.0326 | 1.1333 | -7.9181 | -112.7327 | 110.9383 | -7.4259 | -112.0367 | 110.7329
Line_2 | 0.37663 | 0.21575 | 0.21846 | 0.37663 | 0.21575 | 0.21846 | 4.349 | 2.4913 | 2.5226 | 4.3489 | 2.4913 | 2.5226 | 1.5776 | -0.81346 | 2.437 | -1.5031 | 0.83727 | -2.4125 | 3.1903 | 2.4601 | 1.5617 | -3.1064 | -2.4325 | -1.5339 | -71.6054 | 138.97 | 78.2844 | 108.3948 | -41.0305 | -101.7154 |  | 0.81836 | 1.0401 | 1.1474 | 0.79351 | 1.0326 | 1.1333 | -7.9181 | -112.7327 | 110.9383 | -7.4259 | -112.0367 | 110.7329

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72008 | 0.2943 | 0.42227 | 0.72008 | 0.29429 | 0.42227 | 8.3147 | 3.3982 | 4.876 | 8.3148 | 3.3982 | 4.8759 | -0.7115 | 2.5963 | -4.3249 | 1.2365 | -2.5127 | 4.4986 | -3.7398 | -1.6553 | -0.32736 | 4.045 | 1.707 | 0.43273 | 104.4289 | -71.2549 | -78.4146 | -75.5716 | 108.7463 | 101.5861 |  | 0.45785 | 0.90608 | 0.88952 | 0.50871 | 0.89391 | 0.92686 | 3.657 | -103.7753 | 105.914 | -2.5698 | -105.4432 | 107.0807
Line_1 | 0.36004 | 0.14714 | 0.21113 | 0.36004 | 0.14715 | 0.21113 | 4.1574 | 1.6991 | 2.4379 | 4.1574 | 1.6991 | 2.438 | 0.74954 | -1.2355 | 2.2927 | -0.61827 | 1.2564 | -2.2493 | 2.0988 | 0.8664 | 0.2427 | -2.0225 | -0.85349 | -0.21636 | -75.5719 | 108.7471 | 101.5866 | 104.4284 | -71.2537 | -78.4139 |  | 0.53606 | 0.88812 | 0.94567 | 0.50871 | 0.89391 | 0.92686 | -5.2248 | -106.294 | 107.6294 | -2.5698 | -105.4432 | 107.0807
Line_2 | 0.36004 | 0.14714 | 0.21113 | 0.36004 | 0.14715 | 0.21113 | 4.1574 | 1.6991 | 2.4379 | 4.1574 | 1.6991 | 2.438 | 0.74954 | -1.2355 | 2.2927 | -0.61827 | 1.2564 | -2.2493 | 2.0988 | 0.8664 | 0.2427 | -2.0225 | -0.85349 | -0.21636 | -75.5719 | 108.7471 | 101.5866 | 104.4284 | -71.2537 | -78.4139 |  | 0.53606 | 0.88812 | 0.94567 | 0.50871 | 0.89391 | 0.92686 | -5.2248 | -106.294 | 107.6294 | -2.5698 | -105.4432 | 107.0807

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72008 | 0.2943 | 0.42227 | 0.72008 | 0.29429 | 0.42227 | 8.3147 | 3.3982 | 4.876 | 8.3148 | 3.3982 | 4.8759 | -0.7115 | 2.5963 | -4.3249 | 1.2365 | -2.5127 | 4.4986 | -3.7398 | -1.6553 | -0.32736 | 4.045 | 1.707 | 0.43273 | 104.4289 | -71.2549 | -78.4146 | -75.5716 | 108.7463 | 101.5861 |  | 0.45785 | 0.90608 | 0.88952 | 0.50871 | 0.89391 | 0.92686 | 3.657 | -103.7753 | 105.914 | -2.5698 | -105.4432 | 107.0807
Line_1 | 0.36004 | 0.14714 | 0.21113 | 0.36004 | 0.14715 | 0.21113 | 4.1574 | 1.6991 | 2.4379 | 4.1574 | 1.6991 | 2.438 | 0.74954 | -1.2355 | 2.2927 | -0.61827 | 1.2564 | -2.2493 | 2.0988 | 0.8664 | 0.2427 | -2.0225 | -0.85349 | -0.21636 | -75.5719 | 108.7471 | 101.5866 | 104.4284 | -71.2537 | -78.4139 |  | 0.53606 | 0.88812 | 0.94567 | 0.50871 | 0.89391 | 0.92686 | -5.2248 | -106.294 | 107.6294 | -2.5698 | -105.4432 | 107.0807
Line_2 | 0.36004 | 0.14714 | 0.21113 | 0.36004 | 0.14715 | 0.21113 | 4.1574 | 1.6991 | 2.4379 | 4.1574 | 1.6991 | 2.438 | 0.74954 | -1.2355 | 2.2927 | -0.61827 | 1.2564 | -2.2493 | 2.0988 | 0.8664 | 0.2427 | -2.0225 | -0.85349 | -0.21636 | -75.5719 | 108.7471 | 101.5866 | 104.4284 | -71.2537 | -78.4139 |  | 0.53606 | 0.88812 | 0.94567 | 0.50871 | 0.89391 | 0.92686 | -5.2248 | -106.294 | 107.6294 | -2.5698 | -105.4432 | 107.0807

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5111 | 0.20889 | 0.29972 | 0.5111 | 0.20889 | 0.29972 | 5.9017 | 2.412 | 3.4609 | 5.9017 | 2.412 | 3.4609 | -1.9862 | 1.3399 | -3.2905 | 2.2507 | -1.2978 | 3.378 | -3.0897 | -1.6612 | 0.25362 | 3.2434 | 1.6872 | -0.20055 | 116.9155 | -58.7683 | -65.928 | -63.085 | 121.2329 | 114.0728 |  | 0.62237 | 0.88482 | 0.9536 | 0.66894 | 0.8825 | 0.97778 | -5.8196 | -109.8789 | 109.6646 | -7.8428 | -111.1998 | 110.6751
Line_1 | 0.25555 | 0.10444 | 0.14986 | 0.25555 | 0.10444 | 0.14986 | 2.9509 | 1.206 | 1.7304 | 2.9508 | 1.206 | 1.7304 | 1.1915 | -0.63836 | 1.7109 | -1.1254 | 0.6489 | -1.689 | 1.6602 | 0.8501 | -0.087011 | -1.6217 | -0.8436 | 0.10028 | -63.0853 | 121.2338 | 114.0733 | 116.915 | -58.7671 | -65.9272 |  | 0.6925 | 0.88152 | 0.98998 | 0.66894 | 0.8825 | 0.97778 | -8.7519 | -111.8627 | 111.1618 | -7.8428 | -111.1998 | 110.6751
Line_2 | 0.25555 | 0.10444 | 0.14986 | 0.25555 | 0.10444 | 0.14986 | 2.9509 | 1.206 | 1.7304 | 2.9508 | 1.206 | 1.7304 | 1.1915 | -0.63836 | 1.7109 | -1.1254 | 0.6489 | -1.689 | 1.6602 | 0.8501 | -0.087011 | -1.6217 | -0.8436 | 0.10028 | -63.0853 | 121.2338 | 114.0733 | 116.915 | -58.7671 | -65.9272 |  | 0.6925 | 0.88152 | 0.98998 | 0.66894 | 0.8825 | 0.97778 | -8.7519 | -111.8627 | 111.1618 | -7.8428 | -111.1998 | 110.6751

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5111 | 0.20889 | 0.29972 | 0.5111 | 0.20889 | 0.29972 | 5.9017 | 2.412 | 3.4609 | 5.9017 | 2.412 | 3.4609 | -1.9862 | 1.3399 | -3.2905 | 2.2507 | -1.2978 | 3.378 | -3.0897 | -1.6612 | 0.25362 | 3.2434 | 1.6872 | -0.20055 | 116.9155 | -58.7683 | -65.928 | -63.085 | 121.2329 | 114.0728 |  | 0.62237 | 0.88482 | 0.9536 | 0.66894 | 0.8825 | 0.97778 | -5.8196 | -109.8789 | 109.6646 | -7.8428 | -111.1998 | 110.6751
Line_1 | 0.25555 | 0.10444 | 0.14986 | 0.25555 | 0.10444 | 0.14986 | 2.9509 | 1.206 | 1.7304 | 2.9508 | 1.206 | 1.7304 | 1.1915 | -0.63836 | 1.7109 | -1.1254 | 0.6489 | -1.689 | 1.6602 | 0.8501 | -0.087011 | -1.6217 | -0.8436 | 0.10028 | -63.0853 | 121.2338 | 114.0733 | 116.915 | -58.7671 | -65.9272 |  | 0.6925 | 0.88152 | 0.98998 | 0.66894 | 0.8825 | 0.97778 | -8.7519 | -111.8627 | 111.1618 | -7.8428 | -111.1998 | 110.6751
Line_2 | 0.25555 | 0.10444 | 0.14986 | 0.25555 | 0.10444 | 0.14986 | 2.9509 | 1.206 | 1.7304 | 2.9508 | 1.206 | 1.7304 | 1.1915 | -0.63836 | 1.7109 | -1.1254 | 0.6489 | -1.689 | 1.6602 | 0.8501 | -0.087011 | -1.6217 | -0.8436 | 0.10028 | -63.0853 | 121.2338 | 114.0733 | 116.915 | -58.7671 | -65.9272 |  | 0.6925 | 0.88152 | 0.98998 | 0.66894 | 0.8825 | 0.97778 | -8.7519 | -111.8627 | 111.1618 | -7.8428 | -111.1998 | 110.6751

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67384 | 1.3095 | 1.2219 | 0.67384 | 1.3095 | 1.2219 | 7.7809 | 15.1212 | 14.1089 | 7.7808 | 15.1212 | 14.1089 | -1.9418 | -5.7302 | 4.5837 | 2.1738 | 6.6245 | -3.8059 | -6.355 | -3.5795 | -5.1861 | 6.6231 | 4.5839 | 6.0742 | 109.4168 | -3.3189 | -152.447 | -70.5829 | 176.6809 | 27.5532 |  | 0.85403 | 0.44681 | 0.49057 | 0.89589 | 0.53275 | 0.50805 | 2.4264 | -151.3269 | 159.0248 | 1.2463 | -148.6378 | 149.623
Line_1 | 0.33692 | 0.65477 | 0.61094 | 0.33692 | 0.65477 | 0.61094 | 3.8904 | 7.5606 | 7.0545 | 3.8904 | 7.5606 | 7.0545 | 1.1449 | 3.5358 | -1.7085 | -1.0869 | -3.3123 | 1.9029 | 3.3786 | 2.543 | 3.2591 | -3.3116 | -2.2919 | -3.0371 | -70.5825 | 176.6806 | 27.5535 | 109.4171 | -3.3191 | -152.4468 |  | 0.91695 | 0.57606 | 0.52162 | 0.89589 | 0.53275 | 0.50805 | 0.69685 | -147.5953 | 145.2173 | 1.2463 | -148.6378 | 149.623
Line_2 | 0.33692 | 0.65477 | 0.61094 | 0.33692 | 0.65477 | 0.61094 | 3.8904 | 7.5606 | 7.0545 | 3.8904 | 7.5606 | 7.0545 | 1.1449 | 3.5358 | -1.7085 | -1.0869 | -3.3123 | 1.9029 | 3.3786 | 2.543 | 3.2591 | -3.3116 | -2.2919 | -3.0371 | -70.5825 | 176.6806 | 27.5535 | 109.4171 | -3.3191 | -152.4468 |  | 0.91695 | 0.57606 | 0.52162 | 0.89589 | 0.53275 | 0.50805 | 0.69685 | -147.5953 | 145.2173 | 1.2463 | -148.6378 | 149.623

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67384 | 1.3095 | 1.2219 | 0.67384 | 1.3095 | 1.2219 | 7.7809 | 15.1212 | 14.1089 | 7.7808 | 15.1212 | 14.1089 | -1.9418 | -5.7302 | 4.5837 | 2.1738 | 6.6245 | -3.8059 | -6.355 | -3.5795 | -5.1861 | 6.6231 | 4.5839 | 6.0742 | 109.4168 | -3.3189 | -152.447 | -70.5829 | 176.6809 | 27.5532 |  | 0.85403 | 0.44681 | 0.49057 | 0.89589 | 0.53275 | 0.50805 | 2.4264 | -151.3269 | 159.0248 | 1.2463 | -148.6378 | 149.623
Line_1 | 0.33692 | 0.65477 | 0.61094 | 0.33692 | 0.65477 | 0.61094 | 3.8904 | 7.5606 | 7.0545 | 3.8904 | 7.5606 | 7.0545 | 1.1449 | 3.5358 | -1.7085 | -1.0869 | -3.3123 | 1.9029 | 3.3786 | 2.543 | 3.2591 | -3.3116 | -2.2919 | -3.0371 | -70.5825 | 176.6806 | 27.5535 | 109.4171 | -3.3191 | -152.4468 |  | 0.91695 | 0.57606 | 0.52162 | 0.89589 | 0.53275 | 0.50805 | 0.69685 | -147.5953 | 145.2173 | 1.2463 | -148.6378 | 149.623
Line_2 | 0.33692 | 0.65477 | 0.61094 | 0.33692 | 0.65477 | 0.61094 | 3.8904 | 7.5606 | 7.0545 | 3.8904 | 7.5606 | 7.0545 | 1.1449 | 3.5358 | -1.7085 | -1.0869 | -3.3123 | 1.9029 | 3.3786 | 2.543 | 3.2591 | -3.3116 | -2.2919 | -3.0371 | -70.5825 | 176.6806 | 27.5535 | 109.4171 | -3.3191 | -152.4468 |  | 0.91695 | 0.57606 | 0.52162 | 0.89589 | 0.53275 | 0.50805 | 0.69685 | -147.5953 | 145.2173 | 1.2463 | -148.6378 | 149.623

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51993 | 0.9391 | 0.91076 | 0.51993 | 0.9391 | 0.91076 | 6.0036 | 10.8438 | 10.5165 | 6.0036 | 10.8438 | 10.5165 | -2.5211 | -6.7073 | -0.059033 | 2.6596 | 7.1674 | 0.49096 | -5.0953 | -4.2665 | -6.2819 | 5.2546 | 4.7833 | 6.7751 | 114.9736 | 5.4983 | -141.6617 | -65.0261 | -174.5019 | 38.3384 |  | 0.94691 | 0.73306 | 0.59737 | 0.98096 | 0.79464 | 0.64592 | -1.3524 | -142.0413 | 127.7999 | -1.872 | -140.7841 | 124.1936
Line_1 | 0.25996 | 0.46955 | 0.45538 | 0.25996 | 0.46955 | 0.45538 | 3.0018 | 5.4219 | 5.2583 | 3.0018 | 5.4219 | 5.2583 | 1.3644 | 3.6987 | 0.35348 | -1.3298 | -3.5837 | -0.24548 | 2.6671 | 2.5209 | 3.5108 | -2.6273 | -2.3916 | -3.3875 | -65.0259 | -174.5022 | 38.3387 | 114.9739 | 5.4981 | -141.6616 |  | 0.99802 | 0.82555 | 0.67105 | 0.98096 | 0.79464 | 0.64592 | -2.1185 | -140.226 | 122.5893 | -1.872 | -140.7841 | 124.1936
Line_2 | 0.25996 | 0.46955 | 0.45538 | 0.25996 | 0.46955 | 0.45538 | 3.0018 | 5.4219 | 5.2583 | 3.0018 | 5.4219 | 5.2583 | 1.3644 | 3.6987 | 0.35348 | -1.3298 | -3.5837 | -0.24548 | 2.6671 | 2.5209 | 3.5108 | -2.6273 | -2.3916 | -3.3875 | -65.0259 | -174.5022 | 38.3387 | 114.9739 | 5.4981 | -141.6616 |  | 0.99802 | 0.82555 | 0.67105 | 0.98096 | 0.79464 | 0.64592 | -2.1185 | -140.226 | 122.5893 | -1.872 | -140.7841 | 124.1936

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51993 | 0.9391 | 0.91076 | 0.51993 | 0.9391 | 0.91076 | 6.0036 | 10.8438 | 10.5165 | 6.0036 | 10.8438 | 10.5165 | -2.5211 | -6.7073 | -0.059033 | 2.6596 | 7.1674 | 0.49096 | -5.0953 | -4.2665 | -6.2819 | 5.2546 | 4.7833 | 6.7751 | 114.9736 | 5.4983 | -141.6617 | -65.0261 | -174.5019 | 38.3384 |  | 0.94691 | 0.73306 | 0.59737 | 0.98096 | 0.79464 | 0.64592 | -1.3524 | -142.0413 | 127.7999 | -1.872 | -140.7841 | 124.1936
Line_1 | 0.25996 | 0.46955 | 0.45538 | 0.25996 | 0.46955 | 0.45538 | 3.0018 | 5.4219 | 5.2583 | 3.0018 | 5.4219 | 5.2583 | 1.3644 | 3.6987 | 0.35348 | -1.3298 | -3.5837 | -0.24548 | 2.6671 | 2.5209 | 3.5108 | -2.6273 | -2.3916 | -3.3875 | -65.0259 | -174.5022 | 38.3387 | 114.9739 | 5.4981 | -141.6616 |  | 0.99802 | 0.82555 | 0.67105 | 0.98096 | 0.79464 | 0.64592 | -2.1185 | -140.226 | 122.5893 | -1.872 | -140.7841 | 124.1936
Line_2 | 0.25996 | 0.46955 | 0.45538 | 0.25996 | 0.46955 | 0.45538 | 3.0018 | 5.4219 | 5.2583 | 3.0018 | 5.4219 | 5.2583 | 1.3644 | 3.6987 | 0.35348 | -1.3298 | -3.5837 | -0.24548 | 2.6671 | 2.5209 | 3.5108 | -2.6273 | -2.3916 | -3.3875 | -65.0259 | -174.5022 | 38.3387 | 114.9739 | 5.4981 | -141.6616 |  | 0.99802 | 0.82555 | 0.67105 | 0.98096 | 0.79464 | 0.64592 | -2.1185 | -140.226 | 122.5893 | -1.872 | -140.7841 | 124.1936

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40732 | 1.0245 | 0.92888 | 0.40732 | 1.0245 | 0.92889 | 4.7034 | 11.8302 | 10.7258 | 4.7034 | 11.8302 | 10.7259 | -1.6194 | -4.0348 | 3.1186 | 1.7812 | 5.0834 | -2.2539 | -3.0621 | -1.691 | -3.3682 | 3.1615 | 2.2999 | 3.8862 | 120.691 | 5.3593 | -150.9584 | -59.3081 | -174.6409 | 29.0417 |  | 0.73647 | 0.3698 | 0.42797 | 0.77152 | 0.47163 | 0.41885 | 2.8184 | -151.902 | 161.8379 | 1.294 | -150.2974 | 149.1544
Line_1 | 0.20366 | 0.51226 | 0.46445 | 0.20366 | 0.51226 | 0.46444 | 2.3517 | 5.9151 | 5.363 | 2.3517 | 5.9151 | 5.3629 | 0.93108 | 2.8038 | -0.91076 | -0.89062 | -2.5417 | 1.127 | 1.6056 | 1.3022 | 2.0726 | -1.5807 | -1.1499 | -1.9431 | -59.3074 | -174.6412 | 29.0419 | 120.6919 | 5.3591 | -150.9583 |  | 0.78923 | 0.52264 | 0.42213 | 0.77152 | 0.47163 | 0.41885 | 0.58291 | -149.7299 | 142.7639 | 1.294 | -150.2974 | 149.1544
Line_2 | 0.20366 | 0.51226 | 0.46445 | 0.20366 | 0.51226 | 0.46444 | 2.3517 | 5.9151 | 5.363 | 2.3517 | 5.9151 | 5.3629 | 0.93108 | 2.8038 | -0.91076 | -0.89062 | -2.5417 | 1.127 | 1.6056 | 1.3022 | 2.0726 | -1.5807 | -1.1499 | -1.9431 | -59.3074 | -174.6412 | 29.0419 | 120.6919 | 5.3591 | -150.9583 |  | 0.78923 | 0.52264 | 0.42213 | 0.77152 | 0.47163 | 0.41885 | 0.58291 | -149.7299 | 142.7639 | 1.294 | -150.2974 | 149.1544

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40732 | 1.0245 | 0.92888 | 0.40732 | 1.0245 | 0.92889 | 4.7034 | 11.8302 | 10.7258 | 4.7034 | 11.8302 | 10.7259 | -1.6194 | -4.0348 | 3.1186 | 1.7812 | 5.0834 | -2.2539 | -3.0621 | -1.691 | -3.3682 | 3.1615 | 2.2999 | 3.8862 | 120.691 | 5.3593 | -150.9584 | -59.3081 | -174.6409 | 29.0417 |  | 0.73647 | 0.3698 | 0.42797 | 0.77152 | 0.47163 | 0.41885 | 2.8184 | -151.902 | 161.8379 | 1.294 | -150.2974 | 149.1544
Line_1 | 0.20366 | 0.51226 | 0.46445 | 0.20366 | 0.51226 | 0.46444 | 2.3517 | 5.9151 | 5.363 | 2.3517 | 5.9151 | 5.3629 | 0.93108 | 2.8038 | -0.91076 | -0.89062 | -2.5417 | 1.127 | 1.6056 | 1.3022 | 2.0726 | -1.5807 | -1.1499 | -1.9431 | -59.3074 | -174.6412 | 29.0419 | 120.6919 | 5.3591 | -150.9583 |  | 0.78923 | 0.52264 | 0.42213 | 0.77152 | 0.47163 | 0.41885 | 0.58291 | -149.7299 | 142.7639 | 1.294 | -150.2974 | 149.1544
Line_2 | 0.20366 | 0.51226 | 0.46445 | 0.20366 | 0.51226 | 0.46444 | 2.3517 | 5.9151 | 5.363 | 2.3517 | 5.9151 | 5.3629 | 0.93108 | 2.8038 | -0.91076 | -0.89062 | -2.5417 | 1.127 | 1.6056 | 1.3022 | 2.0726 | -1.5807 | -1.1499 | -1.9431 | -59.3074 | -174.6412 | 29.0419 | 120.6919 | 5.3591 | -150.9583 |  | 0.78923 | 0.52264 | 0.42213 | 0.77152 | 0.47163 | 0.41885 | 0.58291 | -149.7299 | 142.7639 | 1.294 | -150.2974 | 149.1544

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28941 | 0.72387 | 0.65715 | 0.28941 | 0.72386 | 0.65716 | 3.3418 | 8.3585 | 7.5881 | 3.3418 | 8.3584 | 7.5882 | -1.8834 | -4.7882 | -0.059389 | 1.9651 | 5.3116 | 0.49223 | -1.9476 | -1.6425 | -3.7522 | 1.9977 | 1.9464 | 4.0115 | 132.9657 | 17.8105 | -138.3619 | -47.0334 | -162.1897 | 41.6382 |  | 0.81071 | 0.60562 | 0.49454 | 0.83853 | 0.6768 | 0.53261 | -1.0747 | -143.2559 | 130.7313 | -1.5616 | -142.0645 | 124.6427
Line_1 | 0.1447 | 0.36193 | 0.32858 | 0.14471 | 0.36193 | 0.32858 | 1.6709 | 4.1792 | 3.7941 | 1.6709 | 4.1792 | 3.7941 | 1.003 | 2.7866 | 0.35434 | -0.98254 | -2.6558 | -0.24611 | 1.0114 | 1.0492 | 2.0706 | -0.99886 | -0.9732 | -2.0057 | -47.0327 | -162.19 | 41.6384 | 132.9666 | 17.8103 | -138.3618 |  | 0.85246 | 0.71248 | 0.55367 | 0.83853 | 0.6768 | 0.53261 | -1.7931 | -141.5583 | 121.9275 | -1.5616 | -142.0645 | 124.6427
Line_2 | 0.1447 | 0.36193 | 0.32858 | 0.14471 | 0.36193 | 0.32858 | 1.6709 | 4.1792 | 3.7941 | 1.6709 | 4.1792 | 3.7941 | 1.003 | 2.7866 | 0.35434 | -0.98254 | -2.6558 | -0.24611 | 1.0114 | 1.0492 | 2.0706 | -0.99886 | -0.9732 | -2.0057 | -47.0327 | -162.19 | 41.6384 | 132.9666 | 17.8103 | -138.3618 |  | 0.85246 | 0.71248 | 0.55367 | 0.83853 | 0.6768 | 0.53261 | -1.7931 | -141.5583 | 121.9275 | -1.5616 | -142.0645 | 124.6427

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28941 | 0.72387 | 0.65715 | 0.28941 | 0.72386 | 0.65716 | 3.3418 | 8.3585 | 7.5881 | 3.3418 | 8.3584 | 7.5882 | -1.8834 | -4.7882 | -0.059389 | 1.9651 | 5.3116 | 0.49223 | -1.9476 | -1.6425 | -3.7522 | 1.9977 | 1.9464 | 4.0115 | 132.9657 | 17.8105 | -138.3619 | -47.0334 | -162.1897 | 41.6382 |  | 0.81071 | 0.60562 | 0.49454 | 0.83853 | 0.6768 | 0.53261 | -1.0747 | -143.2559 | 130.7313 | -1.5616 | -142.0645 | 124.6427
Line_1 | 0.1447 | 0.36193 | 0.32858 | 0.14471 | 0.36193 | 0.32858 | 1.6709 | 4.1792 | 3.7941 | 1.6709 | 4.1792 | 3.7941 | 1.003 | 2.7866 | 0.35434 | -0.98254 | -2.6558 | -0.24611 | 1.0114 | 1.0492 | 2.0706 | -0.99886 | -0.9732 | -2.0057 | -47.0327 | -162.19 | 41.6384 | 132.9666 | 17.8103 | -138.3618 |  | 0.85246 | 0.71248 | 0.55367 | 0.83853 | 0.6768 | 0.53261 | -1.7931 | -141.5583 | 121.9275 | -1.5616 | -142.0645 | 124.6427
Line_2 | 0.1447 | 0.36193 | 0.32858 | 0.14471 | 0.36193 | 0.32858 | 1.6709 | 4.1792 | 3.7941 | 1.6709 | 4.1792 | 3.7941 | 1.003 | 2.7866 | 0.35434 | -0.98254 | -2.6558 | -0.24611 | 1.0114 | 1.0492 | 2.0706 | -0.99886 | -0.9732 | -2.0057 | -47.0327 | -162.19 | 41.6384 | 132.9666 | 17.8103 | -138.3618 |  | 0.85246 | 0.71248 | 0.55367 | 0.83853 | 0.6768 | 0.53261 | -1.7931 | -141.5583 | 121.9275 | -1.5616 | -142.0645 | 124.6427