## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7345 | 0.53497 | 0.69442 | 1.7371 | 0.53768 | 0.69596 | 20.0285 | 6.1773 | 8.0185 | 20.0581 | 6.2086 | 8.0362 | 9.2655e-11 | -2.8349 | 12.2594 | 6.6837 | 4.5038 | -9.8779 | -7.748e-11 | 7.8331 | -3.0549 | 3.7724 | -6.8819 | 2.9318 | 115.943 | 108.6017 | 147.1426 | -64.0991 | -71.498 | -33.0565 |  | 0 | 1.3485 | 1.5756 | 0.38263 | 1.3247 | 1.2822 | 0 | -141.5023 | 133.1503 | -34.6579 | -128.2952 | 130.4124
Line_1 | 0.87054 | 0.27084 | 0.3496 | 0.86854 | 0.26884 | 0.34798 | 10.0521 | 3.1274 | 4.0368 | 10.0291 | 3.1043 | 4.0181 | 5.0295 | 2.6828 | -4.3571 | -3.3419 | -2.2519 | 4.939 | 2.8376 | -3.2186 | 1.4351 | -1.8862 | 3.4409 | -1.4659 | -64.1111 | -71.4819 | -33.2511 | 115.9009 | 108.502 | 146.9435 |  | 0.57449 | 1.3398 | 1.1364 | 0.38263 | 1.3247 | 1.2822 | -34.6795 | -121.6688 | 128.5182 | -34.6579 | -128.2952 | 130.4124
Line_2 | 0.87054 | 0.27084 | 0.3496 | 0.86854 | 0.26884 | 0.34798 | 10.0521 | 3.1274 | 4.0368 | 10.0291 | 3.1043 | 4.0181 | 5.0295 | 2.6828 | -4.3571 | -3.3419 | -2.2519 | 4.939 | 2.8376 | -3.2186 | 1.4351 | -1.8862 | 3.4409 | -1.4659 | -64.1111 | -71.4819 | -33.2511 | 115.9009 | 108.502 | 146.9435 |  | 0.57449 | 1.3398 | 1.1364 | 0.38263 | 1.3247 | 1.2822 | -34.6795 | -121.6688 | 128.5182 | -34.6579 | -128.2952 | 130.4124

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7345 | 0.53497 | 0.69442 | 1.7371 | 0.53768 | 0.69596 | 20.0285 | 6.1773 | 8.0185 | 20.0581 | 6.2086 | 8.0362 | 9.2655e-11 | -2.8349 | 12.2594 | 6.6837 | 4.5038 | -9.8779 | -7.748e-11 | 7.8331 | -3.0549 | 3.7724 | -6.8819 | 2.9318 | 115.943 | 108.6017 | 147.1426 | -64.0991 | -71.498 | -33.0565 |  | 0 | 1.3485 | 1.5756 | 0.38263 | 1.3247 | 1.2822 | 0 | -141.5023 | 133.1503 | -34.6579 | -128.2952 | 130.4124
Line_1 | 0.87054 | 0.27084 | 0.3496 | 0.86854 | 0.26884 | 0.34798 | 10.0521 | 3.1274 | 4.0368 | 10.0291 | 3.1043 | 4.0181 | 5.0295 | 2.6828 | -4.3571 | -3.3419 | -2.2519 | 4.939 | 2.8376 | -3.2186 | 1.4351 | -1.8862 | 3.4409 | -1.4659 | -64.1111 | -71.4819 | -33.2511 | 115.9009 | 108.502 | 146.9435 |  | 0.57449 | 1.3398 | 1.1364 | 0.38263 | 1.3247 | 1.2822 | -34.6795 | -121.6688 | 128.5182 | -34.6579 | -128.2952 | 130.4124
Line_2 | 0.87054 | 0.27084 | 0.3496 | 0.86854 | 0.26884 | 0.34798 | 10.0521 | 3.1274 | 4.0368 | 10.0291 | 3.1043 | 4.0181 | 5.0295 | 2.6828 | -4.3571 | -3.3419 | -2.2519 | 4.939 | 2.8376 | -3.2186 | 1.4351 | -1.8862 | 3.4409 | -1.4659 | -64.1111 | -71.4819 | -33.2511 | 115.9009 | 108.502 | 146.9435 |  | 0.57449 | 1.3398 | 1.1364 | 0.38263 | 1.3247 | 1.2822 | -34.6795 | -121.6688 | 128.5182 | -34.6579 | -128.2952 | 130.4124

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67124 | 0.050396 | 0.36974 | 0.67211 | 0.050784 | 0.36998 | 7.7508 | 0.58192 | 4.2694 | 7.7609 | 0.5864 | 4.2722 | -4.1901 | -0.70878 | 2.9589 | 4.9947 | 0.69876 | -2.5694 | -4.7073 | -0.12993 | -4.3704 | 5.3434 | 0.16802 | 4.2815 | 123.394 | 43.2515 | -177.2859 | -56.6261 | -135.8219 | 2.5791 |  | 0.81308 | 1.2383 | 1.2362 | 0.94246 | 1.2256 | 1.1688 | -8.279 | -126.3603 | 126.8137 | -9.6938 | -122.3018 | 123.5473
Line_1 | 0.33669 | 0.025452 | 0.18537 | 0.33606 | 0.025392 | 0.18499 | 3.8877 | 0.29389 | 2.1405 | 3.8804 | 0.2932 | 2.1361 | 2.7038 | 0.3481 | -1.1922 | -2.4973 | -0.34938 | 1.2847 | 2.8339 | 0.087824 | 2.1204 | -2.6717 | -0.084008 | -2.1408 | -56.6146 | -134.3975 | 2.4221 | 123.3739 | 44.1781 | -177.4209 |  | 1.0075 | 1.2215 | 1.1365 | 0.94246 | 1.2256 | 1.1688 | -10.2695 | -120.2374 | 121.7684 | -9.6938 | -122.3018 | 123.5473
Line_2 | 0.33669 | 0.025452 | 0.18537 | 0.33606 | 0.025392 | 0.18499 | 3.8877 | 0.29389 | 2.1405 | 3.8804 | 0.2932 | 2.1361 | 2.7038 | 0.3481 | -1.1922 | -2.4973 | -0.34938 | 1.2847 | 2.8339 | 0.087824 | 2.1204 | -2.6717 | -0.084008 | -2.1408 | -56.6146 | -134.3975 | 2.4221 | 123.3739 | 44.1781 | -177.4209 |  | 1.0075 | 1.2215 | 1.1365 | 0.94246 | 1.2256 | 1.1688 | -10.2695 | -120.2374 | 121.7684 | -9.6938 | -122.3018 | 123.5473

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67124 | 0.050396 | 0.36974 | 0.67211 | 0.050784 | 0.36998 | 7.7508 | 0.58192 | 4.2694 | 7.7609 | 0.5864 | 4.2722 | -4.1901 | -0.70878 | 2.9589 | 4.9947 | 0.69876 | -2.5694 | -4.7073 | -0.12993 | -4.3704 | 5.3434 | 0.16802 | 4.2815 | 123.394 | 43.2515 | -177.2859 | -56.6261 | -135.8219 | 2.5791 |  | 0.81308 | 1.2383 | 1.2362 | 0.94246 | 1.2256 | 1.1688 | -8.279 | -126.3603 | 126.8137 | -9.6938 | -122.3018 | 123.5473
Line_1 | 0.33669 | 0.025452 | 0.18537 | 0.33606 | 0.025392 | 0.18499 | 3.8877 | 0.29389 | 2.1405 | 3.8804 | 0.2932 | 2.1361 | 2.7038 | 0.3481 | -1.1922 | -2.4973 | -0.34938 | 1.2847 | 2.8339 | 0.087824 | 2.1204 | -2.6717 | -0.084008 | -2.1408 | -56.6146 | -134.3975 | 2.4221 | 123.3739 | 44.1781 | -177.4209 |  | 1.0075 | 1.2215 | 1.1365 | 0.94246 | 1.2256 | 1.1688 | -10.2695 | -120.2374 | 121.7684 | -9.6938 | -122.3018 | 123.5473
Line_2 | 0.33669 | 0.025452 | 0.18537 | 0.33606 | 0.025392 | 0.18499 | 3.8877 | 0.29389 | 2.1405 | 3.8804 | 0.2932 | 2.1361 | 2.7038 | 0.3481 | -1.1922 | -2.4973 | -0.34938 | 1.2847 | 2.8339 | 0.087824 | 2.1204 | -2.6717 | -0.084008 | -2.1408 | -56.6146 | -134.3975 | 2.4221 | 123.3739 | 44.1781 | -177.4209 |  | 1.0075 | 1.2215 | 1.1365 | 0.94246 | 1.2256 | 1.1688 | -10.2695 | -120.2374 | 121.7684 | -9.6938 | -122.3018 | 123.5473

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0804 | 0.4737 | 0.41041 | 1.0821 | 0.4751 | 0.41154 | 12.4755 | 5.4699 | 4.739 | 12.4953 | 5.486 | 4.7521 | -2.4917e-11 | 2.349 | 6.6522 | 5.3815 | -0.20339 | -4.863 | 3.6312e-12 | 6.3595 | -1.9331 | 1.7327 | -6.1046 | 1.9363 | 135.1448 | 144.6508 | 151.536 | -44.952 | -35.6009 | -28.7756 |  | 0 | 1.2394 | 1.4618 | 0.45245 | 1.1134 | 1.1015 | 0 | -145.6218 | 135.332 | -27.105 | -127.5091 | 129.5132
Line_1 | 0.54233 | 0.23874 | 0.20689 | 0.54106 | 0.23755 | 0.20577 | 6.2623 | 2.7567 | 2.3889 | 6.2477 | 2.743 | 2.3761 | 4.0493 | 0.4407 | -1.9895 | -2.6907 | 0.1017 | 2.4315 | 1.3037 | -2.9962 | 0.97403 | -0.86634 | 3.0523 | -0.96816 | -44.9917 | -35.7393 | -28.9734 | 135.048 | 144.3991 | 151.2244 |  | 0.6793 | 1.0986 | 0.92728 | 0.45245 | 1.1134 | 1.1015 | -27.1449 | -117.3718 | 124.9414 | -27.105 | -127.5091 | 129.5132
Line_2 | 0.54233 | 0.23874 | 0.20689 | 0.54106 | 0.23755 | 0.20577 | 6.2623 | 2.7567 | 2.3889 | 6.2477 | 2.743 | 2.3761 | 4.0493 | 0.4407 | -1.9895 | -2.6907 | 0.1017 | 2.4315 | 1.3037 | -2.9962 | 0.97403 | -0.86634 | 3.0523 | -0.96816 | -44.9917 | -35.7393 | -28.9734 | 135.048 | 144.3991 | 151.2244 |  | 0.6793 | 1.0986 | 0.92728 | 0.45245 | 1.1134 | 1.1015 | -27.1449 | -117.3718 | 124.9414 | -27.105 | -127.5091 | 129.5132

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0804 | 0.4737 | 0.41041 | 1.0821 | 0.4751 | 0.41154 | 12.4755 | 5.4699 | 4.739 | 12.4953 | 5.486 | 4.7521 | -2.4917e-11 | 2.349 | 6.6522 | 5.3815 | -0.20339 | -4.863 | 3.6312e-12 | 6.3595 | -1.9331 | 1.7327 | -6.1046 | 1.9363 | 135.1448 | 144.6508 | 151.536 | -44.952 | -35.6009 | -28.7756 |  | 0 | 1.2394 | 1.4618 | 0.45245 | 1.1134 | 1.1015 | 0 | -145.6218 | 135.332 | -27.105 | -127.5091 | 129.5132
Line_1 | 0.54233 | 0.23874 | 0.20689 | 0.54106 | 0.23755 | 0.20577 | 6.2623 | 2.7567 | 2.3889 | 6.2477 | 2.743 | 2.3761 | 4.0493 | 0.4407 | -1.9895 | -2.6907 | 0.1017 | 2.4315 | 1.3037 | -2.9962 | 0.97403 | -0.86634 | 3.0523 | -0.96816 | -44.9917 | -35.7393 | -28.9734 | 135.048 | 144.3991 | 151.2244 |  | 0.6793 | 1.0986 | 0.92728 | 0.45245 | 1.1134 | 1.1015 | -27.1449 | -117.3718 | 124.9414 | -27.105 | -127.5091 | 129.5132
Line_2 | 0.54233 | 0.23874 | 0.20689 | 0.54106 | 0.23755 | 0.20577 | 6.2623 | 2.7567 | 2.3889 | 6.2477 | 2.743 | 2.3761 | 4.0493 | 0.4407 | -1.9895 | -2.6907 | 0.1017 | 2.4315 | 1.3037 | -2.9962 | 0.97403 | -0.86634 | 3.0523 | -0.96816 | -44.9917 | -35.7393 | -28.9734 | 135.048 | 144.3991 | 151.2244 |  | 0.6793 | 1.0986 | 0.92728 | 0.45245 | 1.1134 | 1.1015 | -27.1449 | -117.3718 | 124.9414 | -27.105 | -127.5091 | 129.5132

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38519 | 0.16889 | 0.14632 | 0.38581 | 0.16939 | 0.14673 | 4.4478 | 1.9501 | 1.6896 | 4.4549 | 1.9559 | 1.6943 | -2.649 | 0.6191 | 1.5389 | 3.3352 | -0.34184 | -1.3181 | -1.2367 | 2.0494 | -1.1132 | 1.4634 | -2.0221 | 1.1122 | 148.0281 | 157.5341 | 164.4194 | -32.0687 | -22.7175 | -15.8923 |  | 0.65727 | 1.0978 | 1.1241 | 0.81754 | 1.0485 | 1.018 | -6.9466 | -129.2746 | 128.5385 | -8.3784 | -122.3129 | 123.9506
Line_1 | 0.19335 | 0.085117 | 0.07376 | 0.1929 | 0.084693 | 0.073363 | 2.2327 | 0.98284 | 0.85171 | 2.2275 | 0.97795 | 0.84713 | 1.8429 | -0.10125 | -0.60628 | -1.6676 | 0.17092 | 0.65906 | 0.78965 | -1.0074 | 0.55798 | -0.73168 | 1.011 | -0.55611 | -32.1084 | -22.856 | -16.09 | 147.9313 | 157.2825 | 164.1077 |  | 0.89802 | 1.0302 | 0.96742 | 0.81754 | 1.0485 | 1.018 | -8.9144 | -118.5954 | 121.2856 | -8.3784 | -122.3129 | 123.9506
Line_2 | 0.19335 | 0.085117 | 0.07376 | 0.1929 | 0.084693 | 0.073363 | 2.2327 | 0.98284 | 0.85171 | 2.2275 | 0.97795 | 0.84713 | 1.8429 | -0.10125 | -0.60628 | -1.6676 | 0.17092 | 0.65906 | 0.78965 | -1.0074 | 0.55798 | -0.73168 | 1.011 | -0.55611 | -32.1084 | -22.856 | -16.09 | 147.9313 | 157.2825 | 164.1077 |  | 0.89802 | 1.0302 | 0.96742 | 0.81754 | 1.0485 | 1.018 | -8.9144 | -118.5954 | 121.2856 | -8.3784 | -122.3129 | 123.9506

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38519 | 0.16889 | 0.14632 | 0.38581 | 0.16939 | 0.14673 | 4.4478 | 1.9501 | 1.6896 | 4.4549 | 1.9559 | 1.6943 | -2.649 | 0.6191 | 1.5389 | 3.3352 | -0.34184 | -1.3181 | -1.2367 | 2.0494 | -1.1132 | 1.4634 | -2.0221 | 1.1122 | 148.0281 | 157.5341 | 164.4194 | -32.0687 | -22.7175 | -15.8923 |  | 0.65727 | 1.0978 | 1.1241 | 0.81754 | 1.0485 | 1.018 | -6.9466 | -129.2746 | 128.5385 | -8.3784 | -122.3129 | 123.9506
Line_1 | 0.19335 | 0.085117 | 0.07376 | 0.1929 | 0.084693 | 0.073363 | 2.2327 | 0.98284 | 0.85171 | 2.2275 | 0.97795 | 0.84713 | 1.8429 | -0.10125 | -0.60628 | -1.6676 | 0.17092 | 0.65906 | 0.78965 | -1.0074 | 0.55798 | -0.73168 | 1.011 | -0.55611 | -32.1084 | -22.856 | -16.09 | 147.9313 | 157.2825 | 164.1077 |  | 0.89802 | 1.0302 | 0.96742 | 0.81754 | 1.0485 | 1.018 | -8.9144 | -118.5954 | 121.2856 | -8.3784 | -122.3129 | 123.9506
Line_2 | 0.19335 | 0.085117 | 0.07376 | 0.1929 | 0.084693 | 0.073363 | 2.2327 | 0.98284 | 0.85171 | 2.2275 | 0.97795 | 0.84713 | 1.8429 | -0.10125 | -0.60628 | -1.6676 | 0.17092 | 0.65906 | 0.78965 | -1.0074 | 0.55798 | -0.73168 | 1.011 | -0.55611 | -32.1084 | -22.856 | -16.09 | 147.9313 | 157.2825 | 164.1077 |  | 0.89802 | 1.0302 | 0.96742 | 0.81754 | 1.0485 | 1.018 | -8.9144 | -118.5954 | 121.2856 | -8.3784 | -122.3129 | 123.9506

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16793 | 2.0199 | 1.3462 | 0.1692 | 2.0206 | 1.3476 | 1.9391 | 23.324 | 15.5447 | 1.9537 | 23.3316 | 15.5609 | 2.512 | 4.9907e-11 | 3.1249e-11 | -2.1274 | 6.2389 | 0.76949 | 1.5112 | -3.388e-11 | -2.485e-11 | -1.5486 | 0.64447 | 4.053 | -32.3201 | -12.579 | -129.2535 | 147.1501 | 167.3672 | 50.8076 |  | 1.5118 | 0 | 0 | 1.3468 | 0.26882 | 0.26511 | -1.2887 | 0 | 0 | 3.2026 | 173.2648 | 130.0576
Line_1 | 0.085827 | 1.0112 | 0.67436 | 0.084599 | 1.0103 | 0.67381 | 0.99105 | 11.6763 | 7.7868 | 0.97687 | 11.6658 | 7.7804 | -0.9736 | 4.6867 | 0.584 | 1.0637 | -3.1194 | -0.38474 | -0.79421 | 0.48591 | 3.0443 | 0.7743 | -0.32223 | -2.0265 | 146.6875 | 167.3063 | 50.9176 | -32.8499 | -12.6328 | -129.1924 |  | 1.2678 | 0.40354 | 0.39808 | 1.3468 | 0.26882 | 0.26511 | 5.8932 | 173.2255 | 130.0581 | 3.2026 | 173.2648 | 130.0576
Line_2 | 0.085827 | 1.0112 | 0.67436 | 0.084599 | 1.0103 | 0.67381 | 0.99105 | 11.6763 | 7.7868 | 0.97687 | 11.6658 | 7.7804 | -0.9736 | 4.6867 | 0.584 | 1.0637 | -3.1194 | -0.38474 | -0.79421 | 0.48591 | 3.0443 | 0.7743 | -0.32223 | -2.0265 | 146.6875 | 167.3063 | 50.9176 | -32.8499 | -12.6328 | -129.1924 |  | 1.2678 | 0.40354 | 0.39808 | 1.3468 | 0.26882 | 0.26511 | 5.8932 | 173.2255 | 130.0581 | 3.2026 | 173.2648 | 130.0576

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16793 | 2.0199 | 1.3462 | 0.1692 | 2.0206 | 1.3476 | 1.9391 | 23.324 | 15.5447 | 1.9537 | 23.3316 | 15.5609 | 2.512 | 4.9907e-11 | 3.1249e-11 | -2.1274 | 6.2389 | 0.76949 | 1.5112 | -3.388e-11 | -2.485e-11 | -1.5486 | 0.64447 | 4.053 | -32.3201 | -12.579 | -129.2535 | 147.1501 | 167.3672 | 50.8076 |  | 1.5118 | 0 | 0 | 1.3468 | 0.26882 | 0.26511 | -1.2887 | 0 | 0 | 3.2026 | 173.2648 | 130.0576
Line_1 | 0.085827 | 1.0112 | 0.67436 | 0.084599 | 1.0103 | 0.67381 | 0.99105 | 11.6763 | 7.7868 | 0.97687 | 11.6658 | 7.7804 | -0.9736 | 4.6867 | 0.584 | 1.0637 | -3.1194 | -0.38474 | -0.79421 | 0.48591 | 3.0443 | 0.7743 | -0.32223 | -2.0265 | 146.6875 | 167.3063 | 50.9176 | -32.8499 | -12.6328 | -129.1924 |  | 1.2678 | 0.40354 | 0.39808 | 1.3468 | 0.26882 | 0.26511 | 5.8932 | 173.2255 | 130.0581 | 3.2026 | 173.2648 | 130.0576
Line_2 | 0.085827 | 1.0112 | 0.67436 | 0.084599 | 1.0103 | 0.67381 | 0.99105 | 11.6763 | 7.7868 | 0.97687 | 11.6658 | 7.7804 | -0.9736 | 4.6867 | 0.584 | 1.0637 | -3.1194 | -0.38474 | -0.79421 | 0.48591 | 3.0443 | 0.7743 | -0.32223 | -2.0265 | 146.6875 | 167.3063 | 50.9176 | -32.8499 | -12.6328 | -129.1924 |  | 1.2678 | 0.40354 | 0.39808 | 1.3468 | 0.26882 | 0.26511 | 5.8932 | 173.2255 | 130.0581 | 3.2026 | 173.2648 | 130.0576

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15737 | 0.65856 | 0.53421 | 0.15699 | 0.65893 | 0.53487 | 1.8172 | 7.6045 | 6.1685 | 1.8128 | 7.6087 | 6.1761 | 1.6 | -2.5847 | -4.7388 | -1.5461 | 3.3617 | 4.9646 | -1.71 | -6.2813 | -2.8289 | 1.5837 | 6.3973 | 3.4593 | 47.3632 | -9.0448 | -105.4211 | -132.8897 | 170.8942 | 74.6262 |  | 1.2887 | 0.8932 | 0.89471 | 1.221 | 0.9498 | 0.97974 | 0.4608 | -121.4113 | 105.4147 | 1.4222 | -126.8272 | 109.4945
Line_1 | 0.078425 | 0.32988 | 0.26775 | 0.078495 | 0.32947 | 0.26743 | 0.90557 | 3.8092 | 3.0917 | 0.90638 | 3.8043 | 3.088 | -0.76331 | 1.8757 | 2.5431 | 0.77306 | -1.6808 | -2.4823 | 0.75693 | 3.2319 | 1.8857 | -0.79186 | -3.1986 | -1.7296 | -133.2915 | 170.8307 | 74.7235 | 47.1103 | -9.1058 | -105.3738 |  | 1.1871 | 0.98101 | 1.024 | 1.221 | 0.9498 | 0.97974 | 1.949 | -129.2992 | 111.2805 | 1.4222 | -126.8272 | 109.4945
Line_2 | 0.078425 | 0.32988 | 0.26775 | 0.078495 | 0.32947 | 0.26743 | 0.90557 | 3.8092 | 3.0917 | 0.90638 | 3.8043 | 3.088 | -0.76331 | 1.8757 | 2.5431 | 0.77306 | -1.6808 | -2.4823 | 0.75693 | 3.2319 | 1.8857 | -0.79186 | -3.1986 | -1.7296 | -133.2915 | 170.8307 | 74.7235 | 47.1103 | -9.1058 | -105.3738 |  | 1.1871 | 0.98101 | 1.024 | 1.221 | 0.9498 | 0.97974 | 1.949 | -129.2992 | 111.2805 | 1.4222 | -126.8272 | 109.4945

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15737 | 0.65856 | 0.53421 | 0.15699 | 0.65893 | 0.53487 | 1.8172 | 7.6045 | 6.1685 | 1.8128 | 7.6087 | 6.1761 | 1.6 | -2.5847 | -4.7388 | -1.5461 | 3.3617 | 4.9646 | -1.71 | -6.2813 | -2.8289 | 1.5837 | 6.3973 | 3.4593 | 47.3632 | -9.0448 | -105.4211 | -132.8897 | 170.8942 | 74.6262 |  | 1.2887 | 0.8932 | 0.89471 | 1.221 | 0.9498 | 0.97974 | 0.4608 | -121.4113 | 105.4147 | 1.4222 | -126.8272 | 109.4945
Line_1 | 0.078425 | 0.32988 | 0.26775 | 0.078495 | 0.32947 | 0.26743 | 0.90557 | 3.8092 | 3.0917 | 0.90638 | 3.8043 | 3.088 | -0.76331 | 1.8757 | 2.5431 | 0.77306 | -1.6808 | -2.4823 | 0.75693 | 3.2319 | 1.8857 | -0.79186 | -3.1986 | -1.7296 | -133.2915 | 170.8307 | 74.7235 | 47.1103 | -9.1058 | -105.3738 |  | 1.1871 | 0.98101 | 1.024 | 1.221 | 0.9498 | 0.97974 | 1.949 | -129.2992 | 111.2805 | 1.4222 | -126.8272 | 109.4945
Line_2 | 0.078425 | 0.32988 | 0.26775 | 0.078495 | 0.32947 | 0.26743 | 0.90557 | 3.8092 | 3.0917 | 0.90638 | 3.8043 | 3.088 | -0.76331 | 1.8757 | 2.5431 | 0.77306 | -1.6808 | -2.4823 | 0.75693 | 3.2319 | 1.8857 | -0.79186 | -3.1986 | -1.7296 | -133.2915 | 170.8307 | 74.7235 | 47.1103 | -9.1058 | -105.3738 |  | 1.1871 | 0.98101 | 1.024 | 1.221 | 0.9498 | 0.97974 | 1.949 | -129.2992 | 111.2805 | 1.4222 | -126.8272 | 109.4945

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16526 | 1.5712 | 0.87108 | 0.16652 | 1.5713 | 0.87213 | 1.9082 | 18.1432 | 10.0583 | 1.9228 | 18.1442 | 10.0705 | 1.89 | -3.6296e-11 | -1.5446e-11 | -1.4614 | 6.1427 | -0.03433 | 1.7767 | -2.5741e-11 | -1.9711e-11 | -1.6261 | -0.35905 | 2.5823 | -44.433 | 3.1037 | -133.7218 | 135.2105 | -176.9557 | 46.3602 |  | 1.3594 | 0 | 0 | 1.137 | 0.33913 | 0.25645 | -1.2031 | 0 | 0 | 3.2637 | 179.6991 | 137.1219
Line_1 | 0.08411 | 0.78614 | 0.43621 | 0.08326 | 0.78567 | 0.43606 | 0.97122 | 9.0776 | 5.037 | 0.9614 | 9.0721 | 5.0352 | -0.62737 | 4.6124 | -0.021412 | 0.7307 | -3.0714 | 0.017165 | -0.77797 | -0.26921 | 1.9399 | 0.81304 | 0.17952 | -1.2912 | 135.1202 | -177.0082 | 46.4715 | -44.7895 | 3.0443 | -133.6398 |  | 1.029 | 0.50897 | 0.38516 | 1.137 | 0.33913 | 0.25645 | 6.237 | 179.6515 | 137.1039 | 3.2637 | 179.6991 | 137.1219
Line_2 | 0.08411 | 0.78614 | 0.43621 | 0.08326 | 0.78567 | 0.43606 | 0.97122 | 9.0776 | 5.037 | 0.9614 | 9.0721 | 5.0352 | -0.62737 | 4.6124 | -0.021412 | 0.7307 | -3.0714 | 0.017165 | -0.77797 | -0.26921 | 1.9399 | 0.81304 | 0.17952 | -1.2912 | 135.1202 | -177.0082 | 46.4715 | -44.7895 | 3.0443 | -133.6398 |  | 1.029 | 0.50897 | 0.38516 | 1.137 | 0.33913 | 0.25645 | 6.237 | 179.6515 | 137.1039 | 3.2637 | 179.6991 | 137.1219

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16526 | 1.5712 | 0.87108 | 0.16652 | 1.5713 | 0.87213 | 1.9082 | 18.1432 | 10.0583 | 1.9228 | 18.1442 | 10.0705 | 1.89 | -3.6296e-11 | -1.5446e-11 | -1.4614 | 6.1427 | -0.03433 | 1.7767 | -2.5741e-11 | -1.9711e-11 | -1.6261 | -0.35905 | 2.5823 | -44.433 | 3.1037 | -133.7218 | 135.2105 | -176.9557 | 46.3602 |  | 1.3594 | 0 | 0 | 1.137 | 0.33913 | 0.25645 | -1.2031 | 0 | 0 | 3.2637 | 179.6991 | 137.1219
Line_1 | 0.08411 | 0.78614 | 0.43621 | 0.08326 | 0.78567 | 0.43606 | 0.97122 | 9.0776 | 5.037 | 0.9614 | 9.0721 | 5.0352 | -0.62737 | 4.6124 | -0.021412 | 0.7307 | -3.0714 | 0.017165 | -0.77797 | -0.26921 | 1.9399 | 0.81304 | 0.17952 | -1.2912 | 135.1202 | -177.0082 | 46.4715 | -44.7895 | 3.0443 | -133.6398 |  | 1.029 | 0.50897 | 0.38516 | 1.137 | 0.33913 | 0.25645 | 6.237 | 179.6515 | 137.1039 | 3.2637 | 179.6991 | 137.1219
Line_2 | 0.08411 | 0.78614 | 0.43621 | 0.08326 | 0.78567 | 0.43606 | 0.97122 | 9.0776 | 5.037 | 0.9614 | 9.0721 | 5.0352 | -0.62737 | 4.6124 | -0.021412 | 0.7307 | -3.0714 | 0.017165 | -0.77797 | -0.26921 | 1.9399 | 0.81304 | 0.17952 | -1.2912 | 135.1202 | -177.0082 | 46.4715 | -44.7895 | 3.0443 | -133.6398 |  | 1.029 | 0.50897 | 0.38516 | 1.137 | 0.33913 | 0.25645 | 6.237 | 179.6515 | 137.1039 | 3.2637 | 179.6991 | 137.1219

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11231 | 0.39037 | 0.29375 | 0.11282 | 0.39033 | 0.29449 | 1.2969 | 4.5076 | 3.3919 | 1.3027 | 4.5072 | 3.4005 | 1.3019 | -2.3872 | -2.541 | -1.1608 | 2.9291 | 2.7922 | 0.75819 | -2.5116 | -0.16589 | -0.72903 | 2.3609 | 0.5299 | -30.3809 | 14.7907 | -80.3042 | 149.3411 | -165.3184 | 99.7023 |  | 1.1617 | 0.76873 | 0.75072 | 1.0522 | 0.83469 | 0.83577 | -0.1651 | -118.7557 | 103.4312 | 1.4718 | -126.4487 | 110.448
Line_1 | 0.056784 | 0.19535 | 0.14758 | 0.056409 | 0.19517 | 0.14725 | 0.65568 | 2.2557 | 1.7041 | 0.65135 | 2.2536 | 1.7002 | -0.54735 | 1.6009 | 1.4614 | 0.58039 | -1.4645 | -1.3961 | -0.3583 | 1.1452 | 0.35481 | 0.36451 | -1.1805 | -0.26495 | 149.2261 | -165.4202 | 99.7847 | -30.6589 | 14.6816 | -80.2977 |  | 0.99772 | 0.8726 | 0.88252 | 1.0522 | 0.83469 | 0.83577 | 2.4352 | -129.8439 | 113.4311 | 1.4718 | -126.4487 | 110.448
Line_2 | 0.056784 | 0.19535 | 0.14758 | 0.056409 | 0.19517 | 0.14725 | 0.65568 | 2.2557 | 1.7041 | 0.65135 | 2.2536 | 1.7002 | -0.54735 | 1.6009 | 1.4614 | 0.58039 | -1.4645 | -1.3961 | -0.3583 | 1.1452 | 0.35481 | 0.36451 | -1.1805 | -0.26495 | 149.2261 | -165.4202 | 99.7847 | -30.6589 | 14.6816 | -80.2977 |  | 0.99772 | 0.8726 | 0.88252 | 1.0522 | 0.83469 | 0.83577 | 2.4352 | -129.8439 | 113.4311 | 1.4718 | -126.4487 | 110.448

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11231 | 0.39037 | 0.29375 | 0.11282 | 0.39033 | 0.29449 | 1.2969 | 4.5076 | 3.3919 | 1.3027 | 4.5072 | 3.4005 | 1.3019 | -2.3872 | -2.541 | -1.1608 | 2.9291 | 2.7922 | 0.75819 | -2.5116 | -0.16589 | -0.72903 | 2.3609 | 0.5299 | -30.3809 | 14.7907 | -80.3042 | 149.3411 | -165.3184 | 99.7023 |  | 1.1617 | 0.76873 | 0.75072 | 1.0522 | 0.83469 | 0.83577 | -0.1651 | -118.7557 | 103.4312 | 1.4718 | -126.4487 | 110.448
Line_1 | 0.056784 | 0.19535 | 0.14758 | 0.056409 | 0.19517 | 0.14725 | 0.65568 | 2.2557 | 1.7041 | 0.65135 | 2.2536 | 1.7002 | -0.54735 | 1.6009 | 1.4614 | 0.58039 | -1.4645 | -1.3961 | -0.3583 | 1.1452 | 0.35481 | 0.36451 | -1.1805 | -0.26495 | 149.2261 | -165.4202 | 99.7847 | -30.6589 | 14.6816 | -80.2977 |  | 0.99772 | 0.8726 | 0.88252 | 1.0522 | 0.83469 | 0.83577 | 2.4352 | -129.8439 | 113.4311 | 1.4718 | -126.4487 | 110.448
Line_2 | 0.056784 | 0.19535 | 0.14758 | 0.056409 | 0.19517 | 0.14725 | 0.65568 | 2.2557 | 1.7041 | 0.65135 | 2.2536 | 1.7002 | -0.54735 | 1.6009 | 1.4614 | 0.58039 | -1.4645 | -1.3961 | -0.3583 | 1.1452 | 0.35481 | 0.36451 | -1.1805 | -0.26495 | 149.2261 | -165.4202 | 99.7847 | -30.6589 | 14.6816 | -80.2977 |  | 0.99772 | 0.8726 | 0.88252 | 1.0522 | 0.83469 | 0.83577 | 2.4352 | -129.8439 | 113.4311 | 1.4718 | -126.4487 | 110.448