## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8341 | 0.70821 | 0.66455 | 1.8365 | 0.71129 | 0.66688 | 21.1778 | 8.1777 | 7.6735 | 21.2063 | 8.2133 | 7.7004 | 9.9784e-11 | -5.4086 | 13.4746 | 7.9771 | 7.5937 | -11.0032 | -8.0614e-11 | 8.6413 | 2.1443 | 3.0775 | -6.8265 | -1.6841 | 116.0238 | 86.5931 | 119.8661 | -64.0358 | -93.4434 | -60.3118 |  | 0 | 1.2466 | 1.7781 | 0.40319 | 1.2432 | 1.4455 | 0 | -151.3642 | 128.9082 | -42.9393 | -135.398 | 128.3901
Line_1 | 0.92035 | 0.35778 | 0.33549 | 0.91826 | 0.35565 | 0.33344 | 10.6273 | 4.1313 | 3.8739 | 10.6031 | 4.1066 | 3.8502 | 6.0016 | 4.3601 | -4.8995 | -3.9885 | -3.7968 | 5.5016 | 2.3171 | -2.9735 | -0.73042 | -1.5388 | 3.4132 | 0.84205 | -64.0747 | -93.3658 | -60.4414 | 115.9642 | 86.5566 | 119.6882 |  | 0.60536 | 1.2775 | 1.2787 | 0.40319 | 1.2432 | 1.4455 | -42.9645 | -127.6583 | 128.0378 | -42.9393 | -135.398 | 128.3901
Line_2 | 0.92035 | 0.35778 | 0.33549 | 0.91826 | 0.35565 | 0.33344 | 10.6273 | 4.1313 | 3.8739 | 10.6031 | 4.1066 | 3.8502 | 6.0016 | 4.3601 | -4.8995 | -3.9885 | -3.7968 | 5.5016 | 2.3171 | -2.9735 | -0.73042 | -1.5388 | 3.4132 | 0.84205 | -64.0747 | -93.3658 | -60.4414 | 115.9642 | 86.5566 | 119.6882 |  | 0.60536 | 1.2775 | 1.2787 | 0.40319 | 1.2432 | 1.4455 | -42.9645 | -127.6583 | 128.0378 | -42.9393 | -135.398 | 128.3901

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8341 | 0.70821 | 0.66455 | 1.8365 | 0.71129 | 0.66688 | 21.1778 | 8.1777 | 7.6735 | 21.2063 | 8.2133 | 7.7004 | 9.9784e-11 | -5.4086 | 13.4746 | 7.9771 | 7.5937 | -11.0032 | -8.0614e-11 | 8.6413 | 2.1443 | 3.0775 | -6.8265 | -1.6841 | 116.0238 | 86.5931 | 119.8661 | -64.0358 | -93.4434 | -60.3118 |  | 0 | 1.2466 | 1.7781 | 0.40319 | 1.2432 | 1.4455 | 0 | -151.3642 | 128.9082 | -42.9393 | -135.398 | 128.3901
Line_1 | 0.92035 | 0.35778 | 0.33549 | 0.91826 | 0.35565 | 0.33344 | 10.6273 | 4.1313 | 3.8739 | 10.6031 | 4.1066 | 3.8502 | 6.0016 | 4.3601 | -4.8995 | -3.9885 | -3.7968 | 5.5016 | 2.3171 | -2.9735 | -0.73042 | -1.5388 | 3.4132 | 0.84205 | -64.0747 | -93.3658 | -60.4414 | 115.9642 | 86.5566 | 119.6882 |  | 0.60536 | 1.2775 | 1.2787 | 0.40319 | 1.2432 | 1.4455 | -42.9645 | -127.6583 | 128.0378 | -42.9393 | -135.398 | 128.3901
Line_2 | 0.92035 | 0.35778 | 0.33549 | 0.91826 | 0.35565 | 0.33344 | 10.6273 | 4.1313 | 3.8739 | 10.6031 | 4.1066 | 3.8502 | 6.0016 | 4.3601 | -4.8995 | -3.9885 | -3.7968 | 5.5016 | 2.3171 | -2.9735 | -0.73042 | -1.5388 | 3.4132 | 0.84205 | -64.0747 | -93.3658 | -60.4414 | 115.9642 | 86.5566 | 119.6882 |  | 0.60536 | 1.2775 | 1.2787 | 0.40319 | 1.2432 | 1.4455 | -42.9645 | -127.6583 | 128.0378 | -42.9393 | -135.398 | 128.3901

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68876 | 0.18679 | 0.27056 | 0.68955 | 0.18745 | 0.2707 | 7.9532 | 2.1568 | 3.1241 | 7.9622 | 2.1645 | 3.1258 | -2.8894 | -2.4618 | 3.1377 | 3.7977 | 2.4883 | -2.8822 | -5.8037 | -0.42636 | -2.6814 | 6.2993 | 0.6288 | 2.5671 | 114.1699 | 40.6803 | 164.7436 | -65.8683 | -139.1294 | -15.4467 |  | 0.81517 | 1.1584 | 1.3211 | 0.9238 | 1.1857 | 1.2348 | -2.2969 | -129.4941 | 124.2266 | -6.9533 | -124.9474 | 122.8623
Line_1 | 0.34541 | 0.094007 | 0.13568 | 0.34477 | 0.093726 | 0.13535 | 3.9884 | 1.0855 | 1.5667 | 3.9811 | 1.0823 | 1.5629 | 2.1297 | 1.2542 | -1.3828 | -1.8988 | -1.2441 | 1.4411 | 3.278 | 0.36032 | 1.2544 | -3.1496 | -0.3144 | -1.2836 | -65.8852 | -138.7794 | -15.6793 | 114.1317 | 40.8706 | 164.5533 |  | 0.98012 | 1.2022 | 1.1917 | 0.9238 | 1.1857 | 1.2348 | -8.8967 | -122.7508 | 122.1068 | -6.9533 | -124.9474 | 122.8623
Line_2 | 0.34541 | 0.094007 | 0.13568 | 0.34477 | 0.093726 | 0.13535 | 3.9884 | 1.0855 | 1.5667 | 3.9811 | 1.0823 | 1.5629 | 2.1297 | 1.2542 | -1.3828 | -1.8988 | -1.2441 | 1.4411 | 3.278 | 0.36032 | 1.2544 | -3.1496 | -0.3144 | -1.2836 | -65.8852 | -138.7794 | -15.6793 | 114.1317 | 40.8706 | 164.5533 |  | 0.98012 | 1.2022 | 1.1917 | 0.9238 | 1.1857 | 1.2348 | -8.8967 | -122.7508 | 122.1068 | -6.9533 | -124.9474 | 122.8623

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.68876 | 0.18679 | 0.27056 | 0.68955 | 0.18745 | 0.2707 | 7.9532 | 2.1568 | 3.1241 | 7.9622 | 2.1645 | 3.1258 | -2.8894 | -2.4618 | 3.1377 | 3.7977 | 2.4883 | -2.8822 | -5.8037 | -0.42636 | -2.6814 | 6.2993 | 0.6288 | 2.5671 | 114.1699 | 40.6803 | 164.7436 | -65.8683 | -139.1294 | -15.4467 |  | 0.81517 | 1.1584 | 1.3211 | 0.9238 | 1.1857 | 1.2348 | -2.2969 | -129.4941 | 124.2266 | -6.9533 | -124.9474 | 122.8623
Line_1 | 0.34541 | 0.094007 | 0.13568 | 0.34477 | 0.093726 | 0.13535 | 3.9884 | 1.0855 | 1.5667 | 3.9811 | 1.0823 | 1.5629 | 2.1297 | 1.2542 | -1.3828 | -1.8988 | -1.2441 | 1.4411 | 3.278 | 0.36032 | 1.2544 | -3.1496 | -0.3144 | -1.2836 | -65.8852 | -138.7794 | -15.6793 | 114.1317 | 40.8706 | 164.5533 |  | 0.98012 | 1.2022 | 1.1917 | 0.9238 | 1.1857 | 1.2348 | -8.8967 | -122.7508 | 122.1068 | -6.9533 | -124.9474 | 122.8623
Line_2 | 0.34541 | 0.094007 | 0.13568 | 0.34477 | 0.093726 | 0.13535 | 3.9884 | 1.0855 | 1.5667 | 3.9811 | 1.0823 | 1.5629 | 2.1297 | 1.2542 | -1.3828 | -1.8988 | -1.2441 | 1.4411 | 3.278 | 0.36032 | 1.2544 | -3.1496 | -0.3144 | -1.2836 | -65.8852 | -138.7794 | -15.6793 | 114.1317 | 40.8706 | 164.5533 |  | 0.98012 | 1.2022 | 1.1917 | 0.9238 | 1.1857 | 1.2348 | -8.8967 | -122.7508 | 122.1068 | -6.9533 | -124.9474 | 122.8623

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2289 | 0.51817 | 0.4203 | 1.2301 | 0.52024 | 0.42248 | 14.1899 | 5.9833 | 4.8532 | 14.2043 | 6.0072 | 4.8784 | -3.0324e-11 | 0.43361 | 7.7273 | 6.8726 | 1.9916 | -5.895 | 3.7883e-14 | 6.74 | 2.4108 | 0.70756 | -5.8366 | -1.602 | 137.8912 | 116.103 | 112.1347 | -42.2217 | -64.0937 | -68.0876 |  | 0 | 1.1288 | 1.6679 | 0.4864 | 1.0266 | 1.2522 | 0 | -157.578 | 129.4619 | -36.3436 | -135.2523 | 127.1158
Line_1 | 0.61628 | 0.26153 | 0.21267 | 0.61507 | 0.26012 | 0.21124 | 7.1162 | 3.0199 | 2.4557 | 7.1022 | 3.0036 | 2.4392 | 5.1689 | 1.6106 | -2.496 | -3.4363 | -0.99582 | 2.9475 | 0.53468 | -2.6989 | -0.59439 | -0.35378 | 2.9183 | 0.80101 | -42.2933 | -64.1512 | -68.1317 | 137.7783 | 115.9063 | 111.9124 |  | 0.73023 | 1.0408 | 1.0448 | 0.4864 | 1.0266 | 1.2522 | -36.3876 | -123.3239 | 125.2629 | -36.3436 | -135.2523 | 127.1158
Line_2 | 0.61628 | 0.26153 | 0.21267 | 0.61507 | 0.26012 | 0.21124 | 7.1162 | 3.0199 | 2.4557 | 7.1022 | 3.0036 | 2.4392 | 5.1689 | 1.6106 | -2.496 | -3.4363 | -0.99582 | 2.9475 | 0.53468 | -2.6989 | -0.59439 | -0.35378 | 2.9183 | 0.80101 | -42.2933 | -64.1512 | -68.1317 | 137.7783 | 115.9063 | 111.9124 |  | 0.73023 | 1.0408 | 1.0448 | 0.4864 | 1.0266 | 1.2522 | -36.3876 | -123.3239 | 125.2629 | -36.3436 | -135.2523 | 127.1158

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2289 | 0.51817 | 0.4203 | 1.2301 | 0.52024 | 0.42248 | 14.1899 | 5.9833 | 4.8532 | 14.2043 | 6.0072 | 4.8784 | -3.0324e-11 | 0.43361 | 7.7273 | 6.8726 | 1.9916 | -5.895 | 3.7883e-14 | 6.74 | 2.4108 | 0.70756 | -5.8366 | -1.602 | 137.8912 | 116.103 | 112.1347 | -42.2217 | -64.0937 | -68.0876 |  | 0 | 1.1288 | 1.6679 | 0.4864 | 1.0266 | 1.2522 | 0 | -157.578 | 129.4619 | -36.3436 | -135.2523 | 127.1158
Line_1 | 0.61628 | 0.26153 | 0.21267 | 0.61507 | 0.26012 | 0.21124 | 7.1162 | 3.0199 | 2.4557 | 7.1022 | 3.0036 | 2.4392 | 5.1689 | 1.6106 | -2.496 | -3.4363 | -0.99582 | 2.9475 | 0.53468 | -2.6989 | -0.59439 | -0.35378 | 2.9183 | 0.80101 | -42.2933 | -64.1512 | -68.1317 | 137.7783 | 115.9063 | 111.9124 |  | 0.73023 | 1.0408 | 1.0448 | 0.4864 | 1.0266 | 1.2522 | -36.3876 | -123.3239 | 125.2629 | -36.3436 | -135.2523 | 127.1158
Line_2 | 0.61628 | 0.26153 | 0.21267 | 0.61507 | 0.26012 | 0.21124 | 7.1162 | 3.0199 | 2.4557 | 7.1022 | 3.0036 | 2.4392 | 5.1689 | 1.6106 | -2.496 | -3.4363 | -0.99582 | 2.9475 | 0.53468 | -2.6989 | -0.59439 | -0.35378 | 2.9183 | 0.80101 | -42.2933 | -64.1512 | -68.1317 | 137.7783 | 115.9063 | 111.9124 |  | 0.73023 | 1.0408 | 1.0448 | 0.4864 | 1.0266 | 1.2522 | -36.3876 | -123.3239 | 125.2629 | -36.3436 | -135.2523 | 127.1158

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37236 | 0.15701 | 0.12736 | 0.37274 | 0.15764 | 0.12802 | 4.2997 | 1.813 | 1.4706 | 4.3041 | 1.8202 | 1.4782 | -2.0565 | -0.74776 | 1.7112 | 2.6853 | 0.97698 | -1.5473 | -2.1839 | 1.6086 | 0.44302 | 2.2551 | -1.5269 | -0.37381 | 134.6753 | 112.8871 | 108.9188 | -45.4376 | -67.3096 | -71.3035 |  | 0.69767 | 0.97844 | 1.202 | 0.81473 | 0.99586 | 1.0769 | 1.3961 | -132.182 | 123.4333 | -5.4137 | -124.6968 | 122.2781
Line_1 | 0.18674 | 0.079247 | 0.064442 | 0.18637 | 0.078819 | 0.064009 | 2.1563 | 0.91507 | 0.74411 | 2.152 | 0.91012 | 0.73911 | 1.5024 | 0.5476 | -0.73553 | -1.3427 | -0.48849 | 0.77367 | 1.1476 | -0.7456 | -0.16909 | -1.1276 | 0.76345 | 0.18691 | -45.5092 | -67.3671 | -71.3476 | 134.5624 | 112.6904 | 108.6965 |  | 0.87677 | 1.011 | 1.0143 | 0.81473 | 0.99586 | 1.0769 | -8.1341 | -121.0723 | 121.5993 | -5.4137 | -124.6968 | 122.2781
Line_2 | 0.18674 | 0.079247 | 0.064442 | 0.18637 | 0.078819 | 0.064009 | 2.1563 | 0.91507 | 0.74411 | 2.152 | 0.91012 | 0.73911 | 1.5024 | 0.5476 | -0.73553 | -1.3427 | -0.48849 | 0.77367 | 1.1476 | -0.7456 | -0.16909 | -1.1276 | 0.76345 | 0.18691 | -45.5092 | -67.3671 | -71.3476 | 134.5624 | 112.6904 | 108.6965 |  | 0.87677 | 1.011 | 1.0143 | 0.81473 | 0.99586 | 1.0769 | -8.1341 | -121.0723 | 121.5993 | -5.4137 | -124.6968 | 122.2781

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37236 | 0.15701 | 0.12736 | 0.37274 | 0.15764 | 0.12802 | 4.2997 | 1.813 | 1.4706 | 4.3041 | 1.8202 | 1.4782 | -2.0565 | -0.74776 | 1.7112 | 2.6853 | 0.97698 | -1.5473 | -2.1839 | 1.6086 | 0.44302 | 2.2551 | -1.5269 | -0.37381 | 134.6753 | 112.8871 | 108.9188 | -45.4376 | -67.3096 | -71.3035 |  | 0.69767 | 0.97844 | 1.202 | 0.81473 | 0.99586 | 1.0769 | 1.3961 | -132.182 | 123.4333 | -5.4137 | -124.6968 | 122.2781
Line_1 | 0.18674 | 0.079247 | 0.064442 | 0.18637 | 0.078819 | 0.064009 | 2.1563 | 0.91507 | 0.74411 | 2.152 | 0.91012 | 0.73911 | 1.5024 | 0.5476 | -0.73553 | -1.3427 | -0.48849 | 0.77367 | 1.1476 | -0.7456 | -0.16909 | -1.1276 | 0.76345 | 0.18691 | -45.5092 | -67.3671 | -71.3476 | 134.5624 | 112.6904 | 108.6965 |  | 0.87677 | 1.011 | 1.0143 | 0.81473 | 0.99586 | 1.0769 | -8.1341 | -121.0723 | 121.5993 | -5.4137 | -124.6968 | 122.2781
Line_2 | 0.18674 | 0.079247 | 0.064442 | 0.18637 | 0.078819 | 0.064009 | 2.1563 | 0.91507 | 0.74411 | 2.152 | 0.91012 | 0.73911 | 1.5024 | 0.5476 | -0.73553 | -1.3427 | -0.48849 | 0.77367 | 1.1476 | -0.7456 | -0.16909 | -1.1276 | 0.76345 | 0.18691 | -45.5092 | -67.3671 | -71.3476 | 134.5624 | 112.6904 | 108.6965 |  | 0.87677 | 1.011 | 1.0143 | 0.81473 | 0.99586 | 1.0769 | -8.1341 | -121.0723 | 121.5993 | -5.4137 | -124.6968 | 122.2781

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20657 | 2.0304 | 1.3379 | 0.20861 | 2.031 | 1.3395 | 2.3853 | 23.4455 | 15.4485 | 2.4088 | 23.4522 | 15.4667 | 1.3027 | 2.7758e-11 | 1.6968e-11 | -0.89257 | 6.3448 | 1.0087 | 3.5169 | -1.6894e-11 | -1.3016e-11 | -3.2513 | 0.36521 | 4.1451 | -74.4965 | -13.0903 | -128.023 | 105.379 | 166.8531 | 52.0356 |  | 1.5723 | 0 | 0 | 1.3997 | 0.27099 | 0.27582 | -4.822 | 0 | 0 | 0.027893 | 170.1474 | 128.3593
Line_1 | 0.10575 | 1.0164 | 0.67042 | 0.10431 | 1.0155 | 0.66973 | 1.2211 | 11.7363 | 7.7413 | 1.2044 | 11.7261 | 7.7334 | -0.35004 | 4.7662 | 0.76413 | 0.44629 | -3.1724 | -0.50433 | -1.5704 | 0.27641 | 3.1137 | 1.6256 | -0.1826 | -2.0725 | 105.4997 | 166.7874 | 52.1462 | -74.621 | -13.1469 | -127.9644 |  | 1.3176 | 0.40679 | 0.41416 | 1.3997 | 0.27099 | 0.27582 | 2.9342 | 170.1065 | 128.3579 | 0.027893 | 170.1474 | 128.3593
Line_2 | 0.10575 | 1.0164 | 0.67042 | 0.10431 | 1.0155 | 0.66973 | 1.2211 | 11.7363 | 7.7413 | 1.2044 | 11.7261 | 7.7334 | -0.35004 | 4.7662 | 0.76413 | 0.44629 | -3.1724 | -0.50433 | -1.5704 | 0.27641 | 3.1137 | 1.6256 | -0.1826 | -2.0725 | 105.4997 | 166.7874 | 52.1462 | -74.621 | -13.1469 | -127.9644 |  | 1.3176 | 0.40679 | 0.41416 | 1.3997 | 0.27099 | 0.27582 | 2.9342 | 170.1065 | 128.3579 | 0.027893 | 170.1474 | 128.3593

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20657 | 2.0304 | 1.3379 | 0.20861 | 2.031 | 1.3395 | 2.3853 | 23.4455 | 15.4485 | 2.4088 | 23.4522 | 15.4667 | 1.3027 | 2.7758e-11 | 1.6968e-11 | -0.89257 | 6.3448 | 1.0087 | 3.5169 | -1.6894e-11 | -1.3016e-11 | -3.2513 | 0.36521 | 4.1451 | -74.4965 | -13.0903 | -128.023 | 105.379 | 166.8531 | 52.0356 |  | 1.5723 | 0 | 0 | 1.3997 | 0.27099 | 0.27582 | -4.822 | 0 | 0 | 0.027893 | 170.1474 | 128.3593
Line_1 | 0.10575 | 1.0164 | 0.67042 | 0.10431 | 1.0155 | 0.66973 | 1.2211 | 11.7363 | 7.7413 | 1.2044 | 11.7261 | 7.7334 | -0.35004 | 4.7662 | 0.76413 | 0.44629 | -3.1724 | -0.50433 | -1.5704 | 0.27641 | 3.1137 | 1.6256 | -0.1826 | -2.0725 | 105.4997 | 166.7874 | 52.1462 | -74.621 | -13.1469 | -127.9644 |  | 1.3176 | 0.40679 | 0.41416 | 1.3997 | 0.27099 | 0.27582 | 2.9342 | 170.1065 | 128.3579 | 0.027893 | 170.1474 | 128.3593
Line_2 | 0.10575 | 1.0164 | 0.67042 | 0.10431 | 1.0155 | 0.66973 | 1.2211 | 11.7363 | 7.7413 | 1.2044 | 11.7261 | 7.7334 | -0.35004 | 4.7662 | 0.76413 | 0.44629 | -3.1724 | -0.50433 | -1.5704 | 0.27641 | 3.1137 | 1.6256 | -0.1826 | -2.0725 | 105.4997 | 166.7874 | 52.1462 | -74.621 | -13.1469 | -127.9644 |  | 1.3176 | 0.40679 | 0.41416 | 1.3997 | 0.27099 | 0.27582 | 2.9342 | 170.1065 | 128.3579 | 0.027893 | 170.1474 | 128.3593

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.052651 | 0.60517 | 0.60525 | 0.051971 | 0.60536 | 0.60601 | 0.60796 | 6.9879 | 6.9889 | 0.60011 | 6.9901 | 6.9975 | 0.38418 | -1.6368 | -4.6701 | -0.39201 | 2.2844 | 5.0838 | -0.68961 | -6.434 | -3.4764 | 0.63479 | 6.4012 | 4.1794 | 57.8912 | -15.2445 | -109.9026 | -122.5528 | 164.6827 | 70.121 |  | 1.2984 | 0.95005 | 0.83303 | 1.2432 | 0.97232 | 0.9405 | -2.9865 | -119.5174 | 106.7619 | -0.85603 | -124.957 | 109.5449
Line_1 | 0.025649 | 0.303 | 0.30343 | 0.025985 | 0.30268 | 0.303 | 0.29616 | 3.4987 | 3.5037 | 0.30005 | 3.495 | 3.4988 | -0.20048 | 1.303 | 2.6502 | 0.196 | -1.1422 | -2.5419 | 0.29926 | 3.1963 | 2.2654 | -0.3174 | -3.2006 | -2.0897 | -123.5323 | 164.5966 | 70.1877 | 57.4472 | -15.3173 | -109.879 |  | 1.2162 | 0.98657 | 0.99509 | 1.2432 | 0.97232 | 0.9405 | 0.28735 | -127.5818 | 110.7115 | -0.85603 | -124.957 | 109.5449
Line_2 | 0.025649 | 0.303 | 0.30343 | 0.025985 | 0.30268 | 0.303 | 0.29616 | 3.4987 | 3.5037 | 0.30005 | 3.495 | 3.4988 | -0.20048 | 1.303 | 2.6502 | 0.196 | -1.1422 | -2.5419 | 0.29926 | 3.1963 | 2.2654 | -0.3174 | -3.2006 | -2.0897 | -123.5323 | 164.5966 | 70.1877 | 57.4472 | -15.3173 | -109.879 |  | 1.2162 | 0.98657 | 0.99509 | 1.2432 | 0.97232 | 0.9405 | 0.28735 | -127.5818 | 110.7115 | -0.85603 | -124.957 | 109.5449

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.052651 | 0.60517 | 0.60525 | 0.051971 | 0.60536 | 0.60601 | 0.60796 | 6.9879 | 6.9889 | 0.60011 | 6.9901 | 6.9975 | 0.38418 | -1.6368 | -4.6701 | -0.39201 | 2.2844 | 5.0838 | -0.68961 | -6.434 | -3.4764 | 0.63479 | 6.4012 | 4.1794 | 57.8912 | -15.2445 | -109.9026 | -122.5528 | 164.6827 | 70.121 |  | 1.2984 | 0.95005 | 0.83303 | 1.2432 | 0.97232 | 0.9405 | -2.9865 | -119.5174 | 106.7619 | -0.85603 | -124.957 | 109.5449
Line_1 | 0.025649 | 0.303 | 0.30343 | 0.025985 | 0.30268 | 0.303 | 0.29616 | 3.4987 | 3.5037 | 0.30005 | 3.495 | 3.4988 | -0.20048 | 1.303 | 2.6502 | 0.196 | -1.1422 | -2.5419 | 0.29926 | 3.1963 | 2.2654 | -0.3174 | -3.2006 | -2.0897 | -123.5323 | 164.5966 | 70.1877 | 57.4472 | -15.3173 | -109.879 |  | 1.2162 | 0.98657 | 0.99509 | 1.2432 | 0.97232 | 0.9405 | 0.28735 | -127.5818 | 110.7115 | -0.85603 | -124.957 | 109.5449
Line_2 | 0.025649 | 0.303 | 0.30343 | 0.025985 | 0.30268 | 0.303 | 0.29616 | 3.4987 | 3.5037 | 0.30005 | 3.495 | 3.4988 | -0.20048 | 1.303 | 2.6502 | 0.196 | -1.1422 | -2.5419 | 0.29926 | 3.1963 | 2.2654 | -0.3174 | -3.2006 | -2.0897 | -123.5323 | 164.5966 | 70.1877 | 57.4472 | -15.3173 | -109.879 |  | 1.2162 | 0.98657 | 0.99509 | 1.2432 | 0.97232 | 0.9405 | 0.28735 | -127.5818 | 110.7115 | -0.85603 | -124.957 | 109.5449

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22174 | 1.593 | 0.83858 | 0.22341 | 1.5929 | 0.83979 | 2.5604 | 18.3938 | 9.683 | 2.5797 | 18.3937 | 9.6971 | 1.1218 | -2.5641e-11 | -1.0093e-11 | -0.68555 | 6.2857 | 0.12153 | 3.4435 | -2.2864e-11 | -1.5225e-11 | -2.9767 | -0.65593 | 2.6212 | -76.9723 | 2.861 | -131.9276 | 102.947 | -177.2001 | 48.1533 |  | 1.4144 | 0 | 0 | 1.1841 | 0.34359 | 0.27059 | -5.0164 | 0 | 0 | -0.022375 | 176.8425 | 135.4987
Line_1 | 0.11255 | 0.79691 | 0.42014 | 0.11171 | 0.79647 | 0.4199 | 1.2996 | 9.202 | 4.8513 | 1.2899 | 9.1968 | 4.8486 | -0.23759 | 4.7196 | 0.09606 | 0.34277 | -3.1428 | -0.060764 | -1.3743 | -0.49196 | 1.9692 | 1.4883 | 0.32796 | -1.3106 | 103.0998 | -177.256 | 48.2709 | -77.053 | 2.7999 | -131.8467 |  | 1.0731 | 0.51567 | 0.4064 | 1.1841 | 0.34359 | 0.27059 | 3.291 | 176.793 | 135.4782 | -0.022375 | 176.8425 | 135.4987
Line_2 | 0.11255 | 0.79691 | 0.42014 | 0.11171 | 0.79647 | 0.4199 | 1.2996 | 9.202 | 4.8513 | 1.2899 | 9.1968 | 4.8486 | -0.23759 | 4.7196 | 0.09606 | 0.34277 | -3.1428 | -0.060764 | -1.3743 | -0.49196 | 1.9692 | 1.4883 | 0.32796 | -1.3106 | 103.0998 | -177.256 | 48.2709 | -77.053 | 2.7999 | -131.8467 |  | 1.0731 | 0.51567 | 0.4064 | 1.1841 | 0.34359 | 0.27059 | 3.291 | 176.793 | 135.4782 | -0.022375 | 176.8425 | 135.4987

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22174 | 1.593 | 0.83858 | 0.22341 | 1.5929 | 0.83979 | 2.5604 | 18.3938 | 9.683 | 2.5797 | 18.3937 | 9.6971 | 1.1218 | -2.5641e-11 | -1.0093e-11 | -0.68555 | 6.2857 | 0.12153 | 3.4435 | -2.2864e-11 | -1.5225e-11 | -2.9767 | -0.65593 | 2.6212 | -76.9723 | 2.861 | -131.9276 | 102.947 | -177.2001 | 48.1533 |  | 1.4144 | 0 | 0 | 1.1841 | 0.34359 | 0.27059 | -5.0164 | 0 | 0 | -0.022375 | 176.8425 | 135.4987
Line_1 | 0.11255 | 0.79691 | 0.42014 | 0.11171 | 0.79647 | 0.4199 | 1.2996 | 9.202 | 4.8513 | 1.2899 | 9.1968 | 4.8486 | -0.23759 | 4.7196 | 0.09606 | 0.34277 | -3.1428 | -0.060764 | -1.3743 | -0.49196 | 1.9692 | 1.4883 | 0.32796 | -1.3106 | 103.0998 | -177.256 | 48.2709 | -77.053 | 2.7999 | -131.8467 |  | 1.0731 | 0.51567 | 0.4064 | 1.1841 | 0.34359 | 0.27059 | 3.291 | 176.793 | 135.4782 | -0.022375 | 176.8425 | 135.4987
Line_2 | 0.11255 | 0.79691 | 0.42014 | 0.11171 | 0.79647 | 0.4199 | 1.2996 | 9.202 | 4.8513 | 1.2899 | 9.1968 | 4.8486 | -0.23759 | 4.7196 | 0.09606 | 0.34277 | -3.1428 | -0.060764 | -1.3743 | -0.49196 | 1.9692 | 1.4883 | 0.32796 | -1.3106 | 103.0998 | -177.256 | 48.2709 | -77.053 | 2.7999 | -131.8467 |  | 1.0731 | 0.51567 | 0.4064 | 1.1841 | 0.34359 | 0.27059 | 3.291 | 176.793 | 135.4782 | -0.022375 | 176.8425 | 135.4987

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12627 | 0.33362 | 0.33761 | 0.12691 | 0.33339 | 0.3383 | 1.458 | 3.8523 | 3.8983 | 1.4654 | 3.8496 | 3.9063 | 0.53162 | -1.9266 | -2.574 | -0.39893 | 2.2788 | 2.944 | 1.5916 | -2.6141 | -0.72779 | -1.5069 | 2.3987 | 1.0855 | -76.2555 | 8.6625 | -89.1319 | 103.6119 | -171.4518 | 90.8438 |  | 1.1509 | 0.84296 | 0.68617 | 1.0638 | 0.85947 | 0.80326 | -4.7259 | -117.7287 | 106.6561 | -1.2159 | -124.9834 | 111.0842
Line_1 | 0.063824 | 0.16676 | 0.1695 | 0.063454 | 0.16669 | 0.16915 | 0.73697 | 1.9256 | 1.9572 | 0.7327 | 1.9248 | 1.9532 | -0.16778 | 1.2272 | 1.5674 | 0.19947 | -1.1394 | -1.472 | -0.73413 | 1.1478 | 0.63191 | 0.75347 | -1.1994 | -0.54277 | 103.6453 | -171.5772 | 90.8837 | -76.3881 | 8.5482 | -89.1562 |  | 1.0218 | 0.87259 | 0.86345 | 1.0638 | 0.85947 | 0.80326 | 0.7717 | -128.4917 | 112.841 | -1.2159 | -124.9834 | 111.0842
Line_2 | 0.063824 | 0.16676 | 0.1695 | 0.063454 | 0.16669 | 0.16915 | 0.73697 | 1.9256 | 1.9572 | 0.7327 | 1.9248 | 1.9532 | -0.16778 | 1.2272 | 1.5674 | 0.19947 | -1.1394 | -1.472 | -0.73413 | 1.1478 | 0.63191 | 0.75347 | -1.1994 | -0.54277 | 103.6453 | -171.5772 | 90.8837 | -76.3881 | 8.5482 | -89.1562 |  | 1.0218 | 0.87259 | 0.86345 | 1.0638 | 0.85947 | 0.80326 | 0.7717 | -128.4917 | 112.841 | -1.2159 | -124.9834 | 111.0842

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12627 | 0.33362 | 0.33761 | 0.12691 | 0.33339 | 0.3383 | 1.458 | 3.8523 | 3.8983 | 1.4654 | 3.8496 | 3.9063 | 0.53162 | -1.9266 | -2.574 | -0.39893 | 2.2788 | 2.944 | 1.5916 | -2.6141 | -0.72779 | -1.5069 | 2.3987 | 1.0855 | -76.2555 | 8.6625 | -89.1319 | 103.6119 | -171.4518 | 90.8438 |  | 1.1509 | 0.84296 | 0.68617 | 1.0638 | 0.85947 | 0.80326 | -4.7259 | -117.7287 | 106.6561 | -1.2159 | -124.9834 | 111.0842
Line_1 | 0.063824 | 0.16676 | 0.1695 | 0.063454 | 0.16669 | 0.16915 | 0.73697 | 1.9256 | 1.9572 | 0.7327 | 1.9248 | 1.9532 | -0.16778 | 1.2272 | 1.5674 | 0.19947 | -1.1394 | -1.472 | -0.73413 | 1.1478 | 0.63191 | 0.75347 | -1.1994 | -0.54277 | 103.6453 | -171.5772 | 90.8837 | -76.3881 | 8.5482 | -89.1562 |  | 1.0218 | 0.87259 | 0.86345 | 1.0638 | 0.85947 | 0.80326 | 0.7717 | -128.4917 | 112.841 | -1.2159 | -124.9834 | 111.0842
Line_2 | 0.063824 | 0.16676 | 0.1695 | 0.063454 | 0.16669 | 0.16915 | 0.73697 | 1.9256 | 1.9572 | 0.7327 | 1.9248 | 1.9532 | -0.16778 | 1.2272 | 1.5674 | 0.19947 | -1.1394 | -1.472 | -0.73413 | 1.1478 | 0.63191 | 0.75347 | -1.1994 | -0.54277 | 103.6453 | -171.5772 | 90.8837 | -76.3881 | 8.5482 | -89.1562 |  | 1.0218 | 0.87259 | 0.86345 | 1.0638 | 0.85947 | 0.80326 | 0.7717 | -128.4917 | 112.841 | -1.2159 | -124.9834 | 111.0842