## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2518 | 0.92497 | 0.72046 | 2.2499 | 0.92768 | 0.72274 | 26.002 | 10.6806 | 8.3192 | 25.9792 | 10.712 | 8.3455 | 4.1559 | -9.9063 | 11.7989 | 1.0316e-10 | 10.5384 | -11.9047 | 5.3103 | 7.1832 | 3.0972 | -1.1763e-10 | -7.828 | -3.6436 | -58.4473 | 80.4737 | 111.2509 | 121.6003 | -99.5331 | -68.8669 |  | 0.25934 | 1.1457 | 1.4663 | 0 | 1.2255 | 1.4918 | -6.4945 | -135.4726 | 125.9588 | 0 | -136.1383 | 128.1505
Line_1 | 1.1464 | 0.46651 | 0.36386 | 1.1438 | 0.46384 | 0.36137 | 13.2372 | 5.3868 | 4.2015 | 13.2071 | 5.356 | 4.1727 | 3.0732 | 6.2267 | -5.1473 | 6.8318e-11 | -5.2692 | 5.9523 | 1.2592 | -3.2497 | -1.718 | -4.0728e-11 | 3.914 | 1.8218 | -76.3843 | -99.4861 | -69.0292 | 103.6505 | 80.4669 | 111.1331 |  | 0.2509 | 1.3039 | 1.2915 | 0 | 1.2255 | 1.4918 | -54.103 | -127.0462 | 129.4278 | 0 | -136.1383 | 128.1505
Line_2 | 1.1464 | 0.46651 | 0.36386 | 1.1438 | 0.46384 | 0.36137 | 13.2372 | 5.3868 | 4.2015 | 13.2071 | 5.356 | 4.1727 | 3.0732 | 6.2267 | -5.1473 | 6.8318e-11 | -5.2692 | 5.9523 | 1.2592 | -3.2497 | -1.718 | -4.0728e-11 | 3.914 | 1.8218 | -76.3843 | -99.4861 | -69.0292 | 103.6505 | 80.4669 | 111.1331 |  | 0.2509 | 1.3039 | 1.2915 | 0 | 1.2255 | 1.4918 | -54.103 | -127.0462 | 129.4278 | 0 | -136.1383 | 128.1505

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2518 | 0.92497 | 0.72046 | 2.2499 | 0.92768 | 0.72274 | 26.002 | 10.6806 | 8.3192 | 25.9792 | 10.712 | 8.3455 | 4.1559 | -9.9063 | 11.7989 | 1.0316e-10 | 10.5384 | -11.9047 | 5.3103 | 7.1832 | 3.0972 | -1.1763e-10 | -7.828 | -3.6436 | -58.4473 | 80.4737 | 111.2509 | 121.6003 | -99.5331 | -68.8669 |  | 0.25934 | 1.1457 | 1.4663 | 0 | 1.2255 | 1.4918 | -6.4945 | -135.4726 | 125.9588 | 0 | -136.1383 | 128.1505
Line_1 | 1.1464 | 0.46651 | 0.36386 | 1.1438 | 0.46384 | 0.36137 | 13.2372 | 5.3868 | 4.2015 | 13.2071 | 5.356 | 4.1727 | 3.0732 | 6.2267 | -5.1473 | 6.8318e-11 | -5.2692 | 5.9523 | 1.2592 | -3.2497 | -1.718 | -4.0728e-11 | 3.914 | 1.8218 | -76.3843 | -99.4861 | -69.0292 | 103.6505 | 80.4669 | 111.1331 |  | 0.2509 | 1.3039 | 1.2915 | 0 | 1.2255 | 1.4918 | -54.103 | -127.0462 | 129.4278 | 0 | -136.1383 | 128.1505
Line_2 | 1.1464 | 0.46651 | 0.36386 | 1.1438 | 0.46384 | 0.36137 | 13.2372 | 5.3868 | 4.2015 | 13.2071 | 5.356 | 4.1727 | 3.0732 | 6.2267 | -5.1473 | 6.8318e-11 | -5.2692 | 5.9523 | 1.2592 | -3.2497 | -1.718 | -4.0728e-11 | 3.914 | 1.8218 | -76.3843 | -99.4861 | -69.0292 | 103.6505 | 80.4669 | 111.1331 |  | 0.2509 | 1.3039 | 1.2915 | 0 | 1.2255 | 1.4918 | -54.103 | -127.0462 | 129.4278 | 0 | -136.1383 | 128.1505

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56367 | 0.24233 | 0.28164 | 0.56321 | 0.243 | 0.28191 | 6.5088 | 2.7982 | 3.2521 | 6.5033 | 2.8059 | 3.2552 | 5.2397 | -3.2541 | 2.9957 | -4.9246 | 3.3581 | -3.0561 | 2.5492 | 0.15344 | -2.6439 | -2.2058 | -0.18887 | 2.6337 | -30.8262 | 58.4243 | 164.9573 | 149.2425 | -121.4631 | -15.2007 |  | 0.89524 | 1.1642 | 1.2286 | 0.82973 | 1.1987 | 1.2394 | -4.8822 | -124.2755 | 123.5269 | -6.6294 | -124.6822 | 124.0455
Line_1 | 0.42712 | 0.12207 | 0.14136 | 0.42632 | 0.1215 | 0.14095 | 4.932 | 1.4095 | 1.6323 | 4.9228 | 1.403 | 1.6276 | 2.4889 | 1.7183 | -1.453 | -2.1274 | -1.679 | 1.5281 | 3.6781 | -0.019485 | 1.2744 | -3.4868 | 0.094433 | -1.3168 | -65.2604 | -121.1885 | -15.4875 | 114.7591 | 58.5369 | 164.7993 |  | 0.90046 | 1.2192 | 1.184 | 0.82973 | 1.1987 | 1.2394 | -9.3459 | -121.8382 | 123.2589 | -6.6294 | -124.6822 | 124.0455
Line_2 | 0.42712 | 0.12207 | 0.14136 | 0.42632 | 0.1215 | 0.14095 | 4.932 | 1.4095 | 1.6323 | 4.9228 | 1.403 | 1.6276 | 2.4889 | 1.7183 | -1.453 | -2.1274 | -1.679 | 1.5281 | 3.6781 | -0.019485 | 1.2744 | -3.4868 | 0.094433 | -1.3168 | -65.2604 | -121.1885 | -15.4875 | 114.7591 | 58.5369 | 164.7993 |  | 0.90046 | 1.2192 | 1.184 | 0.82973 | 1.1987 | 1.2394 | -9.3459 | -121.8382 | 123.2589 | -6.6294 | -124.6822 | 124.0455

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56367 | 0.24233 | 0.28164 | 0.56321 | 0.243 | 0.28191 | 6.5088 | 2.7982 | 3.2521 | 6.5033 | 2.8059 | 3.2552 | 5.2397 | -3.2541 | 2.9957 | -4.9246 | 3.3581 | -3.0561 | 2.5492 | 0.15344 | -2.6439 | -2.2058 | -0.18887 | 2.6337 | -30.8262 | 58.4243 | 164.9573 | 149.2425 | -121.4631 | -15.2007 |  | 0.89524 | 1.1642 | 1.2286 | 0.82973 | 1.1987 | 1.2394 | -4.8822 | -124.2755 | 123.5269 | -6.6294 | -124.6822 | 124.0455
Line_1 | 0.42712 | 0.12207 | 0.14136 | 0.42632 | 0.1215 | 0.14095 | 4.932 | 1.4095 | 1.6323 | 4.9228 | 1.403 | 1.6276 | 2.4889 | 1.7183 | -1.453 | -2.1274 | -1.679 | 1.5281 | 3.6781 | -0.019485 | 1.2744 | -3.4868 | 0.094433 | -1.3168 | -65.2604 | -121.1885 | -15.4875 | 114.7591 | 58.5369 | 164.7993 |  | 0.90046 | 1.2192 | 1.184 | 0.82973 | 1.1987 | 1.2394 | -9.3459 | -121.8382 | 123.2589 | -6.6294 | -124.6822 | 124.0455
Line_2 | 0.42712 | 0.12207 | 0.14136 | 0.42632 | 0.1215 | 0.14095 | 4.932 | 1.4095 | 1.6323 | 4.9228 | 1.403 | 1.6276 | 2.4889 | 1.7183 | -1.453 | -2.1274 | -1.679 | 1.5281 | 3.6781 | -0.019485 | 1.2744 | -3.4868 | 0.094433 | -1.3168 | -65.2604 | -121.1885 | -15.4875 | 114.7591 | 58.5369 | 164.7993 |  | 0.90046 | 1.2192 | 1.184 | 0.82973 | 1.1987 | 1.2394 | -9.3459 | -121.8382 | 123.2589 | -6.6294 | -124.6822 | 124.0455

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0168 | 0.74822 | 0.61591 | 2.0155 | 0.75005 | 0.61767 | 23.2881 | 8.6397 | 7.1119 | 23.2731 | 8.6608 | 7.1322 | 6.7528 | -3.3288 | 8.9471 | -5.6266e-11 | 3.2321 | -9.1892 | 4.5653 | 7.4767 | 1.6333 | 3.9097e-12 | -8.2489 | -2.3043 | -50.3375 | 110.3934 | 113.1255 | 129.7139 | -69.7044 | -67.0012 |  | 0.35002 | 0.94728 | 1.2788 | 0 | 1.0229 | 1.3283 | -16.2761 | -135.6067 | 123.4713 | 0 | -138.3079 | 127.0761
Line_1 | 0.88533 | 0.37702 | 0.3108 | 0.88338 | 0.37502 | 0.30883 | 10.2229 | 4.3535 | 3.5888 | 10.2004 | 4.3304 | 3.5661 | 3.6146 | 2.9658 | -3.5342 | -2.4255e-11 | -1.6161 | 4.5946 | 0.80154 | -3.8239 | -0.96584 | -4.7745e-12 | 4.1244 | 1.1521 | -65.4516 | -69.8103 | -67.1468 | 114.6031 | 110.2956 | 112.9988 |  | 0.36217 | 1.1116 | 1.0209 | 0 | 1.0229 | 1.3283 | -52.9484 | -122.0131 | 128.1379 | 0 | -138.3079 | 127.0761
Line_2 | 0.88533 | 0.37702 | 0.3108 | 0.88338 | 0.37502 | 0.30883 | 10.2229 | 4.3535 | 3.5888 | 10.2004 | 4.3304 | 3.5661 | 3.6146 | 2.9658 | -3.5342 | -2.4255e-11 | -1.6161 | 4.5946 | 0.80154 | -3.8239 | -0.96584 | -4.7745e-12 | 4.1244 | 1.1521 | -65.4516 | -69.8103 | -67.1468 | 114.6031 | 110.2956 | 112.9988 |  | 0.36217 | 1.1116 | 1.0209 | 0 | 1.0229 | 1.3283 | -52.9484 | -122.0131 | 128.1379 | 0 | -138.3079 | 127.0761

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0168 | 0.74822 | 0.61591 | 2.0155 | 0.75005 | 0.61767 | 23.2881 | 8.6397 | 7.1119 | 23.2731 | 8.6608 | 7.1322 | 6.7528 | -3.3288 | 8.9471 | -5.6266e-11 | 3.2321 | -9.1892 | 4.5653 | 7.4767 | 1.6333 | 3.9097e-12 | -8.2489 | -2.3043 | -50.3375 | 110.3934 | 113.1255 | 129.7139 | -69.7044 | -67.0012 |  | 0.35002 | 0.94728 | 1.2788 | 0 | 1.0229 | 1.3283 | -16.2761 | -135.6067 | 123.4713 | 0 | -138.3079 | 127.0761
Line_1 | 0.88533 | 0.37702 | 0.3108 | 0.88338 | 0.37502 | 0.30883 | 10.2229 | 4.3535 | 3.5888 | 10.2004 | 4.3304 | 3.5661 | 3.6146 | 2.9658 | -3.5342 | -2.4255e-11 | -1.6161 | 4.5946 | 0.80154 | -3.8239 | -0.96584 | -4.7745e-12 | 4.1244 | 1.1521 | -65.4516 | -69.8103 | -67.1468 | 114.6031 | 110.2956 | 112.9988 |  | 0.36217 | 1.1116 | 1.0209 | 0 | 1.0229 | 1.3283 | -52.9484 | -122.0131 | 128.1379 | 0 | -138.3079 | 127.0761
Line_2 | 0.88533 | 0.37702 | 0.3108 | 0.88338 | 0.37502 | 0.30883 | 10.2229 | 4.3535 | 3.5888 | 10.2004 | 4.3304 | 3.5661 | 3.6146 | 2.9658 | -3.5342 | -2.4255e-11 | -1.6161 | 4.5946 | 0.80154 | -3.8239 | -0.96584 | -4.7745e-12 | 4.1244 | 1.1521 | -65.4516 | -69.8103 | -67.1468 | 114.6031 | 110.2956 | 112.9988 |  | 0.36217 | 1.1116 | 1.0209 | 0 | 1.0229 | 1.3283 | -52.9484 | -122.0131 | 128.1379 | 0 | -138.3079 | 127.0761

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61488 | 0.22812 | 0.18778 | 0.61448 | 0.22867 | 0.18831 | 7.1 | 2.6341 | 2.1682 | 7.0955 | 2.6405 | 2.1744 | 4.5446 | -1.1541 | 2.3426 | -3.9171 | 1.15 | -2.3697 | 3.4841 | 2.3341 | 0.0072014 | -3.0543 | -2.4084 | -0.072506 | -41.7321 | 118.9988 | 121.7309 | 138.3193 | -61.0991 | -58.3958 |  | 0.80654 | 0.98852 | 1.0804 | 0.70004 | 1.0107 | 1.0903 | -4.2565 | -124.6897 | 121.9071 | -3.7363 | -125.5742 | 123.3567
Line_1 | 0.26992 | 0.11495 | 0.094756 | 0.26932 | 0.11434 | 0.094156 | 3.1167 | 1.3273 | 1.0941 | 3.1099 | 1.3202 | 1.0872 | 1.6457 | 0.70426 | -1.0913 | -1.3085 | -0.57501 | 1.1849 | 1.8195 | -1.1798 | -0.020422 | -1.7399 | 1.2042 | 0.036253 | -56.8462 | -61.2049 | -58.5414 | 123.2085 | 118.9009 | 121.6042 |  | 0.78716 | 1.0352 | 0.99758 | 0.70004 | 1.0107 | 1.0903 | -8.9746 | -120.3715 | 122.5307 | -3.7363 | -125.5742 | 123.3567
Line_2 | 0.26992 | 0.11495 | 0.094756 | 0.26932 | 0.11434 | 0.094156 | 3.1167 | 1.3273 | 1.0941 | 3.1099 | 1.3202 | 1.0872 | 1.6457 | 0.70426 | -1.0913 | -1.3085 | -0.57501 | 1.1849 | 1.8195 | -1.1798 | -0.020422 | -1.7399 | 1.2042 | 0.036253 | -56.8462 | -61.2049 | -58.5414 | 123.2085 | 118.9009 | 121.6042 |  | 0.78716 | 1.0352 | 0.99758 | 0.70004 | 1.0107 | 1.0903 | -8.9746 | -120.3715 | 122.5307 | -3.7363 | -125.5742 | 123.3567

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61488 | 0.22812 | 0.18778 | 0.61448 | 0.22867 | 0.18831 | 7.1 | 2.6341 | 2.1682 | 7.0955 | 2.6405 | 2.1744 | 4.5446 | -1.1541 | 2.3426 | -3.9171 | 1.15 | -2.3697 | 3.4841 | 2.3341 | 0.0072014 | -3.0543 | -2.4084 | -0.072506 | -41.7321 | 118.9988 | 121.7309 | 138.3193 | -61.0991 | -58.3958 |  | 0.80654 | 0.98852 | 1.0804 | 0.70004 | 1.0107 | 1.0903 | -4.2565 | -124.6897 | 121.9071 | -3.7363 | -125.5742 | 123.3567
Line_1 | 0.26992 | 0.11495 | 0.094756 | 0.26932 | 0.11434 | 0.094156 | 3.1167 | 1.3273 | 1.0941 | 3.1099 | 1.3202 | 1.0872 | 1.6457 | 0.70426 | -1.0913 | -1.3085 | -0.57501 | 1.1849 | 1.8195 | -1.1798 | -0.020422 | -1.7399 | 1.2042 | 0.036253 | -56.8462 | -61.2049 | -58.5414 | 123.2085 | 118.9009 | 121.6042 |  | 0.78716 | 1.0352 | 0.99758 | 0.70004 | 1.0107 | 1.0903 | -8.9746 | -120.3715 | 122.5307 | -3.7363 | -125.5742 | 123.3567
Line_2 | 0.26992 | 0.11495 | 0.094756 | 0.26932 | 0.11434 | 0.094156 | 3.1167 | 1.3273 | 1.0941 | 3.1099 | 1.3202 | 1.0872 | 1.6457 | 0.70426 | -1.0913 | -1.3085 | -0.57501 | 1.1849 | 1.8195 | -1.1798 | -0.020422 | -1.7399 | 1.2042 | 0.036253 | -56.8462 | -61.2049 | -58.5414 | 123.2085 | 118.9009 | 121.6042 |  | 0.78716 | 1.0352 | 0.99758 | 0.70004 | 1.0107 | 1.0903 | -8.9746 | -120.3715 | 122.5307 | -3.7363 | -125.5742 | 123.3567

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4345 | 4.0643 | 3.3903 | 0.43664 | 4.0647 | 3.3895 | 5.0171 | 46.93 | 39.1478 | 5.0419 | 46.9346 | 39.1385 | -0.56289 | 12.5507 | 2.7426 | 0.76846 | 8.2197e-11 | 9.8604e-11 | 6.9467 | 9.7126 | 7.4589 | -7.2813 | -8.7154e-11 | 2.1517e-12 | -97.9589 | -172.9406 | 18.4105 | 82.0625 | 7.0892 | -161.6233 |  | 1.3891 | 0.33816 | 0.203 | 1.4522 | 0 | 0 | -3.3263 | -135.2053 | 88.2222 | -1.9129 | 0 | 0
Line_1 | 0.22038 | 1.1163 | 0.93596 | 0.21832 | 1.1152 | 0.93434 | 2.5448 | 12.8899 | 10.8076 | 2.521 | 12.877 | 10.7888 | 0.68363 | 2.2394 | 1.0793 | -0.38423 | 3.1723e-11 | 2.1736e-11 | -3.4033 | -0.26577 | 1.9646 | 3.6407 | -8.6028e-12 | -1.6331e-11 | 82.2044 | 155.492 | 56.6314 | -97.9375 | -24.4144 | -123.4531 |  | 1.3641 | 0.17495 | 0.2074 | 1.4522 | 0 | 0 | 3.5626 | 148.7238 | 117.8484 | -1.9129 | 0 | 0
Line_2 | 0.22038 | 1.1163 | 0.93596 | 0.21832 | 1.1152 | 0.93434 | 2.5448 | 12.8899 | 10.8076 | 2.521 | 12.877 | 10.7888 | 0.68363 | 2.2394 | 1.0793 | -0.38423 | 3.1723e-11 | 2.1736e-11 | -3.4033 | -0.26577 | 1.9646 | 3.6407 | -8.6028e-12 | -1.6331e-11 | 82.2044 | 155.492 | 56.6314 | -97.9375 | -24.4144 | -123.4531 |  | 1.3641 | 0.17495 | 0.2074 | 1.4522 | 0 | 0 | 3.5626 | 148.7238 | 117.8484 | -1.9129 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4345 | 4.0643 | 3.3903 | 0.43664 | 4.0647 | 3.3895 | 5.0171 | 46.93 | 39.1478 | 5.0419 | 46.9346 | 39.1385 | -0.56289 | 12.5507 | 2.7426 | 0.76846 | 8.2197e-11 | 9.8604e-11 | 6.9467 | 9.7126 | 7.4589 | -7.2813 | -8.7154e-11 | 2.1517e-12 | -97.9589 | -172.9406 | 18.4105 | 82.0625 | 7.0892 | -161.6233 |  | 1.3891 | 0.33816 | 0.203 | 1.4522 | 0 | 0 | -3.3263 | -135.2053 | 88.2222 | -1.9129 | 0 | 0
Line_1 | 0.22038 | 1.1163 | 0.93596 | 0.21832 | 1.1152 | 0.93434 | 2.5448 | 12.8899 | 10.8076 | 2.521 | 12.877 | 10.7888 | 0.68363 | 2.2394 | 1.0793 | -0.38423 | 3.1723e-11 | 2.1736e-11 | -3.4033 | -0.26577 | 1.9646 | 3.6407 | -8.6028e-12 | -1.6331e-11 | 82.2044 | 155.492 | 56.6314 | -97.9375 | -24.4144 | -123.4531 |  | 1.3641 | 0.17495 | 0.2074 | 1.4522 | 0 | 0 | 3.5626 | 148.7238 | 117.8484 | -1.9129 | 0 | 0
Line_2 | 0.22038 | 1.1163 | 0.93596 | 0.21832 | 1.1152 | 0.93434 | 2.5448 | 12.8899 | 10.8076 | 2.521 | 12.877 | 10.7888 | 0.68363 | 2.2394 | 1.0793 | -0.38423 | 3.1723e-11 | 2.1736e-11 | -3.4033 | -0.26577 | 1.9646 | 3.6407 | -8.6028e-12 | -1.6331e-11 | 82.2044 | 155.492 | 56.6314 | -97.9375 | -24.4144 | -123.4531 |  | 1.3641 | 0.17495 | 0.2074 | 1.4522 | 0 | 0 | 3.5626 | 148.7238 | 117.8484 | -1.9129 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075472 | 0.88889 | 0.67186 | 0.0082879 | 0.88928 | 0.67129 | 0.087148 | 10.264 | 7.7579 | 0.0957 | 10.2685 | 7.7514 | 0.030956 | 9.2752 | 3.9007 | -0.03203 | -8.588 | -3.8392 | 0.10284 | 3.5468 | 5.8844 | -0.11628 | -3.1854 | -5.4756 | -73.8647 | -143.1643 | 53.5788 | 105.169 | 36.8771 | -126.4641 |  | 1.2324 | 0.96748 | 0.91002 | 1.2603 | 0.89203 | 0.86273 | -0.6164 | -122.2375 | 110.0387 | -0.23147 | -122.7724 | 108.4999
Line_1 | 0.0048894 | 0.37391 | 0.37894 | 0.0041439 | 0.3735 | 0.37832 | 0.056457 | 4.3176 | 4.3756 | 0.04785 | 4.3128 | 4.3685 | -0.016462 | 1.269 | 3.2362 | 0.016015 | -1.0107 | -3.0425 | -0.067235 | 3.6902 | 2.5025 | 0.05814 | -3.712 | -2.2243 | 105.287 | 162.3636 | 72.3928 | -74.831 | -17.5411 | -107.6696 |  | 1.2261 | 0.90382 | 0.93492 | 1.2603 | 0.89203 | 0.86273 | 1.5294 | -126.6135 | 110.1067 | -0.23147 | -122.7724 | 108.4999
Line_2 | 0.0048894 | 0.37391 | 0.37894 | 0.0041439 | 0.3735 | 0.37832 | 0.056457 | 4.3176 | 4.3756 | 0.04785 | 4.3128 | 4.3685 | -0.016462 | 1.269 | 3.2362 | 0.016015 | -1.0107 | -3.0425 | -0.067235 | 3.6902 | 2.5025 | 0.05814 | -3.712 | -2.2243 | 105.287 | 162.3636 | 72.3928 | -74.831 | -17.5411 | -107.6696 |  | 1.2261 | 0.90382 | 0.93492 | 1.2603 | 0.89203 | 0.86273 | 1.5294 | -126.6135 | 110.1067 | -0.23147 | -122.7724 | 108.4999

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.0075472 | 0.88889 | 0.67186 | 0.0082879 | 0.88928 | 0.67129 | 0.087148 | 10.264 | 7.7579 | 0.0957 | 10.2685 | 7.7514 | 0.030956 | 9.2752 | 3.9007 | -0.03203 | -8.588 | -3.8392 | 0.10284 | 3.5468 | 5.8844 | -0.11628 | -3.1854 | -5.4756 | -73.8647 | -143.1643 | 53.5788 | 105.169 | 36.8771 | -126.4641 |  | 1.2324 | 0.96748 | 0.91002 | 1.2603 | 0.89203 | 0.86273 | -0.6164 | -122.2375 | 110.0387 | -0.23147 | -122.7724 | 108.4999
Line_1 | 0.0048894 | 0.37391 | 0.37894 | 0.0041439 | 0.3735 | 0.37832 | 0.056457 | 4.3176 | 4.3756 | 0.04785 | 4.3128 | 4.3685 | -0.016462 | 1.269 | 3.2362 | 0.016015 | -1.0107 | -3.0425 | -0.067235 | 3.6902 | 2.5025 | 0.05814 | -3.712 | -2.2243 | 105.287 | 162.3636 | 72.3928 | -74.831 | -17.5411 | -107.6696 |  | 1.2261 | 0.90382 | 0.93492 | 1.2603 | 0.89203 | 0.86273 | 1.5294 | -126.6135 | 110.1067 | -0.23147 | -122.7724 | 108.4999
Line_2 | 0.0048894 | 0.37391 | 0.37894 | 0.0041439 | 0.3735 | 0.37832 | 0.056457 | 4.3176 | 4.3756 | 0.04785 | 4.3128 | 4.3685 | -0.016462 | 1.269 | 3.2362 | 0.016015 | -1.0107 | -3.0425 | -0.067235 | 3.6902 | 2.5025 | 0.05814 | -3.712 | -2.2243 | 105.287 | 162.3636 | 72.3928 | -74.831 | -17.5411 | -107.6696 |  | 1.2261 | 0.90382 | 0.93492 | 1.2603 | 0.89203 | 0.86273 | 1.5294 | -126.6135 | 110.1067 | -0.23147 | -122.7724 | 108.4999

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45491 | 3.4114 | 2.8755 | 0.45655 | 3.412 | 2.8746 | 5.2528 | 39.3918 | 33.2039 | 5.2718 | 39.398 | 33.1932 | 2.2371 | 16.0702 | 4.8638 | -2.2125 | -1.1755e-10 | -2.1267e-11 | 5.8162 | 5.7016 | 6.7589 | -6.3055 | -8.1436e-11 | -1.1974e-10 | -73.5881 | -166.2281 | 28.1121 | 106.3349 | 13.8 | -151.9175 |  | 1.1863 | 0.43287 | 0.25079 | 1.2676 | 0 | 0 | -4.6268 | -146.6935 | 82.3729 | -3.0005 | 0 | 0
Line_1 | 0.22994 | 0.96138 | 0.62833 | 0.22827 | 0.96062 | 0.62706 | 2.6551 | 11.1011 | 7.2553 | 2.6359 | 11.0923 | 7.2407 | -0.53416 | 2.9799 | 0.91941 | 1.1063 | -1.7687e-11 | -1.8139e-11 | -2.8922 | -0.76411 | 1.7376 | 3.1528 | -3.6169e-11 | -1.9358e-11 | 106.3015 | 164.4829 | 61.2476 | -73.6651 | -15.4287 | -118.8512 |  | 1.1077 | 0.27712 | 0.27096 | 1.2676 | 0 | 0 | 5.8374 | 150.1011 | 123.3638 | -3.0005 | 0 | 0
Line_2 | 0.22994 | 0.96138 | 0.62833 | 0.22827 | 0.96062 | 0.62706 | 2.6551 | 11.1011 | 7.2553 | 2.6359 | 11.0923 | 7.2407 | -0.53416 | 2.9799 | 0.91941 | 1.1063 | -1.7687e-11 | -1.8139e-11 | -2.8922 | -0.76411 | 1.7376 | 3.1528 | -3.6169e-11 | -1.9358e-11 | 106.3015 | 164.4829 | 61.2476 | -73.6651 | -15.4287 | -118.8512 |  | 1.1077 | 0.27712 | 0.27096 | 1.2676 | 0 | 0 | 5.8374 | 150.1011 | 123.3638 | -3.0005 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45491 | 3.4114 | 2.8755 | 0.45655 | 3.412 | 2.8746 | 5.2528 | 39.3918 | 33.2039 | 5.2718 | 39.398 | 33.1932 | 2.2371 | 16.0702 | 4.8638 | -2.2125 | -1.1755e-10 | -2.1267e-11 | 5.8162 | 5.7016 | 6.7589 | -6.3055 | -8.1436e-11 | -1.1974e-10 | -73.5881 | -166.2281 | 28.1121 | 106.3349 | 13.8 | -151.9175 |  | 1.1863 | 0.43287 | 0.25079 | 1.2676 | 0 | 0 | -4.6268 | -146.6935 | 82.3729 | -3.0005 | 0 | 0
Line_1 | 0.22994 | 0.96138 | 0.62833 | 0.22827 | 0.96062 | 0.62706 | 2.6551 | 11.1011 | 7.2553 | 2.6359 | 11.0923 | 7.2407 | -0.53416 | 2.9799 | 0.91941 | 1.1063 | -1.7687e-11 | -1.8139e-11 | -2.8922 | -0.76411 | 1.7376 | 3.1528 | -3.6169e-11 | -1.9358e-11 | 106.3015 | 164.4829 | 61.2476 | -73.6651 | -15.4287 | -118.8512 |  | 1.1077 | 0.27712 | 0.27096 | 1.2676 | 0 | 0 | 5.8374 | 150.1011 | 123.3638 | -3.0005 | 0 | 0
Line_2 | 0.22994 | 0.96138 | 0.62833 | 0.22827 | 0.96062 | 0.62706 | 2.6551 | 11.1011 | 7.2553 | 2.6359 | 11.0923 | 7.2407 | -0.53416 | 2.9799 | 0.91941 | 1.1063 | -1.7687e-11 | -1.8139e-11 | -2.8922 | -0.76411 | 1.7376 | 3.1528 | -3.6169e-11 | -1.9358e-11 | 106.3015 | 164.4829 | 61.2476 | -73.6651 | -15.4287 | -118.8512 |  | 1.1077 | 0.27712 | 0.27096 | 1.2676 | 0 | 0 | 5.8374 | 150.1011 | 123.3638 | -3.0005 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.181 | 0.83942 | 0.74811 | 0.18156 | 0.83974 | 0.74759 | 2.09 | 9.6928 | 8.6384 | 2.0965 | 9.6965 | 8.6324 | 0.87503 | 7.4683 | 3.756 | -0.87336 | -6.4174 | -3.4035 | 2.0409 | 4.0138 | 5.7425 | -2.11 | -3.787 | -5.1218 | -68.7557 | -151.4402 | 53.841 | 111.1634 | 28.5959 | -126.1849 |  | 1.0625 | 0.87473 | 0.79433 | 1.0892 | 0.76847 | 0.71238 | -1.9623 | -123.1847 | 110.6535 | -1.3217 | -120.8586 | 110.2104
Line_1 | 0.091366 | 0.24471 | 0.22811 | 0.090782 | 0.24447 | 0.22755 | 1.055 | 2.8257 | 2.634 | 1.0483 | 2.8229 | 2.6275 | -0.35393 | 0.96278 | 1.8734 | 0.43668 | -0.72826 | -1.6815 | -1.0268 | 1.9541 | 1.0077 | 1.055 | -2.0435 | -0.82233 | 111.1086 | 168.6303 | 84.1965 | -68.8366 | -11.2433 | -95.8506 |  | 1.0295 | 0.77092 | 0.80762 | 1.0892 | 0.76847 | 0.71238 | 2.0896 | -127.5993 | 112.4721 | -1.3217 | -120.8586 | 110.2104
Line_2 | 0.091366 | 0.24471 | 0.22811 | 0.090782 | 0.24447 | 0.22755 | 1.055 | 2.8257 | 2.634 | 1.0483 | 2.8229 | 2.6275 | -0.35393 | 0.96278 | 1.8734 | 0.43668 | -0.72826 | -1.6815 | -1.0268 | 1.9541 | 1.0077 | 1.055 | -2.0435 | -0.82233 | 111.1086 | 168.6303 | 84.1965 | -68.8366 | -11.2433 | -95.8506 |  | 1.0295 | 0.77092 | 0.80762 | 1.0892 | 0.76847 | 0.71238 | 2.0896 | -127.5993 | 112.4721 | -1.3217 | -120.8586 | 110.2104

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.181 | 0.83942 | 0.74811 | 0.18156 | 0.83974 | 0.74759 | 2.09 | 9.6928 | 8.6384 | 2.0965 | 9.6965 | 8.6324 | 0.87503 | 7.4683 | 3.756 | -0.87336 | -6.4174 | -3.4035 | 2.0409 | 4.0138 | 5.7425 | -2.11 | -3.787 | -5.1218 | -68.7557 | -151.4402 | 53.841 | 111.1634 | 28.5959 | -126.1849 |  | 1.0625 | 0.87473 | 0.79433 | 1.0892 | 0.76847 | 0.71238 | -1.9623 | -123.1847 | 110.6535 | -1.3217 | -120.8586 | 110.2104
Line_1 | 0.091366 | 0.24471 | 0.22811 | 0.090782 | 0.24447 | 0.22755 | 1.055 | 2.8257 | 2.634 | 1.0483 | 2.8229 | 2.6275 | -0.35393 | 0.96278 | 1.8734 | 0.43668 | -0.72826 | -1.6815 | -1.0268 | 1.9541 | 1.0077 | 1.055 | -2.0435 | -0.82233 | 111.1086 | 168.6303 | 84.1965 | -68.8366 | -11.2433 | -95.8506 |  | 1.0295 | 0.77092 | 0.80762 | 1.0892 | 0.76847 | 0.71238 | 2.0896 | -127.5993 | 112.4721 | -1.3217 | -120.8586 | 110.2104
Line_2 | 0.091366 | 0.24471 | 0.22811 | 0.090782 | 0.24447 | 0.22755 | 1.055 | 2.8257 | 2.634 | 1.0483 | 2.8229 | 2.6275 | -0.35393 | 0.96278 | 1.8734 | 0.43668 | -0.72826 | -1.6815 | -1.0268 | 1.9541 | 1.0077 | 1.055 | -2.0435 | -0.82233 | 111.1086 | 168.6303 | 84.1965 | -68.8366 | -11.2433 | -95.8506 |  | 1.0295 | 0.77092 | 0.80762 | 1.0892 | 0.76847 | 0.71238 | 2.0896 | -127.5993 | 112.4721 | -1.3217 | -120.8586 | 110.2104