## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7099 | 0.77358 | 0.61208 | 1.7081 | 0.7753 | 0.61385 | 19.7444 | 8.9325 | 7.0677 | 19.7232 | 8.9524 | 7.0882 | 7.2702 | -10.1132 | 8.5065 | -5.1042 | 10.3874 | -8.6033 | 6.8775 | 5.0607 | 0.94693 | -4.3441 | -5.1899 | -0.98881 | -65.8074 | 82.4354 | 122.3098 | 114.2032 | -97.513 | -57.7434 |  | 0.50687 | 1.266 | 1.211 | 0.33983 | 1.297 | 1.2217 | -22.3974 | -124.1482 | 128.6617 | -25.3967 | -124.0614 | 128.813
Line_1 | 2.5549 | 0.59731 | 0.41991 | 2.5572 | 0.59507 | 0.4175 | 29.5016 | 6.8972 | 4.8487 | 29.5279 | 6.8713 | 4.8209 | 9.9441e-11 | 8.3659 | -5.458 | 7.626 | -8.4988 | 4.9892 | -9.3483e-11 | -3.6111 | -3.6704 | 6.5219 | 2.6835 | 3.1303 | 114.0832 | -106.4529 | -83.3023 | -65.9345 | 73.4622 | 96.7077 |  | 0 | 1.3211 | 1.3565 | 0.33983 | 1.297 | 1.2217 | 0 | -129.8 | 130.6183 | -25.3967 | -124.0614 | 128.813
Line_2 | 0.85091 | 0.21132 | 0.29898 | 0.84913 | 0.20954 | 0.29778 | 9.8255 | 2.4402 | 3.4523 | 9.8049 | 2.4196 | 3.4385 | 3.9972 | 2.1874 | -3.1989 | -2.5217 | -1.8886 | 3.6141 | 3.1015 | -2.3576 | 2.0343 | -2.1778 | 2.5064 | -2.1415 | -66.2162 | -71.0377 | -20.792 | 113.7885 | 108.9401 | 159.4618 |  | 0.51492 | 1.318 | 1.0981 | 0.33983 | 1.297 | 1.2217 | -28.407 | -118.183 | 126.7538 | -25.3967 | -124.0614 | 128.813

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7099 | 0.77358 | 0.61208 | 1.7081 | 0.7753 | 0.61385 | 19.7444 | 8.9325 | 7.0677 | 19.7232 | 8.9524 | 7.0882 | 7.2702 | -10.1132 | 8.5065 | -5.1042 | 10.3874 | -8.6033 | 6.8775 | 5.0607 | 0.94693 | -4.3441 | -5.1899 | -0.98881 | -65.8074 | 82.4354 | 122.3098 | 114.2032 | -97.513 | -57.7434 |  | 0.50687 | 1.266 | 1.211 | 0.33983 | 1.297 | 1.2217 | -22.3974 | -124.1482 | 128.6617 | -25.3967 | -124.0614 | 128.813
Line_1 | 2.5549 | 0.59731 | 0.41991 | 2.5572 | 0.59507 | 0.4175 | 29.5016 | 6.8972 | 4.8487 | 29.5279 | 6.8713 | 4.8209 | 9.9441e-11 | 8.3659 | -5.458 | 7.626 | -8.4988 | 4.9892 | -9.3483e-11 | -3.6111 | -3.6704 | 6.5219 | 2.6835 | 3.1303 | 114.0832 | -106.4529 | -83.3023 | -65.9345 | 73.4622 | 96.7077 |  | 0 | 1.3211 | 1.3565 | 0.33983 | 1.297 | 1.2217 | 0 | -129.8 | 130.6183 | -25.3967 | -124.0614 | 128.813
Line_2 | 0.85091 | 0.21132 | 0.29898 | 0.84913 | 0.20954 | 0.29778 | 9.8255 | 2.4402 | 3.4523 | 9.8049 | 2.4196 | 3.4385 | 3.9972 | 2.1874 | -3.1989 | -2.5217 | -1.8886 | 3.6141 | 3.1015 | -2.3576 | 2.0343 | -2.1778 | 2.5064 | -2.1415 | -66.2162 | -71.0377 | -20.792 | 113.7885 | 108.9401 | 159.4618 |  | 0.51492 | 1.318 | 1.0981 | 0.33983 | 1.297 | 1.2217 | -28.407 | -118.183 | 126.7538 | -25.3967 | -124.0614 | 128.813

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46637 | 0.21859 | 0.29872 | 0.46578 | 0.2189 | 0.29913 | 5.3852 | 2.524 | 3.4493 | 5.3784 | 2.5277 | 3.454 | 4.5676 | -3.0146 | 2.5809 | -4.3754 | 3.0669 | -2.6036 | 2.3805 | 0.1594 | -2.9997 | -2.1862 | -0.17781 | 3.0405 | -35.3068 | 62.524 | 172.8844 | 144.7225 | -117.3306 | -7.2097 |  | 0.95646 | 1.196 | 1.1472 | 0.90942 | 1.2154 | 1.1589 | -7.7798 | -120.5028 | 123.5924 | -8.728 | -120.6486 | 123.3647
Line_1 | 0.80928 | 0.19248 | 0.14505 | 0.81005 | 0.1919 | 0.14437 | 9.3448 | 2.2226 | 1.6749 | 9.3536 | 2.2159 | 1.667 | -6.073 | 2.703 | -1.8446 | 6.8934 | -2.6624 | 1.751 | -4.3248 | -0.52161 | 0.79918 | 4.9839 | 0.40541 | -0.8163 | 135.4275 | -111.8151 | -31.829 | -44.5946 | 68.0094 | 148.3594 |  | 0.79783 | 1.2386 | 1.2002 | 0.90942 | 1.2154 | 1.1589 | -9.1167 | -122.7373 | 124.7456 | -8.728 | -120.6486 | 123.3647
Line_2 | 0.35904 | 0.032974 | 0.17828 | 0.35844 | 0.033074 | 0.178 | 4.1459 | 0.38075 | 2.0587 | 4.1389 | 0.3819 | 2.0554 | 2.7358 | 0.39873 | -0.77427 | -2.518 | -0.40452 | 0.85264 | 2.9729 | 0.23318 | 2.1931 | -2.7977 | -0.2276 | -2.2242 | -56.7282 | -148.962 | 12.2153 | 123.2605 | 29.9871 | -167.6097 |  | 0.97449 | 1.2131 | 1.1298 | 0.90942 | 1.2154 | 1.1589 | -9.3503 | -118.6432 | 121.6604 | -8.728 | -120.6486 | 123.3647

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46637 | 0.21859 | 0.29872 | 0.46578 | 0.2189 | 0.29913 | 5.3852 | 2.524 | 3.4493 | 5.3784 | 2.5277 | 3.454 | 4.5676 | -3.0146 | 2.5809 | -4.3754 | 3.0669 | -2.6036 | 2.3805 | 0.1594 | -2.9997 | -2.1862 | -0.17781 | 3.0405 | -35.3068 | 62.524 | 172.8844 | 144.7225 | -117.3306 | -7.2097 |  | 0.95646 | 1.196 | 1.1472 | 0.90942 | 1.2154 | 1.1589 | -7.7798 | -120.5028 | 123.5924 | -8.728 | -120.6486 | 123.3647
Line_1 | 0.80928 | 0.19248 | 0.14505 | 0.81005 | 0.1919 | 0.14437 | 9.3448 | 2.2226 | 1.6749 | 9.3536 | 2.2159 | 1.667 | -6.073 | 2.703 | -1.8446 | 6.8934 | -2.6624 | 1.751 | -4.3248 | -0.52161 | 0.79918 | 4.9839 | 0.40541 | -0.8163 | 135.4275 | -111.8151 | -31.829 | -44.5946 | 68.0094 | 148.3594 |  | 0.79783 | 1.2386 | 1.2002 | 0.90942 | 1.2154 | 1.1589 | -9.1167 | -122.7373 | 124.7456 | -8.728 | -120.6486 | 123.3647
Line_2 | 0.35904 | 0.032974 | 0.17828 | 0.35844 | 0.033074 | 0.178 | 4.1459 | 0.38075 | 2.0587 | 4.1389 | 0.3819 | 2.0554 | 2.7358 | 0.39873 | -0.77427 | -2.518 | -0.40452 | 0.85264 | 2.9729 | 0.23318 | 2.1931 | -2.7977 | -0.2276 | -2.2242 | -56.7282 | -148.962 | 12.2153 | 123.2605 | 29.9871 | -167.6097 |  | 0.97449 | 1.2131 | 1.1298 | 0.90942 | 1.2154 | 1.1589 | -9.3503 | -118.6432 | 121.6604 | -8.728 | -120.6486 | 123.3647

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4173 | 0.64065 | 0.53308 | 1.4161 | 0.64189 | 0.53432 | 16.3654 | 7.3976 | 6.1554 | 16.3512 | 7.4119 | 6.1698 | 8.0175 | -5.105 | 6.0879 | -5.3387 | 5.3103 | -6.0285 | 5.7228 | 6.0383 | 1.1828 | -3.7783 | -6.2122 | -1.3343 | -57.9013 | 108.4761 | 114.2029 | 122.1057 | -71.513 | -65.7973 |  | 0.60191 | 1.0689 | 1.0075 | 0.4 | 1.1026 | 1.0007 | -22.3826 | -121.3113 | 125.1977 | -22.6068 | -120.9887 | 126.6829
Line_1 | 1.9287 | 0.56497 | 0.49214 | 1.9304 | 0.56307 | 0.49023 | 22.2707 | 6.5237 | 5.6828 | 22.2909 | 6.5018 | 5.6607 | -4.2583e-11 | 5.8857 | -5.0432 | 7.4388 | -6.0432 | 4.783 | 4.9462e-12 | -4.9392 | -3.974 | 4.9158 | 3.8568 | 3.0355 | 123.9585 | -88.4151 | -85.6971 | -56.065 | 91.5578 | 94.2823 |  | 0 | 1.1778 | 1.1299 | 0.4 | 1.1026 | 1.0007 | 0 | -128.4181 | 132.5409 | -22.6068 | -120.9887 | 126.6829
Line_2 | 0.51821 | 0.19459 | 0.18309 | 0.5171 | 0.19374 | 0.18245 | 5.9838 | 2.2469 | 2.1142 | 5.9709 | 2.2372 | 2.1068 | 3.1611 | -0.3642 | -0.94222 | -2.1001 | 0.7329 | 1.2455 | 1.6917 | -2.4072 | 1.5902 | -1.1375 | 2.3554 | -1.7012 | -51.058 | -13.9211 | 0.18644 | 128.9502 | 166.2954 | -179.526 |  | 0.59917 | 1.0835 | 0.87429 | 0.4 | 1.1026 | 1.0007 | -22.9049 | -112.5244 | 120.8336 | -22.6068 | -120.9887 | 126.6829

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.4173 | 0.64065 | 0.53308 | 1.4161 | 0.64189 | 0.53432 | 16.3654 | 7.3976 | 6.1554 | 16.3512 | 7.4119 | 6.1698 | 8.0175 | -5.105 | 6.0879 | -5.3387 | 5.3103 | -6.0285 | 5.7228 | 6.0383 | 1.1828 | -3.7783 | -6.2122 | -1.3343 | -57.9013 | 108.4761 | 114.2029 | 122.1057 | -71.513 | -65.7973 |  | 0.60191 | 1.0689 | 1.0075 | 0.4 | 1.1026 | 1.0007 | -22.3826 | -121.3113 | 125.1977 | -22.6068 | -120.9887 | 126.6829
Line_1 | 1.9287 | 0.56497 | 0.49214 | 1.9304 | 0.56307 | 0.49023 | 22.2707 | 6.5237 | 5.6828 | 22.2909 | 6.5018 | 5.6607 | -4.2583e-11 | 5.8857 | -5.0432 | 7.4388 | -6.0432 | 4.783 | 4.9462e-12 | -4.9392 | -3.974 | 4.9158 | 3.8568 | 3.0355 | 123.9585 | -88.4151 | -85.6971 | -56.065 | 91.5578 | 94.2823 |  | 0 | 1.1778 | 1.1299 | 0.4 | 1.1026 | 1.0007 | 0 | -128.4181 | 132.5409 | -22.6068 | -120.9887 | 126.6829
Line_2 | 0.51821 | 0.19459 | 0.18309 | 0.5171 | 0.19374 | 0.18245 | 5.9838 | 2.2469 | 2.1142 | 5.9709 | 2.2372 | 2.1068 | 3.1611 | -0.3642 | -0.94222 | -2.1001 | 0.7329 | 1.2455 | 1.6917 | -2.4072 | 1.5902 | -1.1375 | 2.3554 | -1.7012 | -51.058 | -13.9211 | 0.18644 | 128.9502 | 166.2954 | -179.526 |  | 0.59917 | 1.0835 | 0.87429 | 0.4 | 1.1026 | 1.0007 | -22.9049 | -112.5244 | 120.8336 | -22.6068 | -120.9887 | 126.6829

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51471 | 0.23266 | 0.19359 | 0.51426 | 0.23311 | 0.19405 | 5.9433 | 2.6865 | 2.2354 | 5.9381 | 2.6917 | 2.2406 | 4.1993 | -1.2643 | 2.2073 | -3.8436 | 1.2922 | -2.2027 | 3.0408 | 2.4503 | -0.24842 | -2.782 | -2.4766 | 0.22938 | -43.8115 | 122.5659 | 128.2928 | 136.1955 | -57.4232 | -51.7075 |  | 0.87235 | 1.0263 | 0.99365 | 0.79902 | 1.0378 | 0.9884 | -7.9025 | -120.1424 | 121.8714 | -7.9074 | -119.8698 | 122.3475
Line_1 | 0.70043 | 0.20518 | 0.17873 | 0.70107 | 0.20449 | 0.17803 | 8.0879 | 2.3692 | 2.0638 | 8.0952 | 2.3612 | 2.0558 | -4.3743 | 1.6987 | -2.0113 | 5.3582 | -1.717 | 1.9718 | -2.9705 | -1.8956 | -0.61438 | 3.6233 | 1.7483 | 0.49072 | 138.0484 | -74.3252 | -71.6073 | -41.9751 | 105.6476 | 108.3721 |  | 0.65377 | 1.0744 | 1.019 | 0.79902 | 1.0378 | 0.9884 | -7.772 | -122.4612 | 125.3783 | -7.9074 | -119.8698 | 122.3475
Line_2 | 0.1882 | 0.070667 | 0.066492 | 0.18779 | 0.070361 | 0.066261 | 2.1731 | 0.81599 | 0.76779 | 2.1684 | 0.81245 | 0.76511 | 1.6571 | -0.37603 | -0.19371 | -1.5146 | 0.42482 | 0.23097 | 0.91613 | -0.7382 | 0.70686 | -0.84138 | 0.7283 | -0.7201 | -36.9682 | 0.16878 | 14.2763 | 143.04 | -179.6147 | -165.4361 |  | 0.87134 | 1.0153 | 0.95459 | 0.79902 | 1.0378 | 0.9884 | -8.0324 | -116.8253 | 119.6014 | -7.9074 | -119.8698 | 122.3475

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51471 | 0.23266 | 0.19359 | 0.51426 | 0.23311 | 0.19405 | 5.9433 | 2.6865 | 2.2354 | 5.9381 | 2.6917 | 2.2406 | 4.1993 | -1.2643 | 2.2073 | -3.8436 | 1.2922 | -2.2027 | 3.0408 | 2.4503 | -0.24842 | -2.782 | -2.4766 | 0.22938 | -43.8115 | 122.5659 | 128.2928 | 136.1955 | -57.4232 | -51.7075 |  | 0.87235 | 1.0263 | 0.99365 | 0.79902 | 1.0378 | 0.9884 | -7.9025 | -120.1424 | 121.8714 | -7.9074 | -119.8698 | 122.3475
Line_1 | 0.70043 | 0.20518 | 0.17873 | 0.70107 | 0.20449 | 0.17803 | 8.0879 | 2.3692 | 2.0638 | 8.0952 | 2.3612 | 2.0558 | -4.3743 | 1.6987 | -2.0113 | 5.3582 | -1.717 | 1.9718 | -2.9705 | -1.8956 | -0.61438 | 3.6233 | 1.7483 | 0.49072 | 138.0484 | -74.3252 | -71.6073 | -41.9751 | 105.6476 | 108.3721 |  | 0.65377 | 1.0744 | 1.019 | 0.79902 | 1.0378 | 0.9884 | -7.772 | -122.4612 | 125.3783 | -7.9074 | -119.8698 | 122.3475
Line_2 | 0.1882 | 0.070667 | 0.066492 | 0.18779 | 0.070361 | 0.066261 | 2.1731 | 0.81599 | 0.76779 | 2.1684 | 0.81245 | 0.76511 | 1.6571 | -0.37603 | -0.19371 | -1.5146 | 0.42482 | 0.23097 | 0.91613 | -0.7382 | 0.70686 | -0.84138 | 0.7283 | -0.7201 | -36.9682 | 0.16878 | 14.2763 | 143.04 | -179.6147 | -165.4361 |  | 0.87134 | 1.0153 | 0.95459 | 0.79902 | 1.0378 | 0.9884 | -8.0324 | -116.8253 | 119.6014 | -7.9074 | -119.8698 | 122.3475

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36603 | 2.9452 | 2.8322 | 0.36736 | 2.9451 | 2.832 | 4.2266 | 34.0084 | 32.7033 | 4.2419 | 34.0072 | 32.7006 | -1.5407 | 15.6691 | 4.9743 | 1.6072 | -9.8424 | -1.9016 | 5.2173 | 7.0695 | 15.673 | -5.3417 | -2.565 | -10.0809 | -102.6468 | -166.9089 | 25.8452 | 77.4705 | 13.1208 | -154.1854 |  | 1.2871 | 0.50546 | 0.50281 | 1.315 | 0.29909 | 0.31371 | 3.8058 | -142.6251 | 98.2368 | 4.2156 | -152.2722 | 105.132
Line_1 | 0.35048 | 3.7736 | 3.4257 | 0.34882 | 3.7737 | 3.4265 | 4.047 | 43.5742 | 39.5561 | 4.0278 | 43.5744 | 39.5658 | 2.6358 | 8.2339e-11 | 9.8073e-11 | -2.6321 | 12.1719 | 3.6628 | -5.1145 | -7.5821e-11 | -1.5288e-11 | 4.5963 | 4.6573 | 11.8596 | 64.5945 | 6.8198 | -147.7351 | -115.5817 | -173.2103 | 32.295 |  | 1.4217 | 0 | 0 | 1.315 | 0.29909 | 0.31371 | 1.8595 | 0 | 0 | 4.2156 | -152.2722 | 105.132
Line_2 | 0.084675 | 0.90757 | 0.69187 | 0.083458 | 0.90666 | 0.691 | 0.97774 | 10.4797 | 7.989 | 0.96369 | 10.4693 | 7.979 | -0.93133 | 3.7078 | 2.1492 | 1.0249 | -2.3296 | -1.7611 | -0.77458 | 2.1323 | 2.851 | 0.74537 | -2.0923 | -1.7788 | 147.629 | 165.727 | 59.9449 | -31.8117 | -14.2001 | -120.1535 |  | 1.2389 | 0.40814 | 0.44691 | 1.315 | 0.29909 | 0.31371 | 7.3791 | -164.3711 | 112.9353 | 4.2156 | -152.2722 | 105.132

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36603 | 2.9452 | 2.8322 | 0.36736 | 2.9451 | 2.832 | 4.2266 | 34.0084 | 32.7033 | 4.2419 | 34.0072 | 32.7006 | -1.5407 | 15.6691 | 4.9743 | 1.6072 | -9.8424 | -1.9016 | 5.2173 | 7.0695 | 15.673 | -5.3417 | -2.565 | -10.0809 | -102.6468 | -166.9089 | 25.8452 | 77.4705 | 13.1208 | -154.1854 |  | 1.2871 | 0.50546 | 0.50281 | 1.315 | 0.29909 | 0.31371 | 3.8058 | -142.6251 | 98.2368 | 4.2156 | -152.2722 | 105.132
Line_1 | 0.35048 | 3.7736 | 3.4257 | 0.34882 | 3.7737 | 3.4265 | 4.047 | 43.5742 | 39.5561 | 4.0278 | 43.5744 | 39.5658 | 2.6358 | 8.2339e-11 | 9.8073e-11 | -2.6321 | 12.1719 | 3.6628 | -5.1145 | -7.5821e-11 | -1.5288e-11 | 4.5963 | 4.6573 | 11.8596 | 64.5945 | 6.8198 | -147.7351 | -115.5817 | -173.2103 | 32.295 |  | 1.4217 | 0 | 0 | 1.315 | 0.29909 | 0.31371 | 1.8595 | 0 | 0 | 4.2156 | -152.2722 | 105.132
Line_2 | 0.084675 | 0.90757 | 0.69187 | 0.083458 | 0.90666 | 0.691 | 0.97774 | 10.4797 | 7.989 | 0.96369 | 10.4693 | 7.979 | -0.93133 | 3.7078 | 2.1492 | 1.0249 | -2.3296 | -1.7611 | -0.77458 | 2.1323 | 2.851 | 0.74537 | -2.0923 | -1.7788 | 147.629 | 165.727 | 59.9449 | -31.8117 | -14.2001 | -120.1535 |  | 1.2389 | 0.40814 | 0.44691 | 1.315 | 0.29909 | 0.31371 | 7.3791 | -164.3711 | 112.9353 | 4.2156 | -152.2722 | 105.132

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012673 | 0.73996 | 0.63609 | 0.01258 | 0.74004 | 0.63589 | 0.14634 | 8.5443 | 7.345 | 0.14526 | 8.5453 | 7.3426 | 0.13315 | 7.9253 | 3.7811 | -0.13907 | -7.5295 | -3.6435 | -0.11253 | 2.0747 | 6.2208 | 0.10698 | -1.8311 | -5.8905 | 42.5605 | -139.7904 | 52.8168 | -140.1013 | 40.2551 | -127.2333 |  | 1.1913 | 0.95881 | 0.99112 | 1.2078 | 0.9068 | 0.9433 | 2.3575 | -125.1207 | 111.525 | 2.3294 | -126.0764 | 111.0283
Line_1 | 0.066782 | 1.0197 | 0.91371 | 0.066263 | 1.0197 | 0.91416 | 0.77114 | 11.7745 | 10.5506 | 0.76514 | 11.7741 | 10.5559 | 0.43232 | -8.3048 | -5.8458 | -0.42741 | 9.3231 | 6.1414 | -0.86805 | -4.9989 | -6.7945 | 0.81941 | 5.2034 | 7.8379 | 65.2728 | 24.8003 | -120.9297 | -115.2175 | -155.243 | 59.1091 |  | 1.2576 | 0.82324 | 0.84954 | 1.2078 | 0.9068 | 0.9433 | 1.7475 | -124.1548 | 108.3623 | 2.3294 | -126.0764 | 111.0283
Line_2 | 0.077648 | 0.3652 | 0.2911 | 0.077856 | 0.36478 | 0.29078 | 0.8966 | 4.217 | 3.3613 | 0.899 | 4.2121 | 3.3577 | -0.56495 | 2.0193 | 2.5649 | 0.56648 | -1.7936 | -2.4979 | 0.8888 | 3.411 | 2.1253 | -0.92638 | -3.3723 | -1.9474 | -119.5069 | 171.8705 | 73.1818 | 60.8839 | -8.069 | -106.9114 |  | 1.1746 | 0.93997 | 0.99098 | 1.2078 | 0.9068 | 0.9433 | 2.9344 | -128.7549 | 112.8264 | 2.3294 | -126.0764 | 111.0283

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.012673 | 0.73996 | 0.63609 | 0.01258 | 0.74004 | 0.63589 | 0.14634 | 8.5443 | 7.345 | 0.14526 | 8.5453 | 7.3426 | 0.13315 | 7.9253 | 3.7811 | -0.13907 | -7.5295 | -3.6435 | -0.11253 | 2.0747 | 6.2208 | 0.10698 | -1.8311 | -5.8905 | 42.5605 | -139.7904 | 52.8168 | -140.1013 | 40.2551 | -127.2333 |  | 1.1913 | 0.95881 | 0.99112 | 1.2078 | 0.9068 | 0.9433 | 2.3575 | -125.1207 | 111.525 | 2.3294 | -126.0764 | 111.0283
Line_1 | 0.066782 | 1.0197 | 0.91371 | 0.066263 | 1.0197 | 0.91416 | 0.77114 | 11.7745 | 10.5506 | 0.76514 | 11.7741 | 10.5559 | 0.43232 | -8.3048 | -5.8458 | -0.42741 | 9.3231 | 6.1414 | -0.86805 | -4.9989 | -6.7945 | 0.81941 | 5.2034 | 7.8379 | 65.2728 | 24.8003 | -120.9297 | -115.2175 | -155.243 | 59.1091 |  | 1.2576 | 0.82324 | 0.84954 | 1.2078 | 0.9068 | 0.9433 | 1.7475 | -124.1548 | 108.3623 | 2.3294 | -126.0764 | 111.0283
Line_2 | 0.077648 | 0.3652 | 0.2911 | 0.077856 | 0.36478 | 0.29078 | 0.8966 | 4.217 | 3.3613 | 0.899 | 4.2121 | 3.3577 | -0.56495 | 2.0193 | 2.5649 | 0.56648 | -1.7936 | -2.4979 | 0.8888 | 3.411 | 2.1253 | -0.92638 | -3.3723 | -1.9474 | -119.5069 | 171.8705 | 73.1818 | 60.8839 | -8.069 | -106.9114 |  | 1.1746 | 0.93997 | 0.99098 | 1.2078 | 0.9068 | 0.9433 | 2.9344 | -128.7549 | 112.8264 | 2.3294 | -126.0764 | 111.0283

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44144 | 2.2989 | 2.3225 | 0.4424 | 2.2989 | 2.3222 | 5.0973 | 26.5455 | 26.8179 | 5.1084 | 26.5456 | 26.8147 | 0.060413 | 16.6273 | 8.2446 | 0.069384 | -10.2369 | -3.7436 | 5.4084 | 2.6004 | 12.2116 | -5.5564 | -0.22917 | -8.0031 | -85.7694 | -155.3407 | 39.7978 | 94.2757 | 24.6847 | -140.2264 |  | 1.0611 | 0.63398 | 0.54942 | 1.0878 | 0.38573 | 0.3295 | 3.5906 | -146.4519 | 95.7728 | 4.9911 | -154.0329 | 104.705
Line_1 | 0.41941 | 2.9254 | 2.7078 | 0.41792 | 2.9251 | 2.7086 | 4.8429 | 33.7791 | 31.2665 | 4.8257 | 33.7759 | 31.2766 | 1.2817 | -1.027e-10 | -4.3948e-11 | -1.2641 | 12.9535 | 4.9193 | -5.8177 | -6.2576e-11 | -1.0343e-10 | 5.0948 | 1.3944 | 9.0557 | 81.1258 | 19.8534 | -136.8106 | -98.9428 | -160.177 | 43.2172 |  | 1.2301 | 0 | 0 | 1.0878 | 0.38573 | 0.3295 | 3.5506 | 0 | 0 | 4.9911 | -154.0329 | 104.705
Line_2 | 0.10268 | 0.66417 | 0.41518 | 0.10196 | 0.66368 | 0.41476 | 1.1857 | 7.6692 | 4.7941 | 1.1774 | 7.6635 | 4.7892 | -1.048 | 3.9825 | 1.3254 | 1.1947 | -2.7167 | -1.1757 | -0.48527 | 1.0064 | 1.7319 | 0.46152 | -1.1653 | -1.0525 | 163.5491 | -177.3154 | 62.9814 | -16.1314 | 2.7513 | -117.1308 |  | 0.97409 | 0.53561 | 0.45491 | 1.0878 | 0.38573 | 0.3295 | 8.3943 | -163.1335 | 115.5551 | 4.9911 | -154.0329 | 104.705

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44144 | 2.2989 | 2.3225 | 0.4424 | 2.2989 | 2.3222 | 5.0973 | 26.5455 | 26.8179 | 5.1084 | 26.5456 | 26.8147 | 0.060413 | 16.6273 | 8.2446 | 0.069384 | -10.2369 | -3.7436 | 5.4084 | 2.6004 | 12.2116 | -5.5564 | -0.22917 | -8.0031 | -85.7694 | -155.3407 | 39.7978 | 94.2757 | 24.6847 | -140.2264 |  | 1.0611 | 0.63398 | 0.54942 | 1.0878 | 0.38573 | 0.3295 | 3.5906 | -146.4519 | 95.7728 | 4.9911 | -154.0329 | 104.705
Line_1 | 0.41941 | 2.9254 | 2.7078 | 0.41792 | 2.9251 | 2.7086 | 4.8429 | 33.7791 | 31.2665 | 4.8257 | 33.7759 | 31.2766 | 1.2817 | -1.027e-10 | -4.3948e-11 | -1.2641 | 12.9535 | 4.9193 | -5.8177 | -6.2576e-11 | -1.0343e-10 | 5.0948 | 1.3944 | 9.0557 | 81.1258 | 19.8534 | -136.8106 | -98.9428 | -160.177 | 43.2172 |  | 1.2301 | 0 | 0 | 1.0878 | 0.38573 | 0.3295 | 3.5506 | 0 | 0 | 4.9911 | -154.0329 | 104.705
Line_2 | 0.10268 | 0.66417 | 0.41518 | 0.10196 | 0.66368 | 0.41476 | 1.1857 | 7.6692 | 4.7941 | 1.1774 | 7.6635 | 4.7892 | -1.048 | 3.9825 | 1.3254 | 1.1947 | -2.7167 | -1.1757 | -0.48527 | 1.0064 | 1.7319 | 0.46152 | -1.1653 | -1.0525 | 163.5491 | -177.3154 | 62.9814 | -16.1314 | 2.7513 | -117.1308 |  | 0.97409 | 0.53561 | 0.45491 | 1.0878 | 0.38573 | 0.3295 | 8.3943 | -163.1335 | 115.5551 | 4.9911 | -154.0329 | 104.705

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18384 | 0.69271 | 0.68902 | 0.18425 | 0.69269 | 0.68888 | 2.1228 | 7.9987 | 7.9561 | 2.1275 | 7.9985 | 7.9545 | 0.74961 | 6.5949 | 3.91 | -0.73267 | -5.9742 | -3.5331 | 2.0277 | 2.3054 | 5.8495 | -2.0536 | -2.1034 | -5.4397 | -68.1033 | -145.903 | 55.699 | 111.9304 | 34.1315 | -124.334 |  | 1.0184 | 0.87342 | 0.88435 | 1.0249 | 0.79186 | 0.81544 | 1.6082 | -126.6346 | 111.939 | 2.2957 | -126.472 | 112.6619
Line_1 | 0.17286 | 0.89911 | 0.80439 | 0.17224 | 0.89904 | 0.80479 | 1.996 | 10.382 | 9.2883 | 1.9888 | 10.3812 | 9.293 | -0.17862 | -6.0551 | -4.2812 | 0.17155 | 7.4464 | 4.691 | -2.1552 | -3.4209 | -4.9703 | 2.031 | 3.4822 | 5.9513 | 97.1799 | 28.5066 | -119.1275 | -82.8764 | -151.5343 | 60.9085 |  | 1.0835 | 0.66988 | 0.70626 | 1.0249 | 0.79186 | 0.81544 | 2.442 | -122.0285 | 110.1321 | 2.2957 | -126.472 | 112.6619
Line_2 | 0.047733 | 0.22083 | 0.13469 | 0.047453 | 0.2206 | 0.13444 | 0.55118 | 2.5499 | 1.5552 | 0.54794 | 2.5473 | 1.5524 | -0.53526 | 1.6377 | 1.1935 | 0.56112 | -1.4723 | -1.1579 | -0.029767 | 1.3635 | 0.59649 | 0.022584 | -1.3788 | -0.51157 | 179.6887 | -169.6708 | 88.9464 | -0.0090918 | 10.4066 | -91.1746 |  | 0.97261 | 0.83571 | 0.85793 | 1.0249 | 0.79186 | 0.81544 | 2.8718 | -129.8923 | 115.5014 | 2.2957 | -126.472 | 112.6619

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18384 | 0.69271 | 0.68902 | 0.18425 | 0.69269 | 0.68888 | 2.1228 | 7.9987 | 7.9561 | 2.1275 | 7.9985 | 7.9545 | 0.74961 | 6.5949 | 3.91 | -0.73267 | -5.9742 | -3.5331 | 2.0277 | 2.3054 | 5.8495 | -2.0536 | -2.1034 | -5.4397 | -68.1033 | -145.903 | 55.699 | 111.9304 | 34.1315 | -124.334 |  | 1.0184 | 0.87342 | 0.88435 | 1.0249 | 0.79186 | 0.81544 | 1.6082 | -126.6346 | 111.939 | 2.2957 | -126.472 | 112.6619
Line_1 | 0.17286 | 0.89911 | 0.80439 | 0.17224 | 0.89904 | 0.80479 | 1.996 | 10.382 | 9.2883 | 1.9888 | 10.3812 | 9.293 | -0.17862 | -6.0551 | -4.2812 | 0.17155 | 7.4464 | 4.691 | -2.1552 | -3.4209 | -4.9703 | 2.031 | 3.4822 | 5.9513 | 97.1799 | 28.5066 | -119.1275 | -82.8764 | -151.5343 | 60.9085 |  | 1.0835 | 0.66988 | 0.70626 | 1.0249 | 0.79186 | 0.81544 | 2.442 | -122.0285 | 110.1321 | 2.2957 | -126.472 | 112.6619
Line_2 | 0.047733 | 0.22083 | 0.13469 | 0.047453 | 0.2206 | 0.13444 | 0.55118 | 2.5499 | 1.5552 | 0.54794 | 2.5473 | 1.5524 | -0.53526 | 1.6377 | 1.1935 | 0.56112 | -1.4723 | -1.1579 | -0.029767 | 1.3635 | 0.59649 | 0.022584 | -1.3788 | -0.51157 | 179.6887 | -169.6708 | 88.9464 | -0.0090918 | 10.4066 | -91.1746 |  | 0.97261 | 0.83571 | 0.85793 | 1.0249 | 0.79186 | 0.81544 | 2.8718 | -129.8923 | 115.5014 | 2.2957 | -126.472 | 112.6619