## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.767 | 0.69527 | 0.81012 | 1.7698 | 0.69831 | 0.81222 | 20.404 | 8.0282 | 9.3545 | 20.436 | 8.0633 | 9.3787 | 7.0793e-11 | -3.4199 | 15.9018 | 7.5887 | 5.856 | -12.7307 | -7.5285e-11 | 10.7896 | -0.54651 | 3.7538 | -9.3337 | 0.82136 | 117.4187 | 105.8256 | 136.6311 | -62.6332 | -74.2573 | -43.54 |  | 0 | 1.4098 | 1.7009 | 0.41429 | 1.3665 | 1.3602 | 0 | -146.5876 | 134.6627 | -36.3136 | -132.1531 | 132.7685
Line_1 | 0.88712 | 0.3514 | 0.4081 | 0.8849 | 0.34915 | 0.40611 | 10.2436 | 4.0576 | 4.7123 | 10.218 | 4.0317 | 4.6894 | 5.7114 | 3.5532 | -5.5873 | -3.7944 | -2.928 | 6.3653 | 2.8251 | -4.3203 | 0.47818 | -1.8769 | 4.6668 | -0.41068 | -62.6553 | -74.2391 | -43.6873 | 117.3668 | 105.7427 | 136.46 |  | 0.62204 | 1.3786 | 1.19 | 0.41429 | 1.3665 | 1.3602 | -36.3363 | -124.8039 | 131.4211 | -36.3136 | -132.1531 | 132.7685
Line_2 | 0.88712 | 0.3514 | 0.4081 | 0.8849 | 0.34915 | 0.40611 | 10.2436 | 4.0576 | 4.7123 | 10.218 | 4.0317 | 4.6894 | 5.7114 | 3.5532 | -5.5873 | -3.7944 | -2.928 | 6.3653 | 2.8251 | -4.3203 | 0.47818 | -1.8769 | 4.6668 | -0.41068 | -62.6553 | -74.2391 | -43.6873 | 117.3668 | 105.7427 | 136.46 |  | 0.62204 | 1.3786 | 1.19 | 0.41429 | 1.3665 | 1.3602 | -36.3363 | -124.8039 | 131.4211 | -36.3136 | -132.1531 | 132.7685

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.767 | 0.69527 | 0.81012 | 1.7698 | 0.69831 | 0.81222 | 20.404 | 8.0282 | 9.3545 | 20.436 | 8.0633 | 9.3787 | 7.0793e-11 | -3.4199 | 15.9018 | 7.5887 | 5.856 | -12.7307 | -7.5285e-11 | 10.7896 | -0.54651 | 3.7538 | -9.3337 | 0.82136 | 117.4187 | 105.8256 | 136.6311 | -62.6332 | -74.2573 | -43.54 |  | 0 | 1.4098 | 1.7009 | 0.41429 | 1.3665 | 1.3602 | 0 | -146.5876 | 134.6627 | -36.3136 | -132.1531 | 132.7685
Line_1 | 0.88712 | 0.3514 | 0.4081 | 0.8849 | 0.34915 | 0.40611 | 10.2436 | 4.0576 | 4.7123 | 10.218 | 4.0317 | 4.6894 | 5.7114 | 3.5532 | -5.5873 | -3.7944 | -2.928 | 6.3653 | 2.8251 | -4.3203 | 0.47818 | -1.8769 | 4.6668 | -0.41068 | -62.6553 | -74.2391 | -43.6873 | 117.3668 | 105.7427 | 136.46 |  | 0.62204 | 1.3786 | 1.19 | 0.41429 | 1.3665 | 1.3602 | -36.3363 | -124.8039 | 131.4211 | -36.3136 | -132.1531 | 132.7685
Line_2 | 0.88712 | 0.3514 | 0.4081 | 0.8849 | 0.34915 | 0.40611 | 10.2436 | 4.0576 | 4.7123 | 10.218 | 4.0317 | 4.6894 | 5.7114 | 3.5532 | -5.5873 | -3.7944 | -2.928 | 6.3653 | 2.8251 | -4.3203 | 0.47818 | -1.8769 | 4.6668 | -0.41068 | -62.6553 | -74.2391 | -43.6873 | 117.3668 | 105.7427 | 136.46 |  | 0.62204 | 1.3786 | 1.19 | 0.41429 | 1.3665 | 1.3602 | -36.3363 | -124.8039 | 131.4211 | -36.3136 | -132.1531 | 132.7685

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73804 | 0.12541 | 0.39134 | 0.73908 | 0.12646 | 0.39173 | 8.5222 | 1.4481 | 4.5188 | 8.5341 | 1.4602 | 4.5233 | -3.9377 | -1.573 | 4.4242 | 5.0358 | 1.6526 | -3.9134 | -5.1862 | 0.89394 | -3.8533 | 5.919 | -0.75413 | 3.7582 | 120.9381 | 80.1396 | 169.11 | -59.0933 | -99.6933 | -11.0421 |  | 0.76409 | 1.2494 | 1.2984 | 0.91062 | 1.244 | 1.1995 | -6.2697 | -129.4696 | 128.0551 | -9.4843 | -124.2219 | 125.1174
Line_1 | 0.37032 | 0.063824 | 0.19638 | 0.36954 | 0.06323 | 0.19586 | 4.276 | 0.73698 | 2.2676 | 4.2671 | 0.73012 | 2.2616 | 2.7986 | 0.84887 | -1.8353 | -2.5179 | -0.8263 | 1.9567 | 3.1472 | -0.34886 | 1.8565 | -2.9595 | 0.37707 | -1.8791 | -59.0937 | -99.2407 | -11.2114 | 120.9067 | 80.3067 | 168.9579 |  | 0.9849 | 1.2453 | 1.1512 | 0.91062 | 1.244 | 1.1995 | -10.7385 | -121.5821 | 123.4597 | -9.4843 | -124.2219 | 125.1174
Line_2 | 0.37032 | 0.063824 | 0.19638 | 0.36954 | 0.06323 | 0.19586 | 4.276 | 0.73698 | 2.2676 | 4.2671 | 0.73012 | 2.2616 | 2.7986 | 0.84887 | -1.8353 | -2.5179 | -0.8263 | 1.9567 | 3.1472 | -0.34886 | 1.8565 | -2.9595 | 0.37707 | -1.8791 | -59.0937 | -99.2407 | -11.2114 | 120.9067 | 80.3067 | 168.9579 |  | 0.9849 | 1.2453 | 1.1512 | 0.91062 | 1.244 | 1.1995 | -10.7385 | -121.5821 | 123.4597 | -9.4843 | -124.2219 | 125.1174

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73804 | 0.12541 | 0.39134 | 0.73908 | 0.12646 | 0.39173 | 8.5222 | 1.4481 | 4.5188 | 8.5341 | 1.4602 | 4.5233 | -3.9377 | -1.573 | 4.4242 | 5.0358 | 1.6526 | -3.9134 | -5.1862 | 0.89394 | -3.8533 | 5.919 | -0.75413 | 3.7582 | 120.9381 | 80.1396 | 169.11 | -59.0933 | -99.6933 | -11.0421 |  | 0.76409 | 1.2494 | 1.2984 | 0.91062 | 1.244 | 1.1995 | -6.2697 | -129.4696 | 128.0551 | -9.4843 | -124.2219 | 125.1174
Line_1 | 0.37032 | 0.063824 | 0.19638 | 0.36954 | 0.06323 | 0.19586 | 4.276 | 0.73698 | 2.2676 | 4.2671 | 0.73012 | 2.2616 | 2.7986 | 0.84887 | -1.8353 | -2.5179 | -0.8263 | 1.9567 | 3.1472 | -0.34886 | 1.8565 | -2.9595 | 0.37707 | -1.8791 | -59.0937 | -99.2407 | -11.2114 | 120.9067 | 80.3067 | 168.9579 |  | 0.9849 | 1.2453 | 1.1512 | 0.91062 | 1.244 | 1.1995 | -10.7385 | -121.5821 | 123.4597 | -9.4843 | -124.2219 | 125.1174
Line_2 | 0.37032 | 0.063824 | 0.19638 | 0.36954 | 0.06323 | 0.19586 | 4.276 | 0.73698 | 2.2676 | 4.2671 | 0.73012 | 2.2616 | 2.7986 | 0.84887 | -1.8353 | -2.5179 | -0.8263 | 1.9567 | 3.1472 | -0.34886 | 1.8565 | -2.9595 | 0.37707 | -1.8791 | -59.0937 | -99.2407 | -11.2114 | 120.9067 | 80.3067 | 168.9579 |  | 0.9849 | 1.2453 | 1.1512 | 0.91062 | 1.244 | 1.1995 | -10.7385 | -121.5821 | 123.4597 | -9.4843 | -124.2219 | 125.1174

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1044 | 0.58931 | 0.52185 | 1.1061 | 0.59113 | 0.52361 | 12.7528 | 6.8047 | 6.0258 | 12.7721 | 6.8258 | 6.0461 | -2.3282e-11 | 2.7044 | 9.6734 | 6.222 | 0.31324 | -7.0789 | 6.0442e-12 | 8.5032 | -0.14941 | 1.3092 | -7.8416 | 0.6432 | 139.682 | 135.9459 | 137.5022 | -40.4373 | -44.2664 | -42.7428 |  | 0 | 1.3113 | 1.6055 | 0.49782 | 1.1497 | 1.1756 | 0 | -151.6971 | 136.6173 | -28.5551 | -131.9788 | 132.0654
Line_1 | 0.55442 | 0.29698 | 0.2632 | 0.55305 | 0.29557 | 0.2618 | 6.4019 | 3.4292 | 3.0392 | 6.3861 | 3.4129 | 3.0231 | 4.6821 | 0.91881 | -2.8964 | -3.111 | -0.15662 | 3.5394 | 0.98685 | -3.7639 | 0.45059 | -0.65458 | 3.9208 | -0.3216 | -40.4997 | -44.3649 | -42.862 | 139.5627 | 135.7336 | 137.2572 |  | 0.74743 | 1.1298 | 0.96447 | 0.49782 | 1.1497 | 1.1756 | -28.5975 | -120.6465 | 128.2953 | -28.5551 | -131.9788 | 132.0654
Line_2 | 0.55442 | 0.29698 | 0.2632 | 0.55305 | 0.29557 | 0.2618 | 6.4019 | 3.4292 | 3.0392 | 6.3861 | 3.4129 | 3.0231 | 4.6821 | 0.91881 | -2.8964 | -3.111 | -0.15662 | 3.5394 | 0.98685 | -3.7639 | 0.45059 | -0.65458 | 3.9208 | -0.3216 | -40.4997 | -44.3649 | -42.862 | 139.5627 | 135.7336 | 137.2572 |  | 0.74743 | 1.1298 | 0.96447 | 0.49782 | 1.1497 | 1.1756 | -28.5975 | -120.6465 | 128.2953 | -28.5551 | -131.9788 | 132.0654

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1044 | 0.58931 | 0.52185 | 1.1061 | 0.59113 | 0.52361 | 12.7528 | 6.8047 | 6.0258 | 12.7721 | 6.8258 | 6.0461 | -2.3282e-11 | 2.7044 | 9.6734 | 6.222 | 0.31324 | -7.0789 | 6.0442e-12 | 8.5032 | -0.14941 | 1.3092 | -7.8416 | 0.6432 | 139.682 | 135.9459 | 137.5022 | -40.4373 | -44.2664 | -42.7428 |  | 0 | 1.3113 | 1.6055 | 0.49782 | 1.1497 | 1.1756 | 0 | -151.6971 | 136.6173 | -28.5551 | -131.9788 | 132.0654
Line_1 | 0.55442 | 0.29698 | 0.2632 | 0.55305 | 0.29557 | 0.2618 | 6.4019 | 3.4292 | 3.0392 | 6.3861 | 3.4129 | 3.0231 | 4.6821 | 0.91881 | -2.8964 | -3.111 | -0.15662 | 3.5394 | 0.98685 | -3.7639 | 0.45059 | -0.65458 | 3.9208 | -0.3216 | -40.4997 | -44.3649 | -42.862 | 139.5627 | 135.7336 | 137.2572 |  | 0.74743 | 1.1298 | 0.96447 | 0.49782 | 1.1497 | 1.1756 | -28.5975 | -120.6465 | 128.2953 | -28.5551 | -131.9788 | 132.0654
Line_2 | 0.55442 | 0.29698 | 0.2632 | 0.55305 | 0.29557 | 0.2618 | 6.4019 | 3.4292 | 3.0392 | 6.3861 | 3.4129 | 3.0231 | 4.6821 | 0.91881 | -2.8964 | -3.111 | -0.15662 | 3.5394 | 0.98685 | -3.7639 | 0.45059 | -0.65458 | 3.9208 | -0.3216 | -40.4997 | -44.3649 | -42.862 | 139.5627 | 135.7336 | 137.2572 |  | 0.74743 | 1.1298 | 0.96447 | 0.49782 | 1.1497 | 1.1756 | -28.5975 | -120.6465 | 128.2953 | -28.5551 | -131.9788 | 132.0654

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43432 | 0.23175 | 0.20522 | 0.43498 | 0.23247 | 0.20591 | 5.0151 | 2.676 | 2.3697 | 5.0227 | 2.6843 | 2.3777 | -2.4466 | 0.1281 | 2.837 | 3.4088 | 0.34542 | -2.4425 | -1.8136 | 2.914 | -0.54515 | 2.0239 | -2.8155 | 0.61753 | 141.9699 | 138.2337 | 139.79 | -38.1495 | -41.9786 | -40.455 |  | 0.60726 | 1.09 | 1.2191 | 0.78928 | 1.0567 | 1.0596 | -1.4813 | -134.2834 | 128.9126 | -7.4501 | -124.9842 | 125.3564
Line_1 | 0.21803 | 0.11679 | 0.10351 | 0.21749 | 0.11623 | 0.10296 | 2.5176 | 1.3486 | 1.1952 | 2.5114 | 1.3421 | 1.1888 | 1.9494 | 0.29268 | -1.1259 | -1.7044 | -0.17271 | 1.2212 | 1.0669 | -1.387 | 0.32868 | -1.012 | 1.4078 | -0.30876 | -38.2118 | -42.0771 | -40.5742 | 141.8505 | 138.0214 | 139.545 |  | 0.88269 | 1.0512 | 0.98137 | 0.78928 | 1.0567 | 1.0596 | -9.519 | -120.162 | 123.1521 | -7.4501 | -124.9842 | 125.3564
Line_2 | 0.21803 | 0.11679 | 0.10351 | 0.21749 | 0.11623 | 0.10296 | 2.5176 | 1.3486 | 1.1952 | 2.5114 | 1.3421 | 1.1888 | 1.9494 | 0.29268 | -1.1259 | -1.7044 | -0.17271 | 1.2212 | 1.0669 | -1.387 | 0.32868 | -1.012 | 1.4078 | -0.30876 | -38.2118 | -42.0771 | -40.5742 | 141.8505 | 138.0214 | 139.545 |  | 0.88269 | 1.0512 | 0.98137 | 0.78928 | 1.0567 | 1.0596 | -9.519 | -120.162 | 123.1521 | -7.4501 | -124.9842 | 125.3564

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43432 | 0.23175 | 0.20522 | 0.43498 | 0.23247 | 0.20591 | 5.0151 | 2.676 | 2.3697 | 5.0227 | 2.6843 | 2.3777 | -2.4466 | 0.1281 | 2.837 | 3.4088 | 0.34542 | -2.4425 | -1.8136 | 2.914 | -0.54515 | 2.0239 | -2.8155 | 0.61753 | 141.9699 | 138.2337 | 139.79 | -38.1495 | -41.9786 | -40.455 |  | 0.60726 | 1.09 | 1.2191 | 0.78928 | 1.0567 | 1.0596 | -1.4813 | -134.2834 | 128.9126 | -7.4501 | -124.9842 | 125.3564
Line_1 | 0.21803 | 0.11679 | 0.10351 | 0.21749 | 0.11623 | 0.10296 | 2.5176 | 1.3486 | 1.1952 | 2.5114 | 1.3421 | 1.1888 | 1.9494 | 0.29268 | -1.1259 | -1.7044 | -0.17271 | 1.2212 | 1.0669 | -1.387 | 0.32868 | -1.012 | 1.4078 | -0.30876 | -38.2118 | -42.0771 | -40.5742 | 141.8505 | 138.0214 | 139.545 |  | 0.88269 | 1.0512 | 0.98137 | 0.78928 | 1.0567 | 1.0596 | -9.519 | -120.162 | 123.1521 | -7.4501 | -124.9842 | 125.3564
Line_2 | 0.21803 | 0.11679 | 0.10351 | 0.21749 | 0.11623 | 0.10296 | 2.5176 | 1.3486 | 1.1952 | 2.5114 | 1.3421 | 1.1888 | 1.9494 | 0.29268 | -1.1259 | -1.7044 | -0.17271 | 1.2212 | 1.0669 | -1.387 | 0.32868 | -1.012 | 1.4078 | -0.30876 | -38.2118 | -42.0771 | -40.5742 | 141.8505 | 138.0214 | 139.545 |  | 0.88269 | 1.0512 | 0.98137 | 0.78928 | 1.0567 | 1.0596 | -9.519 | -120.162 | 123.1521 | -7.4501 | -124.9842 | 125.3564

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22515 | 2.031 | 1.3316 | 0.22682 | 2.0317 | 1.3331 | 2.5998 | 23.4519 | 15.3758 | 2.6191 | 23.4596 | 15.3928 | 2.8776 | 3.5545e-11 | 2.2332e-11 | -2.343 | 6.4362 | 0.78559 | 2.901 | -1.211e-11 | -9.8612e-12 | -2.8084 | 0.56169 | 4.1168 | -46.9836 | -12.6496 | -128.9466 | 132.6991 | 167.2946 | 51.1168 |  | 1.5717 | 0 | 0 | 1.3965 | 0.2754 | 0.27228 | -1.752 | 0 | 0 | 2.8619 | 172.2822 | 130.3133
Line_1 | 0.11482 | 1.0168 | 0.66712 | 0.11341 | 1.0158 | 0.66653 | 1.3258 | 11.7407 | 7.7033 | 1.3096 | 11.7298 | 7.6964 | -1.0442 | 4.8351 | 0.59655 | 1.1715 | -3.2181 | -0.3928 | -1.3924 | 0.42398 | 3.0924 | 1.4042 | -0.28084 | -2.0584 | 132.504 | 167.2313 | 51.2317 | -47.3009 | -12.7054 | -128.8832 |  | 1.3127 | 0.41341 | 0.40884 | 1.3965 | 0.2754 | 0.27228 | 5.637 | 172.2426 | 130.313 | 2.8619 | 172.2822 | 130.3133
Line_2 | 0.11482 | 1.0168 | 0.66712 | 0.11341 | 1.0158 | 0.66653 | 1.3258 | 11.7407 | 7.7033 | 1.3096 | 11.7298 | 7.6964 | -1.0442 | 4.8351 | 0.59655 | 1.1715 | -3.2181 | -0.3928 | -1.3924 | 0.42398 | 3.0924 | 1.4042 | -0.28084 | -2.0584 | 132.504 | 167.2313 | 51.2317 | -47.3009 | -12.7054 | -128.8832 |  | 1.3127 | 0.41341 | 0.40884 | 1.3965 | 0.2754 | 0.27228 | 5.637 | 172.2426 | 130.313 | 2.8619 | 172.2822 | 130.3133

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22515 | 2.031 | 1.3316 | 0.22682 | 2.0317 | 1.3331 | 2.5998 | 23.4519 | 15.3758 | 2.6191 | 23.4596 | 15.3928 | 2.8776 | 3.5545e-11 | 2.2332e-11 | -2.343 | 6.4362 | 0.78559 | 2.901 | -1.211e-11 | -9.8612e-12 | -2.8084 | 0.56169 | 4.1168 | -46.9836 | -12.6496 | -128.9466 | 132.6991 | 167.2946 | 51.1168 |  | 1.5717 | 0 | 0 | 1.3965 | 0.2754 | 0.27228 | -1.752 | 0 | 0 | 2.8619 | 172.2822 | 130.3133
Line_1 | 0.11482 | 1.0168 | 0.66712 | 0.11341 | 1.0158 | 0.66653 | 1.3258 | 11.7407 | 7.7033 | 1.3096 | 11.7298 | 7.6964 | -1.0442 | 4.8351 | 0.59655 | 1.1715 | -3.2181 | -0.3928 | -1.3924 | 0.42398 | 3.0924 | 1.4042 | -0.28084 | -2.0584 | 132.504 | 167.2313 | 51.2317 | -47.3009 | -12.7054 | -128.8832 |  | 1.3127 | 0.41341 | 0.40884 | 1.3965 | 0.2754 | 0.27228 | 5.637 | 172.2426 | 130.313 | 2.8619 | 172.2822 | 130.3133
Line_2 | 0.11482 | 1.0168 | 0.66712 | 0.11341 | 1.0158 | 0.66653 | 1.3258 | 11.7407 | 7.7033 | 1.3096 | 11.7298 | 7.6964 | -1.0442 | 4.8351 | 0.59655 | 1.1715 | -3.2181 | -0.3928 | -1.3924 | 0.42398 | 3.0924 | 1.4042 | -0.28084 | -2.0584 | 132.504 | 167.2313 | 51.2317 | -47.3009 | -12.7054 | -128.8832 |  | 1.3127 | 0.41341 | 0.40884 | 1.3965 | 0.2754 | 0.27228 | 5.637 | 172.2426 | 130.313 | 2.8619 | 172.2822 | 130.3133

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12707 | 0.67566 | 0.5838 | 0.12689 | 0.67605 | 0.58464 | 1.4673 | 7.8019 | 6.7411 | 1.4652 | 7.8064 | 6.7508 | 1.7965 | -1.8409 | -5.18 | -1.7139 | 2.7304 | 5.5506 | -0.77384 | -6.7518 | -2.6503 | 0.66485 | 6.818 | 3.4217 | 22.7675 | -13.5463 | -103.4177 | -157.6425 | 166.3823 | 76.62 |  | 1.3331 | 0.89699 | 0.86316 | 1.2547 | 0.94083 | 0.96588 | -0.53689 | -118.7971 | 103.6782 | 1.1559 | -125.442 | 108.2721
Line_1 | 0.06356 | 0.33849 | 0.29278 | 0.063445 | 0.33803 | 0.29232 | 0.73392 | 3.9086 | 3.3807 | 0.7326 | 3.9032 | 3.3754 | -0.84014 | 1.5877 | 2.8734 | 0.85696 | -1.3652 | -2.7753 | 0.30065 | 3.4305 | 1.9026 | -0.33242 | -3.409 | -1.7109 | -158.2197 | 166.3057 | 76.7109 | 22.3575 | -13.6177 | -103.38 |  | 1.2158 | 0.96713 | 1.0194 | 1.2547 | 0.94083 | 0.96588 | 2.0902 | -128.5291 | 110.2202 | 1.1559 | -125.442 | 108.2721
Line_2 | 0.06356 | 0.33849 | 0.29278 | 0.063445 | 0.33803 | 0.29232 | 0.73392 | 3.9086 | 3.3807 | 0.7326 | 3.9032 | 3.3754 | -0.84014 | 1.5877 | 2.8734 | 0.85696 | -1.3652 | -2.7753 | 0.30065 | 3.4305 | 1.9026 | -0.33242 | -3.409 | -1.7109 | -158.2197 | 166.3057 | 76.7109 | 22.3575 | -13.6177 | -103.38 |  | 1.2158 | 0.96713 | 1.0194 | 1.2547 | 0.94083 | 0.96588 | 2.0902 | -128.5291 | 110.2202 | 1.1559 | -125.442 | 108.2721

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12707 | 0.67566 | 0.5838 | 0.12689 | 0.67605 | 0.58464 | 1.4673 | 7.8019 | 6.7411 | 1.4652 | 7.8064 | 6.7508 | 1.7965 | -1.8409 | -5.18 | -1.7139 | 2.7304 | 5.5506 | -0.77384 | -6.7518 | -2.6503 | 0.66485 | 6.818 | 3.4217 | 22.7675 | -13.5463 | -103.4177 | -157.6425 | 166.3823 | 76.62 |  | 1.3331 | 0.89699 | 0.86316 | 1.2547 | 0.94083 | 0.96588 | -0.53689 | -118.7971 | 103.6782 | 1.1559 | -125.442 | 108.2721
Line_1 | 0.06356 | 0.33849 | 0.29278 | 0.063445 | 0.33803 | 0.29232 | 0.73392 | 3.9086 | 3.3807 | 0.7326 | 3.9032 | 3.3754 | -0.84014 | 1.5877 | 2.8734 | 0.85696 | -1.3652 | -2.7753 | 0.30065 | 3.4305 | 1.9026 | -0.33242 | -3.409 | -1.7109 | -158.2197 | 166.3057 | 76.7109 | 22.3575 | -13.6177 | -103.38 |  | 1.2158 | 0.96713 | 1.0194 | 1.2547 | 0.94083 | 0.96588 | 2.0902 | -128.5291 | 110.2202 | 1.1559 | -125.442 | 108.2721
Line_2 | 0.06356 | 0.33849 | 0.29278 | 0.063445 | 0.33803 | 0.29232 | 0.73392 | 3.9086 | 3.3807 | 0.7326 | 3.9032 | 3.3754 | -0.84014 | 1.5877 | 2.8734 | 0.85696 | -1.3652 | -2.7753 | 0.30065 | 3.4305 | 1.9026 | -0.33242 | -3.409 | -1.7109 | -158.2197 | 166.3057 | 76.7109 | 22.3575 | -13.6177 | -103.38 |  | 1.2158 | 0.96713 | 1.0194 | 1.2547 | 0.94083 | 0.96588 | 2.0902 | -128.5291 | 110.2202 | 1.1559 | -125.442 | 108.2721

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2239 | 1.5819 | 0.84849 | 0.22536 | 1.582 | 0.84959 | 2.5853 | 18.2662 | 9.7975 | 2.6022 | 18.267 | 9.8103 | 2.2722 | -2.317e-11 | -7.9469e-12 | -1.6934 | 6.33 | -0.073346 | 2.8713 | -2.5564e-11 | -1.6968e-11 | -2.564 | -0.47977 | 2.5955 | -53.3936 | 3.3305 | -133.9679 | 126.3838 | -176.7311 | 46.1194 |  | 1.4163 | 0 | 0 | 1.1808 | 0.34752 | 0.26468 | -1.7495 | 0 | 0 | 2.9406 | 178.9346 | 137.7381
Line_1 | 0.11357 | 0.79147 | 0.42496 | 0.11268 | 0.79099 | 0.4248 | 1.3115 | 9.1391 | 4.907 | 1.3011 | 9.1335 | 4.9051 | -0.70593 | 4.7532 | -0.050385 | 0.84672 | -3.165 | 0.036673 | -1.2079 | -0.35972 | 1.95 | 1.282 | 0.23989 | -1.2978 | 126.3792 | -176.7858 | 46.2383 | -53.6162 | 3.2689 | -133.8806 |  | 1.0668 | 0.52158 | 0.39753 | 1.1808 | 0.34752 | 0.26468 | 6.0766 | 178.8863 | 137.7184 | 2.9406 | 178.9346 | 137.7381
Line_2 | 0.11357 | 0.79147 | 0.42496 | 0.11268 | 0.79099 | 0.4248 | 1.3115 | 9.1391 | 4.907 | 1.3011 | 9.1335 | 4.9051 | -0.70593 | 4.7532 | -0.050385 | 0.84672 | -3.165 | 0.036673 | -1.2079 | -0.35972 | 1.95 | 1.282 | 0.23989 | -1.2978 | 126.3792 | -176.7858 | 46.2383 | -53.6162 | 3.2689 | -133.8806 |  | 1.0668 | 0.52158 | 0.39753 | 1.1808 | 0.34752 | 0.26468 | 6.0766 | 178.8863 | 137.7184 | 2.9406 | 178.9346 | 137.7381

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.2239 | 1.5819 | 0.84849 | 0.22536 | 1.582 | 0.84959 | 2.5853 | 18.2662 | 9.7975 | 2.6022 | 18.267 | 9.8103 | 2.2722 | -2.317e-11 | -7.9469e-12 | -1.6934 | 6.33 | -0.073346 | 2.8713 | -2.5564e-11 | -1.6968e-11 | -2.564 | -0.47977 | 2.5955 | -53.3936 | 3.3305 | -133.9679 | 126.3838 | -176.7311 | 46.1194 |  | 1.4163 | 0 | 0 | 1.1808 | 0.34752 | 0.26468 | -1.7495 | 0 | 0 | 2.9406 | 178.9346 | 137.7381
Line_1 | 0.11357 | 0.79147 | 0.42496 | 0.11268 | 0.79099 | 0.4248 | 1.3115 | 9.1391 | 4.907 | 1.3011 | 9.1335 | 4.9051 | -0.70593 | 4.7532 | -0.050385 | 0.84672 | -3.165 | 0.036673 | -1.2079 | -0.35972 | 1.95 | 1.282 | 0.23989 | -1.2978 | 126.3792 | -176.7858 | 46.2383 | -53.6162 | 3.2689 | -133.8806 |  | 1.0668 | 0.52158 | 0.39753 | 1.1808 | 0.34752 | 0.26468 | 6.0766 | 178.8863 | 137.7184 | 2.9406 | 178.9346 | 137.7381
Line_2 | 0.11357 | 0.79147 | 0.42496 | 0.11268 | 0.79099 | 0.4248 | 1.3115 | 9.1391 | 4.907 | 1.3011 | 9.1335 | 4.9051 | -0.70593 | 4.7532 | -0.050385 | 0.84672 | -3.165 | 0.036673 | -1.2079 | -0.35972 | 1.95 | 1.282 | 0.23989 | -1.2978 | 126.3792 | -176.7858 | 46.2383 | -53.6162 | 3.2689 | -133.8806 |  | 1.0668 | 0.52158 | 0.39753 | 1.1808 | 0.34752 | 0.26468 | 6.0766 | 178.8863 | 137.7184 | 2.9406 | 178.9346 | 137.7381

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16218 | 0.39207 | 0.33794 | 0.16285 | 0.39198 | 0.33881 | 1.8726 | 4.5272 | 3.9022 | 1.8804 | 4.5262 | 3.9123 | 1.5985 | -1.9576 | -2.7507 | -1.3575 | 2.5556 | 3.164 | 1.6045 | -2.9857 | -0.0566 | -1.5221 | 2.762 | 0.50372 | -47.2466 | 7.9748 | -79.6504 | 132.5513 | -172.1534 | 100.3282 |  | 1.2094 | 0.78861 | 0.70507 | 1.0846 | 0.83137 | 0.81892 | -2.1399 | -115.2757 | 101.5284 | 0.82258 | -124.9304 | 109.3739
Line_1 | 0.08188 | 0.19618 | 0.16984 | 0.081423 | 0.19599 | 0.16941 | 0.94547 | 2.2653 | 1.9611 | 0.94019 | 2.2631 | 1.9561 | -0.62071 | 1.4279 | 1.6887 | 0.67873 | -1.2778 | -1.582 | -0.74218 | 1.328 | 0.36272 | 0.76103 | -1.381 | -0.25186 | 132.4934 | -172.2769 | 100.3868 | -47.4487 | 7.8466 | -79.6718 |  | 1.0233 | 0.86077 | 0.88074 | 1.0846 | 0.83137 | 0.81892 | 2.5862 | -129.353 | 112.5091 | 0.82258 | -124.9304 | 109.3739
Line_2 | 0.08188 | 0.19618 | 0.16984 | 0.081423 | 0.19599 | 0.16941 | 0.94547 | 2.2653 | 1.9611 | 0.94019 | 2.2631 | 1.9561 | -0.62071 | 1.4279 | 1.6887 | 0.67873 | -1.2778 | -1.582 | -0.74218 | 1.328 | 0.36272 | 0.76103 | -1.381 | -0.25186 | 132.4934 | -172.2769 | 100.3868 | -47.4487 | 7.8466 | -79.6718 |  | 1.0233 | 0.86077 | 0.88074 | 1.0846 | 0.83137 | 0.81892 | 2.5862 | -129.353 | 112.5091 | 0.82258 | -124.9304 | 109.3739

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16218 | 0.39207 | 0.33794 | 0.16285 | 0.39198 | 0.33881 | 1.8726 | 4.5272 | 3.9022 | 1.8804 | 4.5262 | 3.9123 | 1.5985 | -1.9576 | -2.7507 | -1.3575 | 2.5556 | 3.164 | 1.6045 | -2.9857 | -0.0566 | -1.5221 | 2.762 | 0.50372 | -47.2466 | 7.9748 | -79.6504 | 132.5513 | -172.1534 | 100.3282 |  | 1.2094 | 0.78861 | 0.70507 | 1.0846 | 0.83137 | 0.81892 | -2.1399 | -115.2757 | 101.5284 | 0.82258 | -124.9304 | 109.3739
Line_1 | 0.08188 | 0.19618 | 0.16984 | 0.081423 | 0.19599 | 0.16941 | 0.94547 | 2.2653 | 1.9611 | 0.94019 | 2.2631 | 1.9561 | -0.62071 | 1.4279 | 1.6887 | 0.67873 | -1.2778 | -1.582 | -0.74218 | 1.328 | 0.36272 | 0.76103 | -1.381 | -0.25186 | 132.4934 | -172.2769 | 100.3868 | -47.4487 | 7.8466 | -79.6718 |  | 1.0233 | 0.86077 | 0.88074 | 1.0846 | 0.83137 | 0.81892 | 2.5862 | -129.353 | 112.5091 | 0.82258 | -124.9304 | 109.3739
Line_2 | 0.08188 | 0.19618 | 0.16984 | 0.081423 | 0.19599 | 0.16941 | 0.94547 | 2.2653 | 1.9611 | 0.94019 | 2.2631 | 1.9561 | -0.62071 | 1.4279 | 1.6887 | 0.67873 | -1.2778 | -1.582 | -0.74218 | 1.328 | 0.36272 | 0.76103 | -1.381 | -0.25186 | 132.4934 | -172.2769 | 100.3868 | -47.4487 | 7.8466 | -79.6718 |  | 1.0233 | 0.86077 | 0.88074 | 1.0846 | 0.83137 | 0.81892 | 2.5862 | -129.353 | 112.5091 | 0.82258 | -124.9304 | 109.3739