## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7743 | 0.75377 | 0.86725 | 1.7772 | 0.75692 | 0.86952 | 20.4881 | 8.7038 | 10.0141 | 20.5212 | 8.7402 | 10.0404 | 6.2542e-11 | -3.4025 | 17.4305 | 7.8908 | 6.1715 | -13.8841 | -6.7877e-11 | 12.108 | 0.30608 | 3.783 | -10.4743 | 0.12772 | 118.0237 | 106.3233 | 134.5332 | -62.0311 | -73.7585 | -45.6278 |  | 0 | 1.445 | 1.7409 | 0.42642 | 1.391 | 1.3829 | 0 | -147.9808 | 135.5392 | -36.4169 | -133.2516 | 133.8451
Line_1 | 0.8909 | 0.3808 | 0.43686 | 0.8886 | 0.37846 | 0.43476 | 10.2872 | 4.397 | 5.0445 | 10.2606 | 4.3701 | 5.0202 | 5.9392 | 3.7951 | -6.0706 | -3.9454 | -3.0858 | 6.9421 | 2.8476 | -4.8472 | 0.17077 | -1.8915 | 5.2372 | -0.063861 | -62.0557 | -73.7444 | -45.7613 | 117.9689 | 106.2415 | 134.3722 |  | 0.64027 | 1.4001 | 1.2039 | 0.42642 | 1.391 | 1.3829 | -36.4398 | -125.6854 | 132.6273 | -36.4169 | -133.2516 | 133.8451
Line_2 | 0.8909 | 0.3808 | 0.43686 | 0.8886 | 0.37846 | 0.43476 | 10.2872 | 4.397 | 5.0445 | 10.2606 | 4.3701 | 5.0202 | 5.9392 | 3.7951 | -6.0706 | -3.9454 | -3.0858 | 6.9421 | 2.8476 | -4.8472 | 0.17077 | -1.8915 | 5.2372 | -0.063861 | -62.0557 | -73.7444 | -45.7613 | 117.9689 | 106.2415 | 134.3722 |  | 0.64027 | 1.4001 | 1.2039 | 0.42642 | 1.391 | 1.3829 | -36.4398 | -125.6854 | 132.6273 | -36.4169 | -133.2516 | 133.8451

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7743 | 0.75377 | 0.86725 | 1.7772 | 0.75692 | 0.86952 | 20.4881 | 8.7038 | 10.0141 | 20.5212 | 8.7402 | 10.0404 | 6.2542e-11 | -3.4025 | 17.4305 | 7.8908 | 6.1715 | -13.8841 | -6.7877e-11 | 12.108 | 0.30608 | 3.783 | -10.4743 | 0.12772 | 118.0237 | 106.3233 | 134.5332 | -62.0311 | -73.7585 | -45.6278 |  | 0 | 1.445 | 1.7409 | 0.42642 | 1.391 | 1.3829 | 0 | -147.9808 | 135.5392 | -36.4169 | -133.2516 | 133.8451
Line_1 | 0.8909 | 0.3808 | 0.43686 | 0.8886 | 0.37846 | 0.43476 | 10.2872 | 4.397 | 5.0445 | 10.2606 | 4.3701 | 5.0202 | 5.9392 | 3.7951 | -6.0706 | -3.9454 | -3.0858 | 6.9421 | 2.8476 | -4.8472 | 0.17077 | -1.8915 | 5.2372 | -0.063861 | -62.0557 | -73.7444 | -45.7613 | 117.9689 | 106.2415 | 134.3722 |  | 0.64027 | 1.4001 | 1.2039 | 0.42642 | 1.391 | 1.3829 | -36.4398 | -125.6854 | 132.6273 | -36.4169 | -133.2516 | 133.8451
Line_2 | 0.8909 | 0.3808 | 0.43686 | 0.8886 | 0.37846 | 0.43476 | 10.2872 | 4.397 | 5.0445 | 10.2606 | 4.3701 | 5.0202 | 5.9392 | 3.7951 | -6.0706 | -3.9454 | -3.0858 | 6.9421 | 2.8476 | -4.8472 | 0.17077 | -1.8915 | 5.2372 | -0.063861 | -62.0557 | -73.7444 | -45.7613 | 117.9689 | 106.2415 | 134.3722 |  | 0.64027 | 1.4001 | 1.2039 | 0.42642 | 1.391 | 1.3829 | -36.4398 | -125.6854 | 132.6273 | -36.4169 | -133.2516 | 133.8451

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76711 | 0.1597 | 0.41005 | 0.76822 | 0.16088 | 0.41052 | 8.8578 | 1.844 | 4.7348 | 8.8706 | 1.8577 | 4.7403 | -3.8538 | -1.8587 | 5.0875 | 5.091 | 1.9946 | -4.4998 | -5.3339 | 1.3886 | -3.6527 | 6.1198 | -1.2033 | 3.5632 | 120.2997 | 86.0681 | 164.3381 | -59.7353 | -93.848 | -15.8167 |  | 0.7429 | 1.2582 | 1.3227 | 0.89741 | 1.2539 | 1.2108 | -5.5484 | -130.6952 | 128.6608 | -9.4918 | -124.949 | 125.8096
Line_1 | 0.38495 | 0.081155 | 0.20585 | 0.38411 | 0.08044 | 0.20526 | 4.4451 | 0.9371 | 2.377 | 4.4353 | 0.92884 | 2.3701 | 2.8614 | 1.0345 | -2.1098 | -2.5455 | -0.99729 | 2.2499 | 3.2614 | -0.56254 | 1.7602 | -3.0599 | 0.60163 | -1.7816 | -59.7392 | -93.5288 | -15.985 | 120.2647 | 86.152 | 164.1833 |  | 0.97607 | 1.2566 | 1.1559 | 0.89741 | 1.2539 | 1.2108 | -11.0006 | -122.065 | 124.1776 | -9.4918 | -124.949 | 125.8096
Line_2 | 0.38495 | 0.081155 | 0.20585 | 0.38411 | 0.08044 | 0.20526 | 4.4451 | 0.9371 | 2.377 | 4.4353 | 0.92884 | 2.3701 | 2.8614 | 1.0345 | -2.1098 | -2.5455 | -0.99729 | 2.2499 | 3.2614 | -0.56254 | 1.7602 | -3.0599 | 0.60163 | -1.7816 | -59.7392 | -93.5288 | -15.985 | 120.2647 | 86.152 | 164.1833 |  | 0.97607 | 1.2566 | 1.1559 | 0.89741 | 1.2539 | 1.2108 | -11.0006 | -122.065 | 124.1776 | -9.4918 | -124.949 | 125.8096

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76711 | 0.1597 | 0.41005 | 0.76822 | 0.16088 | 0.41052 | 8.8578 | 1.844 | 4.7348 | 8.8706 | 1.8577 | 4.7403 | -3.8538 | -1.8587 | 5.0875 | 5.091 | 1.9946 | -4.4998 | -5.3339 | 1.3886 | -3.6527 | 6.1198 | -1.2033 | 3.5632 | 120.2997 | 86.0681 | 164.3381 | -59.7353 | -93.848 | -15.8167 |  | 0.7429 | 1.2582 | 1.3227 | 0.89741 | 1.2539 | 1.2108 | -5.5484 | -130.6952 | 128.6608 | -9.4918 | -124.949 | 125.8096
Line_1 | 0.38495 | 0.081155 | 0.20585 | 0.38411 | 0.08044 | 0.20526 | 4.4451 | 0.9371 | 2.377 | 4.4353 | 0.92884 | 2.3701 | 2.8614 | 1.0345 | -2.1098 | -2.5455 | -0.99729 | 2.2499 | 3.2614 | -0.56254 | 1.7602 | -3.0599 | 0.60163 | -1.7816 | -59.7392 | -93.5288 | -15.985 | 120.2647 | 86.152 | 164.1833 |  | 0.97607 | 1.2566 | 1.1559 | 0.89741 | 1.2539 | 1.2108 | -11.0006 | -122.065 | 124.1776 | -9.4918 | -124.949 | 125.8096
Line_2 | 0.38495 | 0.081155 | 0.20585 | 0.38411 | 0.08044 | 0.20526 | 4.4451 | 0.9371 | 2.377 | 4.4353 | 0.92884 | 2.3701 | 2.8614 | 1.0345 | -2.1098 | -2.5455 | -0.99729 | 2.2499 | 3.2614 | -0.56254 | 1.7602 | -3.0599 | 0.60163 | -1.7816 | -59.7392 | -93.5288 | -15.985 | 120.2647 | 86.152 | 164.1833 |  | 0.97607 | 1.2566 | 1.1559 | 0.89741 | 1.2539 | 1.2108 | -11.0006 | -122.065 | 124.1776 | -9.4918 | -124.949 | 125.8096

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1066 | 0.63963 | 0.57608 | 1.1083 | 0.64158 | 0.57802 | 12.7785 | 7.3858 | 6.652 | 12.7978 | 7.4083 | 6.6743 | -1.9169e-11 | 3.0941 | 10.9947 | 6.4895 | 0.33583 | -7.994 | 5.5301e-12 | 9.498 | 0.4564 | 1.1669 | -8.6799 | 0.23 | 141.4021 | 134.6716 | 135.1198 | -38.7256 | -45.5299 | -45.1054 |  | 0 | 1.3525 | 1.6543 | 0.51521 | 1.1725 | 1.1982 | 0 | -153.3722 | 137.4968 | -28.5322 | -133.3142 | 133.2466
Line_1 | 0.55558 | 0.32228 | 0.29049 | 0.55416 | 0.32079 | 0.28901 | 6.4152 | 3.7213 | 3.3543 | 6.3989 | 3.7042 | 3.3372 | 4.8837 | 1.0338 | -3.2523 | -3.2448 | -0.16792 | 3.997 | 0.88052 | -4.1442 | 0.29238 | -0.58344 | 4.3399 | -0.115 | -38.7956 | -45.62 | -45.2074 | 141.2744 | 134.4701 | 134.8946 |  | 0.77354 | 1.1478 | 0.9735 | 0.51521 | 1.1725 | 1.1982 | -28.5752 | -121.6127 | 129.6555 | -28.5322 | -133.3142 | 133.2466
Line_2 | 0.55558 | 0.32228 | 0.29049 | 0.55416 | 0.32079 | 0.28901 | 6.4152 | 3.7213 | 3.3543 | 6.3989 | 3.7042 | 3.3372 | 4.8837 | 1.0338 | -3.2523 | -3.2448 | -0.16792 | 3.997 | 0.88052 | -4.1442 | 0.29238 | -0.58344 | 4.3399 | -0.115 | -38.7956 | -45.62 | -45.2074 | 141.2744 | 134.4701 | 134.8946 |  | 0.77354 | 1.1478 | 0.9735 | 0.51521 | 1.1725 | 1.1982 | -28.5752 | -121.6127 | 129.6555 | -28.5322 | -133.3142 | 133.2466

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1066 | 0.63963 | 0.57608 | 1.1083 | 0.64158 | 0.57802 | 12.7785 | 7.3858 | 6.652 | 12.7978 | 7.4083 | 6.6743 | -1.9169e-11 | 3.0941 | 10.9947 | 6.4895 | 0.33583 | -7.994 | 5.5301e-12 | 9.498 | 0.4564 | 1.1669 | -8.6799 | 0.23 | 141.4021 | 134.6716 | 135.1198 | -38.7256 | -45.5299 | -45.1054 |  | 0 | 1.3525 | 1.6543 | 0.51521 | 1.1725 | 1.1982 | 0 | -153.3722 | 137.4968 | -28.5322 | -133.3142 | 133.2466
Line_1 | 0.55558 | 0.32228 | 0.29049 | 0.55416 | 0.32079 | 0.28901 | 6.4152 | 3.7213 | 3.3543 | 6.3989 | 3.7042 | 3.3372 | 4.8837 | 1.0338 | -3.2523 | -3.2448 | -0.16792 | 3.997 | 0.88052 | -4.1442 | 0.29238 | -0.58344 | 4.3399 | -0.115 | -38.7956 | -45.62 | -45.2074 | 141.2744 | 134.4701 | 134.8946 |  | 0.77354 | 1.1478 | 0.9735 | 0.51521 | 1.1725 | 1.1982 | -28.5752 | -121.6127 | 129.6555 | -28.5322 | -133.3142 | 133.2466
Line_2 | 0.55558 | 0.32228 | 0.29049 | 0.55416 | 0.32079 | 0.28901 | 6.4152 | 3.7213 | 3.3543 | 6.3989 | 3.7042 | 3.3372 | 4.8837 | 1.0338 | -3.2523 | -3.2448 | -0.16792 | 3.997 | 0.88052 | -4.1442 | 0.29238 | -0.58344 | 4.3399 | -0.115 | -38.7956 | -45.62 | -45.2074 | 141.2744 | 134.4701 | 134.8946 |  | 0.77354 | 1.1478 | 0.9735 | 0.51521 | 1.1725 | 1.1982 | -28.5752 | -121.6127 | 129.6555 | -28.5322 | -133.3142 | 133.2466

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45675 | 0.26399 | 0.23777 | 0.45744 | 0.2648 | 0.23856 | 5.274 | 3.0483 | 2.7455 | 5.282 | 3.0576 | 2.7547 | -2.3269 | -0.028216 | 3.4485 | 3.4313 | 0.62019 | -2.9439 | -2.0464 | 3.3207 | -0.26828 | 2.2535 | -3.1846 | 0.38015 | 139.7967 | 133.0662 | 133.5144 | -40.3309 | -47.1353 | -46.7107 |  | 0.58755 | 1.0894 | 1.2598 | 0.77718 | 1.0611 | 1.0776 | 1.1276 | -136.447 | 129.0659 | -7.0361 | -126.115 | 125.9313
Line_1 | 0.2293 | 0.13301 | 0.11989 | 0.22872 | 0.1324 | 0.11928 | 2.6478 | 1.5359 | 1.3844 | 2.641 | 1.5288 | 1.3774 | 1.9965 | 0.46025 | -1.3495 | -1.7156 | -0.3101 | 1.472 | 1.1814 | -1.5625 | 0.21975 | -1.1267 | 1.5923 | -0.19008 | -40.401 | -47.2253 | -46.8128 | 139.6691 | 132.8647 | 133.2893 |  | 0.87617 | 1.0605 | 0.9876 | 0.77718 | 1.0611 | 1.0776 | -9.7872 | -120.8121 | 123.9383 | -7.0361 | -126.115 | 125.9313
Line_2 | 0.2293 | 0.13301 | 0.11989 | 0.22872 | 0.1324 | 0.11928 | 2.6478 | 1.5359 | 1.3844 | 2.641 | 1.5288 | 1.3774 | 1.9965 | 0.46025 | -1.3495 | -1.7156 | -0.3101 | 1.472 | 1.1814 | -1.5625 | 0.21975 | -1.1267 | 1.5923 | -0.19008 | -40.401 | -47.2253 | -46.8128 | 139.6691 | 132.8647 | 133.2893 |  | 0.87617 | 1.0605 | 0.9876 | 0.77718 | 1.0611 | 1.0776 | -9.7872 | -120.8121 | 123.9383 | -7.0361 | -126.115 | 125.9313

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45675 | 0.26399 | 0.23777 | 0.45744 | 0.2648 | 0.23856 | 5.274 | 3.0483 | 2.7455 | 5.282 | 3.0576 | 2.7547 | -2.3269 | -0.028216 | 3.4485 | 3.4313 | 0.62019 | -2.9439 | -2.0464 | 3.3207 | -0.26828 | 2.2535 | -3.1846 | 0.38015 | 139.7967 | 133.0662 | 133.5144 | -40.3309 | -47.1353 | -46.7107 |  | 0.58755 | 1.0894 | 1.2598 | 0.77718 | 1.0611 | 1.0776 | 1.1276 | -136.447 | 129.0659 | -7.0361 | -126.115 | 125.9313
Line_1 | 0.2293 | 0.13301 | 0.11989 | 0.22872 | 0.1324 | 0.11928 | 2.6478 | 1.5359 | 1.3844 | 2.641 | 1.5288 | 1.3774 | 1.9965 | 0.46025 | -1.3495 | -1.7156 | -0.3101 | 1.472 | 1.1814 | -1.5625 | 0.21975 | -1.1267 | 1.5923 | -0.19008 | -40.401 | -47.2253 | -46.8128 | 139.6691 | 132.8647 | 133.2893 |  | 0.87617 | 1.0605 | 0.9876 | 0.77718 | 1.0611 | 1.0776 | -9.7872 | -120.8121 | 123.9383 | -7.0361 | -126.115 | 125.9313
Line_2 | 0.2293 | 0.13301 | 0.11989 | 0.22872 | 0.1324 | 0.11928 | 2.6478 | 1.5359 | 1.3844 | 2.641 | 1.5288 | 1.3774 | 1.9965 | 0.46025 | -1.3495 | -1.7156 | -0.3101 | 1.472 | 1.1814 | -1.5625 | 0.21975 | -1.1267 | 1.5923 | -0.19008 | -40.401 | -47.2253 | -46.8128 | 139.6691 | 132.8647 | 133.2893 |  | 0.87617 | 1.0605 | 0.9876 | 0.77718 | 1.0611 | 1.0776 | -9.7872 | -120.8121 | 123.9383 | -7.0361 | -126.115 | 125.9313

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24892 | 2.0347 | 1.3263 | 0.25065 | 2.0354 | 1.3278 | 2.8743 | 23.4946 | 15.3151 | 2.8942 | 23.5024 | 15.3324 | 3.1225 | 3.12e-11 | 1.9515e-11 | -2.5246 | 6.5084 | 0.77525 | 3.3433 | -8.8466e-12 | -7.4686e-12 | -3.2162 | 0.54831 | 4.1351 | -48.6351 | -12.6412 | -128.9107 | 131.086 | 167.3024 | 51.1538 |  | 1.5916 | 0 | 0 | 1.4127 | 0.2779 | 0.2744 | -1.6798 | 0 | 0 | 2.956 | 172.118 | 130.5354
Line_1 | 0.12676 | 1.0186 | 0.66451 | 0.12532 | 1.0177 | 0.66391 | 1.4637 | 11.7622 | 7.6731 | 1.4471 | 11.7512 | 7.6662 | -1.1192 | 4.8894 | 0.58893 | 1.2623 | -3.2542 | -0.38762 | -1.5879 | 0.41401 | 3.1062 | 1.6081 | -0.27415 | -2.0676 | 130.926 | 167.2385 | 51.2707 | -48.914 | -12.6976 | -128.8462 |  | 1.3272 | 0.41718 | 0.41203 | 1.4127 | 0.2779 | 0.2744 | 5.7486 | 172.0785 | 130.535 | 2.956 | 172.118 | 130.5354
Line_2 | 0.12676 | 1.0186 | 0.66451 | 0.12532 | 1.0177 | 0.66391 | 1.4637 | 11.7622 | 7.6731 | 1.4471 | 11.7512 | 7.6662 | -1.1192 | 4.8894 | 0.58893 | 1.2623 | -3.2542 | -0.38762 | -1.5879 | 0.41401 | 3.1062 | 1.6081 | -0.27415 | -2.0676 | 130.926 | 167.2385 | 51.2707 | -48.914 | -12.6976 | -128.8462 |  | 1.3272 | 0.41718 | 0.41203 | 1.4127 | 0.2779 | 0.2744 | 5.7486 | 172.0785 | 130.535 | 2.956 | 172.118 | 130.5354

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24892 | 2.0347 | 1.3263 | 0.25065 | 2.0354 | 1.3278 | 2.8743 | 23.4946 | 15.3151 | 2.8942 | 23.5024 | 15.3324 | 3.1225 | 3.12e-11 | 1.9515e-11 | -2.5246 | 6.5084 | 0.77525 | 3.3433 | -8.8466e-12 | -7.4686e-12 | -3.2162 | 0.54831 | 4.1351 | -48.6351 | -12.6412 | -128.9107 | 131.086 | 167.3024 | 51.1538 |  | 1.5916 | 0 | 0 | 1.4127 | 0.2779 | 0.2744 | -1.6798 | 0 | 0 | 2.956 | 172.118 | 130.5354
Line_1 | 0.12676 | 1.0186 | 0.66451 | 0.12532 | 1.0177 | 0.66391 | 1.4637 | 11.7622 | 7.6731 | 1.4471 | 11.7512 | 7.6662 | -1.1192 | 4.8894 | 0.58893 | 1.2623 | -3.2542 | -0.38762 | -1.5879 | 0.41401 | 3.1062 | 1.6081 | -0.27415 | -2.0676 | 130.926 | 167.2385 | 51.2707 | -48.914 | -12.6976 | -128.8462 |  | 1.3272 | 0.41718 | 0.41203 | 1.4127 | 0.2779 | 0.2744 | 5.7486 | 172.0785 | 130.535 | 2.956 | 172.118 | 130.5354
Line_2 | 0.12676 | 1.0186 | 0.66451 | 0.12532 | 1.0177 | 0.66391 | 1.4637 | 11.7622 | 7.6731 | 1.4471 | 11.7512 | 7.6662 | -1.1192 | 4.8894 | 0.58893 | 1.2623 | -3.2542 | -0.38762 | -1.5879 | 0.41401 | 3.1062 | 1.6081 | -0.27415 | -2.0676 | 130.926 | 167.2385 | 51.2707 | -48.914 | -12.6976 | -128.8462 |  | 1.3272 | 0.41718 | 0.41203 | 1.4127 | 0.2779 | 0.2744 | 5.7486 | 172.0785 | 130.535 | 2.956 | 172.118 | 130.5354

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.68619 | 0.60193 | 0.12733 | 0.6866 | 0.60285 | 1.4706 | 7.9235 | 6.9505 | 1.4703 | 7.9282 | 6.9611 | 1.9455 | -1.5588 | -5.3581 | -1.8393 | 2.5083 | 5.7882 | -0.4058 | -6.9312 | -2.5358 | 0.30446 | 6.9859 | 3.3661 | 10.9882 | -15.1082 | -102.4657 | -169.4561 | 164.8167 | 77.5691 |  | 1.3514 | 0.89662 | 0.85287 | 1.2679 | 0.93622 | 0.96189 | -0.79351 | -117.7829 | 102.8612 | 1.1447 | -124.9342 | 107.749
Line_1 | 0.063906 | 0.3438 | 0.30193 | 0.063667 | 0.3433 | 0.30142 | 0.73793 | 3.9698 | 3.4864 | 0.73516 | 3.9641 | 3.4805 | -0.89694 | 1.4915 | 3.0076 | 0.91963 | -1.2542 | -2.8941 | 0.12192 | 3.5118 | 1.8895 | -0.15223 | -3.493 | -1.683 | -170.0399 | 164.736 | 77.6585 | 10.5439 | -15.1833 | -102.4309 |  | 1.2267 | 0.96111 | 1.0188 | 1.2679 | 0.93622 | 0.96189 | 2.2191 | -128.275 | 109.7977 | 1.1447 | -124.9342 | 107.749
Line_2 | 0.063906 | 0.3438 | 0.30193 | 0.063667 | 0.3433 | 0.30142 | 0.73793 | 3.9698 | 3.4864 | 0.73516 | 3.9641 | 3.4805 | -0.89694 | 1.4915 | 3.0076 | 0.91963 | -1.2542 | -2.8941 | 0.12192 | 3.5118 | 1.8895 | -0.15223 | -3.493 | -1.683 | -170.0399 | 164.736 | 77.6585 | 10.5439 | -15.1833 | -102.4309 |  | 1.2267 | 0.96111 | 1.0188 | 1.2679 | 0.93622 | 0.96189 | 2.2191 | -128.275 | 109.7977 | 1.1447 | -124.9342 | 107.749

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12736 | 0.68619 | 0.60193 | 0.12733 | 0.6866 | 0.60285 | 1.4706 | 7.9235 | 6.9505 | 1.4703 | 7.9282 | 6.9611 | 1.9455 | -1.5588 | -5.3581 | -1.8393 | 2.5083 | 5.7882 | -0.4058 | -6.9312 | -2.5358 | 0.30446 | 6.9859 | 3.3661 | 10.9882 | -15.1082 | -102.4657 | -169.4561 | 164.8167 | 77.5691 |  | 1.3514 | 0.89662 | 0.85287 | 1.2679 | 0.93622 | 0.96189 | -0.79351 | -117.7829 | 102.8612 | 1.1447 | -124.9342 | 107.749
Line_1 | 0.063906 | 0.3438 | 0.30193 | 0.063667 | 0.3433 | 0.30142 | 0.73793 | 3.9698 | 3.4864 | 0.73516 | 3.9641 | 3.4805 | -0.89694 | 1.4915 | 3.0076 | 0.91963 | -1.2542 | -2.8941 | 0.12192 | 3.5118 | 1.8895 | -0.15223 | -3.493 | -1.683 | -170.0399 | 164.736 | 77.6585 | 10.5439 | -15.1833 | -102.4309 |  | 1.2267 | 0.96111 | 1.0188 | 1.2679 | 0.93622 | 0.96189 | 2.2191 | -128.275 | 109.7977 | 1.1447 | -124.9342 | 107.749
Line_2 | 0.063906 | 0.3438 | 0.30193 | 0.063667 | 0.3433 | 0.30142 | 0.73793 | 3.9698 | 3.4864 | 0.73516 | 3.9641 | 3.4805 | -0.89694 | 1.4915 | 3.0076 | 0.91963 | -1.2542 | -2.8941 | 0.12192 | 3.5118 | 1.8895 | -0.15223 | -3.493 | -1.683 | -170.0399 | 164.736 | 77.6585 | 10.5439 | -15.1833 | -102.4309 |  | 1.2267 | 0.96111 | 1.0188 | 1.2679 | 0.93622 | 0.96189 | 2.2191 | -128.275 | 109.7977 | 1.1447 | -124.9342 | 107.749

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24549 | 1.5847 | 0.84176 | 0.24698 | 1.5847 | 0.84287 | 2.8347 | 18.298 | 9.7198 | 2.8519 | 18.2988 | 9.7326 | 2.4931 | -2.1312e-11 | -6.8036e-12 | -1.8487 | 6.3957 | -0.099949 | 3.2159 | -2.5386e-11 | -1.642e-11 | -2.8639 | -0.50791 | 2.5968 | -53.9067 | 3.4387 | -134.1974 | 125.8908 | -176.6235 | 45.8921 |  | 1.4355 | 0 | 0 | 1.1953 | 0.35061 | 0.26701 | -1.6913 | 0 | 0 | 3.0482 | 178.8358 | 138.0964
Line_1 | 0.1244 | 0.79285 | 0.42159 | 0.12349 | 0.79236 | 0.42144 | 1.4364 | 9.155 | 4.8682 | 1.4259 | 9.1494 | 4.8663 | -0.76714 | 4.8025 | -0.070261 | 0.92434 | -3.1978 | 0.049975 | -1.3468 | -0.3808 | 1.951 | 1.432 | 0.25396 | -1.2984 | 125.8906 | -176.6789 | 46.0137 | -54.1092 | 3.3765 | -134.1079 |  | 1.079 | 0.52622 | 0.40103 | 1.1953 | 0.35061 | 0.26701 | 6.2237 | 178.7874 | 138.0762 | 3.0482 | 178.8358 | 138.0964
Line_2 | 0.1244 | 0.79285 | 0.42159 | 0.12349 | 0.79236 | 0.42144 | 1.4364 | 9.155 | 4.8682 | 1.4259 | 9.1494 | 4.8663 | -0.76714 | 4.8025 | -0.070261 | 0.92434 | -3.1978 | 0.049975 | -1.3468 | -0.3808 | 1.951 | 1.432 | 0.25396 | -1.2984 | 125.8906 | -176.6789 | 46.0137 | -54.1092 | 3.3765 | -134.1079 |  | 1.079 | 0.52622 | 0.40103 | 1.1953 | 0.35061 | 0.26701 | 6.2237 | 178.7874 | 138.0762 | 3.0482 | 178.8358 | 138.0964

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24549 | 1.5847 | 0.84176 | 0.24698 | 1.5847 | 0.84287 | 2.8347 | 18.298 | 9.7198 | 2.8519 | 18.2988 | 9.7326 | 2.4931 | -2.1312e-11 | -6.8036e-12 | -1.8487 | 6.3957 | -0.099949 | 3.2159 | -2.5386e-11 | -1.642e-11 | -2.8639 | -0.50791 | 2.5968 | -53.9067 | 3.4387 | -134.1974 | 125.8908 | -176.6235 | 45.8921 |  | 1.4355 | 0 | 0 | 1.1953 | 0.35061 | 0.26701 | -1.6913 | 0 | 0 | 3.0482 | 178.8358 | 138.0964
Line_1 | 0.1244 | 0.79285 | 0.42159 | 0.12349 | 0.79236 | 0.42144 | 1.4364 | 9.155 | 4.8682 | 1.4259 | 9.1494 | 4.8663 | -0.76714 | 4.8025 | -0.070261 | 0.92434 | -3.1978 | 0.049975 | -1.3468 | -0.3808 | 1.951 | 1.432 | 0.25396 | -1.2984 | 125.8906 | -176.6789 | 46.0137 | -54.1092 | 3.3765 | -134.1079 |  | 1.079 | 0.52622 | 0.40103 | 1.1953 | 0.35061 | 0.26701 | 6.2237 | 178.7874 | 138.0762 | 3.0482 | 178.8358 | 138.0964
Line_2 | 0.1244 | 0.79285 | 0.42159 | 0.12349 | 0.79236 | 0.42144 | 1.4364 | 9.155 | 4.8682 | 1.4259 | 9.1494 | 4.8663 | -0.76714 | 4.8025 | -0.070261 | 0.92434 | -3.1978 | 0.049975 | -1.3468 | -0.3808 | 1.951 | 1.432 | 0.25396 | -1.2984 | 125.8906 | -176.6789 | 46.0137 | -54.1092 | 3.3765 | -134.1079 |  | 1.079 | 0.52622 | 0.40103 | 1.1953 | 0.35061 | 0.26701 | 6.2237 | 178.7874 | 138.0762 | 3.0482 | 178.8358 | 138.0964

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18516 | 0.39573 | 0.3553 | 0.18588 | 0.39564 | 0.35623 | 2.138 | 4.5695 | 4.1027 | 2.1464 | 4.5684 | 4.1134 | 1.7635 | -1.7765 | -2.8231 | -1.4666 | 2.4126 | 3.3099 | 1.9506 | -3.1728 | 0.010051 | -1.8442 | 2.9223 | 0.47336 | -50.6883 | 5.3454 | -79.2083 | 129.1241 | -174.7908 | 100.7613 |  | 1.2299 | 0.79576 | 0.6881 | 1.0978 | 0.82951 | 0.81286 | -2.8041 | -113.8994 | 100.5877 | 0.63109 | -124.3338 | 108.9
Line_1 | 0.093432 | 0.19802 | 0.17859 | 0.092941 | 0.19782 | 0.17812 | 1.0789 | 2.2866 | 2.0622 | 1.0732 | 2.2842 | 2.0567 | -0.66132 | 1.3658 | 1.7805 | 0.7333 | -1.2063 | -1.655 | -0.89754 | 1.4016 | 0.35668 | 0.92211 | -1.4611 | -0.23668 | 129.0726 | -174.9223 | 100.8124 | -50.8759 | 5.2092 | -79.2387 |  | 1.0334 | 0.85588 | 0.88055 | 1.0978 | 0.82951 | 0.81286 | 2.6894 | -129.1807 | 112.1407 | 0.63109 | -124.3338 | 108.9
Line_2 | 0.093432 | 0.19802 | 0.17859 | 0.092941 | 0.19782 | 0.17812 | 1.0789 | 2.2866 | 2.0622 | 1.0732 | 2.2842 | 2.0567 | -0.66132 | 1.3658 | 1.7805 | 0.7333 | -1.2063 | -1.655 | -0.89754 | 1.4016 | 0.35668 | 0.92211 | -1.4611 | -0.23668 | 129.0726 | -174.9223 | 100.8124 | -50.8759 | 5.2092 | -79.2387 |  | 1.0334 | 0.85588 | 0.88055 | 1.0978 | 0.82951 | 0.81286 | 2.6894 | -129.1807 | 112.1407 | 0.63109 | -124.3338 | 108.9

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18516 | 0.39573 | 0.3553 | 0.18588 | 0.39564 | 0.35623 | 2.138 | 4.5695 | 4.1027 | 2.1464 | 4.5684 | 4.1134 | 1.7635 | -1.7765 | -2.8231 | -1.4666 | 2.4126 | 3.3099 | 1.9506 | -3.1728 | 0.010051 | -1.8442 | 2.9223 | 0.47336 | -50.6883 | 5.3454 | -79.2083 | 129.1241 | -174.7908 | 100.7613 |  | 1.2299 | 0.79576 | 0.6881 | 1.0978 | 0.82951 | 0.81286 | -2.8041 | -113.8994 | 100.5877 | 0.63109 | -124.3338 | 108.9
Line_1 | 0.093432 | 0.19802 | 0.17859 | 0.092941 | 0.19782 | 0.17812 | 1.0789 | 2.2866 | 2.0622 | 1.0732 | 2.2842 | 2.0567 | -0.66132 | 1.3658 | 1.7805 | 0.7333 | -1.2063 | -1.655 | -0.89754 | 1.4016 | 0.35668 | 0.92211 | -1.4611 | -0.23668 | 129.0726 | -174.9223 | 100.8124 | -50.8759 | 5.2092 | -79.2387 |  | 1.0334 | 0.85588 | 0.88055 | 1.0978 | 0.82951 | 0.81286 | 2.6894 | -129.1807 | 112.1407 | 0.63109 | -124.3338 | 108.9
Line_2 | 0.093432 | 0.19802 | 0.17859 | 0.092941 | 0.19782 | 0.17812 | 1.0789 | 2.2866 | 2.0622 | 1.0732 | 2.2842 | 2.0567 | -0.66132 | 1.3658 | 1.7805 | 0.7333 | -1.2063 | -1.655 | -0.89754 | 1.4016 | 0.35668 | 0.92211 | -1.4611 | -0.23668 | 129.0726 | -174.9223 | 100.8124 | -50.8759 | 5.2092 | -79.2387 |  | 1.0334 | 0.85588 | 0.88055 | 1.0978 | 0.82951 | 0.81286 | 2.6894 | -129.1807 | 112.1407 | 0.63109 | -124.3338 | 108.9