## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7592 | 0.6757 | 0.80289 | 1.762 | 0.67869 | 0.80491 | 20.3139 | 7.8023 | 9.271 | 20.3458 | 7.8369 | 9.2943 | 7.2748e-11 | -3.2395 | 15.55 | 7.4497 | 5.588 | -12.446 | -7.6904e-11 | 10.5133 | -1.0158 | 3.7914 | -9.1423 | 1.2288 | 117.3033 | 107.1438 | 138.5305 | -62.7468 | -72.9431 | -41.6431 |  | 0 | 1.41 | 1.6808 | 0.41085 | 1.3672 | 1.3456 | 0 | -145.7302 | 134.7929 | -35.7735 | -131.5091 | 132.7184
Line_1 | 0.8832 | 0.34156 | 0.4044 | 0.881 | 0.33935 | 0.40246 | 10.1983 | 3.944 | 4.6696 | 10.1729 | 3.9184 | 4.6472 | 5.6068 | 3.3969 | -5.4616 | -3.7248 | -2.794 | 6.223 | 2.8532 | -4.2458 | 0.6667 | -1.8957 | 4.5712 | -0.6144 | -62.7667 | -72.9285 | -41.7957 | 117.2532 | 107.0569 | 138.3569 |  | 0.61687 | 1.3786 | 1.1783 | 0.41085 | 1.3672 | 1.3456 | -35.7959 | -124.2665 | 131.2446 | -35.7735 | -131.5091 | 132.7184
Line_2 | 0.8832 | 0.34156 | 0.4044 | 0.881 | 0.33935 | 0.40246 | 10.1983 | 3.944 | 4.6696 | 10.1729 | 3.9184 | 4.6472 | 5.6068 | 3.3969 | -5.4616 | -3.7248 | -2.794 | 6.223 | 2.8532 | -4.2458 | 0.6667 | -1.8957 | 4.5712 | -0.6144 | -62.7667 | -72.9285 | -41.7957 | 117.2532 | 107.0569 | 138.3569 |  | 0.61687 | 1.3786 | 1.1783 | 0.41085 | 1.3672 | 1.3456 | -35.7959 | -124.2665 | 131.2446 | -35.7735 | -131.5091 | 132.7184

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7592 | 0.6757 | 0.80289 | 1.762 | 0.67869 | 0.80491 | 20.3139 | 7.8023 | 9.271 | 20.3458 | 7.8369 | 9.2943 | 7.2748e-11 | -3.2395 | 15.55 | 7.4497 | 5.588 | -12.446 | -7.6904e-11 | 10.5133 | -1.0158 | 3.7914 | -9.1423 | 1.2288 | 117.3033 | 107.1438 | 138.5305 | -62.7468 | -72.9431 | -41.6431 |  | 0 | 1.41 | 1.6808 | 0.41085 | 1.3672 | 1.3456 | 0 | -145.7302 | 134.7929 | -35.7735 | -131.5091 | 132.7184
Line_1 | 0.8832 | 0.34156 | 0.4044 | 0.881 | 0.33935 | 0.40246 | 10.1983 | 3.944 | 4.6696 | 10.1729 | 3.9184 | 4.6472 | 5.6068 | 3.3969 | -5.4616 | -3.7248 | -2.794 | 6.223 | 2.8532 | -4.2458 | 0.6667 | -1.8957 | 4.5712 | -0.6144 | -62.7667 | -72.9285 | -41.7957 | 117.2532 | 107.0569 | 138.3569 |  | 0.61687 | 1.3786 | 1.1783 | 0.41085 | 1.3672 | 1.3456 | -35.7959 | -124.2665 | 131.2446 | -35.7735 | -131.5091 | 132.7184
Line_2 | 0.8832 | 0.34156 | 0.4044 | 0.881 | 0.33935 | 0.40246 | 10.1983 | 3.944 | 4.6696 | 10.1729 | 3.9184 | 4.6472 | 5.6068 | 3.3969 | -5.4616 | -3.7248 | -2.794 | 6.223 | 2.8532 | -4.2458 | 0.6667 | -1.8957 | 4.5712 | -0.6144 | -62.7667 | -72.9285 | -41.7957 | 117.2532 | 107.0569 | 138.3569 |  | 0.61687 | 1.3786 | 1.1783 | 0.41085 | 1.3672 | 1.3456 | -35.7959 | -124.2665 | 131.2446 | -35.7735 | -131.5091 | 132.7184

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73148 | 0.11078 | 0.39546 | 0.73251 | 0.11181 | 0.39584 | 8.4464 | 1.2791 | 4.5664 | 8.4583 | 1.291 | 4.5708 | -4.0535 | -1.3729 | 4.2882 | 5.1194 | 1.4423 | -3.7778 | -5.0662 | 0.82954 | -4.0196 | 5.8011 | -0.71023 | 3.9268 | 121.7537 | 82.1541 | 171.3023 | -58.2757 | -97.6591 | -8.8462 |  | 0.76816 | 1.254 | 1.2871 | 0.91472 | 1.2453 | 1.1921 | -6.9094 | -128.987 | 128.1539 | -9.704 | -123.8756 | 125.046
Line_1 | 0.36702 | 0.05649 | 0.19843 | 0.36626 | 0.055904 | 0.19792 | 4.238 | 0.65228 | 2.2913 | 4.2292 | 0.64552 | 2.2854 | 2.8324 | 0.74091 | -1.7674 | -2.5597 | -0.72116 | 1.8889 | 3.0885 | -0.33202 | 1.9416 | -2.9005 | 0.35511 | -1.9634 | -58.2735 | -97.1547 | -9.0116 | 121.7243 | 82.3409 | 171.1538 |  | 0.98882 | 1.2447 | 1.1459 | 0.91472 | 1.2453 | 1.1921 | -10.7964 | -121.2932 | 123.2992 | -9.704 | -123.8756 | 125.046
Line_2 | 0.36702 | 0.05649 | 0.19843 | 0.36626 | 0.055904 | 0.19792 | 4.238 | 0.65228 | 2.2913 | 4.2292 | 0.64552 | 2.2854 | 2.8324 | 0.74091 | -1.7674 | -2.5597 | -0.72116 | 1.8889 | 3.0885 | -0.33202 | 1.9416 | -2.9005 | 0.35511 | -1.9634 | -58.2735 | -97.1547 | -9.0116 | 121.7243 | 82.3409 | 171.1538 |  | 0.98882 | 1.2447 | 1.1459 | 0.91472 | 1.2453 | 1.1921 | -10.7964 | -121.2932 | 123.2992 | -9.704 | -123.8756 | 125.046

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73148 | 0.11078 | 0.39546 | 0.73251 | 0.11181 | 0.39584 | 8.4464 | 1.2791 | 4.5664 | 8.4583 | 1.291 | 4.5708 | -4.0535 | -1.3729 | 4.2882 | 5.1194 | 1.4423 | -3.7778 | -5.0662 | 0.82954 | -4.0196 | 5.8011 | -0.71023 | 3.9268 | 121.7537 | 82.1541 | 171.3023 | -58.2757 | -97.6591 | -8.8462 |  | 0.76816 | 1.254 | 1.2871 | 0.91472 | 1.2453 | 1.1921 | -6.9094 | -128.987 | 128.1539 | -9.704 | -123.8756 | 125.046
Line_1 | 0.36702 | 0.05649 | 0.19843 | 0.36626 | 0.055904 | 0.19792 | 4.238 | 0.65228 | 2.2913 | 4.2292 | 0.64552 | 2.2854 | 2.8324 | 0.74091 | -1.7674 | -2.5597 | -0.72116 | 1.8889 | 3.0885 | -0.33202 | 1.9416 | -2.9005 | 0.35511 | -1.9634 | -58.2735 | -97.1547 | -9.0116 | 121.7243 | 82.3409 | 171.1538 |  | 0.98882 | 1.2447 | 1.1459 | 0.91472 | 1.2453 | 1.1921 | -10.7964 | -121.2932 | 123.2992 | -9.704 | -123.8756 | 125.046
Line_2 | 0.36702 | 0.05649 | 0.19843 | 0.36626 | 0.055904 | 0.19792 | 4.238 | 0.65228 | 2.2913 | 4.2292 | 0.64552 | 2.2854 | 2.8324 | 0.74091 | -1.7674 | -2.5597 | -0.72116 | 1.8889 | 3.0885 | -0.33202 | 1.9416 | -2.9005 | 0.35511 | -1.9634 | -58.2735 | -97.1547 | -9.0116 | 121.7243 | 82.3409 | 171.1538 |  | 0.98882 | 1.2447 | 1.1459 | 0.91472 | 1.2453 | 1.1921 | -10.7964 | -121.2932 | 123.2992 | -9.704 | -123.8756 | 125.046

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0941 | 0.57863 | 0.51317 | 1.0958 | 0.58039 | 0.51484 | 12.6337 | 6.6814 | 5.9255 | 12.6534 | 6.7017 | 5.9449 | -2.4117e-11 | 2.7778 | 9.3671 | 6.0729 | 0.15309 | -6.8411 | 6.0908e-12 | 8.3063 | -0.52886 | 1.3989 | -7.713 | 0.93914 | 139.1814 | 137.8439 | 140.0901 | -40.9354 | -42.3726 | -40.1614 |  | 0 | 1.3109 | 1.5833 | 0.49251 | 1.1511 | 1.1616 | 0 | -150.647 | 136.8587 | -27.9634 | -131.2355 | 132.022
Line_1 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 |  | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022
Line_2 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 |  | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0941 | 0.57863 | 0.51317 | 1.0958 | 0.58039 | 0.51484 | 12.6337 | 6.6814 | 5.9255 | 12.6534 | 6.7017 | 5.9449 | -2.4117e-11 | 2.7778 | 9.3671 | 6.0729 | 0.15309 | -6.8411 | 6.0908e-12 | 8.3063 | -0.52886 | 1.3989 | -7.713 | 0.93914 | 139.1814 | 137.8439 | 140.0901 | -40.9354 | -42.3726 | -40.1614 |  | 0 | 1.3109 | 1.5833 | 0.49251 | 1.1511 | 1.1616 | 0 | -150.647 | 136.8587 | -27.9634 | -131.2355 | 132.022
Line_1 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 |  | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022
Line_2 | 0.54928 | 0.29158 | 0.25878 | 0.54791 | 0.29019 | 0.25742 | 6.3425 | 3.3668 | 2.9882 | 6.3267 | 3.3509 | 2.9724 | 4.57 | 0.81676 | -2.7946 | -3.0365 | -0.076543 | 3.4206 | 1.0541 | -3.7166 | 0.57767 | -0.69946 | 3.8565 | -0.46957 | -40.9941 | -42.4765 | -40.2902 | 139.0646 | 137.6274 | 139.8386 |  | 0.73946 | 1.1302 | 0.95498 | 0.49251 | 1.1511 | 1.1616 | -28.0054 | -120.0821 | 128.0306 | -27.9634 | -131.2355 | 132.022

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43182 | 0.22837 | 0.20253 | 0.43249 | 0.22907 | 0.2032 | 4.9862 | 2.637 | 2.3387 | 4.994 | 2.645 | 2.3463 | -2.5157 | 0.28944 | 2.7229 | 3.4622 | 0.17358 | -2.3364 | -1.6839 | 2.8884 | -0.72947 | 1.9095 | -2.8003 | 0.78991 | 143.4381 | 142.1007 | 144.3469 | -36.6786 | -38.1158 | -35.9047 |  | 0.60712 | 1.1008 | 1.2054 | 0.79172 | 1.0607 | 1.0512 | -2.7658 | -133.6217 | 129.3497 | -7.8 | -124.5689 | 125.4157
Line_1 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 |  | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157
Line_2 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 |  | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43182 | 0.22837 | 0.20253 | 0.43249 | 0.22907 | 0.2032 | 4.9862 | 2.637 | 2.3387 | 4.994 | 2.645 | 2.3463 | -2.5157 | 0.28944 | 2.7229 | 3.4622 | 0.17358 | -2.3364 | -1.6839 | 2.8884 | -0.72947 | 1.9095 | -2.8003 | 0.78991 | 143.4381 | 142.1007 | 144.3469 | -36.6786 | -38.1158 | -35.9047 |  | 0.60712 | 1.1008 | 1.2054 | 0.79172 | 1.0607 | 1.0512 | -2.7658 | -133.6217 | 129.3497 | -7.8 | -124.5689 | 125.4157
Line_1 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 |  | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157
Line_2 | 0.21679 | 0.11508 | 0.10214 | 0.21625 | 0.11453 | 0.1016 | 2.5032 | 1.3288 | 1.1794 | 2.497 | 1.3225 | 1.1731 | 1.9722 | 0.2039 | -1.0748 | -1.7311 | -0.086788 | 1.1682 | 1.0134 | -1.382 | 0.41206 | -0.95476 | 1.4002 | -0.39496 | -36.7374 | -38.2197 | -36.0334 | 143.3214 | 141.8842 | 144.0953 |  | 0.8858 | 1.0513 | 0.97602 | 0.79172 | 1.0607 | 1.0512 | -9.5413 | -119.8268 | 122.9903 | -7.8 | -124.5689 | 125.4157

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22025 | 2.0297 | 1.333 | 0.22186 | 2.0304 | 1.3344 | 2.5432 | 23.4375 | 15.3917 | 2.5618 | 23.4453 | 15.4086 | 2.9143 | 3.7193e-11 | 2.3327e-11 | -2.3907 | 6.4181 | 0.77259 | 2.7103 | -1.3317e-11 | -1.0671e-11 | -2.6414 | 0.58104 | 4.1081 | -44.4691 | -12.6195 | -129.0286 | 135.191 | 167.325 | 51.0348 |  | 1.5649 | 0 | 0 | 1.3907 | 0.27487 | 0.27128 | -1.5463 | 0 | 0 | 3.0424 | 172.498 | 130.3838
Line_1 | 0.11232 | 1.0161 | 0.6678 | 0.11093 | 1.0152 | 0.66721 | 1.2969 | 11.7335 | 7.711 | 1.2809 | 11.7226 | 7.7043 | -1.0707 | 4.8215 | 0.58673 | 1.1954 | -3.209 | -0.38629 | -1.3146 | 0.43848 | 3.0858 | 1.3207 | -0.29052 | -2.054 | 134.9639 | 167.2621 | 51.1493 | -44.809 | -12.675 | -128.9652 |  | 1.3073 | 0.41261 | 0.40735 | 1.3907 | 0.27487 | 0.27128 | 5.8018 | 172.4585 | 130.3837 | 3.0424 | 172.498 | 130.3838
Line_2 | 0.11232 | 1.0161 | 0.6678 | 0.11093 | 1.0152 | 0.66721 | 1.2969 | 11.7335 | 7.711 | 1.2809 | 11.7226 | 7.7043 | -1.0707 | 4.8215 | 0.58673 | 1.1954 | -3.209 | -0.38629 | -1.3146 | 0.43848 | 3.0858 | 1.3207 | -0.29052 | -2.054 | 134.9639 | 167.2621 | 51.1493 | -44.809 | -12.675 | -128.9652 |  | 1.3073 | 0.41261 | 0.40735 | 1.3907 | 0.27487 | 0.27128 | 5.8018 | 172.4585 | 130.3837 | 3.0424 | 172.498 | 130.3838

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22025 | 2.0297 | 1.333 | 0.22186 | 2.0304 | 1.3344 | 2.5432 | 23.4375 | 15.3917 | 2.5618 | 23.4453 | 15.4086 | 2.9143 | 3.7193e-11 | 2.3327e-11 | -2.3907 | 6.4181 | 0.77259 | 2.7103 | -1.3317e-11 | -1.0671e-11 | -2.6414 | 0.58104 | 4.1081 | -44.4691 | -12.6195 | -129.0286 | 135.191 | 167.325 | 51.0348 |  | 1.5649 | 0 | 0 | 1.3907 | 0.27487 | 0.27128 | -1.5463 | 0 | 0 | 3.0424 | 172.498 | 130.3838
Line_1 | 0.11232 | 1.0161 | 0.6678 | 0.11093 | 1.0152 | 0.66721 | 1.2969 | 11.7335 | 7.711 | 1.2809 | 11.7226 | 7.7043 | -1.0707 | 4.8215 | 0.58673 | 1.1954 | -3.209 | -0.38629 | -1.3146 | 0.43848 | 3.0858 | 1.3207 | -0.29052 | -2.054 | 134.9639 | 167.2621 | 51.1493 | -44.809 | -12.675 | -128.9652 |  | 1.3073 | 0.41261 | 0.40735 | 1.3907 | 0.27487 | 0.27128 | 5.8018 | 172.4585 | 130.3837 | 3.0424 | 172.498 | 130.3838
Line_2 | 0.11232 | 1.0161 | 0.6678 | 0.11093 | 1.0152 | 0.66721 | 1.2969 | 11.7335 | 7.711 | 1.2809 | 11.7226 | 7.7043 | -1.0707 | 4.8215 | 0.58673 | 1.1954 | -3.209 | -0.38629 | -1.3146 | 0.43848 | 3.0858 | 1.3207 | -0.29052 | -2.054 | 134.9639 | 167.2621 | 51.1493 | -44.809 | -12.675 | -128.9652 |  | 1.3073 | 0.41261 | 0.40735 | 1.3907 | 0.27487 | 0.27128 | 5.8018 | 172.4585 | 130.3837 | 3.0424 | 172.498 | 130.3838

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13527 | 0.67774 | 0.5754 | 0.13507 | 0.67814 | 0.57623 | 1.562 | 7.8259 | 6.6442 | 1.5596 | 7.8305 | 6.6537 | 1.8637 | -1.9621 | -5.1508 | -1.7792 | 2.8517 | 5.4975 | -0.9147 | -6.7053 | -2.6202 | 0.79955 | 6.7855 | 3.3758 | 25.9067 | -12.8127 | -103.2256 | -154.4722 | 167.1174 | 76.8143 |  | 1.3291 | 0.89274 | 0.86978 | 1.2506 | 0.93996 | 0.96958 | -0.23532 | -119.1228 | 103.7363 | 1.3287 | -125.678 | 108.3669
Line_1 | 0.067631 | 0.33954 | 0.28855 | 0.067534 | 0.33907 | 0.28811 | 0.78094 | 3.9207 | 3.3319 | 0.77982 | 3.9152 | 3.3269 | -0.87234 | 1.6485 | 2.8408 | 0.88958 | -1.4259 | -2.7488 | 0.36663 | 3.4177 | 1.8756 | -0.39978 | -3.3927 | -1.6879 | -155.0112 | 167.0431 | 76.9078 | 25.5278 | -12.8826 | -103.1857 |  | 1.2117 | 0.96782 | 1.0217 | 1.2506 | 0.93996 | 0.96958 | 2.1926 | -128.7072 | 110.3412 | 1.3287 | -125.678 | 108.3669
Line_2 | 0.067631 | 0.33954 | 0.28855 | 0.067534 | 0.33907 | 0.28811 | 0.78094 | 3.9207 | 3.3319 | 0.77982 | 3.9152 | 3.3269 | -0.87234 | 1.6485 | 2.8408 | 0.88958 | -1.4259 | -2.7488 | 0.36663 | 3.4177 | 1.8756 | -0.39978 | -3.3927 | -1.6879 | -155.0112 | 167.0431 | 76.9078 | 25.5278 | -12.8826 | -103.1857 |  | 1.2117 | 0.96782 | 1.0217 | 1.2506 | 0.93996 | 0.96958 | 2.1926 | -128.7072 | 110.3412 | 1.3287 | -125.678 | 108.3669

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.13527 | 0.67774 | 0.5754 | 0.13507 | 0.67814 | 0.57623 | 1.562 | 7.8259 | 6.6442 | 1.5596 | 7.8305 | 6.6537 | 1.8637 | -1.9621 | -5.1508 | -1.7792 | 2.8517 | 5.4975 | -0.9147 | -6.7053 | -2.6202 | 0.79955 | 6.7855 | 3.3758 | 25.9067 | -12.8127 | -103.2256 | -154.4722 | 167.1174 | 76.8143 |  | 1.3291 | 0.89274 | 0.86978 | 1.2506 | 0.93996 | 0.96958 | -0.23532 | -119.1228 | 103.7363 | 1.3287 | -125.678 | 108.3669
Line_1 | 0.067631 | 0.33954 | 0.28855 | 0.067534 | 0.33907 | 0.28811 | 0.78094 | 3.9207 | 3.3319 | 0.77982 | 3.9152 | 3.3269 | -0.87234 | 1.6485 | 2.8408 | 0.88958 | -1.4259 | -2.7488 | 0.36663 | 3.4177 | 1.8756 | -0.39978 | -3.3927 | -1.6879 | -155.0112 | 167.0431 | 76.9078 | 25.5278 | -12.8826 | -103.1857 |  | 1.2117 | 0.96782 | 1.0217 | 1.2506 | 0.93996 | 0.96958 | 2.1926 | -128.7072 | 110.3412 | 1.3287 | -125.678 | 108.3669
Line_2 | 0.067631 | 0.33954 | 0.28855 | 0.067534 | 0.33907 | 0.28811 | 0.78094 | 3.9207 | 3.3319 | 0.77982 | 3.9152 | 3.3269 | -0.87234 | 1.6485 | 2.8408 | 0.88958 | -1.4259 | -2.7488 | 0.36663 | 3.4177 | 1.8756 | -0.39978 | -3.3927 | -1.6879 | -155.0112 | 167.0431 | 76.9078 | 25.5278 | -12.8826 | -103.1857 |  | 1.2117 | 0.96782 | 1.0217 | 1.2506 | 0.93996 | 0.96958 | 2.1926 | -128.7072 | 110.3412 | 1.3287 | -125.678 | 108.3669

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.218 | 1.5801 | 0.85165 | 0.21942 | 1.5802 | 0.85274 | 2.5172 | 18.2455 | 9.834 | 2.5337 | 18.2464 | 9.8466 | 2.2854 | -2.3795e-11 | -8.3178e-12 | -1.717 | 6.3105 | -0.07858 | 2.7152 | -2.5629e-11 | -1.7205e-11 | -2.4341 | -0.45688 | 2.5927 | -51.4359 | 3.328 | -134.0393 | 128.3252 | -176.7334 | 46.0476 |  | 1.4099 | 0 | 0 | 1.1757 | 0.34675 | 0.26343 | -1.5239 | 0 | 0 | 3.1266 | 179.1256 | 137.7836
Line_1 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 |  | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836
Line_2 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 |  | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.218 | 1.5801 | 0.85165 | 0.21942 | 1.5802 | 0.85274 | 2.5172 | 18.2455 | 9.834 | 2.5337 | 18.2464 | 9.8466 | 2.2854 | -2.3795e-11 | -8.3178e-12 | -1.717 | 6.3105 | -0.07858 | 2.7152 | -2.5629e-11 | -1.7205e-11 | -2.4341 | -0.45688 | 2.5927 | -51.4359 | 3.328 | -134.0393 | 128.3252 | -176.7334 | 46.0476 |  | 1.4099 | 0 | 0 | 1.1757 | 0.34675 | 0.26343 | -1.5239 | 0 | 0 | 3.1266 | 179.1256 | 137.7836
Line_1 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 |  | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836
Line_2 | 0.1106 | 0.79057 | 0.42652 | 0.10971 | 0.79009 | 0.42637 | 1.2771 | 9.1288 | 4.9251 | 1.2668 | 9.1232 | 4.9233 | -0.72028 | 4.7385 | -0.054358 | 0.8585 | -3.1552 | 0.03929 | -1.1495 | -0.34255 | 1.9479 | 1.2171 | 0.22844 | -1.2963 | 128.3066 | -176.7877 | 46.1657 | -51.6748 | 3.2666 | -133.9524 |  | 1.0622 | 0.52042 | 0.39565 | 1.1757 | 0.34675 | 0.26343 | 6.2358 | 179.0775 | 137.7642 | 3.1266 | 179.1256 | 137.7836

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1583 | 0.39599 | 0.33173 | 0.15895 | 0.39592 | 0.3326 | 1.8279 | 4.5725 | 3.8305 | 1.8354 | 4.5717 | 3.8405 | 1.6369 | -2.0242 | -2.733 | -1.4024 | 2.6329 | 3.1254 | 1.4788 | -2.9436 | -0.020894 | -1.4045 | 2.7301 | 0.4625 | -43.7603 | 8.9331 | -78.992 | 136.0285 | -171.193 | 100.9901 |  | 1.2069 | 0.78128 | 0.71352 | 1.0814 | 0.82965 | 0.82267 | -1.6643 | -115.5826 | 101.446 | 1.0726 | -125.1548 | 109.4077
Line_1 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 |  | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077
Line_2 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 |  | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1583 | 0.39599 | 0.33173 | 0.15895 | 0.39592 | 0.3326 | 1.8279 | 4.5725 | 3.8305 | 1.8354 | 4.5717 | 3.8405 | 1.6369 | -2.0242 | -2.733 | -1.4024 | 2.6329 | 3.1254 | 1.4788 | -2.9436 | -0.020894 | -1.4045 | 2.7301 | 0.4625 | -43.7603 | 8.9331 | -78.992 | 136.0285 | -171.193 | 100.9901 |  | 1.2069 | 0.78128 | 0.71352 | 1.0814 | 0.82965 | 0.82267 | -1.6643 | -115.5826 | 101.446 | 1.0726 | -125.1548 | 109.4077
Line_1 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 |  | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077
Line_2 | 0.079925 | 0.19816 | 0.16672 | 0.079474 | 0.19796 | 0.1663 | 0.9229 | 2.2882 | 1.9251 | 0.91768 | 2.2859 | 1.9203 | -0.64486 | 1.4693 | 1.6641 | 0.70119 | -1.3165 | -1.5627 | -0.68535 | 1.3146 | 0.34065 | 0.70227 | -1.3651 | -0.23125 | 135.9617 | -171.3133 | 101.0529 | -43.9715 | 8.807 | -79.0099 |  | 1.0197 | 0.86163 | 0.88233 | 1.0814 | 0.82965 | 0.82267 | 2.7051 | -129.4951 | 112.6219 | 1.0726 | -125.1548 | 109.4077