## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9725 | 0.90134 | 0.82294 | 1.9696 | 0.90438 | 0.82536 | 22.7764 | 10.4078 | 9.5025 | 22.7428 | 10.4429 | 9.5305 | 2.7304 | -9.3762 | 13.566 | 1.041e-10 | 9.5177 | -13.5272 | 2.2942 | 10.4541 | 1.9405 | -7.6924e-11 | -10.0752 | -1.4732 | -74.5049 | 93.019 | 125.6393 | 105.5211 | -86.9966 | -54.4887 |  | 0.15658 | 1.3493 | 1.4422 | 0 | 1.3272 | 1.4278 | -34.4672 | -135.0921 | 133.7795 | 0 | -133.6265 | 131.7267
Line_1 | 1.1432 | 0.45493 | 0.41506 | 1.1405 | 0.45219 | 0.41268 | 13.2004 | 5.2531 | 4.7927 | 13.1692 | 5.2214 | 4.7652 | 3.0512 | 5.7564 | -5.8124 | 6.0529e-11 | -4.7588 | 6.7636 | 1.489 | -4.4693 | -0.71348 | -4.4203e-11 | 5.0376 | 0.73661 | -74.824 | -86.981 | -54.6777 | 105.199 | 93.0034 | 125.5113 |  | 0.2572 | 1.3873 | 1.2219 | 0 | 1.3272 | 1.4278 | -48.8107 | -124.8068 | 132.3204 | 0 | -133.6265 | 131.7267
Line_2 | 1.1432 | 0.45493 | 0.41506 | 1.1405 | 0.45219 | 0.41268 | 13.2004 | 5.2531 | 4.7927 | 13.1692 | 5.2214 | 4.7652 | 3.0512 | 5.7564 | -5.8124 | 6.0529e-11 | -4.7588 | 6.7636 | 1.489 | -4.4693 | -0.71348 | -4.4203e-11 | 5.0376 | 0.73661 | -74.824 | -86.981 | -54.6777 | 105.199 | 93.0034 | 125.5113 |  | 0.2572 | 1.3873 | 1.2219 | 0 | 1.3272 | 1.4278 | -48.8107 | -124.8068 | 132.3204 | 0 | -133.6265 | 131.7267

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9725 | 0.90134 | 0.82294 | 1.9696 | 0.90438 | 0.82536 | 22.7764 | 10.4078 | 9.5025 | 22.7428 | 10.4429 | 9.5305 | 2.7304 | -9.3762 | 13.566 | 1.041e-10 | 9.5177 | -13.5272 | 2.2942 | 10.4541 | 1.9405 | -7.6924e-11 | -10.0752 | -1.4732 | -74.5049 | 93.019 | 125.6393 | 105.5211 | -86.9966 | -54.4887 |  | 0.15658 | 1.3493 | 1.4422 | 0 | 1.3272 | 1.4278 | -34.4672 | -135.0921 | 133.7795 | 0 | -133.6265 | 131.7267
Line_1 | 1.1432 | 0.45493 | 0.41506 | 1.1405 | 0.45219 | 0.41268 | 13.2004 | 5.2531 | 4.7927 | 13.1692 | 5.2214 | 4.7652 | 3.0512 | 5.7564 | -5.8124 | 6.0529e-11 | -4.7588 | 6.7636 | 1.489 | -4.4693 | -0.71348 | -4.4203e-11 | 5.0376 | 0.73661 | -74.824 | -86.981 | -54.6777 | 105.199 | 93.0034 | 125.5113 |  | 0.2572 | 1.3873 | 1.2219 | 0 | 1.3272 | 1.4278 | -48.8107 | -124.8068 | 132.3204 | 0 | -133.6265 | 131.7267
Line_2 | 1.1432 | 0.45493 | 0.41506 | 1.1405 | 0.45219 | 0.41268 | 13.2004 | 5.2531 | 4.7927 | 13.1692 | 5.2214 | 4.7652 | 3.0512 | 5.7564 | -5.8124 | 6.0529e-11 | -4.7588 | 6.7636 | 1.489 | -4.4693 | -0.71348 | -4.4203e-11 | 5.0376 | 0.73661 | -74.824 | -86.981 | -54.6777 | 105.199 | 93.0034 | 125.5113 |  | 0.2572 | 1.3873 | 1.2219 | 0 | 1.3272 | 1.4278 | -48.8107 | -124.8068 | 132.3204 | 0 | -133.6265 | 131.7267

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49094 | 0.18864 | 0.36525 | 0.49009 | 0.18947 | 0.36569 | 5.6689 | 2.1782 | 4.2176 | 5.6591 | 2.1878 | 4.2227 | 4.0735 | -2.501 | 3.5311 | -3.8889 | 2.5135 | -3.5036 | 2.7424 | 1.001 | -3.586 | -2.6028 | -1.007 | 3.6909 | -42.8903 | 78.0359 | 171.9898 | 137.163 | -101.8137 | -8.1453 |  | 0.86623 | 1.2368 | 1.1933 | 0.82692 | 1.2377 | 1.2052 | -8.9402 | -123.778 | 126.5476 | -9.0426 | -123.6461 | 125.3633
Line_1 | 0.43827 | 0.095422 | 0.18334 | 0.4374 | 0.094734 | 0.18285 | 5.0607 | 1.1018 | 2.117 | 5.0507 | 1.0939 | 2.1113 | 2.9968 | 1.2964 | -1.6359 | -2.6141 | -1.2568 | 1.7518 | 3.4949 | -0.44978 | 1.8021 | -3.2572 | 0.50349 | -1.8454 | -60.2998 | -101.4912 | -8.3703 | 119.7072 | 78.1863 | 171.8547 |  | 0.90971 | 1.2454 | 1.1497 | 0.82692 | 1.2377 | 1.2052 | -10.9122 | -120.6247 | 123.861 | -9.0426 | -123.6461 | 125.3633
Line_2 | 0.43827 | 0.095422 | 0.18334 | 0.4374 | 0.094734 | 0.18285 | 5.0607 | 1.1018 | 2.117 | 5.0507 | 1.0939 | 2.1113 | 2.9968 | 1.2964 | -1.6359 | -2.6141 | -1.2568 | 1.7518 | 3.4949 | -0.44978 | 1.8021 | -3.2572 | 0.50349 | -1.8454 | -60.2998 | -101.4912 | -8.3703 | 119.7072 | 78.1863 | 171.8547 |  | 0.90971 | 1.2454 | 1.1497 | 0.82692 | 1.2377 | 1.2052 | -10.9122 | -120.6247 | 123.861 | -9.0426 | -123.6461 | 125.3633

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49094 | 0.18864 | 0.36525 | 0.49009 | 0.18947 | 0.36569 | 5.6689 | 2.1782 | 4.2176 | 5.6591 | 2.1878 | 4.2227 | 4.0735 | -2.501 | 3.5311 | -3.8889 | 2.5135 | -3.5036 | 2.7424 | 1.001 | -3.586 | -2.6028 | -1.007 | 3.6909 | -42.8903 | 78.0359 | 171.9898 | 137.163 | -101.8137 | -8.1453 |  | 0.86623 | 1.2368 | 1.1933 | 0.82692 | 1.2377 | 1.2052 | -8.9402 | -123.778 | 126.5476 | -9.0426 | -123.6461 | 125.3633
Line_1 | 0.43827 | 0.095422 | 0.18334 | 0.4374 | 0.094734 | 0.18285 | 5.0607 | 1.1018 | 2.117 | 5.0507 | 1.0939 | 2.1113 | 2.9968 | 1.2964 | -1.6359 | -2.6141 | -1.2568 | 1.7518 | 3.4949 | -0.44978 | 1.8021 | -3.2572 | 0.50349 | -1.8454 | -60.2998 | -101.4912 | -8.3703 | 119.7072 | 78.1863 | 171.8547 |  | 0.90971 | 1.2454 | 1.1497 | 0.82692 | 1.2377 | 1.2052 | -10.9122 | -120.6247 | 123.861 | -9.0426 | -123.6461 | 125.3633
Line_2 | 0.43827 | 0.095422 | 0.18334 | 0.4374 | 0.094734 | 0.18285 | 5.0607 | 1.1018 | 2.117 | 5.0507 | 1.0939 | 2.1113 | 2.9968 | 1.2964 | -1.6359 | -2.6141 | -1.2568 | 1.7518 | 3.4949 | -0.44978 | 1.8021 | -3.2572 | 0.50349 | -1.8454 | -60.2998 | -101.4912 | -8.3703 | 119.7072 | 78.1863 | 171.8547 |  | 0.90971 | 1.2454 | 1.1497 | 0.82692 | 1.2377 | 1.2052 | -10.9122 | -120.6247 | 123.861 | -9.0426 | -123.6461 | 125.3633

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7351 | 0.79777 | 0.6898 | 1.7328 | 0.79996 | 0.69185 | 20.035 | 9.2118 | 7.9651 | 20.0088 | 9.2372 | 7.9888 | 3.9644 | -2.0099 | 10.3574 | -4.9818e-11 | 2.2402 | -10.267 | 1.4082 | 10.539 | 1.2927 | -9.2309e-13 | -9.9932 | -0.84101 | -62.2268 | 120.9482 | 125.9877 | 117.8207 | -59.1637 | -54.157 |  | 0.20998 | 1.1647 | 1.3104 | 0 | 1.1087 | 1.2895 | -42.6716 | -138.2547 | 133.1018 | 0 | -136.5286 | 130.5258
Line_1 | 0.87196 | 0.40198 | 0.34784 | 0.8699 | 0.39998 | 0.34592 | 10.0685 | 4.6416 | 4.0165 | 10.0447 | 4.6186 | 3.9944 | 3.5926 | 2.6214 | -3.8872 | -2.4984e-11 | -1.1201 | 5.1335 | 1.0215 | -4.767 | -0.33081 | -1.2217e-12 | 4.9966 | 0.42051 | -63.9636 | -59.2882 | -54.3291 | 116.0827 | 120.8363 | 125.843 |  | 0.37096 | 1.172 | 0.9713 | 0 | 1.1087 | 1.2895 | -48.0915 | -120.4818 | 130.5352 | 0 | -136.5286 | 130.5258
Line_2 | 0.87196 | 0.40198 | 0.34784 | 0.8699 | 0.39998 | 0.34592 | 10.0685 | 4.6416 | 4.0165 | 10.0447 | 4.6186 | 3.9944 | 3.5926 | 2.6214 | -3.8872 | -2.4984e-11 | -1.1201 | 5.1335 | 1.0215 | -4.767 | -0.33081 | -1.2217e-12 | 4.9966 | 0.42051 | -63.9636 | -59.2882 | -54.3291 | 116.0827 | 120.8363 | 125.843 |  | 0.37096 | 1.172 | 0.9713 | 0 | 1.1087 | 1.2895 | -48.0915 | -120.4818 | 130.5352 | 0 | -136.5286 | 130.5258

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7351 | 0.79777 | 0.6898 | 1.7328 | 0.79996 | 0.69185 | 20.035 | 9.2118 | 7.9651 | 20.0088 | 9.2372 | 7.9888 | 3.9644 | -2.0099 | 10.3574 | -4.9818e-11 | 2.2402 | -10.267 | 1.4082 | 10.539 | 1.2927 | -9.2309e-13 | -9.9932 | -0.84101 | -62.2268 | 120.9482 | 125.9877 | 117.8207 | -59.1637 | -54.157 |  | 0.20998 | 1.1647 | 1.3104 | 0 | 1.1087 | 1.2895 | -42.6716 | -138.2547 | 133.1018 | 0 | -136.5286 | 130.5258
Line_1 | 0.87196 | 0.40198 | 0.34784 | 0.8699 | 0.39998 | 0.34592 | 10.0685 | 4.6416 | 4.0165 | 10.0447 | 4.6186 | 3.9944 | 3.5926 | 2.6214 | -3.8872 | -2.4984e-11 | -1.1201 | 5.1335 | 1.0215 | -4.767 | -0.33081 | -1.2217e-12 | 4.9966 | 0.42051 | -63.9636 | -59.2882 | -54.3291 | 116.0827 | 120.8363 | 125.843 |  | 0.37096 | 1.172 | 0.9713 | 0 | 1.1087 | 1.2895 | -48.0915 | -120.4818 | 130.5352 | 0 | -136.5286 | 130.5258
Line_2 | 0.87196 | 0.40198 | 0.34784 | 0.8699 | 0.39998 | 0.34592 | 10.0685 | 4.6416 | 4.0165 | 10.0447 | 4.6186 | 3.9944 | 3.5926 | 2.6214 | -3.8872 | -2.4984e-11 | -1.1201 | 5.1335 | 1.0215 | -4.767 | -0.33081 | -1.2217e-12 | 4.9966 | 0.42051 | -63.9636 | -59.2882 | -54.3291 | 116.0827 | 120.8363 | 125.843 |  | 0.37096 | 1.172 | 0.9713 | 0 | 1.1087 | 1.2895 | -48.0915 | -120.4818 | 130.5352 | 0 | -136.5286 | 130.5258

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56104 | 0.25796 | 0.22305 | 0.5603 | 0.25867 | 0.22371 | 6.4783 | 2.9786 | 2.5755 | 6.4698 | 2.9868 | 2.5832 | 3.6089 | -0.60097 | 2.7001 | -3.1928 | 0.63005 | -2.6973 | 3.2511 | 3.1122 | -0.58614 | -3.0972 | -3.0599 | 0.63141 | -49.9268 | 133.2481 | 138.2877 | 130.1207 | -46.8637 | -41.8571 |  | 0.74979 | 1.0641 | 1.0728 | 0.68753 | 1.0459 | 1.0724 | -7.9122 | -125.8225 | 126.0399 | -5.75 | -125.2286 | 124.9678
Line_1 | 0.28195 | 0.12998 | 0.11247 | 0.28128 | 0.12933 | 0.11185 | 3.2556 | 1.5009 | 1.2987 | 3.248 | 1.4934 | 1.2916 | 1.9329 | 0.47518 | -1.2239 | -1.5549 | -0.31503 | 1.3486 | 1.7146 | -1.5105 | 0.32462 | -1.6027 | 1.5299 | -0.3157 | -51.6637 | -46.9883 | -42.0292 | 128.3827 | 133.1363 | 138.1429 |  | 0.79364 | 1.0551 | 0.97497 | 0.68753 | 1.0459 | 1.0724 | -10.0894 | -119.5257 | 123.1162 | -5.75 | -125.2286 | 124.9678
Line_2 | 0.28195 | 0.12998 | 0.11247 | 0.28128 | 0.12933 | 0.11185 | 3.2556 | 1.5009 | 1.2987 | 3.248 | 1.4934 | 1.2916 | 1.9329 | 0.47518 | -1.2239 | -1.5549 | -0.31503 | 1.3486 | 1.7146 | -1.5105 | 0.32462 | -1.6027 | 1.5299 | -0.3157 | -51.6637 | -46.9883 | -42.0292 | 128.3827 | 133.1363 | 138.1429 |  | 0.79364 | 1.0551 | 0.97497 | 0.68753 | 1.0459 | 1.0724 | -10.0894 | -119.5257 | 123.1162 | -5.75 | -125.2286 | 124.9678

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56104 | 0.25796 | 0.22305 | 0.5603 | 0.25867 | 0.22371 | 6.4783 | 2.9786 | 2.5755 | 6.4698 | 2.9868 | 2.5832 | 3.6089 | -0.60097 | 2.7001 | -3.1928 | 0.63005 | -2.6973 | 3.2511 | 3.1122 | -0.58614 | -3.0972 | -3.0599 | 0.63141 | -49.9268 | 133.2481 | 138.2877 | 130.1207 | -46.8637 | -41.8571 |  | 0.74979 | 1.0641 | 1.0728 | 0.68753 | 1.0459 | 1.0724 | -7.9122 | -125.8225 | 126.0399 | -5.75 | -125.2286 | 124.9678
Line_1 | 0.28195 | 0.12998 | 0.11247 | 0.28128 | 0.12933 | 0.11185 | 3.2556 | 1.5009 | 1.2987 | 3.248 | 1.4934 | 1.2916 | 1.9329 | 0.47518 | -1.2239 | -1.5549 | -0.31503 | 1.3486 | 1.7146 | -1.5105 | 0.32462 | -1.6027 | 1.5299 | -0.3157 | -51.6637 | -46.9883 | -42.0292 | 128.3827 | 133.1363 | 138.1429 |  | 0.79364 | 1.0551 | 0.97497 | 0.68753 | 1.0459 | 1.0724 | -10.0894 | -119.5257 | 123.1162 | -5.75 | -125.2286 | 124.9678
Line_2 | 0.28195 | 0.12998 | 0.11247 | 0.28128 | 0.12933 | 0.11185 | 3.2556 | 1.5009 | 1.2987 | 3.248 | 1.4934 | 1.2916 | 1.9329 | 0.47518 | -1.2239 | -1.5549 | -0.31503 | 1.3486 | 1.7146 | -1.5105 | 0.32462 | -1.6027 | 1.5299 | -0.3157 | -51.6637 | -46.9883 | -42.0292 | 128.3827 | 133.1363 | 138.1429 |  | 0.79364 | 1.0551 | 0.97497 | 0.68753 | 1.0459 | 1.0724 | -10.0894 | -119.5257 | 123.1162 | -5.75 | -125.2286 | 124.9678

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41547 | 3.6857 | 3.7628 | 0.41784 | 3.6859 | 3.7622 | 4.7975 | 42.5586 | 43.4491 | 4.8248 | 42.5608 | 43.4421 | 0.68688 | 7.2851 | 7.3244 | -0.71156 | 9.1773e-11 | 1.2255e-10 | 7.0344 | 7.0078 | 9.4054 | -6.9982 | -8.1862e-11 | 1.5485e-11 | -83.3708 | -172.9929 | 17.3261 | 96.6051 | 7.0439 | -162.7089 |  | 1.4732 | 0.23752 | 0.27437 | 1.4579 | 0 | 0 | 1.0522 | -129.1043 | 69.4167 | 0.79939 | 0 | 0
Line_1 | 0.21106 | 1.126 | 0.92851 | 0.20892 | 1.1248 | 0.92694 | 2.4371 | 13.0017 | 10.7215 | 2.4124 | 12.988 | 10.7034 | -0.027222 | 2.3102 | 1.0011 | 0.35578 | 3.6877e-11 | 2.5791e-11 | -3.3332 | -0.20032 | 1.9781 | 3.4991 | -6.9612e-12 | -1.6159e-11 | 96.6356 | 155.9101 | 56.6515 | -83.3949 | -23.9992 | -123.4387 |  | 1.3678 | 0.17835 | 0.20678 | 1.4579 | 0 | 0 | 6.1677 | 150.9542 | 119.8077 | 0.79939 | 0 | 0
Line_2 | 0.21106 | 1.126 | 0.92851 | 0.20892 | 1.1248 | 0.92694 | 2.4371 | 13.0017 | 10.7215 | 2.4124 | 12.988 | 10.7034 | -0.027222 | 2.3102 | 1.0011 | 0.35578 | 3.6877e-11 | 2.5791e-11 | -3.3332 | -0.20032 | 1.9781 | 3.4991 | -6.9612e-12 | -1.6159e-11 | 96.6356 | 155.9101 | 56.6515 | -83.3949 | -23.9992 | -123.4387 |  | 1.3678 | 0.17835 | 0.20678 | 1.4579 | 0 | 0 | 6.1677 | 150.9542 | 119.8077 | 0.79939 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41547 | 3.6857 | 3.7628 | 0.41784 | 3.6859 | 3.7622 | 4.7975 | 42.5586 | 43.4491 | 4.8248 | 42.5608 | 43.4421 | 0.68688 | 7.2851 | 7.3244 | -0.71156 | 9.1773e-11 | 1.2255e-10 | 7.0344 | 7.0078 | 9.4054 | -6.9982 | -8.1862e-11 | 1.5485e-11 | -83.3708 | -172.9929 | 17.3261 | 96.6051 | 7.0439 | -162.7089 |  | 1.4732 | 0.23752 | 0.27437 | 1.4579 | 0 | 0 | 1.0522 | -129.1043 | 69.4167 | 0.79939 | 0 | 0
Line_1 | 0.21106 | 1.126 | 0.92851 | 0.20892 | 1.1248 | 0.92694 | 2.4371 | 13.0017 | 10.7215 | 2.4124 | 12.988 | 10.7034 | -0.027222 | 2.3102 | 1.0011 | 0.35578 | 3.6877e-11 | 2.5791e-11 | -3.3332 | -0.20032 | 1.9781 | 3.4991 | -6.9612e-12 | -1.6159e-11 | 96.6356 | 155.9101 | 56.6515 | -83.3949 | -23.9992 | -123.4387 |  | 1.3678 | 0.17835 | 0.20678 | 1.4579 | 0 | 0 | 6.1677 | 150.9542 | 119.8077 | 0.79939 | 0 | 0
Line_2 | 0.21106 | 1.126 | 0.92851 | 0.20892 | 1.1248 | 0.92694 | 2.4371 | 13.0017 | 10.7215 | 2.4124 | 12.988 | 10.7034 | -0.027222 | 2.3102 | 1.0011 | 0.35578 | 3.6877e-11 | 2.5791e-11 | -3.3332 | -0.20032 | 1.9781 | 3.4991 | -6.9612e-12 | -1.6159e-11 | 96.6356 | 155.9101 | 56.6515 | -83.3949 | -23.9992 | -123.4387 |  | 1.3678 | 0.17835 | 0.20678 | 1.4579 | 0 | 0 | 6.1677 | 150.9542 | 119.8077 | 0.79939 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.075417 | 0.78524 | 0.76399 | 0.075592 | 0.78555 | 0.76354 | 0.87084 | 9.0672 | 8.8218 | 0.87287 | 9.0708 | 8.8166 | 1.0937 | 7.801 | 4.4193 | -1.0983 | -7.4911 | -4.0881 | -0.10261 | 2.6193 | 7.1005 | 0.10055 | -2.3301 | -6.6791 | 7.3407 | -140.7928 | 49.0626 | -173.3162 | 39.2674 | -130.9945 |  | 1.2615 | 0.90756 | 0.94805 | 1.2635 | 0.86488 | 0.8882 | 1.9814 | -122.2326 | 107.1648 | 1.4525 | -123.4547 | 107.5359
Line_1 | 0.038063 | 0.40288 | 0.36575 | 0.037796 | 0.40236 | 0.36513 | 0.43951 | 4.6521 | 4.2233 | 0.43643 | 4.646 | 4.2162 | -0.53577 | 1.5558 | 3.3889 | 0.54913 | -1.2412 | -3.2153 | 0.024091 | 3.8281 | 2.2065 | -0.050277 | -3.8218 | -1.9198 | -174.4492 | 164.4526 | 76.7737 | 6.6838 | -15.4622 | -103.3048 |  | 1.2202 | 0.88824 | 0.95751 | 1.2635 | 0.86488 | 0.8882 | 2.9762 | -127.665 | 109.8421 | 1.4525 | -123.4547 | 107.5359
Line_2 | 0.038063 | 0.40288 | 0.36575 | 0.037796 | 0.40236 | 0.36513 | 0.43951 | 4.6521 | 4.2233 | 0.43643 | 4.646 | 4.2162 | -0.53577 | 1.5558 | 3.3889 | 0.54913 | -1.2412 | -3.2153 | 0.024091 | 3.8281 | 2.2065 | -0.050277 | -3.8218 | -1.9198 | -174.4492 | 164.4526 | 76.7737 | 6.6838 | -15.4622 | -103.3048 |  | 1.2202 | 0.88824 | 0.95751 | 1.2635 | 0.86488 | 0.8882 | 2.9762 | -127.665 | 109.8421 | 1.4525 | -123.4547 | 107.5359

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.075417 | 0.78524 | 0.76399 | 0.075592 | 0.78555 | 0.76354 | 0.87084 | 9.0672 | 8.8218 | 0.87287 | 9.0708 | 8.8166 | 1.0937 | 7.801 | 4.4193 | -1.0983 | -7.4911 | -4.0881 | -0.10261 | 2.6193 | 7.1005 | 0.10055 | -2.3301 | -6.6791 | 7.3407 | -140.7928 | 49.0626 | -173.3162 | 39.2674 | -130.9945 |  | 1.2615 | 0.90756 | 0.94805 | 1.2635 | 0.86488 | 0.8882 | 1.9814 | -122.2326 | 107.1648 | 1.4525 | -123.4547 | 107.5359
Line_1 | 0.038063 | 0.40288 | 0.36575 | 0.037796 | 0.40236 | 0.36513 | 0.43951 | 4.6521 | 4.2233 | 0.43643 | 4.646 | 4.2162 | -0.53577 | 1.5558 | 3.3889 | 0.54913 | -1.2412 | -3.2153 | 0.024091 | 3.8281 | 2.2065 | -0.050277 | -3.8218 | -1.9198 | -174.4492 | 164.4526 | 76.7737 | 6.6838 | -15.4622 | -103.3048 |  | 1.2202 | 0.88824 | 0.95751 | 1.2635 | 0.86488 | 0.8882 | 2.9762 | -127.665 | 109.8421 | 1.4525 | -123.4547 | 107.5359
Line_2 | 0.038063 | 0.40288 | 0.36575 | 0.037796 | 0.40236 | 0.36513 | 0.43951 | 4.6521 | 4.2233 | 0.43643 | 4.646 | 4.2162 | -0.53577 | 1.5558 | 3.3889 | 0.54913 | -1.2412 | -3.2153 | 0.024091 | 3.8281 | 2.2065 | -0.050277 | -3.8218 | -1.9198 | -174.4492 | 164.4526 | 76.7737 | 6.6838 | -15.4622 | -103.3048 |  | 1.2202 | 0.88824 | 0.95751 | 1.2635 | 0.86488 | 0.8882 | 2.9762 | -127.665 | 109.8421 | 1.4525 | -123.4547 | 107.5359

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4693 | 3.1352 | 3.1404 | 0.47119 | 3.1356 | 3.1396 | 5.419 | 36.2022 | 36.2623 | 5.4408 | 36.207 | 36.2525 | 3.1878 | 9.8045 | 10.1657 | -3.1778 | -1.0751e-10 | -1.3833e-11 | 6.3176 | 4.3709 | 7.2135 | -6.1698 | -8.1819e-11 | -1.3597e-10 | -63.2656 | -165.9387 | 26.5837 | 116.6306 | 14.0983 | -153.4508 |  | 1.3058 | 0.29652 | 0.34375 | 1.2756 | 0 | 0 | -0.040644 | -141.9112 | 61.9429 | -0.62047 | 0 | 0
Line_1 | 0.23723 | 0.9654 | 0.62117 | 0.23559 | 0.96458 | 0.61995 | 2.7393 | 11.1475 | 7.1726 | 2.7204 | 11.138 | 7.1586 | -0.9626 | 3.0527 | 0.83384 | 1.5889 | -1.6671e-11 | -1.7338e-11 | -2.8901 | -0.70246 | 1.7484 | 3.0849 | -3.8071e-11 | -2.0681e-11 | 116.5427 | 164.9311 | 60.821 | -63.3694 | -14.9819 | -119.2853 |  | 1.112 | 0.281 | 0.27006 | 1.2756 | 0 | 0 | 8.1213 | 151.9721 | 125.3237 | -0.62047 | 0 | 0
Line_2 | 0.23723 | 0.9654 | 0.62117 | 0.23559 | 0.96458 | 0.61995 | 2.7393 | 11.1475 | 7.1726 | 2.7204 | 11.138 | 7.1586 | -0.9626 | 3.0527 | 0.83384 | 1.5889 | -1.6671e-11 | -1.7338e-11 | -2.8901 | -0.70246 | 1.7484 | 3.0849 | -3.8071e-11 | -2.0681e-11 | 116.5427 | 164.9311 | 60.821 | -63.3694 | -14.9819 | -119.2853 |  | 1.112 | 0.281 | 0.27006 | 1.2756 | 0 | 0 | 8.1213 | 151.9721 | 125.3237 | -0.62047 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4693 | 3.1352 | 3.1404 | 0.47119 | 3.1356 | 3.1396 | 5.419 | 36.2022 | 36.2623 | 5.4408 | 36.207 | 36.2525 | 3.1878 | 9.8045 | 10.1657 | -3.1778 | -1.0751e-10 | -1.3833e-11 | 6.3176 | 4.3709 | 7.2135 | -6.1698 | -8.1819e-11 | -1.3597e-10 | -63.2656 | -165.9387 | 26.5837 | 116.6306 | 14.0983 | -153.4508 |  | 1.3058 | 0.29652 | 0.34375 | 1.2756 | 0 | 0 | -0.040644 | -141.9112 | 61.9429 | -0.62047 | 0 | 0
Line_1 | 0.23723 | 0.9654 | 0.62117 | 0.23559 | 0.96458 | 0.61995 | 2.7393 | 11.1475 | 7.1726 | 2.7204 | 11.138 | 7.1586 | -0.9626 | 3.0527 | 0.83384 | 1.5889 | -1.6671e-11 | -1.7338e-11 | -2.8901 | -0.70246 | 1.7484 | 3.0849 | -3.8071e-11 | -2.0681e-11 | 116.5427 | 164.9311 | 60.821 | -63.3694 | -14.9819 | -119.2853 |  | 1.112 | 0.281 | 0.27006 | 1.2756 | 0 | 0 | 8.1213 | 151.9721 | 125.3237 | -0.62047 | 0 | 0
Line_2 | 0.23723 | 0.9654 | 0.62117 | 0.23559 | 0.96458 | 0.61995 | 2.7393 | 11.1475 | 7.1726 | 2.7204 | 11.138 | 7.1586 | -0.9626 | 3.0527 | 0.83384 | 1.5889 | -1.6671e-11 | -1.7338e-11 | -2.8901 | -0.70246 | 1.7484 | 3.0849 | -3.8071e-11 | -2.0681e-11 | 116.5427 | 164.9311 | 60.821 | -63.3694 | -14.9819 | -119.2853 |  | 1.112 | 0.281 | 0.27006 | 1.2756 | 0 | 0 | 8.1213 | 151.9721 | 125.3237 | -0.62047 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19819 | 0.76063 | 0.81189 | 0.19889 | 0.76091 | 0.81137 | 2.2885 | 8.783 | 9.3749 | 2.2965 | 8.7863 | 9.3689 | 1.5235 | 6.2908 | 4.2727 | -1.5186 | -5.7408 | -3.5383 | 2.0415 | 3.38 | 6.3386 | -2.0183 | -3.1638 | -5.8269 | -52.826 | -149.8508 | 50.1768 | 127.0673 | 30.2044 | -129.865 |  | 1.1131 | 0.81309 | 0.8154 | 1.0998 | 0.74603 | 0.72763 | 0.44131 | -121.6021 | 106.1937 | 0.10825 | -120.9361 | 108.8674
Line_1 | 0.10005 | 0.26596 | 0.22259 | 0.099443 | 0.26564 | 0.22199 | 1.1553 | 3.071 | 2.5702 | 1.1483 | 3.0673 | 2.5634 | -0.65823 | 1.1314 | 1.9497 | 0.75932 | -0.84005 | -1.7605 | -0.98728 | 2.048 | 0.81356 | 1.0091 | -2.1286 | -0.61617 | 126.9649 | 170.4825 | 89.6365 | -52.9327 | -9.399 | -90.4227 |  | 1.0271 | 0.76188 | 0.82197 | 1.0998 | 0.74603 | 0.72763 | 3.273 | -128.4358 | 112.2858 | 0.10825 | -120.9361 | 108.8674
Line_2 | 0.10005 | 0.26596 | 0.22259 | 0.099443 | 0.26564 | 0.22199 | 1.1553 | 3.071 | 2.5702 | 1.1483 | 3.0673 | 2.5634 | -0.65823 | 1.1314 | 1.9497 | 0.75932 | -0.84005 | -1.7605 | -0.98728 | 2.048 | 0.81356 | 1.0091 | -2.1286 | -0.61617 | 126.9649 | 170.4825 | 89.6365 | -52.9327 | -9.399 | -90.4227 |  | 1.0271 | 0.76188 | 0.82197 | 1.0998 | 0.74603 | 0.72763 | 3.273 | -128.4358 | 112.2858 | 0.10825 | -120.9361 | 108.8674

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19819 | 0.76063 | 0.81189 | 0.19889 | 0.76091 | 0.81137 | 2.2885 | 8.783 | 9.3749 | 2.2965 | 8.7863 | 9.3689 | 1.5235 | 6.2908 | 4.2727 | -1.5186 | -5.7408 | -3.5383 | 2.0415 | 3.38 | 6.3386 | -2.0183 | -3.1638 | -5.8269 | -52.826 | -149.8508 | 50.1768 | 127.0673 | 30.2044 | -129.865 |  | 1.1131 | 0.81309 | 0.8154 | 1.0998 | 0.74603 | 0.72763 | 0.44131 | -121.6021 | 106.1937 | 0.10825 | -120.9361 | 108.8674
Line_1 | 0.10005 | 0.26596 | 0.22259 | 0.099443 | 0.26564 | 0.22199 | 1.1553 | 3.071 | 2.5702 | 1.1483 | 3.0673 | 2.5634 | -0.65823 | 1.1314 | 1.9497 | 0.75932 | -0.84005 | -1.7605 | -0.98728 | 2.048 | 0.81356 | 1.0091 | -2.1286 | -0.61617 | 126.9649 | 170.4825 | 89.6365 | -52.9327 | -9.399 | -90.4227 |  | 1.0271 | 0.76188 | 0.82197 | 1.0998 | 0.74603 | 0.72763 | 3.273 | -128.4358 | 112.2858 | 0.10825 | -120.9361 | 108.8674
Line_2 | 0.10005 | 0.26596 | 0.22259 | 0.099443 | 0.26564 | 0.22199 | 1.1553 | 3.071 | 2.5702 | 1.1483 | 3.0673 | 2.5634 | -0.65823 | 1.1314 | 1.9497 | 0.75932 | -0.84005 | -1.7605 | -0.98728 | 2.048 | 0.81356 | 1.0091 | -2.1286 | -0.61617 | 126.9649 | 170.4825 | 89.6365 | -52.9327 | -9.399 | -90.4227 |  | 1.0271 | 0.76188 | 0.82197 | 1.0998 | 0.74603 | 0.72763 | 3.273 | -128.4358 | 112.2858 | 0.10825 | -120.9361 | 108.8674