## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0244 | 0.89193 | 0.80086 | 2.0215 | 0.89491 | 0.80324 | 23.3753 | 10.2992 | 9.2475 | 23.3428 | 10.3335 | 9.275 | 2.9814 | -9.4383 | 13.1225 | 1.0554e-10 | 9.5519 | -13.1729 | 2.6476 | 9.8856 | 1.8911 | -8.275e-11 | -9.6437 | -1.5316 | -72.8781 | 91.6289 | 124.7027 | 107.15 | -88.3841 | -55.4252 |  | 0.17058 | 1.3271 | 1.4337 | 0 | 1.3135 | 1.4298 | -31.2722 | -134.697 | 132.9031 | 0 | -133.6582 | 131.2066
Line_1 | 1.142 | 0.45017 | 0.40399 | 1.1393 | 0.44746 | 0.40162 | 13.1862 | 5.1981 | 4.6649 | 13.1553 | 5.1668 | 4.6375 | 3.033 | 5.7488 | -5.6708 | 6.1168e-11 | -4.7759 | 6.5864 | 1.4604 | -4.2536 | -0.74194 | -4.4398e-11 | 4.8219 | 0.76578 | -74.9988 | -88.3641 | -55.6161 | 105.0251 | 91.6159 | 124.5748 |  | 0.25529 | 1.3758 | 1.226 | 0 | 1.3135 | 1.4298 | -49.2871 | -124.8624 | 131.8378 | 0 | -133.6582 | 131.2066
Line_2 | 1.142 | 0.45017 | 0.40399 | 1.1393 | 0.44746 | 0.40162 | 13.1862 | 5.1981 | 4.6649 | 13.1553 | 5.1668 | 4.6375 | 3.033 | 5.7488 | -5.6708 | 6.1168e-11 | -4.7759 | 6.5864 | 1.4604 | -4.2536 | -0.74194 | -4.4398e-11 | 4.8219 | 0.76578 | -74.9988 | -88.3641 | -55.6161 | 105.0251 | 91.6159 | 124.5748 |  | 0.25529 | 1.3758 | 1.226 | 0 | 1.3135 | 1.4298 | -49.2871 | -124.8624 | 131.8378 | 0 | -133.6582 | 131.2066

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0244 | 0.89193 | 0.80086 | 2.0215 | 0.89491 | 0.80324 | 23.3753 | 10.2992 | 9.2475 | 23.3428 | 10.3335 | 9.275 | 2.9814 | -9.4383 | 13.1225 | 1.0554e-10 | 9.5519 | -13.1729 | 2.6476 | 9.8856 | 1.8911 | -8.275e-11 | -9.6437 | -1.5316 | -72.8781 | 91.6289 | 124.7027 | 107.15 | -88.3841 | -55.4252 |  | 0.17058 | 1.3271 | 1.4337 | 0 | 1.3135 | 1.4298 | -31.2722 | -134.697 | 132.9031 | 0 | -133.6582 | 131.2066
Line_1 | 1.142 | 0.45017 | 0.40399 | 1.1393 | 0.44746 | 0.40162 | 13.1862 | 5.1981 | 4.6649 | 13.1553 | 5.1668 | 4.6375 | 3.033 | 5.7488 | -5.6708 | 6.1168e-11 | -4.7759 | 6.5864 | 1.4604 | -4.2536 | -0.74194 | -4.4398e-11 | 4.8219 | 0.76578 | -74.9988 | -88.3641 | -55.6161 | 105.0251 | 91.6159 | 124.5748 |  | 0.25529 | 1.3758 | 1.226 | 0 | 1.3135 | 1.4298 | -49.2871 | -124.8624 | 131.8378 | 0 | -133.6582 | 131.2066
Line_2 | 1.142 | 0.45017 | 0.40399 | 1.1393 | 0.44746 | 0.40162 | 13.1862 | 5.1981 | 4.6649 | 13.1553 | 5.1668 | 4.6375 | 3.033 | 5.7488 | -5.6708 | 6.1168e-11 | -4.7759 | 6.5864 | 1.4604 | -4.2536 | -0.74194 | -4.4398e-11 | 4.8219 | 0.76578 | -74.9988 | -88.3641 | -55.6161 | 105.0251 | 91.6159 | 124.5748 |  | 0.25529 | 1.3758 | 1.226 | 0 | 1.3135 | 1.4298 | -49.2871 | -124.8624 | 131.8378 | 0 | -133.6582 | 131.2066

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 0.19009 | 0.35391 | 0.50219 | 0.19088 | 0.35432 | 5.8081 | 2.195 | 4.0866 | 5.7988 | 2.204 | 4.0914 | 4.2429 | -2.5577 | 3.4023 | -4.0386 | 2.5749 | -3.3919 | 2.7658 | 0.8504 | -3.5001 | -2.6036 | -0.86365 | 3.594 | -41.6332 | 74.7023 | 171.933 | 138.421 | -105.1434 | -8.2035 |  | 0.87202 | 1.228 | 1.1945 | 0.82864 | 1.2322 | 1.2079 | -8.5346 | -123.6892 | 126.1213 | -8.7702 | -123.6853 | 125.1394
Line_1 | 0.43526 | 0.096093 | 0.17763 | 0.4344 | 0.095438 | 0.17716 | 5.0259 | 1.1096 | 2.0511 | 5.016 | 1.102 | 2.0457 | 2.9337 | 1.3246 | -1.5873 | -2.5584 | -1.2874 | 1.6959 | 3.5064 | -0.37725 | 1.7535 | -3.2759 | 0.43182 | -1.797 | -60.7894 | -104.8132 | -8.4343 | 119.2186 | 74.8566 | 171.7965 |  | 0.90965 | 1.2413 | 1.1531 | 0.82864 | 1.2322 | 1.2079 | -10.7079 | -120.7104 | 123.7176 | -8.7702 | -123.6853 | 125.1394
Line_2 | 0.43526 | 0.096093 | 0.17763 | 0.4344 | 0.095438 | 0.17716 | 5.0259 | 1.1096 | 2.0511 | 5.016 | 1.102 | 2.0457 | 2.9337 | 1.3246 | -1.5873 | -2.5584 | -1.2874 | 1.6959 | 3.5064 | -0.37725 | 1.7535 | -3.2759 | 0.43182 | -1.797 | -60.7894 | -104.8132 | -8.4343 | 119.2186 | 74.8566 | 171.7965 |  | 0.90965 | 1.2413 | 1.1531 | 0.82864 | 1.2322 | 1.2079 | -10.7079 | -120.7104 | 123.7176 | -8.7702 | -123.6853 | 125.1394

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 0.19009 | 0.35391 | 0.50219 | 0.19088 | 0.35432 | 5.8081 | 2.195 | 4.0866 | 5.7988 | 2.204 | 4.0914 | 4.2429 | -2.5577 | 3.4023 | -4.0386 | 2.5749 | -3.3919 | 2.7658 | 0.8504 | -3.5001 | -2.6036 | -0.86365 | 3.594 | -41.6332 | 74.7023 | 171.933 | 138.421 | -105.1434 | -8.2035 |  | 0.87202 | 1.228 | 1.1945 | 0.82864 | 1.2322 | 1.2079 | -8.5346 | -123.6892 | 126.1213 | -8.7702 | -123.6853 | 125.1394
Line_1 | 0.43526 | 0.096093 | 0.17763 | 0.4344 | 0.095438 | 0.17716 | 5.0259 | 1.1096 | 2.0511 | 5.016 | 1.102 | 2.0457 | 2.9337 | 1.3246 | -1.5873 | -2.5584 | -1.2874 | 1.6959 | 3.5064 | -0.37725 | 1.7535 | -3.2759 | 0.43182 | -1.797 | -60.7894 | -104.8132 | -8.4343 | 119.2186 | 74.8566 | 171.7965 |  | 0.90965 | 1.2413 | 1.1531 | 0.82864 | 1.2322 | 1.2079 | -10.7079 | -120.7104 | 123.7176 | -8.7702 | -123.6853 | 125.1394
Line_2 | 0.43526 | 0.096093 | 0.17763 | 0.4344 | 0.095438 | 0.17716 | 5.0259 | 1.1096 | 2.0511 | 5.016 | 1.102 | 2.0457 | 2.9337 | 1.3246 | -1.5873 | -2.5584 | -1.2874 | 1.6959 | 3.5064 | -0.37725 | 1.7535 | -3.2759 | 0.43182 | -1.797 | -60.7894 | -104.8132 | -8.4343 | 119.2186 | 74.8566 | 171.7965 |  | 0.90965 | 1.2413 | 1.1531 | 0.82864 | 1.2322 | 1.2079 | -10.7079 | -120.7104 | 123.7176 | -8.7702 | -123.6853 | 125.1394

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7879 | 0.7827 | 0.67129 | 1.7857 | 0.78484 | 0.6733 | 20.6447 | 9.0378 | 7.7514 | 20.6198 | 9.0625 | 7.7745 | 4.4445 | -2.2618 | 9.9452 | -5.182e-11 | 2.3504 | -9.9865 | 1.775 | 10.048 | 1.2394 | 1.5705e-13 | -9.6514 | -0.91143 | -60.9548 | 119.9253 | 124.9187 | 119.092 | -60.1837 | -55.2238 |  | 0.23182 | 1.1396 | 1.2929 | 0 | 1.0961 | 1.2899 | -39.1845 | -137.3887 | 132.0225 | 0 | -136.4968 | 129.9909
Line_1 | 0.87239 | 0.3944 | 0.33855 | 0.87035 | 0.39242 | 0.33665 | 10.0734 | 4.5542 | 3.9092 | 10.0499 | 4.5313 | 3.8873 | 3.5712 | 2.6318 | -3.795 | -2.522e-11 | -1.1752 | 4.9933 | 0.99644 | -4.5951 | -0.36285 | -1.3534e-12 | 4.8257 | 0.45571 | -64.2002 | -60.3076 | -55.3965 | 115.8466 | 119.8163 | 124.7762 |  | 0.36806 | 1.1628 | 0.9752 | 0 | 1.0961 | 1.2899 | -48.61 | -120.506 | 130.0651 | 0 | -136.4968 | 129.9909
Line_2 | 0.87239 | 0.3944 | 0.33855 | 0.87035 | 0.39242 | 0.33665 | 10.0734 | 4.5542 | 3.9092 | 10.0499 | 4.5313 | 3.8873 | 3.5712 | 2.6318 | -3.795 | -2.522e-11 | -1.1752 | 4.9933 | 0.99644 | -4.5951 | -0.36285 | -1.3534e-12 | 4.8257 | 0.45571 | -64.2002 | -60.3076 | -55.3965 | 115.8466 | 119.8163 | 124.7762 |  | 0.36806 | 1.1628 | 0.9752 | 0 | 1.0961 | 1.2899 | -48.61 | -120.506 | 130.0651 | 0 | -136.4968 | 129.9909

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7879 | 0.7827 | 0.67129 | 1.7857 | 0.78484 | 0.6733 | 20.6447 | 9.0378 | 7.7514 | 20.6198 | 9.0625 | 7.7745 | 4.4445 | -2.2618 | 9.9452 | -5.182e-11 | 2.3504 | -9.9865 | 1.775 | 10.048 | 1.2394 | 1.5705e-13 | -9.6514 | -0.91143 | -60.9548 | 119.9253 | 124.9187 | 119.092 | -60.1837 | -55.2238 |  | 0.23182 | 1.1396 | 1.2929 | 0 | 1.0961 | 1.2899 | -39.1845 | -137.3887 | 132.0225 | 0 | -136.4968 | 129.9909
Line_1 | 0.87239 | 0.3944 | 0.33855 | 0.87035 | 0.39242 | 0.33665 | 10.0734 | 4.5542 | 3.9092 | 10.0499 | 4.5313 | 3.8873 | 3.5712 | 2.6318 | -3.795 | -2.522e-11 | -1.1752 | 4.9933 | 0.99644 | -4.5951 | -0.36285 | -1.3534e-12 | 4.8257 | 0.45571 | -64.2002 | -60.3076 | -55.3965 | 115.8466 | 119.8163 | 124.7762 |  | 0.36806 | 1.1628 | 0.9752 | 0 | 1.0961 | 1.2899 | -48.61 | -120.506 | 130.0651 | 0 | -136.4968 | 129.9909
Line_2 | 0.87239 | 0.3944 | 0.33855 | 0.87035 | 0.39242 | 0.33665 | 10.0734 | 4.5542 | 3.9092 | 10.0499 | 4.5313 | 3.8873 | 3.5712 | 2.6318 | -3.795 | -2.522e-11 | -1.1752 | 4.9933 | 0.99644 | -4.5951 | -0.36285 | -1.3534e-12 | 4.8257 | 0.45571 | -64.2002 | -60.3076 | -55.3965 | 115.8466 | 119.8163 | 124.7762 |  | 0.36806 | 1.1628 | 0.9752 | 0 | 1.0961 | 1.2899 | -48.61 | -120.506 | 130.0651 | 0 | -136.4968 | 129.9909

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5718 | 0.25032 | 0.21469 | 0.5711 | 0.251 | 0.21533 | 6.6025 | 2.8905 | 2.479 | 6.5945 | 2.8984 | 2.4864 | 3.764 | -0.66544 | 2.5992 | -3.3079 | 0.67941 | -2.6098 | 3.316 | 2.9754 | -0.52619 | -3.1279 | -2.9393 | 0.55774 | -48.9666 | 131.9135 | 136.9068 | 131.0802 | -48.1955 | -43.2356 |  | 0.75975 | 1.0548 | 1.0697 | 0.69036 | 1.0409 | 1.0733 | -7.5872 | -125.4799 | 125.4623 | -5.5217 | -125.1805 | 124.701
Line_1 | 0.279 | 0.12614 | 0.10827 | 0.27835 | 0.1255 | 0.10767 | 3.2217 | 1.4565 | 1.2502 | 3.2141 | 1.4492 | 1.2432 | 1.8909 | 0.49192 | -1.1878 | -1.5234 | -0.3397 | 1.3049 | 1.7203 | -1.4505 | 0.2878 | -1.6134 | 1.4697 | -0.27887 | -52.212 | -48.3194 | -43.4084 | 127.8348 | 131.8045 | 136.7644 |  | 0.79349 | 1.0516 | 0.97754 | 0.69036 | 1.0409 | 1.0733 | -9.9164 | -119.5861 | 122.9714 | -5.5217 | -125.1805 | 124.701
Line_2 | 0.279 | 0.12614 | 0.10827 | 0.27835 | 0.1255 | 0.10767 | 3.2217 | 1.4565 | 1.2502 | 3.2141 | 1.4492 | 1.2432 | 1.8909 | 0.49192 | -1.1878 | -1.5234 | -0.3397 | 1.3049 | 1.7203 | -1.4505 | 0.2878 | -1.6134 | 1.4697 | -0.27887 | -52.212 | -48.3194 | -43.4084 | 127.8348 | 131.8045 | 136.7644 |  | 0.79349 | 1.0516 | 0.97754 | 0.69036 | 1.0409 | 1.0733 | -9.9164 | -119.5861 | 122.9714 | -5.5217 | -125.1805 | 124.701

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5718 | 0.25032 | 0.21469 | 0.5711 | 0.251 | 0.21533 | 6.6025 | 2.8905 | 2.479 | 6.5945 | 2.8984 | 2.4864 | 3.764 | -0.66544 | 2.5992 | -3.3079 | 0.67941 | -2.6098 | 3.316 | 2.9754 | -0.52619 | -3.1279 | -2.9393 | 0.55774 | -48.9666 | 131.9135 | 136.9068 | 131.0802 | -48.1955 | -43.2356 |  | 0.75975 | 1.0548 | 1.0697 | 0.69036 | 1.0409 | 1.0733 | -7.5872 | -125.4799 | 125.4623 | -5.5217 | -125.1805 | 124.701
Line_1 | 0.279 | 0.12614 | 0.10827 | 0.27835 | 0.1255 | 0.10767 | 3.2217 | 1.4565 | 1.2502 | 3.2141 | 1.4492 | 1.2432 | 1.8909 | 0.49192 | -1.1878 | -1.5234 | -0.3397 | 1.3049 | 1.7203 | -1.4505 | 0.2878 | -1.6134 | 1.4697 | -0.27887 | -52.212 | -48.3194 | -43.4084 | 127.8348 | 131.8045 | 136.7644 |  | 0.79349 | 1.0516 | 0.97754 | 0.69036 | 1.0409 | 1.0733 | -9.9164 | -119.5861 | 122.9714 | -5.5217 | -125.1805 | 124.701
Line_2 | 0.279 | 0.12614 | 0.10827 | 0.27835 | 0.1255 | 0.10767 | 3.2217 | 1.4565 | 1.2502 | 3.2141 | 1.4492 | 1.2432 | 1.8909 | 0.49192 | -1.1878 | -1.5234 | -0.3397 | 1.3049 | 1.7203 | -1.4505 | 0.2878 | -1.6134 | 1.4697 | -0.27887 | -52.212 | -48.3194 | -43.4084 | 127.8348 | 131.8045 | 136.7644 |  | 0.79349 | 1.0516 | 0.97754 | 0.69036 | 1.0409 | 1.0733 | -9.9164 | -119.5861 | 122.9714 | -5.5217 | -125.1805 | 124.701

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41008 | 3.7249 | 3.7281 | 0.41241 | 3.7251 | 3.7275 | 4.7351 | 43.0111 | 43.0484 | 4.7621 | 43.0132 | 43.0412 | 0.50595 | 7.8498 | 6.815 | -0.53877 | 9.3702e-11 | 1.226e-10 | 6.8867 | 7.0847 | 9.404 | -6.9001 | -8.3072e-11 | 1.4245e-11 | -84.982 | -173.3103 | 17.7458 | 95.0016 | 6.7255 | -162.2888 |  | 1.4583 | 0.24585 | 0.26978 | 1.4534 | 0 | 0 | 0.8161 | -131.2433 | 71.8155 | 0.53701 | 0 | 0
Line_1 | 0.20833 | 1.1245 | 0.92926 | 0.20621 | 1.1234 | 0.92769 | 2.4056 | 12.985 | 10.7301 | 2.3811 | 12.9714 | 10.712 | 0.049566 | 2.2971 | 1.0066 | 0.26938 | 3.7092e-11 | 2.5995e-11 | -3.2804 | -0.20515 | 1.9732 | 3.4501 | -7.0883e-12 | -1.6367e-11 | 95.0461 | 155.8949 | 56.6239 | -84.9984 | -24.0143 | -123.4655 |  | 1.3638 | 0.17761 | 0.20644 | 1.4534 | 0 | 0 | 5.9118 | 150.7915 | 119.5977 | 0.53701 | 0 | 0
Line_2 | 0.20833 | 1.1245 | 0.92926 | 0.20621 | 1.1234 | 0.92769 | 2.4056 | 12.985 | 10.7301 | 2.3811 | 12.9714 | 10.712 | 0.049566 | 2.2971 | 1.0066 | 0.26938 | 3.7092e-11 | 2.5995e-11 | -3.2804 | -0.20515 | 1.9732 | 3.4501 | -7.0883e-12 | -1.6367e-11 | 95.0461 | 155.8949 | 56.6239 | -84.9984 | -24.0143 | -123.4655 |  | 1.3638 | 0.17761 | 0.20644 | 1.4534 | 0 | 0 | 5.9118 | 150.7915 | 119.5977 | 0.53701 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41008 | 3.7249 | 3.7281 | 0.41241 | 3.7251 | 3.7275 | 4.7351 | 43.0111 | 43.0484 | 4.7621 | 43.0132 | 43.0412 | 0.50595 | 7.8498 | 6.815 | -0.53877 | 9.3702e-11 | 1.226e-10 | 6.8867 | 7.0847 | 9.404 | -6.9001 | -8.3072e-11 | 1.4245e-11 | -84.982 | -173.3103 | 17.7458 | 95.0016 | 6.7255 | -162.2888 |  | 1.4583 | 0.24585 | 0.26978 | 1.4534 | 0 | 0 | 0.8161 | -131.2433 | 71.8155 | 0.53701 | 0 | 0
Line_1 | 0.20833 | 1.1245 | 0.92926 | 0.20621 | 1.1234 | 0.92769 | 2.4056 | 12.985 | 10.7301 | 2.3811 | 12.9714 | 10.712 | 0.049566 | 2.2971 | 1.0066 | 0.26938 | 3.7092e-11 | 2.5995e-11 | -3.2804 | -0.20515 | 1.9732 | 3.4501 | -7.0883e-12 | -1.6367e-11 | 95.0461 | 155.8949 | 56.6239 | -84.9984 | -24.0143 | -123.4655 |  | 1.3638 | 0.17761 | 0.20644 | 1.4534 | 0 | 0 | 5.9118 | 150.7915 | 119.5977 | 0.53701 | 0 | 0
Line_2 | 0.20833 | 1.1245 | 0.92926 | 0.20621 | 1.1234 | 0.92769 | 2.4056 | 12.985 | 10.7301 | 2.3811 | 12.9714 | 10.712 | 0.049566 | 2.2971 | 1.0066 | 0.26938 | 3.7092e-11 | 2.5995e-11 | -3.2804 | -0.20515 | 1.9732 | 3.4501 | -7.0883e-12 | -1.6367e-11 | 95.0461 | 155.8949 | 56.6239 | -84.9984 | -24.0143 | -123.4655 |  | 1.3638 | 0.17761 | 0.20644 | 1.4534 | 0 | 0 | 5.9118 | 150.7915 | 119.5977 | 0.53701 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066672 | 0.79532 | 0.75576 | 0.066798 | 0.79562 | 0.7553 | 0.76986 | 9.1835 | 8.7267 | 0.77132 | 9.1871 | 8.7214 | 0.95766 | 7.9384 | 4.4049 | -0.96452 | -7.5915 | -4.1029 | -0.13083 | 2.7378 | 6.9791 | 0.1276 | -2.4548 | -6.5475 | 9.534 | -141.4338 | 49.8461 | -171.1951 | 38.6239 | -130.209 |  | 1.2555 | 0.91438 | 0.94571 | 1.2614 | 0.86845 | 0.88596 | 1.7547 | -122.4051 | 107.5881 | 1.2688 | -123.4568 | 107.7185
Line_1 | 0.033624 | 0.39893 | 0.36582 | 0.033399 | 0.39843 | 0.36521 | 0.38826 | 4.6065 | 4.2241 | 0.38566 | 4.6006 | 4.2171 | -0.47185 | 1.5378 | 3.3542 | 0.48226 | -1.2323 | -3.1814 | 0.038984 | 3.8042 | 2.2423 | -0.0638 | -3.8006 | -1.959 | -172.4781 | 164.4219 | 76.171 | 8.8049 | -15.4923 | -103.9058 |  | 1.2195 | 0.89075 | 0.95514 | 1.2614 | 0.86845 | 0.88596 | 2.799 | -127.5891 | 109.9336 | 1.2688 | -123.4568 | 107.7185
Line_2 | 0.033624 | 0.39893 | 0.36582 | 0.033399 | 0.39843 | 0.36521 | 0.38826 | 4.6065 | 4.2241 | 0.38566 | 4.6006 | 4.2171 | -0.47185 | 1.5378 | 3.3542 | 0.48226 | -1.2323 | -3.1814 | 0.038984 | 3.8042 | 2.2423 | -0.0638 | -3.8006 | -1.959 | -172.4781 | 164.4219 | 76.171 | 8.8049 | -15.4923 | -103.9058 |  | 1.2195 | 0.89075 | 0.95514 | 1.2614 | 0.86845 | 0.88596 | 2.799 | -127.5891 | 109.9336 | 1.2688 | -123.4568 | 107.7185

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066672 | 0.79532 | 0.75576 | 0.066798 | 0.79562 | 0.7553 | 0.76986 | 9.1835 | 8.7267 | 0.77132 | 9.1871 | 8.7214 | 0.95766 | 7.9384 | 4.4049 | -0.96452 | -7.5915 | -4.1029 | -0.13083 | 2.7378 | 6.9791 | 0.1276 | -2.4548 | -6.5475 | 9.534 | -141.4338 | 49.8461 | -171.1951 | 38.6239 | -130.209 |  | 1.2555 | 0.91438 | 0.94571 | 1.2614 | 0.86845 | 0.88596 | 1.7547 | -122.4051 | 107.5881 | 1.2688 | -123.4568 | 107.7185
Line_1 | 0.033624 | 0.39893 | 0.36582 | 0.033399 | 0.39843 | 0.36521 | 0.38826 | 4.6065 | 4.2241 | 0.38566 | 4.6006 | 4.2171 | -0.47185 | 1.5378 | 3.3542 | 0.48226 | -1.2323 | -3.1814 | 0.038984 | 3.8042 | 2.2423 | -0.0638 | -3.8006 | -1.959 | -172.4781 | 164.4219 | 76.171 | 8.8049 | -15.4923 | -103.9058 |  | 1.2195 | 0.89075 | 0.95514 | 1.2614 | 0.86845 | 0.88596 | 2.799 | -127.5891 | 109.9336 | 1.2688 | -123.4568 | 107.7185
Line_2 | 0.033624 | 0.39893 | 0.36582 | 0.033399 | 0.39843 | 0.36521 | 0.38826 | 4.6065 | 4.2241 | 0.38566 | 4.6006 | 4.2171 | -0.47185 | 1.5378 | 3.3542 | 0.48226 | -1.2323 | -3.1814 | 0.038984 | 3.8042 | 2.2423 | -0.0638 | -3.8006 | -1.959 | -172.4781 | 164.4219 | 76.171 | 8.8049 | -15.4923 | -103.9058 |  | 1.2195 | 0.89075 | 0.95514 | 1.2614 | 0.86845 | 0.88596 | 2.799 | -127.5891 | 109.9336 | 1.2688 | -123.4568 | 107.7185

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46187 | 3.1676 | 3.1129 | 0.46372 | 3.168 | 3.1121 | 5.3332 | 36.5768 | 35.945 | 5.3546 | 36.5814 | 35.9352 | 2.9936 | 10.5391 | 9.5492 | -3.0328 | -1.0861e-10 | -1.5086e-11 | 6.1662 | 4.2735 | 7.4098 | -6.0946 | -8.3251e-11 | -1.3491e-10 | -64.3277 | -166.2753 | 27.0473 | 115.5732 | 13.7605 | -152.9865 |  | 1.2852 | 0.31092 | 0.33626 | 1.2713 | 0 | 0 | -0.22349 | -144.203 | 64.8572 | -0.88303 | 0 | 0
Line_1 | 0.2335 | 0.96446 | 0.62231 | 0.23186 | 0.96365 | 0.62109 | 2.6962 | 11.1366 | 7.1859 | 2.6773 | 11.1273 | 7.1718 | -0.90534 | 3.0369 | 0.84188 | 1.5164 | -1.6762e-11 | -1.7449e-11 | -2.8491 | -0.70637 | 1.7448 | 3.0473 | -3.8101e-11 | -2.0725e-11 | 115.4898 | 164.8914 | 60.8338 | -64.4268 | -15.0216 | -119.2714 |  | 1.1088 | 0.27998 | 0.2696 | 1.2713 | 0 | 0 | 7.8613 | 151.7975 | 125.076 | -0.88303 | 0 | 0
Line_2 | 0.2335 | 0.96446 | 0.62231 | 0.23186 | 0.96365 | 0.62109 | 2.6962 | 11.1366 | 7.1859 | 2.6773 | 11.1273 | 7.1718 | -0.90534 | 3.0369 | 0.84188 | 1.5164 | -1.6762e-11 | -1.7449e-11 | -2.8491 | -0.70637 | 1.7448 | 3.0473 | -3.8101e-11 | -2.0725e-11 | 115.4898 | 164.8914 | 60.8338 | -64.4268 | -15.0216 | -119.2714 |  | 1.1088 | 0.27998 | 0.2696 | 1.2713 | 0 | 0 | 7.8613 | 151.7975 | 125.076 | -0.88303 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46187 | 3.1676 | 3.1129 | 0.46372 | 3.168 | 3.1121 | 5.3332 | 36.5768 | 35.945 | 5.3546 | 36.5814 | 35.9352 | 2.9936 | 10.5391 | 9.5492 | -3.0328 | -1.0861e-10 | -1.5086e-11 | 6.1662 | 4.2735 | 7.4098 | -6.0946 | -8.3251e-11 | -1.3491e-10 | -64.3277 | -166.2753 | 27.0473 | 115.5732 | 13.7605 | -152.9865 |  | 1.2852 | 0.31092 | 0.33626 | 1.2713 | 0 | 0 | -0.22349 | -144.203 | 64.8572 | -0.88303 | 0 | 0
Line_1 | 0.2335 | 0.96446 | 0.62231 | 0.23186 | 0.96365 | 0.62109 | 2.6962 | 11.1366 | 7.1859 | 2.6773 | 11.1273 | 7.1718 | -0.90534 | 3.0369 | 0.84188 | 1.5164 | -1.6762e-11 | -1.7449e-11 | -2.8491 | -0.70637 | 1.7448 | 3.0473 | -3.8101e-11 | -2.0725e-11 | 115.4898 | 164.8914 | 60.8338 | -64.4268 | -15.0216 | -119.2714 |  | 1.1088 | 0.27998 | 0.2696 | 1.2713 | 0 | 0 | 7.8613 | 151.7975 | 125.076 | -0.88303 | 0 | 0
Line_2 | 0.2335 | 0.96446 | 0.62231 | 0.23186 | 0.96365 | 0.62109 | 2.6962 | 11.1366 | 7.1859 | 2.6773 | 11.1273 | 7.1718 | -0.90534 | 3.0369 | 0.84188 | 1.5164 | -1.6762e-11 | -1.7449e-11 | -2.8491 | -0.70637 | 1.7448 | 3.0473 | -3.8101e-11 | -2.0725e-11 | 115.4898 | 164.8914 | 60.8338 | -64.4268 | -15.0216 | -119.2714 |  | 1.1088 | 0.27998 | 0.2696 | 1.2713 | 0 | 0 | 7.8613 | 151.7975 | 125.076 | -0.88303 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19251 | 0.7699 | 0.80572 | 0.19318 | 0.77017 | 0.80521 | 2.2229 | 8.89 | 9.3036 | 2.2307 | 8.8932 | 9.2978 | 1.4183 | 6.4166 | 4.244 | -1.4219 | -5.8085 | -3.5514 | 2.0027 | 3.4599 | 6.2891 | -1.9915 | -3.2615 | -5.7452 | -54.4225 | -150.3805 | 50.8669 | 125.4752 | 29.6718 | -129.1728 |  | 1.104 | 0.82002 | 0.8155 | 1.097 | 0.74907 | 0.72644 | 0.27112 | -122.0461 | 106.855 | -0.051166 | -121.0136 | 109.1049
Line_1 | 0.097194 | 0.26271 | 0.2221 | 0.096592 | 0.2624 | 0.22151 | 1.1223 | 3.0335 | 2.5646 | 1.1153 | 3.03 | 2.5578 | -0.61491 | 1.1178 | 1.9286 | 0.71096 | -0.83643 | -1.7424 | -0.9739 | 2.029 | 0.83962 | 0.99576 | -2.1099 | -0.64549 | 125.3768 | 170.4923 | 88.8356 | -54.5248 | -9.3889 | -91.2228 |  | 1.0263 | 0.76364 | 0.8202 | 1.097 | 0.74907 | 0.72644 | 3.109 | -128.358 | 112.3616 | -0.051166 | -121.0136 | 109.1049
Line_2 | 0.097194 | 0.26271 | 0.2221 | 0.096592 | 0.2624 | 0.22151 | 1.1223 | 3.0335 | 2.5646 | 1.1153 | 3.03 | 2.5578 | -0.61491 | 1.1178 | 1.9286 | 0.71096 | -0.83643 | -1.7424 | -0.9739 | 2.029 | 0.83962 | 0.99576 | -2.1099 | -0.64549 | 125.3768 | 170.4923 | 88.8356 | -54.5248 | -9.3889 | -91.2228 |  | 1.0263 | 0.76364 | 0.8202 | 1.097 | 0.74907 | 0.72644 | 3.109 | -128.358 | 112.3616 | -0.051166 | -121.0136 | 109.1049

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19251 | 0.7699 | 0.80572 | 0.19318 | 0.77017 | 0.80521 | 2.2229 | 8.89 | 9.3036 | 2.2307 | 8.8932 | 9.2978 | 1.4183 | 6.4166 | 4.244 | -1.4219 | -5.8085 | -3.5514 | 2.0027 | 3.4599 | 6.2891 | -1.9915 | -3.2615 | -5.7452 | -54.4225 | -150.3805 | 50.8669 | 125.4752 | 29.6718 | -129.1728 |  | 1.104 | 0.82002 | 0.8155 | 1.097 | 0.74907 | 0.72644 | 0.27112 | -122.0461 | 106.855 | -0.051166 | -121.0136 | 109.1049
Line_1 | 0.097194 | 0.26271 | 0.2221 | 0.096592 | 0.2624 | 0.22151 | 1.1223 | 3.0335 | 2.5646 | 1.1153 | 3.03 | 2.5578 | -0.61491 | 1.1178 | 1.9286 | 0.71096 | -0.83643 | -1.7424 | -0.9739 | 2.029 | 0.83962 | 0.99576 | -2.1099 | -0.64549 | 125.3768 | 170.4923 | 88.8356 | -54.5248 | -9.3889 | -91.2228 |  | 1.0263 | 0.76364 | 0.8202 | 1.097 | 0.74907 | 0.72644 | 3.109 | -128.358 | 112.3616 | -0.051166 | -121.0136 | 109.1049
Line_2 | 0.097194 | 0.26271 | 0.2221 | 0.096592 | 0.2624 | 0.22151 | 1.1223 | 3.0335 | 2.5646 | 1.1153 | 3.03 | 2.5578 | -0.61491 | 1.1178 | 1.9286 | 0.71096 | -0.83643 | -1.7424 | -0.9739 | 2.029 | 0.83962 | 0.99576 | -2.1099 | -0.64549 | 125.3768 | 170.4923 | 88.8356 | -54.5248 | -9.3889 | -91.2228 |  | 1.0263 | 0.76364 | 0.8202 | 1.097 | 0.74907 | 0.72644 | 3.109 | -128.358 | 112.3616 | -0.051166 | -121.0136 | 109.1049